OIDA                                            Hadha Hurbu Dam & Appurtenant Structures Design Report

OIDA                     Hadha Hurbu Dam & Appurtenant Structures Design Report


Table of Contents

iTable of Contents


iiiLIST OF TABLE


ivLIST OF FIGURES


11
INTRODUCTION


11.1
Background


21.2
Project Location and Accessibility


32
DESCRIPTION OF WORKS


32.1
General Description


32.2
Diversion Arrangements


42.3
Irrigation outlet


53
HYDROLOGY


53.1
Project Area


73.2
Analysis of Climate Data


73.2.1
Rainfall


93.3
Stream Flow


93.4
Sediment Rate


103.5
Flood and Flood Routing


103.5.1
Flood estimation


103.5.2
Design flood selection


113.5.3
Flood Routing and spillway sizing


164
GEOLOGY AND GEOTECHNICAL INVESTIGATION


164.1
Regional Geology


174.2
Geology of project site


184.3
Geologic Structures


194.4
Geotechnical Investigation


194.4.1
Geophysical Investigation


204.4.2
Interpretation


304.5
Seismicity of the project area


324.6
Construction Materials Investigations


324.6.1
Background


324.6.2
Clay Borrow area


374.6.3
Sand Borrow site


374.7
Sand for concrete


394.8
Quarry site


414.9
Water Supply


425
DAM SITE AND TYPE SELECTION


425.1
Dam Site Selection


425.1.1
General


455.2
Dam Type Selection


455.2.1
General


465.2.2
Selected types of dams


476
DAM DESIGN


476.1
General


476.1.1
Topographic Features


476.1.2
Alignment


496.1.3
Dam Axis and Spillway Geologic Features


506.1.4
Available Construction Materials


516.2
Foundation Condition and Preparation


516.3
Seepage Control Measures through the Dam Foundation


526.4
Dam Design Sectional Elements


526.4.1
General


526.4.2
Dead Storage Allocation


566.4.3
Determination of useful life


566.4.4
Water demand Analysis


646.4.5
Berms


646.5
Foundation of the dam site


666.6
Embankment Slope Design


666.6.1
Upstream Slope


676.6.2
Downstream Slope


676.6.3
Filter Materials


757
Dam Slope Stability and Deformation Analysis


757.1
Upstream and downstream slopes


757.1.1
General


767.1.2
Slope Stability Analysis


807.2
Static Stress Deformation Analysis


848
SPILLWAY WORKS


848.1
General Design Considerations


848.2
Spillway inflow and outflow design flood


848.3
Type of spillway and selected scheme


858.4
Location and alignment of spillway


858.5
Hydraulic design of spillway


898.6
Spillway exit channel


909
DESIGN OF OUTLET WORKS


909.1
Lay out of outlet conduit and related works


909.2
Irrigation Outlet


929.2.1
Hydraulic Design of Intake/Inlet


929.2.2
Irrigation Conduit Hydraulics


969.2.3
Type and sizes of Regulating Valves


969.2.4
Energy Dissipater Design


9710
Cost Estimates and option Comparison


9710.1
Cost estimation


10211
CONCLUSIONS AND RECOMMENDATIONS





LIST OF TABLE

8Table 3‑1 Mean Monthly Rainfall Data of Finchewa  Station


9Table 3‑2 Dependable Flow


12Table 3‑3Flood Routing


15Table 3‑4 Summary of Peak inflow, Outflow and Elevation for 1000 years flood


37Table 4‑1 Sand Laboratory gradation test result


44Table 5‑1  Comparison of Dam site options


58Table 6‑1 Daily Livestock Demand (liter/ m3)


59Table 6‑2 Monthly Livestock Demand (Mcm)


59Table 6‑3estimation of evaporation loss


60Table 6‑4 Demand Summary


60Table 6‑5 Supply Summary


60Table 6‑6 Reservoir Requirement computation


69Table 6‑7 The parameter adopted for the seepage analysis foundation material


70Table 6‑8 The parameter adopted for the seepage analysis embankment material


767‑1 Summary of foundation material characteristics used in seepage and stability analysis


767‑2 Summary of embankment material characteristics used in seepage and stability analysis


80Table 7‑3 Parameters of Materials for Stress Deformation Calculation


86Table 8‑11 Hydraulic design of Chute


91Table 9‑1 Peak Discharge


94Table 9‑2 Intake /Outlet Pipe size calculation


98Table 10‑1: Hadha Hurbo dam BOQ and cost estimate





LIST OF FIGURES

9Figure 3‑1  Mean monthly Bimodal rainfall pattern of Finchewa


14Figure 3‑2 Inflow - Outflow Hydrograph 10 m spill way


15Figure 3‑3Inflow - Outflow Hydrograph 20 m spill way


18Figure 4‑1 an outcrop of Gneiss along stream bed


21Figure 4‑2 apparent resistivity pseudo-depth section that runs across Hada-Hurbu River.


23Figure 4‑3 Geo-electric section map


25Figure 4‑4 Aapparent resistivity pseudo-depth section of the right side spill way line.


26Figure 4‑5 Geo-electric section map of spill way


26Figure 4‑6  geo electric section along the proposed spillway site


28Figure 4‑7Geo electric section along right intake site


29Figure 4‑8Geo electric section along the proposed left intake site


31Figure 4‑9 Seismic hazard zonation map of Ethiopia.


32Figure 4‑10Seismic hazard map of Ethiopia (Ethiopian Building Code Standards, 1995)


34Figure 4‑11 Clay borrow site 1


35Figure 4‑12 Clay borrow site 2


38Figure 4‑13 proposed sand borrow site


40Figure 4‑14 proposed quarry site


41Figure 4‑15 Location Map construction material


42Figure 5‑1Reservoir Characteristics Option 1


43Figure 5‑21Reservoir  Characteristics Option 2


43Figure 5‑31Reservoir  Characteristics Option 3


48Figure 6‑1 Dam layout


55Figure 6‑2 Reservoir capacity curve


67Figure 6‑3 Recommended Dam section at the center


71Figure 6‑4Seepage amount and drain alignment


71Figure 6‑5 Dimensioning of Horizontal Drain


72Figure 6‑6Figure 8-10. Approximation for estimating reduction in permeability of narrow size-range aggregate caused by turbulent flow (courtesy of John Wiley and Sons155)


74Figure 6‑7Embankment and Sand Filter Gradation



78Figure 7‑1: a) Schematization SEEP/W b for) Outputs of SEEP/W


78Figure 7‑2Model output for steady seepage and downstream slope stability


79Figure 7‑3Factor of safety for Fast Drawdown


79Figure 7‑4 Factor of safety for slow Drawdown


81Figure 7‑5 Computed maximum total stress


82Figure 7‑6 Exaggerated magnified deformed mesh


83Figure 7‑7 Estimated deformation during stage construction


88Figure 8‑2Spillway profile





1 INTRODUCTION
1.1 Background
Hadha Hurbu Earth dam project is located in West Guji zone of Oromia region, Melkasodda district. Its zonal capital named Bule Hora. This town is located along Finfinne- Moyale main highway road just at about 475 km from Finfinne. West Guji zone is established as a zone recently in which some districts including Melkasodda are administered under Borana zone and the others under Guji zone where the centers are at Yaballo and Negelle respectively. The capital of Melkasoda district is Melkasodda itself and it is located at about 59kms from Bulehora. The specific project is located at around 5 km from Melka soda town in a local administration called Hadhagora
Hadha Hurbu Irrigation project comprises of 18 m high Homogenous Earth fill Dam on Hadha Hurbu river for impounding inflows of the river during the Rainy season. The stored water will be diverted into canal system on both the right and left bank for providing water through a network of canal system for irrigation in the command of 600 ha irrigable land .

Hadha HurbU Irrigation Project was launched by Oromia Irrigation Development Authority (OIDA) with the aim of solving or mitigating the food self-sufficiency and rural unemployment problems of the people of Melka Seda Woreda by binding the Hadha Hurbu River at a suitable location and utilizing it for irrigated farming.
The current study was conducted on the above stated location for the development 600 hectares of land at completion. The evaluation on the hydrology indicate that Hadha Hurbu River is an intermittent river.
1.2 Project Location and Accessibility
[image: image61.png]= (0.32VVF) + 0.76 — 0.27YF



The dam site is located 1.2 km upstream from the confluence of Hadha Hurbu River and Alkille River near Hirba at a Geographic coordinate of 457104 E and 601419N Adindan 37 zone projection.

Figure 1.1.1: Location Map of Hadha Hurbo Project Area
2 DESCRIPTION OF WORKS
2.1 General Description
The Principal components of the Works which will be covered under this feasibility and detail design are those stated here under but further components will be included during the detailed design.
a. Main Dam (Homogenous Earth fill Dam with Horizontal drains and Filter);
b. Spillway (incorporating Approach Channel, Chute and Stilling basin) and;
c. Irrigation intakes, conduits and outlets
1.1 Dam Body
The main dam body is designed with one options i.e. homogeneous earth embankment with drain based on the seepage developed at the downstream faces (end or horizontal drain). For there is no any shell or pervious material around the project at the nearby distance considering other option makes uneconomical except for the consumption of the report. In such condition it is practical to design homogeneous earth dam with drains at the end, Horizontal and horizontal with inclined one. However for this specific project Drain at the End and Horizontal are compared but for safety the Horizontal in order to protect migration of soil to drain seepage water and smooth transition from fine to coarse textured drain materials Filter is Designed.

Excavation is necessary to remove some areas of alluvial deposit on the left and right bank of the valley having weak shear strength Spillway
Chute spillway is designed to discharge a maximum of 29m3/s corresponding to 1000 years return period routed outflow. However, the crest level is fixed not to be over topped with this routed outflow. The total crest length of the spillway is 12m. The crest level (full supply level) is at 1270m and the maximum water level corresponding to 1000 years routed outflow is 1270 m i.e. with flood lift height of 1.4.m. The structure comprises an approach channel, chute and terminal structure. The spilled water leaving the terminal structure will join the natural river channel.
2.2 Diversion Arrangements
The construction of Hadha Hurbu Dam might take one or two years to complete. The construction will take place in the dry seasons. Therefore it is not possible to completely block the river flow rather to create provisions for safe passage of the river flow during the rainy and dry season.
The followings are considered the main components for the diversion system during construction of the dam.
· Up and down stream cofferdams,
· Dry season conduit with an inlet and out let channel, and
· Wet season diversion i.e. the existing river course.
2.3 Irrigation outlet
The main purpose of the Hadha Hurbu project is for irrigation. It is planned to develop the command area estimated to around 600ha downstream of the dam. Therefore, during dry months of the year regulated water will be released as per the downstream demand. Accordingly intake structure is provided for this purpose.
3 HYDROLOGY
1.2 General
The hydrological analysis was undertaken to be primarily used for the design of the proposed dam. There is no flow data at the dam site. However. in order to estimate climatic and flow at the dam site, the meteorological and flow of nearby station was used and then transferred to the project at point of interest with an appropriate procedures following similar projects developed in ungauged catchments.
3.1 Project Area
Hadha Hurbu micro earth dam Small Scale Irrigation project is located in Melka Soda district of West Guji zone. The core objective of the Study and Design agreement of the stated project was mainly to bring the available rainfall and land potential through suitable water harvesting system for ensuring the benefit of targeted community.

Accordingly, Climate and Hydrologic study of the project was conducted to collect, evaluate and analyze all essential data of hydrologic, meteorological and physiographic nature so as to determine river's catchment:  irrigation water potential, expected different years return period runoff for designing structures, assessment of water quality and other related outputs crucial for realization of the irrigation project. In order to reach to this level of outcomes, review of previous studies, collection of primary and secondary data, evaluation and analysis of data with various methodologies and softwares has been conducted.

Accordingly, based on meteorological data of nearby Finchewa station: the mean annual rainfall derived from the summation of mean monthly rainfall values was 811mm. The rainfall pattern of the stations shows Bimodal type where gradual increase from March to May as the main rainy season and from September to November. The Annual mean maximum and mean minimum temperature computed from the Yabelo station data was found as 26. C0 and 14.37 C0 respectively. As the station of Finchewa records rainfall only, the next nearby Yabelo station data of temperature,  wind speed, relative humidity and sunshine duration has been utilized for computing evapotranspiration of the area using FAO modified Penman-Monteith equation. As per conducted computation, an annual evapotranspiration of 1447.7mm has been obtained as an output. 

From computation of runoff for this ungauged stream by  using weighted average of Rational method, SCS and Gauged data transferring methods, 50 year 100 year and 500 years return periods peak discharges were estimated as 97m3/sec, 110m3/sec  and 125m3/sec  respectively. Mean monthly flow of the river has been generated by HEC-HMS software as there is no stream gauge besides to its seasonal flow. The stream has no dry season flow except the rainy period generated runoff. Two peak rainfall seasons have been identified form 20 years daily rainfall so as to run the model. From mean daily precipitation of the site, those days with rainfall amount above the initial abstraction amount subdivided in to season one comprising 55 days from 29th March to 21st of May and the second season covers a duration of 35 days from first of October to 4th of November. From conducted analysis at normal condition, the result revealed the possibility of getting water to be stored for the intended irrigation project. As a water harvesting scheme, the quantity of water to be obtained is highly dependent on the annual and seasonal variability of the natural rainfall over the catchment.  Moreover, the sustainability and water holding capacity of the storage dam is highly dependent on maintaining the current vegetation and woodland cover of the catchment in general and storage area periphery in particular. Unless protection measures are taken to minimize intrusion of sediment including currently deposited sand in to the reservoir area, the live storage gets minimized and may lead to complete abandonment.
Based on undertaken study, the stream has a runoff potential to be harvested for intended immediate dry season irrigation provided that adequate rainfall is obtained on the catchment. In relation to water quality, laboratory analysis was not conducted for there was no flow during the study. However, as it is direct runoff collected from a vegetated catchment soil suitable for pasture development, the river water can fulfill the standard criteria set for irrigation water.
3.2 Analysis of Climate Data

3.2.1 Rainfall

The evaluation of recorded datas of near by Finchewa meteorological station indicate that the mean monthly rainfall of the area ranges from 11.9 mm in February to 188.3 mm in April. The average annual rainfall derived from the summation of mean monthly rainfall values of many years indicated below is 825mm.,during the months of April, May, October and  November  the area  receives more than 100mm mean monthly rainfall depth. In other words almost 71% mean annual rainfall is received within these four months. 

As seen on the table and graph below, average monthly rainfall graph of the area on monthly bases, there is bimodal increment season compatible to the national classification.  The rainfall pattern follows relatively a gradual increase from March  to the peak in April as first season and for the second season, the rainfall peaks in October  starting from September followed by  a recession afterwards for respective seasons

Table 3‑1 Mean Monthly Rainfall Data of Finchewa  Station
[image: image1.png]



[image: image2.png]Mean Rainfall(mm)

2000

1800

1600

1400

Mean Monthly Rainfall of Finchewua Station

I

[\

0 o1 o





Figure 3‑1  Mean monthly Bimodal rainfall pattern of Finchewa

3.3 Stream Flow

Daily flow data at dam site is necessary for design of dam and its appurtenant structures to estimate maximum design flood for a given return periods, dependable flow required for estimating reservoir capacity and low flow useful for estimating the base flow and decide environmental flow for the downstream environment according to the evaluation an estimation made at the dam site the dependable flow at different provided at Table 3.2. But the dependable flow of 80 % was adopted for this study for it is a common practice in the country. For detail analysis refer the Hydrology Report
Table 3‑2 Dependable Flow
[image: image3.png]Monthly Flow

(m3/sec) Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
50%dependable 0 0 0 [11.7 |945] O 0 0 0 [589|204] 0
75% dependable | 0 0 0 51 [ 58| 0 0 0 0 217 | 136 | 0
[80% dependable | 0 | 0 | 0 | 36 |525] 0 | 0 | 0 | 0 |12 | 16] 0





3.4 Sediment Rate
Different approach is adopted with site level observation for the analysis of sediment load at the dam site, the detail is presented in the Hydrology report. And found that, the annual sediment load estimated becomes 20,600 tons for design purpose. If 50 years is proposed as design period of the dam, the overall sediment load expected becomes 1.03million tons.

3.5 Flood and Flood Routing
3.5.1 Flood estimation
In order to evaluate the values of design flood flows different alternative methodologies were applied. The Probable maximum flood is estimated from probable maximum precipitation and it is transformed into PMF using unit hydrograph convolution techniques. In addition to the PMF, flood design discharges for various return periods at the dam site are evaluated using different candidate probability distributions and parameter estimation techniques.
3.5.2 Design flood selection
The USACE (United States Army Corps of Engineers) published guidelines and USDA (United States Department of Agriculture) approaches has been consulted for the selection of the design flood. According to this approaches the spillway design flood will be between 100 and 1/2.PMF. Similarly according to the Ethiopian Draft Dam Safety Guideline prepared by Ethiopian Commission for Large Dams (ETCOLD), the potential impact classification (PIC) falls under PIC 2.
Table3.4: Recommended Inflow Design Flood and Safety Check Flood (ETCOLD Draft Guideline)
[image: image4.jpg]Potential Impact Inflow Design Flood (IDF) Safety Check Flood (SCF)
Classiﬁcatiod (Return Period, years) (Return Period, years)
(PIC)
1 500 1.000
2 1,000 10,000 or 0.5 PMF whichever
greater
3 10.000 or %age of PMF PMF

whichever greater





For Hadha Hurbo dam the draft guideline proposed by ETCOLD is adopted. Accordingly the inflow hydrograph adopted is 1000 years return period with peak discharge of 92.8 m3/s and is shown in Figure 3.4. 
However, the dam will be checked not to be overtopped with either 10,000 or 0.5 PMF.

[image: image5.emf]-20.0

0.0

20.0

40.0

60.0

80.0

100.0

0.0 1.0 2.0 3.0 4.0 5.0 6.0 7.0 8.0 9.0

Inflow

 

Time hr 

inflow (M3/s) 


Figure 3.4: Inflow hydrograph corresponding to 1000 years return period
3.5.3 Flood Routing and spillway sizing

The flood hydrograph developed at the dam site was then routed over the reservoir. The Full Reservoir Level (FRL) is fixed at 1270 masl and a broad crested weir type spillway crest is adapted.

Accordingly using the capacity curve and SIF (storage indication factor) for uncontrolled spillway length of 10 m with C=1.7 is computed and presented in the table and graphed in figure below.

Table 3‑3 Flood Routing

	Flood Pool Storage
	Elevation
	Area
	Storage
	Storage Indication Factor
	Outflow
	time
	storage
	inflow
	2*S(t)/dt - O(t)
	SIF
	Out flow
	Elevation

	(m^3)
	(m)
	(ha)
	(m^3)
	(cms)
	(cms)
	(hr)
	m^3
	(cms)
	(cms)
	(cms)
	(cms)
	(m)

	0.00
	1270.00
	103.01
	0.00
	0.00
	0.00
	0.00
	0.00
	0.00
	0.00
	0.00
	0.00
	1270.00

	103011.84
	1270.10
	103.01
	28.61
	57.77
	0.54
	0.27
	540.95
	0.30
	0.30
	0.30
	0.00
	1270.00

	206934.31
	1270.20
	103.92
	57.48
	116.48
	1.52
	0.54
	2163.80
	0.60
	1.20
	1.20
	0.00
	1270.00

	311629.09
	1270.30
	104.74
	86.56
	175.92
	2.79
	0.81
	12923.36
	5.38
	7.18
	7.18
	0.00
	1270.00

	417146.66
	1270.40
	105.56
	115.87
	236.05
	4.30
	1.08
	56468.82
	18.82
	31.37
	31.37
	0.00
	1270.00

	523498.32
	1270.50
	106.39
	145.42
	296.84
	6.01
	1.11
	125570.54
	20.11
	69.22
	70.30
	0.54
	1270.10

	630692.99
	1270.60
	107.22
	175.19
	358.29
	7.90
	1.36
	230945.43
	40.49
	126.78
	129.82
	1.52
	1270.20

	738734.75
	1270.70
	108.06
	205.20
	420.36
	9.96
	1.38
	373011.40
	42.75
	204.44
	210.02
	2.79
	1270.30

	847652.29
	1270.80
	108.90
	235.46
	483.08
	12.16
	1.65
	558017.60
	68.83
	304.00
	316.02
	6.01
	1270.50

	957441.74
	1270.90
	109.75
	265.96
	546.43
	14.51
	1.92
	811146.33
	87.76
	440.68
	460.59
	9.96
	1270.70

	1068134.16
	1271.00
	110.61
	296.70
	610.41
	17.00
	2.20
	1087699.11
	92.84
	587.28
	621.28
	17.00
	1271.00

	1181577.57
	1271.10
	111.82
	328.22
	676.04
	19.61
	2.47
	1332634.50
	82.59
	718.01
	762.70
	22.35
	1271.20

	1295376.52
	1271.20
	112.88
	359.83
	742.00
	22.35
	2.97
	1492157.73
	53.58
	803.78
	854.17
	25.20
	1271.30

	1409006.21
	1271.30
	113.76
	391.39
	807.98
	25.20
	3.24
	1561057.55
	38.05
	839.09
	895.41
	28.16
	1271.40

	1523685.00
	1271.40
	114.66
	423.25
	874.65
	28.16
	3.51
	1568717.38
	22.52
	843.35
	899.67
	28.16
	1271.40

	1639470.64
	1271.50
	115.58
	455.41
	942.05
	31.23
	3.78
	1525293.24
	9.67
	819.22
	875.55
	28.16
	1271.40

	1756390.29
	1271.60
	116.54
	487.89
	1010.18
	34.41
	4.05
	1450279.14
	2.01
	780.51
	830.91
	25.20
	1271.30

	1874492.13
	1271.70
	117.52
	520.69
	1079.07
	37.68
	4.32
	1368317.53
	0.00
	737.83
	782.52
	22.35
	1271.20

	1993833.77
	1271.80
	118.53
	553.84
	1148.74
	41.05
	5.00
	1292789.88
	0.00
	698.60
	737.83
	19.61
	1271.10

	2114430.07
	1271.90
	119.56
	587.34
	1219.21
	44.52
	6.00
	1222184.07
	0.00
	659.38
	698.60
	19.61
	1271.10

	2242120.00
	1272.00
	121.20
	622.81
	1293.71
	48.08
	7.00
	1156281.16
	0.00
	625.38
	659.38
	17.00
	1271.00

	2363781.00
	1272.10
	122.11
	656.61
	1364.95
	51.73
	8.00
	1095081.16
	0.00
	591.38
	625.38
	17.00
	1271.00

	2486352.00
	1272.20
	123.02
	690.65
	1436.78
	55.47
	9.00
	1038354.42
	0.00
	562.35
	591.38
	14.51
	1270.90

	2609833.00
	1272.30
	123.93
	724.95
	1509.21
	59.30
	10.00
	986100.95
	0.00
	533.32
	562.35
	14.51
	1270.90

	2734224.00
	1272.40
	124.84
	759.51
	1582.22
	63.21
	11.00
	938078.63
	0.00
	508.99
	533.32
	12.16
	1270.80

	2859525.00
	1272.50
	125.75
	794.31
	1655.82
	67.20
	12.00
	894287.48
	0.00
	484.66
	508.99
	12.16
	1270.80


Figure 3‑2 Inflow - Outflow Hydrograph 10 m spill way

[image: image6.emf]-20.0

0.0

20.0

40.0

60.0

80.0

100.0

0.0 2.0 4.0 6.0 8.0 10.0

Q (m3/s)

 

Time hr 

inflow (M3/s)

Out flow(M3/s)



Figure 3‑3Inflow - Outflow Hydrograph 20 m spill way

[image: image7.png]Q(m3/s)

100.0

80.0

60.0

40.0

20.0

0.0

-20.0

0.0

20

4.0

Time hr

6.0

8.0

10.0

—e—inflow (M3/s)
—e— Out flow(M3/s)




The routing exercise was conducted for total length of 10m, 15m and 20m width ungated spillway. Summary of the analysis result is presented in Table 3.5.

Table 3‑4 Summary of Peak inflow, Outflow and Elevation for 1000 years flood
	Spillway Crest Length
	Peak Inflow
	Peak Outflow
	Maximum Elevation

	(m)
	(m3/s)
	(m3/s)
	(masl)

	10
	92.82
	28.18
	1271.40

	15
	92.82
	37.80
	1271.30

	20
	92.82
	44.70
	1271.20


4 GEOLOGY AND GEOTECHNICAL INVESTIGATION
4.1 Regional Geology
According to the regional geological map / Ageremariam shet NB37-10, 1994; the area is characterized by the Precambrian basement rocks, Cenozoic volcanics and Quaternary cover. 

The Precambrian basement rock unit is found exposed and covering extensive part of the area. It is the Precambrian high grade gneisses exhibit early granitization and migmatization of varying intensity. They are generally metamorphosed middle to upper amphibolite facies, with pockets of granulitic rocks in the west. Weakly developed E-W folding followed by prominent N-S folding affected the high grade rocks.

The latter event is believed to correspond to the Mozambique orogeny. The narrow N-S trending Adola low grade belt, mainly consisting of strongly deformed but weakly metamorphosed volcanic and sedimentary rocks, occurs in the eastern part of the map sheet. These rocks are thought to be younger than the surrounding high grade gneisses and may be correlated with the upper Proterozoic rocks of the Arabian-Nubian shield. Various igneous plutons of Precambrian age are also exposed in the map sheet.

Cenozoic volcanic rocks are widespread in the northern and western parts of the map sheet. They are mainly basaltic flows with lesser felsic rocks. The volcanic rocks are subdivided into pre-rift, rift and post-rift volcanic. Volcanic activity has been present in the region since middle Eocene (45 Ma). 

Quaternary eluvial and alluvial sediments and lacustrine deposits are well developed in the western part of the area, where Cenozoic faulting and rifting were significant.
 [image: image8.png]



 

Figure 3 Regional geological map

4.2 Geology of project site

The project area is characterized by alluvial soil overburden deposit and the basement metamorphosed rock unit

Alluvial deposits

The deposit is found overlaying the volcanic rock units in the area. These are mainly organic soil material and River deposits.

The organic soil material is found covering extensive part of the project area mainly covering the poorly drained plain land mass of the project area. Such a deposit is black to dark brown silty clay soil material of high plasticity. It shows desiccation cracks due to the constituent minerals and high degree of plasticity. As inferred from the geophysical survey done at the project site, thickness of the material is greater than 10mts. 

The river deposit is found along the course and banks of stream. It is commonly silty, sandy and gravel.  

The basement rock 

The basement rock unit is found exposed mainly along prevailing Hadha Hurbu Stream course and bed.

The rock is greyish dark fresh to moderately weathered and jointed / fractured GNEISS. Mode of occurrence is commonly in the form of boulder blocks and massive beds.

[image: image9.jpg]



Figure 4‑1 an outcrop of Gneiss along stream bed
4.3 Geologic Structures
Fractures and fault zones as well as the open faults and intersections of faults are significant in the basement metamorphic and basaltic rock units in the area. 

The crystalline basement have been subjected to several phases of orogenic deformation in the Precambrian time and subsequent extensional tectonics related to rift forming geodynamic processes during Phanerozoic Era. The faults are running in the north-south direction in the metamorphic basement rock units.

The area is characterized by the Precambrian basement rocks, Cenozoic volcanics and Quaternary cover. 

The Precambrian basement rock unit is found exposed and covering extensive part of the area. It is the Precambrian high grade gneisses that exhibit early granitization and migmatization of varying intensity. They are generally metamorphosed middle to upper amphibolite facies, with pockets of granulitic rocks in the west. Weakly developed E-W folding followed by prominent N-S folding affected the high grade rocks.

The latter event is believed to correspond to the Mozambique orogeny. The narrow N-S trending Adola low grade belt, mainly consisting of strongly deformed but weakly metamorphosed volcanic and sedimentary rocks, occurs in the eastern part of the map sheet. These rocks are thought to be younger than the surrounding high grade gneisses and may be correlatable with the Upper Proterozoic rocks of the Arabian-Nubian shield. Various igneous plutons of Precambrian age are also exposed in the map sheet.

Cenozoic volcanic rocks are widespread in the northern and western parts of the map sheet. They are mainly basaltic flows with lesser felsic rocks. The volcanic rocks are subdivided into pre-rift, rift and post-rift volcanic. Volcanic activity has been present in the region since middle Eocene (45 Ma). 

Quaternary eluvial and alluvial sediments and lacustrine deposits are well developed in the western part of the area, where Cenozoic faulting and rifting were significant.

Main structural elements in the area consist of metamorphic foliation, folds, lineaments, primary igneous layering/structure, joints/fractures and faults. Besides, there are numerous lineaments concordant or across the main fabric elements of the different types of lithologies. Both brittle and ductile Precambrian faults occur in the map area. Some of these appear to have been reactivated during the Cenozoic, particularly in the western part of the map area

Rifting took place in the middle to late Miocene, resulting in the formation of the Amaro horst, and the Chamo, Segen and Gelana basins

4.4 Geotechnical Investigation
The geotechnical investigation of the current study is made with the method of vertical electrical sounding (VES) is proposed to be implemented in the project area of Hada-Hurbu medium scale dam for irrigation purposes. The vertical electrical sounding (VES) data are analyzed using appropriate software like RESIST, IP2Win, and were presented using the plotting software like SURFER and Auto CAD. Consequently curves and maps are produced and interpreted to arrive at the objectives of the project.

4.4.1  Geophysical Investigation
The Vertical Electrical Sounding data are acquired scientifically along traverses which were selected to collect a representative and detailed information about the area along the dam axis, spill way and intake. Totally 18 VES was surveyed. Accordingly six VES were collected across the dam axis; six VES were collected along the right and left side spill ways and the rest five VES were collected along the intake line of the study area. The VES orientations of the dam axis were E-W (Figure).

Vertical Electrical Sounding Data Processing

The vertical electrical sounding data is processed using IPI2win and Win RESIST software and the maps are developed using Surfer and IPI_res3 software. First the layer parameter are developed by processing the apparent resistivity data in IPI2win software with the help of interactive graphics and by changing the model continuously, until a model that best fits to the curve is attained. 

Furthermore, pseudo-depth section map is developed using Surfer software from the apparent resistivity collected at field (raw data) and the distance between the measure points and geo electric section map is constructed with the help of IPI_res3 and surfer using the layer parameters generated by IPI2win software for the eight vertical electrical sounding points.

4.4.2  Interpretation 

Interpretation is made based on integration of results from the vertical electrical sounding, and a borehole log data. This chapter includes interpretation of pseudo-depth section map, and geo electric section. The detailed interpretation of the study goes as follows:-

Profile one along Dam Axis

As mentioned in the earlier sections vertical electrical sounding data were collected at six sounding points all lying along the proposed dam axis (Figure). The VES points are spaced at about 150 m spacing and have been conducted with half current electrode spacing (AB/2) of 200m-350 m. The individual VES are interpreted to get the layer parameters (resistivity and thickness of the subsurface layers) as given in the Figure the VES data are presented in the form of apparent resistivity pseudo depth sections and geo-electric section and discussed separately in the following sections.

Pseudo-Depth Section Map

The apparent resistivity pseudo-depth section (Figure) is prepared from the VES surveys carried out along Profile-1, which is the place where the dam foundation will rest. Pseudo-depth maps that are prepared by taking raw resistivity data show resistivity variation of the subsurface both in lateral and vertical directions without introducing the bias of data filtering and interpretation software.

[image: image10.emf]VES_1

VES_2

VES_3

VES_4

VES_5

VES_6

App-Res

[Ohm-m]

Rigth Abutment

Left Abutment

River Center

Biotite-quartz with compacted clay soil

weathered mica-schist

fresh amphibolite

Biotite-quartz with compacted clay soil

highighly compacted dry clay soil

silty clay with mica contents

fractured and weathered amphibolite

weathered mica-schist

fresh amphibolite


 Figure 4‑2 apparent resistivity pseudo-depth section that runs across Hada-Hurbu River.

A. Right Abutment  

The first layer which extends up to 3.73m depth of AB/2 has higher apparent resistivity value that ranges from 293Ωm-398 Ωm. This resistivity value is the response of the biotite-quartz with compacted clay soil layer. The second layer which ranges in between 3.73m and 5.18m depth of AB/2 has high apparent resistivity value that ranges from 117Ωm-185Ωm. this resistivity value is the response of highly compacted clay soil. The third layer which ranges in between 5.18m and 37.3m depth of AB/2 has moderate resistivity value that ranges from 117Ωm to 185Ωm. This resistivity value is the response of weathered mica-schist. The fourth layer which ranges in between 52m and 139m depth of AB/2 has high resistivity value that ranges from 341Ωm to 398Ωm.  This resistivity value is the response of fresh amphibolite.

B). River Center

The first layer which extends up to 2.86m depth of AB/2 has high apparent resistivity value that ranges from 215Ωm-251 Ωm. This resistivity value is the response of the medium grained highly compacted dry clay soil layer. The second layer which ranges in between 2.86m and 10m depth of AB/2 has moderate apparent resistivity value that ranges from Ωm117-185Ωm. this resistivity value is the response of silty clay with mica contents. The third layer which ranges in between 10m and 52m depth of AB/2 has moderate resistivity value that ranges from 63Ωm to 85Ωm. This resistivity value is the response of fractured and weathered bed rock which may contain groundwater bearing aquifer. The fourth layer which ranges in between 52m and 139m depth of AB/2 has high resistivity value that ranges from 117Ωm to 185Ωm. This resistivity value is the response of fresh bed rock.

C. Left Abutment 

The first layer which extends up to 3.73m depth of AB/2 has higher apparent resistivity value that ranges from 293Ωm-398 Ωm. This resistivity value is the response of the biotite-quartz with compacted clay soil layer. The second layer which ranges in between 3.73m and 5.18m depth of AB/2 has high apparent resistivity value that ranges from 117Ωm-185Ωm. this resistivity value is the response of highly compacted clay soil. The third layer which ranges in between 5.18m and 37.3m depth of AB/2 has moderate resistivity value that ranges from 117Ωm to 185Ωm. This resistivity value is the response of weathered bed rock. The fourth layer which ranges in between 52m and 139m depth of AB/2 has high resistivity value that ranges from 341Ωm to 398Ωm.  This resistivity value is the response of fresh bed rock.

Generally this map shows that the right abutment and left abutment of the dam axis comprises subsurface formation which has high resistivity as a result of basement rock and dry compacted clay soil. Hence, it is good for foundation purpose. Most of the central part is covered by a formation which has moderate resistivity value. This moderate resistivity values are the responses of relatively weathered and fractured formations due to water bearing aquifer. In the pseudo-depth map there is a distinct lateral resistivity variation at depth between VES – 5 and VES – 6, and also on VES_2 as indicated in the map by dashed lines. This lateral resistivity variation could be the response of a structure.

Geo-electric Section

The geo-electric section (Figure) is constructed from the interpreted resistivity and depth values of the five VES conducted along profile-1 of the dam axis. The geophysical investigation has identified four major layers and their characteristic is presented with respect each layer as follows.

A).Right Abutment

The layer mapped at the top of right abutment having a thickness of 1m has a resistivity value of 1543 Ωm. This resistivity value is the response of the biotite-quartz with compacted clay soil layer. The second layer, which is over lain by the top basement rock and compacted clay soil, has resistivity value 120Ω-m is mapped as silty clay with mica content layer. This layer extends in depth up to 5m.

[image: image11.png]&
3
£
=
<
K
K
g
o

Ri

1265

1260

1255

1250

1245

1235 |

1230

1226~

1220

1215

Tght Abutment

Geo electrical cross-section

River Center

N

o

o0

u Biotite-quartz with compacted clay soil

highly compacted dry top clay soil

fractured and weathered amphibolite

SRRRIs
i

o 160 200

a0

——=—4

o
ity clay with mica contents 54 Resistivity formation

‘weathered mica-schist

Fresh amphibolite:





Figure 4‑3 Geo-electric section map

The third layer has a resistivity value of 112Ωm. This moderate resistivity value is a response of the weathered mica-schist. This layer extends in depth up to 27m. The fourth bottom layer of this formation has higher resistivity values 889Ω-m. This high resistivity value is a response of fresh amphibolite.

B). River Center

The layer mapped at the top of River center having a thickness of 1m has a resistivity value of 310 Ωm. This resistivity value is the response of highly compacted dry reddish clay soil layer. The second layer, which is over lain by the compacted reddish clay soil, has resistivity value 174Ω-m is mapped as silty clay with mica contents layer. This layer extends in depth up to 5m. The third layer has a resistivity value of 58Ωm. This resistivity value is a response of the weathered and fractured amphibolite. This layer extends in depth up to 42m. The fourth bottom layer of this formation has higher resistivity values 1112Ω-m. This high resistivity value is a response of fresh amphibolite.

C). Left Abutment 

The layer mapped at the top of left abutment having a thickness of 1m has a resistivity value of 2670 Ωm. This resistivity value is the response of the biotite-quartz with compacted clay soil layer. The second layer, which is over lain by the top basement rock with dry clay soil, has resistivity value 109Ω-m is mapped as silty clay with mica content layer. This layer extends in depth up to 5m. The third layer 104Ωm resistivity formation is weathered mica-schist having a depth of 27m. The fourth bottom layer of this formation has higher resistivity values 1319Ω-m. This higher resistivity value is a response of fresh amphibolite.

Profile two along Spillway Structure 

The spillway line is designated to be located on both the right and left side of dam abutments where they follows the flat land downstream to finally terminate at the meandering bank of the Hada-Hurbu  River. 

Pseudo-Depth Section Map both right and left side spill way line

A).Right side spill way line

The apparent resistivity pseudo-depth section of the right side spill way line (Figure) is prepared from the VES surveys carried out along Profile-2, which is the place where the right side spill way line foundation will rest. Pseudo-depth maps that are prepared by taking raw resistivity data show resistivity variation of the subsurface both in lateral and vertical directions without introducing the bias of data filtering and interpretation software. Accordingly the map (Figure ) indicates that the top most part of the study area has higher resistivity value that ranges from 658Ωm to 811Ωm. 

[image: image12.emf]VES_1

VES_2

VES_3

 Biotite-quartz  with compacted clay soil

slightly weathered and fractured amphibolite 

fresh amphibolite


Figure 4‑4 Aapparent resistivity pseudo-depth section of the right side spill way line.

This is expected to be the response of the biotitic-gneiss with compacted clay soil. Furthermore the is also another  resistive values are also shown starting from 3m -4m depth covering the area below all VES points. The cause for this response could be the slightly weathered basement rock. Below the above resistivity formations have moderate resistivity value. These areas have a resistivity value ranging from 123Ωm to 231Ωm and this could be the response of the water saturated weathered and fractured basement rock. A bottom resistive value >351 Ωm covers the area at deep depth beneath all VES points. This resistive formation is the response of the massive basement rock. 

Geo-electric Section of the right side and left side spill way

A). Right side spill way

The geo-electric section (Figure) is constructed from the interpreted resistivity and depth values of the three VES conducted along profile-2 of spill way on the right side of the dam axis. 

The layer mapped at the top of right side spill way having a thickness of 1m has a resistivity value of 1018 Ωm to 6048 Ωm. This resistivity value is the response of the biotite-quartz with compacted clay soil layer. The second layer, which is over lain by the top basement rock and compacted clay soil, has resistivity value from 126 Ωm to 395Ω-m is mapped as silty clay with mica content layer. This layer extends in depth from 3m up to 6m.
[image: image13.png]229 Resistivity formation

slightly weathered and fractured amphibolite
fresh amphibolite

o

R SRR
I- 7=\ o9

c
s
©
2
3
2
°
K]
¥
8
8
<]

)

Z .
Biotite-quartz with compacted clay soil

silty clay with mica contantes

2

WW

30Ul Ul UOREADIT





 Figure 4‑5 Geo-electric section map of spill way

The third layer has a resistivity value ranging from 147 Ωm to229Ωm. This moderate resistivity value is a response of the slightly weathered and fractured amphibolite. This layer extends in depth from 29 up to 39m. The fourth bottom layer of this formation has higher resistivity values ranging from 1448 Ωm to 4630Ω-m. This high resistivity value is a response of fresh amphibolite.

A). Left side spill way

The geo-electric section (Figure) is constructed from the interpreted resistivity and depth values of the three VES conducted along profile-3 of spill way on the left side of the dam axis. The layer mapped at the top of left side spill way having a thickness of 1m has a resistivity value of 1144 Ωm to 2717 Ωm. 

[image: image14.png]Ky
ST

i\\\\\\\\\\\\\\\

N

Biotite-quartz with compacted clay soil | stiahtly weathered and fractured amphibolite

silty clay with mica contantes fresh amphibolite





Figure 4‑6  geo electric section along the proposed spillway site

This resistivity value is the response of the biotite-quartz with compacted clay soil layer. The second layer, which is over lain by the top basement rock and compacted clay soil, has resistivity value from 19 Ωm to 229Ω-m is mapped as silty clay with mica content layer. This layer extends in depth from 3m up to 6m. The third layer has a resistivity value ranging from 40 Ωm to110Ωm. This moderate resistivity value is a response of the weathered and fractured amphibolite. This layer extends in depth from 29 up to 42m. The fourth bottom layer of this formation has higher resistivity values ranging from 6024 Ωm to 17356Ω-m. This high resistivity value is a response of fresh amphibolite.

Geo-electric Section of the right side and left side intake
A). Right side intake

The geo-electric section (Figure) is constructed from the interpreted resistivity and depth values of the three VES conducted along profile-4 of intake on the right side of the dam axis. The layer mapped at the top of left side intake having a thickness of 1m has a resistivity value of 128 Ωm to 667 Ωm. 
[image: image15.png]VES_2

VES_1

1226

— —

o/
)

ST T

oINPT N
e o . N0
-\o/ole

\
A\
100

DMWY

N

\
\

\

\
\

\,
\

\
A\

s0

\

\\ \\\\‘

\
A\

N

\

N

A\AN

7o

a0

2

5

5

¥

£ g

T 3

P

g ¢

.ow

H

ER
5

.
8

Mm

i f

iz

g





  Figure 4‑7Geo electric section along right intake site

This resistivity value is the response of the biotite-quartz with compacted clay soil layer. The second layer, which is over lain by the top basement rock and compacted clay soil, has resistivity value from 45Ωm to 140Ω-m is mapped as silty clay with mica content layer. This layer extends in depth from 3m up to 6m. The third layer has a resistivity value ranging from 28 Ωm to153Ωm. This moderate resistivity value is a response of the weathered and fractured amphibolite. This layer extends in depth from 33 up to 36m. The fourth bottom layer of this formation has higher resistivity values ranging from 1432 Ωm to 13391Ω-m. This high resistivity value is a response of fresh amphibolite.

B). Left side intake

The geo-electric section is constructed from the interpreted resistivity and depth values of the VES conducted along profile-5 of intake on the left side of the dam axis. The layer interpreted at the top having a thickness of 1m has a resistivity value of 553 Ωm. 
[image: image16.png]1000)

100)

553

3.7

46.3
36592





 Figure 4‑8Geo electric section along the proposed left intake site

This resistivity value is the response of the biotite-quartz with compacted clay soil layer. The second layer, which is over lain by the top basement rock and compacted clay soil, has resistivity value from 32Ω-m is mapped as silty clay with mica content layer. This layer extends in depth from 5m. The third layer has a resistivity value 46Ωm. This moderate resistivity value is a response of the weathered and fractured amphibolite. This layer extends in depth up to 33m. The fourth bottom layer of this formation has higher resistivity values 36592Ω-m. This high resistivity value is a response of fresh amphibolite.

Generally, From the results of applied geophysical method in this work, the following conclusion and recommendations are forwarded:-

· The subsurface geophysical response obtained from Hada-Hurbu dam site indicates that the abutments are strong and stable.

· Based on the studies it is concluded that the area is situated in seismically less active zone.

· Geo-electrical resistivity maps that the dam axis with thin overburden thickness correspond to area with high resistivity values which regularly correspond to the area with bedrock ridges, more so, the bedrock (fresh) along the dam axis is poorly saturated (low porosity and permeability). 

· The uneven nature of the basement topography is a potential threat to the stability of engineering structures. As a result, the site was considered unsuitable for concrete dam but suitable for earth dam. If the dam will however be constructed, proactive measures, such as deep excavation and grouting must be taken against the structural and geological defects

· The subsurface geophysical response obtained from right side spill way indicates that it is relatively strong and stable than the left side spill way.
4.5 Seismicity of the project area
Seismic tremors occur at a rate of several hundred per day around the world. Small earthquakes occur and are recorded so frequently around tectonically active areas such as the Main Ethiopian Rift Valley. There occur earth quacks of different magnitude in several places within the rift and vicinity. Ground fissuring occurs in various parts of the rift, such as the site near Lake Ziway which is recent phenomenon. The complicated mechanisms of this fissuring are basically co – seismic in Afar and a seismic in the rift valley lakes region. 

The project area lies at the southern flank of the main Ethiopian Rift. Based on the Seismic zonation map of Ethiopia (see fig. below), the project site lies within the vertical ground acceleration of < 0.05. The project site lies away from the main Ethiopian Rift where there is active earth movement / tremor. 

The volcanism is related to current development of a new rift referred as Ririba fault belt by Mohr (1974) in Davidson (1983). 

The project site is stable considering earth movement associated to rifting phenomenon

Consequently, there would not be adverse impact that could affect the intended structure to be imposed at the proposed project site.
[image: image17.png]N
N

22

o

©

28.22
22

30.00 32.00 34.00 36.00 38.00 42.00 42.00 44.00 46.92 48.22 52.00
T T

T T T T T T T T T 22.2%
] 20.00
ea{i ERCE™)
22 r 16.00
22 - 1402
F 4
22 - 12.02
v SUDAN 1
22+ 4 10.22
- 4
22t 8.20
F 4
e H .20
r 4
22 w00
i_ 4
et XENYA 2.0
T220 30.00 32.00 34.00 36.00 38.02 <2.00 2.00 44.00 46.02 48.02 50.08




Figure 4‑9 Seismic hazard zonation map of Ethiopia. 

Contours show peak vertical ground acceleration (After Kebede and Asfaw,1996)
[image: image18.png]



Figure 4‑10Seismic hazard map of Ethiopia (Ethiopian Building Code Standards, 1995) 
Location of the study area (shaded box)

4.6 Construction Materials Investigations
4.6.1 Background
An investigation has been conducted to identify, evaluate and delineate potential sites of construction materials in the project area. The natural construction materials required for construction of the intended dam and appurtenant structures.
Clay borrow material is extracted for use as construction of the central impervious core. Sand borrow sites have been identified and delineated for use as a source of filter and drain material, as a source for construction of concrete and masonry structures. The rock quarry sites are envisaged mainly for use as source of rock fill, Rip rap and as a source for construction of mason and concrete structures
4.6.2 Clay Borrow area
Clay borrow material is extracted for use mainly as construction of the intended embankment dam construction. 

For the embankment dam, the material shall be water tight / will have low permeability but, as is typical for such materials, will have relatively low strength. Availability of suitable embankment material is quiet in excess at the project site. For these reasons the entire dam can be made out of this single zone, which is known as a homogenous dam. 

As far as seepage through the dam, it is generally desirable to obtain full head loss near or just downstream of the dam centerline. Depending on the material used to construct the core, this may be achievable by the material itself. If not, and also to ensure that the head loss is achieved, drainage zones are provided on the downstream face of the embankment dam, also known as a chimney. These zones are included in the cross section

The most suitable material for embankment clay / core material is that (USBR 2011) :

· The soil should have low permeability in the range of 10-7 to 10-9 cm/sec. 

· The soil should be non-dispersive i.e. the soil as part of the dam body should not exhibit erosion. 

· The material must not consolidate excessively under the weight of superimposed embankments and must not soften upon saturation.

Accordingly, potential Clay borrow area that is assumed to comply the requirement has been identified and delineated close to the project area (see table below).

It is important to note that the soil material is found exclusively covering the project area. Hence, if need arises the material can be extracted elsewhere apart from the selected sites outlined below.
	Sample ID
	
Location (UTM)
	Estimated reserve
	Remark

	
	Easting
	Northing
	(m3)
	

	SCB1
	457749
	601578
	200,000
	Found adjacent to the dam site

	
	
	
	
	Accessible

	
	
	
	
	No overburden

	
	
	
	
	Farm land

	SCB2
	456055
	601132
	120,000
	 Found roughly 800mts SW of dam site

	
	
	
	
	can be accessed 

	
	
	
	
	no overburden

	
	
	
	
	farm land. 


[image: image19.jpg]



 Figure 4‑11 Clay borrow site 1

[image: image20.jpg]



 Figure 4‑12 Clay borrow site 2

Table 4 Summary lab test result of clay borrow material
	PARAMETER
	
	SAMPLE ID

	
	
	SDSP1
	SDSP3
	SDSP4
	SDSP5
	SDSP6
	SCB1-2
	SCB2-2
	SCB2-4
	SCB2-5
	SCB1

	Grain size analysis
	
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	Clay (%)
	
	 
	18
	33
	15
	23
	35
	31
	33
	33
	47

	Silt (%)
	
	29
	54
	19
	47
	16
	25
	34
	14
	28
	25

	Sand (%)
	
	30
	28
	48
	38
	38
	40
	35
	40
	39
	28

	Gravel (%)
	
	41
	0
	0
	0
	22
	0
	0
	0
	0
	0

	 
	
	0
	 
	 
	 
	 
	 
	 
	 
	 
	 

	Atterberg Limit
	
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	LL (%)
	
	40.4
	39.3
	32
	40
	47
	39
	38
	36
	34
	47

	PL (%)
	
	26.39
	26.39
	17
	21.18
	21
	25
	20
	22
	19
	26

	PI (%)
	
	14.01
	12.91
	14
	 
	18
	14
	18
	14
	14
	20

	 
	
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	Free Swell (%)
	
	15
	15
	25
	20
	25
	20
	15
	15
	15
	50

	Specific gravity
	
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	Bulk Unit Weight (gm/cc)
	
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	Dispersion by pin hole
	
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	Proctor test
	
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	MDD(gm/cc)
	
	
	
	
	
	
	
	
	
	
	1665

	OMC(%)
	
	
	
	
	
	
	
	
	
	
	16.2

	Permeability(mm/s)
	
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	Direct Shear
	
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	C(KN/m2)
	
	19
	20
	20
	28
	18
	17
	19
	19
	22
	19

	Phi (degree)
	
	30
	28
	30
	21
	28
	22
	23
	21
	18
	18

	Organic matter(%)
	
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	Natural moisture cont.(%)
	
	2
	5.8
	8.9
	4.8
	1
	3.6
	2
	3.7
	4
	 


According to the lab test Atterberg Limit test result the material sampled from three of proposed borrow sites indicates the following

•
LL 32% to 47%   ,

•
PL 19.% to.26%,

•
PI 14 to.20% 

The material falls above the "A" line of PLASTICITY chart being "CL". This implies that it is of low PLASTICITY. Consequently, the material can be considered as slightly compressible. This is in favor of workability that may not cause problem in workability during construction of the intended core membrane and as an embankment fill. Total reserve estimated is in the order of 130,000m3.
4.6.3 Sand Borrow site
it is recommended that all new embankment dams, regardless of size or hazard classification, be designed with protective filters (USBR 2011) as a result a Potential sand borrow site has been identified and delineated for use in the project area. Such sites are found along certain stream course and banks situated within the project area.
Table 4‑1 Sand Laboratory gradation test result

	Sample ID
	Gradation
	Remark

	SDSB1
	Fines (%)  

Sand (%)  

Gravel (%)
	.

	SDSB2
	Fines (%)  

Sand (%)  

Gravel (%)
	

	SDSB3
	Fines (%)  

Sand (%)  

Gravel (%)
	


4.7 Sand for concrete  

Sand is required for concrete work of major structures to this requirement it is necessary to locate suitable sand borrow sites that could fulfill reasonable quality and quantity requirements

Accordingly, potential sand borrow site has been identified and delineated for use that is situated close to the dam site. It is located roughly 1km SW of the dam site along the stream course of Hadha Hurbu. It is located centering at the geog. grid ref. 0455806E and 0601147N UTM. 

The deposit is in excess that can meet more than the demand of required construction 

[image: image21.jpg]



 Figure 4‑13 proposed sand borrow site
4.8 Quarry site

Rock quarry that can be used as source of mason, aggregate and Rip-rap were assessed in the project area. 

Quarry site selection criterion considered during the present investigation includes among others: 

i. A source which can produce rock fragments in suitable size and quality 

ii. Available volume at least two times more than the required volume to be used for the intended construction,

iii. A source which can produce hard, dense and durable to withstand destructive forces during placing, wave action, weathering, servicing, etc.

iv. Nearby site to reduce haulage distance

v. hydrologic and ground water impacts for producing the material

vi. Environmental impact

The Criteria for rock material generally require the rock to be sound. The Soundness of the rock quarry depends on the resistance to water absorption and abrasion

Accordingly, potential source of Quarry site has been identified and delineated for use to the intended purpose. The site identified is located at a distance of 1km SW of the proposed dam site. It is located centering at the geog. grid ref. grid ref. 0455242E & 0601543N UTM. 

Such selected and proposed for use is fresh to slightly weathered and jointed GNEISS. It is found exposed along prevailing stream course and banks.  

When evaluating the quarry site selected in reference to the aforementioned site selection criterion are among others:

· The source of quarry site selected is located within stream course and banks.. Consequently, there is no farming and settlement that can affect production 

· The material is found well exposed at the site being well jointed. Hence it can produce rock fragments in suitable size and quality pending on demand 

· Available volume is in excess relative to the intended purpose.,

· The material is fresh to slightly weathered granite GNEISS. It is well known fact that granite is among those best preferred types of sound rock material for use as source of construction material. Hence, it can be considered as a source which can produce hard, dense and durable to withstand destructive forces during placing, wave action, weathering, servicing, etc.

· It is found at relative close distance of the proposed dam site. This reduces haulage distance

· it can be accessible

· No shallow ground water occurrence and run off affecting production of the rock. 

· No adverse environmental impact associated to extraction / quarrying the rock

Field observations as well as laboratory tests were carried out on the proposed quarry sites. The laboratory test has been conducted on the representative sample collected from the rock unit

The laboratory test conducted was water absorption test. As inferred from standard literatures, water absorption test is an excellent indicator of soundness and durability of rocks. The test has been conducted at the central soil and rock laboratory of the Oromia Water Works Design and Supervision Enterprise (OWWDSE). 

Based on the test conducted, the water absorption result is found to be less than 1.  Such a value according to existing standards for soundness is categorized under an excellent grade so that it can be used to the intended purpose. 

[image: image22.png]



 Figure 4‑14 proposed quarry site
4.9 Water Supply

There is no water supply source at project site. The relatively closer water supply source is a ground water well that is found roughly 2kms SW of the proposed dam site.    Such ground water well has been drilled for use to the villagers which is motorized with distribution scheme. 
[image: image23.png]MELKA-SODA SITE CONSTRUCTION MATERIAL.

o100 02000 03000 04000

so0000

09000

\_?

)
ol ) y
B g
VA “
A8 BTV
A Iy o
AHE R
Y

Constrction materl ype]

DURON 7 O T R e
4 9 (e 4 AR e |
\ 2 )N B vosoron

acbor

i
w5y 8o =) 0 o o w6t





Figure 4‑15 Location Map construction material

5 DAM SITE AND TYPE SELECTION
5.1 Dam Site Selection
5.1.1 General
A successful planning & design of a reservoir project begins with assessing all the available sites for the construction of dam, identifying the sites basic physical features and a final selection of the appropriate site after a comprehensive evaluation of all the factors related to dam site selection. 
In this regard, two dam site are identified as it is shown in the Table and figure below which is 2km apart. The proposed Dam site is relatively found to be the best with respect to the narrowness stability of the embankment availability of construction material and water harvesting the yield of the above catchment. However from the topomap it is observed as it is shown in the figure below
[image: image24.png]Hadha Hurbu Reservior Area Capacity curve Opl

000

Volume
100 200 B0 700 600 500 300

27

271

1269

B
a8 2

Elevation m
B
2

161

1270, 7,103,800

Areaha

100

120

140

——area (ha)

Volume (Mcm)




Figure 5‑1Reservoir Characteristics Option 1
[image: image25.png]Hadha Hurbu Reservior Area Capacity curveoption 2

Volume.
7000 €500 60.00 5500 50.00 45.00 4000 3500 30.00 2500 20.00 1500 1000 500 0.00

1247
1246, 7,118,615

E

£

% ——Area (ha)

——Volume (Mcm)

1237
232

o 2 0 50 0 1w 120 140 1.0 180
Areaha




Figure 5‑2 Reservoir  Characteristics Option 2 

[image: image26.png]Elevationm

1000
1260

1258
1256

Hadha Hurbu Reservior Area Capacity curve option 3

500

1250

1252
1250
1268
1216
1208
1202
1200

100

Areaha

000

20

——rea (ha)

—— Volume (Mem)




Figure 5‑3  Reservoir Characteristics Option 3
Table 5‑1  Comparison of Dam site options
	SN
	Comparison Parameters
	OP1
	OP2
	OP3
	Remark 

	1
	HW Location
	457127E, 601455N
	456896E, 598617N
	457240E, 599782N
	

	2
	Estimated dam height (m)
	17
	12
	17
	

	3
	Crest length (m)
	800
	615
	677
	

	4
	Reserviour Area (ha)
	103
	118
	103
	

	5
	Sustainability of inflow
	Lesser reliable as it is located on u/s side
	Less reliable as it is located on u/s side
	Relatively sustainable as it has additional tributary
	

	6
	Reservoir capacity
	Less as it misses the d/s tributary
	Less as it misses the d/s tributary
	Relatively Larger
	

	7
	Availability of suitable spillway site
	All sites have similar spillway site thus need artificial channeling
	
	

	8
	Construction material availability
	All sites have clay materials in the nearby area (within 10km radius)
	
	

	9
	Reservoir impacts on farmland
	no
	covers the proposed command area
	covers the proposed command area
	

	10
	Potential irrigable area (ha)
	600
	300
	200
	 


From the above comparison table observed that option 2 have relatively better advantage with respect to dam high and length but much higher reservoir area. But from the community interest point option one is selected.
From technical point of view the option one is capable of irrigation with high potential irrigable area with 5 m head increment with respect to option 2. Therefore due to the above stated and tabulated reason option one is selected and also accepted with the beneficiary
5.2 Dam Type Selection
5.2.1  General
The geological and geotechnical investigations shows that, the unconsolidated soil overburden deposit is Alluvium. Such a deposit is characterized by very stiff reddish brown silty clay soil. Thickness of the material as inferred from excavated exploration holes/pits and geophysical survey is greater than 3mts which according to USBR indicates impervious foundation material. This material is equivalent and even greater in strength than the proposed soil embankment structure since it is in naturally dense and compact state unlike the remolded embankment structure to be imposed on it. 

The material underlying the soil overburden deposit is highly weathered / decomposed bed rock. Which is found at relative shallow depth. Such bed rock unit is relatively greater in strength and hence the bearing capacity is compatible to support the intended embankment dam. Consequently, foundation is recommended to be at such material the overlaying silty clay soil material is characterized by poor hydraulic conductivity. This could not cause excess leakage. Therefore, this type of foundation is basically suitable for embankment dams and not for either gravity or concrete dams. Besides naturally available materials for construction of the dam and its appurtenant structures were assessed and the identified sources are, Hadha Hurbo river as sources of water with some storage arrangement; Silty clay impervious material sources, in two quarry area sources with maximum distance of 3-4km from the dam site as embankment material with limited amount of pervious material. The homogeneous embankment fill material is selected. However for the control of seepage, horizontal drain is designed.
5.2.2 Selected types of dams
5.2.2.1 The homogeneous­ type dam 
This type of dam is recommended only where the lack of free-draining materials make the construction of a zoned embankment uneconomical, with the further qualification that for storage dams the homogeneous dam must be modified to include internal drain age facilities. This drainage facility is provided to perform its function of lowering the phreatic line and stabilizing the downstream portion of the dam. According to USBR this horizontal blanket is provided that the horizontal drainage blanket start at the downstream toe of the embankment and extend upstream to within a distance equal to the height of the dam plus 5 feet from the centerline of the dam. This will afford an ample blanket, yet keep the length of the path of percolation within desirable limits. The distance of height of dam plus 5 feet is selected on the basis that this will place the upstream limit of the horizontal drainage blanket at the downstream edge of minimum core that required for dams on deep pervious foundations without positive cutoff trenches.
6 DAM DESIGN
6.1 General
6.1.1 Topographic Features
The topographic maps produced for the present study shows that the river bed is as wide as 40m with average river bed level of around 1254masl, relatively steep hilly escarpments on both abutment ends.
6.1.2 Alignment
The dam axis has been aligned nearly perpendicular to Hadha Hurbo River considering the suitability of the abutments that ensure the stability of the dam. The final alignment of the dam is shown on Figure 6.1.
[image: image27.jpg]ssoan0 450 450 ssrom0 ssram0 ssramn ssronn
Dam Layout
Y Legend ’X
Lebel N
CONTOURS

~ CONTOURS_IDX|

~~ Chute Control
g4+ + + ]
H H

—— Outlet Basin

— Outlet1

— Outlet2
g4+ + = Pit Lpcation te
g sessez Spill Approach | &
5ot g
8 8
§ot e
H H
8t ¢
3 T H





Figure 6‑1 Dam layout
6.1.3 Dam Axis and Spillway Geologic Features
6.1.3.1 Left Abutment
The left abutment is composed of top soil and weathered/ fractured basalt rocks. The topography is relatively steep and is slightly gentler compared to the right abutment.
6.1.3.2 River Channel and main river valley
The geotechnical investigation indicated that, the layer mapped at the top of River center having a thickness of 1m has a resistivity value of 310 Ωm. This resistivity value is the response of highly compacted dry reddish clay soil layer. The second layer, which is over lain by the compacted reddish clay soil, has resistivity value 174Ω-m is mapped as silty clay with mica contents layer. This layer extends in depth up to 5m. The third layer has a resistivity value of 58Ωm. This resistivity value is a response of the weathered and fractured amphibolite. This layer extends in depth up to 42m. The fourth bottom layer of this formation has higher resistivity values 1112Ω-m. This high resistivity value is a response of fresh amphibolite. According to USBR manual, foundation over burden material greater than 3 m considered as impervious material.
6.1.3.3 Right Abutment
The layer mapped at the top of right abutment having a thickness of 1m has a resistivity value of 1543 Ωm. This resistivity value is the response of the biotite-quartz with compacted clay soil layer. The second layer, which is over lain by the top basement rock and compacted clay soil, has resistivity value 120Ω-m is mapped as silty clay with mica content layer. This layer extends in depth up to 5m
6.1.3.4 Spillway alignment
The spillway is aligned on the right side by excavating the right abutment. The excess water passing over the spillway will be conveyed to the main river coarse with the necessary components of the chute spillway.Figure 6.1: Layout of the dam and appurtenant structures
6.1.4 Available Construction Materials
As described in Section 4.6, the available materials at Hadha Hurbo project site include but not limited to the following:
6.1.4.1 Impervious material
Potential impervious material sources has been identified and delineated within the project area at geographical locations of 0457749E, 0601578N and 0456055E, 0601132N. The proposed material is Silty clay, According to the laboratory result interpretation the material can be considered as slightly compressible. This is in favor of workability that may not cause problem in workability during construction of the intended core membrane and as an embankment fill. The physical property of the material is annexed in the Appendix.
6.1.4.2 Rock materials
Potential source of Quarry site has been identified and delineated for use to the intended purpose. The identified site is located at a distance of 1km SW of the proposed dam site. It is located centering at the geog. grid ref. grid ref. 0455242E & 0601543N UTM. 

The identified rock material is characterized by fresh to slightly weathered and jointed GNEISS. This type of material is among those best preferred types of sound rock material for use as source of construction material. Hence, it can be considered as a source which can produce hard, dense and durable to withstand destructive forces during placing, wave action, weathering, servicing, It is found exposed along prevailing stream course and banks. 

Based on the laboratory test result, the water absorption result is found to be less than 1.  Such a value according to existing standards for soundness is categorized under an excellent grade so that it can be used to the intended purpose. 

6.1.4.3 Sand for filter and other purposes
The source of sand for all purposes of the project is located at geographic grid ref. 0455806E and 0601147N UTM in SW direction of the dam site at a distance of 1km.

The material is sampled and analyzed in the laboratory and found suitable for the intended purpose with a required quantity for the lab result refer the appendix
6.1.4.4 Water
There is no water supply source at project site. The relatively closer water supply source is a ground water well that is found roughly 2kms SW of the proposed dam site.  Such ground water well has been drilled for use to the villagers which is motorized with distribution scheme. However, the water source for construction will be the flood water coming from the catchment by making some storage arrangement. 
6.2 Foundation Condition and Preparation
The dominant lithological units around the foundation area are overburden with 6m thick top soil is silty clay as it is stated in the previous section with underlying with weathered and fractured amphibolite. This layer extends in depth up to 42m. This implies that the foundation material is suitable for the selected homogeneous embankment fill dam for detail refer Geotechnical report.
6.3 Seepage Control Measures through the Dam Foundation
In order to minimize seepage through the foundation, provision of seepage curtailing measures are necessary. But from the Geotechnical evaluation of the dam foundation point of view, the foundation material is overburden silty clay for over 3m, this indicate that the foundation is impervious according to USRB manual. Therefore there is no need of controlling/ reducing the seepage but based on the computed rate the necessary seepage curtailing measures in the foundation will be considered.
6.4 Dam Design Sectional Elements
6.4.1 General
This section describes the dam design procedures undertaken for Hadha Hurbo dam. The basic consideration in the design of Hadha Hurbo Dam has been to achieve safety consistent with economy. As indicated in Chapter 5, homogenous embankment dam has been considered for this study.
A Chute spill way with appropriate approach canal, control section and energy dissipation is designed in order to protect the danger of overtopping. This spillway with chute on the right bank has been selected for Hadha Hurbo dam site. The following criteria have been considered in the Hadha Hurbo Dam design:
· Under all conditions of construction, reservoir operation, and seismic activity, the embankment, foundation, and abutments must remain stable with recommended factor of safety.
· Seepage through the embankment, foundation, and abutments must be properly controlled and collected to prevent excessive uplift pressures, piping, sloughing and removal of material by solution or erosion of material by loss into cracks, joints, and cavities. 
6.4.2 Dead Storage Allocation 

According to the analysis made on the sediment load and recommendation given the annual sediment load estimated becomes 20,600 tons for design purpose. If 50 years is proposed as design period of the dam, the overall sediment load expected becomes 1.03 million tons. For detail refer the report of Climate and Hydrological Study.

The incoming sediment is not totally deposited in the reservoir. Some amount of suspended sediment can be passed over the spillway. Therefore to allocate the dead storage volume from the total volume of the reservoir, estimation of the trapped sediment by the reservoir is necessary.

The quantity of sediment, which would be trapped in the reservoir, shall be computed using the well-known Brune’s curves and the reduced capacities due to sediment accumulation in the years of operation.

Sediment load/year in 20600 tone /yr is which is equals to 12692m3/yr assuming the density of sediment to be 1623 kg/m3. Collected from the Hydrology report which is estimated to be 12692 m3/yr. using Brune’s equation or curve Full reduced level is computed using the table below. According to the result for the design period of 50 years the total sediment deposited will be 0.635 Mcm as shown in the Table below. The reduced level from figure below will be 1261.Therefore the Dead storage level is 1261m asl.
	Time  (Year)
	Capacity (Mm3)-from reservoir contour calculation.
	85% Annual inflow (Mm3) Design Yield
	Capacity :Inflow ratio  ( col2/col3)
	Trap efficiency (%) From curve 
	AVERAGE Trap efficiency (%) (Col5i+col5ii)/2
	Sediment deposited (Mm3) Sediment yield/100*(col1ii-col1i)
	Cumulative sediment deposited (Mm3)

	0
	5.884
	0.00
	0
	0
	
	0.000
	0.000

	5
	5.884
	126.36
	0.0466
	75
	37.5
	0.063
	0.063

	10
	5.821
	252.72
	0.0230
	62
	68.5
	0.063
	0.127

	20
	5.757
	505.43
	0.0114
	50
	56
	0.127
	0.254

	30
	5.630
	758.15
	0.0074
	44
	47
	0.127
	0.381

	40
	5.503
	1010.87
	0.0054
	38
	41
	0.127
	0.508

	50
	5.377
	1263.59
	0.0043
	31
	34.5
	0.127
	0.635


Table 6-1 Dead Storage level  

[image: image28.emf]0.00 1.00 2.00 3.00 4.00 5.00 6.00 7.00 8.00 9.00

1253

1255

1257

1259

1261

1263

1265

1267

1269

1271

1273

0 20 40 60 80 100 120 140

Elevation m

 

Volume  

Area ha 

Hadha Hurbu  Reservior Area Capacity curve 

Area (ha)

Volume (Mcm)


Figure 0‑1 Reservoir capacity curve
6.4.3 Determination of useful life

The useful life of the dam can be fixed using the equation below.

Hence useful life, n =[image: image30.png]Dead storage volums
Total sediment volume /yzar




in yrs 

n=[image: image32.png]£35000000m3
12652 3/ year



=50 yrs

This computed value may be less due to trap efficiency effect at each interval. However, if the catchment is treated more, the useful life of the reservoir may rise to more years. It can be also possible to compare the 1st MDDL and the last MDDL totally fill by the sediment after n years respectively, if the catchments are untreated. But if the catchments are treated, the expected filling time of MDDL’s by the sediment may be longer.
6.4.4 Water demand Analysis

6.4.4.1 Irrigation Demand Analysis

From the Agronomy Design report the monthly Demand is collected for 2 phases with project efficiency of 50% as shown table below.
Table 6-2 Irrigation water demand
	Project summary
	Parameter
	Jan
	Feb
	Mar
	Apr
	May
	Jun
	Jul
	Aug
	Sep
	Oct
	Nov
	Dec

	
	Project  efficiency
	50%
	50%
	50%
	50%
	50%
	50%
	50%
	50%
	50%
	50%
	50%
	50%

	
	Proposed irrigation hour
	12
	12
	12
	12
	12
	12
	12
	12
	12
	12
	12
	12

	
	Days in month
	31
	28
	31
	30
	31
	30
	31
	31
	30
	31
	30
	31

	First Phase
	Irrigated area
	100
	100
	85
	20
	0
	0
	0
	0
	0
	0
	0
	100

	
	Project supply(l/s/ha for 12 hour
	2.12
	2.6
	1.52
	0
	0
	0
	0
	0
	0
	0
	0
	0.84

	Second Phase
	Irrigated area
	0
	0
	0
	0
	0
	100
	100
	100
	85
	40
	0
	0

	
	Project supply(l/s/ha for 12 hour
	0
	0
	0
	0
	0
	0.52
	1.2
	1.44
	1
	0.04
	0
	0

	
	Project Demand (cm) per Hectare
	2839.10
	3144.96
	1730.25
	0.00
	0.00
	673.92
	1607.04
	1928.45
	1101.60
	21.43
	0.00
	1124.93

	
	For 600 ha (Mcm)
	1.70
	1.89
	1.04
	0.00
	0.00
	0.40
	0.96
	1.16
	0.66
	0.01
	0.00
	0.67

	
	Cumulative Demand
	1.70
	3.59
	4.63
	4.63
	4.63
	5.03
	6.00
	7.15
	7.82
	7.83
	7.83
	8.50


6.4.4.2 Water demand for Livestock

Water is an essential nutrient for all animals. It is important for both animal welfare and business profitability that livestock have an adequate supply of good quality water. Amount and quality of water required vary between species of livestock, between classes of stock within the species, and in response to the environment in which the stock are running.

The estimated water demand for livestock considering the number and types of livestock’s available surrounding the reservoir shall be estimated per each month using the table below, the number of livestock is collected from Socioeconomic Study and the demand from Dam Guideline and computed as fallows

Table 0‑3 Daily Livestock Demand (liter/ m3)
	No
	Type of Livestock
	Number Found
	Demand l/day/head
	Demand m3/day/head
	 

	
	
	Malkasoda District
	Hadhagora Local administration
	
	
	Demand m3

	1
	Cattles
	149915
	15841
	60
	0.06
	950.46

	2
	Sheep
	60818
	7497
	6
	0.006
	44.982

	3
	Goats
	125114
	13434
	6
	0.006
	80.604

	4
	Camels
	34675
	7472
	120
	0.12
	896.64

	5
	Horse
	208
	20.8
	45
	0.045
	0.936

	6
	Donkey
	13490
	11
	45
	0.045
	0.495

	7
	Mule
	1200
	13954
	45
	0.045
	627.93

	8
	Poultry
	137889
	13788.9
	0.2
	0.0002
	2.75778

	 
	 
	 
	 
	Demand m3/day=
	2604.80478


Table 0‑4 Monthly Livestock Demand (Mcm)
	Item
	Month

	
	Jan
	Feb
	Mar
	Apr
	May
	Jun
	Jul
	Aug
	Sep
	Oct
	Nov
	Dec

	Days in Monthly
	31
	28
	31
	30
	31
	30
	31
	31
	30
	31
	30
	31

	Livestock Demand Mcm
	0.081
	0.073
	0.081
	0.078
	0.081
	0.078
	0.081
	0.081
	0.078
	0.081
	0.078
	0.081


6.4.4.3  Loses in the dams 
Evaporation loss

For a lack of a complete set of meteorological data in the given location, it would be very difficult to estimate the actual evapotranspiration losses in an irrigation scheme. In such cases the evaporation loss from the reservoir water can be estimated using U.S geological survey method as shown below.


E = (4.57*T+43.3)/1200

(U.S geological survey method)


Where E = Monthly evaporation loss in m



 T = Mean annual temp. (0c) 

Table 0‑5 estimation of evaporation loss
	Description
	Jan
	Feb
	Mar
	Apr
	May
	Jun
	Jul
	Aug
	Sep
	Oct
	Nov
	Dec

	Min Temp
	12.7
	13.8
	15.3
	15.9
	15.4
	14.4
	13.9
	14
	14.6
	15.4
	14.3
	12.7

	Max Temp
	28.4
	29.3
	28.6
	24.4
	24.9
	24.4
	23.9
	24.7
	26.1
	25.4
	25.5
	26.4

	MeanTemp 
	20.55
	21.55
	21.95
	20.15
	20.15
	19.4
	18.9
	19.35
	20.35
	20.4
	19.9
	19.55

	Evaporation (m/month)
	0.114
	0.118
	0.120
	0.113
	0.113
	0.110
	0.108
	0.110
	0.114
	0.114
	0.112
	0.111

	Evaporation (Mcm)
	0.11
	0.12
	0.12
	0.11
	0.11
	0.11
	0.11
	0.11
	0.11
	0.11
	0.11
	0.11


Table 0‑6 Demand Summary
	Demand
	Month

	
	Jan
	Feb
	Mar
	Apr
	May
	Jun
	Jul
	Aug
	Sep
	Oct
	Nov
	Dec

	Irrigation (600 ha)
	1.70
	1.89
	1.04
	0.00
	0.00
	0.40
	0.96
	1.16
	0.66
	0.01
	0.00
	0.67

	Livestock
	0.08
	0.07
	0.08
	0.08
	0.08
	0.08
	0.08
	0.08
	0.08
	0.08
	0.08
	0.08

	Evaporation
	0.11
	0.12
	0.12
	0.11
	0.11
	0.11
	0.11
	0.11
	0.11
	0.11
	0.11
	0.11

	Total Demand
	1.90
	2.08
	1.24
	0.19
	0.19
	0.59
	1.15
	1.35
	0.85
	0.21
	0.19
	0.87

	Cumulative Demand (Mcm)
	1.90
	3.98
	5.22
	5.41
	5.60
	6.19
	7.35
	8.69
	9.55
	9.75
	9.94
	10.81


Table 0‑7 Supply Summary
	Description
	Month

	
	Jan
	Feb
	Mar
	Apr
	May
	Jun
	Jul
	Aug
	Sep
	Oct
	Nov
	Dec

	Days in month
	31
	28
	31
	30
	31
	30
	31
	31
	30
	31
	30
	31

	80 % dependable flow (m3/s)
	0.000
	0.000
	0.000
	3.600
	5.250
	0.000
	0.000
	0.000
	0.000
	1.240
	1.160
	0.004

	downstream release (20 % )
	0.000
	0.000
	0.000
	0.720
	1.050
	0.000
	0.000
	0.000
	0.000
	0.248
	0.232
	0.001

	Available supply (Mcm)
	0.00
	0.00
	0.00
	7.46
	11.25
	0.00
	0.00
	0.00
	0.00
	2.66
	2.41
	0.01

	Cumulative Supply (Mcm)
	0.00
	0.00
	0.00
	7.46
	18.71
	18.71
	18.71
	18.71
	18.71
	21.37
	23.78
	23.79


Table 0‑8 Reservoir Requirement computation
	Description
	Month

	
	Jan
	Feb
	Mar
	Apr
	May
	Jun
	Jul
	Aug
	Sep
	Oct
	Nov
	Dec

	Days in month
	31
	28
	31
	30
	31
	30
	31
	31
	30
	31
	30
	31

	80 % dependable flow (m3/s)
	0.000
	0.000
	0.000
	3.600
	5.250
	0.000
	0.000
	0.000
	0.000
	1.240
	1.160
	0.004

	downstream release (20 % )
	0.000
	0.000
	0.000
	0.720
	1.050
	0.000
	0.000
	0.000
	0.000
	0.248
	0.232
	0.001

	Available supply (Mcm)
	0.00
	0.00
	0.00
	7.46
	11.25
	0.00
	0.00
	0.00
	0.00
	2.66
	2.41
	0.01

	Cumulative Supply (Mcm)
	0.00
	0.00
	0.00
	7.46
	18.71
	18.71
	18.71
	18.71
	18.71
	21.37
	23.78
	23.79

	Cumulative Demand
	1.90
	3.98
	5.22
	5.41
	5.60
	6.19
	7.35
	8.69
	9.55
	9.75
	9.94
	10.81

	Difference
	-1.90
	-3.98
	-5.22
	2.06
	13.11
	12.52
	11.37
	10.02
	9.17
	11.62
	13.83
	12.98

	Reservoir Capacity=
	5.22
	
	
	
	
	
	
	
	
	
	
	


Note The reservoir requirement is the maximum difference between cumulative supply and demand
Assuming 0.1 Mcm initial storage is required then the total reservoir capacity will be 5.32 Mcm. Taking the dead storage volume  computed previously 0.635 Mcm the corresponding Normal pool level For the corresponding volume 6.2 Mcm from figure 6.2 equals 1270
Dam height (H)

Dam height (H) = Normal pool level (NPL) above river bed + water head over the spillway crest + free board + settlement allowance

Normal pool level (NPL) above riverbed determined by 
Height of normal pool above the lowest riverbed = NPL- Lowest riverbed level 

1270-1254=16m

Water head over the spill way crest

As shown in the flood routing the maximum water head over the spillway crest corresponding to 1000 yrs design flood is found to be 1.4 m.

Free board 

Free board is the margin above the estimated reservoir level at high flood, to be provided against wave splash, spray, seiches and wind set up etc. and to give margin of safety over and above these factors. And the free board is calculated as shown below.

Fb = hw + R + S  

The Molitor Stevenson formula
[image: image62.png]= (0.32VVF) + 0.76 — 0.27YF




Where

V = wind velocity (km/hr) found to be 7.54 km/ hr (From Adola Station)

F = Fetch length at maximum reservoir level (km) from topography and pool level = 1.742km

R = wave Run up = 50 % of hw

[image: image34.png]= YlsFcosp®
T a0



 

Where:

Fb = Free board (m) above spillway crest level

V = wind velocity (km/hr) found to be 7.54 km/hr (From Adola Station)

F = Fetch length at maximum reservoir level (km) from topography and pool level = 1.742km

R = wave Run up = 50 % of hw

S= wind set up

ɸ = Angle between the wind direction and the fetch =00

D =Average Reservoir depth in meters over the fetch distance and found to be 8.87m 
Accordingly 

hw[image: image36.png]= (0.0327.54 % 1.742) + 0.76 — 0.27¥1.742



 =0.566m

[image: image37.png]_ 7.54% x 1.742 * cos0?

S=— —————— =0002m

6200+ 8.87




R=0.5*0.566= 0.28m.

FB=0.566+.002+0.28=0.85m
Dam height excluding settlement allowance will be

Hdam = H + Ds + Fb

Where  

Hdam = Height of Dam excluding settlement

H = NPL-RBL= 1270-1254= 16 m
Ds= maxWL-Spillway Crest level= water depth over spillway= 1.4 m.

Hdam = 18.25 m 

Settlement Equations for Normally Consolidated Clays

Embankment compression (st1) 

Embankment compression According to USBR Earth and Rock fill dams manual is estimated using the following formula

St1 = 0.001* (Hdam)3/2 

St1 = 0.001* (18.25)3/2 =0.078m
The Total Dam Height will be 18.25+ 0.078=18.35 adopt 18.5m
Crest Width

The crest width is often governed by the working space required at top of dam for transport during construction of the dam and traffic across the dam after construction completion and requirement of future needs like public highway.

a) The width of dam at crest as per IS 8826 - 1978 "Guide lines for design of large earth and rock fill dams" should be fixed according to the working space required at top and the crest width should not be less than 6.0 m.

b) According to USBR 'Design of Small Dams' the crest width to be adopted in case of small earth fill dams is given by


[image: image38.wmf]þ

ý

ü

î

í

ì

+

=

10

5

H

W

 in ft

Where, 

W = Width of crest in ft

H = Height of dam in feet above river bed, 

In case of Hadh Hurbu Dam

Dam height = 18.5 m=60.7 ft 


W = 22.14 ft= 6.7 m
US Army Corps of Engineers Manual on “General Design and Construction consideration for Earth and Rockfill Dams”  EM 1110-2-2300 dated 30 July, 2004 provides that minimum top width of an earth and rock fill dam, depending upon the height of dam, should be between 25 ft (7.62 m) and 40 ft (12.19 m).  

c) Crest width is commonly represented by the formula:
Bt = 
[image: image39.wmf]þ

ý

ü

î

í

ì

H

3

5


Where, 

Bt = crest width in m

H = height of dam in m

Bt =7.17 m

d) Robert and Jensen in their book has mentioned of providing crest width of 25.0 ft (7.6 m) for allowing for general weathering, traffic wear, cracking and damages in extreme events.

e) The Japanese code of 1957 specifies crest width as

= 3.6 x H1/3 - 3 

=6.5 m 

Larger crest width is provided in seismic areas to resist the larger acceleration near the top. Keeping in view the above considerations, the top width of crest has been adopted as 7.0 m. The dam crest details are shown in drawing No AD-D-MDAM/03
6.4.5 Berms

Berms shall be provided for serving the following purposes:

· For providing level surface for construction and maintenance of the dam section.

· For reducing the surface erosion in case of downstream slope and breaking the continuity of the slope;

· To protect the lower edge of the riprap and from preventing it from undermining in case of the upstream slope.

Berms of 4 m width have been provided at both upstream and downstream faces of the dam different elevations . The berm will be inclined at 2% slope towards the slope face at the level below
· Upstream slope (Berm elevation in m): Berm 1=1261.00m

· Downstream slope (Berm elevation in m): Berm 1=1264.00m, 
6.5 Foundation of the dam site
According to the geotechnical report the foundation material is characterized by as follows

· The subsurface geophysical response obtained from Hada-Hurbu dam site indicates that the abutments are strong and stable.

· Based on the studies it is concluded that the area is situated in seismically less active zone.

· Geo-electrical resistivity maps that the dam axis with thin overburden thickness correspond to area with high resistivity values which regularly correspond to the area with bedrock ridges, more so, the bedrock (fresh) along the dam axis is poorly saturated (low porosity and permeability). 

· The uneven nature of the basement topography is a potential threat to the stability of engineering structures. As a result, the site was considered unsuitable for concrete dam but suitable for earth dam. If the dam will however be constructed, proactive measures, such as deep excavation and grouting must be taken against the structural and geological defects
The bed rock unit is found being exposed mainly along prevailing stream course and banks. Such bed rock unit is the basement metamorphosed granitic GNEISS. This bed rock can be described as:

Grey coarse grained gneissose fresh to slightly weathered jointed to massive GNEISS

Even though no strength test was done on such rock unit, based on field in - situ strength testing methods such as hammering, the material is found to be Very STRONG. Correlation with standard literatures on similar type of material, the Unconfined Compressive Strength (UCS) of the intact rock unit is estimated to be in the order of 150 to 200Mpa. A conservative value of UCS for the intact rock unit can be taken as 150Mpa and such a value may be adopted for an outline design purpose. However, the rock mass strength will be far less than the intact rock strength due to effect of fracturing and jointing. To this, considering degree of jointing and fracturing effect the rock mass strength of the rock unit characterizing the site can be estimated to be in the order of 75 to 100Mpa. A conservative value of the rock mass strength 75kN/m2 may be considered for an outline design purpose.

The rock unit is massive to well joint. The joints however are tight joints that are not deeply penetrative. Considering such an effect and based on correlation on standard literatures, hydraulic conductivity value for such type of material is estimated to be in the range of <10-6 cm/s. A hydraulic conductivity value of 10-6cm/s can be adopted for an outline design
Accordingly, for there is a limitation on the availability of pervious shell and gravel material, which makes the transportation relatively makes un economical, as a result, The homogeneous­ type dam is recommended moreover the key trench is extended to the impervious strata recommended by the Hydrogeology investigation to minimize the seepage rate as shown the figure below

[image: image40.png]ENGINEERING GEOLOGICAL SECTION ALONG THE DAM AXIS

VERY STIFF REDISH BROWN SILTY CLAYEY SAND TO SANDY CLAYEY SLT SOL

—r

4 4| HeRY wEATERED / DECOUPOSED BED ROGK RECOVERED AS DARK GREY DEYSE GRAVEL SAVD SITY GLAYEY SOL

SDSP| oetommn voie / Test e
SN\ RECOONBUED FOUNDATON DEFTH

SDSP2

__SDSP1 SDSP4

FESRERBEREE

'LONGTUMNAL SECTION BETWEEN STH. 0.000 AND STH. 614000





6.6 Embankment Slope Design

General.-The design slopes of an embankment may vary significantly depending on the character of the materials available for construction, foundation conditions, and the height of the structure.

The embankment slopes, as determined in this section, are the slopes required for stability of the embankment on a stable foundation. For stability against seepage forces, pervious foundations may require the addition of upstream blankets to reduce the amount
6.6.1 Upstream Slope

The upstream slope may vary from 2:1 to as flat as 4:1 for stability; usually it is 2.5:1 or 3:1. Flat upstream slopes are sometimes used to eliminate expensive slope protection. A berm is often provided at an elevation slightly below the maximum drawdown of the reservoir water surface to form a base for the upstream slope protection, as a result it is provided at a level of 1261m.

The upstream slope is often steepened above the elevation where water is stored; that is, in the surcharge range. For this particular project the available borrow material is impervious material is silty clay with scarce pervious material as a result relatively a flatter upstream slope of 2:1 is recommended and the stability is checked for a storage dam subject to rapid drawdown of the reservoir should have an upstream zone with permeability sufficient to dissipate pore water pressures exerted outwardly in the upstream part of the dam.  The detail analysis is presented section 7 
6.6.2 Downstream Slope

 The usual downstream slopes for small earth fill dams are 2:1 but depending the embankment material the slope will be varied. But for this particular project using the available material and staring slope of 2:1 is adopted then the stability is checked for the recommended factor of safety in all loading condition for the detail analysis refer section 7.
[image: image41.png]2

20 El1270 [l ubz]

15

10
Embankment

Foundation Material El 1254

0 10 2 30 40 s0 F5M g 70 80 %0 100 110




Figure 0‑2 Recommended Dam section at the center
6.6.3 Filter Materials 
Design of Vertical (or Inclined) and Horizontal Drains
The vertical and horizontal drains are required to control seepage through the embankment by preventing material eroded through a crack in the core impervious part from washing into the downstream shell by seepage water under reservoir head. Moreover because of the often variable characteristics of borrow materials, it is frequently advisable to provide vertical and horizontal drains within the downstream section of the embankment, in order to ensure satisfactory seepage control.

Filter Requirements
Vertical and horizontal drains should be designed as filters. If crushed rock is used for the drain material and the material to be protected is dispersive, or material to be protected contains cracks, filter tests will be required. Well-graded materials are internally unstable and should not be used as filters when Cu > 20.
Discharge Requirements.

The drains must have sufficient discharge capacities to remove seepage quickly without inducing high seepage forces or hydrostatic pressures (Cedergren 1977). When drains are designed and constructed with ample discharge capacity, the line of seepage will not rise above the drain zone. Since drains are small compared to the overall dimensions of the earth dam, it is difficult to construct accurate flow nets within the drains themselves. The total quantity of seepage from all sources that must discharge through the drain should be evaluated from a flow net analysis in which it is assumed that the drains have an infinite permeability.
Accordingly the seepage rate is computed using Geostudio 2012 for the assumed designed assumption and cross section of the dam at the critical stage when the reservoir is full with steady flow analysis. The embankment and foundation material permeability is considered with maximum permeability. 

Table 0‑9 The parameter adopted for the seepage analysis foundation material
	Desc
	Soil Texture (%)
	Strength
	Soil property
	Remark

	
	Gravel
	Sand
	Silt
	Clay
	C (KN/m2)
	Ø
( Deg)
	Sp.Gr
	Ksat (mm/hr)
	Ꝋsat
	Ƴsat (KN/m3)
	Ƴ (KN/m3)
	Ꝋ
	

	SDSP-1
	-
	41.0
	20.0
	39.0
	19
	30
	
	1.79
	46
	15.7
	13.1
	19.4
	

	SDSP-2
	-
	-
	-
	-
	
	
	
	
	
	
	
	
	

	SDSP-3
	-
	28.0
	54.0
	18.0
	20
	28
	2.70
	12.55
	47.2
	19.1
	16.3
	19.2
	

	SDSP-4
	-
	48.0
	19.0
	33.0
	
	
	2.38
	3.51
	44.7
	4.4
	0.0
	
	

	SDSP-5
	-
	38.0
	47.0
	15.0
	18
	23
	2.34
	17.94
	46.2
	19.3
	16.3
	15.6
	Considered

	SDSP-6
	22.0
	38.0
	16.0
	23.0
	18.27
	28
	2.40
	9.72
	46.2
	19.3
	16.6
	18.9
	


Table 0‑10 The parameter adopted for the seepage analysis embankment material
	Desc
	Soil Texture (%)
	Strength
	Soil property
	Remark

	
	Gravel
	Sand
	Silt
	Clay
	C (KN/m2)
	Ø (Deg)
	Sp.Gr
	Ksat (mm/hr)
	Ꝋsat
	Ƴsat (KN/m3)
	Ƴ (KN/m3)
	Ꝋ
	

	SCB2 - 4
	3.0
	40.0
	14.0
	33.0
	19
	22
	2.52
	4.57
	46
	19.0
	16.0
	14.9
	

	SCB2 - 5
	-
	39.0
	28.0
	33.0
	22.16
	18
	2.49
	4.73
	46.2
	20.0
	17.4
	20.2
	

	SCB2 - 2
	-
	35.0
	34.0
	31.0
	20
	23
	2.62
	5.8
	46.7
	18.9
	16.1
	18.0
	Considered

	SCB2 -1
	-
	-
	-
	-
	17
	22
	2.40
	
	
	14.5
	16.2
	16.9
	

	SB1_Bulk
	-
	28.0
	25.0
	47.0
	25
	24
	2.40
	1.31
	49
	19.2
	16.4
	20.5
	

	SB1_Bulk
	
	
	
	
	19
	28
	2.40
	
	
	14.4
	16.4
	20.5
	


[image: image42.png]2

20 El1270 )

El 1254

26503m





Figure 0‑3Seepage amount and drain alignment
The result of evaluation indicates that the seepage before joining the drain is found to be 1.27*10-6 m3/ s per unit length of the dam. Therefore the horizontal drain is capable of discharging this amount of water. And also
[image: image43.jpg][t





Figure 0‑4 Dimensioning of Horizontal Drain
Since the drain is to be designed so that the line of seepage does not rise above the drain zone, the allowable maximum head in the horizontal drain can be no greater than its height. The required minimum permeability from Darcy's law is calculated 

[image: image44.png]



Where 
Lb Drain length = 26.5 m

hb Drain Depth to be determined

Ab = Lbxhb
Qd seepage amount = 1.27*10-6 m3/ s 
[image: image46.png]3

251
sty




m3/day
To design the horizontal drain, select a drain height and calculate the required minimum permeability. Apply a factor of safety of 20 to the calculated permeability and select a drain material from available aggregates. Select a drain height of 1m.

The required minimum permeability becomes Kb= 2.91 m/ day 

The designed Kb design will be 20* 2.91=58.16 m/day= 0.6731 mm/s
This permeability could be obtained by screened fine gravel (3/8-in. to 1/2-in. size) which has a permeability of about 30,000 ft/day or 10.6 cm/sec, (Cedergren 1977). Seepage in coarse aggregate is likely to be turbulent and a reduction factor should be applied to the permeability. The hydraulic gradient in the horizontal drain is Lb
[image: image47.png]



[image: image48.png]



[image: image49.png]1.0

O.EN
AN
07

LN

<
v o
Y
0.4}— \
|
03 \
0.2 —
Limiting 50
Limitng 17 201 |
0.1 complete
oL_turbulence
0 o1 0.2 03 04 05 0.6 07 o8 09 10

Hydraulic gradient i




Figure 0‑5Figure 8-10. Approximation for estimating reduction in permeability of narrow size-range aggregate caused by turbulent flow (courtesy of John Wiley and Sons155)

From figure above, for screened fine gravel (3/8-in. to 1/2-in. size) with i = 0.037 the reduction factor for permeability is 0.75.
K = 0.75 * 10.6 cm/s= 7.9 cm/s
The permeability of the screened fine gravel (3/8-in. to 1/2-in. size) reduced for turbulence is greater than the required permeability for design:

7.9 cm/s>0.06731 cm/s

Therefore, it should be adequate when properly placed and compacted to conduct seepage water through the horizontal drain.  The screened fine gravel (3/8-in. to 1/2-in. size) will be protected top and bottom with a 1-ft-thick clean washed concrete sand filter.  Since the seepage from the foundation must flow across the fine filter to enter the coarse drainage layer, the fine filter must be permeable enough to allow the water to enter the coarse drainage layer freely under only a small hydraulic gradient (0.5 or less).

Clean washed concrete sand with a permeability of 10 ft/day should allow seepage from the foundation to enter the coarse drainage layer without restriction.  As a result the designed horizontal drains would have to meet the filter requirements provided under.

[image: image50.png]Percent pass ( %)

100.00

90.00

80.00

70.00

60.00

50.00

40.00

30.00

20.00

10.00

0.00

NI N
N
N
N
N \ N
\\\ \\ \\\
\=4\ N
-
N
N
100 10 0.1 0.01 0.001

Grain Size (mm)

0.0001




Figure 0‑6Embankment and Sand Filter Gradation


[image: image63.png]= (0.32VVF)



Design of Filter

According to the result of grain size analysis and the gradation curve for the Embankment and sand filter material the values for D15 of embankment is nil but of D85 of embankment is 0.25mm

According to the USBR Small dam filter design manual

D15 filter < 5* D85 embankment = 5*0.25= 1.25mm

D85 of Filter= 1.2 from gradation curve, therefore Maximum opening of pipe drain will be 1.2mm/2=0.6mm

CU> D60/D10=0.5/0.04=12

7 Dam Slope Stability and Deformation Analysis
7.1 Upstream and downstream slopes
7.1.1 General
The stability analysis has been conducted in order to determine the factors of safety for various slip surfaces of:
· Downstream under steady state seepage condition with and without earth quake;
· Upstream slope under sudden and slow drawdown condition; and
· Upstream and downstream slopes during and end of construction.
7.1.1.1.1 Loading Conditions
Table below summarizes the loading conditions and corresponding minimum factor of safety (FOSmin) requirements proposed by USACE and used worldwide. The Hadha Hurbo Dam design shall meet these requirements.
Table 7.1: Loading condition and recommended minimum factor of safety
	Case
	Loading Condition
	Slope
	FOS min

	I
	During Construction
	Downstream/Upstream
	1.3

	II
	End of Construction
	Downstream/Upstream
	1.3

	III
	Sudden drawdown
	Upstream
	1.25

	IV
	Steady state seepage
	Downstream
	1.5

	V
	Steady state seepage with earthquake
	Downstream
	1


Table 7‑2 Summary of foundation material characteristics used in seepage and stability analysis
	Item
	Strength
	Soil property

	
	C (KN/m2)
	Ø ( Deg)
	Ksat (mm/hr)
	Ꝋsat
	Ƴsat (KN/m3)

	SDSP-1
	19
	30
	1.79
	46
	15.7

	SDSP-2
	
	
	
	
	

	SDSP-3
	20
	28
	12.55
	47.2
	19.1

	SDSP-4
	
	
	3.51
	44.7
	

	SDSP-5
	18
	23
	17.94
	46.2
	19.3

	SDSP-6
	18.27
	28
	9.72
	46.2
	19.3

	Average
	18.8
	27.3
	9.1
	46.1
	18.3


7‑3 Summary of embankment material characteristics used in seepage and stability analysis
	Desc
	Strength
	Soil property

	
	C (KN/m2)
	Ø ( Deg)
	Ksat (mm/hr)
	Ꝋsat
	Ƴsat (KN/m3)

	SCB2 - 4
	19
	22
	4.57
	46
	19.0

	SCB2 - 5
	22.16
	18
	4.73
	46.2
	20.0

	SCB2 - 2
	20
	23
	5.8
	46.7
	18.9

	SCB2 -1
	17
	22
	
	
	14.5

	SB1_Bulk
	25
	24
	1.31
	49
	19.2

	SB1_Bulk
	19
	28
	
	
	14.4

	Average
	20.4
	22.8
	4.10
	47.0
	17.7


7.1.2  Slope Stability Analysis

Typical slope stability analysis results of for static loading is presented at end of respective sections. The software calculates the minimum factor of safety with four method of analysis i.e. Morgenstern-Price, Ordinary, Bishop and Janbu. However for comparison and reporting purposes the Morgenstern-Price method is selected which accounts both the force and moment equilibrium. The slope stability analysis discussion will be presented here.

7.1.2.1 Steady State Analysis

The steady state slope stability analysis has been checked for the downstream slope which is expected to be the worst case compared to the upstream face. The hydraulic conductivity values indicated in Table 7.1 and 7.2 are used as input for SEEP/W of Geo studio 2012 to generate the water table and pore water pressure required for the slope stability analysis. The shear strength parameters shown in the same table are used for slope stability analysis using Slope/W of Geo studio 2012 package. The analysis is made when the water level is at Normal Pool level (1270.0m).
The minimum computed factor of safety for the downstream slope when the reservoir water is at normal pool level is found to be 1.902, for no earthquake loading. The model schematization for Seep/W and Slope/W as well as the outputs of the Seep/W are indicated in Figure 7.1 considering. Model output for steady state loading condition is presented in Figure 7.2 and the minimum factor of safety i.e. 1.902.

[image: image51.png]2

20 El1270 [l ubz]

15

10
Embankment

Foundation Material El 1254

0 10 2 30 40 s0 F5M g 70 80 %0 100 110




[image: image52.png]— — — — 114016 midays





Figure 7‑1: a) Schematization SEEP/W b for) Outputs of SEEP/W
[image: image53.png]1.902
[

0 10 20 20 40 50 60 70 80 % 100 110




Figure 7‑2Model output for steady seepage and downstream slope stability

7.1.2.2 Upstream Drawdown
Rapid and slow drawdown stability computations were performed for the upstream slope for conditions occurring when the water level adjacent to the slope is lowered rapidly. For analysis purposes, it was assumed that the drawdown is very fast and no drainage occurs in materials with low permeability. Accordingly, the computed factor of safety is 3.11 for fast and 2.8 for slow drawdown as it is observed in Figure 7.3 and 7.4The observed slide wedges are quite small and the factor safety in all dam options is above the minimum required.
[image: image54.png]



Figure 7‑3Factor of safety for Fast Drawdown

[image: image55.png]2.802
.





Figure 7‑4 Factor of safety for slow Drawdown
7.2 Static Stress Deformation Analysis
In order to achieve the expected behavior of the zoned fill dam, the rock fill materials constituting the shells have to exhibit sufficient strength, minimum reduction of strength parameters as strain progress and limited quantified settlement. Besides there should be adequate degree of permeability in order to effectively control any pore pressure build-up during embankment construction.
Non-linear elastic E－B model is adopted for the clay core and filter for option 1and 2 (clay, fine filters), and Asphalt concrete core and fine transitions for option 3. Linear elastic model is adopted for rock fill, riprap, coarse filter, rock toe, foundation alluvium, fractured rock and bed rock. Parameters of various materials are shown in Table7.7. The analysis is carried out by load deformation analysis of SIGMA/W. The results from this analysis are used to determine if the expected magnitude of settlement is acceptable and whether the proposed camber is adequate.
Table 7‑1 Parameters of Materials for Stress Deformation Calculation
	Description
	Strength
	Ꝋsat
	Ƴ (KN/m3)
	ν
	Ko

	
	C (KN/m2)
	Ø ( Deg)
	
	
	
	

	Linear Elastic
	Embankment
	20.36
	22.8
	0.46
	17.65
	0.334
	0.5

	Elastic Plastic
	Foundation
	18.8
	26.3
	0.46
	19.2
	0.49
	0.96


7.2.1.1.1 Loading conditions
The analysis is used to establish the stress conditions induced by the self-weight of the dam. The load/deformation analysis option in SIGMA/W is used for determining the stress conditions. The material properties used are those indicated in Table 7.3.
7.2.1.1.2 Analysis method and assumptions
A 2D stress-strain analysis on a vertical cross section with a unit length is conducted using SIGMA/W load-deformation analysis option. SIGMA/W is used for determining the stress conditions using nonlinear elastic and linear-elastic model (Mohr-Coulomb)
7.2.1.1.3 Results
Computed stress conditions at end of construction (dry and drained embankment) are shown in Figure 7.3 This figure shows the situation for fully drained embankment, a situation equivalent to end of construction condition. Under such circumstance the total normal stress is comparable to the effective stress. Considering degree of jointing and fracturing effect the rock mass strength of the  rock unit characterizing the site can be estimated to be in the order of 75 to 100Mpa  however  the stress magnitude is small as compared to the foundation as well as the under the cutoff trench.
[image: image56.png]B

20

0

7 m

s

[ 50

T

&0

120




Figure 7‑5 Computed maximum total stress
The computed total vertical displacement under dry (drained) embankment condition is about 0.084m Figure 7.5.The magnified deformed mesh is shown in Figure 7.4.
[image: image57.png]B

2

7 m

0

50| &

)

)

100

10

120




Figure 7‑6 Exaggerated magnified deformed mesh
As it was observed the computed deformation considering the whole embankment mass is small. Moreover in actual construction scenario it is expected that the actual deformation is much less because the dam construction is made with stages. The settlement observed during one stage will be compensated (settlement in the dam body, not foundation) while filling embankment material in the next fill. As a result of this; stage construction has been exercised considering an arbitrary stage thickness. Therefore similar analysis considering stage construction will result a maximum displacement less than 0.083m.as shown in Figure 7.5. Therefore, the camber depth adapted for the Hadha Hurbo dam is sufficient and can accommodate any possible deformation at the end of construction. During detailed design the deformation from dynamic analysis should also be considered while evaluating the cumber depth provided.
[image: image58.png]-Displacement (m)

Ground Surface Settiment

0.0z

\‘\.\

00

20

006

008

X(m)





Figure 7‑7 Estimated deformation during stage construction
Based on the stability and deformation analysis results, the stable slopes for the proposed dam zoning for option 1, option 2 and option 3 under all loading conditions are upstream slope of 1V:1.75H and for the downstream slope 1V:1.65H below berm at elevation of 1280m and 1V:1.60H above elevation of 1280m.
8 SPILLWAY WORKS
8.1 General Design Considerations
The proposed Dam is homogenous embankment dam with horizontal drain. This type of dam needs sufficient spillway capacity. The safety of the dam cannot be secured only with provision of sufficient discharging capacity of the spillway; the hydraulic design of the spillway must also be adequate to convey and dissipate the energy associated with water passing over the spillway.
The spillway crest elevation is at 1270 masl and the following main design criteria have been considered for the design of the spillway:
· There should be complete dissipation of energy of spillway flow before it enters the river;
· The dimension of the control section (chute), have been fixed such that it could pass the maximum routed flood with a design discharge head (surcharge);
· The spillway must be hydraulically and structurally safe;
· The spillway and chute in general should be erosion resistant to withstand the high scouring velocities; and
The spillway design is accomplished in a manner that minimizes cost subject to the following:-
· Sufficient crest length to convey the design discharge.
· Acceptable minimum pressures acting on the crest boundary.
· Acceptable maximum energy head on the spillway crest.
· Acceptable velocities and flow characteristics through the spillway system.
8.2 Spillway inflow and outflow design flood
As indicated in section 3.6.3, the design discharge for the spillway is fixed based on the recommendation given in the Dam Safety Draft Guide of the Ethiopian Commission of Large Dams. Accordingly, the inflow hydrograph considered is 1,000 years return period and its peak discharge is 92.8m3/s. For the selected total crest length of 20m, the routed outflow discharge is 28.168m³/s.
8.3 Type of spillway and selected scheme
Spillway type selection can be governed mainly on type of dam, site condition (i.e. topography), and flood discharge, simplicity for construction and adaptability for foundation. Chute and side channel spillway has been considered. For the topography favored. Similarly in order to create flow access towards the control section of the chute spillway it needs longer approach channel excavation with relatively smaller depth of excavation is considered. To minimize the length of an approach channel a curvature was provided at the upstream side of the approach channel so that an optimal length and depth of excavation is achieved. Therefore, by considering all factors listed above, un-gated chute spillway is selected to convey maximum outflow discharge i.e. 28.16m³/s.
8.4 Location and alignment of spillway
Primarily, location of the spillway is dictated by the safety of the dam, economic considerations, construction difficulties, and the possible interference with the layout of outlet and canal structures of the project. In addition to this, topography and geology of the area are among the main considerations guiding the choice of spillway location.
For Hadha Hurbo dam the spillway site is selected or proposed on the right abutment by excavating the top end of the abutment. Naturally, the spillway route has an excavated approach channel, relatively mild slope before the start of the chute and steeper slope before ending at the energy dissipater. The dissipated flow will join the Hadha Hurbo River.
8.5 Hydraulic design of spillway
The main components of the spillway include, approach channel, control section, chute section, terminal structure and exit channel. In this section the hydraulics aspects of the mentioned components will be presented.
Table 8‑1 Hydraulic design of Chute
	Chute design
	 
	 
	 
	Chute

	Basic Input Data
	 

	Chainage at Start of chute 
	Ch. Ch.St
	m
	 
	      120.000 

	Chainage at End of chute 
	Ch. Ch.En
	m
	 
	      460.000 

	Design Discharge
	Q
	m3/s
	 
	       29.000 

	Manning Roughness
	n
	 
	 
	         0.035 

	U/s Normal Water depth
	do
	m
	 
	           1.30 

	D/s Normal Water depth
	d3
	m
	 
	           1.30 

	Velocity at section 3
	V3
	m/s
	 
	           1.63 

	Veocity head at Section 3
	hv3 = V32/2g
	m
	 
	         0.136 

	elevation at Chute Start
	EL. Ch. Str
	m
	 
	     1,269.64 

	Elevation at Chute End
	EL. Ch. End
	m
	 
	     1,254.34 

	Width control
	L
	m
	 
	           8.00 

	Drop height
	Z
	m
	 
	         15.30 

	Length
	L
	m
	 
	       340.00 

	1. Critical flow hydraulics
	 

	Discharge
	Q
	m3/s
	 
	       29.000 

	Width of notch
	bc  = 0.734Q/d03/2
	m
	 
	       14.361 

	Adopt
	 
	adopt
	 
	           8.00 

	Unit discharge
	q = Q/bc
	m3/s/m
	 
	         3.625 

	Critical depth
	dc = (q2/g)1/3
	m
	 
	         1.102 

	Critical Velocity
	Vc = q/dc
	m/s
	 
	         3.288 

	Velocity head
	hvc = Vc2/2g
	m
	 
	         0.551 

	Water area
	Ac = bc*dc
	m2
	 
	         8.819 

	Wetted Perimeter
	Pc = bc + 2*dc
	m
	 
	       10.205 

	Hydraulic radius
	RC = Ac/Pc
	m
	 
	         0.864 

	Water surface slope
	Ic = (nVc/Rc2/3)2
	 
	 
	         0.016 

	 
	 
	 
	 
	 

	2. Energy at Section (C)
	Z = EL.A - EL.B
	m
	              -   
	         15.30 

	 
	EC = dc + hvc +Z
	m
	              -   
	         16.95 

	 
	 
	 
	 
	 

	3. Energy at Section (1)
	 
	 
	 
	 

	d1
	 
	m
	 
	         0.682 

	b1=bc
	 
	m
	 
	         8.000 

	A1=b1d1
	 
	m2
	 
	         5.455 

	V1=Q/A1
	 
	m/s
	 
	         5.316 

	hv1 = V12/2g
	 
	m
	 
	         1.440 

	P1=b1+2d1
	 
	m
	 
	         9.364 

	R1=A1/P1
	 
	m
	 
	         0.583 

	I1 = (nV1/R2/3)2
	 
	m
	 
	         0.071 

	Im =(Ic + I1)/2
	 
	m
	 
	         0.044 

	hf1 = Im.L
	 
	m
	 
	       14.832 

	E1 = d1 + hv1+hf1
	 
	 
	 
	       16.954 

	E1 = Ec =
	 
	 
	 
	       16.954 

	 
	 
	 
	 
	 

	4.  Conjugate depth after jump
	 
	 
	 

	froude number
	F = V1/(gd1)1/2
	m
	 
	         2.055 

	Conjugate depth
	d2=d1/2((1+8Fr2)1/2-1)
	m
	 
	         1.670 

	5. Stilling basin
	 
	 
	 
	 

	a. Length for Fr<5
	 
	L =3.5*d1Fr11.5
	m
	           7.03 

	b. Length for Fr>5
	 
	L =8*d1Fr1
	m
	         11.21 

	 
	 
	 
	Adopt
	           7.00 

	c. Width
	 
	 
	m
	           2.55 

	 
	 
	 
	Adopt
	           9.00 

	d. Bottom elevation (EL.C)
	Lip height, a= dc/2
	m
	 
	           0.55 

	 
	 
	Adopt
	 
	           0.60 

	 
	El.C = EL.B - a 
	m
	 
	     1,253.74 


[image: image59.png]useg RS cosszs
Do 0 10021
@
o
w,
-
a
s ues 22k
syueg 05202

(w) uopeasjy

s00

450

a0

350

150 200 250 300
Length(m)

100

50

B

Crecis

St

FL

o

coL





Figure 8‑1 Spillway profile
8.6 Spillway exit channel
The downstream exit channel will convey the spilled water for about 100m before it joins the natural river course. The spilled water is made to join small stream which joins the Hadha Hurbo River. The size of the stream is small and hence its existing cross section will be modified to convey the spillway discharge at least the flood corresponding to 1:1000 routed outflow discharge. Accordingly a modified cross section is proposed for the whole reach with an appropriate treatment measures.
9 DESIGN OF OUTLET WORKS
9.1 Lay out of outlet conduit and related works
The outlet work system covers mainly the irrigation outlet and provisions made to pass the dry season during construction. As it was discussed in section 2.4, the construction is planned to be finished in two years and hence during the first year of construction the wet season flow will pass with the existing river coarse; however foundation excavation of the main river coarse will be finished during the dry months of the first year construction. Therefore, simple temporary dry season outlet is proposed to pass the minimum flows during the dry months.
The full supply level of the main canal is about 6.5 m above the river bed level and hence it is mandatory to align the irrigation conduit corresponding to the irrigation demands. The total reservoir storage below the minimum drawdown level is relatively small and hence no separate bottom outlet is proposed to evacuate the flow below the irrigation conduit. However, if it is necessary to evacuate this volume water can be pumped into the outlet conduit and then into the Hadha Hurbo River.
The main purpose of this outlet system is for irrigation. However, during emergency cases it will be used to evacuate the volume of water above it. The control mechanism will be downstream (valve). The water entering the small intake will be conveyed towards downstream with a conduit crossing the dam body. The current dam design concept did not encourage provision of conduits within the dam. Though locating conduit outside the dam is the safest approach, there are also several dams in which their outlet system crosses the dam body. For this project special consideration has been given in most part of the dam to be embedded in excavated trench and thus minimize potential failure. Water leaving the dam will be dissipated before it joins the main canal. The center line of the irrigation conduit is maintained to be at 1260.5m.
9.2 Irrigation Outlet
The proposed net command area for Hadha Hurbo project is about 600ha. The required design discharge considering including the demand for livestock is summarized in the table below

Table 9‑1 Peak Discharge
	Analysis of Peak Demand
	
	
	
	
	
	
	
	
	
	
	
	

	Days in the month
	31
	28
	31
	30
	31
	30
	31
	31
	30
	31
	30
	31
	hr/day

	Livestock (m3/s)
	0.121
	0.121
	0.121
	0.121
	0.121
	0.121
	0.121
	0.121
	0.121
	0.121
	0.121
	0.121
	6

	Irrigation (m3/s)
	1.272
	1.56
	0.775
	0
	0
	0.312
	0.72
	0.864
	0.51
	0.01
	0
	0.504
	12

	Daily Demand (m3/s)
	1.393
	1.681
	0.896
	0.121
	0.121
	0.433
	0.841
	0.985
	0.631
	0.13
	0.121
	0.625
	

	
	Max=
	1.681
	
	
	
	
	
	
	
	
	
	
	


Accordingly for the calculated peak Demand for 12 hour and 6 hour supply for the daily Demand found to be 1.681 m3/s however considering extra 20 % downstream release the outlet capacity becomes 2m3/s. The main purpose of this outlet is for irrigation. However, where there is a need it will be used to evacuate the reservoir water above 1261m which accounts to be about 5.22MCM.  The
Irrigation outlet is designed to have a small inlet, trash rack, circular conduit, flow regulation valves at the downstream end and an energy dissipater.
9.2.1  Hydraulic Design of Intake/Inlet
9.2.1.1 i. Intake/Inlet opening
The proposed design discharge is 2m3/s and an opening pipe diameter of 1000mm ductile iron pipe is provided.
9.2.2  Irrigation Conduit Hydraulics
A. General
The conduit is designed to pass the irrigation flow and environmental release. Further the outlet will evacuate the reservoir water above irrigation outlet which is about 5.22MCM in volume.
The size of an outlet conduit for a required discharge varies according to an inverse relationship with the available head for producing the discharge. This relationship is expressed by the following equation:
[image: image60.png]Hr

Eyyel
ker 2gA°




Where: HT= total available head needed to overcome the various head losses to produce the discharge (m); Q = required outlet works discharge (m3/s); KL = loss coefficients; A = required area of the conduit (m2); and g = acceleration due to gravity 9.81(m/s2). Head loss computation for various parts of the structure is discussed below.
B. Pressure flow in the irrigation conduit
The valves fitted downstream will basically control the flows and hence the conduit is always under pressure.  The flow in a closed conduit pipe system follows Bernoulli’s equation which is written as:
HT = hL + hv2
Where: HT = total head needed to overcome the various head losses to produce discharge, hL= Cumulative losses of the systems, and hv2 = Velocity head at the valve.
The above equation is expanded to include the system losses of the outlet structure as follows:
HT = (ht + he + hf + hg) + hv2
Where: ht= Trash rack losses, he= entrance losses, hf= friction losses and hg= gate or valve losses. For the discharge at the outlet, HT is measured from the reservoir water surface to the centerline of the outlet gate.
C. Head loss computation
i. Trash rack Losses
The  trash  rack  consists  of  16mm  thick  mounted  at  the  inlet  and  its  head  loss  is  almost negligible because the trash rack is placed on the top of the box horizontally.
ii. The other loss computation is shown in table 1 below(Entrance, Friction and Valve losses) in pipe size calculation
Table 9‑2 Intake /Outlet Pipe size calculation
	Item
	Symbols
	Formulae
	Units
	Main Value
	Oftake1 Value
	Oftake2 Value

	
	
	
	
	
	
	

	Diameter
	D
	 
	mm
	1000
	600.00
	700.00

	Number of pipes
	N
	 
	Nr
	1.00
	1.00
	1.00

	Design discharge
	Qd
	 
	m3/s
	2.00
	1.00
	1.00

	chez 
	C
	 
	 
	100.00
	100.00
	100.00

	Pipe roughness coefficient
	f
	 
	 
	0.01
	0.01
	0.01

	Inlet loss coefficient
	ξin
	 
	 
	0.50
	0.50
	0.50

	Outlet loss coefficient
	ξout
	 
	 
	1.00
	1.00
	1.00

	Pipe length
	L
	 
	m
	145.00
	145.00
	593.00

	Acceleration
	g
	 
	m/s2
	9.81
	9.81
	9.81

	Hydraulic radius
	R
	D/(4*1000)
	m
	0.25
	0.15
	0.18

	Flow section area
	W
	PI*((D/1000)^2)/4
	m2
	0.79
	0.28
	0.38

	Length loss coefficient
	ξL
	f*v2/2g*(L/D)
	 
	0.38
	1.21
	2.29

	Discharge  coefficient
	Cd
	1/Sqrt(ξin+ξout+ξL)
	 
	0.73
	0.61
	0.51

	Water level difference
	Z
	 
	m
	0.65
	1.50
	1.50

	Calculated discharge
	Qc
	N*Cd*W*Sqrt(2*g*Z)
	m3/s
	2.05
	0.93
	1.07

	Difference
	Qd - Qc
	 
	 
	-0.05
	0.07
	-0.07

	Pipe velocity
	v
	Qd/(N*W)
	m/s
	2.55
	3.54
	2.60

	Height of pipe from basin level
	Zo
	 
	m
	0.50
	0.50
	0.50

	Energy at Pipe outlet
	Eo
	 
	m
	2.03
	1.94
	1.74

	3. Energy at Section (1)
	 
	 
	 
	
	
	

	d1
	 
	 
	m
	0.17
	0.09
	0.09

	b1 Assumed
	 
	 
	m
	     2.000 
	       2.000 
	       2.000 

	A1=b1d1
	 
	 
	m2
	     0.339 
	       0.175 
	       0.185 

	V1=Q/A1
	 
	 
	m/s
	     5.896 
	       5.718 
	       5.419 

	hv1 = V12/2g
	 
	 
	m
	     1.772 
	       1.667 
	       1.497 

	P1=b1+2d1
	 
	 
	m
	     2.339 
	       2.175 
	       2.185 

	R1=A1/P1
	 
	 
	m
	     0.145 
	       0.080 
	       0.084 

	n
	 
	 
	 
	     0.014 
	       0.014 
	       0.014 

	I1 = (nV1/R2/3)^2
	 
	 
	m
	     0.089 
	       0.185 
	       0.155 

	x
	 
	 
	m
	        1.0 
	          1.0 
	           1.0 

	hf1 = Im.L
	 
	 
	m
	     0.089 
	       0.185 
	       0.155 

	E1 = d1 + hv1+hf1
	 
	 
	 
	     2.031 
	       1.939 
	       1.744 

	E1 = Ec =
	 
	 
	 
	     2.031 
	       1.938 
	       1.744 

	4.  Conjugate depth after jump
	 
	 
	 
	 
	 
	 

	froude number
	 
	Fr = V1/(gd1)1/2
	m
	     4.571 
	       6.174 
	       5.696 

	Conjugate depth
	 
	d2=d1/2((1+8Fr2)1/2-1)
	m
	     1.015 
	       0.721 
	       0.699 

	5. Stilling basin
	 
	 
	 
	 
	 
	 

	a. Length for Fr<5
	 
	L =3.5*d1Fr11.5
	m
	      5.80 
	        4.70 
	         4.39 

	a. Length for Fr>5
	 
	L =8*d1Fr1
	m
	      6.20 
	        4.32 
	         4.20 

	 
	 
	 
	Adopt
	      6.00 
	        5.00 
	         4.00 

	b. Width
	 
	 
	m
	      2.19 
	        1.69 
	         1.69 

	 
	 
	 
	Adopt
	      2.00 
	        2.00 
	         2.00 


From the above Table-9.2 the main outlet was designed based on the peak demand discussed in table 9.1. But after this outlet exit the dam body it branches for the right and left main canal for a length of 5m and 448 m with a pipe diameter of 600 and 700mm. both outlets demands 1.5 m head to discharge the design value but the main outlet requires 0.65m head.

This capacity was designed based on the minimum water level but the outlet can discharge a maximum capacity of 5.25 m3/s when the reservoir is full which can help to reduce the flood intensity

9.2.3 Type and sizes of Regulating Valves
The selected types of valve at the outlet are two types; one is simple gate valve used for energy and the other is butterfly valve for operation purposes. The selected valve size is of diameter 27.56 inch to suit the 700mm conduit.
9.2.4 Energy Dissipater Design
Before water is conveyed to the main canal from the outlet, the flow energy should be dissipated so that downstream erosion will be avoided. Therefore at the end of the outlet pipe a stilling basin is needed for energy dissipation. It is designed to safely dissipate the maximum energy i.e. when the reservoir is full and discharging the maximum flow. The hydraulic parameter of the stilling basin also shown in the above Table 9.1
10 Cost Estimates and option Comparison
10.1 Cost estimation
The estimate of quantities presented at this draft feasibility design report considers the permanent works as set out in the feasibility level studies.
The unit rate adapted for cost estimation is taken from other similar projects with some adjustments. All rates are presented in Ethiopian Birr (ETB) only. Accordingly the investment cost of the dam and its appurtenant structures is about 76784916 Birr before VAT, the cost per hectare for this particular project becomes 127'975 with respect to the headwork. Summary of the cost items and estimated costs are presented in Table 10.1 below.
Table 10‑1: Hadha Hurbo dam BOQ and cost estimate
	SN
	Description
	Unit
	Qty
	Rate
	Total Cost

	Bill Nr. 1
	Camping & General Preparatory Works
	
	
	
	

	1.1
	Allow  for Mobilization  (Machineries, material, labor, etc)
	Ls
	1.00
	50'000
	50'000.00

	1.2
	Allow for Demobilization after finalizing the whole project activities
	Ls
	1.00
	50'000
	50'000.00

	1.3
	Construction of consultant's residence and/or office of size 4.4m*4.4m from G-32 CIS for roof & external wall, internally partitioned with chip wood wall, & ceiling founded on a 25cm thick hardcore, 8cm of C-10 (1:3:6) lean concrete and 2cm thick screed floor. The room should be well ventilated thus equipped with window and door of same material as shown on the drawing
	Ls
	1.00
	72'000
	72'000.00

	1.4
	Construction of contractor's residence and/or office of size 9.65m*3m from G-32 CIS for roof & external walls and internally partitioned with chip wood wall,& ceiling founded on a 25cm thick hardcore, 8cm of C-10 (1:3:6) lean concrete and 2cm thick screed floor. Two rooms each has size of 3m*3m and are well ventilated equipping with windows and doors of same material as per the drawing.
	Ls
	1.00
	86'400
	86'400.00

	1.5
	Construction of 5m*5m store which is constructed from G-32 CIS wall and roof with door and window, ceiling founded on  a 25cm thick hardcore, 8cm C10 (1:3:6) lean concrete and 2cm screed floor as per drawing
	Ls
	1.00
	80'000
	80'000.00

	1.6
	Construction of Cafeteria and kitchen facility size 6m*4m, constructed from G-32 CIS wall and roof with door and window, ceilings  on  a 25cm thick hardcore filled cement, 8cm of C-10 (1:3:6) lean concrete and 2cm screed floor as per drawing
	Ls
	1.00
	86'400
	86'400.00

	1.7
	Construction of shower and toilet rooms of total size 4m*2m, constructed from G-32 CIS wall, and roof; ventilated with separate door and window, on  a 10cm thick hardcore filled cement, 5cm of C-10 (1:3:6) lean concrete  as per drawing
	Ls
	1.00
	28'800
	28'800.00

	1.8
	Construction of guard house facility of size 2m*2m, constructed from G-32 CIS wall and roof with door and window, ceiling founded on a 25cm thick hardcore filled cement, 8cm C-10 (1:3:6) lean concrete and 2cm screed floor as shown on the drawing
	Ls
	1.00
	14'400
	14'400.00

	1.9
	Fence works all around the camp of area 50m*30m, 2.0m height and 15cm diameter treated timber post/eucalyptus poles with barbed wire at 20cm vertical interval & posted in a minimum of 0.6m depth backfilled with lean concrete, C-10 (1:3:6)
	Ls
	1.00
	50'000
	50'000.00

	1.10
	Survey works, preparation of as-built drawings and site plan including operation and maintenance manual
	Ls
	1.00
	56'000
	56'000.00

	1.11
	Sign Post at junction and Camp Office, with dimension of 1.0m*1.5m of 3mm thick with 0.3m*0.3m of 2.5m angle Iron pole, buried in C-10 (1:3:6) mass concrete of 0.5m minimum depth
	Nr
	2.00
	40'000
	80'000.00

	
	Total of Bill Nr.1 carried to summary
	
	
	
	654'000

	Bill Nr. 2
	Gravel access road of 7 m wide
	LS
	5.00
	
	

	2.1
	Clearing and grabbing works in areas including interceptor drain & working areas as specified by the engineer
	m2
	46'925
	7
	328'477.25

	2.2
	Excavation/cut earth works of the road section in normal soil
	m3
	23'463
	70
	1'642'386.24

	2.3
	Fill and compaction works in excavated/cut earth works of the road
	m3
	32847.72
	70
	2'299'340.73

	
	Total of Bill Nr.2 carried to summary
	
	
	
	4'270'204

	Bill Nr. 3
	Head Works (Dam) Works
	
	
	
	

	3.1
	Dam body Earth
	
	
	
	

	3.1.1
	Site Clearing and  grubbing works
	m2
	79'430
	7
	556'010.00

	3.1.2
	Soil Excavation and cart away surplus material
	m3
	69'018
	70
	4'831'249.50

	3.1.3
	Soft rock excavation
	m3
	13'804
	400
	5'521'428.00

	3.1.4
	Back fill with selected material & compactions embankment as shown in the drawing and specification, Includes production of fill material, transportation and compaction complete in all aspect
	m3
	372'283
	100
	37'228'335.46

	3.1.5
	Construction of Horizontal drain as shown in the drawing and specification, Includes supply of filter material, transportation and compaction complete in all aspect
	m3
	25'440
	150
	3'816'000.00

	3.2
	Spillway works
	
	
	
	-

	3.2.1
	Site Clearing and  grubbing works
	m2
	5'890
	7
	41'230.00

	3.2.2
	Soil Excavation and cart away surplus material
	m3
	6'375
	70
	446'217.61

	3.2.3
	Soft rock excavation
	m3
	1'275
	400
	509'962.98

	3.2.4
	Back fill with selected material & compaction on outer face of walls
	m3
	1'912
	100
	191'236.12

	3.2.5
	Reinforced concrete in cement sand mortar C25. The thickness of concrete as indicated in the drawing. Price should include scaffolding.
	m3
	1'060
	3'000
	3'180'000.00

	3.2.6
	10 cm thick lean concrete under the structure
	m2
	3'240
	250
	810'000.00

	3.2.7
	Formwork for canal side walls
	m2
	2'116
	100
	211'600.00

	3.2.8
	Providing, bending  and binding Tor steel  Grade 400 of 8mm dia @ 250mm C/C reinforcement, as per the drawing & specification complete in all respect  for  chute section
	kg
	53'500
	90
	4'815'000.00

	3.2.9
	Dry Stone pitching
	m2
	460.0
	278
	127'880

	3.3
	Outlet works
	
	
	
	-

	3.3.1
	Site Clearing and  grubbing works
	m2
	2'345
	7
	16'415.00

	3.3.2
	Soil Excavation and cart away surplus material
	m3
	939
	70
	65'730.00

	3.3.3
	Soft rock excavation
	m3
	188
	400
	75'120.00

	3.3.4
	Back fill with selected material & compaction on outer face of walls
	m3
	94
	100
	9'390.00

	3.3.5
	Reinforced concrete in cement sand mortar C25. The thickness of concrete as indicated in the drawing. Price should include scaffolding.
	m3
	51
	3'000
	151'560.00

	3.3.6
	10 cm thick lean concrete under the structure
	m2
	30
	250
	7'500.00

	3.3.7
	Formwork for canal side walls
	m2
	190
	100
	19'000.00

	3.3.8
	Providing, bending  and binding Tor steel  Grade 400 of 8mm dia @ 250mm C/C reinforcement, as per the drawing & specification complete in all respect  for  chute section
	kg
	1'200
	90
	108'000.00

	3.4
	Pipe providing and installation according to Drawing and Technical specification complete in all respect
	
	
	
	

	3.4.1
	Ф 1000
	m
	90.0
	3'000
	270'000

	3.4.2
	Ф700
	m
	510.0
	2'900
	1'479'000

	3.4.3
	Ф 600
	m
	60
	2'700
	162'000

	3.3.4
	gate valve of size is of diameter 600mm, 700mm and 1000mm
	No
	3.0
	76'800.0
	230'400

	
	Total of Bill Nr.3 carried to summary
	
	
	
	64'880'265

	
	Total of  carried to summary
	
	
	
	69'804'469

	
	Contingency 10%
	
	
	
	6'980'447

	
	Grand Total of Head Work
	
	
	
	76'784'916

	
	Net Area
	ha
	
	
	600

	
	Cost Per Hectare
	
	
	
	127'975


11 CONCLUSIONS AND RECOMMENDATIONS
The catchment area at the dam site is about as 17.1km2. According to the reservoir simulation exercise the Hadha Hurbo reservoir can irrigate about 600ha with full storage capacity of 5.22MCM. The proposed dam will have maximum dam height of 18.5m above river bed and 800 m crest length.
The dam design is carried out with considering the geological and geotechnical investigation made at the dam axis, spillway and partly the reservoir area. The geological features derived in this study phase are basically based on surface observation, Pit sampling, geophysical survey along selected investigation routes and few laboratory test results with regards to top foundation condition and construction materials. An attempt was made to extract as much as possible information required for design purposes from the limited investigation indicated above.
The project area is situated within the main Ethiopian Rift. Accordingly, it is found being characterized by volcanic rocks that are affected by closely sited faults associated to the rifting phenomenon. The lithological units are overlain by unconsolidated sediments of varying thickness. Accordingly to the geophysical survey the majority of the middle valley is overlain by a material with low resistivity value which interpreted as highly fractured and weathered basalt probably may contain ground water bearing aquifers. This layer extends in depth from 52m and 139m. 
For a successful detailed design the detailed investigation of geology and geotechnical investigation makes the design more reliable. But for the scale of study and size of the dame the expected loss due an foreseen problem will be seepage that may increase maximum of thousand times the estimated current value 98.7552 within 3 months. Therefore the change or variability in the foundation and borrow material may result in 987552 m3 which do not affect the overall purpose of the dam significantly this conclusion is made based on the analysis made on the 3m top soil lab investigation result.
Therefore, the detailed dam and appurtenant structures design will be done immediately after the acceptance of the draft feasibility and detail design report
REFERENCES
· Cedergren, H. R., (1977). Seepage, Drainage and Flow Nets, 2nd ed., Wiley, NewYork.
· FEMA, (2011), Filters for Embankment Dams, Best Practices for Design and Construction, U.S Department of Homeland Security, USA.
· Geo-slope International, Ltd., Canada (2009). Dynamic Modeling with QUAKE/W, QUAKE/W Engineering Workbook.
Jibson, R.W. (2011). Methods for assessing the stability of slopes during earthquakes— A retrospective: Engineering Geology, v. 122, p. 43-50.
· Novak, P., Moffat, A.I.B., Nalluri, C., and Narayanan, R., 2007. Hydraulic Structures, 4th ed., Taylor & Francis, London
· U.S Army Corps of Engineer manual EM-1110-2-6053
· USBR (2014).
Design Standards No.  13  Embankment  Dams, Chapter  7:  Riprap  Slope Protection Phase 4 (Final)
· USBR (1987). Design of Small dams, A water Resources Technical publication, 3rd edition
Appendix
hw� QUOTE � ��� for F<32km


hw� QUOTE � ��� for F>32km





Embankment








Consultant: Oromia Water Works Design & Supervision Enterprise                                         i
 P.o.Box:870/1250; Tel:251 11439 2162; Fax: 251 11439 2008; e-mail: owwdse@ethionet.et
 

Consultant: Oromia Water Works Design & Supervision Enterprise                                         iii
 P.o.Box:870/1250; Tel:251 11439 2162; Fax: 251 11439 2008; e-mail: owwdse@ethionet.et
 


[image: image64.png]= (0.32VVF)



[image: image65.jpg]ss5000 Dam Option and Location

R
S

o

% \/}\\\/ *»‘{(‘}_,




_1615035841.xls
Chart1

		0		0

		0.2710745793		0.2710745793

		0.5421491586		0.5421491586

		0.813223738		0.813223738

		1.0842983173		1.0842983173

		1.1114057752		1.1114057752

		1.3553728966		1.3553728966

		1.3824803546		1.3824803546

		1.6535549339		1.6535549339

		1.9246295132		1.9246295132

		2.1957040925		2.1957040925

		2.4667786718		2.4667786718

		2.9674534199		2.9674534199

		3.2385279992		3.2385279992

		3.5096025785		3.5096025785

		3.7806771578		3.7806771578

		4.0517517372		4.0517517372

		4.3228263165		4.3228263165

		5		5

		6		6

		7		7

		8		8



inflow (M3/s)

Out flow(M3/s)

Time hr

Q (m3/s)

0

0

0.3005277094

0

0.6010554188

0

5.3764788358

0

18.8154441238

0

20.1119838534

1.0751744045

40.4877378565

3.0410524494

42.7517105235

5.5867700865

68.8333061945

12.0208152802

87.76042789

19.9125086315

92.8362580911

29.0297089203

82.5860402841

39.2254509215

53.5829355641

39.2254509215

38.0531579142

44.6941606924

22.5233802642

39.2254509215

9.6731808823

34

2.0107311237

34

0

29.0297089203

0

24.3284195952

0

19.9125086315

0

15.8017720525

0

15.8017720525



Spillway

				X		Y		Distance (Total)		Elevation						Elevation		Distance (Total)		X						Distance (Total)		Y						Dam Axis OGL								Average Depth

				456701.365		601404.18		0		1270.015				0		1270.015		0		456701.365		0		456701.365		0		601404.18		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456701.495		601403.189		1		1270.005				10		1270		1		456701.495		10		456702.663		1		601403.189		10		601394.269		10		456702.663		601394.269		1270		16

				456701.625		601402.198		2		1270				20		1269.822		2		456701.625		20		456703.961		2		601402.198		20		601384.357		20		456703.961		601384.357		1269.822		15.822

				456701.755		601401.207		3		1270				30		1269.725		3		456701.755		30		456705.258		3		601401.207		30		601374.445		30		456705.258		601374.445		1269.725		15.725

				456701.884		601400.216		4		1270				40		1269.562		4		456701.884		40		456706.556		4		601400.216		40		601364.534		40		456706.556		601364.534		1269.562		15.562

				456702.014		601399.224		5		1270				50		1269.482		5		456702.014		50		456707.853		5		601399.224		50		601354.622		50		456707.853		601354.622		1269.482		15.482

				456702.144		601398.233		6		1270				60		1269		6		456702.144		60		456709.151		6		601398.233		60		601344.71		60		456709.151		601344.71		1269		15

				456702.274		601397.242		7		1270				70		1268.473		7		456702.274		70		456710.448		7		601397.242		70		601334.799		70		456710.448		601334.799		1268.473		14.473

				456702.403		601396.251		8		1270				80		1268		8		456702.403		80		456711.746		8		601396.251		80		601324.887		80		456711.746		601324.887		1268		14

				456702.533		601395.26		9		1270				90		1268		9		456702.533		90		456713.043		9		601395.26		90		601314.975		90		456713.043		601314.975		1268		14

				456702.663		601394.269		10		1270				100		1267.989		10		456702.663		100		456718.559		10		601394.269		100		601307.136		100		456718.559		601307.136		1267.989		13.989

				456702.793		601393.277		11		1270				110		1267.684		11		456702.793		110		456728.395		11		601393.277		110		601305.961		110		456728.395		601305.961		1267.684		13.684

				456702.922		601392.286		12		1269.999				120		1266.836		12		456702.922		120		456738.388		12		601392.286		120		601305.701		120		456738.388		601305.701		1266.836		12.836

				456703.052		601391.295		13		1269.989				130		1265.71		13		456703.052		130		456748.381		13		601391.295		130		601305.441		130		456748.381		601305.441		1265.71		11.71

				456703.182		601390.304		14		1269.979				140		1264.862		14		456703.182		140		456758.374		14		601390.304		140		601305.182		140		456758.374		601305.182		1264.862		10.862

				456703.312		601389.313		15		1269.922				150		1264.111		15		456703.312		150		456768.367		15		601389.313		150		601304.922		150		456768.367		601304.922		1264.111		10.111

				456703.442		601388.322		16		1269.9				160		1264		16		456703.442		160		456778.36		16		601388.322		160		601304.662		160		456778.36		601304.662		1264		10

				456703.571		601387.33		17		1269.9				170		1263.222		17		456703.571		170		456788.353		17		601387.33		170		601304.402		170		456788.353		601304.402		1263.222		9.222

				456703.701		601386.339		18		1269.882				180		1263.131		18		456703.701		180		456798.345		18		601386.339		180		601304.142		180		456798.345		601304.142		1263.131		9.131

				456703.831		601385.348		19		1269.831				190		1262.9		19		456703.831		190		456808.338		19		601385.348		190		601303.882		190		456808.338		601303.882		1262.9		8.9

				456703.961		601384.357		20		1269.822				200		1262.591		20		456703.961		200		456818.331		20		601384.357		200		601303.622		200		456818.331		601303.622		1262.591		8.591

				456704.09		601383.366		21		1269.812				210		1262.3		21		456704.09		210		456828.324		21		601383.366		210		601303.363		210		456828.324		601303.363		1262.3		8.3

				456704.22		601382.375		22		1269.802				220		1261.998		22		456704.22		220		456838.317		22		601382.375		220		601303.103		220		456838.317		601303.103		1261.998		7.998

				456704.35		601381.383		23		1269.792				230		1261.552		23		456704.35		230		456848.31		23		601381.383		230		601302.843		230		456848.31		601302.843		1261.552		7.552

				456704.48		601380.392		24		1269.783				240		1261.1		24		456704.48		240		456858.303		24		601380.392		240		601302.583		240		456858.303		601302.583		1261.1		7.1

				456704.609		601379.401		25		1269.773				250		1260.562		25		456704.609		250		456868.295		25		601379.401		250		601302.323		250		456868.295		601302.323		1260.562		6.562

				456704.739		601378.41		26		1269.763				260		1260.016		26		456704.739		260		456878.288		26		601378.41		260		601302.063		260		456878.288		601302.063		1260.016		6.016

				456704.869		601377.419		27		1269.754				270		1259.6		27		456704.869		270		456888.281		27		601377.419		270		601301.803		270		456888.281		601301.803		1259.6		5.6

				456704.999		601376.428		28		1269.744				280		1259.2		28		456704.999		280		456898.274		28		601376.428		280		601301.544		280		456898.274		601301.544		1259.2		5.2

				456705.128		601375.436		29		1269.734				290		1258.8		29		456705.128		290		456908.267		29		601375.436		290		601301.284		290		456908.267		601301.284		1258.8		4.8

				456705.258		601374.445		30		1269.725				300		1258.4		30		456705.258		300		456918.26		30		601374.445		300		601301.024		300		456918.26		601301.024		1258.4		4.4

				456705.388		601373.454		31		1269.715				310		1257.992		31		456705.388		310		456928.253		31		601373.454		310		601300.764		310		456928.253		601300.764		1257.992		3.992

				456705.518		601372.463		32		1269.705				320		1257.643		32		456705.518		320		456938.245		32		601372.463		320		601300.504		320		456938.245		601300.504		1257.643		3.643

				456705.647		601371.472		33		1269.696				330		1257.298		33		456705.647		330		456948.238		33		601371.472		330		601300.244		330		456948.238		601300.244		1257.298		3.298

				456705.777		601370.481		34		1269.686				340		1256.9		34		456705.777		340		456958.231		34		601370.481		340		601299.984		340		456958.231		601299.984		1256.9		2.9

				456705.907		601369.489		35		1269.676				350		1256.5		35		456705.907		350		456968.224		35		601369.489		350		601299.725		350		456968.224		601299.725		1256.5		2.5

				456706.037		601368.498		36		1269.665				360		1256.061		36		456706.037		360		456978.217		36		601368.498		360		601299.465		360		456978.217		601299.465		1256.061		2.061

				456706.166		601367.507		37		1269.606				370		1255.715		37		456706.166		370		456988.21		37		601367.507		370		601299.205		370		456988.21		601299.205		1255.715		1.715

				456706.296		601366.516		38		1269.6				380		1255.5		38		456706.296		380		456998.202		38		601366.516		380		601298.945		380		456998.202		601298.945		1255.5		1.5

				456706.426		601365.525		39		1269.6				390		1255.3		39		456706.426		390		457008.195		39		601365.525		390		601298.685		390		457008.195		601298.685		1255.3		1.3

				456706.556		601364.534		40		1269.562				400		1255.183		40		456706.556		400		457018.188		40		601364.534		400		601298.425		400		457018.188		601298.425		1255.183		1.183

				456706.685		601363.542		41		1269.518				410		1255		41		456706.685		410		457028.181		41		601363.542		410		601298.166		410		457028.181		601298.166		1255		1

				456706.815		601362.551		42		1269.509				420		1255		42		456706.815		420		457038.174		42		601362.551		420		601297.906		420		457038.174		601297.906		1255		1

				456706.945		601361.56		43		1269.514				430		1255		43		456706.945		430		457048.167		43		601361.56		430		601297.646		430		457048.167		601297.646		1255		1

				456707.075		601360.569		44		1269.589				440		1254.729		44		456707.075		440		457058.16		44		601360.569		440		601297.386		440		457058.16		601297.386		1254.729		0.729

				456707.204		601359.578		45		1269.579				547.02		1253		45		456707.204		547.02		457165.1		45		601359.578		547.02		601294.605		547.02		457165.1		601294.605		1253		-1

				456707.334		601358.587		46		1269.57						1270.015		46		456707.334		0		456701.365		46		601358.587		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456707.464		601357.595		47		1269.56						1270.015		47		456707.464		0		456701.365		47		601357.595		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456707.594		601356.604		48		1269.55						1270.015		48		456707.594		0		456701.365		48		601356.604		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456707.723		601355.613		49		1269.525						1270.015		49		456707.723		0		456701.365		49		601355.613		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456707.853		601354.622		50		1269.482						1270.015		50		456707.853		0		456701.365		50		601354.622		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456707.983		601353.631		51		1269.419						1270.015		51		456707.983		0		456701.365		51		601353.631		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456708.113		601352.64		52		1269.4						1270.015		52		456708.113		0		456701.365		52		601352.64		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456708.242		601351.648		53		1269.314						1270.015		53		456708.242		0		456701.365		53		601351.648		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456708.372		601350.657		54		1269.294						1270.015		54		456708.372		0		456701.365		54		601350.657		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456708.502		601349.666		55		1269.231						1270.015		55		456708.502		0		456701.365		55		601349.666		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456708.632		601348.675		56		1269.187						1270.015		56		456708.632		0		456701.365		56		601348.675		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456708.761		601347.684		57		1269.14						1270.015		57		456708.761		0		456701.365		57		601347.684		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456708.891		601346.693		58		1269.089						1270.015		58		456708.891		0		456701.365		58		601346.693		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456709.021		601345.701		59		1269.039						1270.015		59		456709.021		0		456701.365		59		601345.701		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456709.151		601344.71		60		1269						1270.015		60		456709.151		0		456701.365		60		601344.71		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456709.28		601343.719		61		1269						1270.015		61		456709.28		0		456701.365		61		601343.719		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456709.41		601342.728		62		1268.926		TC				1270.015		62		456709.41		0		456701.365		62		601342.728		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456709.54		601341.737		63		1268.839						1270.015		63		456709.54		0		456701.365		63		601341.737		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456709.67		601340.746		64		1268.802						1270.015		64		456709.67		0		456701.365		64		601340.746		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456709.799		601339.754		65		1268.764						1270.015		65		456709.799		0		456701.365		65		601339.754		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456709.929		601338.763		66		1268.682						1270.015		66		456709.929		0		456701.365		66		601338.763		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456710.059		601337.772		67		1268.63						1270.015		67		456710.059		0		456701.365		67		601337.772		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456710.189		601336.781		68		1268.601						1270.015		68		456710.189		0		456701.365		68		601336.781		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456710.318		601335.79		69		1268.515						1270.015		69		456710.318		0		456701.365		69		601335.79		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456710.448		601334.799		70		1268.473						1270.015		70		456710.448		0		456701.365		70		601334.799		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456710.578		601333.807		71		1268.429						1270.015		71		456710.578		0		456701.365		71		601333.807		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456710.708		601332.816		72		1268.353						1270.015		72		456710.708		0		456701.365		72		601332.816		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456710.837		601331.825		73		1268.297						1270.015		73		456710.837		0		456701.365		73		601331.825		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456710.967		601330.834		74		1268.278						1270.015		74		456710.967		0		456701.365		74		601330.834		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456711.097		601329.843		75		1268.19						1270.015		75		456711.097		0		456701.365		75		601329.843		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456711.227		601328.852		76		1268.103						1270.015		76		456711.227		0		456701.365		76		601328.852		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456711.356		601327.86		77		1268.1						1270.015		77		456711.356		0		456701.365		77		601327.86		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456711.486		601326.869		78		1268.028						1270.015		78		456711.486		0		456701.365		78		601326.869		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456711.616		601325.878		79		1268						1270.015		79		456711.616		0		456701.365		79		601325.878		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456711.746		601324.887		80		1268						1270.015		80		456711.746		0		456701.365		80		601324.887		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456711.875		601323.896		81		1268						1270.015		81		456711.875		0		456701.365		81		601323.896		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456712.005		601322.905		82		1268						1270.015		82		456712.005		0		456701.365		82		601322.905		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456712.135		601321.914		83		1268						1270.015		83		456712.135		0		456701.365		83		601321.914		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456712.265		601320.922		84		1268						1270.015		84		456712.265		0		456701.365		84		601320.922		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456712.394		601319.931		85		1268						1270.015		85		456712.394		0		456701.365		85		601319.931		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456712.524		601318.94		86		1268						1270.015		86		456712.524		0		456701.365		86		601318.94		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456712.654		601317.949		87		1268						1270.015		87		456712.654		0		456701.365		87		601317.949		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456712.784		601316.958		88		1268						1270.015		88		456712.784		0		456701.365		88		601316.958		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456712.913		601315.967		89		1268						1270.015		89		456712.913		0		456701.365		89		601315.967		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.043		601314.975		90		1268						1270.015		90		456713.043		0		456701.365		90		601314.975		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.065		601314.807		90.17		1268						1270.015		90.17		456713.065		0		456701.365		90.17		601314.807		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.065		601314.807		90.17		1268						1270.015		90.17		456713.065		0		456701.365		90.17		601314.807		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.076		601314.729		90.248		1268						1270.015		90.248		456713.076		0		456701.365		90.248		601314.729		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.087		601314.652		90.327		1268						1270.015		90.327		456713.087		0		456701.365		90.327		601314.652		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.099		601314.574		90.405		1268						1270.015		90.405		456713.099		0		456701.365		90.405		601314.574		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.111		601314.496		90.484		1268						1270.015		90.484		456713.111		0		456701.365		90.484		601314.496		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.124		601314.419		90.563		1268						1270.015		90.563		456713.124		0		456701.365		90.563		601314.419		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.137		601314.341		90.641		1268						1270.015		90.641		456713.137		0		456701.365		90.641		601314.341		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.152		601314.264		90.72		1268						1270.015		90.72		456713.152		0		456701.365		90.72		601314.264		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.166		601314.187		90.799		1268						1270.015		90.799		456713.166		0		456701.365		90.799		601314.187		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.182		601314.11		90.877		1268						1270.015		90.877		456713.182		0		456701.365		90.877		601314.11		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.198		601314.033		90.956		1268						1270.015		90.956		456713.198		0		456701.365		90.956		601314.033		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.207		601313.99		91		1268						1270.015		91		456713.207		0		456701.365		91		601313.99		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.214		601313.956		91.034		1268						1270.015		91.034		456713.214		0		456701.365		91.034		601313.956		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.231		601313.879		91.113		1268						1270.015		91.113		456713.231		0		456701.365		91.113		601313.879		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.249		601313.803		91.192		1268						1270.015		91.192		456713.249		0		456701.365		91.192		601313.803		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.268		601313.726		91.27		1268						1270.015		91.27		456713.268		0		456701.365		91.27		601313.726		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.287		601313.65		91.349		1268						1270.015		91.349		456713.287		0		456701.365		91.349		601313.65		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.306		601313.574		91.428		1268						1270.015		91.428		456713.306		0		456701.365		91.428		601313.574		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.326		601313.498		91.506		1268						1270.015		91.506		456713.326		0		456701.365		91.506		601313.498		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.347		601313.422		91.585		1268						1270.015		91.585		456713.347		0		456701.365		91.585		601313.422		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.369		601313.347		91.663		1268						1270.015		91.663		456713.369		0		456701.365		91.663		601313.347		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.391		601313.271		91.742		1268						1270.015		91.742		456713.391		0		456701.365		91.742		601313.271		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.413		601313.196		91.821		1268						1270.015		91.821		456713.413		0		456701.365		91.821		601313.196		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.436		601313.121		91.899		1268						1270.015		91.899		456713.436		0		456701.365		91.899		601313.121		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.46		601313.046		91.978		1268						1270.015		91.978		456713.46		0		456701.365		91.978		601313.046		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.467		601313.025		92		1268						1270.015		92		456713.467		0		456701.365		92		601313.025		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.484		601312.971		92.056		1268						1270.015		92.056		456713.484		0		456701.365		92.056		601312.971		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.509		601312.897		92.135		1268						1270.015		92.135		456713.509		0		456701.365		92.135		601312.897		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.535		601312.822		92.214		1268						1270.015		92.214		456713.535		0		456701.365		92.214		601312.822		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.561		601312.748		92.292		1268						1270.015		92.292		456713.561		0		456701.365		92.292		601312.748		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.588		601312.674		92.371		1268						1270.015		92.371		456713.588		0		456701.365		92.371		601312.674		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.615		601312.6		92.45		1268						1270.015		92.45		456713.615		0		456701.365		92.45		601312.6		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.643		601312.527		92.528		1268						1270.015		92.528		456713.643		0		456701.365		92.528		601312.527		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.671		601312.454		92.607		1268						1270.015		92.607		456713.671		0		456701.365		92.607		601312.454		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.7		601312.381		92.685		1268						1270.015		92.685		456713.7		0		456701.365		92.685		601312.381		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.73		601312.308		92.764		1268						1270.015		92.764		456713.73		0		456701.365		92.764		601312.308		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.76		601312.235		92.843		1268						1270.015		92.843		456713.76		0		456701.365		92.843		601312.235		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.79		601312.163		92.921		1268						1270.015		92.921		456713.79		0		456701.365		92.921		601312.163		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.822		601312.091		93		1268						1270.015		93		456713.822		0		456701.365		93		601312.091		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.822		601312.091		93		1268						1270.015		93		456713.822		0		456701.365		93		601312.091		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.854		601312.019		93.079		1268						1270.015		93.079		456713.854		0		456701.365		93.079		601312.019		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.886		601311.947		93.157		1268						1270.015		93.157		456713.886		0		456701.365		93.157		601311.947		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.919		601311.876		93.236		1268						1270.015		93.236		456713.919		0		456701.365		93.236		601311.876		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.952		601311.805		93.314		1268						1270.015		93.314		456713.952		0		456701.365		93.314		601311.805		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.987		601311.734		93.393		1268						1270.015		93.393		456713.987		0		456701.365		93.393		601311.734		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.021		601311.664		93.472		1268						1270.015		93.472		456714.021		0		456701.365		93.472		601311.664		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.056		601311.593		93.55		1268						1270.015		93.55		456714.056		0		456701.365		93.55		601311.593		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.092		601311.523		93.629		1268						1270.015		93.629		456714.092		0		456701.365		93.629		601311.523		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.128		601311.454		93.707		1268						1270.015		93.707		456714.128		0		456701.365		93.707		601311.454		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.165		601311.384		93.786		1268						1270.015		93.786		456714.165		0		456701.365		93.786		601311.384		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.203		601311.315		93.865		1268						1270.015		93.865		456714.203		0		456701.365		93.865		601311.315		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.241		601311.246		93.943		1268						1270.015		93.943		456714.241		0		456701.365		93.943		601311.246		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.268		601311.197		94		1268						1270.015		94		456714.268		0		456701.365		94		601311.197		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.279		601311.178		94.022		1268						1270.015		94.022		456714.279		0		456701.365		94.022		601311.178		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.318		601311.109		94.101		1268						1270.015		94.101		456714.318		0		456701.365		94.101		601311.109		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.357		601311.041		94.179		1268						1270.015		94.179		456714.357		0		456701.365		94.179		601311.041		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.398		601310.974		94.258		1268						1270.015		94.258		456714.398		0		456701.365		94.258		601310.974		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.438		601310.907		94.336		1268						1270.015		94.336		456714.438		0		456701.365		94.336		601310.907		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.479		601310.84		94.415		1268						1270.015		94.415		456714.479		0		456701.365		94.415		601310.84		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.521		601310.773		94.494		1268						1270.015		94.494		456714.521		0		456701.365		94.494		601310.773		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.563		601310.707		94.572		1268						1270.015		94.572		456714.563		0		456701.365		94.572		601310.707		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.606		601310.641		94.651		1268						1270.015		94.651		456714.606		0		456701.365		94.651		601310.641		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.649		601310.575		94.73		1268						1270.015		94.73		456714.649		0		456701.365		94.73		601310.575		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.693		601310.51		94.808		1268						1270.015		94.808		456714.693		0		456701.365		94.808		601310.51		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.737		601310.445		94.887		1268						1270.015		94.887		456714.737		0		456701.365		94.887		601310.445		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.782		601310.38		94.965		1268						1270.015		94.965		456714.782		0		456701.365		94.965		601310.38		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.802		601310.352		95		1268						1270.015		95		456714.802		0		456701.365		95		601310.352		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.827		601310.316		95.044		1268						1270.015		95.044		456714.827		0		456701.365		95.044		601310.316		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.873		601310.252		95.123		1268						1270.015		95.123		456714.873		0		456701.365		95.123		601310.252		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.919		601310.188		95.201		1268						1270.015		95.201		456714.919		0		456701.365		95.201		601310.188		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.966		601310.125		95.28		1268						1270.015		95.28		456714.966		0		456701.365		95.28		601310.125		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456715.013		601310.062		95.358		1268						1270.015		95.358		456715.013		0		456701.365		95.358		601310.062		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456715.061		601310		95.437		1268						1270.015		95.437		456715.061		0		456701.365		95.437		601310		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456715.109		601309.938		95.516		1268						1270.015		95.516		456715.109		0		456701.365		95.516		601309.938		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456715.158		601309.876		95.594		1268						1270.015		95.594		456715.158		0		456701.365		95.594		601309.876		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456715.207		601309.815		95.673		1268						1270.015		95.673		456715.207		0		456701.365		95.673		601309.815		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456715.256		601309.754		95.752		1268						1270.015		95.752		456715.256		0		456701.365		95.752		601309.754		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456715.307		601309.694		95.83		1268						1270.015		95.83		456715.307		0		456701.365		95.83		601309.694		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456715.357		601309.633		95.909		1268						1270.015		95.909		456715.357		0		456701.365		95.909		601309.633		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456715.408		601309.574		95.987		1268						1270.015		95.987		456715.408		0		456701.365		95.987		601309.574		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456715.417		601309.564		96		1268						1270.015		96		456715.417		0		456701.365		96		601309.564		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456715.46		601309.514		96.066		1268						1270.015		96.066		456715.46		0		456701.365		96.066		601309.514		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456715.512		601309.456		96.145		1268						1270.015		96.145		456715.512		0		456701.365		96.145		601309.456		0		601404.18		0		456701.365		601404.18		1270.015		16.015		13.87

				456715.564		601309.397		96.223		1268						1270.015		96.223		456715.564		0		456701.365		96.223		601309.397		0		601404.18		0		456701.365		601404.18		1270.015

				456715.617		601309.339		96.302		1268						1270.015		96.302		456715.617		0		456701.365		96.302		601309.339		0		601404.18		0		456701.365		601404.18		1270.015

				456715.671		601309.281		96.381		1268						1270.015		96.381		456715.671		0		456701.365		96.381		601309.281		0		601404.18		0		456701.365		601404.18		1270.015

				456715.725		601309.224		96.459		1268						1270.015		96.459		456715.725		0		456701.365		96.459		601309.224		0		601404.18		0		456701.365		601404.18		1270.015

				456715.779		601309.167		96.538		1268						1270.015		96.538		456715.779		0		456701.365		96.538		601309.167		0		601404.18		0		456701.365		601404.18		1270.015

				456715.834		601309.111		96.616		1268						1270.015		96.616		456715.834		0		456701.365		96.616		601309.111		0		601404.18		0		456701.365		601404.18		1270.015

				456715.889		601309.055		96.695		1268						1270.015		96.695		456715.889		0		456701.365		96.695		601309.055		0		601404.18		0		456701.365		601404.18		1270.015

				456715.944		601308.999		96.774		1268						1270.015		96.774		456715.944		0		456701.365		96.774		601308.999		0		601404.18		0		456701.365		601404.18		1270.015

				456716.001		601308.944		96.852		1268						1270.015		96.852		456716.001		0		456701.365		96.852		601308.944		0		601404.18		0		456701.365		601404.18		1270.015

				456716.057		601308.89		96.931		1268						1270.015		96.931		456716.057		0		456701.365		96.931		601308.89		0		601404.18		0		456701.365		601404.18		1270.015

				456716.107		601308.842		97		1268						1270.015		97		456716.107		0		456701.365		97		601308.842		0		601404.18		0		456701.365		601404.18		1270.015

				456716.114		601308.835		97.01		1268						1270.015		97.01		456716.114		0		456701.365		97.01		601308.835		0		601404.18		0		456701.365		601404.18		1270.015

				456716.171		601308.782		97.088		1268						1270.015		97.088		456716.171		0		456701.365		97.088		601308.782		0		601404.18		0		456701.365		601404.18		1270.015

				456716.229		601308.728		97.167		1268						1270.015		97.167		456716.229		0		456701.365		97.167		601308.728		0		601404.18		0		456701.365		601404.18		1270.015

				456716.287		601308.676		97.245		1268						1270.015		97.245		456716.287		0		456701.365		97.245		601308.676		0		601404.18		0		456701.365		601404.18		1270.015

				456716.346		601308.623		97.324		1268						1270.015		97.324		456716.346		0		456701.365		97.324		601308.623		0		601404.18		0		456701.365		601404.18		1270.015

				456716.405		601308.571		97.403		1268						1270.015		97.403		456716.405		0		456701.365		97.403		601308.571		0		601404.18		0		456701.365		601404.18		1270.015

				456716.464		601308.52		97.481		1268						1270.015		97.481		456716.464		0		456701.365		97.481		601308.52		0		601404.18		0		456701.365		601404.18		1270.015

				456716.524		601308.469		97.56		1268						1270.015		97.56		456716.524		0		456701.365		97.56		601308.469		0		601404.18		0		456701.365		601404.18		1270.015

				456716.584		601308.418		97.638		1268						1270.015		97.638		456716.584		0		456701.365		97.638		601308.418		0		601404.18		0		456701.365		601404.18		1270.015

				456716.645		601308.368		97.717		1268						1270.015		97.717		456716.645		0		456701.365		97.717		601308.368		0		601404.18		0		456701.365		601404.18		1270.015

				456716.706		601308.319		97.796		1268						1270.015		97.796		456716.706		0		456701.365		97.796		601308.319		0		601404.18		0		456701.365		601404.18		1270.015

				456716.767		601308.27		97.874		1268						1270.015		97.874		456716.767		0		456701.365		97.874		601308.27		0		601404.18		0		456701.365		601404.18		1270.015

				456716.829		601308.221		97.953		1268						1270.015		97.953		456716.829		0		456701.365		97.953		601308.221		0		601404.18		0		456701.365		601404.18		1270.015

				456716.866		601308.192		98		1268						1270.015		98		456716.866		0		456701.365		98		601308.192		0		601404.18		0		456701.365		601404.18		1270.015

				456716.891		601308.173		98.032		1268						1270.015		98.032		456716.891		0		456701.365		98.032		601308.173		0		601404.18		0		456701.365		601404.18		1270.015

				456716.954		601308.125		98.11		1268						1270.015		98.11		456716.954		0		456701.365		98.11		601308.125		0		601404.18		0		456701.365		601404.18		1270.015

				456717.017		601308.078		98.189		1268						1270.015		98.189		456717.017		0		456701.365		98.189		601308.078		0		601404.18		0		456701.365		601404.18		1270.015

				456717.08		601308.032		98.267		1268						1270.015		98.267		456717.08		0		456701.365		98.267		601308.032		0		601404.18		0		456701.365		601404.18		1270.015

				456717.144		601307.986		98.346		1268						1270.015		98.346		456717.144		0		456701.365		98.346		601307.986		0		601404.18		0		456701.365		601404.18		1270.015

				456717.208		601307.94		98.425		1268						1270.015		98.425		456717.208		0		456701.365		98.425		601307.94		0		601404.18		0		456701.365		601404.18		1270.015

				456717.272		601307.895		98.503		1268						1270.015		98.503		456717.272		0		456701.365		98.503		601307.895		0		601404.18		0		456701.365		601404.18		1270.015

				456717.337		601307.85		98.582		1268						1270.015		98.582		456717.337		0		456701.365		98.582		601307.85		0		601404.18		0		456701.365		601404.18		1270.015

				456717.402		601307.806		98.661		1268						1270.015		98.661		456717.402		0		456701.365		98.661		601307.806		0		601404.18		0		456701.365		601404.18		1270.015

				456717.467		601307.763		98.739		1268						1270.015		98.739		456717.467		0		456701.365		98.739		601307.763		0		601404.18		0		456701.365		601404.18		1270.015

				456717.533		601307.719		98.818		1268						1270.015		98.818		456717.533		0		456701.365		98.818		601307.719		0		601404.18		0		456701.365		601404.18		1270.015

				456717.599		601307.677		98.896		1268						1270.015		98.896		456717.599		0		456701.365		98.896		601307.677		0		601404.18		0		456701.365		601404.18		1270.015

				456717.665		601307.635		98.975		1268						1270.015		98.975		456717.665		0		456701.365		98.975		601307.635		0		601404.18		0		456701.365		601404.18		1270.015

				456717.686		601307.622		99		1268						1270.015		99		456717.686		0		456701.365		99		601307.622		0		601404.18		0		456701.365		601404.18		1270.015

				456717.732		601307.593		99.054		1268						1270.015		99.054		456717.732		0		456701.365		99.054		601307.593		0		601404.18		0		456701.365		601404.18		1270.015

				456717.799		601307.552		99.132		1268						1270.015		99.132		456717.799		0		456701.365		99.132		601307.552		0		601404.18		0		456701.365		601404.18		1270.015

				456717.866		601307.512		99.211		1268						1270.015		99.211		456717.866		0		456701.365		99.211		601307.512		0		601404.18		0		456701.365		601404.18		1270.015

				456717.934		601307.472		99.289		1268						1270.015		99.289		456717.934		0		456701.365		99.289		601307.472		0		601404.18		0		456701.365		601404.18		1270.015

				456718.002		601307.433		99.368		1268						1270.015		99.368		456718.002		0		456701.365		99.368		601307.433		0		601404.18		0		456701.365		601404.18		1270.015

				456718.07		601307.394		99.447		1268						1270.015		99.447		456718.07		0		456701.365		99.447		601307.394		0		601404.18		0		456701.365		601404.18		1270.015

				456718.139		601307.355		99.525		1268						1270.015		99.525		456718.139		0		456701.365		99.525		601307.355		0		601404.18		0		456701.365		601404.18		1270.015

				456718.208		601307.318		99.604		1268						1270.015		99.604		456718.208		0		456701.365		99.604		601307.318		0		601404.18		0		456701.365		601404.18		1270.015

				456718.277		601307.28		99.683		1268						1270.015		99.683		456718.277		0		456701.365		99.683		601307.28		0		601404.18		0		456701.365		601404.18		1270.015

				456718.347		601307.244		99.761		1267.999						1270.015		99.761		456718.347		0		456701.365		99.761		601307.244		0		601404.18		0		456701.365		601404.18		1270.015

				456718.416		601307.208		99.84		1267.996						1270.015		99.84		456718.416		0		456701.365		99.84		601307.208		0		601404.18		0		456701.365		601404.18		1270.015

				456718.486		601307.172		99.918		1267.992						1270.015		99.918		456718.486		0		456701.365		99.918		601307.172		0		601404.18		0		456701.365		601404.18		1270.015

				456718.557		601307.137		99.997		1267.989						1270.015		99.997		456718.557		0		456701.365		99.997		601307.137		0		601404.18		0		456701.365		601404.18		1270.015

				456718.559		601307.136		100		1267.989						1270.015		100		456718.559		0		456701.365		100		601307.136		0		601404.18		0		456701.365		601404.18		1270.015

				456718.627		601307.102		100.08		1267.986						1270.015		100.08		456718.627		0		456701.365		100.08		601307.102		0		601404.18		0		456701.365		601404.18		1270.015

				456718.698		601307.069		100.15		1267.983						1270.015		100.15		456718.698		0		456701.365		100.15		601307.069		0		601404.18		0		456701.365		601404.18		1270.015

				456718.769		601307.035		100.23		1267.98						1270.015		100.23		456718.769		0		456701.365		100.23		601307.035		0		601404.18		0		456701.365		601404.18		1270.015

				456718.841		601307.002		100.31		1267.978						1270.015		100.31		456718.841		0		456701.365		100.31		601307.002		0		601404.18		0		456701.365		601404.18		1270.015

				456718.913		601306.97		100.39		1267.975						1270.015		100.39		456718.913		0		456701.365		100.39		601306.97		0		601404.18		0		456701.365		601404.18		1270.015

				456718.984		601306.938		100.47		1267.972						1270.015		100.47		456718.984		0		456701.365		100.47		601306.938		0		601404.18		0		456701.365		601404.18		1270.015

				456719.057		601306.907		100.55		1267.969						1270.015		100.55		456719.057		0		456701.365		100.55		601306.907		0		601404.18		0		456701.365		601404.18		1270.015

				456719.129		601306.877		100.63		1267.966						1270.015		100.63		456719.129		0		456701.365		100.63		601306.877		0		601404.18		0		456701.365		601404.18		1270.015

				456719.202		601306.847		100.7		1267.964						1270.015		100.7		456719.202				456701.365		100.7		601306.847		0		601404.18		0		456701.365		601404.18		1270.015

				456719.275		601306.817		100.78		1267.961						1270.015		100.78		456719.275				456701.365		100.78		601306.817		0		601404.18		0		456701.365		601404.18		1270.015

				456719.348		601306.788		100.86		1267.959						1270.015		100.86		456719.348				456701.365		100.86		601306.788		0		601404.18		0		456701.365		601404.18		1270.015

				456719.421		601306.76		100.94		1267.956						1270.015		100.94		456719.421				456701.365		100.94		601306.76		0		601404.18		0		456701.365		601404.18		1270.015

				456719.477		601306.739		101		1267.954						1270.015		101		456719.477				456701.365		101		601306.739		0		601404.18		0		456701.365		601404.18		1270.015

				456719.495		601306.733		101.02		1267.954						1270.015		101.02		456719.495				456701.365		101.02		601306.733		0		601404.18		0		456701.365		601404.18		1270.015

				456719.568		601306.705		101.1		1267.951						1270.015		101.1		456719.568				456701.365		101.1		601306.705		0		601404.18		0		456701.365		601404.18		1270.015

				456719.642		601306.679		101.18		1267.949						1270.015		101.18		456719.642				456701.365		101.18		601306.679		0		601404.18		0		456701.365		601404.18		1270.015

				456719.717		601306.653		101.25		1267.947						1270.015		101.25		456719.717				456701.365		101.25		601306.653		0		601404.18		0		456701.365		601404.18		1270.015

				456719.791		601306.628		101.33		1267.944						1270.015		101.33		456719.791				456701.365		101.33		601306.628		0		601404.18		0		456701.365		601404.18		1270.015

				456719.865		601306.603		101.41		1267.942						1270.015		101.41		456719.865				456701.365		101.41		601306.603		0		601404.18		0		456701.365		601404.18		1270.015

				456719.94		601306.579		101.49		1267.94						1270.015		101.49		456719.94				456701.365		101.49		601306.579		0		601404.18		0		456701.365		601404.18		1270.015

				456720.015		601306.555		101.57		1267.938						1270.015		101.57		456720.015				456701.365		101.57		601306.555		0		601404.18		0		456701.365		601404.18		1270.015

				456720.09		601306.532		101.65		1267.936						1270.015		101.65		456720.09				456701.365		101.65		601306.532		0		601404.18		0		456701.365		601404.18		1270.015

				456720.166		601306.51		101.73		1267.934						1270.015		101.73		456720.166				456701.365		101.73		601306.51		0		601404.18		0		456701.365		601404.18		1270.015

				456720.241		601306.488		101.81		1267.932						1270.015		101.81		456720.241				456701.365		101.81		601306.488		0		601404.18		0		456701.365		601404.18		1270.015

				456720.317		601306.467		101.88		1267.93						1270.015		101.88		456720.317				456701.365		101.88		601306.467		0		601404.18		0		456701.365		601404.18		1270.015

				456720.393		601306.446		101.96		1267.928						1270.015		101.96		456720.393				456701.365		101.96		601306.446		0		601404.18		0		456701.365		601404.18		1270.015

				456720.429		601306.436		102		1267.928						1270.015		102		456720.429				456701.365		102		601306.436		0		601404.18		0		456701.365		601404.18		1270.015

				456720.469		601306.426		102.04		1267.927						1270.015		102.04		456720.469				456701.365		102.04		601306.426		0		601404.18		0		456701.365		601404.18		1270.015

				456720.545		601306.406		102.12		1267.925						1270.015		102.12		456720.545				456701.365		102.12		601306.406		0		601404.18		0		456701.365		601404.18		1270.015

				456720.621		601306.388		102.2		1267.923						1270.015		102.2		456720.621				456701.365		102.2		601306.388		0		601404.18		0		456701.365		601404.18		1270.015

				456720.698		601306.369		102.28		1267.922						1270.015		102.28		456720.698				456701.365		102.28		601306.369		0		601404.18		0		456701.365		601404.18		1270.015

				456720.774		601306.352		102.36		1267.92						1270.015		102.36		456720.774				456701.365		102.36		601306.352		0		601404.18		0		456701.365		601404.18		1270.015

				456720.851		601306.335		102.43		1267.919						1270.015		102.43		456720.851				456701.365		102.43		601306.335		0		601404.18		0		456701.365		601404.18		1270.015

				456720.928		601306.318		102.51		1267.917						1270.015		102.51		456720.928				456701.365		102.51		601306.318		0		601404.18		0		456701.365		601404.18		1270.015

				456721.005		601306.302		102.59		1267.916						1270.015		102.59		456721.005				456701.365		102.59		601306.302		0		601404.18		0		456701.365		601404.18		1270.015

				456721.082		601306.287		102.67		1267.914						1270.015		102.67		456721.082				456701.365		102.67		601306.287		0		601404.18		0		456701.365		601404.18		1270.015

				456721.159		601306.273		102.75		1267.913						1270.015		102.75		456721.159				456701.365		102.75		601306.273		0		601404.18		0		456701.365		601404.18		1270.015

				456721.236		601306.259		102.83		1267.912						1270.015		102.83		456721.236				456701.365		102.83		601306.259		0		601404.18		0		456701.365		601404.18		1270.015

				456721.314		601306.245		102.91		1267.911						1270.015		102.91		456721.314				456701.365		102.91		601306.245		0		601404.18		0		456701.365		601404.18		1270.015

				456721.391		601306.232		102.98		1267.91						1270.015		102.98		456721.391				456701.365		102.98		601306.232		0		601404.18		0		456701.365		601404.18		1270.015

				456721.407		601306.23		103		1267.909						1270.015		103		456721.407				456701.365		103		601306.23		0		601404.18		0		456701.365		601404.18		1270.015

				456721.469		601306.22		103.06		1267.909						1270.015		103.06		456721.469				456701.365		103.06		601306.22		0		601404.18		0		456701.365		601404.18		1270.015

				456721.547		601306.209		103.14		1267.908						1270.015		103.14		456721.547				456701.365		103.14		601306.209		0		601404.18		0		456701.365		601404.18		1270.015

				456721.625		601306.198		103.22		1267.907						1270.015		103.22		456721.625				456701.365		103.22		601306.198		0		601404.18		0		456701.365		601404.18		1270.015

				456721.702		601306.187		103.3		1267.906						1270.015		103.3		456721.702				456701.365		103.3		601306.187		0		601404.18		0		456701.365		601404.18		1270.015

				456721.78		601306.178		103.38		1267.905						1270.015		103.38		456721.78				456701.365		103.38		601306.178		0		601404.18		0		456701.365		601404.18		1270.015

				456721.858		601306.168		103.46		1267.904						1270.015		103.46		456721.858				456701.365		103.46		601306.168		0		601404.18		0		456701.365		601404.18		1270.015

				456721.937		601306.16		103.53		1267.903						1270.015		103.53		456721.937				456701.365		103.53		601306.16		0		601404.18		0		456701.365		601404.18		1270.015

				456722.015		601306.152		103.61		1267.903						1270.015		103.61		456722.015				456701.365		103.61		601306.152		0		601404.18		0		456701.365		601404.18		1270.015

				456722.093		601306.145		103.69		1267.902						1270.015		103.69		456722.093				456701.365		103.69		601306.145		0		601404.18		0		456701.365		601404.18		1270.015

				456722.171		601306.138		103.77		1267.901						1270.015		103.77		456722.171				456701.365		103.77		601306.138		0		601404.18		0		456701.365		601404.18		1270.015

				456722.25		601306.132		103.85		1267.901						1270.015		103.85		456722.25				456701.365		103.85		601306.132		0		601404.18		0		456701.365		601404.18		1270.015

				456722.328		601306.127		103.93		1267.9						1270.015		103.93		456722.328				456701.365		103.93		601306.127		0		601404.18		0		456701.365		601404.18		1270.015

				456722.4		601306.122		104		1267.9						1270.015		104		456722.4				456701.365		104		601306.122		0		601404.18		0		456701.365		601404.18		1270.015

				456722.407		601306.122		104.01		1267.9						1270.015		104.01		456722.407				456701.365		104.01		601306.122		0		601404.18		0		456701.365		601404.18		1270.015

				456722.485		601306.118		104.09		1267.899						1270.015		104.09		456722.485				456701.365		104.09		601306.118		0		601404.18		0		456701.365		601404.18		1270.015

				456722.564		601306.114		104.16		1267.898						1270.015		104.16		456722.564				456701.365		104.16		601306.114		0		601404.18		0		456701.365		601404.18		1270.015

				456722.642		601306.111		104.24		1267.898						1270.015		104.24		456722.642				456701.365		104.24		601306.111		0		601404.18		0		456701.365		601404.18		1270.015

				456722.721		601306.109		104.32		1267.897						1270.015		104.32		456722.721				456701.365		104.32		601306.109		0		601404.18		0		456701.365		601404.18		1270.015

				456722.721		601306.109		104.32		1267.897						1270.015		104.32		456722.721				456701.365		104.32		601306.109		0		601404.18		0		456701.365		601404.18		1270.015

				456723.399		601306.091		105		1267.894						1270.015		105		456723.399				456701.365		105		601306.091		0		601404.18		0		456701.365		601404.18		1270.015

				456724.398		601306.065		106		1267.887						1270.015		106		456724.398				456701.365		106		601306.065		0		601404.18		0		456701.365		601404.18		1270.015

				456725.398		601306.039		107		1267.813						1270.015		107		456725.398				456701.365		107		601306.039		0		601404.18		0		456701.365		601404.18		1270.015

				456726.397		601306.013		108		1267.785						1270.015		108		456726.397				456701.365		108		601306.013		0		601404.18		0		456701.365		601404.18		1270.015

				456727.396		601305.987		109		1267.752						1270.015		109		456727.396				456701.365		109		601305.987		0		601404.18		0		456701.365		601404.18		1270.015

				456728.395		601305.961		110		1267.684						1270.015		110		456728.395				456701.365		110		601305.961		0		601404.18		0		456701.365		601404.18		1270.015

				456729.395		601305.935		111		1267.607						1270.015		111		456729.395				456701.365		111		601305.935		0		601404.18		0		456701.365		601404.18		1270.015

				456730.394		601305.909		112		1267.531						1270.015		112		456730.394				456701.365		112		601305.909		0		601404.18		0		456701.365		601404.18		1270.015

				456731.393		601305.883		113		1267.454						1270.015		113		456731.393				456701.365		113		601305.883		0		601404.18		0		456701.365		601404.18		1270.015

				456732.393		601305.857		114		1267.377						1270.015		114		456732.393				456701.365		114		601305.857		0		601404.18		0		456701.365		601404.18		1270.015

				456733.392		601305.831		115		1267.3						1270.015		115		456733.392				456701.365		115		601305.831		0		601404.18		0		456701.365		601404.18		1270.015

				456734.391		601305.805		116		1267.223						1270.015		116		456734.391				456701.365		116		601305.805		0		601404.18		0		456701.365		601404.18		1270.015

				456735.39		601305.779		117		1267.146						1270.015		117		456735.39				456701.365		117		601305.779		0		601404.18		0		456701.365		601404.18		1270.015

				456736.39		601305.753		118		1267.069						1270.015		118		456736.39				456701.365		118		601305.753		0		601404.18		0		456701.365		601404.18		1270.015

				456737.389		601305.727		119		1266.946						1270.015		119		456737.389				456701.365		119		601305.727		0		601404.18		0		456701.365		601404.18		1270.015

				456738.388		601305.701		120		1266.836						1270.015		120		456738.388				456701.365		120		601305.701		0		601404.18		0		456701.365		601404.18		1270.015

				456739.388		601305.675		121		1266.717						1270.015		121		456739.388				456701.365		121		601305.675		0		601404.18		0		456701.365		601404.18		1270.015

				456740.387		601305.649		122		1266.566						1270.015		122		456740.387				456701.365		122		601305.649		0		601404.18		0		456701.365		601404.18		1270.015

				456741.386		601305.623		123		1266.485						1270.015		123		456741.386				456701.365		123		601305.623		0		601404.18		0		456701.365		601404.18		1270.015

				456742.385		601305.597		124		1266.363						1270.015		124		456742.385				456701.365		124		601305.597		0		601404.18		0		456701.365		601404.18		1270.015

				456743.385		601305.571		125		1266.232						1270.015		125		456743.385				456701.365		125		601305.571		0		601404.18		0		456701.365		601404.18		1270.015

				456744.384		601305.545		126		1266.155						1270.015		126		456744.384				456701.365		126		601305.545		0		601404.18		0		456701.365		601404.18		1270.015

				456745.383		601305.519		127		1266.009						1270.015		127		456745.383				456701.365		127		601305.519		0		601404.18		0		456701.365		601404.18		1270.015

				456746.383		601305.493		128		1265.901						1270.015		128		456746.383				456701.365		128		601305.493		0		601404.18		0		456701.365		601404.18		1270.015

				456747.382		601305.467		129		1265.817						1270.015		129		456747.382				456701.365		129		601305.467		0		601404.18		0		456701.365		601404.18		1270.015

				456748.381		601305.441		130		1265.71						1270.015		130		456748.381				456701.365		130		601305.441		0		601404.18		0		456701.365		601404.18		1270.015

				456749.38		601305.415		131		1265.591						1270.015		131		456749.38				456701.365		131		601305.415		0		601404.18		0		456701.365		601404.18		1270.015

				456750.38		601305.389		132		1265.494						1270.015		132		456750.38				456701.365		132		601305.389		0		601404.18		0		456701.365		601404.18		1270.015

				456751.379		601305.363		133		1265.417						1270.015		133		456751.379				456701.365		133		601305.363		0		601404.18		0		456701.365		601404.18		1270.015

				456752.378		601305.337		134		1265.34						1270.015		134		456752.378				456701.365		134		601305.337		0		601404.18		0		456701.365		601404.18		1270.015

				456753.378		601305.311		135		1265.198						1270.015		135		456753.378				456701.365		135		601305.311		0		601404.18		0		456701.365		601404.18		1270.015

				456754.377		601305.285		136		1265.086						1270.015		136		456754.377				456701.365		136		601305.285		0		601404.18		0		456701.365		601404.18		1270.015

				456755.376		601305.259		137		1265.01						1270.015		137		456755.376				456701.365		137		601305.259		0		601404.18		0		456701.365		601404.18		1270.015

				456756.375		601305.233		138		1264.933						1270.015		138		456756.375				456701.365		138		601305.233		0		601404.18		0		456701.365		601404.18		1270.015

				456757.375		601305.207		139		1264.907						1270.015		139		456757.375				456701.365		139		601305.207		0		601404.18		0		456701.365		601404.18		1270.015

				456758.374		601305.182		140		1264.862						1270.015		140		456758.374				456701.365		140		601305.182		0		601404.18		0		456701.365		601404.18		1270.015

				456759.373		601305.156		141		1264.787						1270.015		141		456759.373				456701.365		141		601305.156		0		601404.18		0		456701.365		601404.18		1270.015

				456760.373		601305.13		142		1264.713						1270.015		142		456760.373				456701.365		142		601305.13		0		601404.18		0		456701.365		601404.18		1270.015

				456761.372		601305.104		143		1264.638						1270.015		143		456761.372				456701.365		143		601305.104		0		601404.18		0		456701.365		601404.18		1270.015

				456762.371		601305.078		144		1264.564						1270.015		144		456762.371				456701.365		144		601305.078		0		601404.18		0		456701.365		601404.18		1270.015

				456763.37		601305.052		145		1264.489						1270.015		145		456763.37				456701.365		145		601305.052		0		601404.18		0		456701.365		601404.18		1270.015

				456764.37		601305.026		146		1264.415						1270.015		146		456764.37				456701.365		146		601305.026		0		601404.18		0		456701.365		601404.18		1270.015

				456765.369		601305		147		1264.34						1270.015		147		456765.369				456701.365		147		601305		0		601404.18		0		456701.365		601404.18		1270.015

				456766.368		601304.974		148		1264.264						1270.015		148		456766.368				456701.365		148		601304.974		0		601404.18		0		456701.365		601404.18		1270.015

				456767.368		601304.948		149		1264.187						1270.015		149		456767.368				456701.365		149		601304.948		0		601404.18		0		456701.365		601404.18		1270.015

				456768.367		601304.922		150		1264.111						1270.015		150		456768.367				456701.365		150		601304.922		0		601404.18		0		456701.365		601404.18		1270.015

				456769.366		601304.896		151		1264.039						1270.015		151		456769.366				456701.365		151		601304.896		0		601404.18		0		456701.365		601404.18		1270.015

				456770.365		601304.87		152		1264						1270.015		152		456770.365				456701.365		152		601304.87		0		601404.18		0		456701.365		601404.18		1270.015

				456771.365		601304.844		153		1264						1270.015		153		456771.365				456701.365		153		601304.844		0		601404.18		0		456701.365		601404.18		1270.015

				456772.364		601304.818		154		1264						1270.015		154		456772.364				456701.365		154		601304.818		0		601404.18		0		456701.365		601404.18		1270.015

				456773.363		601304.792		155		1264						1270.015		155		456773.363				456701.365		155		601304.792		0		601404.18		0		456701.365		601404.18		1270.015

				456774.363		601304.766		156		1264						1270.015		156		456774.363				456701.365		156		601304.766		0		601404.18		0		456701.365		601404.18		1270.015

				456775.362		601304.74		157		1264						1270.015		157		456775.362				456701.365		157		601304.74		0		601404.18		0		456701.365		601404.18		1270.015

				456776.361		601304.714		158		1264						1270.015		158		456776.361				456701.365		158		601304.714		0		601404.18		0		456701.365		601404.18		1270.015

				456777.36		601304.688		159		1264						1270.015		159		456777.36				456701.365		159		601304.688		0		601404.18		0		456701.365		601404.18		1270.015

				456778.36		601304.662		160		1264						1270.015		160		456778.36				456701.365		160		601304.662		0		601404.18		0		456701.365		601404.18		1270.015

				456779.359		601304.636		161		1263.999						1270.015		161		456779.359				456701.365		161		601304.636		0		601404.18		0		456701.365		601404.18		1270.015

				456780.358		601304.61		162		1263.974						1270.015		162		456780.358				456701.365		162		601304.61		0		601404.18		0		456701.365		601404.18		1270.015

				456781.358		601304.584		163		1263.878						1270.015		163		456781.358				456701.365		163		601304.584		0		601404.18		0		456701.365		601404.18		1270.015

				456782.357		601304.558		164		1263.746						1270.015		164		456782.357				456701.365		164		601304.558		0		601404.18		0		456701.365		601404.18		1270.015

				456783.356		601304.532		165		1263.599						1270.015		165		456783.356				456701.365		165		601304.532		0		601404.18		0		456701.365		601404.18		1270.015

				456784.355		601304.506		166		1263.568						1270.015		166		456784.355				456701.365		166		601304.506		0		601404.18		0		456701.365		601404.18		1270.015

				456785.355		601304.48		167		1263.482						1270.015		167		456785.355				456701.365		167		601304.48		0		601404.18		0		456701.365		601404.18		1270.015

				456786.354		601304.454		168		1263.38						1270.015		168		456786.354				456701.365		168		601304.454		0		601404.18		0		456701.365		601404.18		1270.015

				456787.353		601304.428		169		1263.301						1270.015		169		456787.353				456701.365		169		601304.428		0		601404.18		0		456701.365		601404.18		1270.015

				456788.353		601304.402		170		1263.222						1270.015		170		456788.353				456701.365		170		601304.402		0		601404.18		0		456701.365		601404.18		1270.015

				456789.352		601304.376		171		1263.169						1270.015		171		456789.352				456701.365		171		601304.376		0		601404.18		0		456701.365		601404.18		1270.015

				456790.351		601304.35		172		1263.13						1270.015		172		456790.351				456701.365		172		601304.35		0		601404.18		0		456701.365		601404.18		1270.015

				456791.35		601304.324		173		1263.084						1270.015		173		456791.35				456701.365		173		601304.324		0		601404.18		0		456701.365		601404.18		1270.015

				456792.35		601304.298		174		1263.078						1270.015		174		456792.35				456701.365		174		601304.298		0		601404.18		0		456701.365		601404.18		1270.015

				456793.349		601304.272		175		1263.074						1270.015		175		456793.349				456701.365		175		601304.272		0		601404.18		0		456701.365		601404.18		1270.015

				456794.348		601304.246		176		1263.069						1270.015		176		456794.348				456701.365		176		601304.246		0		601404.18		0		456701.365		601404.18		1270.015

				456795.348		601304.22		177		1263.065						1270.015		177		456795.348				456701.365		177		601304.22		0		601404.18		0		456701.365		601404.18		1270.015

				456796.347		601304.194		178		1263.131						1270.015		178		456796.347				456701.365		178		601304.194		0		601404.18		0		456701.365		601404.18		1270.015

				456797.346		601304.168		179		1263.155						1270.015		179		456797.346				456701.365		179		601304.168		0		601404.18		0		456701.365		601404.18		1270.015

				456798.345		601304.142		180		1263.131						1270.015		180		456798.345				456701.365		180		601304.142		0		601404.18		0		456701.365		601404.18		1270.015

				456799.345		601304.116		181		1263.052						1270.015		181		456799.345				456701.365		181		601304.116		0		601404.18		0		456701.365		601404.18		1270.015

				456800.344		601304.09		182		1263.013						1270.015		182		456800.344				456701.365		182		601304.09		0		601404.18		0		456701.365		601404.18		1270.015

				456801.343		601304.064		183		1263						1270.015		183		456801.343				456701.365		183		601304.064		0		601404.18		0		456701.365		601404.18		1270.015

				456802.343		601304.038		184		1263						1270.015		184		456802.343				456701.365		184		601304.038		0		601404.18		0		456701.365		601404.18		1270.015

				456803.342		601304.012		185		1263						1270.015		185		456803.342				456701.365		185		601304.012		0		601404.18		0		456701.365		601404.18		1270.015

				456804.341		601303.986		186		1263						1270.015		186		456804.341				456701.365		186		601303.986		0		601404.18		0		456701.365		601404.18		1270.015

				456805.34		601303.96		187		1262.958						1270.015		187		456805.34				456701.365		187		601303.96		0		601404.18		0		456701.365		601404.18		1270.015

				456806.34		601303.934		188		1262.9						1270.015		188		456806.34				456701.365		188		601303.934		0		601404.18		0		456701.365		601404.18		1270.015

				456807.339		601303.908		189		1262.9						1270.015		189		456807.339				456701.365		189		601303.908		0		601404.18		0		456701.365		601404.18		1270.015

				456808.338		601303.882		190		1262.9						1270.015		190		456808.338				456701.365		190		601303.882		0		601404.18		0		456701.365		601404.18		1270.015

				456809.338		601303.856		191		1262.86						1270.015		191		456809.338				456701.365		191		601303.856		0		601404.18		0		456701.365		601404.18		1270.015

				456810.337		601303.83		192		1262.8						1270.015		192		456810.337				456701.365		192		601303.83		0		601404.18		0		456701.365		601404.18		1270.015

				456811.336		601303.804		193		1262.8						1270.015		193		456811.336				456701.365		193		601303.804		0		601404.18		0		456701.365		601404.18		1270.015

				456812.335		601303.778		194		1262.741						1270.015		194		456812.335				456701.365		194		601303.778		0		601404.18		0		456701.365		601404.18		1270.015

				456813.335		601303.752		195		1262.705						1270.015		195		456813.335				456701.365		195		601303.752		0		601404.18		0		456701.365		601404.18		1270.015

				456814.334		601303.726		196		1262.7						1270.015		196		456814.334				456701.365		196		601303.726		0		601404.18		0		456701.365		601404.18		1270.015

				456815.333		601303.7		197		1262.7						1270.015		197		456815.333				456701.365		197		601303.7		0		601404.18		0		456701.365		601404.18		1270.015

				456816.333		601303.674		198		1262.638						1270.015		198		456816.333				456701.365		198		601303.674		0		601404.18		0		456701.365		601404.18		1270.015

				456817.332		601303.648		199		1262.6						1270.015		199		456817.332				456701.365		199		601303.648		0		601404.18		0		456701.365		601404.18		1270.015

				456818.331		601303.622		200		1262.591						1270.015		200		456818.331				456701.365		200		601303.622		0		601404.18		0		456701.365		601404.18		1270.015

				456819.33		601303.596		201		1262.534						1270.015		201		456819.33				456701.365		201		601303.596		0		601404.18		0		456701.365		601404.18		1270.015

				456820.33		601303.57		202		1262.51						1270.015		202		456820.33				456701.365		202		601303.57		0		601404.18		0		456701.365		601404.18		1270.015

				456821.329		601303.544		203		1262.5						1270.015		203		456821.329				456701.365		203		601303.544		0		601404.18		0		456701.365		601404.18		1270.015

				456822.328		601303.518		204		1262.491						1270.015		204		456822.328				456701.365		204		601303.518		0		601404.18		0		456701.365		601404.18		1270.015

				456823.328		601303.492		205		1262.416						1270.015		205		456823.328				456701.365		205		601303.492		0		601404.18		0		456701.365		601404.18		1270.015

				456824.327		601303.466		206		1262.4						1270.015		206		456824.327				456701.365		206		601303.466		0		601404.18		0		456701.365		601404.18		1270.015

				456825.326		601303.441		207		1262.367						1270.015		207		456825.326				456701.365		207		601303.441		0		601404.18		0		456701.365		601404.18		1270.015

				456826.325		601303.415		208		1262.3						1270.015		208		456826.325				456701.365		208		601303.415		0		601404.18		0		456701.365		601404.18		1270.015

				456827.325		601303.389		209		1262.3						1270.015		209		456827.325				456701.365		209		601303.389		0		601404.18		0		456701.365		601404.18		1270.015

				456828.324		601303.363		210		1262.3						1270.015		210		456828.324				456701.365		210		601303.363		0		601404.18		0		456701.365		601404.18		1270.015

				456829.323		601303.337		211		1262.269						1270.015		211		456829.323				456701.365		211		601303.337		0		601404.18		0		456701.365		601404.18		1270.015

				456830.323		601303.311		212		1262.2						1270.015		212		456830.323				456701.365		212		601303.311		0		601404.18		0		456701.365		601404.18		1270.015

				456831.322		601303.285		213		1262.2						1270.015		213		456831.322				456701.365		213		601303.285		0		601404.18		0		456701.365		601404.18		1270.015

				456832.321		601303.259		214		1262.145						1270.015		214		456832.321				456701.365		214		601303.259		0		601404.18		0		456701.365		601404.18		1270.015

				456833.32		601303.233		215		1262.1						1270.015		215		456833.32				456701.365		215		601303.233		0		601404.18		0		456701.365		601404.18		1270.015

				456834.32		601303.207		216		1262.1						1270.015		216		456834.32				456701.365		216		601303.207		0		601404.18		0		456701.365		601404.18		1270.015

				456835.319		601303.181		217		1262.1						1270.015		217		456835.319				456701.365		217		601303.181		0		601404.18		0		456701.365		601404.18		1270.015

				456836.318		601303.155		218		1262.047						1270.015		218		456836.318				456701.365		218		601303.155		0		601404.18		0		456701.365		601404.18		1270.015

				456837.318		601303.129		219		1262						1270.015		219		456837.318				456701.365		219		601303.129		0		601404.18		0		456701.365		601404.18		1270.015

				456838.317		601303.103		220		1261.998						1270.015		220		456838.317				456701.365		220		601303.103		0		601404.18		0		456701.365		601404.18		1270.015

				456839.316		601303.077		221		1261.923						1270.015		221		456839.316				456701.365		221		601303.077		0		601404.18		0		456701.365		601404.18		1270.015

				456840.315		601303.051		222		1261.9						1270.015		222		456840.315				456701.365		222		601303.051		0		601404.18		0		456701.365		601404.18		1270.015

				456841.315		601303.025		223		1261.874						1270.015		223		456841.315				456701.365		223		601303.025		0		601404.18		0		456701.365		601404.18		1270.015

				456842.314		601302.999		224		1261.8						1270.015		224		456842.314				456701.365		224		601302.999		0		601404.18		0		456701.365		601404.18		1270.015

				456843.313		601302.973		225		1261.725						1270.015		225		456843.313				456701.365		225		601302.973		0		601404.18		0		456701.365		601404.18		1270.015

				456844.313		601302.947		226		1261.7						1270.015		226		456844.313				456701.365		226		601302.947		0		601404.18		0		456701.365		601404.18		1270.015

				456845.312		601302.921		227		1261.676						1270.015		227		456845.312				456701.365		227		601302.921		0		601404.18		0		456701.365		601404.18		1270.015

				456846.311		601302.895		228		1261.602						1270.015		228		456846.311				456701.365		228		601302.895		0		601404.18		0		456701.365		601404.18		1270.015

				456847.31		601302.869		229		1261.6						1270.015		229		456847.31				456701.365		229		601302.869		0		601404.18		0		456701.365		601404.18		1270.015

				456848.31		601302.843		230		1261.552						1270.015		230		456848.31				456701.365		230		601302.843		0		601404.18		0		456701.365		601404.18		1270.015

				456849.309		601302.817		231		1261.48						1270.015		231		456849.309				456701.365		231		601302.817		0		601404.18		0		456701.365		601404.18		1270.015

				456850.308		601302.791		232		1261.41						1270.015		232		456850.308				456701.365		232		601302.791		0		601404.18		0		456701.365		601404.18		1270.015

				456851.308		601302.765		233		1261.401						1270.015		233		456851.308				456701.365		233		601302.765		0		601404.18		0		456701.365		601404.18		1270.015

				456852.307		601302.739		234		1261.354						1270.015		234		456852.307				456701.365		234		601302.739		0		601404.18		0		456701.365		601404.18		1270.015

				456853.306		601302.713		235		1261.3						1270.015		235		456853.306				456701.365		235		601302.713		0		601404.18		0		456701.365		601404.18		1270.015

				456854.305		601302.687		236		1261.3						1270.015		236		456854.305				456701.365		236		601302.687		0		601404.18		0		456701.365		601404.18		1270.015

				456855.305		601302.661		237		1261.231						1270.015		237		456855.305				456701.365		237		601302.661		0		601404.18		0		456701.365		601404.18		1270.015

				456856.304		601302.635		238		1261.156						1270.015		238		456856.304				456701.365		238		601302.635		0		601404.18		0		456701.365		601404.18		1270.015

				456857.303		601302.609		239		1261.1						1270.015		239		456857.303				456701.365		239		601302.609		0		601404.18		0		456701.365		601404.18		1270.015

				456858.303		601302.583		240		1261.1						1270.015		240		456858.303				456701.365		240		601302.583		0		601404.18		0		456701.365		601404.18		1270.015

				456859.302		601302.557		241		1261.032						1270.015		241		456859.302				456701.365		241		601302.557		0		601404.18		0		456701.365		601404.18		1270.015

				456860.301		601302.531		242		1261						1270.015		242		456860.301				456701.365		242		601302.531		0		601404.18		0		456701.365		601404.18		1270.015

				456861.3		601302.505		243		1260.983						1270.015		243		456861.3				456701.365		243		601302.505		0		601404.18		0		456701.365		601404.18		1270.015

				456862.3		601302.479		244		1260.909						1270.015		244		456862.3				456701.365		244		601302.479		0		601404.18		0		456701.365		601404.18		1270.015

				456863.299		601302.453		245		1260.834						1270.015		245		456863.299				456701.365		245		601302.453		0		601404.18		0		456701.365		601404.18		1270.015

				456864.298		601302.427		246		1260.76						1270.015		246		456864.298				456701.365		246		601302.427		0		601404.18		0		456701.365		601404.18		1270.015

				456865.298		601302.401		247		1260.7						1270.015		247		456865.298				456701.365		247		601302.401		0		601404.18		0		456701.365		601404.18		1270.015

				456866.297		601302.375		248		1260.7						1270.015		248		456866.297				456701.365		248		601302.375		0		601404.18		0		456701.365		601404.18		1270.015

				456867.296		601302.349		249		1260.636						1270.015		249		456867.296				456701.365		249		601302.349		0		601404.18		0		456701.365		601404.18		1270.015

				456868.295		601302.323		250		1260.562						1270.015		250		456868.295				456701.365		250		601302.323		0		601404.18		0		456701.365		601404.18		1270.015

				456869.295		601302.297		251		1260.487						1270.015		251		456869.295				456701.365		251		601302.297		0		601404.18		0		456701.365		601404.18		1270.015

				456870.294		601302.271		252		1260.412						1270.015		252		456870.294				456701.365		252		601302.271		0		601404.18		0		456701.365		601404.18		1270.015

				456871.293		601302.245		253		1260.4						1270.015		253		456871.293				456701.365		253		601302.245		0		601404.18		0		456701.365		601404.18		1270.015

				456872.293		601302.219		254		1260.363						1270.015		254		456872.293				456701.365		254		601302.219		0		601404.18		0		456701.365		601404.18		1270.015

				456873.292		601302.193		255		1260.289						1270.015		255		456873.292				456701.365		255		601302.193		0		601404.18		0		456701.365		601404.18		1270.015

				456874.291		601302.167		256		1260.214						1270.015		256		456874.291				456701.365		256		601302.167		0		601404.18		0		456701.365		601404.18		1270.015

				456875.29		601302.141		257		1260.14						1270.015		257		456875.29				456701.365		257		601302.141		0		601404.18		0		456701.365		601404.18		1270.015

				456876.29		601302.115		258		1260.1						1270.015		258		456876.29				456701.365		258		601302.115		0		601404.18		0		456701.365		601404.18		1270.015

				456877.289		601302.089		259		1260.091						1270.015		259		456877.289				456701.365		259		601302.089		0		601404.18		0		456701.365		601404.18		1270.015

				456878.288		601302.063		260		1260.016						1270.015		260		456878.288				456701.365		260		601302.063		0		601404.18		0		456701.365		601404.18		1270.015

				456879.288		601302.037		261		1259.942						1270.015		261		456879.288				456701.365		261		601302.037		0		601404.18		0		456701.365		601404.18		1270.015

				456880.287		601302.011		262		1259.9						1270.015		262		456880.287				456701.365		262		601302.011		0		601404.18		0		456701.365		601404.18		1270.015

				456881.286		601301.985		263		1259.892						1270.015		263		456881.286				456701.365		263		601301.985		0		601404.18		0		456701.365		601404.18		1270.015

				456882.285		601301.959		264		1259.818						1270.015		264		456882.285				456701.365		264		601301.959		0		601404.18		0		456701.365		601404.18		1270.015

				456883.285		601301.933		265		1259.8						1270.015		265		456883.285				456701.365		265		601301.933		0		601404.18		0		456701.365		601404.18		1270.015

				456884.284		601301.907		266		1259.769						1270.015		266		456884.284				456701.365		266		601301.907		0		601404.18		0		456701.365		601404.18		1270.015

				456885.283		601301.881		267		1259.7						1270.015		267		456885.283				456701.365		267		601301.881		0		601404.18		0		456701.365		601404.18		1270.015

				456886.283		601301.855		268		1259.7						1270.015		268		456886.283				456701.365		268		601301.855		0		601404.18		0		456701.365		601404.18		1270.015

				456887.282		601301.829		269		1259.645						1270.015		269		456887.282				456701.365		269		601301.829		0		601404.18		0		456701.365		601404.18		1270.015

				456888.281		601301.803		270		1259.6						1270.015		270		456888.281				456701.365		270		601301.803		0		601404.18		0		456701.365		601404.18		1270.015

				456889.28		601301.777		271		1259.596						1270.015		271		456889.28				456701.365		271		601301.777		0		601404.18		0		456701.365		601404.18		1270.015

				456890.28		601301.751		272		1259.521						1270.015		272		456890.28				456701.365		272		601301.751		0		601404.18		0		456701.365		601404.18		1270.015

				456891.279		601301.725		273		1259.5						1270.015		273		456891.279				456701.365		273		601301.725		0		601404.18		0		456701.365		601404.18		1270.015

				456892.278		601301.7		274		1259.472						1270.015		274		456892.278				456701.365		274		601301.7		0		601404.18		0		456701.365		601404.18		1270.015

				456893.278		601301.674		275		1259.4						1270.015		275		456893.278				456701.365		275		601301.674		0		601404.18		0		456701.365		601404.18		1270.015

				456894.277		601301.648		276		1259.4						1270.015		276		456894.277				456701.365		276		601301.648		0		601404.18		0		456701.365		601404.18		1270.015

				456895.276		601301.622		277		1259.349						1270.015		277		456895.276				456701.365		277		601301.622		0		601404.18		0		456701.365		601404.18		1270.015

				456896.275		601301.596		278		1259.274						1270.015		278		456896.275				456701.365		278		601301.596		0		601404.18		0		456701.365		601404.18		1270.015

				456897.275		601301.57		279		1259.2						1270.015		279		456897.275				456701.365		279		601301.57		0		601404.18		0		456701.365		601404.18		1270.015

				456898.274		601301.544		280		1259.2						1270.015		280		456898.274				456701.365		280		601301.544		0		601404.18		0		456701.365		601404.18		1270.015

				456899.273		601301.518		281		1259.15						1270.015		281		456899.273				456701.365		281		601301.518		0		601404.18		0		456701.365		601404.18		1270.015

				456900.273		601301.492		282		1259.1						1270.015		282		456900.273				456701.365		282		601301.492		0		601404.18		0		456701.365		601404.18		1270.015

				456901.272		601301.466		283		1259.1						1270.015		283		456901.272				456701.365		283		601301.466		0		601404.18		0		456701.365		601404.18		1270.015

				456902.271		601301.44		284		1259.027						1270.015		284		456902.271				456701.365		284		601301.44		0		601404.18		0		456701.365		601404.18		1270.015

				456903.27		601301.414		285		1259						1270.015		285		456903.27				456701.365		285		601301.414		0		601404.18		0		456701.365		601404.18		1270.015

				456904.27		601301.388		286		1258.978						1270.015		286		456904.27				456701.365		286		601301.388		0		601404.18		0		456701.365		601404.18		1270.015

				456905.269		601301.362		287		1258.903						1270.015		287		456905.269				456701.365		287		601301.362		0		601404.18		0		456701.365		601404.18		1270.015

				456906.268		601301.336		288		1258.9						1270.015		288		456906.268				456701.365		288		601301.336		0		601404.18		0		456701.365		601404.18		1270.015

				456907.268		601301.31		289		1258.854						1270.015		289		456907.268				456701.365		289		601301.31		0		601404.18		0		456701.365		601404.18		1270.015

				456908.267		601301.284		290		1258.8						1270.015		290		456908.267				456701.365		290		601301.284		0		601404.18		0		456701.365		601404.18		1270.015

				456909.266		601301.258		291		1258.8						1270.015		291		456909.266				456701.365		291		601301.258		0		601404.18		0		456701.365		601404.18		1270.015

				456910.265		601301.232		292		1258.73						1270.015		292		456910.265				456701.365		292		601301.232		0		601404.18		0		456701.365		601404.18		1270.015

				456911.265		601301.206		293		1258.656						1270.015		293		456911.265				456701.365		293		601301.206		0		601404.18		0		456701.365		601404.18		1270.015

				456912.264		601301.18		294		1258.6						1270.015		294		456912.264				456701.365		294		601301.18		0		601404.18		0		456701.365		601404.18		1270.015

				456913.263		601301.154		295		1258.6						1270.015		295		456913.263				456701.365		295		601301.154		0		601404.18		0		456701.365		601404.18		1270.015

				456914.263		601301.128		296		1258.532						1270.015		296		456914.263				456701.365		296		601301.128		0		601404.18		0		456701.365		601404.18		1270.015

				456915.262		601301.102		297		1258.5						1270.015		297		456915.262				456701.365		297		601301.102		0		601404.18		0		456701.365		601404.18		1270.015

				456916.261		601301.076		298		1258.483						1270.015		298		456916.261				456701.365		298		601301.076		0		601404.18		0		456701.365		601404.18		1270.015

				456917.26		601301.05		299		1258.409						1270.015		299		456917.26				456701.365		299		601301.05		0		601404.18		0		456701.365		601404.18		1270.015

				456918.26		601301.024		300		1258.4						1270.015		300		456918.26				456701.365		300		601301.024		0		601404.18		0		456701.365		601404.18		1270.015

				456919.259		601300.998		301		1258.359						1270.015		301		456919.259				456701.365		301		601300.998		0		601404.18		0		456701.365		601404.18		1270.015

				456920.258		601300.972		302		1258.3						1270.015		302		456920.258				456701.365		302		601300.972		0		601404.18		0		456701.365		601404.18		1270.015

				456921.258		601300.946		303		1258.3						1270.015		303		456921.258				456701.365		303		601300.946		0		601404.18		0		456701.365		601404.18		1270.015

				456922.257		601300.92		304		1258.236						1270.015		304		456922.257				456701.365		304		601300.92		0		601404.18		0		456701.365		601404.18		1270.015

				456923.256		601300.894		305		1258.2						1270.015		305		456923.256				456701.365		305		601300.894		0		601404.18		0		456701.365		601404.18		1270.015

				456924.255		601300.868		306		1258.187						1270.015		306		456924.255				456701.365		306		601300.868		0		601404.18		0		456701.365		601404.18		1270.015

				456925.255		601300.842		307		1258.112						1270.015		307		456925.255				456701.365		307		601300.842		0		601404.18		0		456701.365		601404.18		1270.015

				456926.254		601300.816		308		1258.058						1270.015		308		456926.254				456701.365		308		601300.816		0		601404.18		0		456701.365		601404.18		1270.015

				456927.253		601300.79		309		1258.019						1270.015		309		456927.253				456701.365		309		601300.79		0		601404.18		0		456701.365		601404.18		1270.015

				456928.253		601300.764		310		1257.992						1270.015		310		456928.253				456701.365		310		601300.764		0		601404.18		0		456701.365		601404.18		1270.015

				456929.252		601300.738		311		1257.936						1270.015		311		456929.252				456701.365		311		601300.738		0		601404.18		0		456701.365		601404.18		1270.015

				456930.251		601300.712		312		1257.909						1270.015		312		456930.251				456701.365		312		601300.712		0		601404.18		0		456701.365		601404.18		1270.015

				456931.25		601300.686		313		1257.9						1270.015		313		456931.25				456701.365		313		601300.686		0		601404.18		0		456701.365		601404.18		1270.015

				456932.25		601300.66		314		1257.89						1270.015		314		456932.25				456701.365		314		601300.66		0		601404.18		0		456701.365		601404.18		1270.015

				456933.249		601300.634		315		1257.816						1270.015		315		456933.249				456701.365		315		601300.634		0		601404.18		0		456701.365		601404.18		1270.015

				456934.248		601300.608		316		1257.8						1270.015		316		456934.248				456701.365		316		601300.608		0		601404.18		0		456701.365		601404.18		1270.015

				456935.247		601300.582		317		1257.767						1270.015		317		456935.247				456701.365		317		601300.582		0		601404.18		0		456701.365		601404.18		1270.015

				456936.247		601300.556		318		1257.7						1270.015		318		456936.247				456701.365		318		601300.556		0		601404.18		0		456701.365		601404.18		1270.015

				456937.246		601300.53		319		1257.7						1270.015		319		456937.246				456701.365		319		601300.53		0		601404.18		0		456701.365		601404.18		1270.015

				456938.245		601300.504		320		1257.643						1270.015		320		456938.245				456701.365		320		601300.504		0		601404.18		0		456701.365		601404.18		1270.015

				456939.245		601300.478		321		1257.6						1270.015		321		456939.245				456701.365		321		601300.478		0		601404.18		0		456701.365		601404.18		1270.015

				456940.244		601300.452		322		1257.594						1270.015		322		456940.244				456701.365		322		601300.452		0		601404.18		0		456701.365		601404.18		1270.015

				456941.243		601300.426		323		1257.519						1270.015		323		456941.243				456701.365		323		601300.426		0		601404.18		0		456701.365		601404.18		1270.015

				456942.242		601300.4		324		1257.5						1270.015		324		456942.242				456701.365		324		601300.4		0		601404.18		0		456701.365		601404.18		1270.015

				456943.242		601300.374		325		1257.47						1270.015		325		456943.242				456701.365		325		601300.374		0		601404.18		0		456701.365		601404.18		1270.015

				456944.241		601300.348		326		1257.4						1270.015		326		456944.241				456701.365		326		601300.348		0		601404.18		0		456701.365		601404.18		1270.015

				456945.24		601300.322		327		1257.4						1270.015		327		456945.24				456701.365		327		601300.322		0		601404.18		0		456701.365		601404.18		1270.015

				456946.24		601300.296		328		1257.347						1270.015		328		456946.24				456701.365		328		601300.296		0		601404.18		0		456701.365		601404.18		1270.015

				456947.239		601300.27		329		1257.3						1270.015		329		456947.239				456701.365		329		601300.27		0		601404.18		0		456701.365		601404.18		1270.015

				456948.238		601300.244		330		1257.298						1270.015		330		456948.238				456701.365		330		601300.244		0		601404.18		0		456701.365		601404.18		1270.015

				456949.237		601300.218		331		1257.223						1270.015		331		456949.237				456701.365		331		601300.218		0		601404.18		0		456701.365		601404.18		1270.015

				456950.237		601300.192		332		1257.2						1270.015		332		456950.237				456701.365		332		601300.192		0		601404.18		0		456701.365		601404.18		1270.015

				456951.236		601300.166		333		1257.174						1270.015		333		456951.236				456701.365		333		601300.166		0		601404.18		0		456701.365		601404.18		1270.015

				456952.235		601300.14		334		1257.1						1270.015		334		456952.235				456701.365		334		601300.14		0		601404.18		0		456701.365		601404.18		1270.015

				456953.235		601300.114		335		1257.1						1270.015		335		456953.235				456701.365		335		601300.114		0		601404.18		0		456701.365		601404.18		1270.015

				456954.234		601300.088		336		1257.05						1270.015		336		456954.234				456701.365		336		601300.088		0		601404.18		0		456701.365		601404.18		1270.015

				456955.233		601300.062		337		1257						1270.015		337		456955.233				456701.365		337		601300.062		0		601404.18		0		456701.365		601404.18		1270.015

				456956.232		601300.036		338		1257						1270.015		338		456956.232				456701.365		338		601300.036		0		601404.18		0		456701.365		601404.18		1270.015

				456957.232		601300.01		339		1256.927						1270.015		339		456957.232				456701.365		339		601300.01		0		601404.18		0		456701.365		601404.18		1270.015

				456958.231		601299.984		340		1256.9						1270.015		340		456958.231				456701.365		340		601299.984		0		601404.18		0		456701.365		601404.18		1270.015

				456959.23		601299.959		341		1256.877						1270.015		341		456959.23				456701.365		341		601299.959		0		601404.18		0		456701.365		601404.18		1270.015

				456960.23		601299.933		342		1256.803						1270.015		342		456960.23				456701.365		342		601299.933		0		601404.18		0		456701.365		601404.18		1270.015

				456961.229		601299.907		343		1256.8						1270.015		343		456961.229				456701.365		343		601299.907		0		601404.18		0		456701.365		601404.18		1270.015

				456962.228		601299.881		344		1256.754						1270.015		344		456962.228				456701.365		344		601299.881		0		601404.18		0		456701.365		601404.18		1270.015

				456963.227		601299.855		345		1256.679						1270.015		345		456963.227				456701.365		345		601299.855		0		601404.18		0		456701.365		601404.18		1270.015

				456964.227		601299.829		346		1256.605						1270.015		346		456964.227				456701.365		346		601299.829		0		601404.18		0		456701.365		601404.18		1270.015

				456965.226		601299.803		347		1256.6						1270.015		347		456965.226				456701.365		347		601299.803		0		601404.18		0		456701.365		601404.18		1270.015

				456966.225		601299.777		348		1256.556						1270.015		348		456966.225				456701.365		348		601299.777		0		601404.18		0		456701.365		601404.18		1270.015

				456967.225		601299.751		349		1256.5						1270.015		349		456967.225				456701.365		349		601299.751		0		601404.18		0		456701.365		601404.18		1270.015

				456968.224		601299.725		350		1256.5						1270.015		350		456968.224				456701.365		350		601299.725		0		601404.18		0		456701.365		601404.18		1270.015

				456969.223		601299.699		351		1256.432						1270.015		351		456969.223				456701.365		351		601299.699		0		601404.18		0		456701.365		601404.18		1270.015

				456970.222		601299.673		352		1256.4						1270.015		352		456970.222				456701.365		352		601299.673		0		601404.18		0		456701.365		601404.18		1270.015

				456971.222		601299.647		353		1256.383						1270.015		353		456971.222				456701.365		353		601299.647		0		601404.18		0		456701.365		601404.18		1270.015

				456972.221		601299.621		354		1256.308						1270.015		354		456972.221				456701.365		354		601299.621		0		601404.18		0		456701.365		601404.18		1270.015

				456973.22		601299.595		355		1256.25						1270.015		355		456973.22				456701.365		355		601299.595		0		601404.18		0		456701.365		601404.18		1270.015

				456974.22		601299.569		356		1256.213						1270.015		356		456974.22				456701.365		356		601299.569		0		601404.18		0		456701.365		601404.18		1270.015

				456975.219		601299.543		357		1256.185						1270.015		357		456975.219				456701.365		357		601299.543		0		601404.18		0		456701.365		601404.18		1270.015

				456976.218		601299.517		358		1256.11						1270.015		358		456976.218				456701.365		358		601299.517		0		601404.18		0		456701.365		601404.18		1270.015

				456977.217		601299.491		359		1256.1						1270.015		359		456977.217				456701.365		359		601299.491		0		601404.18		0		456701.365		601404.18		1270.015

				456978.217		601299.465		360		1256.061						1270.015		360		456978.217				456701.365		360		601299.465		0		601404.18		0		456701.365		601404.18		1270.015

				456979.216		601299.439		361		1256						1270.015		361		456979.216				456701.365		361		601299.439		0		601404.18		0		456701.365		601404.18		1270.015

				456980.215		601299.413		362		1256						1270.015		362		456980.215				456701.365		362		601299.413		0		601404.18		0		456701.365		601404.18		1270.015

				456981.215		601299.387		363		1255.937						1270.015		363		456981.215				456701.365		363		601299.387		0		601404.18		0		456701.365		601404.18		1270.015

				456982.214		601299.361		364		1255.9						1270.015		364		456982.214				456701.365		364		601299.361		0		601404.18		0		456701.365		601404.18		1270.015

				456983.213		601299.335		365		1255.889						1270.015		365		456983.213				456701.365		365		601299.335		0		601404.18		0		456701.365		601404.18		1270.015

				456984.212		601299.309		366		1255.814						1270.015		366		456984.212				456701.365		366		601299.309		0		601404.18		0		456701.365		601404.18		1270.015

				456985.212		601299.283		367		1255.8						1270.015		367		456985.212				456701.365		367		601299.283		0		601404.18		0		456701.365		601404.18		1270.015

				456986.211		601299.257		368		1255.8						1270.015		368		456986.211				456701.365		368		601299.257		0		601404.18		0		456701.365		601404.18		1270.015

				456987.21		601299.231		369		1255.79						1270.015		369		456987.21				456701.365		369		601299.231		0		601404.18		0		456701.365		601404.18		1270.015

				456988.21		601299.205		370		1255.715						1270.015		370		456988.21				456701.365		370		601299.205		0		601404.18		0		456701.365		601404.18		1270.015

				456989.209		601299.179		371		1255.7						1270.015		371		456989.209				456701.365		371		601299.179		0		601404.18		0		456701.365		601404.18		1270.015

				456990.208		601299.153		372		1255.695						1270.015		372		456990.208				456701.365		372		601299.153		0		601404.18		0		456701.365		601404.18		1270.015

				456991.207		601299.127		373		1255.677						1270.015		373		456991.207				456701.365		373		601299.127		0		601404.18		0		456701.365		601404.18		1270.015

				456992.207		601299.101		374		1255.614						1270.015		374		456992.207				456701.365		374		601299.101		0		601404.18		0		456701.365		601404.18		1270.015

				456993.206		601299.075		375		1255.6						1270.015		375		456993.206				456701.365		375		601299.075		0		601404.18		0		456701.365		601404.18		1270.015

				456994.205		601299.049		376		1255.593						1270.015		376		456994.205				456701.365		376		601299.049		0		601404.18		0		456701.365		601404.18		1270.015

				456995.205		601299.023		377		1255.57						1270.015		377		456995.205				456701.365		377		601299.023		0		601404.18		0		456701.365		601404.18		1270.015

				456996.204		601298.997		378		1255.514						1270.015		378		456996.204				456701.365		378		601298.997		0		601404.18		0		456701.365		601404.18		1270.015

				456997.203		601298.971		379		1255.5						1270.015		379		456997.203				456701.365		379		601298.971		0		601404.18		0		456701.365		601404.18		1270.015

				456998.202		601298.945		380		1255.5						1270.015		380		456998.202				456701.365		380		601298.945		0		601404.18		0		456701.365		601404.18		1270.015

				456999.202		601298.919		381		1255.498						1270.015		381		456999.202				456701.365		381		601298.919		0		601404.18		0		456701.365		601404.18		1270.015

				457000.201		601298.893		382		1255.471						1270.015		382		457000.201				456701.365		382		601298.893		0		601404.18		0		456701.365		601404.18		1270.015

				457001.2		601298.867		383		1255.428						1270.015		383		457001.2				456701.365		383		601298.867		0		601404.18		0		456701.365		601404.18		1270.015

				457002.2		601298.841		384		1255.4						1270.015		384		457002.2				456701.365		384		601298.841		0		601404.18		0		456701.365		601404.18		1270.015

				457003.199		601298.815		385		1255.4						1270.015		385		457003.199				456701.365		385		601298.815		0		601404.18		0		456701.365		601404.18		1270.015

				457004.198		601298.789		386		1255.4						1270.015		386		457004.198				456701.365		386		601298.789		0		601404.18		0		456701.365		601404.18		1270.015

				457005.197		601298.763		387		1255.375						1270.015		387		457005.197				456701.365		387		601298.763		0		601404.18		0		456701.365		601404.18		1270.015

				457006.197		601298.737		388		1255.336						1270.015		388		457006.197				456701.365		388		601298.737		0		601404.18		0		456701.365		601404.18		1270.015

				457007.196		601298.711		389		1255.3						1270.015		389		457007.196				456701.365		389		601298.711		0		601404.18		0		456701.365		601404.18		1270.015

				457008.195		601298.685		390		1255.3						1270.015		390		457008.195				456701.365		390		601298.685		0		601404.18		0		456701.365		601404.18		1270.015

				457009.195		601298.659		391		1255.3						1270.015		391		457009.195				456701.365		391		601298.659		0		601404.18		0		456701.365		601404.18		1270.015

				457010.194		601298.633		392		1255.3						1270.015		392		457010.194				456701.365		392		601298.633		0		601404.18		0		456701.365		601404.18		1270.015

				457011.193		601298.607		393		1255.3						1270.015		393		457011.193				456701.365		393		601298.607		0		601404.18		0		456701.365		601404.18		1270.015

				457012.192		601298.581		394		1255.3						1270.015		394		457012.192				456701.365		394		601298.581		0		601404.18		0		456701.365		601404.18		1270.015

				457013.192		601298.555		395		1255.268						1270.015		395		457013.192				456701.365		395		601298.555		0		601404.18		0		456701.365		601404.18		1270.015

				457014.191		601298.529		396		1255.224						1270.015		396		457014.191				456701.365		396		601298.529		0		601404.18		0		456701.365		601404.18		1270.015

				457015.19		601298.503		397		1255.201						1270.015		397		457015.19				456701.365		397		601298.503		0		601404.18		0		456701.365		601404.18		1270.015

				457016.19		601298.477		398		1255.2						1270.015		398		457016.19				456701.365		398		601298.477		0		601404.18		0		456701.365		601404.18		1270.015

				457017.189		601298.451		399		1255.2						1270.015		399		457017.189				456701.365		399		601298.451		0		601404.18		0		456701.365		601404.18		1270.015

				457018.188		601298.425		400		1255.183						1270.015		400		457018.188				456701.365		400		601298.425		0		601404.18		0		456701.365		601404.18		1270.015

				457019.187		601298.399		401		1255.123						1270.015		401		457019.187				456701.365		401		601298.399		0		601404.18		0		456701.365		601404.18		1270.015

				457020.187		601298.373		402		1255.105						1270.015		402		457020.187				456701.365		402		601298.373		0		601404.18		0		456701.365		601404.18		1270.015

				457021.186		601298.347		403		1255.1						1270.015		403		457021.186				456701.365		403		601298.347		0		601404.18		0		456701.365		601404.18		1270.015

				457022.185		601298.321		404		1255.1						1270.015		404		457022.185				456701.365		404		601298.321		0		601404.18		0		456701.365		601404.18		1270.015

				457023.185		601298.295		405		1255.1						1270.015		405		457023.185				456701.365		405		601298.295		0		601404.18		0		456701.365		601404.18		1270.015

				457024.184		601298.269		406		1255.032						1270.015		406		457024.184				456701.365		406		601298.269		0		601404.18		0		456701.365		601404.18		1270.015

				457025.183		601298.243		407		1255						1270.015		407		457025.183				456701.365		407		601298.243		0		601404.18		0		456701.365		601404.18		1270.015

				457026.182		601298.218		408		1255						1270.015		408		457026.182				456701.365		408		601298.218		0		601404.18		0		456701.365		601404.18		1270.015

				457027.182		601298.192		409		1255						1270.015		409		457027.182				456701.365		409		601298.192		0		601404.18		0		456701.365		601404.18		1270.015

				457028.181		601298.166		410		1255						1270.015		410		457028.181				456701.365		410		601298.166		0		601404.18		0		456701.365		601404.18		1270.015

				457029.18		601298.14		411		1255						1270.015		411		457029.18				456701.365		411		601298.14		0		601404.18		0		456701.365		601404.18		1270.015

				457030.18		601298.114		412		1255						1270.015		412		457030.18				456701.365		412		601298.114		0		601404.18		0		456701.365		601404.18		1270.015

				457031.179		601298.088		413		1255						1270.015		413		457031.179				456701.365		413		601298.088		0		601404.18		0		456701.365		601404.18		1270.015

				457032.178		601298.062		414		1255						1270.015		414		457032.178				456701.365		414		601298.062		0		601404.18		0		456701.365		601404.18		1270.015

				457033.177		601298.036		415		1255						1270.015		415		457033.177				456701.365		415		601298.036		0		601404.18		0		456701.365		601404.18		1270.015

				457034.177		601298.01		416		1255						1270.015		416		457034.177				456701.365		416		601298.01		0		601404.18		0		456701.365		601404.18		1270.015

				457035.176		601297.984		417		1255						1270.015		417		457035.176				456701.365		417		601297.984		0		601404.18		0		456701.365		601404.18		1270.015

				457036.175		601297.958		418		1255						1270.015		418		457036.175				456701.365		418		601297.958		0		601404.18		0		456701.365		601404.18		1270.015

				457037.175		601297.932		419		1255						1270.015		419		457037.175				456701.365		419		601297.932		0		601404.18		0		456701.365		601404.18		1270.015

				457038.174		601297.906		420		1255						1270.015		420		457038.174				456701.365		420		601297.906		0		601404.18		0		456701.365		601404.18		1270.015

				457039.173		601297.88		421		1255						1270.015		421		457039.173				456701.365		421		601297.88		0		601404.18		0		456701.365		601404.18		1270.015

				457040.172		601297.854		422		1255						1270.015		422		457040.172				456701.365		422		601297.854		0		601404.18		0		456701.365		601404.18		1270.015

				457041.172		601297.828		423		1255						1270.015		423		457041.172				456701.365		423		601297.828		0		601404.18		0		456701.365		601404.18		1270.015

				457042.171		601297.802		424		1255						1270.015		424		457042.171				456701.365		424		601297.802		0		601404.18		0		456701.365		601404.18		1270.015

				457043.17		601297.776		425		1255						1270.015		425		457043.17				456701.365		425		601297.776		0		601404.18		0		456701.365		601404.18		1270.015

				457044.17		601297.75		426		1255						1270.015		426		457044.17				456701.365		426		601297.75		0		601404.18		0		456701.365		601404.18		1270.015

				457045.169		601297.724		427		1255								427		457045.169				456701.365		427		601297.724		0		601404.18		0		456701.365		601404.18		0

				457046.168		601297.698		428		1255								428		457046.168				456701.365		428		601297.698		0		601404.18		0		456701.365		601404.18		0

				457047.167		601297.672		429		1255								429		457047.167				456701.365		429		601297.672		0		601404.18		0		456701.365		601404.18		0

				457048.167		601297.646		430		1255								430		457048.167				456701.365		430		601297.646		0		601404.18		0		456701.365		601404.18		0

				457049.166		601297.62		431		1254.984								431		457049.166				456701.365		431		601297.62		0		601404.18		0		456701.365		601404.18		0

				457050.165		601297.594		432		1254.945								432		457050.165				456701.365		432		601297.594		0		601404.18		0		456701.365		601404.18		0

				457051.165		601297.568		433		1254.909								433		457051.165				456701.365		433		601297.568		0		601404.18		0		456701.365		601404.18		0

				457052.164		601297.542		434		1254.9								434		457052.164				456701.365		434		601297.542		0		601404.18		0		456701.365		601404.18		0

				457053.163		601297.516		435		1254.882								435		457053.163				456701.365		435		601297.516		0		601404.18		0		456701.365		601404.18		0

				457054.162		601297.49		436		1254.837								436		457054.162				456701.365		436		601297.49		0		601404.18		0		456701.365		601404.18		0

				457055.162		601297.464		437		1254.808								437		457055.162				456701.365		437		601297.464		0		601404.18		0		456701.365		601404.18		0

				457056.161		601297.438		438		1254.8								438		457056.161				456701.365		438		601297.438		0		601404.18		0		456701.365		601404.18		0

				457057.16		601297.412		439		1254.781								439		457057.16				456701.365		439		601297.412		0		601404.18		0		456701.365		601404.18		0

				457058.16		601297.386		440		1254.729								440		457058.16				456701.365		440		601297.386		0		601404.18		0		456701.365		601404.18		0

				457059.159		601297.36		441		1254.706								441		457059.159				456701.365		441		601297.36		0		601404.18		0		456701.365		601404.18		0

				457060.158		601297.334		442		1254.7								442		457060.158				456701.365		442		601297.334		0		601404.18		0		456701.365		601404.18		0

				457061.157		601297.308		443		1254.673								443		457061.157				456701.365		443		601297.308		0		601404.18		0		456701.365		601404.18		0

				457062.157		601297.282		444		1254.6								444		457062.157				456701.365		444		601297.282		0		601404.18		0		456701.365		601404.18		0

				457063.156		601297.256		445		1254.6								445		457063.156				456701.365		445		601297.256		0		601404.18		0		456701.365		601404.18		0

				457064.155		601297.23		446		1254.6								446		457064.155				456701.365		446		601297.23		0		601404.18		0		456701.365		601404.18		0

				457065.155		601297.204		447		1254.575								447		457065.155				456701.365		447		601297.204		0		601404.18		0		456701.365		601404.18		0

				457066.154		601297.178		448		1254.501								448		457066.154				456701.365		448		601297.178		0		601404.18		0		456701.365		601404.18		0

				457067.153		601297.152		449		1254.5								449		457067.153				456701.365		449		601297.152		0		601404.18		0		456701.365		601404.18		0

				457068.152		601297.126		450		1254.455								450		457068.152				456701.365		450		601297.126		0		601404.18		0		456701.365		601404.18		0

				457069.152		601297.1		451		1254.404								451		457069.152				456701.365		451		601297.1		0		601404.18		0		456701.365		601404.18		0

				457070.151		601297.074		452		1254.4								452		457070.151				456701.365		452		601297.074		0		601404.18		0		456701.365		601404.18		0

				457071.15		601297.048		453		1254.4								453		457071.15				456701.365		453		601297.048		0		601404.18		0		456701.365		601404.18		0

				457072.15		601297.022		454		1254.353								454		457072.15				456701.365		454		601297.022		0		601404.18		0		456701.365		601404.18		0

				457073.149		601296.996		455		1254.3								455		457073.149				456701.365		455		601296.996		0		601404.18		0		456701.365		601404.18		0

				457074.148		601296.97		456		1254.3								456		457074.148				456701.365		456		601296.97		0		601404.18		0		456701.365		601404.18		0

				457075.147		601296.944		457		1254.23								457		457075.147				456701.365		457		601296.944		0		601404.18		0		456701.365		601404.18		0

				457076.147		601296.918		458		1254.2								458		457076.147				456701.365		458		601296.918		0		601404.18		0		456701.365		601404.18		0

				457077.146		601296.892		459		1254.2								459		457077.146				456701.365		459		601296.892		0		601404.18		0		456701.365		601404.18		0

				457078.145		601296.866		460		1254.2								460		457078.145				456701.365		460		601296.866		0		601404.18		0		456701.365		601404.18		0

				457079.145		601296.84		461		1254.131								461		457079.145				456701.365		461		601296.84		0		601404.18		0		456701.365		601404.18		0

				457080.144		601296.814		462		1254.1								462		457080.144				456701.365		462		601296.814		0		601404.18		0		456701.365		601404.18		0

				457081.143		601296.788		463		1254.096								463		457081.143				456701.365		463		601296.788		0		601404.18		0		456701.365		601404.18		0

				457082.142		601296.762		464		1254.077								464		457082.142				456701.365		464		601296.762		0		601404.18		0		456701.365		601404.18		0

				457083.142		601296.736		465		1254.024								465		457083.142				456701.365		465		601296.736		0		601404.18		0		456701.365		601404.18		0

				457084.141		601296.71		466		1254								466		457084.141				456701.365		466		601296.71		0		601404.18		0		456701.365		601404.18		0

				457085.14		601296.684		467		1253.984								467		457085.14				456701.365		467		601296.684		0		601404.18		0		456701.365		601404.18		0

				457086.14		601296.658		468		1253.91								468		457086.14				456701.365		468		601296.658		0		601404.18		0		456701.365		601404.18		0

				457087.139		601296.632		469		1253.9								469		457087.139				456701.365		469		601296.632		0		601404.18		0		456701.365		601404.18		0

				457088.138		601296.606		470		1253.885								470		457088.138				456701.365		470		601296.606		0		601404.18		0		456701.365		601404.18		0

				457089.137		601296.58		471		1253.851								471		457089.137				456701.365		471		601296.58		0		601404.18		0		456701.365		601404.18		0

				457090.137		601296.554		472		1253.807								472		457090.137				456701.365		472		601296.554		0		601404.18		0		456701.365		601404.18		0

				457091.136		601296.528		473		1253.8								473		457091.136				456701.365		473		601296.528		0		601404.18		0		456701.365		601404.18		0

				457092.135		601296.502		474		1253.782								474		457092.135				456701.365		474		601296.502		0		601404.18		0		456701.365		601404.18		0

				457093.135		601296.477		475		1253.744								475		457093.135				456701.365		475		601296.477		0		601404.18		0		456701.365		601404.18		0

				457094.134		601296.451		476		1253.706								476		457094.134				456701.365		476		601296.451		0		601404.18		0		456701.365		601404.18		0

				457095.133		601296.425		477		1253.7								477		457095.133				456701.365		477		601296.425		0		601404.18		0		456701.365		601404.18		0

				457096.132		601296.399		478		1253.679								478		457096.132				456701.365		478		601296.399		0		601404.18		0		456701.365		601404.18		0

				457097.132		601296.373		479		1253.636								479		457097.132				456701.365		479		601296.373		0		601404.18		0		456701.365		601404.18		0

				457098.131		601296.347		480		1253.606								480		457098.131				456701.365		480		601296.347		0		601404.18		0		456701.365		601404.18		0

				457099.13		601296.321		481		1253.6								481		457099.13				456701.365		481		601296.321		0		601404.18		0		456701.365		601404.18		0

				457100.13		601296.295		482		1253.577								482		457100.13				456701.365		482		601296.295		0		601404.18		0		456701.365		601404.18		0

				457101.129		601296.269		483		1253.529								483		457101.129				456701.365		483		601296.269		0		601404.18		0		456701.365		601404.18		0

				457102.128		601296.243		484		1253.505								484		457102.128				456701.365		484		601296.243		0		601404.18		0		456701.365		601404.18		0

				457103.127		601296.217		485		1253.5								485		457103.127				456701.365		485		601296.217		0		601404.18		0		456701.365		601404.18		0

				457104.127		601296.191		486		1253.476								486		457104.127				456701.365		486		601296.191		0		601404.18		0		456701.365		601404.18		0

				457105.126		601296.165		487		1253.421								487		457105.126						487		601296.165		0		601404.18		0		0		601404.18		0

				457106.125		601296.139		488		1253.404								488		457106.125						488		601296.139		0		601404.18		0		0		601404.18		0

				457107.125		601296.113		489		1253.4								489		457107.125						489		601296.113		0		601404.18		0		0		601404.18		0

				457108.124		601296.087		490		1253.4								490		457108.124						490		601296.087		0		601404.18		0		0		601404.18		0

				457109.123		601296.061		491		1253.395								491		457109.123						491		601296.061		0		601404.18		0		0		601404.18		0

				457110.122		601296.035		492		1253.32								492		457110.122						492		601296.035		0		601404.18		0		0		601404.18		0

				457111.122		601296.009		493		1253.3								493		457111.122						493		601296.009		0		601404.18		0		0		601404.18		0

				457112.121		601295.983		494		1253.3								494		457112.121						494		601295.983		0		601404.18		0		0		601404.18		0

				457113.12		601295.957		495		1253.297								495		457113.12						495		601295.957		0		601404.18		0		0		601404.18		0

				457114.12		601295.931		496		1253.222								496		457114.12						496		601295.931		0		601404.18		0		0		601404.18		0

				457115.119		601295.905		497		1253.2								497		457115.119						497		601295.905		0		601404.18		0		0		601404.18		0

				457116.118		601295.879		498		1253.2								498		457116.118						498		601295.879		0		601404.18		0		0		601404.18		0

				457117.117		601295.853		499		1253.198								499		457117.117						499		601295.853		0		601404.18		0		0		601404.18		0

				457118.117		601295.827		500		1253.124								500		457118.117						500		601295.827		0		601404.18		0		0		601404.18		0

				457119.116		601295.801		501		1253.1								501		457119.116						501		601295.801		0		601404.18		0		0		601404.18		0

				457120.115		601295.775		502		1253.1								502		457120.115						502		601295.775		0		601404.18		0		0		601404.18		0

				457121.115		601295.749		503		1253.1								503		457121.115						503		601295.749		0		601404.18		0		0		601404.18		0

				457122.114		601295.723		504		1253.026								504		457122.114						504		601295.723		0		601404.18		0		0		601404.18		0

				457123.113		601295.697		505		1253								505		457123.113						505		601295.697		0		601404.18		0		0		601404.18		0

				457124.112		601295.671		506		1253								506		457124.112						506		601295.671		0		601404.18		0		0		601404.18		0

				457125.112		601295.645		507		1253								507		457125.112						507		601295.645		0		601404.18		0		0		601404.18		0

				457126.111		601295.619		508		1253								508		457126.111						508		601295.619		0		601404.18		0		0		601404.18		0

				457127.11		601295.593		509		1253								509		457127.11						509		601295.593		0		601404.18		0		0		601404.18		0

				457128.11		601295.567		510		1253								510		457128.11						510		601295.567		0		601404.18		0		0		601404.18		0

				457129.109		601295.541		511		1253								511		457129.109						511		601295.541		0		601404.18		0		0		601404.18		0

				457130.108		601295.515		512		1253								512		457130.108						512		601295.515		0		601404.18		0		0		601404.18		0

				457131.107		601295.489		513		1253								513		457131.107						513		601295.489		0		601404.18		0		0		601404.18		0

				457132.107		601295.463		514		1253								514		457132.107						514		601295.463		0		601404.18		0		0		601404.18		0

				457133.106		601295.437		515		1253								515		457133.106						515		601295.437		0		601404.18		0		0		601404.18		0

				457134.105		601295.411		516		1253								516		457134.105						516		601295.411		0		601404.18		0		0		601404.18		0

				457135.105		601295.385		517		1253								517		457135.105						517		601295.385		0		601404.18		0		0		601404.18		0

				457136.104		601295.359		518		1253								518		457136.104						518		601295.359		0		601404.18		0		0		601404.18		0

				457137.103		601295.333		519		1253								519		457137.103						519		601295.333		0		601404.18		0		0		601404.18		0

				457138.102		601295.307		520		1253								520		457138.102						520		601295.307		0		601404.18		0		0		601404.18		0

				457139.102		601295.281		521		1253								521		457139.102						521		601295.281		0		601404.18		0		0		601404.18		0

				457140.101		601295.255		522		1253								522		457140.101						522		601295.255		0		601404.18		0		0		601404.18		0

				457141.1		601295.229		523		1253								523		457141.1						523		601295.229		0		601404.18		0		0		601404.18		0

				457142.1		601295.203		524		1253								524		457142.1						524		601295.203		0		601404.18		0		0		601404.18		0

				457143.099		601295.177		525		1253								525		457143.099						525		601295.177		0		601404.18		0		0		601404.18		0

				457144.098		601295.151		526		1253								526		457144.098						526		601295.151		0		601404.18		0		0		601404.18		0

				457145.097		601295.125		527		1253								527		457145.097						527		601295.125		0		601404.18		0		0		601404.18		0

				457146.097		601295.099		528		1253								528		457146.097						528		601295.099		0		601404.18		0		0		601404.18		0

				457147.096		601295.073		529		1253								529		457147.096						529		601295.073		0		601404.18		0		0		601404.18		0

				457148.095		601295.047		530		1253								530		457148.095						530		601295.047		0		601404.18		0		0		601404.18		0

				457149.095		601295.021		531		1253								531		457149.095						531		601295.021		0		601404.18		0		0		601404.18		0

				457150.094		601294.995		532		1253								532		457150.094						532		601294.995		0		601404.18		0		0		601404.18		0

				457151.093		601294.969		533		1253								533		457151.093						533		601294.969		0		601404.18		0		0		601404.18		0

				457152.092		601294.943		534		1253								534		457152.092						534		601294.943		0		601404.18		0		0		601404.18		0

				457153.092		601294.917		535		1253								535		457153.092						535		601294.917		0		601404.18		0		0		601404.18		0

				457154.091		601294.891		536		1253								536		457154.091						536		601294.891		0		601404.18		0		0		601404.18		0

				457155.09		601294.865		537		1253								537		457155.09						537		601294.865		0		601404.18		0		0		601404.18		0

				457156.09		601294.839		538		1253								538		457156.09						538		601294.839		0		601404.18		0		0		601404.18		0

				457157.089		601294.813		539		1253								539		457157.089						539		601294.813		0		601404.18		0		0		601404.18		0

				457158.088		601294.787		540		1253								540		457158.088						540		601294.787		0		601404.18		0		0		601404.18		0

				457159.087		601294.761		541		1253								541		457159.087						541		601294.761		0		601404.18		0		0		601404.18		0

				457160.087		601294.736		542		1253								542		457160.087						542		601294.736		0		601404.18		0		0		601404.18		0

				457161.086		601294.71		543		1253								543		457161.086						543		601294.71		0		601404.18		0		0		601404.18		0

				457162.085		601294.684		544		1253								544		457162.085						544		601294.684		0		601404.18		0		0		601404.18		0

				457163.085		601294.658		545		1253								545		457163.085						545		601294.658		0		601404.18		0		0		601404.18		0

				457164.084		601294.632		546		1253								546		457164.084						546		601294.632		0		601404.18		0		0		601404.18		0

				457165.083		601294.606		547		1253								547		457165.083						547		601294.606		0		601404.18		0		0		601404.18		0

				457165.1		601294.605		547.02		1253								547.02		457165.1						547.02		601294.605		0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18





Fech Length

				X		Y		Distance (Total)		Elevation						Elevation		Distance (Total)		X						Distance (Total)		Y						Dam Axis OGL								Average Depth

				457129.549		601444.316		0		1254.633				0		1254.633		0		457129.549		0		457129.549		0		601444.316		0		601444.316		0		457129.549		601444.316		1254.633		0.633

				457129.397		601445.304		1		1254.635				10		1254.702		1		457129.397		10		457128.038		1		601445.304		10		601454.198		10		457128.038		601454.198		1254.702		0.702

				457129.246		601446.292		2		1254.635				20		1254.96		2		457129.246		20		457126.526		2		601446.292		20		601464.079		20		457126.526		601464.079		1254.96		0.96

				457129.095		601447.281		3		1254.635				30		1254.918		3		457129.095		30		457125.015		3		601447.281		30		601473.96		30		457125.015		601473.96		1254.918		0.918

				457128.944		601448.269		4		1254.635				40		1254.417		4		457128.944		40		457123.504		4		601448.269		40		601483.842		40		457123.504		601483.842		1254.417		0.417

				457128.793		601449.257		5		1254.635				50		1254		5		457128.793		50		457121.993		5		601449.257		50		601493.723		50		457121.993		601493.723		1254		0

				457128.642		601450.245		6		1254.633				60		1254.38		6		457128.642		60		457120.482		6		601450.245		60		601503.604		60		457120.482		601503.604		1254.38		0.38

				457128.491		601451.233		7		1254.669				70		1255		7		457128.491		70		457118.971		7		601451.233		70		601513.486		70		457118.971		601513.486		1255		1

				457128.34		601452.221		8		1254.669				80		1255		8		457128.34		80		457117.46		8		601452.221		80		601523.367		80		457117.46		601523.367		1255		1

				457128.189		601453.209		9		1254.676				90		1255.406		9		457128.189		90		457115.949		9		601453.209		90		601533.248		90		457115.949		601533.248		1255.406		1.406

				457128.038		601454.198		10		1254.702				100		1255.781		10		457128.038		100		457114.438		10		601454.198		100		601543.13		100		457114.438		601543.13		1255.781		1.781

				457127.886		601455.186		11		1254.702				110		1255.972		11		457127.886		110		457112.927		11		601455.186		110		601553.011		110		457112.927		601553.011		1255.972		1.972

				457127.735		601456.174		12		1254.729				120		1256		12		457127.735		120		457111.416		12		601456.174		120		601562.893		120		457111.416		601562.893		1256		2

				457127.584		601457.162		13		1254.755				130		1256		13		457127.584		130		457109.905		13		601457.162		130		601572.774		130		457109.905		601572.774		1256		2

				457127.433		601458.15		14		1254.782				140		1256		14		457127.433		140		457108.394		14		601458.15		140		601582.655		140		457108.394		601582.655		1256		2

				457127.282		601459.138		15		1254.808				150		1256		15		457127.282		150		457106.883		15		601459.138		150		601592.537		150		457106.883		601592.537		1256		2

				457127.131		601460.126		16		1254.88				160		1256.658		16		457127.131		160		457105.372		16		601460.126		160		601602.418		160		457105.372		601602.418		1256.658		2.658

				457126.98		601461.115		17		1254.907				170		1256.875		17		457126.98		170		457103.861		17		601461.115		170		601612.299		170		457103.861		601612.299		1256.875		2.875

				457126.829		601462.103		18		1254.907				180		1256.411		18		457126.829		180		457102.35		18		601462.103		180		601622.181		180		457102.35		601622.181		1256.411		2.411

				457126.678		601463.091		19		1254.933				190		1256.034		19		457126.678		190		457100.839		19		601463.091		190		601632.062		190		457100.839		601632.062		1256.034		2.034

				457126.526		601464.079		20		1254.96				200		1256		20		457126.526		200		457099.327		20		601464.079		200		601641.943		200		457099.327		601641.943		1256		2

				457126.375		601465.067		21		1254.986				210		1256		21		457126.375		210		457097.816		21		601465.067		210		601651.825		210		457097.816		601651.825		1256		2

				457126.224		601466.055		22		1255				220		1256.263		22		457126.224		220		457096.305		22		601466.055		220		601661.706		220		457096.305		601661.706		1256.263		2.263

				457126.073		601467.043		23		1255				230		1256.548		23		457126.073		230		457094.794		23		601467.043		230		601671.588		230		457094.794		601671.588		1256.548		2.548

				457125.922		601468.031		24		1255				240		1256.828		24		457125.922		240		457093.283		24		601468.031		240		601681.469		240		457093.283		601681.469		1256.828		2.828

				457125.771		601469.02		25		1255				250		1257.058		25		457125.771		250		457091.772		25		601469.02		250		601691.35		250		457091.772		601691.35		1257.058		3.058

				457125.62		601470.008		26		1255				260		1257.199		26		457125.62		260		457090.261		26		601470.008		260		601701.232		260		457090.261		601701.232		1257.199		3.199

				457125.469		601470.996		27		1255				270		1257.358		27		457125.469		270		457088.75		27		601470.996		270		601711.113		270		457088.75		601711.113		1257.358		3.358

				457125.318		601471.984		28		1255				280		1257.518		28		457125.318		280		457087.239		28		601471.984		280		601720.994		280		457087.239		601720.994		1257.518		3.518

				457125.167		601472.972		29		1254.962				290		1257.665		29		457125.167		290		457085.728		29		601472.972		290		601730.876		290		457085.728		601730.876		1257.665		3.665

				457125.015		601473.96		30		1254.918				300		1257.841		30		457125.015		300		457084.217		30		601473.96		300		601740.757		300		457084.217		601740.757		1257.841		3.841

				457124.864		601474.948		31		1254.874				310		1258.007		31		457124.864		310		457082.706		31		601474.948		310		601750.638		310		457082.706		601750.638		1258.007		4.007

				457124.713		601475.937		32		1254.818				320		1258.155		32		457124.713		320		457081.195		32		601475.937		320		601760.52		320		457081.195		601760.52		1258.155		4.155

				457124.562		601476.925		33		1254.76				330		1258.322		33		457124.562		330		457079.684		33		601476.925		330		601770.401		330		457079.684		601770.401		1258.322		4.322

				457124.411		601477.913		34		1254.751				340		1258.49		34		457124.411		340		457078.173		34		601477.913		340		601780.282		340		457078.173		601780.282		1258.49		4.49

				457124.26		601478.901		35		1254.707				350		1258.66		35		457124.26		350		457076.662		35		601478.901		350		601790.164		350		457076.662		601790.164		1258.66		4.66

				457124.109		601479.889		36		1254.646				360		1258.813		36		457124.109		360		457075.151		36		601479.889		360		601800.045		360		457075.151		601800.045		1258.813		4.813

				457123.958		601480.877		37		1254.588				370		1258.984		37		457123.958		370		457073.64		37		601480.877		370		601809.927		370		457073.64		601809.927		1258.984		4.984

				457123.807		601481.865		38		1254.536				380		1259.162		38		457123.807		380		457072.128		38		601481.865		380		601819.808		380		457072.128		601819.808		1259.162		5.162

				457123.655		601482.854		39		1254.474				390		1259.313		39		457123.655		390		457070.617		39		601482.854		390		601829.689		390		457070.617		601829.689		1259.313		5.313

				457123.504		601483.842		40		1254.417				400		1259.483		40		457123.504		400		457069.106		40		601483.842		400		601839.571		400		457069.106		601839.571		1259.483		5.483

				457123.353		601484.83		41		1254.417				410		1259.654		41		457123.353		410		457067.595		41		601484.83		410		601849.452		410		457067.595		601849.452		1259.654		5.654

				457123.202		601485.818		42		1254.365				420		1259.826		42		457123.202		420		457066.084		42		601485.818		420		601859.333		420		457066.084		601859.333		1259.826		5.826

				457123.051		601486.806		43		1254.302				430		1259.984		43		457123.051		430		457064.573		43		601486.806		430		601869.215		430		457064.573		601869.215		1259.984		5.984

				457122.9		601487.794		44		1254.249				440		1260.173		44		457122.9		440		457063.062		44		601487.794		440		601879.096		440		457063.062		601879.096		1260.173		6.173

				457122.749		601488.782		45		1254.193				450		1260.365		45		457122.749		450		457061.551		45		601488.782		450		601888.977		450		457061.551		601888.977		1260.365		6.365

				457122.598		601489.77		46		1254.13				460		1260.541		46		457122.598		460		457060.04		46		601489.77		460		601898.859		460		457060.04		601898.859		1260.541		6.541

				457122.447		601490.759		47		1254.072				470		1260.729		47		457122.447		470		457058.529		47		601490.759		470		601908.74		470		457058.529		601908.74		1260.729		6.729

				457122.296		601491.747		48		1254.014				480		1260.918		48		457122.296		480		457057.018		48		601491.747		480		601918.622		480		457057.018		601918.622		1260.918		6.918

				457122.144		601492.735		49		1254.014				490		1261		49		457122.144		490		457055.507		49		601492.735		490		601928.503		490		457055.507		601928.503		1261		7

				457121.993		601493.723		50		1254				500		1261		50		457121.993		500		457053.996		50		601493.723		500		601938.384		500		457053.996		601938.384		1261		7

				457121.842		601494.711		51		1254				510		1261		51		457121.842		510		457052.485		51		601494.711		510		601948.266		510		457052.485		601948.266		1261		7

				457121.691		601495.699		52		1254				520		1261		52		457121.691		520		457050.974		52		601495.699		520		601958.147		520		457050.974		601958.147		1261		7

				457121.54		601496.687		53		1254.036				530		1261		53		457121.54		530		457049.463		53		601496.687		530		601968.028		530		457049.463		601968.028		1261		7

				457121.389		601497.676		54		1254.094				540		1261		54		457121.389		540		457047.952		54		601497.676		540		601977.91		540		457047.952		601977.91		1261		7

				457121.238		601498.664		55		1254.152				550		1261		55		457121.238		550		457046.441		55		601498.664		550		601987.791		550		457046.441		601987.791		1261		7

				457121.087		601499.652		56		1254.21				560		1261		56		457121.087		560		457044.929		56		601499.652		560		601997.672		560		457044.929		601997.672		1261		7

				457120.936		601500.64		57		1254.21				570		1261		57		457120.936		570		457043.418		57		601500.64		570		602007.554		570		457043.418		602007.554		1261		7

				457120.784		601501.628		58		1254.268				580		1261		58		457120.784		580		457041.907		58		601501.628		580		602017.435		580		457041.907		602017.435		1261		7

				457120.633		601502.616		59		1254.326				590		1261		59		457120.633		590		457040.396		59		601502.616		590		602027.317		590		457040.396		602027.317		1261		7

				457120.482		601503.604		60		1254.38				600		1261		60		457120.482		600		457038.885		60		601503.604		600		602037.198		600		457038.885		602037.198		1261		7

				457120.331		601504.593		61		1254.435				610		1261		61		457120.331		610		457037.374		61		601504.593		610		602047.079		610		457037.374		602047.079		1261		7

				457120.18		601505.581		62		1254.49		TC		620		1261		62		457120.18		620		457035.863		62		601505.581		620		602056.961		620		457035.863		602056.961		1261		7

				457120.029		601506.569		63		1254.548				630		1261		63		457120.029		630		457034.352		63		601506.569		630		602066.842		630		457034.352		602066.842		1261		7

				457119.878		601507.557		64		1254.616				640		1261		64		457119.878		640		457032.841		64		601507.557		640		602076.723		640		457032.841		602076.723		1261		7

				457119.727		601508.545		65		1254.616				650		1261		65		457119.727		650		457031.33		65		601508.545		650		602086.605		650		457031.33		602086.605		1261		7

				457119.576		601509.533		66		1254.684				660		1261		66		457119.576		660		457029.819		66		601509.533		660		602096.486		660		457029.819		602096.486		1261		7

				457119.425		601510.521		67		1254.752				670		1261		67		457119.425		670		457028.308		67		601510.521		670		602106.367		670		457028.308		602106.367		1261		7

				457119.273		601511.509		68		1254.82				680		1261		68		457119.273		680		457026.797		68		601511.509		680		602116.249		680		457026.797		602116.249		1261		7

				457119.122		601512.498		69		1254.888				690		1261		69		457119.122		690		457025.286		69		601512.498		690		602126.13		690		457025.286		602126.13		1261		7

				457118.971		601513.486		70		1255				700		1261		70		457118.971		700		457023.775		70		601513.486		700		602136.012		700		457023.775		602136.012		1261		7

				457118.82		601514.474		71		1255				710		1261		71		457118.82		710		457022.264		71		601514.474		710		602145.893		710		457022.264		602145.893		1261		7

				457118.669		601515.462		72		1255				720		1261		72		457118.669		720		457020.753		72		601515.462		720		602155.774		720		457020.753		602155.774		1261		7

				457118.518		601516.45		73		1255				730		1261		73		457118.518		730		457019.242		73		601516.45		730		602165.656		730		457019.242		602165.656		1261		7

				457118.367		601517.438		74		1255				740		1261		74		457118.367		740		457017.73		74		601517.438		740		602175.537		740		457017.73		602175.537		1261		7

				457118.216		601518.426		75		1255				750		1261		75		457118.216		750		457016.219		75		601518.426		750		602185.418		750		457016.219		602185.418		1261		7

				457118.065		601519.415		76		1255				760		1261		76		457118.065		760		457014.708		76		601519.415		760		602195.3		760		457014.708		602195.3		1261		7

				457117.913		601520.403		77		1255				770		1261		77		457117.913		770		457013.197		77		601520.403		770		602205.181		770		457013.197		602205.181		1261		7

				457117.762		601521.391		78		1255				780		1261		78		457117.762		780		457011.686		78		601521.391		780		602215.062		780		457011.686		602215.062		1261		7

				457117.611		601522.379		79		1255				790		1261		79		457117.611		790		457010.175		79		601522.379		790		602224.944		790		457010.175		602224.944		1261		7

				457117.46		601523.367		80		1255				800		1261		80		457117.46		800		457008.664		80		601523.367		800		602234.825		800		457008.664		602234.825		1261		7

				457117.309		601524.355		81		1255.004				810		1261.066		81		457117.309		810		457007.153		81		601524.355		810		602244.706		810		457007.153		602244.706		1261.066		7.066

				457117.158		601525.343		82		1255.05				820		1261.185		82		457117.158		820		457005.642		82		601525.343		820		602254.588		820		457005.642		602254.588		1261.185		7.185

				457117.007		601526.332		83		1255.096				830		1261.303		83		457117.007		830		457004.131		83		601526.332		830		602264.469		830		457004.131		602264.469		1261.303		7.303

				457116.856		601527.32		84		1255.142				840		1261.408		84		457116.856		840		457002.62		84		601527.32		840		602274.351		840		457002.62		602274.351		1261.408		7.408

				457116.705		601528.308		85		1255.188				850		1261.524		85		457116.705		850		457001.109		85		601528.308		850		602284.232		850		457001.109		602284.232		1261.524		7.524

				457116.553		601529.296		86		1255.236				860		1261.665		86		457116.553		860		456999.598		86		601529.296		860		602294.113		860		456999.598		602294.113		1261.665		7.665

				457116.402		601530.284		87		1255.313				870		1261.79		87		457116.402		870		456998.087		87		601530.284		870		602303.995		870		456998.087		602303.995		1261.79		7.79

				457116.251		601531.272		88		1255.313				880		1261.93		88		457116.251		880		456996.576		88		601531.272		880		602313.876		880		456996.576		602313.876		1261.93		7.93

				457116.1		601532.26		89		1255.359				890		1262		89		457116.1		890		456995.065		89		601532.26		890		602323.757		890		456995.065		602323.757		1262		8

				457115.949		601533.248		90		1255.406				900		1262		90		457115.949		900		456993.554		90		601533.248		900		602333.639		900		456993.554		602333.639		1262		8

				457115.798		601534.237		91		1255.453				910		1262		91		457115.798		910		456992.043		91		601534.237		910		602343.52		910		456992.043		602343.52		1262		8

				457115.647		601535.225		92		1255.496				920		1262.147		92		457115.647		920		456990.531		92		601535.225		920		602353.401		920		456990.531		602353.401		1262.147		8.147

				457115.496		601536.213		93		1255.54				930		1262.365		93		457115.496		930		456989.02		93		601536.213		930		602363.283		930		456989.02		602363.283		1262.365		8.365

				457115.345		601537.201		94		1255.581				940		1262.583		94		457115.345		940		456987.509		94		601537.201		940		602373.164		940		456987.509		602373.164		1262.583		8.583

				457115.194		601538.189		95		1255.62				950		1262.826		95		457115.194		950		456985.998		95		601538.189		950		602383.046		950		456985.998		602383.046		1262.826		8.826

				457115.042		601539.177		96		1255.656				960		1263		96		457115.042		960		456984.487		96		601539.177		960		602392.927		960		456984.487		602392.927		1263		9

				457114.891		601540.165		97		1255.689				970		1263		97		457114.891		970		456982.976		97		601540.165		970		602402.808		970		456982.976		602402.808		1263		9

				457114.74		601541.154		98		1255.722				980		1263		98		457114.74		980		456981.465		98		601541.154		980		602412.69		980		456981.465		602412.69		1263		9

				457114.589		601542.142		99		1255.752				990		1263.119		99		457114.589		990		456979.954		99		601542.142		990		602422.571		990		456979.954		602422.571		1263.119		9.119

				457114.438		601543.13		100		1255.781				1000		1263.355		100		457114.438		1000		456978.443		100		601543.13		1000		602432.452		1000		456978.443		602432.452		1263.355		9.355

				457114.287		601544.118		101		1255.802				1010		1263.519		101		457114.287		1010		456976.932		101		601544.118		1010		602442.334		1010		456976.932		602442.334		1263.519		9.519

				457114.136		601545.106		102		1255.821				1020		1263.691		102		457114.136		1020		456975.421		102		601545.106		1020		602452.215		1020		456975.421		602452.215		1263.691		9.691

				457113.985		601546.094		103		1255.821				1030		1263.864		103		457113.985		1030		456973.91		103		601546.094		1030		602462.096		1030		456973.91		602462.096		1263.864		9.864

				457113.834		601547.082		104		1255.839				1040		1264.008		104		457113.834		1040		456972.399		104		601547.082		1040		602471.978		1040		456972.399		602471.978		1264.008		10.008

				457113.682		601548.071		105		1255.908				1050		1264.245		105		457113.682		1050		456970.888		105		601548.071		1050		602481.859		1050		456970.888		602481.859		1264.245		10.245

				457113.531		601549.059		106		1255.922				1060		1264.482		106		457113.531		1060		456969.377		106		601549.059		1060		602491.741		1060		456969.377		602491.741		1264.482		10.482

				457113.38		601550.047		107		1255.931				1070		1264.704		107		457113.38		1070		456967.866		107		601550.047		1070		602501.622		1070		456967.866		602501.622		1264.704		10.704

				457113.229		601551.035		108		1255.944				1080		1264.88		108		457113.229		1080		456966.355		108		601551.035		1080		602511.503		1080		456966.355		602511.503		1264.88		10.88

				457113.078		601552.023		109		1255.946				1090		1265.039		109		457113.078		1090		456964.844		109		601552.023		1090		602521.385		1090		456964.844		602521.385		1265.039		11.039

				457112.927		601553.011		110		1255.972				1100		1265.129		110		457112.927		1100		456963.333		110		601553.011		1100		602531.266		1100		456963.333		602531.266		1265.129		11.129

				457112.776		601553.999		111		1255.972				1110		1265.097		111		457112.776		1110		456961.821		111		601553.999		1110		602541.147		1110		456961.821		602541.147		1265.097		11.097

				457112.625		601554.987		112		1255.998				1120		1264.958		112		457112.625		1120		456960.31		112		601554.987		1120		602551.029		1120		456960.31		602551.029		1264.958		10.958

				457112.474		601555.976		113		1256				1130		1265		113		457112.474		1130		456958.799		113		601555.976		1130		602560.91		1130		456958.799		602560.91		1265		11

				457112.323		601556.964		114		1256				1140		1265		114		457112.323		1140		456957.288		114		601556.964		1140		602570.791		1140		456957.288		602570.791		1265		11

				457112.171		601557.952		115		1256				1150		1264.97		115		457112.171		1150		456955.777		115		601557.952		1150		602580.673		1150		456955.777		602580.673		1264.97		10.97

				457112.02		601558.94		116		1256				1160		1264.99		116		457112.02		1160		456954.266		116		601558.94		1160		602590.554		1160		456954.266		602590.554		1264.99		10.99

				457111.869		601559.928		117		1256				1170		1264.953		117		457111.869		1170		456952.755		117		601559.928		1170		602600.435		1170		456952.755		602600.435		1264.953		10.953

				457111.718		601560.916		118		1256				1180		1265		118		457111.718		1180		456951.244		118		601560.916		1180		602610.317		1180		456951.244		602610.317		1265		11

				457111.567		601561.904		119		1256				1190		1265.162		119		457111.567		1190		456949.733		119		601561.904		1190		602620.198		1190		456949.733		602620.198		1265.162		11.162

				457111.416		601562.893		120		1256				1200		1265.348		120		457111.416		1200		456948.222		120		601562.893		1200		602630.08		1200		456948.222		602630.08		1265.348		11.348

				457111.265		601563.881		121		1256				1210		1265.551		121		457111.265		1210		456946.711		121		601563.881		1210		602639.961		1210		456946.711		602639.961		1265.551		11.551

				457111.114		601564.869		122		1256				1220		1265.608		122		457111.114		1220		456945.2		122		601564.869		1220		602649.842		1220		456945.2		602649.842		1265.608		11.608

				457110.963		601565.857		123		1256				1230		1265.388		123		457110.963		1230		456943.689		123		601565.857		1230		602659.724		1230		456943.689		602659.724		1265.388		11.388

				457110.811		601566.845		124		1256				1240		1265.6		124		457110.811		1240		456942.178		124		601566.845		1240		602669.605		1240		456942.178		602669.605		1265.6		11.6

				457110.66		601567.833		125		1256				1250		1266		125		457110.66		1250		456940.667		125		601567.833		1250		602679.486		1250		456940.667		602679.486		1266		12

				457110.509		601568.821		126		1256				1260		1266		126		457110.509		1260		456939.156		126		601568.821		1260		602689.368		1260		456939.156		602689.368		1266		12

				457110.358		601569.809		127		1256				1270		1266		127		457110.358		1270		456937.645		127		601569.809		1270		602699.249		1270		456937.645		602699.249		1266		12

				457110.207		601570.798		128		1256				1280		1266		128		457110.207		1280		456936.134		128		601570.798		1280		602709.13		1280		456936.134		602709.13		1266		12

				457110.056		601571.786		129		1256				1290		1266		129		457110.056		1290		456934.622		129		601571.786		1290		602719.012		1290		456934.622		602719.012		1266		12

				457109.905		601572.774		130		1256				1300		1266		130		457109.905		1300		456933.111		130		601572.774		1300		602728.893		1300		456933.111		602728.893		1266		12

				457109.754		601573.762		131		1256				1310		1266.333		131		457109.754		1310		456931.6		131		601573.762		1310		602738.775		1310		456931.6		602738.775		1266.333		12.333

				457109.603		601574.75		132		1256				1320		1266.533		132		457109.603		1320		456930.089		132		601574.75		1320		602748.656		1320		456930.089		602748.656		1266.533		12.533

				457109.452		601575.738		133		1256				1330		1266.704		133		457109.452		1330		456928.578		133		601575.738		1330		602758.537		1330		456928.578		602758.537		1266.704		12.704

				457109.3		601576.726		134		1256				1340		1266.74		134		457109.3		1340		456927.067		134		601576.726		1340		602768.419		1340		456927.067		602768.419		1266.74		12.74

				457109.149		601577.715		135		1256				1350		1266.873		135		457109.149		1350		456925.556		135		601577.715		1350		602778.3		1350		456925.556		602778.3		1266.873		12.873

				457108.998		601578.703		136		1256				1360		1267.144		136		457108.998		1360		456924.045		136		601578.703		1360		602788.181		1360		456924.045		602788.181		1267.144		13.144

				457108.847		601579.691		137		1256				1370		1267.564		137		457108.847		1370		456922.534		137		601579.691		1370		602798.063		1370		456922.534		602798.063		1267.564		13.564

				457108.696		601580.679		138		1256				1380		1268		138		457108.696		1380		456921.023		138		601580.679		1380		602807.944		1380		456921.023		602807.944		1268		14

				457108.545		601581.667		139		1256				1390		1268		139		457108.545		1390		456919.512		139		601581.667		1390		602817.825		1390		456919.512		602817.825		1268		14

				457108.394		601582.655		140		1256				1400		1268		140		457108.394		1400		456918.001		140		601582.655		1400		602827.707		1400		456918.001		602827.707		1268		14

				457108.243		601583.643		141		1256				1410		1268.06		141		457108.243		1410		456916.49		141		601583.643		1410		602837.588		1410		456916.49		602837.588		1268.06		14.06

				457108.092		601584.632		142		1256				1420		1268.171		142		457108.092		1420		456914.979		142		601584.632		1420		602847.47		1420		456914.979		602847.47		1268.171		14.171

				457107.94		601585.62		143		1256				1430		1268.197		143		457107.94		1430		456913.468		143		601585.62		1430		602857.351		1430		456913.468		602857.351		1268.197		14.197

				457107.789		601586.608		144		1256				1440		1268.218		144		457107.789		1440		456911.957		144		601586.608		1440		602867.232		1440		456911.957		602867.232		1268.218		14.218

				457107.638		601587.596		145		1256				1450		1268.263		145		457107.638		1450		456910.446		145		601587.596		1450		602877.114		1450		456910.446		602877.114		1268.263		14.263

				457107.487		601588.584		146		1256				1460		1268.287		146		457107.487		1460		456908.935		146		601588.584		1460		602886.995		1460		456908.935		602886.995		1268.287		14.287

				457107.336		601589.572		147		1256				1470		1268.395		147		457107.336		1470		456907.423		147		601589.572		1470		602896.876		1470		456907.423		602896.876		1268.395		14.395

				457107.185		601590.56		148		1256				1480		1268.542		148		457107.185		1480		456905.912		148		601590.56		1480		602906.758		1480		456905.912		602906.758		1268.542		14.542

				457107.034		601591.548		149		1256				1490		1268.678		149		457107.034		1490		456904.401		149		601591.548		1490		602916.639		1490		456904.401		602916.639		1268.678		14.678

				457106.883		601592.537		150		1256				1500		1268.832		150		457106.883		1500		456902.89		150		601592.537		1500		602926.52		1500		456902.89		602926.52		1268.832		14.832

				457106.732		601593.525		151		1256				1510		1268.986		151		457106.732		1510		456901.379		151		601593.525		1510		602936.402		1510		456901.379		602936.402		1268.986		14.986

				457106.581		601594.513		152		1256				1520		1269		152		457106.581		1520		456899.868		152		601594.513		1520		602946.283		1520		456899.868		602946.283		1269		15

				457106.429		601595.501		153		1256				1530		1269		153		457106.429		1530		456898.357		153		601595.501		1530		602956.165		1530		456898.357		602956.165		1269		15

				457106.278		601596.489		154		1256				1540		1269.116		154		457106.278		1540		456896.846		154		601596.489		1540		602966.046		1540		456896.846		602966.046		1269.116		15.116

				457106.127		601597.477		155		1256				1550		1269.327		155		457106.127		1550		456895.335		155		601597.477		1550		602975.927		1550		456895.335		602975.927		1269.327		15.327

				457105.976		601598.465		156		1256.121				1560		1269.513		156		457105.976		1560		456893.824		156		601598.465		1560		602985.809		1560		456893.824		602985.809		1269.513		15.513

				457105.825		601599.454		157		1256.296				1570		1269.725		157		457105.825		1570		456892.313		157		601599.454		1570		602995.69		1570		456892.313		602995.69		1269.725		15.725

				457105.674		601600.442		158		1256.329				1580		1269.936		158		457105.674		1580		456890.802		158		601600.442		1580		603005.571		1580		456890.802		603005.571		1269.936		15.936

				457105.523		601601.43		159		1256.493				1590		1270.013		159		457105.523		1590		456889.291		159		601601.43		1590		603015.453		1590		456889.291		603015.453		1270.013		16.013

				457105.372		601602.418		160		1256.658				1600		1270.223		160		457105.372		1600		456887.78		160		601602.418		1600		603025.334		1600		456887.78		603025.334		1270.223		16.223

				457105.221		601603.406		161		1256.782				1610		1270.42		161		457105.221		1610		456886.269		161		601603.406		1610		603035.215		1610		456886.269		603035.215		1270.42		16.42

				457105.069		601604.394		162		1256.891				1620		1270.617		162		457105.069		1620		456884.758		162		601604.394		1620		603045.097		1620		456884.758		603045.097		1270.617		16.617

				457104.918		601605.382		163		1256.992				1630		1270.791		163		457104.918		1630		456883.247		163		601605.382		1630		603054.978		1630		456883.247		603054.978		1270.791		16.791

				457104.767		601606.371		164		1256.992				1640		1270.98		164		457104.767		1640		456881.736		164		601606.371		1640		603064.859		1640		456881.736		603064.859		1270.98		16.98

				457104.616		601607.359		165		1256.992				1650		1271		165		457104.616		1650		456880.224		165		601607.359		1650		603074.741		1650		456880.224		603074.741		1271		17

				457104.465		601608.347		166		1256.992				1660		1271.075		166		457104.465		1660		456878.713		166		601608.347		1660		603084.622		1660		456878.713		603084.622		1271.075		17.075

				457104.314		601609.335		167		1256.983				1670		1271.237		167		457104.314		1670		456877.202		167		601609.335		1670		603094.504		1670		456877.202		603094.504		1271.237		17.237

				457104.163		601610.323		168		1256.983				1680		1271.399		168		457104.163		1680		456875.691		168		601610.323		1680		603104.385		1680		456875.691		603104.385		1271.399		17.399

				457104.012		601611.311		169		1256.939				1690		1271.561		169		457104.012		1690		456874.18		169		601611.311		1690		603114.266		1690		456874.18		603114.266		1271.561		17.561

				457103.861		601612.299		170		1256.875				1700		1271.706		170		457103.861		1700		456872.669		170		601612.299		1700		603124.148		1700		456872.669		603124.148		1271.706		17.706

				457103.71		601613.287		171		1256.811				1710		1271.868		171		457103.71		1710		456871.158		171		601613.287		1710		603134.029		1710		456871.158		603134.029		1271.868		17.868

				457103.558		601614.276		172		1256.754				1720		1272		172		457103.558		1720		456869.647		172		601614.276		1720		603143.91		1720		456869.647		603143.91		1272		18

				457103.407		601615.264		173		1256.754				1730		1272		173		457103.407		1730		456868.136		173		601615.264		1730		603153.792		1730		456868.136		603153.792		1272		18

				457103.256		601616.252		174		1256.72				1742.3		1272		174		457103.256		1742.3		456866.284		174		601616.252		1742.3		603165.902		1742.3		456866.284		603165.902		1272		18		8.87

				457103.105		601617.24		175		1256.683						1254.633		175		457103.105		0		457129.549		175		601617.24		0		601444.316		0		457129.549		601444.316		1254.633

				457102.954		601618.228		176		1256.643						1254.633		176		457102.954		0		457129.549		176		601618.228		0		601444.316		0		457129.549		601444.316		1254.633

				457102.803		601619.216		177		1256.594						1254.633		177		457102.803		0		457129.549		177		601619.216		0		601444.316		0		457129.549		601444.316		1254.633

				457102.652		601620.204		178		1256.532						1254.633		178		457102.652		0		457129.549		178		601620.204		0		601444.316		0		457129.549		601444.316		1254.633

				457102.501		601621.193		179		1256.468						1254.633		179		457102.501		0		457129.549		179		601621.193		0		601444.316		0		457129.549		601444.316		1254.633

				457102.35		601622.181		180		1256.411						1254.633		180		457102.35		0		457129.549		180		601622.181		0		601444.316		0		457129.549		601444.316		1254.633

				457102.198		601623.169		181		1256.411						1254.633		181		457102.198		0		457129.549		181		601623.169		0		601444.316		0		457129.549		601444.316		1254.633

				457102.047		601624.157		182		1256.377						1254.633		182		457102.047		0		457129.549		182		601624.157		0		601444.316		0		457129.549		601444.316		1254.633

				457101.896		601625.145		183		1256.343						1254.633		183		457101.896		0		457129.549		183		601625.145		0		601444.316		0		457129.549		601444.316		1254.633

				457101.745		601626.133		184		1256.304						1254.633		184		457101.745		0		457129.549		184		601626.133		0		601444.316		0		457129.549		601444.316		1254.633

				457101.594		601627.121		185		1256.249						1254.633		185		457101.594		0		457129.549		185		601627.121		0		601444.316		0		457129.549		601444.316		1254.633

				457101.443		601628.11		186		1256.189						1254.633		186		457101.443		0		457129.549		186		601628.11		0		601444.316		0		457129.549		601444.316		1254.633

				457101.292		601629.098		187		1256.125						1254.633		187		457101.292		0		457129.549		187		601629.098		0		601444.316		0		457129.549		601444.316		1254.633

				457101.141		601630.086		188		1256.068						1254.633		188		457101.141		0		457129.549		188		601630.086		0		601444.316		0		457129.549		601444.316		1254.633

				457100.99		601631.074		189		1256.068						1254.633		189		457100.99		0		457129.549		189		601631.074		0		601444.316		0		457129.549		601444.316		1254.633

				457100.839		601632.062		190		1256.034						1254.633		190		457100.839		0		457129.549		190		601632.062		0		601444.316		0		457129.549		601444.316		1254.633

				457100.687		601633.05		191		1256						1254.633		191		457100.687		0		457129.549		191		601633.05		0		601444.316		0		457129.549		601444.316		1254.633

				457100.536		601634.038		192		1256						1254.633		192		457100.536		0		457129.549		192		601634.038		0		601444.316		0		457129.549		601444.316		1254.633

				457100.385		601635.026		193		1256						1254.633		193		457100.385		0		457129.549		193		601635.026		0		601444.316		0		457129.549		601444.316		1254.633

				457100.234		601636.015		194		1256						1254.633		194		457100.234		0		457129.549		194		601636.015		0		601444.316		0		457129.549		601444.316		1254.633

				457100.083		601637.003		195		1256						1254.633		195		457100.083		0		457129.549		195		601637.003		0		601444.316		0		457129.549		601444.316		1254.633

				457099.932		601637.991		196		1256						1254.633		196		457099.932		0		457129.549		196		601637.991		0		601444.316		0		457129.549		601444.316		1254.633

				457099.781		601638.979		197		1256						1254.633		197		457099.781		0		457129.549		197		601638.979		0		601444.316		0		457129.549		601444.316		1254.633

				457099.63		601639.967		198		1256						1254.633		198		457099.63		0		457129.549		198		601639.967		0		601444.316		0		457129.549		601444.316		1254.633

				457099.479		601640.955		199		1256						1254.633		199		457099.479		0		457129.549		199		601640.955		0		601444.316		0		457129.549		601444.316		1254.633

				457099.327		601641.943		200		1256						1254.633		200		457099.327		0		457129.549		200		601641.943		0		601444.316		0		457129.549		601444.316		1254.633

				457099.176		601642.932		201		1256						1254.633		201		457099.176		0		457129.549		201		601642.932		0		601444.316		0		457129.549		601444.316		1254.633

				457099.025		601643.92		202		1256						1254.633		202		457099.025		0		457129.549		202		601643.92		0		601444.316		0		457129.549		601444.316		1254.633

				457098.874		601644.908		203		1256						1254.633		203		457098.874		0		457129.549		203		601644.908		0		601444.316		0		457129.549		601444.316		1254.633

				457098.723		601645.896		204		1256						1254.633		204		457098.723		0		457129.549		204		601645.896		0		601444.316		0		457129.549		601444.316		1254.633

				457098.572		601646.884		205		1256						1254.633		205		457098.572		0		457129.549		205		601646.884		0		601444.316		0		457129.549		601444.316		1254.633

				457098.421		601647.872		206		1256						1254.633		206		457098.421		0		457129.549		206		601647.872		0		601444.316		0		457129.549		601444.316		1254.633

				457098.27		601648.86		207		1256						1254.633		207		457098.27		0		457129.549		207		601648.86		0		601444.316		0		457129.549		601444.316		1254.633

				457098.119		601649.849		208		1256						1254.633		208		457098.119		0		457129.549		208		601649.849		0		601444.316		0		457129.549		601444.316		1254.633

				457097.968		601650.837		209		1256						1254.633		209		457097.968		0		457129.549		209		601650.837		0		601444.316		0		457129.549		601444.316		1254.633

				457097.816		601651.825		210		1256						1254.633		210		457097.816		0		457129.549		210		601651.825		0		601444.316		0		457129.549		601444.316		1254.633

				457097.665		601652.813		211		1256						1254.633		211		457097.665		0		457129.549		211		601652.813		0		601444.316		0		457129.549		601444.316		1254.633

				457097.514		601653.801		212		1256.017						1254.633		212		457097.514		0		457129.549		212		601653.801		0		601444.316		0		457129.549		601444.316		1254.633

				457097.363		601654.789		213		1256.048						1254.633		213		457097.363		0		457129.549		213		601654.789		0		601444.316		0		457129.549		601444.316		1254.633

				457097.212		601655.777		214		1256.079						1254.633		214		457097.212		0		457129.549		214		601655.777		0		601444.316		0		457129.549		601444.316		1254.633

				457097.061		601656.765		215		1256.11						1254.633		215		457097.061		0		457129.549		215		601656.765		0		601444.316		0		457129.549		601444.316		1254.633

				457096.91		601657.754		216		1256.142						1254.633		216		457096.91		0		457129.549		216		601657.754		0		601444.316		0		457129.549		601444.316		1254.633

				457096.759		601658.742		217		1256.174						1254.633		217		457096.759		0		457129.549		217		601658.742		0		601444.316		0		457129.549		601444.316		1254.633

				457096.608		601659.73		218		1256.206						1254.633		218		457096.608		0		457129.549		218		601659.73		0		601444.316		0		457129.549		601444.316		1254.633

				457096.456		601660.718		219		1256.233						1254.633		219		457096.456		0		457129.549		219		601660.718		0		601444.316		0		457129.549		601444.316		1254.633

				457096.305		601661.706		220		1256.263						1254.633		220		457096.305		0		457129.549		220		601661.706		0		601444.316		0		457129.549		601444.316		1254.633

				457096.154		601662.694		221		1256.291						1254.633		221		457096.154		0		457129.549		221		601662.694		0		601444.316		0		457129.549		601444.316		1254.633

				457096.003		601663.682		222		1256.318						1254.633		222		457096.003		0		457129.549		222		601663.682		0		601444.316		0		457129.549		601444.316		1254.633

				457095.852		601664.671		223		1256.347						1254.633		223		457095.852		0		457129.549		223		601664.671		0		601444.316		0		457129.549		601444.316		1254.633

				457095.701		601665.659		224		1256.38						1254.633		224		457095.701		0		457129.549		224		601665.659		0		601444.316		0		457129.549		601444.316		1254.633

				457095.55		601666.647		225		1256.409						1254.633		225		457095.55		0		457129.549		225		601666.647		0		601444.316		0		457129.549		601444.316		1254.633

				457095.399		601667.635		226		1256.437						1254.633		226		457095.399		0		457129.549		226		601667.635		0		601444.316		0		457129.549		601444.316		1254.633

				457095.248		601668.623		227		1256.437						1254.633		227		457095.248		0		457129.549		227		601668.623		0		601444.316		0		457129.549		601444.316		1254.633

				457095.097		601669.611		228		1256.464						1254.633		228		457095.097		0		457129.549		228		601669.611		0		601444.316		0		457129.549		601444.316		1254.633

				457094.945		601670.599		229		1256.521						1254.633		229		457094.945		0		457129.549		229		601670.599		0		601444.316		0		457129.549		601444.316		1254.633

				457094.794		601671.588		230		1256.548						1254.633		230		457094.794		0		457129.549		230		601671.588		0		601444.316		0		457129.549		601444.316		1254.633

				457094.643		601672.576		231		1256.576						1254.633		231		457094.643		0		457129.549		231		601672.576		0		601444.316		0		457129.549		601444.316		1254.633

				457094.492		601673.564		232		1256.603						1254.633		232		457094.492		0		457129.549		232		601673.564		0		601444.316		0		457129.549		601444.316		1254.633

				457094.341		601674.552		233		1256.63						1254.633		233		457094.341		0		457129.549		233		601674.552		0		601444.316		0		457129.549		601444.316		1254.633

				457094.19		601675.54		234		1256.663						1254.633		234		457094.19		0		457129.549		234		601675.54		0		601444.316		0		457129.549		601444.316		1254.633

				457094.039		601676.528		235		1256.663						1254.633		235		457094.039		0		457129.549		235		601676.528		0		601444.316		0		457129.549		601444.316		1254.633

				457093.888		601677.516		236		1256.691						1254.633		236		457093.888				457129.549		236		601677.516		0		601444.316		0		457129.549		601444.316		1254.633

				457093.737		601678.504		237		1256.718						1254.633		237		457093.737				457129.549		237		601678.504		0		601444.316		0		457129.549		601444.316		1254.633

				457093.585		601679.493		238		1256.773						1254.633		238		457093.585				457129.549		238		601679.493		0		601444.316		0		457129.549		601444.316		1254.633

				457093.434		601680.481		239		1256.8						1254.633		239		457093.434				457129.549		239		601680.481		0		601444.316		0		457129.549		601444.316		1254.633

				457093.283		601681.469		240		1256.828						1254.633		240		457093.283				457129.549		240		601681.469		0		601444.316		0		457129.549		601444.316		1254.633

				457093.132		601682.457		241		1256.855						1254.633		241		457093.132				457129.549		241		601682.457		0		601444.316		0		457129.549		601444.316		1254.633

				457092.981		601683.445		242		1256.882						1254.633		242		457092.981				457129.549		242		601683.445		0		601444.316		0		457129.549		601444.316		1254.633

				457092.83		601684.433		243		1256.882						1254.633		243		457092.83				457129.549		243		601684.433		0		601444.316		0		457129.549		601444.316		1254.633

				457092.679		601685.421		244		1256.91						1254.633		244		457092.679				457129.549		244		601685.421		0		601444.316		0		457129.549		601444.316		1254.633

				457092.528		601686.41		245		1256.938						1254.633		245		457092.528				457129.549		245		601686.41		0		601444.316		0		457129.549		601444.316		1254.633

				457092.377		601687.398		246		1256.965						1254.633		246		457092.377				457129.549		246		601687.398		0		601444.316		0		457129.549		601444.316		1254.633

				457092.226		601688.386		247		1257.011						1254.633		247		457092.226				457129.549		247		601688.386		0		601444.316		0		457129.549		601444.316		1254.633

				457092.074		601689.374		248		1257.027						1254.633		248		457092.074				457129.549		248		601689.374		0		601444.316		0		457129.549		601444.316		1254.633

				457091.923		601690.362		249		1257.042						1254.633		249		457091.923				457129.549		249		601690.362		0		601444.316		0		457129.549		601444.316		1254.633

				457091.772		601691.35		250		1257.058						1254.633		250		457091.772				457129.549		250		601691.35		0		601444.316		0		457129.549		601444.316		1254.633

				457091.621		601692.338		251		1257.058						1254.633		251		457091.621				457129.549		251		601692.338		0		601444.316		0		457129.549		601444.316		1254.633

				457091.47		601693.327		252		1257.074						1254.633		252		457091.47				457129.549		252		601693.327		0		601444.316		0		457129.549		601444.316		1254.633

				457091.319		601694.315		253		1257.089						1254.633		253		457091.319				457129.549		253		601694.315		0		601444.316		0		457129.549		601444.316		1254.633

				457091.168		601695.303		254		1257.105						1254.633		254		457091.168				457129.549		254		601695.303		0		601444.316		0		457129.549		601444.316		1254.633

				457091.017		601696.291		255		1257.121						1254.633		255		457091.017				457129.549		255		601696.291		0		601444.316		0		457129.549		601444.316		1254.633

				457090.866		601697.279		256		1257.152						1254.633		256		457090.866				457129.549		256		601697.279		0		601444.316		0		457129.549		601444.316		1254.633

				457090.714		601698.267		257		1257.167						1254.633		257		457090.714				457129.549		257		601698.267		0		601444.316		0		457129.549		601444.316		1254.633

				457090.563		601699.255		258		1257.167						1254.633		258		457090.563				457129.549		258		601699.255		0		601444.316		0		457129.549		601444.316		1254.633

				457090.412		601700.243		259		1257.183						1254.633		259		457090.412				457129.549		259		601700.243		0		601444.316		0		457129.549		601444.316		1254.633

				457090.261		601701.232		260		1257.199						1254.633		260		457090.261				457129.549		260		601701.232		0		601444.316		0		457129.549		601444.316		1254.633

				457090.11		601702.22		261		1257.215						1254.633		261		457090.11				457129.549		261		601702.22		0		601444.316		0		457129.549		601444.316		1254.633

				457089.959		601703.208		262		1257.231						1254.633		262		457089.959				457129.549		262		601703.208		0		601444.316		0		457129.549		601444.316		1254.633

				457089.808		601704.196		263		1257.247						1254.633		263		457089.808				457129.549		263		601704.196		0		601444.316		0		457129.549		601444.316		1254.633

				457089.657		601705.184		264		1257.263						1254.633		264		457089.657				457129.549		264		601705.184		0		601444.316		0		457129.549		601444.316		1254.633

				457089.506		601706.172		265		1257.293						1254.633		265		457089.506				457129.549		265		601706.172		0		601444.316		0		457129.549		601444.316		1254.633

				457089.355		601707.16		266		1257.293						1254.633		266		457089.355				457129.549		266		601707.16		0		601444.316		0		457129.549		601444.316		1254.633

				457089.203		601708.149		267		1257.309						1254.633		267		457089.203				457129.549		267		601708.149		0		601444.316		0		457129.549		601444.316		1254.633

				457089.052		601709.137		268		1257.325						1254.633		268		457089.052				457129.549		268		601709.137		0		601444.316		0		457129.549		601444.316		1254.633

				457088.901		601710.125		269		1257.342						1254.633		269		457088.901				457129.549		269		601710.125		0		601444.316		0		457129.549		601444.316		1254.633

				457088.75		601711.113		270		1257.358						1254.633		270		457088.75				457129.549		270		601711.113		0		601444.316		0		457129.549		601444.316		1254.633

				457088.599		601712.101		271		1257.374						1254.633		271		457088.599				457129.549		271		601712.101		0		601444.316		0		457129.549		601444.316		1254.633

				457088.448		601713.089		272		1257.39						1254.633		272		457088.448				457129.549		272		601713.089		0		601444.316		0		457129.549		601444.316		1254.633

				457088.297		601714.077		273		1257.407						1254.633		273		457088.297				457129.549		273		601714.077		0		601444.316		0		457129.549		601444.316		1254.633

				457088.146		601715.066		274		1257.42						1254.633		274		457088.146				457129.549		274		601715.066		0		601444.316		0		457129.549		601444.316		1254.633

				457087.995		601716.054		275		1257.437						1254.633		275		457087.995				457129.549		275		601716.054		0		601444.316		0		457129.549		601444.316		1254.633

				457087.843		601717.042		276		1257.453						1254.633		276		457087.843				457129.549		276		601717.042		0		601444.316		0		457129.549		601444.316		1254.633

				457087.692		601718.03		277		1257.469						1254.633		277		457087.692				457129.549		277		601718.03		0		601444.316		0		457129.549		601444.316		1254.633

				457087.541		601719.018		278		1257.486						1254.633		278		457087.541				457129.549		278		601719.018		0		601444.316		0		457129.549		601444.316		1254.633

				457087.39		601720.006		279		1257.502						1254.633		279		457087.39				457129.549		279		601720.006		0		601444.316		0		457129.549		601444.316		1254.633

				457087.239		601720.994		280		1257.518						1254.633		280		457087.239				457129.549		280		601720.994		0		601444.316		0		457129.549		601444.316		1254.633

				457087.088		601721.982		281		1257.535						1254.633		281		457087.088				457129.549		281		601721.982		0		601444.316		0		457129.549		601444.316		1254.633

				457086.937		601722.971		282		1257.548						1254.633		282		457086.937				457129.549		282		601722.971		0		601444.316		0		457129.549		601444.316		1254.633

				457086.786		601723.959		283		1257.565						1254.633		283		457086.786				457129.549		283		601723.959		0		601444.316		0		457129.549		601444.316		1254.633

				457086.635		601724.947		284		1257.581						1254.633		284		457086.635				457129.549		284		601724.947		0		601444.316		0		457129.549		601444.316		1254.633

				457086.483		601725.935		285		1257.598						1254.633		285		457086.483				457129.549		285		601725.935		0		601444.316		0		457129.549		601444.316		1254.633

				457086.332		601726.923		286		1257.614						1254.633		286		457086.332				457129.549		286		601726.923		0		601444.316		0		457129.549		601444.316		1254.633

				457086.181		601727.911		287		1257.631						1254.633		287		457086.181				457129.549		287		601727.911		0		601444.316		0		457129.549		601444.316		1254.633

				457086.03		601728.899		288		1257.648						1254.633		288		457086.03				457129.549		288		601728.899		0		601444.316		0		457129.549		601444.316		1254.633

				457085.879		601729.888		289		1257.648						1254.633		289		457085.879				457129.549		289		601729.888		0		601444.316		0		457129.549		601444.316		1254.633

				457085.728		601730.876		290		1257.665						1254.633		290		457085.728				457129.549		290		601730.876		0		601444.316		0		457129.549		601444.316		1254.633

				457085.577		601731.864		291		1257.694						1254.633		291		457085.577				457129.549		291		601731.864		0		601444.316		0		457129.549		601444.316		1254.633

				457085.426		601732.852		292		1257.711						1254.633		292		457085.426				457129.549		292		601732.852		0		601444.316		0		457129.549		601444.316		1254.633

				457085.275		601733.84		293		1257.728						1254.633		293		457085.275				457129.549		293		601733.84		0		601444.316		0		457129.549		601444.316		1254.633

				457085.124		601734.828		294		1257.744						1254.633		294		457085.124				457129.549		294		601734.828		0		601444.316		0		457129.549		601444.316		1254.633

				457084.972		601735.816		295		1257.761						1254.633		295		457084.972				457129.549		295		601735.816		0		601444.316		0		457129.549		601444.316		1254.633

				457084.821		601736.805		296		1257.778						1254.633		296		457084.821				457129.549		296		601736.805		0		601444.316		0		457129.549		601444.316		1254.633

				457084.67		601737.793		297		1257.778						1254.633		297		457084.67				457129.549		297		601737.793		0		601444.316		0		457129.549		601444.316		1254.633

				457084.519		601738.781		298		1257.795						1254.633		298		457084.519				457129.549		298		601738.781		0		601444.316		0		457129.549		601444.316		1254.633

				457084.368		601739.769		299		1257.812						1254.633		299		457084.368				457129.549		299		601739.769		0		601444.316		0		457129.549		601444.316		1254.633

				457084.217		601740.757		300		1257.841						1254.633		300		457084.217				457129.549		300		601740.757		0		601444.316		0		457129.549		601444.316		1254.633

				457084.066		601741.745		301		1257.858						1254.633		301		457084.066				457129.549		301		601741.745		0		601444.316		0		457129.549		601444.316		1254.633

				457083.915		601742.733		302		1257.875						1254.633		302		457083.915				457129.549		302		601742.733		0		601444.316		0		457129.549		601444.316		1254.633

				457083.764		601743.721		303		1257.893						1254.633		303		457083.764				457129.549		303		601743.721		0		601444.316		0		457129.549		601444.316		1254.633

				457083.612		601744.71		304		1257.91						1254.633		304		457083.612				457129.549		304		601744.71		0		601444.316		0		457129.549		601444.316		1254.633

				457083.461		601745.698		305		1257.91						1254.633		305		457083.461				457129.549		305		601745.698		0		601444.316		0		457129.549		601444.316		1254.633

				457083.31		601746.686		306		1257.927						1254.633		306		457083.31				457129.549		306		601746.686		0		601444.316		0		457129.549		601444.316		1254.633

				457083.159		601747.674		307		1257.944						1254.633		307		457083.159				457129.549		307		601747.674		0		601444.316		0		457129.549		601444.316		1254.633

				457083.008		601748.662		308		1257.961						1254.633		308		457083.008				457129.549		308		601748.662		0		601444.316		0		457129.549		601444.316		1254.633

				457082.857		601749.65		309		1257.99						1254.633		309		457082.857				457129.549		309		601749.65		0		601444.316		0		457129.549		601444.316		1254.633

				457082.706		601750.638		310		1258.007						1254.633		310		457082.706				457129.549		310		601750.638		0		601444.316		0		457129.549		601444.316		1254.633

				457082.555		601751.627		311		1258.024						1254.633		311		457082.555				457129.549		311		601751.627		0		601444.316		0		457129.549		601444.316		1254.633

				457082.404		601752.615		312		1258.041						1254.633		312		457082.404				457129.549		312		601752.615		0		601444.316		0		457129.549		601444.316		1254.633

				457082.253		601753.603		313		1258.041						1254.633		313		457082.253				457129.549		313		601753.603		0		601444.316		0		457129.549		601444.316		1254.633

				457082.101		601754.591		314		1258.058						1254.633		314		457082.101				457129.549		314		601754.591		0		601444.316		0		457129.549		601444.316		1254.633

				457081.95		601755.579		315		1258.075						1254.633		315		457081.95				457129.549		315		601755.579		0		601444.316		0		457129.549		601444.316		1254.633

				457081.799		601756.567		316		1258.092						1254.633		316		457081.799				457129.549		316		601756.567		0		601444.316		0		457129.549		601444.316		1254.633

				457081.648		601757.555		317		1258.109						1254.633		317		457081.648				457129.549		317		601757.555		0		601444.316		0		457129.549		601444.316		1254.633

				457081.497		601758.544		318		1258.138						1254.633		318		457081.497				457129.549		318		601758.544		0		601444.316		0		457129.549		601444.316		1254.633

				457081.346		601759.532		319		1258.155						1254.633		319		457081.346				457129.549		319		601759.532		0		601444.316		0		457129.549		601444.316		1254.633

				457081.195		601760.52		320		1258.155						1254.633		320		457081.195				457129.549		320		601760.52		0		601444.316		0		457129.549		601444.316		1254.633

				457081.044		601761.508		321		1258.172						1254.633		321		457081.044				457129.549		321		601761.508		0		601444.316		0		457129.549		601444.316		1254.633

				457080.893		601762.496		322		1258.189						1254.633		322		457080.893				457129.549		322		601762.496		0		601444.316		0		457129.549		601444.316		1254.633

				457080.741		601763.484		323		1258.207						1254.633		323		457080.741				457129.549		323		601763.484		0		601444.316		0		457129.549		601444.316		1254.633

				457080.59		601764.472		324		1258.224						1254.633		324		457080.59				457129.549		324		601764.472		0		601444.316		0		457129.549		601444.316		1254.633

				457080.439		601765.46		325		1258.241						1254.633		325		457080.439				457129.549		325		601765.46		0		601444.316		0		457129.549		601444.316		1254.633

				457080.288		601766.449		326		1258.259						1254.633		326		457080.288				457129.549		326		601766.449		0		601444.316		0		457129.549		601444.316		1254.633

				457080.137		601767.437		327		1258.287						1254.633		327		457080.137				457129.549		327		601767.437		0		601444.316		0		457129.549		601444.316		1254.633

				457079.986		601768.425		328		1258.287						1254.633		328		457079.986				457129.549		328		601768.425		0		601444.316		0		457129.549		601444.316		1254.633

				457079.835		601769.413		329		1258.305						1254.633		329		457079.835				457129.549		329		601769.413		0		601444.316		0		457129.549		601444.316		1254.633

				457079.684		601770.401		330		1258.322						1254.633		330		457079.684				457129.549		330		601770.401		0		601444.316		0		457129.549		601444.316		1254.633

				457079.533		601771.389		331		1258.339						1254.633		331		457079.533				457129.549		331		601771.389		0		601444.316		0		457129.549		601444.316		1254.633

				457079.382		601772.377		332		1258.357						1254.633		332		457079.382				457129.549		332		601772.377		0		601444.316		0		457129.549		601444.316		1254.633

				457079.23		601773.366		333		1258.374						1254.633		333		457079.23				457129.549		333		601773.366		0		601444.316		0		457129.549		601444.316		1254.633

				457079.079		601774.354		334		1258.392						1254.633		334		457079.079				457129.549		334		601774.354		0		601444.316		0		457129.549		601444.316		1254.633

				457078.928		601775.342		335		1258.409						1254.633		335		457078.928				457129.549		335		601775.342		0		601444.316		0		457129.549		601444.316		1254.633

				457078.777		601776.33		336		1258.42						1254.633		336		457078.777				457129.549		336		601776.33		0		601444.316		0		457129.549		601444.316		1254.633

				457078.626		601777.318		337		1258.438						1254.633		337		457078.626				457129.549		337		601777.318		0		601444.316		0		457129.549		601444.316		1254.633

				457078.475		601778.306		338		1258.455						1254.633		338		457078.475				457129.549		338		601778.306		0		601444.316		0		457129.549		601444.316		1254.633

				457078.324		601779.294		339		1258.473						1254.633		339		457078.324				457129.549		339		601779.294		0		601444.316		0		457129.549		601444.316		1254.633

				457078.173		601780.282		340		1258.49						1254.633		340		457078.173				457129.549		340		601780.282		0		601444.316		0		457129.549		601444.316		1254.633

				457078.022		601781.271		341		1258.508						1254.633		341		457078.022				457129.549		341		601781.271		0		601444.316		0		457129.549		601444.316		1254.633

				457077.87		601782.259		342		1258.525						1254.633		342		457077.87				457129.549		342		601782.259		0		601444.316		0		457129.549		601444.316		1254.633

				457077.719		601783.247		343		1258.543						1254.633		343		457077.719				457129.549		343		601783.247		0		601444.316		0		457129.549		601444.316		1254.633

				457077.568		601784.235		344		1258.543						1254.633		344		457077.568				457129.549		344		601784.235		0		601444.316		0		457129.549		601444.316		1254.633

				457077.417		601785.223		345		1258.571						1254.633		345		457077.417				457129.549		345		601785.223		0		601444.316		0		457129.549		601444.316		1254.633

				457077.266		601786.211		346		1258.589						1254.633		346		457077.266				457129.549		346		601786.211		0		601444.316		0		457129.549		601444.316		1254.633

				457077.115		601787.199		347		1258.607						1254.633		347		457077.115				457129.549		347		601787.199		0		601444.316		0		457129.549		601444.316		1254.633

				457076.964		601788.188		348		1258.624						1254.633		348		457076.964				457129.549		348		601788.188		0		601444.316		0		457129.549		601444.316		1254.633

				457076.813		601789.176		349		1258.642						1254.633		349		457076.813				457129.549		349		601789.176		0		601444.316		0		457129.549		601444.316		1254.633

				457076.662		601790.164		350		1258.66						1254.633		350		457076.662				457129.549		350		601790.164		0		601444.316		0		457129.549		601444.316		1254.633

				457076.511		601791.152		351		1258.66						1254.633		351		457076.511				457129.549		351		601791.152		0		601444.316		0		457129.549		601444.316		1254.633

				457076.359		601792.14		352		1258.678						1254.633		352		457076.359				457129.549		352		601792.14		0		601444.316		0		457129.549		601444.316		1254.633

				457076.208		601793.128		353		1258.706						1254.633		353		457076.208				457129.549		353		601793.128		0		601444.316		0		457129.549		601444.316		1254.633

				457076.057		601794.116		354		1258.724						1254.633		354		457076.057				457129.549		354		601794.116		0		601444.316		0		457129.549		601444.316		1254.633

				457075.906		601795.105		355		1258.741						1254.633		355		457075.906				457129.549		355		601795.105		0		601444.316		0		457129.549		601444.316		1254.633

				457075.755		601796.093		356		1258.759						1254.633		356		457075.755				457129.549		356		601796.093		0		601444.316		0		457129.549		601444.316		1254.633

				457075.604		601797.081		357		1258.777						1254.633		357		457075.604				457129.549		357		601797.081		0		601444.316		0		457129.549		601444.316		1254.633

				457075.453		601798.069		358		1258.795						1254.633		358		457075.453				457129.549		358		601798.069		0		601444.316		0		457129.549		601444.316		1254.633

				457075.302		601799.057		359		1258.795						1254.633		359		457075.302				457129.549		359		601799.057		0		601444.316		0		457129.549		601444.316		1254.633

				457075.151		601800.045		360		1258.813						1254.633		360		457075.151				457129.549		360		601800.045		0		601444.316		0		457129.549		601444.316		1254.633

				457074.999		601801.033		361		1258.83						1254.633		361		457074.999				457129.549		361		601801.033		0		601444.316		0		457129.549		601444.316		1254.633

				457074.848		601802.021		362		1258.859						1254.633		362		457074.848				457129.549		362		601802.021		0		601444.316		0		457129.549		601444.316		1254.633

				457074.697		601803.01		363		1258.876						1254.633		363		457074.697				457129.549		363		601803.01		0		601444.316		0		457129.549		601444.316		1254.633

				457074.546		601803.998		364		1258.894						1254.633		364		457074.546				457129.549		364		601803.998		0		601444.316		0		457129.549		601444.316		1254.633

				457074.395		601804.986		365		1258.912						1254.633		365		457074.395				457129.549		365		601804.986		0		601444.316		0		457129.549		601444.316		1254.633

				457074.244		601805.974		366		1258.93						1254.633		366		457074.244				457129.549		366		601805.974		0		601444.316		0		457129.549		601444.316		1254.633

				457074.093		601806.962		367		1258.93						1254.633		367		457074.093				457129.549		367		601806.962		0		601444.316		0		457129.549		601444.316		1254.633

				457073.942		601807.95		368		1258.948						1254.633		368		457073.942				457129.549		368		601807.95		0		601444.316		0		457129.549		601444.316		1254.633

				457073.791		601808.938		369		1258.966						1254.633		369		457073.791				457129.549		369		601808.938		0		601444.316		0		457129.549		601444.316		1254.633

				457073.64		601809.927		370		1258.984						1254.633		370		457073.64				457129.549		370		601809.927		0		601444.316		0		457129.549		601444.316		1254.633

				457073.488		601810.915		371		1259.012						1254.633		371		457073.488				457129.549		371		601810.915		0		601444.316		0		457129.549		601444.316		1254.633

				457073.337		601811.903		372		1259.029						1254.633		372		457073.337				457129.549		372		601811.903		0		601444.316		0		457129.549		601444.316		1254.633

				457073.186		601812.891		373		1259.047						1254.633		373		457073.186				457129.549		373		601812.891		0		601444.316		0		457129.549		601444.316		1254.633

				457073.035		601813.879		374		1259.047						1254.633		374		457073.035				457129.549		374		601813.879		0		601444.316		0		457129.549		601444.316		1254.633

				457072.884		601814.867		375		1259.064						1254.633		375		457072.884				457129.549		375		601814.867		0		601444.316		0		457129.549		601444.316		1254.633

				457072.733		601815.855		376		1259.082						1254.633		376		457072.733				457129.549		376		601815.855		0		601444.316		0		457129.549		601444.316		1254.633

				457072.582		601816.844		377		1259.1						1254.633		377		457072.582				457129.549		377		601816.844		0		601444.316		0		457129.549		601444.316		1254.633

				457072.431		601817.832		378		1259.117						1254.633		378		457072.431				457129.549		378		601817.832		0		601444.316		0		457129.549		601444.316		1254.633

				457072.28		601818.82		379		1259.135						1254.633		379		457072.28				457129.549		379		601818.82		0		601444.316		0		457129.549		601444.316		1254.633

				457072.128		601819.808		380		1259.162						1254.633		380		457072.128				457129.549		380		601819.808		0		601444.316		0		457129.549		601444.316		1254.633

				457071.977		601820.796		381		1259.18						1254.633		381		457071.977				457129.549		381		601820.796		0		601444.316		0		457129.549		601444.316		1254.633

				457071.826		601821.784		382		1259.18						1254.633		382		457071.826				457129.549		382		601821.784		0		601444.316		0		457129.549		601444.316		1254.633

				457071.675		601822.772		383		1259.197						1254.633		383		457071.675				457129.549		383		601822.772		0		601444.316		0		457129.549		601444.316		1254.633

				457071.524		601823.76		384		1259.215						1254.633		384		457071.524				457129.549		384		601823.76		0		601444.316		0		457129.549		601444.316		1254.633

				457071.373		601824.749		385		1259.233						1254.633		385		457071.373				457129.549		385		601824.749		0		601444.316		0		457129.549		601444.316		1254.633

				457071.222		601825.737		386		1259.251						1254.633		386		457071.222				457129.549		386		601825.737		0		601444.316		0		457129.549		601444.316		1254.633

				457071.071		601826.725		387		1259.269						1254.633		387		457071.071				457129.549		387		601826.725		0		601444.316		0		457129.549		601444.316		1254.633

				457070.92		601827.713		388		1259.286						1254.633		388		457070.92				457129.549		388		601827.713		0		601444.316		0		457129.549		601444.316		1254.633

				457070.769		601828.701		389		1259.313						1254.633		389		457070.769				457129.549		389		601828.701		0		601444.316		0		457129.549		601444.316		1254.633

				457070.617		601829.689		390		1259.313						1254.633		390		457070.617				457129.549		390		601829.689		0		601444.316		0		457129.549		601444.316		1254.633

				457070.466		601830.677		391		1259.331						1254.633		391		457070.466				457129.549		391		601830.677		0		601444.316		0		457129.549		601444.316		1254.633

				457070.315		601831.666		392		1259.349						1254.633		392		457070.315				457129.549		392		601831.666		0		601444.316		0		457129.549		601444.316		1254.633

				457070.164		601832.654		393		1259.367						1254.633		393		457070.164				457129.549		393		601832.654		0		601444.316		0		457129.549		601444.316		1254.633

				457070.013		601833.642		394		1259.385						1254.633		394		457070.013				457129.549		394		601833.642		0		601444.316		0		457129.549		601444.316		1254.633

				457069.862		601834.63		395		1259.403						1254.633		395		457069.862				457129.549		395		601834.63		0		601444.316		0		457129.549		601444.316		1254.633

				457069.711		601835.618		396		1259.42						1254.633		396		457069.711				457129.549		396		601835.618		0		601444.316		0		457129.549		601444.316		1254.633

				457069.56		601836.606		397		1259.438						1254.633		397		457069.56				457129.549		397		601836.606		0		601444.316		0		457129.549		601444.316		1254.633

				457069.409		601837.594		398		1259.447						1254.633		398		457069.409				457129.549		398		601837.594		0		601444.316		0		457129.549		601444.316		1254.633

				457069.257		601838.583		399		1259.465						1254.633		399		457069.257				457129.549		399		601838.583		0		601444.316		0		457129.549		601444.316		1254.633

				457069.106		601839.571		400		1259.483						1254.633		400		457069.106				457129.549		400		601839.571		0		601444.316		0		457129.549		601444.316		1254.633

				457068.955		601840.559		401		1259.501						1254.633		401		457068.955				457129.549		401		601840.559		0		601444.316		0		457129.549		601444.316		1254.633

				457068.804		601841.547		402		1259.519						1254.633		402		457068.804				457129.549		402		601841.547		0		601444.316		0		457129.549		601444.316		1254.633

				457068.653		601842.535		403		1259.536						1254.633		403		457068.653				457129.549		403		601842.535		0		601444.316		0		457129.549		601444.316		1254.633

				457068.502		601843.523		404		1259.555						1254.633		404		457068.502				457129.549		404		601843.523		0		601444.316		0		457129.549		601444.316		1254.633

				457068.351		601844.511		405		1259.555						1254.633		405		457068.351				457129.549		405		601844.511		0		601444.316		0		457129.549		601444.316		1254.633

				457068.2		601845.499		406		1259.573						1254.633		406		457068.2				457129.549		406		601845.499		0		601444.316		0		457129.549		601444.316		1254.633

				457068.049		601846.488		407		1259.599						1254.633		407		457068.049				457129.549		407		601846.488		0		601444.316		0		457129.549		601444.316		1254.633

				457067.898		601847.476		408		1259.617						1254.633		408		457067.898				457129.549		408		601847.476		0		601444.316		0		457129.549		601444.316		1254.633

				457067.746		601848.464		409		1259.635						1254.633		409		457067.746				457129.549		409		601848.464		0		601444.316		0		457129.549		601444.316		1254.633

				457067.595		601849.452		410		1259.654						1254.633		410		457067.595				457129.549		410		601849.452		0		601444.316		0		457129.549		601444.316		1254.633

				457067.444		601850.44		411		1259.672						1254.633		411		457067.444				457129.549		411		601850.44		0		601444.316		0		457129.549		601444.316		1254.633

				457067.293		601851.428		412		1259.69						1254.633		412		457067.293				457129.549		412		601851.428		0		601444.316		0		457129.549		601444.316		1254.633

				457067.142		601852.416		413		1259.69						1254.633		413		457067.142				457129.549		413		601852.416		0		601444.316		0		457129.549		601444.316		1254.633

				457066.991		601853.405		414		1259.708						1254.633		414		457066.991				457129.549		414		601853.405		0		601444.316		0		457129.549		601444.316		1254.633

				457066.84		601854.393		415		1259.726						1254.633		415		457066.84				457129.549		415		601854.393		0		601444.316		0		457129.549		601444.316		1254.633

				457066.689		601855.381		416		1259.753						1254.633		416		457066.689				457129.549		416		601855.381		0		601444.316		0		457129.549		601444.316		1254.633

				457066.538		601856.369		417		1259.771						1254.633		417		457066.538				457129.549		417		601856.369		0		601444.316		0		457129.549		601444.316		1254.633

				457066.386		601857.357		418		1259.789						1254.633		418		457066.386				457129.549		418		601857.357		0		601444.316		0		457129.549		601444.316		1254.633

				457066.235		601858.345		419		1259.807						1254.633		419		457066.235				457129.549		419		601858.345		0		601444.316		0		457129.549		601444.316		1254.633

				457066.084		601859.333		420		1259.826						1254.633		420		457066.084				457129.549		420		601859.333		0		601444.316		0		457129.549		601444.316		1254.633

				457065.933		601860.322		421		1259.826						1254.633		421		457065.933				457129.549		421		601860.322		0		601444.316		0		457129.549		601444.316		1254.633

				457065.782		601861.31		422		1259.845						1254.633		422		457065.782				457129.549		422		601861.31		0		601444.316		0		457129.549		601444.316		1254.633

				457065.631		601862.298		423		1259.864						1254.633		423		457065.631				457129.549		423		601862.298		0		601444.316		0		457129.549		601444.316		1254.633

				457065.48		601863.286		424		1259.889						1254.633		424		457065.48				457129.549		424		601863.286		0		601444.316		0		457129.549		601444.316		1254.633

				457065.329		601864.274		425		1259.908						1254.633		425		457065.329				457129.549		425		601864.274		0		601444.316		0		457129.549		601444.316		1254.633

				457065.178		601865.262		426		1259.927						1254.633		426		457065.178				457129.549		426		601865.262		0		601444.316		0		457129.549		601444.316		1254.633

				457065.027		601866.25		427		1259.946						1254.633		427		457065.027				457129.549		427		601866.25		0		601444.316		0		457129.549		601444.316		1254.633

				457064.875		601867.238		428		1259.965						1254.633		428		457064.875				457129.549		428		601867.238		0		601444.316		0		457129.549		601444.316		1254.633

				457064.724		601868.227		429		1259.965						1254.633		429		457064.724				457129.549		429		601868.227		0		601444.316		0		457129.549		601444.316		1254.633

				457064.573		601869.215		430		1259.984						1254.633		430		457064.573				457129.549		430		601869.215		0		601444.316		0		457129.549		601444.316		1254.633

				457064.422		601870.203		431		1260.003						1254.633		431		457064.422				457129.549		431		601870.203		0		601444.316		0		457129.549		601444.316		1254.633

				457064.271		601871.191		432		1260.024						1254.633		432		457064.271				457129.549		432		601871.191		0		601444.316		0		457129.549		601444.316		1254.633

				457064.12		601872.179		433		1260.05						1254.633		433		457064.12				457129.549		433		601872.179		0		601444.316		0		457129.549		601444.316		1254.633

				457063.969		601873.167		434		1260.071						1254.633		434		457063.969				457129.549		434		601873.167		0		601444.316		0		457129.549		601444.316		1254.633

				457063.818		601874.155		435		1260.091						1254.633		435		457063.818				457129.549		435		601874.155		0		601444.316		0		457129.549		601444.316		1254.633

				457063.667		601875.144		436		1260.091						1254.633		436		457063.667				457129.549		436		601875.144		0		601444.316		0		457129.549		601444.316		1254.633

				457063.515		601876.132		437		1260.112						1254.633		437		457063.515				457129.549		437		601876.132		0		601444.316		0		457129.549		601444.316		1254.633

				457063.364		601877.12		438		1260.132						1254.633		438		457063.364				457129.549		438		601877.12		0		601444.316		0		457129.549		601444.316		1254.633

				457063.213		601878.108		439		1260.153						1254.633		439		457063.213				457129.549		439		601878.108		0		601444.316		0		457129.549		601444.316		1254.633

				457063.062		601879.096		440		1260.173						1254.633		440		457063.062				457129.549		440		601879.096		0		601444.316		0		457129.549		601444.316		1254.633

				457062.911		601880.084		441		1260.194						1254.633		441		457062.911				457129.549		441		601880.084		0		601444.316		0		457129.549		601444.316		1254.633

				457062.76		601881.072		442		1260.22						1254.633		442		457062.76				457129.549		442		601881.072		0		601444.316		0		457129.549		601444.316		1254.633

				457062.609		601882.061		443		1260.241						1254.633		443		457062.609				457129.549		443		601882.061		0		601444.316		0		457129.549		601444.316		1254.633

				457062.458		601883.049		444		1260.241						1254.633		444		457062.458				457129.549		444		601883.049		0		601444.316		0		457129.549		601444.316		1254.633

				457062.307		601884.037		445		1260.262						1254.633		445		457062.307				457129.549		445		601884.037		0		601444.316		0		457129.549		601444.316		1254.633

				457062.156		601885.025		446		1260.282						1254.633		446		457062.156				457129.549		446		601885.025		0		601444.316		0		457129.549		601444.316		1254.633

				457062.004		601886.013		447		1260.303						1254.633		447		457062.004				457129.549		447		601886.013		0		601444.316		0		457129.549		601444.316		1254.633

				457061.853		601887.001		448		1260.323						1254.633		448		457061.853				457129.549		448		601887.001		0		601444.316		0		457129.549		601444.316		1254.633

				457061.702		601887.989		449		1260.344						1254.633		449		457061.702				457129.549		449		601887.989		0		601444.316		0		457129.549		601444.316		1254.633

				457061.551		601888.977		450		1260.365						1254.633		450		457061.551				457129.549		450		601888.977		0		601444.316		0		457129.549		601444.316		1254.633

				457061.4		601889.966		451		1260.391						1254.633		451		457061.4				457129.549		451		601889.966		0		601444.316		0		457129.549		601444.316		1254.633

				457061.249		601890.954		452		1260.391						1254.633		452		457061.249				457129.549		452		601890.954		0		601444.316		0		457129.549		601444.316		1254.633

				457061.098		601891.942		453		1260.411						1254.633		453		457061.098				457129.549		453		601891.942		0		601444.316		0		457129.549		601444.316		1254.633

				457060.947		601892.93		454		1260.432						1254.633		454		457060.947				457129.549		454		601892.93		0		601444.316		0		457129.549		601444.316		1254.633

				457060.796		601893.918		455		1260.453						1254.633		455		457060.796				457129.549		455		601893.918		0		601444.316		0		457129.549		601444.316		1254.633

				457060.644		601894.906		456		1260.473						1254.633		456		457060.644				457129.549		456		601894.906		0		601444.316		0		457129.549		601444.316		1254.633

				457060.493		601895.894		457		1260.493						1254.633		457		457060.493				457129.549		457		601895.894		0		601444.316		0		457129.549		601444.316		1254.633

				457060.342		601896.883		458		1260.513						1254.633		458		457060.342				457129.549		458		601896.883		0		601444.316		0		457129.549		601444.316		1254.633

				457060.191		601897.871		459		1260.533						1254.633		459		457060.191				457129.549		459		601897.871		0		601444.316		0		457129.549		601444.316		1254.633

				457060.04		601898.859		460		1260.541						1254.633		460		457060.04				457129.549		460		601898.859		0		601444.316		0		457129.549		601444.316		1254.633

				457059.889		601899.847		461		1260.561						1254.633		461		457059.889				457129.549		461		601899.847		0		601444.316		0		457129.549		601444.316		1254.633

				457059.738		601900.835		462		1260.581						1254.633		462		457059.738				457129.549		462		601900.835		0		601444.316		0		457129.549		601444.316		1254.633

				457059.587		601901.823		463		1260.601						1254.633		463		457059.587				457129.549		463		601901.823		0		601444.316		0		457129.549		601444.316		1254.633

				457059.436		601902.811		464		1260.621						1254.633		464		457059.436				457129.549		464		601902.811		0		601444.316		0		457129.549		601444.316		1254.633

				457059.285		601903.8		465		1260.641						1254.633		465		457059.285				457129.549		465		601903.8		0		601444.316		0		457129.549		601444.316		1254.633

				457059.133		601904.788		466		1260.661						1254.633		466		457059.133				457129.549		466		601904.788		0		601444.316		0		457129.549		601444.316		1254.633

				457058.982		601905.776		467		1260.661						1254.633		467		457058.982				457129.549		467		601905.776		0		601444.316		0		457129.549		601444.316		1254.633

				457058.831		601906.764		468		1260.681						1254.633		468		457058.831				457129.549		468		601906.764		0		601444.316		0		457129.549		601444.316		1254.633

				457058.68		601907.752		469		1260.709						1254.633		469		457058.68				457129.549		469		601907.752		0		601444.316		0		457129.549		601444.316		1254.633

				457058.529		601908.74		470		1260.729						1254.633		470		457058.529				457129.549		470		601908.74		0		601444.316		0		457129.549		601444.316		1254.633

				457058.378		601909.728		471		1260.75						1254.633		471		457058.378				457129.549		471		601909.728		0		601444.316		0		457129.549		601444.316		1254.633

				457058.227		601910.716		472		1260.77						1254.633		472		457058.227				457129.549		472		601910.716		0		601444.316		0		457129.549		601444.316		1254.633

				457058.076		601911.705		473		1260.79						1254.633		473		457058.076				457129.549		473		601911.705		0		601444.316		0		457129.549		601444.316		1254.633

				457057.925		601912.693		474		1260.81						1254.633		474		457057.925				457129.549		474		601912.693		0		601444.316		0		457129.549		601444.316		1254.633

				457057.773		601913.681		475		1260.81						1254.633		475		457057.773				457129.549		475		601913.681		0		601444.316		0		457129.549		601444.316		1254.633

				457057.622		601914.669		476		1260.83						1254.633		476		457057.622				457129.549		476		601914.669		0		601444.316		0		457129.549		601444.316		1254.633

				457057.471		601915.657		477		1260.85						1254.633		477		457057.471				457129.549		477		601915.657		0		601444.316		0		457129.549		601444.316		1254.633

				457057.32		601916.645		478		1260.878						1254.633		478		457057.32				457129.549		478		601916.645		0		601444.316		0		457129.549		601444.316		1254.633

				457057.169		601917.633		479		1260.898						1254.633		479		457057.169				457129.549		479		601917.633		0		601444.316		0		457129.549		601444.316		1254.633

				457057.018		601918.622		480		1260.918						1254.633		480		457057.018				457129.549		480		601918.622		0		601444.316		0		457129.549		601444.316		1254.633

				457056.867		601919.61		481		1260.938						1254.633		481		457056.867				457129.549		481		601919.61		0		601444.316		0		457129.549		601444.316		1254.633

				457056.716		601920.598		482		1260.958						1254.633		482		457056.716				457129.549		482		601920.598		0		601444.316		0		457129.549		601444.316		1254.633

				457056.565		601921.586		483		1260.958						1254.633		483		457056.565				457129.549		483		601921.586		0		601444.316		0		457129.549		601444.316		1254.633

				457056.414		601922.574		484		1260.978						1254.633		484		457056.414				457129.549		484		601922.574		0		601444.316		0		457129.549		601444.316		1254.633

				457056.262		601923.562		485		1260.998						1254.633		485		457056.262				457129.549		485		601923.562		0		601444.316		0		457129.549		601444.316		1254.633

				457056.111		601924.55		486		1261						1254.633		486		457056.111				457129.549		486		601924.55		0		601444.316		0		457129.549		601444.316		1254.633

				457055.96		601925.539		487		1261						1254.633		487		457055.96				457129.549		487		601925.539		0		601444.316		0		457129.549		601444.316		1254.633

				457055.809		601926.527		488		1261						1254.633		488		457055.809				457129.549		488		601926.527		0		601444.316		0		457129.549		601444.316		1254.633

				457055.658		601927.515		489		1261						1254.633		489		457055.658				457129.549		489		601927.515		0		601444.316		0		457129.549		601444.316		1254.633

				457055.507		601928.503		490		1261						1254.633		490		457055.507				457129.549		490		601928.503		0		601444.316		0		457129.549		601444.316		1254.633

				457055.356		601929.491		491		1261						1254.633		491		457055.356				457129.549		491		601929.491		0		601444.316		0		457129.549		601444.316		1254.633

				457055.205		601930.479		492		1261						1254.633		492		457055.205				457129.549		492		601930.479		0		601444.316		0		457129.549		601444.316		1254.633

				457055.054		601931.467		493		1261						1254.633		493		457055.054				457129.549		493		601931.467		0		601444.316		0		457129.549		601444.316		1254.633

				457054.902		601932.455		494		1261						1254.633		494		457054.902				457129.549		494		601932.455		0		601444.316		0		457129.549		601444.316		1254.633

				457054.751		601933.444		495		1261						1254.633		495		457054.751				457129.549		495		601933.444		0		601444.316		0		457129.549		601444.316		1254.633

				457054.6		601934.432		496		1261						1254.633		496		457054.6				457129.549		496		601934.432		0		601444.316		0		457129.549		601444.316		1254.633

				457054.449		601935.42		497		1261						1254.633		497		457054.449				457129.549		497		601935.42		0		601444.316		0		457129.549		601444.316		1254.633

				457054.298		601936.408		498		1261						1254.633		498		457054.298				457129.549		498		601936.408		0		601444.316		0		457129.549		601444.316		1254.633

				457054.147		601937.396		499		1261						1254.633		499		457054.147				457129.549		499		601937.396		0		601444.316		0		457129.549		601444.316		1254.633

				457053.996		601938.384		500		1261						1254.633		500		457053.996				457129.549		500		601938.384		0		601444.316		0		457129.549		601444.316		1254.633

				457053.845		601939.372		501		1261						1254.633		501		457053.845				457129.549		501		601939.372		0		601444.316		0		457129.549		601444.316		1254.633

				457053.694		601940.361		502		1261						1254.633		502		457053.694				457129.549		502		601940.361		0		601444.316		0		457129.549		601444.316		1254.633

				457053.542		601941.349		503		1261						1254.633		503		457053.542				457129.549		503		601941.349		0		601444.316		0		457129.549		601444.316		1254.633

				457053.391		601942.337		504		1261						1254.633		504		457053.391				457129.549		504		601942.337		0		601444.316		0		457129.549		601444.316		1254.633

				457053.24		601943.325		505		1261						1254.633		505		457053.24				457129.549		505		601943.325		0		601444.316		0		457129.549		601444.316		1254.633

				457053.089		601944.313		506		1261						1254.633		506		457053.089				457129.549		506		601944.313		0		601444.316		0		457129.549		601444.316		1254.633

				457052.938		601945.301		507		1261						1254.633		507		457052.938				457129.549		507		601945.301		0		601444.316		0		457129.549		601444.316		1254.633

				457052.787		601946.289		508		1261						1254.633		508		457052.787				457129.549		508		601946.289		0		601444.316		0		457129.549		601444.316		1254.633

				457052.636		601947.278		509		1261						1254.633		509		457052.636				457129.549		509		601947.278		0		601444.316		0		457129.549		601444.316		1254.633

				457052.485		601948.266		510		1261						1254.633		510		457052.485				457129.549		510		601948.266		0		601444.316		0		457129.549		601444.316		1254.633

				457052.334		601949.254		511		1261						1254.633		511		457052.334				457129.549		511		601949.254		0		601444.316		0		457129.549		601444.316		1254.633

				457052.183		601950.242		512		1261						1254.633		512		457052.183				457129.549		512		601950.242		0		601444.316		0		457129.549		601444.316		1254.633

				457052.031		601951.23		513		1261						1254.633		513		457052.031				457129.549		513		601951.23		0		601444.316		0		457129.549		601444.316		1254.633

				457051.88		601952.218		514		1261						1254.633		514		457051.88				457129.549		514		601952.218		0		601444.316		0		457129.549		601444.316		1254.633

				457051.729		601953.206		515		1261						1254.633		515		457051.729				457129.549		515		601953.206		0		601444.316		0		457129.549		601444.316		1254.633

				457051.578		601954.194		516		1261						1254.633		516		457051.578				457129.549		516		601954.194		0		601444.316		0		457129.549		601444.316		1254.633

				457051.427		601955.183		517		1261						1254.633		517		457051.427				457129.549		517		601955.183		0		601444.316		0		457129.549		601444.316		1254.633

				457051.276		601956.171		518		1261						1254.633		518		457051.276				457129.549		518		601956.171		0		601444.316		0		457129.549		601444.316		1254.633

				457051.125		601957.159		519		1261						1254.633		519		457051.125				457129.549		519		601957.159		0		601444.316		0		457129.549		601444.316		1254.633

				457050.974		601958.147		520		1261						1254.633		520		457050.974				457129.549		520		601958.147		0		601444.316		0		457129.549		601444.316		1254.633

				457050.823		601959.135		521		1261						1254.633		521		457050.823				457129.549		521		601959.135		0		601444.316		0		457129.549		601444.316		1254.633

				457050.671		601960.123		522		1261						1254.633		522		457050.671				457129.549		522		601960.123		0		601444.316		0		457129.549		601444.316		1254.633

				457050.52		601961.111		523		1261						1254.633		523		457050.52				457129.549		523		601961.111		0		601444.316		0		457129.549		601444.316		1254.633

				457050.369		601962.1		524		1261						1254.633		524		457050.369				457129.549		524		601962.1		0		601444.316		0		457129.549		601444.316		1254.633

				457050.218		601963.088		525		1261						1254.633		525		457050.218				457129.549		525		601963.088		0		601444.316		0		457129.549		601444.316		1254.633

				457050.067		601964.076		526		1261						1254.633		526		457050.067				457129.549		526		601964.076		0		601444.316		0		457129.549		601444.316		1254.633

				457049.916		601965.064		527		1261						1254.633		527		457049.916				457129.549		527		601965.064		0		601444.316		0		457129.549		601444.316		1254.633

				457049.765		601966.052		528		1261						1254.633		528		457049.765				457129.549		528		601966.052		0		601444.316		0		457129.549		601444.316		1254.633

				457049.614		601967.04		529		1261						1254.633		529		457049.614				457129.549		529		601967.04		0		601444.316		0		457129.549		601444.316		1254.633

				457049.463		601968.028		530		1261						1254.633		530		457049.463				457129.549		530		601968.028		0		601444.316		0		457129.549		601444.316		1254.633

				457049.312		601969.016		531		1261						1254.633		531		457049.312				457129.549		531		601969.016		0		601444.316		0		457129.549		601444.316		1254.633

				457049.16		601970.005		532		1261						1254.633		532		457049.16				457129.549		532		601970.005		0		601444.316		0		457129.549		601444.316		1254.633

				457049.009		601970.993		533		1261						1254.633		533		457049.009				457129.549		533		601970.993		0		601444.316		0		457129.549		601444.316		1254.633

				457048.858		601971.981		534		1261						1254.633		534		457048.858				457129.549		534		601971.981		0		601444.316		0		457129.549		601444.316		1254.633

				457048.707		601972.969		535		1261						1254.633		535		457048.707				457129.549		535		601972.969		0		601444.316		0		457129.549		601444.316		1254.633

				457048.556		601973.957		536		1261						1254.633		536		457048.556				457129.549		536		601973.957		0		601444.316		0		457129.549		601444.316		1254.633

				457048.405		601974.945		537		1261						1254.633		537		457048.405				457129.549		537		601974.945		0		601444.316		0		457129.549		601444.316		1254.633

				457048.254		601975.933		538		1261						1254.633		538		457048.254				457129.549		538		601975.933		0		601444.316		0		457129.549		601444.316		1254.633

				457048.103		601976.922		539		1261						1254.633		539		457048.103				457129.549		539		601976.922		0		601444.316		0		457129.549		601444.316		1254.633

				457047.952		601977.91		540		1261						1254.633		540		457047.952				457129.549		540		601977.91		0		601444.316		0		457129.549		601444.316		1254.633

				457047.8		601978.898		541		1261						1254.633		541		457047.8				457129.549		541		601978.898		0		601444.316		0		457129.549		601444.316		1254.633

				457047.649		601979.886		542		1261						1254.633		542		457047.649				457129.549		542		601979.886		0		601444.316		0		457129.549		601444.316		1254.633

				457047.498		601980.874		543		1261						1254.633		543		457047.498				457129.549		543		601980.874		0		601444.316		0		457129.549		601444.316		1254.633

				457047.347		601981.862		544		1261						1254.633		544		457047.347				457129.549		544		601981.862		0		601444.316		0		457129.549		601444.316		1254.633

				457047.196		601982.85		545		1261						1254.633		545		457047.196				457129.549		545		601982.85		0		601444.316		0		457129.549		601444.316		1254.633

				457047.045		601983.839		546		1261						1254.633		546		457047.045				457129.549		546		601983.839		0		601444.316		0		457129.549		601444.316		1254.633

				457046.894		601984.827		547		1261						1254.633		547		457046.894				457129.549		547		601984.827		0		601444.316		0		457129.549		601444.316		1254.633

				457046.743		601985.815		548		1261						1254.633		548		457046.743				457129.549		548		601985.815		0		601444.316		0		457129.549		601444.316		1254.633

				457046.592		601986.803		549		1261						1254.633		549		457046.592				457129.549		549		601986.803		0		601444.316		0		457129.549		601444.316		1254.633

				457046.441		601987.791		550		1261						1254.633		550		457046.441				457129.549		550		601987.791		0		601444.316		0		457129.549		601444.316		1254.633

				457046.289		601988.779		551		1261						1254.633		551		457046.289				457129.549		551		601988.779		0		601444.316		0		457129.549		601444.316		1254.633

				457046.138		601989.767		552		1261						1254.633		552		457046.138				457129.549		552		601989.767		0		601444.316		0		457129.549		601444.316		1254.633

				457045.987		601990.755		553		1261						1254.633		553		457045.987				457129.549		553		601990.755		0		601444.316		0		457129.549		601444.316		1254.633

				457045.836		601991.744		554		1261						1254.633		554		457045.836				457129.549		554		601991.744		0		601444.316		0		457129.549		601444.316		1254.633

				457045.685		601992.732		555		1261						1254.633		555		457045.685				457129.549		555		601992.732		0		601444.316		0		457129.549		601444.316		1254.633

				457045.534		601993.72		556		1261						1254.633		556		457045.534				457129.549		556		601993.72		0		601444.316		0		457129.549		601444.316		1254.633

				457045.383		601994.708		557		1261						1254.633		557		457045.383				457129.549		557		601994.708		0		601444.316		0		457129.549		601444.316		1254.633

				457045.232		601995.696		558		1261						1254.633		558		457045.232				457129.549		558		601995.696		0		601444.316		0		457129.549		601444.316		1254.633

				457045.081		601996.684		559		1261						1254.633		559		457045.081				457129.549		559		601996.684		0		601444.316		0		457129.549		601444.316		1254.633

				457044.929		601997.672		560		1261						1254.633		560		457044.929				457129.549		560		601997.672		0		601444.316		0		457129.549		601444.316		1254.633

				457044.778		601998.661		561		1261						1254.633		561		457044.778				457129.549		561		601998.661		0		601444.316		0		457129.549		601444.316		1254.633

				457044.627		601999.649		562		1261						1254.633		562		457044.627				457129.549		562		601999.649		0		601444.316		0		457129.549		601444.316		1254.633

				457044.476		602000.637		563		1261						1254.633		563		457044.476				457129.549		563		602000.637		0		601444.316		0		457129.549		601444.316		1254.633

				457044.325		602001.625		564		1261						1254.633		564		457044.325				457129.549		564		602001.625		0		601444.316		0		457129.549		601444.316		1254.633

				457044.174		602002.613		565		1261						1254.633		565		457044.174				457129.549		565		602002.613		0		601444.316		0		457129.549		601444.316		1254.633

				457044.023		602003.601		566		1261						1254.633		566		457044.023				457129.549		566		602003.601		0		601444.316		0		457129.549		601444.316		1254.633

				457043.872		602004.589		567		1261						1254.633		567		457043.872				457129.549		567		602004.589		0		601444.316		0		457129.549		601444.316		1254.633

				457043.721		602005.578		568		1261						1254.633		568		457043.721				457129.549		568		602005.578		0		601444.316		0		457129.549		601444.316		1254.633

				457043.57		602006.566		569		1261						1254.633		569		457043.57				457129.549		569		602006.566		0		601444.316		0		457129.549		601444.316		1254.633

				457043.418		602007.554		570		1261						1254.633		570		457043.418				457129.549		570		602007.554		0		601444.316		0		457129.549		601444.316		1254.633

				457043.267		602008.542		571		1261						1254.633		571		457043.267				457129.549		571		602008.542		0		601444.316		0		457129.549		601444.316		1254.633

				457043.116		602009.53		572		1261						1254.633		572		457043.116				457129.549		572		602009.53		0		601444.316		0		457129.549		601444.316		1254.633

				457042.965		602010.518		573		1261						1254.633		573		457042.965				457129.549		573		602010.518		0		601444.316		0		457129.549		601444.316		1254.633

				457042.814		602011.506		574		1261						1254.633		574		457042.814				457129.549		574		602011.506		0		601444.316		0		457129.549		601444.316		1254.633

				457042.663		602012.494		575		1261						1254.633		575		457042.663				457129.549		575		602012.494		0		601444.316		0		457129.549		601444.316		1254.633

				457042.512		602013.483		576		1261						1254.633		576		457042.512				457129.549		576		602013.483		0		601444.316		0		457129.549		601444.316		1254.633

				457042.361		602014.471		577		1261						1254.633		577		457042.361				457129.549		577		602014.471		0		601444.316		0		457129.549		601444.316		1254.633

				457042.21		602015.459		578		1261						1254.633		578		457042.21				457129.549		578		602015.459		0		601444.316		0		457129.549		601444.316		1254.633

				457042.058		602016.447		579		1261						1254.633		579		457042.058				457129.549		579		602016.447		0		601444.316		0		457129.549		601444.316		1254.633

				457041.907		602017.435		580		1261						1254.633		580		457041.907				457129.549		580		602017.435		0		601444.316		0		457129.549		601444.316		1254.633

				457041.756		602018.423		581		1261						1254.633		581		457041.756				457129.549		581		602018.423		0		601444.316		0		457129.549		601444.316		1254.633

				457041.605		602019.411		582		1261						1254.633		582		457041.605				457129.549		582		602019.411		0		601444.316		0		457129.549		601444.316		1254.633

				457041.454		602020.4		583		1261						1254.633		583		457041.454				457129.549		583		602020.4		0		601444.316		0		457129.549		601444.316		1254.633

				457041.303		602021.388		584		1261						1254.633		584		457041.303				457129.549		584		602021.388		0		601444.316		0		457129.549		601444.316		1254.633

				457041.152		602022.376		585		1261						1254.633		585		457041.152				457129.549		585		602022.376		0		601444.316		0		457129.549		601444.316		1254.633

				457041.001		602023.364		586		1261						1254.633		586		457041.001				457129.549		586		602023.364		0		601444.316		0		457129.549		601444.316		1254.633

				457040.85		602024.352		587		1261						1254.633		587		457040.85				457129.549		587		602024.352		0		601444.316		0		457129.549		601444.316		1254.633

				457040.699		602025.34		588		1261						1254.633		588		457040.699				457129.549		588		602025.34		0		601444.316		0		457129.549		601444.316		1254.633

				457040.547		602026.328		589		1261						1254.633		589		457040.547				457129.549		589		602026.328		0		601444.316		0		457129.549		601444.316		1254.633

				457040.396		602027.317		590		1261						1254.633		590		457040.396				457129.549		590		602027.317		0		601444.316		0		457129.549		601444.316		1254.633

				457040.245		602028.305		591		1261						1254.633		591		457040.245				457129.549		591		602028.305		0		601444.316		0		457129.549		601444.316		1254.633

				457040.094		602029.293		592		1261						1254.633		592		457040.094				457129.549		592		602029.293		0		601444.316		0		457129.549		601444.316		1254.633

				457039.943		602030.281		593		1261						1254.633		593		457039.943				457129.549		593		602030.281		0		601444.316		0		457129.549		601444.316		1254.633

				457039.792		602031.269		594		1261						1254.633		594		457039.792				457129.549		594		602031.269		0		601444.316		0		457129.549		601444.316		1254.633

				457039.641		602032.257		595		1261						1254.633		595		457039.641				457129.549		595		602032.257		0		601444.316		0		457129.549		601444.316		1254.633

				457039.49		602033.245		596		1261						1254.633		596		457039.49				457129.549		596		602033.245		0		601444.316		0		457129.549		601444.316		1254.633

				457039.339		602034.233		597		1261						1254.633		597		457039.339				457129.549		597		602034.233		0		601444.316		0		457129.549		601444.316		1254.633

				457039.187		602035.222		598		1261						1254.633		598		457039.187				457129.549		598		602035.222		0		601444.316		0		457129.549		601444.316		1254.633

				457039.036		602036.21		599		1261						1254.633		599		457039.036				457129.549		599		602036.21		0		601444.316		0		457129.549		601444.316		1254.633

				457038.885		602037.198		600		1261						1254.633		600		457038.885				457129.549		600		602037.198		0		601444.316		0		457129.549		601444.316		1254.633

				457038.734		602038.186		601		1261						1254.633		601		457038.734				457129.549		601		602038.186		0		601444.316		0		457129.549		601444.316		1254.633

				457038.583		602039.174		602		1261						1254.633		602		457038.583				457129.549		602		602039.174		0		601444.316		0		457129.549		601444.316		1254.633

				457038.432		602040.162		603		1261						1254.633		603		457038.432				457129.549		603		602040.162		0		601444.316		0		457129.549		601444.316		1254.633

				457038.281		602041.15		604		1261						1254.633		604		457038.281				457129.549		604		602041.15		0		601444.316		0		457129.549		601444.316		1254.633

				457038.13		602042.139		605		1261						1254.633		605		457038.13				457129.549		605		602042.139		0		601444.316		0		457129.549		601444.316		1254.633

				457037.979		602043.127		606		1261						1254.633		606		457037.979				457129.549		606		602043.127		0		601444.316		0		457129.549		601444.316		1254.633

				457037.828		602044.115		607		1261						1254.633		607		457037.828				457129.549		607		602044.115		0		601444.316		0		457129.549		601444.316		1254.633

				457037.676		602045.103		608		1261						1254.633		608		457037.676				457129.549		608		602045.103		0		601444.316		0		457129.549		601444.316		1254.633

				457037.525		602046.091		609		1261						1254.633		609		457037.525				457129.549		609		602046.091		0		601444.316		0		457129.549		601444.316		1254.633

				457037.374		602047.079		610		1261								610		457037.374				457129.549		610		602047.079		0		601444.316		0		457129.549		601444.316		0

				457037.223		602048.067		611		1261								611		457037.223				457129.549		611		602048.067		0		601444.316		0		457129.549		601444.316		0

				457037.072		602049.056		612		1261								612		457037.072				457129.549		612		602049.056		0		601444.316		0		457129.549		601444.316		0

				457036.921		602050.044		613		1261								613		457036.921				457129.549		613		602050.044		0		601444.316		0		457129.549		601444.316		0

				457036.77		602051.032		614		1261								614		457036.77				457129.549		614		602051.032		0		601444.316		0		457129.549		601444.316		0

				457036.619		602052.02		615		1261								615		457036.619				457129.549		615		602052.02		0		601444.316		0		457129.549		601444.316		0

				457036.468		602053.008		616		1261								616		457036.468				457129.549		616		602053.008		0		601444.316		0		457129.549		601444.316		0

				457036.316		602053.996		617		1261								617		457036.316				457129.549		617		602053.996		0		601444.316		0		457129.549		601444.316		0

				457036.165		602054.984		618		1261								618		457036.165				457129.549		618		602054.984		0		601444.316		0		457129.549		601444.316		0

				457036.014		602055.972		619		1261								619		457036.014				457129.549		619		602055.972		0		601444.316		0		457129.549		601444.316		0

				457035.863		602056.961		620		1261								620		457035.863				457129.549		620		602056.961		0		601444.316		0		457129.549		601444.316		0

				457035.712		602057.949		621		1261								621		457035.712				457129.549		621		602057.949		0		601444.316		0		457129.549		601444.316		0

				457035.561		602058.937		622		1261								622		457035.561				457129.549		622		602058.937		0		601444.316		0		457129.549		601444.316		0

				457035.41		602059.925		623		1261								623		457035.41				457129.549		623		602059.925		0		601444.316		0		457129.549		601444.316		0

				457035.259		602060.913		624		1261								624		457035.259				457129.549		624		602060.913		0		601444.316		0		457129.549		601444.316		0

				457035.108		602061.901		625		1261								625		457035.108				457129.549		625		602061.901		0		601444.316		0		457129.549		601444.316		0

				457034.957		602062.889		626		1261								626		457034.957				457129.549		626		602062.889		0		601444.316		0		457129.549		601444.316		0

				457034.805		602063.878		627		1261								627		457034.805				457129.549		627		602063.878		0		601444.316		0		457129.549		601444.316		0

				457034.654		602064.866		628		1261								628		457034.654				457129.549		628		602064.866		0		601444.316		0		457129.549		601444.316		0

				457034.503		602065.854		629		1261								629		457034.503				457129.549		629		602065.854		0		601444.316		0		457129.549		601444.316		0

				457034.352		602066.842		630		1261								630		457034.352				457129.549		630		602066.842		0		601444.316		0		457129.549		601444.316		0

				457034.201		602067.83		631		1261								631		457034.201				457129.549		631		602067.83		0		601444.316		0		457129.549		601444.316		0

				457034.05		602068.818		632		1261								632		457034.05				457129.549		632		602068.818		0		601444.316		0		457129.549		601444.316		0

				457033.899		602069.806		633		1261								633		457033.899				457129.549		633		602069.806		0		601444.316		0		457129.549		601444.316		0

				457033.748		602070.795		634		1261								634		457033.748				457129.549		634		602070.795		0		601444.316		0		457129.549		601444.316		0

				457033.597		602071.783		635		1261								635		457033.597				457129.549		635		602071.783		0		601444.316		0		457129.549		601444.316		0

				457033.445		602072.771		636		1261								636		457033.445				457129.549		636		602072.771		0		601444.316		0		457129.549		601444.316		0

				457033.294		602073.759		637		1261								637		457033.294				457129.549		637		602073.759		0		601444.316		0		457129.549		601444.316		0

				457033.143		602074.747		638		1261								638		457033.143				457129.549		638		602074.747		0		601444.316		0		457129.549		601444.316		0

				457032.992		602075.735		639		1261								639		457032.992				457129.549		639		602075.735		0		601444.316		0		457129.549		601444.316		0

				457032.841		602076.723		640		1261								640		457032.841				457129.549		640		602076.723		0		601444.316		0		457129.549		601444.316		0

				457032.69		602077.711		641		1261								641		457032.69				457129.549		641		602077.711		0		601444.316		0		457129.549		601444.316		0

				457032.539		602078.7		642		1261								642		457032.539				457129.549		642		602078.7		0		601444.316		0		457129.549		601444.316		0

				457032.388		602079.688		643		1261								643		457032.388				457129.549		643		602079.688		0		601444.316		0		457129.549		601444.316		0

				457032.237		602080.676		644		1261								644		457032.237				457129.549		644		602080.676		0		601444.316		0		457129.549		601444.316		0

				457032.086		602081.664		645		1261								645		457032.086				457129.549		645		602081.664		0		601444.316		0		457129.549		601444.316		0

				457031.934		602082.652		646		1261								646		457031.934				457129.549		646		602082.652		0		601444.316		0		457129.549		601444.316		0

				457031.783		602083.64		647		1261								647		457031.783				457129.549		647		602083.64		0		601444.316		0		457129.549		601444.316		0

				457031.632		602084.628		648		1261								648		457031.632				457129.549		648		602084.628		0		601444.316		0		457129.549		601444.316		0

				457031.481		602085.617		649		1261								649		457031.481				457129.549		649		602085.617		0		601444.316		0		457129.549		601444.316		0

				457031.33		602086.605		650		1261								650		457031.33				457129.549		650		602086.605		0		601444.316		0		457129.549		601444.316		0

				457031.179		602087.593		651		1261								651		457031.179				457129.549		651		602087.593		0		601444.316		0		457129.549		601444.316		0

				457031.028		602088.581		652		1261								652		457031.028				457129.549		652		602088.581		0		601444.316		0		457129.549		601444.316		0

				457030.877		602089.569		653		1261								653		457030.877				457129.549		653		602089.569		0		601444.316		0		457129.549		601444.316		0

				457030.726		602090.557		654		1261								654		457030.726				457129.549		654		602090.557		0		601444.316		0		457129.549		601444.316		0

				457030.574		602091.545		655		1261								655		457030.574				457129.549		655		602091.545		0		601444.316		0		457129.549		601444.316		0

				457030.423		602092.534		656		1261								656		457030.423				457129.549		656		602092.534		0		601444.316		0		457129.549		601444.316		0

				457030.272		602093.522		657		1261								657		457030.272				457129.549		657		602093.522		0		601444.316		0		457129.549		601444.316		0

				457030.121		602094.51		658		1261								658		457030.121				457129.549		658		602094.51		0		601444.316		0		457129.549		601444.316		0

				457029.97		602095.498		659		1261								659		457029.97				457129.549		659		602095.498		0		601444.316		0		457129.549		601444.316		0

				457029.819		602096.486		660		1261								660		457029.819				457129.549		660		602096.486		0		601444.316		0		457129.549		601444.316		0

				457029.668		602097.474		661		1261								661		457029.668				457129.549		661		602097.474		0		601444.316		0		457129.549		601444.316		0

				457029.517		602098.462		662		1261								662		457029.517				457129.549		662		602098.462		0		601444.316		0		457129.549		601444.316		0

				457029.366		602099.45		663		1261								663		457029.366				457129.549		663		602099.45		0		601444.316		0		457129.549		601444.316		0

				457029.215		602100.439		664		1261								664		457029.215				457129.549		664		602100.439		0		601444.316		0		457129.549		601444.316		0

				457029.063		602101.427		665		1261								665		457029.063				457129.549		665		602101.427		0		601444.316		0		457129.549		601444.316		0

				457028.912		602102.415		666		1261								666		457028.912				457129.549		666		602102.415		0		601444.316		0		457129.549		601444.316		0

				457028.761		602103.403		667		1261								667		457028.761				457129.549		667		602103.403		0		601444.316		0		457129.549		601444.316		0

				457028.61		602104.391		668		1261								668		457028.61				457129.549		668		602104.391		0		601444.316		0		457129.549		601444.316		0

				457028.459		602105.379		669		1261								669		457028.459				457129.549		669		602105.379		0		601444.316		0		457129.549		601444.316		0

				457028.308		602106.367		670		1261								670		457028.308						670		602106.367		0		601444.316		0		0		601444.316		0

				457028.157		602107.356		671		1261								671		457028.157						671		602107.356		0		601444.316		0		0		601444.316		0

				457028.006		602108.344		672		1261								672		457028.006						672		602108.344		0		601444.316		0		0		601444.316		0

				457027.855		602109.332		673		1261								673		457027.855						673		602109.332		0		601444.316		0		0		601444.316		0

				457027.703		602110.32		674		1261								674		457027.703						674		602110.32		0		601444.316		0		0		601444.316		0

				457027.552		602111.308		675		1261								675		457027.552						675		602111.308		0		601444.316		0		0		601444.316		0

				457027.401		602112.296		676		1261								676		457027.401						676		602112.296		0		601444.316		0		0		601444.316		0

				457027.25		602113.284		677		1261								677		457027.25						677		602113.284		0		601444.316		0		0		601444.316		0

				457027.099		602114.273		678		1261								678		457027.099						678		602114.273		0		601444.316		0		0		601444.316		0

				457026.948		602115.261		679		1261								679		457026.948						679		602115.261		0		601444.316		0		0		601444.316		0

				457026.797		602116.249		680		1261								680		457026.797						680		602116.249		0		601444.316		0		0		601444.316		0

				457026.646		602117.237		681		1261								681		457026.646						681		602117.237		0		601444.316		0		0		601444.316		0

				457026.495		602118.225		682		1261								682		457026.495						682		602118.225		0		601444.316		0		0		601444.316		0

				457026.344		602119.213		683		1261								683		457026.344						683		602119.213		0		601444.316		0		0		601444.316		0

				457026.192		602120.201		684		1261								684		457026.192						684		602120.201		0		601444.316		0		0		601444.316		0

				457026.041		602121.189		685		1261								685		457026.041						685		602121.189		0		601444.316		0		0		601444.316		0

				457025.89		602122.178		686		1261								686		457025.89						686		602122.178		0		601444.316		0		0		601444.316		0

				457025.739		602123.166		687		1261								687		457025.739						687		602123.166		0		601444.316		0		0		601444.316		0

				457025.588		602124.154		688		1261								688		457025.588						688		602124.154		0		601444.316		0		0		601444.316		0

				457025.437		602125.142		689		1261								689		457025.437						689		602125.142		0		601444.316		0		0		601444.316		0

				457025.286		602126.13		690		1261								690		457025.286						690		602126.13		0		601444.316		0		0		601444.316		0

				457025.135		602127.118		691		1261								691		457025.135						691		602127.118		0		601444.316		0		0		601444.316		0

				457024.984		602128.106		692		1261								692		457024.984						692		602128.106		0		601444.316		0		0		601444.316		0

				457024.832		602129.095		693		1261								693		457024.832						693		602129.095		0		601444.316		0		0		601444.316		0

				457024.681		602130.083		694		1261								694		457024.681						694		602130.083		0		601444.316		0		0		601444.316		0

				457024.53		602131.071		695		1261								695		457024.53						695		602131.071		0		601444.316		0		0		601444.316		0

				457024.379		602132.059		696		1261								696		457024.379						696		602132.059		0		601444.316		0		0		601444.316		0

				457024.228		602133.047		697		1261								697		457024.228						697		602133.047		0		601444.316		0		0		601444.316		0

				457024.077		602134.035		698		1261								698		457024.077						698		602134.035		0		601444.316		0		0		601444.316		0

				457023.926		602135.023		699		1261								699		457023.926						699		602135.023		0		601444.316		0		0		601444.316		0

				457023.775		602136.012		700		1261								700		457023.775						700		602136.012		0		601444.316		0		0		601444.316		0

				457023.624		602137		701		1261								701		457023.624						701		602137		0		601444.316		0		0		601444.316		0

				457023.472		602137.988		702		1261								702		457023.472						702		602137.988		0		601444.316		0		0		601444.316		0

				457023.321		602138.976		703		1261								703		457023.321						703		602138.976		0		601444.316		0		0		601444.316		0

				457023.17		602139.964		704		1261								704		457023.17						704		602139.964		0		601444.316		0		0		601444.316		0

				457023.019		602140.952		705		1261								705		457023.019						705		602140.952		0		601444.316		0		0		601444.316		0

				457022.868		602141.94		706		1261								706		457022.868						706		602141.94		0		601444.316		0		0		601444.316		0

				457022.717		602142.928		707		1261								707		457022.717						707		602142.928		0		601444.316		0		0		601444.316		0

				457022.566		602143.917		708		1261								708		457022.566						708		602143.917		0		601444.316		0		0		601444.316		0

				457022.415		602144.905		709		1261								709		457022.415						709		602144.905		0		601444.316		0		0		601444.316		0

				457022.264		602145.893		710		1261								710		457022.264						710		602145.893		0		601444.316		0		0		601444.316		0

				457022.113		602146.881		711		1261								711		457022.113						711		602146.881		0		601444.316		0		0		601444.316		0

				457021.961		602147.869		712		1261								712		457021.961						712		602147.869		0		601444.316		0		0		601444.316		0

				457021.81		602148.857		713		1261								713		457021.81						713		602148.857		0		601444.316		0		0		601444.316		0

				457021.659		602149.845		714		1261								714		457021.659						714		602149.845		0		601444.316		0		0		601444.316		0

				457021.508		602150.834		715		1261								715		457021.508						715		602150.834		0		601444.316		0		0		601444.316		0

				457021.357		602151.822		716		1261								716		457021.357						716		602151.822		0		601444.316		0		0		601444.316		0

				457021.206		602152.81		717		1261								717		457021.206						717		602152.81		0		601444.316		0		0		601444.316		0

				457021.055		602153.798		718		1261								718		457021.055						718		602153.798		0		601444.316		0		0		601444.316		0

				457020.904		602154.786		719		1261								719		457020.904						719		602154.786		0		601444.316		0		0		601444.316		0

				457020.753		602155.774		720		1261								720		457020.753						720		602155.774		0		601444.316		0		0		601444.316		0

				457020.601		602156.762		721		1261								721		457020.601						721		602156.762		0		601444.316		0		0		601444.316		0

				457020.45		602157.751		722		1261								722		457020.45						722		602157.751		0		601444.316		0		0		601444.316		0

				457020.299		602158.739		723		1261								723		457020.299						723		602158.739		0		601444.316		0		0		601444.316		0

				457020.148		602159.727		724		1261								724		457020.148						724		602159.727		0		601444.316		0		0		601444.316		0

				457019.997		602160.715		725		1261								725		457019.997						725		602160.715		0		601444.316		0		0		601444.316		0

				457019.846		602161.703		726		1261								726		457019.846						726		602161.703		0		601444.316		0		0		601444.316		0

				457019.695		602162.691		727		1261								727		457019.695						727		602162.691		0		601444.316		0		0		601444.316		0

				457019.544		602163.679		728		1261								728		457019.544						728		602163.679		0		601444.316		0		0		601444.316		0

				457019.393		602164.667		729		1261								729		457019.393						729		602164.667		0		601444.316		0		0		601444.316		0

				457019.242		602165.656		730		1261								730		457019.242						730		602165.656		0		601444.316		0		0		601444.316		0

				457019.09		602166.644		731		1261								731		457019.09						731		602166.644		0		601444.316		0		0		601444.316		0

				457018.939		602167.632		732		1261								732		457018.939						732		602167.632		0		601444.316		0		0		601444.316		0

				457018.788		602168.62		733		1261								733		457018.788						733		602168.62		0		601444.316		0		0		601444.316		0

				457018.637		602169.608		734		1261								734		457018.637						734		602169.608		0		601444.316		0		0		601444.316		0

				457018.486		602170.596		735		1261								735		457018.486						735		602170.596		0		601444.316		0		0		601444.316		0

				457018.335		602171.584		736		1261								736		457018.335						736		602171.584		0		601444.316		0		0		601444.316		0

				457018.184		602172.573		737		1261								737		457018.184						737		602172.573		0		601444.316		0		0		601444.316		0

				457018.033		602173.561		738		1261								738		457018.033						738		602173.561		0		601444.316		0		0		601444.316		0

				457017.882		602174.549		739		1261								739		457017.882						739		602174.549		0		601444.316		0		0		601444.316		0

				457017.73		602175.537		740		1261								740		457017.73						740		602175.537		0		601444.316		0		0		601444.316		0

				457017.579		602176.525		741		1261								741		457017.579						741		602176.525		0		601444.316		0		0		601444.316		0

				457017.428		602177.513		742		1261								742		457017.428						742		602177.513		0		601444.316		0		0		601444.316		0

				457017.277		602178.501		743		1261								743		457017.277						743		602178.501		0		601444.316		0		0		601444.316		0

				457017.126		602179.489		744		1261								744		457017.126						744		602179.489		0		601444.316		0		0		601444.316		0

				457016.975		602180.478		745		1261								745		457016.975						745		602180.478		0		601444.316		0		0		601444.316		0

				457016.824		602181.466		746		1261								746		457016.824						746		602181.466		0		601444.316		0		0		601444.316		0

				457016.673		602182.454		747		1261								747		457016.673						747		602182.454		0		601444.316		0		0		601444.316		0

				457016.522		602183.442		748		1261								748		457016.522						748		602183.442		0		601444.316		0		0		601444.316		0

				457016.371		602184.43		749		1261								749		457016.371						749		602184.43		0		601444.316		0		0		601444.316		0

				457016.219		602185.418		750		1261								750		457016.219						750		602185.418		0		601444.316		0		0		601444.316		0

				457016.068		602186.406		751		1261								751		457016.068						751		602186.406		0		601444.316		0		0		601444.316		0

				457015.917		602187.395		752		1261								752		457015.917						752		602187.395		0		601444.316		0		0		601444.316		0

				457015.766		602188.383		753		1261								753		457015.766						753		602188.383		0		601444.316		0		0		601444.316		0

				457015.615		602189.371		754		1261								754		457015.615						754		602189.371		0		601444.316		0		0		601444.316		0

				457015.464		602190.359		755		1261								755		457015.464						755		602190.359		0		601444.316		0		0		601444.316		0

				457015.313		602191.347		756		1261								756		457015.313						756		602191.347		0		601444.316		0		0		601444.316		0

				457015.162		602192.335		757		1261								757		457015.162						757		602192.335		0		601444.316		0		0		601444.316		0

				457015.011		602193.323		758		1261								758		457015.011						758		602193.323		0		601444.316		0		0		601444.316		0

				457014.859		602194.312		759		1261								759		457014.859						759		602194.312		0		601444.316		0		0		601444.316		0

				457014.708		602195.3		760		1261								760		457014.708						760		602195.3		0		601444.316		0		0		601444.316		0

				457014.557		602196.288		761		1261								761		457014.557						761		602196.288		0		601444.316		0		0		601444.316		0

				457014.406		602197.276		762		1261								762		457014.406						762		602197.276		0		601444.316		0		0		601444.316		0

				457014.255		602198.264		763		1261								763		457014.255						763		602198.264		0		601444.316		0		0		601444.316		0

				457014.104		602199.252		764		1261								764		457014.104						764		602199.252		0		601444.316		0		0		601444.316		0

				457013.953		602200.24		765		1261								765		457013.953						765		602200.24		0		601444.316		0		0		601444.316		0

				457013.802		602201.228		766		1261								766		457013.802						766		602201.228		0		601444.316		0		0		601444.316		0

				457013.651		602202.217		767		1261								767		457013.651						767		602202.217		0		601444.316		0		0		601444.316		0

				457013.5		602203.205		768		1261								768		457013.5						768		602203.205		0		601444.316		0		0		601444.316		0

				457013.348		602204.193		769		1261								769		457013.348						769		602204.193		0		601444.316		0		0		601444.316		0

				457013.197		602205.181		770		1261								770		457013.197						770		602205.181		0		601444.316		0		0		601444.316		0

				457013.046		602206.169		771		1261								771		457013.046						771		602206.169		0		601444.316		0		0		601444.316		0

				457012.895		602207.157		772		1261								772		457012.895						772		602207.157		0		601444.316		0		0		601444.316		0

				457012.744		602208.145		773		1261								773		457012.744						773		602208.145		0		601444.316		0		0		601444.316		0

				457012.593		602209.134		774		1261								774		457012.593						774		602209.134		0		601444.316		0		0		601444.316		0

				457012.442		602210.122		775		1261								775		457012.442						775		602210.122		0		601444.316		0		0		601444.316		0

				457012.291		602211.11		776		1261								776		457012.291						776		602211.11		0		601444.316		0		0		601444.316		0

				457012.14		602212.098		777		1261								777		457012.14						777		602212.098		0		601444.316		0		0		601444.316		0

				457011.988		602213.086		778		1261								778		457011.988						778		602213.086		0		601444.316		0		0		601444.316		0

				457011.837		602214.074		779		1261								779		457011.837						779		602214.074		0		601444.316		0		0		601444.316		0

				457011.686		602215.062		780		1261								780		457011.686						780		602215.062		0		601444.316		0		0		601444.316		0

				457011.535		602216.051		781		1261								781		457011.535						781		602216.051		0		601444.316		0		0		601444.316		0

				457011.384		602217.039		782		1261								782		457011.384						782		602217.039		0		601444.316		0		0		601444.316		0

				457011.233		602218.027		783		1261								783		457011.233						783		602218.027		0		601444.316		0		0		601444.316		0

				457011.082		602219.015		784		1261								784		457011.082						784		602219.015		0		601444.316		0		0		601444.316		0

				457010.931		602220.003		785		1261								785		457010.931						785		602220.003		0		601444.316		0		0		601444.316		0

				457010.78		602220.991		786		1261								786		457010.78						786		602220.991		0		601444.316		0		0		601444.316		0

				457010.629		602221.979		787		1261								787		457010.629						787		602221.979		0		601444.316		0		0		601444.316		0

				457010.477		602222.967		788		1261								788		457010.477						788		602222.967		0		601444.316		0		0		601444.316		0

				457010.326		602223.956		789		1261								789		457010.326						789		602223.956		0		601444.316		0		0		601444.316		0

				457010.175		602224.944		790		1261								790		457010.175						790		602224.944		0		601444.316		0		0		601444.316		0

				457010.024		602225.932		791		1261								791		457010.024						791		602225.932		0		601444.316		0		0		601444.316		0

				457009.873		602226.92		792		1261								792		457009.873						792		602226.92		0		601444.316		0		0		601444.316		0

				457009.722		602227.908		793		1261								793		457009.722						793		602227.908		0		601444.316		0		0		601444.316		0

				457009.571		602228.896		794		1261								794		457009.571						794		602228.896		0		601444.316		0		0		601444.316		0

				457009.42		602229.884		795		1261								795		457009.42						795		602229.884		0		601444.316		0		0		601444.316		0

				457009.269		602230.873		796		1261								796		457009.269						796		602230.873		0		601444.316		0		0		601444.316		0

				457009.117		602231.861		797		1261								797		457009.117						797		602231.861		0		601444.316		0		0		601444.316		0

				457008.966		602232.849		798		1261								798		457008.966						798		602232.849		0		601444.316		0		0		601444.316		0

				457008.815		602233.837		799		1261								799		457008.815						799		602233.837		0		601444.316		0		0		601444.316		0

				457008.664		602234.825		800		1261								800		457008.664						800		602234.825		0		601444.316		0		0		601444.316		0

				457008.513		602235.813		801		1261								801		457008.513						801		602235.813		0		601444.316		0		0		601444.316		0

				457008.362		602236.801		802		1261								802		457008.362						802		602236.801		0		601444.316		0		0		601444.316		0

				457008.211		602237.79		803		1261								803		457008.211						803		602237.79		0		601444.316		0		0		601444.316		0

				457008.06		602238.778		804		1261								804		457008.06						804		602238.778		0		601444.316		0		0		601444.316		0

				457007.909		602239.766		805		1261.015								805		457007.909						805		602239.766		0		601444.316		0		0		601444.316		0

				457007.758		602240.754		806		1261.024								806		457007.758						806		602240.754		0		601444.316		0		0		601444.316		0

				457007.606		602241.742		807		1261.038								807		457007.606						807		602241.742		0		601444.316		0		0		601444.316		0

				457007.455		602242.73		808		1261.038								808		457007.455						808		602242.73		0		601444.316		0		0		601444.316		0

				457007.304		602243.718		809		1261.052								809		457007.304						809		602243.718		0		601444.316		0		0		601444.316		0

				457007.153		602244.706		810		1261.066								810		457007.153						810		602244.706		0		601444.316		0		0		601444.316		0

				457007.002		602245.695		811		1261.08								811		457007.002						811		602245.695		0		601444.316		0		0		601444.316		0

				457006.851		602246.683		812		1261.094								812		457006.851						812		602246.683		0		601444.316		0		0		601444.316		0

				457006.7		602247.671		813		1261.108								813		457006.7						813		602247.671		0		601444.316		0		0		601444.316		0

				457006.549		602248.659		814		1261.122								814		457006.549						814		602248.659		0		601444.316		0		0		601444.316		0

				457006.398		602249.647		815		1261.129								815		457006.398						815		602249.647				601444.316

				457006.246		602250.635		816		1261.129								816		457006.246						816		602250.635				601444.316

				457006.095		602251.623		817		1261.143								817		457006.095						817		602251.623				601444.316

				457005.944		602252.612		818		1261.157								818		457005.944						818		602252.612				601444.316

				457005.793		602253.6		819		1261.171								819		457005.793						819		602253.6				601444.316

				457005.642		602254.588		820		1261.185								820		457005.642						820		602254.588				601444.316

				457005.491		602255.576		821		1261.198								821		457005.491						821		602255.576				601444.316

				457005.34		602256.564		822		1261.213								822		457005.34						822		602256.564				601444.316

				457005.189		602257.552		823		1261.226								823		457005.189						823		602257.552				601444.316

				457005.038		602258.54		824		1261.22								824		457005.038						824		602258.54				601444.316

				457004.887		602259.529		825		1261.234								825		457004.887						825		602259.529				601444.316

				457004.735		602260.517		826		1261.248								826		457004.735						826		602260.517				601444.316

				457004.584		602261.505		827		1261.261								827		457004.584						827		602261.505				601444.316

				457004.433		602262.493		828		1261.276								828		457004.433						828		602262.493				601444.316

				457004.282		602263.481		829		1261.289								829		457004.282						829		602263.481				601444.316

				457004.131		602264.469		830		1261.303								830		457004.131						830		602264.469				601444.316

				457003.98		602265.457		831		1261.303								831		457003.98						831		602265.457				601444.316

				457003.829		602266.445		832		1261.311								832		457003.829						832		602266.445				601444.316

				457003.678		602267.434		833		1261.325								833		457003.678						833		602267.434				601444.316

				457003.527		602268.422		834		1261.339								834		457003.527						834		602268.422				601444.316

				457003.375		602269.41		835		1261.352								835		457003.375						835		602269.41				601444.316

				457003.224		602270.398		836		1261.366								836		457003.224						836		602270.398				601444.316

				457003.073		602271.386		837		1261.38								837		457003.073						837		602271.386				601444.316

				457002.922		602272.374		838		1261.394								838		457002.922						838		602272.374				601444.316

				457002.771		602273.362		839		1261.394								839		457002.771						839		602273.362				601444.316

				457002.62		602274.351		840		1261.408								840		457002.62						840		602274.351				601444.316

				457002.469		602275.339		841		1261.415								841		457002.469						841		602275.339				601444.316

				457002.318		602276.327		842		1261.429								842		457002.318						842		602276.327				601444.316

				457002.167		602277.315		843		1261.443								843		457002.167						843		602277.315				601444.316

				457002.016		602278.303		844		1261.457								844		457002.016						844		602278.303				601444.316

				457001.864		602279.291		845		1261.471								845		457001.864						845		602279.291				601444.316

				457001.713		602280.279		846		1261.485								846		457001.713						846		602280.279				601444.316

				457001.562		602281.268		847		1261.485								847		457001.562						847		602281.268				601444.316

				457001.411		602282.256		848		1261.499								848		457001.411						848		602282.256				601444.316

				457001.26		602283.244		849		1261.513								849		457001.26						849		602283.244				601444.316

				457001.109		602284.232		850		1261.524								850		457001.109						850		602284.232				601444.316

				457000.958		602285.22		851		1261.54								851		457000.958						851		602285.22				601444.316

				457000.807		602286.208		852		1261.556								852		457000.807						852		602286.208				601444.316

				457000.656		602287.196		853		1261.573								853		457000.656						853		602287.196				601444.316

				457000.504		602288.184		854		1261.589								854		457000.504						854		602288.184				601444.316

				457000.353		602289.173		855		1261.589								855		457000.353						855		602289.173				601444.316

				457000.202		602290.161		856		1261.605								856		457000.202						856		602290.161				601444.316

				457000.051		602291.149		857		1261.621								857		457000.051						857		602291.149				601444.316

				456999.9		602292.137		858		1261.638								858		456999.9						858		602292.137				601444.316

				456999.749		602293.125		859		1261.649								859		456999.749						859		602293.125				601444.316

				456999.598		602294.113		860		1261.665								860		456999.598						860		602294.113				601444.316

				456999.447		602295.101		861		1261.681								861		456999.447						861		602295.101				601444.316

				456999.296		602296.09		862		1261.681								862		456999.296						862		602296.09				601444.316

				456999.145		602297.078		863		1261.697								863		456999.145						863		602297.078				601444.316

				456998.993		602298.066		864		1261.714								864		456998.993						864		602298.066				601444.316

				456998.842		602299.054		865		1261.73								865		456998.842						865		602299.054				601444.316

				456998.691		602300.042		866		1261.746								866		456998.691						866		602300.042				601444.316

				456998.54		602301.03		867		1261.762								867		456998.54						867		602301.03				601444.316

				456998.389		602302.018		868		1261.773								868		456998.389						868		602302.018				601444.316

				456998.238		602303.007		869		1261.79								869		456998.238						869		602303.007				601444.316

				456998.087		602303.995		870		1261.79								870		456998.087						870		602303.995				601444.316

				456997.936		602304.983		871		1261.806								871		456997.936						871		602304.983				601444.316

				456997.785		602305.971		872		1261.822								872		456997.785						872		602305.971				601444.316

				456997.633		602306.959		873		1261.838								873		456997.633						873		602306.959				601444.316

				456997.482		602307.947		874		1261.854								874		456997.482						874		602307.947				601444.316

				456997.331		602308.935		875		1261.871								875		456997.331						875		602308.935				601444.316

				456997.18		602309.923		876		1261.887								876		456997.18						876		602309.923				601444.316

				456997.029		602310.912		877		1261.898								877		456997.029						877		602310.912				601444.316

				456996.878		602311.9		878		1261.898								878		456996.878						878		602311.9				601444.316

				456996.727		602312.888		879		1261.914								879		456996.727						879		602312.888				601444.316

				456996.576		602313.876		880		1261.93								880		456996.576						880		602313.876				601444.316

				456996.425		602314.864		881		1261.947								881		456996.425						881		602314.864				601444.316

				456996.274		602315.852		882		1261.963								882		456996.274						882		602315.852				601444.316

				456996.122		602316.84		883		1261.979								883		456996.122						883		602316.84				601444.316

				456995.971		602317.829		884		1261.995								884		456995.971						884		602317.829				601444.316

				456995.82		602318.817		885		1262								885		456995.82						885		602318.817				601444.316

				456995.669		602319.805		886		1262								886		456995.669						886		602319.805				601444.316

				456995.518		602320.793		887		1262								887		456995.518						887		602320.793				601444.316

				456995.367		602321.781		888		1262								888		456995.367						888		602321.781				601444.316

				456995.216		602322.769		889		1262								889		456995.216						889		602322.769				601444.316

				456995.065		602323.757		890		1262								890		456995.065						890		602323.757				601444.316

				456994.914		602324.746		891		1262								891		456994.914						891		602324.746				601444.316

				456994.762		602325.734		892		1262								892		456994.762						892		602325.734				601444.316

				456994.611		602326.722		893		1262								893		456994.611						893		602326.722				601444.316

				456994.46		602327.71		894		1262								894		456994.46						894		602327.71				601444.316

				456994.309		602328.698		895		1262								895		456994.309						895		602328.698				601444.316

				456994.158		602329.686		896		1262								896		456994.158						896		602329.686				601444.316

				456994.007		602330.674		897		1262								897		456994.007						897		602330.674				601444.316

				456993.856		602331.662		898		1262								898		456993.856						898		602331.662				601444.316

				456993.705		602332.651		899		1262								899		456993.705						899		602332.651				601444.316

				456993.554		602333.639		900		1262								900		456993.554						900		602333.639				601444.316

				456993.403		602334.627		901		1262								901		456993.403						901		602334.627				601444.316

				456993.251		602335.615		902		1262								902		456993.251						902		602335.615				601444.316

				456993.1		602336.603		903		1262								903		456993.1						903		602336.603				601444.316

				456992.949		602337.591		904		1262								904		456992.949						904		602337.591				601444.316

				456992.798		602338.579		905		1262								905		456992.798						905		602338.579				601444.316

				456992.647		602339.568		906		1262								906		456992.647						906		602339.568				601444.316

				456992.496		602340.556		907		1262								907		456992.496						907		602340.556				601444.316

				456992.345		602341.544		908		1262								908		456992.345						908		602341.544				601444.316

				456992.194		602342.532		909		1262								909		456992.194						909		602342.532				601444.316

				456992.043		602343.52		910		1262								910		456992.043						910		602343.52				601444.316

				456991.891		602344.508		911		1262								911		456991.891						911		602344.508				601444.316

				456991.74		602345.496		912		1262.026								912		456991.74						912		602345.496				601444.316

				456991.589		602346.485		913		1262.043								913		456991.589						913		602346.485				601444.316

				456991.438		602347.473		914		1262.061								914		456991.438						914		602347.473				601444.316

				456991.287		602348.461		915		1262.079								915		456991.287						915		602348.461				601444.316

				456991.136		602349.449		916		1262.092								916		456991.136						916		602349.449				601444.316

				456990.985		602350.437		917		1262.092								917		456990.985						917		602350.437				601444.316

				456990.834		602351.425		918		1262.115								918		456990.834						918		602351.425				601444.316

				456990.683		602352.413		919		1262.138								919		456990.683						919		602352.413				601444.316

				456990.531		602353.401		920		1262.147								920		456990.531						920		602353.401				601444.316

				456990.38		602354.39		921		1262.197								921		456990.38						921		602354.39				601444.316

				456990.229		602355.378		922		1262.225								922		456990.229						922		602355.378				601444.316

				456990.078		602356.366		923		1262.229								923		456990.078						923		602356.366				601444.316

				456989.927		602357.354		924		1262.229								924		456989.927						924		602357.354				601444.316

				456989.776		602358.342		925		1262.229								925		456989.776						925		602358.342				601444.316

				456989.625		602359.33		926		1262.249								926		456989.625						926		602359.33				601444.316

				456989.474		602360.318		927		1262.274								927		456989.474						927		602360.318				601444.316

				456989.323		602361.307		928		1262.299								928		456989.323						928		602361.307				601444.316

				456989.172		602362.295		929		1262.325								929		456989.172						929		602362.295				601444.316

				456989.02		602363.283		930		1262.365								930		456989.02						930		602363.283				601444.316

				456988.869		602364.271		931		1262.39								931		456988.869						931		602364.271				601444.316

				456988.718		602365.259		932		1262.39								932		456988.718						932		602365.259				601444.316

				456988.567		602366.247		933		1262.416								933		456988.567						933		602366.247				601444.316

				456988.416		602367.235		934		1262.441								934		456988.416						934		602367.235				601444.316

				456988.265		602368.224		935		1262.467								935		456988.265						935		602368.224				601444.316

				456988.114		602369.212		936		1262.492								936		456988.114						936		602369.212				601444.316

				456987.963		602370.2		937		1262.517								937		456987.963						937		602370.2				601444.316

				456987.812		602371.188		938		1262.543								938		456987.812						938		602371.188				601444.316

				456987.66		602372.176		939		1262.583								939		456987.66						939		602372.176				601444.316

				456987.509		602373.164		940		1262.583								940		456987.509						940		602373.164				601444.316

				456987.358		602374.152		941		1262.608								941		456987.358						941		602374.152				601444.316

				456987.207		602375.14		942		1262.634								942		456987.207						942		602375.14				601444.316

				456987.056		602376.129		943		1262.659								943		456987.056						943		602376.129				601444.316

				456986.905		602377.117		944		1262.685								944		456986.905						944		602377.117				601444.316

				456986.754		602378.105		945		1262.71								945		456986.754						945		602378.105				601444.316

				456986.603		602379.093		946		1262.736								946		456986.603						946		602379.093				601444.316

				456986.452		602380.081		947		1262.761								947		456986.452						947		602380.081				601444.316

				456986.301		602381.069		948		1262.775								948		456986.301						948		602381.069				601444.316

				456986.149		602382.057		949		1262.801								949		456986.149						949		602382.057				601444.316

				456985.998		602383.046		950		1262.826								950		456985.998						950		602383.046				601444.316

				456985.847		602384.034		951		1262.852								951		456985.847						951		602384.034				601444.316

				456985.696		602385.022		952		1262.877								952		456985.696						952		602385.022				601444.316

				456985.545		602386.01		953		1262.903								953		456985.545						953		602386.01				601444.316

				456985.394		602386.998		954		1262.928								954		456985.394						954		602386.998				601444.316

				456985.243		602387.986		955		1262.928								955		456985.243						955		602387.986				601444.316

				456985.092		602388.974		956		1262.954								956		456985.092						956		602388.974				601444.316

				456984.941		602389.962		957		1262.993								957		456984.941						957		602389.962				601444.316

				456984.789		602390.951		958		1263								958		456984.789						958		602390.951				601444.316

				456984.638		602391.939		959		1263								959		456984.638						959		602391.939				601444.316

				456984.487		602392.927		960		1263								960		456984.487						960		602392.927				601444.316

				456984.336		602393.915		961		1263								961		456984.336						961		602393.915				601444.316

				456984.185		602394.903		962		1263								962		456984.185						962		602394.903				601444.316

				456984.034		602395.891		963		1263								963		456984.034						963		602395.891				601444.316

				456983.883		602396.879		964		1263								964		456983.883						964		602396.879				601444.316

				456983.732		602397.868		965		1263								965		456983.732						965		602397.868				601444.316

				456983.581		602398.856		966		1263								966		456983.581						966		602398.856				601444.316

				456983.43		602399.844		967		1263								967		456983.43						967		602399.844				601444.316

				456983.278		602400.832		968		1263								968		456983.278						968		602400.832				601444.316

				456983.127		602401.82		969		1263								969		456983.127						969		602401.82				601444.316

				456982.976		602402.808		970		1263								970		456982.976						970		602402.808				601444.316

				456982.825		602403.796		971		1263								971		456982.825						971		602403.796				601444.316

				456982.674		602404.785		972		1263								972		456982.674						972		602404.785				601444.316

				456982.523		602405.773		973		1263								973		456982.523						973		602405.773				601444.316

				456982.372		602406.761		974		1263								974		456982.372						974		602406.761				601444.316

				456982.221		602407.749		975		1263								975		456982.221						975		602407.749				601444.316

				456982.07		602408.737		976		1263								976		456982.07						976		602408.737				601444.316

				456981.918		602409.725		977		1263								977		456981.918						977		602409.725				601444.316

				456981.767		602410.713		978		1263								978		456981.767						978		602410.713				601444.316

				456981.616		602411.701		979		1263								979		456981.616						979		602411.701				601444.316

				456981.465		602412.69		980		1263								980		456981.465						980		602412.69				601444.316

				456981.314		602413.678		981		1263								981		456981.314						981		602413.678				601444.316

				456981.163		602414.666		982		1263								982		456981.163						982		602414.666				601444.316

				456981.012		602415.654		983		1263								983		456981.012						983		602415.654				601444.316

				456980.861		602416.642		984		1263								984		456980.861						984		602416.642				601444.316

				456980.71		602417.63		985		1263.002								985		456980.71						985		602417.63				601444.316

				456980.559		602418.618		986		1263.002								986		456980.559						986		602418.618				601444.316

				456980.407		602419.607		987		1263.032								987		456980.407						987		602419.607				601444.316

				456980.256		602420.595		988		1263.063								988		456980.256						988		602420.595				601444.316

				456980.105		602421.583		989		1263.088								989		456980.105						989		602421.583				601444.316

				456979.954		602422.571		990		1263.119								990		456979.954						990		602422.571				601444.316

				456979.803		602423.559		991		1263.149								991		456979.803						991		602423.559				601444.316

				456979.652		602424.547		992		1263.172								992		456979.652						992		602424.547				601444.316

				456979.501		602425.535		993		1263.195								993		456979.501						993		602425.535				601444.316

				456979.35		602426.524		994		1263.195								994		456979.35						994		602426.524				601444.316

				456979.199		602427.512		995		1263.218								995		456979.199						995		602427.512				601444.316

				456979.047		602428.5		996		1263.241								996		456979.047						996		602428.5				601444.316

				456978.896		602429.488		997		1263.269								997		456978.896						997		602429.488				601444.316

				456978.745		602430.476		998		1263.297								998		456978.745						998		602430.476				601444.316

				456978.594		602431.464		999		1263.326								999		456978.594						999		602431.464				601444.316

				456978.443		602432.452		1000		1263.355								1000		456978.443						1000		602432.452				601444.316

				456978.292		602433.44		1001		1263.363								1001		456978.292						1001		602433.44				601444.316

				456978.141		602434.429		1002		1263.363								1002		456978.141						1002		602434.429				601444.316

				456977.99		602435.417		1003		1263.385								1003		456977.99						1003		602435.417				601444.316

				456977.839		602436.405		1004		1263.407								1004		456977.839						1004		602436.405				601444.316

				456977.688		602437.393		1005		1263.429								1005		456977.688						1005		602437.393				601444.316

				456977.536		602438.381		1006		1263.451								1006		456977.536						1006		602438.381				601444.316

				456977.385		602439.369		1007		1263.476								1007		456977.385						1007		602439.369				601444.316

				456977.234		602440.357		1008		1263.5								1008		456977.234						1008		602440.357				601444.316

				456977.083		602441.346		1009		1263.527								1009		456977.083						1009		602441.346				601444.316

				456976.932		602442.334		1010		1263.519								1010		456976.932						1010		602442.334				601444.316

				456976.781		602443.322		1011		1263.54								1011		456976.781						1011		602443.322				601444.316

				456976.63		602444.31		1012		1263.561								1012		456976.63						1012		602444.31				601444.316

				456976.479		602445.298		1013		1263.582								1013		456976.479						1013		602445.298				601444.316

				456976.328		602446.286		1014		1263.603								1014		456976.328						1014		602446.286				601444.316

				456976.176		602447.274		1015		1263.624								1015		456976.176						1015		602447.274				601444.316

				456976.025		602448.263		1016		1263.645								1016		456976.025						1016		602448.263				601444.316

				456975.874		602449.251		1017		1263.645								1017		456975.874						1017		602449.251				601444.316

				456975.723		602450.239		1018		1263.666								1018		456975.723						1018		602450.239				601444.316

				456975.572		602451.227		1019		1263.667								1019		456975.572						1019		602451.227				601444.316

				456975.421		602452.215		1020		1263.691								1020		456975.421						1020		602452.215				601444.316

				456975.27		602453.203		1021		1263.716								1021		456975.27						1021		602453.203				601444.316

				456975.119		602454.191		1022		1263.739								1022		456975.119						1022		602454.191				601444.316

				456974.968		602455.179		1023		1263.763								1023		456974.968						1023		602455.179				601444.316

				456974.817		602456.168		1024		1263.783								1024		456974.817						1024		602456.168				601444.316

				456974.665		602457.156		1025		1263.783								1025		456974.665						1025		602457.156				601444.316

				456974.514		602458.144		1026		1263.803								1026		456974.514						1026		602458.144				601444.316

				456974.363		602459.132		1027		1263.823								1027		456974.363						1027		602459.132				601444.316

				456974.212		602460.12		1028		1263.824								1028		456974.212						1028		602460.12				601444.316

				456974.061		602461.108		1029		1263.844								1029		456974.061						1029		602461.108				601444.316

				456973.91		602462.096		1030		1263.864								1030		456973.91						1030		602462.096				601444.316

				456973.759		602463.085		1031		1263.884								1031		456973.759						1031		602463.085				601444.316

				456973.608		602464.073		1032		1263.904								1032		456973.608						1032		602464.073				601444.316

				456973.457		602465.061		1033		1263.904								1033		456973.457						1033		602465.061				601444.316

				456973.305		602466.049		1034		1263.924								1034		456973.305						1034		602466.049				601444.316

				456973.154		602467.037		1035		1263.944								1035		456973.154						1035		602467.037				601444.316

				456973.003		602468.025		1036		1263.964								1036		456973.003						1036		602468.025				601444.316

				456972.852		602469.013		1037		1263.982								1037		456972.852						1037		602469.013				601444.316

				456972.701		602470.002		1038		1264								1038		456972.701						1038		602470.002				601444.316

				456972.55		602470.99		1039		1264.008								1039		456972.55						1039		602470.99				601444.316

				456972.399		602471.978		1040		1264.008								1040		456972.399						1040		602471.978				601444.316

				456972.248		602472.966		1041		1264.037								1041		456972.248						1041		602472.966				601444.316

				456972.097		602473.954		1042		1264.066								1042		456972.097						1042		602473.954				601444.316

				456971.946		602474.942		1043		1264.095								1043		456971.946						1043		602474.942				601444.316

				456971.794		602475.93		1044		1264.124								1044		456971.794						1044		602475.93				601444.316

				456971.643		602476.918		1045		1264.127								1045		456971.643						1045		602476.918				601444.316

				456971.492		602477.907		1046		1264.156								1046		456971.492						1046		602477.907				601444.316

				456971.341		602478.895		1047		1264.186								1047		456971.341						1047		602478.895				601444.316

				456971.19		602479.883		1048		1264.186								1048		456971.19						1048		602479.883				601444.316

				456971.039		602480.871		1049		1264.215								1049		456971.039						1049		602480.871				601444.316

				456970.888		602481.859		1050		1264.245								1050		456970.888						1050		602481.859				601444.316

				456970.737		602482.847		1051		1264.274								1051		456970.737						1051		602482.847				601444.316

				456970.586		602483.835		1052		1264.304								1052		456970.586						1052		602483.835				601444.316

				456970.434		602484.824		1053		1264.333								1053		456970.434						1053		602484.824				601444.316

				456970.283		602485.812		1054		1264.338								1054		456970.283						1054		602485.812				601444.316

				456970.132		602486.8		1055		1264.366								1055		456970.132						1055		602486.8				601444.316

				456969.981		602487.788		1056		1264.366								1056		456969.981						1056		602487.788				601444.316

				456969.83		602488.776		1057		1264.393								1057		456969.83						1057		602488.776				601444.316

				456969.679		602489.764		1058		1264.422								1058		456969.679						1058		602489.764				601444.316

				456969.528		602490.752		1059		1264.453								1059		456969.528						1059		602490.752				601444.316

				456969.377		602491.741		1060		1264.482								1060		456969.377						1060		602491.741				601444.316

				456969.226		602492.729		1061		1264.509								1061		456969.226						1061		602492.729				601444.316

				456969.075		602493.717		1062		1264.536								1062		456969.075						1062		602493.717				601444.316

				456968.923		602494.705		1063		1264.539								1063		456968.923						1063		602494.705				601444.316

				456968.772		602495.693		1064		1264.539								1064		456968.772						1064		602495.693				601444.316

				456968.621		602496.681		1065		1264.565								1065		456968.621						1065		602496.681				601444.316

				456968.47		602497.669		1066		1264.591								1066		456968.47						1066		602497.669				601444.316

				456968.319		602498.657		1067		1264.617								1067		456968.319						1067		602498.657				601444.316

				456968.168		602499.646		1068		1264.646								1068		456968.168						1068		602499.646				601444.316

				456968.017		602500.634		1069		1264.676								1069		456968.017						1069		602500.634				601444.316

				456967.866		602501.622		1070		1264.704								1070		456967.866						1070		602501.622				601444.316

				456967.715		602502.61		1071		1264.704								1071		456967.715						1071		602502.61				601444.316

				456967.563		602503.598		1072		1264.703								1072		456967.563						1072		602503.598				601444.316

				456967.412		602504.586		1073		1264.731								1073		456967.412						1073		602504.586				601444.316

				456967.261		602505.574		1074		1264.755								1074		456967.261						1074		602505.574				601444.316

				456967.11		602506.563		1075		1264.78								1075		456967.11						1075		602506.563				601444.316

				456966.959		602507.551		1076		1264.805								1076		456966.959						1076		602507.551				601444.316

				456966.808		602508.539		1077		1264.83								1077		456966.808						1077		602508.539				601444.316

				456966.657		602509.527		1078		1264.854								1078		456966.657						1078		602509.527				601444.316

				456966.506		602510.515		1079		1264.854								1079		456966.506						1079		602510.515				601444.316

				456966.355		602511.503		1080		1264.88								1080		456966.355						1080		602511.503				601444.316

				456966.204		602512.491		1081		1264.881								1081		456966.204						1081		602512.491				601444.316

				456966.052		602513.48		1082		1264.906								1082		456966.052						1082		602513.48				601444.316

				456965.901		602514.468		1083		1264.932								1083		456965.901						1083		602514.468				601444.316

				456965.75		602515.456		1084		1264.957								1084		456965.75						1084		602515.456				601444.316

				456965.599		602516.444		1085		1264.981								1085		456965.599						1085		602516.444				601444.316

				456965.448		602517.432		1086		1265.006								1086		456965.448						1086		602517.432				601444.316

				456965.297		602518.42		1087		1265.006								1087		456965.297						1087		602518.42				601444.316

				456965.146		602519.408		1088		1265.029								1088		456965.146						1088		602519.408				601444.316

				456964.995		602520.396		1089		1265.052								1089		456964.995						1089		602520.396				601444.316

				456964.844		602521.385		1090		1265.039								1090		456964.844						1090		602521.385				601444.316

				456964.692		602522.373		1091		1265.053								1091		456964.692						1091		602522.373				601444.316

				456964.541		602523.361		1092		1265.068								1092		456964.541						1092		602523.361				601444.316

				456964.39		602524.349		1093		1265.082								1093		456964.39						1093		602524.349				601444.316

				456964.239		602525.337		1094		1265.097								1094		456964.239						1094		602525.337				601444.316

				456964.088		602526.325		1095		1265.097								1095		456964.088						1095		602526.325				601444.316

				456963.937		602527.313		1096		1265.111								1096		456963.937						1096		602527.313				601444.316

				456963.786		602528.302		1097		1265.126								1097		456963.786						1097		602528.302				601444.316

				456963.635		602529.29		1098		1265.14								1098		456963.635						1098		602529.29				601444.316

				456963.484		602530.278		1099		1265.123								1099		456963.484						1099		602530.278				601444.316

				456963.333		602531.266		1100		1265.129								1100		456963.333						1100		602531.266				601444.316

				456963.181		602532.254		1101		1265.142								1101		456963.181						1101		602532.254				601444.316

				456963.03		602533.242		1102		1265.142								1102		456963.03						1102		602533.242				601444.316

				456962.879		602534.23		1103		1265.149								1103		456962.879						1103		602534.23				601444.316

				456962.728		602535.219		1104		1265.149								1104		456962.728						1104		602535.219				601444.316

				456962.577		602536.207		1105		1265.149								1105		456962.577						1105		602536.207				601444.316

				456962.426		602537.195		1106		1265.148								1106		456962.426						1106		602537.195				601444.316

				456962.275		602538.183		1107		1265.101								1107		456962.275						1107		602538.183				601444.316

				456962.124		602539.171		1108		1265.099								1108		456962.124						1108		602539.171				601444.316

				456961.973		602540.159		1109		1265.097								1109		456961.973						1109		602540.159				601444.316

				456961.821		602541.147		1110		1265.097								1110		456961.821						1110		602541.147				601444.316

				456961.67		602542.135		1111		1265.095								1111		456961.67						1111		602542.135				601444.316

				456961.519		602543.124		1112		1265.093								1112		456961.519						1112		602543.124				601444.316

				456961.368		602544.112		1113		1265.09								1113		456961.368						1113		602544.112				601444.316

				456961.217		602545.1		1114		1265.079								1114		456961.217						1114		602545.1				601444.316

				456961.066		602546.088		1115		1265.066								1115		456961.066						1115		602546.088				601444.316

				456960.915		602547.076		1116		1265.004								1116		456960.915						1116		602547.076				601444.316

				456960.764		602548.064		1117		1264.987								1117		456960.764						1117		602548.064				601444.316

				456960.613		602549.052		1118		1264.987								1118		456960.613						1118		602549.052				601444.316

				456960.461		602550.041		1119		1264.971								1119		456960.461						1119		602550.041				601444.316

				456960.31		602551.029		1120		1264.958								1120		456960.31						1120		602551.029				601444.316

				456960.159		602552.017		1121		1264.971								1121		456960.159						1121		602552.017				601444.316

				456960.008		602553.005		1122		1264.983								1122		456960.008						1122		602553.005				601444.316

				456959.857		602553.993		1123		1264.995								1123		456959.857						1123		602553.993				601444.316

				456959.706		602554.981		1124		1265								1124		456959.706						1124		602554.981				601444.316

				456959.555		602555.969		1125		1264.971								1125		456959.555						1125		602555.969				601444.316

				456959.404		602556.958		1126		1264.971								1126		456959.404						1126		602556.958				601444.316

				456959.253		602557.946		1127		1264.983								1127		456959.253						1127		602557.946				601444.316

				456959.102		602558.934		1128		1264.996								1128		456959.102						1128		602558.934				601444.316

				456958.95		602559.922		1129		1265								1129		456958.95						1129		602559.922				601444.316

				456958.799		602560.91		1130		1265								1130		456958.799						1130		602560.91				601444.316

				456958.648		602561.898		1131		1265								1131		456958.648						1131		602561.898				601444.316

				456958.497		602562.886		1132		1265								1132		456958.497						1132		602562.886				601444.316

				456958.346		602563.874		1133		1265								1133		456958.346						1133		602563.874				601444.316

				456958.195		602564.863		1134		1265								1134		456958.195						1134		602564.863				601444.316

				456958.044		602565.851		1135		1265								1135		456958.044						1135		602565.851				601444.316

				456957.893		602566.839		1136		1265								1136		456957.893						1136		602566.839				601444.316

				456957.742		602567.827		1137		1265								1137		456957.742						1137		602567.827				601444.316

				456957.59		602568.815		1138		1265								1138		456957.59						1138		602568.815				601444.316

				456957.439		602569.803		1139		1265								1139		456957.439						1139		602569.803				601444.316

				456957.288		602570.791		1140		1265								1140		456957.288						1140		602570.791				601444.316

				456957.137		602571.78		1141		1265								1141		456957.137						1141		602571.78				601444.316

				456956.986		602572.768		1142		1265								1142		456956.986						1142		602572.768				601444.316

				456956.835		602573.756		1143		1264.968								1143		456956.835						1143		602573.756				601444.316

				456956.684		602574.744		1144		1264.966								1144		456956.684						1144		602574.744				601444.316

				456956.533		602575.732		1145		1264.964								1145		456956.533						1145		602575.732				601444.316

				456956.382		602576.72		1146		1264.963								1146		456956.382						1146		602576.72				601444.316

				456956.231		602577.708		1147		1264.961								1147		456956.231						1147		602577.708				601444.316

				456956.079		602578.697		1148		1264.959								1148		456956.079						1148		602578.697				601444.316

				456955.928		602579.685		1149		1264.959								1149		456955.928						1149		602579.685				601444.316

				456955.777		602580.673		1150		1264.97								1150		456955.777						1150		602580.673				601444.316

				456955.626		602581.661		1151		1264.98								1151		456955.626						1151		602581.661				601444.316

				456955.475		602582.649		1152		1264.956								1152		456955.475						1152		602582.649				601444.316

				456955.324		602583.637		1153		1264.961								1153		456955.324						1153		602583.637				601444.316

				456955.173		602584.625		1154		1264.965								1154		456955.173						1154		602584.625				601444.316

				456955.022		602585.613		1155		1264.967								1155		456955.022						1155		602585.613				601444.316

				456954.871		602586.602		1156		1264.971								1156		456954.871						1156		602586.602				601444.316

				456954.719		602587.59		1157		1264.971								1157		456954.719						1157		602587.59				601444.316

				456954.568		602588.578		1158		1264.976								1158		456954.568						1158		602588.578				601444.316

				456954.417		602589.566		1159		1264.983								1159		456954.417						1159		602589.566				601444.316

				456954.266		602590.554		1160		1264.99								1160		456954.266						1160		602590.554				601444.316

				456954.115		602591.542		1161		1264.966								1161		456954.115						1161		602591.542				601444.316

				456953.964		602592.53		1162		1264.974								1162		456953.964						1162		602592.53				601444.316

				456953.813		602593.519		1163		1264.979								1163		456953.813						1163		602593.519				601444.316

				456953.662		602594.507		1164		1264.979								1164		456953.662						1164		602594.507				601444.316

				456953.511		602595.495		1165		1264.979								1165		456953.511						1165		602595.495				601444.316

				456953.36		602596.483		1166		1264.979								1166		456953.36						1166		602596.483				601444.316

				456953.208		602597.471		1167		1264.978								1167		456953.208						1167		602597.471				601444.316

				456953.057		602598.459		1168		1264.99								1168		456953.057						1168		602598.459				601444.316

				456952.906		602599.447		1169		1265								1169		456952.906						1169		602599.447				601444.316

				456952.755		602600.435		1170		1264.953								1170		456952.755						1170		602600.435				601444.316

				456952.604		602601.424		1171		1264.965								1171		456952.604						1171		602601.424				601444.316

				456952.453		602602.412		1172		1264.965								1172		456952.453						1172		602602.412				601444.316

				456952.302		602603.4		1173		1264.977								1173		456952.302						1173		602603.4				601444.316

				456952.151		602604.388		1174		1264.989								1174		456952.151						1174		602604.388				601444.316

				456952		602605.376		1175		1265								1175		456952						1175		602605.376				601444.316

				456951.848		602606.364		1176		1265								1176		456951.848						1176		602606.364				601444.316

				456951.697		602607.352		1177		1265								1177		456951.697						1177		602607.352				601444.316

				456951.546		602608.341		1178		1265								1178		456951.546						1178		602608.341				601444.316

				456951.395		602609.329		1179		1265								1179		456951.395						1179		602609.329				601444.316

				456951.244		602610.317		1180		1265								1180		456951.244						1180		602610.317				601444.316

				456951.093		602611.305		1181		1265								1181		456951.093						1181		602611.305				601444.316

				456950.942		602612.293		1182		1265.019								1182		456950.942						1182		602612.293				601444.316

				456950.791		602613.281		1183		1265.046								1183		456950.791						1183		602613.281				601444.316

				456950.64		602614.269		1184		1265.073								1184		456950.64						1184		602614.269				601444.316

				456950.489		602615.258		1185		1265.098								1185		456950.489						1185		602615.258				601444.316

				456950.337		602616.246		1186		1265.124								1186		456950.337						1186		602616.246				601444.316

				456950.186		602617.234		1187		1265.113								1187		456950.186						1187		602617.234				601444.316

				456950.035		602618.222		1188		1265.113								1188		456950.035						1188		602618.222				601444.316

				456949.884		602619.21		1189		1265.138								1189		456949.884						1189		602619.21				601444.316

				456949.733		602620.198		1190		1265.162								1190		456949.733						1190		602620.198				601444.316

				456949.582		602621.186		1191		1265.186								1191		456949.582						1191		602621.186				601444.316

				456949.431		602622.174		1192		1265.209								1192		456949.431						1192		602622.174				601444.316

				456949.28		602623.163		1193		1265.232								1193		456949.28						1193		602623.163				601444.316

				456949.129		602624.151		1194		1265.255								1194		456949.129						1194		602624.151				601444.316

				456948.977		602625.139		1195		1265.255								1195		456948.977						1195		602625.139				601444.316

				456948.826		602626.127		1196		1265.24								1196		456948.826						1196		602626.127				601444.316

				456948.675		602627.115		1197		1265.261								1197		456948.675						1197		602627.115				601444.316

				456948.524		602628.103		1198		1265.283								1198		456948.524						1198		602628.103				601444.316

				456948.373		602629.091		1199		1265.316								1199		456948.373						1199		602629.091				601444.316

				456948.222		602630.08		1200		1265.348								1200		456948.222						1200		602630.08				601444.316

				456948.071		602631.068		1201		1265.381								1201		456948.071						1201		602631.068				601444.316

				456947.92		602632.056		1202		1265.414								1202		456947.92						1202		602632.056				601444.316

				456947.769		602633.044		1203		1265.414								1203		456947.769						1203		602633.044				601444.316

				456947.618		602634.032		1204		1265.447								1204		456947.618						1204		602634.032				601444.316

				456947.466		602635.02		1205		1265.451								1205		456947.466						1205		602635.02				601444.316

				456947.315		602636.008		1206		1265.474								1206		456947.315						1206		602636.008				601444.316

				456947.164		602636.997		1207		1265.498								1207		456947.164						1207		602636.997				601444.316

				456947.013		602637.985		1208		1265.519								1208		456947.013						1208		602637.985				601444.316

				456946.862		602638.973		1209		1265.539								1209		456946.862						1209		602638.973				601444.316

				456946.711		602639.961		1210		1265.551								1210		456946.711						1210		602639.961				601444.316

				456946.56		602640.949		1211		1265.551								1211		456946.56						1211		602640.949				601444.316

				456946.409		602641.937		1212		1265.563								1212		456946.409						1212		602641.937				601444.316

				456946.258		602642.925		1213		1265.575								1213		456946.258						1213		602642.925				601444.316

				456946.106		602643.913		1214		1265.548								1214		456946.106						1214		602643.913				601444.316

				456945.955		602644.902		1215		1265.56								1215		456945.955						1215		602644.902				601444.316

				456945.804		602645.89		1216		1265.572								1216		456945.804						1216		602645.89				601444.316

				456945.653		602646.878		1217		1265.584								1217		456945.653						1217		602646.878				601444.316

				456945.502		602647.866		1218		1265.596								1218		456945.502						1218		602647.866				601444.316

				456945.351		602648.854		1219		1265.596								1219		456945.351						1219		602648.854				601444.316

				456945.2		602649.842		1220		1265.608								1220		456945.2						1220		602649.842				601444.316

				456945.049		602650.83		1221		1265.624								1221		456945.049						1221		602650.83				601444.316

				456944.898		602651.819		1222		1265.644								1222		456944.898						1222		602651.819				601444.316

				456944.747		602652.807		1223		1265.607								1223		456944.747						1223		602652.807				601444.316

				456944.595		602653.795		1224		1265.607								1224		456944.595						1224		602653.795				601444.316

				456944.444		602654.783		1225		1265.593								1225		456944.444						1225		602654.783				601444.316

				456944.293		602655.771		1226		1265.593								1226		456944.293						1226		602655.771				601444.316

				456944.142		602656.759		1227		1265.541								1227		456944.142						1227		602656.759				601444.316

				456943.991		602657.747		1228		1265.49								1228		456943.991						1228		602657.747				601444.316

				456943.84		602658.736		1229		1265.439								1229		456943.84						1229		602658.736				601444.316

				456943.689		602659.724		1230		1265.388								1230		456943.689						1230		602659.724				601444.316

				456943.538		602660.712		1231		1265.337								1231		456943.538						1231		602660.712				601444.316

				456943.387		602661.7		1232		1265.228								1232		456943.387						1232		602661.7				601444.316

				456943.235		602662.688		1233		1265.177								1233		456943.235						1233		602662.688				601444.316

				456943.084		602663.676		1234		1265.177								1234		456943.084						1234		602663.676				601444.316

				456942.933		602664.664		1235		1265.151								1235		456942.933						1235		602664.664				601444.316

				456942.782		602665.652		1236		1265.231								1236		456942.782						1236		602665.652				601444.316

				456942.631		602666.641		1237		1265.323								1237		456942.631						1237		602666.641				601444.316

				456942.48		602667.629		1238		1265.415								1238		456942.48						1238		602667.629				601444.316

				456942.329		602668.617		1239		1265.507								1239		456942.329						1239		602668.617				601444.316

				456942.178		602669.605		1240		1265.6								1240		456942.178						1240		602669.605				601444.316

				456942.027		602670.593		1241		1265.678								1241		456942.027						1241		602670.593				601444.316

				456941.876		602671.581		1242		1265.678								1242		456941.876						1242		602671.581				601444.316

				456941.724		602672.569		1243		1265.771								1243		456941.724						1243		602672.569				601444.316

				456941.573		602673.558		1244		1265.863								1244		456941.573						1244		602673.558				601444.316

				456941.422		602674.546		1245		1265.955								1245		456941.422						1245		602674.546				601444.316

				456941.271		602675.534		1246		1266								1246		456941.271						1246		602675.534				601444.316

				456941.12		602676.522		1247		1266								1247		456941.12						1247		602676.522				601444.316

				456940.969		602677.51		1248		1266								1248		456940.969						1248		602677.51				601444.316

				456940.818		602678.498		1249		1266								1249		456940.818						1249		602678.498				601444.316

				456940.667		602679.486		1250		1266								1250		456940.667						1250		602679.486				601444.316

				456940.516		602680.475		1251		1266								1251		456940.516						1251		602680.475				601444.316

				456940.364		602681.463		1252		1266								1252		456940.364						1252		602681.463				601444.316

				456940.213		602682.451		1253		1266								1253		456940.213						1253		602682.451				601444.316

				456940.062		602683.439		1254		1266								1254		456940.062						1254		602683.439				601444.316

				456939.911		602684.427		1255		1266								1255		456939.911						1255		602684.427				601444.316

				456939.76		602685.415		1256		1266								1256		456939.76						1256		602685.415				601444.316

				456939.609		602686.403		1257		1266								1257		456939.609						1257		602686.403				601444.316

				456939.458		602687.391		1258		1266								1258		456939.458						1258		602687.391				601444.316

				456939.307		602688.38		1259		1266								1259		456939.307						1259		602688.38				601444.316

				456939.156		602689.368		1260		1266								1260		456939.156						1260		602689.368				601444.316

				456939.005		602690.356		1261		1266								1261		456939.005						1261		602690.356				601444.316

				456938.853		602691.344		1262		1266								1262		456938.853						1262		602691.344				601444.316

				456938.702		602692.332		1263		1266								1263		456938.702						1263		602692.332				601444.316

				456938.551		602693.32		1264		1266								1264		456938.551						1264		602693.32				601444.316

				456938.4		602694.308		1265		1266								1265		456938.4						1265		602694.308				601444.316

				456938.249		602695.297		1266		1266								1266		456938.249						1266		602695.297				601444.316

				456938.098		602696.285		1267		1266								1267		456938.098						1267		602696.285				601444.316

				456937.947		602697.273		1268		1266								1268		456937.947						1268		602697.273				601444.316

				456937.796		602698.261		1269		1266								1269		456937.796						1269		602698.261				601444.316

				456937.645		602699.249		1270		1266								1270		456937.645						1270		602699.249				601444.316

				456937.493		602700.237		1271		1266								1271		456937.493						1271		602700.237				601444.316

				456937.342		602701.225		1272		1266								1272		456937.342						1272		602701.225				601444.316

				456937.191		602702.214		1273		1266								1273		456937.191						1273		602702.214				601444.316

				456937.04		602703.202		1274		1266								1274		456937.04						1274		602703.202				601444.316

				456936.889		602704.19		1275		1266								1275		456936.889						1275		602704.19				601444.316

				456936.738		602705.178		1276		1266								1276		456936.738						1276		602705.178				601444.316

				456936.587		602706.166		1277		1266								1277		456936.587						1277		602706.166				601444.316

				456936.436		602707.154		1278		1266								1278		456936.436						1278		602707.154				601444.316

				456936.285		602708.142		1279		1266								1279		456936.285						1279		602708.142				601444.316

				456936.134		602709.13		1280		1266								1280		456936.134						1280		602709.13				601444.316

				456935.982		602710.119		1281		1266								1281		456935.982						1281		602710.119				601444.316

				456935.831		602711.107		1282		1266								1282		456935.831						1282		602711.107				601444.316

				456935.68		602712.095		1283		1266								1283		456935.68						1283		602712.095				601444.316

				456935.529		602713.083		1284		1266								1284		456935.529						1284		602713.083				601444.316

				456935.378		602714.071		1285		1266								1285		456935.378						1285		602714.071				601444.316

				456935.227		602715.059		1286		1266								1286		456935.227						1286		602715.059				601444.316

				456935.076		602716.047		1287		1266								1287		456935.076						1287		602716.047				601444.316

				456934.925		602717.036		1288		1266								1288		456934.925						1288		602717.036				601444.316

				456934.774		602718.024		1289		1266								1289		456934.774						1289		602718.024				601444.316

				456934.622		602719.012		1290		1266								1290		456934.622						1290		602719.012				601444.316

				456934.471		602720		1291		1266								1291		456934.471						1291		602720				601444.316

				456934.32		602720.988		1292		1266								1292		456934.32						1292		602720.988				601444.316

				456934.169		602721.976		1293		1266								1293		456934.169						1293		602721.976				601444.316

				456934.018		602722.964		1294		1266								1294		456934.018						1294		602722.964				601444.316

				456933.867		602723.953		1295		1266								1295		456933.867						1295		602723.953				601444.316

				456933.716		602724.941		1296		1266								1296		456933.716						1296		602724.941				601444.316

				456933.565		602725.929		1297		1266								1297		456933.565						1297		602725.929				601444.316

				456933.414		602726.917		1298		1266								1298		456933.414						1298		602726.917				601444.316

				456933.263		602727.905		1299		1266								1299		456933.263						1299		602727.905				601444.316

				456933.111		602728.893		1300		1266								1300		456933.111						1300		602728.893				601444.316

				456932.96		602729.881		1301		1266								1301		456932.96						1301		602729.881				601444.316

				456932.809		602730.869		1302		1266								1302		456932.809						1302		602730.869				601444.316

				456932.658		602731.858		1303		1266								1303		456932.658						1303		602731.858				601444.316

				456932.507		602732.846		1304		1266								1304		456932.507						1304		602732.846				601444.316

				456932.356		602733.834		1305		1266.05								1305		456932.356						1305		602733.834				601444.316

				456932.205		602734.822		1306		1266.107								1306		456932.205						1306		602734.822				601444.316

				456932.054		602735.81		1307		1266.177								1307		456932.054						1307		602735.81				601444.316

				456931.903		602736.798		1308		1266.236								1308		456931.903						1308		602736.798				601444.316

				456931.751		602737.786		1309		1266.268								1309		456931.751						1309		602737.786				601444.316

				456931.6		602738.775		1310		1266.333								1310		456931.6						1310		602738.775				601444.316

				456931.449		602739.763		1311		1266.331								1311		456931.449						1311		602739.763				601444.316

				456931.298		602740.751		1312		1266.331								1312		456931.298						1312		602740.751				601444.316

				456931.147		602741.739		1313		1266.388								1313		456931.147						1313		602741.739				601444.316

				456930.996		602742.727		1314		1266.404								1314		456930.996						1314		602742.727				601444.316

				456930.845		602743.715		1315		1266.429								1315		456930.845						1315		602743.715				601444.316

				456930.694		602744.703		1316		1266.483								1316		456930.694						1316		602744.703				601444.316

				456930.543		602745.692		1317		1266.513								1317		456930.543						1317		602745.692				601444.316

				456930.391		602746.68		1318		1266.541								1318		456930.391						1318		602746.68				601444.316

				456930.24		602747.668		1319		1266.541								1319		456930.24						1319		602747.668				601444.316

				456930.089		602748.656		1320		1266.533								1320		456930.089						1320		602748.656				601444.316

				456929.938		602749.644		1321		1266.561								1321		456929.938						1321		602749.644				601444.316

				456929.787		602750.632		1322		1266.589								1322		456929.787						1322		602750.632				601444.316

				456929.636		602751.62		1323		1266.617								1323		456929.636						1323		602751.62				601444.316

				456929.485		602752.608		1324		1266.645								1324		456929.485						1324		602752.608				601444.316

				456929.334		602753.597		1325		1266.673								1325		456929.334						1325		602753.597				601444.316

				456929.183		602754.585		1326		1266.701								1326		456929.183						1326		602754.585				601444.316

				456929.032		602755.573		1327		1266.701								1327		456929.032						1327		602755.573				601444.316

				456928.88		602756.561		1328		1266.729								1328		456928.88						1328		602756.561				601444.316

				456928.729		602757.549		1329		1266.702								1329		456928.729						1329		602757.549				601444.316

				456928.578		602758.537		1330		1266.704								1330		456928.578						1330		602758.537				601444.316

				456928.427		602759.525		1331		1266.707								1331		456928.427						1331		602759.525				601444.316

				456928.276		602760.514		1332		1266.707								1332		456928.276						1332		602760.514				601444.316

				456928.125		602761.502		1333		1266.708								1333		456928.125						1333		602761.502				601444.316

				456927.974		602762.49		1334		1266.708								1334		456927.974						1334		602762.49				601444.316

				456927.823		602763.478		1335		1266.708								1335		456927.823						1335		602763.478				601444.316

				456927.672		602764.466		1336		1266.708								1336		456927.672						1336		602764.466				601444.316

				456927.52		602765.454		1337		1266.712								1337		456927.52						1337		602765.454				601444.316

				456927.369		602766.442		1338		1266.697								1338		456927.369						1338		602766.442				601444.316

				456927.218		602767.431		1339		1266.718								1339		456927.218						1339		602767.431				601444.316

				456927.067		602768.419		1340		1266.74								1340		456927.067						1340		602768.419				601444.316

				456926.916		602769.407		1341		1266.76								1341		456926.916						1341		602769.407				601444.316

				456926.765		602770.395		1342		1266.76								1342		456926.765						1342		602770.395				601444.316

				456926.614		602771.383		1343		1266.781								1343		456926.614						1343		602771.383				601444.316

				456926.463		602772.371		1344		1266.802								1344		456926.463						1344		602772.371				601444.316

				456926.312		602773.359		1345		1266.824								1345		456926.312						1345		602773.359				601444.316

				456926.161		602774.347		1346		1266.845								1346		456926.161						1346		602774.347				601444.316

				456926.009		602775.336		1347		1266.83								1347		456926.009						1347		602775.336				601444.316

				456925.858		602776.324		1348		1266.852								1348		456925.858						1348		602776.324				601444.316

				456925.707		602777.312		1349		1266.873								1349		456925.707						1349		602777.312				601444.316

				456925.556		602778.3		1350		1266.873								1350		456925.556						1350		602778.3				601444.316

				456925.405		602779.288		1351		1266.894								1351		456925.405						1351		602779.288				601444.316

				456925.254		602780.276		1352		1266.915								1352		456925.254						1352		602780.276				601444.316

				456925.103		602781.264		1353		1266.936								1353		456925.103						1353		602781.264				601444.316

				456924.952		602782.253		1354		1266.957								1354		456924.952						1354		602782.253				601444.316

				456924.801		602783.241		1355		1266.978								1355		456924.801						1355		602783.241				601444.316

				456924.649		602784.229		1356		1267.002								1356		456924.649						1356		602784.229				601444.316

				456924.498		602785.217		1357		1267.049								1357		456924.498						1357		602785.217				601444.316

				456924.347		602786.205		1358		1267.049								1358		456924.347						1358		602786.205				601444.316

				456924.196		602787.193		1359		1267.097								1359		456924.196						1359		602787.193				601444.316

				456924.045		602788.181		1360		1267.144								1360		456924.045						1360		602788.181				601444.316

				456923.894		602789.17		1361		1267.191								1361		456923.894						1361		602789.17				601444.316

				456923.743		602790.158		1362		1267.239								1362		456923.743						1362		602790.158				601444.316

				456923.592		602791.146		1363		1267.286								1363		456923.592						1363		602791.146				601444.316

				456923.441		602792.134		1364		1267.334								1364		456923.441						1364		602792.134				601444.316

				456923.29		602793.122		1365		1267.372								1365		456923.29						1365		602793.122				601444.316

				456923.138		602794.11		1366		1267.372								1366		456923.138						1366		602794.11				601444.316

				456922.987		602795.098		1367		1267.42								1367		456922.987						1367		602795.098				601444.316

				456922.836		602796.086		1368		1267.468								1368		456922.836						1368		602796.086				601444.316

				456922.685		602797.075		1369		1267.516								1369		456922.685						1369		602797.075				601444.316

				456922.534		602798.063		1370		1267.564								1370		456922.534						1370		602798.063				601444.316

				456922.383		602799.051		1371		1267.612								1371		456922.383						1371		602799.051				601444.316

				456922.232		602800.039		1372		1267.661								1372		456922.232						1372		602800.039				601444.316

				456922.081		602801.027		1373		1267.661								1373		456922.081						1373		602801.027				601444.316

				456921.93		602802.015		1374		1267.701								1374		456921.93						1374		602802.015				601444.316

				456921.778		602803.003		1375		1267.751								1375		456921.778						1375		602803.003				601444.316

				456921.627		602803.992		1376		1267.8								1376		456921.627						1376		602803.992				601444.316

				456921.476		602804.98		1377		1267.85								1377		456921.476						1377		602804.98				601444.316

				456921.325		602805.968		1378		1267.901								1378		456921.325						1378		602805.968				601444.316

				456921.174		602806.956		1379		1267.951								1379		456921.174						1379		602806.956				601444.316

				456921.023		602807.944		1380		1268								1380		456921.023						1380		602807.944				601444.316

				456920.872		602808.932		1381		1268								1381		456920.872						1381		602808.932				601444.316

				456920.721		602809.92		1382		1268								1382		456920.721						1382		602809.92				601444.316

				456920.57		602810.908		1383		1268								1383		456920.57						1383		602810.908				601444.316

				456920.419		602811.897		1384		1268								1384		456920.419						1384		602811.897				601444.316

				456920.267		602812.885		1385		1268								1385		456920.267						1385		602812.885				601444.316

				456920.116		602813.873		1386		1268								1386		456920.116						1386		602813.873				601444.316

				456919.965		602814.861		1387		1268								1387		456919.965						1387		602814.861				601444.316

				456919.814		602815.849		1388		1268								1388		456919.814						1388		602815.849				601444.316

				456919.663		602816.837		1389		1268								1389		456919.663						1389		602816.837				601444.316

				456919.512		602817.825		1390		1268								1390		456919.512						1390		602817.825				601444.316

				456919.361		602818.814		1391		1268								1391		456919.361						1391		602818.814				601444.316

				456919.21		602819.802		1392		1268								1392		456919.21						1392		602819.802				601444.316

				456919.059		602820.79		1393		1268								1393		456919.059						1393		602820.79				601444.316

				456918.907		602821.778		1394		1268								1394		456918.907						1394		602821.778				601444.316

				456918.756		602822.766		1395		1268								1395		456918.756						1395		602822.766				601444.316

				456918.605		602823.754		1396		1268								1396		456918.605						1396		602823.754				601444.316

				456918.454		602824.742		1397		1268								1397		456918.454						1397		602824.742				601444.316

				456918.303		602825.731		1398		1268								1398		456918.303						1398		602825.731				601444.316

				456918.152		602826.719		1399		1268								1399		456918.152						1399		602826.719				601444.316

				456918.001		602827.707		1400		1268								1400		456918.001						1400		602827.707				601444.316

				456917.85		602828.695		1401		1268								1401		456917.85						1401		602828.695				601444.316

				456917.699		602829.683		1402		1268								1402		456917.699						1402		602829.683				601444.316

				456917.548		602830.671		1403		1268								1403		456917.548						1403		602830.671				601444.316

				456917.396		602831.659		1404		1268								1404		456917.396						1404		602831.659				601444.316

				456917.245		602832.647		1405		1268								1405		456917.245						1405		602832.647				601444.316

				456917.094		602833.636		1406		1268.011								1406		456917.094						1406		602833.636				601444.316

				456916.943		602834.624		1407		1268.027								1407		456916.943						1407		602834.624				601444.316

				456916.792		602835.612		1408		1268.042								1408		456916.792						1408		602835.612				601444.316

				456916.641		602836.6		1409		1268.044								1409		456916.641						1409		602836.6				601444.316

				456916.49		602837.588		1410		1268.06								1410		456916.49						1410		602837.588				601444.316

				456916.339		602838.576		1411		1268.075								1411		456916.339						1411		602838.576				601444.316

				456916.188		602839.564		1412		1268.075								1412		456916.188						1412		602839.564				601444.316

				456916.036		602840.553		1413		1268.091								1413		456916.036						1413		602840.553				601444.316

				456915.885		602841.541		1414		1268.106								1414		456915.885						1414		602841.541				601444.316

				456915.734		602842.529		1415		1268.122								1415		456915.734						1415		602842.529				601444.316

				456915.583		602843.517		1416		1268.137								1416		456915.583						1416		602843.517				601444.316

				456915.432		602844.505		1417		1268.153								1417		456915.432						1417		602844.505				601444.316

				456915.281		602845.493		1418		1268.155								1418		456915.281						1418		602845.493				601444.316

				456915.13		602846.481		1419		1268.171								1419		456915.13						1419		602846.481				601444.316

				456914.979		602847.47		1420		1268.171								1420		456914.979						1420		602847.47				601444.316

				456914.828		602848.458		1421		1268.186								1421		456914.828						1421		602848.458				601444.316

				456914.677		602849.446		1422		1268.19								1422		456914.677						1422		602849.446				601444.316

				456914.525		602850.434		1423		1268.192								1423		456914.525						1423		602850.434				601444.316

				456914.374		602851.422		1424		1268.195								1424		456914.374						1424		602851.422				601444.316

				456914.223		602852.41		1425		1268.203								1425		456914.223						1425		602852.41				601444.316

				456914.072		602853.398		1426		1268.205								1426		456914.072						1426		602853.398				601444.316

				456913.921		602854.386		1427		1268.186								1427		456913.921						1427		602854.386				601444.316

				456913.77		602855.375		1428		1268.186								1428		456913.77						1428		602855.375				601444.316

				456913.619		602856.363		1429		1268.195								1429		456913.619						1429		602856.363				601444.316

				456913.468		602857.351		1430		1268.197								1430		456913.468						1430		602857.351				601444.316

				456913.317		602858.339		1431		1268.199								1431		456913.317						1431		602858.339				601444.316

				456913.165		602859.327		1432		1268.202								1432		456913.165						1432		602859.327				601444.316

				456913.014		602860.315		1433		1268.208								1433		456913.014						1433		602860.315				601444.316

				456912.863		602861.303		1434		1268.21								1434		456912.863						1434		602861.303				601444.316

				456912.712		602862.292		1435		1268.21								1435		456912.712						1435		602862.292				601444.316

				456912.561		602863.28		1436		1268.189								1436		456912.561						1436		602863.28				601444.316

				456912.41		602864.268		1437		1268.204								1437		456912.41						1437		602864.268				601444.316

				456912.259		602865.256		1438		1268.213								1438		456912.259						1438		602865.256				601444.316

				456912.108		602866.244		1439		1268.216								1439		456912.108						1439		602866.244				601444.316

				456911.957		602867.232		1440		1268.218								1440		456911.957						1440		602867.232				601444.316

				456911.806		602868.22		1441		1268.23								1441		456911.806						1441		602868.22				601444.316

				456911.654		602869.209		1442		1268.238								1442		456911.654						1442		602869.209				601444.316

				456911.503		602870.197		1443		1268.238								1443		456911.503						1443		602870.197				601444.316

				456911.352		602871.185		1444		1268.241								1444		456911.352						1444		602871.185				601444.316

				456911.201		602872.173		1445		1268.224								1445		456911.201						1445		602872.173				601444.316

				456911.05		602873.161		1446		1268.232								1446		456911.05						1446		602873.161				601444.316

				456910.899		602874.149		1447		1268.237								1447		456910.899						1447		602874.149				601444.316

				456910.748		602875.137		1448		1268.243								1448		456910.748						1448		602875.137				601444.316

				456910.597		602876.125		1449		1268.253								1449		456910.597						1449		602876.125				601444.316

				456910.446		602877.114		1450		1268.263								1450		456910.446						1450		602877.114				601444.316

				456910.294		602878.102		1451		1268.263								1451		456910.294						1451		602878.102				601444.316

				456910.143		602879.09		1452		1268.271								1452		456910.143						1452		602879.09				601444.316

				456909.992		602880.078		1453		1268.261								1453		456909.992						1453		602880.078				601444.316

				456909.841		602881.066		1454		1268.271								1454		456909.841						1454		602881.066				601444.316

				456909.69		602882.054		1455		1268.278								1455		456909.69						1455		602882.054				601444.316

				456909.539		602883.042		1456		1268.278								1456		456909.539						1456		602883.042				601444.316

				456909.388		602884.031		1457		1268.279								1457		456909.388						1457		602884.031				601444.316

				456909.237		602885.019		1458		1268.281								1458		456909.237						1458		602885.019				601444.316

				456909.086		602886.007		1459		1268.281								1459		456909.086						1459		602886.007				601444.316

				456908.935		602886.995		1460		1268.287								1460		456908.935						1460		602886.995				601444.316

				456908.783		602887.983		1461		1268.293								1461		456908.783						1461		602887.983				601444.316

				456908.632		602888.971		1462		1268.279								1462		456908.632						1462		602888.971				601444.316

				456908.481		602889.959		1463		1268.294								1463		456908.481						1463		602889.959				601444.316

				456908.33		602890.948		1464		1268.306								1464		456908.33						1464		602890.948				601444.316

				456908.179		602891.936		1465		1268.324								1465		456908.179						1465		602891.936				601444.316

				456908.028		602892.924		1466		1268.324								1466		456908.028						1466		602892.924				601444.316

				456907.877		602893.912		1467		1268.341								1467		456907.877						1467		602893.912				601444.316

				456907.726		602894.9		1468		1268.359								1468		456907.726						1468		602894.9				601444.316

				456907.575		602895.888		1469		1268.377								1469		456907.575						1469		602895.888				601444.316

				456907.423		602896.876		1470		1268.395								1470		456907.423						1470		602896.876				601444.316

				456907.272		602897.864		1471		1268.406								1471		456907.272						1471		602897.864				601444.316

				456907.121		602898.853		1472		1268.424								1472		456907.121						1472		602898.853				601444.316

				456906.97		602899.841		1473		1268.442								1473		456906.97						1473		602899.841				601444.316

				456906.819		602900.829		1474		1268.442								1474		456906.819						1474		602900.829				601444.316

				456906.668		602901.817		1475		1268.46								1475		456906.668						1475		602901.817				601444.316

				456906.517		602902.805		1476		1268.477								1476		456906.517						1476		602902.805				601444.316

				456906.366		602903.793		1477		1268.495								1477		456906.366						1477		602903.793				601444.316

				456906.215		602904.781		1478		1268.513								1478		456906.215						1478		602904.781				601444.316

				456906.064		602905.77		1479		1268.531								1479		456906.064						1479		602905.77				601444.316

				456905.912		602906.758		1480		1268.542								1480		456905.912						1480		602906.758				601444.316

				456905.761		602907.746		1481		1268.56								1481		456905.761						1481		602907.746				601444.316

				456905.61		602908.734		1482		1268.56								1482		456905.61						1482		602908.734				601444.316

				456905.459		602909.722		1483		1268.578								1483		456905.459						1483		602909.722				601444.316

				456905.308		602910.71		1484		1268.596								1484		456905.308						1484		602910.71				601444.316

				456905.157		602911.698		1485		1268.614								1485		456905.157						1485		602911.698				601444.316

				456905.006		602912.687		1486		1268.631								1486		456905.006						1486		602912.687				601444.316

				456904.855		602913.675		1487		1268.649								1487		456904.855						1487		602913.675				601444.316

				456904.704		602914.663		1488		1268.667								1488		456904.704						1488		602914.663				601444.316

				456904.552		602915.651		1489		1268.678								1489		456904.552						1489		602915.651				601444.316

				456904.401		602916.639		1490		1268.678								1490		456904.401						1490		602916.639				601444.316

				456904.25		602917.627		1491		1268.696								1491		456904.25						1491		602917.627				601444.316

				456904.099		602918.615		1492		1268.714								1492		456904.099						1492		602918.615				601444.316

				456903.948		602919.603		1493		1268.732								1493		456903.948						1493		602919.603				601444.316

				456903.797		602920.592		1494		1268.75								1494		456903.797						1494		602920.592				601444.316

				456903.646		602921.58		1495		1268.767								1495		456903.646						1495		602921.58				601444.316

				456903.495		602922.568		1496		1268.785								1496		456903.495						1496		602922.568				601444.316

				456903.344		602923.556		1497		1268.785								1497		456903.344						1497		602923.556				601444.316

				456903.193		602924.544		1498		1268.797								1498		456903.193						1498		602924.544				601444.316

				456903.041		602925.532		1499		1268.814								1499		456903.041						1499		602925.532				601444.316

				456902.89		602926.52		1500		1268.832								1500		456902.89						1500		602926.52				601444.316

				456902.739		602927.509		1501		1268.85								1501		456902.739						1501		602927.509				601444.316

				456902.588		602928.497		1502		1268.868								1502		456902.588						1502		602928.497				601444.316

				456902.437		602929.485		1503		1268.885								1503		456902.437						1503		602929.485				601444.316

				456902.286		602930.473		1504		1268.903								1504		456902.286						1504		602930.473				601444.316

				456902.135		602931.461		1505		1268.903								1505		456902.135						1505		602931.461				601444.316

				456901.984		602932.449		1506		1268.921								1506		456901.984						1506		602932.449				601444.316

				456901.833		602933.437		1507		1268.933								1507		456901.833						1507		602933.437				601444.316

				456901.681		602934.426		1508		1268.95								1508		456901.681						1508		602934.426				601444.316

				456901.53		602935.414		1509		1268.968								1509		456901.53						1509		602935.414				601444.316

				456901.379		602936.402		1510		1268.986								1510		456901.379						1510		602936.402				601444.316

				456901.228		602937.39		1511		1269								1511		456901.228						1511		602937.39				601444.316

				456901.077		602938.378		1512		1269								1512		456901.077						1512		602938.378				601444.316

				456900.926		602939.366		1513		1269								1513		456900.926						1513		602939.366				601444.316

				456900.775		602940.354		1514		1269								1514		456900.775						1514		602940.354				601444.316

				456900.624		602941.342		1515		1269								1515		456900.624						1515		602941.342				601444.316

				456900.473		602942.331		1516		1269								1516		456900.473						1516		602942.331				601444.316

				456900.322		602943.319		1517		1269								1517		456900.322						1517		602943.319				601444.316

				456900.17		602944.307		1518		1269								1518		456900.17						1518		602944.307				601444.316

				456900.019		602945.295		1519		1269								1519		456900.019						1519		602945.295				601444.316

				456899.868		602946.283		1520		1269								1520		456899.868						1520		602946.283				601444.316

				456899.717		602947.271		1521		1269								1521		456899.717						1521		602947.271				601444.316

				456899.566		602948.259		1522		1269								1522		456899.566						1522		602948.259				601444.316

				456899.415		602949.248		1523		1269								1523		456899.415						1523		602949.248				601444.316

				456899.264		602950.236		1524		1269								1524		456899.264						1524		602950.236				601444.316

				456899.113		602951.224		1525		1269								1525		456899.113						1525		602951.224				601444.316

				456898.962		602952.212		1526		1269								1526		456898.962						1526		602952.212				601444.316

				456898.81		602953.2		1527		1269								1527		456898.81						1527		602953.2				601444.316

				456898.659		602954.188		1528		1269								1528		456898.659						1528		602954.188				601444.316

				456898.508		602955.176		1529		1269								1529		456898.508						1529		602955.176				601444.316

				456898.357		602956.165		1530		1269								1530		456898.357						1530		602956.165				601444.316

				456898.206		602957.153		1531		1269								1531		456898.206						1531		602957.153				601444.316

				456898.055		602958.141		1532		1269								1532		456898.055						1532		602958.141				601444.316

				456897.904		602959.129		1533		1269								1533		456897.904						1533		602959.129				601444.316

				456897.753		602960.117		1534		1269								1534		456897.753						1534		602960.117				601444.316

				456897.602		602961.105		1535		1269.015								1535		456897.602						1535		602961.105				601444.316

				456897.45		602962.093		1536		1269.015								1536		456897.45						1536		602962.093				601444.316

				456897.299		602963.081		1537		1269.039								1537		456897.299						1537		602963.081				601444.316

				456897.148		602964.07		1538		1269.063								1538		456897.148						1538		602964.07				601444.316

				456896.997		602965.058		1539		1269.089								1539		456896.997						1539		602965.058				601444.316

				456896.846		602966.046		1540		1269.116								1540		456896.846						1540		602966.046				601444.316

				456896.695		602967.034		1541		1269.143								1541		456896.695						1541		602967.034				601444.316

				456896.544		602968.022		1542		1269.163								1542		456896.544						1542		602968.022				601444.316

				456896.393		602969.01		1543		1269.184								1543		456896.393						1543		602969.01				601444.316

				456896.242		602969.998		1544		1269.184								1544		456896.242						1544		602969.998				601444.316

				456896.091		602970.987		1545		1269.208								1545		456896.091						1545		602970.987				601444.316

				456895.939		602971.975		1546		1269.232								1546		456895.939						1546		602971.975				601444.316

				456895.788		602972.963		1547		1269.256								1547		456895.788						1547		602972.963				601444.316

				456895.637		602973.951		1548		1269.28								1548		456895.637						1548		602973.951				601444.316

				456895.486		602974.939		1549		1269.304								1549		456895.486						1549		602974.939				601444.316

				456895.335		602975.927		1550		1269.327								1550		456895.335						1550		602975.927				601444.316

				456895.184		602976.915		1551		1269.348								1551		456895.184						1551		602976.915				601444.316

				456895.033		602977.904		1552		1269.348								1552		456895.033						1552		602977.904				601444.316

				456894.882		602978.892		1553		1269.37								1553		456894.882						1553		602978.892				601444.316

				456894.731		602979.88		1554		1269.393								1554		456894.731						1554		602979.88				601444.316

				456894.579		602980.868		1555		1269.416								1555		456894.579						1555		602980.868				601444.316

				456894.428		602981.856		1556		1269.439								1556		456894.428						1556		602981.856				601444.316

				456894.277		602982.844		1557		1269.462								1557		456894.277						1557		602982.844				601444.316

				456894.126		602983.832		1558		1269.485								1558		456894.126						1558		602983.832				601444.316

				456893.975		602984.82		1559		1269.485								1559		456893.975						1559		602984.82				601444.316

				456893.824		602985.809		1560		1269.513								1560		456893.824						1560		602985.809				601444.316

				456893.673		602986.797		1561		1269.536								1561		456893.673						1561		602986.797				601444.316

				456893.522		602987.785		1562		1269.559								1562		456893.522						1562		602987.785				601444.316

				456893.371		602988.773		1563		1269.582								1563		456893.371						1563		602988.773				601444.316

				456893.22		602989.761		1564		1269.605								1564		456893.22						1564		602989.761				601444.316

				456893.068		602990.749		1565		1269.628								1565		456893.068						1565		602990.749				601444.316

				456892.917		602991.737		1566		1269.651								1566		456892.917						1566		602991.737				601444.316

				456892.766		602992.726		1567		1269.651								1567		456892.766						1567		602992.726				601444.316

				456892.615		602993.714		1568		1269.674								1568		456892.615						1568		602993.714				601444.316

				456892.464		602994.702		1569		1269.702								1569		456892.464						1569		602994.702				601444.316

				456892.313		602995.69		1570		1269.725								1570		456892.313						1570		602995.69				601444.316

				456892.162		602996.678		1571		1269.748								1571		456892.162						1571		602996.678				601444.316

				456892.011		602997.666		1572		1269.771								1572		456892.011						1572		602997.666				601444.316

				456891.86		602998.654		1573		1269.793								1573		456891.86						1573		602998.654				601444.316

				456891.708		602999.643		1574		1269.816								1574		456891.708						1574		602999.643				601444.316

				456891.557		603000.631		1575		1269.816								1575		456891.557						1575		603000.631				601444.316

				456891.406		603001.619		1576		1269.839								1576		456891.406						1576		603001.619				601444.316

				456891.255		603002.607		1577		1269.862								1577		456891.255						1577		603002.607				601444.316

				456891.104		603003.595		1578		1269.89								1578		456891.104						1578		603003.595				601444.316

				456890.953		603004.583		1579		1269.913								1579		456890.953						1579		603004.583				601444.316

				456890.802		603005.571		1580		1269.936								1580		456890.802						1580		603005.571				601444.316

				456890.651		603006.559		1581		1269.959								1581		456890.651						1581		603006.559				601444.316

				456890.5		603007.548		1582		1269.982								1582		456890.5						1582		603007.548				601444.316

				456890.349		603008.536		1583		1269.982								1583		456890.349						1583		603008.536				601444.316

				456890.197		603009.524		1584		1270								1584		456890.197						1584		603009.524				601444.316

				456890.046		603010.512		1585		1270								1585		456890.046						1585		603010.512				601444.316

				456889.895		603011.5		1586		1270								1586		456889.895						1586		603011.5				601444.316

				456889.744		603012.488		1587		1270								1587		456889.744						1587		603012.488				601444.316

				456889.593		603013.476		1588		1270								1588		456889.593						1588		603013.476				601444.316

				456889.442		603014.465		1589		1270.013								1589		456889.442						1589		603014.465				601444.316

				456889.291		603015.453		1590		1270.013								1590		456889.291						1590		603015.453				601444.316

				456889.14		603016.441		1591		1270.041								1591		456889.14						1591		603016.441				601444.316

				456888.989		603017.429		1592		1270.068								1592		456888.989						1592		603017.429				601444.316

				456888.837		603018.417		1593		1270.096								1593		456888.837						1593		603018.417				601444.316

				456888.686		603019.405		1594		1270.12								1594		456888.686						1594		603019.405				601444.316

				456888.535		603020.393		1595		1270.133								1595		456888.535						1595		603020.393				601444.316

				456888.384		603021.381		1596		1270.161								1596		456888.384						1596		603021.381				601444.316

				456888.233		603022.37		1597		1270.183								1597		456888.233						1597		603022.37				601444.316

				456888.082		603023.358		1598		1270.183								1598		456888.082						1598		603023.358				601444.316

				456887.931		603024.346		1599		1270.206								1599		456887.931						1599		603024.346				601444.316

				456887.78		603025.334		1600		1270.223								1600		456887.78						1600		603025.334				601444.316

				456887.629		603026.322		1601		1270.243								1601		456887.629						1601		603026.322				601444.316

				456887.478		603027.31		1602		1270.269								1602		456887.478						1602		603027.31				601444.316

				456887.326		603028.298		1603		1270.296								1603		456887.326						1603		603028.298				601444.316

				456887.175		603029.287		1604		1270.314								1604		456887.175						1604		603029.287				601444.316

				456887.024		603030.275		1605		1270.338								1605		456887.024						1605		603030.275				601444.316

				456886.873		603031.263		1606		1270.338								1606		456886.873						1606		603031.263				601444.316

				456886.722		603032.251		1607		1270.353								1607		456886.722						1607		603032.251				601444.316

				456886.571		603033.239		1608		1270.374								1608		456886.571						1608		603033.239				601444.316

				456886.42		603034.227		1609		1270.397								1609		456886.42						1609		603034.227				601444.316

				456886.269		603035.215		1610		1270.42								1610		456886.269						1610		603035.215				601444.316

				456886.118		603036.204		1611		1270.443								1611		456886.118						1611		603036.204				601444.316

				456885.966		603037.192		1612		1270.465								1612		456885.966						1612		603037.192				601444.316

				456885.815		603038.18		1613		1270.48								1613		456885.815						1613		603038.18				601444.316

				456885.664		603039.168		1614		1270.48								1614		456885.664						1614		603039.168				601444.316

				456885.513		603040.156		1615		1270.503								1615		456885.513						1615		603040.156				601444.316

				456885.362		603041.144		1616		1270.526								1616		456885.362						1616		603041.144				601444.316

				456885.211		603042.132		1617		1270.548								1617		456885.211						1617		603042.132				601444.316

				456885.06		603043.12		1618		1270.571								1618		456885.06						1618		603043.12				601444.316

				456884.909		603044.109		1619		1270.594								1619		456884.909						1619		603044.109				601444.316

				456884.758		603045.097		1620		1270.617								1620		456884.758						1620		603045.097				601444.316

				456884.607		603046.085		1621		1270.617								1621		456884.607						1621		603046.085				601444.316

				456884.455		603047.073		1622		1270.632								1622		456884.455						1622		603047.073				601444.316

				456884.304		603048.061		1623		1270.654								1623		456884.304						1623		603048.061				601444.316

				456884.153		603049.049		1624		1270.677								1624		456884.153						1624		603049.049				601444.316

				456884.002		603050.037		1625		1270.7								1625		456884.002						1625		603050.037				601444.316

				456883.851		603051.026		1626		1270.723								1626		456883.851						1626		603051.026				601444.316

				456883.7		603052.014		1627		1270.745								1627		456883.7						1627		603052.014				601444.316

				456883.549		603053.002		1628		1270.768								1628		456883.549						1628		603053.002				601444.316

				456883.398		603053.99		1629		1270.768								1629		456883.398						1629		603053.99				601444.316

				456883.247		603054.978		1630		1270.791								1630		456883.247						1630		603054.978				601444.316

				456883.095		603055.966		1631		1270.806								1631		456883.095						1631		603055.966				601444.316

				456882.944		603056.954		1632		1270.829								1632		456882.944						1632		603056.954				601444.316

				456882.793		603057.943		1633		1270.852								1633		456882.793						1633		603057.943				601444.316

				456882.642		603058.931		1634		1270.874								1634		456882.642						1634		603058.931				601444.316

				456882.491		603059.919		1635		1270.897								1635		456882.491						1635		603059.919				601444.316

				456882.34		603060.907		1636		1270.92								1636		456882.34						1636		603060.907				601444.316

				456882.189		603061.895		1637		1270.92								1637		456882.189						1637		603061.895				601444.316

				456882.038		603062.883		1638		1270.943								1638		456882.038						1638		603062.883				601444.316

				456881.887		603063.871		1639		1270.965								1639		456881.887						1639		603063.871				601444.316

				456881.736		603064.859		1640		1270.98								1640		456881.736						1640		603064.859				601444.316

				456881.584		603065.848		1641		1271								1641		456881.584						1641		603065.848				601444.316

				456881.433		603066.836		1642		1271								1642		456881.433						1642		603066.836				601444.316

				456881.282		603067.824		1643		1271								1643		456881.282						1643		603067.824				601444.316

				456881.131		603068.812		1644		1271								1644		456881.131						1644		603068.812				601444.316

				456880.98		603069.8		1645		1271								1645		456880.98						1645		603069.8				601444.316

				456880.829		603070.788		1646		1271								1646		456880.829						1646		603070.788				601444.316

				456880.678		603071.776		1647		1271								1647		456880.678						1647		603071.776				601444.316

				456880.527		603072.765		1648		1271								1648		456880.527						1648		603072.765				601444.316

				456880.376		603073.753		1649		1271								1649		456880.376						1649		603073.753				601444.316

				456880.224		603074.741		1650		1271								1650		456880.224						1650		603074.741				601444.316

				456880.073		603075.729		1651		1271								1651		456880.073						1651		603075.729				601444.316

				456879.922		603076.717		1652		1271								1652		456879.922						1652		603076.717				601444.316

				456879.771		603077.705		1653		1271								1653		456879.771						1653		603077.705				601444.316

				456879.62		603078.693		1654		1271								1654		456879.62						1654		603078.693				601444.316

				456879.469		603079.682		1655		1271.001								1655		456879.469						1655		603079.682				601444.316

				456879.318		603080.67		1656		1271.021								1656		456879.318						1656		603080.67				601444.316

				456879.167		603081.658		1657		1271.039								1657		456879.167						1657		603081.658				601444.316

				456879.016		603082.646		1658		1271.059								1658		456879.016						1658		603082.646				601444.316

				456878.865		603083.634		1659		1271.075								1659		456878.865						1659		603083.634				601444.316

				456878.713		603084.622		1660		1271.075								1660		456878.713						1660		603084.622				601444.316

				456878.562		603085.61		1661		1271.093								1661		456878.562						1661		603085.61				601444.316

				456878.411		603086.598		1662		1271.11								1662		456878.411						1662		603086.598				601444.316

				456878.26		603087.587		1663		1271.128								1663		456878.26						1663		603087.587				601444.316

				456878.109		603088.575		1664		1271.146								1664		456878.109						1664		603088.575				601444.316

				456877.958		603089.563		1665		1271.164								1665		456877.958						1665		603089.563				601444.316

				456877.807		603090.551		1666		1271.183								1666		456877.807						1666		603090.551				601444.316

				456877.656		603091.539		1667		1271.201								1667		456877.656						1667		603091.539				601444.316

				456877.505		603092.527		1668		1271.201								1668		456877.505						1668		603092.527				601444.316

				456877.353		603093.515		1669		1271.219								1669		456877.353						1669		603093.515				601444.316

				456877.202		603094.504		1670		1271.237								1670		456877.202						1670		603094.504				601444.316

				456877.051		603095.492		1671		1271.255								1671		456877.051						1671		603095.492				601444.316

				456876.9		603096.48		1672		1271.273								1672		456876.9						1672		603096.48				601444.316

				456876.749		603097.468		1673		1271.29								1673		456876.749						1673		603097.468				601444.316

				456876.598		603098.456		1674		1271.308								1674		456876.598						1674		603098.456				601444.316

				456876.447		603099.444		1675		1271.31								1675		456876.447						1675		603099.444				601444.316

				456876.296		603100.432		1676		1271.328								1676		456876.296						1676		603100.432				601444.316

				456876.145		603101.421		1677		1271.346								1677		456876.145						1677		603101.421				601444.316

				456875.994		603102.409		1678		1271.364								1678		456875.994						1678		603102.409				601444.316

				456875.842		603103.397		1679		1271.381								1679		456875.842						1679		603103.397				601444.316

				456875.691		603104.385		1680		1271.399								1680		456875.691						1680		603104.385				601444.316

				456875.54		603105.373		1681		1271.417								1681		456875.54						1681		603105.373				601444.316

				456875.389		603106.361		1682		1271.435								1682		456875.389						1682		603106.361				601444.316

				456875.238		603107.349		1683		1271.435								1683		456875.238						1683		603107.349				601444.316

				456875.087		603108.337		1684		1271.454								1684		456875.087						1684		603108.337				601444.316

				456874.936		603109.326		1685		1271.472								1685		456874.936						1685		603109.326				601444.316

				456874.785		603110.314		1686		1271.49								1686		456874.785						1686		603110.314				601444.316

				456874.634		603111.302		1687		1271.508								1687		456874.634						1687		603111.302				601444.316

				456874.482		603112.29		1688		1271.526								1688		456874.482						1688		603112.29				601444.316

				456874.331		603113.278		1689		1271.543								1689		456874.331						1689		603113.278				601444.316

				456874.18		603114.266		1690		1271.561								1690		456874.18						1690		603114.266				601444.316

				456874.029		603115.254		1691		1271.561								1691		456874.029						1691		603115.254				601444.316

				456873.878		603116.243		1692		1271.579								1692		456873.878						1692		603116.243				601444.316

				456873.727		603117.231		1693		1271.599								1693		456873.727						1693		603117.231				601444.316

				456873.576		603118.219		1694		1271.616								1694		456873.576						1694		603118.219				601444.316

				456873.425		603119.207		1695		1271.634								1695		456873.425						1695		603119.207				601444.316

				456873.274		603120.195		1696		1271.652								1696		456873.274						1696		603120.195				601444.316

				456873.123		603121.183		1697		1271.67								1697		456873.123						1697		603121.183				601444.316

				456872.971		603122.171		1698		1271.688								1698		456872.971						1698		603122.171				601444.316

				456872.82		603123.16		1699		1271.688								1699		456872.82						1699		603123.16				601444.316

				456872.669		603124.148		1700		1271.706								1700		456872.669						1700		603124.148				601444.316

				456872.518		603125.136		1701		1271.723								1701		456872.518						1701		603125.136				601444.316

				456872.367		603126.124		1702		1271.743								1702		456872.367						1702		603126.124				601444.316

				456872.216		603127.112		1703		1271.761								1703		456872.216						1703		603127.112				601444.316

				456872.065		603128.1		1704		1271.779								1704		456872.065						1704		603128.1				601444.316

				456871.914		603129.088		1705		1271.797								1705		456871.914						1705		603129.088				601444.316

				456871.763		603130.076		1706		1271.797								1706		456871.763						1706		603130.076				601444.316

				456871.611		603131.065		1707		1271.814								1707		456871.611						1707		603131.065				601444.316

				456871.46		603132.053		1708		1271.832								1708		456871.46						1708		603132.053				601444.316

				456871.309		603133.041		1709		1271.85								1709		456871.309						1709		603133.041				601444.316

				456871.158		603134.029		1710		1271.868								1710		456871.158						1710		603134.029				601444.316

				456871.007		603135.017		1711		1271.887								1711		456871.007						1711		603135.017				601444.316

				456870.856		603136.005		1712		1271.905								1712		456870.856						1712		603136.005				601444.316

				456870.705		603136.993		1713		1271.923								1713		456870.705						1713		603136.993				601444.316

				456870.554		603137.982		1714		1271.923								1714		456870.554						1714		603137.982				601444.316

				456870.403		603138.97		1715		1271.941								1715		456870.403						1715		603138.97				601444.316

				456870.252		603139.958		1716		1271.959								1716		456870.252						1716		603139.958				601444.316

				456870.1		603140.946		1717		1271.976								1717		456870.1						1717		603140.946				601444.316

				456869.949		603141.934		1718		1271.994								1718		456869.949						1718		603141.934				601444.316

				456869.798		603142.922		1719		1272								1719		456869.798						1719		603142.922				601444.316

				456869.647		603143.91		1720		1272								1720		456869.647						1720		603143.91				601444.316

				456869.496		603144.899		1721		1272								1721		456869.496						1721		603144.899				601444.316

				456869.345		603145.887		1722		1272								1722		456869.345						1722		603145.887				601444.316

				456869.194		603146.875		1723		1272								1723		456869.194						1723		603146.875				601444.316

				456869.043		603147.863		1724		1272								1724		456869.043						1724		603147.863				601444.316

				456868.892		603148.851		1725		1272								1725		456868.892						1725		603148.851				601444.316

				456868.74		603149.839		1726		1272								1726		456868.74						1726		603149.839				601444.316

				456868.589		603150.827		1727		1272								1727		456868.589						1727		603150.827				601444.316

				456868.438		603151.815		1728		1272								1728		456868.438						1728		603151.815				601444.316

				456868.287		603152.804		1729		1272								1729		456868.287						1729		603152.804				601444.316

				456868.136		603153.792		1730		1272								1730		456868.136						1730		603153.792				601444.316

				456867.985		603154.78		1731		1272								1731		456867.985						1731		603154.78				601444.316

				456867.834		603155.768		1732		1272								1732		456867.834						1732		603155.768				601444.316

				456867.683		603156.756		1733		1272								1733		456867.683						1733		603156.756				601444.316

				456867.532		603157.744		1734		1272								1734		456867.532						1734		603157.744				601444.316

				456867.38		603158.732		1735		1272								1735		456867.38						1735		603158.732				601444.316

				456867.229		603159.721		1736		1272								1736		456867.229						1736		603159.721				601444.316

				456867.078		603160.709		1737		1272								1737		456867.078						1737		603160.709				601444.316

				456866.927		603161.697		1738		1272								1738		456866.927						1738		603161.697				601444.316

				456866.776		603162.685		1739		1272								1739		456866.776						1739		603162.685				601444.316

				456866.625		603163.673		1740		1272								1740		456866.625						1740		603163.673				601444.316

				456866.474		603164.661		1741		1272								1741		456866.474						1741		603164.661				601444.316

				456866.323		603165.649		1742		1272								1742		456866.323						1742		603165.649				601444.316

				456866.284		603165.902		1742.3		1272								1742.3		456866.284						1742.3		603165.902				601444.316





Dam Axis

				X		Y		Distance (Total)		Elevation						Elevation		Distance (Total)		X						Distance (Total)		Y						Dam Axis OGL

				456674.716		601384.733		0		1271.999				0		1271.999		0		456674.716		0		456674.716		0		601384.733		0		601384.733		0		456674.716		601384.733		1271.999

				456675.707		601384.863		1		1271.918				10		1271.195		1		456675.707		10		456684.627		1		601384.863		10		601386.031		10		456684.627		601386.031		1271.195

				456676.698		601384.993		2		1271.837				20		1270.503		2		456676.698		20		456694.539		2		601384.993		20		601387.33		20		456694.539		601387.33		1270.503

				456677.689		601385.122		3		1271.756				30		1269.849		3		456677.689		30		456704.45		3		601385.122		30		601388.628		30		456704.45		601388.628		1269.849

				456678.68		601385.252		4		1271.676				40		1269.215		4		456678.68		40		456714.362		4		601385.252		40		601389.927		40		456714.362		601389.927		1269.215

				456679.672		601385.382		5		1271.596				50		1268.585		5		456679.672		50		456724.274		5		601385.382		50		601391.225		50		456724.274		601391.225		1268.585

				456680.663		601385.512		6		1271.516				60		1267.951		6		456680.663		60		456734.185		6		601385.512		60		601392.523		60		456734.185		601392.523		1267.951

				456681.654		601385.642		7		1271.437				70		1267.263		7		456681.654		70		456744.097		7		601385.642		70		601393.822		70		456744.097		601393.822		1267.263

				456682.645		601385.772		8		1271.356				80		1266.62		8		456682.645		80		456754.008		8		601385.772		80		601395.12		80		456754.008		601395.12		1266.62

				456683.636		601385.902		9		1271.275				90		1266.025		9		456683.636		90		456763.92		9		601385.902		90		601396.419		90		456763.92		601396.419		1266.025

				456684.627		601386.031		10		1271.195				100		1265.432		10		456684.627		100		456773.831		10		601386.031		100		601397.717		100		456773.831		601397.717		1265.432

				456685.619		601386.161		11		1271.116				110		1264.818		11		456685.619		110		456783.743		11		601386.161		110		601399.016		110		456783.743		601399.016		1264.818

				456686.61		601386.291		12		1271.037				120		1264.209		12		456686.61		120		456793.654		12		601386.291		120		601400.314		120		456793.654		601400.314		1264.209

				456687.601		601386.421		13		1270.966				130		1263.61		13		456687.601		130		456803.566		13		601386.421		130		601401.612		130		456803.566		601401.612		1263.61

				456688.592		601386.551		14		1270.899				140		1263.018		14		456688.592		140		456813.477		14		601386.551		140		601402.911		140		456813.477		601402.911		1263.018

				456689.583		601386.681		15		1270.833				150		1262.457		15		456689.583		150		456823.389		15		601386.681		150		601404.209		150		456823.389		601404.209		1262.457

				456690.574		601386.81		16		1270.767				160		1261.914		16		456690.574		160		456833.301		16		601386.81		160		601405.508		160		456833.301		601405.508		1261.914

				456691.565		601386.94		17		1270.701				170		1261.36		17		456691.565		170		456843.212		17		601386.94		170		601406.806		170		456843.212		601406.806		1261.36

				456692.557		601387.07		18		1270.635				180		1260.797		18		456692.557		180		456853.124		18		601387.07		180		601408.104		180		456853.124		601408.104		1260.797

				456693.548		601387.2		19		1270.569				190		1260.242		19		456693.548		190		456863.035		19		601387.2		190		601409.403		190		456863.035		601409.403		1260.242

				456694.539		601387.33		20		1270.503				200		1259.696		20		456694.539		200		456872.947		20		601387.33		200		601410.701		200		456872.947		601410.701		1259.696

				456695.53		601387.46		21		1270.437				210		1259.184		21		456695.53		210		456882.858		21		601387.46		210		601412		210		456882.858		601412		1259.184

				456696.521		601387.589		22		1270.37				220		1258.754		22		456696.521		220		456892.77		22		601387.589		220		601413.298		220		456892.77		601413.298		1258.754

				456697.512		601387.719		23		1270.304				230		1258.364		23		456697.512		230		456902.681		23		601387.719		230		601414.597		230		456902.681		601414.597		1258.364

				456698.504		601387.849		24		1270.238				240		1257.961		24		456698.504		240		456912.593		24		601387.849		240		601415.895		240		456912.593		601415.895		1257.961

				456699.495		601387.979		25		1270.172				250		1257.079		25		456699.495		250		456922.504		25		601387.979		250		601417.193		250		456922.504		601417.193		1257.079

				456700.486		601388.109		26		1270.106				260		1256.833		26		456700.486		260		456932.416		26		601388.109		260		601418.492		260		456932.416		601418.492		1256.833

				456701.477		601388.239		27		1270.04				270		1256.646		27		456701.477		270		456942.328		27		601388.239		270		601419.79		270		456942.328		601419.79		1256.646

				456702.468		601388.368		28		1269.975				280		1256.449		28		456702.468		280		456952.239		28		601388.368		280		601421.089		280		456952.239		601421.089		1256.449

				456703.459		601388.498		29		1269.911				290		1256.252		29		456703.459		290		456962.151		29		601388.498		290		601422.387		290		456962.151		601422.387		1256.252

				456704.45		601388.628		30		1269.849				300		1256.055		30		456704.45		300		456972.062		30		601388.628		300		601423.685		300		456972.062		601423.685		1256.055

				456705.442		601388.758		31		1269.785				310		1256		31		456705.442		310		456981.974		31		601388.758		310		601424.984		310		456981.974		601424.984		1256

				456706.433		601388.888		32		1269.722				320		1255.227		32		456706.433		320		456991.885		32		601388.888		320		601426.282		320		456991.885		601426.282		1255.227

				456707.424		601389.018		33		1269.659				330		1255		33		456707.424		330		457001.797		33		601389.018		330		601427.581		330		457001.797		601427.581		1255

				456708.415		601389.148		34		1269.596				340		1255		34		456708.415		340		457011.708		34		601389.148		340		601428.879		340		457011.708		601428.879		1255

				456709.406		601389.277		35		1269.533				350		1255.366		35		456709.406		350		457021.62		35		601389.277		350		601430.178		350		457021.62		601430.178		1255.366

				456710.397		601389.407		36		1269.469				360		1255.975		36		456710.397		360		457031.531		36		601389.407		360		601431.476		360		457031.531		601431.476		1255.975

				456711.389		601389.537		37		1269.406				370		1255.9		37		456711.389		370		457041.443		37		601389.537		370		601432.774		370		457041.443		601432.774		1255.9

				456712.38		601389.667		38		1269.342				380		1255.684		38		456712.38		380		457051.355		38		601389.667		380		601434.073		380		457051.355		601434.073		1255.684

				456713.371		601389.797		39		1269.279				390		1255.47		39		456713.371		390		457061.266		39		601389.797		390		601435.371		390		457061.266		601435.371		1255.47

				456714.362		601389.927		40		1269.215				400		1255.246		40		456714.362		400		457071.178		40		601389.927		400		601436.67		400		457071.178		601436.67		1255.246

				456715.353		601390.056		41		1269.151				410		1255.022		41		456715.353		410		457081.089		41		601390.056		410		601437.968		410		457081.089		601437.968		1255.022

				456716.344		601390.186		42		1269.088				420		1255		42		456716.344		420		457091.001		42		601390.186		420		601439.266		420		457091.001		601439.266		1255

				456717.335		601390.316		43		1269.024				430		1255		43		456717.335		430		457100.912		43		601390.316		430		601440.565		430		457100.912		601440.565		1255

				456718.327		601390.446		44		1268.961				440		1255		44		456718.327		440		457110.824		44		601390.446		440		601441.863		440		457110.824		601441.863		1255

				456719.318		601390.576		45		1268.899				450		1254.826		45		456719.318		450		457120.735		45		601390.576		450		601443.162		450		457120.735		601443.162		1254.826

				456720.309		601390.706		46		1268.836				460		1254.553		46		456720.309		460		457130.647		46		601390.706		460		601444.46		460		457130.647		601444.46		1254.553

				456721.3		601390.835		47		1268.773				470		1254.277		47		456721.3		470		457140.558		47		601390.835		470		601445.758		470		457140.558		601445.758		1254.277

				456722.291		601390.965		48		1268.711				480		1254.01		48		456722.291		480		457150.47		48		601390.965		480		601447.057		480		457150.47		601447.057		1254.01

				456723.282		601391.095		49		1268.648				490		1254		49		456723.282		490		457160.381		49		601391.095		490		601448.355		490		457160.381		601448.355		1254

				456724.274		601391.225		50		1268.585				500		1254		50		456724.274		500		457170.293		50		601391.225		500		601449.654		500		457170.293		601449.654		1254

				456725.265		601391.355		51		1268.522				510		1254.185		51		456725.265		510		457180.205		51		601391.355		510		601450.952		510		457180.205		601450.952		1254.185

				456726.256		601391.485		52		1268.459				520		1254.212		52		456726.256		520		457190.116		52		601391.485		520		601452.251		520		457190.116		601452.251		1254.212

				456727.247		601391.615		53		1268.396				530		1254.002		53		456727.247		530		457200.028		53		601391.615		530		601453.549		530		457200.028		601453.549		1254.002

				456728.238		601391.744		54		1268.333				540		1254		54		456728.238		540		457209.939		54		601391.744		540		601454.847		540		457209.939		601454.847		1254

				456729.229		601391.874		55		1268.27				550		1254.198		55		456729.229		550		457219.851		55		601391.874		550		601456.146		550		457219.851		601456.146		1254.198

				456730.221		601392.004		56		1268.207				560		1254.512		56		456730.221		560		457229.762		56		601392.004		560		601457.444		560		457229.762		601457.444		1254.512

				456731.212		601392.134		57		1268.144				570		1254.94		57		456731.212		570		457239.674		57		601392.134		570		601458.743		570		457239.674		601458.743		1254.94

				456732.203		601392.264		58		1268.081				580		1255.537		58		456732.203		580		457249.585		58		601392.264		580		601460.041		580		457249.585		601460.041		1255.537

				456733.194		601392.394		59		1268.017				590		1256.196		59		456733.194		590		457259.497		59		601392.394		590		601461.339		590		457259.497		601461.339		1256.196

				456734.185		601392.523		60		1267.951				600		1256.893		60		456734.185		600		457269.408		60		601392.523		600		601462.638		600		457269.408		601462.638		1256.893

				456735.176		601392.653		61		1267.882				610		1257.725		61		456735.176		610		457279.32		61		601392.653		610		601463.936		610		457279.32		601463.936		1257.725

				456736.167		601392.783		62		1267.814		TC		620		1258.635		62		456736.167		620		457289.232		62		601392.783		620		601465.235		620		457289.232		601465.235		1258.635

				456737.159		601392.913		63		1267.745				630		1259.529		63		456737.159		630		457299.143		63		601392.913		630		601466.533		630		457299.143		601466.533		1259.529

				456738.15		601393.043		64		1267.676				640		1260.317		64		456738.15		640		457309.055		64		601393.043		640		601467.832		640		457309.055		601467.832		1260.317

				456739.141		601393.173		65		1267.607				650		1261.008		65		456739.141		650		457318.966		65		601393.173		650		601469.13		650		457318.966		601469.13		1261.008

				456740.132		601393.302		66		1267.538				660		1261.635		66		456740.132		660		457328.878		66		601393.302		660		601470.428		660		457328.878		601470.428		1261.635

				456741.123		601393.432		67		1267.469				670		1262.269		67		456741.123		670		457338.789		67		601393.432		670		601471.727		670		457338.789		601471.727		1262.269

				456742.114		601393.562		68		1267.401				680		1262.901		68		456742.114		680		457348.701		68		601393.562		680		601473.025		680		457348.701		601473.025		1262.901

				456743.106		601393.692		69		1267.332				690		1263.527		69		456743.106		690		457358.612		69		601393.692		690		601474.324		690		457358.612		601474.324		1263.527

				456744.097		601393.822		70		1267.263				700		1264.145		70		456744.097		700		457368.524		70		601393.822		700		601475.622		700		457368.524		601475.622		1264.145

				456745.088		601393.952		71		1267.194				710		1264.744		71		456745.088		710		457378.435		71		601393.952		710		601476.92		710		457378.435		601476.92		1264.744

				456746.079		601394.082		72		1267.125				720		1265.34		72		456746.079		720		457388.347		72		601394.082		720		601478.219		720		457388.347		601478.219		1265.34

				456747.07		601394.211		73		1267.056				730		1265.925		73		456747.07		730		457398.259		73		601394.211		730		601479.517		730		457398.259		601479.517		1265.925

				456748.061		601394.341		74		1266.99				740		1266.524		74		456748.061		740		457408.17		74		601394.341		740		601480.816		740		457408.17		601480.816		1266.524

				456749.052		601394.471		75		1266.926				750		1267.122		75		456749.052		750		457418.082		75		601394.471		750		601482.114		750		457418.082		601482.114		1267.122

				456750.044		601394.601		76		1266.865				760		1267.746		76		456750.044		760		457427.993		76		601394.601		760		601483.413		760		457427.993		601483.413		1267.746

				456751.035		601394.731		77		1266.803				770		1268.411		77		456751.035		770		457437.905		77		601394.731		770		601484.711		770		457437.905		601484.711		1268.411

				456752.026		601394.861		78		1266.742				780		1269.108		78		456752.026		780		457447.816		78		601394.861		780		601486.009		780		457447.816		601486.009		1269.108

				456753.017		601394.99		79		1266.681				790		1269.814		79		456753.017		790		457457.728		79		601394.99		790		601487.308		790		457457.728		601487.308		1269.814

				456754.008		601395.12		80		1266.62				800		1270.58		80		456754.008		800		457467.639		80		601395.12		800		601488.606		800		457467.639		601488.606		1270.58

				456754.999		601395.25		81		1266.559				813.6		1271.992		81		456754.999		813.6		457481.117		81		601395.25		813.6		601490.372		813.6		457481.117		601490.372		1271.992

				456755.991		601395.38		82		1266.499						1271.999		82		456755.991		0		456674.716		82		601395.38		0		601384.733		0		456674.716		601384.733		1271.999

				456756.982		601395.51		83		1266.439						1271.999		83		456756.982		0		456674.716		83		601395.51		0		601384.733		0		456674.716		601384.733		1271.999

				456757.973		601395.64		84		1266.379						1271.999		84		456757.973		0		456674.716		84		601395.64		0		601384.733		0		456674.716		601384.733		1271.999

				456758.964		601395.769		85		1266.319						1271.999		85		456758.964		0		456674.716		85		601395.769		0		601384.733		0		456674.716		601384.733		1271.999

				456759.955		601395.899		86		1266.26						1271.999		86		456759.955		0		456674.716		86		601395.899		0		601384.733		0		456674.716		601384.733		1271.999

				456760.946		601396.029		87		1266.2						1271.999		87		456760.946		0		456674.716		87		601396.029		0		601384.733		0		456674.716		601384.733		1271.999

				456761.937		601396.159		88		1266.141						1271.999		88		456761.937		0		456674.716		88		601396.159		0		601384.733		0		456674.716		601384.733		1271.999

				456762.929		601396.289		89		1266.083						1271.999		89		456762.929		0		456674.716		89		601396.289		0		601384.733		0		456674.716		601384.733		1271.999

				456763.92		601396.419		90		1266.025						1271.999		90		456763.92		0		456674.716		90		601396.419		0		601384.733		0		456674.716		601384.733		1271.999

				456764.911		601396.549		91		1265.967						1271.999		91		456764.911		0		456674.716		91		601396.549		0		601384.733		0		456674.716		601384.733		1271.999

				456765.902		601396.678		92		1265.909						1271.999		92		456765.902		0		456674.716		92		601396.678		0		601384.733		0		456674.716		601384.733		1271.999

				456766.893		601396.808		93		1265.85						1271.999		93		456766.893		0		456674.716		93		601396.808		0		601384.733		0		456674.716		601384.733		1271.999

				456767.884		601396.938		94		1265.791						1271.999		94		456767.884		0		456674.716		94		601396.938		0		601384.733		0		456674.716		601384.733		1271.999

				456768.876		601397.068		95		1265.732						1271.999		95		456768.876		0		456674.716		95		601397.068		0		601384.733		0		456674.716		601384.733		1271.999

				456769.867		601397.198		96		1265.672						1271.999		96		456769.867		0		456674.716		96		601397.198		0		601384.733		0		456674.716		601384.733		1271.999

				456770.858		601397.328		97		1265.613						1271.999		97		456770.858		0		456674.716		97		601397.328		0		601384.733		0		456674.716		601384.733		1271.999

				456771.849		601397.457		98		1265.553						1271.999		98		456771.849		0		456674.716		98		601397.457		0		601384.733		0		456674.716		601384.733		1271.999

				456772.84		601397.587		99		1265.493						1271.999		99		456772.84		0		456674.716		99		601397.587		0		601384.733		0		456674.716		601384.733		1271.999

				456773.831		601397.717		100		1265.432						1271.999		100		456773.831		0		456674.716		100		601397.717		0		601384.733		0		456674.716		601384.733		1271.999

				456774.822		601397.847		101		1265.371						1271.999		101		456774.822		0		456674.716		101		601397.847		0		601384.733		0		456674.716		601384.733		1271.999

				456775.814		601397.977		102		1265.31						1271.999		102		456775.814		0		456674.716		102		601397.977		0		601384.733		0		456674.716		601384.733		1271.999

				456776.805		601398.107		103		1265.248						1271.999		103		456776.805		0		456674.716		103		601398.107		0		601384.733		0		456674.716		601384.733		1271.999

				456777.796		601398.236		104		1265.186						1271.999		104		456777.796		0		456674.716		104		601398.236		0		601384.733		0		456674.716		601384.733		1271.999

				456778.787		601398.366		105		1265.124						1271.999		105		456778.787		0		456674.716		105		601398.366		0		601384.733		0		456674.716		601384.733		1271.999

				456779.778		601398.496		106		1265.063						1271.999		106		456779.778		0		456674.716		106		601398.496		0		601384.733		0		456674.716		601384.733		1271.999

				456780.769		601398.626		107		1265.001						1271.999		107		456780.769		0		456674.716		107		601398.626		0		601384.733		0		456674.716		601384.733		1271.999

				456781.761		601398.756		108		1264.94						1271.999		108		456781.761		0		456674.716		108		601398.756		0		601384.733		0		456674.716		601384.733		1271.999

				456782.752		601398.886		109		1264.879						1271.999		109		456782.752		0		456674.716		109		601398.886		0		601384.733		0		456674.716		601384.733		1271.999

				456783.743		601399.016		110		1264.818						1271.999		110		456783.743		0		456674.716		110		601399.016		0		601384.733		0		456674.716		601384.733		1271.999

				456784.734		601399.145		111		1264.757						1271.999		111		456784.734		0		456674.716		111		601399.145		0		601384.733		0		456674.716		601384.733		1271.999

				456785.725		601399.275		112		1264.697						1271.999		112		456785.725		0		456674.716		112		601399.275		0		601384.733		0		456674.716		601384.733		1271.999

				456786.716		601399.405		113		1264.635						1271.999		113		456786.716		0		456674.716		113		601399.405		0		601384.733		0		456674.716		601384.733		1271.999

				456787.707		601399.535		114		1264.574						1271.999		114		456787.707		0		456674.716		114		601399.535		0		601384.733		0		456674.716		601384.733		1271.999

				456788.699		601399.665		115		1264.513						1271.999		115		456788.699		0		456674.716		115		601399.665		0		601384.733		0		456674.716		601384.733		1271.999

				456789.69		601399.795		116		1264.452						1271.999		116		456789.69		0		456674.716		116		601399.795		0		601384.733		0		456674.716		601384.733		1271.999

				456790.681		601399.924		117		1264.391						1271.999		117		456790.681		0		456674.716		117		601399.924		0		601384.733		0		456674.716		601384.733		1271.999

				456791.672		601400.054		118		1264.331						1271.999		118		456791.672		0		456674.716		118		601400.054		0		601384.733		0		456674.716		601384.733		1271.999

				456792.663		601400.184		119		1264.27						1271.999		119		456792.663		0		456674.716		119		601400.184		0		601384.733		0		456674.716		601384.733		1271.999

				456793.654		601400.314		120		1264.209						1271.999		120		456793.654		0		456674.716		120		601400.314		0		601384.733		0		456674.716		601384.733		1271.999

				456794.646		601400.444		121		1264.148						1271.999		121		456794.646		0		456674.716		121		601400.444		0		601384.733		0		456674.716		601384.733		1271.999

				456795.637		601400.574		122		1264.087						1271.999		122		456795.637		0		456674.716		122		601400.574		0		601384.733		0		456674.716		601384.733		1271.999

				456796.628		601400.703		123		1264.026						1271.999		123		456796.628		0		456674.716		123		601400.703		0		601384.733		0		456674.716		601384.733		1271.999

				456797.619		601400.833		124		1263.966						1271.999		124		456797.619		0		456674.716		124		601400.833		0		601384.733		0		456674.716		601384.733		1271.999

				456798.61		601400.963		125		1263.907						1271.999		125		456798.61		0		456674.716		125		601400.963		0		601384.733		0		456674.716		601384.733		1271.999

				456799.601		601401.093		126		1263.847						1271.999		126		456799.601		0		456674.716		126		601401.093		0		601384.733		0		456674.716		601384.733		1271.999

				456800.592		601401.223		127		1263.788						1271.999		127		456800.592		0		456674.716		127		601401.223		0		601384.733		0		456674.716		601384.733		1271.999

				456801.584		601401.353		128		1263.729						1271.999		128		456801.584		0		456674.716		128		601401.353		0		601384.733		0		456674.716		601384.733		1271.999

				456802.575		601401.483		129		1263.67						1271.999		129		456802.575		0		456674.716		129		601401.483		0		601384.733		0		456674.716		601384.733		1271.999

				456803.566		601401.612		130		1263.61						1271.999		130		456803.566		0		456674.716		130		601401.612		0		601384.733		0		456674.716		601384.733		1271.999

				456804.557		601401.742		131		1263.551						1271.999		131		456804.557		0		456674.716		131		601401.742		0		601384.733		0		456674.716		601384.733		1271.999

				456805.548		601401.872		132		1263.492						1271.999		132		456805.548		0		456674.716		132		601401.872		0		601384.733		0		456674.716		601384.733		1271.999

				456806.539		601402.002		133		1263.432						1271.999		133		456806.539		0		456674.716		133		601402.002		0		601384.733		0		456674.716		601384.733		1271.999

				456807.531		601402.132		134		1263.373						1271.999		134		456807.531		0		456674.716		134		601402.132		0		601384.733		0		456674.716		601384.733		1271.999

				456808.522		601402.262		135		1263.314						1271.999		135		456808.522		0		456674.716		135		601402.262		0		601384.733		0		456674.716		601384.733		1271.999

				456809.513		601402.391		136		1263.254						1271.999		136		456809.513		0		456674.716		136		601402.391		0		601384.733		0		456674.716		601384.733		1271.999

				456810.504		601402.521		137		1263.195						1271.999		137		456810.504		0		456674.716		137		601402.521		0		601384.733		0		456674.716		601384.733		1271.999

				456811.495		601402.651		138		1263.136						1271.999		138		456811.495		0		456674.716		138		601402.651		0		601384.733		0		456674.716		601384.733		1271.999

				456812.486		601402.781		139		1263.077						1271.999		139		456812.486		0		456674.716		139		601402.781		0		601384.733		0		456674.716		601384.733		1271.999

				456813.477		601402.911		140		1263.018						1271.999		140		456813.477		0		456674.716		140		601402.911		0		601384.733		0		456674.716		601384.733		1271.999

				456814.469		601403.041		141		1262.96						1271.999		141		456814.469		0		456674.716		141		601403.041		0		601384.733		0		456674.716		601384.733		1271.999

				456815.46		601403.17		142		1262.903						1271.999		142		456815.46		0		456674.716		142		601403.17		0		601384.733		0		456674.716		601384.733		1271.999

				456816.451		601403.3		143		1262.847						1271.999		143		456816.451		0		456674.716		143		601403.3		0		601384.733		0		456674.716		601384.733		1271.999

				456817.442		601403.43		144		1262.791						1271.999		144		456817.442		0		456674.716		144		601403.43		0		601384.733		0		456674.716		601384.733		1271.999

				456818.433		601403.56		145		1262.735						1271.999		145		456818.433		0		456674.716		145		601403.56		0		601384.733		0		456674.716		601384.733		1271.999

				456819.424		601403.69		146		1262.678						1271.999		146		456819.424		0		456674.716		146		601403.69		0		601384.733		0		456674.716		601384.733		1271.999

				456820.416		601403.82		147		1262.624						1271.999		147		456820.416		0		456674.716		147		601403.82		0		601384.733		0		456674.716		601384.733		1271.999

				456821.407		601403.949		148		1262.568						1271.999		148		456821.407		0		456674.716		148		601403.949		0		601384.733		0		456674.716		601384.733		1271.999

				456822.398		601404.079		149		1262.513						1271.999		149		456822.398		0		456674.716		149		601404.079		0		601384.733		0		456674.716		601384.733		1271.999

				456823.389		601404.209		150		1262.457						1271.999		150		456823.389		0		456674.716		150		601404.209		0		601384.733		0		456674.716		601384.733		1271.999

				456824.38		601404.339		151		1262.402						1271.999		151		456824.38		0		456674.716		151		601404.339		0		601384.733		0		456674.716		601384.733		1271.999

				456825.371		601404.469		152		1262.348						1271.999		152		456825.371		0		456674.716		152		601404.469		0		601384.733		0		456674.716		601384.733		1271.999

				456826.362		601404.599		153		1262.294						1271.999		153		456826.362		0		456674.716		153		601404.599		0		601384.733		0		456674.716		601384.733		1271.999

				456827.354		601404.729		154		1262.238						1271.999		154		456827.354		0		456674.716		154		601404.729		0		601384.733		0		456674.716		601384.733		1271.999

				456828.345		601404.858		155		1262.184						1271.999		155		456828.345		0		456674.716		155		601404.858		0		601384.733		0		456674.716		601384.733		1271.999

				456829.336		601404.988		156		1262.13						1271.999		156		456829.336		0		456674.716		156		601404.988		0		601384.733		0		456674.716		601384.733		1271.999

				456830.327		601405.118		157		1262.076						1271.999		157		456830.327		0		456674.716		157		601405.118		0		601384.733		0		456674.716		601384.733		1271.999

				456831.318		601405.248		158		1262.022						1271.999		158		456831.318		0		456674.716		158		601405.248		0		601384.733		0		456674.716		601384.733		1271.999

				456832.309		601405.378		159		1261.968						1271.999		159		456832.309		0		456674.716		159		601405.378		0		601384.733		0		456674.716		601384.733		1271.999

				456833.301		601405.508		160		1261.914						1271.999		160		456833.301		0		456674.716		160		601405.508		0		601384.733		0		456674.716		601384.733		1271.999

				456834.292		601405.637		161		1261.86						1271.999		161		456834.292		0		456674.716		161		601405.637		0		601384.733		0		456674.716		601384.733		1271.999

				456835.283		601405.767		162		1261.803						1271.999		162		456835.283		0		456674.716		162		601405.767		0		601384.733		0		456674.716		601384.733		1271.999

				456836.274		601405.897		163		1261.748						1271.999		163		456836.274		0		456674.716		163		601405.897		0		601384.733		0		456674.716		601384.733		1271.999

				456837.265		601406.027		164		1261.694						1271.999		164		456837.265		0		456674.716		164		601406.027		0		601384.733		0		456674.716		601384.733		1271.999

				456838.256		601406.157		165		1261.64						1271.999		165		456838.256		0		456674.716		165		601406.157		0		601384.733		0		456674.716		601384.733		1271.999

				456839.247		601406.287		166		1261.583						1271.999		166		456839.247		0		456674.716		166		601406.287		0		601384.733		0		456674.716		601384.733		1271.999

				456840.239		601406.416		167		1261.526						1271.999		167		456840.239		0		456674.716		167		601406.416		0		601384.733		0		456674.716		601384.733		1271.999

				456841.23		601406.546		168		1261.471						1271.999		168		456841.23		0		456674.716		168		601406.546		0				0		456674.716		0		1271.999

				456842.221		601406.676		169		1261.416						1271.999		169		456842.221		0		456674.716		169		601406.676		0				0		456674.716		0		1271.999

				456843.212		601406.806		170		1261.36						1271.999		170		456843.212		0		456674.716		170		601406.806		0				0		456674.716		0		1271.999

				456844.203		601406.936		171		1261.303						1271.999		171		456844.203		0		456674.716		171		601406.936		0				0		456674.716		0		1271.999

				456845.194		601407.066		172		1261.246						1271.999		172		456845.194		0		456674.716		172		601407.066		0				0		456674.716		0		1271.999

				456846.186		601407.196		173		1261.19						1271.999		173		456846.186		0		456674.716		173		601407.196		0				0		456674.716		0		1271.999

				456847.177		601407.325		174		1261.134						1271.999		174		456847.177		0		456674.716		174		601407.325		0				0		456674.716		0		1271.999

				456848.168		601407.455		175		1261.077						1271.999		175		456848.168		0		456674.716		175		601407.455		0				0		456674.716		0		1271.999

				456849.159		601407.585		176		1261.02						1271.999		176		456849.159		0		456674.716		176		601407.585		0				0		456674.716		0		1271.999

				456850.15		601407.715		177		1260.964						1271.999		177		456850.15		0		456674.716		177		601407.715		0				0		456674.716		0		1271.999

				456851.141		601407.845		178		1260.908						1271.999		178		456851.141		0		456674.716		178		601407.845		0				0		456674.716		0		1271.999

				456852.132		601407.975		179		1260.853						1271.999		179		456852.132		0		456674.716		179		601407.975		0				0		456674.716		0		1271.999

				456853.124		601408.104		180		1260.797						1271.999		180		456853.124		0		456674.716		180		601408.104		0				0		456674.716		0		1271.999

				456854.115		601408.234		181		1260.742						1271.999		181		456854.115		0		456674.716		181		601408.234		0				0		456674.716		0		1271.999

				456855.106		601408.364		182		1260.687						1271.999		182		456855.106		0		456674.716		182		601408.364		0				0		456674.716		0		1271.999

				456856.097		601408.494		183		1260.631						1271.999		183		456856.097		0		456674.716		183		601408.494		0				0		456674.716		0		1271.999

				456857.088		601408.624		184		1260.576						1271.999		184		456857.088		0		456674.716		184		601408.624		0				0		456674.716		0		1271.999

				456858.079		601408.754		185		1260.52						1271.999		185		456858.079		0		456674.716		185		601408.754		0				0		456674.716		0		1271.999

				456859.071		601408.883		186		1260.464						1271.999		186		456859.071		0		456674.716		186		601408.883		0				0		456674.716		0		1271.999

				456860.062		601409.013		187		1260.409						1271.999		187		456860.062		0		456674.716		187		601409.013		0				0		456674.716		0		1271.999

				456861.053		601409.143		188		1260.353						1271.999		188		456861.053		0		456674.716		188		601409.143		0				0		456674.716		0		1271.999

				456862.044		601409.273		189		1260.298						1271.999		189		456862.044		0		456674.716		189		601409.273		0				0		456674.716		0		1271.999

				456863.035		601409.403		190		1260.242						1271.999		190		456863.035		0		456674.716		190		601409.403		0				0		456674.716		0		1271.999

				456864.026		601409.533		191		1260.186						1271.999		191		456864.026		0		456674.716		191		601409.533		0				0		456674.716		0		1271.999

				456865.017		601409.663		192		1260.131						1271.999		192		456865.017		0		456674.716		192		601409.663		0				0		456674.716		0		1271.999

				456866.009		601409.792		193		1260.075						1271.999		193		456866.009		0		456674.716		193		601409.792		0				0		456674.716		0		1271.999

				456867		601409.922		194		1260.02						1271.999		194		456867		0		456674.716		194		601409.922		0				0		456674.716		0		1271.999

				456867.991		601410.052		195		1259.964						1271.999		195		456867.991		0		456674.716		195		601410.052		0				0		456674.716		0		1271.999

				456868.982		601410.182		196		1259.91						1271.999		196		456868.982		0		456674.716		196		601410.182		0				0		456674.716		0		1271.999

				456869.973		601410.312		197		1259.856						1271.999		197		456869.973		0		456674.716		197		601410.312		0				0		456674.716		0		1271.999

				456870.964		601410.442		198		1259.802						1271.999		198		456870.964		0		456674.716		198		601410.442		0				0		456674.716		0		1271.999

				456871.956		601410.571		199		1259.749						1271.999		199		456871.956		0		456674.716		199		601410.571		0				0		456674.716		0		1271.999

				456872.947		601410.701		200		1259.696						1271.999		200		456872.947		0		456674.716		200		601410.701		0				0		456674.716		0		1271.999

				456873.938		601410.831		201		1259.644						1271.999		201		456873.938		0		456674.716		201		601410.831		0				0		456674.716		0		1271.999

				456874.929		601410.961		202		1259.592						1271.999		202		456874.929		0		456674.716		202		601410.961		0				0		456674.716		0		1271.999

				456875.92		601411.091		203		1259.54						1271.999		203		456875.92		0		456674.716		203		601411.091		0				0		456674.716		0		1271.999

				456876.911		601411.221		204		1259.489						1271.999		204		456876.911		0		456674.716		204		601411.221		0				0		456674.716		0		1271.999

				456877.902		601411.35		205		1259.439						1271.999		205		456877.902		0		456674.716		205		601411.35		0				0		456674.716		0		1271.999

				456878.894		601411.48		206		1259.388						1271.999		206		456878.894		0		456674.716		206		601411.48		0				0		456674.716		0		1271.999

				456879.885		601411.61		207		1259.337						1271.999		207		456879.885		0		456674.716		207		601411.61		0				0		456674.716		0		1271.999

				456880.876		601411.74		208		1259.286						1271.999		208		456880.876		0		456674.716		208		601411.74		0				0		456674.716		0		1271.999

				456881.867		601411.87		209		1259.235						1271.999		209		456881.867		0		456674.716		209		601411.87		0				0		456674.716		0		1271.999

				456882.858		601412		210		1259.184						1271.999		210		456882.858		0		456674.716		210		601412		0				0		456674.716		0		1271.999

				456883.849		601412.13		211		1259.133						1271.999		211		456883.849		0		456674.716		211		601412.13		0				0		456674.716		0		1271.999

				456884.841		601412.259		212		1259.083						1271.999		212		456884.841		0		456674.716		212		601412.259		0				0		456674.716		0		1271.999

				456885.832		601412.389		213		1259.033						1271.999		213		456885.832		0		456674.716		213		601412.389		0				0		456674.716		0		1271.999

				456886.823		601412.519		214		1258.987						1271.999		214		456886.823		0		456674.716		214		601412.519		0				0		456674.716		0		1271.999

				456887.814		601412.649		215		1258.948						1271.999		215		456887.814		0		456674.716		215		601412.649		0				0		456674.716		0		1271.999

				456888.805		601412.779		216		1258.909						1271.999		216		456888.805		0		456674.716		216		601412.779		0				0		456674.716		0		1271.999

				456889.796		601412.909		217		1258.869						1271.999		217		456889.796		0		456674.716		217		601412.909		0				0		456674.716		0		1271.999

				456890.788		601413.038		218		1258.83						1271.999		218		456890.788		0		456674.716		218		601413.038		0				0		456674.716		0		1271.999

				456891.779		601413.168		219		1258.792						1271.999		219		456891.779		0		456674.716		219		601413.168		0				0		456674.716		0		1271.999

				456892.77		601413.298		220		1258.754						1271.999		220		456892.77		0		456674.716		220		601413.298		0				0		456674.716		0		1271.999

				456893.761		601413.428		221		1258.715						1271.999		221		456893.761		0		456674.716		221		601413.428		0				0		456674.716		0		1271.999

				456894.752		601413.558		222		1258.676						1271.999		222		456894.752		0		456674.716		222		601413.558		0				0		456674.716		0		1271.999

				456895.743		601413.688		223		1258.637						1271.999		223		456895.743		0		456674.716		223		601413.688		0				0		456674.716		0		1271.999

				456896.734		601413.817		224		1258.598						1271.999		224		456896.734		0		456674.716		224		601413.817		0				0		456674.716		0		1271.999

				456897.726		601413.947		225		1258.559						1271.999		225		456897.726		0		456674.716		225		601413.947		0				0		456674.716		0		1271.999

				456898.717		601414.077		226		1258.52						1271.999		226		456898.717		0		456674.716		226		601414.077		0				0		456674.716		0		1271.999

				456899.708		601414.207		227		1258.481						1271.999		227		456899.708		0		456674.716		227		601414.207		0				0		456674.716		0		1271.999

				456900.699		601414.337		228		1258.442						1271.999		228		456900.699		0		456674.716		228		601414.337		0				0		456674.716		0		1271.999

				456901.69		601414.467		229		1258.403						1271.999		229		456901.69		0		456674.716		229		601414.467		0				0		456674.716		0		1271.999

				456902.681		601414.597		230		1258.364						1271.999		230		456902.681		0		456674.716		230		601414.597		0				0		456674.716		0		1271.999

				456903.673		601414.726		231		1258.325						1271.999		231		456903.673		0		456674.716		231		601414.726		0				0		456674.716		0		1271.999

				456904.664		601414.856		232		1258.286						1271.999		232		456904.664		0		456674.716		232		601414.856		0				0		456674.716		0		1271.999

				456905.655		601414.986		233		1258.247						1271.999		233		456905.655		0		456674.716		233		601414.986		0				0		456674.716		0		1271.999

				456906.646		601415.116		234		1258.209						1271.999		234		456906.646		0		456674.716		234		601415.116		0				0		456674.716		0		1271.999

				456907.637		601415.246		235		1258.17						1271.999		235		456907.637		0		456674.716		235		601415.246		0				0		456674.716		0		1271.999

				456908.628		601415.376		236		1258.131						1271.999		236		456908.628				456674.716		236		601415.376		0				0		456674.716		0		1271.999

				456909.619		601415.505		237		1258.092						1271.999		237		456909.619				456674.716		237		601415.505		0				0		456674.716		0		1271.999

				456910.611		601415.635		238		1258.053						1271.999		238		456910.611				456674.716		238		601415.635		0				0		456674.716		0		1271.999

				456911.602		601415.765		239		1258.016						1271.999		239		456911.602				456674.716		239		601415.765		0				0		456674.716		0		1271.999

				456912.593		601415.895		240		1257.961						1271.999		240		456912.593				456674.716		240		601415.895		0				0		456674.716		0		1271.999

				456913.584		601416.025		241		1257.889						1271.999		241		456913.584				456674.716		241		601416.025		0				0		456674.716		0		1271.999

				456914.575		601416.155		242		1257.796						1271.999		242		456914.575				456674.716		242		601416.155		0				0		456674.716		0		1271.999

				456915.566		601416.284		243		1257.701						1271.999		243		456915.566				456674.716		243		601416.284		0				0		456674.716		0		1271.999

				456916.558		601416.414		244		1257.606						1271.999		244		456916.558				456674.716		244		601416.414		0				0		456674.716		0		1271.999

				456917.549		601416.544		245		1257.512						1271.999		245		456917.549				456674.716		245		601416.544		0				0		456674.716		0		1271.999

				456918.54		601416.674		246		1257.419						1271.999		246		456918.54				456674.716		246		601416.674		0				0		456674.716		0		1271.999

				456919.531		601416.804		247		1257.329						1271.999		247		456919.531				456674.716		247		601416.804		0				0		456674.716		0		1271.999

				456920.522		601416.934		248		1257.243						1271.999		248		456920.522				456674.716		248		601416.934		0				0		456674.716		0		1271.999

				456921.513		601417.063		249		1257.16						1271.999		249		456921.513				456674.716		249		601417.063		0				0		456674.716		0		1271.999

				456922.504		601417.193		250		1257.079						1271.999		250		456922.504				456674.716		250		601417.193		0				0		456674.716		0		1271.999

				456923.496		601417.323		251		1257.028						1271.999		251		456923.496				456674.716		251		601417.323		0				0		456674.716		0		1271.999

				456924.487		601417.453		252		1257.001						1271.999		252		456924.487				456674.716		252		601417.453		0				0		456674.716		0		1271.999

				456925.478		601417.583		253		1257						1271.999		253		456925.478				456674.716		253		601417.583		0				0		456674.716		0		1271.999

				456926.469		601417.713		254		1256.993						1271.999		254		456926.469				456674.716		254		601417.713		0				0		456674.716		0		1271.999

				456927.46		601417.843		255		1256.971						1271.999		255		456927.46				456674.716		255		601417.843		0				0		456674.716		0		1271.999

				456928.451		601417.972		256		1256.943						1271.999		256		456928.451				456674.716		256		601417.972		0				0		456674.716		0		1271.999

				456929.443		601418.102		257		1256.915						1271.999		257		456929.443				456674.716		257		601418.102		0				0		456674.716		0		1271.999

				456930.434		601418.232		258		1256.887						1271.999		258		456930.434				456674.716		258		601418.232		0				0		456674.716		0		1271.999

				456931.425		601418.362		259		1256.859						1271.999		259		456931.425				456674.716		259		601418.362		0				0		456674.716		0		1271.999

				456932.416		601418.492		260		1256.833						1271.999		260		456932.416				456674.716		260		601418.492		0				0		456674.716		0		1271.999

				456933.407		601418.622		261		1256.811						1271.999		261		456933.407				456674.716		261		601418.622		0				0		456674.716		0		1271.999

				456934.398		601418.751		262		1256.792						1271.999		262		456934.398				456674.716		262		601418.751		0				0		456674.716		0		1271.999

				456935.389		601418.881		263		1256.774						1271.999		263		456935.389				456674.716		263		601418.881		0				0		456674.716		0		1271.999

				456936.381		601419.011		264		1256.757						1271.999		264		456936.381				456674.716		264		601419.011		0				0		456674.716		0		1271.999

				456937.372		601419.141		265		1256.742						1271.999		265		456937.372				456674.716		265		601419.141		0				0		456674.716		0		1271.999

				456938.363		601419.271		266		1256.724						1271.999		266		456938.363				456674.716		266		601419.271		0				0		456674.716		0		1271.999

				456939.354		601419.401		267		1256.705						1271.999		267		456939.354				456674.716		267		601419.401		0				0		456674.716		0		1271.999

				456940.345		601419.53		268		1256.685						1271.999		268		456940.345				456674.716		268		601419.53		0				0		456674.716		0		1271.999

				456941.336		601419.66		269		1256.666						1271.999		269		456941.336				456674.716		269		601419.66		0				0		456674.716		0		1271.999

				456942.328		601419.79		270		1256.646						1271.999		270		456942.328				456674.716		270		601419.79		0				0		456674.716		0		1271.999

				456943.319		601419.92		271		1256.626						1271.999		271		456943.319				456674.716		271		601419.92		0				0		456674.716		0		1271.999

				456944.31		601420.05		272		1256.606						1271.999		272		456944.31				456674.716		272		601420.05		0				0		456674.716		0		1271.999

				456945.301		601420.18		273		1256.587						1271.999		273		456945.301				456674.716		273		601420.18		0				0		456674.716		0		1271.999

				456946.292		601420.31		274		1256.567						1271.999		274		456946.292				456674.716		274		601420.31		0				0		456674.716		0		1271.999

				456947.283		601420.439		275		1256.547						1271.999		275		456947.283				456674.716		275		601420.439		0				0		456674.716		0		1271.999

				456948.274		601420.569		276		1256.528						1271.999		276		456948.274				456674.716		276		601420.569		0				0		456674.716		0		1271.999

				456949.266		601420.699		277		1256.508						1271.999		277		456949.266				456674.716		277		601420.699		0				0		456674.716		0		1271.999

				456950.257		601420.829		278		1256.488						1271.999		278		456950.257				456674.716		278		601420.829		0				0		456674.716		0		1271.999

				456951.248		601420.959		279		1256.468						1271.999		279		456951.248				456674.716		279		601420.959		0				0		456674.716		0		1271.999

				456952.239		601421.089		280		1256.449						1271.999		280		456952.239				456674.716		280		601421.089		0				0		456674.716		0		1271.999

				456953.23		601421.218		281		1256.429						1271.999		281		456953.23				456674.716		281		601421.218		0				0		456674.716		0		1271.999

				456954.221		601421.348		282		1256.409						1271.999		282		456954.221				456674.716		282		601421.348		0				0		456674.716		0		1271.999

				456955.213		601421.478		283		1256.39						1271.999		283		456955.213				456674.716		283		601421.478		0				0		456674.716		0		1271.999

				456956.204		601421.608		284		1256.37						1271.999		284		456956.204				456674.716		284		601421.608		0				0		456674.716		0		1271.999

				456957.195		601421.738		285		1256.35						1271.999		285		456957.195				456674.716		285		601421.738		0				0		456674.716		0		1271.999

				456958.186		601421.868		286		1256.331						1271.999		286		456958.186				456674.716		286		601421.868		0				0		456674.716		0		1271.999

				456959.177		601421.997		287		1256.311						1271.999		287		456959.177				456674.716		287		601421.997		0				0		456674.716		0		1271.999

				456960.168		601422.127		288		1256.291						1271.999		288		456960.168				456674.716		288		601422.127		0				0		456674.716		0		1271.999

				456961.159		601422.257		289		1256.271						1271.999		289		456961.159				456674.716		289		601422.257		0				0		456674.716		0		1271.999

				456962.151		601422.387		290		1256.252						1271.999		290		456962.151				456674.716		290		601422.387		0				0		456674.716		0		1271.999

				456963.142		601422.517		291		1256.232						1271.999		291		456963.142				456674.716		291		601422.517		0				0		456674.716		0		1271.999

				456964.133		601422.647		292		1256.212						1271.999		292		456964.133				456674.716		292		601422.647		0				0		456674.716		0		1271.999

				456965.124		601422.777		293		1256.193						1271.999		293		456965.124				456674.716		293		601422.777		0				0		456674.716		0		1271.999

				456966.115		601422.906		294		1256.173						1271.999		294		456966.115				456674.716		294		601422.906		0				0		456674.716		0		1271.999

				456967.106		601423.036		295		1256.153						1271.999		295		456967.106				456674.716		295		601423.036		0				0		456674.716		0		1271.999

				456968.098		601423.166		296		1256.133						1271.999		296		456968.098				456674.716		296		601423.166		0				0		456674.716		0		1271.999

				456969.089		601423.296		297		1256.114						1271.999		297		456969.089				456674.716		297		601423.296		0				0		456674.716		0		1271.999

				456970.08		601423.426		298		1256.094						1271.999		298		456970.08				456674.716		298		601423.426		0				0		456674.716		0		1271.999

				456971.071		601423.556		299		1256.074						1271.999		299		456971.071				456674.716		299		601423.556		0				0		456674.716		0		1271.999

				456972.062		601423.685		300		1256.055						1271.999		300		456972.062				456674.716		300		601423.685		0				0		456674.716		0		1271.999

				456973.053		601423.815		301		1256.035						1271.999		301		456973.053				456674.716		301		601423.815		0				0		456674.716		0		1271.999

				456974.044		601423.945		302		1256.017						1271.999		302		456974.044				456674.716		302		601423.945		0				0		456674.716		0		1271.999

				456975.036		601424.075		303		1256						1271.999		303		456975.036				456674.716		303		601424.075		0				0		456674.716		0		1271.999

				456976.027		601424.205		304		1256						1271.999		304		456976.027				456674.716		304		601424.205		0				0		456674.716		0		1271.999

				456977.018		601424.335		305		1256						1271.999		305		456977.018				456674.716		305		601424.335		0				0		456674.716		0		1271.999

				456978.009		601424.464		306		1256						1271.999		306		456978.009				456674.716		306		601424.464		0				0		456674.716		0		1271.999

				456979		601424.594		307		1256						1271.999		307		456979				456674.716		307		601424.594		0				0		456674.716		0		1271.999

				456979.991		601424.724		308		1256						1271.999		308		456979.991				456674.716		308		601424.724		0				0		456674.716		0		1271.999

				456980.983		601424.854		309		1256						1271.999		309		456980.983				456674.716		309		601424.854		0				0		456674.716		0		1271.999

				456981.974		601424.984		310		1256						1271.999		310		456981.974				456674.716		310		601424.984		0				0		456674.716		0		1271.999

				456982.965		601425.114		311		1256						1271.999		311		456982.965				456674.716		311		601425.114		0				0		456674.716		0		1271.999

				456983.956		601425.244		312		1255.996						1271.999		312		456983.956				456674.716		312		601425.244		0				0		456674.716		0		1271.999

				456984.947		601425.373		313		1255.94						1271.999		313		456984.947				456674.716		313		601425.373		0				0		456674.716		0		1271.999

				456985.938		601425.503		314		1255.84						1271.999		314		456985.938				456674.716		314		601425.503		0				0		456674.716		0		1271.999

				456986.929		601425.633		315		1255.74						1271.999		315		456986.929				456674.716		315		601425.633		0				0		456674.716		0		1271.999

				456987.921		601425.763		316		1255.639						1271.999		316		456987.921				456674.716		316		601425.763		0				0		456674.716		0		1271.999

				456988.912		601425.893		317		1255.537						1271.999		317		456988.912				456674.716		317		601425.893		0				0		456674.716		0		1271.999

				456989.903		601426.023		318		1255.435						1271.999		318		456989.903				456674.716		318		601426.023		0				0		456674.716		0		1271.999

				456990.894		601426.152		319		1255.332						1271.999		319		456990.894				456674.716		319		601426.152		0				0		456674.716		0		1271.999

				456991.885		601426.282		320		1255.227						1271.999		320		456991.885				456674.716		320		601426.282		0				0		456674.716		0		1271.999

				456992.876		601426.412		321		1255.122						1271.999		321		456992.876				456674.716		321		601426.412		0				0		456674.716		0		1271.999

				456993.868		601426.542		322		1255.023						1271.999		322		456993.868				456674.716		322		601426.542		0				0		456674.716		0		1271.999

				456994.859		601426.672		323		1255.004						1271.999		323		456994.859				456674.716		323		601426.672		0				0		456674.716		0		1271.999

				456995.85		601426.802		324		1255						1271.999		324		456995.85				456674.716		324		601426.802		0				0		456674.716		0		1271.999

				456996.841		601426.931		325		1255						1271.999		325		456996.841				456674.716		325		601426.931		0				0		456674.716		0		1271.999

				456997.832		601427.061		326		1255						1271.999		326		456997.832				456674.716		326		601427.061		0				0		456674.716		0		1271.999

				456998.823		601427.191		327		1255						1271.999		327		456998.823				456674.716		327		601427.191		0				0		456674.716		0		1271.999

				456999.814		601427.321		328		1255						1271.999		328		456999.814				456674.716		328		601427.321		0				0		456674.716		0		1271.999

				457000.806		601427.451		329		1255						1271.999		329		457000.806				456674.716		329		601427.451		0				0		456674.716		0		1271.999

				457001.797		601427.581		330		1255						1271.999		330		457001.797				456674.716		330		601427.581		0				0		456674.716		0		1271.999

				457002.788		601427.711		331		1255						1271.999		331		457002.788				456674.716		331		601427.711		0				0		456674.716		0		1271.999

				457003.779		601427.84		332		1255						1271.999		332		457003.779				456674.716		332		601427.84		0				0		456674.716		0		1271.999

				457004.77		601427.97		333		1255						1271.999		333		457004.77				456674.716		333		601427.97		0				0		456674.716		0		1271.999

				457005.761		601428.1		334		1255						1271.999		334		457005.761				456674.716		334		601428.1		0				0		456674.716		0		1271.999

				457006.753		601428.23		335		1255						1271.999		335		457006.753				456674.716		335		601428.23		0				0		456674.716		0		1271.999

				457007.744		601428.36		336		1255						1271.999		336		457007.744				456674.716		336		601428.36		0				0		456674.716		0		1271.999

				457008.735		601428.49		337		1255						1271.999		337		457008.735				456674.716		337		601428.49		0				0		456674.716		0		1271.999

				457009.726		601428.619		338		1255						1271.999		338		457009.726				456674.716		338		601428.619		0				0		456674.716		0		1271.999

				457010.717		601428.749		339		1255						1271.999		339		457010.717				456674.716		339		601428.749		0				0		456674.716		0		1271.999

				457011.708		601428.879		340		1255						1271.999		340		457011.708				456674.716		340		601428.879		0				0		456674.716		0		1271.999

				457012.699		601429.009		341		1255						1271.999		341		457012.699				456674.716		341		601429.009		0				0		456674.716		0		1271.999

				457013.691		601429.139		342		1255						1271.999		342		457013.691				456674.716		342		601429.139		0				0		456674.716		0		1271.999

				457014.682		601429.269		343		1255						1271.999		343		457014.682				456674.716		343		601429.269		0				0		456674.716		0		1271.999

				457015.673		601429.398		344		1255.01						1271.999		344		457015.673				456674.716		344		601429.398		0				0		456674.716		0		1271.999

				457016.664		601429.528		345		1255.039						1271.999		345		457016.664				456674.716		345		601429.528		0				0		456674.716		0		1271.999

				457017.655		601429.658		346		1255.105						1271.999		346		457017.655				456674.716		346		601429.658		0				0		456674.716		0		1271.999

				457018.646		601429.788		347		1255.17						1271.999		347		457018.646				456674.716		347		601429.788		0				0		456674.716		0		1271.999

				457019.638		601429.918		348		1255.236						1271.999		348		457019.638				456674.716		348		601429.918		0				0		456674.716		0		1271.999

				457020.629		601430.048		349		1255.302						1271.999		349		457020.629				456674.716		349		601430.048		0				0		456674.716		0		1271.999

				457021.62		601430.178		350		1255.366						1271.999		350		457021.62				456674.716		350		601430.178		0				0		456674.716		0		1271.999

				457022.611		601430.307		351		1255.43						1271.999		351		457022.611				456674.716		351		601430.307		0				0		456674.716		0		1271.999

				457023.602		601430.437		352		1255.494						1271.999		352		457023.602				456674.716		352		601430.437		0				0		456674.716		0		1271.999

				457024.593		601430.567		353		1255.558						1271.999		353		457024.593				456674.716		353		601430.567		0				0		456674.716		0		1271.999

				457025.584		601430.697		354		1255.62						1271.999		354		457025.584				456674.716		354		601430.697		0				0		456674.716		0		1271.999

				457026.576		601430.827		355		1255.682						1271.999		355		457026.576				456674.716		355		601430.827		0				0		456674.716		0		1271.999

				457027.567		601430.957		356		1255.744						1271.999		356		457027.567				456674.716		356		601430.957		0				0		456674.716		0		1271.999

				457028.558		601431.086		357		1255.805						1271.999		357		457028.558				456674.716		357		601431.086		0				0		456674.716		0		1271.999

				457029.549		601431.216		358		1255.865						1271.999		358		457029.549				456674.716		358		601431.216		0				0		456674.716		0		1271.999

				457030.54		601431.346		359		1255.924						1271.999		359		457030.54				456674.716		359		601431.346		0				0		456674.716		0		1271.999

				457031.531		601431.476		360		1255.975						1271.999		360		457031.531				456674.716		360		601431.476		0				0		456674.716		0		1271.999

				457032.523		601431.606		361		1255.992						1271.999		361		457032.523				456674.716		361		601431.606		0				0		456674.716		0		1271.999

				457033.514		601431.736		362		1255.992						1271.999		362		457033.514				456674.716		362		601431.736		0				0		456674.716		0		1271.999

				457034.505		601431.865		363		1255.988						1271.999		363		457034.505				456674.716		363		601431.865		0				0		456674.716		0		1271.999

				457035.496		601431.995		364		1255.979						1271.999		364		457035.496				456674.716		364		601431.995		0				0		456674.716		0		1271.999

				457036.487		601432.125		365		1255.968						1271.999		365		457036.487				456674.716		365		601432.125		0				0		456674.716		0		1271.999

				457037.478		601432.255		366		1255.957						1271.999		366		457037.478				456674.716		366		601432.255		0				0		456674.716		0		1271.999

				457038.469		601432.385		367		1255.942						1271.999		367		457038.469				456674.716		367		601432.385		0				0		456674.716		0		1271.999

				457039.461		601432.515		368		1255.926						1271.999		368		457039.461				456674.716		368		601432.515		0				0		456674.716		0		1271.999

				457040.452		601432.644		369		1255.913						1271.999		369		457040.452				456674.716		369		601432.644		0				0		456674.716		0		1271.999

				457041.443		601432.774		370		1255.9						1271.999		370		457041.443				456674.716		370		601432.774		0				0		456674.716		0		1271.999

				457042.434		601432.904		371		1255.886						1271.999		371		457042.434				456674.716		371		601432.904		0				0		456674.716		0		1271.999

				457043.425		601433.034		372		1255.868						1271.999		372		457043.425				456674.716		372		601433.034		0				0		456674.716		0		1271.999

				457044.416		601433.164		373		1255.847						1271.999		373		457044.416				456674.716		373		601433.164		0				0		456674.716		0		1271.999

				457045.408		601433.294		374		1255.826						1271.999		374		457045.408				456674.716		374		601433.294		0				0		456674.716		0		1271.999

				457046.399		601433.424		375		1255.804						1271.999		375		457046.399				456674.716		375		601433.424		0				0		456674.716		0		1271.999

				457047.39		601433.553		376		1255.781						1271.999		376		457047.39				456674.716		376		601433.553		0				0		456674.716		0		1271.999

				457048.381		601433.683		377		1255.757						1271.999		377		457048.381				456674.716		377		601433.683		0				0		456674.716		0		1271.999

				457049.372		601433.813		378		1255.733						1271.999		378		457049.372				456674.716		378		601433.813		0				0		456674.716		0		1271.999

				457050.363		601433.943		379		1255.708						1271.999		379		457050.363				456674.716		379		601433.943		0				0		456674.716		0		1271.999

				457051.355		601434.073		380		1255.684						1271.999		380		457051.355				456674.716		380		601434.073		0				0		456674.716		0		1271.999

				457052.346		601434.203		381		1255.661						1271.999		381		457052.346				456674.716		381		601434.203		0				0		456674.716		0		1271.999

				457053.337		601434.332		382		1255.638						1271.999		382		457053.337				456674.716		382		601434.332		0				0		456674.716		0		1271.999

				457054.328		601434.462		383		1255.618						1271.999		383		457054.328				456674.716		383		601434.462		0				0		456674.716		0		1271.999

				457055.319		601434.592		384		1255.602						1271.999		384		457055.319				456674.716		384		601434.592		0				0		456674.716		0		1271.999

				457056.31		601434.722		385		1255.582						1271.999		385		457056.31				456674.716		385		601434.722		0				0		456674.716		0		1271.999

				457057.301		601434.852		386		1255.56						1271.999		386		457057.301				456674.716		386		601434.852		0				0		456674.716		0		1271.999

				457058.293		601434.982		387		1255.537						1271.999		387		457058.293				456674.716		387		601434.982		0				0		456674.716		0		1271.999

				457059.284		601435.111		388		1255.515						1271.999		388		457059.284				456674.716		388		601435.111		0				0		456674.716		0		1271.999

				457060.275		601435.241		389		1255.492						1271.999		389		457060.275				456674.716		389		601435.241		0				0		456674.716		0		1271.999

				457061.266		601435.371		390		1255.47						1271.999		390		457061.266				456674.716		390		601435.371		0				0		456674.716		0		1271.999

				457062.257		601435.501		391		1255.447						1271.999		391		457062.257				456674.716		391		601435.501		0				0		456674.716		0		1271.999

				457063.248		601435.631		392		1255.425						1271.999		392		457063.248				456674.716		392		601435.631		0				0		456674.716		0		1271.999

				457064.24		601435.761		393		1255.403						1271.999		393		457064.24				456674.716		393		601435.761		0				0		456674.716		0		1271.999

				457065.231		601435.891		394		1255.38						1271.999		394		457065.231				456674.716		394		601435.891		0				0		456674.716		0		1271.999

				457066.222		601436.02		395		1255.358						1271.999		395		457066.222				456674.716		395		601436.02		0				0		456674.716		0		1271.999

				457067.213		601436.15		396		1255.335						1271.999		396		457067.213				456674.716		396		601436.15		0				0		456674.716		0		1271.999

				457068.204		601436.28		397		1255.313						1271.999		397		457068.204				456674.716		397		601436.28		0				0		456674.716		0		1271.999

				457069.195		601436.41		398		1255.291						1271.999		398		457069.195				456674.716		398		601436.41		0				0		456674.716		0		1271.999

				457070.186		601436.54		399		1255.268						1271.999		399		457070.186				456674.716		399		601436.54		0				0		456674.716		0		1271.999

				457071.178		601436.67		400		1255.246						1271.999		400		457071.178				456674.716		400		601436.67		0				0		456674.716		0		1271.999

				457072.169		601436.799		401		1255.223						1271.999		401		457072.169				456674.716		401		601436.799		0				0		456674.716		0		1271.999

				457073.16		601436.929		402		1255.201						1271.999		402		457073.16				456674.716		402		601436.929		0				0		456674.716		0		1271.999

				457074.151		601437.059		403		1255.178						1271.999		403		457074.151				456674.716		403		601437.059		0				0		456674.716		0		1271.999

				457075.142		601437.189		404		1255.156						1271.999		404		457075.142				456674.716		404		601437.189		0				0		456674.716		0		1271.999

				457076.133		601437.319		405		1255.134						1271.999		405		457076.133				456674.716		405		601437.319		0				0		456674.716		0		1271.999

				457077.125		601437.449		406		1255.111						1271.999		406		457077.125				456674.716		406		601437.449		0				0		456674.716		0		1271.999

				457078.116		601437.578		407		1255.089						1271.999		407		457078.116				456674.716		407		601437.578		0				0		456674.716		0		1271.999

				457079.107		601437.708		408		1255.066						1271.999		408		457079.107				456674.716		408		601437.708		0				0		456674.716		0		1271.999

				457080.098		601437.838		409		1255.044						1271.999		409		457080.098				456674.716		409		601437.838		0				0		456674.716		0		1271.999

				457081.089		601437.968		410		1255.022						1271.999		410		457081.089				456674.716		410		601437.968		0				0		456674.716		0		1271.999

				457082.08		601438.098		411		1255.004						1271.999		411		457082.08				456674.716		411		601438.098		0				0		456674.716		0		1271.999

				457083.071		601438.228		412		1255						1271.999		412		457083.071				456674.716		412		601438.228		0				0		456674.716		0		1271.999

				457084.063		601438.358		413		1255						1271.999		413		457084.063				456674.716		413		601438.358		0				0		456674.716		0		1271.999

				457085.054		601438.487		414		1255						1271.999		414		457085.054				456674.716		414		601438.487		0				0		456674.716		0		1271.999

				457086.045		601438.617		415		1255						1271.999		415		457086.045				456674.716		415		601438.617		0				0		456674.716		0		1271.999

				457087.036		601438.747		416		1255						1271.999		416		457087.036				456674.716		416		601438.747		0				0		456674.716		0		1271.999

				457088.027		601438.877		417		1255						1271.999		417		457088.027				456674.716		417		601438.877		0				0		456674.716		0		1271.999

				457089.018		601439.007		418		1255						1271.999		418		457089.018				456674.716		418		601439.007		0				0		456674.716		0		1271.999

				457090.01		601439.137		419		1255						1271.999		419		457090.01				456674.716		419		601439.137		0				0		456674.716		0		1271.999

				457091.001		601439.266		420		1255						1271.999		420		457091.001				456674.716		420		601439.266		0				0		456674.716		0		1271.999

				457091.992		601439.396		421		1255						1271.999		421		457091.992				456674.716		421		601439.396		0				0		456674.716		0		1271.999

				457092.983		601439.526		422		1255						1271.999		422		457092.983				456674.716		422		601439.526		0				0		456674.716		0		1271.999

				457093.974		601439.656		423		1255						1271.999		423		457093.974				456674.716		423		601439.656		0				0		456674.716		0		1271.999

				457094.965		601439.786		424		1255						1271.999		424		457094.965				456674.716		424		601439.786		0				0		456674.716		0		1271.999

				457095.956		601439.916		425		1255						1271.999		425		457095.956				456674.716		425		601439.916		0				0		456674.716		0		1271.999

				457096.948		601440.045		426		1255						1271.999		426		457096.948				456674.716		426		601440.045		0				0		456674.716		0		1271.999

				457097.939		601440.175		427		1255						1271.999		427		457097.939				456674.716		427		601440.175		0				0		456674.716		0		1271.999

				457098.93		601440.305		428		1255						1271.999		428		457098.93				456674.716		428		601440.305		0				0		456674.716		0		1271.999

				457099.921		601440.435		429		1255						1271.999		429		457099.921				456674.716		429		601440.435		0				0		456674.716		0		1271.999

				457100.912		601440.565		430		1255						1271.999		430		457100.912				456674.716		430		601440.565		0				0		456674.716		0		1271.999

				457101.903		601440.695		431		1255						1271.999		431		457101.903				456674.716		431		601440.695		0				0		456674.716		0		1271.999

				457102.895		601440.825		432		1255						1271.999		432		457102.895				456674.716		432		601440.825		0				0		456674.716		0		1271.999

				457103.886		601440.954		433		1255						1271.999		433		457103.886				456674.716		433		601440.954		0				0		456674.716		0		1271.999

				457104.877		601441.084		434		1255						1271.999		434		457104.877				456674.716		434		601441.084		0				0		456674.716		0		1271.999

				457105.868		601441.214		435		1255						1271.999		435		457105.868				456674.716		435		601441.214		0				0		456674.716		0		1271.999

				457106.859		601441.344		436		1255						1271.999		436		457106.859				456674.716		436		601441.344		0				0		456674.716		0		1271.999

				457107.85		601441.474		437		1255						1271.999		437		457107.85				456674.716		437		601441.474		0				0		456674.716		0		1271.999

				457108.841		601441.604		438		1255						1271.999		438		457108.841				456674.716		438		601441.604		0				0		456674.716		0		1271.999

				457109.833		601441.733		439		1255						1271.999		439		457109.833				456674.716		439		601441.733		0				0		456674.716		0		1271.999

				457110.824		601441.863		440		1255						1271.999		440		457110.824				456674.716		440		601441.863		0				0		456674.716		0		1271.999

				457111.815		601441.993		441		1255						1271.999		441		457111.815				456674.716		441		601441.993		0				0		456674.716		0		1271.999

				457112.806		601442.123		442		1255						1271.999		442		457112.806				456674.716		442		601442.123		0				0		456674.716		0		1271.999

				457113.797		601442.253		443		1255						1271.999		443		457113.797				456674.716		443		601442.253		0				0		456674.716		0		1271.999

				457114.788		601442.383		444		1254.99						1271.999		444		457114.788				456674.716		444		601442.383		0				0		456674.716		0		1271.999

				457115.78		601442.512		445		1254.966						1271.999		445		457115.78				456674.716		445		601442.512		0				0		456674.716		0		1271.999

				457116.771		601442.642		446		1254.938						1271.999		446		457116.771				456674.716		446		601442.642		0				0		456674.716		0		1271.999

				457117.762		601442.772		447		1254.911						1271.999		447		457117.762				456674.716		447		601442.772		0				0		456674.716		0		1271.999

				457118.753		601442.902		448		1254.883						1271.999		448		457118.753				456674.716		448		601442.902		0				0		456674.716		0		1271.999

				457119.744		601443.032		449		1254.854						1271.999		449		457119.744				456674.716		449		601443.032		0				0		456674.716		0		1271.999

				457120.735		601443.162		450		1254.826						1271.999		450		457120.735				456674.716		450		601443.162		0				0		456674.716		0		1271.999

				457121.726		601443.292		451		1254.797						1271.999		451		457121.726				456674.716		451		601443.292		0				0		456674.716		0		1271.999

				457122.718		601443.421		452		1254.77						1271.999		452		457122.718				456674.716		452		601443.421		0				0		456674.716		0		1271.999

				457123.709		601443.551		453		1254.745						1271.999		453		457123.709				456674.716		453		601443.551		0				0		456674.716		0		1271.999

				457124.7		601443.681		454		1254.717						1271.999		454		457124.7				456674.716		454		601443.681		0				0		456674.716		0		1271.999

				457125.691		601443.811		455		1254.689						1271.999		455		457125.691				456674.716		455		601443.811		0				0		456674.716		0		1271.999

				457126.682		601443.941		456		1254.66						1271.999		456		457126.682				456674.716		456		601443.941		0				0		456674.716		0		1271.999

				457127.673		601444.071		457		1254.631						1271.999		457		457127.673				456674.716		457		601444.071		0				0		456674.716		0		1271.999

				457128.665		601444.2		458		1254.605						1271.999		458		457128.665				456674.716		458		601444.2		0				0		456674.716		0		1271.999

				457129.656		601444.33		459		1254.579						1271.999		459		457129.656				456674.716		459		601444.33		0				0		456674.716		0		1271.999

				457130.647		601444.46		460		1254.553						1271.999		460		457130.647				456674.716		460		601444.46		0				0		456674.716		0		1271.999

				457131.638		601444.59		461		1254.526						1271.999		461		457131.638				456674.716		461		601444.59		0				0		456674.716		0		1271.999

				457132.629		601444.72		462		1254.497						1271.999		462		457132.629				456674.716		462		601444.72		0				0		456674.716		0		1271.999

				457133.62		601444.85		463		1254.468						1271.999		463		457133.62				456674.716		463		601444.85		0				0		456674.716		0		1271.999

				457134.611		601444.979		464		1254.44						1271.999		464		457134.611				456674.716		464		601444.979		0				0		456674.716		0		1271.999

				457135.603		601445.109		465		1254.414						1271.999		465		457135.603				456674.716		465		601445.109		0				0		456674.716		0		1271.999

				457136.594		601445.239		466		1254.387						1271.999		466		457136.594				456674.716		466		601445.239		0				0		456674.716		0		1271.999

				457137.585		601445.369		467		1254.361						1271.999		467		457137.585				456674.716		467		601445.369		0				0		456674.716		0		1271.999

				457138.576		601445.499		468		1254.333						1271.999		468		457138.576				456674.716		468		601445.499		0				0		456674.716		0		1271.999

				457139.567		601445.629		469		1254.306						1271.999		469		457139.567				456674.716		469		601445.629		0				0		456674.716		0		1271.999

				457140.558		601445.758		470		1254.277						1271.999		470		457140.558				456674.716		470		601445.758		0				0		456674.716		0		1271.999

				457141.55		601445.888		471		1254.25						1271.999		471		457141.55				456674.716		471		601445.888		0				0		456674.716		0		1271.999

				457142.541		601446.018		472		1254.223						1271.999		472		457142.541				456674.716		472		601446.018		0				0		456674.716		0		1271.999

				457143.532		601446.148		473		1254.197						1271.999		473		457143.532				456674.716		473		601446.148		0				0		456674.716		0		1271.999

				457144.523		601446.278		474		1254.17						1271.999		474		457144.523				456674.716		474		601446.278		0				0		456674.716		0		1271.999

				457145.514		601446.408		475		1254.143						1271.999		475		457145.514				456674.716		475		601446.408		0				0		456674.716		0		1271.999

				457146.505		601446.538		476		1254.116						1271.999		476		457146.505				456674.716		476		601446.538		0				0		456674.716		0		1271.999

				457147.496		601446.667		477		1254.089						1271.999		477		457147.496				456674.716		477		601446.667		0				0		456674.716		0		1271.999

				457148.488		601446.797		478		1254.063						1271.999		478		457148.488				456674.716		478		601446.797		0				0		456674.716		0		1271.999

				457149.479		601446.927		479		1254.037						1271.999		479		457149.479				456674.716		479		601446.927		0				0		456674.716		0		1271.999

				457150.47		601447.057		480		1254.01						1271.999		480		457150.47				456674.716		480		601447.057		0				0		456674.716		0		1271.999

				457151.461		601447.187		481		1254.002						1271.999		481		457151.461				456674.716		481		601447.187		0				0		456674.716		0		1271.999

				457152.452		601447.317		482		1254						1271.999		482		457152.452				456674.716		482		601447.317		0				0		456674.716		0		1271.999

				457153.443		601447.446		483		1254						1271.999		483		457153.443				456674.716		483		601447.446		0				0		456674.716		0		1271.999

				457154.435		601447.576		484		1254						1271.999		484		457154.435				456674.716		484		601447.576		0				0		456674.716		0		1271.999

				457155.426		601447.706		485		1254						1271.999		485		457155.426				456674.716		485		601447.706		0				0		456674.716		0		1271.999

				457156.417		601447.836		486		1254						1271.999		486		457156.417				456674.716		486		601447.836		0				0		456674.716		0		1271.999

				457157.408		601447.966		487		1254						1271.999		487		457157.408				456674.716		487		601447.966		0				0		456674.716		0		1271.999

				457158.399		601448.096		488		1254						1271.999		488		457158.399				456674.716		488		601448.096		0				0		456674.716		0		1271.999

				457159.39		601448.225		489		1254						1271.999		489		457159.39				456674.716		489		601448.225		0				0		456674.716		0		1271.999

				457160.381		601448.355		490		1254						1271.999		490		457160.381				456674.716		490		601448.355		0				0		456674.716		0		1271.999

				457161.373		601448.485		491		1254						1271.999		491		457161.373				456674.716		491		601448.485		0				0		456674.716		0		1271.999

				457162.364		601448.615		492		1254						1271.999		492		457162.364				456674.716		492		601448.615		0				0		456674.716		0		1271.999

				457163.355		601448.745		493		1254						1271.999		493		457163.355				456674.716		493		601448.745		0				0		456674.716		0		1271.999

				457164.346		601448.875		494		1254						1271.999		494		457164.346				456674.716		494		601448.875		0				0		456674.716		0		1271.999

				457165.337		601449.005		495		1254						1271.999		495		457165.337				456674.716		495		601449.005		0				0		456674.716		0		1271.999

				457166.328		601449.134		496		1254						1271.999		496		457166.328				456674.716		496		601449.134		0				0		456674.716		0		1271.999

				457167.32		601449.264		497		1254						1271.999		497		457167.32				456674.716		497		601449.264		0				0		456674.716		0		1271.999

				457168.311		601449.394		498		1254						1271.999		498		457168.311				456674.716		498		601449.394		0				0		456674.716		0		1271.999

				457169.302		601449.524		499		1254						1271.999		499		457169.302				456674.716		499		601449.524		0				0		456674.716		0		1271.999

				457170.293		601449.654		500		1254						1271.999		500		457170.293				456674.716		500		601449.654		0				0		456674.716		0		1271.999

				457171.284		601449.784		501		1254.006						1271.999		501		457171.284				456674.716		501		601449.784		0				0		456674.716		0		1271.999

				457172.275		601449.913		502		1254.02						1271.999		502		457172.275				456674.716		502		601449.913		0				0		456674.716		0		1271.999

				457173.266		601450.043		503		1254.042						1271.999		503		457173.266				456674.716		503		601450.043		0				0		456674.716		0		1271.999

				457174.258		601450.173		504		1254.063						1271.999		504		457174.258				456674.716		504		601450.173		0				0		456674.716		0		1271.999

				457175.249		601450.303		505		1254.084						1271.999		505		457175.249				456674.716		505		601450.303		0				0		456674.716		0		1271.999

				457176.24		601450.433		506		1254.104						1271.999		506		457176.24				456674.716		506		601450.433		0				0		456674.716		0		1271.999

				457177.231		601450.563		507		1254.125						1271.999		507		457177.231				456674.716		507		601450.563		0				0		456674.716		0		1271.999

				457178.222		601450.692		508		1254.145						1271.999		508		457178.222				456674.716		508		601450.692		0				0		456674.716		0		1271.999

				457179.213		601450.822		509		1254.165						1271.999		509		457179.213				456674.716		509		601450.822		0				0		456674.716		0		1271.999

				457180.205		601450.952		510		1254.185						1271.999		510		457180.205				456674.716		510		601450.952		0				0		456674.716		0		1271.999

				457181.196		601451.082		511		1254.205						1271.999		511		457181.196				456674.716		511		601451.082		0				0		456674.716		0		1271.999

				457182.187		601451.212		512		1254.225						1271.999		512		457182.187				456674.716		512		601451.212		0				0		456674.716		0		1271.999

				457183.178		601451.342		513		1254.245						1271.999		513		457183.178				456674.716		513		601451.342		0				0		456674.716		0		1271.999

				457184.169		601451.472		514		1254.263						1271.999		514		457184.169				456674.716		514		601451.472		0				0		456674.716		0		1271.999

				457185.16		601451.601		515		1254.284						1271.999		515		457185.16				456674.716		515		601451.601		0				0		456674.716		0		1271.999

				457186.151		601451.731		516		1254.289						1271.999		516		457186.151				456674.716		516		601451.731		0				0		456674.716		0		1271.999

				457187.143		601451.861		517		1254.282						1271.999		517		457187.143				456674.716		517		601451.861		0				0		456674.716		0		1271.999

				457188.134		601451.991		518		1254.259						1271.999		518		457188.134				456674.716		518		601451.991		0				0		456674.716		0		1271.999

				457189.125		601452.121		519		1254.235						1271.999		519		457189.125				456674.716		519		601452.121		0				0		456674.716		0		1271.999

				457190.116		601452.251		520		1254.212						1271.999		520		457190.116				456674.716		520		601452.251		0				0		456674.716		0		1271.999

				457191.107		601452.38		521		1254.189						1271.999		521		457191.107				456674.716		521		601452.38		0				0		456674.716		0		1271.999

				457192.098		601452.51		522		1254.166						1271.999		522		457192.098				456674.716		522		601452.51		0				0		456674.716		0		1271.999

				457193.09		601452.64		523		1254.143						1271.999		523		457193.09				456674.716		523		601452.64		0				0		456674.716		0		1271.999

				457194.081		601452.77		524		1254.12						1271.999		524		457194.081				456674.716		524		601452.77		0				0		456674.716		0		1271.999

				457195.072		601452.9		525		1254.096						1271.999		525		457195.072				456674.716		525		601452.9		0				0		456674.716		0		1271.999

				457196.063		601453.03		526		1254.073						1271.999		526		457196.063				456674.716		526		601453.03		0				0		456674.716		0		1271.999

				457197.054		601453.159		527		1254.05						1271.999		527		457197.054				456674.716		527		601453.159		0				0		456674.716		0		1271.999

				457198.045		601453.289		528		1254.03						1271.999		528		457198.045				456674.716		528		601453.289		0				0		456674.716		0		1271.999

				457199.036		601453.419		529		1254.012						1271.999		529		457199.036				456674.716		529		601453.419		0				0		456674.716		0		1271.999

				457200.028		601453.549		530		1254.002						1271.999		530		457200.028				456674.716		530		601453.549		0				0		456674.716		0		1271.999

				457201.019		601453.679		531		1254						1271.999		531		457201.019				456674.716		531		601453.679		0				0		456674.716		0		1271.999

				457202.01		601453.809		532		1254						1271.999		532		457202.01				456674.716		532		601453.809		0				0		456674.716		0		1271.999

				457203.001		601453.939		533		1254						1271.999		533		457203.001				456674.716		533		601453.939		0				0		456674.716		0		1271.999

				457203.992		601454.068		534		1254						1271.999		534		457203.992				456674.716		534		601454.068		0				0		456674.716		0		1271.999

				457204.983		601454.198		535		1254						1271.999		535		457204.983				456674.716		535		601454.198		0				0		456674.716		0		1271.999

				457205.975		601454.328		536		1254						1271.999		536		457205.975				456674.716		536		601454.328		0				0		456674.716		0		1271.999

				457206.966		601454.458		537		1254						1271.999		537		457206.966				456674.716		537		601454.458		0				0		456674.716		0		1271.999

				457207.957		601454.588		538		1254						1271.999		538		457207.957				456674.716		538		601454.588		0				0		456674.716		0		1271.999

				457208.948		601454.718		539		1254						1271.999		539		457208.948				456674.716		539		601454.718		0				0		456674.716		0		1271.999

				457209.939		601454.847		540		1254						1271.999		540		457209.939				456674.716		540		601454.847		0				0		456674.716		0		1271.999

				457210.93		601454.977		541		1254						1271.999		541		457210.93				456674.716		541		601454.977		0				0		456674.716		0		1271.999

				457211.922		601455.107		542		1254.02						1271.999		542		457211.922				456674.716		542		601455.107		0				0		456674.716		0		1271.999

				457212.913		601455.237		543		1254.041						1271.999		543		457212.913				456674.716		543		601455.237		0				0		456674.716		0		1271.999

				457213.904		601455.367		544		1254.063						1271.999		544		457213.904				456674.716		544		601455.367		0				0		456674.716		0		1271.999

				457214.895		601455.497		545		1254.086						1271.999		545		457214.895				456674.716		545		601455.497		0				0		456674.716		0		1271.999

				457215.886		601455.626		546		1254.108						1271.999		546		457215.886				456674.716		546		601455.626		0				0		456674.716		0		1271.999

				457216.877		601455.756		547		1254.131						1271.999		547		457216.877				456674.716		547		601455.756		0				0		456674.716		0		1271.999

				457217.868		601455.886		548		1254.153						1271.999		548		457217.868				456674.716		548		601455.886		0				0		456674.716		0		1271.999

				457218.86		601456.016		549		1254.176						1271.999		549		457218.86				456674.716		549		601456.016		0				0		456674.716		0		1271.999

				457219.851		601456.146		550		1254.198						1271.999		550		457219.851				456674.716		550		601456.146		0				0		456674.716		0		1271.999

				457220.842		601456.276		551		1254.221						1271.999		551		457220.842				456674.716		551		601456.276		0				0		456674.716		0		1271.999

				457221.833		601456.406		552		1254.243						1271.999		552		457221.833				456674.716		552		601456.406		0				0		456674.716		0		1271.999

				457222.824		601456.535		553		1254.267						1271.999		553		457222.824				456674.716		553		601456.535		0				0		456674.716		0		1271.999

				457223.815		601456.665		554		1254.3						1271.999		554		457223.815				456674.716		554		601456.665		0				0		456674.716		0		1271.999

				457224.807		601456.795		555		1254.329						1271.999		555		457224.807				456674.716		555		601456.795		0				0		456674.716		0		1271.999

				457225.798		601456.925		556		1254.352						1271.999		556		457225.798				456674.716		556		601456.925		0				0		456674.716		0		1271.999

				457226.789		601457.055		557		1254.392						1271.999		557		457226.789				456674.716		557		601457.055		0				0		456674.716		0		1271.999

				457227.78		601457.185		558		1254.434						1271.999		558		457227.78				456674.716		558		601457.185		0				0		456674.716		0		1271.999

				457228.771		601457.314		559		1254.474						1271.999		559		457228.771				456674.716		559		601457.314		0				0		456674.716		0		1271.999

				457229.762		601457.444		560		1254.512						1271.999		560		457229.762				456674.716		560		601457.444		0				0		456674.716		0		1271.999

				457230.753		601457.574		561		1254.555						1271.999		561		457230.753				456674.716		561		601457.574		0				0		456674.716		0		1271.999

				457231.745		601457.704		562		1254.599						1271.999		562		457231.745				456674.716		562		601457.704		0				0		456674.716		0		1271.999

				457232.736		601457.834		563		1254.641						1271.999		563		457232.736				456674.716		563		601457.834		0				0		456674.716		0		1271.999

				457233.727		601457.964		564		1254.682						1271.999		564		457233.727				456674.716		564		601457.964		0				0		456674.716		0		1271.999

				457234.718		601458.093		565		1254.725						1271.999		565		457234.718				456674.716		565		601458.093		0				0		456674.716		0		1271.999

				457235.709		601458.223		566		1254.768						1271.999		566		457235.709				456674.716		566		601458.223		0				0		456674.716		0		1271.999

				457236.7		601458.353		567		1254.811						1271.999		567		457236.7				456674.716		567		601458.353		0				0		456674.716		0		1271.999

				457237.692		601458.483		568		1254.854						1271.999		568		457237.692				456674.716		568		601458.483		0				0		456674.716		0		1271.999

				457238.683		601458.613		569		1254.896						1271.999		569		457238.683				456674.716		569		601458.613		0				0		456674.716		0		1271.999

				457239.674		601458.743		570		1254.94						1271.999		570		457239.674				456674.716		570		601458.743		0				0		456674.716		0		1271.999

				457240.665		601458.873		571		1254.985						1271.999		571		457240.665				456674.716		571		601458.873		0				0		456674.716		0		1271.999

				457241.656		601459.002		572		1255.038						1271.999		572		457241.656				456674.716		572		601459.002		0				0		456674.716		0		1271.999

				457242.647		601459.132		573		1255.099						1271.999		573		457242.647				456674.716		573		601459.132		0				0		456674.716		0		1271.999

				457243.638		601459.262		574		1255.161						1271.999		574		457243.638				456674.716		574		601459.262		0				0		456674.716		0		1271.999

				457244.63		601459.392		575		1255.222						1271.999		575		457244.63				456674.716		575		601459.392		0				0		456674.716		0		1271.999

				457245.621		601459.522		576		1255.285						1271.999		576		457245.621				456674.716		576		601459.522		0				0		456674.716		0		1271.999

				457246.612		601459.652		577		1255.347						1271.999		577		457246.612				456674.716		577		601459.652		0				0		456674.716		0		1271.999

				457247.603		601459.781		578		1255.41						1271.999		578		457247.603				456674.716		578		601459.781		0				0		456674.716		0		1271.999

				457248.594		601459.911		579		1255.473						1271.999		579		457248.594				456674.716		579		601459.911		0				0		456674.716		0		1271.999

				457249.585		601460.041		580		1255.537						1271.999		580		457249.585				456674.716		580		601460.041		0				0		456674.716		0		1271.999

				457250.577		601460.171		581		1255.6						1271.999		581		457250.577				456674.716		581		601460.171		0				0		456674.716		0		1271.999

				457251.568		601460.301		582		1255.664						1271.999		582		457251.568				456674.716		582		601460.301		0				0		456674.716		0		1271.999

				457252.559		601460.431		583		1255.729						1271.999		583		457252.559				456674.716		583		601460.431		0				0		456674.716		0		1271.999

				457253.55		601460.56		584		1255.794						1271.999		584		457253.55				456674.716		584		601460.56		0				0		456674.716		0		1271.999

				457254.541		601460.69		585		1255.859						1271.999		585		457254.541				456674.716		585		601460.69		0				0		456674.716		0		1271.999

				457255.532		601460.82		586		1255.924						1271.999		586		457255.532				456674.716		586		601460.82		0				0		456674.716		0		1271.999

				457256.523		601460.95		587		1255.989						1271.999		587		457256.523				456674.716		587		601460.95		0				0		456674.716		0		1271.999

				457257.515		601461.08		588		1256.058						1271.999		588		457257.515				456674.716		588		601461.08		0				0		456674.716		0		1271.999

				457258.506		601461.21		589		1256.126						1271.999		589		457258.506				456674.716		589		601461.21		0				0		456674.716		0		1271.999

				457259.497		601461.339		590		1256.196						1271.999		590		457259.497				456674.716		590		601461.339		0				0		456674.716		0		1271.999

				457260.488		601461.469		591		1256.265						1271.999		591		457260.488				456674.716		591		601461.469		0				0		456674.716		0		1271.999

				457261.479		601461.599		592		1256.335						1271.999		592		457261.479				456674.716		592		601461.599		0				0		456674.716		0		1271.999

				457262.47		601461.729		593		1256.404						1271.999		593		457262.47				456674.716		593		601461.729		0				0		456674.716		0		1271.999

				457263.462		601461.859		594		1256.474						1271.999		594		457263.462				456674.716		594		601461.859		0				0		456674.716		0		1271.999

				457264.453		601461.989		595		1256.543						1271.999		595		457264.453				456674.716		595		601461.989		0				0		456674.716		0		1271.999

				457265.444		601462.119		596		1256.613						1271.999		596		457265.444				456674.716		596		601462.119		0				0		456674.716		0		1271.999

				457266.435		601462.248		597		1256.683						1271.999		597		457266.435				456674.716		597		601462.248		0				0		456674.716		0		1271.999

				457267.426		601462.378		598		1256.753						1271.999		598		457267.426				456674.716		598		601462.378		0				0		456674.716		0		1271.999

				457268.417		601462.508		599		1256.823						1271.999		599		457268.417				456674.716		599		601462.508		0				0		456674.716		0		1271.999

				457269.408		601462.638		600		1256.893						1271.999		600		457269.408				456674.716		600		601462.638		0				0		456674.716		0		1271.999

				457270.4		601462.768		601		1256.965						1271.999		601		457270.4				456674.716		601		601462.768		0				0		456674.716		0		1271.999

				457271.391		601462.898		602		1257.04						1271.999		602		457271.391				456674.716		602		601462.898		0				0		456674.716		0		1271.999

				457272.382		601463.027		603		1257.126						1271.999		603		457272.382				456674.716		603		601463.027		0				0		456674.716		0		1271.999

				457273.373		601463.157		604		1257.212						1271.999		604		457273.373				456674.716		604		601463.157		0				0		456674.716		0		1271.999

				457274.364		601463.287		605		1257.298						1271.999		605		457274.364				456674.716		605		601463.287		0				0		456674.716		0		1271.999

				457275.355		601463.417		606		1257.383						1271.999		606		457275.355				456674.716		606		601463.417		0				0		456674.716		0		1271.999

				457276.347		601463.547		607		1257.469						1271.999		607		457276.347				456674.716		607		601463.547		0				0		456674.716		0		1271.999

				457277.338		601463.677		608		1257.554						1271.999		608		457277.338				456674.716		608		601463.677		0				0		456674.716		0		1271.999

				457278.329		601463.806		609		1257.64						1271.999		609		457278.329				456674.716		609		601463.806		0				0		456674.716		0		1271.999

				457279.32		601463.936		610		1257.725								610		457279.32				456674.716		610		601463.936		0				0		456674.716		0		0

				457280.311		601464.066		611		1257.81								611		457280.311				456674.716		611		601464.066		0				0		456674.716		0		0

				457281.302		601464.196		612		1257.895								612		457281.302				456674.716		612		601464.196		0				0		456674.716		0		0

				457282.293		601464.326		613		1257.982								613		457282.293				456674.716		613		601464.326		0				0		456674.716		0		0

				457283.285		601464.456		614		1258.073								614		457283.285				456674.716		614		601464.456		0				0		456674.716		0		0

				457284.276		601464.586		615		1258.167								615		457284.276				456674.716		615		601464.586		0				0		456674.716		0		0

				457285.267		601464.715		616		1258.261								616		457285.267				456674.716		616		601464.715		0				0		456674.716		0		0

				457286.258		601464.845		617		1258.354								617		457286.258				456674.716		617		601464.845		0				0		456674.716		0		0

				457287.249		601464.975		618		1258.448								618		457287.249				456674.716		618		601464.975		0				0		456674.716		0		0

				457288.24		601465.105		619		1258.541								619		457288.24				456674.716		619		601465.105		0				0		456674.716		0		0

				457289.232		601465.235		620		1258.635								620		457289.232				456674.716		620		601465.235		0				0		456674.716		0		0

				457290.223		601465.365		621		1258.728								621		457290.223				456674.716		621		601465.365		0				0		456674.716		0		0

				457291.214		601465.494		622		1258.821								622		457291.214				456674.716		622		601465.494		0				0		456674.716		0		0

				457292.205		601465.624		623		1258.914								623		457292.205				456674.716		623		601465.624		0				0		456674.716		0		0

				457293.196		601465.754		624		1259.005								624		457293.196				456674.716		624		601465.754		0				0		456674.716		0		0

				457294.187		601465.884		625		1259.094								625		457294.187				456674.716		625		601465.884		0				0		456674.716		0		0

				457295.178		601466.014		626		1259.181								626		457295.178				456674.716		626		601466.014		0				0		456674.716		0		0

				457296.17		601466.144		627		1259.268								627		457296.17				456674.716		627		601466.144		0				0		456674.716		0		0

				457297.161		601466.273		628		1259.355								628		457297.161				456674.716		628		601466.273		0				0		456674.716		0		0

				457298.152		601466.403		629		1259.442								629		457298.152				456674.716		629		601466.403		0				0		456674.716		0		0

				457299.143		601466.533		630		1259.529								630		457299.143				456674.716		630		601466.533		0				0		456674.716		0		0

				457300.134		601466.663		631		1259.617								631		457300.134				456674.716		631		601466.663		0				0		456674.716		0		0

				457301.125		601466.793		632		1259.704								632		457301.125				456674.716		632		601466.793		0				0		456674.716		0		0

				457302.117		601466.923		633		1259.791								633		457302.117				456674.716		633		601466.923		0				0		456674.716		0		0

				457303.108		601467.053		634		1259.879								634		457303.108				456674.716		634		601467.053		0				0		456674.716		0		0

				457304.099		601467.182		635		1259.963								635		457304.099				456674.716		635		601467.182		0				0		456674.716		0		0

				457305.09		601467.312		636		1260.042								636		457305.09				456674.716		636		601467.312		0				0		456674.716		0		0

				457306.081		601467.442		637		1260.111								637		457306.081				456674.716		637		601467.442		0				0		456674.716		0		0

				457307.072		601467.572		638		1260.179								638		457307.072				456674.716		638		601467.572		0				0		456674.716		0		0

				457308.063		601467.702		639		1260.248								639		457308.063				456674.716		639		601467.702		0				0		456674.716		0		0

				457309.055		601467.832		640		1260.317								640		457309.055				456674.716		640		601467.832		0				0		456674.716		0		0

				457310.046		601467.961		641		1260.386								641		457310.046				456674.716		641		601467.961		0				0		456674.716		0		0

				457311.037		601468.091		642		1260.455								642		457311.037				456674.716		642		601468.091		0				0		456674.716		0		0

				457312.028		601468.221		643		1260.524								643		457312.028				456674.716		643		601468.221		0				0		456674.716		0		0

				457313.019		601468.351		644		1260.594								644		457313.019				456674.716		644		601468.351		0				0		456674.716		0		0

				457314.01		601468.481		645		1260.663								645		457314.01				456674.716		645		601468.481		0				0		456674.716		0		0

				457315.002		601468.611		646		1260.733								646		457315.002				456674.716		646		601468.611		0				0		456674.716		0		0

				457315.993		601468.74		647		1260.802								647		457315.993				456674.716		647		601468.74		0				0		456674.716		0		0

				457316.984		601468.87		648		1260.872								648		457316.984				456674.716		648		601468.87		0				0		456674.716		0		0

				457317.975		601469		649		1260.941								649		457317.975				456674.716		649		601469		0				0		456674.716		0		0

				457318.966		601469.13		650		1261.008								650		457318.966				456674.716		650		601469.13		0				0		456674.716		0		0

				457319.957		601469.26		651		1261.072								651		457319.957				456674.716		651		601469.26		0				0		456674.716		0		0

				457320.948		601469.39		652		1261.134								652		457320.948				456674.716		652		601469.39		0				0		456674.716		0		0

				457321.94		601469.52		653		1261.196								653		457321.94				456674.716		653		601469.52		0				0		456674.716		0		0

				457322.931		601469.649		654		1261.258								654		457322.931				456674.716		654		601469.649		0				0		456674.716		0		0

				457323.922		601469.779		655		1261.321								655		457323.922				456674.716		655		601469.779		0				0		456674.716		0		0

				457324.913		601469.909		656		1261.383								656		457324.913				456674.716		656		601469.909		0				0		456674.716		0		0

				457325.904		601470.039		657		1261.446								657		457325.904				456674.716		657		601470.039		0				0		456674.716		0		0

				457326.895		601470.169		658		1261.508								658		457326.895				456674.716		658		601470.169		0				0		456674.716		0		0

				457327.887		601470.299		659		1261.571								659		457327.887				456674.716		659		601470.299		0				0		456674.716		0		0

				457328.878		601470.428		660		1261.635								660		457328.878				456674.716		660		601470.428		0				0		456674.716		0		0

				457329.869		601470.558		661		1261.698								661		457329.869				456674.716		661		601470.558		0				0		456674.716		0		0

				457330.86		601470.688		662		1261.762								662		457330.86				456674.716		662		601470.688		0				0		456674.716		0		0

				457331.851		601470.818		663		1261.825								663		457331.851				456674.716		663		601470.818		0				0		456674.716		0		0

				457332.842		601470.948		664		1261.889								664		457332.842				456674.716		664		601470.948		0				0		456674.716		0		0

				457333.833		601471.078		665		1261.953								665		457333.833				456674.716		665		601471.078		0				0		456674.716		0		0

				457334.825		601471.207		666		1262.016								666		457334.825				456674.716		666		601471.207		0				0		456674.716		0		0

				457335.816		601471.337		667		1262.079								667		457335.816				456674.716		667		601471.337		0				0		456674.716		0		0

				457336.807		601471.467		668		1262.143								668		457336.807				456674.716		668		601471.467		0				0		456674.716		0		0

				457337.798		601471.597		669		1262.206								669		457337.798				456674.716		669		601471.597		0				0		456674.716		0		0

				457338.789		601471.727		670		1262.269								670		457338.789						670		601471.727		0				0		0		0		0

				457339.78		601471.857		671		1262.332								671		457339.78						671		601471.857		0				0		0		0		0

				457340.772		601471.987		672		1262.395								672		457340.772						672		601471.987		0				0		0		0		0

				457341.763		601472.116		673		1262.458								673		457341.763						673		601472.116		0				0		0		0		0

				457342.754		601472.246		674		1262.522								674		457342.754						674		601472.246		0				0		0		0		0

				457343.745		601472.376		675		1262.585								675		457343.745						675		601472.376		0				0		0		0		0

				457344.736		601472.506		676		1262.648								676		457344.736						676		601472.506		0				0		0		0		0

				457345.727		601472.636		677		1262.711								677		457345.727						677		601472.636		0				0		0		0		0

				457346.718		601472.766		678		1262.774								678		457346.718						678		601472.766		0				0		0		0		0

				457347.71		601472.895		679		1262.837								679		457347.71						679		601472.895		0				0		0		0		0

				457348.701		601473.025		680		1262.901								680		457348.701						680		601473.025		0				0		0		0		0

				457349.692		601473.155		681		1262.964								681		457349.692						681		601473.155		0				0		0		0		0

				457350.683		601473.285		682		1263.027								682		457350.683						682		601473.285		0				0		0		0		0

				457351.674		601473.415		683		1263.089								683		457351.674						683		601473.415		0				0		0		0		0

				457352.665		601473.545		684		1263.152								684		457352.665						684		601473.545		0				0		0		0		0

				457353.657		601473.674		685		1263.215								685		457353.657						685		601473.674		0				0		0		0		0

				457354.648		601473.804		686		1263.277								686		457354.648						686		601473.804		0				0		0		0		0

				457355.639		601473.934		687		1263.34								687		457355.639						687		601473.934		0				0		0		0		0

				457356.63		601474.064		688		1263.402								688		457356.63						688		601474.064		0				0		0		0		0

				457357.621		601474.194		689		1263.465								689		457357.621						689		601474.194		0				0		0		0		0

				457358.612		601474.324		690		1263.527								690		457358.612						690		601474.324		0				0		0		0		0

				457359.603		601474.453		691		1263.59								691		457359.603						691		601474.453		0				0		0		0		0

				457360.595		601474.583		692		1263.652								692		457360.595						692		601474.583		0				0		0		0		0

				457361.586		601474.713		693		1263.714								693		457361.586						693		601474.713		0				0		0		0		0

				457362.577		601474.843		694		1263.776								694		457362.577						694		601474.843		0				0		0		0		0

				457363.568		601474.973		695		1263.838								695		457363.568						695		601474.973		0				0		0		0		0

				457364.559		601475.103		696		1263.9								696		457364.559						696		601475.103		0				0		0		0		0

				457365.55		601475.233		697		1263.962								697		457365.55						697		601475.233		0				0		0		0		0

				457366.542		601475.362		698		1264.023								698		457366.542						698		601475.362		0				0		0		0		0

				457367.533		601475.492		699		1264.084								699		457367.533						699		601475.492		0				0		0		0		0

				457368.524		601475.622		700		1264.145								700		457368.524						700		601475.622		0				0		0		0		0

				457369.515		601475.752		701		1264.205								701		457369.515						701		601475.752		0				0		0		0		0

				457370.506		601475.882		702		1264.266								702		457370.506						702		601475.882		0				0		0		0		0

				457371.497		601476.012		703		1264.326								703		457371.497						703		601476.012		0				0		0		0		0

				457372.489		601476.141		704		1264.386								704		457372.489						704		601476.141		0				0		0		0		0

				457373.48		601476.271		705		1264.446								705		457373.48						705		601476.271		0				0		0		0		0

				457374.471		601476.401		706		1264.505								706		457374.471						706		601476.401		0				0		0		0		0

				457375.462		601476.531		707		1264.565								707		457375.462						707		601476.531		0				0		0		0		0

				457376.453		601476.661		708		1264.625								708		457376.453						708		601476.661		0				0		0		0		0

				457377.444		601476.791		709		1264.684								709		457377.444						709		601476.791		0				0		0		0		0

				457378.435		601476.92		710		1264.744								710		457378.435						710		601476.92		0				0		0		0		0

				457379.427		601477.05		711		1264.803								711		457379.427						711		601477.05		0				0		0		0		0

				457380.418		601477.18		712		1264.863								712		457380.418						712		601477.18		0				0		0		0		0

				457381.409		601477.31		713		1264.922								713		457381.409						713		601477.31		0				0		0		0		0

				457382.4		601477.44		714		1264.982								714		457382.4						714		601477.44		0				0		0		0		0

				457383.391		601477.57		715		1265.042								715		457383.391						715		601477.57		0				0		0		0		0

				457384.382		601477.7		716		1265.101								716		457384.382						716		601477.7		0				0		0		0		0

				457385.374		601477.829		717		1265.161								717		457385.374						717		601477.829		0				0		0		0		0

				457386.365		601477.959		718		1265.221								718		457386.365						718		601477.959		0				0		0		0		0

				457387.356		601478.089		719		1265.28								719		457387.356						719		601478.089		0				0		0		0		0

				457388.347		601478.219		720		1265.34								720		457388.347						720		601478.219		0				0		0		0		0

				457389.338		601478.349		721		1265.399								721		457389.338						721		601478.349		0				0		0		0		0

				457390.329		601478.479		722		1265.458								722		457390.329						722		601478.479		0				0		0		0		0

				457391.32		601478.608		723		1265.517								723		457391.32						723		601478.608		0				0		0		0		0

				457392.312		601478.738		724		1265.576								724		457392.312						724		601478.738		0				0		0		0		0

				457393.303		601478.868		725		1265.634								725		457393.303						725		601478.868		0				0		0		0		0

				457394.294		601478.998		726		1265.692								726		457394.294						726		601478.998		0				0		0		0		0

				457395.285		601479.128		727		1265.751								727		457395.285						727		601479.128		0				0		0		0		0

				457396.276		601479.258		728		1265.809								728		457396.276						728		601479.258		0				0		0		0		0

				457397.267		601479.387		729		1265.867								729		457397.267						729		601479.387		0				0		0		0		0

				457398.259		601479.517		730		1265.925								730		457398.259						730		601479.517		0				0		0		0		0

				457399.25		601479.647		731		1265.983								731		457399.25						731		601479.647		0				0		0		0		0

				457400.241		601479.777		732		1266.042								732		457400.241						732		601479.777		0				0		0		0		0

				457401.232		601479.907		733		1266.103								733		457401.232						733		601479.907		0				0		0		0		0

				457402.223		601480.037		734		1266.163								734		457402.223						734		601480.037		0				0		0		0		0

				457403.214		601480.167		735		1266.223								735		457403.214						735		601480.167		0				0		0		0		0

				457404.205		601480.296		736		1266.283								736		457404.205						736		601480.296		0				0		0		0		0

				457405.197		601480.426		737		1266.343								737		457405.197						737		601480.426		0				0		0		0		0

				457406.188		601480.556		738		1266.404								738		457406.188						738		601480.556		0				0		0		0		0

				457407.179		601480.686		739		1266.464								739		457407.179						739		601480.686		0				0		0		0		0

				457408.17		601480.816		740		1266.524								740		457408.17						740		601480.816		0				0		0		0		0

				457409.161		601480.946		741		1266.583								741		457409.161						741		601480.946		0				0		0		0		0

				457410.152		601481.075		742		1266.643								742		457410.152						742		601481.075		0				0		0		0		0

				457411.144		601481.205		743		1266.702								743		457411.144						743		601481.205		0				0		0		0		0

				457412.135		601481.335		744		1266.762								744		457412.135						744		601481.335		0				0		0		0		0

				457413.126		601481.465		745		1266.821								745		457413.126						745		601481.465		0				0		0		0		0

				457414.117		601481.595		746		1266.88								746		457414.117						746		601481.595		0				0		0		0		0

				457415.108		601481.725		747		1266.938								747		457415.108						747		601481.725		0				0		0		0		0

				457416.099		601481.854		748		1266.997								748		457416.099						748		601481.854		0				0		0		0		0

				457417.09		601481.984		749		1267.06								749		457417.09						749		601481.984		0				0		0		0		0

				457418.082		601482.114		750		1267.122								750		457418.082						750		601482.114		0				0		0		0		0

				457419.073		601482.244		751		1267.185								751		457419.073						751		601482.244		0				0		0		0		0

				457420.064		601482.374		752		1267.247								752		457420.064						752		601482.374		0				0		0		0		0

				457421.055		601482.504		753		1267.31								753		457421.055						753		601482.504		0				0		0		0		0

				457422.046		601482.634		754		1267.372								754		457422.046						754		601482.634		0				0		0		0		0

				457423.037		601482.763		755		1267.434								755		457423.037						755		601482.763		0				0		0		0		0

				457424.029		601482.893		756		1267.497								756		457424.029						756		601482.893		0				0		0		0		0

				457425.02		601483.023		757		1267.559								757		457425.02						757		601483.023		0				0		0		0		0

				457426.011		601483.153		758		1267.621								758		457426.011						758		601483.153		0				0		0		0		0

				457427.002		601483.283		759		1267.683								759		457427.002						759		601483.283		0				0		0		0		0

				457427.993		601483.413		760		1267.746								760		457427.993						760		601483.413		0				0		0		0		0

				457428.984		601483.542		761		1267.809								761		457428.984						761		601483.542		0				0		0		0		0

				457429.975		601483.672		762		1267.872								762		457429.975						762		601483.672		0				0		0		0		0

				457430.967		601483.802		763		1267.936								763		457430.967						763		601483.802		0				0		0		0		0

				457431.958		601483.932		764		1268								764		457431.958						764		601483.932		0				0		0		0		0

				457432.949		601484.062		765		1268.068								765		457432.949						765		601484.062		0				0		0		0		0

				457433.94		601484.192		766		1268.136								766		457433.94						766		601484.192		0				0		0		0		0

				457434.931		601484.321		767		1268.205								767		457434.931						767		601484.321		0				0		0		0		0

				457435.922		601484.451		768		1268.274								768		457435.922						768		601484.451		0				0		0		0		0

				457436.914		601484.581		769		1268.343								769		457436.914						769		601484.581		0				0		0		0		0

				457437.905		601484.711		770		1268.411								770		457437.905						770		601484.711		0				0		0		0		0

				457438.896		601484.841		771		1268.48								771		457438.896						771		601484.841		0				0		0		0		0

				457439.887		601484.971		772		1268.548								772		457439.887						772		601484.971		0				0		0		0		0

				457440.878		601485.101		773		1268.617								773		457440.878						773		601485.101		0				0		0		0		0

				457441.869		601485.23		774		1268.686								774		457441.869						774		601485.23		0				0		0		0		0

				457442.86		601485.36		775		1268.754								775		457442.86						775		601485.36		0				0		0		0		0

				457443.852		601485.49		776		1268.823								776		457443.852						776		601485.49		0				0		0		0		0

				457444.843		601485.62		777		1268.892								777		457444.843						777		601485.62		0				0		0		0		0

				457445.834		601485.75		778		1268.962								778		457445.834						778		601485.75		0				0		0		0		0

				457446.825		601485.88		779		1269.033								779		457446.825						779		601485.88		0				0		0		0		0

				457447.816		601486.009		780		1269.108								780		457447.816						780		601486.009		0				0		0		0		0

				457448.807		601486.139		781		1269.182								781		457448.807						781		601486.139		0				0		0		0		0

				457449.799		601486.269		782		1269.257								782		457449.799						782		601486.269		0				0		0		0		0

				457450.79		601486.399		783		1269.331								783		457450.79						783		601486.399		0				0		0		0		0

				457451.781		601486.529		784		1269.405								784		457451.781						784		601486.529		0				0		0		0		0

				457452.772		601486.659		785		1269.477								785		457452.772						785		601486.659		0				0		0		0		0

				457453.763		601486.788		786		1269.549								786		457453.763						786		601486.788		0				0		0		0		0

				457454.754		601486.918		787		1269.619								787		457454.754						787		601486.918		0				0		0		0		0

				457455.745		601487.048		788		1269.686								788		457455.745						788		601487.048		0				0		0		0		0

				457456.737		601487.178		789		1269.751								789		457456.737						789		601487.178		0				0		0		0		0

				457457.728		601487.308		790		1269.814								790		457457.728						790		601487.308		0				0		0		0		0

				457458.719		601487.438		791		1269.874								791		457458.719						791		601487.438		0				0		0		0		0

				457459.71		601487.568		792		1269.932								792		457459.71						792		601487.568		0				0		0		0		0

				457460.701		601487.697		793		1269.993								793		457460.701						793		601487.697		0				0		0		0		0

				457461.692		601487.827		794		1270.058								794		457461.692						794		601487.827		0				0		0		0		0

				457462.684		601487.957		795		1270.135								795		457462.684						795		601487.957		0				0		0		0		0

				457463.675		601488.087		796		1270.216								796		457463.675						796		601488.087		0				0		0		0		0

				457464.666		601488.217		797		1270.301								797		457464.666						797		601488.217		0				0		0		0		0

				457465.657		601488.347		798		1270.39								798		457465.657						798		601488.347		0				0		0		0		0

				457466.648		601488.476		799		1270.484								799		457466.648						799		601488.476		0				0		0		0		0

				457467.639		601488.606		800		1270.58								800		457467.639						800		601488.606		0				0		0		0		0

				457468.63		601488.736		801		1270.68								801		457468.63						801		601488.736		0				0		0		0		0

				457469.622		601488.866		802		1270.78								802		457469.622						802		601488.866		0				0		0		0		0

				457470.613		601488.996		803		1270.883								803		457470.613						803		601488.996		0				0		0		0		0

				457471.604		601489.126		804		1270.991								804		457471.604						804		601489.126		0				0		0		0		0

				457472.595		601489.255		805		1271.102								805		457472.595						805		601489.255		0				0		0		0		0

				457473.586		601489.385		806		1271.218								806		457473.586						806		601489.385		0				0		0		0		0

				457474.577		601489.515		807		1271.328								807		457474.577						807		601489.515		0				0		0		0		0

				457475.569		601489.645		808		1271.44								808		457475.569						808		601489.645		0				0		0		0		0

				457476.56		601489.775		809		1271.549								809		457476.56						809		601489.775		0				0		0		0		0

				457477.551		601489.905		810		1271.655								810		457477.551						810		601489.905		0				0		0		0		0

				457478.542		601490.034		811		1271.749								811		457478.542						811		601490.034		0				0		0		0		0

				457479.533		601490.164		812		1271.849								812		457479.533						812		601490.164		0				0		0		0		0

				457480.524		601490.294		813		1271.947								813		457480.524						813		601490.294		0				0		0		0		0

				457481.117		601490.372		813.6		1271.992								813.6		457481.117						813.6		601490.372		0				0		0		0		0





Flood Routing1000yrs

																														At t=0 specify Storage, Inflow = Outflow

		Reservoir Routing with uncontrolled spillway														Surface area = 100 ha (1ha = 10,000 sq m)

		1.7		Weir coeff Cd														1,000,000		surface area in sq m												In col 4 Calc 2*S(t) - Outflow(t)

		20		Weir length m												Area increases .1ha for each meter increase in elevation																In col 5 calc SIF = 2*S(t)/dt + Outflow(t)

																Crest is at		1,270

		Flood Pool Storage		Elevation		Area		Storage		Storage Indication Factor		Outflow				1		2		3		4		5		6		7		At t=n		Calc SIF =  Inflow(t) + Inflow(t-1) +Col 4(t-1)

		(m^3)		(m)		(ha)		(m^3)		(cms)		(cms)				time		storage		inflow (M3/s)		2*S(t)/dt - O(t)		SIF		Out flow(M3/s)		Elevation				Look up O(t) on Storage Indication Curve and enter into Col 6

		0		1270		103.012						0.000				(hr)		m^3		(cms)		(cms)		(cms)		(cms)		(m)				Calc Col 4(t) as SIF(t) - 2*O(t)

		0		1270		103.012		0.00		0		0.000				0.0		0		0.0		0.00		0.00		0.000		1270.000				Calc Storage(t) using columns 4,6

		103,012		1270.1		103.01169		28.61		58.3039771822		1.075				0.3		541		0.3		0.30		0.30		0.000		1270.000				Calc Elevation using Storage-Elevation relationship

		206,934		1270.2		103.922308		57.48		118.0045568937		3.041				0.5		2,164		0.6		1.20		1.20		0.000		1270.000						(in this case, S=0 at 1070; Elev = 1070 + Storage/Area

		311,629		1270.3		104.740728		86.56		178.7140434197		5.587				0.8		12,923		5.4		7.18		7.18		0.000		1270.000		Continue to end of time series

		417,147		1270.4		105.561328		115.87		240.3495374577		8.601				1.1		56,469		18.8		31.37		31.37		0.000		1270.000

		523,498		1270.5		106.387328		145.42		302.8532152799		12.021				1.1		124,603		20.1		68.15		70.30		1.075		1270.100

		630,693		1270.6		107.218998		175.19		366.1867687189		15.802				1.4		226,273		40.5		122.67		128.75		3.041		1270.200				For varying Weir Lengths:

		738,735		1270.7		108.055072		205.20		430.3207041867		19.913				1.4		360,574		42.8		194.73		205.91		5.587		1270.300

		847,652		1270.8		108.901072		235.46		495.2463573725		24.328				1.7		529,733		68.8		282.28		306.32		12.021		1270.500				Weir length:		Max Elevation				Max d.s. Q

		957,442		1270.9		109.752832		265.96		560.9417889198		29.030				1.9		754,122		87.8		399.04		438.87		19.913		1270.700				6		1270.8635				8.185

		1,068,134		1271		110.614832		296.70		627.4078666661		34.000				2.2		991,100		92.8		521.58		579.64		29.030		1270.900				7		1270.8135				8.7313

		1,181,578		1271.1		111.8202859479		328.22		695.6574357617		39.225				2.5		1,184,001		82.6		618.55		697.00		39.225		1271.100				8		1270.8135				9.978729

		1,295,377		1271.2		112.8840859479		359.83		764.347780518		44.694				3.0		1,287,894		53.6		676.27		754.72		39.225		1271.100				8.5		1270.8135				10.6024

		1,409,006		1271.3		113.7581859479		391.39		833.1769808227		50.396				3.2		1,301,783		38.1		678.52		767.91		44.694		1271.200				10		1270.7635				11.34129		64.22		5.6624951835

		1,523,685		1271.4		114.6572859479		423.25		902.8127471094		56.321				3.5		1,259,766		22.5		660.64		739.10		39.225		1271.100				15		1270.7135				1536849

		1,639,471		1271.5		115.5840859479		455.41		973.279013223		62.462				3.8		1,185,914		9.7		624.84		692.84		34.000		1271.100				20		1270.7135				18.37555

		1,756,390		1271.6		116.5367859479		487.89		1044.583543875		68.811				4.1		1,084,545		2.0		568.52		636.52		34.000		1271.000				50		1270.5135				31.277

		1,874,492		1271.7		117.5164859479		520.69		1116.7464967793		75.362				4.3		974,711		0.0		512.48		570.54		29.030		1270.900

		1,993,834		1271.8		118.5250859479		553.84		1189.7938458722		82.108				5		878,666		0		463.82		512.48		24.328		1270.800

		2,114,430		1271.9		119.5595859479		587.34		1263.7283252179		89.045				6		799,032		0		423.99		463.82		19.913		1270.700						0.1

		2,242,120		1272		121.2		622.81		1341.7887444622		96.167				7		734,747		0		392.39		423.99		15.802		1270.600

		2,363,781		1272.1		122.11		656.61		1416.680096633		103.468				8		677,860		0		360.79		392.39		15.802		1270.600

		2,486,352		1272.2		123.02		690.65		1492.2529960321		110.946				9		627,780		0		336.75		360.79		12.021		1270.500

		2,609,833		1272.3		123.93		724.95		1568.5033941656		118.596				10		584,505		0		312.70		336.75		12.021		1270.500

		2,734,224		1272.4		124.84		759.51		1645.4275097519		126.414				11		541,230		0		288.66		312.70		12.021		1270.500

		2,859,525		1272.5		125.75		794.31		1723.0218005554		134.397				12		504,110		0		271.46		288.66		8.601		1270.400

		2,985,736		1272.6		126.66		829.37		1801.2829392103		142.541				13		473,145		0		254.26		271.46		8.601		1270.400

		3,112,857		1272.7		127.57		864.68		1880.207792335		150.843				14		442,180		0		237.05		254.26		8.601		1270.400

		3,240,888		1272.8		128.48		900.25		1959.7934023834		159.300				15		416,641		0		225.88		237.05		5.587		1270.300

		3,369,829		1272.9		129.39		936.06		2040.0369717881		167.910				16		396,529		0		214.71		225.88		5.587		1270.300

		3,499,680		1273		130.3		972.13		2120.9358490365		176.669				17		376,416		0		203.53		214.71		5.587		1270.300

		3,630,441		1273.1		131.21		1008.46		2202.4875163862		185.576				18		356,304		0		192.36		203.53		5.587		1270.300

		3,762,112		1273.2		132.12		1045.03		2284.6895789814		194.627				19		336,192		0		181.19		192.36		5.587		1270.300

		3,894,693		1273.3		133.03		1081.86		2367.5397551687		203.821				20		316,079		0		170.01		181.19		5.587		1270.300

		4,028,184		1273.4		133.94		1118.94		2451.03586785		213.156				21		300,549		0		163.93		170.01		3.041		1270.200

		4,162,585		1273.5		134.85		1156.27		2535.1758367326		222.629				22		289,601		0		157.85		163.93		3.041		1270.200

		4,297,896		1273.6		135.76		1193.86		2619.95767136		232.238				23		278,653		0		151.77		157.85		3.041		1270.200

		4,434,117		1273.7		136.67		1231.70		2705.3794648263		241.981				24		267,706		0		145.68		151.77		3.041		1270.200

		4,571,248		1273.8		137.58		1269.79		2791.4393880891		251.857				25		256,758		0		139.60		145.68		3.041		1270.200

		4,709,289		1273.9		138.49		1308.14		2878.1356848104		261.864				26		245,810		0		133.52		139.60		3.041		1270.200

		4,848,240		1274		139.4		1346.73		2965.4666666635		272.000				27		234,862		0		127.44		133.52		3.041		1270.200

		4,988,101		1274.1		140.31		1385.58		3053.4307090535		282.263				28		223,915		0		121.36		127.44		3.041		1270.200

		5,128,872		1274.2		141.22		1424.69		3142.0262472057		292.653				29		212,967		0		115.27		121.36		3.041		1270.200

		5,270,553		1274.3		142.13		1464.04		3231.2517725821		303.167				30		205,558		0		113.12		115.27		1.075		1270.100

		5,413,144		1274.4		143.04		1503.65		3321.1058295911		313.804				31		201,687		0		110.97		113.12		1.075		1270.100

		5,556,645		1274.5		143.95		1543.51		3411.5870125609		324.562				32		197,816		0		108.82		110.97		1.075		1270.100

		5,701,056		1274.6		144.86		1583.63		3502.6939629497		335.441				33		193,946		0		106.67		108.82		1.075		1270.100

		5,846,377		1274.7		145.77		1623.99		3594.4253667694		346.438

		5,992,608		1274.8		146.68		1664.61		3686.779952202		357.553

		6,139,749		1274.9		147.59		1705.49		3779.7564873914		368.785

		6,287,800		1275		148.5		1746.61		3873.3537783929		380.132

		6,436,761		1275.1		149.41		1787.99		3967.5706672682		391.592

		6,586,632		1275.2		150.32		1829.62		4062.4060303106		403.166

		6,737,413		1275.3		151.23		1871.50		4157.8587763909		414.852												Maximum:		44.6941606924		1271.2

		6,889,104		1275.4		152.14		1913.64		4253.9278454135		426.648												Water Depth Above Pool level=spillway crest=								1.20

		7,041,705		1275.5		153.05		1956.03		4350.612206872		438.554

		7,195,216		1275.6		153.96		1998.67		4447.9108584981		450.569

		7,349,637		1275.7		154.87		2041.57		4545.8228249951		462.691

		7,504,968		1275.8		155.78		2084.71		4644.347156849		474.920

		7,661,209		1275.9		156.69		2128.11		4743.4829292127		487.256

		7,818,360		1276		157.6		2171.77		4843.2292408556		499.696

		7,976,421		1276.1		158.5099999999		2215.67		4943.5852131757		512.240

		8,135,392		1276.2		159.4199999999		2259.83		5044.5499892677		524.888

		8,295,273		1276.3		160.3299999999		2304.24		5146.122733045		537.638

		8,456,064		1276.4		161.2399999999		2348.91		5248.3026284095		550.489

		8,617,765		1276.5		162.1499999999		2393.82		5351.0888784681		563.442

		8,780,376		1276.6		163.0599999999		2438.99		5454.4807047909		576.494

		8,943,897		1276.7		163.9699999999		2484.42		5558.4773467089		589.646

		9,108,328		1276.8		164.8799999999		2530.09		5663.0780606489		602.896

		9,273,669		1276.9		165.7899999999		2576.02		5768.2821195023		616.244

		9,439,920		1277		166.6999999999		2622.20		5874.0888120266		629.689

		9,607,081		1277.1		167.6099999999		2668.63		5980.4974422765		643.230

		9,775,152		1277.2		168.5199999999		2715.32		6087.5073290633		656.867

		9,944,133		1277.3		169.4299999999		2762.26		6195.1178054405		670.599

		10,114,024		1277.4		170.3399999999		2809.45		6303.3282182145		684.426

		10,284,825		1277.5		171.2499999999		2856.90		6412.1379274783		698.346

		10,456,536		1277.6		172.1599999999		2904.59		6521.5463061671		712.360

		10,629,157		1277.7		173.0699999999		2952.54		6631.5527396343		726.466

		10,802,688		1277.8		173.9799999999		3000.75		6742.156625247		740.663

		10,977,129		1277.9		174.8899999999		3049.20		6853.3573719997		754.952

		11,152,480		1278		175.7999999999		3097.91		6965.154400145		769.332

		11,328,741		1278.1		176.7099999999		3146.87		7077.547140841		783.802

		11,505,912		1278.2		177.6199999999		3196.09		7190.5350358132		798.362

		11,683,993		1278.3		178.5299999999		3245.55		7304.1175370313		813.010

		11,862,984		1278.4		179.4399999999		3295.27		7418.2941064003		827.747

		12,042,885		1278.5		180.3499999999		3345.25		7533.0642154629		842.573

		12,223,696		1278.6		181.2599999999		3395.47		7648.4273451162		857.485

		12,405,417		1278.7		182.1699999999		3445.95		7764.3829853381		872.485

		12,588,048		1278.8		183.0799999999		3496.68		7880.9306349263		887.571

		12,771,589		1278.9		183.9899999999		3547.66		7998.0698012462		902.743

		12,956,040		1279		184.8999999999		3598.90		8115.7999999903		918.000

		13,141,401		1279.1		185.8099999999		3650.39		8234.1207549459		933.342

		13,327,672		1279.2		186.7199999999		3702.13		8353.031597772		948.769

		13,514,853		1279.3		187.6299999999		3754.13		8472.5320677848		964.280

		13,702,944		1279.4		188.5399999999		3806.37		8592.6217117514		979.875

		13,891,945		1279.5		189.4499999999		3858.87		8713.3000836913		995.553

		14,081,856		1279.6		190.3599999999		3911.63		8834.5667446844		1011.313

		14,272,677		1279.7		191.2699999999		3964.63		8956.4212626874		1027.156

		14,464,408		1279.8		192.1799999999		4017.89		9078.8632123554		1043.081

		14,657,049		1279.9		193.0899999999		4071.40		9201.8921748711		1059.087

		14,850,600		1280		193.9999999999		4125.17		9325.5077377793		1075.174

		15,045,061		1280.1		194.9099999999		4179.18		9449.7094948274		1091.342

		15,240,432		1280.2		195.8199999999		4233.45		9574.4970458115		1107.590

		15,436,713		1280.3		196.7299999999		4287.98		9699.869996428		1123.918

		15,633,904		1280.4		197.6399999999		4342.75		9825.8279581296		1140.326

		15,832,005		1280.5		198.5499999999		4397.78		9952.370547987		1156.812

		16,031,016		1280.6		199.4599999999		4453.06		10079.4973885546		1173.377

		16,230,937		1280.7		200.3699999999		4508.59		10207.2081077408		1190.021

		16,431,768		1280.8		201.2799999999		4564.38		10335.5023386828		1206.742

		16,633,509		1280.9		202.1899999999		4620.42		10464.3797196251		1223.541

		16,836,160		1281		203.0999999999		4676.71		10593.8398938022		1240.418

		17,039,721		1281.1		204.0099999999		4733.26		10723.8825093248		1257.371

		17,244,192		1281.2		204.9199999999		4790.05		10854.50721907		1274.401

		17,449,573		1281.3		205.8299999999		4847.10		10985.7136805743		1291.506

		17,655,864		1281.4		206.7399999999		4904.41		11117.5015559304		1308.688

		17,863,065		1281.5		207.6499999999		4961.96		11249.8705116871		1325.946

		18,071,176		1281.6		208.5599999999		5019.77		11382.8202187524		1343.278

		18,280,197		1281.7		209.4699999999		5077.83		11516.3503522991		1360.685

		18,490,128		1281.8		210.3799999999		5136.15		11650.4605916733		1378.167

		18,700,969		1281.9		211.2899999999		5194.71		11785.1506203062		1395.723

		18,912,720		1282		212.1999999999		5253.53		11920.4201256281		1413.353





Flood Routing1000yrs

		



inflow (M3/s)

Out flow(M3/s)

Time hr

Q (m3/s)



Flood Routing500yrs

																														At t=0 specify Storage, Inflow = Outflow

		Reservoir Routing with uncontrolled spillway														Surface area = 100 ha (1ha = 10,000 sq m)

		1.7		Weir coeff Cd														1,000,000		surface area in sq m												In col 4 Calc 2*S(t) - Outflow(t)

		10		Weir length m												Area increases .1ha for each meter increase in elevation																In col 5 calc SIF = 2*S(t)/dt + Outflow(t)

																Crest is at		1,270

		Flood Pool Storage		Elevation		Area		Storage		Storage Indication Factor		Outflow				1		2		3		4		5		6		7		At t=n		Calc SIF =  Inflow(t) + Inflow(t-1) +Col 4(t-1)

		(m^3)		(m)		(ha)		(m^3)		(cms)		(cms)				time		storage		inflow(t)		2*S(t)/dt - O(t)		SIF		O(t)		Elevation				Look up O(t) on Storage Indication Curve and enter into Col 6

		0		1270		103.012						0.000				(hr)		m^3		(cms)		(cms)		(cms)		(cms)		(m)				Calc Col 4(t) as SIF(t) - 2*O(t)

		0		1270		103.012		0.00		0		0.000				0.0		0		0.0		0.00		0.00		0.000		1270.000				Calc Storage(t) using columns 4,6

		103,012		1270.1		103.01169		28.61		57.76638998		0.538				0.3		639		0.4		0.35		0.35		0.000		1270.000				Calc Elevation using Storage-Elevation relationship

		206,934		1270.2		103.922308		57.48		116.484030669		1.521				0.5		2,554		0.7		1.42		1.42		0.000		1270.000						(in this case, S=0 at 1070; Elev = 1070 + Storage/Area

		311,629		1270.3		104.740728		86.56		175.9206583764		2.793				0.8		12,751		5.0		7.08		7.08		0.000		1270.000		Continue to end of time series

		417,147		1270.4		105.561328		115.87		236.0488398398		4.301				1.1		52,278		17.0		29.04		29.04		0.000		1270.000

		523,498		1270.5		106.387328		145.42		296.8428076398		6.010				1.1		114,592		18.2		63.12		64.20		0.538		1270.100

		630,693		1270.6		107.218998		175.19		358.2858826926		7.901				1.4		209,163		36.4		114.68		117.72		1.521		1270.200				For varying Weir Lengths:

		738,735		1270.7		108.055072		205.20		420.3644498709		9.956				1.4		336,257		38.5		184.02		189.60		2.793		1270.300

		847,652		1270.8		108.901072		235.46		483.0821475749		12.164				1.7		504,275		62.0		275.85		284.45		4.301		1270.400				Weir length:		Max Elevation				Max d.s. Q

		957,442		1270.9		109.752832		265.96		546.4269344597		14.515				1.9		736,444		79.2		401.23		417.04		7.901		1270.600				6		1270.8635				8.185

		1,068,134		1271		110.614832		296.70		610.4078666661		17.000				2.2		989,917		84.0		535.44		564.47		14.515		1270.900				7		1270.8135				8.7313

		1,181,578		1271.1		111.8202859479		328.22		676.044710301		19.613				2.5		1,214,353		74.8		655.03		694.25		19.613		1271.100				8		1270.8135				9.978729

		1,295,377		1271.2		112.8840859479		359.83		742.0007001719		22.347				3.0		1,360,861		48.6		733.69		778.38		22.347		1271.200				8.5		1270.8135				10.6024

		1,409,006		1271.3		113.7581859479		391.39		807.979103928		25.198				3.2		1,424,846		34.5		766.38		816.78		25.198		1271.300				10		1270.7635				11.34129		64.22		5.6624951835

		1,523,685		1271.4		114.6572859479		423.25		874.6522073419		28.161				3.5		1,433,265		20.5		771.06		821.46		25.198		1271.300				15		1270.7135				1536849

		1,639,471		1271.5		115.5840859479		455.41		942.0480190025		31.231				3.8		1,400,577		8.9		755.75		800.45		22.347		1271.200				20		1270.7135				18.37555

		1,756,390		1271.6		116.5367859479		487.89		1010.1779629324		34.406				4.1		1,339,385		1.8		721.76		766.45		22.347		1271.200				50		1270.5135				31.277

		1,874,492		1271.7		117.5164859479		520.69		1079.0655068773		37.681				4.3		1,267,180		0.0		684.38		723.60		19.613		1271.100

		1,993,834		1271.8		118.5250859479		553.84		1148.7396378053		41.054				5		1,196,574		0		645.15		684.38		19.613		1271.100

		2,114,430		1271.9		119.5595859479		587.34		1219.2058477487		44.522				6		1,130,671		0		611.15		645.15		17.000		1271.000						0.1

		2,236,352		1272		120.6231859479		621.21		1290.50096083		48.083				7		1,069,471		0		577.15		611.15		17.000		1271.000

		2,363,907		1272.1		122.122		656.64		1365.0158816492		51.734				8		1,012,744		0		548.12		577.15		14.515		1270.900

		2,486,484		1272.2		123.032		690.69		1436.853164682		55.473				9		960,491		0		519.09		548.12		14.515		1270.900

		2,609,971		1272.3		123.942		724.99		1509.2819748598		59.298				10		912,469		0		494.76		519.09		12.164		1270.800

		2,734,368		1272.4		124.852		759.55		1582.3004215418		63.207				11		868,677		0		470.43		494.76		12.164		1270.800

		2,859,675		1272.5		125.762		794.35		1655.9067336102		67.198				12		828,861		0		450.52		470.43		9.956		1270.700

		2,985,892		1272.6		126.672		829.41		1730.0992473821		71.270				13		793,018		0		430.61		450.52		9.956		1270.700

		3,113,019		1272.7		127.582		864.73		1804.8763961666		75.421				14		757,176		0		410.70		430.61		9.956		1270.700

		3,241,056		1272.8		128.492		900.29		1880.2367011908		79.650				15		725,033		0		394.90		410.70		7.901		1270.600

		3,370,003		1272.9		129.402		936.11		1956.1787636709		83.955				16		696,590		0		379.09		394.90		7.901		1270.600

		3,499,860		1273		130.312		972.18		2032.7012578506		88.335				17		668,146		0		363.29		379.09		7.901		1270.600

		3,630,627		1273.1		131.222		1008.51		2109.8029248588		92.788				18		639,703		0		347.49		363.29		7.901		1270.600

		3,762,304		1273.2		132.132		1045.08		2187.4825672674		97.314				19		614,663		0		335.47		347.49		6.010		1270.500

		3,894,891		1273.3		133.042		1081.91		2265.7390442499		101.911				20		593,025		0		323.45		335.47		6.010		1270.500

		4,028,388		1273.4		133.952		1119.00		2344.5712672572		106.578				21		571,388		0		311.43		323.45		6.010		1270.500

		4,162,795		1273.5		134.862		1156.33		2423.9781961429		111.314				22		549,750		0		299.41		311.43		6.010		1270.500

		4,298,112		1273.6		135.772		1193.92		2503.9588356787		116.119				23		528,113		0		287.39		299.41		6.010		1270.500

		4,434,339		1273.7		136.682		1231.76		2584.5122324119		120.991				24		509,553		0		278.78		287.39		4.301		1270.400

		4,571,476		1273.8		137.592		1269.85		2665.637471821		125.929				25		494,070		0		270.18		278.78		4.301		1270.400

		4,709,523		1273.9		138.502		1308.20		2747.3336757372		130.932				26		478,588		0		261.58		270.18		4.301		1270.400

		4,848,480		1274		139.412		1346.80		2829.599999997		136.000				27		463,105		0		252.98		261.58		4.301		1270.400

		4,988,347		1274.1		140.322		1385.65		2912.4356323031		141.132				28		447,623		0		244.38		252.98		4.301		1270.400

		5,129,124		1274.2		141.232		1424.76		2995.839790268		146.326				29		432,140		0		235.78		244.38		4.301		1270.400

		5,270,811		1274.3		142.142		1464.11		3079.8117196229		151.583				30		419,371		0		230.19		235.78		2.793		1270.400

		5,413,408		1274.4		143.052		1503.72		3164.3506925718		156.902				31		409,315		0		224.60		230.19		2.793		1270.300

		5,556,915		1274.5		143.962		1543.59		3249.4560062788		162.281				32		399,259		0		219.02		224.60		2.793		1270.300

		5,701,332		1274.6		144.872		1583.70		3335.1269814732		167.720				33		389,203		0		213.43		219.02		2.793		1270.300

		5,846,659		1274.7		145.782		1624.07		3421.3629611607		173.219

		5,992,896		1274.8		146.692		1664.69		3508.1633094325		178.777

		6,140,043		1274.9		147.602		1705.57		3595.5274103605		184.392

		6,288,100		1275		148.512		1746.69		3683.4546669724		190.066

		6,437,067		1275.1		149.422		1788.07		3771.9445002989		195.796

		6,586,944		1275.2		150.332		1829.71		3860.9963484866		201.583

		6,737,731		1275.3		151.242		1871.59		3950.6096659712		207.426												Maximum:		25.1978768947		1271.3

		6,889,428		1275.4		152.152		1913.73		4040.7839227047		213.324												Water Depth Above Pool level=spillway crest=								1.30

		7,042,035		1275.5		153.062		1956.12		4131.5186034339		219.277

		7,195,552		1275.6		153.972		1998.76		4222.8132070247		225.284

		7,349,979		1275.7		154.882		2041.66		4314.6672458286		231.346

		7,505,316		1275.8		155.792		2084.81		4407.0802450889		237.460

		7,661,563		1275.9		156.702		2128.21		4500.0517423818		243.628

		7,818,720		1276		157.612		2171.87		4593.5812870921		249.848

		7,976,787		1276.1		158.5219999999		2215.77		4687.6684399187		256.120

		8,135,764		1276.2		159.4319999999		2259.93		4782.3127724091		262.444

		8,295,651		1276.3		160.3419999999		2304.35		4877.5138665199		268.819

		8,456,448		1276.4		161.2519999999		2349.01		4973.2713142021		275.245

		8,618,155		1276.5		162.1619999999		2393.93		5069.5847170092		281.721

		8,780,772		1276.6		163.0719999999		2439.10		5166.4536857261		288.247

		8,944,299		1276.7		163.9819999999		2484.53		5263.8778400184		294.823

		9,108,736		1276.8		164.8919999999		2530.20		5361.8568080994		301.448

		9,274,083		1276.9		165.8019999999		2576.13		5460.3902264149		308.122

		9,440,340		1277		166.7119999999		2622.32		5559.4777393437		314.844

		9,607,507		1277.1		167.6219999999		2668.75		5659.118998913		321.615

		9,775,584		1277.2		168.5319999999		2715.44		5759.3136645286		328.434

		9,944,571		1277.3		169.4419999999		2762.38		5860.0614027171		335.300

		10,114,468		1277.4		170.3519999999		2809.57		5961.3618868818		342.213

		10,285,275		1277.5		171.2619999999		2857.02		6063.2147970692		349.173

		10,456,992		1277.6		172.1719999999		2904.72		6165.6198197469		356.180

		10,629,619		1277.7		173.0819999999		2952.67		6268.5766475915		363.233

		10,803,156		1277.8		173.9919999999		3000.88		6372.0849792867		370.332

		10,977,603		1277.9		174.9019999999		3049.33		6476.1445193297		377.476

		11,152,960		1278		175.8119999999		3098.04		6580.7549778467		384.666

		11,329,227		1278.1		176.7219999999		3147.01		6685.9160704169		391.901

		11,506,404		1278.2		177.6319999999		3196.22		6791.6275179029		399.181

		11,684,491		1278.3		178.5419999999		3245.69		6897.8890462897		406.505

		11,863,488		1278.4		179.4519999999		3295.41		7004.7003865297		413.874

		12,043,395		1278.5		180.3619999999		3345.39		7112.0612743943		421.286

		12,224,212		1278.6		181.2719999999		3395.61		7219.9714503319		428.743

		12,405,939		1278.7		182.1819999999		3446.09		7328.4306593317		436.242

		12,588,576		1278.8		183.0919999999		3496.83		7437.4386507924		443.785

		12,772,123		1278.9		184.0019999999		3547.81		7546.9951783967		451.371

		12,956,580		1279		184.9119999999		3599.05		7657.099999991		459.000

		13,141,947		1279.1		185.8219999999		3650.54		7767.7528774687		466.671

		13,328,224		1279.2		186.7319999999		3702.28		7878.9535766594		474.385

		13,515,411		1279.3		187.6419999999		3754.28		7990.7018672213		482.140

		13,703,508		1279.4		188.5519999999		3806.53		8102.9975225379		489.938

		13,892,515		1279.5		189.4619999999		3859.03		8215.8403196189		497.776

		14,082,432		1279.6		190.3719999999		3911.79		8329.2300390042		505.657

		14,273,259		1279.7		191.2819999999		3964.79		8443.1664646723		513.578

		14,464,996		1279.8		192.1919999999		4018.05		8557.6493839507		521.540

		14,657,643		1279.9		193.1019999999		4071.57		8672.6785874307		529.544

		14,851,200		1280		194.0119999999		4125.33		8788.2538688848		537.587

		15,045,667		1280.1		194.9219999999		4179.35		8904.3750251865		545.671

		15,241,044		1280.2		195.8319999999		4233.62		9021.0418562341		553.795

		15,437,331		1280.3		196.7419999999		4288.15		9138.2541648756		561.959

		15,634,528		1280.4		197.6519999999		4342.92		9256.0117568374		570.163

		15,832,635		1280.5		198.5619999999		4397.95		9374.3144406549		578.406

		16,031,652		1280.6		199.4719999999		4453.24		9493.1620276053		586.689

		16,231,579		1280.7		200.3819999999		4508.77		9612.5543316428		595.010

		16,432,416		1280.8		201.2919999999		4564.56		9732.4911693359		603.371

		16,634,163		1280.9		202.2019999999		4620.60		9852.972359807		611.771

		16,836,820		1281		203.1119999999		4676.89		9973.9977246732		620.209

		17,040,387		1281.1		204.0219999999		4733.44		10095.56708799		628.685

		17,244,864		1281.2		204.9319999999		4790.24		10217.6802761959		637.200

		17,450,251		1281.3		205.8419999999		4847.29		10340.337118059		645.753

		17,656,548		1281.4		206.7519999999		4904.60		10463.5374446259		654.344

		17,863,755		1281.5		207.6619999999		4962.15		10587.2810891709		662.973

		18,071,872		1281.6		208.5719999999		5019.96		10711.5678871479		671.639

		18,280,899		1281.7		209.4819999999		5078.03		10836.3976761433		680.343

		18,490,836		1281.8		210.3919999999		5136.34		10961.7702958304		689.084

		18,701,683		1281.9		211.3019999999		5194.91		11087.6855879246		697.862

		18,913,440		1282		212.2119999999		5253.73		11214.1433961409		706.677





Freeboard

						Free board Calculation

				Fb=hw+R+S

				Fb, freaboard (m)

				Hw,wave height=0.032*(VF)^2+0.76-0.27F^(1/4),F<32 km														0.565785179

				V=wind velocity (km/hr)=						7.54

				F=fetch length(km)						1.742

				R=Wave run up=50%hw														0.2828925895

				S=wind set up=V2*F*Cosα														0.0018008417

				α=angle between the wind direction and the fetch=0												0

				Average reservior depth in meters over the fetch distance=10m=														8.87

														Fb=		0.8504786102

						Free board above the normal pond level(NPL)=										Fb+water head over the spillway						2.15

						Dam height=NPL-bedlevel+Gross freaboard																3.2291786102

								16.6504786102

				Considering settlment allowance of 2% of dam height

										Extra free board for settlment=								0.3330095722						14.5

				Hence gross freeboard=						2.4834881825														17.719

				hence total dam height including settlment allowance =												16.9834881825		take		18				0.35438

												2711

																						3.219		3.57338

								Top width		determination using Merrima's formula														18.073

								B=0.2H+1.5

						where B=top width(m)

								4.8966976365		hence better to adopt 5m to easily pass a vickel over it.

						Provide berms both on upstream and down stream at half height of the dam to break errosion over the dam

								Berm width=				3.00m

								U/s and downstream slope.

														5.1

								2.426						2.574

								3.074





Sediment

		

		Time  (Year)		Capacity  (Mm3)-from reservoir contour calculation.		85% Annual inflow (Mm3) Design Yield		Capacity :Inflow ratio  ( col2/col3)		Trap efficiency  (%) From curve		AVERAGE Trap efficiency (%) (Col5i+col5ii)/2		Sediment deposited (Mm3) Sedimet yield/100*(col1ii-col1i)		Cumulative sediment deposited (Mm3)								Time  (Year)		Capacity  (Mm3)-from reservoir contour calculation.		85% Annual inflow (Mm3) Design Yield		Capacity :Inflow ratio  ( col2/col3)		Trap efficiency  (%) From curve		AVERAGE Trap efficiency (%) (Col5i+col5ii)/2		Sediment deposited (Mm3) Sedimet yield/100*(col1ii-col1i)		Cumulative sediment deposited (Mm3)

		1		2		3		4		5		6		7		8								1		2		3		4		5		6		7		8

		0		5.884		0.00		0		0				0.000		0.000								0		FRLV1-1

		5		5.884		101.09		0.0582		75		37.5		0.063		0.063								5		Col2i-col7

		10		5.821		202.17		0.0288		62		68.5		0.063		0.127								10		Col2ii-col7

		20		5.757		404.35		0.0142		50		56		0.127		0.254								.		.

		30		5.630		606.52		0.0093		44		47		0.127		0.381								.		.

		40		5.503		808.70		0.0068		38		41		0.127		0.508								.		.

		50		5.377		1010.87		0.0053		31		34.5		0.127		0.635								50		FRLV1-n





DrawDown

		Kombolcha

		Elevation		Volume (Mcm)		Time (days)				Volume		Computed Level (m)		Remark

		1253.76		0.00

		1254		0.00

		1255		0.00

		1256		0.03

		1257		0.07

		1258		0.15

		1259		0.26

		1260		0.40

		1261		0.60

		1262		0.87

		1263		1.23

		1264		1.67

		1265		2.20

		1266		2.81

		1267		3.51

		1268		4.31		31		90		5.22		0.98

		1269		5.21		28		59		4		2.20

		1270		6.20		31		31		1.9		4.30		Reservior Level

		1270.1		6.30

		1270.2		6.40

		1270.3		6.51								From this weconclude

		1270.4		6.62								0		1270

		1270.5		6.72								31		1268

		1270.6		6.83								59		1265

		1270.7		6.94								90		0.98

		1270.8		7.05

		1270.9		7.16

		1271		8.27

		1271.1		8.38

		1271.2		8.50

		1271.3		8.61

		1271.4		8.73

		1271.5		8.84

		1271.6		8.96

		1271.7		9.08

		1271.8		9.20

		1271.9		9.32





PlotF

		Kombolcha

		Elevation		Area(m2)												height		Aav		Volume				Cum_V		Area (ha)		Volume (Mcm)

		1253.76		0		0														0		0		0.00		0		0.00

		1254		508.28		0.050828										0.24		254.14		60.9936		0.0000609936		0.00		0.050828		0.00

		1255		7737.46		0.773746										1		4122.87		4122.87		0.00412287		0.00		0.773746		0.00

		1256		34142.41		3.414241										1		20939.935		20939.935		0.020939935		0.03		3.414241		0.03

		1257		61180.648		6.1180648										1		47661.529		47661.529		0.047661529		0.07		6.1180648		0.07

		1258		89622.59		8.962259										1		75401.619		75401.619		0.075401619		0.15		8.962259		0.15

		1259		125600.8		12.56008										1		107611.695		107611.695		0.107611695		0.26		12.56008		0.26

		1260		162695.05		16.269505										1		144147.925		144147.925		0.144147925		0.40		16.269505		0.40

		1261		232282		23.2282										1		197488.525		197488.525		0.197488525		0.60		23.2282		0.60

		1262		317573		31.7573										1		274927.5		274927.5		0.2749275		0.87		31.7573		0.87

		1263		395859.6		39.58596										1		356716.3		356716.3		0.3567163		1.23		39.58596		1.23

		1264		485470.74		48.547074										1		440665.17		440665.17		0.44066517		1.67		48.547074		1.67

		1265		567875		56.7875										1		526672.87		526672.87		0.52667287		2.20		56.7875		2.20

		1266		654145.2		65.41452										1		611010.1		611010.1		0.6110101		2.81		65.41452		2.81

		1267		750597.02		75.059702										1		702371.11		702371.11		0.70237111		3.51		75.059702		3.51

		1268		848742.6		84.87426										1		799669.81		799669.81		0.79966981		4.31		84.87426		4.31

		1269		947638.9		94.76389										1		898190.75		898190.75		0.89819075		5.21		94.76389		5.21

		1270		1030116.9		103.01169										1		988877.9		988877.9		0.9888779		6.20		103.01169		6.20				5.80

		1270.1		1039223.08		103.922308		0.1		0.910618		0		0		0.1		1034669.99		103466.998999906		0.103466999		6.30		103.922308		6.30

		1270.2		1047407.28		104.740728		0.2		1.729038		2		1.8987522759		0.1		1043315.18		104331.517999905		0.104331518		6.40		104.740728		6.40

		1270.3		1055613.28		105.561328		0.3		2.549638		1.5		1.4745991702		0.1		1051510.28		105151.027999904		0.105151028		6.51		105.561328		6.51

		1270.4		1063873.28		106.387328		0.4		3.375638		1.3333333333		1.3239675593		0.1		1059743.28		105974.327999904		0.105974328		6.62		106.387328		6.62

		1270.5		1072189.98		107.218998		0.5		4.207308		1.25		1.2463741669		0.1		1068031.63		106803.162999903		0.106803163		6.72		107.218998		6.72

		1270.6		1080550.72		108.055072		0.6		5.043382		1.2		1.1987194662		0.1		1076370.35		107637.034999902		0.107637035		6.83		108.055072		6.83

		1270.7		1089010.72		108.901072		0.7		5.889382		1.1666666667		1.1677445809		0.1		1084780.72		108478.071999901		0.108478072		6.94		108.901072		6.94

		1270.8		1097528.32		109.752832		0.8		6.741142		1.1428571429		1.1446263802		0.1		1093269.52		109326.951999901		0.109326952		7.05		109.752832		7.05

		1270.9		1106148.32		110.614832		0.9		7.603142		1.125		1.127871509		0.1		1101838.32		110183.8319999		0.110183832		7.16		110.614832		7.16

		1271		1118202.859479		111.8202859479		1		8.8085959479		1.1111111111		1.158546815		1		1112175.5897395		1112175.5897395		1.1121755897		8.27		111.8202859479		8.27				772693.173293323		0.7726931733						1118202.859479		10638		1128840.859479

		1271.1		1128840.859479		112.8840859479		1.1		9.8723959479		1.1		1.1207683956		0.1		1123521.859479		112352.185947798		0.1123521859		8.38		112.8840859479		8.38				5.32										8741		1137581.859479

		1271.2		1137581.859479		113.7581859479		1.2		10.7464959479		1.0909090909		1.0885398038		0.1		1133211.359479		113321.135947797		0.1133211359		8.50		113.7581859479		8.50						120+9*(B11-B$8)								8991		1146572.859479

		1271.3		1146572.859479		114.6572859479		1.3		11.6455959479		1.0833333333		1.0836644804		0.1		1142077.359479		114207.735947796		0.1142077359		8.61		114.6572859479		8.61		114.6572859479												9268		1155840.859479

		1271.4		1155840.859479		115.5840859479		1.4		12.5723959479		1.0769230769		1.0795837331		0.1		1151206.859479		115120.685947795		0.1151206859		8.73		115.5840859479		8.73		115.5840859479		9.268										9527		1165367.859479

		1271.5		1165367.859479		116.5367859479		1.5		13.5250959479		1.0714285714		1.0757771235		0.1		1160604.359479		116060.435947794		0.1160604359		8.84		116.5367859479		8.84		116.5367859479		9.3975										9797		1175164.859479

		1271.6		1175164.859479		117.5164859479		1.6		14.5047959479		1.0666666667		1.0724357153		0.1		1170266.359479		117026.635947794		0.1170266359		8.96		117.5164859479		8.96		117.5164859479		9.5306666667										10086		1185250.859479

		1271.7		1185250.859479		118.5250859479		1.7		15.5133959479		1.0625		1.0695356214		0.1		1180207.859479		118020.785947793		0.1180207859		9.08		118.5250859479		9.08		118.5250859479		9.6695										10345		1195595.859479

		1271.8		1195595.859479		119.5595859479		1.8		16.5478959479		1.0588235294		1.0666843033		0.1		1190423.359479		119042.335947792		0.1190423359		9.20		119.5595859479		9.20		119.5595859479		9.8046										10636		1206231.859479

		1271.9		1206231.859479		120.6231859479		1.9		17.6114959479		1.0555555556		1.0642740324		0.1		1200913.859479		120091.385947791		0.1200913859		9.32		120.6231859479		9.32		120.6231859479		9.9431666667





PlotF

		



Area (ha)

Volume (Mcm)

Area ha

Volume

Elevation m

Hadha Hurbu  Reservior Area Capacity curve



Outlet DesignF

		

		Fluid Properties:		Fluid Type =		Water				Flow (kg/s) =		2000.00

				Temperature (°C) =		20

				Density (kg/m³) =		1000				Elevation		2006

				Viscosity (mPas) =		1.004				centipoise

				Delivery / outlet pipe (d)

				Line size DN (mm)		1000		I.D. (mm) =		1000

								Normal		Units

		u=flow/(dens*area)		[1d] Velocity				2.5		m/s

		Δf (Genereaux)		[2d] Friction loss				0.0		kPa/m		40400000000*(Q^1.84)*((Vi*0.001)^0.16)/Den/Di^4.84

		L		[3d] Line length				145.0		m

		ΔfL = [2s]*[3s]		[4d] Line loss				6.9		kPa

				[5d] Head losses		(Ki)

		=[5d]*ρu²/2*10-3		entrance		0.1		0.3		kPa

				elbows		0.0		0.0

				valves		2.0		6.5

				equipment				0.0

				exit		1.0		3.2

				[6d] Total Ki		3.1		10.1				Sum Ki

		dum Ki		[7d] Control valve loss						kPa

				[8d] Other losses						kPa

		=[4d]+[8d]+[9d]		[9d] Total losses				17.0		kPa

		z		[10d] Static liquid head				0.0		m

		ρgz		[10d*] Static pressure head		[8d] Other losses		0.0		kPa

				[11d] Equipment pressure				0.0		kPa

		=[10d*]+[11d]		[12d] Total				0.0		kPa

		=[12d]-[9d]		[13d] Discharge pressure				17.0		kPa

								17.0		kPa

		=[13d]-[14d]		Head Required				1.7		m



1261.1, 0.635

&C&"Arial,Bold"&12PUMP AND LINE CALCULATION SHEET

&L&8Ian Cameron,  April 2000&C&F



Dam-Analysis

		Kombolcha														Dam Capacity=				5.294

		DATE		FLOW		Days		80%		Demadd		Demand

		1-Jan-90		0.000		31		0		0.74412		1.993051008				Area				Jan		Feb		Mar		Apr		May		Jun		Jul		Aug		Sep		Oct		Nov		Dec				Zone		Unit		Month

		1-Feb-90		0.000		28		0		0.9126		2.20776192		High Land		600.000		cm/day		0.0011		0.0013		0.0008		0.0000		0.0000		0.0003		0.0006		0.0007		0.0005		0.0000		0.0000		0.0004								Jan		Feb		Mar		Apr		May		Jun		Jul		Aug		Sep		Oct		Nov		Dec

		1-Mar-90		0.000		31		0		0.53352		1.428979968								0.744		0.913		0.534		0.000		0.000		0.183		0.421		0.505		0.351		0.014		0.000		0.295				HIGH LAND		l/s/ha		0.9500		0.5800		0.2200		0.1800		0.0000		0.0000		0.0000		0.0000		0.0000		0.0200		0.5100		0.8200

		1-Apr-90		3.600		30		7.46496		0		0								0.081		0.073		0.081		0.078		0.081		0.078		0.081		0.081		0.078		0.081		0.078		0.081		0				m3/s/ha		0.0010		0.0006		0.0002		0.0002		0.0000		0.0000		0.0000		0.0000		0.0000		0.0000		0.0005		0.0008

		1-May-90		5.250		31		11.24928		0		0								5.884								12.513																		MID LAND		l/s/ha		0.9100		0.4900		0.0000		0.0000		0.2444		0.4222		0.0000		0.0000		0.0000		0.2400		0.8200		1.1300

		1-Jun-90		0.000		30		0		0.18252		0.47309184				23.785		S (80%)		0.000		0.000		0.000		7.465		11.249		0.000		0.000		0.000		0.000		2.657		2.405		0.009						m3/s/ha		0.0009		0.0005		0.0000		0.0000		0.0002		0.0004		0.0000		0.0000		0.0000		0.0002		0.0008		0.0011

		1-Jul-90		0.000		31		0		0.4212		1.12814208				11.273		D		2.074		2.281		1.510		0.078		0.081		0.551		1.209		1.435		0.988		0.118		0.078		0.870				LOW LAND		l/s/ha		0.8000		0.8400		0.4400		0.0000		0.1562		0.7797		0.7230		0.6083		0.6900		0.2900		0.2900		0.6000

		1-Aug-90		0.000		31		0		0.50544		1.353770496						SCUM		0.000		0.000		0.000		7.465		18.714		18.714		18.714		18.714		18.714		21.371		23.777		23.785						m3/s/ha		0.0008		0.0008		0.0004		0.0000		0.0002		0.0008		0.0007		0.0006		0.0007		0.0003		0.0003		0.0006

		1-Sep-90		0.000		30		0		0.351		0.909792						DCUM		2.074		4.354		5.864		5.942		6.023		6.574		7.783		9.218		10.206		10.324		10.402		11.273

		1-Oct-90		1.240		31		2.6569728		0.01404		0.037604736						DIFF		-2.074		-4.354		-5.864		1.523		12.691		12.140		10.931		9.496		8.509		11.047		13.374		12.513

		1-Nov-90		1.160		30		2.405376		0		0						ResC		5.884

		1-Dec-90		0.004		31		0.00857088		0.29484		0.789699456						0.020		3.810		1.530		0.020		7.407		18.575		18.024		16.815		15.381		14.393		16.931		19.259		18.397

																		0.000		0.000		0.000		0.000		0.000		0.000		0.000		0.000		0.000		0.000		0.000		0.000		0.000

														0.8723625916

														6.757

		22-Jun		1021026.88		1269.9		102.102688												3072.0		7566.000		10638.00										1.170

				8633.6		1270		0.86336												8741.0				8741.00

				9562.6		1270.1		0.95626		0.91336		0.0429								8991.0				8991.00

				8184.2		1270.2		0.81842		1.05626		-0.23784								2153.0		7115.000		9268.00

				8206		1270.3		0.8206		0.96842		-0.14782								9527.0				9527.00

				8260		1270.4		0.826		1.0206		-0.1946								9797.0				9797.00										6.750

				8316.7		1270.5		0.83167		1.076		-0.24433								10086.0				10086.00

				8360.74		1270.6		0.836074		1.13167		-0.295596								10345.0				10345.00

				8460		1270.7		0.846		1.186074		-0.340074								10636.0				10636.00

				8517.6		1270.8		0.85176		1.246		-0.39424

				8620		1270.9		0.862		1.30176		-0.43976

						1271		0		1.362		-1.362





Reservior Requirment

		

		Description		Month

				Jan		Feb		Mar		Apr		May		Jun		Jul		Aug		Sep		Oct		Nov		Dec

		Days in month		31		28		31		30		31		30		31		31		30		31		30		31

		80 % dependable flow (m3/s)		0.000		0.000		0.000		3.600		5.250		0.000		0.000		0.000		0.000		1.240		1.160		0.004

		downstream release (20 % )		0.000		0.000		0.000		0.720		1.050		0.000		0.000		0.000		0.000		0.248		0.232		0.001

		Available supply (Mcm)		0.00		0.00		0.00		7.46		11.25		0.00		0.00		0.00		0.00		2.66		2.41		0.01

		Cummulative Supply (Mcm)		0.00		0.00		0.00		7.46		18.71		18.71		18.71		18.71		18.71		21.37		23.78		23.79

		Cummulative Demand		1.90		3.98		5.22		5.41		5.60		6.19		7.35		8.69		9.55		9.75		9.94		10.81

		Difrence		-1.90		-3.98		-5.22		2.06		13.11		12.52		11.37		10.02		9.17		11.62		13.83		12.98

		Reserviour Capacity=		5.22





Total Supply

		

		Description		Month

				Jan		Feb		Mar		Apr		May		Jun		Jul		Aug		Sep		Oct		Nov		Dec

		Days in month		31		28		31		30		31		30		31		31		30		31		30		31

		80 % dependable flow (m3/s)		0.000		0.000		0.000		3.600		5.250		0.000		0.000		0.000		0.000		1.240		1.160		0.004

		downstream release (20 % )		0.000		0.000		0.000		0.720		1.050		0.000		0.000		0.000		0.000		0.248		0.232		0.001

		Available supply (Mcm)		0.00		0.00		0.00		7.46		11.25		0.00		0.00		0.00		0.00		2.66		2.41		0.01

		Cummulative Supply (Mcm)		0.00		0.00		0.00		7.46		18.71		18.71		18.71		18.71		18.71		21.37		23.78		23.79





Total Demand

		

		Demand		Month

				Jan		Feb		Mar		Apr		May		Jun		Jul		Aug		Sep		Oct		Nov		Dec										Elevation		Area		Volume

		Irrigation (600 ha)		1.70		1.89		1.04		0.00		0.00		0.40		0.96		1.16		0.66		0.01		0.00		0.67										1261		162695.05		597435.09

		Livestock		0.08		0.07		0.08		0.08		0.08		0.08		0.08		0.08		0.08		0.08		0.08		0.08										1262		232282		872362.59

		Evaporation		0.11		0.12		0.12		0.11		0.11		0.11		0.11		0.11		0.11		0.11		0.11		0.11										Difference				274927.50

		Total Demand		1.90		2.08		1.24		0.19		0.19		0.59		1.15		1.35		0.85		0.21		0.19		0.87

		Cummulative Demand (Mcm)		1.90		3.98		5.22		5.41		5.60		6.19		7.35		8.69		9.55		9.75		9.94		10.81														143058.894844074

																																						velocity		0.0000069901

		Annalysis of Peak Demand

		Days in the month		31		28		31		30		31		30		31		31		30		31		30		31		hr/day

		Livestock (m3/s)		0.3617784417		0.3617784417		0.3617784417		0.3617784417		0.3617784417		0.3617784417		0.3617784417		0.3617784417		0.3617784417		0.3617784417		0.3617784417		0.3617784417		2

		Irrigation (m3/s)		1.272		1.56		0.7752		0		0		0.312		0.72		0.864		0.51		0.0096		0		0.504		12

		Daily Demand (m3/s)		1.6337784417		1.9217784417		1.1369784417		0.3617784417		0.3617784417		0.6737784417		1.0817784417		1.2257784417		0.8717784417		0.3713784417		0.3617784417		0.8657784417

				Max=		1.9217784417

		Time required to drowdown=				143058.894844074





Summry Crop Demand

		

		Project summary		Parameter		Jan		Feb		Mar		Apr		May		Jun		Jul		Aug		Sep		Oct		Nov		Dec

				Project  efficiency		50%		50%		50%		50%		50%		50%		50%		50%		50%		50%		50%		50%

				Propsed irrigation hour		12		12		12		12		12		12		12		12		12		12		12		12

				Days in month		31		28		31		30		31		30		31		31		30		31		30		31

		First Phase		Irrigated area		100		100		85		20		0		0		0		0		0		0		0		100

				Project supply(l/s/ha for 12 hour		2.12		2.6		1.52		0		0		0		0		0		0		0		0		0.84

		Second Phase		Irrigated area		0		0		0		0		0		100		100		100		85		40		0		0

				Project supply(l/s/ha for 12 hour		0		0		0		0		0		0.52		1.2		1.44		1		0.04		0		0

				Project Demand (cm) per Hactar		2839.10		3144.96		1730.25		0.00		0.00		673.92		1607.04		1928.45		1101.60		21.43		0.00		1124.93

				For 600 ha (Mcm)		1.70		1.89		1.04		0.00		0.00		0.40		0.96		1.16		0.66		0.01		0.00		0.67

				Commulative Demand		1.70		3.59		4.63		4.63		4.63		5.03		6.00		7.15		7.82		7.83		7.83		8.50





Livestock demand

								No		Type of Livestock		Number Found				Demand l/day/head		Demand m3/day/head								Item		Month

												Malkasoda District		Hadhagora Local administration						Demand m3								Jan		Feb		Mar		Apr		May		Jun		Jul		Aug		Sep		Oct		Nov		Dec

								1		Cattles		149915		15841		60		0.06		950.46						Days in Monthy		31		28		31		30		31		30		31		31		30		31		30		31

								2		Sheep		60818		7497		6		0.006		44.982						Livestock Demand Mcm		0.081		0.073		0.081		0.078		0.081		0.078		0.081		0.081		0.078		0.081		0.078		0.081

								3		Goats		125114		13434		6		0.006		80.604

								4		Camels		34675		7472		120		0.12		896.64

								5		Horse		208		20.8		45		0.045		0.936

								6		Donkey		13490		11		45		0.045		0.495

								7		Mule		1200		13954		45		0.045		627.93

								8		Poultry		137889		13788.9		0.2		0.0002		2.75778

																Demand m3/day=				2604.80478





Evapotranspiration

		

				Description		Jan		Feb		Mar		Apr		May		Jun		Jul		Aug		Sep		Oct		Nov		Dec

				Min Temp		12.7		13.8		15.3		15.9		15.4		14.4		13.9		14		14.6		15.4		14.3		12.7

				Max Temp		28.4		29.3		28.6		24.4		24.9		24.4		23.9		24.7		26.1		25.4		25.5		26.4

				MeanTemp		20.55		21.55		21.95		20.15		20.15		19.4		18.9		19.35		20.35		20.4		19.9		19.55

				Evaporation (m/month)		0.114		0.118		0.120		0.113		0.113		0.110		0.108		0.110		0.114		0.114		0.112		0.111

				Evaporation (Mcm)		0.11		0.12		0.12		0.11		0.11		0.11		0.11		0.11		0.11		0.11		0.11		0.11				1.36





First phase

		

		Hadha Hurbu project Eto

				Month		Min Temp		Max Temp		Humidity		Wind		Sun		Rad		ETo

						°C		°C		%		m/s		hours		MJ/m²/day		mm/day

				January		12.7		28.4		49		1.7		10.3		23.6		4.97

				February		13.8		29.3		51		1.9		9.2		23		5.22

				March		15.3		28.6		56		2		7.3		20.8		4.97

				April		15.9		24.4		70		1.6		6.6		19.5		4.02

				May		15.4		24.9		73		1.2		5.5		17.2		3.51

				June		14.4		24.4		68		1.2		4.7		15.6		3.31

				July		13.9		23.9		67		1.3		2.9		13.1		3

				August		14		24.7		64		1.3		4		15.2		3.37

				September		14.6		26.1		68		1.5		5.8		18.3		3.9

				October		15.4		25.4		74		1.7		5.1		16.8		3.6

				November		14.3		25.5		73		1.8		6.8		18.6		3.8

				December		12.7		26.4		61		1.6		8.8		21		4.23

				Average		14.4		26		65		1.6		6.4		18.6		3.99

		Effective rain				Rain		Eff rain

						mm		mm

				January		16.9		0.1

				February		11.9		0

				March		47.6		18.6

				April		188.3		126.6

				May		138.2		86.6

				June		33.6		10.2

				July		18.6		1.2

				August		33.1		9.9

				September		55.1		23.1

				October		139.4		87.5

				November		113.4		66.7

				December		15.3		0

				Total		811.4		430.4

		Soil

		Maize CWR		Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				Dec		1		Init		0.4		1.63		16.3		0.1		16.2

				Dec		2		Init		0.4		1.69		16.9		0		16.9

				Dec		3		Deve		0.52		2.34		25.7		0		25.7

				Jan		1		Deve		0.74		3.48		34.8		0		34.8

				Jan		2		Deve		0.94		4.68		46.8		0		46.8

				Jan		3		Mid		1.1		5.58		61.4		0		61.3

				Feb		1		Mid		1.11		5.73		57.3		0		57.3

				Feb		2		Mid		1.11		5.82		58.2		0		58.2

				Feb		3		Mid		1.11		5.73		45.8		0.1		45.7

				Mar		1		Mid		1.11		5.63		56.3		1.3		55

				Mar		2		Late		1.07		5.33		53.3		2		51.3

				Mar		3		Late		0.99		4.61		50.7		15.4		35.3

				Apr		1		Late		0.91		3.96		35.6		31.4		0.8

														559.3		50.5		505.3

		sorghum

		sorghum CWR		Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				Dec		1		Init		0.35		1.43		14.3		0.1		14.2

				Dec		2		Deve		0.39		1.63		16.3		0		16.3

				Dec		3		Deve		0.61		2.74		30.1		0		30.1

				Jan		1		Deve		0.86		4.08		40.8		0		40.7

				Jan		2		Mid		1.05		5.23		52.3		0		52.2

				Jan		3		Mid		1.06		5.39		59.2		0		59.2

				Feb		1		Mid		1.06		5.47		54.7		0		54.7

				Feb		2		Late		1.04		5.41		54.1		0		54.1

				Feb		3		Late		0.95		4.87		39		0.1		38.9

				Mar		1		Late		0.86		4.33		43.3		1.3		42

														404.2		1.7		402.5

		Haricot bean

		Haricot bean		Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				Dec		1		Init		0.35		1.43		8.6		0.1		8.5

				Dec		2		Init		0.35		1.48		14.8		0		14.8

				Dec		3		Deve		0.41		1.86		20.4		0		20.4

				Jan		1		Deve		0.67		3.15		31.5		0		31.5

				Jan		2		Deve		0.92		4.58		45.8		0		45.7

				Jan		3		Mid		1.1		5.58		61.4		0		61.4

				Feb		1		Mid		1.11		5.71		57.1		0		57.1

				Feb		2		Mid		1.11		5.8		58		0		58

				Feb		3		Late		1.06		5.44		43.5		0.1		43.4

				Mar		1		Late		0.94		4.74		19		0.5		18.3

														360.1		0.8		359.1

		Tomato

		Tomato CWR		Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				Dec		1		Init		0.45		1.84		11		0.1		11

				Dec		2		Init		0.45		1.9		19		0		19

				Dec		3		Deve		0.51		2.29		25.1		0		25.1

				Jan		1		Deve		0.75		3.53		35.3		0		35.3

				Jan		2		Deve		0.98		4.9		49		0		48.9

				Jan		3		Mid		1.16		5.85		64.3		0		64.3

				Feb		1		Mid		1.16		5.97		59.7		0		59.7

				Feb		2		Mid		1.16		6.07		60.7		0		60.7

				Feb		3		Late		1.12		5.77		46.1		0.1		46

				Mar		1		Late		0.99		4.98		49.8		1.3		48.5

				Mar		2		Late		0.88		4.37		17.5		0.8		16.5

														437.6		2.4		435

		Onion

		Onion CWR		Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				Dec		1		Init		0.5		2.04		12.3		0.1		12.2

				Dec		2		Init		0.5		2.11		21.1		0		21.1

				Dec		3		Deve		0.54		2.4		26.4		0		26.4

				Jan		1		Deve		0.68		3.22		32.2		0		32.2

				Jan		2		Deve		0.83		4.12		41.2		0		41.1

				Jan		3		Mid		0.97		4.92		54.1		0		54.1

				Feb		1		Mid		1.01		5.19		51.9		0		51.9

				Feb		2		Mid		1.01		5.27		52.7		0		52.7

				Feb		3		Mid		1.01		5.19		41.5		0.1		41.4

				Mar		1		Late		0.99		5.02		50.2		1.3		48.9

				Mar		2		Late		0.92		4.57		45.7		2		43.7

				Mar		3		Late		0.86		4.02		16.1		5.6		8.4

														445.4		9.2		434

		Pepper

		Pepper CWR		Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				Dec		1		Init		0.35		1.43		8.6		0.1		8.5

				Dec		2		Init		0.35		1.48		14.8		0		14.8

				Dec		3		Init		0.35		1.57		17.2		0		17.2

				Jan		1		Deve		0.41		1.92		19.2		0		19.2

				Jan		2		Deve		0.6		3		30		0		30

				Jan		3		Deve		0.82		4.13		45.4		0		45.4

				Feb		1		Mid		1.02		5.22		52.2		0		52.2

				Feb		2		Mid		1.06		5.53		55.3		0		55.3

				Feb		3		Mid		1.06		5.44		43.5		0.1		43.4

				Mar		1		Mid		1.06		5.35		53.5		1.3		52.2

				Mar		2		Late		1.04		5.18		51.8		2		49.8

				Mar		3		Late		0.96		4.47		49.2		15.4		33.8

				Apr		1		Late		0.9		3.91		11.7		10.5		0

														452.5		29.5		421.8

		Head cabbage

		Head cabbage CWR		Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				Dec		1		Init		0.45		1.84		11		0.1		11

				Dec		2		Init		0.45		1.9		19		0		19

				Dec		3		Deve		0.53		2.36		26		0		26

				Jan		1		Deve		0.83		3.92		39.2		0		39.1

				Jan		2		Mid		1.12		5.59		55.9		0		55.8

				Jan		3		Mid		1.21		6.11		67.2		0		67.2

				Feb		1		Mid		1.21		6.21		62.1		0		62.1

				Feb		2		Mid		1.21		6.31		63.1		0		63.1

				Feb		3		Mid		1.21		6.21		49.7		0.1		49.5

				Mar		1		Mid		1.21		6.11		61.1		1.3		59.7

				Mar		2		Late		1.21		6		60		2		58

				Mar		3		Late		1.08		5.05		55.5		15.4		40.1

				Apr		1		Late		0.96		4.17		12.5		10.5		0

														582.1		29.5		550.6

		Croppning pattern

		Scheme Supply				Jan		Feb		Mar		Apr		May		Jun		Jul		Aug		Sep		Oct		Nov		Dec

				Precipitation deficit

				1. Maize		142.8		161		141.2		0.5		0		0		0		0		0		0		0		58.8

				2. Sorghum		152.2		147.8		41.9		0		0		0		0		0		0		0		0		60.6

				3. Haricot bean		148.7		154.9		0		0		0		0		0		0		0		0		0		53.7

				4. Tomato		148.4		166.5		65		0		0		0		0		0		0		0		0		55.1

				5. Onion		127.4		146		100.9		0		0		0		0		0		0		0		0		59.8

				6. Pepper		94.5		151		135.8		0		0		0		0		0		0		0		0		40.5

				7. Head cabbage		162.1		174.7		157.8		0		0		0		0		0		0		0		0		55.9

				Net scheme irr.req.

				in mm/day		4.5		5.6		2.8		0		0		0		0		0		0		0		0		1.8

				in mm/month		140.9		156.1		87.6		0.1		0		0		0		0		0		0		0		56.1

				in l/s/h		0.53		0.65		0.33		0		0		0		0		0		0		0		0		0.21

				Irrigated area		100		100		85		20		0		0		0		0		0		0		0		100

				(% of total area)

				Irr.req. for actual area		0.53		0.65		0.38		0		0		0		0		0		0		0		0		0.21

				(l/s/h)

				Project  efficiency		50%		50%		50%		50%		50%		50%		50%		50%		50%		50%		50%		50%

				Project supply(l/s/ha		1.06		1.3		0.76		0		0		0		0		0		0		0		0		0.42

				Propsed irrigation hour		12		12		12		12		12		12		12		12		12		12		12		12

				Project supply(l/s/ha for 12 hour		2.12		2.6		1.52		0		0		0		0		0		0		0		0		0.84

				in mm/month		0		0		0		0		0		32.4		81.3		96.7		54.4		1.6		0		0

						140.9		156.1		87.6		0.1		0		32.4		81.3		96.7		54.4		1.6		0		56.1				707.2

				Project supply(l/s/ha		0		0		0		0		0		0.26		0.6		0.72		0.5		0.02		0		0				1414.4

						1.06		1.3		0.76		0		0		0.26		0.6		0.72		0.5		0.02		0		0.42

						0.00106		0.0013		0.00076		0		0		0.00026		0.0006		0.00072		0.0005		0.00002		0		0.00042





Second phase

		

		Maize

		Maize CWR		Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				May		1		Init		0.4		1.47		14.7		34.4		0

				May		2		Init		0.4		1.41		14.1		30.6		0

				May		3		Deve		0.51		1.76		19.3		21.5		0

				Jun		1		Deve		0.7		2.38		23.8		9.8		14

				Jun		2		Deve		0.89		2.94		29.4		0.2		29.2

				Jun		3		Mid		1.03		3.32		33.2		0.3		32.9

				Jul		1		Mid		1.05		3.24		32.4		0.6		31.8

				Jul		2		Mid		1.05		3.14		31.4		0		31.4

				Jul		3		Mid		1.05		3.27		35.9		0.6		35.3

				Aug		1		Late		1.04		3.39		33.9		2.2		31.7

				Aug		2		Late		1		3.36		33.6		3.1		30.6

				Aug		3		Late		0.93		3.3		36.3		4.6		31.7

				Sep		1		Late		0.88		3.26		22.8		3.2		18.2

														360.9		111.2		286.6

		Sorghum		Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				May		1		Init		0.35		1.29		12.9		34.4		0

				May		2		Deve		0.38		1.34		13.4		30.6		0

				May		3		Deve		0.59		2.02		22.3		21.5		0.8

				Jun		1		Deve		0.81		2.75		27.5		9.8		17.7

				Jun		2		Mid		0.98		3.26		32.6		0.2		32.3

				Jun		3		Mid		1		3.2		32		0.3		31.7

				Jul		1		Mid		1		3.09		30.9		0.6		30.3

				Jul		2		Late		0.98		2.93		29.3		0		29.3

				Jul		3		Late		0.88		2.75		30.2		0.6		29.6

				Aug		1		Late		0.79		2.55		20.4		1.7		18.2

														251.4		99.8		189.9

		Haricot bean

		Haricot bean		Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				May		1		Init		0.35		1.29		12.9		34.4		0

				May		2		Init		0.35		1.23		12.3		30.6		0

				May		3		Deve		0.49		1.7		18.7		21.5		0

				Jun		1		Deve		0.74		2.51		25.1		9.8		15.3

				Jun		2		Mid		0.98		3.24		32.4		0.2		32.1

				Jun		3		Mid		1.07		3.41		34.1		0.3		33.8

				Jul		1		Mid		1.07		3.3		33		0.6		32.4

				Jul		2		Late		1.06		3.19		31.9		0		31.9

				Jul		3		Late		0.95		2.95		26.6		0.5		26

														227		97.9		171.5

		Tomato

		Tomato		Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				May		1		Init		0.45		1.66		9.9		20.7		0

				May		2		Init		0.45		1.58		15.8		30.6		0

				May		3		Deve		0.51		1.74		19.2		21.5		0

				Jun		1		Deve		0.73		2.45		24.5		9.8		14.7

				Jun		2		Deve		0.95		3.13		31.3		0.2		31

				Jun		3		Mid		1.1		3.54		35.4		0.3		35.1

				Jul		1		Mid		1.11		3.45		34.5		0.6		33.8

				Jul		2		Mid		1.11		3.33		33.3		0		33.3

				Jul		3		Late		1.06		3.32		36.5		0.6		35.9

				Aug		1		Late		0.91		2.96		29.6		2.2		27.4

				Aug		2		Late		0.82		2.77		5.5		0.6		5.5

														275.5		87.1		216.8

		Onion

		Onion		Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				May		1		Init		0.5		1.84		11		20.7		0

				May		2		Init		0.5		1.76		17.6		30.6		0

				May		3		Deve		0.53		1.84		20.2		21.5		0

				Jun		1		Deve		0.67		2.25		22.5		9.8		12.8

				Jun		2		Deve		0.8		2.65		26.5		0.2		26.3

				Jun		3		Mid		0.93		2.98		29.8		0.3		29.6

				Jul		1		Mid		0.97		3.01		30.1		0.6		29.4

				Jul		2		Mid		0.97		2.91		29.1		0		29.1

				Jul		3		Mid		0.97		3.03		33.3		0.6		32.7

				Aug		1		Late		0.94		3.06		30.6		2.2		28.4

				Aug		2		Late		0.87		2.93		29.3		3.1		26.3

				Aug		3		Late		0.83		2.93		5.9		0.8		5.9

														285.9		90.4		220.3

		Pepper

				Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				May		1		Init		0.35		1.29		7.7		20.7		0

				May		2		Init		0.35		1.23		12.3		30.6		0

				May		3		Init		0.35		1.21		13.3		21.5		0

				Jun		1		Deve		0.4		1.36		13.6		9.8		3.8

				Jun		2		Deve		0.59		1.94		19.4		0.2		19.1

				Jun		3		Deve		0.78		2.48		24.8		0.3		24.6

				Jul		1		Mid		0.96		2.97		29.7		0.6		29.1

				Jul		2		Mid		1.01		3.04		30.4		0		30.4

				Jul		3		Mid		1.01		3.16		34.8		0.6		34.1

				Aug		1		Mid		1.01		3.28		32.8		2.2		30.7

				Aug		2		Late		0.99		3.32		33.2		3.1		30.1

				Aug		3		Late		0.91		3.23		35.5		4.6		30.9

				Sep		1		Late		0.87		3.22		3.2		0.5		3.2

														290.7		94.6		236

		cabbage

		cabbage		Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				May		1		Init		0.45		1.66		9.9		20.7		0

				May		2		Init		0.45		1.58		15.8		30.6		0

				May		3		Deve		0.52		1.8		19.8		21.5		0

				Jun		1		Deve		0.81		2.73		27.3		9.8		17.5

				Jun		2		Mid		1.09		3.59		35.9		0.2		35.7

				Jun		3		Mid		1.17		3.74		37.4		0.3		37.1

				Jul		1		Mid		1.17		3.62		36.2		0.6		35.6

				Jul		2		Mid		1.17		3.5		35		0		35

				Jul		3		Mid		1.17		3.64		40.1		0.6		39.5

				Aug		1		Mid		1.17		3.79		37.9		2.2		35.7

				Aug		2		Late		1.16		3.9		39		3.1		35.9

				Aug		3		Late		1.02		3.61		39.8		4.6		35.1

				Sep		1		Late		0.92		3.43		3.4		0.5		3.4

														377.5		94.6		310.5

		cropping pattern

						Jan		Feb		Mar		Apr		May		Jun		Jul		Aug		Sep		Oct		Nov		Dec

				Precipitation deficit

				1. Maize		0		0		0		0		0		32.5		81.5		100.2		90.2		1.3		0		0

				2. sorghum		0		0		0		0		0		32.6		86.9		89.8		18.8		0		0		0

				3. Haricot bean		0		0		0		0		0		28.5		86.4		90.7		0		0		0		0

				4. Tomato		0		0		0		0		0		34.5		86		105.1		35.7		0		0		0

				5. Onion		0		0		0		0		0		38.2		74.4		92		65.3		0		0		0

				6. Pepper		0		0		0		0		0		24.5		54.2		94.8		87.5		6.4		0		0

				7. Head cabbage		0		0		0		0		0		34.9		94.9		112.8		104.3		6.9		0		0

				Net scheme irr.req.

				in mm/day		0		0		0		0		0		1.1		2.6		3.1		1.8		0.1		0		0

				in mm/month		0		0		0		0		0		32.4		81.3		96.7		54.4		1.6		0		0

				in l/s/h		0		0		0		0		0		0.13		0.3		0.36		0.21		0.01		0		0

				Irrigated area		0		0		0		0		0		100		100		100		85		40		0		0

				(% of total area)

				Irr.req. for actual area		0		0		0		0		0		0.13		0.3		0.36		0.25		0.01		0		0

				(l/s/h)

				Project  efficiency		50%		50%		50%		50%		50%		50%		50%		50%		50%		50%		50%		50%

				Project supply(l/s/ha		0		0		0		0		0		0.26		0.6		0.72		0.5		0.02		0		0

				Propsed irrigation hour		12		12		12		12		12		12		12		12		12		12		12		12

				Project supply(l/s/ha for 12 hour		0		0		0		0		0		0.52		1.2		1.44		1		0.04		0		0





@ Fie Eat_Calculations Charts Setings Window _Language Help

0O ., &
New " Gpen

i3 General sl data
Cimate/ETo

Rain

Crop

Soil

A

cwR

&

Schedule

W

Crop Patterm
W
Scheme

ETa file
yabelo? eto.pem

H & | &

Save  Cose | Pt

Solname [dw

Total available soil moisture (FC - WP)
Maximum rain infiltration rate

Maximum rooting depth

Inital soil moisture depletion (as % TAM)

Initial available soil moisture

Rain file
finchwa eff rain.cim

%3

E

RRRE

&0
=0

Crop file

m/meter
mm/day
centimeters
x

mm/meter

hadha hurbu-maize.cro

Soil file
hadha hurbu-soil.soi

Planting date
[GE

Crop pat file

Schedule file

11:44 AM

1







@ Fie Eat_Calculations Charts Setings Window _Language Help ~lelx

D .& . . & & &
New T Open " Save Clse | Pt
CopName R Planting date [31/72 Harvest [10703
s i i
Climate/ETo | | _\
Ko ! | I I
— 03 | 1 &
Values 1 I ! 060
Rein Stage [ i | devebpmen | midsessn | s | ol
)| T55 f [m [ [= | [=® | [
y o | I I I
B Rooingdepth | Tt 1 I
m T ——
Ciitical depletion i | | |
* froom | o | | Tom | [owm |
Sel Yiedresponset. | [0 | [ow | [0om | [om | [om
Cropheight (m) ! {7150 opiinal !
A4
oW
=3
Schedule
W
Crop Pattern
w
Scheme
ETofile Rain fle Cio fle Sailfle Planting date Ciop pat file Schedule fle

yabelo? eto.pem finchwa eff rain.cim hadha hurbu-sorghum.cro hadha hurbu-soil. soi [GE







@ Fie Eat_Calculations Charts Setings Window _Language _Help ~lelx

D .& . . & & &
New T Open " Save Clse | Pt
Crop Name |Haricot bean Planting date |05/12 Harvest |04/03
3 i i
Climate/ETo | e _\
Ko ! | I I
— 03 i i i
Values ] | ! 050
Rein Stage [ s | devebpmen | midsessn | s |l
ways)| [ D D i [Tho T
¥ o3 | | | |
G Rootngdepth | Tt | |
m § ; 05—
Critical depletion i i ! !
* traction) | | 05| I
st Yieldvesponse t.| [020 | [o@ | [ | [ow | [
Cropheight (m) i {040 (optibnal) |
A4
oW
=3
Schedule
W
Crop Patier
w
Scheme
ETofile Rain fle Ciop fle Sailfle Planting date Ciop pat file Schedule fle

yabelo? eto.pem finchwa el rain.cim untitled hadha hurbu-soil.soi 05112







@ Fie Eat_Calculations Charts Setings Window _Language _Help ~lelx

D .& . &H & | &
New T Open " Save Clse | Pt
CopNamo [EEEH Planting date [E/72 Harvest [14703
B3
Climate/ETo | i
— 045 i i i
Values ] | ! 3
Rein Stage| mi | deveopmen | midsesson | lsesesson | ol
ww)| T2 | [ | [= | [=a | [
y o5 | I I I
B Rooingdepth | "t 1 I
m TN
Ciitical depletion i | | |
* traction) | [ 030 | Too | Tow
Sel Yieldresponset. | [ 080 | [oe | [0 | [om | [
Cropheight (m) ! | [T080 opiinal !
A
oW
=3
Schedule
W
Crop Pattern
W
Scheme
ETofile Rain fle Ciop fle Sailfle Planting date Ciop pat file Schedule fle
yabelo2 eto.pem finchwa elf rain.cm untited hadha hurbur-soil.soi 052

11:57 AM

1






@ Fie Eat_Calculations Charts Setings Window _Language _Help ~lelx

D .& . &H & | &
New T Open " Save Clse | Pt
CopName [TED Planting date [E/72 Harvest [24703
B3
Climate/ETo | i
— 050 i i i
Values ] | ! 3
Rein Stage| mis | devebpment | midsesson | lsesesson | ol
ww)| T2 | [® | [® | [=a | [
y o5 | I I I
B Rooingdepth | e 1 I
m [N
Ciitical depletion i | | |
* traction) | [ 030 | Toe | Tow
Sel Yiedresponset. | [0 | [ow | [7m | [Tw | [T
Cropheight (m) ! | [7030 opiinal !
A
oW
=3
Schedule
W
Crop Pattern
W
Scheme
ETofile Rain fle Ciop fle Sailfle Planting date Ciop pat file Schedule fle
yabelo2 eto.pem finchwa elf rain.cm untited hadha hurbur-soil.soi 052

1200 PM

1






@ Fie Eat_Calculations Charts Setings Window _Language _Help ~lelx

D .& . &H & | &
New T Open " Save Clse | Pt
Crop Name. Planting date [E/72 Harvest [0370%
B3
Climate/ETo | i
— 03 i i i
Values ] | ! 050
Rein Stage| mis | devebpmen | midsesson | lsesesson | ol
ww)| T2 | [® [ [® | [=a | [m@
y o5 | I I I
B Rooingdepth | "t 1 I
m LM
Ciitical depletion i | | |
* troon| oz | I
Sel Yiedresponset. | [ 140 | [oe | [7m | [om | [T
Cropheight (m) ! | [7070 opiinal !
A
oW
=3
Schedule
W
Crop Pattern
W
Scheme
ETofile Rain fle Ciop fle Sailfle Planting date Ciop pat file Schedule fle
yabelo2 eto.pem finchwa elf rain.cm untited hadha hurbur-soil.soi 052

1211PM

1






@ Fie Edt_Calculations Charts Setings Window _Language Help

D .& . &H & | &
New T Open T Save Cose | P
CopName [IEEDE Planting date. [05712 Harvest [03/08
B3
Climate/ETo | i
e j i _\
Values | 12— | |
Rein Stage| mi | devebpmen | midsesson | lsesesson | ol
ww)| T2 | [ | [m | [® | [m@
2 | 1 1 3
L Rooting depth \"’\i_ - |
25 ] : [os ——
Ciitical depletion i | | |
w prisei] TR R
Sel Yiedresponset. | [0 | [ow | [o& | [om | [0%
Cropheight (m) ! | [T040 opiinal !
A
oW
[
Schedule
W
Crop Patier
W
Scheme
ETofile Rain fle Crop file Sail e Planting date Crop pat e Schedule fle
yabelo2 eto.pem finchwa offrain.cm | hadha hurbu head cabbagel.cro | hadha hurbur-soi oi 052

1219PM

1






ile Edit Calculations Charts Seftings Window Language Help

0D .,.& . d o s E
New T Open T Save Chse | Pim  Cos Opion:
Cropping pattern name [Fadha s copping
B3
Climate/ETo | No. Crop file Crop name Gagm Ched &P
1. Fadha Fububaze! CO L [ iz fome  [a@ =
R | 2 e rmSagh e | [roghum Az o @
3. [Hadha HusbuHaroal beant A0 | [aroatbean Az [Eme [
v 4. [Hadha HurbuTomatal 0D o [Fomao Bz [ [T
Ciop || 5. [Hadha HurbuGrin 07D | [on Bz [ [
6. [Fsdha HubuPepper RO | [Pepper Bz e [T
o 7. [Fsdha HutbHead cabbagel RO | [Fesdcabbage Bz e [T
o BN I [T
o o BN I I
cwr [10] ] et | I
1] BN I I
B |2 BN I I
sehede || | = el T
1a.] BN I — -
| BT ENI IR
16.] BN I I
w a7 1T [ r 5]
Scheme







{§) CROPWAT - Session: C:\ProgramData\CROPWAT\data\sessions\Hadha Hurbu- scheme supply
& File Edt Calculations Charts Settings Window Language Help

D .& . &H & | &
New T Open " Save Clse | Pt
CopName Moz Planting date [01705 Harvest [07708
B3
Climate/ETo | i
e j i _\
Values | 7124 —F | |
Rein Stage [ nidl | devebpnen | midsesson | ltesesson § ol
ww)| T2 | [® | [®& | [= | [
x ™| 1 1 3
- Rooting depth \"’\i_ '
S i T TN
Ciitical depletion i | | |
* troon| o= | I T
Sel Yiedresponset. | [0 | [ow | [T@m | [om | [1z
Cropheight (m) ! | [7200 opiinal !
A4
oW
=3
Schedule
W
Crop Patier
V. Databases and application modules
w were not updated
Scheme
ETofile Rain fle Ciop fle Sailfle Planting date

Details
yabelo? eto.pem finchwa el rain.cim hadha hurbu-maize2.cro hadha hurbu-soil.soi 01/05







{§) CROPWAT - Session: C:\ProgramData\CROPWAT\data\sessions\Hadha Hurbu- scheme supply
& File Edt Calculations Charts Settings Window Language Help

D .& . &H & | &
New T Open T Save Cose | P
CiopName [soghm2 Planting date [31/05. Harvest [06708
B3
Climate/ETo | i
e j i _\
Values | 1 0% | |
Rein Stage| mis | devebpment | midsesson | lsesesson | ol
)| T55 f [m [ [= | [=® | [
2 ™| 1 1 3
L Rooting depth \"’\i_ 1
S i T RN
Ciitical depletion i | | |
w froom | o | I
Sel Yiedresponset. | [0 | [ow | [0om | [om | [om
Cropheight (m) ! {7150 opiinal !
A
oW
=3
Schedule
W
Crop Patier
W
Scheme
ETofile Rain fle Cio fle Sailfle Planting date Crop pat e Schedule fle

yabelo? eto.pem finchwa eff rain.cim hadha hurbu-sorghum?.cro hadha hurbu-soil. soi 01/05 hadha hurbu- cropping pattern.pal|







{§) CROPWAT - Session: C:\ProgramData\CROPWAT\data\sessions\Hadha Hurbu- scheme supply
& File Edt Calculations Charts Settings Window Language Help

D .& . &H & | &
New T Open T Save Cose | P
Crop Name |Haricot bean 2 Planting date |01/05 Harvest [23/07
B3
Climate/ETo | |
e b | |
Rein Stage| i | devebpment | midsesson | latosesson 3 ol
)| T2 | [ | [= | [n | [m
2 | ! 1 !
o Rooting depth \\_ L |
RS | ! 0% ——
Critical depletion i i ! !
w prisei] TR R
st Yieldvesponse t.| [020 | [o@ | [ | [ow | [
Cropheight (m) | {040 (optibnal) |
A
cwh
e
Schedule
W
Crop Patier
W
Scheme
ETo fie Rain file crop fle Sail e Planting date Crop pat fie Schedule fle

yabelo? eto.pem finchwa eff rain.cim hadha hurbu-haricot bean2.cro hadha hurbu-soil.soi 01/05 hadha hurbu- cropping pattern.pal|







{§) CROPWAT - Session: C:\ProgramData\CROPWAT\data\sessions\Hadha Hurbu- scheme supply
& File Edt Calculations Charts Settings Window Language Help

D .& . &H & | &
New T Open T Save Cose | P
CopName [foraoz Planting date [05/05 Harvest [12708
B3
Climate/ETo i i
Values | 12— | |
Rein Stage| i | devebpment | midsesson | latosesson 3 ol
ww)| T2 | [ | [= | [=a | [
L | ! 1 !
g Rooting depth \\_ =
S i T I —
Critical depletion i i ! !
* tractom | [0 | T
st Yieldvesponse t.| [050 | [o@ | [0 | [om | [0
Cropheight (m) i | [080  (optibnal) |
A
oW
=3
Schedule
W
Crop Patier
W
Scheme
ETofile Rain fle Ciop fle Sail e Planting date Ciop pat file Schedule fle

yabelo? eto.pem finchwa eff rain.cim hadha hurbu-tomato2.cro hadha hurbu-soil.soi 05/05 hadha hurbu- cropping pattern.pal|







{§) CROPWAT - Session: C:\ProgramData\CROPWAT\data\sessions\Hadha Hurbu- scheme supply
& File Edt Calculations Charts Settings Window Language Help

D .& . &H & | &
New T Open T Save Cose | P
CopName [oronz Planting date [I5/05. Harvest [22/08
B3
Climate/ETo i i
Values | 1 2% | |
Rein Stage| i | devebpment | midsesson | latosesson 3 ol
ww)| T2 | [® | [® | [=a | [
L | ! 1 !
g Rooting depth \\_ =
S i T L ——|
Critical depletion i i ! !
* tractom | [0 | R
st Yieldvesponse t.| [0 | [ow0 | [m | [w | [0
Cropheight (m) i {030 (optibnal) |
A
oW
=3
Schedule
W
Crop Patier
W
Scheme
ETofile Rain fle Ciop fle Sail e Planting date Ciop pat file Schedule fle

yabelo? eto.pem finchwa eff rain.cim hadha hurbu-onion2.cro hadha hurbu-soil.soi 05/05 hadha hurbu- cropping pattern.pal|







{§) CROPWAT - Session: C:\ProgramData\CROPWAT\data\sessions\Hadha Hurbu- scheme supply
& File Edt Calculations Charts Settings Window Language Help

D .& . &H & | &
New T Open T Save Cose | P
CiopName [Femperz Planting date. [05/35 Harvest [01708
B3
Climate/ETo | i
e j i _\
e b | |
Rein Stage| mis | devebpmen | midsesson | lsesesson | ol
ww)| T2 | [® [ [® | [=a | [m@
2 | 1 1 3
L Rooting depth \"’\i_ = |
S i T LM
Ciitical depletion i | | |
w prisi] INECE I
Sel Yiedresponset. | [ 140 | [oe | [7m | [om | [T
Cropheight (m) ! | [7070 opiinal !
A
oW
=3
Schedule
W
Crop Patier
W
Scheme
ETofile Rain fle Ciop fle Sailfle Planting date Crop pat e Schedule fle

yabelo? eto.pem finchwa eff rain.cim hadha hurbu-pepper2.cro hadha hurbu-soil.soi 05/05 hadha hurbu- cropping pattern.pal|







{§) CROPWAT - Session: C:\ProgramData\CROPWAT\data\sessions\Hadha Hurbu- scheme supply
& File Edt Calculations Charts Settings Window Language Help

D .& . &H & | &
New T Open T Save Cose | P
Crop Name |Head cabbage2 Planting date |05/05 Harvest |01/09
B3
Climate/ETo | i
e j i _\
Values | 12— | |
Rein Stage| mi | devebpmen | midsesson | lsesesson | ol
ww)| T2 | [ | [m | [® | [m@
2 | 1 1 3
L Rooting depth \"’\i_ |
S i T [N
Ciitical depletion i | | |
w prisei] TR R
Sel Yiedresponset. | [0 | [ow | [o& | [om | [0%
Cropheight (m) ! | [T040 opiinal !
A
oW
=3
Schedule
W
Crop Patier
W
Scheme
ETofile Rain fle Ciop fle Sailfle Planting date Crop pat e Schedule fle

yabelo? eto.pem finchwa eff rain.cim hadha hurbu-head cabbage2.cro hadha hurbu-soil. soi 05/05 hadha hurbu- cropping pattern.pal|







ile Edit Calculations Charts Seftings Window Language Help

0D .,.& . d o s E
New T Open T Save Chse | Pim  Cos Opion:
Cropping pattern name. [Fadha Fuba 52
B3
Climate/ETo | No. Crop file Crop name Gagm Ched &P
1. Fadha FubuMaz=2 RO L [z [ o [@
2| 2 ezt .| [ogm2 [ e [ @
3. [Hadha Husbu ool bean2 0D | [Faoatbeanz s [ [
v 4. [Hadha HurbuTomata2 CFD | [Fomaoz [ [ [T
Ciop || 5. [Hadha HubuGrion2 00 | [z B [ [
6. [Fsdha HubuPeppe2 CFO | [Pemperz [ [fos [T
o 7. [Fsdha HutbHead cabbage2 CRO | [Fesdcabbagez [ [fos [T
o BN I I
o o BN I I
cwr [10] ] et | I
1] BN I I
B |2 BN I I
sehede || | = el T
1a.] BN I — -
| BT ENI IR
16.] BN I I
w a7 1T [ r 5]
Scheme








_1615272557.xls
Chart1

		0		0

		0.2710745793		0.2710745793

		0.5421491586		0.5421491586

		0.813223738		0.813223738

		1.0842983173		1.0842983173

		1.1114057752		1.1114057752

		1.3553728966		1.3553728966

		1.3824803546		1.3824803546

		1.6535549339		1.6535549339

		1.9246295132		1.9246295132

		2.1957040925		2.1957040925

		2.4667786718		2.4667786718

		2.9674534199		2.9674534199

		3.2385279992		3.2385279992

		3.5096025785		3.5096025785

		3.7806771578		3.7806771578

		4.0517517372		4.0517517372

		4.3228263165		4.3228263165

		5		5

		6		6

		7		7

		8		8



inflow (M3/s)

Out flow(M3/s)

Time hr

Q (m3/s)

0

0

0.3005277094

0

0.6010554188

0

5.3764788358

0

18.8154441238

0

20.1119838534

1.0751744045

40.4877378565

3.0410524494

42.7517105235

5.5867700865

68.8333061945

12.0208152802

87.76042789

19.9125086315

92.8362580911

29.0297089203

82.5860402841

39.2254509215

53.5829355641

39.2254509215

38.0531579142

44.6941606924

22.5233802642

39.2254509215

9.6731808823

34

2.0107311237

34

0

29.0297089203

0

24.3284195952

0

19.9125086315

0

15.8017720525

0

15.8017720525



Spillway

				X		Y		Distance (Total)		Elevation						Elevation		Distance (Total)		X						Distance (Total)		Y						Dam Axis OGL								Average Depth

				456701.365		601404.18		0		1270.015				0		1270.015		0		456701.365		0		456701.365		0		601404.18		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456701.495		601403.189		1		1270.005				10		1270		1		456701.495		10		456702.663		1		601403.189		10		601394.269		10		456702.663		601394.269		1270		16

				456701.625		601402.198		2		1270				20		1269.822		2		456701.625		20		456703.961		2		601402.198		20		601384.357		20		456703.961		601384.357		1269.822		15.822

				456701.755		601401.207		3		1270				30		1269.725		3		456701.755		30		456705.258		3		601401.207		30		601374.445		30		456705.258		601374.445		1269.725		15.725

				456701.884		601400.216		4		1270				40		1269.562		4		456701.884		40		456706.556		4		601400.216		40		601364.534		40		456706.556		601364.534		1269.562		15.562

				456702.014		601399.224		5		1270				50		1269.482		5		456702.014		50		456707.853		5		601399.224		50		601354.622		50		456707.853		601354.622		1269.482		15.482

				456702.144		601398.233		6		1270				60		1269		6		456702.144		60		456709.151		6		601398.233		60		601344.71		60		456709.151		601344.71		1269		15

				456702.274		601397.242		7		1270				70		1268.473		7		456702.274		70		456710.448		7		601397.242		70		601334.799		70		456710.448		601334.799		1268.473		14.473

				456702.403		601396.251		8		1270				80		1268		8		456702.403		80		456711.746		8		601396.251		80		601324.887		80		456711.746		601324.887		1268		14

				456702.533		601395.26		9		1270				90		1268		9		456702.533		90		456713.043		9		601395.26		90		601314.975		90		456713.043		601314.975		1268		14

				456702.663		601394.269		10		1270				100		1267.989		10		456702.663		100		456718.559		10		601394.269		100		601307.136		100		456718.559		601307.136		1267.989		13.989

				456702.793		601393.277		11		1270				110		1267.684		11		456702.793		110		456728.395		11		601393.277		110		601305.961		110		456728.395		601305.961		1267.684		13.684

				456702.922		601392.286		12		1269.999				120		1266.836		12		456702.922		120		456738.388		12		601392.286		120		601305.701		120		456738.388		601305.701		1266.836		12.836

				456703.052		601391.295		13		1269.989				130		1265.71		13		456703.052		130		456748.381		13		601391.295		130		601305.441		130		456748.381		601305.441		1265.71		11.71

				456703.182		601390.304		14		1269.979				140		1264.862		14		456703.182		140		456758.374		14		601390.304		140		601305.182		140		456758.374		601305.182		1264.862		10.862

				456703.312		601389.313		15		1269.922				150		1264.111		15		456703.312		150		456768.367		15		601389.313		150		601304.922		150		456768.367		601304.922		1264.111		10.111

				456703.442		601388.322		16		1269.9				160		1264		16		456703.442		160		456778.36		16		601388.322		160		601304.662		160		456778.36		601304.662		1264		10

				456703.571		601387.33		17		1269.9				170		1263.222		17		456703.571		170		456788.353		17		601387.33		170		601304.402		170		456788.353		601304.402		1263.222		9.222

				456703.701		601386.339		18		1269.882				180		1263.131		18		456703.701		180		456798.345		18		601386.339		180		601304.142		180		456798.345		601304.142		1263.131		9.131

				456703.831		601385.348		19		1269.831				190		1262.9		19		456703.831		190		456808.338		19		601385.348		190		601303.882		190		456808.338		601303.882		1262.9		8.9

				456703.961		601384.357		20		1269.822				200		1262.591		20		456703.961		200		456818.331		20		601384.357		200		601303.622		200		456818.331		601303.622		1262.591		8.591

				456704.09		601383.366		21		1269.812				210		1262.3		21		456704.09		210		456828.324		21		601383.366		210		601303.363		210		456828.324		601303.363		1262.3		8.3

				456704.22		601382.375		22		1269.802				220		1261.998		22		456704.22		220		456838.317		22		601382.375		220		601303.103		220		456838.317		601303.103		1261.998		7.998

				456704.35		601381.383		23		1269.792				230		1261.552		23		456704.35		230		456848.31		23		601381.383		230		601302.843		230		456848.31		601302.843		1261.552		7.552

				456704.48		601380.392		24		1269.783				240		1261.1		24		456704.48		240		456858.303		24		601380.392		240		601302.583		240		456858.303		601302.583		1261.1		7.1

				456704.609		601379.401		25		1269.773				250		1260.562		25		456704.609		250		456868.295		25		601379.401		250		601302.323		250		456868.295		601302.323		1260.562		6.562

				456704.739		601378.41		26		1269.763				260		1260.016		26		456704.739		260		456878.288		26		601378.41		260		601302.063		260		456878.288		601302.063		1260.016		6.016

				456704.869		601377.419		27		1269.754				270		1259.6		27		456704.869		270		456888.281		27		601377.419		270		601301.803		270		456888.281		601301.803		1259.6		5.6

				456704.999		601376.428		28		1269.744				280		1259.2		28		456704.999		280		456898.274		28		601376.428		280		601301.544		280		456898.274		601301.544		1259.2		5.2

				456705.128		601375.436		29		1269.734				290		1258.8		29		456705.128		290		456908.267		29		601375.436		290		601301.284		290		456908.267		601301.284		1258.8		4.8

				456705.258		601374.445		30		1269.725				300		1258.4		30		456705.258		300		456918.26		30		601374.445		300		601301.024		300		456918.26		601301.024		1258.4		4.4

				456705.388		601373.454		31		1269.715				310		1257.992		31		456705.388		310		456928.253		31		601373.454		310		601300.764		310		456928.253		601300.764		1257.992		3.992

				456705.518		601372.463		32		1269.705				320		1257.643		32		456705.518		320		456938.245		32		601372.463		320		601300.504		320		456938.245		601300.504		1257.643		3.643

				456705.647		601371.472		33		1269.696				330		1257.298		33		456705.647		330		456948.238		33		601371.472		330		601300.244		330		456948.238		601300.244		1257.298		3.298

				456705.777		601370.481		34		1269.686				340		1256.9		34		456705.777		340		456958.231		34		601370.481		340		601299.984		340		456958.231		601299.984		1256.9		2.9

				456705.907		601369.489		35		1269.676				350		1256.5		35		456705.907		350		456968.224		35		601369.489		350		601299.725		350		456968.224		601299.725		1256.5		2.5

				456706.037		601368.498		36		1269.665				360		1256.061		36		456706.037		360		456978.217		36		601368.498		360		601299.465		360		456978.217		601299.465		1256.061		2.061

				456706.166		601367.507		37		1269.606				370		1255.715		37		456706.166		370		456988.21		37		601367.507		370		601299.205		370		456988.21		601299.205		1255.715		1.715

				456706.296		601366.516		38		1269.6				380		1255.5		38		456706.296		380		456998.202		38		601366.516		380		601298.945		380		456998.202		601298.945		1255.5		1.5

				456706.426		601365.525		39		1269.6				390		1255.3		39		456706.426		390		457008.195		39		601365.525		390		601298.685		390		457008.195		601298.685		1255.3		1.3

				456706.556		601364.534		40		1269.562				400		1255.183		40		456706.556		400		457018.188		40		601364.534		400		601298.425		400		457018.188		601298.425		1255.183		1.183

				456706.685		601363.542		41		1269.518				410		1255		41		456706.685		410		457028.181		41		601363.542		410		601298.166		410		457028.181		601298.166		1255		1

				456706.815		601362.551		42		1269.509				420		1255		42		456706.815		420		457038.174		42		601362.551		420		601297.906		420		457038.174		601297.906		1255		1

				456706.945		601361.56		43		1269.514				430		1255		43		456706.945		430		457048.167		43		601361.56		430		601297.646		430		457048.167		601297.646		1255		1

				456707.075		601360.569		44		1269.589				440		1254.729		44		456707.075		440		457058.16		44		601360.569		440		601297.386		440		457058.16		601297.386		1254.729		0.729

				456707.204		601359.578		45		1269.579				547.02		1253		45		456707.204		547.02		457165.1		45		601359.578		547.02		601294.605		547.02		457165.1		601294.605		1253		-1

				456707.334		601358.587		46		1269.57						1270.015		46		456707.334		0		456701.365		46		601358.587		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456707.464		601357.595		47		1269.56						1270.015		47		456707.464		0		456701.365		47		601357.595		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456707.594		601356.604		48		1269.55						1270.015		48		456707.594		0		456701.365		48		601356.604		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456707.723		601355.613		49		1269.525						1270.015		49		456707.723		0		456701.365		49		601355.613		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456707.853		601354.622		50		1269.482						1270.015		50		456707.853		0		456701.365		50		601354.622		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456707.983		601353.631		51		1269.419						1270.015		51		456707.983		0		456701.365		51		601353.631		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456708.113		601352.64		52		1269.4						1270.015		52		456708.113		0		456701.365		52		601352.64		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456708.242		601351.648		53		1269.314						1270.015		53		456708.242		0		456701.365		53		601351.648		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456708.372		601350.657		54		1269.294						1270.015		54		456708.372		0		456701.365		54		601350.657		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456708.502		601349.666		55		1269.231						1270.015		55		456708.502		0		456701.365		55		601349.666		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456708.632		601348.675		56		1269.187						1270.015		56		456708.632		0		456701.365		56		601348.675		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456708.761		601347.684		57		1269.14						1270.015		57		456708.761		0		456701.365		57		601347.684		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456708.891		601346.693		58		1269.089						1270.015		58		456708.891		0		456701.365		58		601346.693		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456709.021		601345.701		59		1269.039						1270.015		59		456709.021		0		456701.365		59		601345.701		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456709.151		601344.71		60		1269						1270.015		60		456709.151		0		456701.365		60		601344.71		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456709.28		601343.719		61		1269						1270.015		61		456709.28		0		456701.365		61		601343.719		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456709.41		601342.728		62		1268.926		TC				1270.015		62		456709.41		0		456701.365		62		601342.728		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456709.54		601341.737		63		1268.839						1270.015		63		456709.54		0		456701.365		63		601341.737		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456709.67		601340.746		64		1268.802						1270.015		64		456709.67		0		456701.365		64		601340.746		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456709.799		601339.754		65		1268.764						1270.015		65		456709.799		0		456701.365		65		601339.754		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456709.929		601338.763		66		1268.682						1270.015		66		456709.929		0		456701.365		66		601338.763		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456710.059		601337.772		67		1268.63						1270.015		67		456710.059		0		456701.365		67		601337.772		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456710.189		601336.781		68		1268.601						1270.015		68		456710.189		0		456701.365		68		601336.781		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456710.318		601335.79		69		1268.515						1270.015		69		456710.318		0		456701.365		69		601335.79		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456710.448		601334.799		70		1268.473						1270.015		70		456710.448		0		456701.365		70		601334.799		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456710.578		601333.807		71		1268.429						1270.015		71		456710.578		0		456701.365		71		601333.807		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456710.708		601332.816		72		1268.353						1270.015		72		456710.708		0		456701.365		72		601332.816		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456710.837		601331.825		73		1268.297						1270.015		73		456710.837		0		456701.365		73		601331.825		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456710.967		601330.834		74		1268.278						1270.015		74		456710.967		0		456701.365		74		601330.834		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456711.097		601329.843		75		1268.19						1270.015		75		456711.097		0		456701.365		75		601329.843		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456711.227		601328.852		76		1268.103						1270.015		76		456711.227		0		456701.365		76		601328.852		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456711.356		601327.86		77		1268.1						1270.015		77		456711.356		0		456701.365		77		601327.86		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456711.486		601326.869		78		1268.028						1270.015		78		456711.486		0		456701.365		78		601326.869		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456711.616		601325.878		79		1268						1270.015		79		456711.616		0		456701.365		79		601325.878		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456711.746		601324.887		80		1268						1270.015		80		456711.746		0		456701.365		80		601324.887		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456711.875		601323.896		81		1268						1270.015		81		456711.875		0		456701.365		81		601323.896		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456712.005		601322.905		82		1268						1270.015		82		456712.005		0		456701.365		82		601322.905		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456712.135		601321.914		83		1268						1270.015		83		456712.135		0		456701.365		83		601321.914		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456712.265		601320.922		84		1268						1270.015		84		456712.265		0		456701.365		84		601320.922		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456712.394		601319.931		85		1268						1270.015		85		456712.394		0		456701.365		85		601319.931		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456712.524		601318.94		86		1268						1270.015		86		456712.524		0		456701.365		86		601318.94		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456712.654		601317.949		87		1268						1270.015		87		456712.654		0		456701.365		87		601317.949		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456712.784		601316.958		88		1268						1270.015		88		456712.784		0		456701.365		88		601316.958		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456712.913		601315.967		89		1268						1270.015		89		456712.913		0		456701.365		89		601315.967		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.043		601314.975		90		1268						1270.015		90		456713.043		0		456701.365		90		601314.975		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.065		601314.807		90.17		1268						1270.015		90.17		456713.065		0		456701.365		90.17		601314.807		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.065		601314.807		90.17		1268						1270.015		90.17		456713.065		0		456701.365		90.17		601314.807		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.076		601314.729		90.248		1268						1270.015		90.248		456713.076		0		456701.365		90.248		601314.729		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.087		601314.652		90.327		1268						1270.015		90.327		456713.087		0		456701.365		90.327		601314.652		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.099		601314.574		90.405		1268						1270.015		90.405		456713.099		0		456701.365		90.405		601314.574		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.111		601314.496		90.484		1268						1270.015		90.484		456713.111		0		456701.365		90.484		601314.496		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.124		601314.419		90.563		1268						1270.015		90.563		456713.124		0		456701.365		90.563		601314.419		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.137		601314.341		90.641		1268						1270.015		90.641		456713.137		0		456701.365		90.641		601314.341		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.152		601314.264		90.72		1268						1270.015		90.72		456713.152		0		456701.365		90.72		601314.264		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.166		601314.187		90.799		1268						1270.015		90.799		456713.166		0		456701.365		90.799		601314.187		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.182		601314.11		90.877		1268						1270.015		90.877		456713.182		0		456701.365		90.877		601314.11		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.198		601314.033		90.956		1268						1270.015		90.956		456713.198		0		456701.365		90.956		601314.033		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.207		601313.99		91		1268						1270.015		91		456713.207		0		456701.365		91		601313.99		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.214		601313.956		91.034		1268						1270.015		91.034		456713.214		0		456701.365		91.034		601313.956		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.231		601313.879		91.113		1268						1270.015		91.113		456713.231		0		456701.365		91.113		601313.879		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.249		601313.803		91.192		1268						1270.015		91.192		456713.249		0		456701.365		91.192		601313.803		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.268		601313.726		91.27		1268						1270.015		91.27		456713.268		0		456701.365		91.27		601313.726		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.287		601313.65		91.349		1268						1270.015		91.349		456713.287		0		456701.365		91.349		601313.65		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.306		601313.574		91.428		1268						1270.015		91.428		456713.306		0		456701.365		91.428		601313.574		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.326		601313.498		91.506		1268						1270.015		91.506		456713.326		0		456701.365		91.506		601313.498		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.347		601313.422		91.585		1268						1270.015		91.585		456713.347		0		456701.365		91.585		601313.422		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.369		601313.347		91.663		1268						1270.015		91.663		456713.369		0		456701.365		91.663		601313.347		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.391		601313.271		91.742		1268						1270.015		91.742		456713.391		0		456701.365		91.742		601313.271		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.413		601313.196		91.821		1268						1270.015		91.821		456713.413		0		456701.365		91.821		601313.196		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.436		601313.121		91.899		1268						1270.015		91.899		456713.436		0		456701.365		91.899		601313.121		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.46		601313.046		91.978		1268						1270.015		91.978		456713.46		0		456701.365		91.978		601313.046		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.467		601313.025		92		1268						1270.015		92		456713.467		0		456701.365		92		601313.025		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.484		601312.971		92.056		1268						1270.015		92.056		456713.484		0		456701.365		92.056		601312.971		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.509		601312.897		92.135		1268						1270.015		92.135		456713.509		0		456701.365		92.135		601312.897		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.535		601312.822		92.214		1268						1270.015		92.214		456713.535		0		456701.365		92.214		601312.822		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.561		601312.748		92.292		1268						1270.015		92.292		456713.561		0		456701.365		92.292		601312.748		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.588		601312.674		92.371		1268						1270.015		92.371		456713.588		0		456701.365		92.371		601312.674		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.615		601312.6		92.45		1268						1270.015		92.45		456713.615		0		456701.365		92.45		601312.6		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.643		601312.527		92.528		1268						1270.015		92.528		456713.643		0		456701.365		92.528		601312.527		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.671		601312.454		92.607		1268						1270.015		92.607		456713.671		0		456701.365		92.607		601312.454		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.7		601312.381		92.685		1268						1270.015		92.685		456713.7		0		456701.365		92.685		601312.381		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.73		601312.308		92.764		1268						1270.015		92.764		456713.73		0		456701.365		92.764		601312.308		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.76		601312.235		92.843		1268						1270.015		92.843		456713.76		0		456701.365		92.843		601312.235		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.79		601312.163		92.921		1268						1270.015		92.921		456713.79		0		456701.365		92.921		601312.163		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.822		601312.091		93		1268						1270.015		93		456713.822		0		456701.365		93		601312.091		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.822		601312.091		93		1268						1270.015		93		456713.822		0		456701.365		93		601312.091		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.854		601312.019		93.079		1268						1270.015		93.079		456713.854		0		456701.365		93.079		601312.019		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.886		601311.947		93.157		1268						1270.015		93.157		456713.886		0		456701.365		93.157		601311.947		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.919		601311.876		93.236		1268						1270.015		93.236		456713.919		0		456701.365		93.236		601311.876		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.952		601311.805		93.314		1268						1270.015		93.314		456713.952		0		456701.365		93.314		601311.805		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.987		601311.734		93.393		1268						1270.015		93.393		456713.987		0		456701.365		93.393		601311.734		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.021		601311.664		93.472		1268						1270.015		93.472		456714.021		0		456701.365		93.472		601311.664		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.056		601311.593		93.55		1268						1270.015		93.55		456714.056		0		456701.365		93.55		601311.593		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.092		601311.523		93.629		1268						1270.015		93.629		456714.092		0		456701.365		93.629		601311.523		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.128		601311.454		93.707		1268						1270.015		93.707		456714.128		0		456701.365		93.707		601311.454		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.165		601311.384		93.786		1268						1270.015		93.786		456714.165		0		456701.365		93.786		601311.384		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.203		601311.315		93.865		1268						1270.015		93.865		456714.203		0		456701.365		93.865		601311.315		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.241		601311.246		93.943		1268						1270.015		93.943		456714.241		0		456701.365		93.943		601311.246		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.268		601311.197		94		1268						1270.015		94		456714.268		0		456701.365		94		601311.197		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.279		601311.178		94.022		1268						1270.015		94.022		456714.279		0		456701.365		94.022		601311.178		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.318		601311.109		94.101		1268						1270.015		94.101		456714.318		0		456701.365		94.101		601311.109		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.357		601311.041		94.179		1268						1270.015		94.179		456714.357		0		456701.365		94.179		601311.041		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.398		601310.974		94.258		1268						1270.015		94.258		456714.398		0		456701.365		94.258		601310.974		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.438		601310.907		94.336		1268						1270.015		94.336		456714.438		0		456701.365		94.336		601310.907		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.479		601310.84		94.415		1268						1270.015		94.415		456714.479		0		456701.365		94.415		601310.84		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.521		601310.773		94.494		1268						1270.015		94.494		456714.521		0		456701.365		94.494		601310.773		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.563		601310.707		94.572		1268						1270.015		94.572		456714.563		0		456701.365		94.572		601310.707		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.606		601310.641		94.651		1268						1270.015		94.651		456714.606		0		456701.365		94.651		601310.641		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.649		601310.575		94.73		1268						1270.015		94.73		456714.649		0		456701.365		94.73		601310.575		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.693		601310.51		94.808		1268						1270.015		94.808		456714.693		0		456701.365		94.808		601310.51		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.737		601310.445		94.887		1268						1270.015		94.887		456714.737		0		456701.365		94.887		601310.445		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.782		601310.38		94.965		1268						1270.015		94.965		456714.782		0		456701.365		94.965		601310.38		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.802		601310.352		95		1268						1270.015		95		456714.802		0		456701.365		95		601310.352		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.827		601310.316		95.044		1268						1270.015		95.044		456714.827		0		456701.365		95.044		601310.316		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.873		601310.252		95.123		1268						1270.015		95.123		456714.873		0		456701.365		95.123		601310.252		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.919		601310.188		95.201		1268						1270.015		95.201		456714.919		0		456701.365		95.201		601310.188		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.966		601310.125		95.28		1268						1270.015		95.28		456714.966		0		456701.365		95.28		601310.125		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456715.013		601310.062		95.358		1268						1270.015		95.358		456715.013		0		456701.365		95.358		601310.062		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456715.061		601310		95.437		1268						1270.015		95.437		456715.061		0		456701.365		95.437		601310		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456715.109		601309.938		95.516		1268						1270.015		95.516		456715.109		0		456701.365		95.516		601309.938		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456715.158		601309.876		95.594		1268						1270.015		95.594		456715.158		0		456701.365		95.594		601309.876		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456715.207		601309.815		95.673		1268						1270.015		95.673		456715.207		0		456701.365		95.673		601309.815		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456715.256		601309.754		95.752		1268						1270.015		95.752		456715.256		0		456701.365		95.752		601309.754		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456715.307		601309.694		95.83		1268						1270.015		95.83		456715.307		0		456701.365		95.83		601309.694		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456715.357		601309.633		95.909		1268						1270.015		95.909		456715.357		0		456701.365		95.909		601309.633		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456715.408		601309.574		95.987		1268						1270.015		95.987		456715.408		0		456701.365		95.987		601309.574		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456715.417		601309.564		96		1268						1270.015		96		456715.417		0		456701.365		96		601309.564		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456715.46		601309.514		96.066		1268						1270.015		96.066		456715.46		0		456701.365		96.066		601309.514		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456715.512		601309.456		96.145		1268						1270.015		96.145		456715.512		0		456701.365		96.145		601309.456		0		601404.18		0		456701.365		601404.18		1270.015		16.015		13.87

				456715.564		601309.397		96.223		1268						1270.015		96.223		456715.564		0		456701.365		96.223		601309.397		0		601404.18		0		456701.365		601404.18		1270.015

				456715.617		601309.339		96.302		1268						1270.015		96.302		456715.617		0		456701.365		96.302		601309.339		0		601404.18		0		456701.365		601404.18		1270.015

				456715.671		601309.281		96.381		1268						1270.015		96.381		456715.671		0		456701.365		96.381		601309.281		0		601404.18		0		456701.365		601404.18		1270.015

				456715.725		601309.224		96.459		1268						1270.015		96.459		456715.725		0		456701.365		96.459		601309.224		0		601404.18		0		456701.365		601404.18		1270.015

				456715.779		601309.167		96.538		1268						1270.015		96.538		456715.779		0		456701.365		96.538		601309.167		0		601404.18		0		456701.365		601404.18		1270.015

				456715.834		601309.111		96.616		1268						1270.015		96.616		456715.834		0		456701.365		96.616		601309.111		0		601404.18		0		456701.365		601404.18		1270.015

				456715.889		601309.055		96.695		1268						1270.015		96.695		456715.889		0		456701.365		96.695		601309.055		0		601404.18		0		456701.365		601404.18		1270.015

				456715.944		601308.999		96.774		1268						1270.015		96.774		456715.944		0		456701.365		96.774		601308.999		0		601404.18		0		456701.365		601404.18		1270.015

				456716.001		601308.944		96.852		1268						1270.015		96.852		456716.001		0		456701.365		96.852		601308.944		0		601404.18		0		456701.365		601404.18		1270.015

				456716.057		601308.89		96.931		1268						1270.015		96.931		456716.057		0		456701.365		96.931		601308.89		0		601404.18		0		456701.365		601404.18		1270.015

				456716.107		601308.842		97		1268						1270.015		97		456716.107		0		456701.365		97		601308.842		0		601404.18		0		456701.365		601404.18		1270.015

				456716.114		601308.835		97.01		1268						1270.015		97.01		456716.114		0		456701.365		97.01		601308.835		0		601404.18		0		456701.365		601404.18		1270.015

				456716.171		601308.782		97.088		1268						1270.015		97.088		456716.171		0		456701.365		97.088		601308.782		0		601404.18		0		456701.365		601404.18		1270.015

				456716.229		601308.728		97.167		1268						1270.015		97.167		456716.229		0		456701.365		97.167		601308.728		0		601404.18		0		456701.365		601404.18		1270.015

				456716.287		601308.676		97.245		1268						1270.015		97.245		456716.287		0		456701.365		97.245		601308.676		0		601404.18		0		456701.365		601404.18		1270.015

				456716.346		601308.623		97.324		1268						1270.015		97.324		456716.346		0		456701.365		97.324		601308.623		0		601404.18		0		456701.365		601404.18		1270.015

				456716.405		601308.571		97.403		1268						1270.015		97.403		456716.405		0		456701.365		97.403		601308.571		0		601404.18		0		456701.365		601404.18		1270.015

				456716.464		601308.52		97.481		1268						1270.015		97.481		456716.464		0		456701.365		97.481		601308.52		0		601404.18		0		456701.365		601404.18		1270.015

				456716.524		601308.469		97.56		1268						1270.015		97.56		456716.524		0		456701.365		97.56		601308.469		0		601404.18		0		456701.365		601404.18		1270.015

				456716.584		601308.418		97.638		1268						1270.015		97.638		456716.584		0		456701.365		97.638		601308.418		0		601404.18		0		456701.365		601404.18		1270.015

				456716.645		601308.368		97.717		1268						1270.015		97.717		456716.645		0		456701.365		97.717		601308.368		0		601404.18		0		456701.365		601404.18		1270.015

				456716.706		601308.319		97.796		1268						1270.015		97.796		456716.706		0		456701.365		97.796		601308.319		0		601404.18		0		456701.365		601404.18		1270.015

				456716.767		601308.27		97.874		1268						1270.015		97.874		456716.767		0		456701.365		97.874		601308.27		0		601404.18		0		456701.365		601404.18		1270.015

				456716.829		601308.221		97.953		1268						1270.015		97.953		456716.829		0		456701.365		97.953		601308.221		0		601404.18		0		456701.365		601404.18		1270.015

				456716.866		601308.192		98		1268						1270.015		98		456716.866		0		456701.365		98		601308.192		0		601404.18		0		456701.365		601404.18		1270.015

				456716.891		601308.173		98.032		1268						1270.015		98.032		456716.891		0		456701.365		98.032		601308.173		0		601404.18		0		456701.365		601404.18		1270.015

				456716.954		601308.125		98.11		1268						1270.015		98.11		456716.954		0		456701.365		98.11		601308.125		0		601404.18		0		456701.365		601404.18		1270.015

				456717.017		601308.078		98.189		1268						1270.015		98.189		456717.017		0		456701.365		98.189		601308.078		0		601404.18		0		456701.365		601404.18		1270.015

				456717.08		601308.032		98.267		1268						1270.015		98.267		456717.08		0		456701.365		98.267		601308.032		0		601404.18		0		456701.365		601404.18		1270.015

				456717.144		601307.986		98.346		1268						1270.015		98.346		456717.144		0		456701.365		98.346		601307.986		0		601404.18		0		456701.365		601404.18		1270.015

				456717.208		601307.94		98.425		1268						1270.015		98.425		456717.208		0		456701.365		98.425		601307.94		0		601404.18		0		456701.365		601404.18		1270.015

				456717.272		601307.895		98.503		1268						1270.015		98.503		456717.272		0		456701.365		98.503		601307.895		0		601404.18		0		456701.365		601404.18		1270.015

				456717.337		601307.85		98.582		1268						1270.015		98.582		456717.337		0		456701.365		98.582		601307.85		0		601404.18		0		456701.365		601404.18		1270.015

				456717.402		601307.806		98.661		1268						1270.015		98.661		456717.402		0		456701.365		98.661		601307.806		0		601404.18		0		456701.365		601404.18		1270.015

				456717.467		601307.763		98.739		1268						1270.015		98.739		456717.467		0		456701.365		98.739		601307.763		0		601404.18		0		456701.365		601404.18		1270.015

				456717.533		601307.719		98.818		1268						1270.015		98.818		456717.533		0		456701.365		98.818		601307.719		0		601404.18		0		456701.365		601404.18		1270.015

				456717.599		601307.677		98.896		1268						1270.015		98.896		456717.599		0		456701.365		98.896		601307.677		0		601404.18		0		456701.365		601404.18		1270.015

				456717.665		601307.635		98.975		1268						1270.015		98.975		456717.665		0		456701.365		98.975		601307.635		0		601404.18		0		456701.365		601404.18		1270.015

				456717.686		601307.622		99		1268						1270.015		99		456717.686		0		456701.365		99		601307.622		0		601404.18		0		456701.365		601404.18		1270.015

				456717.732		601307.593		99.054		1268						1270.015		99.054		456717.732		0		456701.365		99.054		601307.593		0		601404.18		0		456701.365		601404.18		1270.015

				456717.799		601307.552		99.132		1268						1270.015		99.132		456717.799		0		456701.365		99.132		601307.552		0		601404.18		0		456701.365		601404.18		1270.015

				456717.866		601307.512		99.211		1268						1270.015		99.211		456717.866		0		456701.365		99.211		601307.512		0		601404.18		0		456701.365		601404.18		1270.015

				456717.934		601307.472		99.289		1268						1270.015		99.289		456717.934		0		456701.365		99.289		601307.472		0		601404.18		0		456701.365		601404.18		1270.015

				456718.002		601307.433		99.368		1268						1270.015		99.368		456718.002		0		456701.365		99.368		601307.433		0		601404.18		0		456701.365		601404.18		1270.015

				456718.07		601307.394		99.447		1268						1270.015		99.447		456718.07		0		456701.365		99.447		601307.394		0		601404.18		0		456701.365		601404.18		1270.015

				456718.139		601307.355		99.525		1268						1270.015		99.525		456718.139		0		456701.365		99.525		601307.355		0		601404.18		0		456701.365		601404.18		1270.015

				456718.208		601307.318		99.604		1268						1270.015		99.604		456718.208		0		456701.365		99.604		601307.318		0		601404.18		0		456701.365		601404.18		1270.015

				456718.277		601307.28		99.683		1268						1270.015		99.683		456718.277		0		456701.365		99.683		601307.28		0		601404.18		0		456701.365		601404.18		1270.015

				456718.347		601307.244		99.761		1267.999						1270.015		99.761		456718.347		0		456701.365		99.761		601307.244		0		601404.18		0		456701.365		601404.18		1270.015

				456718.416		601307.208		99.84		1267.996						1270.015		99.84		456718.416		0		456701.365		99.84		601307.208		0		601404.18		0		456701.365		601404.18		1270.015

				456718.486		601307.172		99.918		1267.992						1270.015		99.918		456718.486		0		456701.365		99.918		601307.172		0		601404.18		0		456701.365		601404.18		1270.015

				456718.557		601307.137		99.997		1267.989						1270.015		99.997		456718.557		0		456701.365		99.997		601307.137		0		601404.18		0		456701.365		601404.18		1270.015

				456718.559		601307.136		100		1267.989						1270.015		100		456718.559		0		456701.365		100		601307.136		0		601404.18		0		456701.365		601404.18		1270.015

				456718.627		601307.102		100.08		1267.986						1270.015		100.08		456718.627		0		456701.365		100.08		601307.102		0		601404.18		0		456701.365		601404.18		1270.015

				456718.698		601307.069		100.15		1267.983						1270.015		100.15		456718.698		0		456701.365		100.15		601307.069		0		601404.18		0		456701.365		601404.18		1270.015

				456718.769		601307.035		100.23		1267.98						1270.015		100.23		456718.769		0		456701.365		100.23		601307.035		0		601404.18		0		456701.365		601404.18		1270.015

				456718.841		601307.002		100.31		1267.978						1270.015		100.31		456718.841		0		456701.365		100.31		601307.002		0		601404.18		0		456701.365		601404.18		1270.015

				456718.913		601306.97		100.39		1267.975						1270.015		100.39		456718.913		0		456701.365		100.39		601306.97		0		601404.18		0		456701.365		601404.18		1270.015

				456718.984		601306.938		100.47		1267.972						1270.015		100.47		456718.984		0		456701.365		100.47		601306.938		0		601404.18		0		456701.365		601404.18		1270.015

				456719.057		601306.907		100.55		1267.969						1270.015		100.55		456719.057		0		456701.365		100.55		601306.907		0		601404.18		0		456701.365		601404.18		1270.015

				456719.129		601306.877		100.63		1267.966						1270.015		100.63		456719.129		0		456701.365		100.63		601306.877		0		601404.18		0		456701.365		601404.18		1270.015

				456719.202		601306.847		100.7		1267.964						1270.015		100.7		456719.202				456701.365		100.7		601306.847		0		601404.18		0		456701.365		601404.18		1270.015

				456719.275		601306.817		100.78		1267.961						1270.015		100.78		456719.275				456701.365		100.78		601306.817		0		601404.18		0		456701.365		601404.18		1270.015

				456719.348		601306.788		100.86		1267.959						1270.015		100.86		456719.348				456701.365		100.86		601306.788		0		601404.18		0		456701.365		601404.18		1270.015

				456719.421		601306.76		100.94		1267.956						1270.015		100.94		456719.421				456701.365		100.94		601306.76		0		601404.18		0		456701.365		601404.18		1270.015

				456719.477		601306.739		101		1267.954						1270.015		101		456719.477				456701.365		101		601306.739		0		601404.18		0		456701.365		601404.18		1270.015

				456719.495		601306.733		101.02		1267.954						1270.015		101.02		456719.495				456701.365		101.02		601306.733		0		601404.18		0		456701.365		601404.18		1270.015

				456719.568		601306.705		101.1		1267.951						1270.015		101.1		456719.568				456701.365		101.1		601306.705		0		601404.18		0		456701.365		601404.18		1270.015

				456719.642		601306.679		101.18		1267.949						1270.015		101.18		456719.642				456701.365		101.18		601306.679		0		601404.18		0		456701.365		601404.18		1270.015

				456719.717		601306.653		101.25		1267.947						1270.015		101.25		456719.717				456701.365		101.25		601306.653		0		601404.18		0		456701.365		601404.18		1270.015

				456719.791		601306.628		101.33		1267.944						1270.015		101.33		456719.791				456701.365		101.33		601306.628		0		601404.18		0		456701.365		601404.18		1270.015

				456719.865		601306.603		101.41		1267.942						1270.015		101.41		456719.865				456701.365		101.41		601306.603		0		601404.18		0		456701.365		601404.18		1270.015

				456719.94		601306.579		101.49		1267.94						1270.015		101.49		456719.94				456701.365		101.49		601306.579		0		601404.18		0		456701.365		601404.18		1270.015

				456720.015		601306.555		101.57		1267.938						1270.015		101.57		456720.015				456701.365		101.57		601306.555		0		601404.18		0		456701.365		601404.18		1270.015

				456720.09		601306.532		101.65		1267.936						1270.015		101.65		456720.09				456701.365		101.65		601306.532		0		601404.18		0		456701.365		601404.18		1270.015

				456720.166		601306.51		101.73		1267.934						1270.015		101.73		456720.166				456701.365		101.73		601306.51		0		601404.18		0		456701.365		601404.18		1270.015

				456720.241		601306.488		101.81		1267.932						1270.015		101.81		456720.241				456701.365		101.81		601306.488		0		601404.18		0		456701.365		601404.18		1270.015

				456720.317		601306.467		101.88		1267.93						1270.015		101.88		456720.317				456701.365		101.88		601306.467		0		601404.18		0		456701.365		601404.18		1270.015

				456720.393		601306.446		101.96		1267.928						1270.015		101.96		456720.393				456701.365		101.96		601306.446		0		601404.18		0		456701.365		601404.18		1270.015

				456720.429		601306.436		102		1267.928						1270.015		102		456720.429				456701.365		102		601306.436		0		601404.18		0		456701.365		601404.18		1270.015

				456720.469		601306.426		102.04		1267.927						1270.015		102.04		456720.469				456701.365		102.04		601306.426		0		601404.18		0		456701.365		601404.18		1270.015

				456720.545		601306.406		102.12		1267.925						1270.015		102.12		456720.545				456701.365		102.12		601306.406		0		601404.18		0		456701.365		601404.18		1270.015

				456720.621		601306.388		102.2		1267.923						1270.015		102.2		456720.621				456701.365		102.2		601306.388		0		601404.18		0		456701.365		601404.18		1270.015

				456720.698		601306.369		102.28		1267.922						1270.015		102.28		456720.698				456701.365		102.28		601306.369		0		601404.18		0		456701.365		601404.18		1270.015

				456720.774		601306.352		102.36		1267.92						1270.015		102.36		456720.774				456701.365		102.36		601306.352		0		601404.18		0		456701.365		601404.18		1270.015

				456720.851		601306.335		102.43		1267.919						1270.015		102.43		456720.851				456701.365		102.43		601306.335		0		601404.18		0		456701.365		601404.18		1270.015

				456720.928		601306.318		102.51		1267.917						1270.015		102.51		456720.928				456701.365		102.51		601306.318		0		601404.18		0		456701.365		601404.18		1270.015

				456721.005		601306.302		102.59		1267.916						1270.015		102.59		456721.005				456701.365		102.59		601306.302		0		601404.18		0		456701.365		601404.18		1270.015

				456721.082		601306.287		102.67		1267.914						1270.015		102.67		456721.082				456701.365		102.67		601306.287		0		601404.18		0		456701.365		601404.18		1270.015

				456721.159		601306.273		102.75		1267.913						1270.015		102.75		456721.159				456701.365		102.75		601306.273		0		601404.18		0		456701.365		601404.18		1270.015

				456721.236		601306.259		102.83		1267.912						1270.015		102.83		456721.236				456701.365		102.83		601306.259		0		601404.18		0		456701.365		601404.18		1270.015

				456721.314		601306.245		102.91		1267.911						1270.015		102.91		456721.314				456701.365		102.91		601306.245		0		601404.18		0		456701.365		601404.18		1270.015

				456721.391		601306.232		102.98		1267.91						1270.015		102.98		456721.391				456701.365		102.98		601306.232		0		601404.18		0		456701.365		601404.18		1270.015

				456721.407		601306.23		103		1267.909						1270.015		103		456721.407				456701.365		103		601306.23		0		601404.18		0		456701.365		601404.18		1270.015

				456721.469		601306.22		103.06		1267.909						1270.015		103.06		456721.469				456701.365		103.06		601306.22		0		601404.18		0		456701.365		601404.18		1270.015

				456721.547		601306.209		103.14		1267.908						1270.015		103.14		456721.547				456701.365		103.14		601306.209		0		601404.18		0		456701.365		601404.18		1270.015

				456721.625		601306.198		103.22		1267.907						1270.015		103.22		456721.625				456701.365		103.22		601306.198		0		601404.18		0		456701.365		601404.18		1270.015

				456721.702		601306.187		103.3		1267.906						1270.015		103.3		456721.702				456701.365		103.3		601306.187		0		601404.18		0		456701.365		601404.18		1270.015

				456721.78		601306.178		103.38		1267.905						1270.015		103.38		456721.78				456701.365		103.38		601306.178		0		601404.18		0		456701.365		601404.18		1270.015

				456721.858		601306.168		103.46		1267.904						1270.015		103.46		456721.858				456701.365		103.46		601306.168		0		601404.18		0		456701.365		601404.18		1270.015

				456721.937		601306.16		103.53		1267.903						1270.015		103.53		456721.937				456701.365		103.53		601306.16		0		601404.18		0		456701.365		601404.18		1270.015

				456722.015		601306.152		103.61		1267.903						1270.015		103.61		456722.015				456701.365		103.61		601306.152		0		601404.18		0		456701.365		601404.18		1270.015

				456722.093		601306.145		103.69		1267.902						1270.015		103.69		456722.093				456701.365		103.69		601306.145		0		601404.18		0		456701.365		601404.18		1270.015

				456722.171		601306.138		103.77		1267.901						1270.015		103.77		456722.171				456701.365		103.77		601306.138		0		601404.18		0		456701.365		601404.18		1270.015

				456722.25		601306.132		103.85		1267.901						1270.015		103.85		456722.25				456701.365		103.85		601306.132		0		601404.18		0		456701.365		601404.18		1270.015

				456722.328		601306.127		103.93		1267.9						1270.015		103.93		456722.328				456701.365		103.93		601306.127		0		601404.18		0		456701.365		601404.18		1270.015

				456722.4		601306.122		104		1267.9						1270.015		104		456722.4				456701.365		104		601306.122		0		601404.18		0		456701.365		601404.18		1270.015

				456722.407		601306.122		104.01		1267.9						1270.015		104.01		456722.407				456701.365		104.01		601306.122		0		601404.18		0		456701.365		601404.18		1270.015

				456722.485		601306.118		104.09		1267.899						1270.015		104.09		456722.485				456701.365		104.09		601306.118		0		601404.18		0		456701.365		601404.18		1270.015

				456722.564		601306.114		104.16		1267.898						1270.015		104.16		456722.564				456701.365		104.16		601306.114		0		601404.18		0		456701.365		601404.18		1270.015

				456722.642		601306.111		104.24		1267.898						1270.015		104.24		456722.642				456701.365		104.24		601306.111		0		601404.18		0		456701.365		601404.18		1270.015

				456722.721		601306.109		104.32		1267.897						1270.015		104.32		456722.721				456701.365		104.32		601306.109		0		601404.18		0		456701.365		601404.18		1270.015

				456722.721		601306.109		104.32		1267.897						1270.015		104.32		456722.721				456701.365		104.32		601306.109		0		601404.18		0		456701.365		601404.18		1270.015

				456723.399		601306.091		105		1267.894						1270.015		105		456723.399				456701.365		105		601306.091		0		601404.18		0		456701.365		601404.18		1270.015

				456724.398		601306.065		106		1267.887						1270.015		106		456724.398				456701.365		106		601306.065		0		601404.18		0		456701.365		601404.18		1270.015

				456725.398		601306.039		107		1267.813						1270.015		107		456725.398				456701.365		107		601306.039		0		601404.18		0		456701.365		601404.18		1270.015

				456726.397		601306.013		108		1267.785						1270.015		108		456726.397				456701.365		108		601306.013		0		601404.18		0		456701.365		601404.18		1270.015

				456727.396		601305.987		109		1267.752						1270.015		109		456727.396				456701.365		109		601305.987		0		601404.18		0		456701.365		601404.18		1270.015

				456728.395		601305.961		110		1267.684						1270.015		110		456728.395				456701.365		110		601305.961		0		601404.18		0		456701.365		601404.18		1270.015

				456729.395		601305.935		111		1267.607						1270.015		111		456729.395				456701.365		111		601305.935		0		601404.18		0		456701.365		601404.18		1270.015

				456730.394		601305.909		112		1267.531						1270.015		112		456730.394				456701.365		112		601305.909		0		601404.18		0		456701.365		601404.18		1270.015

				456731.393		601305.883		113		1267.454						1270.015		113		456731.393				456701.365		113		601305.883		0		601404.18		0		456701.365		601404.18		1270.015

				456732.393		601305.857		114		1267.377						1270.015		114		456732.393				456701.365		114		601305.857		0		601404.18		0		456701.365		601404.18		1270.015

				456733.392		601305.831		115		1267.3						1270.015		115		456733.392				456701.365		115		601305.831		0		601404.18		0		456701.365		601404.18		1270.015

				456734.391		601305.805		116		1267.223						1270.015		116		456734.391				456701.365		116		601305.805		0		601404.18		0		456701.365		601404.18		1270.015

				456735.39		601305.779		117		1267.146						1270.015		117		456735.39				456701.365		117		601305.779		0		601404.18		0		456701.365		601404.18		1270.015

				456736.39		601305.753		118		1267.069						1270.015		118		456736.39				456701.365		118		601305.753		0		601404.18		0		456701.365		601404.18		1270.015

				456737.389		601305.727		119		1266.946						1270.015		119		456737.389				456701.365		119		601305.727		0		601404.18		0		456701.365		601404.18		1270.015

				456738.388		601305.701		120		1266.836						1270.015		120		456738.388				456701.365		120		601305.701		0		601404.18		0		456701.365		601404.18		1270.015

				456739.388		601305.675		121		1266.717						1270.015		121		456739.388				456701.365		121		601305.675		0		601404.18		0		456701.365		601404.18		1270.015

				456740.387		601305.649		122		1266.566						1270.015		122		456740.387				456701.365		122		601305.649		0		601404.18		0		456701.365		601404.18		1270.015

				456741.386		601305.623		123		1266.485						1270.015		123		456741.386				456701.365		123		601305.623		0		601404.18		0		456701.365		601404.18		1270.015

				456742.385		601305.597		124		1266.363						1270.015		124		456742.385				456701.365		124		601305.597		0		601404.18		0		456701.365		601404.18		1270.015

				456743.385		601305.571		125		1266.232						1270.015		125		456743.385				456701.365		125		601305.571		0		601404.18		0		456701.365		601404.18		1270.015

				456744.384		601305.545		126		1266.155						1270.015		126		456744.384				456701.365		126		601305.545		0		601404.18		0		456701.365		601404.18		1270.015

				456745.383		601305.519		127		1266.009						1270.015		127		456745.383				456701.365		127		601305.519		0		601404.18		0		456701.365		601404.18		1270.015

				456746.383		601305.493		128		1265.901						1270.015		128		456746.383				456701.365		128		601305.493		0		601404.18		0		456701.365		601404.18		1270.015

				456747.382		601305.467		129		1265.817						1270.015		129		456747.382				456701.365		129		601305.467		0		601404.18		0		456701.365		601404.18		1270.015

				456748.381		601305.441		130		1265.71						1270.015		130		456748.381				456701.365		130		601305.441		0		601404.18		0		456701.365		601404.18		1270.015

				456749.38		601305.415		131		1265.591						1270.015		131		456749.38				456701.365		131		601305.415		0		601404.18		0		456701.365		601404.18		1270.015

				456750.38		601305.389		132		1265.494						1270.015		132		456750.38				456701.365		132		601305.389		0		601404.18		0		456701.365		601404.18		1270.015

				456751.379		601305.363		133		1265.417						1270.015		133		456751.379				456701.365		133		601305.363		0		601404.18		0		456701.365		601404.18		1270.015

				456752.378		601305.337		134		1265.34						1270.015		134		456752.378				456701.365		134		601305.337		0		601404.18		0		456701.365		601404.18		1270.015

				456753.378		601305.311		135		1265.198						1270.015		135		456753.378				456701.365		135		601305.311		0		601404.18		0		456701.365		601404.18		1270.015

				456754.377		601305.285		136		1265.086						1270.015		136		456754.377				456701.365		136		601305.285		0		601404.18		0		456701.365		601404.18		1270.015

				456755.376		601305.259		137		1265.01						1270.015		137		456755.376				456701.365		137		601305.259		0		601404.18		0		456701.365		601404.18		1270.015

				456756.375		601305.233		138		1264.933						1270.015		138		456756.375				456701.365		138		601305.233		0		601404.18		0		456701.365		601404.18		1270.015

				456757.375		601305.207		139		1264.907						1270.015		139		456757.375				456701.365		139		601305.207		0		601404.18		0		456701.365		601404.18		1270.015

				456758.374		601305.182		140		1264.862						1270.015		140		456758.374				456701.365		140		601305.182		0		601404.18		0		456701.365		601404.18		1270.015

				456759.373		601305.156		141		1264.787						1270.015		141		456759.373				456701.365		141		601305.156		0		601404.18		0		456701.365		601404.18		1270.015

				456760.373		601305.13		142		1264.713						1270.015		142		456760.373				456701.365		142		601305.13		0		601404.18		0		456701.365		601404.18		1270.015

				456761.372		601305.104		143		1264.638						1270.015		143		456761.372				456701.365		143		601305.104		0		601404.18		0		456701.365		601404.18		1270.015

				456762.371		601305.078		144		1264.564						1270.015		144		456762.371				456701.365		144		601305.078		0		601404.18		0		456701.365		601404.18		1270.015

				456763.37		601305.052		145		1264.489						1270.015		145		456763.37				456701.365		145		601305.052		0		601404.18		0		456701.365		601404.18		1270.015

				456764.37		601305.026		146		1264.415						1270.015		146		456764.37				456701.365		146		601305.026		0		601404.18		0		456701.365		601404.18		1270.015

				456765.369		601305		147		1264.34						1270.015		147		456765.369				456701.365		147		601305		0		601404.18		0		456701.365		601404.18		1270.015

				456766.368		601304.974		148		1264.264						1270.015		148		456766.368				456701.365		148		601304.974		0		601404.18		0		456701.365		601404.18		1270.015

				456767.368		601304.948		149		1264.187						1270.015		149		456767.368				456701.365		149		601304.948		0		601404.18		0		456701.365		601404.18		1270.015

				456768.367		601304.922		150		1264.111						1270.015		150		456768.367				456701.365		150		601304.922		0		601404.18		0		456701.365		601404.18		1270.015

				456769.366		601304.896		151		1264.039						1270.015		151		456769.366				456701.365		151		601304.896		0		601404.18		0		456701.365		601404.18		1270.015

				456770.365		601304.87		152		1264						1270.015		152		456770.365				456701.365		152		601304.87		0		601404.18		0		456701.365		601404.18		1270.015

				456771.365		601304.844		153		1264						1270.015		153		456771.365				456701.365		153		601304.844		0		601404.18		0		456701.365		601404.18		1270.015

				456772.364		601304.818		154		1264						1270.015		154		456772.364				456701.365		154		601304.818		0		601404.18		0		456701.365		601404.18		1270.015

				456773.363		601304.792		155		1264						1270.015		155		456773.363				456701.365		155		601304.792		0		601404.18		0		456701.365		601404.18		1270.015

				456774.363		601304.766		156		1264						1270.015		156		456774.363				456701.365		156		601304.766		0		601404.18		0		456701.365		601404.18		1270.015

				456775.362		601304.74		157		1264						1270.015		157		456775.362				456701.365		157		601304.74		0		601404.18		0		456701.365		601404.18		1270.015

				456776.361		601304.714		158		1264						1270.015		158		456776.361				456701.365		158		601304.714		0		601404.18		0		456701.365		601404.18		1270.015

				456777.36		601304.688		159		1264						1270.015		159		456777.36				456701.365		159		601304.688		0		601404.18		0		456701.365		601404.18		1270.015

				456778.36		601304.662		160		1264						1270.015		160		456778.36				456701.365		160		601304.662		0		601404.18		0		456701.365		601404.18		1270.015

				456779.359		601304.636		161		1263.999						1270.015		161		456779.359				456701.365		161		601304.636		0		601404.18		0		456701.365		601404.18		1270.015

				456780.358		601304.61		162		1263.974						1270.015		162		456780.358				456701.365		162		601304.61		0		601404.18		0		456701.365		601404.18		1270.015

				456781.358		601304.584		163		1263.878						1270.015		163		456781.358				456701.365		163		601304.584		0		601404.18		0		456701.365		601404.18		1270.015

				456782.357		601304.558		164		1263.746						1270.015		164		456782.357				456701.365		164		601304.558		0		601404.18		0		456701.365		601404.18		1270.015

				456783.356		601304.532		165		1263.599						1270.015		165		456783.356				456701.365		165		601304.532		0		601404.18		0		456701.365		601404.18		1270.015

				456784.355		601304.506		166		1263.568						1270.015		166		456784.355				456701.365		166		601304.506		0		601404.18		0		456701.365		601404.18		1270.015

				456785.355		601304.48		167		1263.482						1270.015		167		456785.355				456701.365		167		601304.48		0		601404.18		0		456701.365		601404.18		1270.015

				456786.354		601304.454		168		1263.38						1270.015		168		456786.354				456701.365		168		601304.454		0		601404.18		0		456701.365		601404.18		1270.015

				456787.353		601304.428		169		1263.301						1270.015		169		456787.353				456701.365		169		601304.428		0		601404.18		0		456701.365		601404.18		1270.015

				456788.353		601304.402		170		1263.222						1270.015		170		456788.353				456701.365		170		601304.402		0		601404.18		0		456701.365		601404.18		1270.015

				456789.352		601304.376		171		1263.169						1270.015		171		456789.352				456701.365		171		601304.376		0		601404.18		0		456701.365		601404.18		1270.015

				456790.351		601304.35		172		1263.13						1270.015		172		456790.351				456701.365		172		601304.35		0		601404.18		0		456701.365		601404.18		1270.015

				456791.35		601304.324		173		1263.084						1270.015		173		456791.35				456701.365		173		601304.324		0		601404.18		0		456701.365		601404.18		1270.015

				456792.35		601304.298		174		1263.078						1270.015		174		456792.35				456701.365		174		601304.298		0		601404.18		0		456701.365		601404.18		1270.015

				456793.349		601304.272		175		1263.074						1270.015		175		456793.349				456701.365		175		601304.272		0		601404.18		0		456701.365		601404.18		1270.015

				456794.348		601304.246		176		1263.069						1270.015		176		456794.348				456701.365		176		601304.246		0		601404.18		0		456701.365		601404.18		1270.015

				456795.348		601304.22		177		1263.065						1270.015		177		456795.348				456701.365		177		601304.22		0		601404.18		0		456701.365		601404.18		1270.015

				456796.347		601304.194		178		1263.131						1270.015		178		456796.347				456701.365		178		601304.194		0		601404.18		0		456701.365		601404.18		1270.015

				456797.346		601304.168		179		1263.155						1270.015		179		456797.346				456701.365		179		601304.168		0		601404.18		0		456701.365		601404.18		1270.015

				456798.345		601304.142		180		1263.131						1270.015		180		456798.345				456701.365		180		601304.142		0		601404.18		0		456701.365		601404.18		1270.015

				456799.345		601304.116		181		1263.052						1270.015		181		456799.345				456701.365		181		601304.116		0		601404.18		0		456701.365		601404.18		1270.015

				456800.344		601304.09		182		1263.013						1270.015		182		456800.344				456701.365		182		601304.09		0		601404.18		0		456701.365		601404.18		1270.015

				456801.343		601304.064		183		1263						1270.015		183		456801.343				456701.365		183		601304.064		0		601404.18		0		456701.365		601404.18		1270.015

				456802.343		601304.038		184		1263						1270.015		184		456802.343				456701.365		184		601304.038		0		601404.18		0		456701.365		601404.18		1270.015

				456803.342		601304.012		185		1263						1270.015		185		456803.342				456701.365		185		601304.012		0		601404.18		0		456701.365		601404.18		1270.015

				456804.341		601303.986		186		1263						1270.015		186		456804.341				456701.365		186		601303.986		0		601404.18		0		456701.365		601404.18		1270.015

				456805.34		601303.96		187		1262.958						1270.015		187		456805.34				456701.365		187		601303.96		0		601404.18		0		456701.365		601404.18		1270.015

				456806.34		601303.934		188		1262.9						1270.015		188		456806.34				456701.365		188		601303.934		0		601404.18		0		456701.365		601404.18		1270.015

				456807.339		601303.908		189		1262.9						1270.015		189		456807.339				456701.365		189		601303.908		0		601404.18		0		456701.365		601404.18		1270.015

				456808.338		601303.882		190		1262.9						1270.015		190		456808.338				456701.365		190		601303.882		0		601404.18		0		456701.365		601404.18		1270.015

				456809.338		601303.856		191		1262.86						1270.015		191		456809.338				456701.365		191		601303.856		0		601404.18		0		456701.365		601404.18		1270.015

				456810.337		601303.83		192		1262.8						1270.015		192		456810.337				456701.365		192		601303.83		0		601404.18		0		456701.365		601404.18		1270.015

				456811.336		601303.804		193		1262.8						1270.015		193		456811.336				456701.365		193		601303.804		0		601404.18		0		456701.365		601404.18		1270.015

				456812.335		601303.778		194		1262.741						1270.015		194		456812.335				456701.365		194		601303.778		0		601404.18		0		456701.365		601404.18		1270.015

				456813.335		601303.752		195		1262.705						1270.015		195		456813.335				456701.365		195		601303.752		0		601404.18		0		456701.365		601404.18		1270.015

				456814.334		601303.726		196		1262.7						1270.015		196		456814.334				456701.365		196		601303.726		0		601404.18		0		456701.365		601404.18		1270.015

				456815.333		601303.7		197		1262.7						1270.015		197		456815.333				456701.365		197		601303.7		0		601404.18		0		456701.365		601404.18		1270.015

				456816.333		601303.674		198		1262.638						1270.015		198		456816.333				456701.365		198		601303.674		0		601404.18		0		456701.365		601404.18		1270.015

				456817.332		601303.648		199		1262.6						1270.015		199		456817.332				456701.365		199		601303.648		0		601404.18		0		456701.365		601404.18		1270.015

				456818.331		601303.622		200		1262.591						1270.015		200		456818.331				456701.365		200		601303.622		0		601404.18		0		456701.365		601404.18		1270.015

				456819.33		601303.596		201		1262.534						1270.015		201		456819.33				456701.365		201		601303.596		0		601404.18		0		456701.365		601404.18		1270.015

				456820.33		601303.57		202		1262.51						1270.015		202		456820.33				456701.365		202		601303.57		0		601404.18		0		456701.365		601404.18		1270.015

				456821.329		601303.544		203		1262.5						1270.015		203		456821.329				456701.365		203		601303.544		0		601404.18		0		456701.365		601404.18		1270.015

				456822.328		601303.518		204		1262.491						1270.015		204		456822.328				456701.365		204		601303.518		0		601404.18		0		456701.365		601404.18		1270.015

				456823.328		601303.492		205		1262.416						1270.015		205		456823.328				456701.365		205		601303.492		0		601404.18		0		456701.365		601404.18		1270.015

				456824.327		601303.466		206		1262.4						1270.015		206		456824.327				456701.365		206		601303.466		0		601404.18		0		456701.365		601404.18		1270.015

				456825.326		601303.441		207		1262.367						1270.015		207		456825.326				456701.365		207		601303.441		0		601404.18		0		456701.365		601404.18		1270.015

				456826.325		601303.415		208		1262.3						1270.015		208		456826.325				456701.365		208		601303.415		0		601404.18		0		456701.365		601404.18		1270.015

				456827.325		601303.389		209		1262.3						1270.015		209		456827.325				456701.365		209		601303.389		0		601404.18		0		456701.365		601404.18		1270.015

				456828.324		601303.363		210		1262.3						1270.015		210		456828.324				456701.365		210		601303.363		0		601404.18		0		456701.365		601404.18		1270.015

				456829.323		601303.337		211		1262.269						1270.015		211		456829.323				456701.365		211		601303.337		0		601404.18		0		456701.365		601404.18		1270.015

				456830.323		601303.311		212		1262.2						1270.015		212		456830.323				456701.365		212		601303.311		0		601404.18		0		456701.365		601404.18		1270.015

				456831.322		601303.285		213		1262.2						1270.015		213		456831.322				456701.365		213		601303.285		0		601404.18		0		456701.365		601404.18		1270.015

				456832.321		601303.259		214		1262.145						1270.015		214		456832.321				456701.365		214		601303.259		0		601404.18		0		456701.365		601404.18		1270.015

				456833.32		601303.233		215		1262.1						1270.015		215		456833.32				456701.365		215		601303.233		0		601404.18		0		456701.365		601404.18		1270.015

				456834.32		601303.207		216		1262.1						1270.015		216		456834.32				456701.365		216		601303.207		0		601404.18		0		456701.365		601404.18		1270.015

				456835.319		601303.181		217		1262.1						1270.015		217		456835.319				456701.365		217		601303.181		0		601404.18		0		456701.365		601404.18		1270.015

				456836.318		601303.155		218		1262.047						1270.015		218		456836.318				456701.365		218		601303.155		0		601404.18		0		456701.365		601404.18		1270.015

				456837.318		601303.129		219		1262						1270.015		219		456837.318				456701.365		219		601303.129		0		601404.18		0		456701.365		601404.18		1270.015

				456838.317		601303.103		220		1261.998						1270.015		220		456838.317				456701.365		220		601303.103		0		601404.18		0		456701.365		601404.18		1270.015

				456839.316		601303.077		221		1261.923						1270.015		221		456839.316				456701.365		221		601303.077		0		601404.18		0		456701.365		601404.18		1270.015

				456840.315		601303.051		222		1261.9						1270.015		222		456840.315				456701.365		222		601303.051		0		601404.18		0		456701.365		601404.18		1270.015

				456841.315		601303.025		223		1261.874						1270.015		223		456841.315				456701.365		223		601303.025		0		601404.18		0		456701.365		601404.18		1270.015

				456842.314		601302.999		224		1261.8						1270.015		224		456842.314				456701.365		224		601302.999		0		601404.18		0		456701.365		601404.18		1270.015

				456843.313		601302.973		225		1261.725						1270.015		225		456843.313				456701.365		225		601302.973		0		601404.18		0		456701.365		601404.18		1270.015

				456844.313		601302.947		226		1261.7						1270.015		226		456844.313				456701.365		226		601302.947		0		601404.18		0		456701.365		601404.18		1270.015

				456845.312		601302.921		227		1261.676						1270.015		227		456845.312				456701.365		227		601302.921		0		601404.18		0		456701.365		601404.18		1270.015

				456846.311		601302.895		228		1261.602						1270.015		228		456846.311				456701.365		228		601302.895		0		601404.18		0		456701.365		601404.18		1270.015

				456847.31		601302.869		229		1261.6						1270.015		229		456847.31				456701.365		229		601302.869		0		601404.18		0		456701.365		601404.18		1270.015

				456848.31		601302.843		230		1261.552						1270.015		230		456848.31				456701.365		230		601302.843		0		601404.18		0		456701.365		601404.18		1270.015

				456849.309		601302.817		231		1261.48						1270.015		231		456849.309				456701.365		231		601302.817		0		601404.18		0		456701.365		601404.18		1270.015

				456850.308		601302.791		232		1261.41						1270.015		232		456850.308				456701.365		232		601302.791		0		601404.18		0		456701.365		601404.18		1270.015

				456851.308		601302.765		233		1261.401						1270.015		233		456851.308				456701.365		233		601302.765		0		601404.18		0		456701.365		601404.18		1270.015

				456852.307		601302.739		234		1261.354						1270.015		234		456852.307				456701.365		234		601302.739		0		601404.18		0		456701.365		601404.18		1270.015

				456853.306		601302.713		235		1261.3						1270.015		235		456853.306				456701.365		235		601302.713		0		601404.18		0		456701.365		601404.18		1270.015

				456854.305		601302.687		236		1261.3						1270.015		236		456854.305				456701.365		236		601302.687		0		601404.18		0		456701.365		601404.18		1270.015

				456855.305		601302.661		237		1261.231						1270.015		237		456855.305				456701.365		237		601302.661		0		601404.18		0		456701.365		601404.18		1270.015

				456856.304		601302.635		238		1261.156						1270.015		238		456856.304				456701.365		238		601302.635		0		601404.18		0		456701.365		601404.18		1270.015

				456857.303		601302.609		239		1261.1						1270.015		239		456857.303				456701.365		239		601302.609		0		601404.18		0		456701.365		601404.18		1270.015

				456858.303		601302.583		240		1261.1						1270.015		240		456858.303				456701.365		240		601302.583		0		601404.18		0		456701.365		601404.18		1270.015

				456859.302		601302.557		241		1261.032						1270.015		241		456859.302				456701.365		241		601302.557		0		601404.18		0		456701.365		601404.18		1270.015

				456860.301		601302.531		242		1261						1270.015		242		456860.301				456701.365		242		601302.531		0		601404.18		0		456701.365		601404.18		1270.015

				456861.3		601302.505		243		1260.983						1270.015		243		456861.3				456701.365		243		601302.505		0		601404.18		0		456701.365		601404.18		1270.015

				456862.3		601302.479		244		1260.909						1270.015		244		456862.3				456701.365		244		601302.479		0		601404.18		0		456701.365		601404.18		1270.015

				456863.299		601302.453		245		1260.834						1270.015		245		456863.299				456701.365		245		601302.453		0		601404.18		0		456701.365		601404.18		1270.015

				456864.298		601302.427		246		1260.76						1270.015		246		456864.298				456701.365		246		601302.427		0		601404.18		0		456701.365		601404.18		1270.015

				456865.298		601302.401		247		1260.7						1270.015		247		456865.298				456701.365		247		601302.401		0		601404.18		0		456701.365		601404.18		1270.015

				456866.297		601302.375		248		1260.7						1270.015		248		456866.297				456701.365		248		601302.375		0		601404.18		0		456701.365		601404.18		1270.015

				456867.296		601302.349		249		1260.636						1270.015		249		456867.296				456701.365		249		601302.349		0		601404.18		0		456701.365		601404.18		1270.015

				456868.295		601302.323		250		1260.562						1270.015		250		456868.295				456701.365		250		601302.323		0		601404.18		0		456701.365		601404.18		1270.015

				456869.295		601302.297		251		1260.487						1270.015		251		456869.295				456701.365		251		601302.297		0		601404.18		0		456701.365		601404.18		1270.015

				456870.294		601302.271		252		1260.412						1270.015		252		456870.294				456701.365		252		601302.271		0		601404.18		0		456701.365		601404.18		1270.015

				456871.293		601302.245		253		1260.4						1270.015		253		456871.293				456701.365		253		601302.245		0		601404.18		0		456701.365		601404.18		1270.015

				456872.293		601302.219		254		1260.363						1270.015		254		456872.293				456701.365		254		601302.219		0		601404.18		0		456701.365		601404.18		1270.015

				456873.292		601302.193		255		1260.289						1270.015		255		456873.292				456701.365		255		601302.193		0		601404.18		0		456701.365		601404.18		1270.015

				456874.291		601302.167		256		1260.214						1270.015		256		456874.291				456701.365		256		601302.167		0		601404.18		0		456701.365		601404.18		1270.015

				456875.29		601302.141		257		1260.14						1270.015		257		456875.29				456701.365		257		601302.141		0		601404.18		0		456701.365		601404.18		1270.015

				456876.29		601302.115		258		1260.1						1270.015		258		456876.29				456701.365		258		601302.115		0		601404.18		0		456701.365		601404.18		1270.015

				456877.289		601302.089		259		1260.091						1270.015		259		456877.289				456701.365		259		601302.089		0		601404.18		0		456701.365		601404.18		1270.015

				456878.288		601302.063		260		1260.016						1270.015		260		456878.288				456701.365		260		601302.063		0		601404.18		0		456701.365		601404.18		1270.015

				456879.288		601302.037		261		1259.942						1270.015		261		456879.288				456701.365		261		601302.037		0		601404.18		0		456701.365		601404.18		1270.015

				456880.287		601302.011		262		1259.9						1270.015		262		456880.287				456701.365		262		601302.011		0		601404.18		0		456701.365		601404.18		1270.015

				456881.286		601301.985		263		1259.892						1270.015		263		456881.286				456701.365		263		601301.985		0		601404.18		0		456701.365		601404.18		1270.015

				456882.285		601301.959		264		1259.818						1270.015		264		456882.285				456701.365		264		601301.959		0		601404.18		0		456701.365		601404.18		1270.015

				456883.285		601301.933		265		1259.8						1270.015		265		456883.285				456701.365		265		601301.933		0		601404.18		0		456701.365		601404.18		1270.015

				456884.284		601301.907		266		1259.769						1270.015		266		456884.284				456701.365		266		601301.907		0		601404.18		0		456701.365		601404.18		1270.015

				456885.283		601301.881		267		1259.7						1270.015		267		456885.283				456701.365		267		601301.881		0		601404.18		0		456701.365		601404.18		1270.015

				456886.283		601301.855		268		1259.7						1270.015		268		456886.283				456701.365		268		601301.855		0		601404.18		0		456701.365		601404.18		1270.015

				456887.282		601301.829		269		1259.645						1270.015		269		456887.282				456701.365		269		601301.829		0		601404.18		0		456701.365		601404.18		1270.015

				456888.281		601301.803		270		1259.6						1270.015		270		456888.281				456701.365		270		601301.803		0		601404.18		0		456701.365		601404.18		1270.015

				456889.28		601301.777		271		1259.596						1270.015		271		456889.28				456701.365		271		601301.777		0		601404.18		0		456701.365		601404.18		1270.015

				456890.28		601301.751		272		1259.521						1270.015		272		456890.28				456701.365		272		601301.751		0		601404.18		0		456701.365		601404.18		1270.015

				456891.279		601301.725		273		1259.5						1270.015		273		456891.279				456701.365		273		601301.725		0		601404.18		0		456701.365		601404.18		1270.015

				456892.278		601301.7		274		1259.472						1270.015		274		456892.278				456701.365		274		601301.7		0		601404.18		0		456701.365		601404.18		1270.015

				456893.278		601301.674		275		1259.4						1270.015		275		456893.278				456701.365		275		601301.674		0		601404.18		0		456701.365		601404.18		1270.015

				456894.277		601301.648		276		1259.4						1270.015		276		456894.277				456701.365		276		601301.648		0		601404.18		0		456701.365		601404.18		1270.015

				456895.276		601301.622		277		1259.349						1270.015		277		456895.276				456701.365		277		601301.622		0		601404.18		0		456701.365		601404.18		1270.015

				456896.275		601301.596		278		1259.274						1270.015		278		456896.275				456701.365		278		601301.596		0		601404.18		0		456701.365		601404.18		1270.015

				456897.275		601301.57		279		1259.2						1270.015		279		456897.275				456701.365		279		601301.57		0		601404.18		0		456701.365		601404.18		1270.015

				456898.274		601301.544		280		1259.2						1270.015		280		456898.274				456701.365		280		601301.544		0		601404.18		0		456701.365		601404.18		1270.015

				456899.273		601301.518		281		1259.15						1270.015		281		456899.273				456701.365		281		601301.518		0		601404.18		0		456701.365		601404.18		1270.015

				456900.273		601301.492		282		1259.1						1270.015		282		456900.273				456701.365		282		601301.492		0		601404.18		0		456701.365		601404.18		1270.015

				456901.272		601301.466		283		1259.1						1270.015		283		456901.272				456701.365		283		601301.466		0		601404.18		0		456701.365		601404.18		1270.015

				456902.271		601301.44		284		1259.027						1270.015		284		456902.271				456701.365		284		601301.44		0		601404.18		0		456701.365		601404.18		1270.015

				456903.27		601301.414		285		1259						1270.015		285		456903.27				456701.365		285		601301.414		0		601404.18		0		456701.365		601404.18		1270.015

				456904.27		601301.388		286		1258.978						1270.015		286		456904.27				456701.365		286		601301.388		0		601404.18		0		456701.365		601404.18		1270.015

				456905.269		601301.362		287		1258.903						1270.015		287		456905.269				456701.365		287		601301.362		0		601404.18		0		456701.365		601404.18		1270.015

				456906.268		601301.336		288		1258.9						1270.015		288		456906.268				456701.365		288		601301.336		0		601404.18		0		456701.365		601404.18		1270.015

				456907.268		601301.31		289		1258.854						1270.015		289		456907.268				456701.365		289		601301.31		0		601404.18		0		456701.365		601404.18		1270.015

				456908.267		601301.284		290		1258.8						1270.015		290		456908.267				456701.365		290		601301.284		0		601404.18		0		456701.365		601404.18		1270.015

				456909.266		601301.258		291		1258.8						1270.015		291		456909.266				456701.365		291		601301.258		0		601404.18		0		456701.365		601404.18		1270.015

				456910.265		601301.232		292		1258.73						1270.015		292		456910.265				456701.365		292		601301.232		0		601404.18		0		456701.365		601404.18		1270.015

				456911.265		601301.206		293		1258.656						1270.015		293		456911.265				456701.365		293		601301.206		0		601404.18		0		456701.365		601404.18		1270.015

				456912.264		601301.18		294		1258.6						1270.015		294		456912.264				456701.365		294		601301.18		0		601404.18		0		456701.365		601404.18		1270.015

				456913.263		601301.154		295		1258.6						1270.015		295		456913.263				456701.365		295		601301.154		0		601404.18		0		456701.365		601404.18		1270.015

				456914.263		601301.128		296		1258.532						1270.015		296		456914.263				456701.365		296		601301.128		0		601404.18		0		456701.365		601404.18		1270.015

				456915.262		601301.102		297		1258.5						1270.015		297		456915.262				456701.365		297		601301.102		0		601404.18		0		456701.365		601404.18		1270.015

				456916.261		601301.076		298		1258.483						1270.015		298		456916.261				456701.365		298		601301.076		0		601404.18		0		456701.365		601404.18		1270.015

				456917.26		601301.05		299		1258.409						1270.015		299		456917.26				456701.365		299		601301.05		0		601404.18		0		456701.365		601404.18		1270.015

				456918.26		601301.024		300		1258.4						1270.015		300		456918.26				456701.365		300		601301.024		0		601404.18		0		456701.365		601404.18		1270.015

				456919.259		601300.998		301		1258.359						1270.015		301		456919.259				456701.365		301		601300.998		0		601404.18		0		456701.365		601404.18		1270.015

				456920.258		601300.972		302		1258.3						1270.015		302		456920.258				456701.365		302		601300.972		0		601404.18		0		456701.365		601404.18		1270.015

				456921.258		601300.946		303		1258.3						1270.015		303		456921.258				456701.365		303		601300.946		0		601404.18		0		456701.365		601404.18		1270.015

				456922.257		601300.92		304		1258.236						1270.015		304		456922.257				456701.365		304		601300.92		0		601404.18		0		456701.365		601404.18		1270.015

				456923.256		601300.894		305		1258.2						1270.015		305		456923.256				456701.365		305		601300.894		0		601404.18		0		456701.365		601404.18		1270.015

				456924.255		601300.868		306		1258.187						1270.015		306		456924.255				456701.365		306		601300.868		0		601404.18		0		456701.365		601404.18		1270.015

				456925.255		601300.842		307		1258.112						1270.015		307		456925.255				456701.365		307		601300.842		0		601404.18		0		456701.365		601404.18		1270.015

				456926.254		601300.816		308		1258.058						1270.015		308		456926.254				456701.365		308		601300.816		0		601404.18		0		456701.365		601404.18		1270.015

				456927.253		601300.79		309		1258.019						1270.015		309		456927.253				456701.365		309		601300.79		0		601404.18		0		456701.365		601404.18		1270.015

				456928.253		601300.764		310		1257.992						1270.015		310		456928.253				456701.365		310		601300.764		0		601404.18		0		456701.365		601404.18		1270.015

				456929.252		601300.738		311		1257.936						1270.015		311		456929.252				456701.365		311		601300.738		0		601404.18		0		456701.365		601404.18		1270.015

				456930.251		601300.712		312		1257.909						1270.015		312		456930.251				456701.365		312		601300.712		0		601404.18		0		456701.365		601404.18		1270.015

				456931.25		601300.686		313		1257.9						1270.015		313		456931.25				456701.365		313		601300.686		0		601404.18		0		456701.365		601404.18		1270.015

				456932.25		601300.66		314		1257.89						1270.015		314		456932.25				456701.365		314		601300.66		0		601404.18		0		456701.365		601404.18		1270.015

				456933.249		601300.634		315		1257.816						1270.015		315		456933.249				456701.365		315		601300.634		0		601404.18		0		456701.365		601404.18		1270.015

				456934.248		601300.608		316		1257.8						1270.015		316		456934.248				456701.365		316		601300.608		0		601404.18		0		456701.365		601404.18		1270.015

				456935.247		601300.582		317		1257.767						1270.015		317		456935.247				456701.365		317		601300.582		0		601404.18		0		456701.365		601404.18		1270.015

				456936.247		601300.556		318		1257.7						1270.015		318		456936.247				456701.365		318		601300.556		0		601404.18		0		456701.365		601404.18		1270.015

				456937.246		601300.53		319		1257.7						1270.015		319		456937.246				456701.365		319		601300.53		0		601404.18		0		456701.365		601404.18		1270.015

				456938.245		601300.504		320		1257.643						1270.015		320		456938.245				456701.365		320		601300.504		0		601404.18		0		456701.365		601404.18		1270.015

				456939.245		601300.478		321		1257.6						1270.015		321		456939.245				456701.365		321		601300.478		0		601404.18		0		456701.365		601404.18		1270.015

				456940.244		601300.452		322		1257.594						1270.015		322		456940.244				456701.365		322		601300.452		0		601404.18		0		456701.365		601404.18		1270.015

				456941.243		601300.426		323		1257.519						1270.015		323		456941.243				456701.365		323		601300.426		0		601404.18		0		456701.365		601404.18		1270.015

				456942.242		601300.4		324		1257.5						1270.015		324		456942.242				456701.365		324		601300.4		0		601404.18		0		456701.365		601404.18		1270.015

				456943.242		601300.374		325		1257.47						1270.015		325		456943.242				456701.365		325		601300.374		0		601404.18		0		456701.365		601404.18		1270.015

				456944.241		601300.348		326		1257.4						1270.015		326		456944.241				456701.365		326		601300.348		0		601404.18		0		456701.365		601404.18		1270.015

				456945.24		601300.322		327		1257.4						1270.015		327		456945.24				456701.365		327		601300.322		0		601404.18		0		456701.365		601404.18		1270.015

				456946.24		601300.296		328		1257.347						1270.015		328		456946.24				456701.365		328		601300.296		0		601404.18		0		456701.365		601404.18		1270.015

				456947.239		601300.27		329		1257.3						1270.015		329		456947.239				456701.365		329		601300.27		0		601404.18		0		456701.365		601404.18		1270.015

				456948.238		601300.244		330		1257.298						1270.015		330		456948.238				456701.365		330		601300.244		0		601404.18		0		456701.365		601404.18		1270.015

				456949.237		601300.218		331		1257.223						1270.015		331		456949.237				456701.365		331		601300.218		0		601404.18		0		456701.365		601404.18		1270.015

				456950.237		601300.192		332		1257.2						1270.015		332		456950.237				456701.365		332		601300.192		0		601404.18		0		456701.365		601404.18		1270.015

				456951.236		601300.166		333		1257.174						1270.015		333		456951.236				456701.365		333		601300.166		0		601404.18		0		456701.365		601404.18		1270.015

				456952.235		601300.14		334		1257.1						1270.015		334		456952.235				456701.365		334		601300.14		0		601404.18		0		456701.365		601404.18		1270.015

				456953.235		601300.114		335		1257.1						1270.015		335		456953.235				456701.365		335		601300.114		0		601404.18		0		456701.365		601404.18		1270.015

				456954.234		601300.088		336		1257.05						1270.015		336		456954.234				456701.365		336		601300.088		0		601404.18		0		456701.365		601404.18		1270.015

				456955.233		601300.062		337		1257						1270.015		337		456955.233				456701.365		337		601300.062		0		601404.18		0		456701.365		601404.18		1270.015

				456956.232		601300.036		338		1257						1270.015		338		456956.232				456701.365		338		601300.036		0		601404.18		0		456701.365		601404.18		1270.015

				456957.232		601300.01		339		1256.927						1270.015		339		456957.232				456701.365		339		601300.01		0		601404.18		0		456701.365		601404.18		1270.015

				456958.231		601299.984		340		1256.9						1270.015		340		456958.231				456701.365		340		601299.984		0		601404.18		0		456701.365		601404.18		1270.015

				456959.23		601299.959		341		1256.877						1270.015		341		456959.23				456701.365		341		601299.959		0		601404.18		0		456701.365		601404.18		1270.015

				456960.23		601299.933		342		1256.803						1270.015		342		456960.23				456701.365		342		601299.933		0		601404.18		0		456701.365		601404.18		1270.015

				456961.229		601299.907		343		1256.8						1270.015		343		456961.229				456701.365		343		601299.907		0		601404.18		0		456701.365		601404.18		1270.015

				456962.228		601299.881		344		1256.754						1270.015		344		456962.228				456701.365		344		601299.881		0		601404.18		0		456701.365		601404.18		1270.015

				456963.227		601299.855		345		1256.679						1270.015		345		456963.227				456701.365		345		601299.855		0		601404.18		0		456701.365		601404.18		1270.015

				456964.227		601299.829		346		1256.605						1270.015		346		456964.227				456701.365		346		601299.829		0		601404.18		0		456701.365		601404.18		1270.015

				456965.226		601299.803		347		1256.6						1270.015		347		456965.226				456701.365		347		601299.803		0		601404.18		0		456701.365		601404.18		1270.015

				456966.225		601299.777		348		1256.556						1270.015		348		456966.225				456701.365		348		601299.777		0		601404.18		0		456701.365		601404.18		1270.015

				456967.225		601299.751		349		1256.5						1270.015		349		456967.225				456701.365		349		601299.751		0		601404.18		0		456701.365		601404.18		1270.015

				456968.224		601299.725		350		1256.5						1270.015		350		456968.224				456701.365		350		601299.725		0		601404.18		0		456701.365		601404.18		1270.015

				456969.223		601299.699		351		1256.432						1270.015		351		456969.223				456701.365		351		601299.699		0		601404.18		0		456701.365		601404.18		1270.015

				456970.222		601299.673		352		1256.4						1270.015		352		456970.222				456701.365		352		601299.673		0		601404.18		0		456701.365		601404.18		1270.015

				456971.222		601299.647		353		1256.383						1270.015		353		456971.222				456701.365		353		601299.647		0		601404.18		0		456701.365		601404.18		1270.015

				456972.221		601299.621		354		1256.308						1270.015		354		456972.221				456701.365		354		601299.621		0		601404.18		0		456701.365		601404.18		1270.015

				456973.22		601299.595		355		1256.25						1270.015		355		456973.22				456701.365		355		601299.595		0		601404.18		0		456701.365		601404.18		1270.015

				456974.22		601299.569		356		1256.213						1270.015		356		456974.22				456701.365		356		601299.569		0		601404.18		0		456701.365		601404.18		1270.015

				456975.219		601299.543		357		1256.185						1270.015		357		456975.219				456701.365		357		601299.543		0		601404.18		0		456701.365		601404.18		1270.015

				456976.218		601299.517		358		1256.11						1270.015		358		456976.218				456701.365		358		601299.517		0		601404.18		0		456701.365		601404.18		1270.015

				456977.217		601299.491		359		1256.1						1270.015		359		456977.217				456701.365		359		601299.491		0		601404.18		0		456701.365		601404.18		1270.015

				456978.217		601299.465		360		1256.061						1270.015		360		456978.217				456701.365		360		601299.465		0		601404.18		0		456701.365		601404.18		1270.015

				456979.216		601299.439		361		1256						1270.015		361		456979.216				456701.365		361		601299.439		0		601404.18		0		456701.365		601404.18		1270.015

				456980.215		601299.413		362		1256						1270.015		362		456980.215				456701.365		362		601299.413		0		601404.18		0		456701.365		601404.18		1270.015

				456981.215		601299.387		363		1255.937						1270.015		363		456981.215				456701.365		363		601299.387		0		601404.18		0		456701.365		601404.18		1270.015

				456982.214		601299.361		364		1255.9						1270.015		364		456982.214				456701.365		364		601299.361		0		601404.18		0		456701.365		601404.18		1270.015

				456983.213		601299.335		365		1255.889						1270.015		365		456983.213				456701.365		365		601299.335		0		601404.18		0		456701.365		601404.18		1270.015

				456984.212		601299.309		366		1255.814						1270.015		366		456984.212				456701.365		366		601299.309		0		601404.18		0		456701.365		601404.18		1270.015

				456985.212		601299.283		367		1255.8						1270.015		367		456985.212				456701.365		367		601299.283		0		601404.18		0		456701.365		601404.18		1270.015

				456986.211		601299.257		368		1255.8						1270.015		368		456986.211				456701.365		368		601299.257		0		601404.18		0		456701.365		601404.18		1270.015

				456987.21		601299.231		369		1255.79						1270.015		369		456987.21				456701.365		369		601299.231		0		601404.18		0		456701.365		601404.18		1270.015

				456988.21		601299.205		370		1255.715						1270.015		370		456988.21				456701.365		370		601299.205		0		601404.18		0		456701.365		601404.18		1270.015

				456989.209		601299.179		371		1255.7						1270.015		371		456989.209				456701.365		371		601299.179		0		601404.18		0		456701.365		601404.18		1270.015

				456990.208		601299.153		372		1255.695						1270.015		372		456990.208				456701.365		372		601299.153		0		601404.18		0		456701.365		601404.18		1270.015

				456991.207		601299.127		373		1255.677						1270.015		373		456991.207				456701.365		373		601299.127		0		601404.18		0		456701.365		601404.18		1270.015

				456992.207		601299.101		374		1255.614						1270.015		374		456992.207				456701.365		374		601299.101		0		601404.18		0		456701.365		601404.18		1270.015

				456993.206		601299.075		375		1255.6						1270.015		375		456993.206				456701.365		375		601299.075		0		601404.18		0		456701.365		601404.18		1270.015

				456994.205		601299.049		376		1255.593						1270.015		376		456994.205				456701.365		376		601299.049		0		601404.18		0		456701.365		601404.18		1270.015

				456995.205		601299.023		377		1255.57						1270.015		377		456995.205				456701.365		377		601299.023		0		601404.18		0		456701.365		601404.18		1270.015

				456996.204		601298.997		378		1255.514						1270.015		378		456996.204				456701.365		378		601298.997		0		601404.18		0		456701.365		601404.18		1270.015

				456997.203		601298.971		379		1255.5						1270.015		379		456997.203				456701.365		379		601298.971		0		601404.18		0		456701.365		601404.18		1270.015

				456998.202		601298.945		380		1255.5						1270.015		380		456998.202				456701.365		380		601298.945		0		601404.18		0		456701.365		601404.18		1270.015

				456999.202		601298.919		381		1255.498						1270.015		381		456999.202				456701.365		381		601298.919		0		601404.18		0		456701.365		601404.18		1270.015

				457000.201		601298.893		382		1255.471						1270.015		382		457000.201				456701.365		382		601298.893		0		601404.18		0		456701.365		601404.18		1270.015

				457001.2		601298.867		383		1255.428						1270.015		383		457001.2				456701.365		383		601298.867		0		601404.18		0		456701.365		601404.18		1270.015

				457002.2		601298.841		384		1255.4						1270.015		384		457002.2				456701.365		384		601298.841		0		601404.18		0		456701.365		601404.18		1270.015

				457003.199		601298.815		385		1255.4						1270.015		385		457003.199				456701.365		385		601298.815		0		601404.18		0		456701.365		601404.18		1270.015

				457004.198		601298.789		386		1255.4						1270.015		386		457004.198				456701.365		386		601298.789		0		601404.18		0		456701.365		601404.18		1270.015

				457005.197		601298.763		387		1255.375						1270.015		387		457005.197				456701.365		387		601298.763		0		601404.18		0		456701.365		601404.18		1270.015

				457006.197		601298.737		388		1255.336						1270.015		388		457006.197				456701.365		388		601298.737		0		601404.18		0		456701.365		601404.18		1270.015

				457007.196		601298.711		389		1255.3						1270.015		389		457007.196				456701.365		389		601298.711		0		601404.18		0		456701.365		601404.18		1270.015

				457008.195		601298.685		390		1255.3						1270.015		390		457008.195				456701.365		390		601298.685		0		601404.18		0		456701.365		601404.18		1270.015

				457009.195		601298.659		391		1255.3						1270.015		391		457009.195				456701.365		391		601298.659		0		601404.18		0		456701.365		601404.18		1270.015

				457010.194		601298.633		392		1255.3						1270.015		392		457010.194				456701.365		392		601298.633		0		601404.18		0		456701.365		601404.18		1270.015

				457011.193		601298.607		393		1255.3						1270.015		393		457011.193				456701.365		393		601298.607		0		601404.18		0		456701.365		601404.18		1270.015

				457012.192		601298.581		394		1255.3						1270.015		394		457012.192				456701.365		394		601298.581		0		601404.18		0		456701.365		601404.18		1270.015

				457013.192		601298.555		395		1255.268						1270.015		395		457013.192				456701.365		395		601298.555		0		601404.18		0		456701.365		601404.18		1270.015

				457014.191		601298.529		396		1255.224						1270.015		396		457014.191				456701.365		396		601298.529		0		601404.18		0		456701.365		601404.18		1270.015

				457015.19		601298.503		397		1255.201						1270.015		397		457015.19				456701.365		397		601298.503		0		601404.18		0		456701.365		601404.18		1270.015

				457016.19		601298.477		398		1255.2						1270.015		398		457016.19				456701.365		398		601298.477		0		601404.18		0		456701.365		601404.18		1270.015

				457017.189		601298.451		399		1255.2						1270.015		399		457017.189				456701.365		399		601298.451		0		601404.18		0		456701.365		601404.18		1270.015

				457018.188		601298.425		400		1255.183						1270.015		400		457018.188				456701.365		400		601298.425		0		601404.18		0		456701.365		601404.18		1270.015

				457019.187		601298.399		401		1255.123						1270.015		401		457019.187				456701.365		401		601298.399		0		601404.18		0		456701.365		601404.18		1270.015

				457020.187		601298.373		402		1255.105						1270.015		402		457020.187				456701.365		402		601298.373		0		601404.18		0		456701.365		601404.18		1270.015

				457021.186		601298.347		403		1255.1						1270.015		403		457021.186				456701.365		403		601298.347		0		601404.18		0		456701.365		601404.18		1270.015

				457022.185		601298.321		404		1255.1						1270.015		404		457022.185				456701.365		404		601298.321		0		601404.18		0		456701.365		601404.18		1270.015

				457023.185		601298.295		405		1255.1						1270.015		405		457023.185				456701.365		405		601298.295		0		601404.18		0		456701.365		601404.18		1270.015

				457024.184		601298.269		406		1255.032						1270.015		406		457024.184				456701.365		406		601298.269		0		601404.18		0		456701.365		601404.18		1270.015

				457025.183		601298.243		407		1255						1270.015		407		457025.183				456701.365		407		601298.243		0		601404.18		0		456701.365		601404.18		1270.015

				457026.182		601298.218		408		1255						1270.015		408		457026.182				456701.365		408		601298.218		0		601404.18		0		456701.365		601404.18		1270.015

				457027.182		601298.192		409		1255						1270.015		409		457027.182				456701.365		409		601298.192		0		601404.18		0		456701.365		601404.18		1270.015

				457028.181		601298.166		410		1255						1270.015		410		457028.181				456701.365		410		601298.166		0		601404.18		0		456701.365		601404.18		1270.015

				457029.18		601298.14		411		1255						1270.015		411		457029.18				456701.365		411		601298.14		0		601404.18		0		456701.365		601404.18		1270.015

				457030.18		601298.114		412		1255						1270.015		412		457030.18				456701.365		412		601298.114		0		601404.18		0		456701.365		601404.18		1270.015

				457031.179		601298.088		413		1255						1270.015		413		457031.179				456701.365		413		601298.088		0		601404.18		0		456701.365		601404.18		1270.015

				457032.178		601298.062		414		1255						1270.015		414		457032.178				456701.365		414		601298.062		0		601404.18		0		456701.365		601404.18		1270.015

				457033.177		601298.036		415		1255						1270.015		415		457033.177				456701.365		415		601298.036		0		601404.18		0		456701.365		601404.18		1270.015

				457034.177		601298.01		416		1255						1270.015		416		457034.177				456701.365		416		601298.01		0		601404.18		0		456701.365		601404.18		1270.015

				457035.176		601297.984		417		1255						1270.015		417		457035.176				456701.365		417		601297.984		0		601404.18		0		456701.365		601404.18		1270.015

				457036.175		601297.958		418		1255						1270.015		418		457036.175				456701.365		418		601297.958		0		601404.18		0		456701.365		601404.18		1270.015

				457037.175		601297.932		419		1255						1270.015		419		457037.175				456701.365		419		601297.932		0		601404.18		0		456701.365		601404.18		1270.015

				457038.174		601297.906		420		1255						1270.015		420		457038.174				456701.365		420		601297.906		0		601404.18		0		456701.365		601404.18		1270.015

				457039.173		601297.88		421		1255						1270.015		421		457039.173				456701.365		421		601297.88		0		601404.18		0		456701.365		601404.18		1270.015

				457040.172		601297.854		422		1255						1270.015		422		457040.172				456701.365		422		601297.854		0		601404.18		0		456701.365		601404.18		1270.015

				457041.172		601297.828		423		1255						1270.015		423		457041.172				456701.365		423		601297.828		0		601404.18		0		456701.365		601404.18		1270.015

				457042.171		601297.802		424		1255						1270.015		424		457042.171				456701.365		424		601297.802		0		601404.18		0		456701.365		601404.18		1270.015

				457043.17		601297.776		425		1255						1270.015		425		457043.17				456701.365		425		601297.776		0		601404.18		0		456701.365		601404.18		1270.015

				457044.17		601297.75		426		1255						1270.015		426		457044.17				456701.365		426		601297.75		0		601404.18		0		456701.365		601404.18		1270.015

				457045.169		601297.724		427		1255								427		457045.169				456701.365		427		601297.724		0		601404.18		0		456701.365		601404.18		0

				457046.168		601297.698		428		1255								428		457046.168				456701.365		428		601297.698		0		601404.18		0		456701.365		601404.18		0

				457047.167		601297.672		429		1255								429		457047.167				456701.365		429		601297.672		0		601404.18		0		456701.365		601404.18		0

				457048.167		601297.646		430		1255								430		457048.167				456701.365		430		601297.646		0		601404.18		0		456701.365		601404.18		0

				457049.166		601297.62		431		1254.984								431		457049.166				456701.365		431		601297.62		0		601404.18		0		456701.365		601404.18		0

				457050.165		601297.594		432		1254.945								432		457050.165				456701.365		432		601297.594		0		601404.18		0		456701.365		601404.18		0

				457051.165		601297.568		433		1254.909								433		457051.165				456701.365		433		601297.568		0		601404.18		0		456701.365		601404.18		0

				457052.164		601297.542		434		1254.9								434		457052.164				456701.365		434		601297.542		0		601404.18		0		456701.365		601404.18		0

				457053.163		601297.516		435		1254.882								435		457053.163				456701.365		435		601297.516		0		601404.18		0		456701.365		601404.18		0

				457054.162		601297.49		436		1254.837								436		457054.162				456701.365		436		601297.49		0		601404.18		0		456701.365		601404.18		0

				457055.162		601297.464		437		1254.808								437		457055.162				456701.365		437		601297.464		0		601404.18		0		456701.365		601404.18		0

				457056.161		601297.438		438		1254.8								438		457056.161				456701.365		438		601297.438		0		601404.18		0		456701.365		601404.18		0

				457057.16		601297.412		439		1254.781								439		457057.16				456701.365		439		601297.412		0		601404.18		0		456701.365		601404.18		0

				457058.16		601297.386		440		1254.729								440		457058.16				456701.365		440		601297.386		0		601404.18		0		456701.365		601404.18		0

				457059.159		601297.36		441		1254.706								441		457059.159				456701.365		441		601297.36		0		601404.18		0		456701.365		601404.18		0

				457060.158		601297.334		442		1254.7								442		457060.158				456701.365		442		601297.334		0		601404.18		0		456701.365		601404.18		0

				457061.157		601297.308		443		1254.673								443		457061.157				456701.365		443		601297.308		0		601404.18		0		456701.365		601404.18		0

				457062.157		601297.282		444		1254.6								444		457062.157				456701.365		444		601297.282		0		601404.18		0		456701.365		601404.18		0

				457063.156		601297.256		445		1254.6								445		457063.156				456701.365		445		601297.256		0		601404.18		0		456701.365		601404.18		0

				457064.155		601297.23		446		1254.6								446		457064.155				456701.365		446		601297.23		0		601404.18		0		456701.365		601404.18		0

				457065.155		601297.204		447		1254.575								447		457065.155				456701.365		447		601297.204		0		601404.18		0		456701.365		601404.18		0

				457066.154		601297.178		448		1254.501								448		457066.154				456701.365		448		601297.178		0		601404.18		0		456701.365		601404.18		0

				457067.153		601297.152		449		1254.5								449		457067.153				456701.365		449		601297.152		0		601404.18		0		456701.365		601404.18		0

				457068.152		601297.126		450		1254.455								450		457068.152				456701.365		450		601297.126		0		601404.18		0		456701.365		601404.18		0

				457069.152		601297.1		451		1254.404								451		457069.152				456701.365		451		601297.1		0		601404.18		0		456701.365		601404.18		0

				457070.151		601297.074		452		1254.4								452		457070.151				456701.365		452		601297.074		0		601404.18		0		456701.365		601404.18		0

				457071.15		601297.048		453		1254.4								453		457071.15				456701.365		453		601297.048		0		601404.18		0		456701.365		601404.18		0

				457072.15		601297.022		454		1254.353								454		457072.15				456701.365		454		601297.022		0		601404.18		0		456701.365		601404.18		0

				457073.149		601296.996		455		1254.3								455		457073.149				456701.365		455		601296.996		0		601404.18		0		456701.365		601404.18		0

				457074.148		601296.97		456		1254.3								456		457074.148				456701.365		456		601296.97		0		601404.18		0		456701.365		601404.18		0

				457075.147		601296.944		457		1254.23								457		457075.147				456701.365		457		601296.944		0		601404.18		0		456701.365		601404.18		0

				457076.147		601296.918		458		1254.2								458		457076.147				456701.365		458		601296.918		0		601404.18		0		456701.365		601404.18		0

				457077.146		601296.892		459		1254.2								459		457077.146				456701.365		459		601296.892		0		601404.18		0		456701.365		601404.18		0

				457078.145		601296.866		460		1254.2								460		457078.145				456701.365		460		601296.866		0		601404.18		0		456701.365		601404.18		0

				457079.145		601296.84		461		1254.131								461		457079.145				456701.365		461		601296.84		0		601404.18		0		456701.365		601404.18		0

				457080.144		601296.814		462		1254.1								462		457080.144				456701.365		462		601296.814		0		601404.18		0		456701.365		601404.18		0

				457081.143		601296.788		463		1254.096								463		457081.143				456701.365		463		601296.788		0		601404.18		0		456701.365		601404.18		0

				457082.142		601296.762		464		1254.077								464		457082.142				456701.365		464		601296.762		0		601404.18		0		456701.365		601404.18		0

				457083.142		601296.736		465		1254.024								465		457083.142				456701.365		465		601296.736		0		601404.18		0		456701.365		601404.18		0

				457084.141		601296.71		466		1254								466		457084.141				456701.365		466		601296.71		0		601404.18		0		456701.365		601404.18		0

				457085.14		601296.684		467		1253.984								467		457085.14				456701.365		467		601296.684		0		601404.18		0		456701.365		601404.18		0

				457086.14		601296.658		468		1253.91								468		457086.14				456701.365		468		601296.658		0		601404.18		0		456701.365		601404.18		0

				457087.139		601296.632		469		1253.9								469		457087.139				456701.365		469		601296.632		0		601404.18		0		456701.365		601404.18		0

				457088.138		601296.606		470		1253.885								470		457088.138				456701.365		470		601296.606		0		601404.18		0		456701.365		601404.18		0

				457089.137		601296.58		471		1253.851								471		457089.137				456701.365		471		601296.58		0		601404.18		0		456701.365		601404.18		0

				457090.137		601296.554		472		1253.807								472		457090.137				456701.365		472		601296.554		0		601404.18		0		456701.365		601404.18		0

				457091.136		601296.528		473		1253.8								473		457091.136				456701.365		473		601296.528		0		601404.18		0		456701.365		601404.18		0

				457092.135		601296.502		474		1253.782								474		457092.135				456701.365		474		601296.502		0		601404.18		0		456701.365		601404.18		0

				457093.135		601296.477		475		1253.744								475		457093.135				456701.365		475		601296.477		0		601404.18		0		456701.365		601404.18		0

				457094.134		601296.451		476		1253.706								476		457094.134				456701.365		476		601296.451		0		601404.18		0		456701.365		601404.18		0

				457095.133		601296.425		477		1253.7								477		457095.133				456701.365		477		601296.425		0		601404.18		0		456701.365		601404.18		0

				457096.132		601296.399		478		1253.679								478		457096.132				456701.365		478		601296.399		0		601404.18		0		456701.365		601404.18		0

				457097.132		601296.373		479		1253.636								479		457097.132				456701.365		479		601296.373		0		601404.18		0		456701.365		601404.18		0

				457098.131		601296.347		480		1253.606								480		457098.131				456701.365		480		601296.347		0		601404.18		0		456701.365		601404.18		0

				457099.13		601296.321		481		1253.6								481		457099.13				456701.365		481		601296.321		0		601404.18		0		456701.365		601404.18		0

				457100.13		601296.295		482		1253.577								482		457100.13				456701.365		482		601296.295		0		601404.18		0		456701.365		601404.18		0

				457101.129		601296.269		483		1253.529								483		457101.129				456701.365		483		601296.269		0		601404.18		0		456701.365		601404.18		0

				457102.128		601296.243		484		1253.505								484		457102.128				456701.365		484		601296.243		0		601404.18		0		456701.365		601404.18		0

				457103.127		601296.217		485		1253.5								485		457103.127				456701.365		485		601296.217		0		601404.18		0		456701.365		601404.18		0

				457104.127		601296.191		486		1253.476								486		457104.127				456701.365		486		601296.191		0		601404.18		0		456701.365		601404.18		0

				457105.126		601296.165		487		1253.421								487		457105.126						487		601296.165		0		601404.18		0		0		601404.18		0

				457106.125		601296.139		488		1253.404								488		457106.125						488		601296.139		0		601404.18		0		0		601404.18		0

				457107.125		601296.113		489		1253.4								489		457107.125						489		601296.113		0		601404.18		0		0		601404.18		0

				457108.124		601296.087		490		1253.4								490		457108.124						490		601296.087		0		601404.18		0		0		601404.18		0

				457109.123		601296.061		491		1253.395								491		457109.123						491		601296.061		0		601404.18		0		0		601404.18		0

				457110.122		601296.035		492		1253.32								492		457110.122						492		601296.035		0		601404.18		0		0		601404.18		0

				457111.122		601296.009		493		1253.3								493		457111.122						493		601296.009		0		601404.18		0		0		601404.18		0

				457112.121		601295.983		494		1253.3								494		457112.121						494		601295.983		0		601404.18		0		0		601404.18		0

				457113.12		601295.957		495		1253.297								495		457113.12						495		601295.957		0		601404.18		0		0		601404.18		0

				457114.12		601295.931		496		1253.222								496		457114.12						496		601295.931		0		601404.18		0		0		601404.18		0

				457115.119		601295.905		497		1253.2								497		457115.119						497		601295.905		0		601404.18		0		0		601404.18		0

				457116.118		601295.879		498		1253.2								498		457116.118						498		601295.879		0		601404.18		0		0		601404.18		0

				457117.117		601295.853		499		1253.198								499		457117.117						499		601295.853		0		601404.18		0		0		601404.18		0

				457118.117		601295.827		500		1253.124								500		457118.117						500		601295.827		0		601404.18		0		0		601404.18		0

				457119.116		601295.801		501		1253.1								501		457119.116						501		601295.801		0		601404.18		0		0		601404.18		0

				457120.115		601295.775		502		1253.1								502		457120.115						502		601295.775		0		601404.18		0		0		601404.18		0

				457121.115		601295.749		503		1253.1								503		457121.115						503		601295.749		0		601404.18		0		0		601404.18		0

				457122.114		601295.723		504		1253.026								504		457122.114						504		601295.723		0		601404.18		0		0		601404.18		0

				457123.113		601295.697		505		1253								505		457123.113						505		601295.697		0		601404.18		0		0		601404.18		0

				457124.112		601295.671		506		1253								506		457124.112						506		601295.671		0		601404.18		0		0		601404.18		0

				457125.112		601295.645		507		1253								507		457125.112						507		601295.645		0		601404.18		0		0		601404.18		0

				457126.111		601295.619		508		1253								508		457126.111						508		601295.619		0		601404.18		0		0		601404.18		0

				457127.11		601295.593		509		1253								509		457127.11						509		601295.593		0		601404.18		0		0		601404.18		0

				457128.11		601295.567		510		1253								510		457128.11						510		601295.567		0		601404.18		0		0		601404.18		0

				457129.109		601295.541		511		1253								511		457129.109						511		601295.541		0		601404.18		0		0		601404.18		0

				457130.108		601295.515		512		1253								512		457130.108						512		601295.515		0		601404.18		0		0		601404.18		0

				457131.107		601295.489		513		1253								513		457131.107						513		601295.489		0		601404.18		0		0		601404.18		0

				457132.107		601295.463		514		1253								514		457132.107						514		601295.463		0		601404.18		0		0		601404.18		0

				457133.106		601295.437		515		1253								515		457133.106						515		601295.437		0		601404.18		0		0		601404.18		0

				457134.105		601295.411		516		1253								516		457134.105						516		601295.411		0		601404.18		0		0		601404.18		0

				457135.105		601295.385		517		1253								517		457135.105						517		601295.385		0		601404.18		0		0		601404.18		0

				457136.104		601295.359		518		1253								518		457136.104						518		601295.359		0		601404.18		0		0		601404.18		0

				457137.103		601295.333		519		1253								519		457137.103						519		601295.333		0		601404.18		0		0		601404.18		0

				457138.102		601295.307		520		1253								520		457138.102						520		601295.307		0		601404.18		0		0		601404.18		0

				457139.102		601295.281		521		1253								521		457139.102						521		601295.281		0		601404.18		0		0		601404.18		0

				457140.101		601295.255		522		1253								522		457140.101						522		601295.255		0		601404.18		0		0		601404.18		0

				457141.1		601295.229		523		1253								523		457141.1						523		601295.229		0		601404.18		0		0		601404.18		0

				457142.1		601295.203		524		1253								524		457142.1						524		601295.203		0		601404.18		0		0		601404.18		0

				457143.099		601295.177		525		1253								525		457143.099						525		601295.177		0		601404.18		0		0		601404.18		0

				457144.098		601295.151		526		1253								526		457144.098						526		601295.151		0		601404.18		0		0		601404.18		0

				457145.097		601295.125		527		1253								527		457145.097						527		601295.125		0		601404.18		0		0		601404.18		0

				457146.097		601295.099		528		1253								528		457146.097						528		601295.099		0		601404.18		0		0		601404.18		0

				457147.096		601295.073		529		1253								529		457147.096						529		601295.073		0		601404.18		0		0		601404.18		0

				457148.095		601295.047		530		1253								530		457148.095						530		601295.047		0		601404.18		0		0		601404.18		0

				457149.095		601295.021		531		1253								531		457149.095						531		601295.021		0		601404.18		0		0		601404.18		0

				457150.094		601294.995		532		1253								532		457150.094						532		601294.995		0		601404.18		0		0		601404.18		0

				457151.093		601294.969		533		1253								533		457151.093						533		601294.969		0		601404.18		0		0		601404.18		0

				457152.092		601294.943		534		1253								534		457152.092						534		601294.943		0		601404.18		0		0		601404.18		0

				457153.092		601294.917		535		1253								535		457153.092						535		601294.917		0		601404.18		0		0		601404.18		0

				457154.091		601294.891		536		1253								536		457154.091						536		601294.891		0		601404.18		0		0		601404.18		0

				457155.09		601294.865		537		1253								537		457155.09						537		601294.865		0		601404.18		0		0		601404.18		0

				457156.09		601294.839		538		1253								538		457156.09						538		601294.839		0		601404.18		0		0		601404.18		0

				457157.089		601294.813		539		1253								539		457157.089						539		601294.813		0		601404.18		0		0		601404.18		0

				457158.088		601294.787		540		1253								540		457158.088						540		601294.787		0		601404.18		0		0		601404.18		0

				457159.087		601294.761		541		1253								541		457159.087						541		601294.761		0		601404.18		0		0		601404.18		0

				457160.087		601294.736		542		1253								542		457160.087						542		601294.736		0		601404.18		0		0		601404.18		0

				457161.086		601294.71		543		1253								543		457161.086						543		601294.71		0		601404.18		0		0		601404.18		0

				457162.085		601294.684		544		1253								544		457162.085						544		601294.684		0		601404.18		0		0		601404.18		0

				457163.085		601294.658		545		1253								545		457163.085						545		601294.658		0		601404.18		0		0		601404.18		0

				457164.084		601294.632		546		1253								546		457164.084						546		601294.632		0		601404.18		0		0		601404.18		0

				457165.083		601294.606		547		1253								547		457165.083						547		601294.606		0		601404.18		0		0		601404.18		0

				457165.1		601294.605		547.02		1253								547.02		457165.1						547.02		601294.605		0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18





Fech Length

				X		Y		Distance (Total)		Elevation						Elevation		Distance (Total)		X						Distance (Total)		Y						Dam Axis OGL								Average Depth

				457129.549		601444.316		0		1254.633				0		1254.633		0		457129.549		0		457129.549		0		601444.316		0		601444.316		0		457129.549		601444.316		1254.633		0.633

				457129.397		601445.304		1		1254.635				10		1254.702		1		457129.397		10		457128.038		1		601445.304		10		601454.198		10		457128.038		601454.198		1254.702		0.702

				457129.246		601446.292		2		1254.635				20		1254.96		2		457129.246		20		457126.526		2		601446.292		20		601464.079		20		457126.526		601464.079		1254.96		0.96

				457129.095		601447.281		3		1254.635				30		1254.918		3		457129.095		30		457125.015		3		601447.281		30		601473.96		30		457125.015		601473.96		1254.918		0.918

				457128.944		601448.269		4		1254.635				40		1254.417		4		457128.944		40		457123.504		4		601448.269		40		601483.842		40		457123.504		601483.842		1254.417		0.417

				457128.793		601449.257		5		1254.635				50		1254		5		457128.793		50		457121.993		5		601449.257		50		601493.723		50		457121.993		601493.723		1254		0

				457128.642		601450.245		6		1254.633				60		1254.38		6		457128.642		60		457120.482		6		601450.245		60		601503.604		60		457120.482		601503.604		1254.38		0.38

				457128.491		601451.233		7		1254.669				70		1255		7		457128.491		70		457118.971		7		601451.233		70		601513.486		70		457118.971		601513.486		1255		1

				457128.34		601452.221		8		1254.669				80		1255		8		457128.34		80		457117.46		8		601452.221		80		601523.367		80		457117.46		601523.367		1255		1

				457128.189		601453.209		9		1254.676				90		1255.406		9		457128.189		90		457115.949		9		601453.209		90		601533.248		90		457115.949		601533.248		1255.406		1.406

				457128.038		601454.198		10		1254.702				100		1255.781		10		457128.038		100		457114.438		10		601454.198		100		601543.13		100		457114.438		601543.13		1255.781		1.781

				457127.886		601455.186		11		1254.702				110		1255.972		11		457127.886		110		457112.927		11		601455.186		110		601553.011		110		457112.927		601553.011		1255.972		1.972

				457127.735		601456.174		12		1254.729				120		1256		12		457127.735		120		457111.416		12		601456.174		120		601562.893		120		457111.416		601562.893		1256		2

				457127.584		601457.162		13		1254.755				130		1256		13		457127.584		130		457109.905		13		601457.162		130		601572.774		130		457109.905		601572.774		1256		2

				457127.433		601458.15		14		1254.782				140		1256		14		457127.433		140		457108.394		14		601458.15		140		601582.655		140		457108.394		601582.655		1256		2

				457127.282		601459.138		15		1254.808				150		1256		15		457127.282		150		457106.883		15		601459.138		150		601592.537		150		457106.883		601592.537		1256		2

				457127.131		601460.126		16		1254.88				160		1256.658		16		457127.131		160		457105.372		16		601460.126		160		601602.418		160		457105.372		601602.418		1256.658		2.658

				457126.98		601461.115		17		1254.907				170		1256.875		17		457126.98		170		457103.861		17		601461.115		170		601612.299		170		457103.861		601612.299		1256.875		2.875

				457126.829		601462.103		18		1254.907				180		1256.411		18		457126.829		180		457102.35		18		601462.103		180		601622.181		180		457102.35		601622.181		1256.411		2.411

				457126.678		601463.091		19		1254.933				190		1256.034		19		457126.678		190		457100.839		19		601463.091		190		601632.062		190		457100.839		601632.062		1256.034		2.034

				457126.526		601464.079		20		1254.96				200		1256		20		457126.526		200		457099.327		20		601464.079		200		601641.943		200		457099.327		601641.943		1256		2

				457126.375		601465.067		21		1254.986				210		1256		21		457126.375		210		457097.816		21		601465.067		210		601651.825		210		457097.816		601651.825		1256		2

				457126.224		601466.055		22		1255				220		1256.263		22		457126.224		220		457096.305		22		601466.055		220		601661.706		220		457096.305		601661.706		1256.263		2.263

				457126.073		601467.043		23		1255				230		1256.548		23		457126.073		230		457094.794		23		601467.043		230		601671.588		230		457094.794		601671.588		1256.548		2.548

				457125.922		601468.031		24		1255				240		1256.828		24		457125.922		240		457093.283		24		601468.031		240		601681.469		240		457093.283		601681.469		1256.828		2.828

				457125.771		601469.02		25		1255				250		1257.058		25		457125.771		250		457091.772		25		601469.02		250		601691.35		250		457091.772		601691.35		1257.058		3.058

				457125.62		601470.008		26		1255				260		1257.199		26		457125.62		260		457090.261		26		601470.008		260		601701.232		260		457090.261		601701.232		1257.199		3.199

				457125.469		601470.996		27		1255				270		1257.358		27		457125.469		270		457088.75		27		601470.996		270		601711.113		270		457088.75		601711.113		1257.358		3.358

				457125.318		601471.984		28		1255				280		1257.518		28		457125.318		280		457087.239		28		601471.984		280		601720.994		280		457087.239		601720.994		1257.518		3.518

				457125.167		601472.972		29		1254.962				290		1257.665		29		457125.167		290		457085.728		29		601472.972		290		601730.876		290		457085.728		601730.876		1257.665		3.665

				457125.015		601473.96		30		1254.918				300		1257.841		30		457125.015		300		457084.217		30		601473.96		300		601740.757		300		457084.217		601740.757		1257.841		3.841

				457124.864		601474.948		31		1254.874				310		1258.007		31		457124.864		310		457082.706		31		601474.948		310		601750.638		310		457082.706		601750.638		1258.007		4.007

				457124.713		601475.937		32		1254.818				320		1258.155		32		457124.713		320		457081.195		32		601475.937		320		601760.52		320		457081.195		601760.52		1258.155		4.155

				457124.562		601476.925		33		1254.76				330		1258.322		33		457124.562		330		457079.684		33		601476.925		330		601770.401		330		457079.684		601770.401		1258.322		4.322

				457124.411		601477.913		34		1254.751				340		1258.49		34		457124.411		340		457078.173		34		601477.913		340		601780.282		340		457078.173		601780.282		1258.49		4.49

				457124.26		601478.901		35		1254.707				350		1258.66		35		457124.26		350		457076.662		35		601478.901		350		601790.164		350		457076.662		601790.164		1258.66		4.66

				457124.109		601479.889		36		1254.646				360		1258.813		36		457124.109		360		457075.151		36		601479.889		360		601800.045		360		457075.151		601800.045		1258.813		4.813

				457123.958		601480.877		37		1254.588				370		1258.984		37		457123.958		370		457073.64		37		601480.877		370		601809.927		370		457073.64		601809.927		1258.984		4.984

				457123.807		601481.865		38		1254.536				380		1259.162		38		457123.807		380		457072.128		38		601481.865		380		601819.808		380		457072.128		601819.808		1259.162		5.162

				457123.655		601482.854		39		1254.474				390		1259.313		39		457123.655		390		457070.617		39		601482.854		390		601829.689		390		457070.617		601829.689		1259.313		5.313

				457123.504		601483.842		40		1254.417				400		1259.483		40		457123.504		400		457069.106		40		601483.842		400		601839.571		400		457069.106		601839.571		1259.483		5.483

				457123.353		601484.83		41		1254.417				410		1259.654		41		457123.353		410		457067.595		41		601484.83		410		601849.452		410		457067.595		601849.452		1259.654		5.654

				457123.202		601485.818		42		1254.365				420		1259.826		42		457123.202		420		457066.084		42		601485.818		420		601859.333		420		457066.084		601859.333		1259.826		5.826

				457123.051		601486.806		43		1254.302				430		1259.984		43		457123.051		430		457064.573		43		601486.806		430		601869.215		430		457064.573		601869.215		1259.984		5.984

				457122.9		601487.794		44		1254.249				440		1260.173		44		457122.9		440		457063.062		44		601487.794		440		601879.096		440		457063.062		601879.096		1260.173		6.173

				457122.749		601488.782		45		1254.193				450		1260.365		45		457122.749		450		457061.551		45		601488.782		450		601888.977		450		457061.551		601888.977		1260.365		6.365

				457122.598		601489.77		46		1254.13				460		1260.541		46		457122.598		460		457060.04		46		601489.77		460		601898.859		460		457060.04		601898.859		1260.541		6.541

				457122.447		601490.759		47		1254.072				470		1260.729		47		457122.447		470		457058.529		47		601490.759		470		601908.74		470		457058.529		601908.74		1260.729		6.729

				457122.296		601491.747		48		1254.014				480		1260.918		48		457122.296		480		457057.018		48		601491.747		480		601918.622		480		457057.018		601918.622		1260.918		6.918

				457122.144		601492.735		49		1254.014				490		1261		49		457122.144		490		457055.507		49		601492.735		490		601928.503		490		457055.507		601928.503		1261		7

				457121.993		601493.723		50		1254				500		1261		50		457121.993		500		457053.996		50		601493.723		500		601938.384		500		457053.996		601938.384		1261		7

				457121.842		601494.711		51		1254				510		1261		51		457121.842		510		457052.485		51		601494.711		510		601948.266		510		457052.485		601948.266		1261		7

				457121.691		601495.699		52		1254				520		1261		52		457121.691		520		457050.974		52		601495.699		520		601958.147		520		457050.974		601958.147		1261		7

				457121.54		601496.687		53		1254.036				530		1261		53		457121.54		530		457049.463		53		601496.687		530		601968.028		530		457049.463		601968.028		1261		7

				457121.389		601497.676		54		1254.094				540		1261		54		457121.389		540		457047.952		54		601497.676		540		601977.91		540		457047.952		601977.91		1261		7

				457121.238		601498.664		55		1254.152				550		1261		55		457121.238		550		457046.441		55		601498.664		550		601987.791		550		457046.441		601987.791		1261		7

				457121.087		601499.652		56		1254.21				560		1261		56		457121.087		560		457044.929		56		601499.652		560		601997.672		560		457044.929		601997.672		1261		7

				457120.936		601500.64		57		1254.21				570		1261		57		457120.936		570		457043.418		57		601500.64		570		602007.554		570		457043.418		602007.554		1261		7

				457120.784		601501.628		58		1254.268				580		1261		58		457120.784		580		457041.907		58		601501.628		580		602017.435		580		457041.907		602017.435		1261		7

				457120.633		601502.616		59		1254.326				590		1261		59		457120.633		590		457040.396		59		601502.616		590		602027.317		590		457040.396		602027.317		1261		7

				457120.482		601503.604		60		1254.38				600		1261		60		457120.482		600		457038.885		60		601503.604		600		602037.198		600		457038.885		602037.198		1261		7

				457120.331		601504.593		61		1254.435				610		1261		61		457120.331		610		457037.374		61		601504.593		610		602047.079		610		457037.374		602047.079		1261		7

				457120.18		601505.581		62		1254.49		TC		620		1261		62		457120.18		620		457035.863		62		601505.581		620		602056.961		620		457035.863		602056.961		1261		7

				457120.029		601506.569		63		1254.548				630		1261		63		457120.029		630		457034.352		63		601506.569		630		602066.842		630		457034.352		602066.842		1261		7

				457119.878		601507.557		64		1254.616				640		1261		64		457119.878		640		457032.841		64		601507.557		640		602076.723		640		457032.841		602076.723		1261		7

				457119.727		601508.545		65		1254.616				650		1261		65		457119.727		650		457031.33		65		601508.545		650		602086.605		650		457031.33		602086.605		1261		7

				457119.576		601509.533		66		1254.684				660		1261		66		457119.576		660		457029.819		66		601509.533		660		602096.486		660		457029.819		602096.486		1261		7

				457119.425		601510.521		67		1254.752				670		1261		67		457119.425		670		457028.308		67		601510.521		670		602106.367		670		457028.308		602106.367		1261		7

				457119.273		601511.509		68		1254.82				680		1261		68		457119.273		680		457026.797		68		601511.509		680		602116.249		680		457026.797		602116.249		1261		7

				457119.122		601512.498		69		1254.888				690		1261		69		457119.122		690		457025.286		69		601512.498		690		602126.13		690		457025.286		602126.13		1261		7

				457118.971		601513.486		70		1255				700		1261		70		457118.971		700		457023.775		70		601513.486		700		602136.012		700		457023.775		602136.012		1261		7

				457118.82		601514.474		71		1255				710		1261		71		457118.82		710		457022.264		71		601514.474		710		602145.893		710		457022.264		602145.893		1261		7

				457118.669		601515.462		72		1255				720		1261		72		457118.669		720		457020.753		72		601515.462		720		602155.774		720		457020.753		602155.774		1261		7

				457118.518		601516.45		73		1255				730		1261		73		457118.518		730		457019.242		73		601516.45		730		602165.656		730		457019.242		602165.656		1261		7

				457118.367		601517.438		74		1255				740		1261		74		457118.367		740		457017.73		74		601517.438		740		602175.537		740		457017.73		602175.537		1261		7

				457118.216		601518.426		75		1255				750		1261		75		457118.216		750		457016.219		75		601518.426		750		602185.418		750		457016.219		602185.418		1261		7

				457118.065		601519.415		76		1255				760		1261		76		457118.065		760		457014.708		76		601519.415		760		602195.3		760		457014.708		602195.3		1261		7

				457117.913		601520.403		77		1255				770		1261		77		457117.913		770		457013.197		77		601520.403		770		602205.181		770		457013.197		602205.181		1261		7

				457117.762		601521.391		78		1255				780		1261		78		457117.762		780		457011.686		78		601521.391		780		602215.062		780		457011.686		602215.062		1261		7

				457117.611		601522.379		79		1255				790		1261		79		457117.611		790		457010.175		79		601522.379		790		602224.944		790		457010.175		602224.944		1261		7

				457117.46		601523.367		80		1255				800		1261		80		457117.46		800		457008.664		80		601523.367		800		602234.825		800		457008.664		602234.825		1261		7

				457117.309		601524.355		81		1255.004				810		1261.066		81		457117.309		810		457007.153		81		601524.355		810		602244.706		810		457007.153		602244.706		1261.066		7.066

				457117.158		601525.343		82		1255.05				820		1261.185		82		457117.158		820		457005.642		82		601525.343		820		602254.588		820		457005.642		602254.588		1261.185		7.185

				457117.007		601526.332		83		1255.096				830		1261.303		83		457117.007		830		457004.131		83		601526.332		830		602264.469		830		457004.131		602264.469		1261.303		7.303

				457116.856		601527.32		84		1255.142				840		1261.408		84		457116.856		840		457002.62		84		601527.32		840		602274.351		840		457002.62		602274.351		1261.408		7.408

				457116.705		601528.308		85		1255.188				850		1261.524		85		457116.705		850		457001.109		85		601528.308		850		602284.232		850		457001.109		602284.232		1261.524		7.524

				457116.553		601529.296		86		1255.236				860		1261.665		86		457116.553		860		456999.598		86		601529.296		860		602294.113		860		456999.598		602294.113		1261.665		7.665

				457116.402		601530.284		87		1255.313				870		1261.79		87		457116.402		870		456998.087		87		601530.284		870		602303.995		870		456998.087		602303.995		1261.79		7.79

				457116.251		601531.272		88		1255.313				880		1261.93		88		457116.251		880		456996.576		88		601531.272		880		602313.876		880		456996.576		602313.876		1261.93		7.93

				457116.1		601532.26		89		1255.359				890		1262		89		457116.1		890		456995.065		89		601532.26		890		602323.757		890		456995.065		602323.757		1262		8

				457115.949		601533.248		90		1255.406				900		1262		90		457115.949		900		456993.554		90		601533.248		900		602333.639		900		456993.554		602333.639		1262		8

				457115.798		601534.237		91		1255.453				910		1262		91		457115.798		910		456992.043		91		601534.237		910		602343.52		910		456992.043		602343.52		1262		8

				457115.647		601535.225		92		1255.496				920		1262.147		92		457115.647		920		456990.531		92		601535.225		920		602353.401		920		456990.531		602353.401		1262.147		8.147

				457115.496		601536.213		93		1255.54				930		1262.365		93		457115.496		930		456989.02		93		601536.213		930		602363.283		930		456989.02		602363.283		1262.365		8.365

				457115.345		601537.201		94		1255.581				940		1262.583		94		457115.345		940		456987.509		94		601537.201		940		602373.164		940		456987.509		602373.164		1262.583		8.583

				457115.194		601538.189		95		1255.62				950		1262.826		95		457115.194		950		456985.998		95		601538.189		950		602383.046		950		456985.998		602383.046		1262.826		8.826

				457115.042		601539.177		96		1255.656				960		1263		96		457115.042		960		456984.487		96		601539.177		960		602392.927		960		456984.487		602392.927		1263		9

				457114.891		601540.165		97		1255.689				970		1263		97		457114.891		970		456982.976		97		601540.165		970		602402.808		970		456982.976		602402.808		1263		9

				457114.74		601541.154		98		1255.722				980		1263		98		457114.74		980		456981.465		98		601541.154		980		602412.69		980		456981.465		602412.69		1263		9

				457114.589		601542.142		99		1255.752				990		1263.119		99		457114.589		990		456979.954		99		601542.142		990		602422.571		990		456979.954		602422.571		1263.119		9.119

				457114.438		601543.13		100		1255.781				1000		1263.355		100		457114.438		1000		456978.443		100		601543.13		1000		602432.452		1000		456978.443		602432.452		1263.355		9.355

				457114.287		601544.118		101		1255.802				1010		1263.519		101		457114.287		1010		456976.932		101		601544.118		1010		602442.334		1010		456976.932		602442.334		1263.519		9.519

				457114.136		601545.106		102		1255.821				1020		1263.691		102		457114.136		1020		456975.421		102		601545.106		1020		602452.215		1020		456975.421		602452.215		1263.691		9.691

				457113.985		601546.094		103		1255.821				1030		1263.864		103		457113.985		1030		456973.91		103		601546.094		1030		602462.096		1030		456973.91		602462.096		1263.864		9.864

				457113.834		601547.082		104		1255.839				1040		1264.008		104		457113.834		1040		456972.399		104		601547.082		1040		602471.978		1040		456972.399		602471.978		1264.008		10.008

				457113.682		601548.071		105		1255.908				1050		1264.245		105		457113.682		1050		456970.888		105		601548.071		1050		602481.859		1050		456970.888		602481.859		1264.245		10.245

				457113.531		601549.059		106		1255.922				1060		1264.482		106		457113.531		1060		456969.377		106		601549.059		1060		602491.741		1060		456969.377		602491.741		1264.482		10.482

				457113.38		601550.047		107		1255.931				1070		1264.704		107		457113.38		1070		456967.866		107		601550.047		1070		602501.622		1070		456967.866		602501.622		1264.704		10.704

				457113.229		601551.035		108		1255.944				1080		1264.88		108		457113.229		1080		456966.355		108		601551.035		1080		602511.503		1080		456966.355		602511.503		1264.88		10.88

				457113.078		601552.023		109		1255.946				1090		1265.039		109		457113.078		1090		456964.844		109		601552.023		1090		602521.385		1090		456964.844		602521.385		1265.039		11.039

				457112.927		601553.011		110		1255.972				1100		1265.129		110		457112.927		1100		456963.333		110		601553.011		1100		602531.266		1100		456963.333		602531.266		1265.129		11.129

				457112.776		601553.999		111		1255.972				1110		1265.097		111		457112.776		1110		456961.821		111		601553.999		1110		602541.147		1110		456961.821		602541.147		1265.097		11.097

				457112.625		601554.987		112		1255.998				1120		1264.958		112		457112.625		1120		456960.31		112		601554.987		1120		602551.029		1120		456960.31		602551.029		1264.958		10.958

				457112.474		601555.976		113		1256				1130		1265		113		457112.474		1130		456958.799		113		601555.976		1130		602560.91		1130		456958.799		602560.91		1265		11

				457112.323		601556.964		114		1256				1140		1265		114		457112.323		1140		456957.288		114		601556.964		1140		602570.791		1140		456957.288		602570.791		1265		11

				457112.171		601557.952		115		1256				1150		1264.97		115		457112.171		1150		456955.777		115		601557.952		1150		602580.673		1150		456955.777		602580.673		1264.97		10.97

				457112.02		601558.94		116		1256				1160		1264.99		116		457112.02		1160		456954.266		116		601558.94		1160		602590.554		1160		456954.266		602590.554		1264.99		10.99

				457111.869		601559.928		117		1256				1170		1264.953		117		457111.869		1170		456952.755		117		601559.928		1170		602600.435		1170		456952.755		602600.435		1264.953		10.953

				457111.718		601560.916		118		1256				1180		1265		118		457111.718		1180		456951.244		118		601560.916		1180		602610.317		1180		456951.244		602610.317		1265		11

				457111.567		601561.904		119		1256				1190		1265.162		119		457111.567		1190		456949.733		119		601561.904		1190		602620.198		1190		456949.733		602620.198		1265.162		11.162

				457111.416		601562.893		120		1256				1200		1265.348		120		457111.416		1200		456948.222		120		601562.893		1200		602630.08		1200		456948.222		602630.08		1265.348		11.348

				457111.265		601563.881		121		1256				1210		1265.551		121		457111.265		1210		456946.711		121		601563.881		1210		602639.961		1210		456946.711		602639.961		1265.551		11.551

				457111.114		601564.869		122		1256				1220		1265.608		122		457111.114		1220		456945.2		122		601564.869		1220		602649.842		1220		456945.2		602649.842		1265.608		11.608

				457110.963		601565.857		123		1256				1230		1265.388		123		457110.963		1230		456943.689		123		601565.857		1230		602659.724		1230		456943.689		602659.724		1265.388		11.388

				457110.811		601566.845		124		1256				1240		1265.6		124		457110.811		1240		456942.178		124		601566.845		1240		602669.605		1240		456942.178		602669.605		1265.6		11.6

				457110.66		601567.833		125		1256				1250		1266		125		457110.66		1250		456940.667		125		601567.833		1250		602679.486		1250		456940.667		602679.486		1266		12

				457110.509		601568.821		126		1256				1260		1266		126		457110.509		1260		456939.156		126		601568.821		1260		602689.368		1260		456939.156		602689.368		1266		12

				457110.358		601569.809		127		1256				1270		1266		127		457110.358		1270		456937.645		127		601569.809		1270		602699.249		1270		456937.645		602699.249		1266		12

				457110.207		601570.798		128		1256				1280		1266		128		457110.207		1280		456936.134		128		601570.798		1280		602709.13		1280		456936.134		602709.13		1266		12

				457110.056		601571.786		129		1256				1290		1266		129		457110.056		1290		456934.622		129		601571.786		1290		602719.012		1290		456934.622		602719.012		1266		12

				457109.905		601572.774		130		1256				1300		1266		130		457109.905		1300		456933.111		130		601572.774		1300		602728.893		1300		456933.111		602728.893		1266		12

				457109.754		601573.762		131		1256				1310		1266.333		131		457109.754		1310		456931.6		131		601573.762		1310		602738.775		1310		456931.6		602738.775		1266.333		12.333

				457109.603		601574.75		132		1256				1320		1266.533		132		457109.603		1320		456930.089		132		601574.75		1320		602748.656		1320		456930.089		602748.656		1266.533		12.533

				457109.452		601575.738		133		1256				1330		1266.704		133		457109.452		1330		456928.578		133		601575.738		1330		602758.537		1330		456928.578		602758.537		1266.704		12.704

				457109.3		601576.726		134		1256				1340		1266.74		134		457109.3		1340		456927.067		134		601576.726		1340		602768.419		1340		456927.067		602768.419		1266.74		12.74

				457109.149		601577.715		135		1256				1350		1266.873		135		457109.149		1350		456925.556		135		601577.715		1350		602778.3		1350		456925.556		602778.3		1266.873		12.873

				457108.998		601578.703		136		1256				1360		1267.144		136		457108.998		1360		456924.045		136		601578.703		1360		602788.181		1360		456924.045		602788.181		1267.144		13.144

				457108.847		601579.691		137		1256				1370		1267.564		137		457108.847		1370		456922.534		137		601579.691		1370		602798.063		1370		456922.534		602798.063		1267.564		13.564

				457108.696		601580.679		138		1256				1380		1268		138		457108.696		1380		456921.023		138		601580.679		1380		602807.944		1380		456921.023		602807.944		1268		14

				457108.545		601581.667		139		1256				1390		1268		139		457108.545		1390		456919.512		139		601581.667		1390		602817.825		1390		456919.512		602817.825		1268		14

				457108.394		601582.655		140		1256				1400		1268		140		457108.394		1400		456918.001		140		601582.655		1400		602827.707		1400		456918.001		602827.707		1268		14

				457108.243		601583.643		141		1256				1410		1268.06		141		457108.243		1410		456916.49		141		601583.643		1410		602837.588		1410		456916.49		602837.588		1268.06		14.06

				457108.092		601584.632		142		1256				1420		1268.171		142		457108.092		1420		456914.979		142		601584.632		1420		602847.47		1420		456914.979		602847.47		1268.171		14.171

				457107.94		601585.62		143		1256				1430		1268.197		143		457107.94		1430		456913.468		143		601585.62		1430		602857.351		1430		456913.468		602857.351		1268.197		14.197

				457107.789		601586.608		144		1256				1440		1268.218		144		457107.789		1440		456911.957		144		601586.608		1440		602867.232		1440		456911.957		602867.232		1268.218		14.218

				457107.638		601587.596		145		1256				1450		1268.263		145		457107.638		1450		456910.446		145		601587.596		1450		602877.114		1450		456910.446		602877.114		1268.263		14.263

				457107.487		601588.584		146		1256				1460		1268.287		146		457107.487		1460		456908.935		146		601588.584		1460		602886.995		1460		456908.935		602886.995		1268.287		14.287

				457107.336		601589.572		147		1256				1470		1268.395		147		457107.336		1470		456907.423		147		601589.572		1470		602896.876		1470		456907.423		602896.876		1268.395		14.395

				457107.185		601590.56		148		1256				1480		1268.542		148		457107.185		1480		456905.912		148		601590.56		1480		602906.758		1480		456905.912		602906.758		1268.542		14.542

				457107.034		601591.548		149		1256				1490		1268.678		149		457107.034		1490		456904.401		149		601591.548		1490		602916.639		1490		456904.401		602916.639		1268.678		14.678

				457106.883		601592.537		150		1256				1500		1268.832		150		457106.883		1500		456902.89		150		601592.537		1500		602926.52		1500		456902.89		602926.52		1268.832		14.832

				457106.732		601593.525		151		1256				1510		1268.986		151		457106.732		1510		456901.379		151		601593.525		1510		602936.402		1510		456901.379		602936.402		1268.986		14.986

				457106.581		601594.513		152		1256				1520		1269		152		457106.581		1520		456899.868		152		601594.513		1520		602946.283		1520		456899.868		602946.283		1269		15

				457106.429		601595.501		153		1256				1530		1269		153		457106.429		1530		456898.357		153		601595.501		1530		602956.165		1530		456898.357		602956.165		1269		15

				457106.278		601596.489		154		1256				1540		1269.116		154		457106.278		1540		456896.846		154		601596.489		1540		602966.046		1540		456896.846		602966.046		1269.116		15.116

				457106.127		601597.477		155		1256				1550		1269.327		155		457106.127		1550		456895.335		155		601597.477		1550		602975.927		1550		456895.335		602975.927		1269.327		15.327

				457105.976		601598.465		156		1256.121				1560		1269.513		156		457105.976		1560		456893.824		156		601598.465		1560		602985.809		1560		456893.824		602985.809		1269.513		15.513

				457105.825		601599.454		157		1256.296				1570		1269.725		157		457105.825		1570		456892.313		157		601599.454		1570		602995.69		1570		456892.313		602995.69		1269.725		15.725

				457105.674		601600.442		158		1256.329				1580		1269.936		158		457105.674		1580		456890.802		158		601600.442		1580		603005.571		1580		456890.802		603005.571		1269.936		15.936

				457105.523		601601.43		159		1256.493				1590		1270.013		159		457105.523		1590		456889.291		159		601601.43		1590		603015.453		1590		456889.291		603015.453		1270.013		16.013

				457105.372		601602.418		160		1256.658				1600		1270.223		160		457105.372		1600		456887.78		160		601602.418		1600		603025.334		1600		456887.78		603025.334		1270.223		16.223

				457105.221		601603.406		161		1256.782				1610		1270.42		161		457105.221		1610		456886.269		161		601603.406		1610		603035.215		1610		456886.269		603035.215		1270.42		16.42

				457105.069		601604.394		162		1256.891				1620		1270.617		162		457105.069		1620		456884.758		162		601604.394		1620		603045.097		1620		456884.758		603045.097		1270.617		16.617

				457104.918		601605.382		163		1256.992				1630		1270.791		163		457104.918		1630		456883.247		163		601605.382		1630		603054.978		1630		456883.247		603054.978		1270.791		16.791

				457104.767		601606.371		164		1256.992				1640		1270.98		164		457104.767		1640		456881.736		164		601606.371		1640		603064.859		1640		456881.736		603064.859		1270.98		16.98

				457104.616		601607.359		165		1256.992				1650		1271		165		457104.616		1650		456880.224		165		601607.359		1650		603074.741		1650		456880.224		603074.741		1271		17

				457104.465		601608.347		166		1256.992				1660		1271.075		166		457104.465		1660		456878.713		166		601608.347		1660		603084.622		1660		456878.713		603084.622		1271.075		17.075

				457104.314		601609.335		167		1256.983				1670		1271.237		167		457104.314		1670		456877.202		167		601609.335		1670		603094.504		1670		456877.202		603094.504		1271.237		17.237

				457104.163		601610.323		168		1256.983				1680		1271.399		168		457104.163		1680		456875.691		168		601610.323		1680		603104.385		1680		456875.691		603104.385		1271.399		17.399

				457104.012		601611.311		169		1256.939				1690		1271.561		169		457104.012		1690		456874.18		169		601611.311		1690		603114.266		1690		456874.18		603114.266		1271.561		17.561

				457103.861		601612.299		170		1256.875				1700		1271.706		170		457103.861		1700		456872.669		170		601612.299		1700		603124.148		1700		456872.669		603124.148		1271.706		17.706

				457103.71		601613.287		171		1256.811				1710		1271.868		171		457103.71		1710		456871.158		171		601613.287		1710		603134.029		1710		456871.158		603134.029		1271.868		17.868

				457103.558		601614.276		172		1256.754				1720		1272		172		457103.558		1720		456869.647		172		601614.276		1720		603143.91		1720		456869.647		603143.91		1272		18

				457103.407		601615.264		173		1256.754				1730		1272		173		457103.407		1730		456868.136		173		601615.264		1730		603153.792		1730		456868.136		603153.792		1272		18

				457103.256		601616.252		174		1256.72				1742.3		1272		174		457103.256		1742.3		456866.284		174		601616.252		1742.3		603165.902		1742.3		456866.284		603165.902		1272		18		8.87

				457103.105		601617.24		175		1256.683						1254.633		175		457103.105		0		457129.549		175		601617.24		0		601444.316		0		457129.549		601444.316		1254.633

				457102.954		601618.228		176		1256.643						1254.633		176		457102.954		0		457129.549		176		601618.228		0		601444.316		0		457129.549		601444.316		1254.633

				457102.803		601619.216		177		1256.594						1254.633		177		457102.803		0		457129.549		177		601619.216		0		601444.316		0		457129.549		601444.316		1254.633

				457102.652		601620.204		178		1256.532						1254.633		178		457102.652		0		457129.549		178		601620.204		0		601444.316		0		457129.549		601444.316		1254.633

				457102.501		601621.193		179		1256.468						1254.633		179		457102.501		0		457129.549		179		601621.193		0		601444.316		0		457129.549		601444.316		1254.633

				457102.35		601622.181		180		1256.411						1254.633		180		457102.35		0		457129.549		180		601622.181		0		601444.316		0		457129.549		601444.316		1254.633

				457102.198		601623.169		181		1256.411						1254.633		181		457102.198		0		457129.549		181		601623.169		0		601444.316		0		457129.549		601444.316		1254.633

				457102.047		601624.157		182		1256.377						1254.633		182		457102.047		0		457129.549		182		601624.157		0		601444.316		0		457129.549		601444.316		1254.633

				457101.896		601625.145		183		1256.343						1254.633		183		457101.896		0		457129.549		183		601625.145		0		601444.316		0		457129.549		601444.316		1254.633

				457101.745		601626.133		184		1256.304						1254.633		184		457101.745		0		457129.549		184		601626.133		0		601444.316		0		457129.549		601444.316		1254.633

				457101.594		601627.121		185		1256.249						1254.633		185		457101.594		0		457129.549		185		601627.121		0		601444.316		0		457129.549		601444.316		1254.633

				457101.443		601628.11		186		1256.189						1254.633		186		457101.443		0		457129.549		186		601628.11		0		601444.316		0		457129.549		601444.316		1254.633

				457101.292		601629.098		187		1256.125						1254.633		187		457101.292		0		457129.549		187		601629.098		0		601444.316		0		457129.549		601444.316		1254.633

				457101.141		601630.086		188		1256.068						1254.633		188		457101.141		0		457129.549		188		601630.086		0		601444.316		0		457129.549		601444.316		1254.633

				457100.99		601631.074		189		1256.068						1254.633		189		457100.99		0		457129.549		189		601631.074		0		601444.316		0		457129.549		601444.316		1254.633

				457100.839		601632.062		190		1256.034						1254.633		190		457100.839		0		457129.549		190		601632.062		0		601444.316		0		457129.549		601444.316		1254.633

				457100.687		601633.05		191		1256						1254.633		191		457100.687		0		457129.549		191		601633.05		0		601444.316		0		457129.549		601444.316		1254.633

				457100.536		601634.038		192		1256						1254.633		192		457100.536		0		457129.549		192		601634.038		0		601444.316		0		457129.549		601444.316		1254.633

				457100.385		601635.026		193		1256						1254.633		193		457100.385		0		457129.549		193		601635.026		0		601444.316		0		457129.549		601444.316		1254.633

				457100.234		601636.015		194		1256						1254.633		194		457100.234		0		457129.549		194		601636.015		0		601444.316		0		457129.549		601444.316		1254.633

				457100.083		601637.003		195		1256						1254.633		195		457100.083		0		457129.549		195		601637.003		0		601444.316		0		457129.549		601444.316		1254.633

				457099.932		601637.991		196		1256						1254.633		196		457099.932		0		457129.549		196		601637.991		0		601444.316		0		457129.549		601444.316		1254.633

				457099.781		601638.979		197		1256						1254.633		197		457099.781		0		457129.549		197		601638.979		0		601444.316		0		457129.549		601444.316		1254.633

				457099.63		601639.967		198		1256						1254.633		198		457099.63		0		457129.549		198		601639.967		0		601444.316		0		457129.549		601444.316		1254.633

				457099.479		601640.955		199		1256						1254.633		199		457099.479		0		457129.549		199		601640.955		0		601444.316		0		457129.549		601444.316		1254.633

				457099.327		601641.943		200		1256						1254.633		200		457099.327		0		457129.549		200		601641.943		0		601444.316		0		457129.549		601444.316		1254.633

				457099.176		601642.932		201		1256						1254.633		201		457099.176		0		457129.549		201		601642.932		0		601444.316		0		457129.549		601444.316		1254.633

				457099.025		601643.92		202		1256						1254.633		202		457099.025		0		457129.549		202		601643.92		0		601444.316		0		457129.549		601444.316		1254.633

				457098.874		601644.908		203		1256						1254.633		203		457098.874		0		457129.549		203		601644.908		0		601444.316		0		457129.549		601444.316		1254.633

				457098.723		601645.896		204		1256						1254.633		204		457098.723		0		457129.549		204		601645.896		0		601444.316		0		457129.549		601444.316		1254.633

				457098.572		601646.884		205		1256						1254.633		205		457098.572		0		457129.549		205		601646.884		0		601444.316		0		457129.549		601444.316		1254.633

				457098.421		601647.872		206		1256						1254.633		206		457098.421		0		457129.549		206		601647.872		0		601444.316		0		457129.549		601444.316		1254.633

				457098.27		601648.86		207		1256						1254.633		207		457098.27		0		457129.549		207		601648.86		0		601444.316		0		457129.549		601444.316		1254.633

				457098.119		601649.849		208		1256						1254.633		208		457098.119		0		457129.549		208		601649.849		0		601444.316		0		457129.549		601444.316		1254.633

				457097.968		601650.837		209		1256						1254.633		209		457097.968		0		457129.549		209		601650.837		0		601444.316		0		457129.549		601444.316		1254.633

				457097.816		601651.825		210		1256						1254.633		210		457097.816		0		457129.549		210		601651.825		0		601444.316		0		457129.549		601444.316		1254.633

				457097.665		601652.813		211		1256						1254.633		211		457097.665		0		457129.549		211		601652.813		0		601444.316		0		457129.549		601444.316		1254.633

				457097.514		601653.801		212		1256.017						1254.633		212		457097.514		0		457129.549		212		601653.801		0		601444.316		0		457129.549		601444.316		1254.633

				457097.363		601654.789		213		1256.048						1254.633		213		457097.363		0		457129.549		213		601654.789		0		601444.316		0		457129.549		601444.316		1254.633

				457097.212		601655.777		214		1256.079						1254.633		214		457097.212		0		457129.549		214		601655.777		0		601444.316		0		457129.549		601444.316		1254.633

				457097.061		601656.765		215		1256.11						1254.633		215		457097.061		0		457129.549		215		601656.765		0		601444.316		0		457129.549		601444.316		1254.633

				457096.91		601657.754		216		1256.142						1254.633		216		457096.91		0		457129.549		216		601657.754		0		601444.316		0		457129.549		601444.316		1254.633

				457096.759		601658.742		217		1256.174						1254.633		217		457096.759		0		457129.549		217		601658.742		0		601444.316		0		457129.549		601444.316		1254.633

				457096.608		601659.73		218		1256.206						1254.633		218		457096.608		0		457129.549		218		601659.73		0		601444.316		0		457129.549		601444.316		1254.633

				457096.456		601660.718		219		1256.233						1254.633		219		457096.456		0		457129.549		219		601660.718		0		601444.316		0		457129.549		601444.316		1254.633

				457096.305		601661.706		220		1256.263						1254.633		220		457096.305		0		457129.549		220		601661.706		0		601444.316		0		457129.549		601444.316		1254.633

				457096.154		601662.694		221		1256.291						1254.633		221		457096.154		0		457129.549		221		601662.694		0		601444.316		0		457129.549		601444.316		1254.633

				457096.003		601663.682		222		1256.318						1254.633		222		457096.003		0		457129.549		222		601663.682		0		601444.316		0		457129.549		601444.316		1254.633

				457095.852		601664.671		223		1256.347						1254.633		223		457095.852		0		457129.549		223		601664.671		0		601444.316		0		457129.549		601444.316		1254.633

				457095.701		601665.659		224		1256.38						1254.633		224		457095.701		0		457129.549		224		601665.659		0		601444.316		0		457129.549		601444.316		1254.633

				457095.55		601666.647		225		1256.409						1254.633		225		457095.55		0		457129.549		225		601666.647		0		601444.316		0		457129.549		601444.316		1254.633

				457095.399		601667.635		226		1256.437						1254.633		226		457095.399		0		457129.549		226		601667.635		0		601444.316		0		457129.549		601444.316		1254.633

				457095.248		601668.623		227		1256.437						1254.633		227		457095.248		0		457129.549		227		601668.623		0		601444.316		0		457129.549		601444.316		1254.633

				457095.097		601669.611		228		1256.464						1254.633		228		457095.097		0		457129.549		228		601669.611		0		601444.316		0		457129.549		601444.316		1254.633

				457094.945		601670.599		229		1256.521						1254.633		229		457094.945		0		457129.549		229		601670.599		0		601444.316		0		457129.549		601444.316		1254.633

				457094.794		601671.588		230		1256.548						1254.633		230		457094.794		0		457129.549		230		601671.588		0		601444.316		0		457129.549		601444.316		1254.633

				457094.643		601672.576		231		1256.576						1254.633		231		457094.643		0		457129.549		231		601672.576		0		601444.316		0		457129.549		601444.316		1254.633

				457094.492		601673.564		232		1256.603						1254.633		232		457094.492		0		457129.549		232		601673.564		0		601444.316		0		457129.549		601444.316		1254.633

				457094.341		601674.552		233		1256.63						1254.633		233		457094.341		0		457129.549		233		601674.552		0		601444.316		0		457129.549		601444.316		1254.633

				457094.19		601675.54		234		1256.663						1254.633		234		457094.19		0		457129.549		234		601675.54		0		601444.316		0		457129.549		601444.316		1254.633

				457094.039		601676.528		235		1256.663						1254.633		235		457094.039		0		457129.549		235		601676.528		0		601444.316		0		457129.549		601444.316		1254.633

				457093.888		601677.516		236		1256.691						1254.633		236		457093.888				457129.549		236		601677.516		0		601444.316		0		457129.549		601444.316		1254.633

				457093.737		601678.504		237		1256.718						1254.633		237		457093.737				457129.549		237		601678.504		0		601444.316		0		457129.549		601444.316		1254.633

				457093.585		601679.493		238		1256.773						1254.633		238		457093.585				457129.549		238		601679.493		0		601444.316		0		457129.549		601444.316		1254.633

				457093.434		601680.481		239		1256.8						1254.633		239		457093.434				457129.549		239		601680.481		0		601444.316		0		457129.549		601444.316		1254.633

				457093.283		601681.469		240		1256.828						1254.633		240		457093.283				457129.549		240		601681.469		0		601444.316		0		457129.549		601444.316		1254.633

				457093.132		601682.457		241		1256.855						1254.633		241		457093.132				457129.549		241		601682.457		0		601444.316		0		457129.549		601444.316		1254.633

				457092.981		601683.445		242		1256.882						1254.633		242		457092.981				457129.549		242		601683.445		0		601444.316		0		457129.549		601444.316		1254.633

				457092.83		601684.433		243		1256.882						1254.633		243		457092.83				457129.549		243		601684.433		0		601444.316		0		457129.549		601444.316		1254.633

				457092.679		601685.421		244		1256.91						1254.633		244		457092.679				457129.549		244		601685.421		0		601444.316		0		457129.549		601444.316		1254.633

				457092.528		601686.41		245		1256.938						1254.633		245		457092.528				457129.549		245		601686.41		0		601444.316		0		457129.549		601444.316		1254.633

				457092.377		601687.398		246		1256.965						1254.633		246		457092.377				457129.549		246		601687.398		0		601444.316		0		457129.549		601444.316		1254.633

				457092.226		601688.386		247		1257.011						1254.633		247		457092.226				457129.549		247		601688.386		0		601444.316		0		457129.549		601444.316		1254.633

				457092.074		601689.374		248		1257.027						1254.633		248		457092.074				457129.549		248		601689.374		0		601444.316		0		457129.549		601444.316		1254.633

				457091.923		601690.362		249		1257.042						1254.633		249		457091.923				457129.549		249		601690.362		0		601444.316		0		457129.549		601444.316		1254.633

				457091.772		601691.35		250		1257.058						1254.633		250		457091.772				457129.549		250		601691.35		0		601444.316		0		457129.549		601444.316		1254.633

				457091.621		601692.338		251		1257.058						1254.633		251		457091.621				457129.549		251		601692.338		0		601444.316		0		457129.549		601444.316		1254.633

				457091.47		601693.327		252		1257.074						1254.633		252		457091.47				457129.549		252		601693.327		0		601444.316		0		457129.549		601444.316		1254.633

				457091.319		601694.315		253		1257.089						1254.633		253		457091.319				457129.549		253		601694.315		0		601444.316		0		457129.549		601444.316		1254.633

				457091.168		601695.303		254		1257.105						1254.633		254		457091.168				457129.549		254		601695.303		0		601444.316		0		457129.549		601444.316		1254.633

				457091.017		601696.291		255		1257.121						1254.633		255		457091.017				457129.549		255		601696.291		0		601444.316		0		457129.549		601444.316		1254.633

				457090.866		601697.279		256		1257.152						1254.633		256		457090.866				457129.549		256		601697.279		0		601444.316		0		457129.549		601444.316		1254.633

				457090.714		601698.267		257		1257.167						1254.633		257		457090.714				457129.549		257		601698.267		0		601444.316		0		457129.549		601444.316		1254.633

				457090.563		601699.255		258		1257.167						1254.633		258		457090.563				457129.549		258		601699.255		0		601444.316		0		457129.549		601444.316		1254.633

				457090.412		601700.243		259		1257.183						1254.633		259		457090.412				457129.549		259		601700.243		0		601444.316		0		457129.549		601444.316		1254.633

				457090.261		601701.232		260		1257.199						1254.633		260		457090.261				457129.549		260		601701.232		0		601444.316		0		457129.549		601444.316		1254.633

				457090.11		601702.22		261		1257.215						1254.633		261		457090.11				457129.549		261		601702.22		0		601444.316		0		457129.549		601444.316		1254.633

				457089.959		601703.208		262		1257.231						1254.633		262		457089.959				457129.549		262		601703.208		0		601444.316		0		457129.549		601444.316		1254.633

				457089.808		601704.196		263		1257.247						1254.633		263		457089.808				457129.549		263		601704.196		0		601444.316		0		457129.549		601444.316		1254.633

				457089.657		601705.184		264		1257.263						1254.633		264		457089.657				457129.549		264		601705.184		0		601444.316		0		457129.549		601444.316		1254.633

				457089.506		601706.172		265		1257.293						1254.633		265		457089.506				457129.549		265		601706.172		0		601444.316		0		457129.549		601444.316		1254.633

				457089.355		601707.16		266		1257.293						1254.633		266		457089.355				457129.549		266		601707.16		0		601444.316		0		457129.549		601444.316		1254.633

				457089.203		601708.149		267		1257.309						1254.633		267		457089.203				457129.549		267		601708.149		0		601444.316		0		457129.549		601444.316		1254.633

				457089.052		601709.137		268		1257.325						1254.633		268		457089.052				457129.549		268		601709.137		0		601444.316		0		457129.549		601444.316		1254.633

				457088.901		601710.125		269		1257.342						1254.633		269		457088.901				457129.549		269		601710.125		0		601444.316		0		457129.549		601444.316		1254.633

				457088.75		601711.113		270		1257.358						1254.633		270		457088.75				457129.549		270		601711.113		0		601444.316		0		457129.549		601444.316		1254.633

				457088.599		601712.101		271		1257.374						1254.633		271		457088.599				457129.549		271		601712.101		0		601444.316		0		457129.549		601444.316		1254.633

				457088.448		601713.089		272		1257.39						1254.633		272		457088.448				457129.549		272		601713.089		0		601444.316		0		457129.549		601444.316		1254.633

				457088.297		601714.077		273		1257.407						1254.633		273		457088.297				457129.549		273		601714.077		0		601444.316		0		457129.549		601444.316		1254.633

				457088.146		601715.066		274		1257.42						1254.633		274		457088.146				457129.549		274		601715.066		0		601444.316		0		457129.549		601444.316		1254.633

				457087.995		601716.054		275		1257.437						1254.633		275		457087.995				457129.549		275		601716.054		0		601444.316		0		457129.549		601444.316		1254.633

				457087.843		601717.042		276		1257.453						1254.633		276		457087.843				457129.549		276		601717.042		0		601444.316		0		457129.549		601444.316		1254.633

				457087.692		601718.03		277		1257.469						1254.633		277		457087.692				457129.549		277		601718.03		0		601444.316		0		457129.549		601444.316		1254.633

				457087.541		601719.018		278		1257.486						1254.633		278		457087.541				457129.549		278		601719.018		0		601444.316		0		457129.549		601444.316		1254.633

				457087.39		601720.006		279		1257.502						1254.633		279		457087.39				457129.549		279		601720.006		0		601444.316		0		457129.549		601444.316		1254.633

				457087.239		601720.994		280		1257.518						1254.633		280		457087.239				457129.549		280		601720.994		0		601444.316		0		457129.549		601444.316		1254.633

				457087.088		601721.982		281		1257.535						1254.633		281		457087.088				457129.549		281		601721.982		0		601444.316		0		457129.549		601444.316		1254.633

				457086.937		601722.971		282		1257.548						1254.633		282		457086.937				457129.549		282		601722.971		0		601444.316		0		457129.549		601444.316		1254.633

				457086.786		601723.959		283		1257.565						1254.633		283		457086.786				457129.549		283		601723.959		0		601444.316		0		457129.549		601444.316		1254.633

				457086.635		601724.947		284		1257.581						1254.633		284		457086.635				457129.549		284		601724.947		0		601444.316		0		457129.549		601444.316		1254.633

				457086.483		601725.935		285		1257.598						1254.633		285		457086.483				457129.549		285		601725.935		0		601444.316		0		457129.549		601444.316		1254.633

				457086.332		601726.923		286		1257.614						1254.633		286		457086.332				457129.549		286		601726.923		0		601444.316		0		457129.549		601444.316		1254.633

				457086.181		601727.911		287		1257.631						1254.633		287		457086.181				457129.549		287		601727.911		0		601444.316		0		457129.549		601444.316		1254.633

				457086.03		601728.899		288		1257.648						1254.633		288		457086.03				457129.549		288		601728.899		0		601444.316		0		457129.549		601444.316		1254.633

				457085.879		601729.888		289		1257.648						1254.633		289		457085.879				457129.549		289		601729.888		0		601444.316		0		457129.549		601444.316		1254.633

				457085.728		601730.876		290		1257.665						1254.633		290		457085.728				457129.549		290		601730.876		0		601444.316		0		457129.549		601444.316		1254.633

				457085.577		601731.864		291		1257.694						1254.633		291		457085.577				457129.549		291		601731.864		0		601444.316		0		457129.549		601444.316		1254.633

				457085.426		601732.852		292		1257.711						1254.633		292		457085.426				457129.549		292		601732.852		0		601444.316		0		457129.549		601444.316		1254.633

				457085.275		601733.84		293		1257.728						1254.633		293		457085.275				457129.549		293		601733.84		0		601444.316		0		457129.549		601444.316		1254.633

				457085.124		601734.828		294		1257.744						1254.633		294		457085.124				457129.549		294		601734.828		0		601444.316		0		457129.549		601444.316		1254.633

				457084.972		601735.816		295		1257.761						1254.633		295		457084.972				457129.549		295		601735.816		0		601444.316		0		457129.549		601444.316		1254.633

				457084.821		601736.805		296		1257.778						1254.633		296		457084.821				457129.549		296		601736.805		0		601444.316		0		457129.549		601444.316		1254.633

				457084.67		601737.793		297		1257.778						1254.633		297		457084.67				457129.549		297		601737.793		0		601444.316		0		457129.549		601444.316		1254.633

				457084.519		601738.781		298		1257.795						1254.633		298		457084.519				457129.549		298		601738.781		0		601444.316		0		457129.549		601444.316		1254.633

				457084.368		601739.769		299		1257.812						1254.633		299		457084.368				457129.549		299		601739.769		0		601444.316		0		457129.549		601444.316		1254.633

				457084.217		601740.757		300		1257.841						1254.633		300		457084.217				457129.549		300		601740.757		0		601444.316		0		457129.549		601444.316		1254.633

				457084.066		601741.745		301		1257.858						1254.633		301		457084.066				457129.549		301		601741.745		0		601444.316		0		457129.549		601444.316		1254.633

				457083.915		601742.733		302		1257.875						1254.633		302		457083.915				457129.549		302		601742.733		0		601444.316		0		457129.549		601444.316		1254.633

				457083.764		601743.721		303		1257.893						1254.633		303		457083.764				457129.549		303		601743.721		0		601444.316		0		457129.549		601444.316		1254.633

				457083.612		601744.71		304		1257.91						1254.633		304		457083.612				457129.549		304		601744.71		0		601444.316		0		457129.549		601444.316		1254.633

				457083.461		601745.698		305		1257.91						1254.633		305		457083.461				457129.549		305		601745.698		0		601444.316		0		457129.549		601444.316		1254.633

				457083.31		601746.686		306		1257.927						1254.633		306		457083.31				457129.549		306		601746.686		0		601444.316		0		457129.549		601444.316		1254.633

				457083.159		601747.674		307		1257.944						1254.633		307		457083.159				457129.549		307		601747.674		0		601444.316		0		457129.549		601444.316		1254.633

				457083.008		601748.662		308		1257.961						1254.633		308		457083.008				457129.549		308		601748.662		0		601444.316		0		457129.549		601444.316		1254.633

				457082.857		601749.65		309		1257.99						1254.633		309		457082.857				457129.549		309		601749.65		0		601444.316		0		457129.549		601444.316		1254.633

				457082.706		601750.638		310		1258.007						1254.633		310		457082.706				457129.549		310		601750.638		0		601444.316		0		457129.549		601444.316		1254.633

				457082.555		601751.627		311		1258.024						1254.633		311		457082.555				457129.549		311		601751.627		0		601444.316		0		457129.549		601444.316		1254.633

				457082.404		601752.615		312		1258.041						1254.633		312		457082.404				457129.549		312		601752.615		0		601444.316		0		457129.549		601444.316		1254.633

				457082.253		601753.603		313		1258.041						1254.633		313		457082.253				457129.549		313		601753.603		0		601444.316		0		457129.549		601444.316		1254.633

				457082.101		601754.591		314		1258.058						1254.633		314		457082.101				457129.549		314		601754.591		0		601444.316		0		457129.549		601444.316		1254.633

				457081.95		601755.579		315		1258.075						1254.633		315		457081.95				457129.549		315		601755.579		0		601444.316		0		457129.549		601444.316		1254.633

				457081.799		601756.567		316		1258.092						1254.633		316		457081.799				457129.549		316		601756.567		0		601444.316		0		457129.549		601444.316		1254.633

				457081.648		601757.555		317		1258.109						1254.633		317		457081.648				457129.549		317		601757.555		0		601444.316		0		457129.549		601444.316		1254.633

				457081.497		601758.544		318		1258.138						1254.633		318		457081.497				457129.549		318		601758.544		0		601444.316		0		457129.549		601444.316		1254.633

				457081.346		601759.532		319		1258.155						1254.633		319		457081.346				457129.549		319		601759.532		0		601444.316		0		457129.549		601444.316		1254.633

				457081.195		601760.52		320		1258.155						1254.633		320		457081.195				457129.549		320		601760.52		0		601444.316		0		457129.549		601444.316		1254.633

				457081.044		601761.508		321		1258.172						1254.633		321		457081.044				457129.549		321		601761.508		0		601444.316		0		457129.549		601444.316		1254.633

				457080.893		601762.496		322		1258.189						1254.633		322		457080.893				457129.549		322		601762.496		0		601444.316		0		457129.549		601444.316		1254.633

				457080.741		601763.484		323		1258.207						1254.633		323		457080.741				457129.549		323		601763.484		0		601444.316		0		457129.549		601444.316		1254.633

				457080.59		601764.472		324		1258.224						1254.633		324		457080.59				457129.549		324		601764.472		0		601444.316		0		457129.549		601444.316		1254.633

				457080.439		601765.46		325		1258.241						1254.633		325		457080.439				457129.549		325		601765.46		0		601444.316		0		457129.549		601444.316		1254.633

				457080.288		601766.449		326		1258.259						1254.633		326		457080.288				457129.549		326		601766.449		0		601444.316		0		457129.549		601444.316		1254.633

				457080.137		601767.437		327		1258.287						1254.633		327		457080.137				457129.549		327		601767.437		0		601444.316		0		457129.549		601444.316		1254.633

				457079.986		601768.425		328		1258.287						1254.633		328		457079.986				457129.549		328		601768.425		0		601444.316		0		457129.549		601444.316		1254.633

				457079.835		601769.413		329		1258.305						1254.633		329		457079.835				457129.549		329		601769.413		0		601444.316		0		457129.549		601444.316		1254.633

				457079.684		601770.401		330		1258.322						1254.633		330		457079.684				457129.549		330		601770.401		0		601444.316		0		457129.549		601444.316		1254.633

				457079.533		601771.389		331		1258.339						1254.633		331		457079.533				457129.549		331		601771.389		0		601444.316		0		457129.549		601444.316		1254.633

				457079.382		601772.377		332		1258.357						1254.633		332		457079.382				457129.549		332		601772.377		0		601444.316		0		457129.549		601444.316		1254.633

				457079.23		601773.366		333		1258.374						1254.633		333		457079.23				457129.549		333		601773.366		0		601444.316		0		457129.549		601444.316		1254.633

				457079.079		601774.354		334		1258.392						1254.633		334		457079.079				457129.549		334		601774.354		0		601444.316		0		457129.549		601444.316		1254.633

				457078.928		601775.342		335		1258.409						1254.633		335		457078.928				457129.549		335		601775.342		0		601444.316		0		457129.549		601444.316		1254.633

				457078.777		601776.33		336		1258.42						1254.633		336		457078.777				457129.549		336		601776.33		0		601444.316		0		457129.549		601444.316		1254.633

				457078.626		601777.318		337		1258.438						1254.633		337		457078.626				457129.549		337		601777.318		0		601444.316		0		457129.549		601444.316		1254.633

				457078.475		601778.306		338		1258.455						1254.633		338		457078.475				457129.549		338		601778.306		0		601444.316		0		457129.549		601444.316		1254.633

				457078.324		601779.294		339		1258.473						1254.633		339		457078.324				457129.549		339		601779.294		0		601444.316		0		457129.549		601444.316		1254.633

				457078.173		601780.282		340		1258.49						1254.633		340		457078.173				457129.549		340		601780.282		0		601444.316		0		457129.549		601444.316		1254.633

				457078.022		601781.271		341		1258.508						1254.633		341		457078.022				457129.549		341		601781.271		0		601444.316		0		457129.549		601444.316		1254.633

				457077.87		601782.259		342		1258.525						1254.633		342		457077.87				457129.549		342		601782.259		0		601444.316		0		457129.549		601444.316		1254.633

				457077.719		601783.247		343		1258.543						1254.633		343		457077.719				457129.549		343		601783.247		0		601444.316		0		457129.549		601444.316		1254.633

				457077.568		601784.235		344		1258.543						1254.633		344		457077.568				457129.549		344		601784.235		0		601444.316		0		457129.549		601444.316		1254.633

				457077.417		601785.223		345		1258.571						1254.633		345		457077.417				457129.549		345		601785.223		0		601444.316		0		457129.549		601444.316		1254.633

				457077.266		601786.211		346		1258.589						1254.633		346		457077.266				457129.549		346		601786.211		0		601444.316		0		457129.549		601444.316		1254.633

				457077.115		601787.199		347		1258.607						1254.633		347		457077.115				457129.549		347		601787.199		0		601444.316		0		457129.549		601444.316		1254.633

				457076.964		601788.188		348		1258.624						1254.633		348		457076.964				457129.549		348		601788.188		0		601444.316		0		457129.549		601444.316		1254.633

				457076.813		601789.176		349		1258.642						1254.633		349		457076.813				457129.549		349		601789.176		0		601444.316		0		457129.549		601444.316		1254.633

				457076.662		601790.164		350		1258.66						1254.633		350		457076.662				457129.549		350		601790.164		0		601444.316		0		457129.549		601444.316		1254.633

				457076.511		601791.152		351		1258.66						1254.633		351		457076.511				457129.549		351		601791.152		0		601444.316		0		457129.549		601444.316		1254.633

				457076.359		601792.14		352		1258.678						1254.633		352		457076.359				457129.549		352		601792.14		0		601444.316		0		457129.549		601444.316		1254.633

				457076.208		601793.128		353		1258.706						1254.633		353		457076.208				457129.549		353		601793.128		0		601444.316		0		457129.549		601444.316		1254.633

				457076.057		601794.116		354		1258.724						1254.633		354		457076.057				457129.549		354		601794.116		0		601444.316		0		457129.549		601444.316		1254.633

				457075.906		601795.105		355		1258.741						1254.633		355		457075.906				457129.549		355		601795.105		0		601444.316		0		457129.549		601444.316		1254.633

				457075.755		601796.093		356		1258.759						1254.633		356		457075.755				457129.549		356		601796.093		0		601444.316		0		457129.549		601444.316		1254.633

				457075.604		601797.081		357		1258.777						1254.633		357		457075.604				457129.549		357		601797.081		0		601444.316		0		457129.549		601444.316		1254.633

				457075.453		601798.069		358		1258.795						1254.633		358		457075.453				457129.549		358		601798.069		0		601444.316		0		457129.549		601444.316		1254.633

				457075.302		601799.057		359		1258.795						1254.633		359		457075.302				457129.549		359		601799.057		0		601444.316		0		457129.549		601444.316		1254.633

				457075.151		601800.045		360		1258.813						1254.633		360		457075.151				457129.549		360		601800.045		0		601444.316		0		457129.549		601444.316		1254.633

				457074.999		601801.033		361		1258.83						1254.633		361		457074.999				457129.549		361		601801.033		0		601444.316		0		457129.549		601444.316		1254.633

				457074.848		601802.021		362		1258.859						1254.633		362		457074.848				457129.549		362		601802.021		0		601444.316		0		457129.549		601444.316		1254.633

				457074.697		601803.01		363		1258.876						1254.633		363		457074.697				457129.549		363		601803.01		0		601444.316		0		457129.549		601444.316		1254.633

				457074.546		601803.998		364		1258.894						1254.633		364		457074.546				457129.549		364		601803.998		0		601444.316		0		457129.549		601444.316		1254.633

				457074.395		601804.986		365		1258.912						1254.633		365		457074.395				457129.549		365		601804.986		0		601444.316		0		457129.549		601444.316		1254.633

				457074.244		601805.974		366		1258.93						1254.633		366		457074.244				457129.549		366		601805.974		0		601444.316		0		457129.549		601444.316		1254.633

				457074.093		601806.962		367		1258.93						1254.633		367		457074.093				457129.549		367		601806.962		0		601444.316		0		457129.549		601444.316		1254.633

				457073.942		601807.95		368		1258.948						1254.633		368		457073.942				457129.549		368		601807.95		0		601444.316		0		457129.549		601444.316		1254.633

				457073.791		601808.938		369		1258.966						1254.633		369		457073.791				457129.549		369		601808.938		0		601444.316		0		457129.549		601444.316		1254.633

				457073.64		601809.927		370		1258.984						1254.633		370		457073.64				457129.549		370		601809.927		0		601444.316		0		457129.549		601444.316		1254.633

				457073.488		601810.915		371		1259.012						1254.633		371		457073.488				457129.549		371		601810.915		0		601444.316		0		457129.549		601444.316		1254.633

				457073.337		601811.903		372		1259.029						1254.633		372		457073.337				457129.549		372		601811.903		0		601444.316		0		457129.549		601444.316		1254.633

				457073.186		601812.891		373		1259.047						1254.633		373		457073.186				457129.549		373		601812.891		0		601444.316		0		457129.549		601444.316		1254.633

				457073.035		601813.879		374		1259.047						1254.633		374		457073.035				457129.549		374		601813.879		0		601444.316		0		457129.549		601444.316		1254.633

				457072.884		601814.867		375		1259.064						1254.633		375		457072.884				457129.549		375		601814.867		0		601444.316		0		457129.549		601444.316		1254.633

				457072.733		601815.855		376		1259.082						1254.633		376		457072.733				457129.549		376		601815.855		0		601444.316		0		457129.549		601444.316		1254.633

				457072.582		601816.844		377		1259.1						1254.633		377		457072.582				457129.549		377		601816.844		0		601444.316		0		457129.549		601444.316		1254.633

				457072.431		601817.832		378		1259.117						1254.633		378		457072.431				457129.549		378		601817.832		0		601444.316		0		457129.549		601444.316		1254.633

				457072.28		601818.82		379		1259.135						1254.633		379		457072.28				457129.549		379		601818.82		0		601444.316		0		457129.549		601444.316		1254.633

				457072.128		601819.808		380		1259.162						1254.633		380		457072.128				457129.549		380		601819.808		0		601444.316		0		457129.549		601444.316		1254.633

				457071.977		601820.796		381		1259.18						1254.633		381		457071.977				457129.549		381		601820.796		0		601444.316		0		457129.549		601444.316		1254.633

				457071.826		601821.784		382		1259.18						1254.633		382		457071.826				457129.549		382		601821.784		0		601444.316		0		457129.549		601444.316		1254.633

				457071.675		601822.772		383		1259.197						1254.633		383		457071.675				457129.549		383		601822.772		0		601444.316		0		457129.549		601444.316		1254.633

				457071.524		601823.76		384		1259.215						1254.633		384		457071.524				457129.549		384		601823.76		0		601444.316		0		457129.549		601444.316		1254.633

				457071.373		601824.749		385		1259.233						1254.633		385		457071.373				457129.549		385		601824.749		0		601444.316		0		457129.549		601444.316		1254.633

				457071.222		601825.737		386		1259.251						1254.633		386		457071.222				457129.549		386		601825.737		0		601444.316		0		457129.549		601444.316		1254.633

				457071.071		601826.725		387		1259.269						1254.633		387		457071.071				457129.549		387		601826.725		0		601444.316		0		457129.549		601444.316		1254.633

				457070.92		601827.713		388		1259.286						1254.633		388		457070.92				457129.549		388		601827.713		0		601444.316		0		457129.549		601444.316		1254.633

				457070.769		601828.701		389		1259.313						1254.633		389		457070.769				457129.549		389		601828.701		0		601444.316		0		457129.549		601444.316		1254.633

				457070.617		601829.689		390		1259.313						1254.633		390		457070.617				457129.549		390		601829.689		0		601444.316		0		457129.549		601444.316		1254.633

				457070.466		601830.677		391		1259.331						1254.633		391		457070.466				457129.549		391		601830.677		0		601444.316		0		457129.549		601444.316		1254.633

				457070.315		601831.666		392		1259.349						1254.633		392		457070.315				457129.549		392		601831.666		0		601444.316		0		457129.549		601444.316		1254.633

				457070.164		601832.654		393		1259.367						1254.633		393		457070.164				457129.549		393		601832.654		0		601444.316		0		457129.549		601444.316		1254.633

				457070.013		601833.642		394		1259.385						1254.633		394		457070.013				457129.549		394		601833.642		0		601444.316		0		457129.549		601444.316		1254.633

				457069.862		601834.63		395		1259.403						1254.633		395		457069.862				457129.549		395		601834.63		0		601444.316		0		457129.549		601444.316		1254.633

				457069.711		601835.618		396		1259.42						1254.633		396		457069.711				457129.549		396		601835.618		0		601444.316		0		457129.549		601444.316		1254.633

				457069.56		601836.606		397		1259.438						1254.633		397		457069.56				457129.549		397		601836.606		0		601444.316		0		457129.549		601444.316		1254.633

				457069.409		601837.594		398		1259.447						1254.633		398		457069.409				457129.549		398		601837.594		0		601444.316		0		457129.549		601444.316		1254.633

				457069.257		601838.583		399		1259.465						1254.633		399		457069.257				457129.549		399		601838.583		0		601444.316		0		457129.549		601444.316		1254.633

				457069.106		601839.571		400		1259.483						1254.633		400		457069.106				457129.549		400		601839.571		0		601444.316		0		457129.549		601444.316		1254.633

				457068.955		601840.559		401		1259.501						1254.633		401		457068.955				457129.549		401		601840.559		0		601444.316		0		457129.549		601444.316		1254.633

				457068.804		601841.547		402		1259.519						1254.633		402		457068.804				457129.549		402		601841.547		0		601444.316		0		457129.549		601444.316		1254.633

				457068.653		601842.535		403		1259.536						1254.633		403		457068.653				457129.549		403		601842.535		0		601444.316		0		457129.549		601444.316		1254.633

				457068.502		601843.523		404		1259.555						1254.633		404		457068.502				457129.549		404		601843.523		0		601444.316		0		457129.549		601444.316		1254.633

				457068.351		601844.511		405		1259.555						1254.633		405		457068.351				457129.549		405		601844.511		0		601444.316		0		457129.549		601444.316		1254.633

				457068.2		601845.499		406		1259.573						1254.633		406		457068.2				457129.549		406		601845.499		0		601444.316		0		457129.549		601444.316		1254.633

				457068.049		601846.488		407		1259.599						1254.633		407		457068.049				457129.549		407		601846.488		0		601444.316		0		457129.549		601444.316		1254.633

				457067.898		601847.476		408		1259.617						1254.633		408		457067.898				457129.549		408		601847.476		0		601444.316		0		457129.549		601444.316		1254.633

				457067.746		601848.464		409		1259.635						1254.633		409		457067.746				457129.549		409		601848.464		0		601444.316		0		457129.549		601444.316		1254.633

				457067.595		601849.452		410		1259.654						1254.633		410		457067.595				457129.549		410		601849.452		0		601444.316		0		457129.549		601444.316		1254.633

				457067.444		601850.44		411		1259.672						1254.633		411		457067.444				457129.549		411		601850.44		0		601444.316		0		457129.549		601444.316		1254.633

				457067.293		601851.428		412		1259.69						1254.633		412		457067.293				457129.549		412		601851.428		0		601444.316		0		457129.549		601444.316		1254.633

				457067.142		601852.416		413		1259.69						1254.633		413		457067.142				457129.549		413		601852.416		0		601444.316		0		457129.549		601444.316		1254.633

				457066.991		601853.405		414		1259.708						1254.633		414		457066.991				457129.549		414		601853.405		0		601444.316		0		457129.549		601444.316		1254.633

				457066.84		601854.393		415		1259.726						1254.633		415		457066.84				457129.549		415		601854.393		0		601444.316		0		457129.549		601444.316		1254.633

				457066.689		601855.381		416		1259.753						1254.633		416		457066.689				457129.549		416		601855.381		0		601444.316		0		457129.549		601444.316		1254.633

				457066.538		601856.369		417		1259.771						1254.633		417		457066.538				457129.549		417		601856.369		0		601444.316		0		457129.549		601444.316		1254.633

				457066.386		601857.357		418		1259.789						1254.633		418		457066.386				457129.549		418		601857.357		0		601444.316		0		457129.549		601444.316		1254.633

				457066.235		601858.345		419		1259.807						1254.633		419		457066.235				457129.549		419		601858.345		0		601444.316		0		457129.549		601444.316		1254.633

				457066.084		601859.333		420		1259.826						1254.633		420		457066.084				457129.549		420		601859.333		0		601444.316		0		457129.549		601444.316		1254.633

				457065.933		601860.322		421		1259.826						1254.633		421		457065.933				457129.549		421		601860.322		0		601444.316		0		457129.549		601444.316		1254.633

				457065.782		601861.31		422		1259.845						1254.633		422		457065.782				457129.549		422		601861.31		0		601444.316		0		457129.549		601444.316		1254.633

				457065.631		601862.298		423		1259.864						1254.633		423		457065.631				457129.549		423		601862.298		0		601444.316		0		457129.549		601444.316		1254.633

				457065.48		601863.286		424		1259.889						1254.633		424		457065.48				457129.549		424		601863.286		0		601444.316		0		457129.549		601444.316		1254.633

				457065.329		601864.274		425		1259.908						1254.633		425		457065.329				457129.549		425		601864.274		0		601444.316		0		457129.549		601444.316		1254.633

				457065.178		601865.262		426		1259.927						1254.633		426		457065.178				457129.549		426		601865.262		0		601444.316		0		457129.549		601444.316		1254.633

				457065.027		601866.25		427		1259.946						1254.633		427		457065.027				457129.549		427		601866.25		0		601444.316		0		457129.549		601444.316		1254.633

				457064.875		601867.238		428		1259.965						1254.633		428		457064.875				457129.549		428		601867.238		0		601444.316		0		457129.549		601444.316		1254.633

				457064.724		601868.227		429		1259.965						1254.633		429		457064.724				457129.549		429		601868.227		0		601444.316		0		457129.549		601444.316		1254.633

				457064.573		601869.215		430		1259.984						1254.633		430		457064.573				457129.549		430		601869.215		0		601444.316		0		457129.549		601444.316		1254.633

				457064.422		601870.203		431		1260.003						1254.633		431		457064.422				457129.549		431		601870.203		0		601444.316		0		457129.549		601444.316		1254.633

				457064.271		601871.191		432		1260.024						1254.633		432		457064.271				457129.549		432		601871.191		0		601444.316		0		457129.549		601444.316		1254.633

				457064.12		601872.179		433		1260.05						1254.633		433		457064.12				457129.549		433		601872.179		0		601444.316		0		457129.549		601444.316		1254.633

				457063.969		601873.167		434		1260.071						1254.633		434		457063.969				457129.549		434		601873.167		0		601444.316		0		457129.549		601444.316		1254.633

				457063.818		601874.155		435		1260.091						1254.633		435		457063.818				457129.549		435		601874.155		0		601444.316		0		457129.549		601444.316		1254.633

				457063.667		601875.144		436		1260.091						1254.633		436		457063.667				457129.549		436		601875.144		0		601444.316		0		457129.549		601444.316		1254.633

				457063.515		601876.132		437		1260.112						1254.633		437		457063.515				457129.549		437		601876.132		0		601444.316		0		457129.549		601444.316		1254.633

				457063.364		601877.12		438		1260.132						1254.633		438		457063.364				457129.549		438		601877.12		0		601444.316		0		457129.549		601444.316		1254.633

				457063.213		601878.108		439		1260.153						1254.633		439		457063.213				457129.549		439		601878.108		0		601444.316		0		457129.549		601444.316		1254.633

				457063.062		601879.096		440		1260.173						1254.633		440		457063.062				457129.549		440		601879.096		0		601444.316		0		457129.549		601444.316		1254.633

				457062.911		601880.084		441		1260.194						1254.633		441		457062.911				457129.549		441		601880.084		0		601444.316		0		457129.549		601444.316		1254.633

				457062.76		601881.072		442		1260.22						1254.633		442		457062.76				457129.549		442		601881.072		0		601444.316		0		457129.549		601444.316		1254.633

				457062.609		601882.061		443		1260.241						1254.633		443		457062.609				457129.549		443		601882.061		0		601444.316		0		457129.549		601444.316		1254.633

				457062.458		601883.049		444		1260.241						1254.633		444		457062.458				457129.549		444		601883.049		0		601444.316		0		457129.549		601444.316		1254.633

				457062.307		601884.037		445		1260.262						1254.633		445		457062.307				457129.549		445		601884.037		0		601444.316		0		457129.549		601444.316		1254.633

				457062.156		601885.025		446		1260.282						1254.633		446		457062.156				457129.549		446		601885.025		0		601444.316		0		457129.549		601444.316		1254.633

				457062.004		601886.013		447		1260.303						1254.633		447		457062.004				457129.549		447		601886.013		0		601444.316		0		457129.549		601444.316		1254.633

				457061.853		601887.001		448		1260.323						1254.633		448		457061.853				457129.549		448		601887.001		0		601444.316		0		457129.549		601444.316		1254.633

				457061.702		601887.989		449		1260.344						1254.633		449		457061.702				457129.549		449		601887.989		0		601444.316		0		457129.549		601444.316		1254.633

				457061.551		601888.977		450		1260.365						1254.633		450		457061.551				457129.549		450		601888.977		0		601444.316		0		457129.549		601444.316		1254.633

				457061.4		601889.966		451		1260.391						1254.633		451		457061.4				457129.549		451		601889.966		0		601444.316		0		457129.549		601444.316		1254.633

				457061.249		601890.954		452		1260.391						1254.633		452		457061.249				457129.549		452		601890.954		0		601444.316		0		457129.549		601444.316		1254.633

				457061.098		601891.942		453		1260.411						1254.633		453		457061.098				457129.549		453		601891.942		0		601444.316		0		457129.549		601444.316		1254.633

				457060.947		601892.93		454		1260.432						1254.633		454		457060.947				457129.549		454		601892.93		0		601444.316		0		457129.549		601444.316		1254.633

				457060.796		601893.918		455		1260.453						1254.633		455		457060.796				457129.549		455		601893.918		0		601444.316		0		457129.549		601444.316		1254.633

				457060.644		601894.906		456		1260.473						1254.633		456		457060.644				457129.549		456		601894.906		0		601444.316		0		457129.549		601444.316		1254.633

				457060.493		601895.894		457		1260.493						1254.633		457		457060.493				457129.549		457		601895.894		0		601444.316		0		457129.549		601444.316		1254.633

				457060.342		601896.883		458		1260.513						1254.633		458		457060.342				457129.549		458		601896.883		0		601444.316		0		457129.549		601444.316		1254.633

				457060.191		601897.871		459		1260.533						1254.633		459		457060.191				457129.549		459		601897.871		0		601444.316		0		457129.549		601444.316		1254.633

				457060.04		601898.859		460		1260.541						1254.633		460		457060.04				457129.549		460		601898.859		0		601444.316		0		457129.549		601444.316		1254.633

				457059.889		601899.847		461		1260.561						1254.633		461		457059.889				457129.549		461		601899.847		0		601444.316		0		457129.549		601444.316		1254.633

				457059.738		601900.835		462		1260.581						1254.633		462		457059.738				457129.549		462		601900.835		0		601444.316		0		457129.549		601444.316		1254.633

				457059.587		601901.823		463		1260.601						1254.633		463		457059.587				457129.549		463		601901.823		0		601444.316		0		457129.549		601444.316		1254.633

				457059.436		601902.811		464		1260.621						1254.633		464		457059.436				457129.549		464		601902.811		0		601444.316		0		457129.549		601444.316		1254.633

				457059.285		601903.8		465		1260.641						1254.633		465		457059.285				457129.549		465		601903.8		0		601444.316		0		457129.549		601444.316		1254.633

				457059.133		601904.788		466		1260.661						1254.633		466		457059.133				457129.549		466		601904.788		0		601444.316		0		457129.549		601444.316		1254.633

				457058.982		601905.776		467		1260.661						1254.633		467		457058.982				457129.549		467		601905.776		0		601444.316		0		457129.549		601444.316		1254.633

				457058.831		601906.764		468		1260.681						1254.633		468		457058.831				457129.549		468		601906.764		0		601444.316		0		457129.549		601444.316		1254.633

				457058.68		601907.752		469		1260.709						1254.633		469		457058.68				457129.549		469		601907.752		0		601444.316		0		457129.549		601444.316		1254.633

				457058.529		601908.74		470		1260.729						1254.633		470		457058.529				457129.549		470		601908.74		0		601444.316		0		457129.549		601444.316		1254.633

				457058.378		601909.728		471		1260.75						1254.633		471		457058.378				457129.549		471		601909.728		0		601444.316		0		457129.549		601444.316		1254.633

				457058.227		601910.716		472		1260.77						1254.633		472		457058.227				457129.549		472		601910.716		0		601444.316		0		457129.549		601444.316		1254.633

				457058.076		601911.705		473		1260.79						1254.633		473		457058.076				457129.549		473		601911.705		0		601444.316		0		457129.549		601444.316		1254.633

				457057.925		601912.693		474		1260.81						1254.633		474		457057.925				457129.549		474		601912.693		0		601444.316		0		457129.549		601444.316		1254.633

				457057.773		601913.681		475		1260.81						1254.633		475		457057.773				457129.549		475		601913.681		0		601444.316		0		457129.549		601444.316		1254.633

				457057.622		601914.669		476		1260.83						1254.633		476		457057.622				457129.549		476		601914.669		0		601444.316		0		457129.549		601444.316		1254.633

				457057.471		601915.657		477		1260.85						1254.633		477		457057.471				457129.549		477		601915.657		0		601444.316		0		457129.549		601444.316		1254.633

				457057.32		601916.645		478		1260.878						1254.633		478		457057.32				457129.549		478		601916.645		0		601444.316		0		457129.549		601444.316		1254.633

				457057.169		601917.633		479		1260.898						1254.633		479		457057.169				457129.549		479		601917.633		0		601444.316		0		457129.549		601444.316		1254.633

				457057.018		601918.622		480		1260.918						1254.633		480		457057.018				457129.549		480		601918.622		0		601444.316		0		457129.549		601444.316		1254.633

				457056.867		601919.61		481		1260.938						1254.633		481		457056.867				457129.549		481		601919.61		0		601444.316		0		457129.549		601444.316		1254.633

				457056.716		601920.598		482		1260.958						1254.633		482		457056.716				457129.549		482		601920.598		0		601444.316		0		457129.549		601444.316		1254.633

				457056.565		601921.586		483		1260.958						1254.633		483		457056.565				457129.549		483		601921.586		0		601444.316		0		457129.549		601444.316		1254.633

				457056.414		601922.574		484		1260.978						1254.633		484		457056.414				457129.549		484		601922.574		0		601444.316		0		457129.549		601444.316		1254.633

				457056.262		601923.562		485		1260.998						1254.633		485		457056.262				457129.549		485		601923.562		0		601444.316		0		457129.549		601444.316		1254.633

				457056.111		601924.55		486		1261						1254.633		486		457056.111				457129.549		486		601924.55		0		601444.316		0		457129.549		601444.316		1254.633

				457055.96		601925.539		487		1261						1254.633		487		457055.96				457129.549		487		601925.539		0		601444.316		0		457129.549		601444.316		1254.633

				457055.809		601926.527		488		1261						1254.633		488		457055.809				457129.549		488		601926.527		0		601444.316		0		457129.549		601444.316		1254.633

				457055.658		601927.515		489		1261						1254.633		489		457055.658				457129.549		489		601927.515		0		601444.316		0		457129.549		601444.316		1254.633

				457055.507		601928.503		490		1261						1254.633		490		457055.507				457129.549		490		601928.503		0		601444.316		0		457129.549		601444.316		1254.633

				457055.356		601929.491		491		1261						1254.633		491		457055.356				457129.549		491		601929.491		0		601444.316		0		457129.549		601444.316		1254.633

				457055.205		601930.479		492		1261						1254.633		492		457055.205				457129.549		492		601930.479		0		601444.316		0		457129.549		601444.316		1254.633

				457055.054		601931.467		493		1261						1254.633		493		457055.054				457129.549		493		601931.467		0		601444.316		0		457129.549		601444.316		1254.633

				457054.902		601932.455		494		1261						1254.633		494		457054.902				457129.549		494		601932.455		0		601444.316		0		457129.549		601444.316		1254.633

				457054.751		601933.444		495		1261						1254.633		495		457054.751				457129.549		495		601933.444		0		601444.316		0		457129.549		601444.316		1254.633

				457054.6		601934.432		496		1261						1254.633		496		457054.6				457129.549		496		601934.432		0		601444.316		0		457129.549		601444.316		1254.633

				457054.449		601935.42		497		1261						1254.633		497		457054.449				457129.549		497		601935.42		0		601444.316		0		457129.549		601444.316		1254.633

				457054.298		601936.408		498		1261						1254.633		498		457054.298				457129.549		498		601936.408		0		601444.316		0		457129.549		601444.316		1254.633

				457054.147		601937.396		499		1261						1254.633		499		457054.147				457129.549		499		601937.396		0		601444.316		0		457129.549		601444.316		1254.633

				457053.996		601938.384		500		1261						1254.633		500		457053.996				457129.549		500		601938.384		0		601444.316		0		457129.549		601444.316		1254.633

				457053.845		601939.372		501		1261						1254.633		501		457053.845				457129.549		501		601939.372		0		601444.316		0		457129.549		601444.316		1254.633

				457053.694		601940.361		502		1261						1254.633		502		457053.694				457129.549		502		601940.361		0		601444.316		0		457129.549		601444.316		1254.633

				457053.542		601941.349		503		1261						1254.633		503		457053.542				457129.549		503		601941.349		0		601444.316		0		457129.549		601444.316		1254.633

				457053.391		601942.337		504		1261						1254.633		504		457053.391				457129.549		504		601942.337		0		601444.316		0		457129.549		601444.316		1254.633

				457053.24		601943.325		505		1261						1254.633		505		457053.24				457129.549		505		601943.325		0		601444.316		0		457129.549		601444.316		1254.633

				457053.089		601944.313		506		1261						1254.633		506		457053.089				457129.549		506		601944.313		0		601444.316		0		457129.549		601444.316		1254.633

				457052.938		601945.301		507		1261						1254.633		507		457052.938				457129.549		507		601945.301		0		601444.316		0		457129.549		601444.316		1254.633

				457052.787		601946.289		508		1261						1254.633		508		457052.787				457129.549		508		601946.289		0		601444.316		0		457129.549		601444.316		1254.633

				457052.636		601947.278		509		1261						1254.633		509		457052.636				457129.549		509		601947.278		0		601444.316		0		457129.549		601444.316		1254.633

				457052.485		601948.266		510		1261						1254.633		510		457052.485				457129.549		510		601948.266		0		601444.316		0		457129.549		601444.316		1254.633

				457052.334		601949.254		511		1261						1254.633		511		457052.334				457129.549		511		601949.254		0		601444.316		0		457129.549		601444.316		1254.633

				457052.183		601950.242		512		1261						1254.633		512		457052.183				457129.549		512		601950.242		0		601444.316		0		457129.549		601444.316		1254.633

				457052.031		601951.23		513		1261						1254.633		513		457052.031				457129.549		513		601951.23		0		601444.316		0		457129.549		601444.316		1254.633

				457051.88		601952.218		514		1261						1254.633		514		457051.88				457129.549		514		601952.218		0		601444.316		0		457129.549		601444.316		1254.633

				457051.729		601953.206		515		1261						1254.633		515		457051.729				457129.549		515		601953.206		0		601444.316		0		457129.549		601444.316		1254.633

				457051.578		601954.194		516		1261						1254.633		516		457051.578				457129.549		516		601954.194		0		601444.316		0		457129.549		601444.316		1254.633

				457051.427		601955.183		517		1261						1254.633		517		457051.427				457129.549		517		601955.183		0		601444.316		0		457129.549		601444.316		1254.633

				457051.276		601956.171		518		1261						1254.633		518		457051.276				457129.549		518		601956.171		0		601444.316		0		457129.549		601444.316		1254.633

				457051.125		601957.159		519		1261						1254.633		519		457051.125				457129.549		519		601957.159		0		601444.316		0		457129.549		601444.316		1254.633

				457050.974		601958.147		520		1261						1254.633		520		457050.974				457129.549		520		601958.147		0		601444.316		0		457129.549		601444.316		1254.633

				457050.823		601959.135		521		1261						1254.633		521		457050.823				457129.549		521		601959.135		0		601444.316		0		457129.549		601444.316		1254.633

				457050.671		601960.123		522		1261						1254.633		522		457050.671				457129.549		522		601960.123		0		601444.316		0		457129.549		601444.316		1254.633

				457050.52		601961.111		523		1261						1254.633		523		457050.52				457129.549		523		601961.111		0		601444.316		0		457129.549		601444.316		1254.633

				457050.369		601962.1		524		1261						1254.633		524		457050.369				457129.549		524		601962.1		0		601444.316		0		457129.549		601444.316		1254.633

				457050.218		601963.088		525		1261						1254.633		525		457050.218				457129.549		525		601963.088		0		601444.316		0		457129.549		601444.316		1254.633

				457050.067		601964.076		526		1261						1254.633		526		457050.067				457129.549		526		601964.076		0		601444.316		0		457129.549		601444.316		1254.633

				457049.916		601965.064		527		1261						1254.633		527		457049.916				457129.549		527		601965.064		0		601444.316		0		457129.549		601444.316		1254.633

				457049.765		601966.052		528		1261						1254.633		528		457049.765				457129.549		528		601966.052		0		601444.316		0		457129.549		601444.316		1254.633

				457049.614		601967.04		529		1261						1254.633		529		457049.614				457129.549		529		601967.04		0		601444.316		0		457129.549		601444.316		1254.633

				457049.463		601968.028		530		1261						1254.633		530		457049.463				457129.549		530		601968.028		0		601444.316		0		457129.549		601444.316		1254.633

				457049.312		601969.016		531		1261						1254.633		531		457049.312				457129.549		531		601969.016		0		601444.316		0		457129.549		601444.316		1254.633

				457049.16		601970.005		532		1261						1254.633		532		457049.16				457129.549		532		601970.005		0		601444.316		0		457129.549		601444.316		1254.633

				457049.009		601970.993		533		1261						1254.633		533		457049.009				457129.549		533		601970.993		0		601444.316		0		457129.549		601444.316		1254.633

				457048.858		601971.981		534		1261						1254.633		534		457048.858				457129.549		534		601971.981		0		601444.316		0		457129.549		601444.316		1254.633

				457048.707		601972.969		535		1261						1254.633		535		457048.707				457129.549		535		601972.969		0		601444.316		0		457129.549		601444.316		1254.633

				457048.556		601973.957		536		1261						1254.633		536		457048.556				457129.549		536		601973.957		0		601444.316		0		457129.549		601444.316		1254.633

				457048.405		601974.945		537		1261						1254.633		537		457048.405				457129.549		537		601974.945		0		601444.316		0		457129.549		601444.316		1254.633

				457048.254		601975.933		538		1261						1254.633		538		457048.254				457129.549		538		601975.933		0		601444.316		0		457129.549		601444.316		1254.633

				457048.103		601976.922		539		1261						1254.633		539		457048.103				457129.549		539		601976.922		0		601444.316		0		457129.549		601444.316		1254.633

				457047.952		601977.91		540		1261						1254.633		540		457047.952				457129.549		540		601977.91		0		601444.316		0		457129.549		601444.316		1254.633

				457047.8		601978.898		541		1261						1254.633		541		457047.8				457129.549		541		601978.898		0		601444.316		0		457129.549		601444.316		1254.633

				457047.649		601979.886		542		1261						1254.633		542		457047.649				457129.549		542		601979.886		0		601444.316		0		457129.549		601444.316		1254.633

				457047.498		601980.874		543		1261						1254.633		543		457047.498				457129.549		543		601980.874		0		601444.316		0		457129.549		601444.316		1254.633

				457047.347		601981.862		544		1261						1254.633		544		457047.347				457129.549		544		601981.862		0		601444.316		0		457129.549		601444.316		1254.633

				457047.196		601982.85		545		1261						1254.633		545		457047.196				457129.549		545		601982.85		0		601444.316		0		457129.549		601444.316		1254.633

				457047.045		601983.839		546		1261						1254.633		546		457047.045				457129.549		546		601983.839		0		601444.316		0		457129.549		601444.316		1254.633

				457046.894		601984.827		547		1261						1254.633		547		457046.894				457129.549		547		601984.827		0		601444.316		0		457129.549		601444.316		1254.633

				457046.743		601985.815		548		1261						1254.633		548		457046.743				457129.549		548		601985.815		0		601444.316		0		457129.549		601444.316		1254.633

				457046.592		601986.803		549		1261						1254.633		549		457046.592				457129.549		549		601986.803		0		601444.316		0		457129.549		601444.316		1254.633

				457046.441		601987.791		550		1261						1254.633		550		457046.441				457129.549		550		601987.791		0		601444.316		0		457129.549		601444.316		1254.633

				457046.289		601988.779		551		1261						1254.633		551		457046.289				457129.549		551		601988.779		0		601444.316		0		457129.549		601444.316		1254.633

				457046.138		601989.767		552		1261						1254.633		552		457046.138				457129.549		552		601989.767		0		601444.316		0		457129.549		601444.316		1254.633

				457045.987		601990.755		553		1261						1254.633		553		457045.987				457129.549		553		601990.755		0		601444.316		0		457129.549		601444.316		1254.633

				457045.836		601991.744		554		1261						1254.633		554		457045.836				457129.549		554		601991.744		0		601444.316		0		457129.549		601444.316		1254.633

				457045.685		601992.732		555		1261						1254.633		555		457045.685				457129.549		555		601992.732		0		601444.316		0		457129.549		601444.316		1254.633

				457045.534		601993.72		556		1261						1254.633		556		457045.534				457129.549		556		601993.72		0		601444.316		0		457129.549		601444.316		1254.633

				457045.383		601994.708		557		1261						1254.633		557		457045.383				457129.549		557		601994.708		0		601444.316		0		457129.549		601444.316		1254.633

				457045.232		601995.696		558		1261						1254.633		558		457045.232				457129.549		558		601995.696		0		601444.316		0		457129.549		601444.316		1254.633

				457045.081		601996.684		559		1261						1254.633		559		457045.081				457129.549		559		601996.684		0		601444.316		0		457129.549		601444.316		1254.633

				457044.929		601997.672		560		1261						1254.633		560		457044.929				457129.549		560		601997.672		0		601444.316		0		457129.549		601444.316		1254.633

				457044.778		601998.661		561		1261						1254.633		561		457044.778				457129.549		561		601998.661		0		601444.316		0		457129.549		601444.316		1254.633

				457044.627		601999.649		562		1261						1254.633		562		457044.627				457129.549		562		601999.649		0		601444.316		0		457129.549		601444.316		1254.633

				457044.476		602000.637		563		1261						1254.633		563		457044.476				457129.549		563		602000.637		0		601444.316		0		457129.549		601444.316		1254.633

				457044.325		602001.625		564		1261						1254.633		564		457044.325				457129.549		564		602001.625		0		601444.316		0		457129.549		601444.316		1254.633

				457044.174		602002.613		565		1261						1254.633		565		457044.174				457129.549		565		602002.613		0		601444.316		0		457129.549		601444.316		1254.633

				457044.023		602003.601		566		1261						1254.633		566		457044.023				457129.549		566		602003.601		0		601444.316		0		457129.549		601444.316		1254.633

				457043.872		602004.589		567		1261						1254.633		567		457043.872				457129.549		567		602004.589		0		601444.316		0		457129.549		601444.316		1254.633

				457043.721		602005.578		568		1261						1254.633		568		457043.721				457129.549		568		602005.578		0		601444.316		0		457129.549		601444.316		1254.633

				457043.57		602006.566		569		1261						1254.633		569		457043.57				457129.549		569		602006.566		0		601444.316		0		457129.549		601444.316		1254.633

				457043.418		602007.554		570		1261						1254.633		570		457043.418				457129.549		570		602007.554		0		601444.316		0		457129.549		601444.316		1254.633

				457043.267		602008.542		571		1261						1254.633		571		457043.267				457129.549		571		602008.542		0		601444.316		0		457129.549		601444.316		1254.633

				457043.116		602009.53		572		1261						1254.633		572		457043.116				457129.549		572		602009.53		0		601444.316		0		457129.549		601444.316		1254.633

				457042.965		602010.518		573		1261						1254.633		573		457042.965				457129.549		573		602010.518		0		601444.316		0		457129.549		601444.316		1254.633

				457042.814		602011.506		574		1261						1254.633		574		457042.814				457129.549		574		602011.506		0		601444.316		0		457129.549		601444.316		1254.633

				457042.663		602012.494		575		1261						1254.633		575		457042.663				457129.549		575		602012.494		0		601444.316		0		457129.549		601444.316		1254.633

				457042.512		602013.483		576		1261						1254.633		576		457042.512				457129.549		576		602013.483		0		601444.316		0		457129.549		601444.316		1254.633

				457042.361		602014.471		577		1261						1254.633		577		457042.361				457129.549		577		602014.471		0		601444.316		0		457129.549		601444.316		1254.633

				457042.21		602015.459		578		1261						1254.633		578		457042.21				457129.549		578		602015.459		0		601444.316		0		457129.549		601444.316		1254.633

				457042.058		602016.447		579		1261						1254.633		579		457042.058				457129.549		579		602016.447		0		601444.316		0		457129.549		601444.316		1254.633

				457041.907		602017.435		580		1261						1254.633		580		457041.907				457129.549		580		602017.435		0		601444.316		0		457129.549		601444.316		1254.633

				457041.756		602018.423		581		1261						1254.633		581		457041.756				457129.549		581		602018.423		0		601444.316		0		457129.549		601444.316		1254.633

				457041.605		602019.411		582		1261						1254.633		582		457041.605				457129.549		582		602019.411		0		601444.316		0		457129.549		601444.316		1254.633

				457041.454		602020.4		583		1261						1254.633		583		457041.454				457129.549		583		602020.4		0		601444.316		0		457129.549		601444.316		1254.633

				457041.303		602021.388		584		1261						1254.633		584		457041.303				457129.549		584		602021.388		0		601444.316		0		457129.549		601444.316		1254.633

				457041.152		602022.376		585		1261						1254.633		585		457041.152				457129.549		585		602022.376		0		601444.316		0		457129.549		601444.316		1254.633

				457041.001		602023.364		586		1261						1254.633		586		457041.001				457129.549		586		602023.364		0		601444.316		0		457129.549		601444.316		1254.633

				457040.85		602024.352		587		1261						1254.633		587		457040.85				457129.549		587		602024.352		0		601444.316		0		457129.549		601444.316		1254.633

				457040.699		602025.34		588		1261						1254.633		588		457040.699				457129.549		588		602025.34		0		601444.316		0		457129.549		601444.316		1254.633

				457040.547		602026.328		589		1261						1254.633		589		457040.547				457129.549		589		602026.328		0		601444.316		0		457129.549		601444.316		1254.633

				457040.396		602027.317		590		1261						1254.633		590		457040.396				457129.549		590		602027.317		0		601444.316		0		457129.549		601444.316		1254.633

				457040.245		602028.305		591		1261						1254.633		591		457040.245				457129.549		591		602028.305		0		601444.316		0		457129.549		601444.316		1254.633

				457040.094		602029.293		592		1261						1254.633		592		457040.094				457129.549		592		602029.293		0		601444.316		0		457129.549		601444.316		1254.633

				457039.943		602030.281		593		1261						1254.633		593		457039.943				457129.549		593		602030.281		0		601444.316		0		457129.549		601444.316		1254.633

				457039.792		602031.269		594		1261						1254.633		594		457039.792				457129.549		594		602031.269		0		601444.316		0		457129.549		601444.316		1254.633

				457039.641		602032.257		595		1261						1254.633		595		457039.641				457129.549		595		602032.257		0		601444.316		0		457129.549		601444.316		1254.633

				457039.49		602033.245		596		1261						1254.633		596		457039.49				457129.549		596		602033.245		0		601444.316		0		457129.549		601444.316		1254.633

				457039.339		602034.233		597		1261						1254.633		597		457039.339				457129.549		597		602034.233		0		601444.316		0		457129.549		601444.316		1254.633

				457039.187		602035.222		598		1261						1254.633		598		457039.187				457129.549		598		602035.222		0		601444.316		0		457129.549		601444.316		1254.633

				457039.036		602036.21		599		1261						1254.633		599		457039.036				457129.549		599		602036.21		0		601444.316		0		457129.549		601444.316		1254.633

				457038.885		602037.198		600		1261						1254.633		600		457038.885				457129.549		600		602037.198		0		601444.316		0		457129.549		601444.316		1254.633

				457038.734		602038.186		601		1261						1254.633		601		457038.734				457129.549		601		602038.186		0		601444.316		0		457129.549		601444.316		1254.633

				457038.583		602039.174		602		1261						1254.633		602		457038.583				457129.549		602		602039.174		0		601444.316		0		457129.549		601444.316		1254.633

				457038.432		602040.162		603		1261						1254.633		603		457038.432				457129.549		603		602040.162		0		601444.316		0		457129.549		601444.316		1254.633

				457038.281		602041.15		604		1261						1254.633		604		457038.281				457129.549		604		602041.15		0		601444.316		0		457129.549		601444.316		1254.633

				457038.13		602042.139		605		1261						1254.633		605		457038.13				457129.549		605		602042.139		0		601444.316		0		457129.549		601444.316		1254.633

				457037.979		602043.127		606		1261						1254.633		606		457037.979				457129.549		606		602043.127		0		601444.316		0		457129.549		601444.316		1254.633

				457037.828		602044.115		607		1261						1254.633		607		457037.828				457129.549		607		602044.115		0		601444.316		0		457129.549		601444.316		1254.633

				457037.676		602045.103		608		1261						1254.633		608		457037.676				457129.549		608		602045.103		0		601444.316		0		457129.549		601444.316		1254.633

				457037.525		602046.091		609		1261						1254.633		609		457037.525				457129.549		609		602046.091		0		601444.316		0		457129.549		601444.316		1254.633

				457037.374		602047.079		610		1261								610		457037.374				457129.549		610		602047.079		0		601444.316		0		457129.549		601444.316		0

				457037.223		602048.067		611		1261								611		457037.223				457129.549		611		602048.067		0		601444.316		0		457129.549		601444.316		0

				457037.072		602049.056		612		1261								612		457037.072				457129.549		612		602049.056		0		601444.316		0		457129.549		601444.316		0

				457036.921		602050.044		613		1261								613		457036.921				457129.549		613		602050.044		0		601444.316		0		457129.549		601444.316		0

				457036.77		602051.032		614		1261								614		457036.77				457129.549		614		602051.032		0		601444.316		0		457129.549		601444.316		0

				457036.619		602052.02		615		1261								615		457036.619				457129.549		615		602052.02		0		601444.316		0		457129.549		601444.316		0

				457036.468		602053.008		616		1261								616		457036.468				457129.549		616		602053.008		0		601444.316		0		457129.549		601444.316		0

				457036.316		602053.996		617		1261								617		457036.316				457129.549		617		602053.996		0		601444.316		0		457129.549		601444.316		0

				457036.165		602054.984		618		1261								618		457036.165				457129.549		618		602054.984		0		601444.316		0		457129.549		601444.316		0

				457036.014		602055.972		619		1261								619		457036.014				457129.549		619		602055.972		0		601444.316		0		457129.549		601444.316		0

				457035.863		602056.961		620		1261								620		457035.863				457129.549		620		602056.961		0		601444.316		0		457129.549		601444.316		0

				457035.712		602057.949		621		1261								621		457035.712				457129.549		621		602057.949		0		601444.316		0		457129.549		601444.316		0

				457035.561		602058.937		622		1261								622		457035.561				457129.549		622		602058.937		0		601444.316		0		457129.549		601444.316		0

				457035.41		602059.925		623		1261								623		457035.41				457129.549		623		602059.925		0		601444.316		0		457129.549		601444.316		0

				457035.259		602060.913		624		1261								624		457035.259				457129.549		624		602060.913		0		601444.316		0		457129.549		601444.316		0

				457035.108		602061.901		625		1261								625		457035.108				457129.549		625		602061.901		0		601444.316		0		457129.549		601444.316		0

				457034.957		602062.889		626		1261								626		457034.957				457129.549		626		602062.889		0		601444.316		0		457129.549		601444.316		0

				457034.805		602063.878		627		1261								627		457034.805				457129.549		627		602063.878		0		601444.316		0		457129.549		601444.316		0

				457034.654		602064.866		628		1261								628		457034.654				457129.549		628		602064.866		0		601444.316		0		457129.549		601444.316		0

				457034.503		602065.854		629		1261								629		457034.503				457129.549		629		602065.854		0		601444.316		0		457129.549		601444.316		0

				457034.352		602066.842		630		1261								630		457034.352				457129.549		630		602066.842		0		601444.316		0		457129.549		601444.316		0

				457034.201		602067.83		631		1261								631		457034.201				457129.549		631		602067.83		0		601444.316		0		457129.549		601444.316		0

				457034.05		602068.818		632		1261								632		457034.05				457129.549		632		602068.818		0		601444.316		0		457129.549		601444.316		0

				457033.899		602069.806		633		1261								633		457033.899				457129.549		633		602069.806		0		601444.316		0		457129.549		601444.316		0

				457033.748		602070.795		634		1261								634		457033.748				457129.549		634		602070.795		0		601444.316		0		457129.549		601444.316		0

				457033.597		602071.783		635		1261								635		457033.597				457129.549		635		602071.783		0		601444.316		0		457129.549		601444.316		0

				457033.445		602072.771		636		1261								636		457033.445				457129.549		636		602072.771		0		601444.316		0		457129.549		601444.316		0

				457033.294		602073.759		637		1261								637		457033.294				457129.549		637		602073.759		0		601444.316		0		457129.549		601444.316		0

				457033.143		602074.747		638		1261								638		457033.143				457129.549		638		602074.747		0		601444.316		0		457129.549		601444.316		0

				457032.992		602075.735		639		1261								639		457032.992				457129.549		639		602075.735		0		601444.316		0		457129.549		601444.316		0

				457032.841		602076.723		640		1261								640		457032.841				457129.549		640		602076.723		0		601444.316		0		457129.549		601444.316		0

				457032.69		602077.711		641		1261								641		457032.69				457129.549		641		602077.711		0		601444.316		0		457129.549		601444.316		0

				457032.539		602078.7		642		1261								642		457032.539				457129.549		642		602078.7		0		601444.316		0		457129.549		601444.316		0

				457032.388		602079.688		643		1261								643		457032.388				457129.549		643		602079.688		0		601444.316		0		457129.549		601444.316		0

				457032.237		602080.676		644		1261								644		457032.237				457129.549		644		602080.676		0		601444.316		0		457129.549		601444.316		0

				457032.086		602081.664		645		1261								645		457032.086				457129.549		645		602081.664		0		601444.316		0		457129.549		601444.316		0

				457031.934		602082.652		646		1261								646		457031.934				457129.549		646		602082.652		0		601444.316		0		457129.549		601444.316		0

				457031.783		602083.64		647		1261								647		457031.783				457129.549		647		602083.64		0		601444.316		0		457129.549		601444.316		0

				457031.632		602084.628		648		1261								648		457031.632				457129.549		648		602084.628		0		601444.316		0		457129.549		601444.316		0

				457031.481		602085.617		649		1261								649		457031.481				457129.549		649		602085.617		0		601444.316		0		457129.549		601444.316		0

				457031.33		602086.605		650		1261								650		457031.33				457129.549		650		602086.605		0		601444.316		0		457129.549		601444.316		0

				457031.179		602087.593		651		1261								651		457031.179				457129.549		651		602087.593		0		601444.316		0		457129.549		601444.316		0

				457031.028		602088.581		652		1261								652		457031.028				457129.549		652		602088.581		0		601444.316		0		457129.549		601444.316		0

				457030.877		602089.569		653		1261								653		457030.877				457129.549		653		602089.569		0		601444.316		0		457129.549		601444.316		0

				457030.726		602090.557		654		1261								654		457030.726				457129.549		654		602090.557		0		601444.316		0		457129.549		601444.316		0

				457030.574		602091.545		655		1261								655		457030.574				457129.549		655		602091.545		0		601444.316		0		457129.549		601444.316		0

				457030.423		602092.534		656		1261								656		457030.423				457129.549		656		602092.534		0		601444.316		0		457129.549		601444.316		0

				457030.272		602093.522		657		1261								657		457030.272				457129.549		657		602093.522		0		601444.316		0		457129.549		601444.316		0

				457030.121		602094.51		658		1261								658		457030.121				457129.549		658		602094.51		0		601444.316		0		457129.549		601444.316		0

				457029.97		602095.498		659		1261								659		457029.97				457129.549		659		602095.498		0		601444.316		0		457129.549		601444.316		0

				457029.819		602096.486		660		1261								660		457029.819				457129.549		660		602096.486		0		601444.316		0		457129.549		601444.316		0

				457029.668		602097.474		661		1261								661		457029.668				457129.549		661		602097.474		0		601444.316		0		457129.549		601444.316		0

				457029.517		602098.462		662		1261								662		457029.517				457129.549		662		602098.462		0		601444.316		0		457129.549		601444.316		0

				457029.366		602099.45		663		1261								663		457029.366				457129.549		663		602099.45		0		601444.316		0		457129.549		601444.316		0

				457029.215		602100.439		664		1261								664		457029.215				457129.549		664		602100.439		0		601444.316		0		457129.549		601444.316		0

				457029.063		602101.427		665		1261								665		457029.063				457129.549		665		602101.427		0		601444.316		0		457129.549		601444.316		0

				457028.912		602102.415		666		1261								666		457028.912				457129.549		666		602102.415		0		601444.316		0		457129.549		601444.316		0

				457028.761		602103.403		667		1261								667		457028.761				457129.549		667		602103.403		0		601444.316		0		457129.549		601444.316		0

				457028.61		602104.391		668		1261								668		457028.61				457129.549		668		602104.391		0		601444.316		0		457129.549		601444.316		0

				457028.459		602105.379		669		1261								669		457028.459				457129.549		669		602105.379		0		601444.316		0		457129.549		601444.316		0

				457028.308		602106.367		670		1261								670		457028.308						670		602106.367		0		601444.316		0		0		601444.316		0

				457028.157		602107.356		671		1261								671		457028.157						671		602107.356		0		601444.316		0		0		601444.316		0

				457028.006		602108.344		672		1261								672		457028.006						672		602108.344		0		601444.316		0		0		601444.316		0

				457027.855		602109.332		673		1261								673		457027.855						673		602109.332		0		601444.316		0		0		601444.316		0

				457027.703		602110.32		674		1261								674		457027.703						674		602110.32		0		601444.316		0		0		601444.316		0

				457027.552		602111.308		675		1261								675		457027.552						675		602111.308		0		601444.316		0		0		601444.316		0

				457027.401		602112.296		676		1261								676		457027.401						676		602112.296		0		601444.316		0		0		601444.316		0

				457027.25		602113.284		677		1261								677		457027.25						677		602113.284		0		601444.316		0		0		601444.316		0

				457027.099		602114.273		678		1261								678		457027.099						678		602114.273		0		601444.316		0		0		601444.316		0

				457026.948		602115.261		679		1261								679		457026.948						679		602115.261		0		601444.316		0		0		601444.316		0

				457026.797		602116.249		680		1261								680		457026.797						680		602116.249		0		601444.316		0		0		601444.316		0

				457026.646		602117.237		681		1261								681		457026.646						681		602117.237		0		601444.316		0		0		601444.316		0

				457026.495		602118.225		682		1261								682		457026.495						682		602118.225		0		601444.316		0		0		601444.316		0

				457026.344		602119.213		683		1261								683		457026.344						683		602119.213		0		601444.316		0		0		601444.316		0

				457026.192		602120.201		684		1261								684		457026.192						684		602120.201		0		601444.316		0		0		601444.316		0

				457026.041		602121.189		685		1261								685		457026.041						685		602121.189		0		601444.316		0		0		601444.316		0

				457025.89		602122.178		686		1261								686		457025.89						686		602122.178		0		601444.316		0		0		601444.316		0

				457025.739		602123.166		687		1261								687		457025.739						687		602123.166		0		601444.316		0		0		601444.316		0

				457025.588		602124.154		688		1261								688		457025.588						688		602124.154		0		601444.316		0		0		601444.316		0

				457025.437		602125.142		689		1261								689		457025.437						689		602125.142		0		601444.316		0		0		601444.316		0

				457025.286		602126.13		690		1261								690		457025.286						690		602126.13		0		601444.316		0		0		601444.316		0

				457025.135		602127.118		691		1261								691		457025.135						691		602127.118		0		601444.316		0		0		601444.316		0

				457024.984		602128.106		692		1261								692		457024.984						692		602128.106		0		601444.316		0		0		601444.316		0

				457024.832		602129.095		693		1261								693		457024.832						693		602129.095		0		601444.316		0		0		601444.316		0

				457024.681		602130.083		694		1261								694		457024.681						694		602130.083		0		601444.316		0		0		601444.316		0

				457024.53		602131.071		695		1261								695		457024.53						695		602131.071		0		601444.316		0		0		601444.316		0

				457024.379		602132.059		696		1261								696		457024.379						696		602132.059		0		601444.316		0		0		601444.316		0

				457024.228		602133.047		697		1261								697		457024.228						697		602133.047		0		601444.316		0		0		601444.316		0

				457024.077		602134.035		698		1261								698		457024.077						698		602134.035		0		601444.316		0		0		601444.316		0

				457023.926		602135.023		699		1261								699		457023.926						699		602135.023		0		601444.316		0		0		601444.316		0

				457023.775		602136.012		700		1261								700		457023.775						700		602136.012		0		601444.316		0		0		601444.316		0

				457023.624		602137		701		1261								701		457023.624						701		602137		0		601444.316		0		0		601444.316		0

				457023.472		602137.988		702		1261								702		457023.472						702		602137.988		0		601444.316		0		0		601444.316		0

				457023.321		602138.976		703		1261								703		457023.321						703		602138.976		0		601444.316		0		0		601444.316		0

				457023.17		602139.964		704		1261								704		457023.17						704		602139.964		0		601444.316		0		0		601444.316		0

				457023.019		602140.952		705		1261								705		457023.019						705		602140.952		0		601444.316		0		0		601444.316		0

				457022.868		602141.94		706		1261								706		457022.868						706		602141.94		0		601444.316		0		0		601444.316		0

				457022.717		602142.928		707		1261								707		457022.717						707		602142.928		0		601444.316		0		0		601444.316		0

				457022.566		602143.917		708		1261								708		457022.566						708		602143.917		0		601444.316		0		0		601444.316		0

				457022.415		602144.905		709		1261								709		457022.415						709		602144.905		0		601444.316		0		0		601444.316		0

				457022.264		602145.893		710		1261								710		457022.264						710		602145.893		0		601444.316		0		0		601444.316		0

				457022.113		602146.881		711		1261								711		457022.113						711		602146.881		0		601444.316		0		0		601444.316		0

				457021.961		602147.869		712		1261								712		457021.961						712		602147.869		0		601444.316		0		0		601444.316		0

				457021.81		602148.857		713		1261								713		457021.81						713		602148.857		0		601444.316		0		0		601444.316		0

				457021.659		602149.845		714		1261								714		457021.659						714		602149.845		0		601444.316		0		0		601444.316		0

				457021.508		602150.834		715		1261								715		457021.508						715		602150.834		0		601444.316		0		0		601444.316		0

				457021.357		602151.822		716		1261								716		457021.357						716		602151.822		0		601444.316		0		0		601444.316		0

				457021.206		602152.81		717		1261								717		457021.206						717		602152.81		0		601444.316		0		0		601444.316		0

				457021.055		602153.798		718		1261								718		457021.055						718		602153.798		0		601444.316		0		0		601444.316		0

				457020.904		602154.786		719		1261								719		457020.904						719		602154.786		0		601444.316		0		0		601444.316		0

				457020.753		602155.774		720		1261								720		457020.753						720		602155.774		0		601444.316		0		0		601444.316		0

				457020.601		602156.762		721		1261								721		457020.601						721		602156.762		0		601444.316		0		0		601444.316		0

				457020.45		602157.751		722		1261								722		457020.45						722		602157.751		0		601444.316		0		0		601444.316		0

				457020.299		602158.739		723		1261								723		457020.299						723		602158.739		0		601444.316		0		0		601444.316		0

				457020.148		602159.727		724		1261								724		457020.148						724		602159.727		0		601444.316		0		0		601444.316		0

				457019.997		602160.715		725		1261								725		457019.997						725		602160.715		0		601444.316		0		0		601444.316		0

				457019.846		602161.703		726		1261								726		457019.846						726		602161.703		0		601444.316		0		0		601444.316		0

				457019.695		602162.691		727		1261								727		457019.695						727		602162.691		0		601444.316		0		0		601444.316		0

				457019.544		602163.679		728		1261								728		457019.544						728		602163.679		0		601444.316		0		0		601444.316		0

				457019.393		602164.667		729		1261								729		457019.393						729		602164.667		0		601444.316		0		0		601444.316		0

				457019.242		602165.656		730		1261								730		457019.242						730		602165.656		0		601444.316		0		0		601444.316		0

				457019.09		602166.644		731		1261								731		457019.09						731		602166.644		0		601444.316		0		0		601444.316		0

				457018.939		602167.632		732		1261								732		457018.939						732		602167.632		0		601444.316		0		0		601444.316		0

				457018.788		602168.62		733		1261								733		457018.788						733		602168.62		0		601444.316		0		0		601444.316		0

				457018.637		602169.608		734		1261								734		457018.637						734		602169.608		0		601444.316		0		0		601444.316		0

				457018.486		602170.596		735		1261								735		457018.486						735		602170.596		0		601444.316		0		0		601444.316		0

				457018.335		602171.584		736		1261								736		457018.335						736		602171.584		0		601444.316		0		0		601444.316		0

				457018.184		602172.573		737		1261								737		457018.184						737		602172.573		0		601444.316		0		0		601444.316		0

				457018.033		602173.561		738		1261								738		457018.033						738		602173.561		0		601444.316		0		0		601444.316		0

				457017.882		602174.549		739		1261								739		457017.882						739		602174.549		0		601444.316		0		0		601444.316		0

				457017.73		602175.537		740		1261								740		457017.73						740		602175.537		0		601444.316		0		0		601444.316		0

				457017.579		602176.525		741		1261								741		457017.579						741		602176.525		0		601444.316		0		0		601444.316		0

				457017.428		602177.513		742		1261								742		457017.428						742		602177.513		0		601444.316		0		0		601444.316		0

				457017.277		602178.501		743		1261								743		457017.277						743		602178.501		0		601444.316		0		0		601444.316		0

				457017.126		602179.489		744		1261								744		457017.126						744		602179.489		0		601444.316		0		0		601444.316		0

				457016.975		602180.478		745		1261								745		457016.975						745		602180.478		0		601444.316		0		0		601444.316		0

				457016.824		602181.466		746		1261								746		457016.824						746		602181.466		0		601444.316		0		0		601444.316		0

				457016.673		602182.454		747		1261								747		457016.673						747		602182.454		0		601444.316		0		0		601444.316		0

				457016.522		602183.442		748		1261								748		457016.522						748		602183.442		0		601444.316		0		0		601444.316		0

				457016.371		602184.43		749		1261								749		457016.371						749		602184.43		0		601444.316		0		0		601444.316		0

				457016.219		602185.418		750		1261								750		457016.219						750		602185.418		0		601444.316		0		0		601444.316		0

				457016.068		602186.406		751		1261								751		457016.068						751		602186.406		0		601444.316		0		0		601444.316		0

				457015.917		602187.395		752		1261								752		457015.917						752		602187.395		0		601444.316		0		0		601444.316		0

				457015.766		602188.383		753		1261								753		457015.766						753		602188.383		0		601444.316		0		0		601444.316		0

				457015.615		602189.371		754		1261								754		457015.615						754		602189.371		0		601444.316		0		0		601444.316		0

				457015.464		602190.359		755		1261								755		457015.464						755		602190.359		0		601444.316		0		0		601444.316		0

				457015.313		602191.347		756		1261								756		457015.313						756		602191.347		0		601444.316		0		0		601444.316		0

				457015.162		602192.335		757		1261								757		457015.162						757		602192.335		0		601444.316		0		0		601444.316		0

				457015.011		602193.323		758		1261								758		457015.011						758		602193.323		0		601444.316		0		0		601444.316		0

				457014.859		602194.312		759		1261								759		457014.859						759		602194.312		0		601444.316		0		0		601444.316		0

				457014.708		602195.3		760		1261								760		457014.708						760		602195.3		0		601444.316		0		0		601444.316		0

				457014.557		602196.288		761		1261								761		457014.557						761		602196.288		0		601444.316		0		0		601444.316		0

				457014.406		602197.276		762		1261								762		457014.406						762		602197.276		0		601444.316		0		0		601444.316		0

				457014.255		602198.264		763		1261								763		457014.255						763		602198.264		0		601444.316		0		0		601444.316		0

				457014.104		602199.252		764		1261								764		457014.104						764		602199.252		0		601444.316		0		0		601444.316		0

				457013.953		602200.24		765		1261								765		457013.953						765		602200.24		0		601444.316		0		0		601444.316		0

				457013.802		602201.228		766		1261								766		457013.802						766		602201.228		0		601444.316		0		0		601444.316		0

				457013.651		602202.217		767		1261								767		457013.651						767		602202.217		0		601444.316		0		0		601444.316		0

				457013.5		602203.205		768		1261								768		457013.5						768		602203.205		0		601444.316		0		0		601444.316		0

				457013.348		602204.193		769		1261								769		457013.348						769		602204.193		0		601444.316		0		0		601444.316		0

				457013.197		602205.181		770		1261								770		457013.197						770		602205.181		0		601444.316		0		0		601444.316		0

				457013.046		602206.169		771		1261								771		457013.046						771		602206.169		0		601444.316		0		0		601444.316		0

				457012.895		602207.157		772		1261								772		457012.895						772		602207.157		0		601444.316		0		0		601444.316		0

				457012.744		602208.145		773		1261								773		457012.744						773		602208.145		0		601444.316		0		0		601444.316		0

				457012.593		602209.134		774		1261								774		457012.593						774		602209.134		0		601444.316		0		0		601444.316		0

				457012.442		602210.122		775		1261								775		457012.442						775		602210.122		0		601444.316		0		0		601444.316		0

				457012.291		602211.11		776		1261								776		457012.291						776		602211.11		0		601444.316		0		0		601444.316		0

				457012.14		602212.098		777		1261								777		457012.14						777		602212.098		0		601444.316		0		0		601444.316		0

				457011.988		602213.086		778		1261								778		457011.988						778		602213.086		0		601444.316		0		0		601444.316		0

				457011.837		602214.074		779		1261								779		457011.837						779		602214.074		0		601444.316		0		0		601444.316		0

				457011.686		602215.062		780		1261								780		457011.686						780		602215.062		0		601444.316		0		0		601444.316		0

				457011.535		602216.051		781		1261								781		457011.535						781		602216.051		0		601444.316		0		0		601444.316		0

				457011.384		602217.039		782		1261								782		457011.384						782		602217.039		0		601444.316		0		0		601444.316		0

				457011.233		602218.027		783		1261								783		457011.233						783		602218.027		0		601444.316		0		0		601444.316		0

				457011.082		602219.015		784		1261								784		457011.082						784		602219.015		0		601444.316		0		0		601444.316		0

				457010.931		602220.003		785		1261								785		457010.931						785		602220.003		0		601444.316		0		0		601444.316		0

				457010.78		602220.991		786		1261								786		457010.78						786		602220.991		0		601444.316		0		0		601444.316		0

				457010.629		602221.979		787		1261								787		457010.629						787		602221.979		0		601444.316		0		0		601444.316		0

				457010.477		602222.967		788		1261								788		457010.477						788		602222.967		0		601444.316		0		0		601444.316		0

				457010.326		602223.956		789		1261								789		457010.326						789		602223.956		0		601444.316		0		0		601444.316		0

				457010.175		602224.944		790		1261								790		457010.175						790		602224.944		0		601444.316		0		0		601444.316		0

				457010.024		602225.932		791		1261								791		457010.024						791		602225.932		0		601444.316		0		0		601444.316		0

				457009.873		602226.92		792		1261								792		457009.873						792		602226.92		0		601444.316		0		0		601444.316		0

				457009.722		602227.908		793		1261								793		457009.722						793		602227.908		0		601444.316		0		0		601444.316		0

				457009.571		602228.896		794		1261								794		457009.571						794		602228.896		0		601444.316		0		0		601444.316		0

				457009.42		602229.884		795		1261								795		457009.42						795		602229.884		0		601444.316		0		0		601444.316		0

				457009.269		602230.873		796		1261								796		457009.269						796		602230.873		0		601444.316		0		0		601444.316		0

				457009.117		602231.861		797		1261								797		457009.117						797		602231.861		0		601444.316		0		0		601444.316		0

				457008.966		602232.849		798		1261								798		457008.966						798		602232.849		0		601444.316		0		0		601444.316		0

				457008.815		602233.837		799		1261								799		457008.815						799		602233.837		0		601444.316		0		0		601444.316		0

				457008.664		602234.825		800		1261								800		457008.664						800		602234.825		0		601444.316		0		0		601444.316		0

				457008.513		602235.813		801		1261								801		457008.513						801		602235.813		0		601444.316		0		0		601444.316		0

				457008.362		602236.801		802		1261								802		457008.362						802		602236.801		0		601444.316		0		0		601444.316		0

				457008.211		602237.79		803		1261								803		457008.211						803		602237.79		0		601444.316		0		0		601444.316		0

				457008.06		602238.778		804		1261								804		457008.06						804		602238.778		0		601444.316		0		0		601444.316		0

				457007.909		602239.766		805		1261.015								805		457007.909						805		602239.766		0		601444.316		0		0		601444.316		0

				457007.758		602240.754		806		1261.024								806		457007.758						806		602240.754		0		601444.316		0		0		601444.316		0

				457007.606		602241.742		807		1261.038								807		457007.606						807		602241.742		0		601444.316		0		0		601444.316		0

				457007.455		602242.73		808		1261.038								808		457007.455						808		602242.73		0		601444.316		0		0		601444.316		0

				457007.304		602243.718		809		1261.052								809		457007.304						809		602243.718		0		601444.316		0		0		601444.316		0

				457007.153		602244.706		810		1261.066								810		457007.153						810		602244.706		0		601444.316		0		0		601444.316		0

				457007.002		602245.695		811		1261.08								811		457007.002						811		602245.695		0		601444.316		0		0		601444.316		0

				457006.851		602246.683		812		1261.094								812		457006.851						812		602246.683		0		601444.316		0		0		601444.316		0

				457006.7		602247.671		813		1261.108								813		457006.7						813		602247.671		0		601444.316		0		0		601444.316		0

				457006.549		602248.659		814		1261.122								814		457006.549						814		602248.659		0		601444.316		0		0		601444.316		0

				457006.398		602249.647		815		1261.129								815		457006.398						815		602249.647				601444.316

				457006.246		602250.635		816		1261.129								816		457006.246						816		602250.635				601444.316

				457006.095		602251.623		817		1261.143								817		457006.095						817		602251.623				601444.316

				457005.944		602252.612		818		1261.157								818		457005.944						818		602252.612				601444.316

				457005.793		602253.6		819		1261.171								819		457005.793						819		602253.6				601444.316

				457005.642		602254.588		820		1261.185								820		457005.642						820		602254.588				601444.316

				457005.491		602255.576		821		1261.198								821		457005.491						821		602255.576				601444.316

				457005.34		602256.564		822		1261.213								822		457005.34						822		602256.564				601444.316

				457005.189		602257.552		823		1261.226								823		457005.189						823		602257.552				601444.316

				457005.038		602258.54		824		1261.22								824		457005.038						824		602258.54				601444.316

				457004.887		602259.529		825		1261.234								825		457004.887						825		602259.529				601444.316

				457004.735		602260.517		826		1261.248								826		457004.735						826		602260.517				601444.316

				457004.584		602261.505		827		1261.261								827		457004.584						827		602261.505				601444.316

				457004.433		602262.493		828		1261.276								828		457004.433						828		602262.493				601444.316

				457004.282		602263.481		829		1261.289								829		457004.282						829		602263.481				601444.316

				457004.131		602264.469		830		1261.303								830		457004.131						830		602264.469				601444.316

				457003.98		602265.457		831		1261.303								831		457003.98						831		602265.457				601444.316

				457003.829		602266.445		832		1261.311								832		457003.829						832		602266.445				601444.316

				457003.678		602267.434		833		1261.325								833		457003.678						833		602267.434				601444.316

				457003.527		602268.422		834		1261.339								834		457003.527						834		602268.422				601444.316

				457003.375		602269.41		835		1261.352								835		457003.375						835		602269.41				601444.316

				457003.224		602270.398		836		1261.366								836		457003.224						836		602270.398				601444.316

				457003.073		602271.386		837		1261.38								837		457003.073						837		602271.386				601444.316

				457002.922		602272.374		838		1261.394								838		457002.922						838		602272.374				601444.316

				457002.771		602273.362		839		1261.394								839		457002.771						839		602273.362				601444.316

				457002.62		602274.351		840		1261.408								840		457002.62						840		602274.351				601444.316

				457002.469		602275.339		841		1261.415								841		457002.469						841		602275.339				601444.316

				457002.318		602276.327		842		1261.429								842		457002.318						842		602276.327				601444.316

				457002.167		602277.315		843		1261.443								843		457002.167						843		602277.315				601444.316

				457002.016		602278.303		844		1261.457								844		457002.016						844		602278.303				601444.316

				457001.864		602279.291		845		1261.471								845		457001.864						845		602279.291				601444.316

				457001.713		602280.279		846		1261.485								846		457001.713						846		602280.279				601444.316

				457001.562		602281.268		847		1261.485								847		457001.562						847		602281.268				601444.316

				457001.411		602282.256		848		1261.499								848		457001.411						848		602282.256				601444.316

				457001.26		602283.244		849		1261.513								849		457001.26						849		602283.244				601444.316

				457001.109		602284.232		850		1261.524								850		457001.109						850		602284.232				601444.316

				457000.958		602285.22		851		1261.54								851		457000.958						851		602285.22				601444.316

				457000.807		602286.208		852		1261.556								852		457000.807						852		602286.208				601444.316

				457000.656		602287.196		853		1261.573								853		457000.656						853		602287.196				601444.316

				457000.504		602288.184		854		1261.589								854		457000.504						854		602288.184				601444.316

				457000.353		602289.173		855		1261.589								855		457000.353						855		602289.173				601444.316

				457000.202		602290.161		856		1261.605								856		457000.202						856		602290.161				601444.316

				457000.051		602291.149		857		1261.621								857		457000.051						857		602291.149				601444.316

				456999.9		602292.137		858		1261.638								858		456999.9						858		602292.137				601444.316

				456999.749		602293.125		859		1261.649								859		456999.749						859		602293.125				601444.316

				456999.598		602294.113		860		1261.665								860		456999.598						860		602294.113				601444.316

				456999.447		602295.101		861		1261.681								861		456999.447						861		602295.101				601444.316

				456999.296		602296.09		862		1261.681								862		456999.296						862		602296.09				601444.316

				456999.145		602297.078		863		1261.697								863		456999.145						863		602297.078				601444.316

				456998.993		602298.066		864		1261.714								864		456998.993						864		602298.066				601444.316

				456998.842		602299.054		865		1261.73								865		456998.842						865		602299.054				601444.316

				456998.691		602300.042		866		1261.746								866		456998.691						866		602300.042				601444.316

				456998.54		602301.03		867		1261.762								867		456998.54						867		602301.03				601444.316

				456998.389		602302.018		868		1261.773								868		456998.389						868		602302.018				601444.316

				456998.238		602303.007		869		1261.79								869		456998.238						869		602303.007				601444.316

				456998.087		602303.995		870		1261.79								870		456998.087						870		602303.995				601444.316

				456997.936		602304.983		871		1261.806								871		456997.936						871		602304.983				601444.316

				456997.785		602305.971		872		1261.822								872		456997.785						872		602305.971				601444.316

				456997.633		602306.959		873		1261.838								873		456997.633						873		602306.959				601444.316

				456997.482		602307.947		874		1261.854								874		456997.482						874		602307.947				601444.316

				456997.331		602308.935		875		1261.871								875		456997.331						875		602308.935				601444.316

				456997.18		602309.923		876		1261.887								876		456997.18						876		602309.923				601444.316

				456997.029		602310.912		877		1261.898								877		456997.029						877		602310.912				601444.316

				456996.878		602311.9		878		1261.898								878		456996.878						878		602311.9				601444.316

				456996.727		602312.888		879		1261.914								879		456996.727						879		602312.888				601444.316

				456996.576		602313.876		880		1261.93								880		456996.576						880		602313.876				601444.316

				456996.425		602314.864		881		1261.947								881		456996.425						881		602314.864				601444.316

				456996.274		602315.852		882		1261.963								882		456996.274						882		602315.852				601444.316

				456996.122		602316.84		883		1261.979								883		456996.122						883		602316.84				601444.316

				456995.971		602317.829		884		1261.995								884		456995.971						884		602317.829				601444.316

				456995.82		602318.817		885		1262								885		456995.82						885		602318.817				601444.316

				456995.669		602319.805		886		1262								886		456995.669						886		602319.805				601444.316

				456995.518		602320.793		887		1262								887		456995.518						887		602320.793				601444.316

				456995.367		602321.781		888		1262								888		456995.367						888		602321.781				601444.316

				456995.216		602322.769		889		1262								889		456995.216						889		602322.769				601444.316

				456995.065		602323.757		890		1262								890		456995.065						890		602323.757				601444.316

				456994.914		602324.746		891		1262								891		456994.914						891		602324.746				601444.316

				456994.762		602325.734		892		1262								892		456994.762						892		602325.734				601444.316

				456994.611		602326.722		893		1262								893		456994.611						893		602326.722				601444.316

				456994.46		602327.71		894		1262								894		456994.46						894		602327.71				601444.316

				456994.309		602328.698		895		1262								895		456994.309						895		602328.698				601444.316

				456994.158		602329.686		896		1262								896		456994.158						896		602329.686				601444.316

				456994.007		602330.674		897		1262								897		456994.007						897		602330.674				601444.316

				456993.856		602331.662		898		1262								898		456993.856						898		602331.662				601444.316

				456993.705		602332.651		899		1262								899		456993.705						899		602332.651				601444.316

				456993.554		602333.639		900		1262								900		456993.554						900		602333.639				601444.316

				456993.403		602334.627		901		1262								901		456993.403						901		602334.627				601444.316

				456993.251		602335.615		902		1262								902		456993.251						902		602335.615				601444.316

				456993.1		602336.603		903		1262								903		456993.1						903		602336.603				601444.316

				456992.949		602337.591		904		1262								904		456992.949						904		602337.591				601444.316

				456992.798		602338.579		905		1262								905		456992.798						905		602338.579				601444.316

				456992.647		602339.568		906		1262								906		456992.647						906		602339.568				601444.316

				456992.496		602340.556		907		1262								907		456992.496						907		602340.556				601444.316

				456992.345		602341.544		908		1262								908		456992.345						908		602341.544				601444.316

				456992.194		602342.532		909		1262								909		456992.194						909		602342.532				601444.316

				456992.043		602343.52		910		1262								910		456992.043						910		602343.52				601444.316

				456991.891		602344.508		911		1262								911		456991.891						911		602344.508				601444.316

				456991.74		602345.496		912		1262.026								912		456991.74						912		602345.496				601444.316

				456991.589		602346.485		913		1262.043								913		456991.589						913		602346.485				601444.316

				456991.438		602347.473		914		1262.061								914		456991.438						914		602347.473				601444.316

				456991.287		602348.461		915		1262.079								915		456991.287						915		602348.461				601444.316

				456991.136		602349.449		916		1262.092								916		456991.136						916		602349.449				601444.316

				456990.985		602350.437		917		1262.092								917		456990.985						917		602350.437				601444.316

				456990.834		602351.425		918		1262.115								918		456990.834						918		602351.425				601444.316

				456990.683		602352.413		919		1262.138								919		456990.683						919		602352.413				601444.316

				456990.531		602353.401		920		1262.147								920		456990.531						920		602353.401				601444.316

				456990.38		602354.39		921		1262.197								921		456990.38						921		602354.39				601444.316

				456990.229		602355.378		922		1262.225								922		456990.229						922		602355.378				601444.316

				456990.078		602356.366		923		1262.229								923		456990.078						923		602356.366				601444.316

				456989.927		602357.354		924		1262.229								924		456989.927						924		602357.354				601444.316

				456989.776		602358.342		925		1262.229								925		456989.776						925		602358.342				601444.316

				456989.625		602359.33		926		1262.249								926		456989.625						926		602359.33				601444.316

				456989.474		602360.318		927		1262.274								927		456989.474						927		602360.318				601444.316

				456989.323		602361.307		928		1262.299								928		456989.323						928		602361.307				601444.316

				456989.172		602362.295		929		1262.325								929		456989.172						929		602362.295				601444.316

				456989.02		602363.283		930		1262.365								930		456989.02						930		602363.283				601444.316

				456988.869		602364.271		931		1262.39								931		456988.869						931		602364.271				601444.316

				456988.718		602365.259		932		1262.39								932		456988.718						932		602365.259				601444.316

				456988.567		602366.247		933		1262.416								933		456988.567						933		602366.247				601444.316

				456988.416		602367.235		934		1262.441								934		456988.416						934		602367.235				601444.316

				456988.265		602368.224		935		1262.467								935		456988.265						935		602368.224				601444.316

				456988.114		602369.212		936		1262.492								936		456988.114						936		602369.212				601444.316

				456987.963		602370.2		937		1262.517								937		456987.963						937		602370.2				601444.316

				456987.812		602371.188		938		1262.543								938		456987.812						938		602371.188				601444.316

				456987.66		602372.176		939		1262.583								939		456987.66						939		602372.176				601444.316

				456987.509		602373.164		940		1262.583								940		456987.509						940		602373.164				601444.316

				456987.358		602374.152		941		1262.608								941		456987.358						941		602374.152				601444.316

				456987.207		602375.14		942		1262.634								942		456987.207						942		602375.14				601444.316

				456987.056		602376.129		943		1262.659								943		456987.056						943		602376.129				601444.316

				456986.905		602377.117		944		1262.685								944		456986.905						944		602377.117				601444.316

				456986.754		602378.105		945		1262.71								945		456986.754						945		602378.105				601444.316

				456986.603		602379.093		946		1262.736								946		456986.603						946		602379.093				601444.316

				456986.452		602380.081		947		1262.761								947		456986.452						947		602380.081				601444.316

				456986.301		602381.069		948		1262.775								948		456986.301						948		602381.069				601444.316

				456986.149		602382.057		949		1262.801								949		456986.149						949		602382.057				601444.316

				456985.998		602383.046		950		1262.826								950		456985.998						950		602383.046				601444.316

				456985.847		602384.034		951		1262.852								951		456985.847						951		602384.034				601444.316

				456985.696		602385.022		952		1262.877								952		456985.696						952		602385.022				601444.316

				456985.545		602386.01		953		1262.903								953		456985.545						953		602386.01				601444.316

				456985.394		602386.998		954		1262.928								954		456985.394						954		602386.998				601444.316

				456985.243		602387.986		955		1262.928								955		456985.243						955		602387.986				601444.316

				456985.092		602388.974		956		1262.954								956		456985.092						956		602388.974				601444.316

				456984.941		602389.962		957		1262.993								957		456984.941						957		602389.962				601444.316

				456984.789		602390.951		958		1263								958		456984.789						958		602390.951				601444.316

				456984.638		602391.939		959		1263								959		456984.638						959		602391.939				601444.316

				456984.487		602392.927		960		1263								960		456984.487						960		602392.927				601444.316

				456984.336		602393.915		961		1263								961		456984.336						961		602393.915				601444.316

				456984.185		602394.903		962		1263								962		456984.185						962		602394.903				601444.316

				456984.034		602395.891		963		1263								963		456984.034						963		602395.891				601444.316

				456983.883		602396.879		964		1263								964		456983.883						964		602396.879				601444.316

				456983.732		602397.868		965		1263								965		456983.732						965		602397.868				601444.316

				456983.581		602398.856		966		1263								966		456983.581						966		602398.856				601444.316

				456983.43		602399.844		967		1263								967		456983.43						967		602399.844				601444.316

				456983.278		602400.832		968		1263								968		456983.278						968		602400.832				601444.316

				456983.127		602401.82		969		1263								969		456983.127						969		602401.82				601444.316

				456982.976		602402.808		970		1263								970		456982.976						970		602402.808				601444.316

				456982.825		602403.796		971		1263								971		456982.825						971		602403.796				601444.316

				456982.674		602404.785		972		1263								972		456982.674						972		602404.785				601444.316

				456982.523		602405.773		973		1263								973		456982.523						973		602405.773				601444.316

				456982.372		602406.761		974		1263								974		456982.372						974		602406.761				601444.316

				456982.221		602407.749		975		1263								975		456982.221						975		602407.749				601444.316

				456982.07		602408.737		976		1263								976		456982.07						976		602408.737				601444.316

				456981.918		602409.725		977		1263								977		456981.918						977		602409.725				601444.316

				456981.767		602410.713		978		1263								978		456981.767						978		602410.713				601444.316

				456981.616		602411.701		979		1263								979		456981.616						979		602411.701				601444.316

				456981.465		602412.69		980		1263								980		456981.465						980		602412.69				601444.316

				456981.314		602413.678		981		1263								981		456981.314						981		602413.678				601444.316

				456981.163		602414.666		982		1263								982		456981.163						982		602414.666				601444.316

				456981.012		602415.654		983		1263								983		456981.012						983		602415.654				601444.316

				456980.861		602416.642		984		1263								984		456980.861						984		602416.642				601444.316

				456980.71		602417.63		985		1263.002								985		456980.71						985		602417.63				601444.316

				456980.559		602418.618		986		1263.002								986		456980.559						986		602418.618				601444.316

				456980.407		602419.607		987		1263.032								987		456980.407						987		602419.607				601444.316

				456980.256		602420.595		988		1263.063								988		456980.256						988		602420.595				601444.316

				456980.105		602421.583		989		1263.088								989		456980.105						989		602421.583				601444.316

				456979.954		602422.571		990		1263.119								990		456979.954						990		602422.571				601444.316

				456979.803		602423.559		991		1263.149								991		456979.803						991		602423.559				601444.316

				456979.652		602424.547		992		1263.172								992		456979.652						992		602424.547				601444.316

				456979.501		602425.535		993		1263.195								993		456979.501						993		602425.535				601444.316

				456979.35		602426.524		994		1263.195								994		456979.35						994		602426.524				601444.316

				456979.199		602427.512		995		1263.218								995		456979.199						995		602427.512				601444.316

				456979.047		602428.5		996		1263.241								996		456979.047						996		602428.5				601444.316

				456978.896		602429.488		997		1263.269								997		456978.896						997		602429.488				601444.316

				456978.745		602430.476		998		1263.297								998		456978.745						998		602430.476				601444.316

				456978.594		602431.464		999		1263.326								999		456978.594						999		602431.464				601444.316

				456978.443		602432.452		1000		1263.355								1000		456978.443						1000		602432.452				601444.316

				456978.292		602433.44		1001		1263.363								1001		456978.292						1001		602433.44				601444.316

				456978.141		602434.429		1002		1263.363								1002		456978.141						1002		602434.429				601444.316

				456977.99		602435.417		1003		1263.385								1003		456977.99						1003		602435.417				601444.316

				456977.839		602436.405		1004		1263.407								1004		456977.839						1004		602436.405				601444.316

				456977.688		602437.393		1005		1263.429								1005		456977.688						1005		602437.393				601444.316

				456977.536		602438.381		1006		1263.451								1006		456977.536						1006		602438.381				601444.316

				456977.385		602439.369		1007		1263.476								1007		456977.385						1007		602439.369				601444.316

				456977.234		602440.357		1008		1263.5								1008		456977.234						1008		602440.357				601444.316

				456977.083		602441.346		1009		1263.527								1009		456977.083						1009		602441.346				601444.316

				456976.932		602442.334		1010		1263.519								1010		456976.932						1010		602442.334				601444.316

				456976.781		602443.322		1011		1263.54								1011		456976.781						1011		602443.322				601444.316

				456976.63		602444.31		1012		1263.561								1012		456976.63						1012		602444.31				601444.316

				456976.479		602445.298		1013		1263.582								1013		456976.479						1013		602445.298				601444.316

				456976.328		602446.286		1014		1263.603								1014		456976.328						1014		602446.286				601444.316

				456976.176		602447.274		1015		1263.624								1015		456976.176						1015		602447.274				601444.316

				456976.025		602448.263		1016		1263.645								1016		456976.025						1016		602448.263				601444.316

				456975.874		602449.251		1017		1263.645								1017		456975.874						1017		602449.251				601444.316

				456975.723		602450.239		1018		1263.666								1018		456975.723						1018		602450.239				601444.316

				456975.572		602451.227		1019		1263.667								1019		456975.572						1019		602451.227				601444.316

				456975.421		602452.215		1020		1263.691								1020		456975.421						1020		602452.215				601444.316

				456975.27		602453.203		1021		1263.716								1021		456975.27						1021		602453.203				601444.316

				456975.119		602454.191		1022		1263.739								1022		456975.119						1022		602454.191				601444.316

				456974.968		602455.179		1023		1263.763								1023		456974.968						1023		602455.179				601444.316

				456974.817		602456.168		1024		1263.783								1024		456974.817						1024		602456.168				601444.316

				456974.665		602457.156		1025		1263.783								1025		456974.665						1025		602457.156				601444.316

				456974.514		602458.144		1026		1263.803								1026		456974.514						1026		602458.144				601444.316

				456974.363		602459.132		1027		1263.823								1027		456974.363						1027		602459.132				601444.316

				456974.212		602460.12		1028		1263.824								1028		456974.212						1028		602460.12				601444.316

				456974.061		602461.108		1029		1263.844								1029		456974.061						1029		602461.108				601444.316

				456973.91		602462.096		1030		1263.864								1030		456973.91						1030		602462.096				601444.316

				456973.759		602463.085		1031		1263.884								1031		456973.759						1031		602463.085				601444.316

				456973.608		602464.073		1032		1263.904								1032		456973.608						1032		602464.073				601444.316

				456973.457		602465.061		1033		1263.904								1033		456973.457						1033		602465.061				601444.316

				456973.305		602466.049		1034		1263.924								1034		456973.305						1034		602466.049				601444.316

				456973.154		602467.037		1035		1263.944								1035		456973.154						1035		602467.037				601444.316

				456973.003		602468.025		1036		1263.964								1036		456973.003						1036		602468.025				601444.316

				456972.852		602469.013		1037		1263.982								1037		456972.852						1037		602469.013				601444.316

				456972.701		602470.002		1038		1264								1038		456972.701						1038		602470.002				601444.316

				456972.55		602470.99		1039		1264.008								1039		456972.55						1039		602470.99				601444.316

				456972.399		602471.978		1040		1264.008								1040		456972.399						1040		602471.978				601444.316

				456972.248		602472.966		1041		1264.037								1041		456972.248						1041		602472.966				601444.316

				456972.097		602473.954		1042		1264.066								1042		456972.097						1042		602473.954				601444.316

				456971.946		602474.942		1043		1264.095								1043		456971.946						1043		602474.942				601444.316

				456971.794		602475.93		1044		1264.124								1044		456971.794						1044		602475.93				601444.316

				456971.643		602476.918		1045		1264.127								1045		456971.643						1045		602476.918				601444.316

				456971.492		602477.907		1046		1264.156								1046		456971.492						1046		602477.907				601444.316

				456971.341		602478.895		1047		1264.186								1047		456971.341						1047		602478.895				601444.316

				456971.19		602479.883		1048		1264.186								1048		456971.19						1048		602479.883				601444.316

				456971.039		602480.871		1049		1264.215								1049		456971.039						1049		602480.871				601444.316

				456970.888		602481.859		1050		1264.245								1050		456970.888						1050		602481.859				601444.316

				456970.737		602482.847		1051		1264.274								1051		456970.737						1051		602482.847				601444.316

				456970.586		602483.835		1052		1264.304								1052		456970.586						1052		602483.835				601444.316

				456970.434		602484.824		1053		1264.333								1053		456970.434						1053		602484.824				601444.316

				456970.283		602485.812		1054		1264.338								1054		456970.283						1054		602485.812				601444.316

				456970.132		602486.8		1055		1264.366								1055		456970.132						1055		602486.8				601444.316

				456969.981		602487.788		1056		1264.366								1056		456969.981						1056		602487.788				601444.316

				456969.83		602488.776		1057		1264.393								1057		456969.83						1057		602488.776				601444.316

				456969.679		602489.764		1058		1264.422								1058		456969.679						1058		602489.764				601444.316

				456969.528		602490.752		1059		1264.453								1059		456969.528						1059		602490.752				601444.316

				456969.377		602491.741		1060		1264.482								1060		456969.377						1060		602491.741				601444.316

				456969.226		602492.729		1061		1264.509								1061		456969.226						1061		602492.729				601444.316

				456969.075		602493.717		1062		1264.536								1062		456969.075						1062		602493.717				601444.316

				456968.923		602494.705		1063		1264.539								1063		456968.923						1063		602494.705				601444.316

				456968.772		602495.693		1064		1264.539								1064		456968.772						1064		602495.693				601444.316

				456968.621		602496.681		1065		1264.565								1065		456968.621						1065		602496.681				601444.316

				456968.47		602497.669		1066		1264.591								1066		456968.47						1066		602497.669				601444.316

				456968.319		602498.657		1067		1264.617								1067		456968.319						1067		602498.657				601444.316

				456968.168		602499.646		1068		1264.646								1068		456968.168						1068		602499.646				601444.316

				456968.017		602500.634		1069		1264.676								1069		456968.017						1069		602500.634				601444.316

				456967.866		602501.622		1070		1264.704								1070		456967.866						1070		602501.622				601444.316

				456967.715		602502.61		1071		1264.704								1071		456967.715						1071		602502.61				601444.316

				456967.563		602503.598		1072		1264.703								1072		456967.563						1072		602503.598				601444.316

				456967.412		602504.586		1073		1264.731								1073		456967.412						1073		602504.586				601444.316

				456967.261		602505.574		1074		1264.755								1074		456967.261						1074		602505.574				601444.316

				456967.11		602506.563		1075		1264.78								1075		456967.11						1075		602506.563				601444.316

				456966.959		602507.551		1076		1264.805								1076		456966.959						1076		602507.551				601444.316

				456966.808		602508.539		1077		1264.83								1077		456966.808						1077		602508.539				601444.316

				456966.657		602509.527		1078		1264.854								1078		456966.657						1078		602509.527				601444.316

				456966.506		602510.515		1079		1264.854								1079		456966.506						1079		602510.515				601444.316

				456966.355		602511.503		1080		1264.88								1080		456966.355						1080		602511.503				601444.316

				456966.204		602512.491		1081		1264.881								1081		456966.204						1081		602512.491				601444.316

				456966.052		602513.48		1082		1264.906								1082		456966.052						1082		602513.48				601444.316

				456965.901		602514.468		1083		1264.932								1083		456965.901						1083		602514.468				601444.316

				456965.75		602515.456		1084		1264.957								1084		456965.75						1084		602515.456				601444.316

				456965.599		602516.444		1085		1264.981								1085		456965.599						1085		602516.444				601444.316

				456965.448		602517.432		1086		1265.006								1086		456965.448						1086		602517.432				601444.316

				456965.297		602518.42		1087		1265.006								1087		456965.297						1087		602518.42				601444.316

				456965.146		602519.408		1088		1265.029								1088		456965.146						1088		602519.408				601444.316

				456964.995		602520.396		1089		1265.052								1089		456964.995						1089		602520.396				601444.316

				456964.844		602521.385		1090		1265.039								1090		456964.844						1090		602521.385				601444.316

				456964.692		602522.373		1091		1265.053								1091		456964.692						1091		602522.373				601444.316

				456964.541		602523.361		1092		1265.068								1092		456964.541						1092		602523.361				601444.316

				456964.39		602524.349		1093		1265.082								1093		456964.39						1093		602524.349				601444.316

				456964.239		602525.337		1094		1265.097								1094		456964.239						1094		602525.337				601444.316

				456964.088		602526.325		1095		1265.097								1095		456964.088						1095		602526.325				601444.316

				456963.937		602527.313		1096		1265.111								1096		456963.937						1096		602527.313				601444.316

				456963.786		602528.302		1097		1265.126								1097		456963.786						1097		602528.302				601444.316

				456963.635		602529.29		1098		1265.14								1098		456963.635						1098		602529.29				601444.316

				456963.484		602530.278		1099		1265.123								1099		456963.484						1099		602530.278				601444.316

				456963.333		602531.266		1100		1265.129								1100		456963.333						1100		602531.266				601444.316

				456963.181		602532.254		1101		1265.142								1101		456963.181						1101		602532.254				601444.316

				456963.03		602533.242		1102		1265.142								1102		456963.03						1102		602533.242				601444.316

				456962.879		602534.23		1103		1265.149								1103		456962.879						1103		602534.23				601444.316

				456962.728		602535.219		1104		1265.149								1104		456962.728						1104		602535.219				601444.316

				456962.577		602536.207		1105		1265.149								1105		456962.577						1105		602536.207				601444.316

				456962.426		602537.195		1106		1265.148								1106		456962.426						1106		602537.195				601444.316

				456962.275		602538.183		1107		1265.101								1107		456962.275						1107		602538.183				601444.316

				456962.124		602539.171		1108		1265.099								1108		456962.124						1108		602539.171				601444.316

				456961.973		602540.159		1109		1265.097								1109		456961.973						1109		602540.159				601444.316

				456961.821		602541.147		1110		1265.097								1110		456961.821						1110		602541.147				601444.316

				456961.67		602542.135		1111		1265.095								1111		456961.67						1111		602542.135				601444.316

				456961.519		602543.124		1112		1265.093								1112		456961.519						1112		602543.124				601444.316

				456961.368		602544.112		1113		1265.09								1113		456961.368						1113		602544.112				601444.316

				456961.217		602545.1		1114		1265.079								1114		456961.217						1114		602545.1				601444.316

				456961.066		602546.088		1115		1265.066								1115		456961.066						1115		602546.088				601444.316

				456960.915		602547.076		1116		1265.004								1116		456960.915						1116		602547.076				601444.316

				456960.764		602548.064		1117		1264.987								1117		456960.764						1117		602548.064				601444.316

				456960.613		602549.052		1118		1264.987								1118		456960.613						1118		602549.052				601444.316

				456960.461		602550.041		1119		1264.971								1119		456960.461						1119		602550.041				601444.316

				456960.31		602551.029		1120		1264.958								1120		456960.31						1120		602551.029				601444.316

				456960.159		602552.017		1121		1264.971								1121		456960.159						1121		602552.017				601444.316

				456960.008		602553.005		1122		1264.983								1122		456960.008						1122		602553.005				601444.316

				456959.857		602553.993		1123		1264.995								1123		456959.857						1123		602553.993				601444.316

				456959.706		602554.981		1124		1265								1124		456959.706						1124		602554.981				601444.316

				456959.555		602555.969		1125		1264.971								1125		456959.555						1125		602555.969				601444.316

				456959.404		602556.958		1126		1264.971								1126		456959.404						1126		602556.958				601444.316

				456959.253		602557.946		1127		1264.983								1127		456959.253						1127		602557.946				601444.316

				456959.102		602558.934		1128		1264.996								1128		456959.102						1128		602558.934				601444.316

				456958.95		602559.922		1129		1265								1129		456958.95						1129		602559.922				601444.316

				456958.799		602560.91		1130		1265								1130		456958.799						1130		602560.91				601444.316

				456958.648		602561.898		1131		1265								1131		456958.648						1131		602561.898				601444.316

				456958.497		602562.886		1132		1265								1132		456958.497						1132		602562.886				601444.316

				456958.346		602563.874		1133		1265								1133		456958.346						1133		602563.874				601444.316

				456958.195		602564.863		1134		1265								1134		456958.195						1134		602564.863				601444.316

				456958.044		602565.851		1135		1265								1135		456958.044						1135		602565.851				601444.316

				456957.893		602566.839		1136		1265								1136		456957.893						1136		602566.839				601444.316

				456957.742		602567.827		1137		1265								1137		456957.742						1137		602567.827				601444.316

				456957.59		602568.815		1138		1265								1138		456957.59						1138		602568.815				601444.316

				456957.439		602569.803		1139		1265								1139		456957.439						1139		602569.803				601444.316

				456957.288		602570.791		1140		1265								1140		456957.288						1140		602570.791				601444.316

				456957.137		602571.78		1141		1265								1141		456957.137						1141		602571.78				601444.316

				456956.986		602572.768		1142		1265								1142		456956.986						1142		602572.768				601444.316

				456956.835		602573.756		1143		1264.968								1143		456956.835						1143		602573.756				601444.316

				456956.684		602574.744		1144		1264.966								1144		456956.684						1144		602574.744				601444.316

				456956.533		602575.732		1145		1264.964								1145		456956.533						1145		602575.732				601444.316

				456956.382		602576.72		1146		1264.963								1146		456956.382						1146		602576.72				601444.316

				456956.231		602577.708		1147		1264.961								1147		456956.231						1147		602577.708				601444.316

				456956.079		602578.697		1148		1264.959								1148		456956.079						1148		602578.697				601444.316

				456955.928		602579.685		1149		1264.959								1149		456955.928						1149		602579.685				601444.316

				456955.777		602580.673		1150		1264.97								1150		456955.777						1150		602580.673				601444.316

				456955.626		602581.661		1151		1264.98								1151		456955.626						1151		602581.661				601444.316

				456955.475		602582.649		1152		1264.956								1152		456955.475						1152		602582.649				601444.316

				456955.324		602583.637		1153		1264.961								1153		456955.324						1153		602583.637				601444.316

				456955.173		602584.625		1154		1264.965								1154		456955.173						1154		602584.625				601444.316

				456955.022		602585.613		1155		1264.967								1155		456955.022						1155		602585.613				601444.316

				456954.871		602586.602		1156		1264.971								1156		456954.871						1156		602586.602				601444.316

				456954.719		602587.59		1157		1264.971								1157		456954.719						1157		602587.59				601444.316

				456954.568		602588.578		1158		1264.976								1158		456954.568						1158		602588.578				601444.316

				456954.417		602589.566		1159		1264.983								1159		456954.417						1159		602589.566				601444.316

				456954.266		602590.554		1160		1264.99								1160		456954.266						1160		602590.554				601444.316

				456954.115		602591.542		1161		1264.966								1161		456954.115						1161		602591.542				601444.316

				456953.964		602592.53		1162		1264.974								1162		456953.964						1162		602592.53				601444.316

				456953.813		602593.519		1163		1264.979								1163		456953.813						1163		602593.519				601444.316

				456953.662		602594.507		1164		1264.979								1164		456953.662						1164		602594.507				601444.316

				456953.511		602595.495		1165		1264.979								1165		456953.511						1165		602595.495				601444.316

				456953.36		602596.483		1166		1264.979								1166		456953.36						1166		602596.483				601444.316

				456953.208		602597.471		1167		1264.978								1167		456953.208						1167		602597.471				601444.316

				456953.057		602598.459		1168		1264.99								1168		456953.057						1168		602598.459				601444.316

				456952.906		602599.447		1169		1265								1169		456952.906						1169		602599.447				601444.316

				456952.755		602600.435		1170		1264.953								1170		456952.755						1170		602600.435				601444.316

				456952.604		602601.424		1171		1264.965								1171		456952.604						1171		602601.424				601444.316

				456952.453		602602.412		1172		1264.965								1172		456952.453						1172		602602.412				601444.316

				456952.302		602603.4		1173		1264.977								1173		456952.302						1173		602603.4				601444.316

				456952.151		602604.388		1174		1264.989								1174		456952.151						1174		602604.388				601444.316

				456952		602605.376		1175		1265								1175		456952						1175		602605.376				601444.316

				456951.848		602606.364		1176		1265								1176		456951.848						1176		602606.364				601444.316

				456951.697		602607.352		1177		1265								1177		456951.697						1177		602607.352				601444.316

				456951.546		602608.341		1178		1265								1178		456951.546						1178		602608.341				601444.316

				456951.395		602609.329		1179		1265								1179		456951.395						1179		602609.329				601444.316

				456951.244		602610.317		1180		1265								1180		456951.244						1180		602610.317				601444.316

				456951.093		602611.305		1181		1265								1181		456951.093						1181		602611.305				601444.316

				456950.942		602612.293		1182		1265.019								1182		456950.942						1182		602612.293				601444.316

				456950.791		602613.281		1183		1265.046								1183		456950.791						1183		602613.281				601444.316

				456950.64		602614.269		1184		1265.073								1184		456950.64						1184		602614.269				601444.316

				456950.489		602615.258		1185		1265.098								1185		456950.489						1185		602615.258				601444.316

				456950.337		602616.246		1186		1265.124								1186		456950.337						1186		602616.246				601444.316

				456950.186		602617.234		1187		1265.113								1187		456950.186						1187		602617.234				601444.316

				456950.035		602618.222		1188		1265.113								1188		456950.035						1188		602618.222				601444.316

				456949.884		602619.21		1189		1265.138								1189		456949.884						1189		602619.21				601444.316

				456949.733		602620.198		1190		1265.162								1190		456949.733						1190		602620.198				601444.316

				456949.582		602621.186		1191		1265.186								1191		456949.582						1191		602621.186				601444.316

				456949.431		602622.174		1192		1265.209								1192		456949.431						1192		602622.174				601444.316

				456949.28		602623.163		1193		1265.232								1193		456949.28						1193		602623.163				601444.316

				456949.129		602624.151		1194		1265.255								1194		456949.129						1194		602624.151				601444.316

				456948.977		602625.139		1195		1265.255								1195		456948.977						1195		602625.139				601444.316

				456948.826		602626.127		1196		1265.24								1196		456948.826						1196		602626.127				601444.316

				456948.675		602627.115		1197		1265.261								1197		456948.675						1197		602627.115				601444.316

				456948.524		602628.103		1198		1265.283								1198		456948.524						1198		602628.103				601444.316

				456948.373		602629.091		1199		1265.316								1199		456948.373						1199		602629.091				601444.316

				456948.222		602630.08		1200		1265.348								1200		456948.222						1200		602630.08				601444.316

				456948.071		602631.068		1201		1265.381								1201		456948.071						1201		602631.068				601444.316

				456947.92		602632.056		1202		1265.414								1202		456947.92						1202		602632.056				601444.316

				456947.769		602633.044		1203		1265.414								1203		456947.769						1203		602633.044				601444.316

				456947.618		602634.032		1204		1265.447								1204		456947.618						1204		602634.032				601444.316

				456947.466		602635.02		1205		1265.451								1205		456947.466						1205		602635.02				601444.316

				456947.315		602636.008		1206		1265.474								1206		456947.315						1206		602636.008				601444.316

				456947.164		602636.997		1207		1265.498								1207		456947.164						1207		602636.997				601444.316

				456947.013		602637.985		1208		1265.519								1208		456947.013						1208		602637.985				601444.316

				456946.862		602638.973		1209		1265.539								1209		456946.862						1209		602638.973				601444.316

				456946.711		602639.961		1210		1265.551								1210		456946.711						1210		602639.961				601444.316

				456946.56		602640.949		1211		1265.551								1211		456946.56						1211		602640.949				601444.316

				456946.409		602641.937		1212		1265.563								1212		456946.409						1212		602641.937				601444.316

				456946.258		602642.925		1213		1265.575								1213		456946.258						1213		602642.925				601444.316

				456946.106		602643.913		1214		1265.548								1214		456946.106						1214		602643.913				601444.316

				456945.955		602644.902		1215		1265.56								1215		456945.955						1215		602644.902				601444.316

				456945.804		602645.89		1216		1265.572								1216		456945.804						1216		602645.89				601444.316

				456945.653		602646.878		1217		1265.584								1217		456945.653						1217		602646.878				601444.316

				456945.502		602647.866		1218		1265.596								1218		456945.502						1218		602647.866				601444.316

				456945.351		602648.854		1219		1265.596								1219		456945.351						1219		602648.854				601444.316

				456945.2		602649.842		1220		1265.608								1220		456945.2						1220		602649.842				601444.316

				456945.049		602650.83		1221		1265.624								1221		456945.049						1221		602650.83				601444.316

				456944.898		602651.819		1222		1265.644								1222		456944.898						1222		602651.819				601444.316

				456944.747		602652.807		1223		1265.607								1223		456944.747						1223		602652.807				601444.316

				456944.595		602653.795		1224		1265.607								1224		456944.595						1224		602653.795				601444.316

				456944.444		602654.783		1225		1265.593								1225		456944.444						1225		602654.783				601444.316

				456944.293		602655.771		1226		1265.593								1226		456944.293						1226		602655.771				601444.316

				456944.142		602656.759		1227		1265.541								1227		456944.142						1227		602656.759				601444.316

				456943.991		602657.747		1228		1265.49								1228		456943.991						1228		602657.747				601444.316

				456943.84		602658.736		1229		1265.439								1229		456943.84						1229		602658.736				601444.316

				456943.689		602659.724		1230		1265.388								1230		456943.689						1230		602659.724				601444.316

				456943.538		602660.712		1231		1265.337								1231		456943.538						1231		602660.712				601444.316

				456943.387		602661.7		1232		1265.228								1232		456943.387						1232		602661.7				601444.316

				456943.235		602662.688		1233		1265.177								1233		456943.235						1233		602662.688				601444.316

				456943.084		602663.676		1234		1265.177								1234		456943.084						1234		602663.676				601444.316

				456942.933		602664.664		1235		1265.151								1235		456942.933						1235		602664.664				601444.316

				456942.782		602665.652		1236		1265.231								1236		456942.782						1236		602665.652				601444.316

				456942.631		602666.641		1237		1265.323								1237		456942.631						1237		602666.641				601444.316

				456942.48		602667.629		1238		1265.415								1238		456942.48						1238		602667.629				601444.316

				456942.329		602668.617		1239		1265.507								1239		456942.329						1239		602668.617				601444.316

				456942.178		602669.605		1240		1265.6								1240		456942.178						1240		602669.605				601444.316

				456942.027		602670.593		1241		1265.678								1241		456942.027						1241		602670.593				601444.316

				456941.876		602671.581		1242		1265.678								1242		456941.876						1242		602671.581				601444.316

				456941.724		602672.569		1243		1265.771								1243		456941.724						1243		602672.569				601444.316

				456941.573		602673.558		1244		1265.863								1244		456941.573						1244		602673.558				601444.316

				456941.422		602674.546		1245		1265.955								1245		456941.422						1245		602674.546				601444.316

				456941.271		602675.534		1246		1266								1246		456941.271						1246		602675.534				601444.316

				456941.12		602676.522		1247		1266								1247		456941.12						1247		602676.522				601444.316

				456940.969		602677.51		1248		1266								1248		456940.969						1248		602677.51				601444.316

				456940.818		602678.498		1249		1266								1249		456940.818						1249		602678.498				601444.316

				456940.667		602679.486		1250		1266								1250		456940.667						1250		602679.486				601444.316

				456940.516		602680.475		1251		1266								1251		456940.516						1251		602680.475				601444.316

				456940.364		602681.463		1252		1266								1252		456940.364						1252		602681.463				601444.316

				456940.213		602682.451		1253		1266								1253		456940.213						1253		602682.451				601444.316

				456940.062		602683.439		1254		1266								1254		456940.062						1254		602683.439				601444.316

				456939.911		602684.427		1255		1266								1255		456939.911						1255		602684.427				601444.316

				456939.76		602685.415		1256		1266								1256		456939.76						1256		602685.415				601444.316

				456939.609		602686.403		1257		1266								1257		456939.609						1257		602686.403				601444.316

				456939.458		602687.391		1258		1266								1258		456939.458						1258		602687.391				601444.316

				456939.307		602688.38		1259		1266								1259		456939.307						1259		602688.38				601444.316

				456939.156		602689.368		1260		1266								1260		456939.156						1260		602689.368				601444.316

				456939.005		602690.356		1261		1266								1261		456939.005						1261		602690.356				601444.316

				456938.853		602691.344		1262		1266								1262		456938.853						1262		602691.344				601444.316

				456938.702		602692.332		1263		1266								1263		456938.702						1263		602692.332				601444.316

				456938.551		602693.32		1264		1266								1264		456938.551						1264		602693.32				601444.316

				456938.4		602694.308		1265		1266								1265		456938.4						1265		602694.308				601444.316

				456938.249		602695.297		1266		1266								1266		456938.249						1266		602695.297				601444.316

				456938.098		602696.285		1267		1266								1267		456938.098						1267		602696.285				601444.316

				456937.947		602697.273		1268		1266								1268		456937.947						1268		602697.273				601444.316

				456937.796		602698.261		1269		1266								1269		456937.796						1269		602698.261				601444.316

				456937.645		602699.249		1270		1266								1270		456937.645						1270		602699.249				601444.316

				456937.493		602700.237		1271		1266								1271		456937.493						1271		602700.237				601444.316

				456937.342		602701.225		1272		1266								1272		456937.342						1272		602701.225				601444.316

				456937.191		602702.214		1273		1266								1273		456937.191						1273		602702.214				601444.316

				456937.04		602703.202		1274		1266								1274		456937.04						1274		602703.202				601444.316

				456936.889		602704.19		1275		1266								1275		456936.889						1275		602704.19				601444.316

				456936.738		602705.178		1276		1266								1276		456936.738						1276		602705.178				601444.316

				456936.587		602706.166		1277		1266								1277		456936.587						1277		602706.166				601444.316

				456936.436		602707.154		1278		1266								1278		456936.436						1278		602707.154				601444.316

				456936.285		602708.142		1279		1266								1279		456936.285						1279		602708.142				601444.316

				456936.134		602709.13		1280		1266								1280		456936.134						1280		602709.13				601444.316

				456935.982		602710.119		1281		1266								1281		456935.982						1281		602710.119				601444.316

				456935.831		602711.107		1282		1266								1282		456935.831						1282		602711.107				601444.316

				456935.68		602712.095		1283		1266								1283		456935.68						1283		602712.095				601444.316

				456935.529		602713.083		1284		1266								1284		456935.529						1284		602713.083				601444.316

				456935.378		602714.071		1285		1266								1285		456935.378						1285		602714.071				601444.316

				456935.227		602715.059		1286		1266								1286		456935.227						1286		602715.059				601444.316

				456935.076		602716.047		1287		1266								1287		456935.076						1287		602716.047				601444.316

				456934.925		602717.036		1288		1266								1288		456934.925						1288		602717.036				601444.316

				456934.774		602718.024		1289		1266								1289		456934.774						1289		602718.024				601444.316

				456934.622		602719.012		1290		1266								1290		456934.622						1290		602719.012				601444.316

				456934.471		602720		1291		1266								1291		456934.471						1291		602720				601444.316

				456934.32		602720.988		1292		1266								1292		456934.32						1292		602720.988				601444.316

				456934.169		602721.976		1293		1266								1293		456934.169						1293		602721.976				601444.316

				456934.018		602722.964		1294		1266								1294		456934.018						1294		602722.964				601444.316

				456933.867		602723.953		1295		1266								1295		456933.867						1295		602723.953				601444.316

				456933.716		602724.941		1296		1266								1296		456933.716						1296		602724.941				601444.316

				456933.565		602725.929		1297		1266								1297		456933.565						1297		602725.929				601444.316

				456933.414		602726.917		1298		1266								1298		456933.414						1298		602726.917				601444.316

				456933.263		602727.905		1299		1266								1299		456933.263						1299		602727.905				601444.316

				456933.111		602728.893		1300		1266								1300		456933.111						1300		602728.893				601444.316

				456932.96		602729.881		1301		1266								1301		456932.96						1301		602729.881				601444.316

				456932.809		602730.869		1302		1266								1302		456932.809						1302		602730.869				601444.316

				456932.658		602731.858		1303		1266								1303		456932.658						1303		602731.858				601444.316

				456932.507		602732.846		1304		1266								1304		456932.507						1304		602732.846				601444.316

				456932.356		602733.834		1305		1266.05								1305		456932.356						1305		602733.834				601444.316

				456932.205		602734.822		1306		1266.107								1306		456932.205						1306		602734.822				601444.316

				456932.054		602735.81		1307		1266.177								1307		456932.054						1307		602735.81				601444.316

				456931.903		602736.798		1308		1266.236								1308		456931.903						1308		602736.798				601444.316

				456931.751		602737.786		1309		1266.268								1309		456931.751						1309		602737.786				601444.316

				456931.6		602738.775		1310		1266.333								1310		456931.6						1310		602738.775				601444.316

				456931.449		602739.763		1311		1266.331								1311		456931.449						1311		602739.763				601444.316

				456931.298		602740.751		1312		1266.331								1312		456931.298						1312		602740.751				601444.316

				456931.147		602741.739		1313		1266.388								1313		456931.147						1313		602741.739				601444.316

				456930.996		602742.727		1314		1266.404								1314		456930.996						1314		602742.727				601444.316

				456930.845		602743.715		1315		1266.429								1315		456930.845						1315		602743.715				601444.316

				456930.694		602744.703		1316		1266.483								1316		456930.694						1316		602744.703				601444.316

				456930.543		602745.692		1317		1266.513								1317		456930.543						1317		602745.692				601444.316

				456930.391		602746.68		1318		1266.541								1318		456930.391						1318		602746.68				601444.316

				456930.24		602747.668		1319		1266.541								1319		456930.24						1319		602747.668				601444.316

				456930.089		602748.656		1320		1266.533								1320		456930.089						1320		602748.656				601444.316

				456929.938		602749.644		1321		1266.561								1321		456929.938						1321		602749.644				601444.316

				456929.787		602750.632		1322		1266.589								1322		456929.787						1322		602750.632				601444.316

				456929.636		602751.62		1323		1266.617								1323		456929.636						1323		602751.62				601444.316

				456929.485		602752.608		1324		1266.645								1324		456929.485						1324		602752.608				601444.316

				456929.334		602753.597		1325		1266.673								1325		456929.334						1325		602753.597				601444.316

				456929.183		602754.585		1326		1266.701								1326		456929.183						1326		602754.585				601444.316

				456929.032		602755.573		1327		1266.701								1327		456929.032						1327		602755.573				601444.316

				456928.88		602756.561		1328		1266.729								1328		456928.88						1328		602756.561				601444.316

				456928.729		602757.549		1329		1266.702								1329		456928.729						1329		602757.549				601444.316

				456928.578		602758.537		1330		1266.704								1330		456928.578						1330		602758.537				601444.316

				456928.427		602759.525		1331		1266.707								1331		456928.427						1331		602759.525				601444.316

				456928.276		602760.514		1332		1266.707								1332		456928.276						1332		602760.514				601444.316

				456928.125		602761.502		1333		1266.708								1333		456928.125						1333		602761.502				601444.316

				456927.974		602762.49		1334		1266.708								1334		456927.974						1334		602762.49				601444.316

				456927.823		602763.478		1335		1266.708								1335		456927.823						1335		602763.478				601444.316

				456927.672		602764.466		1336		1266.708								1336		456927.672						1336		602764.466				601444.316

				456927.52		602765.454		1337		1266.712								1337		456927.52						1337		602765.454				601444.316

				456927.369		602766.442		1338		1266.697								1338		456927.369						1338		602766.442				601444.316

				456927.218		602767.431		1339		1266.718								1339		456927.218						1339		602767.431				601444.316

				456927.067		602768.419		1340		1266.74								1340		456927.067						1340		602768.419				601444.316

				456926.916		602769.407		1341		1266.76								1341		456926.916						1341		602769.407				601444.316

				456926.765		602770.395		1342		1266.76								1342		456926.765						1342		602770.395				601444.316

				456926.614		602771.383		1343		1266.781								1343		456926.614						1343		602771.383				601444.316

				456926.463		602772.371		1344		1266.802								1344		456926.463						1344		602772.371				601444.316

				456926.312		602773.359		1345		1266.824								1345		456926.312						1345		602773.359				601444.316

				456926.161		602774.347		1346		1266.845								1346		456926.161						1346		602774.347				601444.316

				456926.009		602775.336		1347		1266.83								1347		456926.009						1347		602775.336				601444.316

				456925.858		602776.324		1348		1266.852								1348		456925.858						1348		602776.324				601444.316

				456925.707		602777.312		1349		1266.873								1349		456925.707						1349		602777.312				601444.316

				456925.556		602778.3		1350		1266.873								1350		456925.556						1350		602778.3				601444.316

				456925.405		602779.288		1351		1266.894								1351		456925.405						1351		602779.288				601444.316

				456925.254		602780.276		1352		1266.915								1352		456925.254						1352		602780.276				601444.316

				456925.103		602781.264		1353		1266.936								1353		456925.103						1353		602781.264				601444.316

				456924.952		602782.253		1354		1266.957								1354		456924.952						1354		602782.253				601444.316

				456924.801		602783.241		1355		1266.978								1355		456924.801						1355		602783.241				601444.316

				456924.649		602784.229		1356		1267.002								1356		456924.649						1356		602784.229				601444.316

				456924.498		602785.217		1357		1267.049								1357		456924.498						1357		602785.217				601444.316

				456924.347		602786.205		1358		1267.049								1358		456924.347						1358		602786.205				601444.316

				456924.196		602787.193		1359		1267.097								1359		456924.196						1359		602787.193				601444.316

				456924.045		602788.181		1360		1267.144								1360		456924.045						1360		602788.181				601444.316

				456923.894		602789.17		1361		1267.191								1361		456923.894						1361		602789.17				601444.316

				456923.743		602790.158		1362		1267.239								1362		456923.743						1362		602790.158				601444.316

				456923.592		602791.146		1363		1267.286								1363		456923.592						1363		602791.146				601444.316

				456923.441		602792.134		1364		1267.334								1364		456923.441						1364		602792.134				601444.316

				456923.29		602793.122		1365		1267.372								1365		456923.29						1365		602793.122				601444.316

				456923.138		602794.11		1366		1267.372								1366		456923.138						1366		602794.11				601444.316

				456922.987		602795.098		1367		1267.42								1367		456922.987						1367		602795.098				601444.316

				456922.836		602796.086		1368		1267.468								1368		456922.836						1368		602796.086				601444.316

				456922.685		602797.075		1369		1267.516								1369		456922.685						1369		602797.075				601444.316

				456922.534		602798.063		1370		1267.564								1370		456922.534						1370		602798.063				601444.316

				456922.383		602799.051		1371		1267.612								1371		456922.383						1371		602799.051				601444.316

				456922.232		602800.039		1372		1267.661								1372		456922.232						1372		602800.039				601444.316

				456922.081		602801.027		1373		1267.661								1373		456922.081						1373		602801.027				601444.316

				456921.93		602802.015		1374		1267.701								1374		456921.93						1374		602802.015				601444.316

				456921.778		602803.003		1375		1267.751								1375		456921.778						1375		602803.003				601444.316

				456921.627		602803.992		1376		1267.8								1376		456921.627						1376		602803.992				601444.316

				456921.476		602804.98		1377		1267.85								1377		456921.476						1377		602804.98				601444.316

				456921.325		602805.968		1378		1267.901								1378		456921.325						1378		602805.968				601444.316

				456921.174		602806.956		1379		1267.951								1379		456921.174						1379		602806.956				601444.316

				456921.023		602807.944		1380		1268								1380		456921.023						1380		602807.944				601444.316

				456920.872		602808.932		1381		1268								1381		456920.872						1381		602808.932				601444.316

				456920.721		602809.92		1382		1268								1382		456920.721						1382		602809.92				601444.316

				456920.57		602810.908		1383		1268								1383		456920.57						1383		602810.908				601444.316

				456920.419		602811.897		1384		1268								1384		456920.419						1384		602811.897				601444.316

				456920.267		602812.885		1385		1268								1385		456920.267						1385		602812.885				601444.316

				456920.116		602813.873		1386		1268								1386		456920.116						1386		602813.873				601444.316

				456919.965		602814.861		1387		1268								1387		456919.965						1387		602814.861				601444.316

				456919.814		602815.849		1388		1268								1388		456919.814						1388		602815.849				601444.316

				456919.663		602816.837		1389		1268								1389		456919.663						1389		602816.837				601444.316

				456919.512		602817.825		1390		1268								1390		456919.512						1390		602817.825				601444.316

				456919.361		602818.814		1391		1268								1391		456919.361						1391		602818.814				601444.316

				456919.21		602819.802		1392		1268								1392		456919.21						1392		602819.802				601444.316

				456919.059		602820.79		1393		1268								1393		456919.059						1393		602820.79				601444.316

				456918.907		602821.778		1394		1268								1394		456918.907						1394		602821.778				601444.316

				456918.756		602822.766		1395		1268								1395		456918.756						1395		602822.766				601444.316

				456918.605		602823.754		1396		1268								1396		456918.605						1396		602823.754				601444.316

				456918.454		602824.742		1397		1268								1397		456918.454						1397		602824.742				601444.316

				456918.303		602825.731		1398		1268								1398		456918.303						1398		602825.731				601444.316

				456918.152		602826.719		1399		1268								1399		456918.152						1399		602826.719				601444.316

				456918.001		602827.707		1400		1268								1400		456918.001						1400		602827.707				601444.316

				456917.85		602828.695		1401		1268								1401		456917.85						1401		602828.695				601444.316

				456917.699		602829.683		1402		1268								1402		456917.699						1402		602829.683				601444.316

				456917.548		602830.671		1403		1268								1403		456917.548						1403		602830.671				601444.316

				456917.396		602831.659		1404		1268								1404		456917.396						1404		602831.659				601444.316

				456917.245		602832.647		1405		1268								1405		456917.245						1405		602832.647				601444.316

				456917.094		602833.636		1406		1268.011								1406		456917.094						1406		602833.636				601444.316

				456916.943		602834.624		1407		1268.027								1407		456916.943						1407		602834.624				601444.316

				456916.792		602835.612		1408		1268.042								1408		456916.792						1408		602835.612				601444.316

				456916.641		602836.6		1409		1268.044								1409		456916.641						1409		602836.6				601444.316

				456916.49		602837.588		1410		1268.06								1410		456916.49						1410		602837.588				601444.316

				456916.339		602838.576		1411		1268.075								1411		456916.339						1411		602838.576				601444.316

				456916.188		602839.564		1412		1268.075								1412		456916.188						1412		602839.564				601444.316

				456916.036		602840.553		1413		1268.091								1413		456916.036						1413		602840.553				601444.316

				456915.885		602841.541		1414		1268.106								1414		456915.885						1414		602841.541				601444.316

				456915.734		602842.529		1415		1268.122								1415		456915.734						1415		602842.529				601444.316

				456915.583		602843.517		1416		1268.137								1416		456915.583						1416		602843.517				601444.316

				456915.432		602844.505		1417		1268.153								1417		456915.432						1417		602844.505				601444.316

				456915.281		602845.493		1418		1268.155								1418		456915.281						1418		602845.493				601444.316

				456915.13		602846.481		1419		1268.171								1419		456915.13						1419		602846.481				601444.316

				456914.979		602847.47		1420		1268.171								1420		456914.979						1420		602847.47				601444.316

				456914.828		602848.458		1421		1268.186								1421		456914.828						1421		602848.458				601444.316

				456914.677		602849.446		1422		1268.19								1422		456914.677						1422		602849.446				601444.316

				456914.525		602850.434		1423		1268.192								1423		456914.525						1423		602850.434				601444.316

				456914.374		602851.422		1424		1268.195								1424		456914.374						1424		602851.422				601444.316

				456914.223		602852.41		1425		1268.203								1425		456914.223						1425		602852.41				601444.316

				456914.072		602853.398		1426		1268.205								1426		456914.072						1426		602853.398				601444.316

				456913.921		602854.386		1427		1268.186								1427		456913.921						1427		602854.386				601444.316

				456913.77		602855.375		1428		1268.186								1428		456913.77						1428		602855.375				601444.316

				456913.619		602856.363		1429		1268.195								1429		456913.619						1429		602856.363				601444.316

				456913.468		602857.351		1430		1268.197								1430		456913.468						1430		602857.351				601444.316

				456913.317		602858.339		1431		1268.199								1431		456913.317						1431		602858.339				601444.316

				456913.165		602859.327		1432		1268.202								1432		456913.165						1432		602859.327				601444.316

				456913.014		602860.315		1433		1268.208								1433		456913.014						1433		602860.315				601444.316

				456912.863		602861.303		1434		1268.21								1434		456912.863						1434		602861.303				601444.316

				456912.712		602862.292		1435		1268.21								1435		456912.712						1435		602862.292				601444.316

				456912.561		602863.28		1436		1268.189								1436		456912.561						1436		602863.28				601444.316

				456912.41		602864.268		1437		1268.204								1437		456912.41						1437		602864.268				601444.316

				456912.259		602865.256		1438		1268.213								1438		456912.259						1438		602865.256				601444.316

				456912.108		602866.244		1439		1268.216								1439		456912.108						1439		602866.244				601444.316

				456911.957		602867.232		1440		1268.218								1440		456911.957						1440		602867.232				601444.316

				456911.806		602868.22		1441		1268.23								1441		456911.806						1441		602868.22				601444.316

				456911.654		602869.209		1442		1268.238								1442		456911.654						1442		602869.209				601444.316

				456911.503		602870.197		1443		1268.238								1443		456911.503						1443		602870.197				601444.316

				456911.352		602871.185		1444		1268.241								1444		456911.352						1444		602871.185				601444.316

				456911.201		602872.173		1445		1268.224								1445		456911.201						1445		602872.173				601444.316

				456911.05		602873.161		1446		1268.232								1446		456911.05						1446		602873.161				601444.316

				456910.899		602874.149		1447		1268.237								1447		456910.899						1447		602874.149				601444.316

				456910.748		602875.137		1448		1268.243								1448		456910.748						1448		602875.137				601444.316

				456910.597		602876.125		1449		1268.253								1449		456910.597						1449		602876.125				601444.316

				456910.446		602877.114		1450		1268.263								1450		456910.446						1450		602877.114				601444.316

				456910.294		602878.102		1451		1268.263								1451		456910.294						1451		602878.102				601444.316

				456910.143		602879.09		1452		1268.271								1452		456910.143						1452		602879.09				601444.316

				456909.992		602880.078		1453		1268.261								1453		456909.992						1453		602880.078				601444.316

				456909.841		602881.066		1454		1268.271								1454		456909.841						1454		602881.066				601444.316

				456909.69		602882.054		1455		1268.278								1455		456909.69						1455		602882.054				601444.316

				456909.539		602883.042		1456		1268.278								1456		456909.539						1456		602883.042				601444.316

				456909.388		602884.031		1457		1268.279								1457		456909.388						1457		602884.031				601444.316

				456909.237		602885.019		1458		1268.281								1458		456909.237						1458		602885.019				601444.316

				456909.086		602886.007		1459		1268.281								1459		456909.086						1459		602886.007				601444.316

				456908.935		602886.995		1460		1268.287								1460		456908.935						1460		602886.995				601444.316

				456908.783		602887.983		1461		1268.293								1461		456908.783						1461		602887.983				601444.316

				456908.632		602888.971		1462		1268.279								1462		456908.632						1462		602888.971				601444.316

				456908.481		602889.959		1463		1268.294								1463		456908.481						1463		602889.959				601444.316

				456908.33		602890.948		1464		1268.306								1464		456908.33						1464		602890.948				601444.316

				456908.179		602891.936		1465		1268.324								1465		456908.179						1465		602891.936				601444.316

				456908.028		602892.924		1466		1268.324								1466		456908.028						1466		602892.924				601444.316

				456907.877		602893.912		1467		1268.341								1467		456907.877						1467		602893.912				601444.316

				456907.726		602894.9		1468		1268.359								1468		456907.726						1468		602894.9				601444.316

				456907.575		602895.888		1469		1268.377								1469		456907.575						1469		602895.888				601444.316

				456907.423		602896.876		1470		1268.395								1470		456907.423						1470		602896.876				601444.316

				456907.272		602897.864		1471		1268.406								1471		456907.272						1471		602897.864				601444.316

				456907.121		602898.853		1472		1268.424								1472		456907.121						1472		602898.853				601444.316

				456906.97		602899.841		1473		1268.442								1473		456906.97						1473		602899.841				601444.316

				456906.819		602900.829		1474		1268.442								1474		456906.819						1474		602900.829				601444.316

				456906.668		602901.817		1475		1268.46								1475		456906.668						1475		602901.817				601444.316

				456906.517		602902.805		1476		1268.477								1476		456906.517						1476		602902.805				601444.316

				456906.366		602903.793		1477		1268.495								1477		456906.366						1477		602903.793				601444.316

				456906.215		602904.781		1478		1268.513								1478		456906.215						1478		602904.781				601444.316

				456906.064		602905.77		1479		1268.531								1479		456906.064						1479		602905.77				601444.316

				456905.912		602906.758		1480		1268.542								1480		456905.912						1480		602906.758				601444.316

				456905.761		602907.746		1481		1268.56								1481		456905.761						1481		602907.746				601444.316

				456905.61		602908.734		1482		1268.56								1482		456905.61						1482		602908.734				601444.316

				456905.459		602909.722		1483		1268.578								1483		456905.459						1483		602909.722				601444.316

				456905.308		602910.71		1484		1268.596								1484		456905.308						1484		602910.71				601444.316

				456905.157		602911.698		1485		1268.614								1485		456905.157						1485		602911.698				601444.316

				456905.006		602912.687		1486		1268.631								1486		456905.006						1486		602912.687				601444.316

				456904.855		602913.675		1487		1268.649								1487		456904.855						1487		602913.675				601444.316

				456904.704		602914.663		1488		1268.667								1488		456904.704						1488		602914.663				601444.316

				456904.552		602915.651		1489		1268.678								1489		456904.552						1489		602915.651				601444.316

				456904.401		602916.639		1490		1268.678								1490		456904.401						1490		602916.639				601444.316

				456904.25		602917.627		1491		1268.696								1491		456904.25						1491		602917.627				601444.316

				456904.099		602918.615		1492		1268.714								1492		456904.099						1492		602918.615				601444.316

				456903.948		602919.603		1493		1268.732								1493		456903.948						1493		602919.603				601444.316

				456903.797		602920.592		1494		1268.75								1494		456903.797						1494		602920.592				601444.316

				456903.646		602921.58		1495		1268.767								1495		456903.646						1495		602921.58				601444.316

				456903.495		602922.568		1496		1268.785								1496		456903.495						1496		602922.568				601444.316

				456903.344		602923.556		1497		1268.785								1497		456903.344						1497		602923.556				601444.316

				456903.193		602924.544		1498		1268.797								1498		456903.193						1498		602924.544				601444.316

				456903.041		602925.532		1499		1268.814								1499		456903.041						1499		602925.532				601444.316

				456902.89		602926.52		1500		1268.832								1500		456902.89						1500		602926.52				601444.316

				456902.739		602927.509		1501		1268.85								1501		456902.739						1501		602927.509				601444.316

				456902.588		602928.497		1502		1268.868								1502		456902.588						1502		602928.497				601444.316

				456902.437		602929.485		1503		1268.885								1503		456902.437						1503		602929.485				601444.316

				456902.286		602930.473		1504		1268.903								1504		456902.286						1504		602930.473				601444.316

				456902.135		602931.461		1505		1268.903								1505		456902.135						1505		602931.461				601444.316

				456901.984		602932.449		1506		1268.921								1506		456901.984						1506		602932.449				601444.316

				456901.833		602933.437		1507		1268.933								1507		456901.833						1507		602933.437				601444.316

				456901.681		602934.426		1508		1268.95								1508		456901.681						1508		602934.426				601444.316

				456901.53		602935.414		1509		1268.968								1509		456901.53						1509		602935.414				601444.316

				456901.379		602936.402		1510		1268.986								1510		456901.379						1510		602936.402				601444.316

				456901.228		602937.39		1511		1269								1511		456901.228						1511		602937.39				601444.316

				456901.077		602938.378		1512		1269								1512		456901.077						1512		602938.378				601444.316

				456900.926		602939.366		1513		1269								1513		456900.926						1513		602939.366				601444.316

				456900.775		602940.354		1514		1269								1514		456900.775						1514		602940.354				601444.316

				456900.624		602941.342		1515		1269								1515		456900.624						1515		602941.342				601444.316

				456900.473		602942.331		1516		1269								1516		456900.473						1516		602942.331				601444.316

				456900.322		602943.319		1517		1269								1517		456900.322						1517		602943.319				601444.316

				456900.17		602944.307		1518		1269								1518		456900.17						1518		602944.307				601444.316

				456900.019		602945.295		1519		1269								1519		456900.019						1519		602945.295				601444.316

				456899.868		602946.283		1520		1269								1520		456899.868						1520		602946.283				601444.316

				456899.717		602947.271		1521		1269								1521		456899.717						1521		602947.271				601444.316

				456899.566		602948.259		1522		1269								1522		456899.566						1522		602948.259				601444.316

				456899.415		602949.248		1523		1269								1523		456899.415						1523		602949.248				601444.316

				456899.264		602950.236		1524		1269								1524		456899.264						1524		602950.236				601444.316

				456899.113		602951.224		1525		1269								1525		456899.113						1525		602951.224				601444.316

				456898.962		602952.212		1526		1269								1526		456898.962						1526		602952.212				601444.316

				456898.81		602953.2		1527		1269								1527		456898.81						1527		602953.2				601444.316

				456898.659		602954.188		1528		1269								1528		456898.659						1528		602954.188				601444.316

				456898.508		602955.176		1529		1269								1529		456898.508						1529		602955.176				601444.316

				456898.357		602956.165		1530		1269								1530		456898.357						1530		602956.165				601444.316

				456898.206		602957.153		1531		1269								1531		456898.206						1531		602957.153				601444.316

				456898.055		602958.141		1532		1269								1532		456898.055						1532		602958.141				601444.316

				456897.904		602959.129		1533		1269								1533		456897.904						1533		602959.129				601444.316

				456897.753		602960.117		1534		1269								1534		456897.753						1534		602960.117				601444.316

				456897.602		602961.105		1535		1269.015								1535		456897.602						1535		602961.105				601444.316

				456897.45		602962.093		1536		1269.015								1536		456897.45						1536		602962.093				601444.316

				456897.299		602963.081		1537		1269.039								1537		456897.299						1537		602963.081				601444.316

				456897.148		602964.07		1538		1269.063								1538		456897.148						1538		602964.07				601444.316

				456896.997		602965.058		1539		1269.089								1539		456896.997						1539		602965.058				601444.316

				456896.846		602966.046		1540		1269.116								1540		456896.846						1540		602966.046				601444.316

				456896.695		602967.034		1541		1269.143								1541		456896.695						1541		602967.034				601444.316

				456896.544		602968.022		1542		1269.163								1542		456896.544						1542		602968.022				601444.316

				456896.393		602969.01		1543		1269.184								1543		456896.393						1543		602969.01				601444.316

				456896.242		602969.998		1544		1269.184								1544		456896.242						1544		602969.998				601444.316

				456896.091		602970.987		1545		1269.208								1545		456896.091						1545		602970.987				601444.316

				456895.939		602971.975		1546		1269.232								1546		456895.939						1546		602971.975				601444.316

				456895.788		602972.963		1547		1269.256								1547		456895.788						1547		602972.963				601444.316

				456895.637		602973.951		1548		1269.28								1548		456895.637						1548		602973.951				601444.316

				456895.486		602974.939		1549		1269.304								1549		456895.486						1549		602974.939				601444.316

				456895.335		602975.927		1550		1269.327								1550		456895.335						1550		602975.927				601444.316

				456895.184		602976.915		1551		1269.348								1551		456895.184						1551		602976.915				601444.316

				456895.033		602977.904		1552		1269.348								1552		456895.033						1552		602977.904				601444.316

				456894.882		602978.892		1553		1269.37								1553		456894.882						1553		602978.892				601444.316

				456894.731		602979.88		1554		1269.393								1554		456894.731						1554		602979.88				601444.316

				456894.579		602980.868		1555		1269.416								1555		456894.579						1555		602980.868				601444.316

				456894.428		602981.856		1556		1269.439								1556		456894.428						1556		602981.856				601444.316

				456894.277		602982.844		1557		1269.462								1557		456894.277						1557		602982.844				601444.316

				456894.126		602983.832		1558		1269.485								1558		456894.126						1558		602983.832				601444.316

				456893.975		602984.82		1559		1269.485								1559		456893.975						1559		602984.82				601444.316

				456893.824		602985.809		1560		1269.513								1560		456893.824						1560		602985.809				601444.316

				456893.673		602986.797		1561		1269.536								1561		456893.673						1561		602986.797				601444.316

				456893.522		602987.785		1562		1269.559								1562		456893.522						1562		602987.785				601444.316

				456893.371		602988.773		1563		1269.582								1563		456893.371						1563		602988.773				601444.316

				456893.22		602989.761		1564		1269.605								1564		456893.22						1564		602989.761				601444.316

				456893.068		602990.749		1565		1269.628								1565		456893.068						1565		602990.749				601444.316

				456892.917		602991.737		1566		1269.651								1566		456892.917						1566		602991.737				601444.316

				456892.766		602992.726		1567		1269.651								1567		456892.766						1567		602992.726				601444.316

				456892.615		602993.714		1568		1269.674								1568		456892.615						1568		602993.714				601444.316

				456892.464		602994.702		1569		1269.702								1569		456892.464						1569		602994.702				601444.316

				456892.313		602995.69		1570		1269.725								1570		456892.313						1570		602995.69				601444.316

				456892.162		602996.678		1571		1269.748								1571		456892.162						1571		602996.678				601444.316

				456892.011		602997.666		1572		1269.771								1572		456892.011						1572		602997.666				601444.316

				456891.86		602998.654		1573		1269.793								1573		456891.86						1573		602998.654				601444.316

				456891.708		602999.643		1574		1269.816								1574		456891.708						1574		602999.643				601444.316

				456891.557		603000.631		1575		1269.816								1575		456891.557						1575		603000.631				601444.316

				456891.406		603001.619		1576		1269.839								1576		456891.406						1576		603001.619				601444.316

				456891.255		603002.607		1577		1269.862								1577		456891.255						1577		603002.607				601444.316

				456891.104		603003.595		1578		1269.89								1578		456891.104						1578		603003.595				601444.316

				456890.953		603004.583		1579		1269.913								1579		456890.953						1579		603004.583				601444.316

				456890.802		603005.571		1580		1269.936								1580		456890.802						1580		603005.571				601444.316

				456890.651		603006.559		1581		1269.959								1581		456890.651						1581		603006.559				601444.316

				456890.5		603007.548		1582		1269.982								1582		456890.5						1582		603007.548				601444.316

				456890.349		603008.536		1583		1269.982								1583		456890.349						1583		603008.536				601444.316

				456890.197		603009.524		1584		1270								1584		456890.197						1584		603009.524				601444.316

				456890.046		603010.512		1585		1270								1585		456890.046						1585		603010.512				601444.316

				456889.895		603011.5		1586		1270								1586		456889.895						1586		603011.5				601444.316

				456889.744		603012.488		1587		1270								1587		456889.744						1587		603012.488				601444.316

				456889.593		603013.476		1588		1270								1588		456889.593						1588		603013.476				601444.316

				456889.442		603014.465		1589		1270.013								1589		456889.442						1589		603014.465				601444.316

				456889.291		603015.453		1590		1270.013								1590		456889.291						1590		603015.453				601444.316

				456889.14		603016.441		1591		1270.041								1591		456889.14						1591		603016.441				601444.316

				456888.989		603017.429		1592		1270.068								1592		456888.989						1592		603017.429				601444.316

				456888.837		603018.417		1593		1270.096								1593		456888.837						1593		603018.417				601444.316

				456888.686		603019.405		1594		1270.12								1594		456888.686						1594		603019.405				601444.316

				456888.535		603020.393		1595		1270.133								1595		456888.535						1595		603020.393				601444.316

				456888.384		603021.381		1596		1270.161								1596		456888.384						1596		603021.381				601444.316

				456888.233		603022.37		1597		1270.183								1597		456888.233						1597		603022.37				601444.316

				456888.082		603023.358		1598		1270.183								1598		456888.082						1598		603023.358				601444.316

				456887.931		603024.346		1599		1270.206								1599		456887.931						1599		603024.346				601444.316

				456887.78		603025.334		1600		1270.223								1600		456887.78						1600		603025.334				601444.316

				456887.629		603026.322		1601		1270.243								1601		456887.629						1601		603026.322				601444.316

				456887.478		603027.31		1602		1270.269								1602		456887.478						1602		603027.31				601444.316

				456887.326		603028.298		1603		1270.296								1603		456887.326						1603		603028.298				601444.316

				456887.175		603029.287		1604		1270.314								1604		456887.175						1604		603029.287				601444.316

				456887.024		603030.275		1605		1270.338								1605		456887.024						1605		603030.275				601444.316

				456886.873		603031.263		1606		1270.338								1606		456886.873						1606		603031.263				601444.316

				456886.722		603032.251		1607		1270.353								1607		456886.722						1607		603032.251				601444.316

				456886.571		603033.239		1608		1270.374								1608		456886.571						1608		603033.239				601444.316

				456886.42		603034.227		1609		1270.397								1609		456886.42						1609		603034.227				601444.316

				456886.269		603035.215		1610		1270.42								1610		456886.269						1610		603035.215				601444.316

				456886.118		603036.204		1611		1270.443								1611		456886.118						1611		603036.204				601444.316

				456885.966		603037.192		1612		1270.465								1612		456885.966						1612		603037.192				601444.316

				456885.815		603038.18		1613		1270.48								1613		456885.815						1613		603038.18				601444.316

				456885.664		603039.168		1614		1270.48								1614		456885.664						1614		603039.168				601444.316

				456885.513		603040.156		1615		1270.503								1615		456885.513						1615		603040.156				601444.316

				456885.362		603041.144		1616		1270.526								1616		456885.362						1616		603041.144				601444.316

				456885.211		603042.132		1617		1270.548								1617		456885.211						1617		603042.132				601444.316

				456885.06		603043.12		1618		1270.571								1618		456885.06						1618		603043.12				601444.316

				456884.909		603044.109		1619		1270.594								1619		456884.909						1619		603044.109				601444.316

				456884.758		603045.097		1620		1270.617								1620		456884.758						1620		603045.097				601444.316

				456884.607		603046.085		1621		1270.617								1621		456884.607						1621		603046.085				601444.316

				456884.455		603047.073		1622		1270.632								1622		456884.455						1622		603047.073				601444.316

				456884.304		603048.061		1623		1270.654								1623		456884.304						1623		603048.061				601444.316

				456884.153		603049.049		1624		1270.677								1624		456884.153						1624		603049.049				601444.316

				456884.002		603050.037		1625		1270.7								1625		456884.002						1625		603050.037				601444.316

				456883.851		603051.026		1626		1270.723								1626		456883.851						1626		603051.026				601444.316

				456883.7		603052.014		1627		1270.745								1627		456883.7						1627		603052.014				601444.316

				456883.549		603053.002		1628		1270.768								1628		456883.549						1628		603053.002				601444.316

				456883.398		603053.99		1629		1270.768								1629		456883.398						1629		603053.99				601444.316

				456883.247		603054.978		1630		1270.791								1630		456883.247						1630		603054.978				601444.316

				456883.095		603055.966		1631		1270.806								1631		456883.095						1631		603055.966				601444.316

				456882.944		603056.954		1632		1270.829								1632		456882.944						1632		603056.954				601444.316

				456882.793		603057.943		1633		1270.852								1633		456882.793						1633		603057.943				601444.316

				456882.642		603058.931		1634		1270.874								1634		456882.642						1634		603058.931				601444.316

				456882.491		603059.919		1635		1270.897								1635		456882.491						1635		603059.919				601444.316

				456882.34		603060.907		1636		1270.92								1636		456882.34						1636		603060.907				601444.316

				456882.189		603061.895		1637		1270.92								1637		456882.189						1637		603061.895				601444.316

				456882.038		603062.883		1638		1270.943								1638		456882.038						1638		603062.883				601444.316

				456881.887		603063.871		1639		1270.965								1639		456881.887						1639		603063.871				601444.316

				456881.736		603064.859		1640		1270.98								1640		456881.736						1640		603064.859				601444.316

				456881.584		603065.848		1641		1271								1641		456881.584						1641		603065.848				601444.316

				456881.433		603066.836		1642		1271								1642		456881.433						1642		603066.836				601444.316

				456881.282		603067.824		1643		1271								1643		456881.282						1643		603067.824				601444.316

				456881.131		603068.812		1644		1271								1644		456881.131						1644		603068.812				601444.316

				456880.98		603069.8		1645		1271								1645		456880.98						1645		603069.8				601444.316

				456880.829		603070.788		1646		1271								1646		456880.829						1646		603070.788				601444.316

				456880.678		603071.776		1647		1271								1647		456880.678						1647		603071.776				601444.316

				456880.527		603072.765		1648		1271								1648		456880.527						1648		603072.765				601444.316

				456880.376		603073.753		1649		1271								1649		456880.376						1649		603073.753				601444.316

				456880.224		603074.741		1650		1271								1650		456880.224						1650		603074.741				601444.316

				456880.073		603075.729		1651		1271								1651		456880.073						1651		603075.729				601444.316

				456879.922		603076.717		1652		1271								1652		456879.922						1652		603076.717				601444.316

				456879.771		603077.705		1653		1271								1653		456879.771						1653		603077.705				601444.316

				456879.62		603078.693		1654		1271								1654		456879.62						1654		603078.693				601444.316

				456879.469		603079.682		1655		1271.001								1655		456879.469						1655		603079.682				601444.316

				456879.318		603080.67		1656		1271.021								1656		456879.318						1656		603080.67				601444.316

				456879.167		603081.658		1657		1271.039								1657		456879.167						1657		603081.658				601444.316

				456879.016		603082.646		1658		1271.059								1658		456879.016						1658		603082.646				601444.316

				456878.865		603083.634		1659		1271.075								1659		456878.865						1659		603083.634				601444.316

				456878.713		603084.622		1660		1271.075								1660		456878.713						1660		603084.622				601444.316

				456878.562		603085.61		1661		1271.093								1661		456878.562						1661		603085.61				601444.316

				456878.411		603086.598		1662		1271.11								1662		456878.411						1662		603086.598				601444.316

				456878.26		603087.587		1663		1271.128								1663		456878.26						1663		603087.587				601444.316

				456878.109		603088.575		1664		1271.146								1664		456878.109						1664		603088.575				601444.316

				456877.958		603089.563		1665		1271.164								1665		456877.958						1665		603089.563				601444.316

				456877.807		603090.551		1666		1271.183								1666		456877.807						1666		603090.551				601444.316

				456877.656		603091.539		1667		1271.201								1667		456877.656						1667		603091.539				601444.316

				456877.505		603092.527		1668		1271.201								1668		456877.505						1668		603092.527				601444.316

				456877.353		603093.515		1669		1271.219								1669		456877.353						1669		603093.515				601444.316

				456877.202		603094.504		1670		1271.237								1670		456877.202						1670		603094.504				601444.316

				456877.051		603095.492		1671		1271.255								1671		456877.051						1671		603095.492				601444.316

				456876.9		603096.48		1672		1271.273								1672		456876.9						1672		603096.48				601444.316

				456876.749		603097.468		1673		1271.29								1673		456876.749						1673		603097.468				601444.316

				456876.598		603098.456		1674		1271.308								1674		456876.598						1674		603098.456				601444.316

				456876.447		603099.444		1675		1271.31								1675		456876.447						1675		603099.444				601444.316

				456876.296		603100.432		1676		1271.328								1676		456876.296						1676		603100.432				601444.316

				456876.145		603101.421		1677		1271.346								1677		456876.145						1677		603101.421				601444.316

				456875.994		603102.409		1678		1271.364								1678		456875.994						1678		603102.409				601444.316

				456875.842		603103.397		1679		1271.381								1679		456875.842						1679		603103.397				601444.316

				456875.691		603104.385		1680		1271.399								1680		456875.691						1680		603104.385				601444.316

				456875.54		603105.373		1681		1271.417								1681		456875.54						1681		603105.373				601444.316

				456875.389		603106.361		1682		1271.435								1682		456875.389						1682		603106.361				601444.316

				456875.238		603107.349		1683		1271.435								1683		456875.238						1683		603107.349				601444.316

				456875.087		603108.337		1684		1271.454								1684		456875.087						1684		603108.337				601444.316

				456874.936		603109.326		1685		1271.472								1685		456874.936						1685		603109.326				601444.316

				456874.785		603110.314		1686		1271.49								1686		456874.785						1686		603110.314				601444.316

				456874.634		603111.302		1687		1271.508								1687		456874.634						1687		603111.302				601444.316

				456874.482		603112.29		1688		1271.526								1688		456874.482						1688		603112.29				601444.316

				456874.331		603113.278		1689		1271.543								1689		456874.331						1689		603113.278				601444.316

				456874.18		603114.266		1690		1271.561								1690		456874.18						1690		603114.266				601444.316

				456874.029		603115.254		1691		1271.561								1691		456874.029						1691		603115.254				601444.316

				456873.878		603116.243		1692		1271.579								1692		456873.878						1692		603116.243				601444.316

				456873.727		603117.231		1693		1271.599								1693		456873.727						1693		603117.231				601444.316

				456873.576		603118.219		1694		1271.616								1694		456873.576						1694		603118.219				601444.316

				456873.425		603119.207		1695		1271.634								1695		456873.425						1695		603119.207				601444.316

				456873.274		603120.195		1696		1271.652								1696		456873.274						1696		603120.195				601444.316

				456873.123		603121.183		1697		1271.67								1697		456873.123						1697		603121.183				601444.316

				456872.971		603122.171		1698		1271.688								1698		456872.971						1698		603122.171				601444.316

				456872.82		603123.16		1699		1271.688								1699		456872.82						1699		603123.16				601444.316

				456872.669		603124.148		1700		1271.706								1700		456872.669						1700		603124.148				601444.316

				456872.518		603125.136		1701		1271.723								1701		456872.518						1701		603125.136				601444.316

				456872.367		603126.124		1702		1271.743								1702		456872.367						1702		603126.124				601444.316

				456872.216		603127.112		1703		1271.761								1703		456872.216						1703		603127.112				601444.316

				456872.065		603128.1		1704		1271.779								1704		456872.065						1704		603128.1				601444.316

				456871.914		603129.088		1705		1271.797								1705		456871.914						1705		603129.088				601444.316

				456871.763		603130.076		1706		1271.797								1706		456871.763						1706		603130.076				601444.316

				456871.611		603131.065		1707		1271.814								1707		456871.611						1707		603131.065				601444.316

				456871.46		603132.053		1708		1271.832								1708		456871.46						1708		603132.053				601444.316

				456871.309		603133.041		1709		1271.85								1709		456871.309						1709		603133.041				601444.316

				456871.158		603134.029		1710		1271.868								1710		456871.158						1710		603134.029				601444.316

				456871.007		603135.017		1711		1271.887								1711		456871.007						1711		603135.017				601444.316

				456870.856		603136.005		1712		1271.905								1712		456870.856						1712		603136.005				601444.316

				456870.705		603136.993		1713		1271.923								1713		456870.705						1713		603136.993				601444.316

				456870.554		603137.982		1714		1271.923								1714		456870.554						1714		603137.982				601444.316

				456870.403		603138.97		1715		1271.941								1715		456870.403						1715		603138.97				601444.316

				456870.252		603139.958		1716		1271.959								1716		456870.252						1716		603139.958				601444.316

				456870.1		603140.946		1717		1271.976								1717		456870.1						1717		603140.946				601444.316

				456869.949		603141.934		1718		1271.994								1718		456869.949						1718		603141.934				601444.316

				456869.798		603142.922		1719		1272								1719		456869.798						1719		603142.922				601444.316

				456869.647		603143.91		1720		1272								1720		456869.647						1720		603143.91				601444.316

				456869.496		603144.899		1721		1272								1721		456869.496						1721		603144.899				601444.316

				456869.345		603145.887		1722		1272								1722		456869.345						1722		603145.887				601444.316

				456869.194		603146.875		1723		1272								1723		456869.194						1723		603146.875				601444.316

				456869.043		603147.863		1724		1272								1724		456869.043						1724		603147.863				601444.316

				456868.892		603148.851		1725		1272								1725		456868.892						1725		603148.851				601444.316

				456868.74		603149.839		1726		1272								1726		456868.74						1726		603149.839				601444.316

				456868.589		603150.827		1727		1272								1727		456868.589						1727		603150.827				601444.316

				456868.438		603151.815		1728		1272								1728		456868.438						1728		603151.815				601444.316

				456868.287		603152.804		1729		1272								1729		456868.287						1729		603152.804				601444.316

				456868.136		603153.792		1730		1272								1730		456868.136						1730		603153.792				601444.316

				456867.985		603154.78		1731		1272								1731		456867.985						1731		603154.78				601444.316

				456867.834		603155.768		1732		1272								1732		456867.834						1732		603155.768				601444.316

				456867.683		603156.756		1733		1272								1733		456867.683						1733		603156.756				601444.316

				456867.532		603157.744		1734		1272								1734		456867.532						1734		603157.744				601444.316

				456867.38		603158.732		1735		1272								1735		456867.38						1735		603158.732				601444.316

				456867.229		603159.721		1736		1272								1736		456867.229						1736		603159.721				601444.316

				456867.078		603160.709		1737		1272								1737		456867.078						1737		603160.709				601444.316

				456866.927		603161.697		1738		1272								1738		456866.927						1738		603161.697				601444.316

				456866.776		603162.685		1739		1272								1739		456866.776						1739		603162.685				601444.316

				456866.625		603163.673		1740		1272								1740		456866.625						1740		603163.673				601444.316

				456866.474		603164.661		1741		1272								1741		456866.474						1741		603164.661				601444.316

				456866.323		603165.649		1742		1272								1742		456866.323						1742		603165.649				601444.316

				456866.284		603165.902		1742.3		1272								1742.3		456866.284						1742.3		603165.902				601444.316





Dam Axis

				X		Y		Distance (Total)		Elevation						Elevation		Distance (Total)		X						Distance (Total)		Y						Dam Axis OGL

				456674.716		601384.733		0		1271.999				0		1271.999		0		456674.716		0		456674.716		0		601384.733		0		601384.733		0		456674.716		601384.733		1271.999

				456675.707		601384.863		1		1271.918				10		1271.195		1		456675.707		10		456684.627		1		601384.863		10		601386.031		10		456684.627		601386.031		1271.195

				456676.698		601384.993		2		1271.837				20		1270.503		2		456676.698		20		456694.539		2		601384.993		20		601387.33		20		456694.539		601387.33		1270.503

				456677.689		601385.122		3		1271.756				30		1269.849		3		456677.689		30		456704.45		3		601385.122		30		601388.628		30		456704.45		601388.628		1269.849

				456678.68		601385.252		4		1271.676				40		1269.215		4		456678.68		40		456714.362		4		601385.252		40		601389.927		40		456714.362		601389.927		1269.215

				456679.672		601385.382		5		1271.596				50		1268.585		5		456679.672		50		456724.274		5		601385.382		50		601391.225		50		456724.274		601391.225		1268.585

				456680.663		601385.512		6		1271.516				60		1267.951		6		456680.663		60		456734.185		6		601385.512		60		601392.523		60		456734.185		601392.523		1267.951

				456681.654		601385.642		7		1271.437				70		1267.263		7		456681.654		70		456744.097		7		601385.642		70		601393.822		70		456744.097		601393.822		1267.263

				456682.645		601385.772		8		1271.356				80		1266.62		8		456682.645		80		456754.008		8		601385.772		80		601395.12		80		456754.008		601395.12		1266.62

				456683.636		601385.902		9		1271.275				90		1266.025		9		456683.636		90		456763.92		9		601385.902		90		601396.419		90		456763.92		601396.419		1266.025

				456684.627		601386.031		10		1271.195				100		1265.432		10		456684.627		100		456773.831		10		601386.031		100		601397.717		100		456773.831		601397.717		1265.432

				456685.619		601386.161		11		1271.116				110		1264.818		11		456685.619		110		456783.743		11		601386.161		110		601399.016		110		456783.743		601399.016		1264.818

				456686.61		601386.291		12		1271.037				120		1264.209		12		456686.61		120		456793.654		12		601386.291		120		601400.314		120		456793.654		601400.314		1264.209

				456687.601		601386.421		13		1270.966				130		1263.61		13		456687.601		130		456803.566		13		601386.421		130		601401.612		130		456803.566		601401.612		1263.61

				456688.592		601386.551		14		1270.899				140		1263.018		14		456688.592		140		456813.477		14		601386.551		140		601402.911		140		456813.477		601402.911		1263.018

				456689.583		601386.681		15		1270.833				150		1262.457		15		456689.583		150		456823.389		15		601386.681		150		601404.209		150		456823.389		601404.209		1262.457

				456690.574		601386.81		16		1270.767				160		1261.914		16		456690.574		160		456833.301		16		601386.81		160		601405.508		160		456833.301		601405.508		1261.914

				456691.565		601386.94		17		1270.701				170		1261.36		17		456691.565		170		456843.212		17		601386.94		170		601406.806		170		456843.212		601406.806		1261.36

				456692.557		601387.07		18		1270.635				180		1260.797		18		456692.557		180		456853.124		18		601387.07		180		601408.104		180		456853.124		601408.104		1260.797

				456693.548		601387.2		19		1270.569				190		1260.242		19		456693.548		190		456863.035		19		601387.2		190		601409.403		190		456863.035		601409.403		1260.242

				456694.539		601387.33		20		1270.503				200		1259.696		20		456694.539		200		456872.947		20		601387.33		200		601410.701		200		456872.947		601410.701		1259.696

				456695.53		601387.46		21		1270.437				210		1259.184		21		456695.53		210		456882.858		21		601387.46		210		601412		210		456882.858		601412		1259.184

				456696.521		601387.589		22		1270.37				220		1258.754		22		456696.521		220		456892.77		22		601387.589		220		601413.298		220		456892.77		601413.298		1258.754

				456697.512		601387.719		23		1270.304				230		1258.364		23		456697.512		230		456902.681		23		601387.719		230		601414.597		230		456902.681		601414.597		1258.364

				456698.504		601387.849		24		1270.238				240		1257.961		24		456698.504		240		456912.593		24		601387.849		240		601415.895		240		456912.593		601415.895		1257.961

				456699.495		601387.979		25		1270.172				250		1257.079		25		456699.495		250		456922.504		25		601387.979		250		601417.193		250		456922.504		601417.193		1257.079

				456700.486		601388.109		26		1270.106				260		1256.833		26		456700.486		260		456932.416		26		601388.109		260		601418.492		260		456932.416		601418.492		1256.833

				456701.477		601388.239		27		1270.04				270		1256.646		27		456701.477		270		456942.328		27		601388.239		270		601419.79		270		456942.328		601419.79		1256.646

				456702.468		601388.368		28		1269.975				280		1256.449		28		456702.468		280		456952.239		28		601388.368		280		601421.089		280		456952.239		601421.089		1256.449

				456703.459		601388.498		29		1269.911				290		1256.252		29		456703.459		290		456962.151		29		601388.498		290		601422.387		290		456962.151		601422.387		1256.252

				456704.45		601388.628		30		1269.849				300		1256.055		30		456704.45		300		456972.062		30		601388.628		300		601423.685		300		456972.062		601423.685		1256.055

				456705.442		601388.758		31		1269.785				310		1256		31		456705.442		310		456981.974		31		601388.758		310		601424.984		310		456981.974		601424.984		1256

				456706.433		601388.888		32		1269.722				320		1255.227		32		456706.433		320		456991.885		32		601388.888		320		601426.282		320		456991.885		601426.282		1255.227

				456707.424		601389.018		33		1269.659				330		1255		33		456707.424		330		457001.797		33		601389.018		330		601427.581		330		457001.797		601427.581		1255

				456708.415		601389.148		34		1269.596				340		1255		34		456708.415		340		457011.708		34		601389.148		340		601428.879		340		457011.708		601428.879		1255

				456709.406		601389.277		35		1269.533				350		1255.366		35		456709.406		350		457021.62		35		601389.277		350		601430.178		350		457021.62		601430.178		1255.366

				456710.397		601389.407		36		1269.469				360		1255.975		36		456710.397		360		457031.531		36		601389.407		360		601431.476		360		457031.531		601431.476		1255.975

				456711.389		601389.537		37		1269.406				370		1255.9		37		456711.389		370		457041.443		37		601389.537		370		601432.774		370		457041.443		601432.774		1255.9

				456712.38		601389.667		38		1269.342				380		1255.684		38		456712.38		380		457051.355		38		601389.667		380		601434.073		380		457051.355		601434.073		1255.684

				456713.371		601389.797		39		1269.279				390		1255.47		39		456713.371		390		457061.266		39		601389.797		390		601435.371		390		457061.266		601435.371		1255.47

				456714.362		601389.927		40		1269.215				400		1255.246		40		456714.362		400		457071.178		40		601389.927		400		601436.67		400		457071.178		601436.67		1255.246

				456715.353		601390.056		41		1269.151				410		1255.022		41		456715.353		410		457081.089		41		601390.056		410		601437.968		410		457081.089		601437.968		1255.022

				456716.344		601390.186		42		1269.088				420		1255		42		456716.344		420		457091.001		42		601390.186		420		601439.266		420		457091.001		601439.266		1255

				456717.335		601390.316		43		1269.024				430		1255		43		456717.335		430		457100.912		43		601390.316		430		601440.565		430		457100.912		601440.565		1255

				456718.327		601390.446		44		1268.961				440		1255		44		456718.327		440		457110.824		44		601390.446		440		601441.863		440		457110.824		601441.863		1255

				456719.318		601390.576		45		1268.899				450		1254.826		45		456719.318		450		457120.735		45		601390.576		450		601443.162		450		457120.735		601443.162		1254.826

				456720.309		601390.706		46		1268.836				460		1254.553		46		456720.309		460		457130.647		46		601390.706		460		601444.46		460		457130.647		601444.46		1254.553

				456721.3		601390.835		47		1268.773				470		1254.277		47		456721.3		470		457140.558		47		601390.835		470		601445.758		470		457140.558		601445.758		1254.277

				456722.291		601390.965		48		1268.711				480		1254.01		48		456722.291		480		457150.47		48		601390.965		480		601447.057		480		457150.47		601447.057		1254.01

				456723.282		601391.095		49		1268.648				490		1254		49		456723.282		490		457160.381		49		601391.095		490		601448.355		490		457160.381		601448.355		1254

				456724.274		601391.225		50		1268.585				500		1254		50		456724.274		500		457170.293		50		601391.225		500		601449.654		500		457170.293		601449.654		1254

				456725.265		601391.355		51		1268.522				510		1254.185		51		456725.265		510		457180.205		51		601391.355		510		601450.952		510		457180.205		601450.952		1254.185

				456726.256		601391.485		52		1268.459				520		1254.212		52		456726.256		520		457190.116		52		601391.485		520		601452.251		520		457190.116		601452.251		1254.212

				456727.247		601391.615		53		1268.396				530		1254.002		53		456727.247		530		457200.028		53		601391.615		530		601453.549		530		457200.028		601453.549		1254.002

				456728.238		601391.744		54		1268.333				540		1254		54		456728.238		540		457209.939		54		601391.744		540		601454.847		540		457209.939		601454.847		1254

				456729.229		601391.874		55		1268.27				550		1254.198		55		456729.229		550		457219.851		55		601391.874		550		601456.146		550		457219.851		601456.146		1254.198

				456730.221		601392.004		56		1268.207				560		1254.512		56		456730.221		560		457229.762		56		601392.004		560		601457.444		560		457229.762		601457.444		1254.512

				456731.212		601392.134		57		1268.144				570		1254.94		57		456731.212		570		457239.674		57		601392.134		570		601458.743		570		457239.674		601458.743		1254.94

				456732.203		601392.264		58		1268.081				580		1255.537		58		456732.203		580		457249.585		58		601392.264		580		601460.041		580		457249.585		601460.041		1255.537

				456733.194		601392.394		59		1268.017				590		1256.196		59		456733.194		590		457259.497		59		601392.394		590		601461.339		590		457259.497		601461.339		1256.196

				456734.185		601392.523		60		1267.951				600		1256.893		60		456734.185		600		457269.408		60		601392.523		600		601462.638		600		457269.408		601462.638		1256.893

				456735.176		601392.653		61		1267.882				610		1257.725		61		456735.176		610		457279.32		61		601392.653		610		601463.936		610		457279.32		601463.936		1257.725

				456736.167		601392.783		62		1267.814		TC		620		1258.635		62		456736.167		620		457289.232		62		601392.783		620		601465.235		620		457289.232		601465.235		1258.635

				456737.159		601392.913		63		1267.745				630		1259.529		63		456737.159		630		457299.143		63		601392.913		630		601466.533		630		457299.143		601466.533		1259.529

				456738.15		601393.043		64		1267.676				640		1260.317		64		456738.15		640		457309.055		64		601393.043		640		601467.832		640		457309.055		601467.832		1260.317

				456739.141		601393.173		65		1267.607				650		1261.008		65		456739.141		650		457318.966		65		601393.173		650		601469.13		650		457318.966		601469.13		1261.008

				456740.132		601393.302		66		1267.538				660		1261.635		66		456740.132		660		457328.878		66		601393.302		660		601470.428		660		457328.878		601470.428		1261.635

				456741.123		601393.432		67		1267.469				670		1262.269		67		456741.123		670		457338.789		67		601393.432		670		601471.727		670		457338.789		601471.727		1262.269

				456742.114		601393.562		68		1267.401				680		1262.901		68		456742.114		680		457348.701		68		601393.562		680		601473.025		680		457348.701		601473.025		1262.901

				456743.106		601393.692		69		1267.332				690		1263.527		69		456743.106		690		457358.612		69		601393.692		690		601474.324		690		457358.612		601474.324		1263.527

				456744.097		601393.822		70		1267.263				700		1264.145		70		456744.097		700		457368.524		70		601393.822		700		601475.622		700		457368.524		601475.622		1264.145

				456745.088		601393.952		71		1267.194				710		1264.744		71		456745.088		710		457378.435		71		601393.952		710		601476.92		710		457378.435		601476.92		1264.744

				456746.079		601394.082		72		1267.125				720		1265.34		72		456746.079		720		457388.347		72		601394.082		720		601478.219		720		457388.347		601478.219		1265.34

				456747.07		601394.211		73		1267.056				730		1265.925		73		456747.07		730		457398.259		73		601394.211		730		601479.517		730		457398.259		601479.517		1265.925

				456748.061		601394.341		74		1266.99				740		1266.524		74		456748.061		740		457408.17		74		601394.341		740		601480.816		740		457408.17		601480.816		1266.524

				456749.052		601394.471		75		1266.926				750		1267.122		75		456749.052		750		457418.082		75		601394.471		750		601482.114		750		457418.082		601482.114		1267.122

				456750.044		601394.601		76		1266.865				760		1267.746		76		456750.044		760		457427.993		76		601394.601		760		601483.413		760		457427.993		601483.413		1267.746

				456751.035		601394.731		77		1266.803				770		1268.411		77		456751.035		770		457437.905		77		601394.731		770		601484.711		770		457437.905		601484.711		1268.411

				456752.026		601394.861		78		1266.742				780		1269.108		78		456752.026		780		457447.816		78		601394.861		780		601486.009		780		457447.816		601486.009		1269.108

				456753.017		601394.99		79		1266.681				790		1269.814		79		456753.017		790		457457.728		79		601394.99		790		601487.308		790		457457.728		601487.308		1269.814

				456754.008		601395.12		80		1266.62				800		1270.58		80		456754.008		800		457467.639		80		601395.12		800		601488.606		800		457467.639		601488.606		1270.58

				456754.999		601395.25		81		1266.559				813.6		1271.992		81		456754.999		813.6		457481.117		81		601395.25		813.6		601490.372		813.6		457481.117		601490.372		1271.992

				456755.991		601395.38		82		1266.499						1271.999		82		456755.991		0		456674.716		82		601395.38		0		601384.733		0		456674.716		601384.733		1271.999

				456756.982		601395.51		83		1266.439						1271.999		83		456756.982		0		456674.716		83		601395.51		0		601384.733		0		456674.716		601384.733		1271.999

				456757.973		601395.64		84		1266.379						1271.999		84		456757.973		0		456674.716		84		601395.64		0		601384.733		0		456674.716		601384.733		1271.999

				456758.964		601395.769		85		1266.319						1271.999		85		456758.964		0		456674.716		85		601395.769		0		601384.733		0		456674.716		601384.733		1271.999

				456759.955		601395.899		86		1266.26						1271.999		86		456759.955		0		456674.716		86		601395.899		0		601384.733		0		456674.716		601384.733		1271.999

				456760.946		601396.029		87		1266.2						1271.999		87		456760.946		0		456674.716		87		601396.029		0		601384.733		0		456674.716		601384.733		1271.999

				456761.937		601396.159		88		1266.141						1271.999		88		456761.937		0		456674.716		88		601396.159		0		601384.733		0		456674.716		601384.733		1271.999

				456762.929		601396.289		89		1266.083						1271.999		89		456762.929		0		456674.716		89		601396.289		0		601384.733		0		456674.716		601384.733		1271.999

				456763.92		601396.419		90		1266.025						1271.999		90		456763.92		0		456674.716		90		601396.419		0		601384.733		0		456674.716		601384.733		1271.999

				456764.911		601396.549		91		1265.967						1271.999		91		456764.911		0		456674.716		91		601396.549		0		601384.733		0		456674.716		601384.733		1271.999

				456765.902		601396.678		92		1265.909						1271.999		92		456765.902		0		456674.716		92		601396.678		0		601384.733		0		456674.716		601384.733		1271.999

				456766.893		601396.808		93		1265.85						1271.999		93		456766.893		0		456674.716		93		601396.808		0		601384.733		0		456674.716		601384.733		1271.999

				456767.884		601396.938		94		1265.791						1271.999		94		456767.884		0		456674.716		94		601396.938		0		601384.733		0		456674.716		601384.733		1271.999

				456768.876		601397.068		95		1265.732						1271.999		95		456768.876		0		456674.716		95		601397.068		0		601384.733		0		456674.716		601384.733		1271.999

				456769.867		601397.198		96		1265.672						1271.999		96		456769.867		0		456674.716		96		601397.198		0		601384.733		0		456674.716		601384.733		1271.999

				456770.858		601397.328		97		1265.613						1271.999		97		456770.858		0		456674.716		97		601397.328		0		601384.733		0		456674.716		601384.733		1271.999

				456771.849		601397.457		98		1265.553						1271.999		98		456771.849		0		456674.716		98		601397.457		0		601384.733		0		456674.716		601384.733		1271.999

				456772.84		601397.587		99		1265.493						1271.999		99		456772.84		0		456674.716		99		601397.587		0		601384.733		0		456674.716		601384.733		1271.999

				456773.831		601397.717		100		1265.432						1271.999		100		456773.831		0		456674.716		100		601397.717		0		601384.733		0		456674.716		601384.733		1271.999

				456774.822		601397.847		101		1265.371						1271.999		101		456774.822		0		456674.716		101		601397.847		0		601384.733		0		456674.716		601384.733		1271.999

				456775.814		601397.977		102		1265.31						1271.999		102		456775.814		0		456674.716		102		601397.977		0		601384.733		0		456674.716		601384.733		1271.999

				456776.805		601398.107		103		1265.248						1271.999		103		456776.805		0		456674.716		103		601398.107		0		601384.733		0		456674.716		601384.733		1271.999

				456777.796		601398.236		104		1265.186						1271.999		104		456777.796		0		456674.716		104		601398.236		0		601384.733		0		456674.716		601384.733		1271.999

				456778.787		601398.366		105		1265.124						1271.999		105		456778.787		0		456674.716		105		601398.366		0		601384.733		0		456674.716		601384.733		1271.999

				456779.778		601398.496		106		1265.063						1271.999		106		456779.778		0		456674.716		106		601398.496		0		601384.733		0		456674.716		601384.733		1271.999

				456780.769		601398.626		107		1265.001						1271.999		107		456780.769		0		456674.716		107		601398.626		0		601384.733		0		456674.716		601384.733		1271.999

				456781.761		601398.756		108		1264.94						1271.999		108		456781.761		0		456674.716		108		601398.756		0		601384.733		0		456674.716		601384.733		1271.999

				456782.752		601398.886		109		1264.879						1271.999		109		456782.752		0		456674.716		109		601398.886		0		601384.733		0		456674.716		601384.733		1271.999

				456783.743		601399.016		110		1264.818						1271.999		110		456783.743		0		456674.716		110		601399.016		0		601384.733		0		456674.716		601384.733		1271.999

				456784.734		601399.145		111		1264.757						1271.999		111		456784.734		0		456674.716		111		601399.145		0		601384.733		0		456674.716		601384.733		1271.999

				456785.725		601399.275		112		1264.697						1271.999		112		456785.725		0		456674.716		112		601399.275		0		601384.733		0		456674.716		601384.733		1271.999

				456786.716		601399.405		113		1264.635						1271.999		113		456786.716		0		456674.716		113		601399.405		0		601384.733		0		456674.716		601384.733		1271.999

				456787.707		601399.535		114		1264.574						1271.999		114		456787.707		0		456674.716		114		601399.535		0		601384.733		0		456674.716		601384.733		1271.999

				456788.699		601399.665		115		1264.513						1271.999		115		456788.699		0		456674.716		115		601399.665		0		601384.733		0		456674.716		601384.733		1271.999

				456789.69		601399.795		116		1264.452						1271.999		116		456789.69		0		456674.716		116		601399.795		0		601384.733		0		456674.716		601384.733		1271.999

				456790.681		601399.924		117		1264.391						1271.999		117		456790.681		0		456674.716		117		601399.924		0		601384.733		0		456674.716		601384.733		1271.999

				456791.672		601400.054		118		1264.331						1271.999		118		456791.672		0		456674.716		118		601400.054		0		601384.733		0		456674.716		601384.733		1271.999

				456792.663		601400.184		119		1264.27						1271.999		119		456792.663		0		456674.716		119		601400.184		0		601384.733		0		456674.716		601384.733		1271.999

				456793.654		601400.314		120		1264.209						1271.999		120		456793.654		0		456674.716		120		601400.314		0		601384.733		0		456674.716		601384.733		1271.999

				456794.646		601400.444		121		1264.148						1271.999		121		456794.646		0		456674.716		121		601400.444		0		601384.733		0		456674.716		601384.733		1271.999

				456795.637		601400.574		122		1264.087						1271.999		122		456795.637		0		456674.716		122		601400.574		0		601384.733		0		456674.716		601384.733		1271.999

				456796.628		601400.703		123		1264.026						1271.999		123		456796.628		0		456674.716		123		601400.703		0		601384.733		0		456674.716		601384.733		1271.999

				456797.619		601400.833		124		1263.966						1271.999		124		456797.619		0		456674.716		124		601400.833		0		601384.733		0		456674.716		601384.733		1271.999

				456798.61		601400.963		125		1263.907						1271.999		125		456798.61		0		456674.716		125		601400.963		0		601384.733		0		456674.716		601384.733		1271.999

				456799.601		601401.093		126		1263.847						1271.999		126		456799.601		0		456674.716		126		601401.093		0		601384.733		0		456674.716		601384.733		1271.999

				456800.592		601401.223		127		1263.788						1271.999		127		456800.592		0		456674.716		127		601401.223		0		601384.733		0		456674.716		601384.733		1271.999

				456801.584		601401.353		128		1263.729						1271.999		128		456801.584		0		456674.716		128		601401.353		0		601384.733		0		456674.716		601384.733		1271.999

				456802.575		601401.483		129		1263.67						1271.999		129		456802.575		0		456674.716		129		601401.483		0		601384.733		0		456674.716		601384.733		1271.999

				456803.566		601401.612		130		1263.61						1271.999		130		456803.566		0		456674.716		130		601401.612		0		601384.733		0		456674.716		601384.733		1271.999

				456804.557		601401.742		131		1263.551						1271.999		131		456804.557		0		456674.716		131		601401.742		0		601384.733		0		456674.716		601384.733		1271.999

				456805.548		601401.872		132		1263.492						1271.999		132		456805.548		0		456674.716		132		601401.872		0		601384.733		0		456674.716		601384.733		1271.999

				456806.539		601402.002		133		1263.432						1271.999		133		456806.539		0		456674.716		133		601402.002		0		601384.733		0		456674.716		601384.733		1271.999

				456807.531		601402.132		134		1263.373						1271.999		134		456807.531		0		456674.716		134		601402.132		0		601384.733		0		456674.716		601384.733		1271.999

				456808.522		601402.262		135		1263.314						1271.999		135		456808.522		0		456674.716		135		601402.262		0		601384.733		0		456674.716		601384.733		1271.999

				456809.513		601402.391		136		1263.254						1271.999		136		456809.513		0		456674.716		136		601402.391		0		601384.733		0		456674.716		601384.733		1271.999

				456810.504		601402.521		137		1263.195						1271.999		137		456810.504		0		456674.716		137		601402.521		0		601384.733		0		456674.716		601384.733		1271.999

				456811.495		601402.651		138		1263.136						1271.999		138		456811.495		0		456674.716		138		601402.651		0		601384.733		0		456674.716		601384.733		1271.999

				456812.486		601402.781		139		1263.077						1271.999		139		456812.486		0		456674.716		139		601402.781		0		601384.733		0		456674.716		601384.733		1271.999

				456813.477		601402.911		140		1263.018						1271.999		140		456813.477		0		456674.716		140		601402.911		0		601384.733		0		456674.716		601384.733		1271.999

				456814.469		601403.041		141		1262.96						1271.999		141		456814.469		0		456674.716		141		601403.041		0		601384.733		0		456674.716		601384.733		1271.999

				456815.46		601403.17		142		1262.903						1271.999		142		456815.46		0		456674.716		142		601403.17		0		601384.733		0		456674.716		601384.733		1271.999

				456816.451		601403.3		143		1262.847						1271.999		143		456816.451		0		456674.716		143		601403.3		0		601384.733		0		456674.716		601384.733		1271.999

				456817.442		601403.43		144		1262.791						1271.999		144		456817.442		0		456674.716		144		601403.43		0		601384.733		0		456674.716		601384.733		1271.999

				456818.433		601403.56		145		1262.735						1271.999		145		456818.433		0		456674.716		145		601403.56		0		601384.733		0		456674.716		601384.733		1271.999

				456819.424		601403.69		146		1262.678						1271.999		146		456819.424		0		456674.716		146		601403.69		0		601384.733		0		456674.716		601384.733		1271.999

				456820.416		601403.82		147		1262.624						1271.999		147		456820.416		0		456674.716		147		601403.82		0		601384.733		0		456674.716		601384.733		1271.999

				456821.407		601403.949		148		1262.568						1271.999		148		456821.407		0		456674.716		148		601403.949		0		601384.733		0		456674.716		601384.733		1271.999

				456822.398		601404.079		149		1262.513						1271.999		149		456822.398		0		456674.716		149		601404.079		0		601384.733		0		456674.716		601384.733		1271.999

				456823.389		601404.209		150		1262.457						1271.999		150		456823.389		0		456674.716		150		601404.209		0		601384.733		0		456674.716		601384.733		1271.999

				456824.38		601404.339		151		1262.402						1271.999		151		456824.38		0		456674.716		151		601404.339		0		601384.733		0		456674.716		601384.733		1271.999

				456825.371		601404.469		152		1262.348						1271.999		152		456825.371		0		456674.716		152		601404.469		0		601384.733		0		456674.716		601384.733		1271.999

				456826.362		601404.599		153		1262.294						1271.999		153		456826.362		0		456674.716		153		601404.599		0		601384.733		0		456674.716		601384.733		1271.999

				456827.354		601404.729		154		1262.238						1271.999		154		456827.354		0		456674.716		154		601404.729		0		601384.733		0		456674.716		601384.733		1271.999

				456828.345		601404.858		155		1262.184						1271.999		155		456828.345		0		456674.716		155		601404.858		0		601384.733		0		456674.716		601384.733		1271.999

				456829.336		601404.988		156		1262.13						1271.999		156		456829.336		0		456674.716		156		601404.988		0		601384.733		0		456674.716		601384.733		1271.999

				456830.327		601405.118		157		1262.076						1271.999		157		456830.327		0		456674.716		157		601405.118		0		601384.733		0		456674.716		601384.733		1271.999

				456831.318		601405.248		158		1262.022						1271.999		158		456831.318		0		456674.716		158		601405.248		0		601384.733		0		456674.716		601384.733		1271.999

				456832.309		601405.378		159		1261.968						1271.999		159		456832.309		0		456674.716		159		601405.378		0		601384.733		0		456674.716		601384.733		1271.999

				456833.301		601405.508		160		1261.914						1271.999		160		456833.301		0		456674.716		160		601405.508		0		601384.733		0		456674.716		601384.733		1271.999

				456834.292		601405.637		161		1261.86						1271.999		161		456834.292		0		456674.716		161		601405.637		0		601384.733		0		456674.716		601384.733		1271.999

				456835.283		601405.767		162		1261.803						1271.999		162		456835.283		0		456674.716		162		601405.767		0		601384.733		0		456674.716		601384.733		1271.999

				456836.274		601405.897		163		1261.748						1271.999		163		456836.274		0		456674.716		163		601405.897		0		601384.733		0		456674.716		601384.733		1271.999

				456837.265		601406.027		164		1261.694						1271.999		164		456837.265		0		456674.716		164		601406.027		0		601384.733		0		456674.716		601384.733		1271.999

				456838.256		601406.157		165		1261.64						1271.999		165		456838.256		0		456674.716		165		601406.157		0		601384.733		0		456674.716		601384.733		1271.999

				456839.247		601406.287		166		1261.583						1271.999		166		456839.247		0		456674.716		166		601406.287		0		601384.733		0		456674.716		601384.733		1271.999

				456840.239		601406.416		167		1261.526						1271.999		167		456840.239		0		456674.716		167		601406.416		0		601384.733		0		456674.716		601384.733		1271.999

				456841.23		601406.546		168		1261.471						1271.999		168		456841.23		0		456674.716		168		601406.546		0				0		456674.716		0		1271.999

				456842.221		601406.676		169		1261.416						1271.999		169		456842.221		0		456674.716		169		601406.676		0				0		456674.716		0		1271.999

				456843.212		601406.806		170		1261.36						1271.999		170		456843.212		0		456674.716		170		601406.806		0				0		456674.716		0		1271.999

				456844.203		601406.936		171		1261.303						1271.999		171		456844.203		0		456674.716		171		601406.936		0				0		456674.716		0		1271.999

				456845.194		601407.066		172		1261.246						1271.999		172		456845.194		0		456674.716		172		601407.066		0				0		456674.716		0		1271.999

				456846.186		601407.196		173		1261.19						1271.999		173		456846.186		0		456674.716		173		601407.196		0				0		456674.716		0		1271.999

				456847.177		601407.325		174		1261.134						1271.999		174		456847.177		0		456674.716		174		601407.325		0				0		456674.716		0		1271.999

				456848.168		601407.455		175		1261.077						1271.999		175		456848.168		0		456674.716		175		601407.455		0				0		456674.716		0		1271.999

				456849.159		601407.585		176		1261.02						1271.999		176		456849.159		0		456674.716		176		601407.585		0				0		456674.716		0		1271.999

				456850.15		601407.715		177		1260.964						1271.999		177		456850.15		0		456674.716		177		601407.715		0				0		456674.716		0		1271.999

				456851.141		601407.845		178		1260.908						1271.999		178		456851.141		0		456674.716		178		601407.845		0				0		456674.716		0		1271.999

				456852.132		601407.975		179		1260.853						1271.999		179		456852.132		0		456674.716		179		601407.975		0				0		456674.716		0		1271.999

				456853.124		601408.104		180		1260.797						1271.999		180		456853.124		0		456674.716		180		601408.104		0				0		456674.716		0		1271.999

				456854.115		601408.234		181		1260.742						1271.999		181		456854.115		0		456674.716		181		601408.234		0				0		456674.716		0		1271.999

				456855.106		601408.364		182		1260.687						1271.999		182		456855.106		0		456674.716		182		601408.364		0				0		456674.716		0		1271.999

				456856.097		601408.494		183		1260.631						1271.999		183		456856.097		0		456674.716		183		601408.494		0				0		456674.716		0		1271.999

				456857.088		601408.624		184		1260.576						1271.999		184		456857.088		0		456674.716		184		601408.624		0				0		456674.716		0		1271.999

				456858.079		601408.754		185		1260.52						1271.999		185		456858.079		0		456674.716		185		601408.754		0				0		456674.716		0		1271.999

				456859.071		601408.883		186		1260.464						1271.999		186		456859.071		0		456674.716		186		601408.883		0				0		456674.716		0		1271.999

				456860.062		601409.013		187		1260.409						1271.999		187		456860.062		0		456674.716		187		601409.013		0				0		456674.716		0		1271.999

				456861.053		601409.143		188		1260.353						1271.999		188		456861.053		0		456674.716		188		601409.143		0				0		456674.716		0		1271.999

				456862.044		601409.273		189		1260.298						1271.999		189		456862.044		0		456674.716		189		601409.273		0				0		456674.716		0		1271.999

				456863.035		601409.403		190		1260.242						1271.999		190		456863.035		0		456674.716		190		601409.403		0				0		456674.716		0		1271.999

				456864.026		601409.533		191		1260.186						1271.999		191		456864.026		0		456674.716		191		601409.533		0				0		456674.716		0		1271.999

				456865.017		601409.663		192		1260.131						1271.999		192		456865.017		0		456674.716		192		601409.663		0				0		456674.716		0		1271.999

				456866.009		601409.792		193		1260.075						1271.999		193		456866.009		0		456674.716		193		601409.792		0				0		456674.716		0		1271.999

				456867		601409.922		194		1260.02						1271.999		194		456867		0		456674.716		194		601409.922		0				0		456674.716		0		1271.999

				456867.991		601410.052		195		1259.964						1271.999		195		456867.991		0		456674.716		195		601410.052		0				0		456674.716		0		1271.999

				456868.982		601410.182		196		1259.91						1271.999		196		456868.982		0		456674.716		196		601410.182		0				0		456674.716		0		1271.999

				456869.973		601410.312		197		1259.856						1271.999		197		456869.973		0		456674.716		197		601410.312		0				0		456674.716		0		1271.999

				456870.964		601410.442		198		1259.802						1271.999		198		456870.964		0		456674.716		198		601410.442		0				0		456674.716		0		1271.999

				456871.956		601410.571		199		1259.749						1271.999		199		456871.956		0		456674.716		199		601410.571		0				0		456674.716		0		1271.999

				456872.947		601410.701		200		1259.696						1271.999		200		456872.947		0		456674.716		200		601410.701		0				0		456674.716		0		1271.999

				456873.938		601410.831		201		1259.644						1271.999		201		456873.938		0		456674.716		201		601410.831		0				0		456674.716		0		1271.999

				456874.929		601410.961		202		1259.592						1271.999		202		456874.929		0		456674.716		202		601410.961		0				0		456674.716		0		1271.999

				456875.92		601411.091		203		1259.54						1271.999		203		456875.92		0		456674.716		203		601411.091		0				0		456674.716		0		1271.999

				456876.911		601411.221		204		1259.489						1271.999		204		456876.911		0		456674.716		204		601411.221		0				0		456674.716		0		1271.999

				456877.902		601411.35		205		1259.439						1271.999		205		456877.902		0		456674.716		205		601411.35		0				0		456674.716		0		1271.999

				456878.894		601411.48		206		1259.388						1271.999		206		456878.894		0		456674.716		206		601411.48		0				0		456674.716		0		1271.999

				456879.885		601411.61		207		1259.337						1271.999		207		456879.885		0		456674.716		207		601411.61		0				0		456674.716		0		1271.999

				456880.876		601411.74		208		1259.286						1271.999		208		456880.876		0		456674.716		208		601411.74		0				0		456674.716		0		1271.999

				456881.867		601411.87		209		1259.235						1271.999		209		456881.867		0		456674.716		209		601411.87		0				0		456674.716		0		1271.999

				456882.858		601412		210		1259.184						1271.999		210		456882.858		0		456674.716		210		601412		0				0		456674.716		0		1271.999

				456883.849		601412.13		211		1259.133						1271.999		211		456883.849		0		456674.716		211		601412.13		0				0		456674.716		0		1271.999

				456884.841		601412.259		212		1259.083						1271.999		212		456884.841		0		456674.716		212		601412.259		0				0		456674.716		0		1271.999

				456885.832		601412.389		213		1259.033						1271.999		213		456885.832		0		456674.716		213		601412.389		0				0		456674.716		0		1271.999

				456886.823		601412.519		214		1258.987						1271.999		214		456886.823		0		456674.716		214		601412.519		0				0		456674.716		0		1271.999

				456887.814		601412.649		215		1258.948						1271.999		215		456887.814		0		456674.716		215		601412.649		0				0		456674.716		0		1271.999

				456888.805		601412.779		216		1258.909						1271.999		216		456888.805		0		456674.716		216		601412.779		0				0		456674.716		0		1271.999

				456889.796		601412.909		217		1258.869						1271.999		217		456889.796		0		456674.716		217		601412.909		0				0		456674.716		0		1271.999

				456890.788		601413.038		218		1258.83						1271.999		218		456890.788		0		456674.716		218		601413.038		0				0		456674.716		0		1271.999

				456891.779		601413.168		219		1258.792						1271.999		219		456891.779		0		456674.716		219		601413.168		0				0		456674.716		0		1271.999

				456892.77		601413.298		220		1258.754						1271.999		220		456892.77		0		456674.716		220		601413.298		0				0		456674.716		0		1271.999

				456893.761		601413.428		221		1258.715						1271.999		221		456893.761		0		456674.716		221		601413.428		0				0		456674.716		0		1271.999

				456894.752		601413.558		222		1258.676						1271.999		222		456894.752		0		456674.716		222		601413.558		0				0		456674.716		0		1271.999

				456895.743		601413.688		223		1258.637						1271.999		223		456895.743		0		456674.716		223		601413.688		0				0		456674.716		0		1271.999

				456896.734		601413.817		224		1258.598						1271.999		224		456896.734		0		456674.716		224		601413.817		0				0		456674.716		0		1271.999

				456897.726		601413.947		225		1258.559						1271.999		225		456897.726		0		456674.716		225		601413.947		0				0		456674.716		0		1271.999

				456898.717		601414.077		226		1258.52						1271.999		226		456898.717		0		456674.716		226		601414.077		0				0		456674.716		0		1271.999

				456899.708		601414.207		227		1258.481						1271.999		227		456899.708		0		456674.716		227		601414.207		0				0		456674.716		0		1271.999

				456900.699		601414.337		228		1258.442						1271.999		228		456900.699		0		456674.716		228		601414.337		0				0		456674.716		0		1271.999

				456901.69		601414.467		229		1258.403						1271.999		229		456901.69		0		456674.716		229		601414.467		0				0		456674.716		0		1271.999

				456902.681		601414.597		230		1258.364						1271.999		230		456902.681		0		456674.716		230		601414.597		0				0		456674.716		0		1271.999

				456903.673		601414.726		231		1258.325						1271.999		231		456903.673		0		456674.716		231		601414.726		0				0		456674.716		0		1271.999

				456904.664		601414.856		232		1258.286						1271.999		232		456904.664		0		456674.716		232		601414.856		0				0		456674.716		0		1271.999

				456905.655		601414.986		233		1258.247						1271.999		233		456905.655		0		456674.716		233		601414.986		0				0		456674.716		0		1271.999

				456906.646		601415.116		234		1258.209						1271.999		234		456906.646		0		456674.716		234		601415.116		0				0		456674.716		0		1271.999

				456907.637		601415.246		235		1258.17						1271.999		235		456907.637		0		456674.716		235		601415.246		0				0		456674.716		0		1271.999

				456908.628		601415.376		236		1258.131						1271.999		236		456908.628				456674.716		236		601415.376		0				0		456674.716		0		1271.999

				456909.619		601415.505		237		1258.092						1271.999		237		456909.619				456674.716		237		601415.505		0				0		456674.716		0		1271.999

				456910.611		601415.635		238		1258.053						1271.999		238		456910.611				456674.716		238		601415.635		0				0		456674.716		0		1271.999

				456911.602		601415.765		239		1258.016						1271.999		239		456911.602				456674.716		239		601415.765		0				0		456674.716		0		1271.999

				456912.593		601415.895		240		1257.961						1271.999		240		456912.593				456674.716		240		601415.895		0				0		456674.716		0		1271.999

				456913.584		601416.025		241		1257.889						1271.999		241		456913.584				456674.716		241		601416.025		0				0		456674.716		0		1271.999

				456914.575		601416.155		242		1257.796						1271.999		242		456914.575				456674.716		242		601416.155		0				0		456674.716		0		1271.999

				456915.566		601416.284		243		1257.701						1271.999		243		456915.566				456674.716		243		601416.284		0				0		456674.716		0		1271.999

				456916.558		601416.414		244		1257.606						1271.999		244		456916.558				456674.716		244		601416.414		0				0		456674.716		0		1271.999

				456917.549		601416.544		245		1257.512						1271.999		245		456917.549				456674.716		245		601416.544		0				0		456674.716		0		1271.999

				456918.54		601416.674		246		1257.419						1271.999		246		456918.54				456674.716		246		601416.674		0				0		456674.716		0		1271.999

				456919.531		601416.804		247		1257.329						1271.999		247		456919.531				456674.716		247		601416.804		0				0		456674.716		0		1271.999

				456920.522		601416.934		248		1257.243						1271.999		248		456920.522				456674.716		248		601416.934		0				0		456674.716		0		1271.999

				456921.513		601417.063		249		1257.16						1271.999		249		456921.513				456674.716		249		601417.063		0				0		456674.716		0		1271.999

				456922.504		601417.193		250		1257.079						1271.999		250		456922.504				456674.716		250		601417.193		0				0		456674.716		0		1271.999

				456923.496		601417.323		251		1257.028						1271.999		251		456923.496				456674.716		251		601417.323		0				0		456674.716		0		1271.999

				456924.487		601417.453		252		1257.001						1271.999		252		456924.487				456674.716		252		601417.453		0				0		456674.716		0		1271.999

				456925.478		601417.583		253		1257						1271.999		253		456925.478				456674.716		253		601417.583		0				0		456674.716		0		1271.999

				456926.469		601417.713		254		1256.993						1271.999		254		456926.469				456674.716		254		601417.713		0				0		456674.716		0		1271.999

				456927.46		601417.843		255		1256.971						1271.999		255		456927.46				456674.716		255		601417.843		0				0		456674.716		0		1271.999

				456928.451		601417.972		256		1256.943						1271.999		256		456928.451				456674.716		256		601417.972		0				0		456674.716		0		1271.999

				456929.443		601418.102		257		1256.915						1271.999		257		456929.443				456674.716		257		601418.102		0				0		456674.716		0		1271.999

				456930.434		601418.232		258		1256.887						1271.999		258		456930.434				456674.716		258		601418.232		0				0		456674.716		0		1271.999

				456931.425		601418.362		259		1256.859						1271.999		259		456931.425				456674.716		259		601418.362		0				0		456674.716		0		1271.999

				456932.416		601418.492		260		1256.833						1271.999		260		456932.416				456674.716		260		601418.492		0				0		456674.716		0		1271.999

				456933.407		601418.622		261		1256.811						1271.999		261		456933.407				456674.716		261		601418.622		0				0		456674.716		0		1271.999

				456934.398		601418.751		262		1256.792						1271.999		262		456934.398				456674.716		262		601418.751		0				0		456674.716		0		1271.999

				456935.389		601418.881		263		1256.774						1271.999		263		456935.389				456674.716		263		601418.881		0				0		456674.716		0		1271.999

				456936.381		601419.011		264		1256.757						1271.999		264		456936.381				456674.716		264		601419.011		0				0		456674.716		0		1271.999

				456937.372		601419.141		265		1256.742						1271.999		265		456937.372				456674.716		265		601419.141		0				0		456674.716		0		1271.999

				456938.363		601419.271		266		1256.724						1271.999		266		456938.363				456674.716		266		601419.271		0				0		456674.716		0		1271.999

				456939.354		601419.401		267		1256.705						1271.999		267		456939.354				456674.716		267		601419.401		0				0		456674.716		0		1271.999

				456940.345		601419.53		268		1256.685						1271.999		268		456940.345				456674.716		268		601419.53		0				0		456674.716		0		1271.999

				456941.336		601419.66		269		1256.666						1271.999		269		456941.336				456674.716		269		601419.66		0				0		456674.716		0		1271.999

				456942.328		601419.79		270		1256.646						1271.999		270		456942.328				456674.716		270		601419.79		0				0		456674.716		0		1271.999

				456943.319		601419.92		271		1256.626						1271.999		271		456943.319				456674.716		271		601419.92		0				0		456674.716		0		1271.999

				456944.31		601420.05		272		1256.606						1271.999		272		456944.31				456674.716		272		601420.05		0				0		456674.716		0		1271.999

				456945.301		601420.18		273		1256.587						1271.999		273		456945.301				456674.716		273		601420.18		0				0		456674.716		0		1271.999

				456946.292		601420.31		274		1256.567						1271.999		274		456946.292				456674.716		274		601420.31		0				0		456674.716		0		1271.999

				456947.283		601420.439		275		1256.547						1271.999		275		456947.283				456674.716		275		601420.439		0				0		456674.716		0		1271.999

				456948.274		601420.569		276		1256.528						1271.999		276		456948.274				456674.716		276		601420.569		0				0		456674.716		0		1271.999

				456949.266		601420.699		277		1256.508						1271.999		277		456949.266				456674.716		277		601420.699		0				0		456674.716		0		1271.999

				456950.257		601420.829		278		1256.488						1271.999		278		456950.257				456674.716		278		601420.829		0				0		456674.716		0		1271.999

				456951.248		601420.959		279		1256.468						1271.999		279		456951.248				456674.716		279		601420.959		0				0		456674.716		0		1271.999

				456952.239		601421.089		280		1256.449						1271.999		280		456952.239				456674.716		280		601421.089		0				0		456674.716		0		1271.999

				456953.23		601421.218		281		1256.429						1271.999		281		456953.23				456674.716		281		601421.218		0				0		456674.716		0		1271.999

				456954.221		601421.348		282		1256.409						1271.999		282		456954.221				456674.716		282		601421.348		0				0		456674.716		0		1271.999

				456955.213		601421.478		283		1256.39						1271.999		283		456955.213				456674.716		283		601421.478		0				0		456674.716		0		1271.999

				456956.204		601421.608		284		1256.37						1271.999		284		456956.204				456674.716		284		601421.608		0				0		456674.716		0		1271.999

				456957.195		601421.738		285		1256.35						1271.999		285		456957.195				456674.716		285		601421.738		0				0		456674.716		0		1271.999

				456958.186		601421.868		286		1256.331						1271.999		286		456958.186				456674.716		286		601421.868		0				0		456674.716		0		1271.999

				456959.177		601421.997		287		1256.311						1271.999		287		456959.177				456674.716		287		601421.997		0				0		456674.716		0		1271.999

				456960.168		601422.127		288		1256.291						1271.999		288		456960.168				456674.716		288		601422.127		0				0		456674.716		0		1271.999

				456961.159		601422.257		289		1256.271						1271.999		289		456961.159				456674.716		289		601422.257		0				0		456674.716		0		1271.999

				456962.151		601422.387		290		1256.252						1271.999		290		456962.151				456674.716		290		601422.387		0				0		456674.716		0		1271.999

				456963.142		601422.517		291		1256.232						1271.999		291		456963.142				456674.716		291		601422.517		0				0		456674.716		0		1271.999

				456964.133		601422.647		292		1256.212						1271.999		292		456964.133				456674.716		292		601422.647		0				0		456674.716		0		1271.999

				456965.124		601422.777		293		1256.193						1271.999		293		456965.124				456674.716		293		601422.777		0				0		456674.716		0		1271.999

				456966.115		601422.906		294		1256.173						1271.999		294		456966.115				456674.716		294		601422.906		0				0		456674.716		0		1271.999

				456967.106		601423.036		295		1256.153						1271.999		295		456967.106				456674.716		295		601423.036		0				0		456674.716		0		1271.999

				456968.098		601423.166		296		1256.133						1271.999		296		456968.098				456674.716		296		601423.166		0				0		456674.716		0		1271.999

				456969.089		601423.296		297		1256.114						1271.999		297		456969.089				456674.716		297		601423.296		0				0		456674.716		0		1271.999

				456970.08		601423.426		298		1256.094						1271.999		298		456970.08				456674.716		298		601423.426		0				0		456674.716		0		1271.999

				456971.071		601423.556		299		1256.074						1271.999		299		456971.071				456674.716		299		601423.556		0				0		456674.716		0		1271.999

				456972.062		601423.685		300		1256.055						1271.999		300		456972.062				456674.716		300		601423.685		0				0		456674.716		0		1271.999

				456973.053		601423.815		301		1256.035						1271.999		301		456973.053				456674.716		301		601423.815		0				0		456674.716		0		1271.999

				456974.044		601423.945		302		1256.017						1271.999		302		456974.044				456674.716		302		601423.945		0				0		456674.716		0		1271.999

				456975.036		601424.075		303		1256						1271.999		303		456975.036				456674.716		303		601424.075		0				0		456674.716		0		1271.999

				456976.027		601424.205		304		1256						1271.999		304		456976.027				456674.716		304		601424.205		0				0		456674.716		0		1271.999

				456977.018		601424.335		305		1256						1271.999		305		456977.018				456674.716		305		601424.335		0				0		456674.716		0		1271.999

				456978.009		601424.464		306		1256						1271.999		306		456978.009				456674.716		306		601424.464		0				0		456674.716		0		1271.999

				456979		601424.594		307		1256						1271.999		307		456979				456674.716		307		601424.594		0				0		456674.716		0		1271.999

				456979.991		601424.724		308		1256						1271.999		308		456979.991				456674.716		308		601424.724		0				0		456674.716		0		1271.999

				456980.983		601424.854		309		1256						1271.999		309		456980.983				456674.716		309		601424.854		0				0		456674.716		0		1271.999

				456981.974		601424.984		310		1256						1271.999		310		456981.974				456674.716		310		601424.984		0				0		456674.716		0		1271.999

				456982.965		601425.114		311		1256						1271.999		311		456982.965				456674.716		311		601425.114		0				0		456674.716		0		1271.999

				456983.956		601425.244		312		1255.996						1271.999		312		456983.956				456674.716		312		601425.244		0				0		456674.716		0		1271.999

				456984.947		601425.373		313		1255.94						1271.999		313		456984.947				456674.716		313		601425.373		0				0		456674.716		0		1271.999

				456985.938		601425.503		314		1255.84						1271.999		314		456985.938				456674.716		314		601425.503		0				0		456674.716		0		1271.999

				456986.929		601425.633		315		1255.74						1271.999		315		456986.929				456674.716		315		601425.633		0				0		456674.716		0		1271.999

				456987.921		601425.763		316		1255.639						1271.999		316		456987.921				456674.716		316		601425.763		0				0		456674.716		0		1271.999

				456988.912		601425.893		317		1255.537						1271.999		317		456988.912				456674.716		317		601425.893		0				0		456674.716		0		1271.999

				456989.903		601426.023		318		1255.435						1271.999		318		456989.903				456674.716		318		601426.023		0				0		456674.716		0		1271.999

				456990.894		601426.152		319		1255.332						1271.999		319		456990.894				456674.716		319		601426.152		0				0		456674.716		0		1271.999

				456991.885		601426.282		320		1255.227						1271.999		320		456991.885				456674.716		320		601426.282		0				0		456674.716		0		1271.999

				456992.876		601426.412		321		1255.122						1271.999		321		456992.876				456674.716		321		601426.412		0				0		456674.716		0		1271.999

				456993.868		601426.542		322		1255.023						1271.999		322		456993.868				456674.716		322		601426.542		0				0		456674.716		0		1271.999

				456994.859		601426.672		323		1255.004						1271.999		323		456994.859				456674.716		323		601426.672		0				0		456674.716		0		1271.999

				456995.85		601426.802		324		1255						1271.999		324		456995.85				456674.716		324		601426.802		0				0		456674.716		0		1271.999

				456996.841		601426.931		325		1255						1271.999		325		456996.841				456674.716		325		601426.931		0				0		456674.716		0		1271.999

				456997.832		601427.061		326		1255						1271.999		326		456997.832				456674.716		326		601427.061		0				0		456674.716		0		1271.999

				456998.823		601427.191		327		1255						1271.999		327		456998.823				456674.716		327		601427.191		0				0		456674.716		0		1271.999

				456999.814		601427.321		328		1255						1271.999		328		456999.814				456674.716		328		601427.321		0				0		456674.716		0		1271.999

				457000.806		601427.451		329		1255						1271.999		329		457000.806				456674.716		329		601427.451		0				0		456674.716		0		1271.999

				457001.797		601427.581		330		1255						1271.999		330		457001.797				456674.716		330		601427.581		0				0		456674.716		0		1271.999

				457002.788		601427.711		331		1255						1271.999		331		457002.788				456674.716		331		601427.711		0				0		456674.716		0		1271.999

				457003.779		601427.84		332		1255						1271.999		332		457003.779				456674.716		332		601427.84		0				0		456674.716		0		1271.999

				457004.77		601427.97		333		1255						1271.999		333		457004.77				456674.716		333		601427.97		0				0		456674.716		0		1271.999

				457005.761		601428.1		334		1255						1271.999		334		457005.761				456674.716		334		601428.1		0				0		456674.716		0		1271.999

				457006.753		601428.23		335		1255						1271.999		335		457006.753				456674.716		335		601428.23		0				0		456674.716		0		1271.999

				457007.744		601428.36		336		1255						1271.999		336		457007.744				456674.716		336		601428.36		0				0		456674.716		0		1271.999

				457008.735		601428.49		337		1255						1271.999		337		457008.735				456674.716		337		601428.49		0				0		456674.716		0		1271.999

				457009.726		601428.619		338		1255						1271.999		338		457009.726				456674.716		338		601428.619		0				0		456674.716		0		1271.999

				457010.717		601428.749		339		1255						1271.999		339		457010.717				456674.716		339		601428.749		0				0		456674.716		0		1271.999

				457011.708		601428.879		340		1255						1271.999		340		457011.708				456674.716		340		601428.879		0				0		456674.716		0		1271.999

				457012.699		601429.009		341		1255						1271.999		341		457012.699				456674.716		341		601429.009		0				0		456674.716		0		1271.999

				457013.691		601429.139		342		1255						1271.999		342		457013.691				456674.716		342		601429.139		0				0		456674.716		0		1271.999

				457014.682		601429.269		343		1255						1271.999		343		457014.682				456674.716		343		601429.269		0				0		456674.716		0		1271.999

				457015.673		601429.398		344		1255.01						1271.999		344		457015.673				456674.716		344		601429.398		0				0		456674.716		0		1271.999

				457016.664		601429.528		345		1255.039						1271.999		345		457016.664				456674.716		345		601429.528		0				0		456674.716		0		1271.999

				457017.655		601429.658		346		1255.105						1271.999		346		457017.655				456674.716		346		601429.658		0				0		456674.716		0		1271.999

				457018.646		601429.788		347		1255.17						1271.999		347		457018.646				456674.716		347		601429.788		0				0		456674.716		0		1271.999

				457019.638		601429.918		348		1255.236						1271.999		348		457019.638				456674.716		348		601429.918		0				0		456674.716		0		1271.999

				457020.629		601430.048		349		1255.302						1271.999		349		457020.629				456674.716		349		601430.048		0				0		456674.716		0		1271.999

				457021.62		601430.178		350		1255.366						1271.999		350		457021.62				456674.716		350		601430.178		0				0		456674.716		0		1271.999

				457022.611		601430.307		351		1255.43						1271.999		351		457022.611				456674.716		351		601430.307		0				0		456674.716		0		1271.999

				457023.602		601430.437		352		1255.494						1271.999		352		457023.602				456674.716		352		601430.437		0				0		456674.716		0		1271.999

				457024.593		601430.567		353		1255.558						1271.999		353		457024.593				456674.716		353		601430.567		0				0		456674.716		0		1271.999

				457025.584		601430.697		354		1255.62						1271.999		354		457025.584				456674.716		354		601430.697		0				0		456674.716		0		1271.999

				457026.576		601430.827		355		1255.682						1271.999		355		457026.576				456674.716		355		601430.827		0				0		456674.716		0		1271.999

				457027.567		601430.957		356		1255.744						1271.999		356		457027.567				456674.716		356		601430.957		0				0		456674.716		0		1271.999

				457028.558		601431.086		357		1255.805						1271.999		357		457028.558				456674.716		357		601431.086		0				0		456674.716		0		1271.999

				457029.549		601431.216		358		1255.865						1271.999		358		457029.549				456674.716		358		601431.216		0				0		456674.716		0		1271.999

				457030.54		601431.346		359		1255.924						1271.999		359		457030.54				456674.716		359		601431.346		0				0		456674.716		0		1271.999

				457031.531		601431.476		360		1255.975						1271.999		360		457031.531				456674.716		360		601431.476		0				0		456674.716		0		1271.999

				457032.523		601431.606		361		1255.992						1271.999		361		457032.523				456674.716		361		601431.606		0				0		456674.716		0		1271.999

				457033.514		601431.736		362		1255.992						1271.999		362		457033.514				456674.716		362		601431.736		0				0		456674.716		0		1271.999

				457034.505		601431.865		363		1255.988						1271.999		363		457034.505				456674.716		363		601431.865		0				0		456674.716		0		1271.999

				457035.496		601431.995		364		1255.979						1271.999		364		457035.496				456674.716		364		601431.995		0				0		456674.716		0		1271.999

				457036.487		601432.125		365		1255.968						1271.999		365		457036.487				456674.716		365		601432.125		0				0		456674.716		0		1271.999

				457037.478		601432.255		366		1255.957						1271.999		366		457037.478				456674.716		366		601432.255		0				0		456674.716		0		1271.999

				457038.469		601432.385		367		1255.942						1271.999		367		457038.469				456674.716		367		601432.385		0				0		456674.716		0		1271.999

				457039.461		601432.515		368		1255.926						1271.999		368		457039.461				456674.716		368		601432.515		0				0		456674.716		0		1271.999

				457040.452		601432.644		369		1255.913						1271.999		369		457040.452				456674.716		369		601432.644		0				0		456674.716		0		1271.999

				457041.443		601432.774		370		1255.9						1271.999		370		457041.443				456674.716		370		601432.774		0				0		456674.716		0		1271.999

				457042.434		601432.904		371		1255.886						1271.999		371		457042.434				456674.716		371		601432.904		0				0		456674.716		0		1271.999

				457043.425		601433.034		372		1255.868						1271.999		372		457043.425				456674.716		372		601433.034		0				0		456674.716		0		1271.999

				457044.416		601433.164		373		1255.847						1271.999		373		457044.416				456674.716		373		601433.164		0				0		456674.716		0		1271.999

				457045.408		601433.294		374		1255.826						1271.999		374		457045.408				456674.716		374		601433.294		0				0		456674.716		0		1271.999

				457046.399		601433.424		375		1255.804						1271.999		375		457046.399				456674.716		375		601433.424		0				0		456674.716		0		1271.999

				457047.39		601433.553		376		1255.781						1271.999		376		457047.39				456674.716		376		601433.553		0				0		456674.716		0		1271.999

				457048.381		601433.683		377		1255.757						1271.999		377		457048.381				456674.716		377		601433.683		0				0		456674.716		0		1271.999

				457049.372		601433.813		378		1255.733						1271.999		378		457049.372				456674.716		378		601433.813		0				0		456674.716		0		1271.999

				457050.363		601433.943		379		1255.708						1271.999		379		457050.363				456674.716		379		601433.943		0				0		456674.716		0		1271.999

				457051.355		601434.073		380		1255.684						1271.999		380		457051.355				456674.716		380		601434.073		0				0		456674.716		0		1271.999

				457052.346		601434.203		381		1255.661						1271.999		381		457052.346				456674.716		381		601434.203		0				0		456674.716		0		1271.999

				457053.337		601434.332		382		1255.638						1271.999		382		457053.337				456674.716		382		601434.332		0				0		456674.716		0		1271.999

				457054.328		601434.462		383		1255.618						1271.999		383		457054.328				456674.716		383		601434.462		0				0		456674.716		0		1271.999

				457055.319		601434.592		384		1255.602						1271.999		384		457055.319				456674.716		384		601434.592		0				0		456674.716		0		1271.999

				457056.31		601434.722		385		1255.582						1271.999		385		457056.31				456674.716		385		601434.722		0				0		456674.716		0		1271.999

				457057.301		601434.852		386		1255.56						1271.999		386		457057.301				456674.716		386		601434.852		0				0		456674.716		0		1271.999

				457058.293		601434.982		387		1255.537						1271.999		387		457058.293				456674.716		387		601434.982		0				0		456674.716		0		1271.999

				457059.284		601435.111		388		1255.515						1271.999		388		457059.284				456674.716		388		601435.111		0				0		456674.716		0		1271.999

				457060.275		601435.241		389		1255.492						1271.999		389		457060.275				456674.716		389		601435.241		0				0		456674.716		0		1271.999

				457061.266		601435.371		390		1255.47						1271.999		390		457061.266				456674.716		390		601435.371		0				0		456674.716		0		1271.999

				457062.257		601435.501		391		1255.447						1271.999		391		457062.257				456674.716		391		601435.501		0				0		456674.716		0		1271.999

				457063.248		601435.631		392		1255.425						1271.999		392		457063.248				456674.716		392		601435.631		0				0		456674.716		0		1271.999

				457064.24		601435.761		393		1255.403						1271.999		393		457064.24				456674.716		393		601435.761		0				0		456674.716		0		1271.999

				457065.231		601435.891		394		1255.38						1271.999		394		457065.231				456674.716		394		601435.891		0				0		456674.716		0		1271.999

				457066.222		601436.02		395		1255.358						1271.999		395		457066.222				456674.716		395		601436.02		0				0		456674.716		0		1271.999

				457067.213		601436.15		396		1255.335						1271.999		396		457067.213				456674.716		396		601436.15		0				0		456674.716		0		1271.999

				457068.204		601436.28		397		1255.313						1271.999		397		457068.204				456674.716		397		601436.28		0				0		456674.716		0		1271.999

				457069.195		601436.41		398		1255.291						1271.999		398		457069.195				456674.716		398		601436.41		0				0		456674.716		0		1271.999

				457070.186		601436.54		399		1255.268						1271.999		399		457070.186				456674.716		399		601436.54		0				0		456674.716		0		1271.999

				457071.178		601436.67		400		1255.246						1271.999		400		457071.178				456674.716		400		601436.67		0				0		456674.716		0		1271.999

				457072.169		601436.799		401		1255.223						1271.999		401		457072.169				456674.716		401		601436.799		0				0		456674.716		0		1271.999

				457073.16		601436.929		402		1255.201						1271.999		402		457073.16				456674.716		402		601436.929		0				0		456674.716		0		1271.999

				457074.151		601437.059		403		1255.178						1271.999		403		457074.151				456674.716		403		601437.059		0				0		456674.716		0		1271.999

				457075.142		601437.189		404		1255.156						1271.999		404		457075.142				456674.716		404		601437.189		0				0		456674.716		0		1271.999

				457076.133		601437.319		405		1255.134						1271.999		405		457076.133				456674.716		405		601437.319		0				0		456674.716		0		1271.999

				457077.125		601437.449		406		1255.111						1271.999		406		457077.125				456674.716		406		601437.449		0				0		456674.716		0		1271.999

				457078.116		601437.578		407		1255.089						1271.999		407		457078.116				456674.716		407		601437.578		0				0		456674.716		0		1271.999

				457079.107		601437.708		408		1255.066						1271.999		408		457079.107				456674.716		408		601437.708		0				0		456674.716		0		1271.999

				457080.098		601437.838		409		1255.044						1271.999		409		457080.098				456674.716		409		601437.838		0				0		456674.716		0		1271.999

				457081.089		601437.968		410		1255.022						1271.999		410		457081.089				456674.716		410		601437.968		0				0		456674.716		0		1271.999

				457082.08		601438.098		411		1255.004						1271.999		411		457082.08				456674.716		411		601438.098		0				0		456674.716		0		1271.999

				457083.071		601438.228		412		1255						1271.999		412		457083.071				456674.716		412		601438.228		0				0		456674.716		0		1271.999

				457084.063		601438.358		413		1255						1271.999		413		457084.063				456674.716		413		601438.358		0				0		456674.716		0		1271.999

				457085.054		601438.487		414		1255						1271.999		414		457085.054				456674.716		414		601438.487		0				0		456674.716		0		1271.999

				457086.045		601438.617		415		1255						1271.999		415		457086.045				456674.716		415		601438.617		0				0		456674.716		0		1271.999

				457087.036		601438.747		416		1255						1271.999		416		457087.036				456674.716		416		601438.747		0				0		456674.716		0		1271.999

				457088.027		601438.877		417		1255						1271.999		417		457088.027				456674.716		417		601438.877		0				0		456674.716		0		1271.999

				457089.018		601439.007		418		1255						1271.999		418		457089.018				456674.716		418		601439.007		0				0		456674.716		0		1271.999

				457090.01		601439.137		419		1255						1271.999		419		457090.01				456674.716		419		601439.137		0				0		456674.716		0		1271.999

				457091.001		601439.266		420		1255						1271.999		420		457091.001				456674.716		420		601439.266		0				0		456674.716		0		1271.999

				457091.992		601439.396		421		1255						1271.999		421		457091.992				456674.716		421		601439.396		0				0		456674.716		0		1271.999

				457092.983		601439.526		422		1255						1271.999		422		457092.983				456674.716		422		601439.526		0				0		456674.716		0		1271.999

				457093.974		601439.656		423		1255						1271.999		423		457093.974				456674.716		423		601439.656		0				0		456674.716		0		1271.999

				457094.965		601439.786		424		1255						1271.999		424		457094.965				456674.716		424		601439.786		0				0		456674.716		0		1271.999

				457095.956		601439.916		425		1255						1271.999		425		457095.956				456674.716		425		601439.916		0				0		456674.716		0		1271.999

				457096.948		601440.045		426		1255						1271.999		426		457096.948				456674.716		426		601440.045		0				0		456674.716		0		1271.999

				457097.939		601440.175		427		1255						1271.999		427		457097.939				456674.716		427		601440.175		0				0		456674.716		0		1271.999

				457098.93		601440.305		428		1255						1271.999		428		457098.93				456674.716		428		601440.305		0				0		456674.716		0		1271.999

				457099.921		601440.435		429		1255						1271.999		429		457099.921				456674.716		429		601440.435		0				0		456674.716		0		1271.999

				457100.912		601440.565		430		1255						1271.999		430		457100.912				456674.716		430		601440.565		0				0		456674.716		0		1271.999

				457101.903		601440.695		431		1255						1271.999		431		457101.903				456674.716		431		601440.695		0				0		456674.716		0		1271.999

				457102.895		601440.825		432		1255						1271.999		432		457102.895				456674.716		432		601440.825		0				0		456674.716		0		1271.999

				457103.886		601440.954		433		1255						1271.999		433		457103.886				456674.716		433		601440.954		0				0		456674.716		0		1271.999

				457104.877		601441.084		434		1255						1271.999		434		457104.877				456674.716		434		601441.084		0				0		456674.716		0		1271.999

				457105.868		601441.214		435		1255						1271.999		435		457105.868				456674.716		435		601441.214		0				0		456674.716		0		1271.999

				457106.859		601441.344		436		1255						1271.999		436		457106.859				456674.716		436		601441.344		0				0		456674.716		0		1271.999

				457107.85		601441.474		437		1255						1271.999		437		457107.85				456674.716		437		601441.474		0				0		456674.716		0		1271.999

				457108.841		601441.604		438		1255						1271.999		438		457108.841				456674.716		438		601441.604		0				0		456674.716		0		1271.999

				457109.833		601441.733		439		1255						1271.999		439		457109.833				456674.716		439		601441.733		0				0		456674.716		0		1271.999

				457110.824		601441.863		440		1255						1271.999		440		457110.824				456674.716		440		601441.863		0				0		456674.716		0		1271.999

				457111.815		601441.993		441		1255						1271.999		441		457111.815				456674.716		441		601441.993		0				0		456674.716		0		1271.999

				457112.806		601442.123		442		1255						1271.999		442		457112.806				456674.716		442		601442.123		0				0		456674.716		0		1271.999

				457113.797		601442.253		443		1255						1271.999		443		457113.797				456674.716		443		601442.253		0				0		456674.716		0		1271.999

				457114.788		601442.383		444		1254.99						1271.999		444		457114.788				456674.716		444		601442.383		0				0		456674.716		0		1271.999

				457115.78		601442.512		445		1254.966						1271.999		445		457115.78				456674.716		445		601442.512		0				0		456674.716		0		1271.999

				457116.771		601442.642		446		1254.938						1271.999		446		457116.771				456674.716		446		601442.642		0				0		456674.716		0		1271.999

				457117.762		601442.772		447		1254.911						1271.999		447		457117.762				456674.716		447		601442.772		0				0		456674.716		0		1271.999

				457118.753		601442.902		448		1254.883						1271.999		448		457118.753				456674.716		448		601442.902		0				0		456674.716		0		1271.999

				457119.744		601443.032		449		1254.854						1271.999		449		457119.744				456674.716		449		601443.032		0				0		456674.716		0		1271.999

				457120.735		601443.162		450		1254.826						1271.999		450		457120.735				456674.716		450		601443.162		0				0		456674.716		0		1271.999

				457121.726		601443.292		451		1254.797						1271.999		451		457121.726				456674.716		451		601443.292		0				0		456674.716		0		1271.999

				457122.718		601443.421		452		1254.77						1271.999		452		457122.718				456674.716		452		601443.421		0				0		456674.716		0		1271.999

				457123.709		601443.551		453		1254.745						1271.999		453		457123.709				456674.716		453		601443.551		0				0		456674.716		0		1271.999

				457124.7		601443.681		454		1254.717						1271.999		454		457124.7				456674.716		454		601443.681		0				0		456674.716		0		1271.999

				457125.691		601443.811		455		1254.689						1271.999		455		457125.691				456674.716		455		601443.811		0				0		456674.716		0		1271.999

				457126.682		601443.941		456		1254.66						1271.999		456		457126.682				456674.716		456		601443.941		0				0		456674.716		0		1271.999

				457127.673		601444.071		457		1254.631						1271.999		457		457127.673				456674.716		457		601444.071		0				0		456674.716		0		1271.999

				457128.665		601444.2		458		1254.605						1271.999		458		457128.665				456674.716		458		601444.2		0				0		456674.716		0		1271.999

				457129.656		601444.33		459		1254.579						1271.999		459		457129.656				456674.716		459		601444.33		0				0		456674.716		0		1271.999

				457130.647		601444.46		460		1254.553						1271.999		460		457130.647				456674.716		460		601444.46		0				0		456674.716		0		1271.999

				457131.638		601444.59		461		1254.526						1271.999		461		457131.638				456674.716		461		601444.59		0				0		456674.716		0		1271.999

				457132.629		601444.72		462		1254.497						1271.999		462		457132.629				456674.716		462		601444.72		0				0		456674.716		0		1271.999

				457133.62		601444.85		463		1254.468						1271.999		463		457133.62				456674.716		463		601444.85		0				0		456674.716		0		1271.999

				457134.611		601444.979		464		1254.44						1271.999		464		457134.611				456674.716		464		601444.979		0				0		456674.716		0		1271.999

				457135.603		601445.109		465		1254.414						1271.999		465		457135.603				456674.716		465		601445.109		0				0		456674.716		0		1271.999

				457136.594		601445.239		466		1254.387						1271.999		466		457136.594				456674.716		466		601445.239		0				0		456674.716		0		1271.999

				457137.585		601445.369		467		1254.361						1271.999		467		457137.585				456674.716		467		601445.369		0				0		456674.716		0		1271.999

				457138.576		601445.499		468		1254.333						1271.999		468		457138.576				456674.716		468		601445.499		0				0		456674.716		0		1271.999

				457139.567		601445.629		469		1254.306						1271.999		469		457139.567				456674.716		469		601445.629		0				0		456674.716		0		1271.999

				457140.558		601445.758		470		1254.277						1271.999		470		457140.558				456674.716		470		601445.758		0				0		456674.716		0		1271.999

				457141.55		601445.888		471		1254.25						1271.999		471		457141.55				456674.716		471		601445.888		0				0		456674.716		0		1271.999

				457142.541		601446.018		472		1254.223						1271.999		472		457142.541				456674.716		472		601446.018		0				0		456674.716		0		1271.999

				457143.532		601446.148		473		1254.197						1271.999		473		457143.532				456674.716		473		601446.148		0				0		456674.716		0		1271.999

				457144.523		601446.278		474		1254.17						1271.999		474		457144.523				456674.716		474		601446.278		0				0		456674.716		0		1271.999

				457145.514		601446.408		475		1254.143						1271.999		475		457145.514				456674.716		475		601446.408		0				0		456674.716		0		1271.999

				457146.505		601446.538		476		1254.116						1271.999		476		457146.505				456674.716		476		601446.538		0				0		456674.716		0		1271.999

				457147.496		601446.667		477		1254.089						1271.999		477		457147.496				456674.716		477		601446.667		0				0		456674.716		0		1271.999

				457148.488		601446.797		478		1254.063						1271.999		478		457148.488				456674.716		478		601446.797		0				0		456674.716		0		1271.999

				457149.479		601446.927		479		1254.037						1271.999		479		457149.479				456674.716		479		601446.927		0				0		456674.716		0		1271.999

				457150.47		601447.057		480		1254.01						1271.999		480		457150.47				456674.716		480		601447.057		0				0		456674.716		0		1271.999

				457151.461		601447.187		481		1254.002						1271.999		481		457151.461				456674.716		481		601447.187		0				0		456674.716		0		1271.999

				457152.452		601447.317		482		1254						1271.999		482		457152.452				456674.716		482		601447.317		0				0		456674.716		0		1271.999

				457153.443		601447.446		483		1254						1271.999		483		457153.443				456674.716		483		601447.446		0				0		456674.716		0		1271.999

				457154.435		601447.576		484		1254						1271.999		484		457154.435				456674.716		484		601447.576		0				0		456674.716		0		1271.999

				457155.426		601447.706		485		1254						1271.999		485		457155.426				456674.716		485		601447.706		0				0		456674.716		0		1271.999

				457156.417		601447.836		486		1254						1271.999		486		457156.417				456674.716		486		601447.836		0				0		456674.716		0		1271.999

				457157.408		601447.966		487		1254						1271.999		487		457157.408				456674.716		487		601447.966		0				0		456674.716		0		1271.999

				457158.399		601448.096		488		1254						1271.999		488		457158.399				456674.716		488		601448.096		0				0		456674.716		0		1271.999

				457159.39		601448.225		489		1254						1271.999		489		457159.39				456674.716		489		601448.225		0				0		456674.716		0		1271.999

				457160.381		601448.355		490		1254						1271.999		490		457160.381				456674.716		490		601448.355		0				0		456674.716		0		1271.999

				457161.373		601448.485		491		1254						1271.999		491		457161.373				456674.716		491		601448.485		0				0		456674.716		0		1271.999

				457162.364		601448.615		492		1254						1271.999		492		457162.364				456674.716		492		601448.615		0				0		456674.716		0		1271.999

				457163.355		601448.745		493		1254						1271.999		493		457163.355				456674.716		493		601448.745		0				0		456674.716		0		1271.999

				457164.346		601448.875		494		1254						1271.999		494		457164.346				456674.716		494		601448.875		0				0		456674.716		0		1271.999

				457165.337		601449.005		495		1254						1271.999		495		457165.337				456674.716		495		601449.005		0				0		456674.716		0		1271.999

				457166.328		601449.134		496		1254						1271.999		496		457166.328				456674.716		496		601449.134		0				0		456674.716		0		1271.999

				457167.32		601449.264		497		1254						1271.999		497		457167.32				456674.716		497		601449.264		0				0		456674.716		0		1271.999

				457168.311		601449.394		498		1254						1271.999		498		457168.311				456674.716		498		601449.394		0				0		456674.716		0		1271.999

				457169.302		601449.524		499		1254						1271.999		499		457169.302				456674.716		499		601449.524		0				0		456674.716		0		1271.999

				457170.293		601449.654		500		1254						1271.999		500		457170.293				456674.716		500		601449.654		0				0		456674.716		0		1271.999

				457171.284		601449.784		501		1254.006						1271.999		501		457171.284				456674.716		501		601449.784		0				0		456674.716		0		1271.999

				457172.275		601449.913		502		1254.02						1271.999		502		457172.275				456674.716		502		601449.913		0				0		456674.716		0		1271.999

				457173.266		601450.043		503		1254.042						1271.999		503		457173.266				456674.716		503		601450.043		0				0		456674.716		0		1271.999

				457174.258		601450.173		504		1254.063						1271.999		504		457174.258				456674.716		504		601450.173		0				0		456674.716		0		1271.999

				457175.249		601450.303		505		1254.084						1271.999		505		457175.249				456674.716		505		601450.303		0				0		456674.716		0		1271.999

				457176.24		601450.433		506		1254.104						1271.999		506		457176.24				456674.716		506		601450.433		0				0		456674.716		0		1271.999

				457177.231		601450.563		507		1254.125						1271.999		507		457177.231				456674.716		507		601450.563		0				0		456674.716		0		1271.999

				457178.222		601450.692		508		1254.145						1271.999		508		457178.222				456674.716		508		601450.692		0				0		456674.716		0		1271.999

				457179.213		601450.822		509		1254.165						1271.999		509		457179.213				456674.716		509		601450.822		0				0		456674.716		0		1271.999

				457180.205		601450.952		510		1254.185						1271.999		510		457180.205				456674.716		510		601450.952		0				0		456674.716		0		1271.999

				457181.196		601451.082		511		1254.205						1271.999		511		457181.196				456674.716		511		601451.082		0				0		456674.716		0		1271.999

				457182.187		601451.212		512		1254.225						1271.999		512		457182.187				456674.716		512		601451.212		0				0		456674.716		0		1271.999

				457183.178		601451.342		513		1254.245						1271.999		513		457183.178				456674.716		513		601451.342		0				0		456674.716		0		1271.999

				457184.169		601451.472		514		1254.263						1271.999		514		457184.169				456674.716		514		601451.472		0				0		456674.716		0		1271.999

				457185.16		601451.601		515		1254.284						1271.999		515		457185.16				456674.716		515		601451.601		0				0		456674.716		0		1271.999

				457186.151		601451.731		516		1254.289						1271.999		516		457186.151				456674.716		516		601451.731		0				0		456674.716		0		1271.999

				457187.143		601451.861		517		1254.282						1271.999		517		457187.143				456674.716		517		601451.861		0				0		456674.716		0		1271.999

				457188.134		601451.991		518		1254.259						1271.999		518		457188.134				456674.716		518		601451.991		0				0		456674.716		0		1271.999

				457189.125		601452.121		519		1254.235						1271.999		519		457189.125				456674.716		519		601452.121		0				0		456674.716		0		1271.999

				457190.116		601452.251		520		1254.212						1271.999		520		457190.116				456674.716		520		601452.251		0				0		456674.716		0		1271.999

				457191.107		601452.38		521		1254.189						1271.999		521		457191.107				456674.716		521		601452.38		0				0		456674.716		0		1271.999

				457192.098		601452.51		522		1254.166						1271.999		522		457192.098				456674.716		522		601452.51		0				0		456674.716		0		1271.999

				457193.09		601452.64		523		1254.143						1271.999		523		457193.09				456674.716		523		601452.64		0				0		456674.716		0		1271.999

				457194.081		601452.77		524		1254.12						1271.999		524		457194.081				456674.716		524		601452.77		0				0		456674.716		0		1271.999

				457195.072		601452.9		525		1254.096						1271.999		525		457195.072				456674.716		525		601452.9		0				0		456674.716		0		1271.999

				457196.063		601453.03		526		1254.073						1271.999		526		457196.063				456674.716		526		601453.03		0				0		456674.716		0		1271.999

				457197.054		601453.159		527		1254.05						1271.999		527		457197.054				456674.716		527		601453.159		0				0		456674.716		0		1271.999

				457198.045		601453.289		528		1254.03						1271.999		528		457198.045				456674.716		528		601453.289		0				0		456674.716		0		1271.999

				457199.036		601453.419		529		1254.012						1271.999		529		457199.036				456674.716		529		601453.419		0				0		456674.716		0		1271.999

				457200.028		601453.549		530		1254.002						1271.999		530		457200.028				456674.716		530		601453.549		0				0		456674.716		0		1271.999

				457201.019		601453.679		531		1254						1271.999		531		457201.019				456674.716		531		601453.679		0				0		456674.716		0		1271.999

				457202.01		601453.809		532		1254						1271.999		532		457202.01				456674.716		532		601453.809		0				0		456674.716		0		1271.999

				457203.001		601453.939		533		1254						1271.999		533		457203.001				456674.716		533		601453.939		0				0		456674.716		0		1271.999

				457203.992		601454.068		534		1254						1271.999		534		457203.992				456674.716		534		601454.068		0				0		456674.716		0		1271.999

				457204.983		601454.198		535		1254						1271.999		535		457204.983				456674.716		535		601454.198		0				0		456674.716		0		1271.999

				457205.975		601454.328		536		1254						1271.999		536		457205.975				456674.716		536		601454.328		0				0		456674.716		0		1271.999

				457206.966		601454.458		537		1254						1271.999		537		457206.966				456674.716		537		601454.458		0				0		456674.716		0		1271.999

				457207.957		601454.588		538		1254						1271.999		538		457207.957				456674.716		538		601454.588		0				0		456674.716		0		1271.999

				457208.948		601454.718		539		1254						1271.999		539		457208.948				456674.716		539		601454.718		0				0		456674.716		0		1271.999

				457209.939		601454.847		540		1254						1271.999		540		457209.939				456674.716		540		601454.847		0				0		456674.716		0		1271.999

				457210.93		601454.977		541		1254						1271.999		541		457210.93				456674.716		541		601454.977		0				0		456674.716		0		1271.999

				457211.922		601455.107		542		1254.02						1271.999		542		457211.922				456674.716		542		601455.107		0				0		456674.716		0		1271.999

				457212.913		601455.237		543		1254.041						1271.999		543		457212.913				456674.716		543		601455.237		0				0		456674.716		0		1271.999

				457213.904		601455.367		544		1254.063						1271.999		544		457213.904				456674.716		544		601455.367		0				0		456674.716		0		1271.999

				457214.895		601455.497		545		1254.086						1271.999		545		457214.895				456674.716		545		601455.497		0				0		456674.716		0		1271.999

				457215.886		601455.626		546		1254.108						1271.999		546		457215.886				456674.716		546		601455.626		0				0		456674.716		0		1271.999

				457216.877		601455.756		547		1254.131						1271.999		547		457216.877				456674.716		547		601455.756		0				0		456674.716		0		1271.999

				457217.868		601455.886		548		1254.153						1271.999		548		457217.868				456674.716		548		601455.886		0				0		456674.716		0		1271.999

				457218.86		601456.016		549		1254.176						1271.999		549		457218.86				456674.716		549		601456.016		0				0		456674.716		0		1271.999

				457219.851		601456.146		550		1254.198						1271.999		550		457219.851				456674.716		550		601456.146		0				0		456674.716		0		1271.999

				457220.842		601456.276		551		1254.221						1271.999		551		457220.842				456674.716		551		601456.276		0				0		456674.716		0		1271.999

				457221.833		601456.406		552		1254.243						1271.999		552		457221.833				456674.716		552		601456.406		0				0		456674.716		0		1271.999

				457222.824		601456.535		553		1254.267						1271.999		553		457222.824				456674.716		553		601456.535		0				0		456674.716		0		1271.999

				457223.815		601456.665		554		1254.3						1271.999		554		457223.815				456674.716		554		601456.665		0				0		456674.716		0		1271.999

				457224.807		601456.795		555		1254.329						1271.999		555		457224.807				456674.716		555		601456.795		0				0		456674.716		0		1271.999

				457225.798		601456.925		556		1254.352						1271.999		556		457225.798				456674.716		556		601456.925		0				0		456674.716		0		1271.999

				457226.789		601457.055		557		1254.392						1271.999		557		457226.789				456674.716		557		601457.055		0				0		456674.716		0		1271.999

				457227.78		601457.185		558		1254.434						1271.999		558		457227.78				456674.716		558		601457.185		0				0		456674.716		0		1271.999

				457228.771		601457.314		559		1254.474						1271.999		559		457228.771				456674.716		559		601457.314		0				0		456674.716		0		1271.999

				457229.762		601457.444		560		1254.512						1271.999		560		457229.762				456674.716		560		601457.444		0				0		456674.716		0		1271.999

				457230.753		601457.574		561		1254.555						1271.999		561		457230.753				456674.716		561		601457.574		0				0		456674.716		0		1271.999

				457231.745		601457.704		562		1254.599						1271.999		562		457231.745				456674.716		562		601457.704		0				0		456674.716		0		1271.999

				457232.736		601457.834		563		1254.641						1271.999		563		457232.736				456674.716		563		601457.834		0				0		456674.716		0		1271.999

				457233.727		601457.964		564		1254.682						1271.999		564		457233.727				456674.716		564		601457.964		0				0		456674.716		0		1271.999

				457234.718		601458.093		565		1254.725						1271.999		565		457234.718				456674.716		565		601458.093		0				0		456674.716		0		1271.999

				457235.709		601458.223		566		1254.768						1271.999		566		457235.709				456674.716		566		601458.223		0				0		456674.716		0		1271.999

				457236.7		601458.353		567		1254.811						1271.999		567		457236.7				456674.716		567		601458.353		0				0		456674.716		0		1271.999

				457237.692		601458.483		568		1254.854						1271.999		568		457237.692				456674.716		568		601458.483		0				0		456674.716		0		1271.999

				457238.683		601458.613		569		1254.896						1271.999		569		457238.683				456674.716		569		601458.613		0				0		456674.716		0		1271.999

				457239.674		601458.743		570		1254.94						1271.999		570		457239.674				456674.716		570		601458.743		0				0		456674.716		0		1271.999

				457240.665		601458.873		571		1254.985						1271.999		571		457240.665				456674.716		571		601458.873		0				0		456674.716		0		1271.999

				457241.656		601459.002		572		1255.038						1271.999		572		457241.656				456674.716		572		601459.002		0				0		456674.716		0		1271.999

				457242.647		601459.132		573		1255.099						1271.999		573		457242.647				456674.716		573		601459.132		0				0		456674.716		0		1271.999

				457243.638		601459.262		574		1255.161						1271.999		574		457243.638				456674.716		574		601459.262		0				0		456674.716		0		1271.999

				457244.63		601459.392		575		1255.222						1271.999		575		457244.63				456674.716		575		601459.392		0				0		456674.716		0		1271.999

				457245.621		601459.522		576		1255.285						1271.999		576		457245.621				456674.716		576		601459.522		0				0		456674.716		0		1271.999

				457246.612		601459.652		577		1255.347						1271.999		577		457246.612				456674.716		577		601459.652		0				0		456674.716		0		1271.999

				457247.603		601459.781		578		1255.41						1271.999		578		457247.603				456674.716		578		601459.781		0				0		456674.716		0		1271.999

				457248.594		601459.911		579		1255.473						1271.999		579		457248.594				456674.716		579		601459.911		0				0		456674.716		0		1271.999

				457249.585		601460.041		580		1255.537						1271.999		580		457249.585				456674.716		580		601460.041		0				0		456674.716		0		1271.999

				457250.577		601460.171		581		1255.6						1271.999		581		457250.577				456674.716		581		601460.171		0				0		456674.716		0		1271.999

				457251.568		601460.301		582		1255.664						1271.999		582		457251.568				456674.716		582		601460.301		0				0		456674.716		0		1271.999

				457252.559		601460.431		583		1255.729						1271.999		583		457252.559				456674.716		583		601460.431		0				0		456674.716		0		1271.999

				457253.55		601460.56		584		1255.794						1271.999		584		457253.55				456674.716		584		601460.56		0				0		456674.716		0		1271.999

				457254.541		601460.69		585		1255.859						1271.999		585		457254.541				456674.716		585		601460.69		0				0		456674.716		0		1271.999

				457255.532		601460.82		586		1255.924						1271.999		586		457255.532				456674.716		586		601460.82		0				0		456674.716		0		1271.999

				457256.523		601460.95		587		1255.989						1271.999		587		457256.523				456674.716		587		601460.95		0				0		456674.716		0		1271.999

				457257.515		601461.08		588		1256.058						1271.999		588		457257.515				456674.716		588		601461.08		0				0		456674.716		0		1271.999

				457258.506		601461.21		589		1256.126						1271.999		589		457258.506				456674.716		589		601461.21		0				0		456674.716		0		1271.999

				457259.497		601461.339		590		1256.196						1271.999		590		457259.497				456674.716		590		601461.339		0				0		456674.716		0		1271.999

				457260.488		601461.469		591		1256.265						1271.999		591		457260.488				456674.716		591		601461.469		0				0		456674.716		0		1271.999

				457261.479		601461.599		592		1256.335						1271.999		592		457261.479				456674.716		592		601461.599		0				0		456674.716		0		1271.999

				457262.47		601461.729		593		1256.404						1271.999		593		457262.47				456674.716		593		601461.729		0				0		456674.716		0		1271.999

				457263.462		601461.859		594		1256.474						1271.999		594		457263.462				456674.716		594		601461.859		0				0		456674.716		0		1271.999

				457264.453		601461.989		595		1256.543						1271.999		595		457264.453				456674.716		595		601461.989		0				0		456674.716		0		1271.999

				457265.444		601462.119		596		1256.613						1271.999		596		457265.444				456674.716		596		601462.119		0				0		456674.716		0		1271.999

				457266.435		601462.248		597		1256.683						1271.999		597		457266.435				456674.716		597		601462.248		0				0		456674.716		0		1271.999

				457267.426		601462.378		598		1256.753						1271.999		598		457267.426				456674.716		598		601462.378		0				0		456674.716		0		1271.999

				457268.417		601462.508		599		1256.823						1271.999		599		457268.417				456674.716		599		601462.508		0				0		456674.716		0		1271.999

				457269.408		601462.638		600		1256.893						1271.999		600		457269.408				456674.716		600		601462.638		0				0		456674.716		0		1271.999

				457270.4		601462.768		601		1256.965						1271.999		601		457270.4				456674.716		601		601462.768		0				0		456674.716		0		1271.999

				457271.391		601462.898		602		1257.04						1271.999		602		457271.391				456674.716		602		601462.898		0				0		456674.716		0		1271.999

				457272.382		601463.027		603		1257.126						1271.999		603		457272.382				456674.716		603		601463.027		0				0		456674.716		0		1271.999

				457273.373		601463.157		604		1257.212						1271.999		604		457273.373				456674.716		604		601463.157		0				0		456674.716		0		1271.999

				457274.364		601463.287		605		1257.298						1271.999		605		457274.364				456674.716		605		601463.287		0				0		456674.716		0		1271.999

				457275.355		601463.417		606		1257.383						1271.999		606		457275.355				456674.716		606		601463.417		0				0		456674.716		0		1271.999

				457276.347		601463.547		607		1257.469						1271.999		607		457276.347				456674.716		607		601463.547		0				0		456674.716		0		1271.999

				457277.338		601463.677		608		1257.554						1271.999		608		457277.338				456674.716		608		601463.677		0				0		456674.716		0		1271.999

				457278.329		601463.806		609		1257.64						1271.999		609		457278.329				456674.716		609		601463.806		0				0		456674.716		0		1271.999

				457279.32		601463.936		610		1257.725								610		457279.32				456674.716		610		601463.936		0				0		456674.716		0		0

				457280.311		601464.066		611		1257.81								611		457280.311				456674.716		611		601464.066		0				0		456674.716		0		0

				457281.302		601464.196		612		1257.895								612		457281.302				456674.716		612		601464.196		0				0		456674.716		0		0

				457282.293		601464.326		613		1257.982								613		457282.293				456674.716		613		601464.326		0				0		456674.716		0		0

				457283.285		601464.456		614		1258.073								614		457283.285				456674.716		614		601464.456		0				0		456674.716		0		0

				457284.276		601464.586		615		1258.167								615		457284.276				456674.716		615		601464.586		0				0		456674.716		0		0

				457285.267		601464.715		616		1258.261								616		457285.267				456674.716		616		601464.715		0				0		456674.716		0		0

				457286.258		601464.845		617		1258.354								617		457286.258				456674.716		617		601464.845		0				0		456674.716		0		0

				457287.249		601464.975		618		1258.448								618		457287.249				456674.716		618		601464.975		0				0		456674.716		0		0

				457288.24		601465.105		619		1258.541								619		457288.24				456674.716		619		601465.105		0				0		456674.716		0		0

				457289.232		601465.235		620		1258.635								620		457289.232				456674.716		620		601465.235		0				0		456674.716		0		0

				457290.223		601465.365		621		1258.728								621		457290.223				456674.716		621		601465.365		0				0		456674.716		0		0

				457291.214		601465.494		622		1258.821								622		457291.214				456674.716		622		601465.494		0				0		456674.716		0		0

				457292.205		601465.624		623		1258.914								623		457292.205				456674.716		623		601465.624		0				0		456674.716		0		0

				457293.196		601465.754		624		1259.005								624		457293.196				456674.716		624		601465.754		0				0		456674.716		0		0

				457294.187		601465.884		625		1259.094								625		457294.187				456674.716		625		601465.884		0				0		456674.716		0		0

				457295.178		601466.014		626		1259.181								626		457295.178				456674.716		626		601466.014		0				0		456674.716		0		0

				457296.17		601466.144		627		1259.268								627		457296.17				456674.716		627		601466.144		0				0		456674.716		0		0

				457297.161		601466.273		628		1259.355								628		457297.161				456674.716		628		601466.273		0				0		456674.716		0		0

				457298.152		601466.403		629		1259.442								629		457298.152				456674.716		629		601466.403		0				0		456674.716		0		0

				457299.143		601466.533		630		1259.529								630		457299.143				456674.716		630		601466.533		0				0		456674.716		0		0

				457300.134		601466.663		631		1259.617								631		457300.134				456674.716		631		601466.663		0				0		456674.716		0		0

				457301.125		601466.793		632		1259.704								632		457301.125				456674.716		632		601466.793		0				0		456674.716		0		0

				457302.117		601466.923		633		1259.791								633		457302.117				456674.716		633		601466.923		0				0		456674.716		0		0

				457303.108		601467.053		634		1259.879								634		457303.108				456674.716		634		601467.053		0				0		456674.716		0		0

				457304.099		601467.182		635		1259.963								635		457304.099				456674.716		635		601467.182		0				0		456674.716		0		0

				457305.09		601467.312		636		1260.042								636		457305.09				456674.716		636		601467.312		0				0		456674.716		0		0

				457306.081		601467.442		637		1260.111								637		457306.081				456674.716		637		601467.442		0				0		456674.716		0		0

				457307.072		601467.572		638		1260.179								638		457307.072				456674.716		638		601467.572		0				0		456674.716		0		0

				457308.063		601467.702		639		1260.248								639		457308.063				456674.716		639		601467.702		0				0		456674.716		0		0

				457309.055		601467.832		640		1260.317								640		457309.055				456674.716		640		601467.832		0				0		456674.716		0		0

				457310.046		601467.961		641		1260.386								641		457310.046				456674.716		641		601467.961		0				0		456674.716		0		0

				457311.037		601468.091		642		1260.455								642		457311.037				456674.716		642		601468.091		0				0		456674.716		0		0

				457312.028		601468.221		643		1260.524								643		457312.028				456674.716		643		601468.221		0				0		456674.716		0		0

				457313.019		601468.351		644		1260.594								644		457313.019				456674.716		644		601468.351		0				0		456674.716		0		0

				457314.01		601468.481		645		1260.663								645		457314.01				456674.716		645		601468.481		0				0		456674.716		0		0

				457315.002		601468.611		646		1260.733								646		457315.002				456674.716		646		601468.611		0				0		456674.716		0		0

				457315.993		601468.74		647		1260.802								647		457315.993				456674.716		647		601468.74		0				0		456674.716		0		0

				457316.984		601468.87		648		1260.872								648		457316.984				456674.716		648		601468.87		0				0		456674.716		0		0

				457317.975		601469		649		1260.941								649		457317.975				456674.716		649		601469		0				0		456674.716		0		0

				457318.966		601469.13		650		1261.008								650		457318.966				456674.716		650		601469.13		0				0		456674.716		0		0

				457319.957		601469.26		651		1261.072								651		457319.957				456674.716		651		601469.26		0				0		456674.716		0		0

				457320.948		601469.39		652		1261.134								652		457320.948				456674.716		652		601469.39		0				0		456674.716		0		0

				457321.94		601469.52		653		1261.196								653		457321.94				456674.716		653		601469.52		0				0		456674.716		0		0

				457322.931		601469.649		654		1261.258								654		457322.931				456674.716		654		601469.649		0				0		456674.716		0		0

				457323.922		601469.779		655		1261.321								655		457323.922				456674.716		655		601469.779		0				0		456674.716		0		0

				457324.913		601469.909		656		1261.383								656		457324.913				456674.716		656		601469.909		0				0		456674.716		0		0

				457325.904		601470.039		657		1261.446								657		457325.904				456674.716		657		601470.039		0				0		456674.716		0		0

				457326.895		601470.169		658		1261.508								658		457326.895				456674.716		658		601470.169		0				0		456674.716		0		0

				457327.887		601470.299		659		1261.571								659		457327.887				456674.716		659		601470.299		0				0		456674.716		0		0

				457328.878		601470.428		660		1261.635								660		457328.878				456674.716		660		601470.428		0				0		456674.716		0		0

				457329.869		601470.558		661		1261.698								661		457329.869				456674.716		661		601470.558		0				0		456674.716		0		0

				457330.86		601470.688		662		1261.762								662		457330.86				456674.716		662		601470.688		0				0		456674.716		0		0

				457331.851		601470.818		663		1261.825								663		457331.851				456674.716		663		601470.818		0				0		456674.716		0		0

				457332.842		601470.948		664		1261.889								664		457332.842				456674.716		664		601470.948		0				0		456674.716		0		0

				457333.833		601471.078		665		1261.953								665		457333.833				456674.716		665		601471.078		0				0		456674.716		0		0

				457334.825		601471.207		666		1262.016								666		457334.825				456674.716		666		601471.207		0				0		456674.716		0		0

				457335.816		601471.337		667		1262.079								667		457335.816				456674.716		667		601471.337		0				0		456674.716		0		0

				457336.807		601471.467		668		1262.143								668		457336.807				456674.716		668		601471.467		0				0		456674.716		0		0

				457337.798		601471.597		669		1262.206								669		457337.798				456674.716		669		601471.597		0				0		456674.716		0		0

				457338.789		601471.727		670		1262.269								670		457338.789						670		601471.727		0				0		0		0		0

				457339.78		601471.857		671		1262.332								671		457339.78						671		601471.857		0				0		0		0		0

				457340.772		601471.987		672		1262.395								672		457340.772						672		601471.987		0				0		0		0		0

				457341.763		601472.116		673		1262.458								673		457341.763						673		601472.116		0				0		0		0		0

				457342.754		601472.246		674		1262.522								674		457342.754						674		601472.246		0				0		0		0		0

				457343.745		601472.376		675		1262.585								675		457343.745						675		601472.376		0				0		0		0		0

				457344.736		601472.506		676		1262.648								676		457344.736						676		601472.506		0				0		0		0		0

				457345.727		601472.636		677		1262.711								677		457345.727						677		601472.636		0				0		0		0		0

				457346.718		601472.766		678		1262.774								678		457346.718						678		601472.766		0				0		0		0		0

				457347.71		601472.895		679		1262.837								679		457347.71						679		601472.895		0				0		0		0		0

				457348.701		601473.025		680		1262.901								680		457348.701						680		601473.025		0				0		0		0		0

				457349.692		601473.155		681		1262.964								681		457349.692						681		601473.155		0				0		0		0		0

				457350.683		601473.285		682		1263.027								682		457350.683						682		601473.285		0				0		0		0		0

				457351.674		601473.415		683		1263.089								683		457351.674						683		601473.415		0				0		0		0		0

				457352.665		601473.545		684		1263.152								684		457352.665						684		601473.545		0				0		0		0		0

				457353.657		601473.674		685		1263.215								685		457353.657						685		601473.674		0				0		0		0		0

				457354.648		601473.804		686		1263.277								686		457354.648						686		601473.804		0				0		0		0		0

				457355.639		601473.934		687		1263.34								687		457355.639						687		601473.934		0				0		0		0		0

				457356.63		601474.064		688		1263.402								688		457356.63						688		601474.064		0				0		0		0		0

				457357.621		601474.194		689		1263.465								689		457357.621						689		601474.194		0				0		0		0		0

				457358.612		601474.324		690		1263.527								690		457358.612						690		601474.324		0				0		0		0		0

				457359.603		601474.453		691		1263.59								691		457359.603						691		601474.453		0				0		0		0		0

				457360.595		601474.583		692		1263.652								692		457360.595						692		601474.583		0				0		0		0		0

				457361.586		601474.713		693		1263.714								693		457361.586						693		601474.713		0				0		0		0		0

				457362.577		601474.843		694		1263.776								694		457362.577						694		601474.843		0				0		0		0		0

				457363.568		601474.973		695		1263.838								695		457363.568						695		601474.973		0				0		0		0		0

				457364.559		601475.103		696		1263.9								696		457364.559						696		601475.103		0				0		0		0		0

				457365.55		601475.233		697		1263.962								697		457365.55						697		601475.233		0				0		0		0		0

				457366.542		601475.362		698		1264.023								698		457366.542						698		601475.362		0				0		0		0		0

				457367.533		601475.492		699		1264.084								699		457367.533						699		601475.492		0				0		0		0		0

				457368.524		601475.622		700		1264.145								700		457368.524						700		601475.622		0				0		0		0		0

				457369.515		601475.752		701		1264.205								701		457369.515						701		601475.752		0				0		0		0		0

				457370.506		601475.882		702		1264.266								702		457370.506						702		601475.882		0				0		0		0		0

				457371.497		601476.012		703		1264.326								703		457371.497						703		601476.012		0				0		0		0		0

				457372.489		601476.141		704		1264.386								704		457372.489						704		601476.141		0				0		0		0		0

				457373.48		601476.271		705		1264.446								705		457373.48						705		601476.271		0				0		0		0		0

				457374.471		601476.401		706		1264.505								706		457374.471						706		601476.401		0				0		0		0		0

				457375.462		601476.531		707		1264.565								707		457375.462						707		601476.531		0				0		0		0		0

				457376.453		601476.661		708		1264.625								708		457376.453						708		601476.661		0				0		0		0		0

				457377.444		601476.791		709		1264.684								709		457377.444						709		601476.791		0				0		0		0		0

				457378.435		601476.92		710		1264.744								710		457378.435						710		601476.92		0				0		0		0		0

				457379.427		601477.05		711		1264.803								711		457379.427						711		601477.05		0				0		0		0		0

				457380.418		601477.18		712		1264.863								712		457380.418						712		601477.18		0				0		0		0		0

				457381.409		601477.31		713		1264.922								713		457381.409						713		601477.31		0				0		0		0		0

				457382.4		601477.44		714		1264.982								714		457382.4						714		601477.44		0				0		0		0		0

				457383.391		601477.57		715		1265.042								715		457383.391						715		601477.57		0				0		0		0		0

				457384.382		601477.7		716		1265.101								716		457384.382						716		601477.7		0				0		0		0		0

				457385.374		601477.829		717		1265.161								717		457385.374						717		601477.829		0				0		0		0		0

				457386.365		601477.959		718		1265.221								718		457386.365						718		601477.959		0				0		0		0		0

				457387.356		601478.089		719		1265.28								719		457387.356						719		601478.089		0				0		0		0		0

				457388.347		601478.219		720		1265.34								720		457388.347						720		601478.219		0				0		0		0		0

				457389.338		601478.349		721		1265.399								721		457389.338						721		601478.349		0				0		0		0		0

				457390.329		601478.479		722		1265.458								722		457390.329						722		601478.479		0				0		0		0		0

				457391.32		601478.608		723		1265.517								723		457391.32						723		601478.608		0				0		0		0		0

				457392.312		601478.738		724		1265.576								724		457392.312						724		601478.738		0				0		0		0		0

				457393.303		601478.868		725		1265.634								725		457393.303						725		601478.868		0				0		0		0		0

				457394.294		601478.998		726		1265.692								726		457394.294						726		601478.998		0				0		0		0		0

				457395.285		601479.128		727		1265.751								727		457395.285						727		601479.128		0				0		0		0		0

				457396.276		601479.258		728		1265.809								728		457396.276						728		601479.258		0				0		0		0		0

				457397.267		601479.387		729		1265.867								729		457397.267						729		601479.387		0				0		0		0		0

				457398.259		601479.517		730		1265.925								730		457398.259						730		601479.517		0				0		0		0		0

				457399.25		601479.647		731		1265.983								731		457399.25						731		601479.647		0				0		0		0		0

				457400.241		601479.777		732		1266.042								732		457400.241						732		601479.777		0				0		0		0		0

				457401.232		601479.907		733		1266.103								733		457401.232						733		601479.907		0				0		0		0		0

				457402.223		601480.037		734		1266.163								734		457402.223						734		601480.037		0				0		0		0		0

				457403.214		601480.167		735		1266.223								735		457403.214						735		601480.167		0				0		0		0		0

				457404.205		601480.296		736		1266.283								736		457404.205						736		601480.296		0				0		0		0		0

				457405.197		601480.426		737		1266.343								737		457405.197						737		601480.426		0				0		0		0		0

				457406.188		601480.556		738		1266.404								738		457406.188						738		601480.556		0				0		0		0		0

				457407.179		601480.686		739		1266.464								739		457407.179						739		601480.686		0				0		0		0		0

				457408.17		601480.816		740		1266.524								740		457408.17						740		601480.816		0				0		0		0		0

				457409.161		601480.946		741		1266.583								741		457409.161						741		601480.946		0				0		0		0		0

				457410.152		601481.075		742		1266.643								742		457410.152						742		601481.075		0				0		0		0		0

				457411.144		601481.205		743		1266.702								743		457411.144						743		601481.205		0				0		0		0		0

				457412.135		601481.335		744		1266.762								744		457412.135						744		601481.335		0				0		0		0		0

				457413.126		601481.465		745		1266.821								745		457413.126						745		601481.465		0				0		0		0		0

				457414.117		601481.595		746		1266.88								746		457414.117						746		601481.595		0				0		0		0		0

				457415.108		601481.725		747		1266.938								747		457415.108						747		601481.725		0				0		0		0		0

				457416.099		601481.854		748		1266.997								748		457416.099						748		601481.854		0				0		0		0		0

				457417.09		601481.984		749		1267.06								749		457417.09						749		601481.984		0				0		0		0		0

				457418.082		601482.114		750		1267.122								750		457418.082						750		601482.114		0				0		0		0		0

				457419.073		601482.244		751		1267.185								751		457419.073						751		601482.244		0				0		0		0		0

				457420.064		601482.374		752		1267.247								752		457420.064						752		601482.374		0				0		0		0		0

				457421.055		601482.504		753		1267.31								753		457421.055						753		601482.504		0				0		0		0		0

				457422.046		601482.634		754		1267.372								754		457422.046						754		601482.634		0				0		0		0		0

				457423.037		601482.763		755		1267.434								755		457423.037						755		601482.763		0				0		0		0		0

				457424.029		601482.893		756		1267.497								756		457424.029						756		601482.893		0				0		0		0		0

				457425.02		601483.023		757		1267.559								757		457425.02						757		601483.023		0				0		0		0		0

				457426.011		601483.153		758		1267.621								758		457426.011						758		601483.153		0				0		0		0		0

				457427.002		601483.283		759		1267.683								759		457427.002						759		601483.283		0				0		0		0		0

				457427.993		601483.413		760		1267.746								760		457427.993						760		601483.413		0				0		0		0		0

				457428.984		601483.542		761		1267.809								761		457428.984						761		601483.542		0				0		0		0		0

				457429.975		601483.672		762		1267.872								762		457429.975						762		601483.672		0				0		0		0		0

				457430.967		601483.802		763		1267.936								763		457430.967						763		601483.802		0				0		0		0		0

				457431.958		601483.932		764		1268								764		457431.958						764		601483.932		0				0		0		0		0

				457432.949		601484.062		765		1268.068								765		457432.949						765		601484.062		0				0		0		0		0

				457433.94		601484.192		766		1268.136								766		457433.94						766		601484.192		0				0		0		0		0

				457434.931		601484.321		767		1268.205								767		457434.931						767		601484.321		0				0		0		0		0

				457435.922		601484.451		768		1268.274								768		457435.922						768		601484.451		0				0		0		0		0

				457436.914		601484.581		769		1268.343								769		457436.914						769		601484.581		0				0		0		0		0

				457437.905		601484.711		770		1268.411								770		457437.905						770		601484.711		0				0		0		0		0

				457438.896		601484.841		771		1268.48								771		457438.896						771		601484.841		0				0		0		0		0

				457439.887		601484.971		772		1268.548								772		457439.887						772		601484.971		0				0		0		0		0

				457440.878		601485.101		773		1268.617								773		457440.878						773		601485.101		0				0		0		0		0

				457441.869		601485.23		774		1268.686								774		457441.869						774		601485.23		0				0		0		0		0

				457442.86		601485.36		775		1268.754								775		457442.86						775		601485.36		0				0		0		0		0

				457443.852		601485.49		776		1268.823								776		457443.852						776		601485.49		0				0		0		0		0

				457444.843		601485.62		777		1268.892								777		457444.843						777		601485.62		0				0		0		0		0

				457445.834		601485.75		778		1268.962								778		457445.834						778		601485.75		0				0		0		0		0

				457446.825		601485.88		779		1269.033								779		457446.825						779		601485.88		0				0		0		0		0

				457447.816		601486.009		780		1269.108								780		457447.816						780		601486.009		0				0		0		0		0

				457448.807		601486.139		781		1269.182								781		457448.807						781		601486.139		0				0		0		0		0

				457449.799		601486.269		782		1269.257								782		457449.799						782		601486.269		0				0		0		0		0

				457450.79		601486.399		783		1269.331								783		457450.79						783		601486.399		0				0		0		0		0

				457451.781		601486.529		784		1269.405								784		457451.781						784		601486.529		0				0		0		0		0

				457452.772		601486.659		785		1269.477								785		457452.772						785		601486.659		0				0		0		0		0

				457453.763		601486.788		786		1269.549								786		457453.763						786		601486.788		0				0		0		0		0

				457454.754		601486.918		787		1269.619								787		457454.754						787		601486.918		0				0		0		0		0

				457455.745		601487.048		788		1269.686								788		457455.745						788		601487.048		0				0		0		0		0

				457456.737		601487.178		789		1269.751								789		457456.737						789		601487.178		0				0		0		0		0

				457457.728		601487.308		790		1269.814								790		457457.728						790		601487.308		0				0		0		0		0

				457458.719		601487.438		791		1269.874								791		457458.719						791		601487.438		0				0		0		0		0

				457459.71		601487.568		792		1269.932								792		457459.71						792		601487.568		0				0		0		0		0

				457460.701		601487.697		793		1269.993								793		457460.701						793		601487.697		0				0		0		0		0

				457461.692		601487.827		794		1270.058								794		457461.692						794		601487.827		0				0		0		0		0

				457462.684		601487.957		795		1270.135								795		457462.684						795		601487.957		0				0		0		0		0

				457463.675		601488.087		796		1270.216								796		457463.675						796		601488.087		0				0		0		0		0

				457464.666		601488.217		797		1270.301								797		457464.666						797		601488.217		0				0		0		0		0

				457465.657		601488.347		798		1270.39								798		457465.657						798		601488.347		0				0		0		0		0

				457466.648		601488.476		799		1270.484								799		457466.648						799		601488.476		0				0		0		0		0

				457467.639		601488.606		800		1270.58								800		457467.639						800		601488.606		0				0		0		0		0

				457468.63		601488.736		801		1270.68								801		457468.63						801		601488.736		0				0		0		0		0

				457469.622		601488.866		802		1270.78								802		457469.622						802		601488.866		0				0		0		0		0

				457470.613		601488.996		803		1270.883								803		457470.613						803		601488.996		0				0		0		0		0

				457471.604		601489.126		804		1270.991								804		457471.604						804		601489.126		0				0		0		0		0

				457472.595		601489.255		805		1271.102								805		457472.595						805		601489.255		0				0		0		0		0

				457473.586		601489.385		806		1271.218								806		457473.586						806		601489.385		0				0		0		0		0

				457474.577		601489.515		807		1271.328								807		457474.577						807		601489.515		0				0		0		0		0

				457475.569		601489.645		808		1271.44								808		457475.569						808		601489.645		0				0		0		0		0

				457476.56		601489.775		809		1271.549								809		457476.56						809		601489.775		0				0		0		0		0

				457477.551		601489.905		810		1271.655								810		457477.551						810		601489.905		0				0		0		0		0

				457478.542		601490.034		811		1271.749								811		457478.542						811		601490.034		0				0		0		0		0

				457479.533		601490.164		812		1271.849								812		457479.533						812		601490.164		0				0		0		0		0

				457480.524		601490.294		813		1271.947								813		457480.524						813		601490.294		0				0		0		0		0

				457481.117		601490.372		813.6		1271.992								813.6		457481.117						813.6		601490.372		0				0		0		0		0





Flood Routing1000yrs

																														At t=0 specify Storage, Inflow = Outflow

		Reservoir Routing with uncontrolled spillway														Surface area = 100 ha (1ha = 10,000 sq m)

		1.7		Weir coeff Cd														1,000,000		surface area in sq m												In col 4 Calc 2*S(t) - Outflow(t)

		20		Weir length m												Area increases .1ha for each meter increase in elevation																In col 5 calc SIF = 2*S(t)/dt + Outflow(t)

																Crest is at		1,270

		Flood Pool Storage		Elevation		Area		Storage		Storage Indication Factor		Outflow				1		2		3		4		5		6		7		At t=n		Calc SIF =  Inflow(t) + Inflow(t-1) +Col 4(t-1)

		(m^3)		(m)		(ha)		(m^3)		(cms)		(cms)				time		storage		inflow (M3/s)		2*S(t)/dt - O(t)		SIF		Out flow(M3/s)		Elevation				Look up O(t) on Storage Indication Curve and enter into Col 6

		0		1270		103.012						0.000				(hr)		m^3		(cms)		(cms)		(cms)		(cms)		(m)				Calc Col 4(t) as SIF(t) - 2*O(t)

		0		1270		103.012		0.00		0		0.000				0.0		0		0.0		0.00		0.00		0.000		1270.000				Calc Storage(t) using columns 4,6

		103,012		1270.1		103.01169		28.61		58.3039771822		1.075				0.3		541		0.3		0.30		0.30		0.000		1270.000				Calc Elevation using Storage-Elevation relationship

		206,934		1270.2		103.922308		57.48		118.0045568937		3.041				0.5		2,164		0.6		1.20		1.20		0.000		1270.000						(in this case, S=0 at 1070; Elev = 1070 + Storage/Area

		311,629		1270.3		104.740728		86.56		178.7140434197		5.587				0.8		12,923		5.4		7.18		7.18		0.000		1270.000		Continue to end of time series

		417,147		1270.4		105.561328		115.87		240.3495374577		8.601				1.1		56,469		18.8		31.37		31.37		0.000		1270.000

		523,498		1270.5		106.387328		145.42		302.8532152799		12.021				1.1		124,603		20.1		68.15		70.30		1.075		1270.100

		630,693		1270.6		107.218998		175.19		366.1867687189		15.802				1.4		226,273		40.5		122.67		128.75		3.041		1270.200				For varying Weir Lengths:

		738,735		1270.7		108.055072		205.20		430.3207041867		19.913				1.4		360,574		42.8		194.73		205.91		5.587		1270.300

		847,652		1270.8		108.901072		235.46		495.2463573725		24.328				1.7		529,733		68.8		282.28		306.32		12.021		1270.500				Weir length:		Max Elevation				Max d.s. Q

		957,442		1270.9		109.752832		265.96		560.9417889198		29.030				1.9		754,122		87.8		399.04		438.87		19.913		1270.700				6		1270.8635				8.185

		1,068,134		1271		110.614832		296.70		627.4078666661		34.000				2.2		991,100		92.8		521.58		579.64		29.030		1270.900				7		1270.8135				8.7313

		1,181,578		1271.1		111.8202859479		328.22		695.6574357617		39.225				2.5		1,184,001		82.6		618.55		697.00		39.225		1271.100				8		1270.8135				9.978729

		1,295,377		1271.2		112.8840859479		359.83		764.347780518		44.694				3.0		1,287,894		53.6		676.27		754.72		39.225		1271.100				8.5		1270.8135				10.6024

		1,409,006		1271.3		113.7581859479		391.39		833.1769808227		50.396				3.2		1,301,783		38.1		678.52		767.91		44.694		1271.200				10		1270.7635				11.34129		64.22		5.6624951835

		1,523,685		1271.4		114.6572859479		423.25		902.8127471094		56.321				3.5		1,259,766		22.5		660.64		739.10		39.225		1271.100				15		1270.7135				1536849

		1,639,471		1271.5		115.5840859479		455.41		973.279013223		62.462				3.8		1,185,914		9.7		624.84		692.84		34.000		1271.100				20		1270.7135				18.37555

		1,756,390		1271.6		116.5367859479		487.89		1044.583543875		68.811				4.1		1,084,545		2.0		568.52		636.52		34.000		1271.000				50		1270.5135				31.277

		1,874,492		1271.7		117.5164859479		520.69		1116.7464967793		75.362				4.3		974,711		0.0		512.48		570.54		29.030		1270.900

		1,993,834		1271.8		118.5250859479		553.84		1189.7938458722		82.108				5		878,666		0		463.82		512.48		24.328		1270.800

		2,114,430		1271.9		119.5595859479		587.34		1263.7283252179		89.045				6		799,032		0		423.99		463.82		19.913		1270.700						0.1

		2,242,120		1272		121.2		622.81		1341.7887444622		96.167				7		734,747		0		392.39		423.99		15.802		1270.600

		2,363,781		1272.1		122.11		656.61		1416.680096633		103.468				8		677,860		0		360.79		392.39		15.802		1270.600

		2,486,352		1272.2		123.02		690.65		1492.2529960321		110.946				9		627,780		0		336.75		360.79		12.021		1270.500

		2,609,833		1272.3		123.93		724.95		1568.5033941656		118.596				10		584,505		0		312.70		336.75		12.021		1270.500

		2,734,224		1272.4		124.84		759.51		1645.4275097519		126.414				11		541,230		0		288.66		312.70		12.021		1270.500

		2,859,525		1272.5		125.75		794.31		1723.0218005554		134.397				12		504,110		0		271.46		288.66		8.601		1270.400

		2,985,736		1272.6		126.66		829.37		1801.2829392103		142.541				13		473,145		0		254.26		271.46		8.601		1270.400

		3,112,857		1272.7		127.57		864.68		1880.207792335		150.843				14		442,180		0		237.05		254.26		8.601		1270.400

		3,240,888		1272.8		128.48		900.25		1959.7934023834		159.300				15		416,641		0		225.88		237.05		5.587		1270.300

		3,369,829		1272.9		129.39		936.06		2040.0369717881		167.910				16		396,529		0		214.71		225.88		5.587		1270.300

		3,499,680		1273		130.3		972.13		2120.9358490365		176.669				17		376,416		0		203.53		214.71		5.587		1270.300

		3,630,441		1273.1		131.21		1008.46		2202.4875163862		185.576				18		356,304		0		192.36		203.53		5.587		1270.300

		3,762,112		1273.2		132.12		1045.03		2284.6895789814		194.627				19		336,192		0		181.19		192.36		5.587		1270.300

		3,894,693		1273.3		133.03		1081.86		2367.5397551687		203.821				20		316,079		0		170.01		181.19		5.587		1270.300

		4,028,184		1273.4		133.94		1118.94		2451.03586785		213.156				21		300,549		0		163.93		170.01		3.041		1270.200

		4,162,585		1273.5		134.85		1156.27		2535.1758367326		222.629				22		289,601		0		157.85		163.93		3.041		1270.200

		4,297,896		1273.6		135.76		1193.86		2619.95767136		232.238				23		278,653		0		151.77		157.85		3.041		1270.200

		4,434,117		1273.7		136.67		1231.70		2705.3794648263		241.981				24		267,706		0		145.68		151.77		3.041		1270.200

		4,571,248		1273.8		137.58		1269.79		2791.4393880891		251.857				25		256,758		0		139.60		145.68		3.041		1270.200

		4,709,289		1273.9		138.49		1308.14		2878.1356848104		261.864				26		245,810		0		133.52		139.60		3.041		1270.200

		4,848,240		1274		139.4		1346.73		2965.4666666635		272.000				27		234,862		0		127.44		133.52		3.041		1270.200

		4,988,101		1274.1		140.31		1385.58		3053.4307090535		282.263				28		223,915		0		121.36		127.44		3.041		1270.200

		5,128,872		1274.2		141.22		1424.69		3142.0262472057		292.653				29		212,967		0		115.27		121.36		3.041		1270.200

		5,270,553		1274.3		142.13		1464.04		3231.2517725821		303.167				30		205,558		0		113.12		115.27		1.075		1270.100

		5,413,144		1274.4		143.04		1503.65		3321.1058295911		313.804				31		201,687		0		110.97		113.12		1.075		1270.100

		5,556,645		1274.5		143.95		1543.51		3411.5870125609		324.562				32		197,816		0		108.82		110.97		1.075		1270.100

		5,701,056		1274.6		144.86		1583.63		3502.6939629497		335.441				33		193,946		0		106.67		108.82		1.075		1270.100

		5,846,377		1274.7		145.77		1623.99		3594.4253667694		346.438

		5,992,608		1274.8		146.68		1664.61		3686.779952202		357.553

		6,139,749		1274.9		147.59		1705.49		3779.7564873914		368.785

		6,287,800		1275		148.5		1746.61		3873.3537783929		380.132

		6,436,761		1275.1		149.41		1787.99		3967.5706672682		391.592

		6,586,632		1275.2		150.32		1829.62		4062.4060303106		403.166

		6,737,413		1275.3		151.23		1871.50		4157.8587763909		414.852												Maximum:		44.6941606924		1271.2

		6,889,104		1275.4		152.14		1913.64		4253.9278454135		426.648												Water Depth Above Pool level=spillway crest=								1.20

		7,041,705		1275.5		153.05		1956.03		4350.612206872		438.554

		7,195,216		1275.6		153.96		1998.67		4447.9108584981		450.569

		7,349,637		1275.7		154.87		2041.57		4545.8228249951		462.691

		7,504,968		1275.8		155.78		2084.71		4644.347156849		474.920

		7,661,209		1275.9		156.69		2128.11		4743.4829292127		487.256

		7,818,360		1276		157.6		2171.77		4843.2292408556		499.696

		7,976,421		1276.1		158.5099999999		2215.67		4943.5852131757		512.240

		8,135,392		1276.2		159.4199999999		2259.83		5044.5499892677		524.888

		8,295,273		1276.3		160.3299999999		2304.24		5146.122733045		537.638

		8,456,064		1276.4		161.2399999999		2348.91		5248.3026284095		550.489

		8,617,765		1276.5		162.1499999999		2393.82		5351.0888784681		563.442

		8,780,376		1276.6		163.0599999999		2438.99		5454.4807047909		576.494

		8,943,897		1276.7		163.9699999999		2484.42		5558.4773467089		589.646

		9,108,328		1276.8		164.8799999999		2530.09		5663.0780606489		602.896

		9,273,669		1276.9		165.7899999999		2576.02		5768.2821195023		616.244

		9,439,920		1277		166.6999999999		2622.20		5874.0888120266		629.689

		9,607,081		1277.1		167.6099999999		2668.63		5980.4974422765		643.230

		9,775,152		1277.2		168.5199999999		2715.32		6087.5073290633		656.867

		9,944,133		1277.3		169.4299999999		2762.26		6195.1178054405		670.599

		10,114,024		1277.4		170.3399999999		2809.45		6303.3282182145		684.426

		10,284,825		1277.5		171.2499999999		2856.90		6412.1379274783		698.346

		10,456,536		1277.6		172.1599999999		2904.59		6521.5463061671		712.360

		10,629,157		1277.7		173.0699999999		2952.54		6631.5527396343		726.466

		10,802,688		1277.8		173.9799999999		3000.75		6742.156625247		740.663

		10,977,129		1277.9		174.8899999999		3049.20		6853.3573719997		754.952

		11,152,480		1278		175.7999999999		3097.91		6965.154400145		769.332

		11,328,741		1278.1		176.7099999999		3146.87		7077.547140841		783.802

		11,505,912		1278.2		177.6199999999		3196.09		7190.5350358132		798.362

		11,683,993		1278.3		178.5299999999		3245.55		7304.1175370313		813.010

		11,862,984		1278.4		179.4399999999		3295.27		7418.2941064003		827.747

		12,042,885		1278.5		180.3499999999		3345.25		7533.0642154629		842.573

		12,223,696		1278.6		181.2599999999		3395.47		7648.4273451162		857.485

		12,405,417		1278.7		182.1699999999		3445.95		7764.3829853381		872.485

		12,588,048		1278.8		183.0799999999		3496.68		7880.9306349263		887.571

		12,771,589		1278.9		183.9899999999		3547.66		7998.0698012462		902.743

		12,956,040		1279		184.8999999999		3598.90		8115.7999999903		918.000

		13,141,401		1279.1		185.8099999999		3650.39		8234.1207549459		933.342

		13,327,672		1279.2		186.7199999999		3702.13		8353.031597772		948.769

		13,514,853		1279.3		187.6299999999		3754.13		8472.5320677848		964.280

		13,702,944		1279.4		188.5399999999		3806.37		8592.6217117514		979.875

		13,891,945		1279.5		189.4499999999		3858.87		8713.3000836913		995.553

		14,081,856		1279.6		190.3599999999		3911.63		8834.5667446844		1011.313

		14,272,677		1279.7		191.2699999999		3964.63		8956.4212626874		1027.156

		14,464,408		1279.8		192.1799999999		4017.89		9078.8632123554		1043.081

		14,657,049		1279.9		193.0899999999		4071.40		9201.8921748711		1059.087

		14,850,600		1280		193.9999999999		4125.17		9325.5077377793		1075.174

		15,045,061		1280.1		194.9099999999		4179.18		9449.7094948274		1091.342

		15,240,432		1280.2		195.8199999999		4233.45		9574.4970458115		1107.590

		15,436,713		1280.3		196.7299999999		4287.98		9699.869996428		1123.918

		15,633,904		1280.4		197.6399999999		4342.75		9825.8279581296		1140.326

		15,832,005		1280.5		198.5499999999		4397.78		9952.370547987		1156.812

		16,031,016		1280.6		199.4599999999		4453.06		10079.4973885546		1173.377

		16,230,937		1280.7		200.3699999999		4508.59		10207.2081077408		1190.021

		16,431,768		1280.8		201.2799999999		4564.38		10335.5023386828		1206.742

		16,633,509		1280.9		202.1899999999		4620.42		10464.3797196251		1223.541

		16,836,160		1281		203.0999999999		4676.71		10593.8398938022		1240.418

		17,039,721		1281.1		204.0099999999		4733.26		10723.8825093248		1257.371

		17,244,192		1281.2		204.9199999999		4790.05		10854.50721907		1274.401

		17,449,573		1281.3		205.8299999999		4847.10		10985.7136805743		1291.506

		17,655,864		1281.4		206.7399999999		4904.41		11117.5015559304		1308.688

		17,863,065		1281.5		207.6499999999		4961.96		11249.8705116871		1325.946

		18,071,176		1281.6		208.5599999999		5019.77		11382.8202187524		1343.278

		18,280,197		1281.7		209.4699999999		5077.83		11516.3503522991		1360.685

		18,490,128		1281.8		210.3799999999		5136.15		11650.4605916733		1378.167

		18,700,969		1281.9		211.2899999999		5194.71		11785.1506203062		1395.723

		18,912,720		1282		212.1999999999		5253.53		11920.4201256281		1413.353





Flood Routing1000yrs

		



inflow (M3/s)

Out flow(M3/s)

Time hr

Q (m3/s)



Flood Routing500yrs

																														At t=0 specify Storage, Inflow = Outflow

		Reservoir Routing with uncontrolled spillway														Surface area = 100 ha (1ha = 10,000 sq m)

		1.7		Weir coeff Cd														1,000,000		surface area in sq m												In col 4 Calc 2*S(t) - Outflow(t)

		10		Weir length m												Area increases .1ha for each meter increase in elevation																In col 5 calc SIF = 2*S(t)/dt + Outflow(t)

																Crest is at		1,270

		Flood Pool Storage		Elevation		Area		Storage		Storage Indication Factor		Outflow				1		2		3		4		5		6		7		At t=n		Calc SIF =  Inflow(t) + Inflow(t-1) +Col 4(t-1)

		(m^3)		(m)		(ha)		(m^3)		(cms)		(cms)				time		storage		inflow(t)		2*S(t)/dt - O(t)		SIF		O(t)		Elevation				Look up O(t) on Storage Indication Curve and enter into Col 6

		0		1270		103.012						0.000				(hr)		m^3		(cms)		(cms)		(cms)		(cms)		(m)				Calc Col 4(t) as SIF(t) - 2*O(t)

		0		1270		103.012		0.00		0		0.000				0.0		0		0.0		0.00		0.00		0.000		1270.000				Calc Storage(t) using columns 4,6

		103,012		1270.1		103.01169		28.61		57.76638998		0.538				0.3		639		0.4		0.35		0.35		0.000		1270.000				Calc Elevation using Storage-Elevation relationship

		206,934		1270.2		103.922308		57.48		116.484030669		1.521				0.5		2,554		0.7		1.42		1.42		0.000		1270.000						(in this case, S=0 at 1070; Elev = 1070 + Storage/Area

		311,629		1270.3		104.740728		86.56		175.9206583764		2.793				0.8		12,751		5.0		7.08		7.08		0.000		1270.000		Continue to end of time series

		417,147		1270.4		105.561328		115.87		236.0488398398		4.301				1.1		52,278		17.0		29.04		29.04		0.000		1270.000

		523,498		1270.5		106.387328		145.42		296.8428076398		6.010				1.1		114,592		18.2		63.12		64.20		0.538		1270.100

		630,693		1270.6		107.218998		175.19		358.2858826926		7.901				1.4		209,163		36.4		114.68		117.72		1.521		1270.200				For varying Weir Lengths:

		738,735		1270.7		108.055072		205.20		420.3644498709		9.956				1.4		336,257		38.5		184.02		189.60		2.793		1270.300

		847,652		1270.8		108.901072		235.46		483.0821475749		12.164				1.7		504,275		62.0		275.85		284.45		4.301		1270.400				Weir length:		Max Elevation				Max d.s. Q

		957,442		1270.9		109.752832		265.96		546.4269344597		14.515				1.9		736,444		79.2		401.23		417.04		7.901		1270.600				6		1270.8635				8.185

		1,068,134		1271		110.614832		296.70		610.4078666661		17.000				2.2		989,917		84.0		535.44		564.47		14.515		1270.900				7		1270.8135				8.7313

		1,181,578		1271.1		111.8202859479		328.22		676.044710301		19.613				2.5		1,214,353		74.8		655.03		694.25		19.613		1271.100				8		1270.8135				9.978729

		1,295,377		1271.2		112.8840859479		359.83		742.0007001719		22.347				3.0		1,360,861		48.6		733.69		778.38		22.347		1271.200				8.5		1270.8135				10.6024

		1,409,006		1271.3		113.7581859479		391.39		807.979103928		25.198				3.2		1,424,846		34.5		766.38		816.78		25.198		1271.300				10		1270.7635				11.34129		64.22		5.6624951835

		1,523,685		1271.4		114.6572859479		423.25		874.6522073419		28.161				3.5		1,433,265		20.5		771.06		821.46		25.198		1271.300				15		1270.7135				1536849

		1,639,471		1271.5		115.5840859479		455.41		942.0480190025		31.231				3.8		1,400,577		8.9		755.75		800.45		22.347		1271.200				20		1270.7135				18.37555

		1,756,390		1271.6		116.5367859479		487.89		1010.1779629324		34.406				4.1		1,339,385		1.8		721.76		766.45		22.347		1271.200				50		1270.5135				31.277

		1,874,492		1271.7		117.5164859479		520.69		1079.0655068773		37.681				4.3		1,267,180		0.0		684.38		723.60		19.613		1271.100

		1,993,834		1271.8		118.5250859479		553.84		1148.7396378053		41.054				5		1,196,574		0		645.15		684.38		19.613		1271.100

		2,114,430		1271.9		119.5595859479		587.34		1219.2058477487		44.522				6		1,130,671		0		611.15		645.15		17.000		1271.000						0.1

		2,236,352		1272		120.6231859479		621.21		1290.50096083		48.083				7		1,069,471		0		577.15		611.15		17.000		1271.000

		2,363,907		1272.1		122.122		656.64		1365.0158816492		51.734				8		1,012,744		0		548.12		577.15		14.515		1270.900

		2,486,484		1272.2		123.032		690.69		1436.853164682		55.473				9		960,491		0		519.09		548.12		14.515		1270.900

		2,609,971		1272.3		123.942		724.99		1509.2819748598		59.298				10		912,469		0		494.76		519.09		12.164		1270.800

		2,734,368		1272.4		124.852		759.55		1582.3004215418		63.207				11		868,677		0		470.43		494.76		12.164		1270.800

		2,859,675		1272.5		125.762		794.35		1655.9067336102		67.198				12		828,861		0		450.52		470.43		9.956		1270.700

		2,985,892		1272.6		126.672		829.41		1730.0992473821		71.270				13		793,018		0		430.61		450.52		9.956		1270.700

		3,113,019		1272.7		127.582		864.73		1804.8763961666		75.421				14		757,176		0		410.70		430.61		9.956		1270.700

		3,241,056		1272.8		128.492		900.29		1880.2367011908		79.650				15		725,033		0		394.90		410.70		7.901		1270.600

		3,370,003		1272.9		129.402		936.11		1956.1787636709		83.955				16		696,590		0		379.09		394.90		7.901		1270.600

		3,499,860		1273		130.312		972.18		2032.7012578506		88.335				17		668,146		0		363.29		379.09		7.901		1270.600

		3,630,627		1273.1		131.222		1008.51		2109.8029248588		92.788				18		639,703		0		347.49		363.29		7.901		1270.600

		3,762,304		1273.2		132.132		1045.08		2187.4825672674		97.314				19		614,663		0		335.47		347.49		6.010		1270.500

		3,894,891		1273.3		133.042		1081.91		2265.7390442499		101.911				20		593,025		0		323.45		335.47		6.010		1270.500

		4,028,388		1273.4		133.952		1119.00		2344.5712672572		106.578				21		571,388		0		311.43		323.45		6.010		1270.500

		4,162,795		1273.5		134.862		1156.33		2423.9781961429		111.314				22		549,750		0		299.41		311.43		6.010		1270.500

		4,298,112		1273.6		135.772		1193.92		2503.9588356787		116.119				23		528,113		0		287.39		299.41		6.010		1270.500

		4,434,339		1273.7		136.682		1231.76		2584.5122324119		120.991				24		509,553		0		278.78		287.39		4.301		1270.400

		4,571,476		1273.8		137.592		1269.85		2665.637471821		125.929				25		494,070		0		270.18		278.78		4.301		1270.400

		4,709,523		1273.9		138.502		1308.20		2747.3336757372		130.932				26		478,588		0		261.58		270.18		4.301		1270.400

		4,848,480		1274		139.412		1346.80		2829.599999997		136.000				27		463,105		0		252.98		261.58		4.301		1270.400

		4,988,347		1274.1		140.322		1385.65		2912.4356323031		141.132				28		447,623		0		244.38		252.98		4.301		1270.400

		5,129,124		1274.2		141.232		1424.76		2995.839790268		146.326				29		432,140		0		235.78		244.38		4.301		1270.400

		5,270,811		1274.3		142.142		1464.11		3079.8117196229		151.583				30		419,371		0		230.19		235.78		2.793		1270.400

		5,413,408		1274.4		143.052		1503.72		3164.3506925718		156.902				31		409,315		0		224.60		230.19		2.793		1270.300

		5,556,915		1274.5		143.962		1543.59		3249.4560062788		162.281				32		399,259		0		219.02		224.60		2.793		1270.300

		5,701,332		1274.6		144.872		1583.70		3335.1269814732		167.720				33		389,203		0		213.43		219.02		2.793		1270.300

		5,846,659		1274.7		145.782		1624.07		3421.3629611607		173.219

		5,992,896		1274.8		146.692		1664.69		3508.1633094325		178.777

		6,140,043		1274.9		147.602		1705.57		3595.5274103605		184.392

		6,288,100		1275		148.512		1746.69		3683.4546669724		190.066

		6,437,067		1275.1		149.422		1788.07		3771.9445002989		195.796

		6,586,944		1275.2		150.332		1829.71		3860.9963484866		201.583

		6,737,731		1275.3		151.242		1871.59		3950.6096659712		207.426												Maximum:		25.1978768947		1271.3

		6,889,428		1275.4		152.152		1913.73		4040.7839227047		213.324												Water Depth Above Pool level=spillway crest=								1.30

		7,042,035		1275.5		153.062		1956.12		4131.5186034339		219.277

		7,195,552		1275.6		153.972		1998.76		4222.8132070247		225.284

		7,349,979		1275.7		154.882		2041.66		4314.6672458286		231.346

		7,505,316		1275.8		155.792		2084.81		4407.0802450889		237.460

		7,661,563		1275.9		156.702		2128.21		4500.0517423818		243.628

		7,818,720		1276		157.612		2171.87		4593.5812870921		249.848

		7,976,787		1276.1		158.5219999999		2215.77		4687.6684399187		256.120

		8,135,764		1276.2		159.4319999999		2259.93		4782.3127724091		262.444

		8,295,651		1276.3		160.3419999999		2304.35		4877.5138665199		268.819

		8,456,448		1276.4		161.2519999999		2349.01		4973.2713142021		275.245

		8,618,155		1276.5		162.1619999999		2393.93		5069.5847170092		281.721

		8,780,772		1276.6		163.0719999999		2439.10		5166.4536857261		288.247

		8,944,299		1276.7		163.9819999999		2484.53		5263.8778400184		294.823

		9,108,736		1276.8		164.8919999999		2530.20		5361.8568080994		301.448

		9,274,083		1276.9		165.8019999999		2576.13		5460.3902264149		308.122

		9,440,340		1277		166.7119999999		2622.32		5559.4777393437		314.844

		9,607,507		1277.1		167.6219999999		2668.75		5659.118998913		321.615

		9,775,584		1277.2		168.5319999999		2715.44		5759.3136645286		328.434

		9,944,571		1277.3		169.4419999999		2762.38		5860.0614027171		335.300

		10,114,468		1277.4		170.3519999999		2809.57		5961.3618868818		342.213

		10,285,275		1277.5		171.2619999999		2857.02		6063.2147970692		349.173

		10,456,992		1277.6		172.1719999999		2904.72		6165.6198197469		356.180

		10,629,619		1277.7		173.0819999999		2952.67		6268.5766475915		363.233

		10,803,156		1277.8		173.9919999999		3000.88		6372.0849792867		370.332

		10,977,603		1277.9		174.9019999999		3049.33		6476.1445193297		377.476

		11,152,960		1278		175.8119999999		3098.04		6580.7549778467		384.666

		11,329,227		1278.1		176.7219999999		3147.01		6685.9160704169		391.901

		11,506,404		1278.2		177.6319999999		3196.22		6791.6275179029		399.181

		11,684,491		1278.3		178.5419999999		3245.69		6897.8890462897		406.505

		11,863,488		1278.4		179.4519999999		3295.41		7004.7003865297		413.874

		12,043,395		1278.5		180.3619999999		3345.39		7112.0612743943		421.286

		12,224,212		1278.6		181.2719999999		3395.61		7219.9714503319		428.743

		12,405,939		1278.7		182.1819999999		3446.09		7328.4306593317		436.242

		12,588,576		1278.8		183.0919999999		3496.83		7437.4386507924		443.785

		12,772,123		1278.9		184.0019999999		3547.81		7546.9951783967		451.371

		12,956,580		1279		184.9119999999		3599.05		7657.099999991		459.000

		13,141,947		1279.1		185.8219999999		3650.54		7767.7528774687		466.671

		13,328,224		1279.2		186.7319999999		3702.28		7878.9535766594		474.385

		13,515,411		1279.3		187.6419999999		3754.28		7990.7018672213		482.140

		13,703,508		1279.4		188.5519999999		3806.53		8102.9975225379		489.938

		13,892,515		1279.5		189.4619999999		3859.03		8215.8403196189		497.776

		14,082,432		1279.6		190.3719999999		3911.79		8329.2300390042		505.657

		14,273,259		1279.7		191.2819999999		3964.79		8443.1664646723		513.578

		14,464,996		1279.8		192.1919999999		4018.05		8557.6493839507		521.540

		14,657,643		1279.9		193.1019999999		4071.57		8672.6785874307		529.544

		14,851,200		1280		194.0119999999		4125.33		8788.2538688848		537.587

		15,045,667		1280.1		194.9219999999		4179.35		8904.3750251865		545.671

		15,241,044		1280.2		195.8319999999		4233.62		9021.0418562341		553.795

		15,437,331		1280.3		196.7419999999		4288.15		9138.2541648756		561.959

		15,634,528		1280.4		197.6519999999		4342.92		9256.0117568374		570.163

		15,832,635		1280.5		198.5619999999		4397.95		9374.3144406549		578.406

		16,031,652		1280.6		199.4719999999		4453.24		9493.1620276053		586.689

		16,231,579		1280.7		200.3819999999		4508.77		9612.5543316428		595.010

		16,432,416		1280.8		201.2919999999		4564.56		9732.4911693359		603.371

		16,634,163		1280.9		202.2019999999		4620.60		9852.972359807		611.771

		16,836,820		1281		203.1119999999		4676.89		9973.9977246732		620.209

		17,040,387		1281.1		204.0219999999		4733.44		10095.56708799		628.685

		17,244,864		1281.2		204.9319999999		4790.24		10217.6802761959		637.200

		17,450,251		1281.3		205.8419999999		4847.29		10340.337118059		645.753

		17,656,548		1281.4		206.7519999999		4904.60		10463.5374446259		654.344

		17,863,755		1281.5		207.6619999999		4962.15		10587.2810891709		662.973

		18,071,872		1281.6		208.5719999999		5019.96		10711.5678871479		671.639

		18,280,899		1281.7		209.4819999999		5078.03		10836.3976761433		680.343

		18,490,836		1281.8		210.3919999999		5136.34		10961.7702958304		689.084

		18,701,683		1281.9		211.3019999999		5194.91		11087.6855879246		697.862

		18,913,440		1282		212.2119999999		5253.73		11214.1433961409		706.677





Freeboard

						Free board Calculation

				Fb=hw+R+S

				Fb, freaboard (m)

				Hw,wave height=0.032*(VF)^2+0.76-0.27F^(1/4),F<32 km														0.565785179

				V=wind velocity (km/hr)=						7.54

				F=fetch length(km)						1.742

				R=Wave run up=50%hw														0.2828925895

				S=wind set up=V2*F*Cosα														0.0018008417

				α=angle between the wind direction and the fetch=0												0

				Average reservior depth in meters over the fetch distance=10m=														8.87

														Fb=		0.8504786102

						Free board above the normal pond level(NPL)=										Fb+water head over the spillway						2.15

						Dam height=NPL-bedlevel+Gross freaboard																3.2291786102

								16.6504786102

				Considering settlment allowance of 2% of dam height

										Extra free board for settlment=								0.3330095722						14.5

				Hence gross freeboard=						2.4834881825														17.719

				hence total dam height including settlment allowance =												16.9834881825		take		18				0.35438

												2711

																						3.219		3.57338

								Top width		determination using Merrima's formula														18.073

								B=0.2H+1.5

						where B=top width(m)

								4.8966976365		hence better to adopt 5m to easily pass a vickel over it.

						Provide berms both on upstream and down stream at half height of the dam to break errosion over the dam

								Berm width=				3.00m

								U/s and downstream slope.

														5.1

								2.426						2.574

								3.074





Sediment

		

		Time  (Year)		Capacity  (Mm3)-from reservoir contour calculation.		85% Annual inflow (Mm3) Design Yield		Capacity :Inflow ratio  ( col2/col3)		Trap efficiency  (%) From curve		AVERAGE Trap efficiency (%) (Col5i+col5ii)/2		Sediment deposited (Mm3) Sedimet yield/100*(col1ii-col1i)		Cumulative sediment deposited (Mm3)								Time  (Year)		Capacity  (Mm3)-from reservoir contour calculation.		85% Annual inflow (Mm3) Design Yield		Capacity :Inflow ratio  ( col2/col3)		Trap efficiency  (%) From curve		AVERAGE Trap efficiency (%) (Col5i+col5ii)/2		Sediment deposited (Mm3) Sedimet yield/100*(col1ii-col1i)		Cumulative sediment deposited (Mm3)

		1		2		3		4		5		6		7		8								1		2		3		4		5		6		7		8

		0		5.884		0.00		0		0				0.000		0.000								0		FRLV1-1

		5		5.884		101.09		0.0582		75		37.5		0.063		0.063								5		Col2i-col7

		10		5.821		202.17		0.0288		62		68.5		0.063		0.127								10		Col2ii-col7

		20		5.757		404.35		0.0142		50		56		0.127		0.254								.		.

		30		5.630		606.52		0.0093		44		47		0.127		0.381								.		.

		40		5.503		808.70		0.0068		38		41		0.127		0.508								.		.

		50		5.377		1010.87		0.0053		31		34.5		0.127		0.635								50		FRLV1-n





DrawDown

		Kombolcha

		Elevation		Volume (Mcm)		Time (days)				Volume		Computed Level (m)		Remark

		1253.76		0.00

		1254		0.00

		1255		0.00

		1256		0.03

		1257		0.07

		1258		0.15

		1259		0.26

		1260		0.40

		1261		0.60

		1262		0.87

		1263		1.23

		1264		1.67

		1265		2.20

		1266		2.81

		1267		3.51

		1268		4.31		31		90		5.22		0.98

		1269		5.21		28		59		4		2.20

		1270		6.20		31		31		1.9		4.30		Reservior Level

		1270.1		6.30

		1270.2		6.40

		1270.3		6.51								From this weconclude

		1270.4		6.62								0		1270

		1270.5		6.72								31		1268

		1270.6		6.83								59		1265

		1270.7		6.94								90		0.98

		1270.8		7.05

		1270.9		7.16

		1271		8.27

		1271.1		8.38

		1271.2		8.50

		1271.3		8.61

		1271.4		8.73

		1271.5		8.84

		1271.6		8.96

		1271.7		9.08

		1271.8		9.20

		1271.9		9.32





PlotF

		Kombolcha

		Elevation		Area(m2)												height		Aav		Volume				Cum_V		Area (ha)		Volume (Mcm)

		1253.76		0		0														0		0		0.00		0		0.00

		1254		508.28		0.050828										0.24		254.14		60.9936		0.0000609936		0.00		0.050828		0.00

		1255		7737.46		0.773746										1		4122.87		4122.87		0.00412287		0.00		0.773746		0.00

		1256		34142.41		3.414241										1		20939.935		20939.935		0.020939935		0.03		3.414241		0.03

		1257		61180.648		6.1180648										1		47661.529		47661.529		0.047661529		0.07		6.1180648		0.07

		1258		89622.59		8.962259										1		75401.619		75401.619		0.075401619		0.15		8.962259		0.15

		1259		125600.8		12.56008										1		107611.695		107611.695		0.107611695		0.26		12.56008		0.26

		1260		162695.05		16.269505										1		144147.925		144147.925		0.144147925		0.40		16.269505		0.40

		1261		232282		23.2282										1		197488.525		197488.525		0.197488525		0.60		23.2282		0.60

		1262		317573		31.7573										1		274927.5		274927.5		0.2749275		0.87		31.7573		0.87

		1263		395859.6		39.58596										1		356716.3		356716.3		0.3567163		1.23		39.58596		1.23

		1264		485470.74		48.547074										1		440665.17		440665.17		0.44066517		1.67		48.547074		1.67

		1265		567875		56.7875										1		526672.87		526672.87		0.52667287		2.20		56.7875		2.20

		1266		654145.2		65.41452										1		611010.1		611010.1		0.6110101		2.81		65.41452		2.81

		1267		750597.02		75.059702										1		702371.11		702371.11		0.70237111		3.51		75.059702		3.51

		1268		848742.6		84.87426										1		799669.81		799669.81		0.79966981		4.31		84.87426		4.31

		1269		947638.9		94.76389										1		898190.75		898190.75		0.89819075		5.21		94.76389		5.21

		1270		1030116.9		103.01169										1		988877.9		988877.9		0.9888779		6.20		103.01169		6.20				5.80

		1270.1		1039223.08		103.922308		0.1		0.910618		0		0		0.1		1034669.99		103466.998999906		0.103466999		6.30		103.922308		6.30

		1270.2		1047407.28		104.740728		0.2		1.729038		2		1.8987522759		0.1		1043315.18		104331.517999905		0.104331518		6.40		104.740728		6.40

		1270.3		1055613.28		105.561328		0.3		2.549638		1.5		1.4745991702		0.1		1051510.28		105151.027999904		0.105151028		6.51		105.561328		6.51

		1270.4		1063873.28		106.387328		0.4		3.375638		1.3333333333		1.3239675593		0.1		1059743.28		105974.327999904		0.105974328		6.62		106.387328		6.62

		1270.5		1072189.98		107.218998		0.5		4.207308		1.25		1.2463741669		0.1		1068031.63		106803.162999903		0.106803163		6.72		107.218998		6.72

		1270.6		1080550.72		108.055072		0.6		5.043382		1.2		1.1987194662		0.1		1076370.35		107637.034999902		0.107637035		6.83		108.055072		6.83

		1270.7		1089010.72		108.901072		0.7		5.889382		1.1666666667		1.1677445809		0.1		1084780.72		108478.071999901		0.108478072		6.94		108.901072		6.94

		1270.8		1097528.32		109.752832		0.8		6.741142		1.1428571429		1.1446263802		0.1		1093269.52		109326.951999901		0.109326952		7.05		109.752832		7.05

		1270.9		1106148.32		110.614832		0.9		7.603142		1.125		1.127871509		0.1		1101838.32		110183.8319999		0.110183832		7.16		110.614832		7.16

		1271		1118202.859479		111.8202859479		1		8.8085959479		1.1111111111		1.158546815		1		1112175.5897395		1112175.5897395		1.1121755897		8.27		111.8202859479		8.27				772693.173293323		0.7726931733						1118202.859479		10638		1128840.859479

		1271.1		1128840.859479		112.8840859479		1.1		9.8723959479		1.1		1.1207683956		0.1		1123521.859479		112352.185947798		0.1123521859		8.38		112.8840859479		8.38				5.32										8741		1137581.859479

		1271.2		1137581.859479		113.7581859479		1.2		10.7464959479		1.0909090909		1.0885398038		0.1		1133211.359479		113321.135947797		0.1133211359		8.50		113.7581859479		8.50						120+9*(B11-B$8)								8991		1146572.859479

		1271.3		1146572.859479		114.6572859479		1.3		11.6455959479		1.0833333333		1.0836644804		0.1		1142077.359479		114207.735947796		0.1142077359		8.61		114.6572859479		8.61		114.6572859479												9268		1155840.859479

		1271.4		1155840.859479		115.5840859479		1.4		12.5723959479		1.0769230769		1.0795837331		0.1		1151206.859479		115120.685947795		0.1151206859		8.73		115.5840859479		8.73		115.5840859479		9.268										9527		1165367.859479

		1271.5		1165367.859479		116.5367859479		1.5		13.5250959479		1.0714285714		1.0757771235		0.1		1160604.359479		116060.435947794		0.1160604359		8.84		116.5367859479		8.84		116.5367859479		9.3975										9797		1175164.859479

		1271.6		1175164.859479		117.5164859479		1.6		14.5047959479		1.0666666667		1.0724357153		0.1		1170266.359479		117026.635947794		0.1170266359		8.96		117.5164859479		8.96		117.5164859479		9.5306666667										10086		1185250.859479

		1271.7		1185250.859479		118.5250859479		1.7		15.5133959479		1.0625		1.0695356214		0.1		1180207.859479		118020.785947793		0.1180207859		9.08		118.5250859479		9.08		118.5250859479		9.6695										10345		1195595.859479

		1271.8		1195595.859479		119.5595859479		1.8		16.5478959479		1.0588235294		1.0666843033		0.1		1190423.359479		119042.335947792		0.1190423359		9.20		119.5595859479		9.20		119.5595859479		9.8046										10636		1206231.859479

		1271.9		1206231.859479		120.6231859479		1.9		17.6114959479		1.0555555556		1.0642740324		0.1		1200913.859479		120091.385947791		0.1200913859		9.32		120.6231859479		9.32		120.6231859479		9.9431666667





PlotF

		



Area (ha)

Volume (Mcm)

Area ha

Volume

Elevation m

Hadha Hurbu  Reservior Area Capacity curve



Outlet DesignF

		

		Fluid Properties:		Fluid Type =		Water				Flow (kg/s) =		2000.00

				Temperature (°C) =		20

				Density (kg/m³) =		1000				Elevation		2006

				Viscosity (mPas) =		1.004				centipoise

				Delivery / outlet pipe (d)

				Line size DN (mm)		1000		I.D. (mm) =		1000

								Normal		Units

		u=flow/(dens*area)		[1d] Velocity				2.5		m/s

		Δf (Genereaux)		[2d] Friction loss				0.0		kPa/m		40400000000*(Q^1.84)*((Vi*0.001)^0.16)/Den/Di^4.84

		L		[3d] Line length				145.0		m

		ΔfL = [2s]*[3s]		[4d] Line loss				6.9		kPa

				[5d] Head losses		(Ki)

		=[5d]*ρu²/2*10-3		entrance		0.1		0.3		kPa

				elbows		0.0		0.0

				valves		2.0		6.5

				equipment				0.0

				exit		1.0		3.2

				[6d] Total Ki		3.1		10.1				Sum Ki

		dum Ki		[7d] Control valve loss						kPa

				[8d] Other losses						kPa

		=[4d]+[8d]+[9d]		[9d] Total losses				17.0		kPa

		z		[10d] Static liquid head				0.0		m

		ρgz		[10d*] Static pressure head		[8d] Other losses		0.0		kPa

				[11d] Equipment pressure				0.0		kPa

		=[10d*]+[11d]		[12d] Total				0.0		kPa

		=[12d]-[9d]		[13d] Discharge pressure				17.0		kPa

								17.0		kPa

		=[13d]-[14d]		Head Required				1.7		m



1261.1, 0.635

&C&"Arial,Bold"&12PUMP AND LINE CALCULATION SHEET

&L&8Ian Cameron,  April 2000&C&F



Dam-Analysis

		Kombolcha														Dam Capacity=				5.294

		DATE		FLOW		Days		80%		Demadd		Demand

		1-Jan-90		0.000		31		0		0.74412		1.993051008				Area				Jan		Feb		Mar		Apr		May		Jun		Jul		Aug		Sep		Oct		Nov		Dec				Zone		Unit		Month

		1-Feb-90		0.000		28		0		0.9126		2.20776192		High Land		600.000		cm/day		0.0011		0.0013		0.0008		0.0000		0.0000		0.0003		0.0006		0.0007		0.0005		0.0000		0.0000		0.0004								Jan		Feb		Mar		Apr		May		Jun		Jul		Aug		Sep		Oct		Nov		Dec

		1-Mar-90		0.000		31		0		0.53352		1.428979968								0.744		0.913		0.534		0.000		0.000		0.183		0.421		0.505		0.351		0.014		0.000		0.295				HIGH LAND		l/s/ha		0.9500		0.5800		0.2200		0.1800		0.0000		0.0000		0.0000		0.0000		0.0000		0.0200		0.5100		0.8200

		1-Apr-90		3.600		30		7.46496		0		0								0.081		0.073		0.081		0.078		0.081		0.078		0.081		0.081		0.078		0.081		0.078		0.081		0				m3/s/ha		0.0010		0.0006		0.0002		0.0002		0.0000		0.0000		0.0000		0.0000		0.0000		0.0000		0.0005		0.0008

		1-May-90		5.250		31		11.24928		0		0								5.884								12.513																		MID LAND		l/s/ha		0.9100		0.4900		0.0000		0.0000		0.2444		0.4222		0.0000		0.0000		0.0000		0.2400		0.8200		1.1300

		1-Jun-90		0.000		30		0		0.18252		0.47309184				23.785		S (80%)		0.000		0.000		0.000		7.465		11.249		0.000		0.000		0.000		0.000		2.657		2.405		0.009						m3/s/ha		0.0009		0.0005		0.0000		0.0000		0.0002		0.0004		0.0000		0.0000		0.0000		0.0002		0.0008		0.0011

		1-Jul-90		0.000		31		0		0.4212		1.12814208				11.273		D		2.074		2.281		1.510		0.078		0.081		0.551		1.209		1.435		0.988		0.118		0.078		0.870				LOW LAND		l/s/ha		0.8000		0.8400		0.4400		0.0000		0.1562		0.7797		0.7230		0.6083		0.6900		0.2900		0.2900		0.6000

		1-Aug-90		0.000		31		0		0.50544		1.353770496						SCUM		0.000		0.000		0.000		7.465		18.714		18.714		18.714		18.714		18.714		21.371		23.777		23.785						m3/s/ha		0.0008		0.0008		0.0004		0.0000		0.0002		0.0008		0.0007		0.0006		0.0007		0.0003		0.0003		0.0006

		1-Sep-90		0.000		30		0		0.351		0.909792						DCUM		2.074		4.354		5.864		5.942		6.023		6.574		7.783		9.218		10.206		10.324		10.402		11.273

		1-Oct-90		1.240		31		2.6569728		0.01404		0.037604736						DIFF		-2.074		-4.354		-5.864		1.523		12.691		12.140		10.931		9.496		8.509		11.047		13.374		12.513

		1-Nov-90		1.160		30		2.405376		0		0						ResC		5.884

		1-Dec-90		0.004		31		0.00857088		0.29484		0.789699456						0.020		3.810		1.530		0.020		7.407		18.575		18.024		16.815		15.381		14.393		16.931		19.259		18.397

																		0.000		0.000		0.000		0.000		0.000		0.000		0.000		0.000		0.000		0.000		0.000		0.000		0.000

														0.8723625916

														6.757

		22-Jun		1021026.88		1269.9		102.102688												3072.0		7566.000		10638.00										1.170

				8633.6		1270		0.86336												8741.0				8741.00

				9562.6		1270.1		0.95626		0.91336		0.0429								8991.0				8991.00

				8184.2		1270.2		0.81842		1.05626		-0.23784								2153.0		7115.000		9268.00

				8206		1270.3		0.8206		0.96842		-0.14782								9527.0				9527.00

				8260		1270.4		0.826		1.0206		-0.1946								9797.0				9797.00										6.750

				8316.7		1270.5		0.83167		1.076		-0.24433								10086.0				10086.00

				8360.74		1270.6		0.836074		1.13167		-0.295596								10345.0				10345.00

				8460		1270.7		0.846		1.186074		-0.340074								10636.0				10636.00

				8517.6		1270.8		0.85176		1.246		-0.39424

				8620		1270.9		0.862		1.30176		-0.43976

						1271		0		1.362		-1.362





Reservior Requirment

		

		Description		Month

				Jan		Feb		Mar		Apr		May		Jun		Jul		Aug		Sep		Oct		Nov		Dec

		Days in month		31		28		31		30		31		30		31		31		30		31		30		31

		80 % dependable flow (m3/s)		0.000		0.000		0.000		3.600		5.250		0.000		0.000		0.000		0.000		1.240		1.160		0.004

		downstream release (20 % )		0.000		0.000		0.000		0.720		1.050		0.000		0.000		0.000		0.000		0.248		0.232		0.001

		Available supply (Mcm)		0.00		0.00		0.00		7.46		11.25		0.00		0.00		0.00		0.00		2.66		2.41		0.01

		Cummulative Supply (Mcm)		0.00		0.00		0.00		7.46		18.71		18.71		18.71		18.71		18.71		21.37		23.78		23.79

		Cummulative Demand		1.90		3.98		5.22		5.41		5.60		6.19		7.35		8.69		9.55		9.75		9.94		10.81

		Difrence		-1.90		-3.98		-5.22		2.06		13.11		12.52		11.37		10.02		9.17		11.62		13.83		12.98

		Reserviour Capacity=		5.22





Total Supply

		

		Description		Month

				Jan		Feb		Mar		Apr		May		Jun		Jul		Aug		Sep		Oct		Nov		Dec

		Days in month		31		28		31		30		31		30		31		31		30		31		30		31

		80 % dependable flow (m3/s)		0.000		0.000		0.000		3.600		5.250		0.000		0.000		0.000		0.000		1.240		1.160		0.004

		downstream release (20 % )		0.000		0.000		0.000		0.720		1.050		0.000		0.000		0.000		0.000		0.248		0.232		0.001

		Available supply (Mcm)		0.00		0.00		0.00		7.46		11.25		0.00		0.00		0.00		0.00		2.66		2.41		0.01

		Cummulative Supply (Mcm)		0.00		0.00		0.00		7.46		18.71		18.71		18.71		18.71		18.71		21.37		23.78		23.79





Total Demand

		

		Demand		Month

				Jan		Feb		Mar		Apr		May		Jun		Jul		Aug		Sep		Oct		Nov		Dec										Elevation		Area		Volume

		Irrigation (600 ha)		1.70		1.89		1.04		0.00		0.00		0.40		0.96		1.16		0.66		0.01		0.00		0.67										1261		162695.05		597435.09

		Livestock		0.08		0.07		0.08		0.08		0.08		0.08		0.08		0.08		0.08		0.08		0.08		0.08										1262		232282		872362.59

		Evaporation		0.11		0.12		0.12		0.11		0.11		0.11		0.11		0.11		0.11		0.11		0.11		0.11										Difference				274927.50

		Total Demand		1.90		2.08		1.24		0.19		0.19		0.59		1.15		1.35		0.85		0.21		0.19		0.87

		Cummulative Demand (Mcm)		1.90		3.98		5.22		5.41		5.60		6.19		7.35		8.69		9.55		9.75		9.94		10.81														143058.894844074

																																						velocity		0.0000069901

		Annalysis of Peak Demand

		Days in the month		31		28		31		30		31		30		31		31		30		31		30		31		hr/day

		Livestock (m3/s)		0.3617784417		0.3617784417		0.3617784417		0.3617784417		0.3617784417		0.3617784417		0.3617784417		0.3617784417		0.3617784417		0.3617784417		0.3617784417		0.3617784417		2

		Irrigation (m3/s)		1.272		1.56		0.7752		0		0		0.312		0.72		0.864		0.51		0.0096		0		0.504		12

		Daily Demand (m3/s)		1.6337784417		1.9217784417		1.1369784417		0.3617784417		0.3617784417		0.6737784417		1.0817784417		1.2257784417		0.8717784417		0.3713784417		0.3617784417		0.8657784417

				Max=		1.9217784417

		Time required to drowdown=				143058.894844074





Summry Crop Demand

		

		Project summary		Parameter		Jan		Feb		Mar		Apr		May		Jun		Jul		Aug		Sep		Oct		Nov		Dec

				Project  efficiency		50%		50%		50%		50%		50%		50%		50%		50%		50%		50%		50%		50%

				Propsed irrigation hour		12		12		12		12		12		12		12		12		12		12		12		12

				Days in month		31		28		31		30		31		30		31		31		30		31		30		31

		First Phase		Irrigated area		100		100		85		20		0		0		0		0		0		0		0		100

				Project supply(l/s/ha for 12 hour		2.12		2.6		1.52		0		0		0		0		0		0		0		0		0.84

		Second Phase		Irrigated area		0		0		0		0		0		100		100		100		85		40		0		0

				Project supply(l/s/ha for 12 hour		0		0		0		0		0		0.52		1.2		1.44		1		0.04		0		0

				Project Demand (cm) per Hactar		2839.10		3144.96		1730.25		0.00		0.00		673.92		1607.04		1928.45		1101.60		21.43		0.00		1124.93

				For 600 ha (Mcm)		1.70		1.89		1.04		0.00		0.00		0.40		0.96		1.16		0.66		0.01		0.00		0.67

				Commulative Demand		1.70		3.59		4.63		4.63		4.63		5.03		6.00		7.15		7.82		7.83		7.83		8.50





Livestock demand

								No		Type of Livestock		Number Found				Demand l/day/head		Demand m3/day/head								Item		Month

												Malkasoda District		Hadhagora Local administration						Demand m3								Jan		Feb		Mar		Apr		May		Jun		Jul		Aug		Sep		Oct		Nov		Dec

								1		Cattles		149915		15841		60		0.06		950.46						Days in Monthy		31		28		31		30		31		30		31		31		30		31		30		31

								2		Sheep		60818		7497		6		0.006		44.982						Livestock Demand Mcm		0.081		0.073		0.081		0.078		0.081		0.078		0.081		0.081		0.078		0.081		0.078		0.081

								3		Goats		125114		13434		6		0.006		80.604

								4		Camels		34675		7472		120		0.12		896.64

								5		Horse		208		20.8		45		0.045		0.936

								6		Donkey		13490		11		45		0.045		0.495

								7		Mule		1200		13954		45		0.045		627.93

								8		Poultry		137889		13788.9		0.2		0.0002		2.75778

																Demand m3/day=				2604.80478





Evapotranspiration

		

				Description		Jan		Feb		Mar		Apr		May		Jun		Jul		Aug		Sep		Oct		Nov		Dec

				Min Temp		12.7		13.8		15.3		15.9		15.4		14.4		13.9		14		14.6		15.4		14.3		12.7

				Max Temp		28.4		29.3		28.6		24.4		24.9		24.4		23.9		24.7		26.1		25.4		25.5		26.4

				MeanTemp		20.55		21.55		21.95		20.15		20.15		19.4		18.9		19.35		20.35		20.4		19.9		19.55

				Evaporation (m/month)		0.114		0.118		0.120		0.113		0.113		0.110		0.108		0.110		0.114		0.114		0.112		0.111

				Evaporation (Mcm)		0.11		0.12		0.12		0.11		0.11		0.11		0.11		0.11		0.11		0.11		0.11		0.11				1.36





First phase

		

		Hadha Hurbu project Eto

				Month		Min Temp		Max Temp		Humidity		Wind		Sun		Rad		ETo

						°C		°C		%		m/s		hours		MJ/m²/day		mm/day

				January		12.7		28.4		49		1.7		10.3		23.6		4.97

				February		13.8		29.3		51		1.9		9.2		23		5.22

				March		15.3		28.6		56		2		7.3		20.8		4.97

				April		15.9		24.4		70		1.6		6.6		19.5		4.02

				May		15.4		24.9		73		1.2		5.5		17.2		3.51

				June		14.4		24.4		68		1.2		4.7		15.6		3.31

				July		13.9		23.9		67		1.3		2.9		13.1		3

				August		14		24.7		64		1.3		4		15.2		3.37

				September		14.6		26.1		68		1.5		5.8		18.3		3.9

				October		15.4		25.4		74		1.7		5.1		16.8		3.6

				November		14.3		25.5		73		1.8		6.8		18.6		3.8

				December		12.7		26.4		61		1.6		8.8		21		4.23

				Average		14.4		26		65		1.6		6.4		18.6		3.99

		Effective rain				Rain		Eff rain

						mm		mm

				January		16.9		0.1

				February		11.9		0

				March		47.6		18.6

				April		188.3		126.6

				May		138.2		86.6

				June		33.6		10.2

				July		18.6		1.2

				August		33.1		9.9

				September		55.1		23.1

				October		139.4		87.5

				November		113.4		66.7

				December		15.3		0

				Total		811.4		430.4

		Soil

		Maize CWR		Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				Dec		1		Init		0.4		1.63		16.3		0.1		16.2

				Dec		2		Init		0.4		1.69		16.9		0		16.9

				Dec		3		Deve		0.52		2.34		25.7		0		25.7

				Jan		1		Deve		0.74		3.48		34.8		0		34.8

				Jan		2		Deve		0.94		4.68		46.8		0		46.8

				Jan		3		Mid		1.1		5.58		61.4		0		61.3

				Feb		1		Mid		1.11		5.73		57.3		0		57.3

				Feb		2		Mid		1.11		5.82		58.2		0		58.2

				Feb		3		Mid		1.11		5.73		45.8		0.1		45.7

				Mar		1		Mid		1.11		5.63		56.3		1.3		55

				Mar		2		Late		1.07		5.33		53.3		2		51.3

				Mar		3		Late		0.99		4.61		50.7		15.4		35.3

				Apr		1		Late		0.91		3.96		35.6		31.4		0.8

														559.3		50.5		505.3

		sorghum

		sorghum CWR		Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				Dec		1		Init		0.35		1.43		14.3		0.1		14.2

				Dec		2		Deve		0.39		1.63		16.3		0		16.3

				Dec		3		Deve		0.61		2.74		30.1		0		30.1

				Jan		1		Deve		0.86		4.08		40.8		0		40.7

				Jan		2		Mid		1.05		5.23		52.3		0		52.2

				Jan		3		Mid		1.06		5.39		59.2		0		59.2

				Feb		1		Mid		1.06		5.47		54.7		0		54.7

				Feb		2		Late		1.04		5.41		54.1		0		54.1

				Feb		3		Late		0.95		4.87		39		0.1		38.9

				Mar		1		Late		0.86		4.33		43.3		1.3		42

														404.2		1.7		402.5

		Haricot bean

		Haricot bean		Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				Dec		1		Init		0.35		1.43		8.6		0.1		8.5

				Dec		2		Init		0.35		1.48		14.8		0		14.8

				Dec		3		Deve		0.41		1.86		20.4		0		20.4

				Jan		1		Deve		0.67		3.15		31.5		0		31.5

				Jan		2		Deve		0.92		4.58		45.8		0		45.7

				Jan		3		Mid		1.1		5.58		61.4		0		61.4

				Feb		1		Mid		1.11		5.71		57.1		0		57.1

				Feb		2		Mid		1.11		5.8		58		0		58

				Feb		3		Late		1.06		5.44		43.5		0.1		43.4

				Mar		1		Late		0.94		4.74		19		0.5		18.3

														360.1		0.8		359.1

		Tomato

		Tomato CWR		Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				Dec		1		Init		0.45		1.84		11		0.1		11

				Dec		2		Init		0.45		1.9		19		0		19

				Dec		3		Deve		0.51		2.29		25.1		0		25.1

				Jan		1		Deve		0.75		3.53		35.3		0		35.3

				Jan		2		Deve		0.98		4.9		49		0		48.9

				Jan		3		Mid		1.16		5.85		64.3		0		64.3

				Feb		1		Mid		1.16		5.97		59.7		0		59.7

				Feb		2		Mid		1.16		6.07		60.7		0		60.7

				Feb		3		Late		1.12		5.77		46.1		0.1		46

				Mar		1		Late		0.99		4.98		49.8		1.3		48.5

				Mar		2		Late		0.88		4.37		17.5		0.8		16.5

														437.6		2.4		435

		Onion

		Onion CWR		Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				Dec		1		Init		0.5		2.04		12.3		0.1		12.2

				Dec		2		Init		0.5		2.11		21.1		0		21.1

				Dec		3		Deve		0.54		2.4		26.4		0		26.4

				Jan		1		Deve		0.68		3.22		32.2		0		32.2

				Jan		2		Deve		0.83		4.12		41.2		0		41.1

				Jan		3		Mid		0.97		4.92		54.1		0		54.1

				Feb		1		Mid		1.01		5.19		51.9		0		51.9

				Feb		2		Mid		1.01		5.27		52.7		0		52.7

				Feb		3		Mid		1.01		5.19		41.5		0.1		41.4

				Mar		1		Late		0.99		5.02		50.2		1.3		48.9

				Mar		2		Late		0.92		4.57		45.7		2		43.7

				Mar		3		Late		0.86		4.02		16.1		5.6		8.4

														445.4		9.2		434

		Pepper

		Pepper CWR		Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				Dec		1		Init		0.35		1.43		8.6		0.1		8.5

				Dec		2		Init		0.35		1.48		14.8		0		14.8

				Dec		3		Init		0.35		1.57		17.2		0		17.2

				Jan		1		Deve		0.41		1.92		19.2		0		19.2

				Jan		2		Deve		0.6		3		30		0		30

				Jan		3		Deve		0.82		4.13		45.4		0		45.4

				Feb		1		Mid		1.02		5.22		52.2		0		52.2

				Feb		2		Mid		1.06		5.53		55.3		0		55.3

				Feb		3		Mid		1.06		5.44		43.5		0.1		43.4

				Mar		1		Mid		1.06		5.35		53.5		1.3		52.2

				Mar		2		Late		1.04		5.18		51.8		2		49.8

				Mar		3		Late		0.96		4.47		49.2		15.4		33.8

				Apr		1		Late		0.9		3.91		11.7		10.5		0

														452.5		29.5		421.8

		Head cabbage

		Head cabbage CWR		Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				Dec		1		Init		0.45		1.84		11		0.1		11

				Dec		2		Init		0.45		1.9		19		0		19

				Dec		3		Deve		0.53		2.36		26		0		26

				Jan		1		Deve		0.83		3.92		39.2		0		39.1

				Jan		2		Mid		1.12		5.59		55.9		0		55.8

				Jan		3		Mid		1.21		6.11		67.2		0		67.2

				Feb		1		Mid		1.21		6.21		62.1		0		62.1

				Feb		2		Mid		1.21		6.31		63.1		0		63.1

				Feb		3		Mid		1.21		6.21		49.7		0.1		49.5

				Mar		1		Mid		1.21		6.11		61.1		1.3		59.7

				Mar		2		Late		1.21		6		60		2		58

				Mar		3		Late		1.08		5.05		55.5		15.4		40.1

				Apr		1		Late		0.96		4.17		12.5		10.5		0

														582.1		29.5		550.6

		Croppning pattern

		Scheme Supply				Jan		Feb		Mar		Apr		May		Jun		Jul		Aug		Sep		Oct		Nov		Dec

				Precipitation deficit

				1. Maize		142.8		161		141.2		0.5		0		0		0		0		0		0		0		58.8

				2. Sorghum		152.2		147.8		41.9		0		0		0		0		0		0		0		0		60.6

				3. Haricot bean		148.7		154.9		0		0		0		0		0		0		0		0		0		53.7

				4. Tomato		148.4		166.5		65		0		0		0		0		0		0		0		0		55.1

				5. Onion		127.4		146		100.9		0		0		0		0		0		0		0		0		59.8

				6. Pepper		94.5		151		135.8		0		0		0		0		0		0		0		0		40.5

				7. Head cabbage		162.1		174.7		157.8		0		0		0		0		0		0		0		0		55.9

				Net scheme irr.req.

				in mm/day		4.5		5.6		2.8		0		0		0		0		0		0		0		0		1.8

				in mm/month		140.9		156.1		87.6		0.1		0		0		0		0		0		0		0		56.1

				in l/s/h		0.53		0.65		0.33		0		0		0		0		0		0		0		0		0.21

				Irrigated area		100		100		85		20		0		0		0		0		0		0		0		100

				(% of total area)

				Irr.req. for actual area		0.53		0.65		0.38		0		0		0		0		0		0		0		0		0.21

				(l/s/h)

				Project  efficiency		50%		50%		50%		50%		50%		50%		50%		50%		50%		50%		50%		50%

				Project supply(l/s/ha		1.06		1.3		0.76		0		0		0		0		0		0		0		0		0.42

				Propsed irrigation hour		12		12		12		12		12		12		12		12		12		12		12		12

				Project supply(l/s/ha for 12 hour		2.12		2.6		1.52		0		0		0		0		0		0		0		0		0.84

				in mm/month		0		0		0		0		0		32.4		81.3		96.7		54.4		1.6		0		0

						140.9		156.1		87.6		0.1		0		32.4		81.3		96.7		54.4		1.6		0		56.1				707.2

				Project supply(l/s/ha		0		0		0		0		0		0.26		0.6		0.72		0.5		0.02		0		0				1414.4

						1.06		1.3		0.76		0		0		0.26		0.6		0.72		0.5		0.02		0		0.42

						0.00106		0.0013		0.00076		0		0		0.00026		0.0006		0.00072		0.0005		0.00002		0		0.00042





Second phase

		

		Maize

		Maize CWR		Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				May		1		Init		0.4		1.47		14.7		34.4		0

				May		2		Init		0.4		1.41		14.1		30.6		0

				May		3		Deve		0.51		1.76		19.3		21.5		0

				Jun		1		Deve		0.7		2.38		23.8		9.8		14

				Jun		2		Deve		0.89		2.94		29.4		0.2		29.2

				Jun		3		Mid		1.03		3.32		33.2		0.3		32.9

				Jul		1		Mid		1.05		3.24		32.4		0.6		31.8

				Jul		2		Mid		1.05		3.14		31.4		0		31.4

				Jul		3		Mid		1.05		3.27		35.9		0.6		35.3

				Aug		1		Late		1.04		3.39		33.9		2.2		31.7

				Aug		2		Late		1		3.36		33.6		3.1		30.6

				Aug		3		Late		0.93		3.3		36.3		4.6		31.7

				Sep		1		Late		0.88		3.26		22.8		3.2		18.2

														360.9		111.2		286.6

		Sorghum		Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				May		1		Init		0.35		1.29		12.9		34.4		0

				May		2		Deve		0.38		1.34		13.4		30.6		0

				May		3		Deve		0.59		2.02		22.3		21.5		0.8

				Jun		1		Deve		0.81		2.75		27.5		9.8		17.7

				Jun		2		Mid		0.98		3.26		32.6		0.2		32.3

				Jun		3		Mid		1		3.2		32		0.3		31.7

				Jul		1		Mid		1		3.09		30.9		0.6		30.3

				Jul		2		Late		0.98		2.93		29.3		0		29.3

				Jul		3		Late		0.88		2.75		30.2		0.6		29.6

				Aug		1		Late		0.79		2.55		20.4		1.7		18.2

														251.4		99.8		189.9

		Haricot bean

		Haricot bean		Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				May		1		Init		0.35		1.29		12.9		34.4		0

				May		2		Init		0.35		1.23		12.3		30.6		0

				May		3		Deve		0.49		1.7		18.7		21.5		0

				Jun		1		Deve		0.74		2.51		25.1		9.8		15.3

				Jun		2		Mid		0.98		3.24		32.4		0.2		32.1

				Jun		3		Mid		1.07		3.41		34.1		0.3		33.8

				Jul		1		Mid		1.07		3.3		33		0.6		32.4

				Jul		2		Late		1.06		3.19		31.9		0		31.9

				Jul		3		Late		0.95		2.95		26.6		0.5		26

														227		97.9		171.5

		Tomato

		Tomato		Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				May		1		Init		0.45		1.66		9.9		20.7		0

				May		2		Init		0.45		1.58		15.8		30.6		0

				May		3		Deve		0.51		1.74		19.2		21.5		0

				Jun		1		Deve		0.73		2.45		24.5		9.8		14.7

				Jun		2		Deve		0.95		3.13		31.3		0.2		31

				Jun		3		Mid		1.1		3.54		35.4		0.3		35.1

				Jul		1		Mid		1.11		3.45		34.5		0.6		33.8

				Jul		2		Mid		1.11		3.33		33.3		0		33.3

				Jul		3		Late		1.06		3.32		36.5		0.6		35.9

				Aug		1		Late		0.91		2.96		29.6		2.2		27.4

				Aug		2		Late		0.82		2.77		5.5		0.6		5.5

														275.5		87.1		216.8

		Onion

		Onion		Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				May		1		Init		0.5		1.84		11		20.7		0

				May		2		Init		0.5		1.76		17.6		30.6		0

				May		3		Deve		0.53		1.84		20.2		21.5		0

				Jun		1		Deve		0.67		2.25		22.5		9.8		12.8

				Jun		2		Deve		0.8		2.65		26.5		0.2		26.3

				Jun		3		Mid		0.93		2.98		29.8		0.3		29.6

				Jul		1		Mid		0.97		3.01		30.1		0.6		29.4

				Jul		2		Mid		0.97		2.91		29.1		0		29.1

				Jul		3		Mid		0.97		3.03		33.3		0.6		32.7

				Aug		1		Late		0.94		3.06		30.6		2.2		28.4

				Aug		2		Late		0.87		2.93		29.3		3.1		26.3

				Aug		3		Late		0.83		2.93		5.9		0.8		5.9

														285.9		90.4		220.3

		Pepper

				Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				May		1		Init		0.35		1.29		7.7		20.7		0

				May		2		Init		0.35		1.23		12.3		30.6		0

				May		3		Init		0.35		1.21		13.3		21.5		0

				Jun		1		Deve		0.4		1.36		13.6		9.8		3.8

				Jun		2		Deve		0.59		1.94		19.4		0.2		19.1

				Jun		3		Deve		0.78		2.48		24.8		0.3		24.6

				Jul		1		Mid		0.96		2.97		29.7		0.6		29.1

				Jul		2		Mid		1.01		3.04		30.4		0		30.4

				Jul		3		Mid		1.01		3.16		34.8		0.6		34.1

				Aug		1		Mid		1.01		3.28		32.8		2.2		30.7

				Aug		2		Late		0.99		3.32		33.2		3.1		30.1

				Aug		3		Late		0.91		3.23		35.5		4.6		30.9

				Sep		1		Late		0.87		3.22		3.2		0.5		3.2

														290.7		94.6		236

		cabbage

		cabbage		Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				May		1		Init		0.45		1.66		9.9		20.7		0

				May		2		Init		0.45		1.58		15.8		30.6		0

				May		3		Deve		0.52		1.8		19.8		21.5		0

				Jun		1		Deve		0.81		2.73		27.3		9.8		17.5

				Jun		2		Mid		1.09		3.59		35.9		0.2		35.7

				Jun		3		Mid		1.17		3.74		37.4		0.3		37.1

				Jul		1		Mid		1.17		3.62		36.2		0.6		35.6

				Jul		2		Mid		1.17		3.5		35		0		35

				Jul		3		Mid		1.17		3.64		40.1		0.6		39.5

				Aug		1		Mid		1.17		3.79		37.9		2.2		35.7

				Aug		2		Late		1.16		3.9		39		3.1		35.9

				Aug		3		Late		1.02		3.61		39.8		4.6		35.1

				Sep		1		Late		0.92		3.43		3.4		0.5		3.4

														377.5		94.6		310.5

		cropping pattern

						Jan		Feb		Mar		Apr		May		Jun		Jul		Aug		Sep		Oct		Nov		Dec

				Precipitation deficit

				1. Maize		0		0		0		0		0		32.5		81.5		100.2		90.2		1.3		0		0

				2. sorghum		0		0		0		0		0		32.6		86.9		89.8		18.8		0		0		0

				3. Haricot bean		0		0		0		0		0		28.5		86.4		90.7		0		0		0		0

				4. Tomato		0		0		0		0		0		34.5		86		105.1		35.7		0		0		0

				5. Onion		0		0		0		0		0		38.2		74.4		92		65.3		0		0		0

				6. Pepper		0		0		0		0		0		24.5		54.2		94.8		87.5		6.4		0		0

				7. Head cabbage		0		0		0		0		0		34.9		94.9		112.8		104.3		6.9		0		0

				Net scheme irr.req.

				in mm/day		0		0		0		0		0		1.1		2.6		3.1		1.8		0.1		0		0

				in mm/month		0		0		0		0		0		32.4		81.3		96.7		54.4		1.6		0		0

				in l/s/h		0		0		0		0		0		0.13		0.3		0.36		0.21		0.01		0		0

				Irrigated area		0		0		0		0		0		100		100		100		85		40		0		0

				(% of total area)

				Irr.req. for actual area		0		0		0		0		0		0.13		0.3		0.36		0.25		0.01		0		0

				(l/s/h)

				Project  efficiency		50%		50%		50%		50%		50%		50%		50%		50%		50%		50%		50%		50%

				Project supply(l/s/ha		0		0		0		0		0		0.26		0.6		0.72		0.5		0.02		0		0

				Propsed irrigation hour		12		12		12		12		12		12		12		12		12		12		12		12

				Project supply(l/s/ha for 12 hour		0		0		0		0		0		0.52		1.2		1.44		1		0.04		0		0





@ Fie Eat_Calculations Charts Setings Window _Language Help

0O ., &
New " Gpen

i3 General sl data
Cimate/ETo

Rain

Crop

Soil

A

cwR

&

Schedule

W

Crop Patterm
W
Scheme

ETa file
yabelo? eto.pem

H & | &

Save  Cose | Pt

Solname [dw

Total available soil moisture (FC - WP)
Maximum rain infiltration rate

Maximum rooting depth

Inital soil moisture depletion (as % TAM)

Initial available soil moisture

Rain file
finchwa eff rain.cim

%3

E

RRRE

&0
=0

Crop file

m/meter
mm/day
centimeters
x

mm/meter

hadha hurbu-maize.cro

Soil file
hadha hurbu-soil.soi

Planting date
[GE

Crop pat file

Schedule file

11:44 AM

1







@ Fie Eat_Calculations Charts Setings Window _Language Help ~lelx

D .& . . & & &
New T Open " Save Clse | Pt
CopName R Planting date [31/72 Harvest [10703
s i i
Climate/ETo | | _\
Ko ! | I I
— 03 | 1 &
Values 1 I ! 060
Rein Stage [ i | devebpmen | midsessn | s | ol
)| T55 f [m [ [= | [=® | [
y o | I I I
B Rooingdepth | Tt 1 I
m T ——
Ciitical depletion i | | |
* froom | o | | Tom | [owm |
Sel Yiedresponset. | [0 | [ow | [0om | [om | [om
Cropheight (m) ! {7150 opiinal !
A4
oW
=3
Schedule
W
Crop Pattern
w
Scheme
ETofile Rain fle Cio fle Sailfle Planting date Ciop pat file Schedule fle

yabelo? eto.pem finchwa eff rain.cim hadha hurbu-sorghum.cro hadha hurbu-soil. soi [GE







@ Fie Eat_Calculations Charts Setings Window _Language _Help ~lelx

D .& . . & & &
New T Open " Save Clse | Pt
Crop Name |Haricot bean Planting date |05/12 Harvest |04/03
3 i i
Climate/ETo | e _\
Ko ! | I I
— 03 i i i
Values ] | ! 050
Rein Stage [ s | devebpmen | midsessn | s |l
ways)| [ D D i [Tho T
¥ o3 | | | |
G Rootngdepth | Tt | |
m § ; 05—
Critical depletion i i ! !
* traction) | | 05| I
st Yieldvesponse t.| [020 | [o@ | [ | [ow | [
Cropheight (m) i {040 (optibnal) |
A4
oW
=3
Schedule
W
Crop Patier
w
Scheme
ETofile Rain fle Ciop fle Sailfle Planting date Ciop pat file Schedule fle

yabelo? eto.pem finchwa el rain.cim untitled hadha hurbu-soil.soi 05112







@ Fie Eat_Calculations Charts Setings Window _Language _Help ~lelx

D .& . &H & | &
New T Open " Save Clse | Pt
CopNamo [EEEH Planting date [E/72 Harvest [14703
B3
Climate/ETo | i
— 045 i i i
Values ] | ! 3
Rein Stage| mi | deveopmen | midsesson | lsesesson | ol
ww)| T2 | [ | [= | [=a | [
y o5 | I I I
B Rooingdepth | "t 1 I
m TN
Ciitical depletion i | | |
* traction) | [ 030 | Too | Tow
Sel Yieldresponset. | [ 080 | [oe | [0 | [om | [
Cropheight (m) ! | [T080 opiinal !
A
oW
=3
Schedule
W
Crop Pattern
W
Scheme
ETofile Rain fle Ciop fle Sailfle Planting date Ciop pat file Schedule fle
yabelo2 eto.pem finchwa elf rain.cm untited hadha hurbur-soil.soi 052

11:57 AM

1






@ Fie Eat_Calculations Charts Setings Window _Language _Help ~lelx

D .& . &H & | &
New T Open " Save Clse | Pt
CopName [TED Planting date [E/72 Harvest [24703
B3
Climate/ETo | i
— 050 i i i
Values ] | ! 3
Rein Stage| mis | devebpment | midsesson | lsesesson | ol
ww)| T2 | [® | [® | [=a | [
y o5 | I I I
B Rooingdepth | e 1 I
m [N
Ciitical depletion i | | |
* traction) | [ 030 | Toe | Tow
Sel Yiedresponset. | [0 | [ow | [7m | [Tw | [T
Cropheight (m) ! | [7030 opiinal !
A
oW
=3
Schedule
W
Crop Pattern
W
Scheme
ETofile Rain fle Ciop fle Sailfle Planting date Ciop pat file Schedule fle
yabelo2 eto.pem finchwa elf rain.cm untited hadha hurbur-soil.soi 052

1200 PM

1






@ Fie Eat_Calculations Charts Setings Window _Language _Help ~lelx

D .& . &H & | &
New T Open " Save Clse | Pt
Crop Name. Planting date [E/72 Harvest [0370%
B3
Climate/ETo | i
— 03 i i i
Values ] | ! 050
Rein Stage| mis | devebpmen | midsesson | lsesesson | ol
ww)| T2 | [® [ [® | [=a | [m@
y o5 | I I I
B Rooingdepth | "t 1 I
m LM
Ciitical depletion i | | |
* troon| oz | I
Sel Yiedresponset. | [ 140 | [oe | [7m | [om | [T
Cropheight (m) ! | [7070 opiinal !
A
oW
=3
Schedule
W
Crop Pattern
W
Scheme
ETofile Rain fle Ciop fle Sailfle Planting date Ciop pat file Schedule fle
yabelo2 eto.pem finchwa elf rain.cm untited hadha hurbur-soil.soi 052

1211PM

1






@ Fie Edt_Calculations Charts Setings Window _Language Help

D .& . &H & | &
New T Open T Save Cose | P
CopName [IEEDE Planting date. [05712 Harvest [03/08
B3
Climate/ETo | i
e j i _\
Values | 12— | |
Rein Stage| mi | devebpmen | midsesson | lsesesson | ol
ww)| T2 | [ | [m | [® | [m@
2 | 1 1 3
L Rooting depth \"’\i_ - |
25 ] : [os ——
Ciitical depletion i | | |
w prisei] TR R
Sel Yiedresponset. | [0 | [ow | [o& | [om | [0%
Cropheight (m) ! | [T040 opiinal !
A
oW
[
Schedule
W
Crop Patier
W
Scheme
ETofile Rain fle Crop file Sail e Planting date Crop pat e Schedule fle
yabelo2 eto.pem finchwa offrain.cm | hadha hurbu head cabbagel.cro | hadha hurbur-soi oi 052

1219PM

1






ile Edit Calculations Charts Seftings Window Language Help

0D .,.& . d o s E
New T Open T Save Chse | Pim  Cos Opion:
Cropping pattern name [Fadha s copping
B3
Climate/ETo | No. Crop file Crop name Gagm Ched &P
1. Fadha Fububaze! CO L [ iz fome  [a@ =
R | 2 e rmSagh e | [roghum Az o @
3. [Hadha HusbuHaroal beant A0 | [aroatbean Az [Eme [
v 4. [Hadha HurbuTomatal 0D o [Fomao Bz [ [T
Ciop || 5. [Hadha HurbuGrin 07D | [on Bz [ [
6. [Fsdha HubuPepper RO | [Pepper Bz e [T
o 7. [Fsdha HutbHead cabbagel RO | [Fesdcabbage Bz e [T
o BN I [T
o o BN I I
cwr [10] ] et | I
1] BN I I
B |2 BN I I
sehede || | = el T
1a.] BN I — -
| BT ENI IR
16.] BN I I
w a7 1T [ r 5]
Scheme







{§) CROPWAT - Session: C:\ProgramData\CROPWAT\data\sessions\Hadha Hurbu- scheme supply
& File Edt Calculations Charts Settings Window Language Help

D .& . &H & | &
New T Open " Save Clse | Pt
CopName Moz Planting date [01705 Harvest [07708
B3
Climate/ETo | i
e j i _\
Values | 7124 —F | |
Rein Stage [ nidl | devebpnen | midsesson | ltesesson § ol
ww)| T2 | [® | [®& | [= | [
x ™| 1 1 3
- Rooting depth \"’\i_ '
S i T TN
Ciitical depletion i | | |
* troon| o= | I T
Sel Yiedresponset. | [0 | [ow | [T@m | [om | [1z
Cropheight (m) ! | [7200 opiinal !
A4
oW
=3
Schedule
W
Crop Patier
V. Databases and application modules
w were not updated
Scheme
ETofile Rain fle Ciop fle Sailfle Planting date

Details
yabelo? eto.pem finchwa el rain.cim hadha hurbu-maize2.cro hadha hurbu-soil.soi 01/05







{§) CROPWAT - Session: C:\ProgramData\CROPWAT\data\sessions\Hadha Hurbu- scheme supply
& File Edt Calculations Charts Settings Window Language Help

D .& . &H & | &
New T Open T Save Cose | P
CiopName [soghm2 Planting date [31/05. Harvest [06708
B3
Climate/ETo | i
e j i _\
Values | 1 0% | |
Rein Stage| mis | devebpment | midsesson | lsesesson | ol
)| T55 f [m [ [= | [=® | [
2 ™| 1 1 3
L Rooting depth \"’\i_ 1
S i T RN
Ciitical depletion i | | |
w froom | o | I
Sel Yiedresponset. | [0 | [ow | [0om | [om | [om
Cropheight (m) ! {7150 opiinal !
A
oW
=3
Schedule
W
Crop Patier
W
Scheme
ETofile Rain fle Cio fle Sailfle Planting date Crop pat e Schedule fle

yabelo? eto.pem finchwa eff rain.cim hadha hurbu-sorghum?.cro hadha hurbu-soil. soi 01/05 hadha hurbu- cropping pattern.pal|







{§) CROPWAT - Session: C:\ProgramData\CROPWAT\data\sessions\Hadha Hurbu- scheme supply
& File Edt Calculations Charts Settings Window Language Help

D .& . &H & | &
New T Open T Save Cose | P
Crop Name |Haricot bean 2 Planting date |01/05 Harvest [23/07
B3
Climate/ETo | |
e b | |
Rein Stage| i | devebpment | midsesson | latosesson 3 ol
)| T2 | [ | [= | [n | [m
2 | ! 1 !
o Rooting depth \\_ L |
RS | ! 0% ——
Critical depletion i i ! !
w prisei] TR R
st Yieldvesponse t.| [020 | [o@ | [ | [ow | [
Cropheight (m) | {040 (optibnal) |
A
cwh
e
Schedule
W
Crop Patier
W
Scheme
ETo fie Rain file crop fle Sail e Planting date Crop pat fie Schedule fle

yabelo? eto.pem finchwa eff rain.cim hadha hurbu-haricot bean2.cro hadha hurbu-soil.soi 01/05 hadha hurbu- cropping pattern.pal|







{§) CROPWAT - Session: C:\ProgramData\CROPWAT\data\sessions\Hadha Hurbu- scheme supply
& File Edt Calculations Charts Settings Window Language Help

D .& . &H & | &
New T Open T Save Cose | P
CopName [foraoz Planting date [05/05 Harvest [12708
B3
Climate/ETo i i
Values | 12— | |
Rein Stage| i | devebpment | midsesson | latosesson 3 ol
ww)| T2 | [ | [= | [=a | [
L | ! 1 !
g Rooting depth \\_ =
S i T I —
Critical depletion i i ! !
* tractom | [0 | T
st Yieldvesponse t.| [050 | [o@ | [0 | [om | [0
Cropheight (m) i | [080  (optibnal) |
A
oW
=3
Schedule
W
Crop Patier
W
Scheme
ETofile Rain fle Ciop fle Sail e Planting date Ciop pat file Schedule fle

yabelo? eto.pem finchwa eff rain.cim hadha hurbu-tomato2.cro hadha hurbu-soil.soi 05/05 hadha hurbu- cropping pattern.pal|







{§) CROPWAT - Session: C:\ProgramData\CROPWAT\data\sessions\Hadha Hurbu- scheme supply
& File Edt Calculations Charts Settings Window Language Help

D .& . &H & | &
New T Open T Save Cose | P
CopName [oronz Planting date [I5/05. Harvest [22/08
B3
Climate/ETo i i
Values | 1 2% | |
Rein Stage| i | devebpment | midsesson | latosesson 3 ol
ww)| T2 | [® | [® | [=a | [
L | ! 1 !
g Rooting depth \\_ =
S i T L ——|
Critical depletion i i ! !
* tractom | [0 | R
st Yieldvesponse t.| [0 | [ow0 | [m | [w | [0
Cropheight (m) i {030 (optibnal) |
A
oW
=3
Schedule
W
Crop Patier
W
Scheme
ETofile Rain fle Ciop fle Sail e Planting date Ciop pat file Schedule fle

yabelo? eto.pem finchwa eff rain.cim hadha hurbu-onion2.cro hadha hurbu-soil.soi 05/05 hadha hurbu- cropping pattern.pal|







{§) CROPWAT - Session: C:\ProgramData\CROPWAT\data\sessions\Hadha Hurbu- scheme supply
& File Edt Calculations Charts Settings Window Language Help

D .& . &H & | &
New T Open T Save Cose | P
CiopName [Femperz Planting date. [05/35 Harvest [01708
B3
Climate/ETo | i
e j i _\
e b | |
Rein Stage| mis | devebpmen | midsesson | lsesesson | ol
ww)| T2 | [® [ [® | [=a | [m@
2 | 1 1 3
L Rooting depth \"’\i_ = |
S i T LM
Ciitical depletion i | | |
w prisi] INECE I
Sel Yiedresponset. | [ 140 | [oe | [7m | [om | [T
Cropheight (m) ! | [7070 opiinal !
A
oW
=3
Schedule
W
Crop Patier
W
Scheme
ETofile Rain fle Ciop fle Sailfle Planting date Crop pat e Schedule fle

yabelo? eto.pem finchwa eff rain.cim hadha hurbu-pepper2.cro hadha hurbu-soil.soi 05/05 hadha hurbu- cropping pattern.pal|







{§) CROPWAT - Session: C:\ProgramData\CROPWAT\data\sessions\Hadha Hurbu- scheme supply
& File Edt Calculations Charts Settings Window Language Help

D .& . &H & | &
New T Open T Save Cose | P
Crop Name |Head cabbage2 Planting date |05/05 Harvest |01/09
B3
Climate/ETo | i
e j i _\
Values | 12— | |
Rein Stage| mi | devebpmen | midsesson | lsesesson | ol
ww)| T2 | [ | [m | [® | [m@
2 | 1 1 3
L Rooting depth \"’\i_ |
S i T [N
Ciitical depletion i | | |
w prisei] TR R
Sel Yiedresponset. | [0 | [ow | [o& | [om | [0%
Cropheight (m) ! | [T040 opiinal !
A
oW
=3
Schedule
W
Crop Patier
W
Scheme
ETofile Rain fle Ciop fle Sailfle Planting date Crop pat e Schedule fle

yabelo? eto.pem finchwa eff rain.cim hadha hurbu-head cabbage2.cro hadha hurbu-soil. soi 05/05 hadha hurbu- cropping pattern.pal|







ile Edit Calculations Charts Seftings Window Language Help

0D .,.& . d o s E
New T Open T Save Chse | Pim  Cos Opion:
Cropping pattern name. [Fadha Fuba 52
B3
Climate/ETo | No. Crop file Crop name Gagm Ched &P
1. Fadha FubuMaz=2 RO L [z [ o [@
2| 2 ezt .| [ogm2 [ e [ @
3. [Hadha Husbu ool bean2 0D | [Faoatbeanz s [ [
v 4. [Hadha HurbuTomata2 CFD | [Fomaoz [ [ [T
Ciop || 5. [Hadha HubuGrion2 00 | [z B [ [
6. [Fsdha HubuPeppe2 CFO | [Pemperz [ [fos [T
o 7. [Fsdha HutbHead cabbage2 CRO | [Fesdcabbagez [ [fos [T
o BN I I
o o BN I I
cwr [10] ] et | I
1] BN I I
B |2 BN I I
sehede || | = el T
1a.] BN I — -
| BT ENI IR
16.] BN I I
w a7 1T [ r 5]
Scheme








_1615554229.xls
Chart1

		0		0

		0.050828		0.0000609936

		0.773746		0.0041838636

		3.414241		0.0251237986

		6.1180648		0.0727853276

		8.962259		0.1481869466

		12.56008		0.2557986416

		16.269505		0.3999465666

		23.2282		0.5974350916

		31.7573		0.8723625916

		39.58596		1.2290788916

		48.547074		1.6697440616

		56.7875		2.1964169316

		65.41452		2.8074270316

		75.059702		3.5097981416

		84.87426		4.3094679516

		94.76389		5.2076587016

		103.01169		6.1965366016

		111.8202859479		7.2706964813

		112.8840859479		7.3830486673

		113.7581859479		7.4963698032

		114.6572859479		7.6105775392

		115.5840859479		7.7256982251

		116.5367859479		7.8417586611

		117.5164859479		7.958785297

		118.5250859479		8.076806083

		119.5595859479		8.1958484189

		120.6231859479		8.3159398049



Area (ha)

Volume (Mcm)

Area ha

Volume

Elevation m

Hadha Hurbu  Reservior Area Capacity curve

1253.76

1253.76

1254

1254

1255

1255

1256

1256

1257

1257

1258

1258

1259

1259

1260

1260

1261

1261

1262

1262

1263

1263

1264

1264

1265

1265

1266

1266

1267

1267

1268

1268

1269

1269

1270

1270

1271

1271

1271.1

1271.1

1271.2

1271.2

1271.3

1271.3

1271.4

1271.4

1271.5

1271.5

1271.6

1271.6

1271.7

1271.7

1271.8

1271.8

1271.9

1271.9



Sediment

		

		Time  (Year)		Capacity  (Mm3)-from reservoir contour calculation.		85% Annual inflow (Mm3) Design Yield		Capacity :Inflow ratio  ( col2/col3)		Trap efficiency  (%) From curve		AVERAGE Trap efficiency (%) (Col5i+col5ii)/2		Sediment deposited (Mm3) Sedimet yield/100*(col1ii-col1i)		Cumulative sediment deposited (Mm3)								Time  (Year)		Capacity  (Mm3)-from reservoir contour calculation.		85% Annual inflow (Mm3) Design Yield		Capacity :Inflow ratio  ( col2/col3)		Trap efficiency  (%) From curve		AVERAGE Trap efficiency (%) (Col5i+col5ii)/2		Sediment deposited (Mm3) Sedimet yield/100*(col1ii-col1i)		Cumulative sediment deposited (Mm3)

		1		2		3		4		5		6		7		8								1		2		3		4		5		6		7		8

		0		5.884		0.00		0		0				0.000		0.000								0		FRLV1-1

		5		5.884		126.36		0.0466		75		37.5		0.063		0.063								5		Col2i-col7

		10		5.821		252.72		0.0230		62		68.5		0.063		0.127								10		Col2ii-col7

		20		5.757		505.43		0.0114		50		56		0.127		0.254								.		.

		30		5.630		758.15		0.0074		44		47		0.127		0.381								.		.

		40		5.503		1010.87		0.0054		38		41		0.127		0.508								.		.

		50		5.377		1263.59		0.0043		31		34.5		0.127		0.635								50		FRLV1-n





PlotF

		Kombolcha

		Elevation		Area(m2)		height		Aav		Volume				Cum_V		Area (ha)		Volume (Mcm)

		1253.76		0						0		0		0.00		0		0.00

		1254		508.28		0.24		254.14		60.9936		0.0000609936		0.00		0.050828		0.00

		1255		7737.46		1		4122.87		4122.87		0.00412287		0.00		0.773746		0.00

		1256		34142.41		1		20939.935		20939.935		0.020939935		0.03		3.414241		0.03

		1257		61180.648		1		47661.529		47661.529		0.047661529		0.07		6.1180648		0.07

		1258		89622.59		1		75401.619		75401.619		0.075401619		0.15		8.962259		0.15

		1259		125600.8		1		107611.695		107611.695		0.107611695		0.26		12.56008		0.26

		1260		162695.05		1		144147.925		144147.925		0.144147925		0.40		16.269505		0.40

		1261		232282		1		197488.525		197488.525		0.197488525		0.60		23.2282		0.60

		1262		317573		1		274927.5		274927.5		0.2749275		0.87		31.7573		0.87

		1263		395859.6		1		356716.3		356716.3		0.3567163		1.23		39.58596		1.23

		1264		485470.74		1		440665.17		440665.17		0.44066517		1.67		48.547074		1.67

		1265		567875		1		526672.87		526672.87		0.52667287		2.20		56.7875		2.20

		1266		654145.2		1		611010.1		611010.1		0.6110101		2.81		65.41452		2.81

		1267		750597.02		1		702371.11		702371.11		0.70237111		3.51		75.059702		3.51

		1268		848742.6		1		799669.81		799669.81		0.79966981		4.31		84.87426		4.31

		1269		947638.9		1		898190.75		898190.75		0.89819075		5.21		94.76389		5.21

		1270		1030116.9		1		988877.9		988877.9		0.9888779		6.20		103.01169		6.20				5.80

		1271		1118202.859479		1		1074159.8797395		1074159.8797395		1.0741598797		7.27		111.8202859479		7.27				772693.173293323		0.7726931733						1118202.859479		10638		1128840.859479

		1271.1		1128840.859479		0.1		1123521.859479		112352.185947798		0.1123521859		7.38		112.8840859479		7.38				5.32										8741		1137581.859479

		1271.2		1137581.859479		0.1		1133211.359479		113321.135947797		0.1133211359		7.50		113.7581859479		7.50						120+9*(B11-B$8)								8991		1146572.859479

		1271.3		1146572.859479		0.1		1142077.359479		114207.735947796		0.1142077359		7.61		114.6572859479		7.61		114.6572859479												9268		1155840.859479

		1271.4		1155840.859479		0.1		1151206.859479		115120.685947795		0.1151206859		7.73		115.5840859479		7.73		115.5840859479		9.268										9527		1165367.859479

		1271.5		1165367.859479		0.1		1160604.359479		116060.435947794		0.1160604359		7.84		116.5367859479		7.84		116.5367859479		9.3975										9797		1175164.859479

		1271.6		1175164.859479		0.1		1170266.359479		117026.635947794		0.1170266359		7.96		117.5164859479		7.96		117.5164859479		9.5306666667										10086		1185250.859479

		1271.7		1185250.859479		0.1		1180207.859479		118020.785947793		0.1180207859		8.08		118.5250859479		8.08		118.5250859479		9.6695										10345		1195595.859479

		1271.8		1195595.859479		0.1		1190423.359479		119042.335947792		0.1190423359		8.20		119.5595859479		8.20		119.5595859479		9.8046										10636		1206231.859479

		1271.9		1206231.859479		0.1		1200913.859479		120091.385947791		0.1200913859		8.32		120.6231859479		8.32		120.6231859479		9.9431666667





PlotF

		



Area (ha)

Volume (Mcm)

Area ha

Volume

Elevation m

Hadha Hurbu  Reservior Area Capacity curve



Dam-Analysis

		Kombolcha														Dam Capacity=				5.294

		DATE		FLOW		Days		80%		Demadd		Demand

		1-Jan-90		0.000		31		0		0.74412		1.993051008				Area				Jan		Feb		Mar		Apr		May		Jun		Jul		Aug		Sep		Oct		Nov		Dec				Zone		Unit		Month

		1-Feb-90		0.000		28		0		0.9126		2.20776192		High Land		600.000		cm/day		0.0011		0.0013		0.0008		0.0000		0.0000		0.0003		0.0006		0.0007		0.0005		0.0000		0.0000		0.0004								Jan		Feb		Mar		Apr		May		Jun		Jul		Aug		Sep		Oct		Nov		Dec

		1-Mar-90		0.000		31		0		0.53352		1.428979968								0.744		0.913		0.534		0.000		0.000		0.183		0.421		0.505		0.351		0.014		0.000		0.295				HIGH LAND		l/s/ha		0.9500		0.5800		0.2200		0.1800		0.0000		0.0000		0.0000		0.0000		0.0000		0.0200		0.5100		0.8200

		1-Apr-90		3.600		30		9.3312		0		0								0.081		0.073		0.081		0.078		0.081		0.078		0.081		0.081		0.078		0.081		0.078		0.081		0				m3/s/ha		0.0010		0.0006		0.0002		0.0002		0.0000		0.0000		0.0000		0.0000		0.0000		0.0000		0.0005		0.0008

		1-May-90		5.250		31		14.0616		0		0								5.884								18.459																		MID LAND		l/s/ha		0.9100		0.4900		0.0000		0.0000		0.2444		0.4222		0.0000		0.0000		0.0000		0.2400		0.8200		1.1300

		1-Jun-90		0.000		30		0		0.18252		0.47309184				29.731		S (80%)		0.000		0.000		0.000		9.331		14.062		0.000		0.000		0.000		0.000		3.321		3.007		0.011						m3/s/ha		0.0009		0.0005		0.0000		0.0000		0.0002		0.0004		0.0000		0.0000		0.0000		0.0002		0.0008		0.0011

		1-Jul-90		0.000		31		0		0.4212		1.12814208				11.273		D		2.074		2.281		1.510		0.078		0.081		0.551		1.209		1.435		0.988		0.118		0.078		0.870				LOW LAND		l/s/ha		0.8000		0.8400		0.4400		0.0000		0.1562		0.7797		0.7230		0.6083		0.6900		0.2900		0.2900		0.6000

		1-Aug-90		0.000		31		0		0.50544		1.353770496						SCUM		0.000		0.000		0.000		9.331		23.393		23.393		23.393		23.393		23.393		26.714		29.721		29.731						m3/s/ha		0.0008		0.0008		0.0004		0.0000		0.0002		0.0008		0.0007		0.0006		0.0007		0.0003		0.0003		0.0006

		1-Sep-90		0.000		30		0		0.351		0.909792						DCUM		2.074		4.354		5.864		5.942		6.023		6.574		7.783		9.218		10.206		10.324		10.402		11.273

		1-Oct-90		1.240		31		3.321216		0.01404		0.037604736						DIFF		-2.074		-4.354		-5.864		3.389		17.370		16.818		15.610		14.175		13.187		16.390		19.319		18.459

		1-Nov-90		1.160		30		3.00672		0		0						ResC		5.884

		1-Dec-90		0.004		31		0.0107136		0.29484		0.789699456						0.020		3.810		1.530		0.020		9.273		23.254		22.703		21.494		20.059		19.071		22.274		25.203		24.343

																		0.000		0.000		0.000		0.000		0.000		0.000		0.000		0.000		0.000		0.000		0.000		0.000		0.000

														0.8723625916

														6.757

																				3072.0		7566.000		10638.00										1.170

																				8741.0				8741.00

																				8991.0				8991.00

																				2153.0		7115.000		9268.00

																				9527.0				9527.00

																				9797.0				9797.00										6.750

																				10086.0				10086.00

																				10345.0				10345.00

																				10636.0				10636.00



1261.1, 0.635



First phase

		

		Hadha Hurbu project Eto

				Month		Min Temp		Max Temp		Humidity		Wind		Sun		Rad		ETo

						°C		°C		%		m/s		hours		MJ/m²/day		mm/day

				January		12.7		28.4		49		1.7		10.3		23.6		4.97

				February		13.8		29.3		51		1.9		9.2		23		5.22

				March		15.3		28.6		56		2		7.3		20.8		4.97

				April		15.9		24.4		70		1.6		6.6		19.5		4.02

				May		15.4		24.9		73		1.2		5.5		17.2		3.51

				June		14.4		24.4		68		1.2		4.7		15.6		3.31

				July		13.9		23.9		67		1.3		2.9		13.1		3

				August		14		24.7		64		1.3		4		15.2		3.37

				September		14.6		26.1		68		1.5		5.8		18.3		3.9

				October		15.4		25.4		74		1.7		5.1		16.8		3.6

				November		14.3		25.5		73		1.8		6.8		18.6		3.8

				December		12.7		26.4		61		1.6		8.8		21		4.23

				Average		14.4		26		65		1.6		6.4		18.6		3.99

		Effective rain				Rain		Eff rain

						mm		mm

				January		16.9		0.1

				February		11.9		0

				March		47.6		18.6

				April		188.3		126.6

				May		138.2		86.6

				June		33.6		10.2

				July		18.6		1.2

				August		33.1		9.9

				September		55.1		23.1

				October		139.4		87.5

				November		113.4		66.7

				December		15.3		0

				Total		811.4		430.4

		Soil

		Maize CWR		Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				Dec		1		Init		0.4		1.63		16.3		0.1		16.2

				Dec		2		Init		0.4		1.69		16.9		0		16.9

				Dec		3		Deve		0.52		2.34		25.7		0		25.7

				Jan		1		Deve		0.74		3.48		34.8		0		34.8

				Jan		2		Deve		0.94		4.68		46.8		0		46.8

				Jan		3		Mid		1.1		5.58		61.4		0		61.3

				Feb		1		Mid		1.11		5.73		57.3		0		57.3

				Feb		2		Mid		1.11		5.82		58.2		0		58.2

				Feb		3		Mid		1.11		5.73		45.8		0.1		45.7

				Mar		1		Mid		1.11		5.63		56.3		1.3		55

				Mar		2		Late		1.07		5.33		53.3		2		51.3

				Mar		3		Late		0.99		4.61		50.7		15.4		35.3

				Apr		1		Late		0.91		3.96		35.6		31.4		0.8

														559.3		50.5		505.3

		sorghum

		sorghum CWR		Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				Dec		1		Init		0.35		1.43		14.3		0.1		14.2

				Dec		2		Deve		0.39		1.63		16.3		0		16.3

				Dec		3		Deve		0.61		2.74		30.1		0		30.1

				Jan		1		Deve		0.86		4.08		40.8		0		40.7

				Jan		2		Mid		1.05		5.23		52.3		0		52.2

				Jan		3		Mid		1.06		5.39		59.2		0		59.2

				Feb		1		Mid		1.06		5.47		54.7		0		54.7

				Feb		2		Late		1.04		5.41		54.1		0		54.1

				Feb		3		Late		0.95		4.87		39		0.1		38.9

				Mar		1		Late		0.86		4.33		43.3		1.3		42

														404.2		1.7		402.5

		Haricot bean

		Haricot bean		Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				Dec		1		Init		0.35		1.43		8.6		0.1		8.5

				Dec		2		Init		0.35		1.48		14.8		0		14.8

				Dec		3		Deve		0.41		1.86		20.4		0		20.4

				Jan		1		Deve		0.67		3.15		31.5		0		31.5

				Jan		2		Deve		0.92		4.58		45.8		0		45.7

				Jan		3		Mid		1.1		5.58		61.4		0		61.4

				Feb		1		Mid		1.11		5.71		57.1		0		57.1

				Feb		2		Mid		1.11		5.8		58		0		58

				Feb		3		Late		1.06		5.44		43.5		0.1		43.4

				Mar		1		Late		0.94		4.74		19		0.5		18.3

														360.1		0.8		359.1

		Tomato

		Tomato CWR		Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				Dec		1		Init		0.45		1.84		11		0.1		11

				Dec		2		Init		0.45		1.9		19		0		19

				Dec		3		Deve		0.51		2.29		25.1		0		25.1

				Jan		1		Deve		0.75		3.53		35.3		0		35.3

				Jan		2		Deve		0.98		4.9		49		0		48.9

				Jan		3		Mid		1.16		5.85		64.3		0		64.3

				Feb		1		Mid		1.16		5.97		59.7		0		59.7

				Feb		2		Mid		1.16		6.07		60.7		0		60.7

				Feb		3		Late		1.12		5.77		46.1		0.1		46

				Mar		1		Late		0.99		4.98		49.8		1.3		48.5

				Mar		2		Late		0.88		4.37		17.5		0.8		16.5

														437.6		2.4		435

		Onion

		Onion CWR		Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				Dec		1		Init		0.5		2.04		12.3		0.1		12.2

				Dec		2		Init		0.5		2.11		21.1		0		21.1

				Dec		3		Deve		0.54		2.4		26.4		0		26.4

				Jan		1		Deve		0.68		3.22		32.2		0		32.2

				Jan		2		Deve		0.83		4.12		41.2		0		41.1

				Jan		3		Mid		0.97		4.92		54.1		0		54.1

				Feb		1		Mid		1.01		5.19		51.9		0		51.9

				Feb		2		Mid		1.01		5.27		52.7		0		52.7

				Feb		3		Mid		1.01		5.19		41.5		0.1		41.4

				Mar		1		Late		0.99		5.02		50.2		1.3		48.9

				Mar		2		Late		0.92		4.57		45.7		2		43.7

				Mar		3		Late		0.86		4.02		16.1		5.6		8.4

														445.4		9.2		434

		Pepper

		Pepper CWR		Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				Dec		1		Init		0.35		1.43		8.6		0.1		8.5

				Dec		2		Init		0.35		1.48		14.8		0		14.8

				Dec		3		Init		0.35		1.57		17.2		0		17.2

				Jan		1		Deve		0.41		1.92		19.2		0		19.2

				Jan		2		Deve		0.6		3		30		0		30

				Jan		3		Deve		0.82		4.13		45.4		0		45.4

				Feb		1		Mid		1.02		5.22		52.2		0		52.2

				Feb		2		Mid		1.06		5.53		55.3		0		55.3

				Feb		3		Mid		1.06		5.44		43.5		0.1		43.4

				Mar		1		Mid		1.06		5.35		53.5		1.3		52.2

				Mar		2		Late		1.04		5.18		51.8		2		49.8

				Mar		3		Late		0.96		4.47		49.2		15.4		33.8

				Apr		1		Late		0.9		3.91		11.7		10.5		0

														452.5		29.5		421.8

		Head cabbage

		Head cabbage CWR		Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				Dec		1		Init		0.45		1.84		11		0.1		11

				Dec		2		Init		0.45		1.9		19		0		19

				Dec		3		Deve		0.53		2.36		26		0		26

				Jan		1		Deve		0.83		3.92		39.2		0		39.1

				Jan		2		Mid		1.12		5.59		55.9		0		55.8

				Jan		3		Mid		1.21		6.11		67.2		0		67.2

				Feb		1		Mid		1.21		6.21		62.1		0		62.1

				Feb		2		Mid		1.21		6.31		63.1		0		63.1

				Feb		3		Mid		1.21		6.21		49.7		0.1		49.5

				Mar		1		Mid		1.21		6.11		61.1		1.3		59.7

				Mar		2		Late		1.21		6		60		2		58

				Mar		3		Late		1.08		5.05		55.5		15.4		40.1

				Apr		1		Late		0.96		4.17		12.5		10.5		0

														582.1		29.5		550.6

		Croppning pattern

		Scheme Supply				Jan		Feb		Mar		Apr		May		Jun		Jul		Aug		Sep		Oct		Nov		Dec

				Precipitation deficit

				1. Maize		142.8		161		141.2		0.5		0		0		0		0		0		0		0		58.8

				2. Sorghum		152.2		147.8		41.9		0		0		0		0		0		0		0		0		60.6

				3. Haricot bean		148.7		154.9		0		0		0		0		0		0		0		0		0		53.7

				4. Tomato		148.4		166.5		65		0		0		0		0		0		0		0		0		55.1

				5. Onion		127.4		146		100.9		0		0		0		0		0		0		0		0		59.8

				6. Pepper		94.5		151		135.8		0		0		0		0		0		0		0		0		40.5

				7. Head cabbage		162.1		174.7		157.8		0		0		0		0		0		0		0		0		55.9

				Net scheme irr.req.

				in mm/day		4.5		5.6		2.8		0		0		0		0		0		0		0		0		1.8

				in mm/month		140.9		156.1		87.6		0.1		0		0		0		0		0		0		0		56.1

				in l/s/h		0.53		0.65		0.33		0		0		0		0		0		0		0		0		0.21

				Irrigated area		100		100		85		20		0		0		0		0		0		0		0		100

				(% of total area)

				Irr.req. for actual area		0.53		0.65		0.38		0		0		0		0		0		0		0		0		0.21

				(l/s/h)

				Project  efficiency		50%		50%		50%		50%		50%		50%		50%		50%		50%		50%		50%		50%

				Project supply(l/s/ha		1.06		1.3		0.76		0		0		0		0		0		0		0		0		0.42

				Propsed irrigation hour		12		12		12		12		12		12		12		12		12		12		12		12

				Project supply(l/s/ha for 12 hour		2.12		2.6		1.52		0		0		0		0		0		0		0		0		0.84

				in mm/month		0		0		0		0		0		32.4		81.3		96.7		54.4		1.6		0		0

						140.9		156.1		87.6		0.1		0		32.4		81.3		96.7		54.4		1.6		0		56.1				707.2

				Project supply(l/s/ha		0		0		0		0		0		0.26		0.6		0.72		0.5		0.02		0		0				1414.4

						1.06		1.3		0.76		0		0		0.26		0.6		0.72		0.5		0.02		0		0.42

						0.00106		0.0013		0.00076		0		0		0.00026		0.0006		0.00072		0.0005		0.00002		0		0.00042





Second phase

		

		Maize

		Maize CWR		Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				May		1		Init		0.4		1.47		14.7		34.4		0

				May		2		Init		0.4		1.41		14.1		30.6		0

				May		3		Deve		0.51		1.76		19.3		21.5		0

				Jun		1		Deve		0.7		2.38		23.8		9.8		14

				Jun		2		Deve		0.89		2.94		29.4		0.2		29.2

				Jun		3		Mid		1.03		3.32		33.2		0.3		32.9

				Jul		1		Mid		1.05		3.24		32.4		0.6		31.8

				Jul		2		Mid		1.05		3.14		31.4		0		31.4

				Jul		3		Mid		1.05		3.27		35.9		0.6		35.3

				Aug		1		Late		1.04		3.39		33.9		2.2		31.7

				Aug		2		Late		1		3.36		33.6		3.1		30.6

				Aug		3		Late		0.93		3.3		36.3		4.6		31.7

				Sep		1		Late		0.88		3.26		22.8		3.2		18.2

														360.9		111.2		286.6

		Sorghum		Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				May		1		Init		0.35		1.29		12.9		34.4		0

				May		2		Deve		0.38		1.34		13.4		30.6		0

				May		3		Deve		0.59		2.02		22.3		21.5		0.8

				Jun		1		Deve		0.81		2.75		27.5		9.8		17.7

				Jun		2		Mid		0.98		3.26		32.6		0.2		32.3

				Jun		3		Mid		1		3.2		32		0.3		31.7

				Jul		1		Mid		1		3.09		30.9		0.6		30.3

				Jul		2		Late		0.98		2.93		29.3		0		29.3

				Jul		3		Late		0.88		2.75		30.2		0.6		29.6

				Aug		1		Late		0.79		2.55		20.4		1.7		18.2

														251.4		99.8		189.9

		Haricot bean

		Haricot bean		Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				May		1		Init		0.35		1.29		12.9		34.4		0

				May		2		Init		0.35		1.23		12.3		30.6		0

				May		3		Deve		0.49		1.7		18.7		21.5		0

				Jun		1		Deve		0.74		2.51		25.1		9.8		15.3

				Jun		2		Mid		0.98		3.24		32.4		0.2		32.1

				Jun		3		Mid		1.07		3.41		34.1		0.3		33.8

				Jul		1		Mid		1.07		3.3		33		0.6		32.4

				Jul		2		Late		1.06		3.19		31.9		0		31.9

				Jul		3		Late		0.95		2.95		26.6		0.5		26

														227		97.9		171.5

		Tomato

		Tomato		Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				May		1		Init		0.45		1.66		9.9		20.7		0

				May		2		Init		0.45		1.58		15.8		30.6		0

				May		3		Deve		0.51		1.74		19.2		21.5		0

				Jun		1		Deve		0.73		2.45		24.5		9.8		14.7

				Jun		2		Deve		0.95		3.13		31.3		0.2		31

				Jun		3		Mid		1.1		3.54		35.4		0.3		35.1

				Jul		1		Mid		1.11		3.45		34.5		0.6		33.8

				Jul		2		Mid		1.11		3.33		33.3		0		33.3

				Jul		3		Late		1.06		3.32		36.5		0.6		35.9

				Aug		1		Late		0.91		2.96		29.6		2.2		27.4

				Aug		2		Late		0.82		2.77		5.5		0.6		5.5

														275.5		87.1		216.8

		Onion

		Onion		Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				May		1		Init		0.5		1.84		11		20.7		0

				May		2		Init		0.5		1.76		17.6		30.6		0

				May		3		Deve		0.53		1.84		20.2		21.5		0

				Jun		1		Deve		0.67		2.25		22.5		9.8		12.8

				Jun		2		Deve		0.8		2.65		26.5		0.2		26.3

				Jun		3		Mid		0.93		2.98		29.8		0.3		29.6

				Jul		1		Mid		0.97		3.01		30.1		0.6		29.4

				Jul		2		Mid		0.97		2.91		29.1		0		29.1

				Jul		3		Mid		0.97		3.03		33.3		0.6		32.7

				Aug		1		Late		0.94		3.06		30.6		2.2		28.4

				Aug		2		Late		0.87		2.93		29.3		3.1		26.3

				Aug		3		Late		0.83		2.93		5.9		0.8		5.9

														285.9		90.4		220.3

		Pepper

				Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				May		1		Init		0.35		1.29		7.7		20.7		0

				May		2		Init		0.35		1.23		12.3		30.6		0

				May		3		Init		0.35		1.21		13.3		21.5		0

				Jun		1		Deve		0.4		1.36		13.6		9.8		3.8

				Jun		2		Deve		0.59		1.94		19.4		0.2		19.1

				Jun		3		Deve		0.78		2.48		24.8		0.3		24.6

				Jul		1		Mid		0.96		2.97		29.7		0.6		29.1

				Jul		2		Mid		1.01		3.04		30.4		0		30.4

				Jul		3		Mid		1.01		3.16		34.8		0.6		34.1

				Aug		1		Mid		1.01		3.28		32.8		2.2		30.7

				Aug		2		Late		0.99		3.32		33.2		3.1		30.1

				Aug		3		Late		0.91		3.23		35.5		4.6		30.9

				Sep		1		Late		0.87		3.22		3.2		0.5		3.2

														290.7		94.6		236

		cabbage

		cabbage		Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				May		1		Init		0.45		1.66		9.9		20.7		0

				May		2		Init		0.45		1.58		15.8		30.6		0

				May		3		Deve		0.52		1.8		19.8		21.5		0

				Jun		1		Deve		0.81		2.73		27.3		9.8		17.5

				Jun		2		Mid		1.09		3.59		35.9		0.2		35.7

				Jun		3		Mid		1.17		3.74		37.4		0.3		37.1

				Jul		1		Mid		1.17		3.62		36.2		0.6		35.6

				Jul		2		Mid		1.17		3.5		35		0		35

				Jul		3		Mid		1.17		3.64		40.1		0.6		39.5

				Aug		1		Mid		1.17		3.79		37.9		2.2		35.7

				Aug		2		Late		1.16		3.9		39		3.1		35.9

				Aug		3		Late		1.02		3.61		39.8		4.6		35.1

				Sep		1		Late		0.92		3.43		3.4		0.5		3.4

														377.5		94.6		310.5

		cropping pattern

						Jan		Feb		Mar		Apr		May		Jun		Jul		Aug		Sep		Oct		Nov		Dec

				Precipitation deficit

				1. Maize		0		0		0		0		0		32.5		81.5		100.2		90.2		1.3		0		0

				2. sorghum		0		0		0		0		0		32.6		86.9		89.8		18.8		0		0		0

				3. Haricot bean		0		0		0		0		0		28.5		86.4		90.7		0		0		0		0

				4. Tomato		0		0		0		0		0		34.5		86		105.1		35.7		0		0		0

				5. Onion		0		0		0		0		0		38.2		74.4		92		65.3		0		0		0

				6. Pepper		0		0		0		0		0		24.5		54.2		94.8		87.5		6.4		0		0

				7. Head cabbage		0		0		0		0		0		34.9		94.9		112.8		104.3		6.9		0		0

				Net scheme irr.req.

				in mm/day		0		0		0		0		0		1.1		2.6		3.1		1.8		0.1		0		0

				in mm/month		0		0		0		0		0		32.4		81.3		96.7		54.4		1.6		0		0

				in l/s/h		0		0		0		0		0		0.13		0.3		0.36		0.21		0.01		0		0

				Irrigated area		0		0		0		0		0		100		100		100		85		40		0		0

				(% of total area)

				Irr.req. for actual area		0		0		0		0		0		0.13		0.3		0.36		0.25		0.01		0		0

				(l/s/h)

				Project  efficiency		50%		50%		50%		50%		50%		50%		50%		50%		50%		50%		50%		50%

				Project supply(l/s/ha		0		0		0		0		0		0.26		0.6		0.72		0.5		0.02		0		0

				Propsed irrigation hour		12		12		12		12		12		12		12		12		12		12		12		12

				Project supply(l/s/ha for 12 hour		0		0		0		0		0		0.52		1.2		1.44		1		0.04		0		0





Livestock demand

		No		Type of Livestock		Number Found				Remarks

						Malkasoda District		Hadhagora Local administration																Jan		Feb		Mar		Apr		May		Jun		Jul		Aug		Sep		Oct		Nov		Dec

		1		Cattles		149915		15841		60		0.06				950.46								31		28		31		30		31		30		31		31		30		31		30		31

		2		Sheep		60818		7497		6		0.006				44.982								80748.94818		72934.53384		80748.94818		78144.1434		80748.94818		78144.1434		80748.94818		80748.94818		78144.1434		80748.94818		78144.1434		80748.94818

		3		Goats		125114		13434		6		0.006				80.604

		4		Camels		34675		7472		120		0.12				896.64

		5		Horse		208		20.8		45		0.045				0.936

		6		Donkey		13490		11		45		0.045				0.495

		7		Mule		1200		13954		45		0.045				627.93

		8		Poultry		137889		13788.9		0.2		0.0002				2.75778

																2604.80478





@ Fie Eat_Calculations Charts Setings Window _Language Help

0O ., &
New " Gpen

i3 General sl data
Cimate/ETo

Rain

Crop

Soil

A

cwR

&

Schedule

W

Crop Patterm
W
Scheme

ETa file
yabelo? eto.pem

H & | &

Save  Cose | Pt

Solname [dw

Total available soil moisture (FC - WP)
Maximum rain infiltration rate

Maximum rooting depth

Inital soil moisture depletion (as % TAM)

Initial available soil moisture

Rain file
finchwa eff rain.cim

%3

E

RRRE

&0
=0

Crop file

m/meter
mm/day
centimeters
x

mm/meter

hadha hurbu-maize.cro

Soil file
hadha hurbu-soil.soi

Planting date
[GE

Crop pat file

Schedule file

11:44 AM

1







@ Fie Eat_Calculations Charts Setings Window _Language Help ~lelx

D .& . . & & &
New T Open " Save Clse | Pt
CopName R Planting date [31/72 Harvest [10703
s i i
Climate/ETo | | _\
Ko ! | I I
— 03 | 1 &
Values 1 I ! 060
Rein Stage [ i | devebpmen | midsessn | s | ol
)| T55 f [m [ [= | [=® | [
y o | I I I
B Rooingdepth | Tt 1 I
m T ——
Ciitical depletion i | | |
* froom | o | | Tom | [owm |
Sel Yiedresponset. | [0 | [ow | [0om | [om | [om
Cropheight (m) ! {7150 opiinal !
A4
oW
=3
Schedule
W
Crop Pattern
w
Scheme
ETofile Rain fle Cio fle Sailfle Planting date Ciop pat file Schedule fle

yabelo? eto.pem finchwa eff rain.cim hadha hurbu-sorghum.cro hadha hurbu-soil. soi [GE







@ Fie Eat_Calculations Charts Setings Window _Language _Help ~lelx

D .& . . & & &
New T Open " Save Clse | Pt
Crop Name |Haricot bean Planting date |05/12 Harvest |04/03
3 i i
Climate/ETo | e _\
Ko ! | I I
— 03 i i i
Values ] | ! 050
Rein Stage [ s | devebpmen | midsessn | s |l
ways)| [ D D i [Tho T
¥ o3 | | | |
G Rootngdepth | Tt | |
m § ; 05—
Critical depletion i i ! !
* traction) | | 05| I
st Yieldvesponse t.| [020 | [o@ | [ | [ow | [
Cropheight (m) i {040 (optibnal) |
A4
oW
=3
Schedule
W
Crop Patier
w
Scheme
ETofile Rain fle Ciop fle Sailfle Planting date Ciop pat file Schedule fle

yabelo? eto.pem finchwa el rain.cim untitled hadha hurbu-soil.soi 05112







@ Fie Eat_Calculations Charts Setings Window _Language _Help ~lelx

D .& . &H & | &
New T Open " Save Clse | Pt
CopNamo [EEEH Planting date [E/72 Harvest [14703
B3
Climate/ETo | i
— 045 i i i
Values ] | ! 3
Rein Stage| mi | deveopmen | midsesson | lsesesson | ol
ww)| T2 | [ | [= | [=a | [
y o5 | I I I
B Rooingdepth | "t 1 I
m TN
Ciitical depletion i | | |
* traction) | [ 030 | Too | Tow
Sel Yieldresponset. | [ 080 | [oe | [0 | [om | [
Cropheight (m) ! | [T080 opiinal !
A
oW
=3
Schedule
W
Crop Pattern
W
Scheme
ETofile Rain fle Ciop fle Sailfle Planting date Ciop pat file Schedule fle
yabelo2 eto.pem finchwa elf rain.cm untited hadha hurbur-soil.soi 052

11:57 AM

1






@ Fie Eat_Calculations Charts Setings Window _Language _Help ~lelx

D .& . &H & | &
New T Open " Save Clse | Pt
CopName [TED Planting date [E/72 Harvest [24703
B3
Climate/ETo | i
— 050 i i i
Values ] | ! 3
Rein Stage| mis | devebpment | midsesson | lsesesson | ol
ww)| T2 | [® | [® | [=a | [
y o5 | I I I
B Rooingdepth | e 1 I
m [N
Ciitical depletion i | | |
* traction) | [ 030 | Toe | Tow
Sel Yiedresponset. | [0 | [ow | [7m | [Tw | [T
Cropheight (m) ! | [7030 opiinal !
A
oW
=3
Schedule
W
Crop Pattern
W
Scheme
ETofile Rain fle Ciop fle Sailfle Planting date Ciop pat file Schedule fle
yabelo2 eto.pem finchwa elf rain.cm untited hadha hurbur-soil.soi 052

1200 PM

1






@ Fie Eat_Calculations Charts Setings Window _Language _Help ~lelx

D .& . &H & | &
New T Open " Save Clse | Pt
Crop Name. Planting date [E/72 Harvest [0370%
B3
Climate/ETo | i
— 03 i i i
Values ] | ! 050
Rein Stage| mis | devebpmen | midsesson | lsesesson | ol
ww)| T2 | [® [ [® | [=a | [m@
y o5 | I I I
B Rooingdepth | "t 1 I
m LM
Ciitical depletion i | | |
* troon| oz | I
Sel Yiedresponset. | [ 140 | [oe | [7m | [om | [T
Cropheight (m) ! | [7070 opiinal !
A
oW
=3
Schedule
W
Crop Pattern
W
Scheme
ETofile Rain fle Ciop fle Sailfle Planting date Ciop pat file Schedule fle
yabelo2 eto.pem finchwa elf rain.cm untited hadha hurbur-soil.soi 052

1211PM

1






@ Fie Edt_Calculations Charts Setings Window _Language Help

D .& . &H & | &
New T Open T Save Cose | P
CopName [IEEDE Planting date. [05712 Harvest [03/08
B3
Climate/ETo | i
e j i _\
Values | 12— | |
Rein Stage| mi | devebpmen | midsesson | lsesesson | ol
ww)| T2 | [ | [m | [® | [m@
2 | 1 1 3
L Rooting depth \"’\i_ - |
25 ] : [os ——
Ciitical depletion i | | |
w prisei] TR R
Sel Yiedresponset. | [0 | [ow | [o& | [om | [0%
Cropheight (m) ! | [T040 opiinal !
A
oW
[
Schedule
W
Crop Patier
W
Scheme
ETofile Rain fle Crop file Sail e Planting date Crop pat e Schedule fle
yabelo2 eto.pem finchwa offrain.cm | hadha hurbu head cabbagel.cro | hadha hurbur-soi oi 052

1219PM

1






ile Edit Calculations Charts Seftings Window Language Help

0D .,.& . d o s E
New T Open T Save Chse | Pim  Cos Opion:
Cropping pattern name [Fadha s copping
B3
Climate/ETo | No. Crop file Crop name Gagm Ched &P
1. Fadha Fububaze! CO L [ iz fome  [a@ =
R | 2 e rmSagh e | [roghum Az o @
3. [Hadha HusbuHaroal beant A0 | [aroatbean Az [Eme [
v 4. [Hadha HurbuTomatal 0D o [Fomao Bz [ [T
Ciop || 5. [Hadha HurbuGrin 07D | [on Bz [ [
6. [Fsdha HubuPepper RO | [Pepper Bz e [T
o 7. [Fsdha HutbHead cabbagel RO | [Fesdcabbage Bz e [T
o BN I [T
o o BN I I
cwr [10] ] et | I
1] BN I I
B |2 BN I I
sehede || | = el T
1a.] BN I — -
| BT ENI IR
16.] BN I I
w a7 1T [ r 5]
Scheme







{§) CROPWAT - Session: C:\ProgramData\CROPWAT\data\sessions\Hadha Hurbu- scheme supply
& File Edt Calculations Charts Settings Window Language Help

D .& . &H & | &
New T Open " Save Clse | Pt
CopName Moz Planting date [01705 Harvest [07708
B3
Climate/ETo | i
e j i _\
Values | 7124 —F | |
Rein Stage [ nidl | devebpnen | midsesson | ltesesson § ol
ww)| T2 | [® | [®& | [= | [
x ™| 1 1 3
- Rooting depth \"’\i_ '
S i T TN
Ciitical depletion i | | |
* troon| o= | I T
Sel Yiedresponset. | [0 | [ow | [T@m | [om | [1z
Cropheight (m) ! | [7200 opiinal !
A4
oW
=3
Schedule
W
Crop Patier
V. Databases and application modules
w were not updated
Scheme
ETofile Rain fle Ciop fle Sailfle Planting date

Details
yabelo? eto.pem finchwa el rain.cim hadha hurbu-maize2.cro hadha hurbu-soil.soi 01/05







{§) CROPWAT - Session: C:\ProgramData\CROPWAT\data\sessions\Hadha Hurbu- scheme supply
& File Edt Calculations Charts Settings Window Language Help

D .& . &H & | &
New T Open T Save Cose | P
CiopName [soghm2 Planting date [31/05. Harvest [06708
B3
Climate/ETo | i
e j i _\
Values | 1 0% | |
Rein Stage| mis | devebpment | midsesson | lsesesson | ol
)| T55 f [m [ [= | [=® | [
2 ™| 1 1 3
L Rooting depth \"’\i_ 1
S i T RN
Ciitical depletion i | | |
w froom | o | I
Sel Yiedresponset. | [0 | [ow | [0om | [om | [om
Cropheight (m) ! {7150 opiinal !
A
oW
=3
Schedule
W
Crop Patier
W
Scheme
ETofile Rain fle Cio fle Sailfle Planting date Crop pat e Schedule fle

yabelo? eto.pem finchwa eff rain.cim hadha hurbu-sorghum?.cro hadha hurbu-soil. soi 01/05 hadha hurbu- cropping pattern.pal|







{§) CROPWAT - Session: C:\ProgramData\CROPWAT\data\sessions\Hadha Hurbu- scheme supply
& File Edt Calculations Charts Settings Window Language Help

D .& . &H & | &
New T Open T Save Cose | P
Crop Name |Haricot bean 2 Planting date |01/05 Harvest [23/07
B3
Climate/ETo | |
e b | |
Rein Stage| i | devebpment | midsesson | latosesson 3 ol
)| T2 | [ | [= | [n | [m
2 | ! 1 !
o Rooting depth \\_ L |
RS | ! 0% ——
Critical depletion i i ! !
w prisei] TR R
st Yieldvesponse t.| [020 | [o@ | [ | [ow | [
Cropheight (m) | {040 (optibnal) |
A
cwh
e
Schedule
W
Crop Patier
W
Scheme
ETo fie Rain file crop fle Sail e Planting date Crop pat fie Schedule fle

yabelo? eto.pem finchwa eff rain.cim hadha hurbu-haricot bean2.cro hadha hurbu-soil.soi 01/05 hadha hurbu- cropping pattern.pal|







{§) CROPWAT - Session: C:\ProgramData\CROPWAT\data\sessions\Hadha Hurbu- scheme supply
& File Edt Calculations Charts Settings Window Language Help

D .& . &H & | &
New T Open T Save Cose | P
CopName [foraoz Planting date [05/05 Harvest [12708
B3
Climate/ETo i i
Values | 12— | |
Rein Stage| i | devebpment | midsesson | latosesson 3 ol
ww)| T2 | [ | [= | [=a | [
L | ! 1 !
g Rooting depth \\_ =
S i T I —
Critical depletion i i ! !
* tractom | [0 | T
st Yieldvesponse t.| [050 | [o@ | [0 | [om | [0
Cropheight (m) i | [080  (optibnal) |
A
oW
=3
Schedule
W
Crop Patier
W
Scheme
ETofile Rain fle Ciop fle Sail e Planting date Ciop pat file Schedule fle

yabelo? eto.pem finchwa eff rain.cim hadha hurbu-tomato2.cro hadha hurbu-soil.soi 05/05 hadha hurbu- cropping pattern.pal|







{§) CROPWAT - Session: C:\ProgramData\CROPWAT\data\sessions\Hadha Hurbu- scheme supply
& File Edt Calculations Charts Settings Window Language Help

D .& . &H & | &
New T Open T Save Cose | P
CopName [oronz Planting date [I5/05. Harvest [22/08
B3
Climate/ETo i i
Values | 1 2% | |
Rein Stage| i | devebpment | midsesson | latosesson 3 ol
ww)| T2 | [® | [® | [=a | [
L | ! 1 !
g Rooting depth \\_ =
S i T L ——|
Critical depletion i i ! !
* tractom | [0 | R
st Yieldvesponse t.| [0 | [ow0 | [m | [w | [0
Cropheight (m) i {030 (optibnal) |
A
oW
=3
Schedule
W
Crop Patier
W
Scheme
ETofile Rain fle Ciop fle Sail e Planting date Ciop pat file Schedule fle

yabelo? eto.pem finchwa eff rain.cim hadha hurbu-onion2.cro hadha hurbu-soil.soi 05/05 hadha hurbu- cropping pattern.pal|







{§) CROPWAT - Session: C:\ProgramData\CROPWAT\data\sessions\Hadha Hurbu- scheme supply
& File Edt Calculations Charts Settings Window Language Help

D .& . &H & | &
New T Open T Save Cose | P
CiopName [Femperz Planting date. [05/35 Harvest [01708
B3
Climate/ETo | i
e j i _\
e b | |
Rein Stage| mis | devebpmen | midsesson | lsesesson | ol
ww)| T2 | [® [ [® | [=a | [m@
2 | 1 1 3
L Rooting depth \"’\i_ = |
S i T LM
Ciitical depletion i | | |
w prisi] INECE I
Sel Yiedresponset. | [ 140 | [oe | [7m | [om | [T
Cropheight (m) ! | [7070 opiinal !
A
oW
=3
Schedule
W
Crop Patier
W
Scheme
ETofile Rain fle Ciop fle Sailfle Planting date Crop pat e Schedule fle

yabelo? eto.pem finchwa eff rain.cim hadha hurbu-pepper2.cro hadha hurbu-soil.soi 05/05 hadha hurbu- cropping pattern.pal|







{§) CROPWAT - Session: C:\ProgramData\CROPWAT\data\sessions\Hadha Hurbu- scheme supply
& File Edt Calculations Charts Settings Window Language Help

D .& . &H & | &
New T Open T Save Cose | P
Crop Name |Head cabbage2 Planting date |05/05 Harvest |01/09
B3
Climate/ETo | i
e j i _\
Values | 12— | |
Rein Stage| mi | devebpmen | midsesson | lsesesson | ol
ww)| T2 | [ | [m | [® | [m@
2 | 1 1 3
L Rooting depth \"’\i_ |
S i T [N
Ciitical depletion i | | |
w prisei] TR R
Sel Yiedresponset. | [0 | [ow | [o& | [om | [0%
Cropheight (m) ! | [T040 opiinal !
A
oW
=3
Schedule
W
Crop Patier
W
Scheme
ETofile Rain fle Ciop fle Sailfle Planting date Crop pat e Schedule fle

yabelo? eto.pem finchwa eff rain.cim hadha hurbu-head cabbage2.cro hadha hurbu-soil. soi 05/05 hadha hurbu- cropping pattern.pal|







ile Edit Calculations Charts Seftings Window Language Help

0D .,.& . d o s E
New T Open T Save Chse | Pim  Cos Opion:
Cropping pattern name. [Fadha Fuba 52
B3
Climate/ETo | No. Crop file Crop name Gagm Ched &P
1. Fadha FubuMaz=2 RO L [z [ o [@
2| 2 ezt .| [ogm2 [ e [ @
3. [Hadha Husbu ool bean2 0D | [Faoatbeanz s [ [
v 4. [Hadha HurbuTomata2 CFD | [Fomaoz [ [ [T
Ciop || 5. [Hadha HubuGrion2 00 | [z B [ [
6. [Fsdha HubuPeppe2 CFO | [Pemperz [ [fos [T
o 7. [Fsdha HutbHead cabbage2 CRO | [Fesdcabbagez [ [fos [T
o BN I I
o o BN I I
cwr [10] ] et | I
1] BN I I
B |2 BN I I
sehede || | = el T
1a.] BN I — -
| BT ENI IR
16.] BN I I
w a7 1T [ r 5]
Scheme








_1615009482.unknown

_1615035643.xls
Chart1

		0

		0.2710745793

		0.5421491586

		0.813223738

		1.0842983173

		1.1114057752

		1.3553728966

		1.3824803546

		1.6535549339

		1.9246295132

		2.1957040925

		2.4667786718

		2.9674534199

		3.2385279992

		3.5096025785

		3.7806771578

		4.0517517372

		4.3228263165

		5

		6

		7

		8



inflow (M3/s)

Time hr

Inflow

0

0.3005277094

0.6010554188

5.3764788358

18.8154441238

20.1119838534

40.4877378565

42.7517105235

68.8333061945

87.76042789

92.8362580911

82.5860402841

53.5829355641

38.0531579142

22.5233802642

9.6731808823

2.0107311237

0

0

0

0

0



Spillway

				X		Y		Distance (Total)		Elevation						Elevation		Distance (Total)		X						Distance (Total)		Y						Dam Axis OGL								Average Depth

				456701.365		601404.18		0		1270.015				0		1270.015		0		456701.365		0		456701.365		0		601404.18		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456701.495		601403.189		1		1270.005				10		1270		1		456701.495		10		456702.663		1		601403.189		10		601394.269		10		456702.663		601394.269		1270		16

				456701.625		601402.198		2		1270				20		1269.822		2		456701.625		20		456703.961		2		601402.198		20		601384.357		20		456703.961		601384.357		1269.822		15.822

				456701.755		601401.207		3		1270				30		1269.725		3		456701.755		30		456705.258		3		601401.207		30		601374.445		30		456705.258		601374.445		1269.725		15.725

				456701.884		601400.216		4		1270				40		1269.562		4		456701.884		40		456706.556		4		601400.216		40		601364.534		40		456706.556		601364.534		1269.562		15.562

				456702.014		601399.224		5		1270				50		1269.482		5		456702.014		50		456707.853		5		601399.224		50		601354.622		50		456707.853		601354.622		1269.482		15.482

				456702.144		601398.233		6		1270				60		1269		6		456702.144		60		456709.151		6		601398.233		60		601344.71		60		456709.151		601344.71		1269		15

				456702.274		601397.242		7		1270				70		1268.473		7		456702.274		70		456710.448		7		601397.242		70		601334.799		70		456710.448		601334.799		1268.473		14.473

				456702.403		601396.251		8		1270				80		1268		8		456702.403		80		456711.746		8		601396.251		80		601324.887		80		456711.746		601324.887		1268		14

				456702.533		601395.26		9		1270				90		1268		9		456702.533		90		456713.043		9		601395.26		90		601314.975		90		456713.043		601314.975		1268		14

				456702.663		601394.269		10		1270				100		1267.989		10		456702.663		100		456718.559		10		601394.269		100		601307.136		100		456718.559		601307.136		1267.989		13.989

				456702.793		601393.277		11		1270				110		1267.684		11		456702.793		110		456728.395		11		601393.277		110		601305.961		110		456728.395		601305.961		1267.684		13.684

				456702.922		601392.286		12		1269.999				120		1266.836		12		456702.922		120		456738.388		12		601392.286		120		601305.701		120		456738.388		601305.701		1266.836		12.836

				456703.052		601391.295		13		1269.989				130		1265.71		13		456703.052		130		456748.381		13		601391.295		130		601305.441		130		456748.381		601305.441		1265.71		11.71

				456703.182		601390.304		14		1269.979				140		1264.862		14		456703.182		140		456758.374		14		601390.304		140		601305.182		140		456758.374		601305.182		1264.862		10.862

				456703.312		601389.313		15		1269.922				150		1264.111		15		456703.312		150		456768.367		15		601389.313		150		601304.922		150		456768.367		601304.922		1264.111		10.111

				456703.442		601388.322		16		1269.9				160		1264		16		456703.442		160		456778.36		16		601388.322		160		601304.662		160		456778.36		601304.662		1264		10

				456703.571		601387.33		17		1269.9				170		1263.222		17		456703.571		170		456788.353		17		601387.33		170		601304.402		170		456788.353		601304.402		1263.222		9.222

				456703.701		601386.339		18		1269.882				180		1263.131		18		456703.701		180		456798.345		18		601386.339		180		601304.142		180		456798.345		601304.142		1263.131		9.131

				456703.831		601385.348		19		1269.831				190		1262.9		19		456703.831		190		456808.338		19		601385.348		190		601303.882		190		456808.338		601303.882		1262.9		8.9

				456703.961		601384.357		20		1269.822				200		1262.591		20		456703.961		200		456818.331		20		601384.357		200		601303.622		200		456818.331		601303.622		1262.591		8.591

				456704.09		601383.366		21		1269.812				210		1262.3		21		456704.09		210		456828.324		21		601383.366		210		601303.363		210		456828.324		601303.363		1262.3		8.3

				456704.22		601382.375		22		1269.802				220		1261.998		22		456704.22		220		456838.317		22		601382.375		220		601303.103		220		456838.317		601303.103		1261.998		7.998

				456704.35		601381.383		23		1269.792				230		1261.552		23		456704.35		230		456848.31		23		601381.383		230		601302.843		230		456848.31		601302.843		1261.552		7.552

				456704.48		601380.392		24		1269.783				240		1261.1		24		456704.48		240		456858.303		24		601380.392		240		601302.583		240		456858.303		601302.583		1261.1		7.1

				456704.609		601379.401		25		1269.773				250		1260.562		25		456704.609		250		456868.295		25		601379.401		250		601302.323		250		456868.295		601302.323		1260.562		6.562

				456704.739		601378.41		26		1269.763				260		1260.016		26		456704.739		260		456878.288		26		601378.41		260		601302.063		260		456878.288		601302.063		1260.016		6.016

				456704.869		601377.419		27		1269.754				270		1259.6		27		456704.869		270		456888.281		27		601377.419		270		601301.803		270		456888.281		601301.803		1259.6		5.6

				456704.999		601376.428		28		1269.744				280		1259.2		28		456704.999		280		456898.274		28		601376.428		280		601301.544		280		456898.274		601301.544		1259.2		5.2

				456705.128		601375.436		29		1269.734				290		1258.8		29		456705.128		290		456908.267		29		601375.436		290		601301.284		290		456908.267		601301.284		1258.8		4.8

				456705.258		601374.445		30		1269.725				300		1258.4		30		456705.258		300		456918.26		30		601374.445		300		601301.024		300		456918.26		601301.024		1258.4		4.4

				456705.388		601373.454		31		1269.715				310		1257.992		31		456705.388		310		456928.253		31		601373.454		310		601300.764		310		456928.253		601300.764		1257.992		3.992

				456705.518		601372.463		32		1269.705				320		1257.643		32		456705.518		320		456938.245		32		601372.463		320		601300.504		320		456938.245		601300.504		1257.643		3.643

				456705.647		601371.472		33		1269.696				330		1257.298		33		456705.647		330		456948.238		33		601371.472		330		601300.244		330		456948.238		601300.244		1257.298		3.298

				456705.777		601370.481		34		1269.686				340		1256.9		34		456705.777		340		456958.231		34		601370.481		340		601299.984		340		456958.231		601299.984		1256.9		2.9

				456705.907		601369.489		35		1269.676				350		1256.5		35		456705.907		350		456968.224		35		601369.489		350		601299.725		350		456968.224		601299.725		1256.5		2.5

				456706.037		601368.498		36		1269.665				360		1256.061		36		456706.037		360		456978.217		36		601368.498		360		601299.465		360		456978.217		601299.465		1256.061		2.061

				456706.166		601367.507		37		1269.606				370		1255.715		37		456706.166		370		456988.21		37		601367.507		370		601299.205		370		456988.21		601299.205		1255.715		1.715

				456706.296		601366.516		38		1269.6				380		1255.5		38		456706.296		380		456998.202		38		601366.516		380		601298.945		380		456998.202		601298.945		1255.5		1.5

				456706.426		601365.525		39		1269.6				390		1255.3		39		456706.426		390		457008.195		39		601365.525		390		601298.685		390		457008.195		601298.685		1255.3		1.3

				456706.556		601364.534		40		1269.562				400		1255.183		40		456706.556		400		457018.188		40		601364.534		400		601298.425		400		457018.188		601298.425		1255.183		1.183

				456706.685		601363.542		41		1269.518				410		1255		41		456706.685		410		457028.181		41		601363.542		410		601298.166		410		457028.181		601298.166		1255		1

				456706.815		601362.551		42		1269.509				420		1255		42		456706.815		420		457038.174		42		601362.551		420		601297.906		420		457038.174		601297.906		1255		1

				456706.945		601361.56		43		1269.514				430		1255		43		456706.945		430		457048.167		43		601361.56		430		601297.646		430		457048.167		601297.646		1255		1

				456707.075		601360.569		44		1269.589				440		1254.729		44		456707.075		440		457058.16		44		601360.569		440		601297.386		440		457058.16		601297.386		1254.729		0.729

				456707.204		601359.578		45		1269.579				547.02		1253		45		456707.204		547.02		457165.1		45		601359.578		547.02		601294.605		547.02		457165.1		601294.605		1253		-1

				456707.334		601358.587		46		1269.57						1270.015		46		456707.334		0		456701.365		46		601358.587		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456707.464		601357.595		47		1269.56						1270.015		47		456707.464		0		456701.365		47		601357.595		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456707.594		601356.604		48		1269.55						1270.015		48		456707.594		0		456701.365		48		601356.604		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456707.723		601355.613		49		1269.525						1270.015		49		456707.723		0		456701.365		49		601355.613		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456707.853		601354.622		50		1269.482						1270.015		50		456707.853		0		456701.365		50		601354.622		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456707.983		601353.631		51		1269.419						1270.015		51		456707.983		0		456701.365		51		601353.631		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456708.113		601352.64		52		1269.4						1270.015		52		456708.113		0		456701.365		52		601352.64		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456708.242		601351.648		53		1269.314						1270.015		53		456708.242		0		456701.365		53		601351.648		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456708.372		601350.657		54		1269.294						1270.015		54		456708.372		0		456701.365		54		601350.657		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456708.502		601349.666		55		1269.231						1270.015		55		456708.502		0		456701.365		55		601349.666		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456708.632		601348.675		56		1269.187						1270.015		56		456708.632		0		456701.365		56		601348.675		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456708.761		601347.684		57		1269.14						1270.015		57		456708.761		0		456701.365		57		601347.684		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456708.891		601346.693		58		1269.089						1270.015		58		456708.891		0		456701.365		58		601346.693		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456709.021		601345.701		59		1269.039						1270.015		59		456709.021		0		456701.365		59		601345.701		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456709.151		601344.71		60		1269						1270.015		60		456709.151		0		456701.365		60		601344.71		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456709.28		601343.719		61		1269						1270.015		61		456709.28		0		456701.365		61		601343.719		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456709.41		601342.728		62		1268.926		TC				1270.015		62		456709.41		0		456701.365		62		601342.728		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456709.54		601341.737		63		1268.839						1270.015		63		456709.54		0		456701.365		63		601341.737		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456709.67		601340.746		64		1268.802						1270.015		64		456709.67		0		456701.365		64		601340.746		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456709.799		601339.754		65		1268.764						1270.015		65		456709.799		0		456701.365		65		601339.754		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456709.929		601338.763		66		1268.682						1270.015		66		456709.929		0		456701.365		66		601338.763		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456710.059		601337.772		67		1268.63						1270.015		67		456710.059		0		456701.365		67		601337.772		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456710.189		601336.781		68		1268.601						1270.015		68		456710.189		0		456701.365		68		601336.781		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456710.318		601335.79		69		1268.515						1270.015		69		456710.318		0		456701.365		69		601335.79		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456710.448		601334.799		70		1268.473						1270.015		70		456710.448		0		456701.365		70		601334.799		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456710.578		601333.807		71		1268.429						1270.015		71		456710.578		0		456701.365		71		601333.807		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456710.708		601332.816		72		1268.353						1270.015		72		456710.708		0		456701.365		72		601332.816		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456710.837		601331.825		73		1268.297						1270.015		73		456710.837		0		456701.365		73		601331.825		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456710.967		601330.834		74		1268.278						1270.015		74		456710.967		0		456701.365		74		601330.834		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456711.097		601329.843		75		1268.19						1270.015		75		456711.097		0		456701.365		75		601329.843		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456711.227		601328.852		76		1268.103						1270.015		76		456711.227		0		456701.365		76		601328.852		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456711.356		601327.86		77		1268.1						1270.015		77		456711.356		0		456701.365		77		601327.86		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456711.486		601326.869		78		1268.028						1270.015		78		456711.486		0		456701.365		78		601326.869		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456711.616		601325.878		79		1268						1270.015		79		456711.616		0		456701.365		79		601325.878		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456711.746		601324.887		80		1268						1270.015		80		456711.746		0		456701.365		80		601324.887		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456711.875		601323.896		81		1268						1270.015		81		456711.875		0		456701.365		81		601323.896		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456712.005		601322.905		82		1268						1270.015		82		456712.005		0		456701.365		82		601322.905		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456712.135		601321.914		83		1268						1270.015		83		456712.135		0		456701.365		83		601321.914		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456712.265		601320.922		84		1268						1270.015		84		456712.265		0		456701.365		84		601320.922		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456712.394		601319.931		85		1268						1270.015		85		456712.394		0		456701.365		85		601319.931		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456712.524		601318.94		86		1268						1270.015		86		456712.524		0		456701.365		86		601318.94		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456712.654		601317.949		87		1268						1270.015		87		456712.654		0		456701.365		87		601317.949		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456712.784		601316.958		88		1268						1270.015		88		456712.784		0		456701.365		88		601316.958		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456712.913		601315.967		89		1268						1270.015		89		456712.913		0		456701.365		89		601315.967		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.043		601314.975		90		1268						1270.015		90		456713.043		0		456701.365		90		601314.975		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.065		601314.807		90.17		1268						1270.015		90.17		456713.065		0		456701.365		90.17		601314.807		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.065		601314.807		90.17		1268						1270.015		90.17		456713.065		0		456701.365		90.17		601314.807		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.076		601314.729		90.248		1268						1270.015		90.248		456713.076		0		456701.365		90.248		601314.729		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.087		601314.652		90.327		1268						1270.015		90.327		456713.087		0		456701.365		90.327		601314.652		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.099		601314.574		90.405		1268						1270.015		90.405		456713.099		0		456701.365		90.405		601314.574		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.111		601314.496		90.484		1268						1270.015		90.484		456713.111		0		456701.365		90.484		601314.496		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.124		601314.419		90.563		1268						1270.015		90.563		456713.124		0		456701.365		90.563		601314.419		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.137		601314.341		90.641		1268						1270.015		90.641		456713.137		0		456701.365		90.641		601314.341		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.152		601314.264		90.72		1268						1270.015		90.72		456713.152		0		456701.365		90.72		601314.264		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.166		601314.187		90.799		1268						1270.015		90.799		456713.166		0		456701.365		90.799		601314.187		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.182		601314.11		90.877		1268						1270.015		90.877		456713.182		0		456701.365		90.877		601314.11		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.198		601314.033		90.956		1268						1270.015		90.956		456713.198		0		456701.365		90.956		601314.033		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.207		601313.99		91		1268						1270.015		91		456713.207		0		456701.365		91		601313.99		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.214		601313.956		91.034		1268						1270.015		91.034		456713.214		0		456701.365		91.034		601313.956		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.231		601313.879		91.113		1268						1270.015		91.113		456713.231		0		456701.365		91.113		601313.879		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.249		601313.803		91.192		1268						1270.015		91.192		456713.249		0		456701.365		91.192		601313.803		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.268		601313.726		91.27		1268						1270.015		91.27		456713.268		0		456701.365		91.27		601313.726		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.287		601313.65		91.349		1268						1270.015		91.349		456713.287		0		456701.365		91.349		601313.65		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.306		601313.574		91.428		1268						1270.015		91.428		456713.306		0		456701.365		91.428		601313.574		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.326		601313.498		91.506		1268						1270.015		91.506		456713.326		0		456701.365		91.506		601313.498		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.347		601313.422		91.585		1268						1270.015		91.585		456713.347		0		456701.365		91.585		601313.422		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.369		601313.347		91.663		1268						1270.015		91.663		456713.369		0		456701.365		91.663		601313.347		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.391		601313.271		91.742		1268						1270.015		91.742		456713.391		0		456701.365		91.742		601313.271		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.413		601313.196		91.821		1268						1270.015		91.821		456713.413		0		456701.365		91.821		601313.196		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.436		601313.121		91.899		1268						1270.015		91.899		456713.436		0		456701.365		91.899		601313.121		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.46		601313.046		91.978		1268						1270.015		91.978		456713.46		0		456701.365		91.978		601313.046		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.467		601313.025		92		1268						1270.015		92		456713.467		0		456701.365		92		601313.025		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.484		601312.971		92.056		1268						1270.015		92.056		456713.484		0		456701.365		92.056		601312.971		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.509		601312.897		92.135		1268						1270.015		92.135		456713.509		0		456701.365		92.135		601312.897		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.535		601312.822		92.214		1268						1270.015		92.214		456713.535		0		456701.365		92.214		601312.822		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.561		601312.748		92.292		1268						1270.015		92.292		456713.561		0		456701.365		92.292		601312.748		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.588		601312.674		92.371		1268						1270.015		92.371		456713.588		0		456701.365		92.371		601312.674		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.615		601312.6		92.45		1268						1270.015		92.45		456713.615		0		456701.365		92.45		601312.6		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.643		601312.527		92.528		1268						1270.015		92.528		456713.643		0		456701.365		92.528		601312.527		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.671		601312.454		92.607		1268						1270.015		92.607		456713.671		0		456701.365		92.607		601312.454		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.7		601312.381		92.685		1268						1270.015		92.685		456713.7		0		456701.365		92.685		601312.381		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.73		601312.308		92.764		1268						1270.015		92.764		456713.73		0		456701.365		92.764		601312.308		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.76		601312.235		92.843		1268						1270.015		92.843		456713.76		0		456701.365		92.843		601312.235		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.79		601312.163		92.921		1268						1270.015		92.921		456713.79		0		456701.365		92.921		601312.163		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.822		601312.091		93		1268						1270.015		93		456713.822		0		456701.365		93		601312.091		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.822		601312.091		93		1268						1270.015		93		456713.822		0		456701.365		93		601312.091		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.854		601312.019		93.079		1268						1270.015		93.079		456713.854		0		456701.365		93.079		601312.019		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.886		601311.947		93.157		1268						1270.015		93.157		456713.886		0		456701.365		93.157		601311.947		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.919		601311.876		93.236		1268						1270.015		93.236		456713.919		0		456701.365		93.236		601311.876		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.952		601311.805		93.314		1268						1270.015		93.314		456713.952		0		456701.365		93.314		601311.805		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456713.987		601311.734		93.393		1268						1270.015		93.393		456713.987		0		456701.365		93.393		601311.734		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.021		601311.664		93.472		1268						1270.015		93.472		456714.021		0		456701.365		93.472		601311.664		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.056		601311.593		93.55		1268						1270.015		93.55		456714.056		0		456701.365		93.55		601311.593		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.092		601311.523		93.629		1268						1270.015		93.629		456714.092		0		456701.365		93.629		601311.523		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.128		601311.454		93.707		1268						1270.015		93.707		456714.128		0		456701.365		93.707		601311.454		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.165		601311.384		93.786		1268						1270.015		93.786		456714.165		0		456701.365		93.786		601311.384		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.203		601311.315		93.865		1268						1270.015		93.865		456714.203		0		456701.365		93.865		601311.315		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.241		601311.246		93.943		1268						1270.015		93.943		456714.241		0		456701.365		93.943		601311.246		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.268		601311.197		94		1268						1270.015		94		456714.268		0		456701.365		94		601311.197		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.279		601311.178		94.022		1268						1270.015		94.022		456714.279		0		456701.365		94.022		601311.178		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.318		601311.109		94.101		1268						1270.015		94.101		456714.318		0		456701.365		94.101		601311.109		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.357		601311.041		94.179		1268						1270.015		94.179		456714.357		0		456701.365		94.179		601311.041		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.398		601310.974		94.258		1268						1270.015		94.258		456714.398		0		456701.365		94.258		601310.974		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.438		601310.907		94.336		1268						1270.015		94.336		456714.438		0		456701.365		94.336		601310.907		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.479		601310.84		94.415		1268						1270.015		94.415		456714.479		0		456701.365		94.415		601310.84		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.521		601310.773		94.494		1268						1270.015		94.494		456714.521		0		456701.365		94.494		601310.773		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.563		601310.707		94.572		1268						1270.015		94.572		456714.563		0		456701.365		94.572		601310.707		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.606		601310.641		94.651		1268						1270.015		94.651		456714.606		0		456701.365		94.651		601310.641		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.649		601310.575		94.73		1268						1270.015		94.73		456714.649		0		456701.365		94.73		601310.575		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.693		601310.51		94.808		1268						1270.015		94.808		456714.693		0		456701.365		94.808		601310.51		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.737		601310.445		94.887		1268						1270.015		94.887		456714.737		0		456701.365		94.887		601310.445		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.782		601310.38		94.965		1268						1270.015		94.965		456714.782		0		456701.365		94.965		601310.38		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.802		601310.352		95		1268						1270.015		95		456714.802		0		456701.365		95		601310.352		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.827		601310.316		95.044		1268						1270.015		95.044		456714.827		0		456701.365		95.044		601310.316		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.873		601310.252		95.123		1268						1270.015		95.123		456714.873		0		456701.365		95.123		601310.252		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.919		601310.188		95.201		1268						1270.015		95.201		456714.919		0		456701.365		95.201		601310.188		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456714.966		601310.125		95.28		1268						1270.015		95.28		456714.966		0		456701.365		95.28		601310.125		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456715.013		601310.062		95.358		1268						1270.015		95.358		456715.013		0		456701.365		95.358		601310.062		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456715.061		601310		95.437		1268						1270.015		95.437		456715.061		0		456701.365		95.437		601310		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456715.109		601309.938		95.516		1268						1270.015		95.516		456715.109		0		456701.365		95.516		601309.938		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456715.158		601309.876		95.594		1268						1270.015		95.594		456715.158		0		456701.365		95.594		601309.876		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456715.207		601309.815		95.673		1268						1270.015		95.673		456715.207		0		456701.365		95.673		601309.815		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456715.256		601309.754		95.752		1268						1270.015		95.752		456715.256		0		456701.365		95.752		601309.754		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456715.307		601309.694		95.83		1268						1270.015		95.83		456715.307		0		456701.365		95.83		601309.694		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456715.357		601309.633		95.909		1268						1270.015		95.909		456715.357		0		456701.365		95.909		601309.633		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456715.408		601309.574		95.987		1268						1270.015		95.987		456715.408		0		456701.365		95.987		601309.574		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456715.417		601309.564		96		1268						1270.015		96		456715.417		0		456701.365		96		601309.564		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456715.46		601309.514		96.066		1268						1270.015		96.066		456715.46		0		456701.365		96.066		601309.514		0		601404.18		0		456701.365		601404.18		1270.015		16.015

				456715.512		601309.456		96.145		1268						1270.015		96.145		456715.512		0		456701.365		96.145		601309.456		0		601404.18		0		456701.365		601404.18		1270.015		16.015		13.87

				456715.564		601309.397		96.223		1268						1270.015		96.223		456715.564		0		456701.365		96.223		601309.397		0		601404.18		0		456701.365		601404.18		1270.015

				456715.617		601309.339		96.302		1268						1270.015		96.302		456715.617		0		456701.365		96.302		601309.339		0		601404.18		0		456701.365		601404.18		1270.015

				456715.671		601309.281		96.381		1268						1270.015		96.381		456715.671		0		456701.365		96.381		601309.281		0		601404.18		0		456701.365		601404.18		1270.015

				456715.725		601309.224		96.459		1268						1270.015		96.459		456715.725		0		456701.365		96.459		601309.224		0		601404.18		0		456701.365		601404.18		1270.015

				456715.779		601309.167		96.538		1268						1270.015		96.538		456715.779		0		456701.365		96.538		601309.167		0		601404.18		0		456701.365		601404.18		1270.015

				456715.834		601309.111		96.616		1268						1270.015		96.616		456715.834		0		456701.365		96.616		601309.111		0		601404.18		0		456701.365		601404.18		1270.015

				456715.889		601309.055		96.695		1268						1270.015		96.695		456715.889		0		456701.365		96.695		601309.055		0		601404.18		0		456701.365		601404.18		1270.015

				456715.944		601308.999		96.774		1268						1270.015		96.774		456715.944		0		456701.365		96.774		601308.999		0		601404.18		0		456701.365		601404.18		1270.015

				456716.001		601308.944		96.852		1268						1270.015		96.852		456716.001		0		456701.365		96.852		601308.944		0		601404.18		0		456701.365		601404.18		1270.015

				456716.057		601308.89		96.931		1268						1270.015		96.931		456716.057		0		456701.365		96.931		601308.89		0		601404.18		0		456701.365		601404.18		1270.015

				456716.107		601308.842		97		1268						1270.015		97		456716.107		0		456701.365		97		601308.842		0		601404.18		0		456701.365		601404.18		1270.015

				456716.114		601308.835		97.01		1268						1270.015		97.01		456716.114		0		456701.365		97.01		601308.835		0		601404.18		0		456701.365		601404.18		1270.015

				456716.171		601308.782		97.088		1268						1270.015		97.088		456716.171		0		456701.365		97.088		601308.782		0		601404.18		0		456701.365		601404.18		1270.015

				456716.229		601308.728		97.167		1268						1270.015		97.167		456716.229		0		456701.365		97.167		601308.728		0		601404.18		0		456701.365		601404.18		1270.015

				456716.287		601308.676		97.245		1268						1270.015		97.245		456716.287		0		456701.365		97.245		601308.676		0		601404.18		0		456701.365		601404.18		1270.015

				456716.346		601308.623		97.324		1268						1270.015		97.324		456716.346		0		456701.365		97.324		601308.623		0		601404.18		0		456701.365		601404.18		1270.015

				456716.405		601308.571		97.403		1268						1270.015		97.403		456716.405		0		456701.365		97.403		601308.571		0		601404.18		0		456701.365		601404.18		1270.015

				456716.464		601308.52		97.481		1268						1270.015		97.481		456716.464		0		456701.365		97.481		601308.52		0		601404.18		0		456701.365		601404.18		1270.015

				456716.524		601308.469		97.56		1268						1270.015		97.56		456716.524		0		456701.365		97.56		601308.469		0		601404.18		0		456701.365		601404.18		1270.015

				456716.584		601308.418		97.638		1268						1270.015		97.638		456716.584		0		456701.365		97.638		601308.418		0		601404.18		0		456701.365		601404.18		1270.015

				456716.645		601308.368		97.717		1268						1270.015		97.717		456716.645		0		456701.365		97.717		601308.368		0		601404.18		0		456701.365		601404.18		1270.015

				456716.706		601308.319		97.796		1268						1270.015		97.796		456716.706		0		456701.365		97.796		601308.319		0		601404.18		0		456701.365		601404.18		1270.015

				456716.767		601308.27		97.874		1268						1270.015		97.874		456716.767		0		456701.365		97.874		601308.27		0		601404.18		0		456701.365		601404.18		1270.015

				456716.829		601308.221		97.953		1268						1270.015		97.953		456716.829		0		456701.365		97.953		601308.221		0		601404.18		0		456701.365		601404.18		1270.015

				456716.866		601308.192		98		1268						1270.015		98		456716.866		0		456701.365		98		601308.192		0		601404.18		0		456701.365		601404.18		1270.015

				456716.891		601308.173		98.032		1268						1270.015		98.032		456716.891		0		456701.365		98.032		601308.173		0		601404.18		0		456701.365		601404.18		1270.015

				456716.954		601308.125		98.11		1268						1270.015		98.11		456716.954		0		456701.365		98.11		601308.125		0		601404.18		0		456701.365		601404.18		1270.015

				456717.017		601308.078		98.189		1268						1270.015		98.189		456717.017		0		456701.365		98.189		601308.078		0		601404.18		0		456701.365		601404.18		1270.015

				456717.08		601308.032		98.267		1268						1270.015		98.267		456717.08		0		456701.365		98.267		601308.032		0		601404.18		0		456701.365		601404.18		1270.015

				456717.144		601307.986		98.346		1268						1270.015		98.346		456717.144		0		456701.365		98.346		601307.986		0		601404.18		0		456701.365		601404.18		1270.015

				456717.208		601307.94		98.425		1268						1270.015		98.425		456717.208		0		456701.365		98.425		601307.94		0		601404.18		0		456701.365		601404.18		1270.015

				456717.272		601307.895		98.503		1268						1270.015		98.503		456717.272		0		456701.365		98.503		601307.895		0		601404.18		0		456701.365		601404.18		1270.015

				456717.337		601307.85		98.582		1268						1270.015		98.582		456717.337		0		456701.365		98.582		601307.85		0		601404.18		0		456701.365		601404.18		1270.015

				456717.402		601307.806		98.661		1268						1270.015		98.661		456717.402		0		456701.365		98.661		601307.806		0		601404.18		0		456701.365		601404.18		1270.015

				456717.467		601307.763		98.739		1268						1270.015		98.739		456717.467		0		456701.365		98.739		601307.763		0		601404.18		0		456701.365		601404.18		1270.015

				456717.533		601307.719		98.818		1268						1270.015		98.818		456717.533		0		456701.365		98.818		601307.719		0		601404.18		0		456701.365		601404.18		1270.015

				456717.599		601307.677		98.896		1268						1270.015		98.896		456717.599		0		456701.365		98.896		601307.677		0		601404.18		0		456701.365		601404.18		1270.015

				456717.665		601307.635		98.975		1268						1270.015		98.975		456717.665		0		456701.365		98.975		601307.635		0		601404.18		0		456701.365		601404.18		1270.015

				456717.686		601307.622		99		1268						1270.015		99		456717.686		0		456701.365		99		601307.622		0		601404.18		0		456701.365		601404.18		1270.015

				456717.732		601307.593		99.054		1268						1270.015		99.054		456717.732		0		456701.365		99.054		601307.593		0		601404.18		0		456701.365		601404.18		1270.015

				456717.799		601307.552		99.132		1268						1270.015		99.132		456717.799		0		456701.365		99.132		601307.552		0		601404.18		0		456701.365		601404.18		1270.015

				456717.866		601307.512		99.211		1268						1270.015		99.211		456717.866		0		456701.365		99.211		601307.512		0		601404.18		0		456701.365		601404.18		1270.015

				456717.934		601307.472		99.289		1268						1270.015		99.289		456717.934		0		456701.365		99.289		601307.472		0		601404.18		0		456701.365		601404.18		1270.015

				456718.002		601307.433		99.368		1268						1270.015		99.368		456718.002		0		456701.365		99.368		601307.433		0		601404.18		0		456701.365		601404.18		1270.015

				456718.07		601307.394		99.447		1268						1270.015		99.447		456718.07		0		456701.365		99.447		601307.394		0		601404.18		0		456701.365		601404.18		1270.015

				456718.139		601307.355		99.525		1268						1270.015		99.525		456718.139		0		456701.365		99.525		601307.355		0		601404.18		0		456701.365		601404.18		1270.015

				456718.208		601307.318		99.604		1268						1270.015		99.604		456718.208		0		456701.365		99.604		601307.318		0		601404.18		0		456701.365		601404.18		1270.015

				456718.277		601307.28		99.683		1268						1270.015		99.683		456718.277		0		456701.365		99.683		601307.28		0		601404.18		0		456701.365		601404.18		1270.015

				456718.347		601307.244		99.761		1267.999						1270.015		99.761		456718.347		0		456701.365		99.761		601307.244		0		601404.18		0		456701.365		601404.18		1270.015

				456718.416		601307.208		99.84		1267.996						1270.015		99.84		456718.416		0		456701.365		99.84		601307.208		0		601404.18		0		456701.365		601404.18		1270.015

				456718.486		601307.172		99.918		1267.992						1270.015		99.918		456718.486		0		456701.365		99.918		601307.172		0		601404.18		0		456701.365		601404.18		1270.015

				456718.557		601307.137		99.997		1267.989						1270.015		99.997		456718.557		0		456701.365		99.997		601307.137		0		601404.18		0		456701.365		601404.18		1270.015

				456718.559		601307.136		100		1267.989						1270.015		100		456718.559		0		456701.365		100		601307.136		0		601404.18		0		456701.365		601404.18		1270.015

				456718.627		601307.102		100.08		1267.986						1270.015		100.08		456718.627		0		456701.365		100.08		601307.102		0		601404.18		0		456701.365		601404.18		1270.015

				456718.698		601307.069		100.15		1267.983						1270.015		100.15		456718.698		0		456701.365		100.15		601307.069		0		601404.18		0		456701.365		601404.18		1270.015

				456718.769		601307.035		100.23		1267.98						1270.015		100.23		456718.769		0		456701.365		100.23		601307.035		0		601404.18		0		456701.365		601404.18		1270.015

				456718.841		601307.002		100.31		1267.978						1270.015		100.31		456718.841		0		456701.365		100.31		601307.002		0		601404.18		0		456701.365		601404.18		1270.015

				456718.913		601306.97		100.39		1267.975						1270.015		100.39		456718.913		0		456701.365		100.39		601306.97		0		601404.18		0		456701.365		601404.18		1270.015

				456718.984		601306.938		100.47		1267.972						1270.015		100.47		456718.984		0		456701.365		100.47		601306.938		0		601404.18		0		456701.365		601404.18		1270.015

				456719.057		601306.907		100.55		1267.969						1270.015		100.55		456719.057		0		456701.365		100.55		601306.907		0		601404.18		0		456701.365		601404.18		1270.015

				456719.129		601306.877		100.63		1267.966						1270.015		100.63		456719.129		0		456701.365		100.63		601306.877		0		601404.18		0		456701.365		601404.18		1270.015

				456719.202		601306.847		100.7		1267.964						1270.015		100.7		456719.202				456701.365		100.7		601306.847		0		601404.18		0		456701.365		601404.18		1270.015

				456719.275		601306.817		100.78		1267.961						1270.015		100.78		456719.275				456701.365		100.78		601306.817		0		601404.18		0		456701.365		601404.18		1270.015

				456719.348		601306.788		100.86		1267.959						1270.015		100.86		456719.348				456701.365		100.86		601306.788		0		601404.18		0		456701.365		601404.18		1270.015

				456719.421		601306.76		100.94		1267.956						1270.015		100.94		456719.421				456701.365		100.94		601306.76		0		601404.18		0		456701.365		601404.18		1270.015

				456719.477		601306.739		101		1267.954						1270.015		101		456719.477				456701.365		101		601306.739		0		601404.18		0		456701.365		601404.18		1270.015

				456719.495		601306.733		101.02		1267.954						1270.015		101.02		456719.495				456701.365		101.02		601306.733		0		601404.18		0		456701.365		601404.18		1270.015

				456719.568		601306.705		101.1		1267.951						1270.015		101.1		456719.568				456701.365		101.1		601306.705		0		601404.18		0		456701.365		601404.18		1270.015

				456719.642		601306.679		101.18		1267.949						1270.015		101.18		456719.642				456701.365		101.18		601306.679		0		601404.18		0		456701.365		601404.18		1270.015

				456719.717		601306.653		101.25		1267.947						1270.015		101.25		456719.717				456701.365		101.25		601306.653		0		601404.18		0		456701.365		601404.18		1270.015

				456719.791		601306.628		101.33		1267.944						1270.015		101.33		456719.791				456701.365		101.33		601306.628		0		601404.18		0		456701.365		601404.18		1270.015

				456719.865		601306.603		101.41		1267.942						1270.015		101.41		456719.865				456701.365		101.41		601306.603		0		601404.18		0		456701.365		601404.18		1270.015

				456719.94		601306.579		101.49		1267.94						1270.015		101.49		456719.94				456701.365		101.49		601306.579		0		601404.18		0		456701.365		601404.18		1270.015

				456720.015		601306.555		101.57		1267.938						1270.015		101.57		456720.015				456701.365		101.57		601306.555		0		601404.18		0		456701.365		601404.18		1270.015

				456720.09		601306.532		101.65		1267.936						1270.015		101.65		456720.09				456701.365		101.65		601306.532		0		601404.18		0		456701.365		601404.18		1270.015

				456720.166		601306.51		101.73		1267.934						1270.015		101.73		456720.166				456701.365		101.73		601306.51		0		601404.18		0		456701.365		601404.18		1270.015

				456720.241		601306.488		101.81		1267.932						1270.015		101.81		456720.241				456701.365		101.81		601306.488		0		601404.18		0		456701.365		601404.18		1270.015

				456720.317		601306.467		101.88		1267.93						1270.015		101.88		456720.317				456701.365		101.88		601306.467		0		601404.18		0		456701.365		601404.18		1270.015

				456720.393		601306.446		101.96		1267.928						1270.015		101.96		456720.393				456701.365		101.96		601306.446		0		601404.18		0		456701.365		601404.18		1270.015

				456720.429		601306.436		102		1267.928						1270.015		102		456720.429				456701.365		102		601306.436		0		601404.18		0		456701.365		601404.18		1270.015

				456720.469		601306.426		102.04		1267.927						1270.015		102.04		456720.469				456701.365		102.04		601306.426		0		601404.18		0		456701.365		601404.18		1270.015

				456720.545		601306.406		102.12		1267.925						1270.015		102.12		456720.545				456701.365		102.12		601306.406		0		601404.18		0		456701.365		601404.18		1270.015

				456720.621		601306.388		102.2		1267.923						1270.015		102.2		456720.621				456701.365		102.2		601306.388		0		601404.18		0		456701.365		601404.18		1270.015

				456720.698		601306.369		102.28		1267.922						1270.015		102.28		456720.698				456701.365		102.28		601306.369		0		601404.18		0		456701.365		601404.18		1270.015

				456720.774		601306.352		102.36		1267.92						1270.015		102.36		456720.774				456701.365		102.36		601306.352		0		601404.18		0		456701.365		601404.18		1270.015

				456720.851		601306.335		102.43		1267.919						1270.015		102.43		456720.851				456701.365		102.43		601306.335		0		601404.18		0		456701.365		601404.18		1270.015

				456720.928		601306.318		102.51		1267.917						1270.015		102.51		456720.928				456701.365		102.51		601306.318		0		601404.18		0		456701.365		601404.18		1270.015

				456721.005		601306.302		102.59		1267.916						1270.015		102.59		456721.005				456701.365		102.59		601306.302		0		601404.18		0		456701.365		601404.18		1270.015

				456721.082		601306.287		102.67		1267.914						1270.015		102.67		456721.082				456701.365		102.67		601306.287		0		601404.18		0		456701.365		601404.18		1270.015

				456721.159		601306.273		102.75		1267.913						1270.015		102.75		456721.159				456701.365		102.75		601306.273		0		601404.18		0		456701.365		601404.18		1270.015

				456721.236		601306.259		102.83		1267.912						1270.015		102.83		456721.236				456701.365		102.83		601306.259		0		601404.18		0		456701.365		601404.18		1270.015

				456721.314		601306.245		102.91		1267.911						1270.015		102.91		456721.314				456701.365		102.91		601306.245		0		601404.18		0		456701.365		601404.18		1270.015

				456721.391		601306.232		102.98		1267.91						1270.015		102.98		456721.391				456701.365		102.98		601306.232		0		601404.18		0		456701.365		601404.18		1270.015

				456721.407		601306.23		103		1267.909						1270.015		103		456721.407				456701.365		103		601306.23		0		601404.18		0		456701.365		601404.18		1270.015

				456721.469		601306.22		103.06		1267.909						1270.015		103.06		456721.469				456701.365		103.06		601306.22		0		601404.18		0		456701.365		601404.18		1270.015

				456721.547		601306.209		103.14		1267.908						1270.015		103.14		456721.547				456701.365		103.14		601306.209		0		601404.18		0		456701.365		601404.18		1270.015

				456721.625		601306.198		103.22		1267.907						1270.015		103.22		456721.625				456701.365		103.22		601306.198		0		601404.18		0		456701.365		601404.18		1270.015

				456721.702		601306.187		103.3		1267.906						1270.015		103.3		456721.702				456701.365		103.3		601306.187		0		601404.18		0		456701.365		601404.18		1270.015

				456721.78		601306.178		103.38		1267.905						1270.015		103.38		456721.78				456701.365		103.38		601306.178		0		601404.18		0		456701.365		601404.18		1270.015

				456721.858		601306.168		103.46		1267.904						1270.015		103.46		456721.858				456701.365		103.46		601306.168		0		601404.18		0		456701.365		601404.18		1270.015

				456721.937		601306.16		103.53		1267.903						1270.015		103.53		456721.937				456701.365		103.53		601306.16		0		601404.18		0		456701.365		601404.18		1270.015

				456722.015		601306.152		103.61		1267.903						1270.015		103.61		456722.015				456701.365		103.61		601306.152		0		601404.18		0		456701.365		601404.18		1270.015

				456722.093		601306.145		103.69		1267.902						1270.015		103.69		456722.093				456701.365		103.69		601306.145		0		601404.18		0		456701.365		601404.18		1270.015

				456722.171		601306.138		103.77		1267.901						1270.015		103.77		456722.171				456701.365		103.77		601306.138		0		601404.18		0		456701.365		601404.18		1270.015

				456722.25		601306.132		103.85		1267.901						1270.015		103.85		456722.25				456701.365		103.85		601306.132		0		601404.18		0		456701.365		601404.18		1270.015

				456722.328		601306.127		103.93		1267.9						1270.015		103.93		456722.328				456701.365		103.93		601306.127		0		601404.18		0		456701.365		601404.18		1270.015

				456722.4		601306.122		104		1267.9						1270.015		104		456722.4				456701.365		104		601306.122		0		601404.18		0		456701.365		601404.18		1270.015

				456722.407		601306.122		104.01		1267.9						1270.015		104.01		456722.407				456701.365		104.01		601306.122		0		601404.18		0		456701.365		601404.18		1270.015

				456722.485		601306.118		104.09		1267.899						1270.015		104.09		456722.485				456701.365		104.09		601306.118		0		601404.18		0		456701.365		601404.18		1270.015

				456722.564		601306.114		104.16		1267.898						1270.015		104.16		456722.564				456701.365		104.16		601306.114		0		601404.18		0		456701.365		601404.18		1270.015

				456722.642		601306.111		104.24		1267.898						1270.015		104.24		456722.642				456701.365		104.24		601306.111		0		601404.18		0		456701.365		601404.18		1270.015

				456722.721		601306.109		104.32		1267.897						1270.015		104.32		456722.721				456701.365		104.32		601306.109		0		601404.18		0		456701.365		601404.18		1270.015

				456722.721		601306.109		104.32		1267.897						1270.015		104.32		456722.721				456701.365		104.32		601306.109		0		601404.18		0		456701.365		601404.18		1270.015

				456723.399		601306.091		105		1267.894						1270.015		105		456723.399				456701.365		105		601306.091		0		601404.18		0		456701.365		601404.18		1270.015

				456724.398		601306.065		106		1267.887						1270.015		106		456724.398				456701.365		106		601306.065		0		601404.18		0		456701.365		601404.18		1270.015

				456725.398		601306.039		107		1267.813						1270.015		107		456725.398				456701.365		107		601306.039		0		601404.18		0		456701.365		601404.18		1270.015

				456726.397		601306.013		108		1267.785						1270.015		108		456726.397				456701.365		108		601306.013		0		601404.18		0		456701.365		601404.18		1270.015

				456727.396		601305.987		109		1267.752						1270.015		109		456727.396				456701.365		109		601305.987		0		601404.18		0		456701.365		601404.18		1270.015

				456728.395		601305.961		110		1267.684						1270.015		110		456728.395				456701.365		110		601305.961		0		601404.18		0		456701.365		601404.18		1270.015

				456729.395		601305.935		111		1267.607						1270.015		111		456729.395				456701.365		111		601305.935		0		601404.18		0		456701.365		601404.18		1270.015

				456730.394		601305.909		112		1267.531						1270.015		112		456730.394				456701.365		112		601305.909		0		601404.18		0		456701.365		601404.18		1270.015

				456731.393		601305.883		113		1267.454						1270.015		113		456731.393				456701.365		113		601305.883		0		601404.18		0		456701.365		601404.18		1270.015

				456732.393		601305.857		114		1267.377						1270.015		114		456732.393				456701.365		114		601305.857		0		601404.18		0		456701.365		601404.18		1270.015

				456733.392		601305.831		115		1267.3						1270.015		115		456733.392				456701.365		115		601305.831		0		601404.18		0		456701.365		601404.18		1270.015

				456734.391		601305.805		116		1267.223						1270.015		116		456734.391				456701.365		116		601305.805		0		601404.18		0		456701.365		601404.18		1270.015

				456735.39		601305.779		117		1267.146						1270.015		117		456735.39				456701.365		117		601305.779		0		601404.18		0		456701.365		601404.18		1270.015

				456736.39		601305.753		118		1267.069						1270.015		118		456736.39				456701.365		118		601305.753		0		601404.18		0		456701.365		601404.18		1270.015

				456737.389		601305.727		119		1266.946						1270.015		119		456737.389				456701.365		119		601305.727		0		601404.18		0		456701.365		601404.18		1270.015

				456738.388		601305.701		120		1266.836						1270.015		120		456738.388				456701.365		120		601305.701		0		601404.18		0		456701.365		601404.18		1270.015

				456739.388		601305.675		121		1266.717						1270.015		121		456739.388				456701.365		121		601305.675		0		601404.18		0		456701.365		601404.18		1270.015

				456740.387		601305.649		122		1266.566						1270.015		122		456740.387				456701.365		122		601305.649		0		601404.18		0		456701.365		601404.18		1270.015

				456741.386		601305.623		123		1266.485						1270.015		123		456741.386				456701.365		123		601305.623		0		601404.18		0		456701.365		601404.18		1270.015

				456742.385		601305.597		124		1266.363						1270.015		124		456742.385				456701.365		124		601305.597		0		601404.18		0		456701.365		601404.18		1270.015

				456743.385		601305.571		125		1266.232						1270.015		125		456743.385				456701.365		125		601305.571		0		601404.18		0		456701.365		601404.18		1270.015

				456744.384		601305.545		126		1266.155						1270.015		126		456744.384				456701.365		126		601305.545		0		601404.18		0		456701.365		601404.18		1270.015

				456745.383		601305.519		127		1266.009						1270.015		127		456745.383				456701.365		127		601305.519		0		601404.18		0		456701.365		601404.18		1270.015

				456746.383		601305.493		128		1265.901						1270.015		128		456746.383				456701.365		128		601305.493		0		601404.18		0		456701.365		601404.18		1270.015

				456747.382		601305.467		129		1265.817						1270.015		129		456747.382				456701.365		129		601305.467		0		601404.18		0		456701.365		601404.18		1270.015

				456748.381		601305.441		130		1265.71						1270.015		130		456748.381				456701.365		130		601305.441		0		601404.18		0		456701.365		601404.18		1270.015

				456749.38		601305.415		131		1265.591						1270.015		131		456749.38				456701.365		131		601305.415		0		601404.18		0		456701.365		601404.18		1270.015

				456750.38		601305.389		132		1265.494						1270.015		132		456750.38				456701.365		132		601305.389		0		601404.18		0		456701.365		601404.18		1270.015

				456751.379		601305.363		133		1265.417						1270.015		133		456751.379				456701.365		133		601305.363		0		601404.18		0		456701.365		601404.18		1270.015

				456752.378		601305.337		134		1265.34						1270.015		134		456752.378				456701.365		134		601305.337		0		601404.18		0		456701.365		601404.18		1270.015

				456753.378		601305.311		135		1265.198						1270.015		135		456753.378				456701.365		135		601305.311		0		601404.18		0		456701.365		601404.18		1270.015

				456754.377		601305.285		136		1265.086						1270.015		136		456754.377				456701.365		136		601305.285		0		601404.18		0		456701.365		601404.18		1270.015

				456755.376		601305.259		137		1265.01						1270.015		137		456755.376				456701.365		137		601305.259		0		601404.18		0		456701.365		601404.18		1270.015

				456756.375		601305.233		138		1264.933						1270.015		138		456756.375				456701.365		138		601305.233		0		601404.18		0		456701.365		601404.18		1270.015

				456757.375		601305.207		139		1264.907						1270.015		139		456757.375				456701.365		139		601305.207		0		601404.18		0		456701.365		601404.18		1270.015

				456758.374		601305.182		140		1264.862						1270.015		140		456758.374				456701.365		140		601305.182		0		601404.18		0		456701.365		601404.18		1270.015

				456759.373		601305.156		141		1264.787						1270.015		141		456759.373				456701.365		141		601305.156		0		601404.18		0		456701.365		601404.18		1270.015

				456760.373		601305.13		142		1264.713						1270.015		142		456760.373				456701.365		142		601305.13		0		601404.18		0		456701.365		601404.18		1270.015

				456761.372		601305.104		143		1264.638						1270.015		143		456761.372				456701.365		143		601305.104		0		601404.18		0		456701.365		601404.18		1270.015

				456762.371		601305.078		144		1264.564						1270.015		144		456762.371				456701.365		144		601305.078		0		601404.18		0		456701.365		601404.18		1270.015

				456763.37		601305.052		145		1264.489						1270.015		145		456763.37				456701.365		145		601305.052		0		601404.18		0		456701.365		601404.18		1270.015

				456764.37		601305.026		146		1264.415						1270.015		146		456764.37				456701.365		146		601305.026		0		601404.18		0		456701.365		601404.18		1270.015

				456765.369		601305		147		1264.34						1270.015		147		456765.369				456701.365		147		601305		0		601404.18		0		456701.365		601404.18		1270.015

				456766.368		601304.974		148		1264.264						1270.015		148		456766.368				456701.365		148		601304.974		0		601404.18		0		456701.365		601404.18		1270.015

				456767.368		601304.948		149		1264.187						1270.015		149		456767.368				456701.365		149		601304.948		0		601404.18		0		456701.365		601404.18		1270.015

				456768.367		601304.922		150		1264.111						1270.015		150		456768.367				456701.365		150		601304.922		0		601404.18		0		456701.365		601404.18		1270.015

				456769.366		601304.896		151		1264.039						1270.015		151		456769.366				456701.365		151		601304.896		0		601404.18		0		456701.365		601404.18		1270.015

				456770.365		601304.87		152		1264						1270.015		152		456770.365				456701.365		152		601304.87		0		601404.18		0		456701.365		601404.18		1270.015

				456771.365		601304.844		153		1264						1270.015		153		456771.365				456701.365		153		601304.844		0		601404.18		0		456701.365		601404.18		1270.015

				456772.364		601304.818		154		1264						1270.015		154		456772.364				456701.365		154		601304.818		0		601404.18		0		456701.365		601404.18		1270.015

				456773.363		601304.792		155		1264						1270.015		155		456773.363				456701.365		155		601304.792		0		601404.18		0		456701.365		601404.18		1270.015

				456774.363		601304.766		156		1264						1270.015		156		456774.363				456701.365		156		601304.766		0		601404.18		0		456701.365		601404.18		1270.015

				456775.362		601304.74		157		1264						1270.015		157		456775.362				456701.365		157		601304.74		0		601404.18		0		456701.365		601404.18		1270.015

				456776.361		601304.714		158		1264						1270.015		158		456776.361				456701.365		158		601304.714		0		601404.18		0		456701.365		601404.18		1270.015

				456777.36		601304.688		159		1264						1270.015		159		456777.36				456701.365		159		601304.688		0		601404.18		0		456701.365		601404.18		1270.015

				456778.36		601304.662		160		1264						1270.015		160		456778.36				456701.365		160		601304.662		0		601404.18		0		456701.365		601404.18		1270.015

				456779.359		601304.636		161		1263.999						1270.015		161		456779.359				456701.365		161		601304.636		0		601404.18		0		456701.365		601404.18		1270.015

				456780.358		601304.61		162		1263.974						1270.015		162		456780.358				456701.365		162		601304.61		0		601404.18		0		456701.365		601404.18		1270.015

				456781.358		601304.584		163		1263.878						1270.015		163		456781.358				456701.365		163		601304.584		0		601404.18		0		456701.365		601404.18		1270.015

				456782.357		601304.558		164		1263.746						1270.015		164		456782.357				456701.365		164		601304.558		0		601404.18		0		456701.365		601404.18		1270.015

				456783.356		601304.532		165		1263.599						1270.015		165		456783.356				456701.365		165		601304.532		0		601404.18		0		456701.365		601404.18		1270.015

				456784.355		601304.506		166		1263.568						1270.015		166		456784.355				456701.365		166		601304.506		0		601404.18		0		456701.365		601404.18		1270.015

				456785.355		601304.48		167		1263.482						1270.015		167		456785.355				456701.365		167		601304.48		0		601404.18		0		456701.365		601404.18		1270.015

				456786.354		601304.454		168		1263.38						1270.015		168		456786.354				456701.365		168		601304.454		0		601404.18		0		456701.365		601404.18		1270.015

				456787.353		601304.428		169		1263.301						1270.015		169		456787.353				456701.365		169		601304.428		0		601404.18		0		456701.365		601404.18		1270.015

				456788.353		601304.402		170		1263.222						1270.015		170		456788.353				456701.365		170		601304.402		0		601404.18		0		456701.365		601404.18		1270.015

				456789.352		601304.376		171		1263.169						1270.015		171		456789.352				456701.365		171		601304.376		0		601404.18		0		456701.365		601404.18		1270.015

				456790.351		601304.35		172		1263.13						1270.015		172		456790.351				456701.365		172		601304.35		0		601404.18		0		456701.365		601404.18		1270.015

				456791.35		601304.324		173		1263.084						1270.015		173		456791.35				456701.365		173		601304.324		0		601404.18		0		456701.365		601404.18		1270.015

				456792.35		601304.298		174		1263.078						1270.015		174		456792.35				456701.365		174		601304.298		0		601404.18		0		456701.365		601404.18		1270.015

				456793.349		601304.272		175		1263.074						1270.015		175		456793.349				456701.365		175		601304.272		0		601404.18		0		456701.365		601404.18		1270.015

				456794.348		601304.246		176		1263.069						1270.015		176		456794.348				456701.365		176		601304.246		0		601404.18		0		456701.365		601404.18		1270.015

				456795.348		601304.22		177		1263.065						1270.015		177		456795.348				456701.365		177		601304.22		0		601404.18		0		456701.365		601404.18		1270.015

				456796.347		601304.194		178		1263.131						1270.015		178		456796.347				456701.365		178		601304.194		0		601404.18		0		456701.365		601404.18		1270.015

				456797.346		601304.168		179		1263.155						1270.015		179		456797.346				456701.365		179		601304.168		0		601404.18		0		456701.365		601404.18		1270.015

				456798.345		601304.142		180		1263.131						1270.015		180		456798.345				456701.365		180		601304.142		0		601404.18		0		456701.365		601404.18		1270.015

				456799.345		601304.116		181		1263.052						1270.015		181		456799.345				456701.365		181		601304.116		0		601404.18		0		456701.365		601404.18		1270.015

				456800.344		601304.09		182		1263.013						1270.015		182		456800.344				456701.365		182		601304.09		0		601404.18		0		456701.365		601404.18		1270.015

				456801.343		601304.064		183		1263						1270.015		183		456801.343				456701.365		183		601304.064		0		601404.18		0		456701.365		601404.18		1270.015

				456802.343		601304.038		184		1263						1270.015		184		456802.343				456701.365		184		601304.038		0		601404.18		0		456701.365		601404.18		1270.015

				456803.342		601304.012		185		1263						1270.015		185		456803.342				456701.365		185		601304.012		0		601404.18		0		456701.365		601404.18		1270.015

				456804.341		601303.986		186		1263						1270.015		186		456804.341				456701.365		186		601303.986		0		601404.18		0		456701.365		601404.18		1270.015

				456805.34		601303.96		187		1262.958						1270.015		187		456805.34				456701.365		187		601303.96		0		601404.18		0		456701.365		601404.18		1270.015

				456806.34		601303.934		188		1262.9						1270.015		188		456806.34				456701.365		188		601303.934		0		601404.18		0		456701.365		601404.18		1270.015

				456807.339		601303.908		189		1262.9						1270.015		189		456807.339				456701.365		189		601303.908		0		601404.18		0		456701.365		601404.18		1270.015

				456808.338		601303.882		190		1262.9						1270.015		190		456808.338				456701.365		190		601303.882		0		601404.18		0		456701.365		601404.18		1270.015

				456809.338		601303.856		191		1262.86						1270.015		191		456809.338				456701.365		191		601303.856		0		601404.18		0		456701.365		601404.18		1270.015

				456810.337		601303.83		192		1262.8						1270.015		192		456810.337				456701.365		192		601303.83		0		601404.18		0		456701.365		601404.18		1270.015

				456811.336		601303.804		193		1262.8						1270.015		193		456811.336				456701.365		193		601303.804		0		601404.18		0		456701.365		601404.18		1270.015

				456812.335		601303.778		194		1262.741						1270.015		194		456812.335				456701.365		194		601303.778		0		601404.18		0		456701.365		601404.18		1270.015

				456813.335		601303.752		195		1262.705						1270.015		195		456813.335				456701.365		195		601303.752		0		601404.18		0		456701.365		601404.18		1270.015

				456814.334		601303.726		196		1262.7						1270.015		196		456814.334				456701.365		196		601303.726		0		601404.18		0		456701.365		601404.18		1270.015

				456815.333		601303.7		197		1262.7						1270.015		197		456815.333				456701.365		197		601303.7		0		601404.18		0		456701.365		601404.18		1270.015

				456816.333		601303.674		198		1262.638						1270.015		198		456816.333				456701.365		198		601303.674		0		601404.18		0		456701.365		601404.18		1270.015

				456817.332		601303.648		199		1262.6						1270.015		199		456817.332				456701.365		199		601303.648		0		601404.18		0		456701.365		601404.18		1270.015

				456818.331		601303.622		200		1262.591						1270.015		200		456818.331				456701.365		200		601303.622		0		601404.18		0		456701.365		601404.18		1270.015

				456819.33		601303.596		201		1262.534						1270.015		201		456819.33				456701.365		201		601303.596		0		601404.18		0		456701.365		601404.18		1270.015

				456820.33		601303.57		202		1262.51						1270.015		202		456820.33				456701.365		202		601303.57		0		601404.18		0		456701.365		601404.18		1270.015

				456821.329		601303.544		203		1262.5						1270.015		203		456821.329				456701.365		203		601303.544		0		601404.18		0		456701.365		601404.18		1270.015

				456822.328		601303.518		204		1262.491						1270.015		204		456822.328				456701.365		204		601303.518		0		601404.18		0		456701.365		601404.18		1270.015

				456823.328		601303.492		205		1262.416						1270.015		205		456823.328				456701.365		205		601303.492		0		601404.18		0		456701.365		601404.18		1270.015

				456824.327		601303.466		206		1262.4						1270.015		206		456824.327				456701.365		206		601303.466		0		601404.18		0		456701.365		601404.18		1270.015

				456825.326		601303.441		207		1262.367						1270.015		207		456825.326				456701.365		207		601303.441		0		601404.18		0		456701.365		601404.18		1270.015

				456826.325		601303.415		208		1262.3						1270.015		208		456826.325				456701.365		208		601303.415		0		601404.18		0		456701.365		601404.18		1270.015

				456827.325		601303.389		209		1262.3						1270.015		209		456827.325				456701.365		209		601303.389		0		601404.18		0		456701.365		601404.18		1270.015

				456828.324		601303.363		210		1262.3						1270.015		210		456828.324				456701.365		210		601303.363		0		601404.18		0		456701.365		601404.18		1270.015

				456829.323		601303.337		211		1262.269						1270.015		211		456829.323				456701.365		211		601303.337		0		601404.18		0		456701.365		601404.18		1270.015

				456830.323		601303.311		212		1262.2						1270.015		212		456830.323				456701.365		212		601303.311		0		601404.18		0		456701.365		601404.18		1270.015

				456831.322		601303.285		213		1262.2						1270.015		213		456831.322				456701.365		213		601303.285		0		601404.18		0		456701.365		601404.18		1270.015

				456832.321		601303.259		214		1262.145						1270.015		214		456832.321				456701.365		214		601303.259		0		601404.18		0		456701.365		601404.18		1270.015

				456833.32		601303.233		215		1262.1						1270.015		215		456833.32				456701.365		215		601303.233		0		601404.18		0		456701.365		601404.18		1270.015

				456834.32		601303.207		216		1262.1						1270.015		216		456834.32				456701.365		216		601303.207		0		601404.18		0		456701.365		601404.18		1270.015

				456835.319		601303.181		217		1262.1						1270.015		217		456835.319				456701.365		217		601303.181		0		601404.18		0		456701.365		601404.18		1270.015

				456836.318		601303.155		218		1262.047						1270.015		218		456836.318				456701.365		218		601303.155		0		601404.18		0		456701.365		601404.18		1270.015

				456837.318		601303.129		219		1262						1270.015		219		456837.318				456701.365		219		601303.129		0		601404.18		0		456701.365		601404.18		1270.015

				456838.317		601303.103		220		1261.998						1270.015		220		456838.317				456701.365		220		601303.103		0		601404.18		0		456701.365		601404.18		1270.015

				456839.316		601303.077		221		1261.923						1270.015		221		456839.316				456701.365		221		601303.077		0		601404.18		0		456701.365		601404.18		1270.015

				456840.315		601303.051		222		1261.9						1270.015		222		456840.315				456701.365		222		601303.051		0		601404.18		0		456701.365		601404.18		1270.015

				456841.315		601303.025		223		1261.874						1270.015		223		456841.315				456701.365		223		601303.025		0		601404.18		0		456701.365		601404.18		1270.015

				456842.314		601302.999		224		1261.8						1270.015		224		456842.314				456701.365		224		601302.999		0		601404.18		0		456701.365		601404.18		1270.015

				456843.313		601302.973		225		1261.725						1270.015		225		456843.313				456701.365		225		601302.973		0		601404.18		0		456701.365		601404.18		1270.015

				456844.313		601302.947		226		1261.7						1270.015		226		456844.313				456701.365		226		601302.947		0		601404.18		0		456701.365		601404.18		1270.015

				456845.312		601302.921		227		1261.676						1270.015		227		456845.312				456701.365		227		601302.921		0		601404.18		0		456701.365		601404.18		1270.015

				456846.311		601302.895		228		1261.602						1270.015		228		456846.311				456701.365		228		601302.895		0		601404.18		0		456701.365		601404.18		1270.015

				456847.31		601302.869		229		1261.6						1270.015		229		456847.31				456701.365		229		601302.869		0		601404.18		0		456701.365		601404.18		1270.015

				456848.31		601302.843		230		1261.552						1270.015		230		456848.31				456701.365		230		601302.843		0		601404.18		0		456701.365		601404.18		1270.015

				456849.309		601302.817		231		1261.48						1270.015		231		456849.309				456701.365		231		601302.817		0		601404.18		0		456701.365		601404.18		1270.015

				456850.308		601302.791		232		1261.41						1270.015		232		456850.308				456701.365		232		601302.791		0		601404.18		0		456701.365		601404.18		1270.015

				456851.308		601302.765		233		1261.401						1270.015		233		456851.308				456701.365		233		601302.765		0		601404.18		0		456701.365		601404.18		1270.015

				456852.307		601302.739		234		1261.354						1270.015		234		456852.307				456701.365		234		601302.739		0		601404.18		0		456701.365		601404.18		1270.015

				456853.306		601302.713		235		1261.3						1270.015		235		456853.306				456701.365		235		601302.713		0		601404.18		0		456701.365		601404.18		1270.015

				456854.305		601302.687		236		1261.3						1270.015		236		456854.305				456701.365		236		601302.687		0		601404.18		0		456701.365		601404.18		1270.015

				456855.305		601302.661		237		1261.231						1270.015		237		456855.305				456701.365		237		601302.661		0		601404.18		0		456701.365		601404.18		1270.015

				456856.304		601302.635		238		1261.156						1270.015		238		456856.304				456701.365		238		601302.635		0		601404.18		0		456701.365		601404.18		1270.015

				456857.303		601302.609		239		1261.1						1270.015		239		456857.303				456701.365		239		601302.609		0		601404.18		0		456701.365		601404.18		1270.015

				456858.303		601302.583		240		1261.1						1270.015		240		456858.303				456701.365		240		601302.583		0		601404.18		0		456701.365		601404.18		1270.015

				456859.302		601302.557		241		1261.032						1270.015		241		456859.302				456701.365		241		601302.557		0		601404.18		0		456701.365		601404.18		1270.015

				456860.301		601302.531		242		1261						1270.015		242		456860.301				456701.365		242		601302.531		0		601404.18		0		456701.365		601404.18		1270.015

				456861.3		601302.505		243		1260.983						1270.015		243		456861.3				456701.365		243		601302.505		0		601404.18		0		456701.365		601404.18		1270.015

				456862.3		601302.479		244		1260.909						1270.015		244		456862.3				456701.365		244		601302.479		0		601404.18		0		456701.365		601404.18		1270.015

				456863.299		601302.453		245		1260.834						1270.015		245		456863.299				456701.365		245		601302.453		0		601404.18		0		456701.365		601404.18		1270.015

				456864.298		601302.427		246		1260.76						1270.015		246		456864.298				456701.365		246		601302.427		0		601404.18		0		456701.365		601404.18		1270.015

				456865.298		601302.401		247		1260.7						1270.015		247		456865.298				456701.365		247		601302.401		0		601404.18		0		456701.365		601404.18		1270.015

				456866.297		601302.375		248		1260.7						1270.015		248		456866.297				456701.365		248		601302.375		0		601404.18		0		456701.365		601404.18		1270.015

				456867.296		601302.349		249		1260.636						1270.015		249		456867.296				456701.365		249		601302.349		0		601404.18		0		456701.365		601404.18		1270.015

				456868.295		601302.323		250		1260.562						1270.015		250		456868.295				456701.365		250		601302.323		0		601404.18		0		456701.365		601404.18		1270.015

				456869.295		601302.297		251		1260.487						1270.015		251		456869.295				456701.365		251		601302.297		0		601404.18		0		456701.365		601404.18		1270.015

				456870.294		601302.271		252		1260.412						1270.015		252		456870.294				456701.365		252		601302.271		0		601404.18		0		456701.365		601404.18		1270.015

				456871.293		601302.245		253		1260.4						1270.015		253		456871.293				456701.365		253		601302.245		0		601404.18		0		456701.365		601404.18		1270.015

				456872.293		601302.219		254		1260.363						1270.015		254		456872.293				456701.365		254		601302.219		0		601404.18		0		456701.365		601404.18		1270.015

				456873.292		601302.193		255		1260.289						1270.015		255		456873.292				456701.365		255		601302.193		0		601404.18		0		456701.365		601404.18		1270.015

				456874.291		601302.167		256		1260.214						1270.015		256		456874.291				456701.365		256		601302.167		0		601404.18		0		456701.365		601404.18		1270.015

				456875.29		601302.141		257		1260.14						1270.015		257		456875.29				456701.365		257		601302.141		0		601404.18		0		456701.365		601404.18		1270.015

				456876.29		601302.115		258		1260.1						1270.015		258		456876.29				456701.365		258		601302.115		0		601404.18		0		456701.365		601404.18		1270.015

				456877.289		601302.089		259		1260.091						1270.015		259		456877.289				456701.365		259		601302.089		0		601404.18		0		456701.365		601404.18		1270.015

				456878.288		601302.063		260		1260.016						1270.015		260		456878.288				456701.365		260		601302.063		0		601404.18		0		456701.365		601404.18		1270.015

				456879.288		601302.037		261		1259.942						1270.015		261		456879.288				456701.365		261		601302.037		0		601404.18		0		456701.365		601404.18		1270.015

				456880.287		601302.011		262		1259.9						1270.015		262		456880.287				456701.365		262		601302.011		0		601404.18		0		456701.365		601404.18		1270.015

				456881.286		601301.985		263		1259.892						1270.015		263		456881.286				456701.365		263		601301.985		0		601404.18		0		456701.365		601404.18		1270.015

				456882.285		601301.959		264		1259.818						1270.015		264		456882.285				456701.365		264		601301.959		0		601404.18		0		456701.365		601404.18		1270.015

				456883.285		601301.933		265		1259.8						1270.015		265		456883.285				456701.365		265		601301.933		0		601404.18		0		456701.365		601404.18		1270.015

				456884.284		601301.907		266		1259.769						1270.015		266		456884.284				456701.365		266		601301.907		0		601404.18		0		456701.365		601404.18		1270.015

				456885.283		601301.881		267		1259.7						1270.015		267		456885.283				456701.365		267		601301.881		0		601404.18		0		456701.365		601404.18		1270.015

				456886.283		601301.855		268		1259.7						1270.015		268		456886.283				456701.365		268		601301.855		0		601404.18		0		456701.365		601404.18		1270.015

				456887.282		601301.829		269		1259.645						1270.015		269		456887.282				456701.365		269		601301.829		0		601404.18		0		456701.365		601404.18		1270.015

				456888.281		601301.803		270		1259.6						1270.015		270		456888.281				456701.365		270		601301.803		0		601404.18		0		456701.365		601404.18		1270.015

				456889.28		601301.777		271		1259.596						1270.015		271		456889.28				456701.365		271		601301.777		0		601404.18		0		456701.365		601404.18		1270.015

				456890.28		601301.751		272		1259.521						1270.015		272		456890.28				456701.365		272		601301.751		0		601404.18		0		456701.365		601404.18		1270.015

				456891.279		601301.725		273		1259.5						1270.015		273		456891.279				456701.365		273		601301.725		0		601404.18		0		456701.365		601404.18		1270.015

				456892.278		601301.7		274		1259.472						1270.015		274		456892.278				456701.365		274		601301.7		0		601404.18		0		456701.365		601404.18		1270.015

				456893.278		601301.674		275		1259.4						1270.015		275		456893.278				456701.365		275		601301.674		0		601404.18		0		456701.365		601404.18		1270.015

				456894.277		601301.648		276		1259.4						1270.015		276		456894.277				456701.365		276		601301.648		0		601404.18		0		456701.365		601404.18		1270.015

				456895.276		601301.622		277		1259.349						1270.015		277		456895.276				456701.365		277		601301.622		0		601404.18		0		456701.365		601404.18		1270.015

				456896.275		601301.596		278		1259.274						1270.015		278		456896.275				456701.365		278		601301.596		0		601404.18		0		456701.365		601404.18		1270.015

				456897.275		601301.57		279		1259.2						1270.015		279		456897.275				456701.365		279		601301.57		0		601404.18		0		456701.365		601404.18		1270.015

				456898.274		601301.544		280		1259.2						1270.015		280		456898.274				456701.365		280		601301.544		0		601404.18		0		456701.365		601404.18		1270.015

				456899.273		601301.518		281		1259.15						1270.015		281		456899.273				456701.365		281		601301.518		0		601404.18		0		456701.365		601404.18		1270.015

				456900.273		601301.492		282		1259.1						1270.015		282		456900.273				456701.365		282		601301.492		0		601404.18		0		456701.365		601404.18		1270.015

				456901.272		601301.466		283		1259.1						1270.015		283		456901.272				456701.365		283		601301.466		0		601404.18		0		456701.365		601404.18		1270.015

				456902.271		601301.44		284		1259.027						1270.015		284		456902.271				456701.365		284		601301.44		0		601404.18		0		456701.365		601404.18		1270.015

				456903.27		601301.414		285		1259						1270.015		285		456903.27				456701.365		285		601301.414		0		601404.18		0		456701.365		601404.18		1270.015

				456904.27		601301.388		286		1258.978						1270.015		286		456904.27				456701.365		286		601301.388		0		601404.18		0		456701.365		601404.18		1270.015

				456905.269		601301.362		287		1258.903						1270.015		287		456905.269				456701.365		287		601301.362		0		601404.18		0		456701.365		601404.18		1270.015

				456906.268		601301.336		288		1258.9						1270.015		288		456906.268				456701.365		288		601301.336		0		601404.18		0		456701.365		601404.18		1270.015

				456907.268		601301.31		289		1258.854						1270.015		289		456907.268				456701.365		289		601301.31		0		601404.18		0		456701.365		601404.18		1270.015

				456908.267		601301.284		290		1258.8						1270.015		290		456908.267				456701.365		290		601301.284		0		601404.18		0		456701.365		601404.18		1270.015

				456909.266		601301.258		291		1258.8						1270.015		291		456909.266				456701.365		291		601301.258		0		601404.18		0		456701.365		601404.18		1270.015

				456910.265		601301.232		292		1258.73						1270.015		292		456910.265				456701.365		292		601301.232		0		601404.18		0		456701.365		601404.18		1270.015

				456911.265		601301.206		293		1258.656						1270.015		293		456911.265				456701.365		293		601301.206		0		601404.18		0		456701.365		601404.18		1270.015

				456912.264		601301.18		294		1258.6						1270.015		294		456912.264				456701.365		294		601301.18		0		601404.18		0		456701.365		601404.18		1270.015

				456913.263		601301.154		295		1258.6						1270.015		295		456913.263				456701.365		295		601301.154		0		601404.18		0		456701.365		601404.18		1270.015

				456914.263		601301.128		296		1258.532						1270.015		296		456914.263				456701.365		296		601301.128		0		601404.18		0		456701.365		601404.18		1270.015

				456915.262		601301.102		297		1258.5						1270.015		297		456915.262				456701.365		297		601301.102		0		601404.18		0		456701.365		601404.18		1270.015

				456916.261		601301.076		298		1258.483						1270.015		298		456916.261				456701.365		298		601301.076		0		601404.18		0		456701.365		601404.18		1270.015

				456917.26		601301.05		299		1258.409						1270.015		299		456917.26				456701.365		299		601301.05		0		601404.18		0		456701.365		601404.18		1270.015

				456918.26		601301.024		300		1258.4						1270.015		300		456918.26				456701.365		300		601301.024		0		601404.18		0		456701.365		601404.18		1270.015

				456919.259		601300.998		301		1258.359						1270.015		301		456919.259				456701.365		301		601300.998		0		601404.18		0		456701.365		601404.18		1270.015

				456920.258		601300.972		302		1258.3						1270.015		302		456920.258				456701.365		302		601300.972		0		601404.18		0		456701.365		601404.18		1270.015

				456921.258		601300.946		303		1258.3						1270.015		303		456921.258				456701.365		303		601300.946		0		601404.18		0		456701.365		601404.18		1270.015

				456922.257		601300.92		304		1258.236						1270.015		304		456922.257				456701.365		304		601300.92		0		601404.18		0		456701.365		601404.18		1270.015

				456923.256		601300.894		305		1258.2						1270.015		305		456923.256				456701.365		305		601300.894		0		601404.18		0		456701.365		601404.18		1270.015

				456924.255		601300.868		306		1258.187						1270.015		306		456924.255				456701.365		306		601300.868		0		601404.18		0		456701.365		601404.18		1270.015

				456925.255		601300.842		307		1258.112						1270.015		307		456925.255				456701.365		307		601300.842		0		601404.18		0		456701.365		601404.18		1270.015

				456926.254		601300.816		308		1258.058						1270.015		308		456926.254				456701.365		308		601300.816		0		601404.18		0		456701.365		601404.18		1270.015

				456927.253		601300.79		309		1258.019						1270.015		309		456927.253				456701.365		309		601300.79		0		601404.18		0		456701.365		601404.18		1270.015

				456928.253		601300.764		310		1257.992						1270.015		310		456928.253				456701.365		310		601300.764		0		601404.18		0		456701.365		601404.18		1270.015

				456929.252		601300.738		311		1257.936						1270.015		311		456929.252				456701.365		311		601300.738		0		601404.18		0		456701.365		601404.18		1270.015

				456930.251		601300.712		312		1257.909						1270.015		312		456930.251				456701.365		312		601300.712		0		601404.18		0		456701.365		601404.18		1270.015

				456931.25		601300.686		313		1257.9						1270.015		313		456931.25				456701.365		313		601300.686		0		601404.18		0		456701.365		601404.18		1270.015

				456932.25		601300.66		314		1257.89						1270.015		314		456932.25				456701.365		314		601300.66		0		601404.18		0		456701.365		601404.18		1270.015

				456933.249		601300.634		315		1257.816						1270.015		315		456933.249				456701.365		315		601300.634		0		601404.18		0		456701.365		601404.18		1270.015

				456934.248		601300.608		316		1257.8						1270.015		316		456934.248				456701.365		316		601300.608		0		601404.18		0		456701.365		601404.18		1270.015

				456935.247		601300.582		317		1257.767						1270.015		317		456935.247				456701.365		317		601300.582		0		601404.18		0		456701.365		601404.18		1270.015

				456936.247		601300.556		318		1257.7						1270.015		318		456936.247				456701.365		318		601300.556		0		601404.18		0		456701.365		601404.18		1270.015

				456937.246		601300.53		319		1257.7						1270.015		319		456937.246				456701.365		319		601300.53		0		601404.18		0		456701.365		601404.18		1270.015

				456938.245		601300.504		320		1257.643						1270.015		320		456938.245				456701.365		320		601300.504		0		601404.18		0		456701.365		601404.18		1270.015

				456939.245		601300.478		321		1257.6						1270.015		321		456939.245				456701.365		321		601300.478		0		601404.18		0		456701.365		601404.18		1270.015

				456940.244		601300.452		322		1257.594						1270.015		322		456940.244				456701.365		322		601300.452		0		601404.18		0		456701.365		601404.18		1270.015

				456941.243		601300.426		323		1257.519						1270.015		323		456941.243				456701.365		323		601300.426		0		601404.18		0		456701.365		601404.18		1270.015

				456942.242		601300.4		324		1257.5						1270.015		324		456942.242				456701.365		324		601300.4		0		601404.18		0		456701.365		601404.18		1270.015

				456943.242		601300.374		325		1257.47						1270.015		325		456943.242				456701.365		325		601300.374		0		601404.18		0		456701.365		601404.18		1270.015

				456944.241		601300.348		326		1257.4						1270.015		326		456944.241				456701.365		326		601300.348		0		601404.18		0		456701.365		601404.18		1270.015

				456945.24		601300.322		327		1257.4						1270.015		327		456945.24				456701.365		327		601300.322		0		601404.18		0		456701.365		601404.18		1270.015

				456946.24		601300.296		328		1257.347						1270.015		328		456946.24				456701.365		328		601300.296		0		601404.18		0		456701.365		601404.18		1270.015

				456947.239		601300.27		329		1257.3						1270.015		329		456947.239				456701.365		329		601300.27		0		601404.18		0		456701.365		601404.18		1270.015

				456948.238		601300.244		330		1257.298						1270.015		330		456948.238				456701.365		330		601300.244		0		601404.18		0		456701.365		601404.18		1270.015

				456949.237		601300.218		331		1257.223						1270.015		331		456949.237				456701.365		331		601300.218		0		601404.18		0		456701.365		601404.18		1270.015

				456950.237		601300.192		332		1257.2						1270.015		332		456950.237				456701.365		332		601300.192		0		601404.18		0		456701.365		601404.18		1270.015

				456951.236		601300.166		333		1257.174						1270.015		333		456951.236				456701.365		333		601300.166		0		601404.18		0		456701.365		601404.18		1270.015

				456952.235		601300.14		334		1257.1						1270.015		334		456952.235				456701.365		334		601300.14		0		601404.18		0		456701.365		601404.18		1270.015

				456953.235		601300.114		335		1257.1						1270.015		335		456953.235				456701.365		335		601300.114		0		601404.18		0		456701.365		601404.18		1270.015

				456954.234		601300.088		336		1257.05						1270.015		336		456954.234				456701.365		336		601300.088		0		601404.18		0		456701.365		601404.18		1270.015

				456955.233		601300.062		337		1257						1270.015		337		456955.233				456701.365		337		601300.062		0		601404.18		0		456701.365		601404.18		1270.015

				456956.232		601300.036		338		1257						1270.015		338		456956.232				456701.365		338		601300.036		0		601404.18		0		456701.365		601404.18		1270.015

				456957.232		601300.01		339		1256.927						1270.015		339		456957.232				456701.365		339		601300.01		0		601404.18		0		456701.365		601404.18		1270.015

				456958.231		601299.984		340		1256.9						1270.015		340		456958.231				456701.365		340		601299.984		0		601404.18		0		456701.365		601404.18		1270.015

				456959.23		601299.959		341		1256.877						1270.015		341		456959.23				456701.365		341		601299.959		0		601404.18		0		456701.365		601404.18		1270.015

				456960.23		601299.933		342		1256.803						1270.015		342		456960.23				456701.365		342		601299.933		0		601404.18		0		456701.365		601404.18		1270.015

				456961.229		601299.907		343		1256.8						1270.015		343		456961.229				456701.365		343		601299.907		0		601404.18		0		456701.365		601404.18		1270.015

				456962.228		601299.881		344		1256.754						1270.015		344		456962.228				456701.365		344		601299.881		0		601404.18		0		456701.365		601404.18		1270.015

				456963.227		601299.855		345		1256.679						1270.015		345		456963.227				456701.365		345		601299.855		0		601404.18		0		456701.365		601404.18		1270.015

				456964.227		601299.829		346		1256.605						1270.015		346		456964.227				456701.365		346		601299.829		0		601404.18		0		456701.365		601404.18		1270.015

				456965.226		601299.803		347		1256.6						1270.015		347		456965.226				456701.365		347		601299.803		0		601404.18		0		456701.365		601404.18		1270.015

				456966.225		601299.777		348		1256.556						1270.015		348		456966.225				456701.365		348		601299.777		0		601404.18		0		456701.365		601404.18		1270.015

				456967.225		601299.751		349		1256.5						1270.015		349		456967.225				456701.365		349		601299.751		0		601404.18		0		456701.365		601404.18		1270.015

				456968.224		601299.725		350		1256.5						1270.015		350		456968.224				456701.365		350		601299.725		0		601404.18		0		456701.365		601404.18		1270.015

				456969.223		601299.699		351		1256.432						1270.015		351		456969.223				456701.365		351		601299.699		0		601404.18		0		456701.365		601404.18		1270.015

				456970.222		601299.673		352		1256.4						1270.015		352		456970.222				456701.365		352		601299.673		0		601404.18		0		456701.365		601404.18		1270.015

				456971.222		601299.647		353		1256.383						1270.015		353		456971.222				456701.365		353		601299.647		0		601404.18		0		456701.365		601404.18		1270.015

				456972.221		601299.621		354		1256.308						1270.015		354		456972.221				456701.365		354		601299.621		0		601404.18		0		456701.365		601404.18		1270.015

				456973.22		601299.595		355		1256.25						1270.015		355		456973.22				456701.365		355		601299.595		0		601404.18		0		456701.365		601404.18		1270.015

				456974.22		601299.569		356		1256.213						1270.015		356		456974.22				456701.365		356		601299.569		0		601404.18		0		456701.365		601404.18		1270.015

				456975.219		601299.543		357		1256.185						1270.015		357		456975.219				456701.365		357		601299.543		0		601404.18		0		456701.365		601404.18		1270.015

				456976.218		601299.517		358		1256.11						1270.015		358		456976.218				456701.365		358		601299.517		0		601404.18		0		456701.365		601404.18		1270.015

				456977.217		601299.491		359		1256.1						1270.015		359		456977.217				456701.365		359		601299.491		0		601404.18		0		456701.365		601404.18		1270.015

				456978.217		601299.465		360		1256.061						1270.015		360		456978.217				456701.365		360		601299.465		0		601404.18		0		456701.365		601404.18		1270.015

				456979.216		601299.439		361		1256						1270.015		361		456979.216				456701.365		361		601299.439		0		601404.18		0		456701.365		601404.18		1270.015

				456980.215		601299.413		362		1256						1270.015		362		456980.215				456701.365		362		601299.413		0		601404.18		0		456701.365		601404.18		1270.015

				456981.215		601299.387		363		1255.937						1270.015		363		456981.215				456701.365		363		601299.387		0		601404.18		0		456701.365		601404.18		1270.015

				456982.214		601299.361		364		1255.9						1270.015		364		456982.214				456701.365		364		601299.361		0		601404.18		0		456701.365		601404.18		1270.015

				456983.213		601299.335		365		1255.889						1270.015		365		456983.213				456701.365		365		601299.335		0		601404.18		0		456701.365		601404.18		1270.015

				456984.212		601299.309		366		1255.814						1270.015		366		456984.212				456701.365		366		601299.309		0		601404.18		0		456701.365		601404.18		1270.015

				456985.212		601299.283		367		1255.8						1270.015		367		456985.212				456701.365		367		601299.283		0		601404.18		0		456701.365		601404.18		1270.015

				456986.211		601299.257		368		1255.8						1270.015		368		456986.211				456701.365		368		601299.257		0		601404.18		0		456701.365		601404.18		1270.015

				456987.21		601299.231		369		1255.79						1270.015		369		456987.21				456701.365		369		601299.231		0		601404.18		0		456701.365		601404.18		1270.015

				456988.21		601299.205		370		1255.715						1270.015		370		456988.21				456701.365		370		601299.205		0		601404.18		0		456701.365		601404.18		1270.015

				456989.209		601299.179		371		1255.7						1270.015		371		456989.209				456701.365		371		601299.179		0		601404.18		0		456701.365		601404.18		1270.015

				456990.208		601299.153		372		1255.695						1270.015		372		456990.208				456701.365		372		601299.153		0		601404.18		0		456701.365		601404.18		1270.015

				456991.207		601299.127		373		1255.677						1270.015		373		456991.207				456701.365		373		601299.127		0		601404.18		0		456701.365		601404.18		1270.015

				456992.207		601299.101		374		1255.614						1270.015		374		456992.207				456701.365		374		601299.101		0		601404.18		0		456701.365		601404.18		1270.015

				456993.206		601299.075		375		1255.6						1270.015		375		456993.206				456701.365		375		601299.075		0		601404.18		0		456701.365		601404.18		1270.015

				456994.205		601299.049		376		1255.593						1270.015		376		456994.205				456701.365		376		601299.049		0		601404.18		0		456701.365		601404.18		1270.015

				456995.205		601299.023		377		1255.57						1270.015		377		456995.205				456701.365		377		601299.023		0		601404.18		0		456701.365		601404.18		1270.015

				456996.204		601298.997		378		1255.514						1270.015		378		456996.204				456701.365		378		601298.997		0		601404.18		0		456701.365		601404.18		1270.015

				456997.203		601298.971		379		1255.5						1270.015		379		456997.203				456701.365		379		601298.971		0		601404.18		0		456701.365		601404.18		1270.015

				456998.202		601298.945		380		1255.5						1270.015		380		456998.202				456701.365		380		601298.945		0		601404.18		0		456701.365		601404.18		1270.015

				456999.202		601298.919		381		1255.498						1270.015		381		456999.202				456701.365		381		601298.919		0		601404.18		0		456701.365		601404.18		1270.015

				457000.201		601298.893		382		1255.471						1270.015		382		457000.201				456701.365		382		601298.893		0		601404.18		0		456701.365		601404.18		1270.015

				457001.2		601298.867		383		1255.428						1270.015		383		457001.2				456701.365		383		601298.867		0		601404.18		0		456701.365		601404.18		1270.015

				457002.2		601298.841		384		1255.4						1270.015		384		457002.2				456701.365		384		601298.841		0		601404.18		0		456701.365		601404.18		1270.015

				457003.199		601298.815		385		1255.4						1270.015		385		457003.199				456701.365		385		601298.815		0		601404.18		0		456701.365		601404.18		1270.015

				457004.198		601298.789		386		1255.4						1270.015		386		457004.198				456701.365		386		601298.789		0		601404.18		0		456701.365		601404.18		1270.015

				457005.197		601298.763		387		1255.375						1270.015		387		457005.197				456701.365		387		601298.763		0		601404.18		0		456701.365		601404.18		1270.015

				457006.197		601298.737		388		1255.336						1270.015		388		457006.197				456701.365		388		601298.737		0		601404.18		0		456701.365		601404.18		1270.015

				457007.196		601298.711		389		1255.3						1270.015		389		457007.196				456701.365		389		601298.711		0		601404.18		0		456701.365		601404.18		1270.015

				457008.195		601298.685		390		1255.3						1270.015		390		457008.195				456701.365		390		601298.685		0		601404.18		0		456701.365		601404.18		1270.015

				457009.195		601298.659		391		1255.3						1270.015		391		457009.195				456701.365		391		601298.659		0		601404.18		0		456701.365		601404.18		1270.015

				457010.194		601298.633		392		1255.3						1270.015		392		457010.194				456701.365		392		601298.633		0		601404.18		0		456701.365		601404.18		1270.015

				457011.193		601298.607		393		1255.3						1270.015		393		457011.193				456701.365		393		601298.607		0		601404.18		0		456701.365		601404.18		1270.015

				457012.192		601298.581		394		1255.3						1270.015		394		457012.192				456701.365		394		601298.581		0		601404.18		0		456701.365		601404.18		1270.015

				457013.192		601298.555		395		1255.268						1270.015		395		457013.192				456701.365		395		601298.555		0		601404.18		0		456701.365		601404.18		1270.015

				457014.191		601298.529		396		1255.224						1270.015		396		457014.191				456701.365		396		601298.529		0		601404.18		0		456701.365		601404.18		1270.015

				457015.19		601298.503		397		1255.201						1270.015		397		457015.19				456701.365		397		601298.503		0		601404.18		0		456701.365		601404.18		1270.015

				457016.19		601298.477		398		1255.2						1270.015		398		457016.19				456701.365		398		601298.477		0		601404.18		0		456701.365		601404.18		1270.015

				457017.189		601298.451		399		1255.2						1270.015		399		457017.189				456701.365		399		601298.451		0		601404.18		0		456701.365		601404.18		1270.015

				457018.188		601298.425		400		1255.183						1270.015		400		457018.188				456701.365		400		601298.425		0		601404.18		0		456701.365		601404.18		1270.015

				457019.187		601298.399		401		1255.123						1270.015		401		457019.187				456701.365		401		601298.399		0		601404.18		0		456701.365		601404.18		1270.015

				457020.187		601298.373		402		1255.105						1270.015		402		457020.187				456701.365		402		601298.373		0		601404.18		0		456701.365		601404.18		1270.015

				457021.186		601298.347		403		1255.1						1270.015		403		457021.186				456701.365		403		601298.347		0		601404.18		0		456701.365		601404.18		1270.015

				457022.185		601298.321		404		1255.1						1270.015		404		457022.185				456701.365		404		601298.321		0		601404.18		0		456701.365		601404.18		1270.015

				457023.185		601298.295		405		1255.1						1270.015		405		457023.185				456701.365		405		601298.295		0		601404.18		0		456701.365		601404.18		1270.015

				457024.184		601298.269		406		1255.032						1270.015		406		457024.184				456701.365		406		601298.269		0		601404.18		0		456701.365		601404.18		1270.015

				457025.183		601298.243		407		1255						1270.015		407		457025.183				456701.365		407		601298.243		0		601404.18		0		456701.365		601404.18		1270.015

				457026.182		601298.218		408		1255						1270.015		408		457026.182				456701.365		408		601298.218		0		601404.18		0		456701.365		601404.18		1270.015

				457027.182		601298.192		409		1255						1270.015		409		457027.182				456701.365		409		601298.192		0		601404.18		0		456701.365		601404.18		1270.015

				457028.181		601298.166		410		1255						1270.015		410		457028.181				456701.365		410		601298.166		0		601404.18		0		456701.365		601404.18		1270.015

				457029.18		601298.14		411		1255						1270.015		411		457029.18				456701.365		411		601298.14		0		601404.18		0		456701.365		601404.18		1270.015

				457030.18		601298.114		412		1255						1270.015		412		457030.18				456701.365		412		601298.114		0		601404.18		0		456701.365		601404.18		1270.015

				457031.179		601298.088		413		1255						1270.015		413		457031.179				456701.365		413		601298.088		0		601404.18		0		456701.365		601404.18		1270.015

				457032.178		601298.062		414		1255						1270.015		414		457032.178				456701.365		414		601298.062		0		601404.18		0		456701.365		601404.18		1270.015

				457033.177		601298.036		415		1255						1270.015		415		457033.177				456701.365		415		601298.036		0		601404.18		0		456701.365		601404.18		1270.015

				457034.177		601298.01		416		1255						1270.015		416		457034.177				456701.365		416		601298.01		0		601404.18		0		456701.365		601404.18		1270.015

				457035.176		601297.984		417		1255						1270.015		417		457035.176				456701.365		417		601297.984		0		601404.18		0		456701.365		601404.18		1270.015

				457036.175		601297.958		418		1255						1270.015		418		457036.175				456701.365		418		601297.958		0		601404.18		0		456701.365		601404.18		1270.015

				457037.175		601297.932		419		1255						1270.015		419		457037.175				456701.365		419		601297.932		0		601404.18		0		456701.365		601404.18		1270.015

				457038.174		601297.906		420		1255						1270.015		420		457038.174				456701.365		420		601297.906		0		601404.18		0		456701.365		601404.18		1270.015

				457039.173		601297.88		421		1255						1270.015		421		457039.173				456701.365		421		601297.88		0		601404.18		0		456701.365		601404.18		1270.015

				457040.172		601297.854		422		1255						1270.015		422		457040.172				456701.365		422		601297.854		0		601404.18		0		456701.365		601404.18		1270.015

				457041.172		601297.828		423		1255						1270.015		423		457041.172				456701.365		423		601297.828		0		601404.18		0		456701.365		601404.18		1270.015

				457042.171		601297.802		424		1255						1270.015		424		457042.171				456701.365		424		601297.802		0		601404.18		0		456701.365		601404.18		1270.015

				457043.17		601297.776		425		1255						1270.015		425		457043.17				456701.365		425		601297.776		0		601404.18		0		456701.365		601404.18		1270.015

				457044.17		601297.75		426		1255						1270.015		426		457044.17				456701.365		426		601297.75		0		601404.18		0		456701.365		601404.18		1270.015

				457045.169		601297.724		427		1255								427		457045.169				456701.365		427		601297.724		0		601404.18		0		456701.365		601404.18		0

				457046.168		601297.698		428		1255								428		457046.168				456701.365		428		601297.698		0		601404.18		0		456701.365		601404.18		0

				457047.167		601297.672		429		1255								429		457047.167				456701.365		429		601297.672		0		601404.18		0		456701.365		601404.18		0

				457048.167		601297.646		430		1255								430		457048.167				456701.365		430		601297.646		0		601404.18		0		456701.365		601404.18		0

				457049.166		601297.62		431		1254.984								431		457049.166				456701.365		431		601297.62		0		601404.18		0		456701.365		601404.18		0

				457050.165		601297.594		432		1254.945								432		457050.165				456701.365		432		601297.594		0		601404.18		0		456701.365		601404.18		0

				457051.165		601297.568		433		1254.909								433		457051.165				456701.365		433		601297.568		0		601404.18		0		456701.365		601404.18		0

				457052.164		601297.542		434		1254.9								434		457052.164				456701.365		434		601297.542		0		601404.18		0		456701.365		601404.18		0

				457053.163		601297.516		435		1254.882								435		457053.163				456701.365		435		601297.516		0		601404.18		0		456701.365		601404.18		0

				457054.162		601297.49		436		1254.837								436		457054.162				456701.365		436		601297.49		0		601404.18		0		456701.365		601404.18		0

				457055.162		601297.464		437		1254.808								437		457055.162				456701.365		437		601297.464		0		601404.18		0		456701.365		601404.18		0

				457056.161		601297.438		438		1254.8								438		457056.161				456701.365		438		601297.438		0		601404.18		0		456701.365		601404.18		0

				457057.16		601297.412		439		1254.781								439		457057.16				456701.365		439		601297.412		0		601404.18		0		456701.365		601404.18		0

				457058.16		601297.386		440		1254.729								440		457058.16				456701.365		440		601297.386		0		601404.18		0		456701.365		601404.18		0

				457059.159		601297.36		441		1254.706								441		457059.159				456701.365		441		601297.36		0		601404.18		0		456701.365		601404.18		0

				457060.158		601297.334		442		1254.7								442		457060.158				456701.365		442		601297.334		0		601404.18		0		456701.365		601404.18		0

				457061.157		601297.308		443		1254.673								443		457061.157				456701.365		443		601297.308		0		601404.18		0		456701.365		601404.18		0

				457062.157		601297.282		444		1254.6								444		457062.157				456701.365		444		601297.282		0		601404.18		0		456701.365		601404.18		0

				457063.156		601297.256		445		1254.6								445		457063.156				456701.365		445		601297.256		0		601404.18		0		456701.365		601404.18		0

				457064.155		601297.23		446		1254.6								446		457064.155				456701.365		446		601297.23		0		601404.18		0		456701.365		601404.18		0

				457065.155		601297.204		447		1254.575								447		457065.155				456701.365		447		601297.204		0		601404.18		0		456701.365		601404.18		0

				457066.154		601297.178		448		1254.501								448		457066.154				456701.365		448		601297.178		0		601404.18		0		456701.365		601404.18		0

				457067.153		601297.152		449		1254.5								449		457067.153				456701.365		449		601297.152		0		601404.18		0		456701.365		601404.18		0

				457068.152		601297.126		450		1254.455								450		457068.152				456701.365		450		601297.126		0		601404.18		0		456701.365		601404.18		0

				457069.152		601297.1		451		1254.404								451		457069.152				456701.365		451		601297.1		0		601404.18		0		456701.365		601404.18		0

				457070.151		601297.074		452		1254.4								452		457070.151				456701.365		452		601297.074		0		601404.18		0		456701.365		601404.18		0

				457071.15		601297.048		453		1254.4								453		457071.15				456701.365		453		601297.048		0		601404.18		0		456701.365		601404.18		0

				457072.15		601297.022		454		1254.353								454		457072.15				456701.365		454		601297.022		0		601404.18		0		456701.365		601404.18		0

				457073.149		601296.996		455		1254.3								455		457073.149				456701.365		455		601296.996		0		601404.18		0		456701.365		601404.18		0

				457074.148		601296.97		456		1254.3								456		457074.148				456701.365		456		601296.97		0		601404.18		0		456701.365		601404.18		0

				457075.147		601296.944		457		1254.23								457		457075.147				456701.365		457		601296.944		0		601404.18		0		456701.365		601404.18		0

				457076.147		601296.918		458		1254.2								458		457076.147				456701.365		458		601296.918		0		601404.18		0		456701.365		601404.18		0

				457077.146		601296.892		459		1254.2								459		457077.146				456701.365		459		601296.892		0		601404.18		0		456701.365		601404.18		0

				457078.145		601296.866		460		1254.2								460		457078.145				456701.365		460		601296.866		0		601404.18		0		456701.365		601404.18		0

				457079.145		601296.84		461		1254.131								461		457079.145				456701.365		461		601296.84		0		601404.18		0		456701.365		601404.18		0

				457080.144		601296.814		462		1254.1								462		457080.144				456701.365		462		601296.814		0		601404.18		0		456701.365		601404.18		0

				457081.143		601296.788		463		1254.096								463		457081.143				456701.365		463		601296.788		0		601404.18		0		456701.365		601404.18		0

				457082.142		601296.762		464		1254.077								464		457082.142				456701.365		464		601296.762		0		601404.18		0		456701.365		601404.18		0

				457083.142		601296.736		465		1254.024								465		457083.142				456701.365		465		601296.736		0		601404.18		0		456701.365		601404.18		0

				457084.141		601296.71		466		1254								466		457084.141				456701.365		466		601296.71		0		601404.18		0		456701.365		601404.18		0

				457085.14		601296.684		467		1253.984								467		457085.14				456701.365		467		601296.684		0		601404.18		0		456701.365		601404.18		0

				457086.14		601296.658		468		1253.91								468		457086.14				456701.365		468		601296.658		0		601404.18		0		456701.365		601404.18		0

				457087.139		601296.632		469		1253.9								469		457087.139				456701.365		469		601296.632		0		601404.18		0		456701.365		601404.18		0

				457088.138		601296.606		470		1253.885								470		457088.138				456701.365		470		601296.606		0		601404.18		0		456701.365		601404.18		0

				457089.137		601296.58		471		1253.851								471		457089.137				456701.365		471		601296.58		0		601404.18		0		456701.365		601404.18		0

				457090.137		601296.554		472		1253.807								472		457090.137				456701.365		472		601296.554		0		601404.18		0		456701.365		601404.18		0

				457091.136		601296.528		473		1253.8								473		457091.136				456701.365		473		601296.528		0		601404.18		0		456701.365		601404.18		0

				457092.135		601296.502		474		1253.782								474		457092.135				456701.365		474		601296.502		0		601404.18		0		456701.365		601404.18		0

				457093.135		601296.477		475		1253.744								475		457093.135				456701.365		475		601296.477		0		601404.18		0		456701.365		601404.18		0

				457094.134		601296.451		476		1253.706								476		457094.134				456701.365		476		601296.451		0		601404.18		0		456701.365		601404.18		0

				457095.133		601296.425		477		1253.7								477		457095.133				456701.365		477		601296.425		0		601404.18		0		456701.365		601404.18		0

				457096.132		601296.399		478		1253.679								478		457096.132				456701.365		478		601296.399		0		601404.18		0		456701.365		601404.18		0

				457097.132		601296.373		479		1253.636								479		457097.132				456701.365		479		601296.373		0		601404.18		0		456701.365		601404.18		0

				457098.131		601296.347		480		1253.606								480		457098.131				456701.365		480		601296.347		0		601404.18		0		456701.365		601404.18		0

				457099.13		601296.321		481		1253.6								481		457099.13				456701.365		481		601296.321		0		601404.18		0		456701.365		601404.18		0

				457100.13		601296.295		482		1253.577								482		457100.13				456701.365		482		601296.295		0		601404.18		0		456701.365		601404.18		0

				457101.129		601296.269		483		1253.529								483		457101.129				456701.365		483		601296.269		0		601404.18		0		456701.365		601404.18		0

				457102.128		601296.243		484		1253.505								484		457102.128				456701.365		484		601296.243		0		601404.18		0		456701.365		601404.18		0

				457103.127		601296.217		485		1253.5								485		457103.127				456701.365		485		601296.217		0		601404.18		0		456701.365		601404.18		0

				457104.127		601296.191		486		1253.476								486		457104.127				456701.365		486		601296.191		0		601404.18		0		456701.365		601404.18		0

				457105.126		601296.165		487		1253.421								487		457105.126						487		601296.165		0		601404.18		0		0		601404.18		0

				457106.125		601296.139		488		1253.404								488		457106.125						488		601296.139		0		601404.18		0		0		601404.18		0

				457107.125		601296.113		489		1253.4								489		457107.125						489		601296.113		0		601404.18		0		0		601404.18		0

				457108.124		601296.087		490		1253.4								490		457108.124						490		601296.087		0		601404.18		0		0		601404.18		0

				457109.123		601296.061		491		1253.395								491		457109.123						491		601296.061		0		601404.18		0		0		601404.18		0

				457110.122		601296.035		492		1253.32								492		457110.122						492		601296.035		0		601404.18		0		0		601404.18		0

				457111.122		601296.009		493		1253.3								493		457111.122						493		601296.009		0		601404.18		0		0		601404.18		0

				457112.121		601295.983		494		1253.3								494		457112.121						494		601295.983		0		601404.18		0		0		601404.18		0

				457113.12		601295.957		495		1253.297								495		457113.12						495		601295.957		0		601404.18		0		0		601404.18		0

				457114.12		601295.931		496		1253.222								496		457114.12						496		601295.931		0		601404.18		0		0		601404.18		0

				457115.119		601295.905		497		1253.2								497		457115.119						497		601295.905		0		601404.18		0		0		601404.18		0

				457116.118		601295.879		498		1253.2								498		457116.118						498		601295.879		0		601404.18		0		0		601404.18		0

				457117.117		601295.853		499		1253.198								499		457117.117						499		601295.853		0		601404.18		0		0		601404.18		0

				457118.117		601295.827		500		1253.124								500		457118.117						500		601295.827		0		601404.18		0		0		601404.18		0

				457119.116		601295.801		501		1253.1								501		457119.116						501		601295.801		0		601404.18		0		0		601404.18		0

				457120.115		601295.775		502		1253.1								502		457120.115						502		601295.775		0		601404.18		0		0		601404.18		0

				457121.115		601295.749		503		1253.1								503		457121.115						503		601295.749		0		601404.18		0		0		601404.18		0

				457122.114		601295.723		504		1253.026								504		457122.114						504		601295.723		0		601404.18		0		0		601404.18		0

				457123.113		601295.697		505		1253								505		457123.113						505		601295.697		0		601404.18		0		0		601404.18		0

				457124.112		601295.671		506		1253								506		457124.112						506		601295.671		0		601404.18		0		0		601404.18		0

				457125.112		601295.645		507		1253								507		457125.112						507		601295.645		0		601404.18		0		0		601404.18		0

				457126.111		601295.619		508		1253								508		457126.111						508		601295.619		0		601404.18		0		0		601404.18		0

				457127.11		601295.593		509		1253								509		457127.11						509		601295.593		0		601404.18		0		0		601404.18		0

				457128.11		601295.567		510		1253								510		457128.11						510		601295.567		0		601404.18		0		0		601404.18		0

				457129.109		601295.541		511		1253								511		457129.109						511		601295.541		0		601404.18		0		0		601404.18		0

				457130.108		601295.515		512		1253								512		457130.108						512		601295.515		0		601404.18		0		0		601404.18		0

				457131.107		601295.489		513		1253								513		457131.107						513		601295.489		0		601404.18		0		0		601404.18		0

				457132.107		601295.463		514		1253								514		457132.107						514		601295.463		0		601404.18		0		0		601404.18		0

				457133.106		601295.437		515		1253								515		457133.106						515		601295.437		0		601404.18		0		0		601404.18		0

				457134.105		601295.411		516		1253								516		457134.105						516		601295.411		0		601404.18		0		0		601404.18		0

				457135.105		601295.385		517		1253								517		457135.105						517		601295.385		0		601404.18		0		0		601404.18		0

				457136.104		601295.359		518		1253								518		457136.104						518		601295.359		0		601404.18		0		0		601404.18		0

				457137.103		601295.333		519		1253								519		457137.103						519		601295.333		0		601404.18		0		0		601404.18		0

				457138.102		601295.307		520		1253								520		457138.102						520		601295.307		0		601404.18		0		0		601404.18		0

				457139.102		601295.281		521		1253								521		457139.102						521		601295.281		0		601404.18		0		0		601404.18		0

				457140.101		601295.255		522		1253								522		457140.101						522		601295.255		0		601404.18		0		0		601404.18		0

				457141.1		601295.229		523		1253								523		457141.1						523		601295.229		0		601404.18		0		0		601404.18		0

				457142.1		601295.203		524		1253								524		457142.1						524		601295.203		0		601404.18		0		0		601404.18		0

				457143.099		601295.177		525		1253								525		457143.099						525		601295.177		0		601404.18		0		0		601404.18		0

				457144.098		601295.151		526		1253								526		457144.098						526		601295.151		0		601404.18		0		0		601404.18		0

				457145.097		601295.125		527		1253								527		457145.097						527		601295.125		0		601404.18		0		0		601404.18		0

				457146.097		601295.099		528		1253								528		457146.097						528		601295.099		0		601404.18		0		0		601404.18		0

				457147.096		601295.073		529		1253								529		457147.096						529		601295.073		0		601404.18		0		0		601404.18		0

				457148.095		601295.047		530		1253								530		457148.095						530		601295.047		0		601404.18		0		0		601404.18		0

				457149.095		601295.021		531		1253								531		457149.095						531		601295.021		0		601404.18		0		0		601404.18		0

				457150.094		601294.995		532		1253								532		457150.094						532		601294.995		0		601404.18		0		0		601404.18		0

				457151.093		601294.969		533		1253								533		457151.093						533		601294.969		0		601404.18		0		0		601404.18		0

				457152.092		601294.943		534		1253								534		457152.092						534		601294.943		0		601404.18		0		0		601404.18		0

				457153.092		601294.917		535		1253								535		457153.092						535		601294.917		0		601404.18		0		0		601404.18		0

				457154.091		601294.891		536		1253								536		457154.091						536		601294.891		0		601404.18		0		0		601404.18		0

				457155.09		601294.865		537		1253								537		457155.09						537		601294.865		0		601404.18		0		0		601404.18		0

				457156.09		601294.839		538		1253								538		457156.09						538		601294.839		0		601404.18		0		0		601404.18		0

				457157.089		601294.813		539		1253								539		457157.089						539		601294.813		0		601404.18		0		0		601404.18		0

				457158.088		601294.787		540		1253								540		457158.088						540		601294.787		0		601404.18		0		0		601404.18		0

				457159.087		601294.761		541		1253								541		457159.087						541		601294.761		0		601404.18		0		0		601404.18		0

				457160.087		601294.736		542		1253								542		457160.087						542		601294.736		0		601404.18		0		0		601404.18		0

				457161.086		601294.71		543		1253								543		457161.086						543		601294.71		0		601404.18		0		0		601404.18		0

				457162.085		601294.684		544		1253								544		457162.085						544		601294.684		0		601404.18		0		0		601404.18		0

				457163.085		601294.658		545		1253								545		457163.085						545		601294.658		0		601404.18		0		0		601404.18		0

				457164.084		601294.632		546		1253								546		457164.084						546		601294.632		0		601404.18		0		0		601404.18		0

				457165.083		601294.606		547		1253								547		457165.083						547		601294.606		0		601404.18		0		0		601404.18		0

				457165.1		601294.605		547.02		1253								547.02		457165.1						547.02		601294.605		0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																														0		601404.18		0		0		601404.18		0

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18

																																601404.18





Fech Length

				X		Y		Distance (Total)		Elevation						Elevation		Distance (Total)		X						Distance (Total)		Y						Dam Axis OGL								Average Depth

				457129.549		601444.316		0		1254.633				0		1254.633		0		457129.549		0		457129.549		0		601444.316		0		601444.316		0		457129.549		601444.316		1254.633		0.633

				457129.397		601445.304		1		1254.635				10		1254.702		1		457129.397		10		457128.038		1		601445.304		10		601454.198		10		457128.038		601454.198		1254.702		0.702

				457129.246		601446.292		2		1254.635				20		1254.96		2		457129.246		20		457126.526		2		601446.292		20		601464.079		20		457126.526		601464.079		1254.96		0.96

				457129.095		601447.281		3		1254.635				30		1254.918		3		457129.095		30		457125.015		3		601447.281		30		601473.96		30		457125.015		601473.96		1254.918		0.918

				457128.944		601448.269		4		1254.635				40		1254.417		4		457128.944		40		457123.504		4		601448.269		40		601483.842		40		457123.504		601483.842		1254.417		0.417

				457128.793		601449.257		5		1254.635				50		1254		5		457128.793		50		457121.993		5		601449.257		50		601493.723		50		457121.993		601493.723		1254		0

				457128.642		601450.245		6		1254.633				60		1254.38		6		457128.642		60		457120.482		6		601450.245		60		601503.604		60		457120.482		601503.604		1254.38		0.38

				457128.491		601451.233		7		1254.669				70		1255		7		457128.491		70		457118.971		7		601451.233		70		601513.486		70		457118.971		601513.486		1255		1

				457128.34		601452.221		8		1254.669				80		1255		8		457128.34		80		457117.46		8		601452.221		80		601523.367		80		457117.46		601523.367		1255		1

				457128.189		601453.209		9		1254.676				90		1255.406		9		457128.189		90		457115.949		9		601453.209		90		601533.248		90		457115.949		601533.248		1255.406		1.406

				457128.038		601454.198		10		1254.702				100		1255.781		10		457128.038		100		457114.438		10		601454.198		100		601543.13		100		457114.438		601543.13		1255.781		1.781

				457127.886		601455.186		11		1254.702				110		1255.972		11		457127.886		110		457112.927		11		601455.186		110		601553.011		110		457112.927		601553.011		1255.972		1.972

				457127.735		601456.174		12		1254.729				120		1256		12		457127.735		120		457111.416		12		601456.174		120		601562.893		120		457111.416		601562.893		1256		2

				457127.584		601457.162		13		1254.755				130		1256		13		457127.584		130		457109.905		13		601457.162		130		601572.774		130		457109.905		601572.774		1256		2

				457127.433		601458.15		14		1254.782				140		1256		14		457127.433		140		457108.394		14		601458.15		140		601582.655		140		457108.394		601582.655		1256		2

				457127.282		601459.138		15		1254.808				150		1256		15		457127.282		150		457106.883		15		601459.138		150		601592.537		150		457106.883		601592.537		1256		2

				457127.131		601460.126		16		1254.88				160		1256.658		16		457127.131		160		457105.372		16		601460.126		160		601602.418		160		457105.372		601602.418		1256.658		2.658

				457126.98		601461.115		17		1254.907				170		1256.875		17		457126.98		170		457103.861		17		601461.115		170		601612.299		170		457103.861		601612.299		1256.875		2.875

				457126.829		601462.103		18		1254.907				180		1256.411		18		457126.829		180		457102.35		18		601462.103		180		601622.181		180		457102.35		601622.181		1256.411		2.411

				457126.678		601463.091		19		1254.933				190		1256.034		19		457126.678		190		457100.839		19		601463.091		190		601632.062		190		457100.839		601632.062		1256.034		2.034

				457126.526		601464.079		20		1254.96				200		1256		20		457126.526		200		457099.327		20		601464.079		200		601641.943		200		457099.327		601641.943		1256		2

				457126.375		601465.067		21		1254.986				210		1256		21		457126.375		210		457097.816		21		601465.067		210		601651.825		210		457097.816		601651.825		1256		2

				457126.224		601466.055		22		1255				220		1256.263		22		457126.224		220		457096.305		22		601466.055		220		601661.706		220		457096.305		601661.706		1256.263		2.263

				457126.073		601467.043		23		1255				230		1256.548		23		457126.073		230		457094.794		23		601467.043		230		601671.588		230		457094.794		601671.588		1256.548		2.548

				457125.922		601468.031		24		1255				240		1256.828		24		457125.922		240		457093.283		24		601468.031		240		601681.469		240		457093.283		601681.469		1256.828		2.828

				457125.771		601469.02		25		1255				250		1257.058		25		457125.771		250		457091.772		25		601469.02		250		601691.35		250		457091.772		601691.35		1257.058		3.058

				457125.62		601470.008		26		1255				260		1257.199		26		457125.62		260		457090.261		26		601470.008		260		601701.232		260		457090.261		601701.232		1257.199		3.199

				457125.469		601470.996		27		1255				270		1257.358		27		457125.469		270		457088.75		27		601470.996		270		601711.113		270		457088.75		601711.113		1257.358		3.358

				457125.318		601471.984		28		1255				280		1257.518		28		457125.318		280		457087.239		28		601471.984		280		601720.994		280		457087.239		601720.994		1257.518		3.518

				457125.167		601472.972		29		1254.962				290		1257.665		29		457125.167		290		457085.728		29		601472.972		290		601730.876		290		457085.728		601730.876		1257.665		3.665

				457125.015		601473.96		30		1254.918				300		1257.841		30		457125.015		300		457084.217		30		601473.96		300		601740.757		300		457084.217		601740.757		1257.841		3.841

				457124.864		601474.948		31		1254.874				310		1258.007		31		457124.864		310		457082.706		31		601474.948		310		601750.638		310		457082.706		601750.638		1258.007		4.007

				457124.713		601475.937		32		1254.818				320		1258.155		32		457124.713		320		457081.195		32		601475.937		320		601760.52		320		457081.195		601760.52		1258.155		4.155

				457124.562		601476.925		33		1254.76				330		1258.322		33		457124.562		330		457079.684		33		601476.925		330		601770.401		330		457079.684		601770.401		1258.322		4.322

				457124.411		601477.913		34		1254.751				340		1258.49		34		457124.411		340		457078.173		34		601477.913		340		601780.282		340		457078.173		601780.282		1258.49		4.49

				457124.26		601478.901		35		1254.707				350		1258.66		35		457124.26		350		457076.662		35		601478.901		350		601790.164		350		457076.662		601790.164		1258.66		4.66

				457124.109		601479.889		36		1254.646				360		1258.813		36		457124.109		360		457075.151		36		601479.889		360		601800.045		360		457075.151		601800.045		1258.813		4.813

				457123.958		601480.877		37		1254.588				370		1258.984		37		457123.958		370		457073.64		37		601480.877		370		601809.927		370		457073.64		601809.927		1258.984		4.984

				457123.807		601481.865		38		1254.536				380		1259.162		38		457123.807		380		457072.128		38		601481.865		380		601819.808		380		457072.128		601819.808		1259.162		5.162

				457123.655		601482.854		39		1254.474				390		1259.313		39		457123.655		390		457070.617		39		601482.854		390		601829.689		390		457070.617		601829.689		1259.313		5.313

				457123.504		601483.842		40		1254.417				400		1259.483		40		457123.504		400		457069.106		40		601483.842		400		601839.571		400		457069.106		601839.571		1259.483		5.483

				457123.353		601484.83		41		1254.417				410		1259.654		41		457123.353		410		457067.595		41		601484.83		410		601849.452		410		457067.595		601849.452		1259.654		5.654

				457123.202		601485.818		42		1254.365				420		1259.826		42		457123.202		420		457066.084		42		601485.818		420		601859.333		420		457066.084		601859.333		1259.826		5.826

				457123.051		601486.806		43		1254.302				430		1259.984		43		457123.051		430		457064.573		43		601486.806		430		601869.215		430		457064.573		601869.215		1259.984		5.984

				457122.9		601487.794		44		1254.249				440		1260.173		44		457122.9		440		457063.062		44		601487.794		440		601879.096		440		457063.062		601879.096		1260.173		6.173

				457122.749		601488.782		45		1254.193				450		1260.365		45		457122.749		450		457061.551		45		601488.782		450		601888.977		450		457061.551		601888.977		1260.365		6.365

				457122.598		601489.77		46		1254.13				460		1260.541		46		457122.598		460		457060.04		46		601489.77		460		601898.859		460		457060.04		601898.859		1260.541		6.541

				457122.447		601490.759		47		1254.072				470		1260.729		47		457122.447		470		457058.529		47		601490.759		470		601908.74		470		457058.529		601908.74		1260.729		6.729

				457122.296		601491.747		48		1254.014				480		1260.918		48		457122.296		480		457057.018		48		601491.747		480		601918.622		480		457057.018		601918.622		1260.918		6.918

				457122.144		601492.735		49		1254.014				490		1261		49		457122.144		490		457055.507		49		601492.735		490		601928.503		490		457055.507		601928.503		1261		7

				457121.993		601493.723		50		1254				500		1261		50		457121.993		500		457053.996		50		601493.723		500		601938.384		500		457053.996		601938.384		1261		7

				457121.842		601494.711		51		1254				510		1261		51		457121.842		510		457052.485		51		601494.711		510		601948.266		510		457052.485		601948.266		1261		7

				457121.691		601495.699		52		1254				520		1261		52		457121.691		520		457050.974		52		601495.699		520		601958.147		520		457050.974		601958.147		1261		7

				457121.54		601496.687		53		1254.036				530		1261		53		457121.54		530		457049.463		53		601496.687		530		601968.028		530		457049.463		601968.028		1261		7

				457121.389		601497.676		54		1254.094				540		1261		54		457121.389		540		457047.952		54		601497.676		540		601977.91		540		457047.952		601977.91		1261		7

				457121.238		601498.664		55		1254.152				550		1261		55		457121.238		550		457046.441		55		601498.664		550		601987.791		550		457046.441		601987.791		1261		7

				457121.087		601499.652		56		1254.21				560		1261		56		457121.087		560		457044.929		56		601499.652		560		601997.672		560		457044.929		601997.672		1261		7

				457120.936		601500.64		57		1254.21				570		1261		57		457120.936		570		457043.418		57		601500.64		570		602007.554		570		457043.418		602007.554		1261		7

				457120.784		601501.628		58		1254.268				580		1261		58		457120.784		580		457041.907		58		601501.628		580		602017.435		580		457041.907		602017.435		1261		7

				457120.633		601502.616		59		1254.326				590		1261		59		457120.633		590		457040.396		59		601502.616		590		602027.317		590		457040.396		602027.317		1261		7

				457120.482		601503.604		60		1254.38				600		1261		60		457120.482		600		457038.885		60		601503.604		600		602037.198		600		457038.885		602037.198		1261		7

				457120.331		601504.593		61		1254.435				610		1261		61		457120.331		610		457037.374		61		601504.593		610		602047.079		610		457037.374		602047.079		1261		7

				457120.18		601505.581		62		1254.49		TC		620		1261		62		457120.18		620		457035.863		62		601505.581		620		602056.961		620		457035.863		602056.961		1261		7

				457120.029		601506.569		63		1254.548				630		1261		63		457120.029		630		457034.352		63		601506.569		630		602066.842		630		457034.352		602066.842		1261		7

				457119.878		601507.557		64		1254.616				640		1261		64		457119.878		640		457032.841		64		601507.557		640		602076.723		640		457032.841		602076.723		1261		7

				457119.727		601508.545		65		1254.616				650		1261		65		457119.727		650		457031.33		65		601508.545		650		602086.605		650		457031.33		602086.605		1261		7

				457119.576		601509.533		66		1254.684				660		1261		66		457119.576		660		457029.819		66		601509.533		660		602096.486		660		457029.819		602096.486		1261		7

				457119.425		601510.521		67		1254.752				670		1261		67		457119.425		670		457028.308		67		601510.521		670		602106.367		670		457028.308		602106.367		1261		7

				457119.273		601511.509		68		1254.82				680		1261		68		457119.273		680		457026.797		68		601511.509		680		602116.249		680		457026.797		602116.249		1261		7

				457119.122		601512.498		69		1254.888				690		1261		69		457119.122		690		457025.286		69		601512.498		690		602126.13		690		457025.286		602126.13		1261		7

				457118.971		601513.486		70		1255				700		1261		70		457118.971		700		457023.775		70		601513.486		700		602136.012		700		457023.775		602136.012		1261		7

				457118.82		601514.474		71		1255				710		1261		71		457118.82		710		457022.264		71		601514.474		710		602145.893		710		457022.264		602145.893		1261		7

				457118.669		601515.462		72		1255				720		1261		72		457118.669		720		457020.753		72		601515.462		720		602155.774		720		457020.753		602155.774		1261		7

				457118.518		601516.45		73		1255				730		1261		73		457118.518		730		457019.242		73		601516.45		730		602165.656		730		457019.242		602165.656		1261		7

				457118.367		601517.438		74		1255				740		1261		74		457118.367		740		457017.73		74		601517.438		740		602175.537		740		457017.73		602175.537		1261		7

				457118.216		601518.426		75		1255				750		1261		75		457118.216		750		457016.219		75		601518.426		750		602185.418		750		457016.219		602185.418		1261		7

				457118.065		601519.415		76		1255				760		1261		76		457118.065		760		457014.708		76		601519.415		760		602195.3		760		457014.708		602195.3		1261		7

				457117.913		601520.403		77		1255				770		1261		77		457117.913		770		457013.197		77		601520.403		770		602205.181		770		457013.197		602205.181		1261		7

				457117.762		601521.391		78		1255				780		1261		78		457117.762		780		457011.686		78		601521.391		780		602215.062		780		457011.686		602215.062		1261		7

				457117.611		601522.379		79		1255				790		1261		79		457117.611		790		457010.175		79		601522.379		790		602224.944		790		457010.175		602224.944		1261		7

				457117.46		601523.367		80		1255				800		1261		80		457117.46		800		457008.664		80		601523.367		800		602234.825		800		457008.664		602234.825		1261		7

				457117.309		601524.355		81		1255.004				810		1261.066		81		457117.309		810		457007.153		81		601524.355		810		602244.706		810		457007.153		602244.706		1261.066		7.066

				457117.158		601525.343		82		1255.05				820		1261.185		82		457117.158		820		457005.642		82		601525.343		820		602254.588		820		457005.642		602254.588		1261.185		7.185

				457117.007		601526.332		83		1255.096				830		1261.303		83		457117.007		830		457004.131		83		601526.332		830		602264.469		830		457004.131		602264.469		1261.303		7.303

				457116.856		601527.32		84		1255.142				840		1261.408		84		457116.856		840		457002.62		84		601527.32		840		602274.351		840		457002.62		602274.351		1261.408		7.408

				457116.705		601528.308		85		1255.188				850		1261.524		85		457116.705		850		457001.109		85		601528.308		850		602284.232		850		457001.109		602284.232		1261.524		7.524

				457116.553		601529.296		86		1255.236				860		1261.665		86		457116.553		860		456999.598		86		601529.296		860		602294.113		860		456999.598		602294.113		1261.665		7.665

				457116.402		601530.284		87		1255.313				870		1261.79		87		457116.402		870		456998.087		87		601530.284		870		602303.995		870		456998.087		602303.995		1261.79		7.79

				457116.251		601531.272		88		1255.313				880		1261.93		88		457116.251		880		456996.576		88		601531.272		880		602313.876		880		456996.576		602313.876		1261.93		7.93

				457116.1		601532.26		89		1255.359				890		1262		89		457116.1		890		456995.065		89		601532.26		890		602323.757		890		456995.065		602323.757		1262		8

				457115.949		601533.248		90		1255.406				900		1262		90		457115.949		900		456993.554		90		601533.248		900		602333.639		900		456993.554		602333.639		1262		8

				457115.798		601534.237		91		1255.453				910		1262		91		457115.798		910		456992.043		91		601534.237		910		602343.52		910		456992.043		602343.52		1262		8

				457115.647		601535.225		92		1255.496				920		1262.147		92		457115.647		920		456990.531		92		601535.225		920		602353.401		920		456990.531		602353.401		1262.147		8.147

				457115.496		601536.213		93		1255.54				930		1262.365		93		457115.496		930		456989.02		93		601536.213		930		602363.283		930		456989.02		602363.283		1262.365		8.365

				457115.345		601537.201		94		1255.581				940		1262.583		94		457115.345		940		456987.509		94		601537.201		940		602373.164		940		456987.509		602373.164		1262.583		8.583

				457115.194		601538.189		95		1255.62				950		1262.826		95		457115.194		950		456985.998		95		601538.189		950		602383.046		950		456985.998		602383.046		1262.826		8.826

				457115.042		601539.177		96		1255.656				960		1263		96		457115.042		960		456984.487		96		601539.177		960		602392.927		960		456984.487		602392.927		1263		9

				457114.891		601540.165		97		1255.689				970		1263		97		457114.891		970		456982.976		97		601540.165		970		602402.808		970		456982.976		602402.808		1263		9

				457114.74		601541.154		98		1255.722				980		1263		98		457114.74		980		456981.465		98		601541.154		980		602412.69		980		456981.465		602412.69		1263		9

				457114.589		601542.142		99		1255.752				990		1263.119		99		457114.589		990		456979.954		99		601542.142		990		602422.571		990		456979.954		602422.571		1263.119		9.119

				457114.438		601543.13		100		1255.781				1000		1263.355		100		457114.438		1000		456978.443		100		601543.13		1000		602432.452		1000		456978.443		602432.452		1263.355		9.355

				457114.287		601544.118		101		1255.802				1010		1263.519		101		457114.287		1010		456976.932		101		601544.118		1010		602442.334		1010		456976.932		602442.334		1263.519		9.519

				457114.136		601545.106		102		1255.821				1020		1263.691		102		457114.136		1020		456975.421		102		601545.106		1020		602452.215		1020		456975.421		602452.215		1263.691		9.691

				457113.985		601546.094		103		1255.821				1030		1263.864		103		457113.985		1030		456973.91		103		601546.094		1030		602462.096		1030		456973.91		602462.096		1263.864		9.864

				457113.834		601547.082		104		1255.839				1040		1264.008		104		457113.834		1040		456972.399		104		601547.082		1040		602471.978		1040		456972.399		602471.978		1264.008		10.008

				457113.682		601548.071		105		1255.908				1050		1264.245		105		457113.682		1050		456970.888		105		601548.071		1050		602481.859		1050		456970.888		602481.859		1264.245		10.245

				457113.531		601549.059		106		1255.922				1060		1264.482		106		457113.531		1060		456969.377		106		601549.059		1060		602491.741		1060		456969.377		602491.741		1264.482		10.482

				457113.38		601550.047		107		1255.931				1070		1264.704		107		457113.38		1070		456967.866		107		601550.047		1070		602501.622		1070		456967.866		602501.622		1264.704		10.704

				457113.229		601551.035		108		1255.944				1080		1264.88		108		457113.229		1080		456966.355		108		601551.035		1080		602511.503		1080		456966.355		602511.503		1264.88		10.88

				457113.078		601552.023		109		1255.946				1090		1265.039		109		457113.078		1090		456964.844		109		601552.023		1090		602521.385		1090		456964.844		602521.385		1265.039		11.039

				457112.927		601553.011		110		1255.972				1100		1265.129		110		457112.927		1100		456963.333		110		601553.011		1100		602531.266		1100		456963.333		602531.266		1265.129		11.129

				457112.776		601553.999		111		1255.972				1110		1265.097		111		457112.776		1110		456961.821		111		601553.999		1110		602541.147		1110		456961.821		602541.147		1265.097		11.097

				457112.625		601554.987		112		1255.998				1120		1264.958		112		457112.625		1120		456960.31		112		601554.987		1120		602551.029		1120		456960.31		602551.029		1264.958		10.958

				457112.474		601555.976		113		1256				1130		1265		113		457112.474		1130		456958.799		113		601555.976		1130		602560.91		1130		456958.799		602560.91		1265		11

				457112.323		601556.964		114		1256				1140		1265		114		457112.323		1140		456957.288		114		601556.964		1140		602570.791		1140		456957.288		602570.791		1265		11

				457112.171		601557.952		115		1256				1150		1264.97		115		457112.171		1150		456955.777		115		601557.952		1150		602580.673		1150		456955.777		602580.673		1264.97		10.97

				457112.02		601558.94		116		1256				1160		1264.99		116		457112.02		1160		456954.266		116		601558.94		1160		602590.554		1160		456954.266		602590.554		1264.99		10.99

				457111.869		601559.928		117		1256				1170		1264.953		117		457111.869		1170		456952.755		117		601559.928		1170		602600.435		1170		456952.755		602600.435		1264.953		10.953

				457111.718		601560.916		118		1256				1180		1265		118		457111.718		1180		456951.244		118		601560.916		1180		602610.317		1180		456951.244		602610.317		1265		11

				457111.567		601561.904		119		1256				1190		1265.162		119		457111.567		1190		456949.733		119		601561.904		1190		602620.198		1190		456949.733		602620.198		1265.162		11.162

				457111.416		601562.893		120		1256				1200		1265.348		120		457111.416		1200		456948.222		120		601562.893		1200		602630.08		1200		456948.222		602630.08		1265.348		11.348

				457111.265		601563.881		121		1256				1210		1265.551		121		457111.265		1210		456946.711		121		601563.881		1210		602639.961		1210		456946.711		602639.961		1265.551		11.551

				457111.114		601564.869		122		1256				1220		1265.608		122		457111.114		1220		456945.2		122		601564.869		1220		602649.842		1220		456945.2		602649.842		1265.608		11.608

				457110.963		601565.857		123		1256				1230		1265.388		123		457110.963		1230		456943.689		123		601565.857		1230		602659.724		1230		456943.689		602659.724		1265.388		11.388

				457110.811		601566.845		124		1256				1240		1265.6		124		457110.811		1240		456942.178		124		601566.845		1240		602669.605		1240		456942.178		602669.605		1265.6		11.6

				457110.66		601567.833		125		1256				1250		1266		125		457110.66		1250		456940.667		125		601567.833		1250		602679.486		1250		456940.667		602679.486		1266		12

				457110.509		601568.821		126		1256				1260		1266		126		457110.509		1260		456939.156		126		601568.821		1260		602689.368		1260		456939.156		602689.368		1266		12

				457110.358		601569.809		127		1256				1270		1266		127		457110.358		1270		456937.645		127		601569.809		1270		602699.249		1270		456937.645		602699.249		1266		12

				457110.207		601570.798		128		1256				1280		1266		128		457110.207		1280		456936.134		128		601570.798		1280		602709.13		1280		456936.134		602709.13		1266		12

				457110.056		601571.786		129		1256				1290		1266		129		457110.056		1290		456934.622		129		601571.786		1290		602719.012		1290		456934.622		602719.012		1266		12

				457109.905		601572.774		130		1256				1300		1266		130		457109.905		1300		456933.111		130		601572.774		1300		602728.893		1300		456933.111		602728.893		1266		12

				457109.754		601573.762		131		1256				1310		1266.333		131		457109.754		1310		456931.6		131		601573.762		1310		602738.775		1310		456931.6		602738.775		1266.333		12.333

				457109.603		601574.75		132		1256				1320		1266.533		132		457109.603		1320		456930.089		132		601574.75		1320		602748.656		1320		456930.089		602748.656		1266.533		12.533

				457109.452		601575.738		133		1256				1330		1266.704		133		457109.452		1330		456928.578		133		601575.738		1330		602758.537		1330		456928.578		602758.537		1266.704		12.704

				457109.3		601576.726		134		1256				1340		1266.74		134		457109.3		1340		456927.067		134		601576.726		1340		602768.419		1340		456927.067		602768.419		1266.74		12.74

				457109.149		601577.715		135		1256				1350		1266.873		135		457109.149		1350		456925.556		135		601577.715		1350		602778.3		1350		456925.556		602778.3		1266.873		12.873

				457108.998		601578.703		136		1256				1360		1267.144		136		457108.998		1360		456924.045		136		601578.703		1360		602788.181		1360		456924.045		602788.181		1267.144		13.144

				457108.847		601579.691		137		1256				1370		1267.564		137		457108.847		1370		456922.534		137		601579.691		1370		602798.063		1370		456922.534		602798.063		1267.564		13.564

				457108.696		601580.679		138		1256				1380		1268		138		457108.696		1380		456921.023		138		601580.679		1380		602807.944		1380		456921.023		602807.944		1268		14

				457108.545		601581.667		139		1256				1390		1268		139		457108.545		1390		456919.512		139		601581.667		1390		602817.825		1390		456919.512		602817.825		1268		14

				457108.394		601582.655		140		1256				1400		1268		140		457108.394		1400		456918.001		140		601582.655		1400		602827.707		1400		456918.001		602827.707		1268		14

				457108.243		601583.643		141		1256				1410		1268.06		141		457108.243		1410		456916.49		141		601583.643		1410		602837.588		1410		456916.49		602837.588		1268.06		14.06

				457108.092		601584.632		142		1256				1420		1268.171		142		457108.092		1420		456914.979		142		601584.632		1420		602847.47		1420		456914.979		602847.47		1268.171		14.171

				457107.94		601585.62		143		1256				1430		1268.197		143		457107.94		1430		456913.468		143		601585.62		1430		602857.351		1430		456913.468		602857.351		1268.197		14.197

				457107.789		601586.608		144		1256				1440		1268.218		144		457107.789		1440		456911.957		144		601586.608		1440		602867.232		1440		456911.957		602867.232		1268.218		14.218

				457107.638		601587.596		145		1256				1450		1268.263		145		457107.638		1450		456910.446		145		601587.596		1450		602877.114		1450		456910.446		602877.114		1268.263		14.263

				457107.487		601588.584		146		1256				1460		1268.287		146		457107.487		1460		456908.935		146		601588.584		1460		602886.995		1460		456908.935		602886.995		1268.287		14.287

				457107.336		601589.572		147		1256				1470		1268.395		147		457107.336		1470		456907.423		147		601589.572		1470		602896.876		1470		456907.423		602896.876		1268.395		14.395

				457107.185		601590.56		148		1256				1480		1268.542		148		457107.185		1480		456905.912		148		601590.56		1480		602906.758		1480		456905.912		602906.758		1268.542		14.542

				457107.034		601591.548		149		1256				1490		1268.678		149		457107.034		1490		456904.401		149		601591.548		1490		602916.639		1490		456904.401		602916.639		1268.678		14.678

				457106.883		601592.537		150		1256				1500		1268.832		150		457106.883		1500		456902.89		150		601592.537		1500		602926.52		1500		456902.89		602926.52		1268.832		14.832

				457106.732		601593.525		151		1256				1510		1268.986		151		457106.732		1510		456901.379		151		601593.525		1510		602936.402		1510		456901.379		602936.402		1268.986		14.986

				457106.581		601594.513		152		1256				1520		1269		152		457106.581		1520		456899.868		152		601594.513		1520		602946.283		1520		456899.868		602946.283		1269		15

				457106.429		601595.501		153		1256				1530		1269		153		457106.429		1530		456898.357		153		601595.501		1530		602956.165		1530		456898.357		602956.165		1269		15

				457106.278		601596.489		154		1256				1540		1269.116		154		457106.278		1540		456896.846		154		601596.489		1540		602966.046		1540		456896.846		602966.046		1269.116		15.116

				457106.127		601597.477		155		1256				1550		1269.327		155		457106.127		1550		456895.335		155		601597.477		1550		602975.927		1550		456895.335		602975.927		1269.327		15.327

				457105.976		601598.465		156		1256.121				1560		1269.513		156		457105.976		1560		456893.824		156		601598.465		1560		602985.809		1560		456893.824		602985.809		1269.513		15.513

				457105.825		601599.454		157		1256.296				1570		1269.725		157		457105.825		1570		456892.313		157		601599.454		1570		602995.69		1570		456892.313		602995.69		1269.725		15.725

				457105.674		601600.442		158		1256.329				1580		1269.936		158		457105.674		1580		456890.802		158		601600.442		1580		603005.571		1580		456890.802		603005.571		1269.936		15.936

				457105.523		601601.43		159		1256.493				1590		1270.013		159		457105.523		1590		456889.291		159		601601.43		1590		603015.453		1590		456889.291		603015.453		1270.013		16.013

				457105.372		601602.418		160		1256.658				1600		1270.223		160		457105.372		1600		456887.78		160		601602.418		1600		603025.334		1600		456887.78		603025.334		1270.223		16.223

				457105.221		601603.406		161		1256.782				1610		1270.42		161		457105.221		1610		456886.269		161		601603.406		1610		603035.215		1610		456886.269		603035.215		1270.42		16.42

				457105.069		601604.394		162		1256.891				1620		1270.617		162		457105.069		1620		456884.758		162		601604.394		1620		603045.097		1620		456884.758		603045.097		1270.617		16.617

				457104.918		601605.382		163		1256.992				1630		1270.791		163		457104.918		1630		456883.247		163		601605.382		1630		603054.978		1630		456883.247		603054.978		1270.791		16.791

				457104.767		601606.371		164		1256.992				1640		1270.98		164		457104.767		1640		456881.736		164		601606.371		1640		603064.859		1640		456881.736		603064.859		1270.98		16.98

				457104.616		601607.359		165		1256.992				1650		1271		165		457104.616		1650		456880.224		165		601607.359		1650		603074.741		1650		456880.224		603074.741		1271		17

				457104.465		601608.347		166		1256.992				1660		1271.075		166		457104.465		1660		456878.713		166		601608.347		1660		603084.622		1660		456878.713		603084.622		1271.075		17.075

				457104.314		601609.335		167		1256.983				1670		1271.237		167		457104.314		1670		456877.202		167		601609.335		1670		603094.504		1670		456877.202		603094.504		1271.237		17.237

				457104.163		601610.323		168		1256.983				1680		1271.399		168		457104.163		1680		456875.691		168		601610.323		1680		603104.385		1680		456875.691		603104.385		1271.399		17.399

				457104.012		601611.311		169		1256.939				1690		1271.561		169		457104.012		1690		456874.18		169		601611.311		1690		603114.266		1690		456874.18		603114.266		1271.561		17.561

				457103.861		601612.299		170		1256.875				1700		1271.706		170		457103.861		1700		456872.669		170		601612.299		1700		603124.148		1700		456872.669		603124.148		1271.706		17.706

				457103.71		601613.287		171		1256.811				1710		1271.868		171		457103.71		1710		456871.158		171		601613.287		1710		603134.029		1710		456871.158		603134.029		1271.868		17.868

				457103.558		601614.276		172		1256.754				1720		1272		172		457103.558		1720		456869.647		172		601614.276		1720		603143.91		1720		456869.647		603143.91		1272		18

				457103.407		601615.264		173		1256.754				1730		1272		173		457103.407		1730		456868.136		173		601615.264		1730		603153.792		1730		456868.136		603153.792		1272		18

				457103.256		601616.252		174		1256.72				1742.3		1272		174		457103.256		1742.3		456866.284		174		601616.252		1742.3		603165.902		1742.3		456866.284		603165.902		1272		18		8.87

				457103.105		601617.24		175		1256.683						1254.633		175		457103.105		0		457129.549		175		601617.24		0		601444.316		0		457129.549		601444.316		1254.633

				457102.954		601618.228		176		1256.643						1254.633		176		457102.954		0		457129.549		176		601618.228		0		601444.316		0		457129.549		601444.316		1254.633

				457102.803		601619.216		177		1256.594						1254.633		177		457102.803		0		457129.549		177		601619.216		0		601444.316		0		457129.549		601444.316		1254.633

				457102.652		601620.204		178		1256.532						1254.633		178		457102.652		0		457129.549		178		601620.204		0		601444.316		0		457129.549		601444.316		1254.633

				457102.501		601621.193		179		1256.468						1254.633		179		457102.501		0		457129.549		179		601621.193		0		601444.316		0		457129.549		601444.316		1254.633

				457102.35		601622.181		180		1256.411						1254.633		180		457102.35		0		457129.549		180		601622.181		0		601444.316		0		457129.549		601444.316		1254.633

				457102.198		601623.169		181		1256.411						1254.633		181		457102.198		0		457129.549		181		601623.169		0		601444.316		0		457129.549		601444.316		1254.633

				457102.047		601624.157		182		1256.377						1254.633		182		457102.047		0		457129.549		182		601624.157		0		601444.316		0		457129.549		601444.316		1254.633

				457101.896		601625.145		183		1256.343						1254.633		183		457101.896		0		457129.549		183		601625.145		0		601444.316		0		457129.549		601444.316		1254.633

				457101.745		601626.133		184		1256.304						1254.633		184		457101.745		0		457129.549		184		601626.133		0		601444.316		0		457129.549		601444.316		1254.633

				457101.594		601627.121		185		1256.249						1254.633		185		457101.594		0		457129.549		185		601627.121		0		601444.316		0		457129.549		601444.316		1254.633

				457101.443		601628.11		186		1256.189						1254.633		186		457101.443		0		457129.549		186		601628.11		0		601444.316		0		457129.549		601444.316		1254.633

				457101.292		601629.098		187		1256.125						1254.633		187		457101.292		0		457129.549		187		601629.098		0		601444.316		0		457129.549		601444.316		1254.633

				457101.141		601630.086		188		1256.068						1254.633		188		457101.141		0		457129.549		188		601630.086		0		601444.316		0		457129.549		601444.316		1254.633

				457100.99		601631.074		189		1256.068						1254.633		189		457100.99		0		457129.549		189		601631.074		0		601444.316		0		457129.549		601444.316		1254.633

				457100.839		601632.062		190		1256.034						1254.633		190		457100.839		0		457129.549		190		601632.062		0		601444.316		0		457129.549		601444.316		1254.633

				457100.687		601633.05		191		1256						1254.633		191		457100.687		0		457129.549		191		601633.05		0		601444.316		0		457129.549		601444.316		1254.633

				457100.536		601634.038		192		1256						1254.633		192		457100.536		0		457129.549		192		601634.038		0		601444.316		0		457129.549		601444.316		1254.633

				457100.385		601635.026		193		1256						1254.633		193		457100.385		0		457129.549		193		601635.026		0		601444.316		0		457129.549		601444.316		1254.633

				457100.234		601636.015		194		1256						1254.633		194		457100.234		0		457129.549		194		601636.015		0		601444.316		0		457129.549		601444.316		1254.633

				457100.083		601637.003		195		1256						1254.633		195		457100.083		0		457129.549		195		601637.003		0		601444.316		0		457129.549		601444.316		1254.633

				457099.932		601637.991		196		1256						1254.633		196		457099.932		0		457129.549		196		601637.991		0		601444.316		0		457129.549		601444.316		1254.633

				457099.781		601638.979		197		1256						1254.633		197		457099.781		0		457129.549		197		601638.979		0		601444.316		0		457129.549		601444.316		1254.633

				457099.63		601639.967		198		1256						1254.633		198		457099.63		0		457129.549		198		601639.967		0		601444.316		0		457129.549		601444.316		1254.633

				457099.479		601640.955		199		1256						1254.633		199		457099.479		0		457129.549		199		601640.955		0		601444.316		0		457129.549		601444.316		1254.633

				457099.327		601641.943		200		1256						1254.633		200		457099.327		0		457129.549		200		601641.943		0		601444.316		0		457129.549		601444.316		1254.633

				457099.176		601642.932		201		1256						1254.633		201		457099.176		0		457129.549		201		601642.932		0		601444.316		0		457129.549		601444.316		1254.633

				457099.025		601643.92		202		1256						1254.633		202		457099.025		0		457129.549		202		601643.92		0		601444.316		0		457129.549		601444.316		1254.633

				457098.874		601644.908		203		1256						1254.633		203		457098.874		0		457129.549		203		601644.908		0		601444.316		0		457129.549		601444.316		1254.633

				457098.723		601645.896		204		1256						1254.633		204		457098.723		0		457129.549		204		601645.896		0		601444.316		0		457129.549		601444.316		1254.633

				457098.572		601646.884		205		1256						1254.633		205		457098.572		0		457129.549		205		601646.884		0		601444.316		0		457129.549		601444.316		1254.633

				457098.421		601647.872		206		1256						1254.633		206		457098.421		0		457129.549		206		601647.872		0		601444.316		0		457129.549		601444.316		1254.633

				457098.27		601648.86		207		1256						1254.633		207		457098.27		0		457129.549		207		601648.86		0		601444.316		0		457129.549		601444.316		1254.633

				457098.119		601649.849		208		1256						1254.633		208		457098.119		0		457129.549		208		601649.849		0		601444.316		0		457129.549		601444.316		1254.633

				457097.968		601650.837		209		1256						1254.633		209		457097.968		0		457129.549		209		601650.837		0		601444.316		0		457129.549		601444.316		1254.633

				457097.816		601651.825		210		1256						1254.633		210		457097.816		0		457129.549		210		601651.825		0		601444.316		0		457129.549		601444.316		1254.633

				457097.665		601652.813		211		1256						1254.633		211		457097.665		0		457129.549		211		601652.813		0		601444.316		0		457129.549		601444.316		1254.633

				457097.514		601653.801		212		1256.017						1254.633		212		457097.514		0		457129.549		212		601653.801		0		601444.316		0		457129.549		601444.316		1254.633

				457097.363		601654.789		213		1256.048						1254.633		213		457097.363		0		457129.549		213		601654.789		0		601444.316		0		457129.549		601444.316		1254.633

				457097.212		601655.777		214		1256.079						1254.633		214		457097.212		0		457129.549		214		601655.777		0		601444.316		0		457129.549		601444.316		1254.633

				457097.061		601656.765		215		1256.11						1254.633		215		457097.061		0		457129.549		215		601656.765		0		601444.316		0		457129.549		601444.316		1254.633

				457096.91		601657.754		216		1256.142						1254.633		216		457096.91		0		457129.549		216		601657.754		0		601444.316		0		457129.549		601444.316		1254.633

				457096.759		601658.742		217		1256.174						1254.633		217		457096.759		0		457129.549		217		601658.742		0		601444.316		0		457129.549		601444.316		1254.633

				457096.608		601659.73		218		1256.206						1254.633		218		457096.608		0		457129.549		218		601659.73		0		601444.316		0		457129.549		601444.316		1254.633

				457096.456		601660.718		219		1256.233						1254.633		219		457096.456		0		457129.549		219		601660.718		0		601444.316		0		457129.549		601444.316		1254.633

				457096.305		601661.706		220		1256.263						1254.633		220		457096.305		0		457129.549		220		601661.706		0		601444.316		0		457129.549		601444.316		1254.633

				457096.154		601662.694		221		1256.291						1254.633		221		457096.154		0		457129.549		221		601662.694		0		601444.316		0		457129.549		601444.316		1254.633

				457096.003		601663.682		222		1256.318						1254.633		222		457096.003		0		457129.549		222		601663.682		0		601444.316		0		457129.549		601444.316		1254.633

				457095.852		601664.671		223		1256.347						1254.633		223		457095.852		0		457129.549		223		601664.671		0		601444.316		0		457129.549		601444.316		1254.633

				457095.701		601665.659		224		1256.38						1254.633		224		457095.701		0		457129.549		224		601665.659		0		601444.316		0		457129.549		601444.316		1254.633

				457095.55		601666.647		225		1256.409						1254.633		225		457095.55		0		457129.549		225		601666.647		0		601444.316		0		457129.549		601444.316		1254.633

				457095.399		601667.635		226		1256.437						1254.633		226		457095.399		0		457129.549		226		601667.635		0		601444.316		0		457129.549		601444.316		1254.633

				457095.248		601668.623		227		1256.437						1254.633		227		457095.248		0		457129.549		227		601668.623		0		601444.316		0		457129.549		601444.316		1254.633

				457095.097		601669.611		228		1256.464						1254.633		228		457095.097		0		457129.549		228		601669.611		0		601444.316		0		457129.549		601444.316		1254.633

				457094.945		601670.599		229		1256.521						1254.633		229		457094.945		0		457129.549		229		601670.599		0		601444.316		0		457129.549		601444.316		1254.633

				457094.794		601671.588		230		1256.548						1254.633		230		457094.794		0		457129.549		230		601671.588		0		601444.316		0		457129.549		601444.316		1254.633

				457094.643		601672.576		231		1256.576						1254.633		231		457094.643		0		457129.549		231		601672.576		0		601444.316		0		457129.549		601444.316		1254.633

				457094.492		601673.564		232		1256.603						1254.633		232		457094.492		0		457129.549		232		601673.564		0		601444.316		0		457129.549		601444.316		1254.633

				457094.341		601674.552		233		1256.63						1254.633		233		457094.341		0		457129.549		233		601674.552		0		601444.316		0		457129.549		601444.316		1254.633

				457094.19		601675.54		234		1256.663						1254.633		234		457094.19		0		457129.549		234		601675.54		0		601444.316		0		457129.549		601444.316		1254.633

				457094.039		601676.528		235		1256.663						1254.633		235		457094.039		0		457129.549		235		601676.528		0		601444.316		0		457129.549		601444.316		1254.633

				457093.888		601677.516		236		1256.691						1254.633		236		457093.888				457129.549		236		601677.516		0		601444.316		0		457129.549		601444.316		1254.633

				457093.737		601678.504		237		1256.718						1254.633		237		457093.737				457129.549		237		601678.504		0		601444.316		0		457129.549		601444.316		1254.633

				457093.585		601679.493		238		1256.773						1254.633		238		457093.585				457129.549		238		601679.493		0		601444.316		0		457129.549		601444.316		1254.633

				457093.434		601680.481		239		1256.8						1254.633		239		457093.434				457129.549		239		601680.481		0		601444.316		0		457129.549		601444.316		1254.633

				457093.283		601681.469		240		1256.828						1254.633		240		457093.283				457129.549		240		601681.469		0		601444.316		0		457129.549		601444.316		1254.633

				457093.132		601682.457		241		1256.855						1254.633		241		457093.132				457129.549		241		601682.457		0		601444.316		0		457129.549		601444.316		1254.633

				457092.981		601683.445		242		1256.882						1254.633		242		457092.981				457129.549		242		601683.445		0		601444.316		0		457129.549		601444.316		1254.633

				457092.83		601684.433		243		1256.882						1254.633		243		457092.83				457129.549		243		601684.433		0		601444.316		0		457129.549		601444.316		1254.633

				457092.679		601685.421		244		1256.91						1254.633		244		457092.679				457129.549		244		601685.421		0		601444.316		0		457129.549		601444.316		1254.633

				457092.528		601686.41		245		1256.938						1254.633		245		457092.528				457129.549		245		601686.41		0		601444.316		0		457129.549		601444.316		1254.633

				457092.377		601687.398		246		1256.965						1254.633		246		457092.377				457129.549		246		601687.398		0		601444.316		0		457129.549		601444.316		1254.633

				457092.226		601688.386		247		1257.011						1254.633		247		457092.226				457129.549		247		601688.386		0		601444.316		0		457129.549		601444.316		1254.633

				457092.074		601689.374		248		1257.027						1254.633		248		457092.074				457129.549		248		601689.374		0		601444.316		0		457129.549		601444.316		1254.633

				457091.923		601690.362		249		1257.042						1254.633		249		457091.923				457129.549		249		601690.362		0		601444.316		0		457129.549		601444.316		1254.633

				457091.772		601691.35		250		1257.058						1254.633		250		457091.772				457129.549		250		601691.35		0		601444.316		0		457129.549		601444.316		1254.633

				457091.621		601692.338		251		1257.058						1254.633		251		457091.621				457129.549		251		601692.338		0		601444.316		0		457129.549		601444.316		1254.633

				457091.47		601693.327		252		1257.074						1254.633		252		457091.47				457129.549		252		601693.327		0		601444.316		0		457129.549		601444.316		1254.633

				457091.319		601694.315		253		1257.089						1254.633		253		457091.319				457129.549		253		601694.315		0		601444.316		0		457129.549		601444.316		1254.633

				457091.168		601695.303		254		1257.105						1254.633		254		457091.168				457129.549		254		601695.303		0		601444.316		0		457129.549		601444.316		1254.633

				457091.017		601696.291		255		1257.121						1254.633		255		457091.017				457129.549		255		601696.291		0		601444.316		0		457129.549		601444.316		1254.633

				457090.866		601697.279		256		1257.152						1254.633		256		457090.866				457129.549		256		601697.279		0		601444.316		0		457129.549		601444.316		1254.633

				457090.714		601698.267		257		1257.167						1254.633		257		457090.714				457129.549		257		601698.267		0		601444.316		0		457129.549		601444.316		1254.633

				457090.563		601699.255		258		1257.167						1254.633		258		457090.563				457129.549		258		601699.255		0		601444.316		0		457129.549		601444.316		1254.633

				457090.412		601700.243		259		1257.183						1254.633		259		457090.412				457129.549		259		601700.243		0		601444.316		0		457129.549		601444.316		1254.633

				457090.261		601701.232		260		1257.199						1254.633		260		457090.261				457129.549		260		601701.232		0		601444.316		0		457129.549		601444.316		1254.633

				457090.11		601702.22		261		1257.215						1254.633		261		457090.11				457129.549		261		601702.22		0		601444.316		0		457129.549		601444.316		1254.633

				457089.959		601703.208		262		1257.231						1254.633		262		457089.959				457129.549		262		601703.208		0		601444.316		0		457129.549		601444.316		1254.633

				457089.808		601704.196		263		1257.247						1254.633		263		457089.808				457129.549		263		601704.196		0		601444.316		0		457129.549		601444.316		1254.633

				457089.657		601705.184		264		1257.263						1254.633		264		457089.657				457129.549		264		601705.184		0		601444.316		0		457129.549		601444.316		1254.633

				457089.506		601706.172		265		1257.293						1254.633		265		457089.506				457129.549		265		601706.172		0		601444.316		0		457129.549		601444.316		1254.633

				457089.355		601707.16		266		1257.293						1254.633		266		457089.355				457129.549		266		601707.16		0		601444.316		0		457129.549		601444.316		1254.633

				457089.203		601708.149		267		1257.309						1254.633		267		457089.203				457129.549		267		601708.149		0		601444.316		0		457129.549		601444.316		1254.633

				457089.052		601709.137		268		1257.325						1254.633		268		457089.052				457129.549		268		601709.137		0		601444.316		0		457129.549		601444.316		1254.633

				457088.901		601710.125		269		1257.342						1254.633		269		457088.901				457129.549		269		601710.125		0		601444.316		0		457129.549		601444.316		1254.633

				457088.75		601711.113		270		1257.358						1254.633		270		457088.75				457129.549		270		601711.113		0		601444.316		0		457129.549		601444.316		1254.633

				457088.599		601712.101		271		1257.374						1254.633		271		457088.599				457129.549		271		601712.101		0		601444.316		0		457129.549		601444.316		1254.633

				457088.448		601713.089		272		1257.39						1254.633		272		457088.448				457129.549		272		601713.089		0		601444.316		0		457129.549		601444.316		1254.633

				457088.297		601714.077		273		1257.407						1254.633		273		457088.297				457129.549		273		601714.077		0		601444.316		0		457129.549		601444.316		1254.633

				457088.146		601715.066		274		1257.42						1254.633		274		457088.146				457129.549		274		601715.066		0		601444.316		0		457129.549		601444.316		1254.633

				457087.995		601716.054		275		1257.437						1254.633		275		457087.995				457129.549		275		601716.054		0		601444.316		0		457129.549		601444.316		1254.633

				457087.843		601717.042		276		1257.453						1254.633		276		457087.843				457129.549		276		601717.042		0		601444.316		0		457129.549		601444.316		1254.633

				457087.692		601718.03		277		1257.469						1254.633		277		457087.692				457129.549		277		601718.03		0		601444.316		0		457129.549		601444.316		1254.633

				457087.541		601719.018		278		1257.486						1254.633		278		457087.541				457129.549		278		601719.018		0		601444.316		0		457129.549		601444.316		1254.633

				457087.39		601720.006		279		1257.502						1254.633		279		457087.39				457129.549		279		601720.006		0		601444.316		0		457129.549		601444.316		1254.633

				457087.239		601720.994		280		1257.518						1254.633		280		457087.239				457129.549		280		601720.994		0		601444.316		0		457129.549		601444.316		1254.633

				457087.088		601721.982		281		1257.535						1254.633		281		457087.088				457129.549		281		601721.982		0		601444.316		0		457129.549		601444.316		1254.633

				457086.937		601722.971		282		1257.548						1254.633		282		457086.937				457129.549		282		601722.971		0		601444.316		0		457129.549		601444.316		1254.633

				457086.786		601723.959		283		1257.565						1254.633		283		457086.786				457129.549		283		601723.959		0		601444.316		0		457129.549		601444.316		1254.633

				457086.635		601724.947		284		1257.581						1254.633		284		457086.635				457129.549		284		601724.947		0		601444.316		0		457129.549		601444.316		1254.633

				457086.483		601725.935		285		1257.598						1254.633		285		457086.483				457129.549		285		601725.935		0		601444.316		0		457129.549		601444.316		1254.633

				457086.332		601726.923		286		1257.614						1254.633		286		457086.332				457129.549		286		601726.923		0		601444.316		0		457129.549		601444.316		1254.633

				457086.181		601727.911		287		1257.631						1254.633		287		457086.181				457129.549		287		601727.911		0		601444.316		0		457129.549		601444.316		1254.633

				457086.03		601728.899		288		1257.648						1254.633		288		457086.03				457129.549		288		601728.899		0		601444.316		0		457129.549		601444.316		1254.633

				457085.879		601729.888		289		1257.648						1254.633		289		457085.879				457129.549		289		601729.888		0		601444.316		0		457129.549		601444.316		1254.633

				457085.728		601730.876		290		1257.665						1254.633		290		457085.728				457129.549		290		601730.876		0		601444.316		0		457129.549		601444.316		1254.633

				457085.577		601731.864		291		1257.694						1254.633		291		457085.577				457129.549		291		601731.864		0		601444.316		0		457129.549		601444.316		1254.633

				457085.426		601732.852		292		1257.711						1254.633		292		457085.426				457129.549		292		601732.852		0		601444.316		0		457129.549		601444.316		1254.633

				457085.275		601733.84		293		1257.728						1254.633		293		457085.275				457129.549		293		601733.84		0		601444.316		0		457129.549		601444.316		1254.633

				457085.124		601734.828		294		1257.744						1254.633		294		457085.124				457129.549		294		601734.828		0		601444.316		0		457129.549		601444.316		1254.633

				457084.972		601735.816		295		1257.761						1254.633		295		457084.972				457129.549		295		601735.816		0		601444.316		0		457129.549		601444.316		1254.633

				457084.821		601736.805		296		1257.778						1254.633		296		457084.821				457129.549		296		601736.805		0		601444.316		0		457129.549		601444.316		1254.633

				457084.67		601737.793		297		1257.778						1254.633		297		457084.67				457129.549		297		601737.793		0		601444.316		0		457129.549		601444.316		1254.633

				457084.519		601738.781		298		1257.795						1254.633		298		457084.519				457129.549		298		601738.781		0		601444.316		0		457129.549		601444.316		1254.633

				457084.368		601739.769		299		1257.812						1254.633		299		457084.368				457129.549		299		601739.769		0		601444.316		0		457129.549		601444.316		1254.633

				457084.217		601740.757		300		1257.841						1254.633		300		457084.217				457129.549		300		601740.757		0		601444.316		0		457129.549		601444.316		1254.633

				457084.066		601741.745		301		1257.858						1254.633		301		457084.066				457129.549		301		601741.745		0		601444.316		0		457129.549		601444.316		1254.633

				457083.915		601742.733		302		1257.875						1254.633		302		457083.915				457129.549		302		601742.733		0		601444.316		0		457129.549		601444.316		1254.633

				457083.764		601743.721		303		1257.893						1254.633		303		457083.764				457129.549		303		601743.721		0		601444.316		0		457129.549		601444.316		1254.633

				457083.612		601744.71		304		1257.91						1254.633		304		457083.612				457129.549		304		601744.71		0		601444.316		0		457129.549		601444.316		1254.633

				457083.461		601745.698		305		1257.91						1254.633		305		457083.461				457129.549		305		601745.698		0		601444.316		0		457129.549		601444.316		1254.633

				457083.31		601746.686		306		1257.927						1254.633		306		457083.31				457129.549		306		601746.686		0		601444.316		0		457129.549		601444.316		1254.633

				457083.159		601747.674		307		1257.944						1254.633		307		457083.159				457129.549		307		601747.674		0		601444.316		0		457129.549		601444.316		1254.633

				457083.008		601748.662		308		1257.961						1254.633		308		457083.008				457129.549		308		601748.662		0		601444.316		0		457129.549		601444.316		1254.633

				457082.857		601749.65		309		1257.99						1254.633		309		457082.857				457129.549		309		601749.65		0		601444.316		0		457129.549		601444.316		1254.633

				457082.706		601750.638		310		1258.007						1254.633		310		457082.706				457129.549		310		601750.638		0		601444.316		0		457129.549		601444.316		1254.633

				457082.555		601751.627		311		1258.024						1254.633		311		457082.555				457129.549		311		601751.627		0		601444.316		0		457129.549		601444.316		1254.633

				457082.404		601752.615		312		1258.041						1254.633		312		457082.404				457129.549		312		601752.615		0		601444.316		0		457129.549		601444.316		1254.633

				457082.253		601753.603		313		1258.041						1254.633		313		457082.253				457129.549		313		601753.603		0		601444.316		0		457129.549		601444.316		1254.633

				457082.101		601754.591		314		1258.058						1254.633		314		457082.101				457129.549		314		601754.591		0		601444.316		0		457129.549		601444.316		1254.633

				457081.95		601755.579		315		1258.075						1254.633		315		457081.95				457129.549		315		601755.579		0		601444.316		0		457129.549		601444.316		1254.633

				457081.799		601756.567		316		1258.092						1254.633		316		457081.799				457129.549		316		601756.567		0		601444.316		0		457129.549		601444.316		1254.633

				457081.648		601757.555		317		1258.109						1254.633		317		457081.648				457129.549		317		601757.555		0		601444.316		0		457129.549		601444.316		1254.633

				457081.497		601758.544		318		1258.138						1254.633		318		457081.497				457129.549		318		601758.544		0		601444.316		0		457129.549		601444.316		1254.633

				457081.346		601759.532		319		1258.155						1254.633		319		457081.346				457129.549		319		601759.532		0		601444.316		0		457129.549		601444.316		1254.633

				457081.195		601760.52		320		1258.155						1254.633		320		457081.195				457129.549		320		601760.52		0		601444.316		0		457129.549		601444.316		1254.633

				457081.044		601761.508		321		1258.172						1254.633		321		457081.044				457129.549		321		601761.508		0		601444.316		0		457129.549		601444.316		1254.633

				457080.893		601762.496		322		1258.189						1254.633		322		457080.893				457129.549		322		601762.496		0		601444.316		0		457129.549		601444.316		1254.633

				457080.741		601763.484		323		1258.207						1254.633		323		457080.741				457129.549		323		601763.484		0		601444.316		0		457129.549		601444.316		1254.633

				457080.59		601764.472		324		1258.224						1254.633		324		457080.59				457129.549		324		601764.472		0		601444.316		0		457129.549		601444.316		1254.633

				457080.439		601765.46		325		1258.241						1254.633		325		457080.439				457129.549		325		601765.46		0		601444.316		0		457129.549		601444.316		1254.633

				457080.288		601766.449		326		1258.259						1254.633		326		457080.288				457129.549		326		601766.449		0		601444.316		0		457129.549		601444.316		1254.633

				457080.137		601767.437		327		1258.287						1254.633		327		457080.137				457129.549		327		601767.437		0		601444.316		0		457129.549		601444.316		1254.633

				457079.986		601768.425		328		1258.287						1254.633		328		457079.986				457129.549		328		601768.425		0		601444.316		0		457129.549		601444.316		1254.633

				457079.835		601769.413		329		1258.305						1254.633		329		457079.835				457129.549		329		601769.413		0		601444.316		0		457129.549		601444.316		1254.633

				457079.684		601770.401		330		1258.322						1254.633		330		457079.684				457129.549		330		601770.401		0		601444.316		0		457129.549		601444.316		1254.633

				457079.533		601771.389		331		1258.339						1254.633		331		457079.533				457129.549		331		601771.389		0		601444.316		0		457129.549		601444.316		1254.633

				457079.382		601772.377		332		1258.357						1254.633		332		457079.382				457129.549		332		601772.377		0		601444.316		0		457129.549		601444.316		1254.633

				457079.23		601773.366		333		1258.374						1254.633		333		457079.23				457129.549		333		601773.366		0		601444.316		0		457129.549		601444.316		1254.633

				457079.079		601774.354		334		1258.392						1254.633		334		457079.079				457129.549		334		601774.354		0		601444.316		0		457129.549		601444.316		1254.633

				457078.928		601775.342		335		1258.409						1254.633		335		457078.928				457129.549		335		601775.342		0		601444.316		0		457129.549		601444.316		1254.633

				457078.777		601776.33		336		1258.42						1254.633		336		457078.777				457129.549		336		601776.33		0		601444.316		0		457129.549		601444.316		1254.633

				457078.626		601777.318		337		1258.438						1254.633		337		457078.626				457129.549		337		601777.318		0		601444.316		0		457129.549		601444.316		1254.633

				457078.475		601778.306		338		1258.455						1254.633		338		457078.475				457129.549		338		601778.306		0		601444.316		0		457129.549		601444.316		1254.633

				457078.324		601779.294		339		1258.473						1254.633		339		457078.324				457129.549		339		601779.294		0		601444.316		0		457129.549		601444.316		1254.633

				457078.173		601780.282		340		1258.49						1254.633		340		457078.173				457129.549		340		601780.282		0		601444.316		0		457129.549		601444.316		1254.633

				457078.022		601781.271		341		1258.508						1254.633		341		457078.022				457129.549		341		601781.271		0		601444.316		0		457129.549		601444.316		1254.633

				457077.87		601782.259		342		1258.525						1254.633		342		457077.87				457129.549		342		601782.259		0		601444.316		0		457129.549		601444.316		1254.633

				457077.719		601783.247		343		1258.543						1254.633		343		457077.719				457129.549		343		601783.247		0		601444.316		0		457129.549		601444.316		1254.633

				457077.568		601784.235		344		1258.543						1254.633		344		457077.568				457129.549		344		601784.235		0		601444.316		0		457129.549		601444.316		1254.633

				457077.417		601785.223		345		1258.571						1254.633		345		457077.417				457129.549		345		601785.223		0		601444.316		0		457129.549		601444.316		1254.633

				457077.266		601786.211		346		1258.589						1254.633		346		457077.266				457129.549		346		601786.211		0		601444.316		0		457129.549		601444.316		1254.633

				457077.115		601787.199		347		1258.607						1254.633		347		457077.115				457129.549		347		601787.199		0		601444.316		0		457129.549		601444.316		1254.633

				457076.964		601788.188		348		1258.624						1254.633		348		457076.964				457129.549		348		601788.188		0		601444.316		0		457129.549		601444.316		1254.633

				457076.813		601789.176		349		1258.642						1254.633		349		457076.813				457129.549		349		601789.176		0		601444.316		0		457129.549		601444.316		1254.633

				457076.662		601790.164		350		1258.66						1254.633		350		457076.662				457129.549		350		601790.164		0		601444.316		0		457129.549		601444.316		1254.633

				457076.511		601791.152		351		1258.66						1254.633		351		457076.511				457129.549		351		601791.152		0		601444.316		0		457129.549		601444.316		1254.633

				457076.359		601792.14		352		1258.678						1254.633		352		457076.359				457129.549		352		601792.14		0		601444.316		0		457129.549		601444.316		1254.633

				457076.208		601793.128		353		1258.706						1254.633		353		457076.208				457129.549		353		601793.128		0		601444.316		0		457129.549		601444.316		1254.633

				457076.057		601794.116		354		1258.724						1254.633		354		457076.057				457129.549		354		601794.116		0		601444.316		0		457129.549		601444.316		1254.633

				457075.906		601795.105		355		1258.741						1254.633		355		457075.906				457129.549		355		601795.105		0		601444.316		0		457129.549		601444.316		1254.633

				457075.755		601796.093		356		1258.759						1254.633		356		457075.755				457129.549		356		601796.093		0		601444.316		0		457129.549		601444.316		1254.633

				457075.604		601797.081		357		1258.777						1254.633		357		457075.604				457129.549		357		601797.081		0		601444.316		0		457129.549		601444.316		1254.633

				457075.453		601798.069		358		1258.795						1254.633		358		457075.453				457129.549		358		601798.069		0		601444.316		0		457129.549		601444.316		1254.633

				457075.302		601799.057		359		1258.795						1254.633		359		457075.302				457129.549		359		601799.057		0		601444.316		0		457129.549		601444.316		1254.633

				457075.151		601800.045		360		1258.813						1254.633		360		457075.151				457129.549		360		601800.045		0		601444.316		0		457129.549		601444.316		1254.633

				457074.999		601801.033		361		1258.83						1254.633		361		457074.999				457129.549		361		601801.033		0		601444.316		0		457129.549		601444.316		1254.633

				457074.848		601802.021		362		1258.859						1254.633		362		457074.848				457129.549		362		601802.021		0		601444.316		0		457129.549		601444.316		1254.633

				457074.697		601803.01		363		1258.876						1254.633		363		457074.697				457129.549		363		601803.01		0		601444.316		0		457129.549		601444.316		1254.633

				457074.546		601803.998		364		1258.894						1254.633		364		457074.546				457129.549		364		601803.998		0		601444.316		0		457129.549		601444.316		1254.633

				457074.395		601804.986		365		1258.912						1254.633		365		457074.395				457129.549		365		601804.986		0		601444.316		0		457129.549		601444.316		1254.633

				457074.244		601805.974		366		1258.93						1254.633		366		457074.244				457129.549		366		601805.974		0		601444.316		0		457129.549		601444.316		1254.633

				457074.093		601806.962		367		1258.93						1254.633		367		457074.093				457129.549		367		601806.962		0		601444.316		0		457129.549		601444.316		1254.633

				457073.942		601807.95		368		1258.948						1254.633		368		457073.942				457129.549		368		601807.95		0		601444.316		0		457129.549		601444.316		1254.633

				457073.791		601808.938		369		1258.966						1254.633		369		457073.791				457129.549		369		601808.938		0		601444.316		0		457129.549		601444.316		1254.633

				457073.64		601809.927		370		1258.984						1254.633		370		457073.64				457129.549		370		601809.927		0		601444.316		0		457129.549		601444.316		1254.633

				457073.488		601810.915		371		1259.012						1254.633		371		457073.488				457129.549		371		601810.915		0		601444.316		0		457129.549		601444.316		1254.633

				457073.337		601811.903		372		1259.029						1254.633		372		457073.337				457129.549		372		601811.903		0		601444.316		0		457129.549		601444.316		1254.633

				457073.186		601812.891		373		1259.047						1254.633		373		457073.186				457129.549		373		601812.891		0		601444.316		0		457129.549		601444.316		1254.633

				457073.035		601813.879		374		1259.047						1254.633		374		457073.035				457129.549		374		601813.879		0		601444.316		0		457129.549		601444.316		1254.633

				457072.884		601814.867		375		1259.064						1254.633		375		457072.884				457129.549		375		601814.867		0		601444.316		0		457129.549		601444.316		1254.633

				457072.733		601815.855		376		1259.082						1254.633		376		457072.733				457129.549		376		601815.855		0		601444.316		0		457129.549		601444.316		1254.633

				457072.582		601816.844		377		1259.1						1254.633		377		457072.582				457129.549		377		601816.844		0		601444.316		0		457129.549		601444.316		1254.633

				457072.431		601817.832		378		1259.117						1254.633		378		457072.431				457129.549		378		601817.832		0		601444.316		0		457129.549		601444.316		1254.633

				457072.28		601818.82		379		1259.135						1254.633		379		457072.28				457129.549		379		601818.82		0		601444.316		0		457129.549		601444.316		1254.633

				457072.128		601819.808		380		1259.162						1254.633		380		457072.128				457129.549		380		601819.808		0		601444.316		0		457129.549		601444.316		1254.633

				457071.977		601820.796		381		1259.18						1254.633		381		457071.977				457129.549		381		601820.796		0		601444.316		0		457129.549		601444.316		1254.633

				457071.826		601821.784		382		1259.18						1254.633		382		457071.826				457129.549		382		601821.784		0		601444.316		0		457129.549		601444.316		1254.633

				457071.675		601822.772		383		1259.197						1254.633		383		457071.675				457129.549		383		601822.772		0		601444.316		0		457129.549		601444.316		1254.633

				457071.524		601823.76		384		1259.215						1254.633		384		457071.524				457129.549		384		601823.76		0		601444.316		0		457129.549		601444.316		1254.633

				457071.373		601824.749		385		1259.233						1254.633		385		457071.373				457129.549		385		601824.749		0		601444.316		0		457129.549		601444.316		1254.633

				457071.222		601825.737		386		1259.251						1254.633		386		457071.222				457129.549		386		601825.737		0		601444.316		0		457129.549		601444.316		1254.633

				457071.071		601826.725		387		1259.269						1254.633		387		457071.071				457129.549		387		601826.725		0		601444.316		0		457129.549		601444.316		1254.633

				457070.92		601827.713		388		1259.286						1254.633		388		457070.92				457129.549		388		601827.713		0		601444.316		0		457129.549		601444.316		1254.633

				457070.769		601828.701		389		1259.313						1254.633		389		457070.769				457129.549		389		601828.701		0		601444.316		0		457129.549		601444.316		1254.633

				457070.617		601829.689		390		1259.313						1254.633		390		457070.617				457129.549		390		601829.689		0		601444.316		0		457129.549		601444.316		1254.633

				457070.466		601830.677		391		1259.331						1254.633		391		457070.466				457129.549		391		601830.677		0		601444.316		0		457129.549		601444.316		1254.633

				457070.315		601831.666		392		1259.349						1254.633		392		457070.315				457129.549		392		601831.666		0		601444.316		0		457129.549		601444.316		1254.633

				457070.164		601832.654		393		1259.367						1254.633		393		457070.164				457129.549		393		601832.654		0		601444.316		0		457129.549		601444.316		1254.633

				457070.013		601833.642		394		1259.385						1254.633		394		457070.013				457129.549		394		601833.642		0		601444.316		0		457129.549		601444.316		1254.633

				457069.862		601834.63		395		1259.403						1254.633		395		457069.862				457129.549		395		601834.63		0		601444.316		0		457129.549		601444.316		1254.633

				457069.711		601835.618		396		1259.42						1254.633		396		457069.711				457129.549		396		601835.618		0		601444.316		0		457129.549		601444.316		1254.633

				457069.56		601836.606		397		1259.438						1254.633		397		457069.56				457129.549		397		601836.606		0		601444.316		0		457129.549		601444.316		1254.633

				457069.409		601837.594		398		1259.447						1254.633		398		457069.409				457129.549		398		601837.594		0		601444.316		0		457129.549		601444.316		1254.633

				457069.257		601838.583		399		1259.465						1254.633		399		457069.257				457129.549		399		601838.583		0		601444.316		0		457129.549		601444.316		1254.633

				457069.106		601839.571		400		1259.483						1254.633		400		457069.106				457129.549		400		601839.571		0		601444.316		0		457129.549		601444.316		1254.633

				457068.955		601840.559		401		1259.501						1254.633		401		457068.955				457129.549		401		601840.559		0		601444.316		0		457129.549		601444.316		1254.633

				457068.804		601841.547		402		1259.519						1254.633		402		457068.804				457129.549		402		601841.547		0		601444.316		0		457129.549		601444.316		1254.633

				457068.653		601842.535		403		1259.536						1254.633		403		457068.653				457129.549		403		601842.535		0		601444.316		0		457129.549		601444.316		1254.633

				457068.502		601843.523		404		1259.555						1254.633		404		457068.502				457129.549		404		601843.523		0		601444.316		0		457129.549		601444.316		1254.633

				457068.351		601844.511		405		1259.555						1254.633		405		457068.351				457129.549		405		601844.511		0		601444.316		0		457129.549		601444.316		1254.633

				457068.2		601845.499		406		1259.573						1254.633		406		457068.2				457129.549		406		601845.499		0		601444.316		0		457129.549		601444.316		1254.633

				457068.049		601846.488		407		1259.599						1254.633		407		457068.049				457129.549		407		601846.488		0		601444.316		0		457129.549		601444.316		1254.633

				457067.898		601847.476		408		1259.617						1254.633		408		457067.898				457129.549		408		601847.476		0		601444.316		0		457129.549		601444.316		1254.633

				457067.746		601848.464		409		1259.635						1254.633		409		457067.746				457129.549		409		601848.464		0		601444.316		0		457129.549		601444.316		1254.633

				457067.595		601849.452		410		1259.654						1254.633		410		457067.595				457129.549		410		601849.452		0		601444.316		0		457129.549		601444.316		1254.633

				457067.444		601850.44		411		1259.672						1254.633		411		457067.444				457129.549		411		601850.44		0		601444.316		0		457129.549		601444.316		1254.633

				457067.293		601851.428		412		1259.69						1254.633		412		457067.293				457129.549		412		601851.428		0		601444.316		0		457129.549		601444.316		1254.633

				457067.142		601852.416		413		1259.69						1254.633		413		457067.142				457129.549		413		601852.416		0		601444.316		0		457129.549		601444.316		1254.633

				457066.991		601853.405		414		1259.708						1254.633		414		457066.991				457129.549		414		601853.405		0		601444.316		0		457129.549		601444.316		1254.633

				457066.84		601854.393		415		1259.726						1254.633		415		457066.84				457129.549		415		601854.393		0		601444.316		0		457129.549		601444.316		1254.633

				457066.689		601855.381		416		1259.753						1254.633		416		457066.689				457129.549		416		601855.381		0		601444.316		0		457129.549		601444.316		1254.633

				457066.538		601856.369		417		1259.771						1254.633		417		457066.538				457129.549		417		601856.369		0		601444.316		0		457129.549		601444.316		1254.633

				457066.386		601857.357		418		1259.789						1254.633		418		457066.386				457129.549		418		601857.357		0		601444.316		0		457129.549		601444.316		1254.633

				457066.235		601858.345		419		1259.807						1254.633		419		457066.235				457129.549		419		601858.345		0		601444.316		0		457129.549		601444.316		1254.633

				457066.084		601859.333		420		1259.826						1254.633		420		457066.084				457129.549		420		601859.333		0		601444.316		0		457129.549		601444.316		1254.633

				457065.933		601860.322		421		1259.826						1254.633		421		457065.933				457129.549		421		601860.322		0		601444.316		0		457129.549		601444.316		1254.633

				457065.782		601861.31		422		1259.845						1254.633		422		457065.782				457129.549		422		601861.31		0		601444.316		0		457129.549		601444.316		1254.633

				457065.631		601862.298		423		1259.864						1254.633		423		457065.631				457129.549		423		601862.298		0		601444.316		0		457129.549		601444.316		1254.633

				457065.48		601863.286		424		1259.889						1254.633		424		457065.48				457129.549		424		601863.286		0		601444.316		0		457129.549		601444.316		1254.633

				457065.329		601864.274		425		1259.908						1254.633		425		457065.329				457129.549		425		601864.274		0		601444.316		0		457129.549		601444.316		1254.633

				457065.178		601865.262		426		1259.927						1254.633		426		457065.178				457129.549		426		601865.262		0		601444.316		0		457129.549		601444.316		1254.633

				457065.027		601866.25		427		1259.946						1254.633		427		457065.027				457129.549		427		601866.25		0		601444.316		0		457129.549		601444.316		1254.633

				457064.875		601867.238		428		1259.965						1254.633		428		457064.875				457129.549		428		601867.238		0		601444.316		0		457129.549		601444.316		1254.633

				457064.724		601868.227		429		1259.965						1254.633		429		457064.724				457129.549		429		601868.227		0		601444.316		0		457129.549		601444.316		1254.633

				457064.573		601869.215		430		1259.984						1254.633		430		457064.573				457129.549		430		601869.215		0		601444.316		0		457129.549		601444.316		1254.633

				457064.422		601870.203		431		1260.003						1254.633		431		457064.422				457129.549		431		601870.203		0		601444.316		0		457129.549		601444.316		1254.633

				457064.271		601871.191		432		1260.024						1254.633		432		457064.271				457129.549		432		601871.191		0		601444.316		0		457129.549		601444.316		1254.633

				457064.12		601872.179		433		1260.05						1254.633		433		457064.12				457129.549		433		601872.179		0		601444.316		0		457129.549		601444.316		1254.633

				457063.969		601873.167		434		1260.071						1254.633		434		457063.969				457129.549		434		601873.167		0		601444.316		0		457129.549		601444.316		1254.633

				457063.818		601874.155		435		1260.091						1254.633		435		457063.818				457129.549		435		601874.155		0		601444.316		0		457129.549		601444.316		1254.633

				457063.667		601875.144		436		1260.091						1254.633		436		457063.667				457129.549		436		601875.144		0		601444.316		0		457129.549		601444.316		1254.633

				457063.515		601876.132		437		1260.112						1254.633		437		457063.515				457129.549		437		601876.132		0		601444.316		0		457129.549		601444.316		1254.633

				457063.364		601877.12		438		1260.132						1254.633		438		457063.364				457129.549		438		601877.12		0		601444.316		0		457129.549		601444.316		1254.633

				457063.213		601878.108		439		1260.153						1254.633		439		457063.213				457129.549		439		601878.108		0		601444.316		0		457129.549		601444.316		1254.633

				457063.062		601879.096		440		1260.173						1254.633		440		457063.062				457129.549		440		601879.096		0		601444.316		0		457129.549		601444.316		1254.633

				457062.911		601880.084		441		1260.194						1254.633		441		457062.911				457129.549		441		601880.084		0		601444.316		0		457129.549		601444.316		1254.633

				457062.76		601881.072		442		1260.22						1254.633		442		457062.76				457129.549		442		601881.072		0		601444.316		0		457129.549		601444.316		1254.633

				457062.609		601882.061		443		1260.241						1254.633		443		457062.609				457129.549		443		601882.061		0		601444.316		0		457129.549		601444.316		1254.633

				457062.458		601883.049		444		1260.241						1254.633		444		457062.458				457129.549		444		601883.049		0		601444.316		0		457129.549		601444.316		1254.633

				457062.307		601884.037		445		1260.262						1254.633		445		457062.307				457129.549		445		601884.037		0		601444.316		0		457129.549		601444.316		1254.633

				457062.156		601885.025		446		1260.282						1254.633		446		457062.156				457129.549		446		601885.025		0		601444.316		0		457129.549		601444.316		1254.633

				457062.004		601886.013		447		1260.303						1254.633		447		457062.004				457129.549		447		601886.013		0		601444.316		0		457129.549		601444.316		1254.633

				457061.853		601887.001		448		1260.323						1254.633		448		457061.853				457129.549		448		601887.001		0		601444.316		0		457129.549		601444.316		1254.633

				457061.702		601887.989		449		1260.344						1254.633		449		457061.702				457129.549		449		601887.989		0		601444.316		0		457129.549		601444.316		1254.633

				457061.551		601888.977		450		1260.365						1254.633		450		457061.551				457129.549		450		601888.977		0		601444.316		0		457129.549		601444.316		1254.633

				457061.4		601889.966		451		1260.391						1254.633		451		457061.4				457129.549		451		601889.966		0		601444.316		0		457129.549		601444.316		1254.633

				457061.249		601890.954		452		1260.391						1254.633		452		457061.249				457129.549		452		601890.954		0		601444.316		0		457129.549		601444.316		1254.633

				457061.098		601891.942		453		1260.411						1254.633		453		457061.098				457129.549		453		601891.942		0		601444.316		0		457129.549		601444.316		1254.633

				457060.947		601892.93		454		1260.432						1254.633		454		457060.947				457129.549		454		601892.93		0		601444.316		0		457129.549		601444.316		1254.633

				457060.796		601893.918		455		1260.453						1254.633		455		457060.796				457129.549		455		601893.918		0		601444.316		0		457129.549		601444.316		1254.633

				457060.644		601894.906		456		1260.473						1254.633		456		457060.644				457129.549		456		601894.906		0		601444.316		0		457129.549		601444.316		1254.633

				457060.493		601895.894		457		1260.493						1254.633		457		457060.493				457129.549		457		601895.894		0		601444.316		0		457129.549		601444.316		1254.633

				457060.342		601896.883		458		1260.513						1254.633		458		457060.342				457129.549		458		601896.883		0		601444.316		0		457129.549		601444.316		1254.633

				457060.191		601897.871		459		1260.533						1254.633		459		457060.191				457129.549		459		601897.871		0		601444.316		0		457129.549		601444.316		1254.633

				457060.04		601898.859		460		1260.541						1254.633		460		457060.04				457129.549		460		601898.859		0		601444.316		0		457129.549		601444.316		1254.633

				457059.889		601899.847		461		1260.561						1254.633		461		457059.889				457129.549		461		601899.847		0		601444.316		0		457129.549		601444.316		1254.633

				457059.738		601900.835		462		1260.581						1254.633		462		457059.738				457129.549		462		601900.835		0		601444.316		0		457129.549		601444.316		1254.633

				457059.587		601901.823		463		1260.601						1254.633		463		457059.587				457129.549		463		601901.823		0		601444.316		0		457129.549		601444.316		1254.633

				457059.436		601902.811		464		1260.621						1254.633		464		457059.436				457129.549		464		601902.811		0		601444.316		0		457129.549		601444.316		1254.633

				457059.285		601903.8		465		1260.641						1254.633		465		457059.285				457129.549		465		601903.8		0		601444.316		0		457129.549		601444.316		1254.633

				457059.133		601904.788		466		1260.661						1254.633		466		457059.133				457129.549		466		601904.788		0		601444.316		0		457129.549		601444.316		1254.633

				457058.982		601905.776		467		1260.661						1254.633		467		457058.982				457129.549		467		601905.776		0		601444.316		0		457129.549		601444.316		1254.633

				457058.831		601906.764		468		1260.681						1254.633		468		457058.831				457129.549		468		601906.764		0		601444.316		0		457129.549		601444.316		1254.633

				457058.68		601907.752		469		1260.709						1254.633		469		457058.68				457129.549		469		601907.752		0		601444.316		0		457129.549		601444.316		1254.633

				457058.529		601908.74		470		1260.729						1254.633		470		457058.529				457129.549		470		601908.74		0		601444.316		0		457129.549		601444.316		1254.633

				457058.378		601909.728		471		1260.75						1254.633		471		457058.378				457129.549		471		601909.728		0		601444.316		0		457129.549		601444.316		1254.633

				457058.227		601910.716		472		1260.77						1254.633		472		457058.227				457129.549		472		601910.716		0		601444.316		0		457129.549		601444.316		1254.633

				457058.076		601911.705		473		1260.79						1254.633		473		457058.076				457129.549		473		601911.705		0		601444.316		0		457129.549		601444.316		1254.633

				457057.925		601912.693		474		1260.81						1254.633		474		457057.925				457129.549		474		601912.693		0		601444.316		0		457129.549		601444.316		1254.633

				457057.773		601913.681		475		1260.81						1254.633		475		457057.773				457129.549		475		601913.681		0		601444.316		0		457129.549		601444.316		1254.633

				457057.622		601914.669		476		1260.83						1254.633		476		457057.622				457129.549		476		601914.669		0		601444.316		0		457129.549		601444.316		1254.633

				457057.471		601915.657		477		1260.85						1254.633		477		457057.471				457129.549		477		601915.657		0		601444.316		0		457129.549		601444.316		1254.633

				457057.32		601916.645		478		1260.878						1254.633		478		457057.32				457129.549		478		601916.645		0		601444.316		0		457129.549		601444.316		1254.633

				457057.169		601917.633		479		1260.898						1254.633		479		457057.169				457129.549		479		601917.633		0		601444.316		0		457129.549		601444.316		1254.633

				457057.018		601918.622		480		1260.918						1254.633		480		457057.018				457129.549		480		601918.622		0		601444.316		0		457129.549		601444.316		1254.633

				457056.867		601919.61		481		1260.938						1254.633		481		457056.867				457129.549		481		601919.61		0		601444.316		0		457129.549		601444.316		1254.633

				457056.716		601920.598		482		1260.958						1254.633		482		457056.716				457129.549		482		601920.598		0		601444.316		0		457129.549		601444.316		1254.633

				457056.565		601921.586		483		1260.958						1254.633		483		457056.565				457129.549		483		601921.586		0		601444.316		0		457129.549		601444.316		1254.633

				457056.414		601922.574		484		1260.978						1254.633		484		457056.414				457129.549		484		601922.574		0		601444.316		0		457129.549		601444.316		1254.633

				457056.262		601923.562		485		1260.998						1254.633		485		457056.262				457129.549		485		601923.562		0		601444.316		0		457129.549		601444.316		1254.633

				457056.111		601924.55		486		1261						1254.633		486		457056.111				457129.549		486		601924.55		0		601444.316		0		457129.549		601444.316		1254.633

				457055.96		601925.539		487		1261						1254.633		487		457055.96				457129.549		487		601925.539		0		601444.316		0		457129.549		601444.316		1254.633

				457055.809		601926.527		488		1261						1254.633		488		457055.809				457129.549		488		601926.527		0		601444.316		0		457129.549		601444.316		1254.633

				457055.658		601927.515		489		1261						1254.633		489		457055.658				457129.549		489		601927.515		0		601444.316		0		457129.549		601444.316		1254.633

				457055.507		601928.503		490		1261						1254.633		490		457055.507				457129.549		490		601928.503		0		601444.316		0		457129.549		601444.316		1254.633

				457055.356		601929.491		491		1261						1254.633		491		457055.356				457129.549		491		601929.491		0		601444.316		0		457129.549		601444.316		1254.633

				457055.205		601930.479		492		1261						1254.633		492		457055.205				457129.549		492		601930.479		0		601444.316		0		457129.549		601444.316		1254.633

				457055.054		601931.467		493		1261						1254.633		493		457055.054				457129.549		493		601931.467		0		601444.316		0		457129.549		601444.316		1254.633

				457054.902		601932.455		494		1261						1254.633		494		457054.902				457129.549		494		601932.455		0		601444.316		0		457129.549		601444.316		1254.633

				457054.751		601933.444		495		1261						1254.633		495		457054.751				457129.549		495		601933.444		0		601444.316		0		457129.549		601444.316		1254.633

				457054.6		601934.432		496		1261						1254.633		496		457054.6				457129.549		496		601934.432		0		601444.316		0		457129.549		601444.316		1254.633

				457054.449		601935.42		497		1261						1254.633		497		457054.449				457129.549		497		601935.42		0		601444.316		0		457129.549		601444.316		1254.633

				457054.298		601936.408		498		1261						1254.633		498		457054.298				457129.549		498		601936.408		0		601444.316		0		457129.549		601444.316		1254.633

				457054.147		601937.396		499		1261						1254.633		499		457054.147				457129.549		499		601937.396		0		601444.316		0		457129.549		601444.316		1254.633

				457053.996		601938.384		500		1261						1254.633		500		457053.996				457129.549		500		601938.384		0		601444.316		0		457129.549		601444.316		1254.633

				457053.845		601939.372		501		1261						1254.633		501		457053.845				457129.549		501		601939.372		0		601444.316		0		457129.549		601444.316		1254.633

				457053.694		601940.361		502		1261						1254.633		502		457053.694				457129.549		502		601940.361		0		601444.316		0		457129.549		601444.316		1254.633

				457053.542		601941.349		503		1261						1254.633		503		457053.542				457129.549		503		601941.349		0		601444.316		0		457129.549		601444.316		1254.633

				457053.391		601942.337		504		1261						1254.633		504		457053.391				457129.549		504		601942.337		0		601444.316		0		457129.549		601444.316		1254.633

				457053.24		601943.325		505		1261						1254.633		505		457053.24				457129.549		505		601943.325		0		601444.316		0		457129.549		601444.316		1254.633

				457053.089		601944.313		506		1261						1254.633		506		457053.089				457129.549		506		601944.313		0		601444.316		0		457129.549		601444.316		1254.633

				457052.938		601945.301		507		1261						1254.633		507		457052.938				457129.549		507		601945.301		0		601444.316		0		457129.549		601444.316		1254.633

				457052.787		601946.289		508		1261						1254.633		508		457052.787				457129.549		508		601946.289		0		601444.316		0		457129.549		601444.316		1254.633

				457052.636		601947.278		509		1261						1254.633		509		457052.636				457129.549		509		601947.278		0		601444.316		0		457129.549		601444.316		1254.633

				457052.485		601948.266		510		1261						1254.633		510		457052.485				457129.549		510		601948.266		0		601444.316		0		457129.549		601444.316		1254.633

				457052.334		601949.254		511		1261						1254.633		511		457052.334				457129.549		511		601949.254		0		601444.316		0		457129.549		601444.316		1254.633

				457052.183		601950.242		512		1261						1254.633		512		457052.183				457129.549		512		601950.242		0		601444.316		0		457129.549		601444.316		1254.633

				457052.031		601951.23		513		1261						1254.633		513		457052.031				457129.549		513		601951.23		0		601444.316		0		457129.549		601444.316		1254.633

				457051.88		601952.218		514		1261						1254.633		514		457051.88				457129.549		514		601952.218		0		601444.316		0		457129.549		601444.316		1254.633

				457051.729		601953.206		515		1261						1254.633		515		457051.729				457129.549		515		601953.206		0		601444.316		0		457129.549		601444.316		1254.633

				457051.578		601954.194		516		1261						1254.633		516		457051.578				457129.549		516		601954.194		0		601444.316		0		457129.549		601444.316		1254.633

				457051.427		601955.183		517		1261						1254.633		517		457051.427				457129.549		517		601955.183		0		601444.316		0		457129.549		601444.316		1254.633

				457051.276		601956.171		518		1261						1254.633		518		457051.276				457129.549		518		601956.171		0		601444.316		0		457129.549		601444.316		1254.633

				457051.125		601957.159		519		1261						1254.633		519		457051.125				457129.549		519		601957.159		0		601444.316		0		457129.549		601444.316		1254.633

				457050.974		601958.147		520		1261						1254.633		520		457050.974				457129.549		520		601958.147		0		601444.316		0		457129.549		601444.316		1254.633

				457050.823		601959.135		521		1261						1254.633		521		457050.823				457129.549		521		601959.135		0		601444.316		0		457129.549		601444.316		1254.633

				457050.671		601960.123		522		1261						1254.633		522		457050.671				457129.549		522		601960.123		0		601444.316		0		457129.549		601444.316		1254.633

				457050.52		601961.111		523		1261						1254.633		523		457050.52				457129.549		523		601961.111		0		601444.316		0		457129.549		601444.316		1254.633

				457050.369		601962.1		524		1261						1254.633		524		457050.369				457129.549		524		601962.1		0		601444.316		0		457129.549		601444.316		1254.633

				457050.218		601963.088		525		1261						1254.633		525		457050.218				457129.549		525		601963.088		0		601444.316		0		457129.549		601444.316		1254.633

				457050.067		601964.076		526		1261						1254.633		526		457050.067				457129.549		526		601964.076		0		601444.316		0		457129.549		601444.316		1254.633

				457049.916		601965.064		527		1261						1254.633		527		457049.916				457129.549		527		601965.064		0		601444.316		0		457129.549		601444.316		1254.633

				457049.765		601966.052		528		1261						1254.633		528		457049.765				457129.549		528		601966.052		0		601444.316		0		457129.549		601444.316		1254.633

				457049.614		601967.04		529		1261						1254.633		529		457049.614				457129.549		529		601967.04		0		601444.316		0		457129.549		601444.316		1254.633

				457049.463		601968.028		530		1261						1254.633		530		457049.463				457129.549		530		601968.028		0		601444.316		0		457129.549		601444.316		1254.633

				457049.312		601969.016		531		1261						1254.633		531		457049.312				457129.549		531		601969.016		0		601444.316		0		457129.549		601444.316		1254.633

				457049.16		601970.005		532		1261						1254.633		532		457049.16				457129.549		532		601970.005		0		601444.316		0		457129.549		601444.316		1254.633

				457049.009		601970.993		533		1261						1254.633		533		457049.009				457129.549		533		601970.993		0		601444.316		0		457129.549		601444.316		1254.633

				457048.858		601971.981		534		1261						1254.633		534		457048.858				457129.549		534		601971.981		0		601444.316		0		457129.549		601444.316		1254.633

				457048.707		601972.969		535		1261						1254.633		535		457048.707				457129.549		535		601972.969		0		601444.316		0		457129.549		601444.316		1254.633

				457048.556		601973.957		536		1261						1254.633		536		457048.556				457129.549		536		601973.957		0		601444.316		0		457129.549		601444.316		1254.633

				457048.405		601974.945		537		1261						1254.633		537		457048.405				457129.549		537		601974.945		0		601444.316		0		457129.549		601444.316		1254.633

				457048.254		601975.933		538		1261						1254.633		538		457048.254				457129.549		538		601975.933		0		601444.316		0		457129.549		601444.316		1254.633

				457048.103		601976.922		539		1261						1254.633		539		457048.103				457129.549		539		601976.922		0		601444.316		0		457129.549		601444.316		1254.633

				457047.952		601977.91		540		1261						1254.633		540		457047.952				457129.549		540		601977.91		0		601444.316		0		457129.549		601444.316		1254.633

				457047.8		601978.898		541		1261						1254.633		541		457047.8				457129.549		541		601978.898		0		601444.316		0		457129.549		601444.316		1254.633

				457047.649		601979.886		542		1261						1254.633		542		457047.649				457129.549		542		601979.886		0		601444.316		0		457129.549		601444.316		1254.633

				457047.498		601980.874		543		1261						1254.633		543		457047.498				457129.549		543		601980.874		0		601444.316		0		457129.549		601444.316		1254.633

				457047.347		601981.862		544		1261						1254.633		544		457047.347				457129.549		544		601981.862		0		601444.316		0		457129.549		601444.316		1254.633

				457047.196		601982.85		545		1261						1254.633		545		457047.196				457129.549		545		601982.85		0		601444.316		0		457129.549		601444.316		1254.633

				457047.045		601983.839		546		1261						1254.633		546		457047.045				457129.549		546		601983.839		0		601444.316		0		457129.549		601444.316		1254.633

				457046.894		601984.827		547		1261						1254.633		547		457046.894				457129.549		547		601984.827		0		601444.316		0		457129.549		601444.316		1254.633

				457046.743		601985.815		548		1261						1254.633		548		457046.743				457129.549		548		601985.815		0		601444.316		0		457129.549		601444.316		1254.633

				457046.592		601986.803		549		1261						1254.633		549		457046.592				457129.549		549		601986.803		0		601444.316		0		457129.549		601444.316		1254.633

				457046.441		601987.791		550		1261						1254.633		550		457046.441				457129.549		550		601987.791		0		601444.316		0		457129.549		601444.316		1254.633

				457046.289		601988.779		551		1261						1254.633		551		457046.289				457129.549		551		601988.779		0		601444.316		0		457129.549		601444.316		1254.633

				457046.138		601989.767		552		1261						1254.633		552		457046.138				457129.549		552		601989.767		0		601444.316		0		457129.549		601444.316		1254.633

				457045.987		601990.755		553		1261						1254.633		553		457045.987				457129.549		553		601990.755		0		601444.316		0		457129.549		601444.316		1254.633

				457045.836		601991.744		554		1261						1254.633		554		457045.836				457129.549		554		601991.744		0		601444.316		0		457129.549		601444.316		1254.633

				457045.685		601992.732		555		1261						1254.633		555		457045.685				457129.549		555		601992.732		0		601444.316		0		457129.549		601444.316		1254.633

				457045.534		601993.72		556		1261						1254.633		556		457045.534				457129.549		556		601993.72		0		601444.316		0		457129.549		601444.316		1254.633

				457045.383		601994.708		557		1261						1254.633		557		457045.383				457129.549		557		601994.708		0		601444.316		0		457129.549		601444.316		1254.633

				457045.232		601995.696		558		1261						1254.633		558		457045.232				457129.549		558		601995.696		0		601444.316		0		457129.549		601444.316		1254.633

				457045.081		601996.684		559		1261						1254.633		559		457045.081				457129.549		559		601996.684		0		601444.316		0		457129.549		601444.316		1254.633

				457044.929		601997.672		560		1261						1254.633		560		457044.929				457129.549		560		601997.672		0		601444.316		0		457129.549		601444.316		1254.633

				457044.778		601998.661		561		1261						1254.633		561		457044.778				457129.549		561		601998.661		0		601444.316		0		457129.549		601444.316		1254.633

				457044.627		601999.649		562		1261						1254.633		562		457044.627				457129.549		562		601999.649		0		601444.316		0		457129.549		601444.316		1254.633

				457044.476		602000.637		563		1261						1254.633		563		457044.476				457129.549		563		602000.637		0		601444.316		0		457129.549		601444.316		1254.633

				457044.325		602001.625		564		1261						1254.633		564		457044.325				457129.549		564		602001.625		0		601444.316		0		457129.549		601444.316		1254.633

				457044.174		602002.613		565		1261						1254.633		565		457044.174				457129.549		565		602002.613		0		601444.316		0		457129.549		601444.316		1254.633

				457044.023		602003.601		566		1261						1254.633		566		457044.023				457129.549		566		602003.601		0		601444.316		0		457129.549		601444.316		1254.633

				457043.872		602004.589		567		1261						1254.633		567		457043.872				457129.549		567		602004.589		0		601444.316		0		457129.549		601444.316		1254.633

				457043.721		602005.578		568		1261						1254.633		568		457043.721				457129.549		568		602005.578		0		601444.316		0		457129.549		601444.316		1254.633

				457043.57		602006.566		569		1261						1254.633		569		457043.57				457129.549		569		602006.566		0		601444.316		0		457129.549		601444.316		1254.633

				457043.418		602007.554		570		1261						1254.633		570		457043.418				457129.549		570		602007.554		0		601444.316		0		457129.549		601444.316		1254.633

				457043.267		602008.542		571		1261						1254.633		571		457043.267				457129.549		571		602008.542		0		601444.316		0		457129.549		601444.316		1254.633

				457043.116		602009.53		572		1261						1254.633		572		457043.116				457129.549		572		602009.53		0		601444.316		0		457129.549		601444.316		1254.633

				457042.965		602010.518		573		1261						1254.633		573		457042.965				457129.549		573		602010.518		0		601444.316		0		457129.549		601444.316		1254.633

				457042.814		602011.506		574		1261						1254.633		574		457042.814				457129.549		574		602011.506		0		601444.316		0		457129.549		601444.316		1254.633

				457042.663		602012.494		575		1261						1254.633		575		457042.663				457129.549		575		602012.494		0		601444.316		0		457129.549		601444.316		1254.633

				457042.512		602013.483		576		1261						1254.633		576		457042.512				457129.549		576		602013.483		0		601444.316		0		457129.549		601444.316		1254.633

				457042.361		602014.471		577		1261						1254.633		577		457042.361				457129.549		577		602014.471		0		601444.316		0		457129.549		601444.316		1254.633

				457042.21		602015.459		578		1261						1254.633		578		457042.21				457129.549		578		602015.459		0		601444.316		0		457129.549		601444.316		1254.633

				457042.058		602016.447		579		1261						1254.633		579		457042.058				457129.549		579		602016.447		0		601444.316		0		457129.549		601444.316		1254.633

				457041.907		602017.435		580		1261						1254.633		580		457041.907				457129.549		580		602017.435		0		601444.316		0		457129.549		601444.316		1254.633

				457041.756		602018.423		581		1261						1254.633		581		457041.756				457129.549		581		602018.423		0		601444.316		0		457129.549		601444.316		1254.633

				457041.605		602019.411		582		1261						1254.633		582		457041.605				457129.549		582		602019.411		0		601444.316		0		457129.549		601444.316		1254.633

				457041.454		602020.4		583		1261						1254.633		583		457041.454				457129.549		583		602020.4		0		601444.316		0		457129.549		601444.316		1254.633

				457041.303		602021.388		584		1261						1254.633		584		457041.303				457129.549		584		602021.388		0		601444.316		0		457129.549		601444.316		1254.633

				457041.152		602022.376		585		1261						1254.633		585		457041.152				457129.549		585		602022.376		0		601444.316		0		457129.549		601444.316		1254.633

				457041.001		602023.364		586		1261						1254.633		586		457041.001				457129.549		586		602023.364		0		601444.316		0		457129.549		601444.316		1254.633

				457040.85		602024.352		587		1261						1254.633		587		457040.85				457129.549		587		602024.352		0		601444.316		0		457129.549		601444.316		1254.633

				457040.699		602025.34		588		1261						1254.633		588		457040.699				457129.549		588		602025.34		0		601444.316		0		457129.549		601444.316		1254.633

				457040.547		602026.328		589		1261						1254.633		589		457040.547				457129.549		589		602026.328		0		601444.316		0		457129.549		601444.316		1254.633

				457040.396		602027.317		590		1261						1254.633		590		457040.396				457129.549		590		602027.317		0		601444.316		0		457129.549		601444.316		1254.633

				457040.245		602028.305		591		1261						1254.633		591		457040.245				457129.549		591		602028.305		0		601444.316		0		457129.549		601444.316		1254.633

				457040.094		602029.293		592		1261						1254.633		592		457040.094				457129.549		592		602029.293		0		601444.316		0		457129.549		601444.316		1254.633

				457039.943		602030.281		593		1261						1254.633		593		457039.943				457129.549		593		602030.281		0		601444.316		0		457129.549		601444.316		1254.633

				457039.792		602031.269		594		1261						1254.633		594		457039.792				457129.549		594		602031.269		0		601444.316		0		457129.549		601444.316		1254.633

				457039.641		602032.257		595		1261						1254.633		595		457039.641				457129.549		595		602032.257		0		601444.316		0		457129.549		601444.316		1254.633

				457039.49		602033.245		596		1261						1254.633		596		457039.49				457129.549		596		602033.245		0		601444.316		0		457129.549		601444.316		1254.633

				457039.339		602034.233		597		1261						1254.633		597		457039.339				457129.549		597		602034.233		0		601444.316		0		457129.549		601444.316		1254.633

				457039.187		602035.222		598		1261						1254.633		598		457039.187				457129.549		598		602035.222		0		601444.316		0		457129.549		601444.316		1254.633

				457039.036		602036.21		599		1261						1254.633		599		457039.036				457129.549		599		602036.21		0		601444.316		0		457129.549		601444.316		1254.633

				457038.885		602037.198		600		1261						1254.633		600		457038.885				457129.549		600		602037.198		0		601444.316		0		457129.549		601444.316		1254.633

				457038.734		602038.186		601		1261						1254.633		601		457038.734				457129.549		601		602038.186		0		601444.316		0		457129.549		601444.316		1254.633

				457038.583		602039.174		602		1261						1254.633		602		457038.583				457129.549		602		602039.174		0		601444.316		0		457129.549		601444.316		1254.633

				457038.432		602040.162		603		1261						1254.633		603		457038.432				457129.549		603		602040.162		0		601444.316		0		457129.549		601444.316		1254.633

				457038.281		602041.15		604		1261						1254.633		604		457038.281				457129.549		604		602041.15		0		601444.316		0		457129.549		601444.316		1254.633

				457038.13		602042.139		605		1261						1254.633		605		457038.13				457129.549		605		602042.139		0		601444.316		0		457129.549		601444.316		1254.633

				457037.979		602043.127		606		1261						1254.633		606		457037.979				457129.549		606		602043.127		0		601444.316		0		457129.549		601444.316		1254.633

				457037.828		602044.115		607		1261						1254.633		607		457037.828				457129.549		607		602044.115		0		601444.316		0		457129.549		601444.316		1254.633

				457037.676		602045.103		608		1261						1254.633		608		457037.676				457129.549		608		602045.103		0		601444.316		0		457129.549		601444.316		1254.633

				457037.525		602046.091		609		1261						1254.633		609		457037.525				457129.549		609		602046.091		0		601444.316		0		457129.549		601444.316		1254.633

				457037.374		602047.079		610		1261								610		457037.374				457129.549		610		602047.079		0		601444.316		0		457129.549		601444.316		0

				457037.223		602048.067		611		1261								611		457037.223				457129.549		611		602048.067		0		601444.316		0		457129.549		601444.316		0

				457037.072		602049.056		612		1261								612		457037.072				457129.549		612		602049.056		0		601444.316		0		457129.549		601444.316		0

				457036.921		602050.044		613		1261								613		457036.921				457129.549		613		602050.044		0		601444.316		0		457129.549		601444.316		0

				457036.77		602051.032		614		1261								614		457036.77				457129.549		614		602051.032		0		601444.316		0		457129.549		601444.316		0

				457036.619		602052.02		615		1261								615		457036.619				457129.549		615		602052.02		0		601444.316		0		457129.549		601444.316		0

				457036.468		602053.008		616		1261								616		457036.468				457129.549		616		602053.008		0		601444.316		0		457129.549		601444.316		0

				457036.316		602053.996		617		1261								617		457036.316				457129.549		617		602053.996		0		601444.316		0		457129.549		601444.316		0

				457036.165		602054.984		618		1261								618		457036.165				457129.549		618		602054.984		0		601444.316		0		457129.549		601444.316		0

				457036.014		602055.972		619		1261								619		457036.014				457129.549		619		602055.972		0		601444.316		0		457129.549		601444.316		0

				457035.863		602056.961		620		1261								620		457035.863				457129.549		620		602056.961		0		601444.316		0		457129.549		601444.316		0

				457035.712		602057.949		621		1261								621		457035.712				457129.549		621		602057.949		0		601444.316		0		457129.549		601444.316		0

				457035.561		602058.937		622		1261								622		457035.561				457129.549		622		602058.937		0		601444.316		0		457129.549		601444.316		0

				457035.41		602059.925		623		1261								623		457035.41				457129.549		623		602059.925		0		601444.316		0		457129.549		601444.316		0

				457035.259		602060.913		624		1261								624		457035.259				457129.549		624		602060.913		0		601444.316		0		457129.549		601444.316		0

				457035.108		602061.901		625		1261								625		457035.108				457129.549		625		602061.901		0		601444.316		0		457129.549		601444.316		0

				457034.957		602062.889		626		1261								626		457034.957				457129.549		626		602062.889		0		601444.316		0		457129.549		601444.316		0

				457034.805		602063.878		627		1261								627		457034.805				457129.549		627		602063.878		0		601444.316		0		457129.549		601444.316		0

				457034.654		602064.866		628		1261								628		457034.654				457129.549		628		602064.866		0		601444.316		0		457129.549		601444.316		0

				457034.503		602065.854		629		1261								629		457034.503				457129.549		629		602065.854		0		601444.316		0		457129.549		601444.316		0

				457034.352		602066.842		630		1261								630		457034.352				457129.549		630		602066.842		0		601444.316		0		457129.549		601444.316		0

				457034.201		602067.83		631		1261								631		457034.201				457129.549		631		602067.83		0		601444.316		0		457129.549		601444.316		0

				457034.05		602068.818		632		1261								632		457034.05				457129.549		632		602068.818		0		601444.316		0		457129.549		601444.316		0

				457033.899		602069.806		633		1261								633		457033.899				457129.549		633		602069.806		0		601444.316		0		457129.549		601444.316		0

				457033.748		602070.795		634		1261								634		457033.748				457129.549		634		602070.795		0		601444.316		0		457129.549		601444.316		0

				457033.597		602071.783		635		1261								635		457033.597				457129.549		635		602071.783		0		601444.316		0		457129.549		601444.316		0

				457033.445		602072.771		636		1261								636		457033.445				457129.549		636		602072.771		0		601444.316		0		457129.549		601444.316		0

				457033.294		602073.759		637		1261								637		457033.294				457129.549		637		602073.759		0		601444.316		0		457129.549		601444.316		0

				457033.143		602074.747		638		1261								638		457033.143				457129.549		638		602074.747		0		601444.316		0		457129.549		601444.316		0

				457032.992		602075.735		639		1261								639		457032.992				457129.549		639		602075.735		0		601444.316		0		457129.549		601444.316		0

				457032.841		602076.723		640		1261								640		457032.841				457129.549		640		602076.723		0		601444.316		0		457129.549		601444.316		0

				457032.69		602077.711		641		1261								641		457032.69				457129.549		641		602077.711		0		601444.316		0		457129.549		601444.316		0

				457032.539		602078.7		642		1261								642		457032.539				457129.549		642		602078.7		0		601444.316		0		457129.549		601444.316		0

				457032.388		602079.688		643		1261								643		457032.388				457129.549		643		602079.688		0		601444.316		0		457129.549		601444.316		0

				457032.237		602080.676		644		1261								644		457032.237				457129.549		644		602080.676		0		601444.316		0		457129.549		601444.316		0

				457032.086		602081.664		645		1261								645		457032.086				457129.549		645		602081.664		0		601444.316		0		457129.549		601444.316		0

				457031.934		602082.652		646		1261								646		457031.934				457129.549		646		602082.652		0		601444.316		0		457129.549		601444.316		0

				457031.783		602083.64		647		1261								647		457031.783				457129.549		647		602083.64		0		601444.316		0		457129.549		601444.316		0

				457031.632		602084.628		648		1261								648		457031.632				457129.549		648		602084.628		0		601444.316		0		457129.549		601444.316		0

				457031.481		602085.617		649		1261								649		457031.481				457129.549		649		602085.617		0		601444.316		0		457129.549		601444.316		0

				457031.33		602086.605		650		1261								650		457031.33				457129.549		650		602086.605		0		601444.316		0		457129.549		601444.316		0

				457031.179		602087.593		651		1261								651		457031.179				457129.549		651		602087.593		0		601444.316		0		457129.549		601444.316		0

				457031.028		602088.581		652		1261								652		457031.028				457129.549		652		602088.581		0		601444.316		0		457129.549		601444.316		0

				457030.877		602089.569		653		1261								653		457030.877				457129.549		653		602089.569		0		601444.316		0		457129.549		601444.316		0

				457030.726		602090.557		654		1261								654		457030.726				457129.549		654		602090.557		0		601444.316		0		457129.549		601444.316		0

				457030.574		602091.545		655		1261								655		457030.574				457129.549		655		602091.545		0		601444.316		0		457129.549		601444.316		0

				457030.423		602092.534		656		1261								656		457030.423				457129.549		656		602092.534		0		601444.316		0		457129.549		601444.316		0

				457030.272		602093.522		657		1261								657		457030.272				457129.549		657		602093.522		0		601444.316		0		457129.549		601444.316		0

				457030.121		602094.51		658		1261								658		457030.121				457129.549		658		602094.51		0		601444.316		0		457129.549		601444.316		0

				457029.97		602095.498		659		1261								659		457029.97				457129.549		659		602095.498		0		601444.316		0		457129.549		601444.316		0

				457029.819		602096.486		660		1261								660		457029.819				457129.549		660		602096.486		0		601444.316		0		457129.549		601444.316		0

				457029.668		602097.474		661		1261								661		457029.668				457129.549		661		602097.474		0		601444.316		0		457129.549		601444.316		0

				457029.517		602098.462		662		1261								662		457029.517				457129.549		662		602098.462		0		601444.316		0		457129.549		601444.316		0

				457029.366		602099.45		663		1261								663		457029.366				457129.549		663		602099.45		0		601444.316		0		457129.549		601444.316		0

				457029.215		602100.439		664		1261								664		457029.215				457129.549		664		602100.439		0		601444.316		0		457129.549		601444.316		0

				457029.063		602101.427		665		1261								665		457029.063				457129.549		665		602101.427		0		601444.316		0		457129.549		601444.316		0

				457028.912		602102.415		666		1261								666		457028.912				457129.549		666		602102.415		0		601444.316		0		457129.549		601444.316		0

				457028.761		602103.403		667		1261								667		457028.761				457129.549		667		602103.403		0		601444.316		0		457129.549		601444.316		0

				457028.61		602104.391		668		1261								668		457028.61				457129.549		668		602104.391		0		601444.316		0		457129.549		601444.316		0

				457028.459		602105.379		669		1261								669		457028.459				457129.549		669		602105.379		0		601444.316		0		457129.549		601444.316		0

				457028.308		602106.367		670		1261								670		457028.308						670		602106.367		0		601444.316		0		0		601444.316		0

				457028.157		602107.356		671		1261								671		457028.157						671		602107.356		0		601444.316		0		0		601444.316		0

				457028.006		602108.344		672		1261								672		457028.006						672		602108.344		0		601444.316		0		0		601444.316		0

				457027.855		602109.332		673		1261								673		457027.855						673		602109.332		0		601444.316		0		0		601444.316		0

				457027.703		602110.32		674		1261								674		457027.703						674		602110.32		0		601444.316		0		0		601444.316		0

				457027.552		602111.308		675		1261								675		457027.552						675		602111.308		0		601444.316		0		0		601444.316		0

				457027.401		602112.296		676		1261								676		457027.401						676		602112.296		0		601444.316		0		0		601444.316		0

				457027.25		602113.284		677		1261								677		457027.25						677		602113.284		0		601444.316		0		0		601444.316		0

				457027.099		602114.273		678		1261								678		457027.099						678		602114.273		0		601444.316		0		0		601444.316		0

				457026.948		602115.261		679		1261								679		457026.948						679		602115.261		0		601444.316		0		0		601444.316		0

				457026.797		602116.249		680		1261								680		457026.797						680		602116.249		0		601444.316		0		0		601444.316		0

				457026.646		602117.237		681		1261								681		457026.646						681		602117.237		0		601444.316		0		0		601444.316		0

				457026.495		602118.225		682		1261								682		457026.495						682		602118.225		0		601444.316		0		0		601444.316		0

				457026.344		602119.213		683		1261								683		457026.344						683		602119.213		0		601444.316		0		0		601444.316		0

				457026.192		602120.201		684		1261								684		457026.192						684		602120.201		0		601444.316		0		0		601444.316		0

				457026.041		602121.189		685		1261								685		457026.041						685		602121.189		0		601444.316		0		0		601444.316		0

				457025.89		602122.178		686		1261								686		457025.89						686		602122.178		0		601444.316		0		0		601444.316		0

				457025.739		602123.166		687		1261								687		457025.739						687		602123.166		0		601444.316		0		0		601444.316		0

				457025.588		602124.154		688		1261								688		457025.588						688		602124.154		0		601444.316		0		0		601444.316		0

				457025.437		602125.142		689		1261								689		457025.437						689		602125.142		0		601444.316		0		0		601444.316		0

				457025.286		602126.13		690		1261								690		457025.286						690		602126.13		0		601444.316		0		0		601444.316		0

				457025.135		602127.118		691		1261								691		457025.135						691		602127.118		0		601444.316		0		0		601444.316		0

				457024.984		602128.106		692		1261								692		457024.984						692		602128.106		0		601444.316		0		0		601444.316		0

				457024.832		602129.095		693		1261								693		457024.832						693		602129.095		0		601444.316		0		0		601444.316		0

				457024.681		602130.083		694		1261								694		457024.681						694		602130.083		0		601444.316		0		0		601444.316		0

				457024.53		602131.071		695		1261								695		457024.53						695		602131.071		0		601444.316		0		0		601444.316		0

				457024.379		602132.059		696		1261								696		457024.379						696		602132.059		0		601444.316		0		0		601444.316		0

				457024.228		602133.047		697		1261								697		457024.228						697		602133.047		0		601444.316		0		0		601444.316		0

				457024.077		602134.035		698		1261								698		457024.077						698		602134.035		0		601444.316		0		0		601444.316		0

				457023.926		602135.023		699		1261								699		457023.926						699		602135.023		0		601444.316		0		0		601444.316		0

				457023.775		602136.012		700		1261								700		457023.775						700		602136.012		0		601444.316		0		0		601444.316		0

				457023.624		602137		701		1261								701		457023.624						701		602137		0		601444.316		0		0		601444.316		0

				457023.472		602137.988		702		1261								702		457023.472						702		602137.988		0		601444.316		0		0		601444.316		0

				457023.321		602138.976		703		1261								703		457023.321						703		602138.976		0		601444.316		0		0		601444.316		0

				457023.17		602139.964		704		1261								704		457023.17						704		602139.964		0		601444.316		0		0		601444.316		0

				457023.019		602140.952		705		1261								705		457023.019						705		602140.952		0		601444.316		0		0		601444.316		0

				457022.868		602141.94		706		1261								706		457022.868						706		602141.94		0		601444.316		0		0		601444.316		0

				457022.717		602142.928		707		1261								707		457022.717						707		602142.928		0		601444.316		0		0		601444.316		0

				457022.566		602143.917		708		1261								708		457022.566						708		602143.917		0		601444.316		0		0		601444.316		0

				457022.415		602144.905		709		1261								709		457022.415						709		602144.905		0		601444.316		0		0		601444.316		0

				457022.264		602145.893		710		1261								710		457022.264						710		602145.893		0		601444.316		0		0		601444.316		0

				457022.113		602146.881		711		1261								711		457022.113						711		602146.881		0		601444.316		0		0		601444.316		0

				457021.961		602147.869		712		1261								712		457021.961						712		602147.869		0		601444.316		0		0		601444.316		0

				457021.81		602148.857		713		1261								713		457021.81						713		602148.857		0		601444.316		0		0		601444.316		0

				457021.659		602149.845		714		1261								714		457021.659						714		602149.845		0		601444.316		0		0		601444.316		0

				457021.508		602150.834		715		1261								715		457021.508						715		602150.834		0		601444.316		0		0		601444.316		0

				457021.357		602151.822		716		1261								716		457021.357						716		602151.822		0		601444.316		0		0		601444.316		0

				457021.206		602152.81		717		1261								717		457021.206						717		602152.81		0		601444.316		0		0		601444.316		0

				457021.055		602153.798		718		1261								718		457021.055						718		602153.798		0		601444.316		0		0		601444.316		0

				457020.904		602154.786		719		1261								719		457020.904						719		602154.786		0		601444.316		0		0		601444.316		0

				457020.753		602155.774		720		1261								720		457020.753						720		602155.774		0		601444.316		0		0		601444.316		0

				457020.601		602156.762		721		1261								721		457020.601						721		602156.762		0		601444.316		0		0		601444.316		0

				457020.45		602157.751		722		1261								722		457020.45						722		602157.751		0		601444.316		0		0		601444.316		0

				457020.299		602158.739		723		1261								723		457020.299						723		602158.739		0		601444.316		0		0		601444.316		0

				457020.148		602159.727		724		1261								724		457020.148						724		602159.727		0		601444.316		0		0		601444.316		0

				457019.997		602160.715		725		1261								725		457019.997						725		602160.715		0		601444.316		0		0		601444.316		0

				457019.846		602161.703		726		1261								726		457019.846						726		602161.703		0		601444.316		0		0		601444.316		0

				457019.695		602162.691		727		1261								727		457019.695						727		602162.691		0		601444.316		0		0		601444.316		0

				457019.544		602163.679		728		1261								728		457019.544						728		602163.679		0		601444.316		0		0		601444.316		0

				457019.393		602164.667		729		1261								729		457019.393						729		602164.667		0		601444.316		0		0		601444.316		0

				457019.242		602165.656		730		1261								730		457019.242						730		602165.656		0		601444.316		0		0		601444.316		0

				457019.09		602166.644		731		1261								731		457019.09						731		602166.644		0		601444.316		0		0		601444.316		0

				457018.939		602167.632		732		1261								732		457018.939						732		602167.632		0		601444.316		0		0		601444.316		0

				457018.788		602168.62		733		1261								733		457018.788						733		602168.62		0		601444.316		0		0		601444.316		0

				457018.637		602169.608		734		1261								734		457018.637						734		602169.608		0		601444.316		0		0		601444.316		0

				457018.486		602170.596		735		1261								735		457018.486						735		602170.596		0		601444.316		0		0		601444.316		0

				457018.335		602171.584		736		1261								736		457018.335						736		602171.584		0		601444.316		0		0		601444.316		0

				457018.184		602172.573		737		1261								737		457018.184						737		602172.573		0		601444.316		0		0		601444.316		0

				457018.033		602173.561		738		1261								738		457018.033						738		602173.561		0		601444.316		0		0		601444.316		0

				457017.882		602174.549		739		1261								739		457017.882						739		602174.549		0		601444.316		0		0		601444.316		0

				457017.73		602175.537		740		1261								740		457017.73						740		602175.537		0		601444.316		0		0		601444.316		0

				457017.579		602176.525		741		1261								741		457017.579						741		602176.525		0		601444.316		0		0		601444.316		0

				457017.428		602177.513		742		1261								742		457017.428						742		602177.513		0		601444.316		0		0		601444.316		0

				457017.277		602178.501		743		1261								743		457017.277						743		602178.501		0		601444.316		0		0		601444.316		0

				457017.126		602179.489		744		1261								744		457017.126						744		602179.489		0		601444.316		0		0		601444.316		0

				457016.975		602180.478		745		1261								745		457016.975						745		602180.478		0		601444.316		0		0		601444.316		0

				457016.824		602181.466		746		1261								746		457016.824						746		602181.466		0		601444.316		0		0		601444.316		0

				457016.673		602182.454		747		1261								747		457016.673						747		602182.454		0		601444.316		0		0		601444.316		0

				457016.522		602183.442		748		1261								748		457016.522						748		602183.442		0		601444.316		0		0		601444.316		0

				457016.371		602184.43		749		1261								749		457016.371						749		602184.43		0		601444.316		0		0		601444.316		0

				457016.219		602185.418		750		1261								750		457016.219						750		602185.418		0		601444.316		0		0		601444.316		0

				457016.068		602186.406		751		1261								751		457016.068						751		602186.406		0		601444.316		0		0		601444.316		0

				457015.917		602187.395		752		1261								752		457015.917						752		602187.395		0		601444.316		0		0		601444.316		0

				457015.766		602188.383		753		1261								753		457015.766						753		602188.383		0		601444.316		0		0		601444.316		0

				457015.615		602189.371		754		1261								754		457015.615						754		602189.371		0		601444.316		0		0		601444.316		0

				457015.464		602190.359		755		1261								755		457015.464						755		602190.359		0		601444.316		0		0		601444.316		0

				457015.313		602191.347		756		1261								756		457015.313						756		602191.347		0		601444.316		0		0		601444.316		0

				457015.162		602192.335		757		1261								757		457015.162						757		602192.335		0		601444.316		0		0		601444.316		0

				457015.011		602193.323		758		1261								758		457015.011						758		602193.323		0		601444.316		0		0		601444.316		0

				457014.859		602194.312		759		1261								759		457014.859						759		602194.312		0		601444.316		0		0		601444.316		0

				457014.708		602195.3		760		1261								760		457014.708						760		602195.3		0		601444.316		0		0		601444.316		0

				457014.557		602196.288		761		1261								761		457014.557						761		602196.288		0		601444.316		0		0		601444.316		0

				457014.406		602197.276		762		1261								762		457014.406						762		602197.276		0		601444.316		0		0		601444.316		0

				457014.255		602198.264		763		1261								763		457014.255						763		602198.264		0		601444.316		0		0		601444.316		0

				457014.104		602199.252		764		1261								764		457014.104						764		602199.252		0		601444.316		0		0		601444.316		0

				457013.953		602200.24		765		1261								765		457013.953						765		602200.24		0		601444.316		0		0		601444.316		0

				457013.802		602201.228		766		1261								766		457013.802						766		602201.228		0		601444.316		0		0		601444.316		0

				457013.651		602202.217		767		1261								767		457013.651						767		602202.217		0		601444.316		0		0		601444.316		0

				457013.5		602203.205		768		1261								768		457013.5						768		602203.205		0		601444.316		0		0		601444.316		0

				457013.348		602204.193		769		1261								769		457013.348						769		602204.193		0		601444.316		0		0		601444.316		0

				457013.197		602205.181		770		1261								770		457013.197						770		602205.181		0		601444.316		0		0		601444.316		0

				457013.046		602206.169		771		1261								771		457013.046						771		602206.169		0		601444.316		0		0		601444.316		0

				457012.895		602207.157		772		1261								772		457012.895						772		602207.157		0		601444.316		0		0		601444.316		0

				457012.744		602208.145		773		1261								773		457012.744						773		602208.145		0		601444.316		0		0		601444.316		0

				457012.593		602209.134		774		1261								774		457012.593						774		602209.134		0		601444.316		0		0		601444.316		0

				457012.442		602210.122		775		1261								775		457012.442						775		602210.122		0		601444.316		0		0		601444.316		0

				457012.291		602211.11		776		1261								776		457012.291						776		602211.11		0		601444.316		0		0		601444.316		0

				457012.14		602212.098		777		1261								777		457012.14						777		602212.098		0		601444.316		0		0		601444.316		0

				457011.988		602213.086		778		1261								778		457011.988						778		602213.086		0		601444.316		0		0		601444.316		0

				457011.837		602214.074		779		1261								779		457011.837						779		602214.074		0		601444.316		0		0		601444.316		0

				457011.686		602215.062		780		1261								780		457011.686						780		602215.062		0		601444.316		0		0		601444.316		0

				457011.535		602216.051		781		1261								781		457011.535						781		602216.051		0		601444.316		0		0		601444.316		0

				457011.384		602217.039		782		1261								782		457011.384						782		602217.039		0		601444.316		0		0		601444.316		0

				457011.233		602218.027		783		1261								783		457011.233						783		602218.027		0		601444.316		0		0		601444.316		0

				457011.082		602219.015		784		1261								784		457011.082						784		602219.015		0		601444.316		0		0		601444.316		0

				457010.931		602220.003		785		1261								785		457010.931						785		602220.003		0		601444.316		0		0		601444.316		0

				457010.78		602220.991		786		1261								786		457010.78						786		602220.991		0		601444.316		0		0		601444.316		0

				457010.629		602221.979		787		1261								787		457010.629						787		602221.979		0		601444.316		0		0		601444.316		0

				457010.477		602222.967		788		1261								788		457010.477						788		602222.967		0		601444.316		0		0		601444.316		0

				457010.326		602223.956		789		1261								789		457010.326						789		602223.956		0		601444.316		0		0		601444.316		0

				457010.175		602224.944		790		1261								790		457010.175						790		602224.944		0		601444.316		0		0		601444.316		0

				457010.024		602225.932		791		1261								791		457010.024						791		602225.932		0		601444.316		0		0		601444.316		0

				457009.873		602226.92		792		1261								792		457009.873						792		602226.92		0		601444.316		0		0		601444.316		0

				457009.722		602227.908		793		1261								793		457009.722						793		602227.908		0		601444.316		0		0		601444.316		0

				457009.571		602228.896		794		1261								794		457009.571						794		602228.896		0		601444.316		0		0		601444.316		0

				457009.42		602229.884		795		1261								795		457009.42						795		602229.884		0		601444.316		0		0		601444.316		0

				457009.269		602230.873		796		1261								796		457009.269						796		602230.873		0		601444.316		0		0		601444.316		0

				457009.117		602231.861		797		1261								797		457009.117						797		602231.861		0		601444.316		0		0		601444.316		0

				457008.966		602232.849		798		1261								798		457008.966						798		602232.849		0		601444.316		0		0		601444.316		0

				457008.815		602233.837		799		1261								799		457008.815						799		602233.837		0		601444.316		0		0		601444.316		0

				457008.664		602234.825		800		1261								800		457008.664						800		602234.825		0		601444.316		0		0		601444.316		0

				457008.513		602235.813		801		1261								801		457008.513						801		602235.813		0		601444.316		0		0		601444.316		0

				457008.362		602236.801		802		1261								802		457008.362						802		602236.801		0		601444.316		0		0		601444.316		0

				457008.211		602237.79		803		1261								803		457008.211						803		602237.79		0		601444.316		0		0		601444.316		0

				457008.06		602238.778		804		1261								804		457008.06						804		602238.778		0		601444.316		0		0		601444.316		0

				457007.909		602239.766		805		1261.015								805		457007.909						805		602239.766		0		601444.316		0		0		601444.316		0

				457007.758		602240.754		806		1261.024								806		457007.758						806		602240.754		0		601444.316		0		0		601444.316		0

				457007.606		602241.742		807		1261.038								807		457007.606						807		602241.742		0		601444.316		0		0		601444.316		0

				457007.455		602242.73		808		1261.038								808		457007.455						808		602242.73		0		601444.316		0		0		601444.316		0

				457007.304		602243.718		809		1261.052								809		457007.304						809		602243.718		0		601444.316		0		0		601444.316		0

				457007.153		602244.706		810		1261.066								810		457007.153						810		602244.706		0		601444.316		0		0		601444.316		0

				457007.002		602245.695		811		1261.08								811		457007.002						811		602245.695		0		601444.316		0		0		601444.316		0

				457006.851		602246.683		812		1261.094								812		457006.851						812		602246.683		0		601444.316		0		0		601444.316		0

				457006.7		602247.671		813		1261.108								813		457006.7						813		602247.671		0		601444.316		0		0		601444.316		0

				457006.549		602248.659		814		1261.122								814		457006.549						814		602248.659		0		601444.316		0		0		601444.316		0

				457006.398		602249.647		815		1261.129								815		457006.398						815		602249.647				601444.316

				457006.246		602250.635		816		1261.129								816		457006.246						816		602250.635				601444.316

				457006.095		602251.623		817		1261.143								817		457006.095						817		602251.623				601444.316

				457005.944		602252.612		818		1261.157								818		457005.944						818		602252.612				601444.316

				457005.793		602253.6		819		1261.171								819		457005.793						819		602253.6				601444.316

				457005.642		602254.588		820		1261.185								820		457005.642						820		602254.588				601444.316

				457005.491		602255.576		821		1261.198								821		457005.491						821		602255.576				601444.316

				457005.34		602256.564		822		1261.213								822		457005.34						822		602256.564				601444.316

				457005.189		602257.552		823		1261.226								823		457005.189						823		602257.552				601444.316

				457005.038		602258.54		824		1261.22								824		457005.038						824		602258.54				601444.316

				457004.887		602259.529		825		1261.234								825		457004.887						825		602259.529				601444.316

				457004.735		602260.517		826		1261.248								826		457004.735						826		602260.517				601444.316

				457004.584		602261.505		827		1261.261								827		457004.584						827		602261.505				601444.316

				457004.433		602262.493		828		1261.276								828		457004.433						828		602262.493				601444.316

				457004.282		602263.481		829		1261.289								829		457004.282						829		602263.481				601444.316

				457004.131		602264.469		830		1261.303								830		457004.131						830		602264.469				601444.316

				457003.98		602265.457		831		1261.303								831		457003.98						831		602265.457				601444.316

				457003.829		602266.445		832		1261.311								832		457003.829						832		602266.445				601444.316

				457003.678		602267.434		833		1261.325								833		457003.678						833		602267.434				601444.316

				457003.527		602268.422		834		1261.339								834		457003.527						834		602268.422				601444.316

				457003.375		602269.41		835		1261.352								835		457003.375						835		602269.41				601444.316

				457003.224		602270.398		836		1261.366								836		457003.224						836		602270.398				601444.316

				457003.073		602271.386		837		1261.38								837		457003.073						837		602271.386				601444.316

				457002.922		602272.374		838		1261.394								838		457002.922						838		602272.374				601444.316

				457002.771		602273.362		839		1261.394								839		457002.771						839		602273.362				601444.316

				457002.62		602274.351		840		1261.408								840		457002.62						840		602274.351				601444.316

				457002.469		602275.339		841		1261.415								841		457002.469						841		602275.339				601444.316

				457002.318		602276.327		842		1261.429								842		457002.318						842		602276.327				601444.316

				457002.167		602277.315		843		1261.443								843		457002.167						843		602277.315				601444.316

				457002.016		602278.303		844		1261.457								844		457002.016						844		602278.303				601444.316

				457001.864		602279.291		845		1261.471								845		457001.864						845		602279.291				601444.316

				457001.713		602280.279		846		1261.485								846		457001.713						846		602280.279				601444.316

				457001.562		602281.268		847		1261.485								847		457001.562						847		602281.268				601444.316

				457001.411		602282.256		848		1261.499								848		457001.411						848		602282.256				601444.316

				457001.26		602283.244		849		1261.513								849		457001.26						849		602283.244				601444.316

				457001.109		602284.232		850		1261.524								850		457001.109						850		602284.232				601444.316

				457000.958		602285.22		851		1261.54								851		457000.958						851		602285.22				601444.316

				457000.807		602286.208		852		1261.556								852		457000.807						852		602286.208				601444.316

				457000.656		602287.196		853		1261.573								853		457000.656						853		602287.196				601444.316

				457000.504		602288.184		854		1261.589								854		457000.504						854		602288.184				601444.316

				457000.353		602289.173		855		1261.589								855		457000.353						855		602289.173				601444.316

				457000.202		602290.161		856		1261.605								856		457000.202						856		602290.161				601444.316

				457000.051		602291.149		857		1261.621								857		457000.051						857		602291.149				601444.316

				456999.9		602292.137		858		1261.638								858		456999.9						858		602292.137				601444.316

				456999.749		602293.125		859		1261.649								859		456999.749						859		602293.125				601444.316

				456999.598		602294.113		860		1261.665								860		456999.598						860		602294.113				601444.316

				456999.447		602295.101		861		1261.681								861		456999.447						861		602295.101				601444.316

				456999.296		602296.09		862		1261.681								862		456999.296						862		602296.09				601444.316

				456999.145		602297.078		863		1261.697								863		456999.145						863		602297.078				601444.316

				456998.993		602298.066		864		1261.714								864		456998.993						864		602298.066				601444.316

				456998.842		602299.054		865		1261.73								865		456998.842						865		602299.054				601444.316

				456998.691		602300.042		866		1261.746								866		456998.691						866		602300.042				601444.316

				456998.54		602301.03		867		1261.762								867		456998.54						867		602301.03				601444.316

				456998.389		602302.018		868		1261.773								868		456998.389						868		602302.018				601444.316

				456998.238		602303.007		869		1261.79								869		456998.238						869		602303.007				601444.316

				456998.087		602303.995		870		1261.79								870		456998.087						870		602303.995				601444.316

				456997.936		602304.983		871		1261.806								871		456997.936						871		602304.983				601444.316

				456997.785		602305.971		872		1261.822								872		456997.785						872		602305.971				601444.316

				456997.633		602306.959		873		1261.838								873		456997.633						873		602306.959				601444.316

				456997.482		602307.947		874		1261.854								874		456997.482						874		602307.947				601444.316

				456997.331		602308.935		875		1261.871								875		456997.331						875		602308.935				601444.316

				456997.18		602309.923		876		1261.887								876		456997.18						876		602309.923				601444.316

				456997.029		602310.912		877		1261.898								877		456997.029						877		602310.912				601444.316

				456996.878		602311.9		878		1261.898								878		456996.878						878		602311.9				601444.316

				456996.727		602312.888		879		1261.914								879		456996.727						879		602312.888				601444.316

				456996.576		602313.876		880		1261.93								880		456996.576						880		602313.876				601444.316

				456996.425		602314.864		881		1261.947								881		456996.425						881		602314.864				601444.316

				456996.274		602315.852		882		1261.963								882		456996.274						882		602315.852				601444.316

				456996.122		602316.84		883		1261.979								883		456996.122						883		602316.84				601444.316

				456995.971		602317.829		884		1261.995								884		456995.971						884		602317.829				601444.316

				456995.82		602318.817		885		1262								885		456995.82						885		602318.817				601444.316

				456995.669		602319.805		886		1262								886		456995.669						886		602319.805				601444.316

				456995.518		602320.793		887		1262								887		456995.518						887		602320.793				601444.316

				456995.367		602321.781		888		1262								888		456995.367						888		602321.781				601444.316

				456995.216		602322.769		889		1262								889		456995.216						889		602322.769				601444.316

				456995.065		602323.757		890		1262								890		456995.065						890		602323.757				601444.316

				456994.914		602324.746		891		1262								891		456994.914						891		602324.746				601444.316

				456994.762		602325.734		892		1262								892		456994.762						892		602325.734				601444.316

				456994.611		602326.722		893		1262								893		456994.611						893		602326.722				601444.316

				456994.46		602327.71		894		1262								894		456994.46						894		602327.71				601444.316

				456994.309		602328.698		895		1262								895		456994.309						895		602328.698				601444.316

				456994.158		602329.686		896		1262								896		456994.158						896		602329.686				601444.316

				456994.007		602330.674		897		1262								897		456994.007						897		602330.674				601444.316

				456993.856		602331.662		898		1262								898		456993.856						898		602331.662				601444.316

				456993.705		602332.651		899		1262								899		456993.705						899		602332.651				601444.316

				456993.554		602333.639		900		1262								900		456993.554						900		602333.639				601444.316

				456993.403		602334.627		901		1262								901		456993.403						901		602334.627				601444.316

				456993.251		602335.615		902		1262								902		456993.251						902		602335.615				601444.316

				456993.1		602336.603		903		1262								903		456993.1						903		602336.603				601444.316

				456992.949		602337.591		904		1262								904		456992.949						904		602337.591				601444.316

				456992.798		602338.579		905		1262								905		456992.798						905		602338.579				601444.316

				456992.647		602339.568		906		1262								906		456992.647						906		602339.568				601444.316

				456992.496		602340.556		907		1262								907		456992.496						907		602340.556				601444.316

				456992.345		602341.544		908		1262								908		456992.345						908		602341.544				601444.316

				456992.194		602342.532		909		1262								909		456992.194						909		602342.532				601444.316

				456992.043		602343.52		910		1262								910		456992.043						910		602343.52				601444.316

				456991.891		602344.508		911		1262								911		456991.891						911		602344.508				601444.316

				456991.74		602345.496		912		1262.026								912		456991.74						912		602345.496				601444.316

				456991.589		602346.485		913		1262.043								913		456991.589						913		602346.485				601444.316

				456991.438		602347.473		914		1262.061								914		456991.438						914		602347.473				601444.316

				456991.287		602348.461		915		1262.079								915		456991.287						915		602348.461				601444.316

				456991.136		602349.449		916		1262.092								916		456991.136						916		602349.449				601444.316

				456990.985		602350.437		917		1262.092								917		456990.985						917		602350.437				601444.316

				456990.834		602351.425		918		1262.115								918		456990.834						918		602351.425				601444.316

				456990.683		602352.413		919		1262.138								919		456990.683						919		602352.413				601444.316

				456990.531		602353.401		920		1262.147								920		456990.531						920		602353.401				601444.316

				456990.38		602354.39		921		1262.197								921		456990.38						921		602354.39				601444.316

				456990.229		602355.378		922		1262.225								922		456990.229						922		602355.378				601444.316

				456990.078		602356.366		923		1262.229								923		456990.078						923		602356.366				601444.316

				456989.927		602357.354		924		1262.229								924		456989.927						924		602357.354				601444.316

				456989.776		602358.342		925		1262.229								925		456989.776						925		602358.342				601444.316

				456989.625		602359.33		926		1262.249								926		456989.625						926		602359.33				601444.316

				456989.474		602360.318		927		1262.274								927		456989.474						927		602360.318				601444.316

				456989.323		602361.307		928		1262.299								928		456989.323						928		602361.307				601444.316

				456989.172		602362.295		929		1262.325								929		456989.172						929		602362.295				601444.316

				456989.02		602363.283		930		1262.365								930		456989.02						930		602363.283				601444.316

				456988.869		602364.271		931		1262.39								931		456988.869						931		602364.271				601444.316

				456988.718		602365.259		932		1262.39								932		456988.718						932		602365.259				601444.316

				456988.567		602366.247		933		1262.416								933		456988.567						933		602366.247				601444.316

				456988.416		602367.235		934		1262.441								934		456988.416						934		602367.235				601444.316

				456988.265		602368.224		935		1262.467								935		456988.265						935		602368.224				601444.316

				456988.114		602369.212		936		1262.492								936		456988.114						936		602369.212				601444.316

				456987.963		602370.2		937		1262.517								937		456987.963						937		602370.2				601444.316

				456987.812		602371.188		938		1262.543								938		456987.812						938		602371.188				601444.316

				456987.66		602372.176		939		1262.583								939		456987.66						939		602372.176				601444.316

				456987.509		602373.164		940		1262.583								940		456987.509						940		602373.164				601444.316

				456987.358		602374.152		941		1262.608								941		456987.358						941		602374.152				601444.316

				456987.207		602375.14		942		1262.634								942		456987.207						942		602375.14				601444.316

				456987.056		602376.129		943		1262.659								943		456987.056						943		602376.129				601444.316

				456986.905		602377.117		944		1262.685								944		456986.905						944		602377.117				601444.316

				456986.754		602378.105		945		1262.71								945		456986.754						945		602378.105				601444.316

				456986.603		602379.093		946		1262.736								946		456986.603						946		602379.093				601444.316

				456986.452		602380.081		947		1262.761								947		456986.452						947		602380.081				601444.316

				456986.301		602381.069		948		1262.775								948		456986.301						948		602381.069				601444.316

				456986.149		602382.057		949		1262.801								949		456986.149						949		602382.057				601444.316

				456985.998		602383.046		950		1262.826								950		456985.998						950		602383.046				601444.316

				456985.847		602384.034		951		1262.852								951		456985.847						951		602384.034				601444.316

				456985.696		602385.022		952		1262.877								952		456985.696						952		602385.022				601444.316

				456985.545		602386.01		953		1262.903								953		456985.545						953		602386.01				601444.316

				456985.394		602386.998		954		1262.928								954		456985.394						954		602386.998				601444.316

				456985.243		602387.986		955		1262.928								955		456985.243						955		602387.986				601444.316

				456985.092		602388.974		956		1262.954								956		456985.092						956		602388.974				601444.316

				456984.941		602389.962		957		1262.993								957		456984.941						957		602389.962				601444.316

				456984.789		602390.951		958		1263								958		456984.789						958		602390.951				601444.316

				456984.638		602391.939		959		1263								959		456984.638						959		602391.939				601444.316

				456984.487		602392.927		960		1263								960		456984.487						960		602392.927				601444.316

				456984.336		602393.915		961		1263								961		456984.336						961		602393.915				601444.316

				456984.185		602394.903		962		1263								962		456984.185						962		602394.903				601444.316

				456984.034		602395.891		963		1263								963		456984.034						963		602395.891				601444.316

				456983.883		602396.879		964		1263								964		456983.883						964		602396.879				601444.316

				456983.732		602397.868		965		1263								965		456983.732						965		602397.868				601444.316

				456983.581		602398.856		966		1263								966		456983.581						966		602398.856				601444.316

				456983.43		602399.844		967		1263								967		456983.43						967		602399.844				601444.316

				456983.278		602400.832		968		1263								968		456983.278						968		602400.832				601444.316

				456983.127		602401.82		969		1263								969		456983.127						969		602401.82				601444.316

				456982.976		602402.808		970		1263								970		456982.976						970		602402.808				601444.316

				456982.825		602403.796		971		1263								971		456982.825						971		602403.796				601444.316

				456982.674		602404.785		972		1263								972		456982.674						972		602404.785				601444.316

				456982.523		602405.773		973		1263								973		456982.523						973		602405.773				601444.316

				456982.372		602406.761		974		1263								974		456982.372						974		602406.761				601444.316

				456982.221		602407.749		975		1263								975		456982.221						975		602407.749				601444.316

				456982.07		602408.737		976		1263								976		456982.07						976		602408.737				601444.316

				456981.918		602409.725		977		1263								977		456981.918						977		602409.725				601444.316

				456981.767		602410.713		978		1263								978		456981.767						978		602410.713				601444.316

				456981.616		602411.701		979		1263								979		456981.616						979		602411.701				601444.316

				456981.465		602412.69		980		1263								980		456981.465						980		602412.69				601444.316

				456981.314		602413.678		981		1263								981		456981.314						981		602413.678				601444.316

				456981.163		602414.666		982		1263								982		456981.163						982		602414.666				601444.316

				456981.012		602415.654		983		1263								983		456981.012						983		602415.654				601444.316

				456980.861		602416.642		984		1263								984		456980.861						984		602416.642				601444.316

				456980.71		602417.63		985		1263.002								985		456980.71						985		602417.63				601444.316

				456980.559		602418.618		986		1263.002								986		456980.559						986		602418.618				601444.316

				456980.407		602419.607		987		1263.032								987		456980.407						987		602419.607				601444.316

				456980.256		602420.595		988		1263.063								988		456980.256						988		602420.595				601444.316

				456980.105		602421.583		989		1263.088								989		456980.105						989		602421.583				601444.316

				456979.954		602422.571		990		1263.119								990		456979.954						990		602422.571				601444.316

				456979.803		602423.559		991		1263.149								991		456979.803						991		602423.559				601444.316

				456979.652		602424.547		992		1263.172								992		456979.652						992		602424.547				601444.316

				456979.501		602425.535		993		1263.195								993		456979.501						993		602425.535				601444.316

				456979.35		602426.524		994		1263.195								994		456979.35						994		602426.524				601444.316

				456979.199		602427.512		995		1263.218								995		456979.199						995		602427.512				601444.316

				456979.047		602428.5		996		1263.241								996		456979.047						996		602428.5				601444.316

				456978.896		602429.488		997		1263.269								997		456978.896						997		602429.488				601444.316

				456978.745		602430.476		998		1263.297								998		456978.745						998		602430.476				601444.316

				456978.594		602431.464		999		1263.326								999		456978.594						999		602431.464				601444.316

				456978.443		602432.452		1000		1263.355								1000		456978.443						1000		602432.452				601444.316

				456978.292		602433.44		1001		1263.363								1001		456978.292						1001		602433.44				601444.316

				456978.141		602434.429		1002		1263.363								1002		456978.141						1002		602434.429				601444.316

				456977.99		602435.417		1003		1263.385								1003		456977.99						1003		602435.417				601444.316

				456977.839		602436.405		1004		1263.407								1004		456977.839						1004		602436.405				601444.316

				456977.688		602437.393		1005		1263.429								1005		456977.688						1005		602437.393				601444.316

				456977.536		602438.381		1006		1263.451								1006		456977.536						1006		602438.381				601444.316

				456977.385		602439.369		1007		1263.476								1007		456977.385						1007		602439.369				601444.316

				456977.234		602440.357		1008		1263.5								1008		456977.234						1008		602440.357				601444.316

				456977.083		602441.346		1009		1263.527								1009		456977.083						1009		602441.346				601444.316

				456976.932		602442.334		1010		1263.519								1010		456976.932						1010		602442.334				601444.316

				456976.781		602443.322		1011		1263.54								1011		456976.781						1011		602443.322				601444.316

				456976.63		602444.31		1012		1263.561								1012		456976.63						1012		602444.31				601444.316

				456976.479		602445.298		1013		1263.582								1013		456976.479						1013		602445.298				601444.316

				456976.328		602446.286		1014		1263.603								1014		456976.328						1014		602446.286				601444.316

				456976.176		602447.274		1015		1263.624								1015		456976.176						1015		602447.274				601444.316

				456976.025		602448.263		1016		1263.645								1016		456976.025						1016		602448.263				601444.316

				456975.874		602449.251		1017		1263.645								1017		456975.874						1017		602449.251				601444.316

				456975.723		602450.239		1018		1263.666								1018		456975.723						1018		602450.239				601444.316

				456975.572		602451.227		1019		1263.667								1019		456975.572						1019		602451.227				601444.316

				456975.421		602452.215		1020		1263.691								1020		456975.421						1020		602452.215				601444.316

				456975.27		602453.203		1021		1263.716								1021		456975.27						1021		602453.203				601444.316

				456975.119		602454.191		1022		1263.739								1022		456975.119						1022		602454.191				601444.316

				456974.968		602455.179		1023		1263.763								1023		456974.968						1023		602455.179				601444.316

				456974.817		602456.168		1024		1263.783								1024		456974.817						1024		602456.168				601444.316

				456974.665		602457.156		1025		1263.783								1025		456974.665						1025		602457.156				601444.316

				456974.514		602458.144		1026		1263.803								1026		456974.514						1026		602458.144				601444.316

				456974.363		602459.132		1027		1263.823								1027		456974.363						1027		602459.132				601444.316

				456974.212		602460.12		1028		1263.824								1028		456974.212						1028		602460.12				601444.316

				456974.061		602461.108		1029		1263.844								1029		456974.061						1029		602461.108				601444.316

				456973.91		602462.096		1030		1263.864								1030		456973.91						1030		602462.096				601444.316

				456973.759		602463.085		1031		1263.884								1031		456973.759						1031		602463.085				601444.316

				456973.608		602464.073		1032		1263.904								1032		456973.608						1032		602464.073				601444.316

				456973.457		602465.061		1033		1263.904								1033		456973.457						1033		602465.061				601444.316

				456973.305		602466.049		1034		1263.924								1034		456973.305						1034		602466.049				601444.316

				456973.154		602467.037		1035		1263.944								1035		456973.154						1035		602467.037				601444.316

				456973.003		602468.025		1036		1263.964								1036		456973.003						1036		602468.025				601444.316

				456972.852		602469.013		1037		1263.982								1037		456972.852						1037		602469.013				601444.316

				456972.701		602470.002		1038		1264								1038		456972.701						1038		602470.002				601444.316

				456972.55		602470.99		1039		1264.008								1039		456972.55						1039		602470.99				601444.316

				456972.399		602471.978		1040		1264.008								1040		456972.399						1040		602471.978				601444.316

				456972.248		602472.966		1041		1264.037								1041		456972.248						1041		602472.966				601444.316

				456972.097		602473.954		1042		1264.066								1042		456972.097						1042		602473.954				601444.316

				456971.946		602474.942		1043		1264.095								1043		456971.946						1043		602474.942				601444.316

				456971.794		602475.93		1044		1264.124								1044		456971.794						1044		602475.93				601444.316

				456971.643		602476.918		1045		1264.127								1045		456971.643						1045		602476.918				601444.316

				456971.492		602477.907		1046		1264.156								1046		456971.492						1046		602477.907				601444.316

				456971.341		602478.895		1047		1264.186								1047		456971.341						1047		602478.895				601444.316

				456971.19		602479.883		1048		1264.186								1048		456971.19						1048		602479.883				601444.316

				456971.039		602480.871		1049		1264.215								1049		456971.039						1049		602480.871				601444.316

				456970.888		602481.859		1050		1264.245								1050		456970.888						1050		602481.859				601444.316

				456970.737		602482.847		1051		1264.274								1051		456970.737						1051		602482.847				601444.316

				456970.586		602483.835		1052		1264.304								1052		456970.586						1052		602483.835				601444.316

				456970.434		602484.824		1053		1264.333								1053		456970.434						1053		602484.824				601444.316

				456970.283		602485.812		1054		1264.338								1054		456970.283						1054		602485.812				601444.316

				456970.132		602486.8		1055		1264.366								1055		456970.132						1055		602486.8				601444.316

				456969.981		602487.788		1056		1264.366								1056		456969.981						1056		602487.788				601444.316

				456969.83		602488.776		1057		1264.393								1057		456969.83						1057		602488.776				601444.316

				456969.679		602489.764		1058		1264.422								1058		456969.679						1058		602489.764				601444.316

				456969.528		602490.752		1059		1264.453								1059		456969.528						1059		602490.752				601444.316

				456969.377		602491.741		1060		1264.482								1060		456969.377						1060		602491.741				601444.316

				456969.226		602492.729		1061		1264.509								1061		456969.226						1061		602492.729				601444.316

				456969.075		602493.717		1062		1264.536								1062		456969.075						1062		602493.717				601444.316

				456968.923		602494.705		1063		1264.539								1063		456968.923						1063		602494.705				601444.316

				456968.772		602495.693		1064		1264.539								1064		456968.772						1064		602495.693				601444.316

				456968.621		602496.681		1065		1264.565								1065		456968.621						1065		602496.681				601444.316

				456968.47		602497.669		1066		1264.591								1066		456968.47						1066		602497.669				601444.316

				456968.319		602498.657		1067		1264.617								1067		456968.319						1067		602498.657				601444.316

				456968.168		602499.646		1068		1264.646								1068		456968.168						1068		602499.646				601444.316

				456968.017		602500.634		1069		1264.676								1069		456968.017						1069		602500.634				601444.316

				456967.866		602501.622		1070		1264.704								1070		456967.866						1070		602501.622				601444.316

				456967.715		602502.61		1071		1264.704								1071		456967.715						1071		602502.61				601444.316

				456967.563		602503.598		1072		1264.703								1072		456967.563						1072		602503.598				601444.316

				456967.412		602504.586		1073		1264.731								1073		456967.412						1073		602504.586				601444.316

				456967.261		602505.574		1074		1264.755								1074		456967.261						1074		602505.574				601444.316

				456967.11		602506.563		1075		1264.78								1075		456967.11						1075		602506.563				601444.316

				456966.959		602507.551		1076		1264.805								1076		456966.959						1076		602507.551				601444.316

				456966.808		602508.539		1077		1264.83								1077		456966.808						1077		602508.539				601444.316

				456966.657		602509.527		1078		1264.854								1078		456966.657						1078		602509.527				601444.316

				456966.506		602510.515		1079		1264.854								1079		456966.506						1079		602510.515				601444.316

				456966.355		602511.503		1080		1264.88								1080		456966.355						1080		602511.503				601444.316

				456966.204		602512.491		1081		1264.881								1081		456966.204						1081		602512.491				601444.316

				456966.052		602513.48		1082		1264.906								1082		456966.052						1082		602513.48				601444.316

				456965.901		602514.468		1083		1264.932								1083		456965.901						1083		602514.468				601444.316

				456965.75		602515.456		1084		1264.957								1084		456965.75						1084		602515.456				601444.316

				456965.599		602516.444		1085		1264.981								1085		456965.599						1085		602516.444				601444.316

				456965.448		602517.432		1086		1265.006								1086		456965.448						1086		602517.432				601444.316

				456965.297		602518.42		1087		1265.006								1087		456965.297						1087		602518.42				601444.316

				456965.146		602519.408		1088		1265.029								1088		456965.146						1088		602519.408				601444.316

				456964.995		602520.396		1089		1265.052								1089		456964.995						1089		602520.396				601444.316

				456964.844		602521.385		1090		1265.039								1090		456964.844						1090		602521.385				601444.316

				456964.692		602522.373		1091		1265.053								1091		456964.692						1091		602522.373				601444.316

				456964.541		602523.361		1092		1265.068								1092		456964.541						1092		602523.361				601444.316

				456964.39		602524.349		1093		1265.082								1093		456964.39						1093		602524.349				601444.316

				456964.239		602525.337		1094		1265.097								1094		456964.239						1094		602525.337				601444.316

				456964.088		602526.325		1095		1265.097								1095		456964.088						1095		602526.325				601444.316

				456963.937		602527.313		1096		1265.111								1096		456963.937						1096		602527.313				601444.316

				456963.786		602528.302		1097		1265.126								1097		456963.786						1097		602528.302				601444.316

				456963.635		602529.29		1098		1265.14								1098		456963.635						1098		602529.29				601444.316

				456963.484		602530.278		1099		1265.123								1099		456963.484						1099		602530.278				601444.316

				456963.333		602531.266		1100		1265.129								1100		456963.333						1100		602531.266				601444.316

				456963.181		602532.254		1101		1265.142								1101		456963.181						1101		602532.254				601444.316

				456963.03		602533.242		1102		1265.142								1102		456963.03						1102		602533.242				601444.316

				456962.879		602534.23		1103		1265.149								1103		456962.879						1103		602534.23				601444.316

				456962.728		602535.219		1104		1265.149								1104		456962.728						1104		602535.219				601444.316

				456962.577		602536.207		1105		1265.149								1105		456962.577						1105		602536.207				601444.316

				456962.426		602537.195		1106		1265.148								1106		456962.426						1106		602537.195				601444.316

				456962.275		602538.183		1107		1265.101								1107		456962.275						1107		602538.183				601444.316

				456962.124		602539.171		1108		1265.099								1108		456962.124						1108		602539.171				601444.316

				456961.973		602540.159		1109		1265.097								1109		456961.973						1109		602540.159				601444.316

				456961.821		602541.147		1110		1265.097								1110		456961.821						1110		602541.147				601444.316

				456961.67		602542.135		1111		1265.095								1111		456961.67						1111		602542.135				601444.316

				456961.519		602543.124		1112		1265.093								1112		456961.519						1112		602543.124				601444.316

				456961.368		602544.112		1113		1265.09								1113		456961.368						1113		602544.112				601444.316

				456961.217		602545.1		1114		1265.079								1114		456961.217						1114		602545.1				601444.316

				456961.066		602546.088		1115		1265.066								1115		456961.066						1115		602546.088				601444.316

				456960.915		602547.076		1116		1265.004								1116		456960.915						1116		602547.076				601444.316

				456960.764		602548.064		1117		1264.987								1117		456960.764						1117		602548.064				601444.316

				456960.613		602549.052		1118		1264.987								1118		456960.613						1118		602549.052				601444.316

				456960.461		602550.041		1119		1264.971								1119		456960.461						1119		602550.041				601444.316

				456960.31		602551.029		1120		1264.958								1120		456960.31						1120		602551.029				601444.316

				456960.159		602552.017		1121		1264.971								1121		456960.159						1121		602552.017				601444.316

				456960.008		602553.005		1122		1264.983								1122		456960.008						1122		602553.005				601444.316

				456959.857		602553.993		1123		1264.995								1123		456959.857						1123		602553.993				601444.316

				456959.706		602554.981		1124		1265								1124		456959.706						1124		602554.981				601444.316

				456959.555		602555.969		1125		1264.971								1125		456959.555						1125		602555.969				601444.316

				456959.404		602556.958		1126		1264.971								1126		456959.404						1126		602556.958				601444.316

				456959.253		602557.946		1127		1264.983								1127		456959.253						1127		602557.946				601444.316

				456959.102		602558.934		1128		1264.996								1128		456959.102						1128		602558.934				601444.316

				456958.95		602559.922		1129		1265								1129		456958.95						1129		602559.922				601444.316

				456958.799		602560.91		1130		1265								1130		456958.799						1130		602560.91				601444.316

				456958.648		602561.898		1131		1265								1131		456958.648						1131		602561.898				601444.316

				456958.497		602562.886		1132		1265								1132		456958.497						1132		602562.886				601444.316

				456958.346		602563.874		1133		1265								1133		456958.346						1133		602563.874				601444.316

				456958.195		602564.863		1134		1265								1134		456958.195						1134		602564.863				601444.316

				456958.044		602565.851		1135		1265								1135		456958.044						1135		602565.851				601444.316

				456957.893		602566.839		1136		1265								1136		456957.893						1136		602566.839				601444.316

				456957.742		602567.827		1137		1265								1137		456957.742						1137		602567.827				601444.316

				456957.59		602568.815		1138		1265								1138		456957.59						1138		602568.815				601444.316

				456957.439		602569.803		1139		1265								1139		456957.439						1139		602569.803				601444.316

				456957.288		602570.791		1140		1265								1140		456957.288						1140		602570.791				601444.316

				456957.137		602571.78		1141		1265								1141		456957.137						1141		602571.78				601444.316

				456956.986		602572.768		1142		1265								1142		456956.986						1142		602572.768				601444.316

				456956.835		602573.756		1143		1264.968								1143		456956.835						1143		602573.756				601444.316

				456956.684		602574.744		1144		1264.966								1144		456956.684						1144		602574.744				601444.316

				456956.533		602575.732		1145		1264.964								1145		456956.533						1145		602575.732				601444.316

				456956.382		602576.72		1146		1264.963								1146		456956.382						1146		602576.72				601444.316

				456956.231		602577.708		1147		1264.961								1147		456956.231						1147		602577.708				601444.316

				456956.079		602578.697		1148		1264.959								1148		456956.079						1148		602578.697				601444.316

				456955.928		602579.685		1149		1264.959								1149		456955.928						1149		602579.685				601444.316

				456955.777		602580.673		1150		1264.97								1150		456955.777						1150		602580.673				601444.316

				456955.626		602581.661		1151		1264.98								1151		456955.626						1151		602581.661				601444.316

				456955.475		602582.649		1152		1264.956								1152		456955.475						1152		602582.649				601444.316

				456955.324		602583.637		1153		1264.961								1153		456955.324						1153		602583.637				601444.316

				456955.173		602584.625		1154		1264.965								1154		456955.173						1154		602584.625				601444.316

				456955.022		602585.613		1155		1264.967								1155		456955.022						1155		602585.613				601444.316

				456954.871		602586.602		1156		1264.971								1156		456954.871						1156		602586.602				601444.316

				456954.719		602587.59		1157		1264.971								1157		456954.719						1157		602587.59				601444.316

				456954.568		602588.578		1158		1264.976								1158		456954.568						1158		602588.578				601444.316

				456954.417		602589.566		1159		1264.983								1159		456954.417						1159		602589.566				601444.316

				456954.266		602590.554		1160		1264.99								1160		456954.266						1160		602590.554				601444.316

				456954.115		602591.542		1161		1264.966								1161		456954.115						1161		602591.542				601444.316

				456953.964		602592.53		1162		1264.974								1162		456953.964						1162		602592.53				601444.316

				456953.813		602593.519		1163		1264.979								1163		456953.813						1163		602593.519				601444.316

				456953.662		602594.507		1164		1264.979								1164		456953.662						1164		602594.507				601444.316

				456953.511		602595.495		1165		1264.979								1165		456953.511						1165		602595.495				601444.316

				456953.36		602596.483		1166		1264.979								1166		456953.36						1166		602596.483				601444.316

				456953.208		602597.471		1167		1264.978								1167		456953.208						1167		602597.471				601444.316

				456953.057		602598.459		1168		1264.99								1168		456953.057						1168		602598.459				601444.316

				456952.906		602599.447		1169		1265								1169		456952.906						1169		602599.447				601444.316

				456952.755		602600.435		1170		1264.953								1170		456952.755						1170		602600.435				601444.316

				456952.604		602601.424		1171		1264.965								1171		456952.604						1171		602601.424				601444.316

				456952.453		602602.412		1172		1264.965								1172		456952.453						1172		602602.412				601444.316

				456952.302		602603.4		1173		1264.977								1173		456952.302						1173		602603.4				601444.316

				456952.151		602604.388		1174		1264.989								1174		456952.151						1174		602604.388				601444.316

				456952		602605.376		1175		1265								1175		456952						1175		602605.376				601444.316

				456951.848		602606.364		1176		1265								1176		456951.848						1176		602606.364				601444.316

				456951.697		602607.352		1177		1265								1177		456951.697						1177		602607.352				601444.316

				456951.546		602608.341		1178		1265								1178		456951.546						1178		602608.341				601444.316

				456951.395		602609.329		1179		1265								1179		456951.395						1179		602609.329				601444.316

				456951.244		602610.317		1180		1265								1180		456951.244						1180		602610.317				601444.316

				456951.093		602611.305		1181		1265								1181		456951.093						1181		602611.305				601444.316

				456950.942		602612.293		1182		1265.019								1182		456950.942						1182		602612.293				601444.316

				456950.791		602613.281		1183		1265.046								1183		456950.791						1183		602613.281				601444.316

				456950.64		602614.269		1184		1265.073								1184		456950.64						1184		602614.269				601444.316

				456950.489		602615.258		1185		1265.098								1185		456950.489						1185		602615.258				601444.316

				456950.337		602616.246		1186		1265.124								1186		456950.337						1186		602616.246				601444.316

				456950.186		602617.234		1187		1265.113								1187		456950.186						1187		602617.234				601444.316

				456950.035		602618.222		1188		1265.113								1188		456950.035						1188		602618.222				601444.316

				456949.884		602619.21		1189		1265.138								1189		456949.884						1189		602619.21				601444.316

				456949.733		602620.198		1190		1265.162								1190		456949.733						1190		602620.198				601444.316

				456949.582		602621.186		1191		1265.186								1191		456949.582						1191		602621.186				601444.316

				456949.431		602622.174		1192		1265.209								1192		456949.431						1192		602622.174				601444.316

				456949.28		602623.163		1193		1265.232								1193		456949.28						1193		602623.163				601444.316

				456949.129		602624.151		1194		1265.255								1194		456949.129						1194		602624.151				601444.316

				456948.977		602625.139		1195		1265.255								1195		456948.977						1195		602625.139				601444.316

				456948.826		602626.127		1196		1265.24								1196		456948.826						1196		602626.127				601444.316

				456948.675		602627.115		1197		1265.261								1197		456948.675						1197		602627.115				601444.316

				456948.524		602628.103		1198		1265.283								1198		456948.524						1198		602628.103				601444.316

				456948.373		602629.091		1199		1265.316								1199		456948.373						1199		602629.091				601444.316

				456948.222		602630.08		1200		1265.348								1200		456948.222						1200		602630.08				601444.316

				456948.071		602631.068		1201		1265.381								1201		456948.071						1201		602631.068				601444.316

				456947.92		602632.056		1202		1265.414								1202		456947.92						1202		602632.056				601444.316

				456947.769		602633.044		1203		1265.414								1203		456947.769						1203		602633.044				601444.316

				456947.618		602634.032		1204		1265.447								1204		456947.618						1204		602634.032				601444.316

				456947.466		602635.02		1205		1265.451								1205		456947.466						1205		602635.02				601444.316

				456947.315		602636.008		1206		1265.474								1206		456947.315						1206		602636.008				601444.316

				456947.164		602636.997		1207		1265.498								1207		456947.164						1207		602636.997				601444.316

				456947.013		602637.985		1208		1265.519								1208		456947.013						1208		602637.985				601444.316

				456946.862		602638.973		1209		1265.539								1209		456946.862						1209		602638.973				601444.316

				456946.711		602639.961		1210		1265.551								1210		456946.711						1210		602639.961				601444.316

				456946.56		602640.949		1211		1265.551								1211		456946.56						1211		602640.949				601444.316

				456946.409		602641.937		1212		1265.563								1212		456946.409						1212		602641.937				601444.316

				456946.258		602642.925		1213		1265.575								1213		456946.258						1213		602642.925				601444.316

				456946.106		602643.913		1214		1265.548								1214		456946.106						1214		602643.913				601444.316

				456945.955		602644.902		1215		1265.56								1215		456945.955						1215		602644.902				601444.316

				456945.804		602645.89		1216		1265.572								1216		456945.804						1216		602645.89				601444.316

				456945.653		602646.878		1217		1265.584								1217		456945.653						1217		602646.878				601444.316

				456945.502		602647.866		1218		1265.596								1218		456945.502						1218		602647.866				601444.316

				456945.351		602648.854		1219		1265.596								1219		456945.351						1219		602648.854				601444.316

				456945.2		602649.842		1220		1265.608								1220		456945.2						1220		602649.842				601444.316

				456945.049		602650.83		1221		1265.624								1221		456945.049						1221		602650.83				601444.316

				456944.898		602651.819		1222		1265.644								1222		456944.898						1222		602651.819				601444.316

				456944.747		602652.807		1223		1265.607								1223		456944.747						1223		602652.807				601444.316

				456944.595		602653.795		1224		1265.607								1224		456944.595						1224		602653.795				601444.316

				456944.444		602654.783		1225		1265.593								1225		456944.444						1225		602654.783				601444.316

				456944.293		602655.771		1226		1265.593								1226		456944.293						1226		602655.771				601444.316

				456944.142		602656.759		1227		1265.541								1227		456944.142						1227		602656.759				601444.316

				456943.991		602657.747		1228		1265.49								1228		456943.991						1228		602657.747				601444.316

				456943.84		602658.736		1229		1265.439								1229		456943.84						1229		602658.736				601444.316

				456943.689		602659.724		1230		1265.388								1230		456943.689						1230		602659.724				601444.316

				456943.538		602660.712		1231		1265.337								1231		456943.538						1231		602660.712				601444.316

				456943.387		602661.7		1232		1265.228								1232		456943.387						1232		602661.7				601444.316

				456943.235		602662.688		1233		1265.177								1233		456943.235						1233		602662.688				601444.316

				456943.084		602663.676		1234		1265.177								1234		456943.084						1234		602663.676				601444.316

				456942.933		602664.664		1235		1265.151								1235		456942.933						1235		602664.664				601444.316

				456942.782		602665.652		1236		1265.231								1236		456942.782						1236		602665.652				601444.316

				456942.631		602666.641		1237		1265.323								1237		456942.631						1237		602666.641				601444.316

				456942.48		602667.629		1238		1265.415								1238		456942.48						1238		602667.629				601444.316

				456942.329		602668.617		1239		1265.507								1239		456942.329						1239		602668.617				601444.316

				456942.178		602669.605		1240		1265.6								1240		456942.178						1240		602669.605				601444.316

				456942.027		602670.593		1241		1265.678								1241		456942.027						1241		602670.593				601444.316

				456941.876		602671.581		1242		1265.678								1242		456941.876						1242		602671.581				601444.316

				456941.724		602672.569		1243		1265.771								1243		456941.724						1243		602672.569				601444.316

				456941.573		602673.558		1244		1265.863								1244		456941.573						1244		602673.558				601444.316

				456941.422		602674.546		1245		1265.955								1245		456941.422						1245		602674.546				601444.316

				456941.271		602675.534		1246		1266								1246		456941.271						1246		602675.534				601444.316

				456941.12		602676.522		1247		1266								1247		456941.12						1247		602676.522				601444.316

				456940.969		602677.51		1248		1266								1248		456940.969						1248		602677.51				601444.316

				456940.818		602678.498		1249		1266								1249		456940.818						1249		602678.498				601444.316

				456940.667		602679.486		1250		1266								1250		456940.667						1250		602679.486				601444.316

				456940.516		602680.475		1251		1266								1251		456940.516						1251		602680.475				601444.316

				456940.364		602681.463		1252		1266								1252		456940.364						1252		602681.463				601444.316

				456940.213		602682.451		1253		1266								1253		456940.213						1253		602682.451				601444.316

				456940.062		602683.439		1254		1266								1254		456940.062						1254		602683.439				601444.316

				456939.911		602684.427		1255		1266								1255		456939.911						1255		602684.427				601444.316

				456939.76		602685.415		1256		1266								1256		456939.76						1256		602685.415				601444.316

				456939.609		602686.403		1257		1266								1257		456939.609						1257		602686.403				601444.316

				456939.458		602687.391		1258		1266								1258		456939.458						1258		602687.391				601444.316

				456939.307		602688.38		1259		1266								1259		456939.307						1259		602688.38				601444.316

				456939.156		602689.368		1260		1266								1260		456939.156						1260		602689.368				601444.316

				456939.005		602690.356		1261		1266								1261		456939.005						1261		602690.356				601444.316

				456938.853		602691.344		1262		1266								1262		456938.853						1262		602691.344				601444.316

				456938.702		602692.332		1263		1266								1263		456938.702						1263		602692.332				601444.316

				456938.551		602693.32		1264		1266								1264		456938.551						1264		602693.32				601444.316

				456938.4		602694.308		1265		1266								1265		456938.4						1265		602694.308				601444.316

				456938.249		602695.297		1266		1266								1266		456938.249						1266		602695.297				601444.316

				456938.098		602696.285		1267		1266								1267		456938.098						1267		602696.285				601444.316

				456937.947		602697.273		1268		1266								1268		456937.947						1268		602697.273				601444.316

				456937.796		602698.261		1269		1266								1269		456937.796						1269		602698.261				601444.316

				456937.645		602699.249		1270		1266								1270		456937.645						1270		602699.249				601444.316

				456937.493		602700.237		1271		1266								1271		456937.493						1271		602700.237				601444.316

				456937.342		602701.225		1272		1266								1272		456937.342						1272		602701.225				601444.316

				456937.191		602702.214		1273		1266								1273		456937.191						1273		602702.214				601444.316

				456937.04		602703.202		1274		1266								1274		456937.04						1274		602703.202				601444.316

				456936.889		602704.19		1275		1266								1275		456936.889						1275		602704.19				601444.316

				456936.738		602705.178		1276		1266								1276		456936.738						1276		602705.178				601444.316

				456936.587		602706.166		1277		1266								1277		456936.587						1277		602706.166				601444.316

				456936.436		602707.154		1278		1266								1278		456936.436						1278		602707.154				601444.316

				456936.285		602708.142		1279		1266								1279		456936.285						1279		602708.142				601444.316

				456936.134		602709.13		1280		1266								1280		456936.134						1280		602709.13				601444.316

				456935.982		602710.119		1281		1266								1281		456935.982						1281		602710.119				601444.316

				456935.831		602711.107		1282		1266								1282		456935.831						1282		602711.107				601444.316

				456935.68		602712.095		1283		1266								1283		456935.68						1283		602712.095				601444.316

				456935.529		602713.083		1284		1266								1284		456935.529						1284		602713.083				601444.316

				456935.378		602714.071		1285		1266								1285		456935.378						1285		602714.071				601444.316

				456935.227		602715.059		1286		1266								1286		456935.227						1286		602715.059				601444.316

				456935.076		602716.047		1287		1266								1287		456935.076						1287		602716.047				601444.316

				456934.925		602717.036		1288		1266								1288		456934.925						1288		602717.036				601444.316

				456934.774		602718.024		1289		1266								1289		456934.774						1289		602718.024				601444.316

				456934.622		602719.012		1290		1266								1290		456934.622						1290		602719.012				601444.316

				456934.471		602720		1291		1266								1291		456934.471						1291		602720				601444.316

				456934.32		602720.988		1292		1266								1292		456934.32						1292		602720.988				601444.316

				456934.169		602721.976		1293		1266								1293		456934.169						1293		602721.976				601444.316

				456934.018		602722.964		1294		1266								1294		456934.018						1294		602722.964				601444.316

				456933.867		602723.953		1295		1266								1295		456933.867						1295		602723.953				601444.316

				456933.716		602724.941		1296		1266								1296		456933.716						1296		602724.941				601444.316

				456933.565		602725.929		1297		1266								1297		456933.565						1297		602725.929				601444.316

				456933.414		602726.917		1298		1266								1298		456933.414						1298		602726.917				601444.316

				456933.263		602727.905		1299		1266								1299		456933.263						1299		602727.905				601444.316

				456933.111		602728.893		1300		1266								1300		456933.111						1300		602728.893				601444.316

				456932.96		602729.881		1301		1266								1301		456932.96						1301		602729.881				601444.316

				456932.809		602730.869		1302		1266								1302		456932.809						1302		602730.869				601444.316

				456932.658		602731.858		1303		1266								1303		456932.658						1303		602731.858				601444.316

				456932.507		602732.846		1304		1266								1304		456932.507						1304		602732.846				601444.316

				456932.356		602733.834		1305		1266.05								1305		456932.356						1305		602733.834				601444.316

				456932.205		602734.822		1306		1266.107								1306		456932.205						1306		602734.822				601444.316

				456932.054		602735.81		1307		1266.177								1307		456932.054						1307		602735.81				601444.316

				456931.903		602736.798		1308		1266.236								1308		456931.903						1308		602736.798				601444.316

				456931.751		602737.786		1309		1266.268								1309		456931.751						1309		602737.786				601444.316

				456931.6		602738.775		1310		1266.333								1310		456931.6						1310		602738.775				601444.316

				456931.449		602739.763		1311		1266.331								1311		456931.449						1311		602739.763				601444.316

				456931.298		602740.751		1312		1266.331								1312		456931.298						1312		602740.751				601444.316

				456931.147		602741.739		1313		1266.388								1313		456931.147						1313		602741.739				601444.316

				456930.996		602742.727		1314		1266.404								1314		456930.996						1314		602742.727				601444.316

				456930.845		602743.715		1315		1266.429								1315		456930.845						1315		602743.715				601444.316

				456930.694		602744.703		1316		1266.483								1316		456930.694						1316		602744.703				601444.316

				456930.543		602745.692		1317		1266.513								1317		456930.543						1317		602745.692				601444.316

				456930.391		602746.68		1318		1266.541								1318		456930.391						1318		602746.68				601444.316

				456930.24		602747.668		1319		1266.541								1319		456930.24						1319		602747.668				601444.316

				456930.089		602748.656		1320		1266.533								1320		456930.089						1320		602748.656				601444.316

				456929.938		602749.644		1321		1266.561								1321		456929.938						1321		602749.644				601444.316

				456929.787		602750.632		1322		1266.589								1322		456929.787						1322		602750.632				601444.316

				456929.636		602751.62		1323		1266.617								1323		456929.636						1323		602751.62				601444.316

				456929.485		602752.608		1324		1266.645								1324		456929.485						1324		602752.608				601444.316

				456929.334		602753.597		1325		1266.673								1325		456929.334						1325		602753.597				601444.316

				456929.183		602754.585		1326		1266.701								1326		456929.183						1326		602754.585				601444.316

				456929.032		602755.573		1327		1266.701								1327		456929.032						1327		602755.573				601444.316

				456928.88		602756.561		1328		1266.729								1328		456928.88						1328		602756.561				601444.316

				456928.729		602757.549		1329		1266.702								1329		456928.729						1329		602757.549				601444.316

				456928.578		602758.537		1330		1266.704								1330		456928.578						1330		602758.537				601444.316

				456928.427		602759.525		1331		1266.707								1331		456928.427						1331		602759.525				601444.316

				456928.276		602760.514		1332		1266.707								1332		456928.276						1332		602760.514				601444.316

				456928.125		602761.502		1333		1266.708								1333		456928.125						1333		602761.502				601444.316

				456927.974		602762.49		1334		1266.708								1334		456927.974						1334		602762.49				601444.316

				456927.823		602763.478		1335		1266.708								1335		456927.823						1335		602763.478				601444.316

				456927.672		602764.466		1336		1266.708								1336		456927.672						1336		602764.466				601444.316

				456927.52		602765.454		1337		1266.712								1337		456927.52						1337		602765.454				601444.316

				456927.369		602766.442		1338		1266.697								1338		456927.369						1338		602766.442				601444.316

				456927.218		602767.431		1339		1266.718								1339		456927.218						1339		602767.431				601444.316

				456927.067		602768.419		1340		1266.74								1340		456927.067						1340		602768.419				601444.316

				456926.916		602769.407		1341		1266.76								1341		456926.916						1341		602769.407				601444.316

				456926.765		602770.395		1342		1266.76								1342		456926.765						1342		602770.395				601444.316

				456926.614		602771.383		1343		1266.781								1343		456926.614						1343		602771.383				601444.316

				456926.463		602772.371		1344		1266.802								1344		456926.463						1344		602772.371				601444.316

				456926.312		602773.359		1345		1266.824								1345		456926.312						1345		602773.359				601444.316

				456926.161		602774.347		1346		1266.845								1346		456926.161						1346		602774.347				601444.316

				456926.009		602775.336		1347		1266.83								1347		456926.009						1347		602775.336				601444.316

				456925.858		602776.324		1348		1266.852								1348		456925.858						1348		602776.324				601444.316

				456925.707		602777.312		1349		1266.873								1349		456925.707						1349		602777.312				601444.316

				456925.556		602778.3		1350		1266.873								1350		456925.556						1350		602778.3				601444.316

				456925.405		602779.288		1351		1266.894								1351		456925.405						1351		602779.288				601444.316

				456925.254		602780.276		1352		1266.915								1352		456925.254						1352		602780.276				601444.316

				456925.103		602781.264		1353		1266.936								1353		456925.103						1353		602781.264				601444.316

				456924.952		602782.253		1354		1266.957								1354		456924.952						1354		602782.253				601444.316

				456924.801		602783.241		1355		1266.978								1355		456924.801						1355		602783.241				601444.316

				456924.649		602784.229		1356		1267.002								1356		456924.649						1356		602784.229				601444.316

				456924.498		602785.217		1357		1267.049								1357		456924.498						1357		602785.217				601444.316

				456924.347		602786.205		1358		1267.049								1358		456924.347						1358		602786.205				601444.316

				456924.196		602787.193		1359		1267.097								1359		456924.196						1359		602787.193				601444.316

				456924.045		602788.181		1360		1267.144								1360		456924.045						1360		602788.181				601444.316

				456923.894		602789.17		1361		1267.191								1361		456923.894						1361		602789.17				601444.316

				456923.743		602790.158		1362		1267.239								1362		456923.743						1362		602790.158				601444.316

				456923.592		602791.146		1363		1267.286								1363		456923.592						1363		602791.146				601444.316

				456923.441		602792.134		1364		1267.334								1364		456923.441						1364		602792.134				601444.316

				456923.29		602793.122		1365		1267.372								1365		456923.29						1365		602793.122				601444.316

				456923.138		602794.11		1366		1267.372								1366		456923.138						1366		602794.11				601444.316

				456922.987		602795.098		1367		1267.42								1367		456922.987						1367		602795.098				601444.316

				456922.836		602796.086		1368		1267.468								1368		456922.836						1368		602796.086				601444.316

				456922.685		602797.075		1369		1267.516								1369		456922.685						1369		602797.075				601444.316

				456922.534		602798.063		1370		1267.564								1370		456922.534						1370		602798.063				601444.316

				456922.383		602799.051		1371		1267.612								1371		456922.383						1371		602799.051				601444.316

				456922.232		602800.039		1372		1267.661								1372		456922.232						1372		602800.039				601444.316

				456922.081		602801.027		1373		1267.661								1373		456922.081						1373		602801.027				601444.316

				456921.93		602802.015		1374		1267.701								1374		456921.93						1374		602802.015				601444.316

				456921.778		602803.003		1375		1267.751								1375		456921.778						1375		602803.003				601444.316

				456921.627		602803.992		1376		1267.8								1376		456921.627						1376		602803.992				601444.316

				456921.476		602804.98		1377		1267.85								1377		456921.476						1377		602804.98				601444.316

				456921.325		602805.968		1378		1267.901								1378		456921.325						1378		602805.968				601444.316

				456921.174		602806.956		1379		1267.951								1379		456921.174						1379		602806.956				601444.316

				456921.023		602807.944		1380		1268								1380		456921.023						1380		602807.944				601444.316

				456920.872		602808.932		1381		1268								1381		456920.872						1381		602808.932				601444.316

				456920.721		602809.92		1382		1268								1382		456920.721						1382		602809.92				601444.316

				456920.57		602810.908		1383		1268								1383		456920.57						1383		602810.908				601444.316

				456920.419		602811.897		1384		1268								1384		456920.419						1384		602811.897				601444.316

				456920.267		602812.885		1385		1268								1385		456920.267						1385		602812.885				601444.316

				456920.116		602813.873		1386		1268								1386		456920.116						1386		602813.873				601444.316

				456919.965		602814.861		1387		1268								1387		456919.965						1387		602814.861				601444.316

				456919.814		602815.849		1388		1268								1388		456919.814						1388		602815.849				601444.316

				456919.663		602816.837		1389		1268								1389		456919.663						1389		602816.837				601444.316

				456919.512		602817.825		1390		1268								1390		456919.512						1390		602817.825				601444.316

				456919.361		602818.814		1391		1268								1391		456919.361						1391		602818.814				601444.316

				456919.21		602819.802		1392		1268								1392		456919.21						1392		602819.802				601444.316

				456919.059		602820.79		1393		1268								1393		456919.059						1393		602820.79				601444.316

				456918.907		602821.778		1394		1268								1394		456918.907						1394		602821.778				601444.316

				456918.756		602822.766		1395		1268								1395		456918.756						1395		602822.766				601444.316

				456918.605		602823.754		1396		1268								1396		456918.605						1396		602823.754				601444.316

				456918.454		602824.742		1397		1268								1397		456918.454						1397		602824.742				601444.316

				456918.303		602825.731		1398		1268								1398		456918.303						1398		602825.731				601444.316

				456918.152		602826.719		1399		1268								1399		456918.152						1399		602826.719				601444.316

				456918.001		602827.707		1400		1268								1400		456918.001						1400		602827.707				601444.316

				456917.85		602828.695		1401		1268								1401		456917.85						1401		602828.695				601444.316

				456917.699		602829.683		1402		1268								1402		456917.699						1402		602829.683				601444.316

				456917.548		602830.671		1403		1268								1403		456917.548						1403		602830.671				601444.316

				456917.396		602831.659		1404		1268								1404		456917.396						1404		602831.659				601444.316

				456917.245		602832.647		1405		1268								1405		456917.245						1405		602832.647				601444.316

				456917.094		602833.636		1406		1268.011								1406		456917.094						1406		602833.636				601444.316

				456916.943		602834.624		1407		1268.027								1407		456916.943						1407		602834.624				601444.316

				456916.792		602835.612		1408		1268.042								1408		456916.792						1408		602835.612				601444.316

				456916.641		602836.6		1409		1268.044								1409		456916.641						1409		602836.6				601444.316

				456916.49		602837.588		1410		1268.06								1410		456916.49						1410		602837.588				601444.316

				456916.339		602838.576		1411		1268.075								1411		456916.339						1411		602838.576				601444.316

				456916.188		602839.564		1412		1268.075								1412		456916.188						1412		602839.564				601444.316

				456916.036		602840.553		1413		1268.091								1413		456916.036						1413		602840.553				601444.316

				456915.885		602841.541		1414		1268.106								1414		456915.885						1414		602841.541				601444.316

				456915.734		602842.529		1415		1268.122								1415		456915.734						1415		602842.529				601444.316

				456915.583		602843.517		1416		1268.137								1416		456915.583						1416		602843.517				601444.316

				456915.432		602844.505		1417		1268.153								1417		456915.432						1417		602844.505				601444.316

				456915.281		602845.493		1418		1268.155								1418		456915.281						1418		602845.493				601444.316

				456915.13		602846.481		1419		1268.171								1419		456915.13						1419		602846.481				601444.316

				456914.979		602847.47		1420		1268.171								1420		456914.979						1420		602847.47				601444.316

				456914.828		602848.458		1421		1268.186								1421		456914.828						1421		602848.458				601444.316

				456914.677		602849.446		1422		1268.19								1422		456914.677						1422		602849.446				601444.316

				456914.525		602850.434		1423		1268.192								1423		456914.525						1423		602850.434				601444.316

				456914.374		602851.422		1424		1268.195								1424		456914.374						1424		602851.422				601444.316

				456914.223		602852.41		1425		1268.203								1425		456914.223						1425		602852.41				601444.316

				456914.072		602853.398		1426		1268.205								1426		456914.072						1426		602853.398				601444.316

				456913.921		602854.386		1427		1268.186								1427		456913.921						1427		602854.386				601444.316

				456913.77		602855.375		1428		1268.186								1428		456913.77						1428		602855.375				601444.316

				456913.619		602856.363		1429		1268.195								1429		456913.619						1429		602856.363				601444.316

				456913.468		602857.351		1430		1268.197								1430		456913.468						1430		602857.351				601444.316

				456913.317		602858.339		1431		1268.199								1431		456913.317						1431		602858.339				601444.316

				456913.165		602859.327		1432		1268.202								1432		456913.165						1432		602859.327				601444.316

				456913.014		602860.315		1433		1268.208								1433		456913.014						1433		602860.315				601444.316

				456912.863		602861.303		1434		1268.21								1434		456912.863						1434		602861.303				601444.316

				456912.712		602862.292		1435		1268.21								1435		456912.712						1435		602862.292				601444.316

				456912.561		602863.28		1436		1268.189								1436		456912.561						1436		602863.28				601444.316

				456912.41		602864.268		1437		1268.204								1437		456912.41						1437		602864.268				601444.316

				456912.259		602865.256		1438		1268.213								1438		456912.259						1438		602865.256				601444.316

				456912.108		602866.244		1439		1268.216								1439		456912.108						1439		602866.244				601444.316

				456911.957		602867.232		1440		1268.218								1440		456911.957						1440		602867.232				601444.316

				456911.806		602868.22		1441		1268.23								1441		456911.806						1441		602868.22				601444.316

				456911.654		602869.209		1442		1268.238								1442		456911.654						1442		602869.209				601444.316

				456911.503		602870.197		1443		1268.238								1443		456911.503						1443		602870.197				601444.316

				456911.352		602871.185		1444		1268.241								1444		456911.352						1444		602871.185				601444.316

				456911.201		602872.173		1445		1268.224								1445		456911.201						1445		602872.173				601444.316

				456911.05		602873.161		1446		1268.232								1446		456911.05						1446		602873.161				601444.316

				456910.899		602874.149		1447		1268.237								1447		456910.899						1447		602874.149				601444.316

				456910.748		602875.137		1448		1268.243								1448		456910.748						1448		602875.137				601444.316

				456910.597		602876.125		1449		1268.253								1449		456910.597						1449		602876.125				601444.316

				456910.446		602877.114		1450		1268.263								1450		456910.446						1450		602877.114				601444.316

				456910.294		602878.102		1451		1268.263								1451		456910.294						1451		602878.102				601444.316

				456910.143		602879.09		1452		1268.271								1452		456910.143						1452		602879.09				601444.316

				456909.992		602880.078		1453		1268.261								1453		456909.992						1453		602880.078				601444.316

				456909.841		602881.066		1454		1268.271								1454		456909.841						1454		602881.066				601444.316

				456909.69		602882.054		1455		1268.278								1455		456909.69						1455		602882.054				601444.316

				456909.539		602883.042		1456		1268.278								1456		456909.539						1456		602883.042				601444.316

				456909.388		602884.031		1457		1268.279								1457		456909.388						1457		602884.031				601444.316

				456909.237		602885.019		1458		1268.281								1458		456909.237						1458		602885.019				601444.316

				456909.086		602886.007		1459		1268.281								1459		456909.086						1459		602886.007				601444.316

				456908.935		602886.995		1460		1268.287								1460		456908.935						1460		602886.995				601444.316

				456908.783		602887.983		1461		1268.293								1461		456908.783						1461		602887.983				601444.316

				456908.632		602888.971		1462		1268.279								1462		456908.632						1462		602888.971				601444.316

				456908.481		602889.959		1463		1268.294								1463		456908.481						1463		602889.959				601444.316

				456908.33		602890.948		1464		1268.306								1464		456908.33						1464		602890.948				601444.316

				456908.179		602891.936		1465		1268.324								1465		456908.179						1465		602891.936				601444.316

				456908.028		602892.924		1466		1268.324								1466		456908.028						1466		602892.924				601444.316

				456907.877		602893.912		1467		1268.341								1467		456907.877						1467		602893.912				601444.316

				456907.726		602894.9		1468		1268.359								1468		456907.726						1468		602894.9				601444.316

				456907.575		602895.888		1469		1268.377								1469		456907.575						1469		602895.888				601444.316

				456907.423		602896.876		1470		1268.395								1470		456907.423						1470		602896.876				601444.316

				456907.272		602897.864		1471		1268.406								1471		456907.272						1471		602897.864				601444.316

				456907.121		602898.853		1472		1268.424								1472		456907.121						1472		602898.853				601444.316

				456906.97		602899.841		1473		1268.442								1473		456906.97						1473		602899.841				601444.316

				456906.819		602900.829		1474		1268.442								1474		456906.819						1474		602900.829				601444.316

				456906.668		602901.817		1475		1268.46								1475		456906.668						1475		602901.817				601444.316

				456906.517		602902.805		1476		1268.477								1476		456906.517						1476		602902.805				601444.316

				456906.366		602903.793		1477		1268.495								1477		456906.366						1477		602903.793				601444.316

				456906.215		602904.781		1478		1268.513								1478		456906.215						1478		602904.781				601444.316

				456906.064		602905.77		1479		1268.531								1479		456906.064						1479		602905.77				601444.316

				456905.912		602906.758		1480		1268.542								1480		456905.912						1480		602906.758				601444.316

				456905.761		602907.746		1481		1268.56								1481		456905.761						1481		602907.746				601444.316

				456905.61		602908.734		1482		1268.56								1482		456905.61						1482		602908.734				601444.316

				456905.459		602909.722		1483		1268.578								1483		456905.459						1483		602909.722				601444.316

				456905.308		602910.71		1484		1268.596								1484		456905.308						1484		602910.71				601444.316

				456905.157		602911.698		1485		1268.614								1485		456905.157						1485		602911.698				601444.316

				456905.006		602912.687		1486		1268.631								1486		456905.006						1486		602912.687				601444.316

				456904.855		602913.675		1487		1268.649								1487		456904.855						1487		602913.675				601444.316

				456904.704		602914.663		1488		1268.667								1488		456904.704						1488		602914.663				601444.316

				456904.552		602915.651		1489		1268.678								1489		456904.552						1489		602915.651				601444.316

				456904.401		602916.639		1490		1268.678								1490		456904.401						1490		602916.639				601444.316

				456904.25		602917.627		1491		1268.696								1491		456904.25						1491		602917.627				601444.316

				456904.099		602918.615		1492		1268.714								1492		456904.099						1492		602918.615				601444.316

				456903.948		602919.603		1493		1268.732								1493		456903.948						1493		602919.603				601444.316

				456903.797		602920.592		1494		1268.75								1494		456903.797						1494		602920.592				601444.316

				456903.646		602921.58		1495		1268.767								1495		456903.646						1495		602921.58				601444.316

				456903.495		602922.568		1496		1268.785								1496		456903.495						1496		602922.568				601444.316

				456903.344		602923.556		1497		1268.785								1497		456903.344						1497		602923.556				601444.316

				456903.193		602924.544		1498		1268.797								1498		456903.193						1498		602924.544				601444.316

				456903.041		602925.532		1499		1268.814								1499		456903.041						1499		602925.532				601444.316

				456902.89		602926.52		1500		1268.832								1500		456902.89						1500		602926.52				601444.316

				456902.739		602927.509		1501		1268.85								1501		456902.739						1501		602927.509				601444.316

				456902.588		602928.497		1502		1268.868								1502		456902.588						1502		602928.497				601444.316

				456902.437		602929.485		1503		1268.885								1503		456902.437						1503		602929.485				601444.316

				456902.286		602930.473		1504		1268.903								1504		456902.286						1504		602930.473				601444.316

				456902.135		602931.461		1505		1268.903								1505		456902.135						1505		602931.461				601444.316

				456901.984		602932.449		1506		1268.921								1506		456901.984						1506		602932.449				601444.316

				456901.833		602933.437		1507		1268.933								1507		456901.833						1507		602933.437				601444.316

				456901.681		602934.426		1508		1268.95								1508		456901.681						1508		602934.426				601444.316

				456901.53		602935.414		1509		1268.968								1509		456901.53						1509		602935.414				601444.316

				456901.379		602936.402		1510		1268.986								1510		456901.379						1510		602936.402				601444.316

				456901.228		602937.39		1511		1269								1511		456901.228						1511		602937.39				601444.316

				456901.077		602938.378		1512		1269								1512		456901.077						1512		602938.378				601444.316

				456900.926		602939.366		1513		1269								1513		456900.926						1513		602939.366				601444.316

				456900.775		602940.354		1514		1269								1514		456900.775						1514		602940.354				601444.316

				456900.624		602941.342		1515		1269								1515		456900.624						1515		602941.342				601444.316

				456900.473		602942.331		1516		1269								1516		456900.473						1516		602942.331				601444.316

				456900.322		602943.319		1517		1269								1517		456900.322						1517		602943.319				601444.316

				456900.17		602944.307		1518		1269								1518		456900.17						1518		602944.307				601444.316

				456900.019		602945.295		1519		1269								1519		456900.019						1519		602945.295				601444.316

				456899.868		602946.283		1520		1269								1520		456899.868						1520		602946.283				601444.316

				456899.717		602947.271		1521		1269								1521		456899.717						1521		602947.271				601444.316

				456899.566		602948.259		1522		1269								1522		456899.566						1522		602948.259				601444.316

				456899.415		602949.248		1523		1269								1523		456899.415						1523		602949.248				601444.316

				456899.264		602950.236		1524		1269								1524		456899.264						1524		602950.236				601444.316

				456899.113		602951.224		1525		1269								1525		456899.113						1525		602951.224				601444.316

				456898.962		602952.212		1526		1269								1526		456898.962						1526		602952.212				601444.316

				456898.81		602953.2		1527		1269								1527		456898.81						1527		602953.2				601444.316

				456898.659		602954.188		1528		1269								1528		456898.659						1528		602954.188				601444.316

				456898.508		602955.176		1529		1269								1529		456898.508						1529		602955.176				601444.316

				456898.357		602956.165		1530		1269								1530		456898.357						1530		602956.165				601444.316

				456898.206		602957.153		1531		1269								1531		456898.206						1531		602957.153				601444.316

				456898.055		602958.141		1532		1269								1532		456898.055						1532		602958.141				601444.316

				456897.904		602959.129		1533		1269								1533		456897.904						1533		602959.129				601444.316

				456897.753		602960.117		1534		1269								1534		456897.753						1534		602960.117				601444.316

				456897.602		602961.105		1535		1269.015								1535		456897.602						1535		602961.105				601444.316

				456897.45		602962.093		1536		1269.015								1536		456897.45						1536		602962.093				601444.316

				456897.299		602963.081		1537		1269.039								1537		456897.299						1537		602963.081				601444.316

				456897.148		602964.07		1538		1269.063								1538		456897.148						1538		602964.07				601444.316

				456896.997		602965.058		1539		1269.089								1539		456896.997						1539		602965.058				601444.316

				456896.846		602966.046		1540		1269.116								1540		456896.846						1540		602966.046				601444.316

				456896.695		602967.034		1541		1269.143								1541		456896.695						1541		602967.034				601444.316

				456896.544		602968.022		1542		1269.163								1542		456896.544						1542		602968.022				601444.316

				456896.393		602969.01		1543		1269.184								1543		456896.393						1543		602969.01				601444.316

				456896.242		602969.998		1544		1269.184								1544		456896.242						1544		602969.998				601444.316

				456896.091		602970.987		1545		1269.208								1545		456896.091						1545		602970.987				601444.316

				456895.939		602971.975		1546		1269.232								1546		456895.939						1546		602971.975				601444.316

				456895.788		602972.963		1547		1269.256								1547		456895.788						1547		602972.963				601444.316

				456895.637		602973.951		1548		1269.28								1548		456895.637						1548		602973.951				601444.316

				456895.486		602974.939		1549		1269.304								1549		456895.486						1549		602974.939				601444.316

				456895.335		602975.927		1550		1269.327								1550		456895.335						1550		602975.927				601444.316

				456895.184		602976.915		1551		1269.348								1551		456895.184						1551		602976.915				601444.316

				456895.033		602977.904		1552		1269.348								1552		456895.033						1552		602977.904				601444.316

				456894.882		602978.892		1553		1269.37								1553		456894.882						1553		602978.892				601444.316

				456894.731		602979.88		1554		1269.393								1554		456894.731						1554		602979.88				601444.316

				456894.579		602980.868		1555		1269.416								1555		456894.579						1555		602980.868				601444.316

				456894.428		602981.856		1556		1269.439								1556		456894.428						1556		602981.856				601444.316

				456894.277		602982.844		1557		1269.462								1557		456894.277						1557		602982.844				601444.316

				456894.126		602983.832		1558		1269.485								1558		456894.126						1558		602983.832				601444.316

				456893.975		602984.82		1559		1269.485								1559		456893.975						1559		602984.82				601444.316

				456893.824		602985.809		1560		1269.513								1560		456893.824						1560		602985.809				601444.316

				456893.673		602986.797		1561		1269.536								1561		456893.673						1561		602986.797				601444.316

				456893.522		602987.785		1562		1269.559								1562		456893.522						1562		602987.785				601444.316

				456893.371		602988.773		1563		1269.582								1563		456893.371						1563		602988.773				601444.316

				456893.22		602989.761		1564		1269.605								1564		456893.22						1564		602989.761				601444.316

				456893.068		602990.749		1565		1269.628								1565		456893.068						1565		602990.749				601444.316

				456892.917		602991.737		1566		1269.651								1566		456892.917						1566		602991.737				601444.316

				456892.766		602992.726		1567		1269.651								1567		456892.766						1567		602992.726				601444.316

				456892.615		602993.714		1568		1269.674								1568		456892.615						1568		602993.714				601444.316

				456892.464		602994.702		1569		1269.702								1569		456892.464						1569		602994.702				601444.316

				456892.313		602995.69		1570		1269.725								1570		456892.313						1570		602995.69				601444.316

				456892.162		602996.678		1571		1269.748								1571		456892.162						1571		602996.678				601444.316

				456892.011		602997.666		1572		1269.771								1572		456892.011						1572		602997.666				601444.316

				456891.86		602998.654		1573		1269.793								1573		456891.86						1573		602998.654				601444.316

				456891.708		602999.643		1574		1269.816								1574		456891.708						1574		602999.643				601444.316

				456891.557		603000.631		1575		1269.816								1575		456891.557						1575		603000.631				601444.316

				456891.406		603001.619		1576		1269.839								1576		456891.406						1576		603001.619				601444.316

				456891.255		603002.607		1577		1269.862								1577		456891.255						1577		603002.607				601444.316

				456891.104		603003.595		1578		1269.89								1578		456891.104						1578		603003.595				601444.316

				456890.953		603004.583		1579		1269.913								1579		456890.953						1579		603004.583				601444.316

				456890.802		603005.571		1580		1269.936								1580		456890.802						1580		603005.571				601444.316

				456890.651		603006.559		1581		1269.959								1581		456890.651						1581		603006.559				601444.316

				456890.5		603007.548		1582		1269.982								1582		456890.5						1582		603007.548				601444.316

				456890.349		603008.536		1583		1269.982								1583		456890.349						1583		603008.536				601444.316

				456890.197		603009.524		1584		1270								1584		456890.197						1584		603009.524				601444.316

				456890.046		603010.512		1585		1270								1585		456890.046						1585		603010.512				601444.316

				456889.895		603011.5		1586		1270								1586		456889.895						1586		603011.5				601444.316

				456889.744		603012.488		1587		1270								1587		456889.744						1587		603012.488				601444.316

				456889.593		603013.476		1588		1270								1588		456889.593						1588		603013.476				601444.316

				456889.442		603014.465		1589		1270.013								1589		456889.442						1589		603014.465				601444.316

				456889.291		603015.453		1590		1270.013								1590		456889.291						1590		603015.453				601444.316

				456889.14		603016.441		1591		1270.041								1591		456889.14						1591		603016.441				601444.316

				456888.989		603017.429		1592		1270.068								1592		456888.989						1592		603017.429				601444.316

				456888.837		603018.417		1593		1270.096								1593		456888.837						1593		603018.417				601444.316

				456888.686		603019.405		1594		1270.12								1594		456888.686						1594		603019.405				601444.316

				456888.535		603020.393		1595		1270.133								1595		456888.535						1595		603020.393				601444.316

				456888.384		603021.381		1596		1270.161								1596		456888.384						1596		603021.381				601444.316

				456888.233		603022.37		1597		1270.183								1597		456888.233						1597		603022.37				601444.316

				456888.082		603023.358		1598		1270.183								1598		456888.082						1598		603023.358				601444.316

				456887.931		603024.346		1599		1270.206								1599		456887.931						1599		603024.346				601444.316

				456887.78		603025.334		1600		1270.223								1600		456887.78						1600		603025.334				601444.316

				456887.629		603026.322		1601		1270.243								1601		456887.629						1601		603026.322				601444.316

				456887.478		603027.31		1602		1270.269								1602		456887.478						1602		603027.31				601444.316

				456887.326		603028.298		1603		1270.296								1603		456887.326						1603		603028.298				601444.316

				456887.175		603029.287		1604		1270.314								1604		456887.175						1604		603029.287				601444.316

				456887.024		603030.275		1605		1270.338								1605		456887.024						1605		603030.275				601444.316

				456886.873		603031.263		1606		1270.338								1606		456886.873						1606		603031.263				601444.316

				456886.722		603032.251		1607		1270.353								1607		456886.722						1607		603032.251				601444.316

				456886.571		603033.239		1608		1270.374								1608		456886.571						1608		603033.239				601444.316

				456886.42		603034.227		1609		1270.397								1609		456886.42						1609		603034.227				601444.316

				456886.269		603035.215		1610		1270.42								1610		456886.269						1610		603035.215				601444.316

				456886.118		603036.204		1611		1270.443								1611		456886.118						1611		603036.204				601444.316

				456885.966		603037.192		1612		1270.465								1612		456885.966						1612		603037.192				601444.316

				456885.815		603038.18		1613		1270.48								1613		456885.815						1613		603038.18				601444.316

				456885.664		603039.168		1614		1270.48								1614		456885.664						1614		603039.168				601444.316

				456885.513		603040.156		1615		1270.503								1615		456885.513						1615		603040.156				601444.316

				456885.362		603041.144		1616		1270.526								1616		456885.362						1616		603041.144				601444.316

				456885.211		603042.132		1617		1270.548								1617		456885.211						1617		603042.132				601444.316

				456885.06		603043.12		1618		1270.571								1618		456885.06						1618		603043.12				601444.316

				456884.909		603044.109		1619		1270.594								1619		456884.909						1619		603044.109				601444.316

				456884.758		603045.097		1620		1270.617								1620		456884.758						1620		603045.097				601444.316

				456884.607		603046.085		1621		1270.617								1621		456884.607						1621		603046.085				601444.316

				456884.455		603047.073		1622		1270.632								1622		456884.455						1622		603047.073				601444.316

				456884.304		603048.061		1623		1270.654								1623		456884.304						1623		603048.061				601444.316

				456884.153		603049.049		1624		1270.677								1624		456884.153						1624		603049.049				601444.316

				456884.002		603050.037		1625		1270.7								1625		456884.002						1625		603050.037				601444.316

				456883.851		603051.026		1626		1270.723								1626		456883.851						1626		603051.026				601444.316

				456883.7		603052.014		1627		1270.745								1627		456883.7						1627		603052.014				601444.316

				456883.549		603053.002		1628		1270.768								1628		456883.549						1628		603053.002				601444.316

				456883.398		603053.99		1629		1270.768								1629		456883.398						1629		603053.99				601444.316

				456883.247		603054.978		1630		1270.791								1630		456883.247						1630		603054.978				601444.316

				456883.095		603055.966		1631		1270.806								1631		456883.095						1631		603055.966				601444.316

				456882.944		603056.954		1632		1270.829								1632		456882.944						1632		603056.954				601444.316

				456882.793		603057.943		1633		1270.852								1633		456882.793						1633		603057.943				601444.316

				456882.642		603058.931		1634		1270.874								1634		456882.642						1634		603058.931				601444.316

				456882.491		603059.919		1635		1270.897								1635		456882.491						1635		603059.919				601444.316

				456882.34		603060.907		1636		1270.92								1636		456882.34						1636		603060.907				601444.316

				456882.189		603061.895		1637		1270.92								1637		456882.189						1637		603061.895				601444.316

				456882.038		603062.883		1638		1270.943								1638		456882.038						1638		603062.883				601444.316

				456881.887		603063.871		1639		1270.965								1639		456881.887						1639		603063.871				601444.316

				456881.736		603064.859		1640		1270.98								1640		456881.736						1640		603064.859				601444.316

				456881.584		603065.848		1641		1271								1641		456881.584						1641		603065.848				601444.316

				456881.433		603066.836		1642		1271								1642		456881.433						1642		603066.836				601444.316

				456881.282		603067.824		1643		1271								1643		456881.282						1643		603067.824				601444.316

				456881.131		603068.812		1644		1271								1644		456881.131						1644		603068.812				601444.316

				456880.98		603069.8		1645		1271								1645		456880.98						1645		603069.8				601444.316

				456880.829		603070.788		1646		1271								1646		456880.829						1646		603070.788				601444.316

				456880.678		603071.776		1647		1271								1647		456880.678						1647		603071.776				601444.316

				456880.527		603072.765		1648		1271								1648		456880.527						1648		603072.765				601444.316

				456880.376		603073.753		1649		1271								1649		456880.376						1649		603073.753				601444.316

				456880.224		603074.741		1650		1271								1650		456880.224						1650		603074.741				601444.316

				456880.073		603075.729		1651		1271								1651		456880.073						1651		603075.729				601444.316

				456879.922		603076.717		1652		1271								1652		456879.922						1652		603076.717				601444.316

				456879.771		603077.705		1653		1271								1653		456879.771						1653		603077.705				601444.316

				456879.62		603078.693		1654		1271								1654		456879.62						1654		603078.693				601444.316

				456879.469		603079.682		1655		1271.001								1655		456879.469						1655		603079.682				601444.316

				456879.318		603080.67		1656		1271.021								1656		456879.318						1656		603080.67				601444.316

				456879.167		603081.658		1657		1271.039								1657		456879.167						1657		603081.658				601444.316

				456879.016		603082.646		1658		1271.059								1658		456879.016						1658		603082.646				601444.316

				456878.865		603083.634		1659		1271.075								1659		456878.865						1659		603083.634				601444.316

				456878.713		603084.622		1660		1271.075								1660		456878.713						1660		603084.622				601444.316

				456878.562		603085.61		1661		1271.093								1661		456878.562						1661		603085.61				601444.316

				456878.411		603086.598		1662		1271.11								1662		456878.411						1662		603086.598				601444.316

				456878.26		603087.587		1663		1271.128								1663		456878.26						1663		603087.587				601444.316

				456878.109		603088.575		1664		1271.146								1664		456878.109						1664		603088.575				601444.316

				456877.958		603089.563		1665		1271.164								1665		456877.958						1665		603089.563				601444.316

				456877.807		603090.551		1666		1271.183								1666		456877.807						1666		603090.551				601444.316

				456877.656		603091.539		1667		1271.201								1667		456877.656						1667		603091.539				601444.316

				456877.505		603092.527		1668		1271.201								1668		456877.505						1668		603092.527				601444.316

				456877.353		603093.515		1669		1271.219								1669		456877.353						1669		603093.515				601444.316

				456877.202		603094.504		1670		1271.237								1670		456877.202						1670		603094.504				601444.316

				456877.051		603095.492		1671		1271.255								1671		456877.051						1671		603095.492				601444.316

				456876.9		603096.48		1672		1271.273								1672		456876.9						1672		603096.48				601444.316

				456876.749		603097.468		1673		1271.29								1673		456876.749						1673		603097.468				601444.316

				456876.598		603098.456		1674		1271.308								1674		456876.598						1674		603098.456				601444.316

				456876.447		603099.444		1675		1271.31								1675		456876.447						1675		603099.444				601444.316

				456876.296		603100.432		1676		1271.328								1676		456876.296						1676		603100.432				601444.316

				456876.145		603101.421		1677		1271.346								1677		456876.145						1677		603101.421				601444.316

				456875.994		603102.409		1678		1271.364								1678		456875.994						1678		603102.409				601444.316

				456875.842		603103.397		1679		1271.381								1679		456875.842						1679		603103.397				601444.316

				456875.691		603104.385		1680		1271.399								1680		456875.691						1680		603104.385				601444.316

				456875.54		603105.373		1681		1271.417								1681		456875.54						1681		603105.373				601444.316

				456875.389		603106.361		1682		1271.435								1682		456875.389						1682		603106.361				601444.316

				456875.238		603107.349		1683		1271.435								1683		456875.238						1683		603107.349				601444.316

				456875.087		603108.337		1684		1271.454								1684		456875.087						1684		603108.337				601444.316

				456874.936		603109.326		1685		1271.472								1685		456874.936						1685		603109.326				601444.316

				456874.785		603110.314		1686		1271.49								1686		456874.785						1686		603110.314				601444.316

				456874.634		603111.302		1687		1271.508								1687		456874.634						1687		603111.302				601444.316

				456874.482		603112.29		1688		1271.526								1688		456874.482						1688		603112.29				601444.316

				456874.331		603113.278		1689		1271.543								1689		456874.331						1689		603113.278				601444.316

				456874.18		603114.266		1690		1271.561								1690		456874.18						1690		603114.266				601444.316

				456874.029		603115.254		1691		1271.561								1691		456874.029						1691		603115.254				601444.316

				456873.878		603116.243		1692		1271.579								1692		456873.878						1692		603116.243				601444.316

				456873.727		603117.231		1693		1271.599								1693		456873.727						1693		603117.231				601444.316

				456873.576		603118.219		1694		1271.616								1694		456873.576						1694		603118.219				601444.316

				456873.425		603119.207		1695		1271.634								1695		456873.425						1695		603119.207				601444.316

				456873.274		603120.195		1696		1271.652								1696		456873.274						1696		603120.195				601444.316

				456873.123		603121.183		1697		1271.67								1697		456873.123						1697		603121.183				601444.316

				456872.971		603122.171		1698		1271.688								1698		456872.971						1698		603122.171				601444.316

				456872.82		603123.16		1699		1271.688								1699		456872.82						1699		603123.16				601444.316

				456872.669		603124.148		1700		1271.706								1700		456872.669						1700		603124.148				601444.316

				456872.518		603125.136		1701		1271.723								1701		456872.518						1701		603125.136				601444.316

				456872.367		603126.124		1702		1271.743								1702		456872.367						1702		603126.124				601444.316

				456872.216		603127.112		1703		1271.761								1703		456872.216						1703		603127.112				601444.316

				456872.065		603128.1		1704		1271.779								1704		456872.065						1704		603128.1				601444.316

				456871.914		603129.088		1705		1271.797								1705		456871.914						1705		603129.088				601444.316

				456871.763		603130.076		1706		1271.797								1706		456871.763						1706		603130.076				601444.316

				456871.611		603131.065		1707		1271.814								1707		456871.611						1707		603131.065				601444.316

				456871.46		603132.053		1708		1271.832								1708		456871.46						1708		603132.053				601444.316

				456871.309		603133.041		1709		1271.85								1709		456871.309						1709		603133.041				601444.316

				456871.158		603134.029		1710		1271.868								1710		456871.158						1710		603134.029				601444.316

				456871.007		603135.017		1711		1271.887								1711		456871.007						1711		603135.017				601444.316

				456870.856		603136.005		1712		1271.905								1712		456870.856						1712		603136.005				601444.316

				456870.705		603136.993		1713		1271.923								1713		456870.705						1713		603136.993				601444.316

				456870.554		603137.982		1714		1271.923								1714		456870.554						1714		603137.982				601444.316

				456870.403		603138.97		1715		1271.941								1715		456870.403						1715		603138.97				601444.316

				456870.252		603139.958		1716		1271.959								1716		456870.252						1716		603139.958				601444.316

				456870.1		603140.946		1717		1271.976								1717		456870.1						1717		603140.946				601444.316

				456869.949		603141.934		1718		1271.994								1718		456869.949						1718		603141.934				601444.316

				456869.798		603142.922		1719		1272								1719		456869.798						1719		603142.922				601444.316

				456869.647		603143.91		1720		1272								1720		456869.647						1720		603143.91				601444.316

				456869.496		603144.899		1721		1272								1721		456869.496						1721		603144.899				601444.316

				456869.345		603145.887		1722		1272								1722		456869.345						1722		603145.887				601444.316

				456869.194		603146.875		1723		1272								1723		456869.194						1723		603146.875				601444.316

				456869.043		603147.863		1724		1272								1724		456869.043						1724		603147.863				601444.316

				456868.892		603148.851		1725		1272								1725		456868.892						1725		603148.851				601444.316

				456868.74		603149.839		1726		1272								1726		456868.74						1726		603149.839				601444.316

				456868.589		603150.827		1727		1272								1727		456868.589						1727		603150.827				601444.316

				456868.438		603151.815		1728		1272								1728		456868.438						1728		603151.815				601444.316

				456868.287		603152.804		1729		1272								1729		456868.287						1729		603152.804				601444.316

				456868.136		603153.792		1730		1272								1730		456868.136						1730		603153.792				601444.316

				456867.985		603154.78		1731		1272								1731		456867.985						1731		603154.78				601444.316

				456867.834		603155.768		1732		1272								1732		456867.834						1732		603155.768				601444.316

				456867.683		603156.756		1733		1272								1733		456867.683						1733		603156.756				601444.316

				456867.532		603157.744		1734		1272								1734		456867.532						1734		603157.744				601444.316

				456867.38		603158.732		1735		1272								1735		456867.38						1735		603158.732				601444.316

				456867.229		603159.721		1736		1272								1736		456867.229						1736		603159.721				601444.316

				456867.078		603160.709		1737		1272								1737		456867.078						1737		603160.709				601444.316

				456866.927		603161.697		1738		1272								1738		456866.927						1738		603161.697				601444.316

				456866.776		603162.685		1739		1272								1739		456866.776						1739		603162.685				601444.316

				456866.625		603163.673		1740		1272								1740		456866.625						1740		603163.673				601444.316

				456866.474		603164.661		1741		1272								1741		456866.474						1741		603164.661				601444.316

				456866.323		603165.649		1742		1272								1742		456866.323						1742		603165.649				601444.316

				456866.284		603165.902		1742.3		1272								1742.3		456866.284						1742.3		603165.902				601444.316





Dam Axis

				X		Y		Distance (Total)		Elevation						Elevation		Distance (Total)		X						Distance (Total)		Y						Dam Axis OGL

				456674.716		601384.733		0		1271.999				0		1271.999		0		456674.716		0		456674.716		0		601384.733		0		601384.733		0		456674.716		601384.733		1271.999

				456675.707		601384.863		1		1271.918				10		1271.195		1		456675.707		10		456684.627		1		601384.863		10		601386.031		10		456684.627		601386.031		1271.195

				456676.698		601384.993		2		1271.837				20		1270.503		2		456676.698		20		456694.539		2		601384.993		20		601387.33		20		456694.539		601387.33		1270.503

				456677.689		601385.122		3		1271.756				30		1269.849		3		456677.689		30		456704.45		3		601385.122		30		601388.628		30		456704.45		601388.628		1269.849

				456678.68		601385.252		4		1271.676				40		1269.215		4		456678.68		40		456714.362		4		601385.252		40		601389.927		40		456714.362		601389.927		1269.215

				456679.672		601385.382		5		1271.596				50		1268.585		5		456679.672		50		456724.274		5		601385.382		50		601391.225		50		456724.274		601391.225		1268.585

				456680.663		601385.512		6		1271.516				60		1267.951		6		456680.663		60		456734.185		6		601385.512		60		601392.523		60		456734.185		601392.523		1267.951

				456681.654		601385.642		7		1271.437				70		1267.263		7		456681.654		70		456744.097		7		601385.642		70		601393.822		70		456744.097		601393.822		1267.263

				456682.645		601385.772		8		1271.356				80		1266.62		8		456682.645		80		456754.008		8		601385.772		80		601395.12		80		456754.008		601395.12		1266.62

				456683.636		601385.902		9		1271.275				90		1266.025		9		456683.636		90		456763.92		9		601385.902		90		601396.419		90		456763.92		601396.419		1266.025

				456684.627		601386.031		10		1271.195				100		1265.432		10		456684.627		100		456773.831		10		601386.031		100		601397.717		100		456773.831		601397.717		1265.432

				456685.619		601386.161		11		1271.116				110		1264.818		11		456685.619		110		456783.743		11		601386.161		110		601399.016		110		456783.743		601399.016		1264.818

				456686.61		601386.291		12		1271.037				120		1264.209		12		456686.61		120		456793.654		12		601386.291		120		601400.314		120		456793.654		601400.314		1264.209

				456687.601		601386.421		13		1270.966				130		1263.61		13		456687.601		130		456803.566		13		601386.421		130		601401.612		130		456803.566		601401.612		1263.61

				456688.592		601386.551		14		1270.899				140		1263.018		14		456688.592		140		456813.477		14		601386.551		140		601402.911		140		456813.477		601402.911		1263.018

				456689.583		601386.681		15		1270.833				150		1262.457		15		456689.583		150		456823.389		15		601386.681		150		601404.209		150		456823.389		601404.209		1262.457

				456690.574		601386.81		16		1270.767				160		1261.914		16		456690.574		160		456833.301		16		601386.81		160		601405.508		160		456833.301		601405.508		1261.914

				456691.565		601386.94		17		1270.701				170		1261.36		17		456691.565		170		456843.212		17		601386.94		170		601406.806		170		456843.212		601406.806		1261.36

				456692.557		601387.07		18		1270.635				180		1260.797		18		456692.557		180		456853.124		18		601387.07		180		601408.104		180		456853.124		601408.104		1260.797

				456693.548		601387.2		19		1270.569				190		1260.242		19		456693.548		190		456863.035		19		601387.2		190		601409.403		190		456863.035		601409.403		1260.242

				456694.539		601387.33		20		1270.503				200		1259.696		20		456694.539		200		456872.947		20		601387.33		200		601410.701		200		456872.947		601410.701		1259.696

				456695.53		601387.46		21		1270.437				210		1259.184		21		456695.53		210		456882.858		21		601387.46		210		601412		210		456882.858		601412		1259.184

				456696.521		601387.589		22		1270.37				220		1258.754		22		456696.521		220		456892.77		22		601387.589		220		601413.298		220		456892.77		601413.298		1258.754

				456697.512		601387.719		23		1270.304				230		1258.364		23		456697.512		230		456902.681		23		601387.719		230		601414.597		230		456902.681		601414.597		1258.364

				456698.504		601387.849		24		1270.238				240		1257.961		24		456698.504		240		456912.593		24		601387.849		240		601415.895		240		456912.593		601415.895		1257.961

				456699.495		601387.979		25		1270.172				250		1257.079		25		456699.495		250		456922.504		25		601387.979		250		601417.193		250		456922.504		601417.193		1257.079

				456700.486		601388.109		26		1270.106				260		1256.833		26		456700.486		260		456932.416		26		601388.109		260		601418.492		260		456932.416		601418.492		1256.833

				456701.477		601388.239		27		1270.04				270		1256.646		27		456701.477		270		456942.328		27		601388.239		270		601419.79		270		456942.328		601419.79		1256.646

				456702.468		601388.368		28		1269.975				280		1256.449		28		456702.468		280		456952.239		28		601388.368		280		601421.089		280		456952.239		601421.089		1256.449

				456703.459		601388.498		29		1269.911				290		1256.252		29		456703.459		290		456962.151		29		601388.498		290		601422.387		290		456962.151		601422.387		1256.252

				456704.45		601388.628		30		1269.849				300		1256.055		30		456704.45		300		456972.062		30		601388.628		300		601423.685		300		456972.062		601423.685		1256.055

				456705.442		601388.758		31		1269.785				310		1256		31		456705.442		310		456981.974		31		601388.758		310		601424.984		310		456981.974		601424.984		1256

				456706.433		601388.888		32		1269.722				320		1255.227		32		456706.433		320		456991.885		32		601388.888		320		601426.282		320		456991.885		601426.282		1255.227

				456707.424		601389.018		33		1269.659				330		1255		33		456707.424		330		457001.797		33		601389.018		330		601427.581		330		457001.797		601427.581		1255

				456708.415		601389.148		34		1269.596				340		1255		34		456708.415		340		457011.708		34		601389.148		340		601428.879		340		457011.708		601428.879		1255

				456709.406		601389.277		35		1269.533				350		1255.366		35		456709.406		350		457021.62		35		601389.277		350		601430.178		350		457021.62		601430.178		1255.366

				456710.397		601389.407		36		1269.469				360		1255.975		36		456710.397		360		457031.531		36		601389.407		360		601431.476		360		457031.531		601431.476		1255.975

				456711.389		601389.537		37		1269.406				370		1255.9		37		456711.389		370		457041.443		37		601389.537		370		601432.774		370		457041.443		601432.774		1255.9

				456712.38		601389.667		38		1269.342				380		1255.684		38		456712.38		380		457051.355		38		601389.667		380		601434.073		380		457051.355		601434.073		1255.684

				456713.371		601389.797		39		1269.279				390		1255.47		39		456713.371		390		457061.266		39		601389.797		390		601435.371		390		457061.266		601435.371		1255.47

				456714.362		601389.927		40		1269.215				400		1255.246		40		456714.362		400		457071.178		40		601389.927		400		601436.67		400		457071.178		601436.67		1255.246

				456715.353		601390.056		41		1269.151				410		1255.022		41		456715.353		410		457081.089		41		601390.056		410		601437.968		410		457081.089		601437.968		1255.022

				456716.344		601390.186		42		1269.088				420		1255		42		456716.344		420		457091.001		42		601390.186		420		601439.266		420		457091.001		601439.266		1255

				456717.335		601390.316		43		1269.024				430		1255		43		456717.335		430		457100.912		43		601390.316		430		601440.565		430		457100.912		601440.565		1255

				456718.327		601390.446		44		1268.961				440		1255		44		456718.327		440		457110.824		44		601390.446		440		601441.863		440		457110.824		601441.863		1255

				456719.318		601390.576		45		1268.899				450		1254.826		45		456719.318		450		457120.735		45		601390.576		450		601443.162		450		457120.735		601443.162		1254.826

				456720.309		601390.706		46		1268.836				460		1254.553		46		456720.309		460		457130.647		46		601390.706		460		601444.46		460		457130.647		601444.46		1254.553

				456721.3		601390.835		47		1268.773				470		1254.277		47		456721.3		470		457140.558		47		601390.835		470		601445.758		470		457140.558		601445.758		1254.277

				456722.291		601390.965		48		1268.711				480		1254.01		48		456722.291		480		457150.47		48		601390.965		480		601447.057		480		457150.47		601447.057		1254.01

				456723.282		601391.095		49		1268.648				490		1254		49		456723.282		490		457160.381		49		601391.095		490		601448.355		490		457160.381		601448.355		1254

				456724.274		601391.225		50		1268.585				500		1254		50		456724.274		500		457170.293		50		601391.225		500		601449.654		500		457170.293		601449.654		1254

				456725.265		601391.355		51		1268.522				510		1254.185		51		456725.265		510		457180.205		51		601391.355		510		601450.952		510		457180.205		601450.952		1254.185

				456726.256		601391.485		52		1268.459				520		1254.212		52		456726.256		520		457190.116		52		601391.485		520		601452.251		520		457190.116		601452.251		1254.212

				456727.247		601391.615		53		1268.396				530		1254.002		53		456727.247		530		457200.028		53		601391.615		530		601453.549		530		457200.028		601453.549		1254.002

				456728.238		601391.744		54		1268.333				540		1254		54		456728.238		540		457209.939		54		601391.744		540		601454.847		540		457209.939		601454.847		1254

				456729.229		601391.874		55		1268.27				550		1254.198		55		456729.229		550		457219.851		55		601391.874		550		601456.146		550		457219.851		601456.146		1254.198

				456730.221		601392.004		56		1268.207				560		1254.512		56		456730.221		560		457229.762		56		601392.004		560		601457.444		560		457229.762		601457.444		1254.512

				456731.212		601392.134		57		1268.144				570		1254.94		57		456731.212		570		457239.674		57		601392.134		570		601458.743		570		457239.674		601458.743		1254.94

				456732.203		601392.264		58		1268.081				580		1255.537		58		456732.203		580		457249.585		58		601392.264		580		601460.041		580		457249.585		601460.041		1255.537

				456733.194		601392.394		59		1268.017				590		1256.196		59		456733.194		590		457259.497		59		601392.394		590		601461.339		590		457259.497		601461.339		1256.196

				456734.185		601392.523		60		1267.951				600		1256.893		60		456734.185		600		457269.408		60		601392.523		600		601462.638		600		457269.408		601462.638		1256.893

				456735.176		601392.653		61		1267.882				610		1257.725		61		456735.176		610		457279.32		61		601392.653		610		601463.936		610		457279.32		601463.936		1257.725

				456736.167		601392.783		62		1267.814		TC		620		1258.635		62		456736.167		620		457289.232		62		601392.783		620		601465.235		620		457289.232		601465.235		1258.635

				456737.159		601392.913		63		1267.745				630		1259.529		63		456737.159		630		457299.143		63		601392.913		630		601466.533		630		457299.143		601466.533		1259.529

				456738.15		601393.043		64		1267.676				640		1260.317		64		456738.15		640		457309.055		64		601393.043		640		601467.832		640		457309.055		601467.832		1260.317

				456739.141		601393.173		65		1267.607				650		1261.008		65		456739.141		650		457318.966		65		601393.173		650		601469.13		650		457318.966		601469.13		1261.008

				456740.132		601393.302		66		1267.538				660		1261.635		66		456740.132		660		457328.878		66		601393.302		660		601470.428		660		457328.878		601470.428		1261.635

				456741.123		601393.432		67		1267.469				670		1262.269		67		456741.123		670		457338.789		67		601393.432		670		601471.727		670		457338.789		601471.727		1262.269

				456742.114		601393.562		68		1267.401				680		1262.901		68		456742.114		680		457348.701		68		601393.562		680		601473.025		680		457348.701		601473.025		1262.901

				456743.106		601393.692		69		1267.332				690		1263.527		69		456743.106		690		457358.612		69		601393.692		690		601474.324		690		457358.612		601474.324		1263.527

				456744.097		601393.822		70		1267.263				700		1264.145		70		456744.097		700		457368.524		70		601393.822		700		601475.622		700		457368.524		601475.622		1264.145

				456745.088		601393.952		71		1267.194				710		1264.744		71		456745.088		710		457378.435		71		601393.952		710		601476.92		710		457378.435		601476.92		1264.744

				456746.079		601394.082		72		1267.125				720		1265.34		72		456746.079		720		457388.347		72		601394.082		720		601478.219		720		457388.347		601478.219		1265.34

				456747.07		601394.211		73		1267.056				730		1265.925		73		456747.07		730		457398.259		73		601394.211		730		601479.517		730		457398.259		601479.517		1265.925

				456748.061		601394.341		74		1266.99				740		1266.524		74		456748.061		740		457408.17		74		601394.341		740		601480.816		740		457408.17		601480.816		1266.524

				456749.052		601394.471		75		1266.926				750		1267.122		75		456749.052		750		457418.082		75		601394.471		750		601482.114		750		457418.082		601482.114		1267.122

				456750.044		601394.601		76		1266.865				760		1267.746		76		456750.044		760		457427.993		76		601394.601		760		601483.413		760		457427.993		601483.413		1267.746

				456751.035		601394.731		77		1266.803				770		1268.411		77		456751.035		770		457437.905		77		601394.731		770		601484.711		770		457437.905		601484.711		1268.411

				456752.026		601394.861		78		1266.742				780		1269.108		78		456752.026		780		457447.816		78		601394.861		780		601486.009		780		457447.816		601486.009		1269.108

				456753.017		601394.99		79		1266.681				790		1269.814		79		456753.017		790		457457.728		79		601394.99		790		601487.308		790		457457.728		601487.308		1269.814

				456754.008		601395.12		80		1266.62				800		1270.58		80		456754.008		800		457467.639		80		601395.12		800		601488.606		800		457467.639		601488.606		1270.58

				456754.999		601395.25		81		1266.559				813.6		1271.992		81		456754.999		813.6		457481.117		81		601395.25		813.6		601490.372		813.6		457481.117		601490.372		1271.992

				456755.991		601395.38		82		1266.499						1271.999		82		456755.991		0		456674.716		82		601395.38		0		601384.733		0		456674.716		601384.733		1271.999

				456756.982		601395.51		83		1266.439						1271.999		83		456756.982		0		456674.716		83		601395.51		0		601384.733		0		456674.716		601384.733		1271.999

				456757.973		601395.64		84		1266.379						1271.999		84		456757.973		0		456674.716		84		601395.64		0		601384.733		0		456674.716		601384.733		1271.999

				456758.964		601395.769		85		1266.319						1271.999		85		456758.964		0		456674.716		85		601395.769		0		601384.733		0		456674.716		601384.733		1271.999

				456759.955		601395.899		86		1266.26						1271.999		86		456759.955		0		456674.716		86		601395.899		0		601384.733		0		456674.716		601384.733		1271.999

				456760.946		601396.029		87		1266.2						1271.999		87		456760.946		0		456674.716		87		601396.029		0		601384.733		0		456674.716		601384.733		1271.999

				456761.937		601396.159		88		1266.141						1271.999		88		456761.937		0		456674.716		88		601396.159		0		601384.733		0		456674.716		601384.733		1271.999

				456762.929		601396.289		89		1266.083						1271.999		89		456762.929		0		456674.716		89		601396.289		0		601384.733		0		456674.716		601384.733		1271.999

				456763.92		601396.419		90		1266.025						1271.999		90		456763.92		0		456674.716		90		601396.419		0		601384.733		0		456674.716		601384.733		1271.999

				456764.911		601396.549		91		1265.967						1271.999		91		456764.911		0		456674.716		91		601396.549		0		601384.733		0		456674.716		601384.733		1271.999

				456765.902		601396.678		92		1265.909						1271.999		92		456765.902		0		456674.716		92		601396.678		0		601384.733		0		456674.716		601384.733		1271.999

				456766.893		601396.808		93		1265.85						1271.999		93		456766.893		0		456674.716		93		601396.808		0		601384.733		0		456674.716		601384.733		1271.999

				456767.884		601396.938		94		1265.791						1271.999		94		456767.884		0		456674.716		94		601396.938		0		601384.733		0		456674.716		601384.733		1271.999

				456768.876		601397.068		95		1265.732						1271.999		95		456768.876		0		456674.716		95		601397.068		0		601384.733		0		456674.716		601384.733		1271.999

				456769.867		601397.198		96		1265.672						1271.999		96		456769.867		0		456674.716		96		601397.198		0		601384.733		0		456674.716		601384.733		1271.999

				456770.858		601397.328		97		1265.613						1271.999		97		456770.858		0		456674.716		97		601397.328		0		601384.733		0		456674.716		601384.733		1271.999

				456771.849		601397.457		98		1265.553						1271.999		98		456771.849		0		456674.716		98		601397.457		0		601384.733		0		456674.716		601384.733		1271.999

				456772.84		601397.587		99		1265.493						1271.999		99		456772.84		0		456674.716		99		601397.587		0		601384.733		0		456674.716		601384.733		1271.999

				456773.831		601397.717		100		1265.432						1271.999		100		456773.831		0		456674.716		100		601397.717		0		601384.733		0		456674.716		601384.733		1271.999

				456774.822		601397.847		101		1265.371						1271.999		101		456774.822		0		456674.716		101		601397.847		0		601384.733		0		456674.716		601384.733		1271.999

				456775.814		601397.977		102		1265.31						1271.999		102		456775.814		0		456674.716		102		601397.977		0		601384.733		0		456674.716		601384.733		1271.999

				456776.805		601398.107		103		1265.248						1271.999		103		456776.805		0		456674.716		103		601398.107		0		601384.733		0		456674.716		601384.733		1271.999

				456777.796		601398.236		104		1265.186						1271.999		104		456777.796		0		456674.716		104		601398.236		0		601384.733		0		456674.716		601384.733		1271.999

				456778.787		601398.366		105		1265.124						1271.999		105		456778.787		0		456674.716		105		601398.366		0		601384.733		0		456674.716		601384.733		1271.999

				456779.778		601398.496		106		1265.063						1271.999		106		456779.778		0		456674.716		106		601398.496		0		601384.733		0		456674.716		601384.733		1271.999

				456780.769		601398.626		107		1265.001						1271.999		107		456780.769		0		456674.716		107		601398.626		0		601384.733		0		456674.716		601384.733		1271.999

				456781.761		601398.756		108		1264.94						1271.999		108		456781.761		0		456674.716		108		601398.756		0		601384.733		0		456674.716		601384.733		1271.999

				456782.752		601398.886		109		1264.879						1271.999		109		456782.752		0		456674.716		109		601398.886		0		601384.733		0		456674.716		601384.733		1271.999

				456783.743		601399.016		110		1264.818						1271.999		110		456783.743		0		456674.716		110		601399.016		0		601384.733		0		456674.716		601384.733		1271.999

				456784.734		601399.145		111		1264.757						1271.999		111		456784.734		0		456674.716		111		601399.145		0		601384.733		0		456674.716		601384.733		1271.999

				456785.725		601399.275		112		1264.697						1271.999		112		456785.725		0		456674.716		112		601399.275		0		601384.733		0		456674.716		601384.733		1271.999

				456786.716		601399.405		113		1264.635						1271.999		113		456786.716		0		456674.716		113		601399.405		0		601384.733		0		456674.716		601384.733		1271.999

				456787.707		601399.535		114		1264.574						1271.999		114		456787.707		0		456674.716		114		601399.535		0		601384.733		0		456674.716		601384.733		1271.999

				456788.699		601399.665		115		1264.513						1271.999		115		456788.699		0		456674.716		115		601399.665		0		601384.733		0		456674.716		601384.733		1271.999

				456789.69		601399.795		116		1264.452						1271.999		116		456789.69		0		456674.716		116		601399.795		0		601384.733		0		456674.716		601384.733		1271.999

				456790.681		601399.924		117		1264.391						1271.999		117		456790.681		0		456674.716		117		601399.924		0		601384.733		0		456674.716		601384.733		1271.999

				456791.672		601400.054		118		1264.331						1271.999		118		456791.672		0		456674.716		118		601400.054		0		601384.733		0		456674.716		601384.733		1271.999

				456792.663		601400.184		119		1264.27						1271.999		119		456792.663		0		456674.716		119		601400.184		0		601384.733		0		456674.716		601384.733		1271.999

				456793.654		601400.314		120		1264.209						1271.999		120		456793.654		0		456674.716		120		601400.314		0		601384.733		0		456674.716		601384.733		1271.999

				456794.646		601400.444		121		1264.148						1271.999		121		456794.646		0		456674.716		121		601400.444		0		601384.733		0		456674.716		601384.733		1271.999

				456795.637		601400.574		122		1264.087						1271.999		122		456795.637		0		456674.716		122		601400.574		0		601384.733		0		456674.716		601384.733		1271.999

				456796.628		601400.703		123		1264.026						1271.999		123		456796.628		0		456674.716		123		601400.703		0		601384.733		0		456674.716		601384.733		1271.999

				456797.619		601400.833		124		1263.966						1271.999		124		456797.619		0		456674.716		124		601400.833		0		601384.733		0		456674.716		601384.733		1271.999

				456798.61		601400.963		125		1263.907						1271.999		125		456798.61		0		456674.716		125		601400.963		0		601384.733		0		456674.716		601384.733		1271.999

				456799.601		601401.093		126		1263.847						1271.999		126		456799.601		0		456674.716		126		601401.093		0		601384.733		0		456674.716		601384.733		1271.999

				456800.592		601401.223		127		1263.788						1271.999		127		456800.592		0		456674.716		127		601401.223		0		601384.733		0		456674.716		601384.733		1271.999

				456801.584		601401.353		128		1263.729						1271.999		128		456801.584		0		456674.716		128		601401.353		0		601384.733		0		456674.716		601384.733		1271.999

				456802.575		601401.483		129		1263.67						1271.999		129		456802.575		0		456674.716		129		601401.483		0		601384.733		0		456674.716		601384.733		1271.999

				456803.566		601401.612		130		1263.61						1271.999		130		456803.566		0		456674.716		130		601401.612		0		601384.733		0		456674.716		601384.733		1271.999

				456804.557		601401.742		131		1263.551						1271.999		131		456804.557		0		456674.716		131		601401.742		0		601384.733		0		456674.716		601384.733		1271.999

				456805.548		601401.872		132		1263.492						1271.999		132		456805.548		0		456674.716		132		601401.872		0		601384.733		0		456674.716		601384.733		1271.999

				456806.539		601402.002		133		1263.432						1271.999		133		456806.539		0		456674.716		133		601402.002		0		601384.733		0		456674.716		601384.733		1271.999

				456807.531		601402.132		134		1263.373						1271.999		134		456807.531		0		456674.716		134		601402.132		0		601384.733		0		456674.716		601384.733		1271.999

				456808.522		601402.262		135		1263.314						1271.999		135		456808.522		0		456674.716		135		601402.262		0		601384.733		0		456674.716		601384.733		1271.999

				456809.513		601402.391		136		1263.254						1271.999		136		456809.513		0		456674.716		136		601402.391		0		601384.733		0		456674.716		601384.733		1271.999

				456810.504		601402.521		137		1263.195						1271.999		137		456810.504		0		456674.716		137		601402.521		0		601384.733		0		456674.716		601384.733		1271.999

				456811.495		601402.651		138		1263.136						1271.999		138		456811.495		0		456674.716		138		601402.651		0		601384.733		0		456674.716		601384.733		1271.999

				456812.486		601402.781		139		1263.077						1271.999		139		456812.486		0		456674.716		139		601402.781		0		601384.733		0		456674.716		601384.733		1271.999

				456813.477		601402.911		140		1263.018						1271.999		140		456813.477		0		456674.716		140		601402.911		0		601384.733		0		456674.716		601384.733		1271.999

				456814.469		601403.041		141		1262.96						1271.999		141		456814.469		0		456674.716		141		601403.041		0		601384.733		0		456674.716		601384.733		1271.999

				456815.46		601403.17		142		1262.903						1271.999		142		456815.46		0		456674.716		142		601403.17		0		601384.733		0		456674.716		601384.733		1271.999

				456816.451		601403.3		143		1262.847						1271.999		143		456816.451		0		456674.716		143		601403.3		0		601384.733		0		456674.716		601384.733		1271.999

				456817.442		601403.43		144		1262.791						1271.999		144		456817.442		0		456674.716		144		601403.43		0		601384.733		0		456674.716		601384.733		1271.999

				456818.433		601403.56		145		1262.735						1271.999		145		456818.433		0		456674.716		145		601403.56		0		601384.733		0		456674.716		601384.733		1271.999

				456819.424		601403.69		146		1262.678						1271.999		146		456819.424		0		456674.716		146		601403.69		0		601384.733		0		456674.716		601384.733		1271.999

				456820.416		601403.82		147		1262.624						1271.999		147		456820.416		0		456674.716		147		601403.82		0		601384.733		0		456674.716		601384.733		1271.999

				456821.407		601403.949		148		1262.568						1271.999		148		456821.407		0		456674.716		148		601403.949		0		601384.733		0		456674.716		601384.733		1271.999

				456822.398		601404.079		149		1262.513						1271.999		149		456822.398		0		456674.716		149		601404.079		0		601384.733		0		456674.716		601384.733		1271.999

				456823.389		601404.209		150		1262.457						1271.999		150		456823.389		0		456674.716		150		601404.209		0		601384.733		0		456674.716		601384.733		1271.999

				456824.38		601404.339		151		1262.402						1271.999		151		456824.38		0		456674.716		151		601404.339		0		601384.733		0		456674.716		601384.733		1271.999

				456825.371		601404.469		152		1262.348						1271.999		152		456825.371		0		456674.716		152		601404.469		0		601384.733		0		456674.716		601384.733		1271.999

				456826.362		601404.599		153		1262.294						1271.999		153		456826.362		0		456674.716		153		601404.599		0		601384.733		0		456674.716		601384.733		1271.999

				456827.354		601404.729		154		1262.238						1271.999		154		456827.354		0		456674.716		154		601404.729		0		601384.733		0		456674.716		601384.733		1271.999

				456828.345		601404.858		155		1262.184						1271.999		155		456828.345		0		456674.716		155		601404.858		0		601384.733		0		456674.716		601384.733		1271.999

				456829.336		601404.988		156		1262.13						1271.999		156		456829.336		0		456674.716		156		601404.988		0		601384.733		0		456674.716		601384.733		1271.999

				456830.327		601405.118		157		1262.076						1271.999		157		456830.327		0		456674.716		157		601405.118		0		601384.733		0		456674.716		601384.733		1271.999

				456831.318		601405.248		158		1262.022						1271.999		158		456831.318		0		456674.716		158		601405.248		0		601384.733		0		456674.716		601384.733		1271.999

				456832.309		601405.378		159		1261.968						1271.999		159		456832.309		0		456674.716		159		601405.378		0		601384.733		0		456674.716		601384.733		1271.999

				456833.301		601405.508		160		1261.914						1271.999		160		456833.301		0		456674.716		160		601405.508		0		601384.733		0		456674.716		601384.733		1271.999

				456834.292		601405.637		161		1261.86						1271.999		161		456834.292		0		456674.716		161		601405.637		0		601384.733		0		456674.716		601384.733		1271.999

				456835.283		601405.767		162		1261.803						1271.999		162		456835.283		0		456674.716		162		601405.767		0		601384.733		0		456674.716		601384.733		1271.999

				456836.274		601405.897		163		1261.748						1271.999		163		456836.274		0		456674.716		163		601405.897		0		601384.733		0		456674.716		601384.733		1271.999

				456837.265		601406.027		164		1261.694						1271.999		164		456837.265		0		456674.716		164		601406.027		0		601384.733		0		456674.716		601384.733		1271.999

				456838.256		601406.157		165		1261.64						1271.999		165		456838.256		0		456674.716		165		601406.157		0		601384.733		0		456674.716		601384.733		1271.999

				456839.247		601406.287		166		1261.583						1271.999		166		456839.247		0		456674.716		166		601406.287		0		601384.733		0		456674.716		601384.733		1271.999

				456840.239		601406.416		167		1261.526						1271.999		167		456840.239		0		456674.716		167		601406.416		0		601384.733		0		456674.716		601384.733		1271.999

				456841.23		601406.546		168		1261.471						1271.999		168		456841.23		0		456674.716		168		601406.546		0				0		456674.716		0		1271.999

				456842.221		601406.676		169		1261.416						1271.999		169		456842.221		0		456674.716		169		601406.676		0				0		456674.716		0		1271.999

				456843.212		601406.806		170		1261.36						1271.999		170		456843.212		0		456674.716		170		601406.806		0				0		456674.716		0		1271.999

				456844.203		601406.936		171		1261.303						1271.999		171		456844.203		0		456674.716		171		601406.936		0				0		456674.716		0		1271.999

				456845.194		601407.066		172		1261.246						1271.999		172		456845.194		0		456674.716		172		601407.066		0				0		456674.716		0		1271.999

				456846.186		601407.196		173		1261.19						1271.999		173		456846.186		0		456674.716		173		601407.196		0				0		456674.716		0		1271.999

				456847.177		601407.325		174		1261.134						1271.999		174		456847.177		0		456674.716		174		601407.325		0				0		456674.716		0		1271.999

				456848.168		601407.455		175		1261.077						1271.999		175		456848.168		0		456674.716		175		601407.455		0				0		456674.716		0		1271.999

				456849.159		601407.585		176		1261.02						1271.999		176		456849.159		0		456674.716		176		601407.585		0				0		456674.716		0		1271.999

				456850.15		601407.715		177		1260.964						1271.999		177		456850.15		0		456674.716		177		601407.715		0				0		456674.716		0		1271.999

				456851.141		601407.845		178		1260.908						1271.999		178		456851.141		0		456674.716		178		601407.845		0				0		456674.716		0		1271.999

				456852.132		601407.975		179		1260.853						1271.999		179		456852.132		0		456674.716		179		601407.975		0				0		456674.716		0		1271.999

				456853.124		601408.104		180		1260.797						1271.999		180		456853.124		0		456674.716		180		601408.104		0				0		456674.716		0		1271.999

				456854.115		601408.234		181		1260.742						1271.999		181		456854.115		0		456674.716		181		601408.234		0				0		456674.716		0		1271.999

				456855.106		601408.364		182		1260.687						1271.999		182		456855.106		0		456674.716		182		601408.364		0				0		456674.716		0		1271.999

				456856.097		601408.494		183		1260.631						1271.999		183		456856.097		0		456674.716		183		601408.494		0				0		456674.716		0		1271.999

				456857.088		601408.624		184		1260.576						1271.999		184		456857.088		0		456674.716		184		601408.624		0				0		456674.716		0		1271.999

				456858.079		601408.754		185		1260.52						1271.999		185		456858.079		0		456674.716		185		601408.754		0				0		456674.716		0		1271.999

				456859.071		601408.883		186		1260.464						1271.999		186		456859.071		0		456674.716		186		601408.883		0				0		456674.716		0		1271.999

				456860.062		601409.013		187		1260.409						1271.999		187		456860.062		0		456674.716		187		601409.013		0				0		456674.716		0		1271.999

				456861.053		601409.143		188		1260.353						1271.999		188		456861.053		0		456674.716		188		601409.143		0				0		456674.716		0		1271.999

				456862.044		601409.273		189		1260.298						1271.999		189		456862.044		0		456674.716		189		601409.273		0				0		456674.716		0		1271.999

				456863.035		601409.403		190		1260.242						1271.999		190		456863.035		0		456674.716		190		601409.403		0				0		456674.716		0		1271.999

				456864.026		601409.533		191		1260.186						1271.999		191		456864.026		0		456674.716		191		601409.533		0				0		456674.716		0		1271.999

				456865.017		601409.663		192		1260.131						1271.999		192		456865.017		0		456674.716		192		601409.663		0				0		456674.716		0		1271.999

				456866.009		601409.792		193		1260.075						1271.999		193		456866.009		0		456674.716		193		601409.792		0				0		456674.716		0		1271.999

				456867		601409.922		194		1260.02						1271.999		194		456867		0		456674.716		194		601409.922		0				0		456674.716		0		1271.999

				456867.991		601410.052		195		1259.964						1271.999		195		456867.991		0		456674.716		195		601410.052		0				0		456674.716		0		1271.999

				456868.982		601410.182		196		1259.91						1271.999		196		456868.982		0		456674.716		196		601410.182		0				0		456674.716		0		1271.999

				456869.973		601410.312		197		1259.856						1271.999		197		456869.973		0		456674.716		197		601410.312		0				0		456674.716		0		1271.999

				456870.964		601410.442		198		1259.802						1271.999		198		456870.964		0		456674.716		198		601410.442		0				0		456674.716		0		1271.999

				456871.956		601410.571		199		1259.749						1271.999		199		456871.956		0		456674.716		199		601410.571		0				0		456674.716		0		1271.999

				456872.947		601410.701		200		1259.696						1271.999		200		456872.947		0		456674.716		200		601410.701		0				0		456674.716		0		1271.999

				456873.938		601410.831		201		1259.644						1271.999		201		456873.938		0		456674.716		201		601410.831		0				0		456674.716		0		1271.999

				456874.929		601410.961		202		1259.592						1271.999		202		456874.929		0		456674.716		202		601410.961		0				0		456674.716		0		1271.999

				456875.92		601411.091		203		1259.54						1271.999		203		456875.92		0		456674.716		203		601411.091		0				0		456674.716		0		1271.999

				456876.911		601411.221		204		1259.489						1271.999		204		456876.911		0		456674.716		204		601411.221		0				0		456674.716		0		1271.999

				456877.902		601411.35		205		1259.439						1271.999		205		456877.902		0		456674.716		205		601411.35		0				0		456674.716		0		1271.999

				456878.894		601411.48		206		1259.388						1271.999		206		456878.894		0		456674.716		206		601411.48		0				0		456674.716		0		1271.999

				456879.885		601411.61		207		1259.337						1271.999		207		456879.885		0		456674.716		207		601411.61		0				0		456674.716		0		1271.999

				456880.876		601411.74		208		1259.286						1271.999		208		456880.876		0		456674.716		208		601411.74		0				0		456674.716		0		1271.999

				456881.867		601411.87		209		1259.235						1271.999		209		456881.867		0		456674.716		209		601411.87		0				0		456674.716		0		1271.999

				456882.858		601412		210		1259.184						1271.999		210		456882.858		0		456674.716		210		601412		0				0		456674.716		0		1271.999

				456883.849		601412.13		211		1259.133						1271.999		211		456883.849		0		456674.716		211		601412.13		0				0		456674.716		0		1271.999

				456884.841		601412.259		212		1259.083						1271.999		212		456884.841		0		456674.716		212		601412.259		0				0		456674.716		0		1271.999

				456885.832		601412.389		213		1259.033						1271.999		213		456885.832		0		456674.716		213		601412.389		0				0		456674.716		0		1271.999

				456886.823		601412.519		214		1258.987						1271.999		214		456886.823		0		456674.716		214		601412.519		0				0		456674.716		0		1271.999

				456887.814		601412.649		215		1258.948						1271.999		215		456887.814		0		456674.716		215		601412.649		0				0		456674.716		0		1271.999

				456888.805		601412.779		216		1258.909						1271.999		216		456888.805		0		456674.716		216		601412.779		0				0		456674.716		0		1271.999

				456889.796		601412.909		217		1258.869						1271.999		217		456889.796		0		456674.716		217		601412.909		0				0		456674.716		0		1271.999

				456890.788		601413.038		218		1258.83						1271.999		218		456890.788		0		456674.716		218		601413.038		0				0		456674.716		0		1271.999

				456891.779		601413.168		219		1258.792						1271.999		219		456891.779		0		456674.716		219		601413.168		0				0		456674.716		0		1271.999

				456892.77		601413.298		220		1258.754						1271.999		220		456892.77		0		456674.716		220		601413.298		0				0		456674.716		0		1271.999

				456893.761		601413.428		221		1258.715						1271.999		221		456893.761		0		456674.716		221		601413.428		0				0		456674.716		0		1271.999

				456894.752		601413.558		222		1258.676						1271.999		222		456894.752		0		456674.716		222		601413.558		0				0		456674.716		0		1271.999

				456895.743		601413.688		223		1258.637						1271.999		223		456895.743		0		456674.716		223		601413.688		0				0		456674.716		0		1271.999

				456896.734		601413.817		224		1258.598						1271.999		224		456896.734		0		456674.716		224		601413.817		0				0		456674.716		0		1271.999

				456897.726		601413.947		225		1258.559						1271.999		225		456897.726		0		456674.716		225		601413.947		0				0		456674.716		0		1271.999

				456898.717		601414.077		226		1258.52						1271.999		226		456898.717		0		456674.716		226		601414.077		0				0		456674.716		0		1271.999

				456899.708		601414.207		227		1258.481						1271.999		227		456899.708		0		456674.716		227		601414.207		0				0		456674.716		0		1271.999

				456900.699		601414.337		228		1258.442						1271.999		228		456900.699		0		456674.716		228		601414.337		0				0		456674.716		0		1271.999

				456901.69		601414.467		229		1258.403						1271.999		229		456901.69		0		456674.716		229		601414.467		0				0		456674.716		0		1271.999

				456902.681		601414.597		230		1258.364						1271.999		230		456902.681		0		456674.716		230		601414.597		0				0		456674.716		0		1271.999

				456903.673		601414.726		231		1258.325						1271.999		231		456903.673		0		456674.716		231		601414.726		0				0		456674.716		0		1271.999

				456904.664		601414.856		232		1258.286						1271.999		232		456904.664		0		456674.716		232		601414.856		0				0		456674.716		0		1271.999

				456905.655		601414.986		233		1258.247						1271.999		233		456905.655		0		456674.716		233		601414.986		0				0		456674.716		0		1271.999

				456906.646		601415.116		234		1258.209						1271.999		234		456906.646		0		456674.716		234		601415.116		0				0		456674.716		0		1271.999

				456907.637		601415.246		235		1258.17						1271.999		235		456907.637		0		456674.716		235		601415.246		0				0		456674.716		0		1271.999

				456908.628		601415.376		236		1258.131						1271.999		236		456908.628				456674.716		236		601415.376		0				0		456674.716		0		1271.999

				456909.619		601415.505		237		1258.092						1271.999		237		456909.619				456674.716		237		601415.505		0				0		456674.716		0		1271.999

				456910.611		601415.635		238		1258.053						1271.999		238		456910.611				456674.716		238		601415.635		0				0		456674.716		0		1271.999

				456911.602		601415.765		239		1258.016						1271.999		239		456911.602				456674.716		239		601415.765		0				0		456674.716		0		1271.999

				456912.593		601415.895		240		1257.961						1271.999		240		456912.593				456674.716		240		601415.895		0				0		456674.716		0		1271.999

				456913.584		601416.025		241		1257.889						1271.999		241		456913.584				456674.716		241		601416.025		0				0		456674.716		0		1271.999

				456914.575		601416.155		242		1257.796						1271.999		242		456914.575				456674.716		242		601416.155		0				0		456674.716		0		1271.999

				456915.566		601416.284		243		1257.701						1271.999		243		456915.566				456674.716		243		601416.284		0				0		456674.716		0		1271.999

				456916.558		601416.414		244		1257.606						1271.999		244		456916.558				456674.716		244		601416.414		0				0		456674.716		0		1271.999

				456917.549		601416.544		245		1257.512						1271.999		245		456917.549				456674.716		245		601416.544		0				0		456674.716		0		1271.999

				456918.54		601416.674		246		1257.419						1271.999		246		456918.54				456674.716		246		601416.674		0				0		456674.716		0		1271.999

				456919.531		601416.804		247		1257.329						1271.999		247		456919.531				456674.716		247		601416.804		0				0		456674.716		0		1271.999

				456920.522		601416.934		248		1257.243						1271.999		248		456920.522				456674.716		248		601416.934		0				0		456674.716		0		1271.999

				456921.513		601417.063		249		1257.16						1271.999		249		456921.513				456674.716		249		601417.063		0				0		456674.716		0		1271.999

				456922.504		601417.193		250		1257.079						1271.999		250		456922.504				456674.716		250		601417.193		0				0		456674.716		0		1271.999

				456923.496		601417.323		251		1257.028						1271.999		251		456923.496				456674.716		251		601417.323		0				0		456674.716		0		1271.999

				456924.487		601417.453		252		1257.001						1271.999		252		456924.487				456674.716		252		601417.453		0				0		456674.716		0		1271.999

				456925.478		601417.583		253		1257						1271.999		253		456925.478				456674.716		253		601417.583		0				0		456674.716		0		1271.999

				456926.469		601417.713		254		1256.993						1271.999		254		456926.469				456674.716		254		601417.713		0				0		456674.716		0		1271.999

				456927.46		601417.843		255		1256.971						1271.999		255		456927.46				456674.716		255		601417.843		0				0		456674.716		0		1271.999

				456928.451		601417.972		256		1256.943						1271.999		256		456928.451				456674.716		256		601417.972		0				0		456674.716		0		1271.999

				456929.443		601418.102		257		1256.915						1271.999		257		456929.443				456674.716		257		601418.102		0				0		456674.716		0		1271.999

				456930.434		601418.232		258		1256.887						1271.999		258		456930.434				456674.716		258		601418.232		0				0		456674.716		0		1271.999

				456931.425		601418.362		259		1256.859						1271.999		259		456931.425				456674.716		259		601418.362		0				0		456674.716		0		1271.999

				456932.416		601418.492		260		1256.833						1271.999		260		456932.416				456674.716		260		601418.492		0				0		456674.716		0		1271.999

				456933.407		601418.622		261		1256.811						1271.999		261		456933.407				456674.716		261		601418.622		0				0		456674.716		0		1271.999

				456934.398		601418.751		262		1256.792						1271.999		262		456934.398				456674.716		262		601418.751		0				0		456674.716		0		1271.999

				456935.389		601418.881		263		1256.774						1271.999		263		456935.389				456674.716		263		601418.881		0				0		456674.716		0		1271.999

				456936.381		601419.011		264		1256.757						1271.999		264		456936.381				456674.716		264		601419.011		0				0		456674.716		0		1271.999

				456937.372		601419.141		265		1256.742						1271.999		265		456937.372				456674.716		265		601419.141		0				0		456674.716		0		1271.999

				456938.363		601419.271		266		1256.724						1271.999		266		456938.363				456674.716		266		601419.271		0				0		456674.716		0		1271.999

				456939.354		601419.401		267		1256.705						1271.999		267		456939.354				456674.716		267		601419.401		0				0		456674.716		0		1271.999

				456940.345		601419.53		268		1256.685						1271.999		268		456940.345				456674.716		268		601419.53		0				0		456674.716		0		1271.999

				456941.336		601419.66		269		1256.666						1271.999		269		456941.336				456674.716		269		601419.66		0				0		456674.716		0		1271.999

				456942.328		601419.79		270		1256.646						1271.999		270		456942.328				456674.716		270		601419.79		0				0		456674.716		0		1271.999

				456943.319		601419.92		271		1256.626						1271.999		271		456943.319				456674.716		271		601419.92		0				0		456674.716		0		1271.999

				456944.31		601420.05		272		1256.606						1271.999		272		456944.31				456674.716		272		601420.05		0				0		456674.716		0		1271.999

				456945.301		601420.18		273		1256.587						1271.999		273		456945.301				456674.716		273		601420.18		0				0		456674.716		0		1271.999

				456946.292		601420.31		274		1256.567						1271.999		274		456946.292				456674.716		274		601420.31		0				0		456674.716		0		1271.999

				456947.283		601420.439		275		1256.547						1271.999		275		456947.283				456674.716		275		601420.439		0				0		456674.716		0		1271.999

				456948.274		601420.569		276		1256.528						1271.999		276		456948.274				456674.716		276		601420.569		0				0		456674.716		0		1271.999

				456949.266		601420.699		277		1256.508						1271.999		277		456949.266				456674.716		277		601420.699		0				0		456674.716		0		1271.999

				456950.257		601420.829		278		1256.488						1271.999		278		456950.257				456674.716		278		601420.829		0				0		456674.716		0		1271.999

				456951.248		601420.959		279		1256.468						1271.999		279		456951.248				456674.716		279		601420.959		0				0		456674.716		0		1271.999

				456952.239		601421.089		280		1256.449						1271.999		280		456952.239				456674.716		280		601421.089		0				0		456674.716		0		1271.999

				456953.23		601421.218		281		1256.429						1271.999		281		456953.23				456674.716		281		601421.218		0				0		456674.716		0		1271.999

				456954.221		601421.348		282		1256.409						1271.999		282		456954.221				456674.716		282		601421.348		0				0		456674.716		0		1271.999

				456955.213		601421.478		283		1256.39						1271.999		283		456955.213				456674.716		283		601421.478		0				0		456674.716		0		1271.999

				456956.204		601421.608		284		1256.37						1271.999		284		456956.204				456674.716		284		601421.608		0				0		456674.716		0		1271.999

				456957.195		601421.738		285		1256.35						1271.999		285		456957.195				456674.716		285		601421.738		0				0		456674.716		0		1271.999

				456958.186		601421.868		286		1256.331						1271.999		286		456958.186				456674.716		286		601421.868		0				0		456674.716		0		1271.999

				456959.177		601421.997		287		1256.311						1271.999		287		456959.177				456674.716		287		601421.997		0				0		456674.716		0		1271.999

				456960.168		601422.127		288		1256.291						1271.999		288		456960.168				456674.716		288		601422.127		0				0		456674.716		0		1271.999

				456961.159		601422.257		289		1256.271						1271.999		289		456961.159				456674.716		289		601422.257		0				0		456674.716		0		1271.999

				456962.151		601422.387		290		1256.252						1271.999		290		456962.151				456674.716		290		601422.387		0				0		456674.716		0		1271.999

				456963.142		601422.517		291		1256.232						1271.999		291		456963.142				456674.716		291		601422.517		0				0		456674.716		0		1271.999

				456964.133		601422.647		292		1256.212						1271.999		292		456964.133				456674.716		292		601422.647		0				0		456674.716		0		1271.999

				456965.124		601422.777		293		1256.193						1271.999		293		456965.124				456674.716		293		601422.777		0				0		456674.716		0		1271.999

				456966.115		601422.906		294		1256.173						1271.999		294		456966.115				456674.716		294		601422.906		0				0		456674.716		0		1271.999

				456967.106		601423.036		295		1256.153						1271.999		295		456967.106				456674.716		295		601423.036		0				0		456674.716		0		1271.999

				456968.098		601423.166		296		1256.133						1271.999		296		456968.098				456674.716		296		601423.166		0				0		456674.716		0		1271.999

				456969.089		601423.296		297		1256.114						1271.999		297		456969.089				456674.716		297		601423.296		0				0		456674.716		0		1271.999

				456970.08		601423.426		298		1256.094						1271.999		298		456970.08				456674.716		298		601423.426		0				0		456674.716		0		1271.999

				456971.071		601423.556		299		1256.074						1271.999		299		456971.071				456674.716		299		601423.556		0				0		456674.716		0		1271.999

				456972.062		601423.685		300		1256.055						1271.999		300		456972.062				456674.716		300		601423.685		0				0		456674.716		0		1271.999

				456973.053		601423.815		301		1256.035						1271.999		301		456973.053				456674.716		301		601423.815		0				0		456674.716		0		1271.999

				456974.044		601423.945		302		1256.017						1271.999		302		456974.044				456674.716		302		601423.945		0				0		456674.716		0		1271.999

				456975.036		601424.075		303		1256						1271.999		303		456975.036				456674.716		303		601424.075		0				0		456674.716		0		1271.999

				456976.027		601424.205		304		1256						1271.999		304		456976.027				456674.716		304		601424.205		0				0		456674.716		0		1271.999

				456977.018		601424.335		305		1256						1271.999		305		456977.018				456674.716		305		601424.335		0				0		456674.716		0		1271.999

				456978.009		601424.464		306		1256						1271.999		306		456978.009				456674.716		306		601424.464		0				0		456674.716		0		1271.999

				456979		601424.594		307		1256						1271.999		307		456979				456674.716		307		601424.594		0				0		456674.716		0		1271.999

				456979.991		601424.724		308		1256						1271.999		308		456979.991				456674.716		308		601424.724		0				0		456674.716		0		1271.999

				456980.983		601424.854		309		1256						1271.999		309		456980.983				456674.716		309		601424.854		0				0		456674.716		0		1271.999

				456981.974		601424.984		310		1256						1271.999		310		456981.974				456674.716		310		601424.984		0				0		456674.716		0		1271.999

				456982.965		601425.114		311		1256						1271.999		311		456982.965				456674.716		311		601425.114		0				0		456674.716		0		1271.999

				456983.956		601425.244		312		1255.996						1271.999		312		456983.956				456674.716		312		601425.244		0				0		456674.716		0		1271.999

				456984.947		601425.373		313		1255.94						1271.999		313		456984.947				456674.716		313		601425.373		0				0		456674.716		0		1271.999

				456985.938		601425.503		314		1255.84						1271.999		314		456985.938				456674.716		314		601425.503		0				0		456674.716		0		1271.999

				456986.929		601425.633		315		1255.74						1271.999		315		456986.929				456674.716		315		601425.633		0				0		456674.716		0		1271.999

				456987.921		601425.763		316		1255.639						1271.999		316		456987.921				456674.716		316		601425.763		0				0		456674.716		0		1271.999

				456988.912		601425.893		317		1255.537						1271.999		317		456988.912				456674.716		317		601425.893		0				0		456674.716		0		1271.999

				456989.903		601426.023		318		1255.435						1271.999		318		456989.903				456674.716		318		601426.023		0				0		456674.716		0		1271.999

				456990.894		601426.152		319		1255.332						1271.999		319		456990.894				456674.716		319		601426.152		0				0		456674.716		0		1271.999

				456991.885		601426.282		320		1255.227						1271.999		320		456991.885				456674.716		320		601426.282		0				0		456674.716		0		1271.999

				456992.876		601426.412		321		1255.122						1271.999		321		456992.876				456674.716		321		601426.412		0				0		456674.716		0		1271.999

				456993.868		601426.542		322		1255.023						1271.999		322		456993.868				456674.716		322		601426.542		0				0		456674.716		0		1271.999

				456994.859		601426.672		323		1255.004						1271.999		323		456994.859				456674.716		323		601426.672		0				0		456674.716		0		1271.999

				456995.85		601426.802		324		1255						1271.999		324		456995.85				456674.716		324		601426.802		0				0		456674.716		0		1271.999

				456996.841		601426.931		325		1255						1271.999		325		456996.841				456674.716		325		601426.931		0				0		456674.716		0		1271.999

				456997.832		601427.061		326		1255						1271.999		326		456997.832				456674.716		326		601427.061		0				0		456674.716		0		1271.999

				456998.823		601427.191		327		1255						1271.999		327		456998.823				456674.716		327		601427.191		0				0		456674.716		0		1271.999

				456999.814		601427.321		328		1255						1271.999		328		456999.814				456674.716		328		601427.321		0				0		456674.716		0		1271.999

				457000.806		601427.451		329		1255						1271.999		329		457000.806				456674.716		329		601427.451		0				0		456674.716		0		1271.999

				457001.797		601427.581		330		1255						1271.999		330		457001.797				456674.716		330		601427.581		0				0		456674.716		0		1271.999

				457002.788		601427.711		331		1255						1271.999		331		457002.788				456674.716		331		601427.711		0				0		456674.716		0		1271.999

				457003.779		601427.84		332		1255						1271.999		332		457003.779				456674.716		332		601427.84		0				0		456674.716		0		1271.999

				457004.77		601427.97		333		1255						1271.999		333		457004.77				456674.716		333		601427.97		0				0		456674.716		0		1271.999

				457005.761		601428.1		334		1255						1271.999		334		457005.761				456674.716		334		601428.1		0				0		456674.716		0		1271.999

				457006.753		601428.23		335		1255						1271.999		335		457006.753				456674.716		335		601428.23		0				0		456674.716		0		1271.999

				457007.744		601428.36		336		1255						1271.999		336		457007.744				456674.716		336		601428.36		0				0		456674.716		0		1271.999

				457008.735		601428.49		337		1255						1271.999		337		457008.735				456674.716		337		601428.49		0				0		456674.716		0		1271.999

				457009.726		601428.619		338		1255						1271.999		338		457009.726				456674.716		338		601428.619		0				0		456674.716		0		1271.999

				457010.717		601428.749		339		1255						1271.999		339		457010.717				456674.716		339		601428.749		0				0		456674.716		0		1271.999

				457011.708		601428.879		340		1255						1271.999		340		457011.708				456674.716		340		601428.879		0				0		456674.716		0		1271.999

				457012.699		601429.009		341		1255						1271.999		341		457012.699				456674.716		341		601429.009		0				0		456674.716		0		1271.999

				457013.691		601429.139		342		1255						1271.999		342		457013.691				456674.716		342		601429.139		0				0		456674.716		0		1271.999

				457014.682		601429.269		343		1255						1271.999		343		457014.682				456674.716		343		601429.269		0				0		456674.716		0		1271.999

				457015.673		601429.398		344		1255.01						1271.999		344		457015.673				456674.716		344		601429.398		0				0		456674.716		0		1271.999

				457016.664		601429.528		345		1255.039						1271.999		345		457016.664				456674.716		345		601429.528		0				0		456674.716		0		1271.999

				457017.655		601429.658		346		1255.105						1271.999		346		457017.655				456674.716		346		601429.658		0				0		456674.716		0		1271.999

				457018.646		601429.788		347		1255.17						1271.999		347		457018.646				456674.716		347		601429.788		0				0		456674.716		0		1271.999

				457019.638		601429.918		348		1255.236						1271.999		348		457019.638				456674.716		348		601429.918		0				0		456674.716		0		1271.999

				457020.629		601430.048		349		1255.302						1271.999		349		457020.629				456674.716		349		601430.048		0				0		456674.716		0		1271.999

				457021.62		601430.178		350		1255.366						1271.999		350		457021.62				456674.716		350		601430.178		0				0		456674.716		0		1271.999

				457022.611		601430.307		351		1255.43						1271.999		351		457022.611				456674.716		351		601430.307		0				0		456674.716		0		1271.999

				457023.602		601430.437		352		1255.494						1271.999		352		457023.602				456674.716		352		601430.437		0				0		456674.716		0		1271.999

				457024.593		601430.567		353		1255.558						1271.999		353		457024.593				456674.716		353		601430.567		0				0		456674.716		0		1271.999

				457025.584		601430.697		354		1255.62						1271.999		354		457025.584				456674.716		354		601430.697		0				0		456674.716		0		1271.999

				457026.576		601430.827		355		1255.682						1271.999		355		457026.576				456674.716		355		601430.827		0				0		456674.716		0		1271.999

				457027.567		601430.957		356		1255.744						1271.999		356		457027.567				456674.716		356		601430.957		0				0		456674.716		0		1271.999

				457028.558		601431.086		357		1255.805						1271.999		357		457028.558				456674.716		357		601431.086		0				0		456674.716		0		1271.999

				457029.549		601431.216		358		1255.865						1271.999		358		457029.549				456674.716		358		601431.216		0				0		456674.716		0		1271.999

				457030.54		601431.346		359		1255.924						1271.999		359		457030.54				456674.716		359		601431.346		0				0		456674.716		0		1271.999

				457031.531		601431.476		360		1255.975						1271.999		360		457031.531				456674.716		360		601431.476		0				0		456674.716		0		1271.999

				457032.523		601431.606		361		1255.992						1271.999		361		457032.523				456674.716		361		601431.606		0				0		456674.716		0		1271.999

				457033.514		601431.736		362		1255.992						1271.999		362		457033.514				456674.716		362		601431.736		0				0		456674.716		0		1271.999

				457034.505		601431.865		363		1255.988						1271.999		363		457034.505				456674.716		363		601431.865		0				0		456674.716		0		1271.999

				457035.496		601431.995		364		1255.979						1271.999		364		457035.496				456674.716		364		601431.995		0				0		456674.716		0		1271.999

				457036.487		601432.125		365		1255.968						1271.999		365		457036.487				456674.716		365		601432.125		0				0		456674.716		0		1271.999

				457037.478		601432.255		366		1255.957						1271.999		366		457037.478				456674.716		366		601432.255		0				0		456674.716		0		1271.999

				457038.469		601432.385		367		1255.942						1271.999		367		457038.469				456674.716		367		601432.385		0				0		456674.716		0		1271.999

				457039.461		601432.515		368		1255.926						1271.999		368		457039.461				456674.716		368		601432.515		0				0		456674.716		0		1271.999

				457040.452		601432.644		369		1255.913						1271.999		369		457040.452				456674.716		369		601432.644		0				0		456674.716		0		1271.999

				457041.443		601432.774		370		1255.9						1271.999		370		457041.443				456674.716		370		601432.774		0				0		456674.716		0		1271.999

				457042.434		601432.904		371		1255.886						1271.999		371		457042.434				456674.716		371		601432.904		0				0		456674.716		0		1271.999

				457043.425		601433.034		372		1255.868						1271.999		372		457043.425				456674.716		372		601433.034		0				0		456674.716		0		1271.999

				457044.416		601433.164		373		1255.847						1271.999		373		457044.416				456674.716		373		601433.164		0				0		456674.716		0		1271.999

				457045.408		601433.294		374		1255.826						1271.999		374		457045.408				456674.716		374		601433.294		0				0		456674.716		0		1271.999

				457046.399		601433.424		375		1255.804						1271.999		375		457046.399				456674.716		375		601433.424		0				0		456674.716		0		1271.999

				457047.39		601433.553		376		1255.781						1271.999		376		457047.39				456674.716		376		601433.553		0				0		456674.716		0		1271.999

				457048.381		601433.683		377		1255.757						1271.999		377		457048.381				456674.716		377		601433.683		0				0		456674.716		0		1271.999

				457049.372		601433.813		378		1255.733						1271.999		378		457049.372				456674.716		378		601433.813		0				0		456674.716		0		1271.999

				457050.363		601433.943		379		1255.708						1271.999		379		457050.363				456674.716		379		601433.943		0				0		456674.716		0		1271.999

				457051.355		601434.073		380		1255.684						1271.999		380		457051.355				456674.716		380		601434.073		0				0		456674.716		0		1271.999

				457052.346		601434.203		381		1255.661						1271.999		381		457052.346				456674.716		381		601434.203		0				0		456674.716		0		1271.999

				457053.337		601434.332		382		1255.638						1271.999		382		457053.337				456674.716		382		601434.332		0				0		456674.716		0		1271.999

				457054.328		601434.462		383		1255.618						1271.999		383		457054.328				456674.716		383		601434.462		0				0		456674.716		0		1271.999

				457055.319		601434.592		384		1255.602						1271.999		384		457055.319				456674.716		384		601434.592		0				0		456674.716		0		1271.999

				457056.31		601434.722		385		1255.582						1271.999		385		457056.31				456674.716		385		601434.722		0				0		456674.716		0		1271.999

				457057.301		601434.852		386		1255.56						1271.999		386		457057.301				456674.716		386		601434.852		0				0		456674.716		0		1271.999

				457058.293		601434.982		387		1255.537						1271.999		387		457058.293				456674.716		387		601434.982		0				0		456674.716		0		1271.999

				457059.284		601435.111		388		1255.515						1271.999		388		457059.284				456674.716		388		601435.111		0				0		456674.716		0		1271.999

				457060.275		601435.241		389		1255.492						1271.999		389		457060.275				456674.716		389		601435.241		0				0		456674.716		0		1271.999

				457061.266		601435.371		390		1255.47						1271.999		390		457061.266				456674.716		390		601435.371		0				0		456674.716		0		1271.999

				457062.257		601435.501		391		1255.447						1271.999		391		457062.257				456674.716		391		601435.501		0				0		456674.716		0		1271.999

				457063.248		601435.631		392		1255.425						1271.999		392		457063.248				456674.716		392		601435.631		0				0		456674.716		0		1271.999

				457064.24		601435.761		393		1255.403						1271.999		393		457064.24				456674.716		393		601435.761		0				0		456674.716		0		1271.999

				457065.231		601435.891		394		1255.38						1271.999		394		457065.231				456674.716		394		601435.891		0				0		456674.716		0		1271.999

				457066.222		601436.02		395		1255.358						1271.999		395		457066.222				456674.716		395		601436.02		0				0		456674.716		0		1271.999

				457067.213		601436.15		396		1255.335						1271.999		396		457067.213				456674.716		396		601436.15		0				0		456674.716		0		1271.999

				457068.204		601436.28		397		1255.313						1271.999		397		457068.204				456674.716		397		601436.28		0				0		456674.716		0		1271.999

				457069.195		601436.41		398		1255.291						1271.999		398		457069.195				456674.716		398		601436.41		0				0		456674.716		0		1271.999

				457070.186		601436.54		399		1255.268						1271.999		399		457070.186				456674.716		399		601436.54		0				0		456674.716		0		1271.999

				457071.178		601436.67		400		1255.246						1271.999		400		457071.178				456674.716		400		601436.67		0				0		456674.716		0		1271.999

				457072.169		601436.799		401		1255.223						1271.999		401		457072.169				456674.716		401		601436.799		0				0		456674.716		0		1271.999

				457073.16		601436.929		402		1255.201						1271.999		402		457073.16				456674.716		402		601436.929		0				0		456674.716		0		1271.999

				457074.151		601437.059		403		1255.178						1271.999		403		457074.151				456674.716		403		601437.059		0				0		456674.716		0		1271.999

				457075.142		601437.189		404		1255.156						1271.999		404		457075.142				456674.716		404		601437.189		0				0		456674.716		0		1271.999

				457076.133		601437.319		405		1255.134						1271.999		405		457076.133				456674.716		405		601437.319		0				0		456674.716		0		1271.999

				457077.125		601437.449		406		1255.111						1271.999		406		457077.125				456674.716		406		601437.449		0				0		456674.716		0		1271.999

				457078.116		601437.578		407		1255.089						1271.999		407		457078.116				456674.716		407		601437.578		0				0		456674.716		0		1271.999

				457079.107		601437.708		408		1255.066						1271.999		408		457079.107				456674.716		408		601437.708		0				0		456674.716		0		1271.999

				457080.098		601437.838		409		1255.044						1271.999		409		457080.098				456674.716		409		601437.838		0				0		456674.716		0		1271.999

				457081.089		601437.968		410		1255.022						1271.999		410		457081.089				456674.716		410		601437.968		0				0		456674.716		0		1271.999

				457082.08		601438.098		411		1255.004						1271.999		411		457082.08				456674.716		411		601438.098		0				0		456674.716		0		1271.999

				457083.071		601438.228		412		1255						1271.999		412		457083.071				456674.716		412		601438.228		0				0		456674.716		0		1271.999

				457084.063		601438.358		413		1255						1271.999		413		457084.063				456674.716		413		601438.358		0				0		456674.716		0		1271.999

				457085.054		601438.487		414		1255						1271.999		414		457085.054				456674.716		414		601438.487		0				0		456674.716		0		1271.999

				457086.045		601438.617		415		1255						1271.999		415		457086.045				456674.716		415		601438.617		0				0		456674.716		0		1271.999

				457087.036		601438.747		416		1255						1271.999		416		457087.036				456674.716		416		601438.747		0				0		456674.716		0		1271.999

				457088.027		601438.877		417		1255						1271.999		417		457088.027				456674.716		417		601438.877		0				0		456674.716		0		1271.999

				457089.018		601439.007		418		1255						1271.999		418		457089.018				456674.716		418		601439.007		0				0		456674.716		0		1271.999

				457090.01		601439.137		419		1255						1271.999		419		457090.01				456674.716		419		601439.137		0				0		456674.716		0		1271.999

				457091.001		601439.266		420		1255						1271.999		420		457091.001				456674.716		420		601439.266		0				0		456674.716		0		1271.999

				457091.992		601439.396		421		1255						1271.999		421		457091.992				456674.716		421		601439.396		0				0		456674.716		0		1271.999

				457092.983		601439.526		422		1255						1271.999		422		457092.983				456674.716		422		601439.526		0				0		456674.716		0		1271.999

				457093.974		601439.656		423		1255						1271.999		423		457093.974				456674.716		423		601439.656		0				0		456674.716		0		1271.999

				457094.965		601439.786		424		1255						1271.999		424		457094.965				456674.716		424		601439.786		0				0		456674.716		0		1271.999

				457095.956		601439.916		425		1255						1271.999		425		457095.956				456674.716		425		601439.916		0				0		456674.716		0		1271.999

				457096.948		601440.045		426		1255						1271.999		426		457096.948				456674.716		426		601440.045		0				0		456674.716		0		1271.999

				457097.939		601440.175		427		1255						1271.999		427		457097.939				456674.716		427		601440.175		0				0		456674.716		0		1271.999

				457098.93		601440.305		428		1255						1271.999		428		457098.93				456674.716		428		601440.305		0				0		456674.716		0		1271.999

				457099.921		601440.435		429		1255						1271.999		429		457099.921				456674.716		429		601440.435		0				0		456674.716		0		1271.999

				457100.912		601440.565		430		1255						1271.999		430		457100.912				456674.716		430		601440.565		0				0		456674.716		0		1271.999

				457101.903		601440.695		431		1255						1271.999		431		457101.903				456674.716		431		601440.695		0				0		456674.716		0		1271.999

				457102.895		601440.825		432		1255						1271.999		432		457102.895				456674.716		432		601440.825		0				0		456674.716		0		1271.999

				457103.886		601440.954		433		1255						1271.999		433		457103.886				456674.716		433		601440.954		0				0		456674.716		0		1271.999

				457104.877		601441.084		434		1255						1271.999		434		457104.877				456674.716		434		601441.084		0				0		456674.716		0		1271.999

				457105.868		601441.214		435		1255						1271.999		435		457105.868				456674.716		435		601441.214		0				0		456674.716		0		1271.999

				457106.859		601441.344		436		1255						1271.999		436		457106.859				456674.716		436		601441.344		0				0		456674.716		0		1271.999

				457107.85		601441.474		437		1255						1271.999		437		457107.85				456674.716		437		601441.474		0				0		456674.716		0		1271.999

				457108.841		601441.604		438		1255						1271.999		438		457108.841				456674.716		438		601441.604		0				0		456674.716		0		1271.999

				457109.833		601441.733		439		1255						1271.999		439		457109.833				456674.716		439		601441.733		0				0		456674.716		0		1271.999

				457110.824		601441.863		440		1255						1271.999		440		457110.824				456674.716		440		601441.863		0				0		456674.716		0		1271.999

				457111.815		601441.993		441		1255						1271.999		441		457111.815				456674.716		441		601441.993		0				0		456674.716		0		1271.999

				457112.806		601442.123		442		1255						1271.999		442		457112.806				456674.716		442		601442.123		0				0		456674.716		0		1271.999

				457113.797		601442.253		443		1255						1271.999		443		457113.797				456674.716		443		601442.253		0				0		456674.716		0		1271.999

				457114.788		601442.383		444		1254.99						1271.999		444		457114.788				456674.716		444		601442.383		0				0		456674.716		0		1271.999

				457115.78		601442.512		445		1254.966						1271.999		445		457115.78				456674.716		445		601442.512		0				0		456674.716		0		1271.999

				457116.771		601442.642		446		1254.938						1271.999		446		457116.771				456674.716		446		601442.642		0				0		456674.716		0		1271.999

				457117.762		601442.772		447		1254.911						1271.999		447		457117.762				456674.716		447		601442.772		0				0		456674.716		0		1271.999

				457118.753		601442.902		448		1254.883						1271.999		448		457118.753				456674.716		448		601442.902		0				0		456674.716		0		1271.999

				457119.744		601443.032		449		1254.854						1271.999		449		457119.744				456674.716		449		601443.032		0				0		456674.716		0		1271.999

				457120.735		601443.162		450		1254.826						1271.999		450		457120.735				456674.716		450		601443.162		0				0		456674.716		0		1271.999

				457121.726		601443.292		451		1254.797						1271.999		451		457121.726				456674.716		451		601443.292		0				0		456674.716		0		1271.999

				457122.718		601443.421		452		1254.77						1271.999		452		457122.718				456674.716		452		601443.421		0				0		456674.716		0		1271.999

				457123.709		601443.551		453		1254.745						1271.999		453		457123.709				456674.716		453		601443.551		0				0		456674.716		0		1271.999

				457124.7		601443.681		454		1254.717						1271.999		454		457124.7				456674.716		454		601443.681		0				0		456674.716		0		1271.999

				457125.691		601443.811		455		1254.689						1271.999		455		457125.691				456674.716		455		601443.811		0				0		456674.716		0		1271.999

				457126.682		601443.941		456		1254.66						1271.999		456		457126.682				456674.716		456		601443.941		0				0		456674.716		0		1271.999

				457127.673		601444.071		457		1254.631						1271.999		457		457127.673				456674.716		457		601444.071		0				0		456674.716		0		1271.999

				457128.665		601444.2		458		1254.605						1271.999		458		457128.665				456674.716		458		601444.2		0				0		456674.716		0		1271.999

				457129.656		601444.33		459		1254.579						1271.999		459		457129.656				456674.716		459		601444.33		0				0		456674.716		0		1271.999

				457130.647		601444.46		460		1254.553						1271.999		460		457130.647				456674.716		460		601444.46		0				0		456674.716		0		1271.999

				457131.638		601444.59		461		1254.526						1271.999		461		457131.638				456674.716		461		601444.59		0				0		456674.716		0		1271.999

				457132.629		601444.72		462		1254.497						1271.999		462		457132.629				456674.716		462		601444.72		0				0		456674.716		0		1271.999

				457133.62		601444.85		463		1254.468						1271.999		463		457133.62				456674.716		463		601444.85		0				0		456674.716		0		1271.999

				457134.611		601444.979		464		1254.44						1271.999		464		457134.611				456674.716		464		601444.979		0				0		456674.716		0		1271.999

				457135.603		601445.109		465		1254.414						1271.999		465		457135.603				456674.716		465		601445.109		0				0		456674.716		0		1271.999

				457136.594		601445.239		466		1254.387						1271.999		466		457136.594				456674.716		466		601445.239		0				0		456674.716		0		1271.999

				457137.585		601445.369		467		1254.361						1271.999		467		457137.585				456674.716		467		601445.369		0				0		456674.716		0		1271.999

				457138.576		601445.499		468		1254.333						1271.999		468		457138.576				456674.716		468		601445.499		0				0		456674.716		0		1271.999

				457139.567		601445.629		469		1254.306						1271.999		469		457139.567				456674.716		469		601445.629		0				0		456674.716		0		1271.999

				457140.558		601445.758		470		1254.277						1271.999		470		457140.558				456674.716		470		601445.758		0				0		456674.716		0		1271.999

				457141.55		601445.888		471		1254.25						1271.999		471		457141.55				456674.716		471		601445.888		0				0		456674.716		0		1271.999

				457142.541		601446.018		472		1254.223						1271.999		472		457142.541				456674.716		472		601446.018		0				0		456674.716		0		1271.999

				457143.532		601446.148		473		1254.197						1271.999		473		457143.532				456674.716		473		601446.148		0				0		456674.716		0		1271.999

				457144.523		601446.278		474		1254.17						1271.999		474		457144.523				456674.716		474		601446.278		0				0		456674.716		0		1271.999

				457145.514		601446.408		475		1254.143						1271.999		475		457145.514				456674.716		475		601446.408		0				0		456674.716		0		1271.999

				457146.505		601446.538		476		1254.116						1271.999		476		457146.505				456674.716		476		601446.538		0				0		456674.716		0		1271.999

				457147.496		601446.667		477		1254.089						1271.999		477		457147.496				456674.716		477		601446.667		0				0		456674.716		0		1271.999

				457148.488		601446.797		478		1254.063						1271.999		478		457148.488				456674.716		478		601446.797		0				0		456674.716		0		1271.999

				457149.479		601446.927		479		1254.037						1271.999		479		457149.479				456674.716		479		601446.927		0				0		456674.716		0		1271.999

				457150.47		601447.057		480		1254.01						1271.999		480		457150.47				456674.716		480		601447.057		0				0		456674.716		0		1271.999

				457151.461		601447.187		481		1254.002						1271.999		481		457151.461				456674.716		481		601447.187		0				0		456674.716		0		1271.999

				457152.452		601447.317		482		1254						1271.999		482		457152.452				456674.716		482		601447.317		0				0		456674.716		0		1271.999

				457153.443		601447.446		483		1254						1271.999		483		457153.443				456674.716		483		601447.446		0				0		456674.716		0		1271.999

				457154.435		601447.576		484		1254						1271.999		484		457154.435				456674.716		484		601447.576		0				0		456674.716		0		1271.999

				457155.426		601447.706		485		1254						1271.999		485		457155.426				456674.716		485		601447.706		0				0		456674.716		0		1271.999

				457156.417		601447.836		486		1254						1271.999		486		457156.417				456674.716		486		601447.836		0				0		456674.716		0		1271.999

				457157.408		601447.966		487		1254						1271.999		487		457157.408				456674.716		487		601447.966		0				0		456674.716		0		1271.999

				457158.399		601448.096		488		1254						1271.999		488		457158.399				456674.716		488		601448.096		0				0		456674.716		0		1271.999

				457159.39		601448.225		489		1254						1271.999		489		457159.39				456674.716		489		601448.225		0				0		456674.716		0		1271.999

				457160.381		601448.355		490		1254						1271.999		490		457160.381				456674.716		490		601448.355		0				0		456674.716		0		1271.999

				457161.373		601448.485		491		1254						1271.999		491		457161.373				456674.716		491		601448.485		0				0		456674.716		0		1271.999

				457162.364		601448.615		492		1254						1271.999		492		457162.364				456674.716		492		601448.615		0				0		456674.716		0		1271.999

				457163.355		601448.745		493		1254						1271.999		493		457163.355				456674.716		493		601448.745		0				0		456674.716		0		1271.999

				457164.346		601448.875		494		1254						1271.999		494		457164.346				456674.716		494		601448.875		0				0		456674.716		0		1271.999

				457165.337		601449.005		495		1254						1271.999		495		457165.337				456674.716		495		601449.005		0				0		456674.716		0		1271.999

				457166.328		601449.134		496		1254						1271.999		496		457166.328				456674.716		496		601449.134		0				0		456674.716		0		1271.999

				457167.32		601449.264		497		1254						1271.999		497		457167.32				456674.716		497		601449.264		0				0		456674.716		0		1271.999

				457168.311		601449.394		498		1254						1271.999		498		457168.311				456674.716		498		601449.394		0				0		456674.716		0		1271.999

				457169.302		601449.524		499		1254						1271.999		499		457169.302				456674.716		499		601449.524		0				0		456674.716		0		1271.999

				457170.293		601449.654		500		1254						1271.999		500		457170.293				456674.716		500		601449.654		0				0		456674.716		0		1271.999

				457171.284		601449.784		501		1254.006						1271.999		501		457171.284				456674.716		501		601449.784		0				0		456674.716		0		1271.999

				457172.275		601449.913		502		1254.02						1271.999		502		457172.275				456674.716		502		601449.913		0				0		456674.716		0		1271.999

				457173.266		601450.043		503		1254.042						1271.999		503		457173.266				456674.716		503		601450.043		0				0		456674.716		0		1271.999

				457174.258		601450.173		504		1254.063						1271.999		504		457174.258				456674.716		504		601450.173		0				0		456674.716		0		1271.999

				457175.249		601450.303		505		1254.084						1271.999		505		457175.249				456674.716		505		601450.303		0				0		456674.716		0		1271.999

				457176.24		601450.433		506		1254.104						1271.999		506		457176.24				456674.716		506		601450.433		0				0		456674.716		0		1271.999

				457177.231		601450.563		507		1254.125						1271.999		507		457177.231				456674.716		507		601450.563		0				0		456674.716		0		1271.999

				457178.222		601450.692		508		1254.145						1271.999		508		457178.222				456674.716		508		601450.692		0				0		456674.716		0		1271.999

				457179.213		601450.822		509		1254.165						1271.999		509		457179.213				456674.716		509		601450.822		0				0		456674.716		0		1271.999

				457180.205		601450.952		510		1254.185						1271.999		510		457180.205				456674.716		510		601450.952		0				0		456674.716		0		1271.999

				457181.196		601451.082		511		1254.205						1271.999		511		457181.196				456674.716		511		601451.082		0				0		456674.716		0		1271.999

				457182.187		601451.212		512		1254.225						1271.999		512		457182.187				456674.716		512		601451.212		0				0		456674.716		0		1271.999

				457183.178		601451.342		513		1254.245						1271.999		513		457183.178				456674.716		513		601451.342		0				0		456674.716		0		1271.999

				457184.169		601451.472		514		1254.263						1271.999		514		457184.169				456674.716		514		601451.472		0				0		456674.716		0		1271.999

				457185.16		601451.601		515		1254.284						1271.999		515		457185.16				456674.716		515		601451.601		0				0		456674.716		0		1271.999

				457186.151		601451.731		516		1254.289						1271.999		516		457186.151				456674.716		516		601451.731		0				0		456674.716		0		1271.999

				457187.143		601451.861		517		1254.282						1271.999		517		457187.143				456674.716		517		601451.861		0				0		456674.716		0		1271.999

				457188.134		601451.991		518		1254.259						1271.999		518		457188.134				456674.716		518		601451.991		0				0		456674.716		0		1271.999

				457189.125		601452.121		519		1254.235						1271.999		519		457189.125				456674.716		519		601452.121		0				0		456674.716		0		1271.999

				457190.116		601452.251		520		1254.212						1271.999		520		457190.116				456674.716		520		601452.251		0				0		456674.716		0		1271.999

				457191.107		601452.38		521		1254.189						1271.999		521		457191.107				456674.716		521		601452.38		0				0		456674.716		0		1271.999

				457192.098		601452.51		522		1254.166						1271.999		522		457192.098				456674.716		522		601452.51		0				0		456674.716		0		1271.999

				457193.09		601452.64		523		1254.143						1271.999		523		457193.09				456674.716		523		601452.64		0				0		456674.716		0		1271.999

				457194.081		601452.77		524		1254.12						1271.999		524		457194.081				456674.716		524		601452.77		0				0		456674.716		0		1271.999

				457195.072		601452.9		525		1254.096						1271.999		525		457195.072				456674.716		525		601452.9		0				0		456674.716		0		1271.999

				457196.063		601453.03		526		1254.073						1271.999		526		457196.063				456674.716		526		601453.03		0				0		456674.716		0		1271.999

				457197.054		601453.159		527		1254.05						1271.999		527		457197.054				456674.716		527		601453.159		0				0		456674.716		0		1271.999

				457198.045		601453.289		528		1254.03						1271.999		528		457198.045				456674.716		528		601453.289		0				0		456674.716		0		1271.999

				457199.036		601453.419		529		1254.012						1271.999		529		457199.036				456674.716		529		601453.419		0				0		456674.716		0		1271.999

				457200.028		601453.549		530		1254.002						1271.999		530		457200.028				456674.716		530		601453.549		0				0		456674.716		0		1271.999

				457201.019		601453.679		531		1254						1271.999		531		457201.019				456674.716		531		601453.679		0				0		456674.716		0		1271.999

				457202.01		601453.809		532		1254						1271.999		532		457202.01				456674.716		532		601453.809		0				0		456674.716		0		1271.999

				457203.001		601453.939		533		1254						1271.999		533		457203.001				456674.716		533		601453.939		0				0		456674.716		0		1271.999

				457203.992		601454.068		534		1254						1271.999		534		457203.992				456674.716		534		601454.068		0				0		456674.716		0		1271.999

				457204.983		601454.198		535		1254						1271.999		535		457204.983				456674.716		535		601454.198		0				0		456674.716		0		1271.999

				457205.975		601454.328		536		1254						1271.999		536		457205.975				456674.716		536		601454.328		0				0		456674.716		0		1271.999

				457206.966		601454.458		537		1254						1271.999		537		457206.966				456674.716		537		601454.458		0				0		456674.716		0		1271.999

				457207.957		601454.588		538		1254						1271.999		538		457207.957				456674.716		538		601454.588		0				0		456674.716		0		1271.999

				457208.948		601454.718		539		1254						1271.999		539		457208.948				456674.716		539		601454.718		0				0		456674.716		0		1271.999

				457209.939		601454.847		540		1254						1271.999		540		457209.939				456674.716		540		601454.847		0				0		456674.716		0		1271.999

				457210.93		601454.977		541		1254						1271.999		541		457210.93				456674.716		541		601454.977		0				0		456674.716		0		1271.999

				457211.922		601455.107		542		1254.02						1271.999		542		457211.922				456674.716		542		601455.107		0				0		456674.716		0		1271.999

				457212.913		601455.237		543		1254.041						1271.999		543		457212.913				456674.716		543		601455.237		0				0		456674.716		0		1271.999

				457213.904		601455.367		544		1254.063						1271.999		544		457213.904				456674.716		544		601455.367		0				0		456674.716		0		1271.999

				457214.895		601455.497		545		1254.086						1271.999		545		457214.895				456674.716		545		601455.497		0				0		456674.716		0		1271.999

				457215.886		601455.626		546		1254.108						1271.999		546		457215.886				456674.716		546		601455.626		0				0		456674.716		0		1271.999

				457216.877		601455.756		547		1254.131						1271.999		547		457216.877				456674.716		547		601455.756		0				0		456674.716		0		1271.999

				457217.868		601455.886		548		1254.153						1271.999		548		457217.868				456674.716		548		601455.886		0				0		456674.716		0		1271.999

				457218.86		601456.016		549		1254.176						1271.999		549		457218.86				456674.716		549		601456.016		0				0		456674.716		0		1271.999

				457219.851		601456.146		550		1254.198						1271.999		550		457219.851				456674.716		550		601456.146		0				0		456674.716		0		1271.999

				457220.842		601456.276		551		1254.221						1271.999		551		457220.842				456674.716		551		601456.276		0				0		456674.716		0		1271.999

				457221.833		601456.406		552		1254.243						1271.999		552		457221.833				456674.716		552		601456.406		0				0		456674.716		0		1271.999

				457222.824		601456.535		553		1254.267						1271.999		553		457222.824				456674.716		553		601456.535		0				0		456674.716		0		1271.999

				457223.815		601456.665		554		1254.3						1271.999		554		457223.815				456674.716		554		601456.665		0				0		456674.716		0		1271.999

				457224.807		601456.795		555		1254.329						1271.999		555		457224.807				456674.716		555		601456.795		0				0		456674.716		0		1271.999

				457225.798		601456.925		556		1254.352						1271.999		556		457225.798				456674.716		556		601456.925		0				0		456674.716		0		1271.999

				457226.789		601457.055		557		1254.392						1271.999		557		457226.789				456674.716		557		601457.055		0				0		456674.716		0		1271.999

				457227.78		601457.185		558		1254.434						1271.999		558		457227.78				456674.716		558		601457.185		0				0		456674.716		0		1271.999

				457228.771		601457.314		559		1254.474						1271.999		559		457228.771				456674.716		559		601457.314		0				0		456674.716		0		1271.999

				457229.762		601457.444		560		1254.512						1271.999		560		457229.762				456674.716		560		601457.444		0				0		456674.716		0		1271.999

				457230.753		601457.574		561		1254.555						1271.999		561		457230.753				456674.716		561		601457.574		0				0		456674.716		0		1271.999

				457231.745		601457.704		562		1254.599						1271.999		562		457231.745				456674.716		562		601457.704		0				0		456674.716		0		1271.999

				457232.736		601457.834		563		1254.641						1271.999		563		457232.736				456674.716		563		601457.834		0				0		456674.716		0		1271.999

				457233.727		601457.964		564		1254.682						1271.999		564		457233.727				456674.716		564		601457.964		0				0		456674.716		0		1271.999

				457234.718		601458.093		565		1254.725						1271.999		565		457234.718				456674.716		565		601458.093		0				0		456674.716		0		1271.999

				457235.709		601458.223		566		1254.768						1271.999		566		457235.709				456674.716		566		601458.223		0				0		456674.716		0		1271.999

				457236.7		601458.353		567		1254.811						1271.999		567		457236.7				456674.716		567		601458.353		0				0		456674.716		0		1271.999

				457237.692		601458.483		568		1254.854						1271.999		568		457237.692				456674.716		568		601458.483		0				0		456674.716		0		1271.999

				457238.683		601458.613		569		1254.896						1271.999		569		457238.683				456674.716		569		601458.613		0				0		456674.716		0		1271.999

				457239.674		601458.743		570		1254.94						1271.999		570		457239.674				456674.716		570		601458.743		0				0		456674.716		0		1271.999

				457240.665		601458.873		571		1254.985						1271.999		571		457240.665				456674.716		571		601458.873		0				0		456674.716		0		1271.999

				457241.656		601459.002		572		1255.038						1271.999		572		457241.656				456674.716		572		601459.002		0				0		456674.716		0		1271.999

				457242.647		601459.132		573		1255.099						1271.999		573		457242.647				456674.716		573		601459.132		0				0		456674.716		0		1271.999

				457243.638		601459.262		574		1255.161						1271.999		574		457243.638				456674.716		574		601459.262		0				0		456674.716		0		1271.999

				457244.63		601459.392		575		1255.222						1271.999		575		457244.63				456674.716		575		601459.392		0				0		456674.716		0		1271.999

				457245.621		601459.522		576		1255.285						1271.999		576		457245.621				456674.716		576		601459.522		0				0		456674.716		0		1271.999

				457246.612		601459.652		577		1255.347						1271.999		577		457246.612				456674.716		577		601459.652		0				0		456674.716		0		1271.999

				457247.603		601459.781		578		1255.41						1271.999		578		457247.603				456674.716		578		601459.781		0				0		456674.716		0		1271.999

				457248.594		601459.911		579		1255.473						1271.999		579		457248.594				456674.716		579		601459.911		0				0		456674.716		0		1271.999

				457249.585		601460.041		580		1255.537						1271.999		580		457249.585				456674.716		580		601460.041		0				0		456674.716		0		1271.999

				457250.577		601460.171		581		1255.6						1271.999		581		457250.577				456674.716		581		601460.171		0				0		456674.716		0		1271.999

				457251.568		601460.301		582		1255.664						1271.999		582		457251.568				456674.716		582		601460.301		0				0		456674.716		0		1271.999

				457252.559		601460.431		583		1255.729						1271.999		583		457252.559				456674.716		583		601460.431		0				0		456674.716		0		1271.999

				457253.55		601460.56		584		1255.794						1271.999		584		457253.55				456674.716		584		601460.56		0				0		456674.716		0		1271.999

				457254.541		601460.69		585		1255.859						1271.999		585		457254.541				456674.716		585		601460.69		0				0		456674.716		0		1271.999

				457255.532		601460.82		586		1255.924						1271.999		586		457255.532				456674.716		586		601460.82		0				0		456674.716		0		1271.999

				457256.523		601460.95		587		1255.989						1271.999		587		457256.523				456674.716		587		601460.95		0				0		456674.716		0		1271.999

				457257.515		601461.08		588		1256.058						1271.999		588		457257.515				456674.716		588		601461.08		0				0		456674.716		0		1271.999

				457258.506		601461.21		589		1256.126						1271.999		589		457258.506				456674.716		589		601461.21		0				0		456674.716		0		1271.999

				457259.497		601461.339		590		1256.196						1271.999		590		457259.497				456674.716		590		601461.339		0				0		456674.716		0		1271.999

				457260.488		601461.469		591		1256.265						1271.999		591		457260.488				456674.716		591		601461.469		0				0		456674.716		0		1271.999

				457261.479		601461.599		592		1256.335						1271.999		592		457261.479				456674.716		592		601461.599		0				0		456674.716		0		1271.999

				457262.47		601461.729		593		1256.404						1271.999		593		457262.47				456674.716		593		601461.729		0				0		456674.716		0		1271.999

				457263.462		601461.859		594		1256.474						1271.999		594		457263.462				456674.716		594		601461.859		0				0		456674.716		0		1271.999

				457264.453		601461.989		595		1256.543						1271.999		595		457264.453				456674.716		595		601461.989		0				0		456674.716		0		1271.999

				457265.444		601462.119		596		1256.613						1271.999		596		457265.444				456674.716		596		601462.119		0				0		456674.716		0		1271.999

				457266.435		601462.248		597		1256.683						1271.999		597		457266.435				456674.716		597		601462.248		0				0		456674.716		0		1271.999

				457267.426		601462.378		598		1256.753						1271.999		598		457267.426				456674.716		598		601462.378		0				0		456674.716		0		1271.999

				457268.417		601462.508		599		1256.823						1271.999		599		457268.417				456674.716		599		601462.508		0				0		456674.716		0		1271.999

				457269.408		601462.638		600		1256.893						1271.999		600		457269.408				456674.716		600		601462.638		0				0		456674.716		0		1271.999

				457270.4		601462.768		601		1256.965						1271.999		601		457270.4				456674.716		601		601462.768		0				0		456674.716		0		1271.999

				457271.391		601462.898		602		1257.04						1271.999		602		457271.391				456674.716		602		601462.898		0				0		456674.716		0		1271.999

				457272.382		601463.027		603		1257.126						1271.999		603		457272.382				456674.716		603		601463.027		0				0		456674.716		0		1271.999

				457273.373		601463.157		604		1257.212						1271.999		604		457273.373				456674.716		604		601463.157		0				0		456674.716		0		1271.999

				457274.364		601463.287		605		1257.298						1271.999		605		457274.364				456674.716		605		601463.287		0				0		456674.716		0		1271.999

				457275.355		601463.417		606		1257.383						1271.999		606		457275.355				456674.716		606		601463.417		0				0		456674.716		0		1271.999

				457276.347		601463.547		607		1257.469						1271.999		607		457276.347				456674.716		607		601463.547		0				0		456674.716		0		1271.999

				457277.338		601463.677		608		1257.554						1271.999		608		457277.338				456674.716		608		601463.677		0				0		456674.716		0		1271.999

				457278.329		601463.806		609		1257.64						1271.999		609		457278.329				456674.716		609		601463.806		0				0		456674.716		0		1271.999

				457279.32		601463.936		610		1257.725								610		457279.32				456674.716		610		601463.936		0				0		456674.716		0		0

				457280.311		601464.066		611		1257.81								611		457280.311				456674.716		611		601464.066		0				0		456674.716		0		0

				457281.302		601464.196		612		1257.895								612		457281.302				456674.716		612		601464.196		0				0		456674.716		0		0

				457282.293		601464.326		613		1257.982								613		457282.293				456674.716		613		601464.326		0				0		456674.716		0		0

				457283.285		601464.456		614		1258.073								614		457283.285				456674.716		614		601464.456		0				0		456674.716		0		0

				457284.276		601464.586		615		1258.167								615		457284.276				456674.716		615		601464.586		0				0		456674.716		0		0

				457285.267		601464.715		616		1258.261								616		457285.267				456674.716		616		601464.715		0				0		456674.716		0		0

				457286.258		601464.845		617		1258.354								617		457286.258				456674.716		617		601464.845		0				0		456674.716		0		0

				457287.249		601464.975		618		1258.448								618		457287.249				456674.716		618		601464.975		0				0		456674.716		0		0

				457288.24		601465.105		619		1258.541								619		457288.24				456674.716		619		601465.105		0				0		456674.716		0		0

				457289.232		601465.235		620		1258.635								620		457289.232				456674.716		620		601465.235		0				0		456674.716		0		0

				457290.223		601465.365		621		1258.728								621		457290.223				456674.716		621		601465.365		0				0		456674.716		0		0

				457291.214		601465.494		622		1258.821								622		457291.214				456674.716		622		601465.494		0				0		456674.716		0		0

				457292.205		601465.624		623		1258.914								623		457292.205				456674.716		623		601465.624		0				0		456674.716		0		0

				457293.196		601465.754		624		1259.005								624		457293.196				456674.716		624		601465.754		0				0		456674.716		0		0

				457294.187		601465.884		625		1259.094								625		457294.187				456674.716		625		601465.884		0				0		456674.716		0		0

				457295.178		601466.014		626		1259.181								626		457295.178				456674.716		626		601466.014		0				0		456674.716		0		0

				457296.17		601466.144		627		1259.268								627		457296.17				456674.716		627		601466.144		0				0		456674.716		0		0

				457297.161		601466.273		628		1259.355								628		457297.161				456674.716		628		601466.273		0				0		456674.716		0		0

				457298.152		601466.403		629		1259.442								629		457298.152				456674.716		629		601466.403		0				0		456674.716		0		0

				457299.143		601466.533		630		1259.529								630		457299.143				456674.716		630		601466.533		0				0		456674.716		0		0

				457300.134		601466.663		631		1259.617								631		457300.134				456674.716		631		601466.663		0				0		456674.716		0		0

				457301.125		601466.793		632		1259.704								632		457301.125				456674.716		632		601466.793		0				0		456674.716		0		0

				457302.117		601466.923		633		1259.791								633		457302.117				456674.716		633		601466.923		0				0		456674.716		0		0

				457303.108		601467.053		634		1259.879								634		457303.108				456674.716		634		601467.053		0				0		456674.716		0		0

				457304.099		601467.182		635		1259.963								635		457304.099				456674.716		635		601467.182		0				0		456674.716		0		0

				457305.09		601467.312		636		1260.042								636		457305.09				456674.716		636		601467.312		0				0		456674.716		0		0

				457306.081		601467.442		637		1260.111								637		457306.081				456674.716		637		601467.442		0				0		456674.716		0		0

				457307.072		601467.572		638		1260.179								638		457307.072				456674.716		638		601467.572		0				0		456674.716		0		0

				457308.063		601467.702		639		1260.248								639		457308.063				456674.716		639		601467.702		0				0		456674.716		0		0

				457309.055		601467.832		640		1260.317								640		457309.055				456674.716		640		601467.832		0				0		456674.716		0		0

				457310.046		601467.961		641		1260.386								641		457310.046				456674.716		641		601467.961		0				0		456674.716		0		0

				457311.037		601468.091		642		1260.455								642		457311.037				456674.716		642		601468.091		0				0		456674.716		0		0

				457312.028		601468.221		643		1260.524								643		457312.028				456674.716		643		601468.221		0				0		456674.716		0		0

				457313.019		601468.351		644		1260.594								644		457313.019				456674.716		644		601468.351		0				0		456674.716		0		0

				457314.01		601468.481		645		1260.663								645		457314.01				456674.716		645		601468.481		0				0		456674.716		0		0

				457315.002		601468.611		646		1260.733								646		457315.002				456674.716		646		601468.611		0				0		456674.716		0		0

				457315.993		601468.74		647		1260.802								647		457315.993				456674.716		647		601468.74		0				0		456674.716		0		0

				457316.984		601468.87		648		1260.872								648		457316.984				456674.716		648		601468.87		0				0		456674.716		0		0

				457317.975		601469		649		1260.941								649		457317.975				456674.716		649		601469		0				0		456674.716		0		0

				457318.966		601469.13		650		1261.008								650		457318.966				456674.716		650		601469.13		0				0		456674.716		0		0

				457319.957		601469.26		651		1261.072								651		457319.957				456674.716		651		601469.26		0				0		456674.716		0		0

				457320.948		601469.39		652		1261.134								652		457320.948				456674.716		652		601469.39		0				0		456674.716		0		0

				457321.94		601469.52		653		1261.196								653		457321.94				456674.716		653		601469.52		0				0		456674.716		0		0

				457322.931		601469.649		654		1261.258								654		457322.931				456674.716		654		601469.649		0				0		456674.716		0		0

				457323.922		601469.779		655		1261.321								655		457323.922				456674.716		655		601469.779		0				0		456674.716		0		0

				457324.913		601469.909		656		1261.383								656		457324.913				456674.716		656		601469.909		0				0		456674.716		0		0

				457325.904		601470.039		657		1261.446								657		457325.904				456674.716		657		601470.039		0				0		456674.716		0		0

				457326.895		601470.169		658		1261.508								658		457326.895				456674.716		658		601470.169		0				0		456674.716		0		0

				457327.887		601470.299		659		1261.571								659		457327.887				456674.716		659		601470.299		0				0		456674.716		0		0

				457328.878		601470.428		660		1261.635								660		457328.878				456674.716		660		601470.428		0				0		456674.716		0		0

				457329.869		601470.558		661		1261.698								661		457329.869				456674.716		661		601470.558		0				0		456674.716		0		0

				457330.86		601470.688		662		1261.762								662		457330.86				456674.716		662		601470.688		0				0		456674.716		0		0

				457331.851		601470.818		663		1261.825								663		457331.851				456674.716		663		601470.818		0				0		456674.716		0		0

				457332.842		601470.948		664		1261.889								664		457332.842				456674.716		664		601470.948		0				0		456674.716		0		0

				457333.833		601471.078		665		1261.953								665		457333.833				456674.716		665		601471.078		0				0		456674.716		0		0

				457334.825		601471.207		666		1262.016								666		457334.825				456674.716		666		601471.207		0				0		456674.716		0		0

				457335.816		601471.337		667		1262.079								667		457335.816				456674.716		667		601471.337		0				0		456674.716		0		0

				457336.807		601471.467		668		1262.143								668		457336.807				456674.716		668		601471.467		0				0		456674.716		0		0

				457337.798		601471.597		669		1262.206								669		457337.798				456674.716		669		601471.597		0				0		456674.716		0		0

				457338.789		601471.727		670		1262.269								670		457338.789						670		601471.727		0				0		0		0		0

				457339.78		601471.857		671		1262.332								671		457339.78						671		601471.857		0				0		0		0		0

				457340.772		601471.987		672		1262.395								672		457340.772						672		601471.987		0				0		0		0		0

				457341.763		601472.116		673		1262.458								673		457341.763						673		601472.116		0				0		0		0		0

				457342.754		601472.246		674		1262.522								674		457342.754						674		601472.246		0				0		0		0		0

				457343.745		601472.376		675		1262.585								675		457343.745						675		601472.376		0				0		0		0		0

				457344.736		601472.506		676		1262.648								676		457344.736						676		601472.506		0				0		0		0		0

				457345.727		601472.636		677		1262.711								677		457345.727						677		601472.636		0				0		0		0		0

				457346.718		601472.766		678		1262.774								678		457346.718						678		601472.766		0				0		0		0		0

				457347.71		601472.895		679		1262.837								679		457347.71						679		601472.895		0				0		0		0		0

				457348.701		601473.025		680		1262.901								680		457348.701						680		601473.025		0				0		0		0		0

				457349.692		601473.155		681		1262.964								681		457349.692						681		601473.155		0				0		0		0		0

				457350.683		601473.285		682		1263.027								682		457350.683						682		601473.285		0				0		0		0		0

				457351.674		601473.415		683		1263.089								683		457351.674						683		601473.415		0				0		0		0		0

				457352.665		601473.545		684		1263.152								684		457352.665						684		601473.545		0				0		0		0		0

				457353.657		601473.674		685		1263.215								685		457353.657						685		601473.674		0				0		0		0		0

				457354.648		601473.804		686		1263.277								686		457354.648						686		601473.804		0				0		0		0		0

				457355.639		601473.934		687		1263.34								687		457355.639						687		601473.934		0				0		0		0		0

				457356.63		601474.064		688		1263.402								688		457356.63						688		601474.064		0				0		0		0		0

				457357.621		601474.194		689		1263.465								689		457357.621						689		601474.194		0				0		0		0		0

				457358.612		601474.324		690		1263.527								690		457358.612						690		601474.324		0				0		0		0		0

				457359.603		601474.453		691		1263.59								691		457359.603						691		601474.453		0				0		0		0		0

				457360.595		601474.583		692		1263.652								692		457360.595						692		601474.583		0				0		0		0		0

				457361.586		601474.713		693		1263.714								693		457361.586						693		601474.713		0				0		0		0		0

				457362.577		601474.843		694		1263.776								694		457362.577						694		601474.843		0				0		0		0		0

				457363.568		601474.973		695		1263.838								695		457363.568						695		601474.973		0				0		0		0		0

				457364.559		601475.103		696		1263.9								696		457364.559						696		601475.103		0				0		0		0		0

				457365.55		601475.233		697		1263.962								697		457365.55						697		601475.233		0				0		0		0		0

				457366.542		601475.362		698		1264.023								698		457366.542						698		601475.362		0				0		0		0		0

				457367.533		601475.492		699		1264.084								699		457367.533						699		601475.492		0				0		0		0		0

				457368.524		601475.622		700		1264.145								700		457368.524						700		601475.622		0				0		0		0		0

				457369.515		601475.752		701		1264.205								701		457369.515						701		601475.752		0				0		0		0		0

				457370.506		601475.882		702		1264.266								702		457370.506						702		601475.882		0				0		0		0		0

				457371.497		601476.012		703		1264.326								703		457371.497						703		601476.012		0				0		0		0		0

				457372.489		601476.141		704		1264.386								704		457372.489						704		601476.141		0				0		0		0		0

				457373.48		601476.271		705		1264.446								705		457373.48						705		601476.271		0				0		0		0		0

				457374.471		601476.401		706		1264.505								706		457374.471						706		601476.401		0				0		0		0		0

				457375.462		601476.531		707		1264.565								707		457375.462						707		601476.531		0				0		0		0		0

				457376.453		601476.661		708		1264.625								708		457376.453						708		601476.661		0				0		0		0		0

				457377.444		601476.791		709		1264.684								709		457377.444						709		601476.791		0				0		0		0		0

				457378.435		601476.92		710		1264.744								710		457378.435						710		601476.92		0				0		0		0		0

				457379.427		601477.05		711		1264.803								711		457379.427						711		601477.05		0				0		0		0		0

				457380.418		601477.18		712		1264.863								712		457380.418						712		601477.18		0				0		0		0		0

				457381.409		601477.31		713		1264.922								713		457381.409						713		601477.31		0				0		0		0		0

				457382.4		601477.44		714		1264.982								714		457382.4						714		601477.44		0				0		0		0		0

				457383.391		601477.57		715		1265.042								715		457383.391						715		601477.57		0				0		0		0		0

				457384.382		601477.7		716		1265.101								716		457384.382						716		601477.7		0				0		0		0		0

				457385.374		601477.829		717		1265.161								717		457385.374						717		601477.829		0				0		0		0		0

				457386.365		601477.959		718		1265.221								718		457386.365						718		601477.959		0				0		0		0		0

				457387.356		601478.089		719		1265.28								719		457387.356						719		601478.089		0				0		0		0		0

				457388.347		601478.219		720		1265.34								720		457388.347						720		601478.219		0				0		0		0		0

				457389.338		601478.349		721		1265.399								721		457389.338						721		601478.349		0				0		0		0		0

				457390.329		601478.479		722		1265.458								722		457390.329						722		601478.479		0				0		0		0		0

				457391.32		601478.608		723		1265.517								723		457391.32						723		601478.608		0				0		0		0		0

				457392.312		601478.738		724		1265.576								724		457392.312						724		601478.738		0				0		0		0		0

				457393.303		601478.868		725		1265.634								725		457393.303						725		601478.868		0				0		0		0		0

				457394.294		601478.998		726		1265.692								726		457394.294						726		601478.998		0				0		0		0		0

				457395.285		601479.128		727		1265.751								727		457395.285						727		601479.128		0				0		0		0		0

				457396.276		601479.258		728		1265.809								728		457396.276						728		601479.258		0				0		0		0		0

				457397.267		601479.387		729		1265.867								729		457397.267						729		601479.387		0				0		0		0		0

				457398.259		601479.517		730		1265.925								730		457398.259						730		601479.517		0				0		0		0		0

				457399.25		601479.647		731		1265.983								731		457399.25						731		601479.647		0				0		0		0		0

				457400.241		601479.777		732		1266.042								732		457400.241						732		601479.777		0				0		0		0		0

				457401.232		601479.907		733		1266.103								733		457401.232						733		601479.907		0				0		0		0		0

				457402.223		601480.037		734		1266.163								734		457402.223						734		601480.037		0				0		0		0		0

				457403.214		601480.167		735		1266.223								735		457403.214						735		601480.167		0				0		0		0		0

				457404.205		601480.296		736		1266.283								736		457404.205						736		601480.296		0				0		0		0		0

				457405.197		601480.426		737		1266.343								737		457405.197						737		601480.426		0				0		0		0		0

				457406.188		601480.556		738		1266.404								738		457406.188						738		601480.556		0				0		0		0		0

				457407.179		601480.686		739		1266.464								739		457407.179						739		601480.686		0				0		0		0		0

				457408.17		601480.816		740		1266.524								740		457408.17						740		601480.816		0				0		0		0		0

				457409.161		601480.946		741		1266.583								741		457409.161						741		601480.946		0				0		0		0		0

				457410.152		601481.075		742		1266.643								742		457410.152						742		601481.075		0				0		0		0		0

				457411.144		601481.205		743		1266.702								743		457411.144						743		601481.205		0				0		0		0		0

				457412.135		601481.335		744		1266.762								744		457412.135						744		601481.335		0				0		0		0		0

				457413.126		601481.465		745		1266.821								745		457413.126						745		601481.465		0				0		0		0		0

				457414.117		601481.595		746		1266.88								746		457414.117						746		601481.595		0				0		0		0		0

				457415.108		601481.725		747		1266.938								747		457415.108						747		601481.725		0				0		0		0		0

				457416.099		601481.854		748		1266.997								748		457416.099						748		601481.854		0				0		0		0		0

				457417.09		601481.984		749		1267.06								749		457417.09						749		601481.984		0				0		0		0		0

				457418.082		601482.114		750		1267.122								750		457418.082						750		601482.114		0				0		0		0		0

				457419.073		601482.244		751		1267.185								751		457419.073						751		601482.244		0				0		0		0		0

				457420.064		601482.374		752		1267.247								752		457420.064						752		601482.374		0				0		0		0		0

				457421.055		601482.504		753		1267.31								753		457421.055						753		601482.504		0				0		0		0		0

				457422.046		601482.634		754		1267.372								754		457422.046						754		601482.634		0				0		0		0		0

				457423.037		601482.763		755		1267.434								755		457423.037						755		601482.763		0				0		0		0		0

				457424.029		601482.893		756		1267.497								756		457424.029						756		601482.893		0				0		0		0		0

				457425.02		601483.023		757		1267.559								757		457425.02						757		601483.023		0				0		0		0		0

				457426.011		601483.153		758		1267.621								758		457426.011						758		601483.153		0				0		0		0		0

				457427.002		601483.283		759		1267.683								759		457427.002						759		601483.283		0				0		0		0		0

				457427.993		601483.413		760		1267.746								760		457427.993						760		601483.413		0				0		0		0		0

				457428.984		601483.542		761		1267.809								761		457428.984						761		601483.542		0				0		0		0		0

				457429.975		601483.672		762		1267.872								762		457429.975						762		601483.672		0				0		0		0		0

				457430.967		601483.802		763		1267.936								763		457430.967						763		601483.802		0				0		0		0		0

				457431.958		601483.932		764		1268								764		457431.958						764		601483.932		0				0		0		0		0

				457432.949		601484.062		765		1268.068								765		457432.949						765		601484.062		0				0		0		0		0

				457433.94		601484.192		766		1268.136								766		457433.94						766		601484.192		0				0		0		0		0

				457434.931		601484.321		767		1268.205								767		457434.931						767		601484.321		0				0		0		0		0

				457435.922		601484.451		768		1268.274								768		457435.922						768		601484.451		0				0		0		0		0

				457436.914		601484.581		769		1268.343								769		457436.914						769		601484.581		0				0		0		0		0

				457437.905		601484.711		770		1268.411								770		457437.905						770		601484.711		0				0		0		0		0

				457438.896		601484.841		771		1268.48								771		457438.896						771		601484.841		0				0		0		0		0

				457439.887		601484.971		772		1268.548								772		457439.887						772		601484.971		0				0		0		0		0

				457440.878		601485.101		773		1268.617								773		457440.878						773		601485.101		0				0		0		0		0

				457441.869		601485.23		774		1268.686								774		457441.869						774		601485.23		0				0		0		0		0

				457442.86		601485.36		775		1268.754								775		457442.86						775		601485.36		0				0		0		0		0

				457443.852		601485.49		776		1268.823								776		457443.852						776		601485.49		0				0		0		0		0

				457444.843		601485.62		777		1268.892								777		457444.843						777		601485.62		0				0		0		0		0

				457445.834		601485.75		778		1268.962								778		457445.834						778		601485.75		0				0		0		0		0

				457446.825		601485.88		779		1269.033								779		457446.825						779		601485.88		0				0		0		0		0

				457447.816		601486.009		780		1269.108								780		457447.816						780		601486.009		0				0		0		0		0

				457448.807		601486.139		781		1269.182								781		457448.807						781		601486.139		0				0		0		0		0

				457449.799		601486.269		782		1269.257								782		457449.799						782		601486.269		0				0		0		0		0

				457450.79		601486.399		783		1269.331								783		457450.79						783		601486.399		0				0		0		0		0

				457451.781		601486.529		784		1269.405								784		457451.781						784		601486.529		0				0		0		0		0

				457452.772		601486.659		785		1269.477								785		457452.772						785		601486.659		0				0		0		0		0

				457453.763		601486.788		786		1269.549								786		457453.763						786		601486.788		0				0		0		0		0

				457454.754		601486.918		787		1269.619								787		457454.754						787		601486.918		0				0		0		0		0

				457455.745		601487.048		788		1269.686								788		457455.745						788		601487.048		0				0		0		0		0

				457456.737		601487.178		789		1269.751								789		457456.737						789		601487.178		0				0		0		0		0

				457457.728		601487.308		790		1269.814								790		457457.728						790		601487.308		0				0		0		0		0

				457458.719		601487.438		791		1269.874								791		457458.719						791		601487.438		0				0		0		0		0

				457459.71		601487.568		792		1269.932								792		457459.71						792		601487.568		0				0		0		0		0

				457460.701		601487.697		793		1269.993								793		457460.701						793		601487.697		0				0		0		0		0

				457461.692		601487.827		794		1270.058								794		457461.692						794		601487.827		0				0		0		0		0

				457462.684		601487.957		795		1270.135								795		457462.684						795		601487.957		0				0		0		0		0

				457463.675		601488.087		796		1270.216								796		457463.675						796		601488.087		0				0		0		0		0

				457464.666		601488.217		797		1270.301								797		457464.666						797		601488.217		0				0		0		0		0

				457465.657		601488.347		798		1270.39								798		457465.657						798		601488.347		0				0		0		0		0

				457466.648		601488.476		799		1270.484								799		457466.648						799		601488.476		0				0		0		0		0

				457467.639		601488.606		800		1270.58								800		457467.639						800		601488.606		0				0		0		0		0

				457468.63		601488.736		801		1270.68								801		457468.63						801		601488.736		0				0		0		0		0

				457469.622		601488.866		802		1270.78								802		457469.622						802		601488.866		0				0		0		0		0

				457470.613		601488.996		803		1270.883								803		457470.613						803		601488.996		0				0		0		0		0

				457471.604		601489.126		804		1270.991								804		457471.604						804		601489.126		0				0		0		0		0

				457472.595		601489.255		805		1271.102								805		457472.595						805		601489.255		0				0		0		0		0

				457473.586		601489.385		806		1271.218								806		457473.586						806		601489.385		0				0		0		0		0

				457474.577		601489.515		807		1271.328								807		457474.577						807		601489.515		0				0		0		0		0

				457475.569		601489.645		808		1271.44								808		457475.569						808		601489.645		0				0		0		0		0

				457476.56		601489.775		809		1271.549								809		457476.56						809		601489.775		0				0		0		0		0

				457477.551		601489.905		810		1271.655								810		457477.551						810		601489.905		0				0		0		0		0

				457478.542		601490.034		811		1271.749								811		457478.542						811		601490.034		0				0		0		0		0

				457479.533		601490.164		812		1271.849								812		457479.533						812		601490.164		0				0		0		0		0

				457480.524		601490.294		813		1271.947								813		457480.524						813		601490.294		0				0		0		0		0

				457481.117		601490.372		813.6		1271.992								813.6		457481.117						813.6		601490.372		0				0		0		0		0





Flood Routing1000yrs

																														At t=0 specify Storage, Inflow = Outflow

		Reservoir Routing with uncontrolled spillway														Surface area = 100 ha (1ha = 10,000 sq m)

		1.7		Weir coeff Cd														1,000,000		surface area in sq m												In col 4 Calc 2*S(t) - Outflow(t)

		10		Weir length m												Area increases .1ha for each meter increase in elevation																In col 5 calc SIF = 2*S(t)/dt + Outflow(t)

																Crest is at		1,270

		Flood Pool Storage		Elevation		Area		Storage		Storage Indication Factor		Outflow				1		2		3		4		5		6		7		At t=n		Calc SIF =  Inflow(t) + Inflow(t-1) +Col 4(t-1)

		(m^3)		(m)		(ha)		(m^3)		(cms)		(cms)				time		storage		inflow (M3/s)		2*S(t)/dt - O(t)		SIF		O(t)		Elevation				Look up O(t) on Storage Indication Curve and enter into Col 6

		0		1270		103.012						0.000				(hr)		m^3		(cms)		(cms)		(cms)		(cms)		(m)				Calc Col 4(t) as SIF(t) - 2*O(t)

		0		1270		103.012		0.00		0		0.000				0.0		0		0.0		0.00		0.00		0.000		1270.000				Calc Storage(t) using columns 4,6

		103,012		1270.1		103.01169		28.61		57.76638998		0.538				0.3		541		0.3		0.30		0.30		0.000		1270.000				Calc Elevation using Storage-Elevation relationship

		206,934		1270.2		103.922308		57.48		116.484030669		1.521				0.5		2,164		0.6		1.20		1.20		0.000		1270.000						(in this case, S=0 at 1070; Elev = 1070 + Storage/Area

		311,629		1270.3		104.740728		86.56		175.9206583764		2.793				0.8		12,923		5.4		7.18		7.18		0.000		1270.000		Continue to end of time series

		417,147		1270.4		105.561328		115.87		236.0488398398		4.301				1.1		56,469		18.8		31.37		31.37		0.000		1270.000

		523,498		1270.5		106.387328		145.42		296.8428076398		6.010				1.1		125,571		20.1		69.22		70.30		0.538		1270.100

		630,693		1270.6		107.218998		175.19		358.2858826926		7.901				1.4		230,945		40.5		126.78		129.82		1.521		1270.200				For varying Weir Lengths:

		738,735		1270.7		108.055072		205.20		420.3644498709		9.956				1.4		373,011		42.8		204.44		210.02		2.793		1270.300

		847,652		1270.8		108.901072		235.46		483.0821475749		12.164				1.7		558,018		68.8		304.00		316.02		6.010		1270.500				Weir length:		Max Elevation				Max d.s. Q

		957,442		1270.9		109.752832		265.96		546.4269344597		14.515				1.9		811,146		87.8		440.68		460.59		9.956		1270.700				6		1270.8635				8.185

		1,068,134		1271		110.614832		296.70		610.4078666661		17.000				2.2		1,087,699		92.8		587.28		621.28		17.000		1271.000				7		1270.8135				8.7313

		1,181,578		1271.1		111.8202859479		328.22		676.044710301		19.613				2.5		1,332,635		82.6		718.01		762.70		22.347		1271.200				8		1270.8135				9.978729

		1,295,377		1271.2		112.8840859479		359.83		742.0007001719		22.347				3.0		1,492,158		53.6		803.78		854.17		25.198		1271.300				8.5		1270.8135				10.6024

		1,409,006		1271.3		113.7581859479		391.39		807.979103928		25.198				3.2		1,561,058		38.1		839.09		895.41		28.161		1271.400				10		1270.7635				11.34129		64.22		5.6624951835

		1,523,685		1271.4		114.6572859479		423.25		874.6522073419		28.161				3.5		1,568,717		22.5		843.35		899.67		28.161		1271.400				15		1270.7135				1536849

		1,639,471		1271.5		115.5840859479		455.41		942.0480190025		31.231				3.8		1,525,293		9.7		819.22		875.55		28.161		1271.400				20		1270.7135				18.37555

		1,756,390		1271.6		116.5367859479		487.89		1010.1779629324		34.406				4.1		1,450,279		2.0		780.51		830.91		25.198		1271.300				50		1270.5135				31.277

		1,874,492		1271.7		117.5164859479		520.69		1079.0655068773		37.681				4.3		1,368,318		0.0		737.83		782.52		22.347		1271.200

		1,993,834		1271.8		118.5250859479		553.84		1148.7396378053		41.054				5		1,292,790		0		698.60		737.83		19.613		1271.100

		2,114,430		1271.9		119.5595859479		587.34		1219.2058477487		44.522				6		1,222,184		0		659.38		698.60		19.613		1271.100						0.1

		2,242,120		1272		121.2		622.81		1293.7054833416		48.083				7		1,156,281		0		625.38		659.38		17.000		1271.000

		2,363,781		1272.1		122.11		656.61		1364.9458816492		51.734				8		1,095,081		0		591.38		625.38		17.000		1271.000

		2,486,352		1272.2		123.02		690.65		1436.7798313487		55.473				9		1,038,354		0		562.35		591.38		14.515		1270.900

		2,609,833		1272.3		123.93		724.95		1509.2053081932		59.298				10		986,101		0		533.32		562.35		14.515		1270.900

		2,734,224		1272.4		124.84		759.51		1582.2204215418		63.207				11		938,079		0		508.99		533.32		12.164		1270.800

		2,859,525		1272.5		125.75		794.31		1655.8234002769		67.198				12		894,287		0		484.66		508.99		12.164		1270.800

		2,985,736		1272.6		126.66		829.37		1730.0125807154		71.270				13		850,496		0		460.33		484.66		12.164		1270.800

		3,112,857		1272.7		127.57		864.68		1804.7863961666		75.421				14		810,679		0		440.42		460.33		9.956		1270.700

		3,240,888		1272.8		128.48		900.25		1880.1433678574		79.650				15		774,837		0		420.51		440.42		9.956		1270.700

		3,369,829		1272.9		129.39		936.06		1956.0820970042		83.955				16		738,994		0		400.60		420.51		9.956		1270.700

		3,499,680		1273		130.3		972.13		2032.6012578506		88.335				17		706,852		0		384.79		400.60		7.901		1270.600

		3,630,441		1273.1		131.21		1008.46		2109.6995915254		92.788				18		678,408		0		368.99		384.79		7.901		1270.600

		3,762,112		1273.2		132.12		1045.03		2187.3759006007		97.314				19		649,965		0		353.19		368.99		7.901		1270.600

		3,894,693		1273.3		133.03		1081.86		2265.6290442499		101.911				20		624,925		0		341.17		353.19		6.010		1270.500

		4,028,184		1273.4		133.94		1118.94		2344.4579339239		106.578				21		603,287		0		329.15		341.17		6.010		1270.500

		4,162,585		1273.5		134.85		1156.27		2423.8615294762		111.314				22		581,650		0		317.13		329.15		6.010		1270.500

		4,297,896		1273.6		135.76		1193.86		2503.8388356788		116.119				23		560,012		0		305.11		317.13		6.010		1270.500

		4,434,117		1273.7		136.67		1231.70		2584.3888990785		120.991				24		538,375		0		293.09		305.11		6.010		1270.500

		4,571,248		1273.8		137.58		1269.79		2665.5108051543		125.929				25		519,815		0		284.49		293.09		4.301		1270.400

		4,709,289		1273.9		138.49		1308.14		2747.2036757372		130.932				26		504,333		0		275.88		284.49		4.301		1270.400

		4,848,240		1274		139.4		1346.73		2829.4666666637		136.000				27		488,850		0		267.28		275.88		4.301		1270.400

		4,988,101		1274.1		140.31		1385.58		2912.2989656364		141.132				28		473,367		0		258.68		267.28		4.301		1270.400

		5,128,872		1274.2		141.22		1424.69		2995.699790268		146.326				29		457,885		0		250.08		258.68		4.301		1270.400

		5,270,553		1274.3		142.13		1464.04		3079.6683862895		151.583				30		442,402		0		241.48		250.08		4.301		1270.400

		5,413,144		1274.4		143.04		1503.65		3164.2040259051		156.902				31		426,920		0		232.88		241.48		4.301		1270.400

		5,556,645		1274.5		143.95		1543.51		3249.3060062788		162.281				32		414,151		0		227.29		232.88		2.793		1270.300

		5,701,056		1274.6		144.86		1583.63		3334.9736481398		167.720				33		404,094		0		221.70		227.29		2.793		1270.300

		5,846,377		1274.7		145.77		1623.99		3421.2062944941		173.219

		5,992,608		1274.8		146.68		1664.61		3508.0033094325		178.777

		6,139,749		1274.9		147.59		1705.49		3595.3640770272		184.392

		6,287,800		1275		148.5		1746.61		3683.2880003057		190.066

		6,436,761		1275.1		149.41		1787.99		3771.7745002988		195.796

		6,586,632		1275.2		150.32		1829.62		3860.8230151533		201.583

		6,737,413		1275.3		151.23		1871.50		3950.4329993045		207.426												Maximum:		28.1605397675		1271.4

		6,889,104		1275.4		152.14		1913.64		4040.6039227047		213.324												Water Depth Above Pool level=spillway crest=								1.40

		7,041,705		1275.5		153.05		1956.03		4131.3352701005		219.277

		7,195,216		1275.6		153.96		1998.67		4222.626540358		225.284

		7,349,637		1275.7		154.87		2041.57		4314.4772458286		231.346

		7,504,968		1275.8		155.78		2084.71		4406.8869117556		237.460

		7,661,209		1275.9		156.69		2128.11		4499.8550757151		243.628

		7,818,360		1276		157.6		2171.77		4593.3812870921		249.848

		7,976,421		1276.1		158.5099999999		2215.67		4687.4651065854		256.120

		8,135,392		1276.2		159.4199999999		2259.83		4782.1061057425		262.444

		8,295,273		1276.3		160.3299999999		2304.24		4877.3038665199		268.819

		8,456,064		1276.4		161.2399999999		2348.91		4973.0579808688		275.245

		8,617,765		1276.5		162.1499999999		2393.82		5069.3680503425		281.721

		8,780,376		1276.6		163.0599999999		2438.99		5166.2336857261		288.247

		8,943,897		1276.7		163.9699999999		2484.42		5263.654506685		294.823

		9,108,328		1276.8		164.8799999999		2530.09		5361.6301414327		301.448

		9,273,669		1276.9		165.7899999999		2576.02		5460.1602264149		308.122

		9,439,920		1277		166.6999999999		2622.20		5559.2444060104		314.844

		9,607,081		1277.1		167.6099999999		2668.63		5658.8823322464		321.615

		9,775,152		1277.2		168.5199999999		2715.32		5759.0736645286		328.434

		9,944,133		1277.3		169.4299999999		2762.26		5859.8180693838		335.300

		10,114,024		1277.4		170.3399999999		2809.45		5961.1152202152		342.213

		10,284,825		1277.5		171.2499999999		2856.90		6062.9647970692		349.173

		10,456,536		1277.6		172.1599999999		2904.59		6165.3664864136		356.180

		10,629,157		1277.7		173.0699999999		2952.54		6268.3199809249		363.233

		10,802,688		1277.8		173.9799999999		3000.75		6371.8249792867		370.332

		10,977,129		1277.9		174.8899999999		3049.20		6475.8811859963		377.476

		11,152,480		1278		175.7999999999		3097.91		6580.4883111801		384.666

		11,328,741		1278.1		176.7099999999		3146.87		6685.6460704169		391.901

		11,505,912		1278.2		177.6199999999		3196.09		6791.3541845696		399.181

		11,683,993		1278.3		178.5299999999		3245.55		6897.612379623		406.505

		11,862,984		1278.4		179.4399999999		3295.27		7004.4203865297		413.874

		12,042,885		1278.5		180.3499999999		3345.25		7111.7779410609		421.286

		12,223,696		1278.6		181.2599999999		3395.47		7219.6847836653		428.743

		12,405,417		1278.7		182.1699999999		3445.95		7328.1406593317		436.242

		12,588,048		1278.8		183.0799999999		3496.68		7437.1453174591		443.785

		12,771,589		1278.9		183.9899999999		3547.66		7546.6985117301		451.371

		12,956,040		1279		184.8999999999		3598.90		7656.799999991		459.000

		13,141,401		1279.1		185.8099999999		3650.39		7767.4495441354		466.671

		13,327,672		1279.2		186.7199999999		3702.13		7878.6469099928		474.385

		13,514,853		1279.3		187.6299999999		3754.13		7990.3918672213		482.140

		13,702,944		1279.4		188.5399999999		3806.37		8102.6841892046		489.938

		13,891,945		1279.5		189.4499999999		3858.87		8215.5236529522		497.776

		14,081,856		1279.6		190.3599999999		3911.63		8328.9100390042		505.657

		14,272,677		1279.7		191.2699999999		3964.63		8442.843131339		513.578

		14,464,408		1279.8		192.1799999999		4017.89		8557.3227172841		521.540

		14,657,049		1279.9		193.0899999999		4071.40		8672.3485874307		529.544

		14,850,600		1280		193.9999999999		4125.17		8787.9205355514		537.587

		15,045,061		1280.1		194.9099999999		4179.18		8904.0383585198		545.671

		15,240,432		1280.2		195.8199999999		4233.45		9020.7018562341		553.795

		15,436,713		1280.3		196.7299999999		4287.98		9137.9108315422		561.959

		15,633,904		1280.4		197.6399999999		4342.75		9255.6650901707		570.163

		15,832,005		1280.5		198.5499999999		4397.78		9373.9644406549		578.406

		16,031,016		1280.6		199.4599999999		4453.06		9492.8086942719		586.689

		16,230,937		1280.7		200.3699999999		4508.59		9612.1976649761		595.010

		16,431,768		1280.8		201.2799999999		4564.38		9732.1311693359		603.371

		16,633,509		1280.9		202.1899999999		4620.42		9852.6090264736		611.771

		16,836,160		1281		203.0999999999		4676.71		9973.6310580065		620.209

		17,039,721		1281.1		204.0099999999		4733.26		10095.19708799		628.685

		17,244,192		1281.2		204.9199999999		4790.05		10217.3069428626		637.200

		17,449,573		1281.3		205.8299999999		4847.10		10339.9604513924		645.753

		17,655,864		1281.4		206.7399999999		4904.41		10463.1574446259		654.344

		17,863,065		1281.5		207.6499999999		4961.96		10586.8977558375		662.973

		18,071,176		1281.6		208.5599999999		5019.77		10711.1812204812		671.639

		18,280,197		1281.7		209.4699999999		5077.83		10836.0076761433		680.343

		18,490,128		1281.8		210.3799999999		5136.15		10961.376962497		689.084

		18,700,969		1281.9		211.2899999999		5194.71		11087.2889212579		697.862

		18,912,720		1282		212.1999999999		5253.53		11213.7433961409		706.677





Flood Routing1000yrs

		



inflow (M3/s)

Time hr

Inflow



Flood Routing500yrs

																														At t=0 specify Storage, Inflow = Outflow

		Reservoir Routing with uncontrolled spillway														Surface area = 100 ha (1ha = 10,000 sq m)

		1.7		Weir coeff Cd														1,000,000		surface area in sq m												In col 4 Calc 2*S(t) - Outflow(t)

		10		Weir length m												Area increases .1ha for each meter increase in elevation																In col 5 calc SIF = 2*S(t)/dt + Outflow(t)

																Crest is at		1,270

		Flood Pool Storage		Elevation		Area		Storage		Storage Indication Factor		Outflow				1		2		3		4		5		6		7		At t=n		Calc SIF =  Inflow(t) + Inflow(t-1) +Col 4(t-1)

		(m^3)		(m)		(ha)		(m^3)		(cms)		(cms)				time		storage		inflow(t)		2*S(t)/dt - O(t)		SIF		O(t)		Elevation				Look up O(t) on Storage Indication Curve and enter into Col 6

		0		1270		103.012						0.000				(hr)		m^3		(cms)		(cms)		(cms)		(cms)		(m)				Calc Col 4(t) as SIF(t) - 2*O(t)

		0		1270		103.012		0.00		0		0.000				0.0		0		0.0		0.00		0.00		0.000		1270.000				Calc Storage(t) using columns 4,6

		103,012		1270.1		103.01169		28.61		57.76638998		0.538				0.3		639		0.4		0.35		0.35		0.000		1270.000				Calc Elevation using Storage-Elevation relationship

		206,934		1270.2		103.922308		57.48		116.484030669		1.521				0.5		2,554		0.7		1.42		1.42		0.000		1270.000						(in this case, S=0 at 1070; Elev = 1070 + Storage/Area

		311,629		1270.3		104.740728		86.56		175.9206583764		2.793				0.8		12,751		5.0		7.08		7.08		0.000		1270.000		Continue to end of time series

		417,147		1270.4		105.561328		115.87		236.0488398398		4.301				1.1		52,278		17.0		29.04		29.04		0.000		1270.000

		523,498		1270.5		106.387328		145.42		296.8428076398		6.010				1.1		114,592		18.2		63.12		64.20		0.538		1270.100

		630,693		1270.6		107.218998		175.19		358.2858826926		7.901				1.4		209,163		36.4		114.68		117.72		1.521		1270.200				For varying Weir Lengths:

		738,735		1270.7		108.055072		205.20		420.3644498709		9.956				1.4		336,257		38.5		184.02		189.60		2.793		1270.300

		847,652		1270.8		108.901072		235.46		483.0821475749		12.164				1.7		504,275		62.0		275.85		284.45		4.301		1270.400				Weir length:		Max Elevation				Max d.s. Q

		957,442		1270.9		109.752832		265.96		546.4269344597		14.515				1.9		736,444		79.2		401.23		417.04		7.901		1270.600				6		1270.8635				8.185

		1,068,134		1271		110.614832		296.70		610.4078666661		17.000				2.2		989,917		84.0		535.44		564.47		14.515		1270.900				7		1270.8135				8.7313

		1,181,578		1271.1		111.8202859479		328.22		676.044710301		19.613				2.5		1,214,353		74.8		655.03		694.25		19.613		1271.100				8		1270.8135				9.978729

		1,295,377		1271.2		112.8840859479		359.83		742.0007001719		22.347				3.0		1,360,861		48.6		733.69		778.38		22.347		1271.200				8.5		1270.8135				10.6024

		1,409,006		1271.3		113.7581859479		391.39		807.979103928		25.198				3.2		1,424,846		34.5		766.38		816.78		25.198		1271.300				10		1270.7635				11.34129		64.22		5.6624951835

		1,523,685		1271.4		114.6572859479		423.25		874.6522073419		28.161				3.5		1,433,265		20.5		771.06		821.46		25.198		1271.300				15		1270.7135				1536849

		1,639,471		1271.5		115.5840859479		455.41		942.0480190025		31.231				3.8		1,400,577		8.9		755.75		800.45		22.347		1271.200				20		1270.7135				18.37555

		1,756,390		1271.6		116.5367859479		487.89		1010.1779629324		34.406				4.1		1,339,385		1.8		721.76		766.45		22.347		1271.200				50		1270.5135				31.277

		1,874,492		1271.7		117.5164859479		520.69		1079.0655068773		37.681				4.3		1,267,180		0.0		684.38		723.60		19.613		1271.100

		1,993,834		1271.8		118.5250859479		553.84		1148.7396378053		41.054				5		1,196,574		0		645.15		684.38		19.613		1271.100

		2,114,430		1271.9		119.5595859479		587.34		1219.2058477487		44.522				6		1,130,671		0		611.15		645.15		17.000		1271.000						0.1

		2,236,352		1272		120.6231859479		621.21		1290.50096083		48.083				7		1,069,471		0		577.15		611.15		17.000		1271.000

		2,363,907		1272.1		122.122		656.64		1365.0158816492		51.734				8		1,012,744		0		548.12		577.15		14.515		1270.900

		2,486,484		1272.2		123.032		690.69		1436.853164682		55.473				9		960,491		0		519.09		548.12		14.515		1270.900

		2,609,971		1272.3		123.942		724.99		1509.2819748598		59.298				10		912,469		0		494.76		519.09		12.164		1270.800

		2,734,368		1272.4		124.852		759.55		1582.3004215418		63.207				11		868,677		0		470.43		494.76		12.164		1270.800

		2,859,675		1272.5		125.762		794.35		1655.9067336102		67.198				12		828,861		0		450.52		470.43		9.956		1270.700

		2,985,892		1272.6		126.672		829.41		1730.0992473821		71.270				13		793,018		0		430.61		450.52		9.956		1270.700

		3,113,019		1272.7		127.582		864.73		1804.8763961666		75.421				14		757,176		0		410.70		430.61		9.956		1270.700

		3,241,056		1272.8		128.492		900.29		1880.2367011908		79.650				15		725,033		0		394.90		410.70		7.901		1270.600

		3,370,003		1272.9		129.402		936.11		1956.1787636709		83.955				16		696,590		0		379.09		394.90		7.901		1270.600

		3,499,860		1273		130.312		972.18		2032.7012578506		88.335				17		668,146		0		363.29		379.09		7.901		1270.600

		3,630,627		1273.1		131.222		1008.51		2109.8029248588		92.788				18		639,703		0		347.49		363.29		7.901		1270.600

		3,762,304		1273.2		132.132		1045.08		2187.4825672674		97.314				19		614,663		0		335.47		347.49		6.010		1270.500

		3,894,891		1273.3		133.042		1081.91		2265.7390442499		101.911				20		593,025		0		323.45		335.47		6.010		1270.500

		4,028,388		1273.4		133.952		1119.00		2344.5712672572		106.578				21		571,388		0		311.43		323.45		6.010		1270.500

		4,162,795		1273.5		134.862		1156.33		2423.9781961429		111.314				22		549,750		0		299.41		311.43		6.010		1270.500

		4,298,112		1273.6		135.772		1193.92		2503.9588356787		116.119				23		528,113		0		287.39		299.41		6.010		1270.500

		4,434,339		1273.7		136.682		1231.76		2584.5122324119		120.991				24		509,553		0		278.78		287.39		4.301		1270.400

		4,571,476		1273.8		137.592		1269.85		2665.637471821		125.929				25		494,070		0		270.18		278.78		4.301		1270.400

		4,709,523		1273.9		138.502		1308.20		2747.3336757372		130.932				26		478,588		0		261.58		270.18		4.301		1270.400

		4,848,480		1274		139.412		1346.80		2829.599999997		136.000				27		463,105		0		252.98		261.58		4.301		1270.400

		4,988,347		1274.1		140.322		1385.65		2912.4356323031		141.132				28		447,623		0		244.38		252.98		4.301		1270.400

		5,129,124		1274.2		141.232		1424.76		2995.839790268		146.326				29		432,140		0		235.78		244.38		4.301		1270.400

		5,270,811		1274.3		142.142		1464.11		3079.8117196229		151.583				30		419,371		0		230.19		235.78		2.793		1270.400

		5,413,408		1274.4		143.052		1503.72		3164.3506925718		156.902				31		409,315		0		224.60		230.19		2.793		1270.300

		5,556,915		1274.5		143.962		1543.59		3249.4560062788		162.281				32		399,259		0		219.02		224.60		2.793		1270.300

		5,701,332		1274.6		144.872		1583.70		3335.1269814732		167.720				33		389,203		0		213.43		219.02		2.793		1270.300

		5,846,659		1274.7		145.782		1624.07		3421.3629611607		173.219

		5,992,896		1274.8		146.692		1664.69		3508.1633094325		178.777

		6,140,043		1274.9		147.602		1705.57		3595.5274103605		184.392

		6,288,100		1275		148.512		1746.69		3683.4546669724		190.066

		6,437,067		1275.1		149.422		1788.07		3771.9445002989		195.796

		6,586,944		1275.2		150.332		1829.71		3860.9963484866		201.583

		6,737,731		1275.3		151.242		1871.59		3950.6096659712		207.426												Maximum:		25.1978768947		1271.3

		6,889,428		1275.4		152.152		1913.73		4040.7839227047		213.324												Water Depth Above Pool level=spillway crest=								1.30

		7,042,035		1275.5		153.062		1956.12		4131.5186034339		219.277

		7,195,552		1275.6		153.972		1998.76		4222.8132070247		225.284

		7,349,979		1275.7		154.882		2041.66		4314.6672458286		231.346

		7,505,316		1275.8		155.792		2084.81		4407.0802450889		237.460

		7,661,563		1275.9		156.702		2128.21		4500.0517423818		243.628

		7,818,720		1276		157.612		2171.87		4593.5812870921		249.848

		7,976,787		1276.1		158.5219999999		2215.77		4687.6684399187		256.120

		8,135,764		1276.2		159.4319999999		2259.93		4782.3127724091		262.444

		8,295,651		1276.3		160.3419999999		2304.35		4877.5138665199		268.819

		8,456,448		1276.4		161.2519999999		2349.01		4973.2713142021		275.245

		8,618,155		1276.5		162.1619999999		2393.93		5069.5847170092		281.721

		8,780,772		1276.6		163.0719999999		2439.10		5166.4536857261		288.247

		8,944,299		1276.7		163.9819999999		2484.53		5263.8778400184		294.823

		9,108,736		1276.8		164.8919999999		2530.20		5361.8568080994		301.448

		9,274,083		1276.9		165.8019999999		2576.13		5460.3902264149		308.122

		9,440,340		1277		166.7119999999		2622.32		5559.4777393437		314.844

		9,607,507		1277.1		167.6219999999		2668.75		5659.118998913		321.615

		9,775,584		1277.2		168.5319999999		2715.44		5759.3136645286		328.434

		9,944,571		1277.3		169.4419999999		2762.38		5860.0614027171		335.300

		10,114,468		1277.4		170.3519999999		2809.57		5961.3618868818		342.213

		10,285,275		1277.5		171.2619999999		2857.02		6063.2147970692		349.173

		10,456,992		1277.6		172.1719999999		2904.72		6165.6198197469		356.180

		10,629,619		1277.7		173.0819999999		2952.67		6268.5766475915		363.233

		10,803,156		1277.8		173.9919999999		3000.88		6372.0849792867		370.332

		10,977,603		1277.9		174.9019999999		3049.33		6476.1445193297		377.476

		11,152,960		1278		175.8119999999		3098.04		6580.7549778467		384.666

		11,329,227		1278.1		176.7219999999		3147.01		6685.9160704169		391.901

		11,506,404		1278.2		177.6319999999		3196.22		6791.6275179029		399.181

		11,684,491		1278.3		178.5419999999		3245.69		6897.8890462897		406.505

		11,863,488		1278.4		179.4519999999		3295.41		7004.7003865297		413.874

		12,043,395		1278.5		180.3619999999		3345.39		7112.0612743943		421.286

		12,224,212		1278.6		181.2719999999		3395.61		7219.9714503319		428.743

		12,405,939		1278.7		182.1819999999		3446.09		7328.4306593317		436.242

		12,588,576		1278.8		183.0919999999		3496.83		7437.4386507924		443.785

		12,772,123		1278.9		184.0019999999		3547.81		7546.9951783967		451.371

		12,956,580		1279		184.9119999999		3599.05		7657.099999991		459.000

		13,141,947		1279.1		185.8219999999		3650.54		7767.7528774687		466.671

		13,328,224		1279.2		186.7319999999		3702.28		7878.9535766594		474.385

		13,515,411		1279.3		187.6419999999		3754.28		7990.7018672213		482.140

		13,703,508		1279.4		188.5519999999		3806.53		8102.9975225379		489.938

		13,892,515		1279.5		189.4619999999		3859.03		8215.8403196189		497.776

		14,082,432		1279.6		190.3719999999		3911.79		8329.2300390042		505.657

		14,273,259		1279.7		191.2819999999		3964.79		8443.1664646723		513.578

		14,464,996		1279.8		192.1919999999		4018.05		8557.6493839507		521.540

		14,657,643		1279.9		193.1019999999		4071.57		8672.6785874307		529.544

		14,851,200		1280		194.0119999999		4125.33		8788.2538688848		537.587

		15,045,667		1280.1		194.9219999999		4179.35		8904.3750251865		545.671

		15,241,044		1280.2		195.8319999999		4233.62		9021.0418562341		553.795

		15,437,331		1280.3		196.7419999999		4288.15		9138.2541648756		561.959

		15,634,528		1280.4		197.6519999999		4342.92		9256.0117568374		570.163

		15,832,635		1280.5		198.5619999999		4397.95		9374.3144406549		578.406

		16,031,652		1280.6		199.4719999999		4453.24		9493.1620276053		586.689

		16,231,579		1280.7		200.3819999999		4508.77		9612.5543316428		595.010

		16,432,416		1280.8		201.2919999999		4564.56		9732.4911693359		603.371

		16,634,163		1280.9		202.2019999999		4620.60		9852.972359807		611.771

		16,836,820		1281		203.1119999999		4676.89		9973.9977246732		620.209

		17,040,387		1281.1		204.0219999999		4733.44		10095.56708799		628.685

		17,244,864		1281.2		204.9319999999		4790.24		10217.6802761959		637.200

		17,450,251		1281.3		205.8419999999		4847.29		10340.337118059		645.753

		17,656,548		1281.4		206.7519999999		4904.60		10463.5374446259		654.344

		17,863,755		1281.5		207.6619999999		4962.15		10587.2810891709		662.973

		18,071,872		1281.6		208.5719999999		5019.96		10711.5678871479		671.639

		18,280,899		1281.7		209.4819999999		5078.03		10836.3976761433		680.343

		18,490,836		1281.8		210.3919999999		5136.34		10961.7702958304		689.084

		18,701,683		1281.9		211.3019999999		5194.91		11087.6855879246		697.862

		18,913,440		1282		212.2119999999		5253.73		11214.1433961409		706.677





Freeboard

						Free board Calculation

				Fb=hw+R+S

				Fb, freaboard (m)

				Hw,wave height=0.032*(VF)^2+0.76-0.27F^(1/4),F<32 km														0.565785179

				V=wind velocity (km/hr)=						7.54

				F=fetch length(km)						1.742

				R=Wave run up=50%hw														0.2828925895

				S=wind set up=V2*F*Cosα														0.0018008417

				α=angle between the wind direction and the fetch=0												0

				Average reservior depth in meters over the fetch distance=10m=														8.87

														Fb=		0.8504786102

						Free board above the normal pond level(NPL)=										Fb+water head over the spillway						2.15

						Dam height=NPL-bedlevel+Gross freaboard																3.2291786102

								16.6504786102

				Considering settlment allowance of 2% of dam height

										Extra free board for settlment=								0.3330095722						14.5

				Hence gross freeboard=						2.4834881825														17.719

				hence total dam height including settlment allowance =												16.9834881825		take		18				0.35438

												2711

																						3.219		3.57338

								Top width		determination using Merrima's formula														18.073

								B=0.2H+1.5

						where B=top width(m)

								4.8966976365		hence better to adopt 5m to easily pass a vickel over it.

						Provide berms both on upstream and down stream at half height of the dam to break errosion over the dam

								Berm width=				3.00m

								U/s and downstream slope.

														5.1

								2.426						2.574

								3.074





Sediment

		

		Time  (Year)		Capacity  (Mm3)-from reservoir contour calculation.		85% Annual inflow (Mm3) Design Yield		Capacity :Inflow ratio  ( col2/col3)		Trap efficiency  (%) From curve		AVERAGE Trap efficiency (%) (Col5i+col5ii)/2		Sediment deposited (Mm3) Sedimet yield/100*(col1ii-col1i)		Cumulative sediment deposited (Mm3)								Time  (Year)		Capacity  (Mm3)-from reservoir contour calculation.		85% Annual inflow (Mm3) Design Yield		Capacity :Inflow ratio  ( col2/col3)		Trap efficiency  (%) From curve		AVERAGE Trap efficiency (%) (Col5i+col5ii)/2		Sediment deposited (Mm3) Sedimet yield/100*(col1ii-col1i)		Cumulative sediment deposited (Mm3)

		1		2		3		4		5		6		7		8								1		2		3		4		5		6		7		8

		0		5.884		0.00		0		0				0.000		0.000								0		FRLV1-1

		5		5.884		101.09		0.0582		75		37.5		0.063		0.063								5		Col2i-col7

		10		5.821		202.17		0.0288		62		68.5		0.063		0.127								10		Col2ii-col7

		20		5.757		404.35		0.0142		50		56		0.127		0.254								.		.

		30		5.630		606.52		0.0093		44		47		0.127		0.381								.		.

		40		5.503		808.70		0.0068		38		41		0.127		0.508								.		.

		50		5.377		1010.87		0.0053		31		34.5		0.127		0.635								50		FRLV1-n





DrawDown

		Kombolcha

		Elevation		Volume (Mcm)		Time (days)				Volume		Computed Level (m)		Remark

		1253.76		0.00

		1254		0.00

		1255		0.00

		1256		0.03

		1257		0.07

		1258		0.15

		1259		0.26

		1260		0.40

		1261		0.60

		1262		0.87

		1263		1.23

		1264		1.67

		1265		2.20

		1266		2.81

		1267		3.51

		1268		4.31		31		90		5.22		0.98

		1269		5.21		28		59		4		2.20

		1270		6.20		31		31		1.9		4.30		Reservior Level

		1270.1		6.30

		1270.2		6.40

		1270.3		6.51								From this weconclude

		1270.4		6.62								0		1270

		1270.5		6.72								31		1268

		1270.6		6.83								59		1265

		1270.7		6.94								90		0.98

		1270.8		7.05

		1270.9		7.16

		1271		8.27

		1271.1		8.38

		1271.2		8.50

		1271.3		8.61

		1271.4		8.73

		1271.5		8.84

		1271.6		8.96

		1271.7		9.08

		1271.8		9.20

		1271.9		9.32





PlotF

		Kombolcha

		Elevation		Area(m2)												height		Aav		Volume				Cum_V		Area (ha)		Volume (Mcm)

		1253.76		0		0														0		0		0.00		0		0.00

		1254		508.28		0.050828										0.24		254.14		60.9936		0.0000609936		0.00		0.050828		0.00

		1255		7737.46		0.773746										1		4122.87		4122.87		0.00412287		0.00		0.773746		0.00

		1256		34142.41		3.414241										1		20939.935		20939.935		0.020939935		0.03		3.414241		0.03

		1257		61180.648		6.1180648										1		47661.529		47661.529		0.047661529		0.07		6.1180648		0.07

		1258		89622.59		8.962259										1		75401.619		75401.619		0.075401619		0.15		8.962259		0.15

		1259		125600.8		12.56008										1		107611.695		107611.695		0.107611695		0.26		12.56008		0.26

		1260		162695.05		16.269505										1		144147.925		144147.925		0.144147925		0.40		16.269505		0.40

		1261		232282		23.2282										1		197488.525		197488.525		0.197488525		0.60		23.2282		0.60

		1262		317573		31.7573										1		274927.5		274927.5		0.2749275		0.87		31.7573		0.87

		1263		395859.6		39.58596										1		356716.3		356716.3		0.3567163		1.23		39.58596		1.23

		1264		485470.74		48.547074										1		440665.17		440665.17		0.44066517		1.67		48.547074		1.67

		1265		567875		56.7875										1		526672.87		526672.87		0.52667287		2.20		56.7875		2.20

		1266		654145.2		65.41452										1		611010.1		611010.1		0.6110101		2.81		65.41452		2.81

		1267		750597.02		75.059702										1		702371.11		702371.11		0.70237111		3.51		75.059702		3.51

		1268		848742.6		84.87426										1		799669.81		799669.81		0.79966981		4.31		84.87426		4.31

		1269		947638.9		94.76389										1		898190.75		898190.75		0.89819075		5.21		94.76389		5.21

		1270		1030116.9		103.01169										1		988877.9		988877.9		0.9888779		6.20		103.01169		6.20				5.80

		1270.1		1039223.08		103.922308		0.1		0.910618		0		0		0.1		1034669.99		103466.998999906		0.103466999		6.30		103.922308		6.30

		1270.2		1047407.28		104.740728		0.2		1.729038		2		1.8987522759		0.1		1043315.18		104331.517999905		0.104331518		6.40		104.740728		6.40

		1270.3		1055613.28		105.561328		0.3		2.549638		1.5		1.4745991702		0.1		1051510.28		105151.027999904		0.105151028		6.51		105.561328		6.51

		1270.4		1063873.28		106.387328		0.4		3.375638		1.3333333333		1.3239675593		0.1		1059743.28		105974.327999904		0.105974328		6.62		106.387328		6.62

		1270.5		1072189.98		107.218998		0.5		4.207308		1.25		1.2463741669		0.1		1068031.63		106803.162999903		0.106803163		6.72		107.218998		6.72

		1270.6		1080550.72		108.055072		0.6		5.043382		1.2		1.1987194662		0.1		1076370.35		107637.034999902		0.107637035		6.83		108.055072		6.83

		1270.7		1089010.72		108.901072		0.7		5.889382		1.1666666667		1.1677445809		0.1		1084780.72		108478.071999901		0.108478072		6.94		108.901072		6.94

		1270.8		1097528.32		109.752832		0.8		6.741142		1.1428571429		1.1446263802		0.1		1093269.52		109326.951999901		0.109326952		7.05		109.752832		7.05

		1270.9		1106148.32		110.614832		0.9		7.603142		1.125		1.127871509		0.1		1101838.32		110183.8319999		0.110183832		7.16		110.614832		7.16

		1271		1118202.859479		111.8202859479		1		8.8085959479		1.1111111111		1.158546815		1		1112175.5897395		1112175.5897395		1.1121755897		8.27		111.8202859479		8.27				772693.173293323		0.7726931733						1118202.859479		10638		1128840.859479

		1271.1		1128840.859479		112.8840859479		1.1		9.8723959479		1.1		1.1207683956		0.1		1123521.859479		112352.185947798		0.1123521859		8.38		112.8840859479		8.38				5.32										8741		1137581.859479

		1271.2		1137581.859479		113.7581859479		1.2		10.7464959479		1.0909090909		1.0885398038		0.1		1133211.359479		113321.135947797		0.1133211359		8.50		113.7581859479		8.50						120+9*(B11-B$8)								8991		1146572.859479

		1271.3		1146572.859479		114.6572859479		1.3		11.6455959479		1.0833333333		1.0836644804		0.1		1142077.359479		114207.735947796		0.1142077359		8.61		114.6572859479		8.61		114.6572859479												9268		1155840.859479

		1271.4		1155840.859479		115.5840859479		1.4		12.5723959479		1.0769230769		1.0795837331		0.1		1151206.859479		115120.685947795		0.1151206859		8.73		115.5840859479		8.73		115.5840859479		9.268										9527		1165367.859479

		1271.5		1165367.859479		116.5367859479		1.5		13.5250959479		1.0714285714		1.0757771235		0.1		1160604.359479		116060.435947794		0.1160604359		8.84		116.5367859479		8.84		116.5367859479		9.3975										9797		1175164.859479

		1271.6		1175164.859479		117.5164859479		1.6		14.5047959479		1.0666666667		1.0724357153		0.1		1170266.359479		117026.635947794		0.1170266359		8.96		117.5164859479		8.96		117.5164859479		9.5306666667										10086		1185250.859479

		1271.7		1185250.859479		118.5250859479		1.7		15.5133959479		1.0625		1.0695356214		0.1		1180207.859479		118020.785947793		0.1180207859		9.08		118.5250859479		9.08		118.5250859479		9.6695										10345		1195595.859479

		1271.8		1195595.859479		119.5595859479		1.8		16.5478959479		1.0588235294		1.0666843033		0.1		1190423.359479		119042.335947792		0.1190423359		9.20		119.5595859479		9.20		119.5595859479		9.8046										10636		1206231.859479

		1271.9		1206231.859479		120.6231859479		1.9		17.6114959479		1.0555555556		1.0642740324		0.1		1200913.859479		120091.385947791		0.1200913859		9.32		120.6231859479		9.32		120.6231859479		9.9431666667





PlotF

		



Area (ha)

Volume (Mcm)

Area ha

Volume

Elevation m

Hadha Hurbu  Reservior Area Capacity curve



Outlet DesignF

		

		Fluid Properties:		Fluid Type =		Water				Flow (kg/s) =		2000.00

				Temperature (°C) =		20

				Density (kg/m³) =		1000				Elevation		2006

				Viscosity (mPas) =		1.004				centipoise

				Delivery / outlet pipe (d)

				Line size DN (mm)		1000		I.D. (mm) =		1000

								Normal		Units

		u=flow/(dens*area)		[1d] Velocity				2.5		m/s

		Δf (Genereaux)		[2d] Friction loss				0.0		kPa/m		40400000000*(Q^1.84)*((Vi*0.001)^0.16)/Den/Di^4.84

		L		[3d] Line length				145.0		m

		ΔfL = [2s]*[3s]		[4d] Line loss				6.9		kPa

				[5d] Head losses		(Ki)

		=[5d]*ρu²/2*10-3		entrance		0.1		0.3		kPa

				elbows		0.0		0.0

				valves		2.0		6.5

				equipment				0.0

				exit		1.0		3.2

				[6d] Total Ki		3.1		10.1				Sum Ki

		dum Ki		[7d] Control valve loss						kPa

				[8d] Other losses						kPa

		=[4d]+[8d]+[9d]		[9d] Total losses				17.0		kPa

		z		[10d] Static liquid head				0.0		m

		ρgz		[10d*] Static pressure head		[8d] Other losses		0.0		kPa

				[11d] Equipment pressure				0.0		kPa

		=[10d*]+[11d]		[12d] Total				0.0		kPa

		=[12d]-[9d]		[13d] Discharge pressure				17.0		kPa

								17.0		kPa

		=[13d]-[14d]		Head Required				1.7		m



1261.1, 0.635

&C&"Arial,Bold"&12PUMP AND LINE CALCULATION SHEET

&L&8Ian Cameron,  April 2000&C&F



Dam-Analysis

		Kombolcha														Dam Capacity=				5.294

		DATE		FLOW		Days		80%		Demadd		Demand

		1-Jan-90		0.000		31		0		0.74412		1.993051008				Area				Jan		Feb		Mar		Apr		May		Jun		Jul		Aug		Sep		Oct		Nov		Dec				Zone		Unit		Month

		1-Feb-90		0.000		28		0		0.9126		2.20776192		High Land		600.000		cm/day		0.0011		0.0013		0.0008		0.0000		0.0000		0.0003		0.0006		0.0007		0.0005		0.0000		0.0000		0.0004								Jan		Feb		Mar		Apr		May		Jun		Jul		Aug		Sep		Oct		Nov		Dec

		1-Mar-90		0.000		31		0		0.53352		1.428979968								0.744		0.913		0.534		0.000		0.000		0.183		0.421		0.505		0.351		0.014		0.000		0.295				HIGH LAND		l/s/ha		0.9500		0.5800		0.2200		0.1800		0.0000		0.0000		0.0000		0.0000		0.0000		0.0200		0.5100		0.8200

		1-Apr-90		3.600		30		7.46496		0		0								0.081		0.073		0.081		0.078		0.081		0.078		0.081		0.081		0.078		0.081		0.078		0.081		0				m3/s/ha		0.0010		0.0006		0.0002		0.0002		0.0000		0.0000		0.0000		0.0000		0.0000		0.0000		0.0005		0.0008

		1-May-90		5.250		31		11.24928		0		0								5.884								12.513																		MID LAND		l/s/ha		0.9100		0.4900		0.0000		0.0000		0.2444		0.4222		0.0000		0.0000		0.0000		0.2400		0.8200		1.1300

		1-Jun-90		0.000		30		0		0.18252		0.47309184				23.785		S (80%)		0.000		0.000		0.000		7.465		11.249		0.000		0.000		0.000		0.000		2.657		2.405		0.009						m3/s/ha		0.0009		0.0005		0.0000		0.0000		0.0002		0.0004		0.0000		0.0000		0.0000		0.0002		0.0008		0.0011

		1-Jul-90		0.000		31		0		0.4212		1.12814208				11.273		D		2.074		2.281		1.510		0.078		0.081		0.551		1.209		1.435		0.988		0.118		0.078		0.870				LOW LAND		l/s/ha		0.8000		0.8400		0.4400		0.0000		0.1562		0.7797		0.7230		0.6083		0.6900		0.2900		0.2900		0.6000

		1-Aug-90		0.000		31		0		0.50544		1.353770496						SCUM		0.000		0.000		0.000		7.465		18.714		18.714		18.714		18.714		18.714		21.371		23.777		23.785						m3/s/ha		0.0008		0.0008		0.0004		0.0000		0.0002		0.0008		0.0007		0.0006		0.0007		0.0003		0.0003		0.0006

		1-Sep-90		0.000		30		0		0.351		0.909792						DCUM		2.074		4.354		5.864		5.942		6.023		6.574		7.783		9.218		10.206		10.324		10.402		11.273

		1-Oct-90		1.240		31		2.6569728		0.01404		0.037604736						DIFF		-2.074		-4.354		-5.864		1.523		12.691		12.140		10.931		9.496		8.509		11.047		13.374		12.513

		1-Nov-90		1.160		30		2.405376		0		0						ResC		5.884

		1-Dec-90		0.004		31		0.00857088		0.29484		0.789699456						0.020		3.810		1.530		0.020		7.407		18.575		18.024		16.815		15.381		14.393		16.931		19.259		18.397

																		0.000		0.000		0.000		0.000		0.000		0.000		0.000		0.000		0.000		0.000		0.000		0.000		0.000

														0.8723625916

														6.757

		22-Jun		1021026.88		1269.9		102.102688												3072.0		7566.000		10638.00										1.170

				8633.6		1270		0.86336												8741.0				8741.00

				9562.6		1270.1		0.95626		0.91336		0.0429								8991.0				8991.00

				8184.2		1270.2		0.81842		1.05626		-0.23784								2153.0		7115.000		9268.00

				8206		1270.3		0.8206		0.96842		-0.14782								9527.0				9527.00

				8260		1270.4		0.826		1.0206		-0.1946								9797.0				9797.00										6.750

				8316.7		1270.5		0.83167		1.076		-0.24433								10086.0				10086.00

				8360.74		1270.6		0.836074		1.13167		-0.295596								10345.0				10345.00

				8460		1270.7		0.846		1.186074		-0.340074								10636.0				10636.00

				8517.6		1270.8		0.85176		1.246		-0.39424

				8620		1270.9		0.862		1.30176		-0.43976

						1271		0		1.362		-1.362





Reservior Requirment

		

		Description		Month

				Jan		Feb		Mar		Apr		May		Jun		Jul		Aug		Sep		Oct		Nov		Dec

		Days in month		31		28		31		30		31		30		31		31		30		31		30		31

		80 % dependable flow (m3/s)		0.000		0.000		0.000		3.600		5.250		0.000		0.000		0.000		0.000		1.240		1.160		0.004

		downstream release (20 % )		0.000		0.000		0.000		0.720		1.050		0.000		0.000		0.000		0.000		0.248		0.232		0.001

		Available supply (Mcm)		0.00		0.00		0.00		7.46		11.25		0.00		0.00		0.00		0.00		2.66		2.41		0.01

		Cummulative Supply (Mcm)		0.00		0.00		0.00		7.46		18.71		18.71		18.71		18.71		18.71		21.37		23.78		23.79

		Cummulative Demand		1.90		3.98		5.22		5.41		5.60		6.19		7.35		8.69		9.55		9.75		9.94		10.81

		Difrence		-1.90		-3.98		-5.22		2.06		13.11		12.52		11.37		10.02		9.17		11.62		13.83		12.98

		Reserviour Capacity=		5.22





Total Supply

		

		Description		Month

				Jan		Feb		Mar		Apr		May		Jun		Jul		Aug		Sep		Oct		Nov		Dec

		Days in month		31		28		31		30		31		30		31		31		30		31		30		31

		80 % dependable flow (m3/s)		0.000		0.000		0.000		3.600		5.250		0.000		0.000		0.000		0.000		1.240		1.160		0.004

		downstream release (20 % )		0.000		0.000		0.000		0.720		1.050		0.000		0.000		0.000		0.000		0.248		0.232		0.001

		Available supply (Mcm)		0.00		0.00		0.00		7.46		11.25		0.00		0.00		0.00		0.00		2.66		2.41		0.01

		Cummulative Supply (Mcm)		0.00		0.00		0.00		7.46		18.71		18.71		18.71		18.71		18.71		21.37		23.78		23.79





Total Demand

		

		Demand		Month

				Jan		Feb		Mar		Apr		May		Jun		Jul		Aug		Sep		Oct		Nov		Dec										Elevation		Area		Volume

		Irrigation (600 ha)		1.70		1.89		1.04		0.00		0.00		0.40		0.96		1.16		0.66		0.01		0.00		0.67										1261		162695.05		597435.09

		Livestock		0.08		0.07		0.08		0.08		0.08		0.08		0.08		0.08		0.08		0.08		0.08		0.08										1262		232282		872362.59

		Evaporation		0.11		0.12		0.12		0.11		0.11		0.11		0.11		0.11		0.11		0.11		0.11		0.11										Difference				274927.50

		Total Demand		1.90		2.08		1.24		0.19		0.19		0.59		1.15		1.35		0.85		0.21		0.19		0.87

		Cummulative Demand (Mcm)		1.90		3.98		5.22		5.41		5.60		6.19		7.35		8.69		9.55		9.75		9.94		10.81														143058.894844074

																																						velocity		0.0000069901

		Annalysis of Peak Demand

		Days in the month		31		28		31		30		31		30		31		31		30		31		30		31		hr/day

		Livestock (m3/s)		0.3617784417		0.3617784417		0.3617784417		0.3617784417		0.3617784417		0.3617784417		0.3617784417		0.3617784417		0.3617784417		0.3617784417		0.3617784417		0.3617784417		2

		Irrigation (m3/s)		1.272		1.56		0.7752		0		0		0.312		0.72		0.864		0.51		0.0096		0		0.504		12

		Daily Demand (m3/s)		1.6337784417		1.9217784417		1.1369784417		0.3617784417		0.3617784417		0.6737784417		1.0817784417		1.2257784417		0.8717784417		0.3713784417		0.3617784417		0.8657784417

				Max=		1.9217784417

		Time required to drowdown=				143058.894844074





Summry Crop Demand

		

		Project summary		Parameter		Jan		Feb		Mar		Apr		May		Jun		Jul		Aug		Sep		Oct		Nov		Dec

				Project  efficiency		50%		50%		50%		50%		50%		50%		50%		50%		50%		50%		50%		50%

				Propsed irrigation hour		12		12		12		12		12		12		12		12		12		12		12		12

				Days in month		31		28		31		30		31		30		31		31		30		31		30		31

		First Phase		Irrigated area		100		100		85		20		0		0		0		0		0		0		0		100

				Project supply(l/s/ha for 12 hour		2.12		2.6		1.52		0		0		0		0		0		0		0		0		0.84

		Second Phase		Irrigated area		0		0		0		0		0		100		100		100		85		40		0		0

				Project supply(l/s/ha for 12 hour		0		0		0		0		0		0.52		1.2		1.44		1		0.04		0		0

				Project Demand (cm) per Hactar		2839.10		3144.96		1730.25		0.00		0.00		673.92		1607.04		1928.45		1101.60		21.43		0.00		1124.93

				For 600 ha (Mcm)		1.70		1.89		1.04		0.00		0.00		0.40		0.96		1.16		0.66		0.01		0.00		0.67

				Commulative Demand		1.70		3.59		4.63		4.63		4.63		5.03		6.00		7.15		7.82		7.83		7.83		8.50





Livestock demand

								No		Type of Livestock		Number Found				Demand l/day/head		Demand m3/day/head								Item		Month

												Malkasoda District		Hadhagora Local administration						Demand m3								Jan		Feb		Mar		Apr		May		Jun		Jul		Aug		Sep		Oct		Nov		Dec

								1		Cattles		149915		15841		60		0.06		950.46						Days in Monthy		31		28		31		30		31		30		31		31		30		31		30		31

								2		Sheep		60818		7497		6		0.006		44.982						Livestock Demand Mcm		0.081		0.073		0.081		0.078		0.081		0.078		0.081		0.081		0.078		0.081		0.078		0.081

								3		Goats		125114		13434		6		0.006		80.604

								4		Camels		34675		7472		120		0.12		896.64

								5		Horse		208		20.8		45		0.045		0.936

								6		Donkey		13490		11		45		0.045		0.495

								7		Mule		1200		13954		45		0.045		627.93

								8		Poultry		137889		13788.9		0.2		0.0002		2.75778

																Demand m3/day=				2604.80478





Evapotranspiration

		

				Description		Jan		Feb		Mar		Apr		May		Jun		Jul		Aug		Sep		Oct		Nov		Dec

				Min Temp		12.7		13.8		15.3		15.9		15.4		14.4		13.9		14		14.6		15.4		14.3		12.7

				Max Temp		28.4		29.3		28.6		24.4		24.9		24.4		23.9		24.7		26.1		25.4		25.5		26.4

				MeanTemp		20.55		21.55		21.95		20.15		20.15		19.4		18.9		19.35		20.35		20.4		19.9		19.55

				Evaporation (m/month)		0.114		0.118		0.120		0.113		0.113		0.110		0.108		0.110		0.114		0.114		0.112		0.111

				Evaporation (Mcm)		0.11		0.12		0.12		0.11		0.11		0.11		0.11		0.11		0.11		0.11		0.11		0.11				1.36





First phase

		

		Hadha Hurbu project Eto

				Month		Min Temp		Max Temp		Humidity		Wind		Sun		Rad		ETo

						°C		°C		%		m/s		hours		MJ/m²/day		mm/day

				January		12.7		28.4		49		1.7		10.3		23.6		4.97

				February		13.8		29.3		51		1.9		9.2		23		5.22

				March		15.3		28.6		56		2		7.3		20.8		4.97

				April		15.9		24.4		70		1.6		6.6		19.5		4.02

				May		15.4		24.9		73		1.2		5.5		17.2		3.51

				June		14.4		24.4		68		1.2		4.7		15.6		3.31

				July		13.9		23.9		67		1.3		2.9		13.1		3

				August		14		24.7		64		1.3		4		15.2		3.37

				September		14.6		26.1		68		1.5		5.8		18.3		3.9

				October		15.4		25.4		74		1.7		5.1		16.8		3.6

				November		14.3		25.5		73		1.8		6.8		18.6		3.8

				December		12.7		26.4		61		1.6		8.8		21		4.23

				Average		14.4		26		65		1.6		6.4		18.6		3.99

		Effective rain				Rain		Eff rain

						mm		mm

				January		16.9		0.1

				February		11.9		0

				March		47.6		18.6

				April		188.3		126.6

				May		138.2		86.6

				June		33.6		10.2

				July		18.6		1.2

				August		33.1		9.9

				September		55.1		23.1

				October		139.4		87.5

				November		113.4		66.7

				December		15.3		0

				Total		811.4		430.4

		Soil

		Maize CWR		Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				Dec		1		Init		0.4		1.63		16.3		0.1		16.2

				Dec		2		Init		0.4		1.69		16.9		0		16.9

				Dec		3		Deve		0.52		2.34		25.7		0		25.7

				Jan		1		Deve		0.74		3.48		34.8		0		34.8

				Jan		2		Deve		0.94		4.68		46.8		0		46.8

				Jan		3		Mid		1.1		5.58		61.4		0		61.3

				Feb		1		Mid		1.11		5.73		57.3		0		57.3

				Feb		2		Mid		1.11		5.82		58.2		0		58.2

				Feb		3		Mid		1.11		5.73		45.8		0.1		45.7

				Mar		1		Mid		1.11		5.63		56.3		1.3		55

				Mar		2		Late		1.07		5.33		53.3		2		51.3

				Mar		3		Late		0.99		4.61		50.7		15.4		35.3

				Apr		1		Late		0.91		3.96		35.6		31.4		0.8

														559.3		50.5		505.3

		sorghum

		sorghum CWR		Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				Dec		1		Init		0.35		1.43		14.3		0.1		14.2

				Dec		2		Deve		0.39		1.63		16.3		0		16.3

				Dec		3		Deve		0.61		2.74		30.1		0		30.1

				Jan		1		Deve		0.86		4.08		40.8		0		40.7

				Jan		2		Mid		1.05		5.23		52.3		0		52.2

				Jan		3		Mid		1.06		5.39		59.2		0		59.2

				Feb		1		Mid		1.06		5.47		54.7		0		54.7

				Feb		2		Late		1.04		5.41		54.1		0		54.1

				Feb		3		Late		0.95		4.87		39		0.1		38.9

				Mar		1		Late		0.86		4.33		43.3		1.3		42

														404.2		1.7		402.5

		Haricot bean

		Haricot bean		Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				Dec		1		Init		0.35		1.43		8.6		0.1		8.5

				Dec		2		Init		0.35		1.48		14.8		0		14.8

				Dec		3		Deve		0.41		1.86		20.4		0		20.4

				Jan		1		Deve		0.67		3.15		31.5		0		31.5

				Jan		2		Deve		0.92		4.58		45.8		0		45.7

				Jan		3		Mid		1.1		5.58		61.4		0		61.4

				Feb		1		Mid		1.11		5.71		57.1		0		57.1

				Feb		2		Mid		1.11		5.8		58		0		58

				Feb		3		Late		1.06		5.44		43.5		0.1		43.4

				Mar		1		Late		0.94		4.74		19		0.5		18.3

														360.1		0.8		359.1

		Tomato

		Tomato CWR		Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				Dec		1		Init		0.45		1.84		11		0.1		11

				Dec		2		Init		0.45		1.9		19		0		19

				Dec		3		Deve		0.51		2.29		25.1		0		25.1

				Jan		1		Deve		0.75		3.53		35.3		0		35.3

				Jan		2		Deve		0.98		4.9		49		0		48.9

				Jan		3		Mid		1.16		5.85		64.3		0		64.3

				Feb		1		Mid		1.16		5.97		59.7		0		59.7

				Feb		2		Mid		1.16		6.07		60.7		0		60.7

				Feb		3		Late		1.12		5.77		46.1		0.1		46

				Mar		1		Late		0.99		4.98		49.8		1.3		48.5

				Mar		2		Late		0.88		4.37		17.5		0.8		16.5

														437.6		2.4		435

		Onion

		Onion CWR		Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				Dec		1		Init		0.5		2.04		12.3		0.1		12.2

				Dec		2		Init		0.5		2.11		21.1		0		21.1

				Dec		3		Deve		0.54		2.4		26.4		0		26.4

				Jan		1		Deve		0.68		3.22		32.2		0		32.2

				Jan		2		Deve		0.83		4.12		41.2		0		41.1

				Jan		3		Mid		0.97		4.92		54.1		0		54.1

				Feb		1		Mid		1.01		5.19		51.9		0		51.9

				Feb		2		Mid		1.01		5.27		52.7		0		52.7

				Feb		3		Mid		1.01		5.19		41.5		0.1		41.4

				Mar		1		Late		0.99		5.02		50.2		1.3		48.9

				Mar		2		Late		0.92		4.57		45.7		2		43.7

				Mar		3		Late		0.86		4.02		16.1		5.6		8.4

														445.4		9.2		434

		Pepper

		Pepper CWR		Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				Dec		1		Init		0.35		1.43		8.6		0.1		8.5

				Dec		2		Init		0.35		1.48		14.8		0		14.8

				Dec		3		Init		0.35		1.57		17.2		0		17.2

				Jan		1		Deve		0.41		1.92		19.2		0		19.2

				Jan		2		Deve		0.6		3		30		0		30

				Jan		3		Deve		0.82		4.13		45.4		0		45.4

				Feb		1		Mid		1.02		5.22		52.2		0		52.2

				Feb		2		Mid		1.06		5.53		55.3		0		55.3

				Feb		3		Mid		1.06		5.44		43.5		0.1		43.4

				Mar		1		Mid		1.06		5.35		53.5		1.3		52.2

				Mar		2		Late		1.04		5.18		51.8		2		49.8

				Mar		3		Late		0.96		4.47		49.2		15.4		33.8

				Apr		1		Late		0.9		3.91		11.7		10.5		0

														452.5		29.5		421.8

		Head cabbage

		Head cabbage CWR		Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				Dec		1		Init		0.45		1.84		11		0.1		11

				Dec		2		Init		0.45		1.9		19		0		19

				Dec		3		Deve		0.53		2.36		26		0		26

				Jan		1		Deve		0.83		3.92		39.2		0		39.1

				Jan		2		Mid		1.12		5.59		55.9		0		55.8

				Jan		3		Mid		1.21		6.11		67.2		0		67.2

				Feb		1		Mid		1.21		6.21		62.1		0		62.1

				Feb		2		Mid		1.21		6.31		63.1		0		63.1

				Feb		3		Mid		1.21		6.21		49.7		0.1		49.5

				Mar		1		Mid		1.21		6.11		61.1		1.3		59.7

				Mar		2		Late		1.21		6		60		2		58

				Mar		3		Late		1.08		5.05		55.5		15.4		40.1

				Apr		1		Late		0.96		4.17		12.5		10.5		0

														582.1		29.5		550.6

		Croppning pattern

		Scheme Supply				Jan		Feb		Mar		Apr		May		Jun		Jul		Aug		Sep		Oct		Nov		Dec

				Precipitation deficit

				1. Maize		142.8		161		141.2		0.5		0		0		0		0		0		0		0		58.8

				2. Sorghum		152.2		147.8		41.9		0		0		0		0		0		0		0		0		60.6

				3. Haricot bean		148.7		154.9		0		0		0		0		0		0		0		0		0		53.7

				4. Tomato		148.4		166.5		65		0		0		0		0		0		0		0		0		55.1

				5. Onion		127.4		146		100.9		0		0		0		0		0		0		0		0		59.8

				6. Pepper		94.5		151		135.8		0		0		0		0		0		0		0		0		40.5

				7. Head cabbage		162.1		174.7		157.8		0		0		0		0		0		0		0		0		55.9

				Net scheme irr.req.

				in mm/day		4.5		5.6		2.8		0		0		0		0		0		0		0		0		1.8

				in mm/month		140.9		156.1		87.6		0.1		0		0		0		0		0		0		0		56.1

				in l/s/h		0.53		0.65		0.33		0		0		0		0		0		0		0		0		0.21

				Irrigated area		100		100		85		20		0		0		0		0		0		0		0		100

				(% of total area)

				Irr.req. for actual area		0.53		0.65		0.38		0		0		0		0		0		0		0		0		0.21

				(l/s/h)

				Project  efficiency		50%		50%		50%		50%		50%		50%		50%		50%		50%		50%		50%		50%

				Project supply(l/s/ha		1.06		1.3		0.76		0		0		0		0		0		0		0		0		0.42

				Propsed irrigation hour		12		12		12		12		12		12		12		12		12		12		12		12

				Project supply(l/s/ha for 12 hour		2.12		2.6		1.52		0		0		0		0		0		0		0		0		0.84

				in mm/month		0		0		0		0		0		32.4		81.3		96.7		54.4		1.6		0		0

						140.9		156.1		87.6		0.1		0		32.4		81.3		96.7		54.4		1.6		0		56.1				707.2

				Project supply(l/s/ha		0		0		0		0		0		0.26		0.6		0.72		0.5		0.02		0		0				1414.4

						1.06		1.3		0.76		0		0		0.26		0.6		0.72		0.5		0.02		0		0.42

						0.00106		0.0013		0.00076		0		0		0.00026		0.0006		0.00072		0.0005		0.00002		0		0.00042





Second phase

		

		Maize

		Maize CWR		Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				May		1		Init		0.4		1.47		14.7		34.4		0

				May		2		Init		0.4		1.41		14.1		30.6		0

				May		3		Deve		0.51		1.76		19.3		21.5		0

				Jun		1		Deve		0.7		2.38		23.8		9.8		14

				Jun		2		Deve		0.89		2.94		29.4		0.2		29.2

				Jun		3		Mid		1.03		3.32		33.2		0.3		32.9

				Jul		1		Mid		1.05		3.24		32.4		0.6		31.8

				Jul		2		Mid		1.05		3.14		31.4		0		31.4

				Jul		3		Mid		1.05		3.27		35.9		0.6		35.3

				Aug		1		Late		1.04		3.39		33.9		2.2		31.7

				Aug		2		Late		1		3.36		33.6		3.1		30.6

				Aug		3		Late		0.93		3.3		36.3		4.6		31.7

				Sep		1		Late		0.88		3.26		22.8		3.2		18.2

														360.9		111.2		286.6

		Sorghum		Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				May		1		Init		0.35		1.29		12.9		34.4		0

				May		2		Deve		0.38		1.34		13.4		30.6		0

				May		3		Deve		0.59		2.02		22.3		21.5		0.8

				Jun		1		Deve		0.81		2.75		27.5		9.8		17.7

				Jun		2		Mid		0.98		3.26		32.6		0.2		32.3

				Jun		3		Mid		1		3.2		32		0.3		31.7

				Jul		1		Mid		1		3.09		30.9		0.6		30.3

				Jul		2		Late		0.98		2.93		29.3		0		29.3

				Jul		3		Late		0.88		2.75		30.2		0.6		29.6

				Aug		1		Late		0.79		2.55		20.4		1.7		18.2

														251.4		99.8		189.9

		Haricot bean

		Haricot bean		Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				May		1		Init		0.35		1.29		12.9		34.4		0

				May		2		Init		0.35		1.23		12.3		30.6		0

				May		3		Deve		0.49		1.7		18.7		21.5		0

				Jun		1		Deve		0.74		2.51		25.1		9.8		15.3

				Jun		2		Mid		0.98		3.24		32.4		0.2		32.1

				Jun		3		Mid		1.07		3.41		34.1		0.3		33.8

				Jul		1		Mid		1.07		3.3		33		0.6		32.4

				Jul		2		Late		1.06		3.19		31.9		0		31.9

				Jul		3		Late		0.95		2.95		26.6		0.5		26

														227		97.9		171.5

		Tomato

		Tomato		Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				May		1		Init		0.45		1.66		9.9		20.7		0

				May		2		Init		0.45		1.58		15.8		30.6		0

				May		3		Deve		0.51		1.74		19.2		21.5		0

				Jun		1		Deve		0.73		2.45		24.5		9.8		14.7

				Jun		2		Deve		0.95		3.13		31.3		0.2		31

				Jun		3		Mid		1.1		3.54		35.4		0.3		35.1

				Jul		1		Mid		1.11		3.45		34.5		0.6		33.8

				Jul		2		Mid		1.11		3.33		33.3		0		33.3

				Jul		3		Late		1.06		3.32		36.5		0.6		35.9

				Aug		1		Late		0.91		2.96		29.6		2.2		27.4

				Aug		2		Late		0.82		2.77		5.5		0.6		5.5

														275.5		87.1		216.8

		Onion

		Onion		Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				May		1		Init		0.5		1.84		11		20.7		0

				May		2		Init		0.5		1.76		17.6		30.6		0

				May		3		Deve		0.53		1.84		20.2		21.5		0

				Jun		1		Deve		0.67		2.25		22.5		9.8		12.8

				Jun		2		Deve		0.8		2.65		26.5		0.2		26.3

				Jun		3		Mid		0.93		2.98		29.8		0.3		29.6

				Jul		1		Mid		0.97		3.01		30.1		0.6		29.4

				Jul		2		Mid		0.97		2.91		29.1		0		29.1

				Jul		3		Mid		0.97		3.03		33.3		0.6		32.7

				Aug		1		Late		0.94		3.06		30.6		2.2		28.4

				Aug		2		Late		0.87		2.93		29.3		3.1		26.3

				Aug		3		Late		0.83		2.93		5.9		0.8		5.9

														285.9		90.4		220.3

		Pepper

				Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				May		1		Init		0.35		1.29		7.7		20.7		0

				May		2		Init		0.35		1.23		12.3		30.6		0

				May		3		Init		0.35		1.21		13.3		21.5		0

				Jun		1		Deve		0.4		1.36		13.6		9.8		3.8

				Jun		2		Deve		0.59		1.94		19.4		0.2		19.1

				Jun		3		Deve		0.78		2.48		24.8		0.3		24.6

				Jul		1		Mid		0.96		2.97		29.7		0.6		29.1

				Jul		2		Mid		1.01		3.04		30.4		0		30.4

				Jul		3		Mid		1.01		3.16		34.8		0.6		34.1

				Aug		1		Mid		1.01		3.28		32.8		2.2		30.7

				Aug		2		Late		0.99		3.32		33.2		3.1		30.1

				Aug		3		Late		0.91		3.23		35.5		4.6		30.9

				Sep		1		Late		0.87		3.22		3.2		0.5		3.2

														290.7		94.6		236

		cabbage

		cabbage		Month		Decade		Stage		Kc		ETc		ETc		Eff rain		Irr. Req.

										coeff		mm/day		mm/dec		mm/dec		mm/dec

				May		1		Init		0.45		1.66		9.9		20.7		0

				May		2		Init		0.45		1.58		15.8		30.6		0

				May		3		Deve		0.52		1.8		19.8		21.5		0

				Jun		1		Deve		0.81		2.73		27.3		9.8		17.5

				Jun		2		Mid		1.09		3.59		35.9		0.2		35.7

				Jun		3		Mid		1.17		3.74		37.4		0.3		37.1

				Jul		1		Mid		1.17		3.62		36.2		0.6		35.6

				Jul		2		Mid		1.17		3.5		35		0		35

				Jul		3		Mid		1.17		3.64		40.1		0.6		39.5

				Aug		1		Mid		1.17		3.79		37.9		2.2		35.7

				Aug		2		Late		1.16		3.9		39		3.1		35.9

				Aug		3		Late		1.02		3.61		39.8		4.6		35.1

				Sep		1		Late		0.92		3.43		3.4		0.5		3.4

														377.5		94.6		310.5

		cropping pattern

						Jan		Feb		Mar		Apr		May		Jun		Jul		Aug		Sep		Oct		Nov		Dec

				Precipitation deficit

				1. Maize		0		0		0		0		0		32.5		81.5		100.2		90.2		1.3		0		0

				2. sorghum		0		0		0		0		0		32.6		86.9		89.8		18.8		0		0		0

				3. Haricot bean		0		0		0		0		0		28.5		86.4		90.7		0		0		0		0

				4. Tomato		0		0		0		0		0		34.5		86		105.1		35.7		0		0		0

				5. Onion		0		0		0		0		0		38.2		74.4		92		65.3		0		0		0

				6. Pepper		0		0		0		0		0		24.5		54.2		94.8		87.5		6.4		0		0

				7. Head cabbage		0		0		0		0		0		34.9		94.9		112.8		104.3		6.9		0		0

				Net scheme irr.req.

				in mm/day		0		0		0		0		0		1.1		2.6		3.1		1.8		0.1		0		0

				in mm/month		0		0		0		0		0		32.4		81.3		96.7		54.4		1.6		0		0

				in l/s/h		0		0		0		0		0		0.13		0.3		0.36		0.21		0.01		0		0

				Irrigated area		0		0		0		0		0		100		100		100		85		40		0		0

				(% of total area)

				Irr.req. for actual area		0		0		0		0		0		0.13		0.3		0.36		0.25		0.01		0		0

				(l/s/h)

				Project  efficiency		50%		50%		50%		50%		50%		50%		50%		50%		50%		50%		50%		50%

				Project supply(l/s/ha		0		0		0		0		0		0.26		0.6		0.72		0.5		0.02		0		0

				Propsed irrigation hour		12		12		12		12		12		12		12		12		12		12		12		12

				Project supply(l/s/ha for 12 hour		0		0		0		0		0		0.52		1.2		1.44		1		0.04		0		0





@ Fie Eat_Calculations Charts Setings Window _Language Help

0O ., &
New " Gpen

i3 General sl data
Cimate/ETo

Rain

Crop

Soil

A

cwR

&

Schedule

W

Crop Patterm
W
Scheme

ETa file
yabelo? eto.pem

H & | &

Save  Cose | Pt

Solname [dw

Total available soil moisture (FC - WP)
Maximum rain infiltration rate

Maximum rooting depth

Inital soil moisture depletion (as % TAM)

Initial available soil moisture

Rain file
finchwa eff rain.cim

%3

E

RRRE

&0
=0

Crop file

m/meter
mm/day
centimeters
x

mm/meter

hadha hurbu-maize.cro

Soil file
hadha hurbu-soil.soi

Planting date
[GE

Crop pat file

Schedule file

11:44 AM

1







@ Fie Eat_Calculations Charts Setings Window _Language Help ~lelx

D .& . . & & &
New T Open " Save Clse | Pt
CopName R Planting date [31/72 Harvest [10703
s i i
Climate/ETo | | _\
Ko ! | I I
— 03 | 1 &
Values 1 I ! 060
Rein Stage [ i | devebpmen | midsessn | s | ol
)| T55 f [m [ [= | [=® | [
y o | I I I
B Rooingdepth | Tt 1 I
m T ——
Ciitical depletion i | | |
* froom | o | | Tom | [owm |
Sel Yiedresponset. | [0 | [ow | [0om | [om | [om
Cropheight (m) ! {7150 opiinal !
A4
oW
=3
Schedule
W
Crop Pattern
w
Scheme
ETofile Rain fle Cio fle Sailfle Planting date Ciop pat file Schedule fle

yabelo? eto.pem finchwa eff rain.cim hadha hurbu-sorghum.cro hadha hurbu-soil. soi [GE







@ Fie Eat_Calculations Charts Setings Window _Language _Help ~lelx

D .& . . & & &
New T Open " Save Clse | Pt
Crop Name |Haricot bean Planting date |05/12 Harvest |04/03
3 i i
Climate/ETo | e _\
Ko ! | I I
— 03 i i i
Values ] | ! 050
Rein Stage [ s | devebpmen | midsessn | s |l
ways)| [ D D i [Tho T
¥ o3 | | | |
G Rootngdepth | Tt | |
m § ; 05—
Critical depletion i i ! !
* traction) | | 05| I
st Yieldvesponse t.| [020 | [o@ | [ | [ow | [
Cropheight (m) i {040 (optibnal) |
A4
oW
=3
Schedule
W
Crop Patier
w
Scheme
ETofile Rain fle Ciop fle Sailfle Planting date Ciop pat file Schedule fle

yabelo? eto.pem finchwa el rain.cim untitled hadha hurbu-soil.soi 05112







@ Fie Eat_Calculations Charts Setings Window _Language _Help ~lelx

D .& . &H & | &
New T Open " Save Clse | Pt
CopNamo [EEEH Planting date [E/72 Harvest [14703
B3
Climate/ETo | i
— 045 i i i
Values ] | ! 3
Rein Stage| mi | deveopmen | midsesson | lsesesson | ol
ww)| T2 | [ | [= | [=a | [
y o5 | I I I
B Rooingdepth | "t 1 I
m TN
Ciitical depletion i | | |
* traction) | [ 030 | Too | Tow
Sel Yieldresponset. | [ 080 | [oe | [0 | [om | [
Cropheight (m) ! | [T080 opiinal !
A
oW
=3
Schedule
W
Crop Pattern
W
Scheme
ETofile Rain fle Ciop fle Sailfle Planting date Ciop pat file Schedule fle
yabelo2 eto.pem finchwa elf rain.cm untited hadha hurbur-soil.soi 052

11:57 AM

1






@ Fie Eat_Calculations Charts Setings Window _Language _Help ~lelx

D .& . &H & | &
New T Open " Save Clse | Pt
CopName [TED Planting date [E/72 Harvest [24703
B3
Climate/ETo | i
— 050 i i i
Values ] | ! 3
Rein Stage| mis | devebpment | midsesson | lsesesson | ol
ww)| T2 | [® | [® | [=a | [
y o5 | I I I
B Rooingdepth | e 1 I
m [N
Ciitical depletion i | | |
* traction) | [ 030 | Toe | Tow
Sel Yiedresponset. | [0 | [ow | [7m | [Tw | [T
Cropheight (m) ! | [7030 opiinal !
A
oW
=3
Schedule
W
Crop Pattern
W
Scheme
ETofile Rain fle Ciop fle Sailfle Planting date Ciop pat file Schedule fle
yabelo2 eto.pem finchwa elf rain.cm untited hadha hurbur-soil.soi 052

1200 PM

1






@ Fie Eat_Calculations Charts Setings Window _Language _Help ~lelx

D .& . &H & | &
New T Open " Save Clse | Pt
Crop Name. Planting date [E/72 Harvest [0370%
B3
Climate/ETo | i
— 03 i i i
Values ] | ! 050
Rein Stage| mis | devebpmen | midsesson | lsesesson | ol
ww)| T2 | [® [ [® | [=a | [m@
y o5 | I I I
B Rooingdepth | "t 1 I
m LM
Ciitical depletion i | | |
* troon| oz | I
Sel Yiedresponset. | [ 140 | [oe | [7m | [om | [T
Cropheight (m) ! | [7070 opiinal !
A
oW
=3
Schedule
W
Crop Pattern
W
Scheme
ETofile Rain fle Ciop fle Sailfle Planting date Ciop pat file Schedule fle
yabelo2 eto.pem finchwa elf rain.cm untited hadha hurbur-soil.soi 052

1211PM

1






@ Fie Edt_Calculations Charts Setings Window _Language Help

D .& . &H & | &
New T Open T Save Cose | P
CopName [IEEDE Planting date. [05712 Harvest [03/08
B3
Climate/ETo | i
e j i _\
Values | 12— | |
Rein Stage| mi | devebpmen | midsesson | lsesesson | ol
ww)| T2 | [ | [m | [® | [m@
2 | 1 1 3
L Rooting depth \"’\i_ - |
25 ] : [os ——
Ciitical depletion i | | |
w prisei] TR R
Sel Yiedresponset. | [0 | [ow | [o& | [om | [0%
Cropheight (m) ! | [T040 opiinal !
A
oW
[
Schedule
W
Crop Patier
W
Scheme
ETofile Rain fle Crop file Sail e Planting date Crop pat e Schedule fle
yabelo2 eto.pem finchwa offrain.cm | hadha hurbu head cabbagel.cro | hadha hurbur-soi oi 052

1219PM

1






ile Edit Calculations Charts Seftings Window Language Help

0D .,.& . d o s E
New T Open T Save Chse | Pim  Cos Opion:
Cropping pattern name [Fadha s copping
B3
Climate/ETo | No. Crop file Crop name Gagm Ched &P
1. Fadha Fububaze! CO L [ iz fome  [a@ =
R | 2 e rmSagh e | [roghum Az o @
3. [Hadha HusbuHaroal beant A0 | [aroatbean Az [Eme [
v 4. [Hadha HurbuTomatal 0D o [Fomao Bz [ [T
Ciop || 5. [Hadha HurbuGrin 07D | [on Bz [ [
6. [Fsdha HubuPepper RO | [Pepper Bz e [T
o 7. [Fsdha HutbHead cabbagel RO | [Fesdcabbage Bz e [T
o BN I [T
o o BN I I
cwr [10] ] et | I
1] BN I I
B |2 BN I I
sehede || | = el T
1a.] BN I — -
| BT ENI IR
16.] BN I I
w a7 1T [ r 5]
Scheme







{§) CROPWAT - Session: C:\ProgramData\CROPWAT\data\sessions\Hadha Hurbu- scheme supply
& File Edt Calculations Charts Settings Window Language Help

D .& . &H & | &
New T Open " Save Clse | Pt
CopName Moz Planting date [01705 Harvest [07708
B3
Climate/ETo | i
e j i _\
Values | 7124 —F | |
Rein Stage [ nidl | devebpnen | midsesson | ltesesson § ol
ww)| T2 | [® | [®& | [= | [
x ™| 1 1 3
- Rooting depth \"’\i_ '
S i T TN
Ciitical depletion i | | |
* troon| o= | I T
Sel Yiedresponset. | [0 | [ow | [T@m | [om | [1z
Cropheight (m) ! | [7200 opiinal !
A4
oW
=3
Schedule
W
Crop Patier
V. Databases and application modules
w were not updated
Scheme
ETofile Rain fle Ciop fle Sailfle Planting date

Details
yabelo? eto.pem finchwa el rain.cim hadha hurbu-maize2.cro hadha hurbu-soil.soi 01/05







{§) CROPWAT - Session: C:\ProgramData\CROPWAT\data\sessions\Hadha Hurbu- scheme supply
& File Edt Calculations Charts Settings Window Language Help

D .& . &H & | &
New T Open T Save Cose | P
CiopName [soghm2 Planting date [31/05. Harvest [06708
B3
Climate/ETo | i
e j i _\
Values | 1 0% | |
Rein Stage| mis | devebpment | midsesson | lsesesson | ol
)| T55 f [m [ [= | [=® | [
2 ™| 1 1 3
L Rooting depth \"’\i_ 1
S i T RN
Ciitical depletion i | | |
w froom | o | I
Sel Yiedresponset. | [0 | [ow | [0om | [om | [om
Cropheight (m) ! {7150 opiinal !
A
oW
=3
Schedule
W
Crop Patier
W
Scheme
ETofile Rain fle Cio fle Sailfle Planting date Crop pat e Schedule fle

yabelo? eto.pem finchwa eff rain.cim hadha hurbu-sorghum?.cro hadha hurbu-soil. soi 01/05 hadha hurbu- cropping pattern.pal|







{§) CROPWAT - Session: C:\ProgramData\CROPWAT\data\sessions\Hadha Hurbu- scheme supply
& File Edt Calculations Charts Settings Window Language Help

D .& . &H & | &
New T Open T Save Cose | P
Crop Name |Haricot bean 2 Planting date |01/05 Harvest [23/07
B3
Climate/ETo | |
e b | |
Rein Stage| i | devebpment | midsesson | latosesson 3 ol
)| T2 | [ | [= | [n | [m
2 | ! 1 !
o Rooting depth \\_ L |
RS | ! 0% ——
Critical depletion i i ! !
w prisei] TR R
st Yieldvesponse t.| [020 | [o@ | [ | [ow | [
Cropheight (m) | {040 (optibnal) |
A
cwh
e
Schedule
W
Crop Patier
W
Scheme
ETo fie Rain file crop fle Sail e Planting date Crop pat fie Schedule fle

yabelo? eto.pem finchwa eff rain.cim hadha hurbu-haricot bean2.cro hadha hurbu-soil.soi 01/05 hadha hurbu- cropping pattern.pal|







{§) CROPWAT - Session: C:\ProgramData\CROPWAT\data\sessions\Hadha Hurbu- scheme supply
& File Edt Calculations Charts Settings Window Language Help

D .& . &H & | &
New T Open T Save Cose | P
CopName [foraoz Planting date [05/05 Harvest [12708
B3
Climate/ETo i i
Values | 12— | |
Rein Stage| i | devebpment | midsesson | latosesson 3 ol
ww)| T2 | [ | [= | [=a | [
L | ! 1 !
g Rooting depth \\_ =
S i T I —
Critical depletion i i ! !
* tractom | [0 | T
st Yieldvesponse t.| [050 | [o@ | [0 | [om | [0
Cropheight (m) i | [080  (optibnal) |
A
oW
=3
Schedule
W
Crop Patier
W
Scheme
ETofile Rain fle Ciop fle Sail e Planting date Ciop pat file Schedule fle

yabelo? eto.pem finchwa eff rain.cim hadha hurbu-tomato2.cro hadha hurbu-soil.soi 05/05 hadha hurbu- cropping pattern.pal|







{§) CROPWAT - Session: C:\ProgramData\CROPWAT\data\sessions\Hadha Hurbu- scheme supply
& File Edt Calculations Charts Settings Window Language Help

D .& . &H & | &
New T Open T Save Cose | P
CopName [oronz Planting date [I5/05. Harvest [22/08
B3
Climate/ETo i i
Values | 1 2% | |
Rein Stage| i | devebpment | midsesson | latosesson 3 ol
ww)| T2 | [® | [® | [=a | [
L | ! 1 !
g Rooting depth \\_ =
S i T L ——|
Critical depletion i i ! !
* tractom | [0 | R
st Yieldvesponse t.| [0 | [ow0 | [m | [w | [0
Cropheight (m) i {030 (optibnal) |
A
oW
=3
Schedule
W
Crop Patier
W
Scheme
ETofile Rain fle Ciop fle Sail e Planting date Ciop pat file Schedule fle

yabelo? eto.pem finchwa eff rain.cim hadha hurbu-onion2.cro hadha hurbu-soil.soi 05/05 hadha hurbu- cropping pattern.pal|







{§) CROPWAT - Session: C:\ProgramData\CROPWAT\data\sessions\Hadha Hurbu- scheme supply
& File Edt Calculations Charts Settings Window Language Help

D .& . &H & | &
New T Open T Save Cose | P
CiopName [Femperz Planting date. [05/35 Harvest [01708
B3
Climate/ETo | i
e j i _\
e b | |
Rein Stage| mis | devebpmen | midsesson | lsesesson | ol
ww)| T2 | [® [ [® | [=a | [m@
2 | 1 1 3
L Rooting depth \"’\i_ = |
S i T LM
Ciitical depletion i | | |
w prisi] INECE I
Sel Yiedresponset. | [ 140 | [oe | [7m | [om | [T
Cropheight (m) ! | [7070 opiinal !
A
oW
=3
Schedule
W
Crop Patier
W
Scheme
ETofile Rain fle Ciop fle Sailfle Planting date Crop pat e Schedule fle

yabelo? eto.pem finchwa eff rain.cim hadha hurbu-pepper2.cro hadha hurbu-soil.soi 05/05 hadha hurbu- cropping pattern.pal|







{§) CROPWAT - Session: C:\ProgramData\CROPWAT\data\sessions\Hadha Hurbu- scheme supply
& File Edt Calculations Charts Settings Window Language Help

D .& . &H & | &
New T Open T Save Cose | P
Crop Name |Head cabbage2 Planting date |05/05 Harvest |01/09
B3
Climate/ETo | i
e j i _\
Values | 12— | |
Rein Stage| mi | devebpmen | midsesson | lsesesson | ol
ww)| T2 | [ | [m | [® | [m@
2 | 1 1 3
L Rooting depth \"’\i_ |
S i T [N
Ciitical depletion i | | |
w prisei] TR R
Sel Yiedresponset. | [0 | [ow | [o& | [om | [0%
Cropheight (m) ! | [T040 opiinal !
A
oW
=3
Schedule
W
Crop Patier
W
Scheme
ETofile Rain fle Ciop fle Sailfle Planting date Crop pat e Schedule fle

yabelo? eto.pem finchwa eff rain.cim hadha hurbu-head cabbage2.cro hadha hurbu-soil. soi 05/05 hadha hurbu- cropping pattern.pal|







ile Edit Calculations Charts Seftings Window Language Help

0D .,.& . d o s E
New T Open T Save Chse | Pim  Cos Opion:
Cropping pattern name. [Fadha Fuba 52
B3
Climate/ETo | No. Crop file Crop name Gagm Ched &P
1. Fadha FubuMaz=2 RO L [z [ o [@
2| 2 ezt .| [ogm2 [ e [ @
3. [Hadha Husbu ool bean2 0D | [Faoatbeanz s [ [
v 4. [Hadha HurbuTomata2 CFD | [Fomaoz [ [ [T
Ciop || 5. [Hadha HubuGrion2 00 | [z B [ [
6. [Fsdha HubuPeppe2 CFO | [Pemperz [ [fos [T
o 7. [Fsdha HutbHead cabbage2 CRO | [Fesdcabbagez [ [fos [T
o BN I I
o o BN I I
cwr [10] ] et | I
1] BN I I
B |2 BN I I
sehede || | = el T
1a.] BN I — -
| BT ENI IR
16.] BN I I
w a7 1T [ r 5]
Scheme








_1615009481.unknown

