Manna_Dawch Small Scale Intake Irrigation Project                                             
Engineering Design Final Report

[image: image1.jpg]FEASIBILITY STUDY & DETAIL DESIGN
OF

MENNA_DAWCH SMALL-SCALE IRRIGATION
PROJECT

ENGINEERING DESIGN
FINAL REPORT

CONSULTANT:

AMHARA DESIGN & SUPERVISION WORKS
ENTERPRISE

(ADSWE)





Amhara National Regional State

Water, Irrigation & Energy Development Bureau

(BOWIED)

 Detail Design 

of

Menna_Dawch Small-Scale Intake Irrigation Project 

Volume IV: Engineering Design Final Report

March, 2016(Revised 2016)
Bahir Dar

Client: Bureau of Water, Irrigation & Energy Development 

(BoWIED)

Address:

P. O. Box: 88
Telephone: 0528-200853/855
Fax: 251-08-20-65-68/204676/202040

Consultant: Amhara Design & Supervision Works Enterprise

(ADSWE)

Address:

P. O. Box: 1921
Telephone: +251-582-181023/ 180638/181201/181254
Fax: (058) 2180550/ (058) 2180560
E-mail: amhara design@yahoo.com
Bahir Dar, Ethiopia 

List of Reports
· Volume I: Watershed Management
· Volume II: Engineering Geology
· Volume III: Irrigation Agronomy
· Volume IV: Engineering Design 

· Volume V: Socio Economy
· Volume VI: Environmental Impact Assessment
· Volume VII: Economic and Financial Analysis
Table of Contents







 Page Nr 
iList of Reports


vLIST OF TABLES


vLIST OF FIGURES


viSAILENT FEATURE


11
INTRODUCTION


11.1
Background


11.1.1
Description of the Project Area


21.2
Objectives of the Study


21.2.1
Major Objective


31.2.2
Specific Objectives


41.3
Scope of the Study


41.4
Methodology


62
HYDROLOGY


62.1
Watershed Characteristics


72.2
Hydro-Metrological Data Availability


72.2.1
Climate


82.2.2
Rainfall Data


82.2.3
River flow data


82.2.4
Upstream & Downstream utilization


82.3
Design Flood Analysis


92.3.1
Design Rainfall computation


112.3.2
Peak Discharge Determination


152.3.3
Tail Water Depth Computation


193
HEADWORK DESIGN


193.1
Headwork Site Selection


193.2
River Geology


203.2.1
River Bed condition


213.2.2
River Bank Condition


223.3
Headwork Type Selection


223.4
Hydraulic Design of Headwork Structure


223.4.1
Intake Height or Scour Depth Determination


233.4.2
Intake Dimensions


233.4.3
Outlet Design


243.4.4
Retaining Wall Analysis


254
IRRIGATION AND DRAINAGE SYSTEMS DESIGN


254.1
Irrigable Area Description


254.1.1
Topography


254.1.2
Soil characteristics


254.2
Irrigation Water Requirement


254.2.1
Crop Water Requirement (CWR)


264.2.2
Irrigation efficiency (Ep)


264.2.3
Irrigation duty


274.2.4
Irrigation Methods


284.3
Irrigation and Drainage System Layout


294.3.1
Main Canal


314.3.2
Secondary Canals


324.3.3
Tertiary canals


344.3.4
Design of Division box


374.3.5
Road Crossing Structure


374.3.6
Drop structure


394.3.7
Design of a Typical Flume


404.3.8
Drainage System


415
SOURCES OF CONSTRUCTION MATERIALS


415.1
Rock for Masonry and Crushed Coarse Aggregate


415.2
Fine Aggregates


425.3
Water


436
OPERATION AND MAINTENANCE


436.1
General


436.2
Operation of the Head Works


436.3
Irrigation System Operation


436.4
Maintenance Requirement


457
CONCLUSION AND RECOMMENDATION


468
REFERENCE




LIST OF TABLES
6Table 2‑1: The Slope Classes and Proportion of the Water Shed


9Table 2‑2: Outlier Test Analysis


10Table 2‑3: Test for Goodness to Fit Using D-Index


13Table 2‑4: Runoff analysis


14Table 2‑5: Hydrograph coordinates


15Table 2‑6: Stage Discharge Analysis


18Table 2‑7: River Discharge Computation at Different Stages of Flow


24Table 3‑1: Typical design of masonry retaining wall


30Table 4‑1: Hydraulic Parameters of Main Canal


31Table 4‑2: Hydraulic Parameters of secondary canals


32Table 4‑3: Hydraulic Parameters of Tertiary Canals


36Table 4‑4: Hydraulic Parameters of Division Boxes


39Table 4‑5: Drop Hydraulic Design


40Table 4‑6: Hydraulic Parameters of Flume




LIST OF FIGURES
2Figure 1‑1: Location Map of the Project Area


7Figure 2‑1: Drainage Map of Menna_Dawch Watershed


14Figure 2‑2: Complex Hydrograph


15Figure 2‑3: Headwork Site River Section


16Figure 2‑4: Rating Curve


17Figure 2‑6: River Slope Profile


21Figure 3‑1: River Bed at the Proposed Intake Site


32Figure 4‑1: Typical Cross Section of tertiary canals


34Figure 4‑2: Typical Division Box plan




SAILENT FEATURE

1. Project name: Menna_Dawch Small Scale Intake Irrigation Project

2. Name of the stream: Menna river

3. Location of the intake site using 

· Easting:  0383459
· Northing:1354398
· Zone: (North Gondar)
· Wereda: (Mirab Belesa) 
· Average Altitude: 1992 masl
4. Hydrology

· Design rainfall: 82.5 mm`
· Catchment area: 62.36 Km2
· Longest flow path length: 8.9 Km

· Design flood: 157.09 m3/sec

· Design base flow: 270 lit/se.

5. Intake
· Intake type: Reinforced Concrete. 

· Height: 2 and 2.7 m

· Gross crest length: 80 m

· Intake crest level: 1993 m.a.s.l

·  HFL: 1995 m.a.s.l

6. Outlet

· Sill level: 1992.4 m.a.s.l
· Opening dimension: 0.6*0.6 m2
· Discharge capacity: 220 lit/sec.
Irrigation and drainage systems Infrastructure

· Command area size: 180 ha

· Type of soil of the command area is dominantly clay &silt soil 

· Design discharge of the main canal = 216 l/sec 

· Irrigation system layout consists of one earthen & lined main canal, 4 secondary canals and 19 tertiary canals

· Main irrigation structures designed are;
· Gully crossing structures

· Flume

· Road Crossing
· Supper Passage

Project Costs ummary
	Components
	Costs ETB

	General items
	2,792,000

	Headwork
	2,263,354.00

	Infrastructure
	6,385,729

	Total 
	11,441,083

	VAT 15%
	1,716,162

	Total 
	13,157,245

	cost per  ha(180ha)
	73,095.81


1 INTRODUCTION
1.1 Background
In Ethiopia, under the prevalent rain-fed agricultural production system, the progressive degradation of the natural resource base, especially in highly vulnerable areas of the highlands coupled with climate variability have aggravated the incidence of poverty and food insecurity. The major source of growth for Ethiopia is still conceived to be the agriculture sector. Hence, this sector has to be insulated from drought shocks through enhanced utilization of the water resource potential of the country, (through development of small-scale irrigation, water harvesting, and on-farm diversification) coupled with strengthened linkages between agriculture and industry (agro-industry), thereby creating a demand for agricultural output. In line with the above, efforts have been made by the government to improve the situation in the country in areas of domestic water supply provision, irrigation, watershed Management, etc. The Amhara Water Resources Development Bureau is playing its role in the development of small scale irrigation projects in the region. Accordingly, as part of the water sector development program, the office has initiated the study and design of a small scale irrigation scheme on Menna River at Dawch Kebele and signed an agreement with Amhara Design & Supervision Works Enterprise (ADSWE) for the study and design of the project.

1.1.1 Description of the Project Area

1.1.1.1  Location
Menna_Dawch irrigation project is located mainly at Dawch Keble, Mirab Belesa Wereda of North Gondar Zone in the Amhara Region. The proposed irrigation project is to be undertaken on Menna River and the headwork structures are specifically located at an altitude of about 1992 masl and geographical coordinates of 1354398 N and 0383459 E (UTM, ADINDAN). 

[image: image2.jpg]1353600 1354200 1354800 1355400

1353000

380800

381600

382400

383200

Mena-Dewuch project locatioj

n

West Belesa

=z

Libo Kemkem
Legend
= mena_outiet
I mena_Dewuch watershade
[Jworedas
0 015 03 06 03 12
[Sm=m: | i I Kilometers
380800 381600 382400 383200

1353600 1354200 1354800 1355400

1353000




Figure 1‑1: Location Map of the Project Area

1.1.1.2 Accessibility

The project site is 40km from Arbaya, capital city of Mirab Belesa woreda, in east direction. 18km is gravel road which is all weathered road. 15km dry weathered and 7km is accessible on foot.
1.1.1.3 Previous Irrigation Practices
In the study area traditional irrigation practices are under taken by individual farmers that use the river flow to the right side is with laborious temporary diversions. So, the farmers in the project area are very much interested in the idea of upgrading the traditional scheme to modern scheme. Menna_Dawch Intake irrigation project is proposed to upgrade existing traditional scheme to modern scheme.
1.2 Objectives of the Study
1.2.1 Major Objective 

The major objective of this study is upgrading the existing irrigation practice and expanding the command area by saving water loss due to improper water conveyance system.

Hence the objective of this project is to contribute a substantial share in the effort to reduce the risk of production decrease due to rainfall variability, reducing water loss and increase the productivity of the resource in the project specific area. Specifically, the project is targeted for the following. 

· To make sustainable the rain-fed crop production and make extra production in the dry season possible for 180 ha of land through irrigation.
· There is a general consensus that irrigation investments will achieve broader food security and poverty reduction impacts and if efforts are also geared towards up-grading existing traditional farming practices with support to enhance access to input supply, output marketing and extension to facilitate access to information and innovations. 
· This objective is to be realized by constructing intake structures across the Menna River and diverting the river flow.

1.2.2 Specific Objectives 

Other benefits that can be expected to appear with the launching of the project are: 

· Efficiency of water use improvement; 

· Improved local nutrition/food security gains; 

·  Improved Management of scarce natural resources (land and water); 

·  Resilience against drought risk; 

·  Rationale for erosion control and watershed Management; 

·  Rationale for the intensification and modernization of small-holder agriculture and rural lifestyles. 

· The engineering study and design enables the realization of the project by the provision of engineering structures that will allow the appropriate abstraction of the river water for delivery in to the identified irrigation fields of the study area. Hence, this engineering design is specifically targeted to:

· Analyze hydrologic requirements of the project and engineering structures;

· The formulation of sound and stable structure,  with necessary provisions that allow safe, easy and low-maintenance operation in the service life of the project;

· Design canals, flumes, super passages, division boxes and foot path roads
· Develop working drawings;

· Estimation of construction costs.

1.3 Scope of the Study
· The irrigation design shall ensure reliability, equity and flexibility of water delivery to farmers. It will aim at reducing conflicts among water users and will lead to lower operation and maintenance costs. 

· Updating the existing computation of the actual evapo-transpiration, crop water requirement, irrigation demand/duty using the existing and recent agronomic, climatologic and soil data using more appropriate methodologies.

· Design proper irrigation system compatible with local conditions and Management capabilities,

· Planning and layout of the irrigation system, which include irrigation canals, drainage channels, inspection roads and alignments, canal spacing, canal length, location of structures, and water profiles along canal and drains at specified reaches, which is most economical easily Manageable and aligned with topographic feature and geological investigation.
· Determination and estimation of water application conveyance and other losses and irrigation efficiencies and consideration of those parameters in design steps. 

· Check and test hydraulic and structural designs of main canal considering total demand and the required capacity and the base flow availability,

· Prepare general plans and drawings for all irrigation infrastructure and irrigation systems designs, 

1.4 Methodology
In the study and design procedure, Designers used the following steps.

· Specific Site identification:

· DEM, Google earth 
· Local farmers interview and discussion

· Wereda and Zone Agriculture section expertise

· On foot travel along the river channel and farm areas.

· Topographic survey: 

· Surveying the headwork site and the Command area with sufficient radius, using Total station

· Flow estimation

· Physical observation on flood mark indications and local information about high flood and critical flow condition of the river

· Base flow estimated during the reconnaissance field visit by floating method.

· Irrigable area identification:

· Using local information

· Detail Topographic Surveying data map.

· Study and design of the irrigation method to be adopted,
·  Study and design of the irrigation system layout and associated structures,
·  Design of the different conveyance canals,
·  Planning and design of the different irrigation and drainage structures,
·  Preparation of the longitudinal profiles of the different irrigation and drainage canals. 
2 HYDROLOGY

2.1 Watershed Characteristics
The watershed consists of all land forms in slope classes. Slopes within the watershed range from flat to very steep, in excess of above 30%, mountain land forms. The land escape of the watershed is characterized by hill and mountain, which constitute 72.49 % of the watershed area.
Table 2‑1: The Slope Classes and Proportion of the Water Shed
	No
	Slope

Slope Class (%)
	Area Coverage

	
	Description
	Class (%)
	Hectare (ha)
	Proportion (%)

	1
	Flat Plain
	0-3
	92.8948
	1.489731

	2
	Rolling Plain
	3-8
	666.1101
	10.68224

	3
	Undulating Plain
	8-15
	956.5312
	15.33965

	4
	Hill
	15-30
	1692.194
	27.13729

	5
	Mountain
	30-50
	1637.947
	26.26735

	
	
	>50
	1190
	19.08374

	Total
	6235.6771
	100


Certain physical properties of watersheds significantly affect the characteristics of the runoff and sediment yield and are of great interest in hydrologic analyses. The rate and volume of runoff, and sediment yield from the watershed have much to do with shape, size, slope and other parameters of the landscape. These suggest that there should be some important relations between basin form and hydrologic performance. If the basin and hydrologic characteristics are to be related, the basin form must also be represented by quantitative descriptors. These parameters can be measured from maps. 
The watershed characteristics are analyzed and presented in of the Watershed Feasibility Study Report of the same project. In summary: 

· Catchment Area  = 62.36km2
· Stream Length = 8.9Km  

· CN(II) = 84.85
· Time of Concentration = 2.92
At the selected reference point, the area of Menna_Dawch catchment is 62.36km2 and consists of a network of tributaries as shown in Figure 2-1 below. 

Menna River at the headwork site is characterized by well-defined channel system and considerable flows. It looks that the gradient of the river is getting low and hence there exists significant deposition of sediment mainly cobbles and boulders.

[image: image3.jpg]Mena-Dahuch Watershed by Wereda Mena-Dahuch Watershed by Wereda

Ambhara Region by Zone Mena-Dahuch Watershed
Head Work Site





Figure 2‑1: Drainage Map of Menna_Dawch Watershed
2.2 Hydro-Metrological Data Availability
2.2.1 Climate

Small scale irrigation project designers and planners are faced with lack of good data on the hydrology of the stream/river system that will be their water source and on local weather and climate conditions. Stream gauging stations are virtually non-existent in remote rural areas of Ethiopia; meteorological stations are almost rare. Likewise, at Dawch Kebele (Project area location) and in the catchment area of this project, there is no meteorological station of any level. Moreover, there are no flow data for the river near the project. Therefore, data for the hydro-meteorological analysis is taken from the nearby station and similar areas. Rainfall & temperature data are considered from Addis Zemen Meteorological station. In fact, this station is very close to the project area about 10km.
As per the data of the station, March – April are identified as high temperature periods whereas December–January are low temperature periods. The mean annual rainfall amount is more than 44.42mm (1998 - 2008 data) and most of it occurs from June to August.

2.2.2 Rainfall Data 

In order to compute the design flood for the Intake structure, the daily maximum rainfall is collected from Addis Zemen Metrological stations with a record of 12 years.
2.2.3  River flow data

The base flow which is measured on April 2007 E.C is 270 l/s. Since this base flow is measured during the dry months of the year, this figure is adopted for design.

2.2.4 Upstream & Downstream utilization 
Downstream of the proposed site, appreciable need for water is anticipated for locals and cattle provisions. Therefore, at least 54 l/s (21%)of the minimum flow has to be released for downstream requirements and the river has ground water at downstream so that there is no any conflict between u/s and d/s of the projects.
For the sake of planning and design, however, the outlet for the intake is designed for a discharge of 220l/s for this project and the project is to be developed for 180 ha of land, which is most of the time achievable as the flow for most of the time is significant to support this size of command area.

2.3 Design Flood Analysis
For the design and analysis of structures to be constructed on the river, estimation of flood magnitude is an important task. This can be done using different techniques depending on the data available. For this particular case, there are no river flow data and hence the flood estimation is done using the rainfall data and applying SCS Curve Method.
2.3.1 Design Rainfall computation

2.3.1.1 Outlier Test

Higher Limit, [image: image5.png]Yy = Ymean + Kn xSy



,      Kn = 1.87 for 12 Years of data. 
Lower Limit, [image: image7.png]Yy = Ymean — Kn xSy



,     Kn = 1.39 for 12 Years of data.
Table 2‑2: Outlier Test Analysis
	Year
	Daily heaviest Rainfall (mm)
	Descending order (X)
	Logarithm value (Y)

	1998
	32.4
	69
	1.8388

	1999
	42
	57
	1.7559

	2000
	46.5
	53.2
	1.7259

	2001
	27
	48.4
	1.6848

	2002
	53.2
	46.5
	1.6675

	2003
	38
	42.5
	1.6284

	2004
	48.4
	42
	1.6232

	2005
	57
	42
	1.6232

	2006
	69
	38
	1.5798

	2007
	35
	35
	1.5441

	2008
	100
	32.4
	1.5105

	2009
	42
	27
	1.4314

	SUM
	533.00
	19.6136

	MEAN
	44.42
	1.6345

	STANDARED DEVIATION
	11.49
	0.1114

	SKEWNESS COEFFICIENT
	0.679
	0.0055

	NUMBER OF DATA:
	12
	19.6136


Higher Limit, YH = 1.87

Lower Limit, YL = 1.39

Therefore,

Upper limit of rainfall = 10^1.87 = 74.51mm

Lower Limit of rainfall = 10^1.39 = 24.93mm

Conclusion: The rainfall values are within the limits.

2.3.1.2 Check for variance

After checking the outliers, the data should be checked for variability. For variability the formula used is 

                       [image: image9.png]


 


 Where, δn-1 = Standard deviation =11.49
                                  N = Nr of recorded data =12
                   

Mean = 44.42



[image: image11.png]


 = Standard error

                   [image: image13.png]o) * 100% = 7.47 < 10%



  Acceptable 
Therefore the data shows no variability.
2.3.1.3 D-Index test

After checking the consistency of the data for higher and lower outlier, the 12 years data is obtained as representative for the analysis using D-index. The D-Index test is believed to be the better goodness to fitness in many literatures. Hence in this study it was used to determine the best statistical distribution to estimate the peak rainfall. The D-index for the comparison of the fit of various distributions is summarized as follows.
[image: image15.png]Dotnaer = () * 21y AbSCH —Xi)



 
Where Xi and Xi’ are the ith highest observed and computed values for the distribution respectively.
Table 2‑3: Test for Goodness to Fit Using D-Index
	 
	Normal
	Log Pearson Type III
	Log Normal
	 Pearson Type III
	Gumbel EVI
	Gumbel 

	 
	XI -'XI'
	XI -'XI'
	XI -'XI'
	XI -'XI'
	XI -'XI'
	XI -'XI'

	Sum/Mean
	0.348
	0.247
	0.255
	0.33
	0.289
	5.050


All the candidate distributions give almost identical correlation coefficients. However, the standard errors are significantly lower for the log Pearson type III Method which is 0.247. But accordingly our country criteria, the design rain fall for this distribution has been selected the highest result. In this study the Gumbel method has been selected.
The design rainfall using Gumbel Method is given as


[image: image16.wmf]K

R

R

n

mean

f

*

.

1

-

+

=

s


Where Rf  = Design rainfall
Rmean = average of all values of annual heaviest fall = 44.42 mm 
σn-1 =  standard deviation of the series = 11.49 mm
[image: image17.png]




[image: image18.wmf])

1

ln(

ln

-

-

=

T

T

Y

t

, T= Return period = 50 years

[image: image19.wmf]9

.

3

)

1

50

50

ln(

ln

=

-

-

=

t

Y


Yn, Sn = constant found from Gumble’s extreme value distribution table for N= 12 Years

· Yn = 0.501and Sn = 1.02

[image: image20.wmf]32

.

3

)

02

.

1

501

.

0

9

.

3

(

=

-

==

K



[image: image21.wmf]mm

R

f

5

.

82

31

.

3

*

49

.

11

41

.

44

=

+

=


· Point Design Rainfall = 82.5 mm 
The design rainfall at points for 50 years return period is 82.5 mm and the areal design rainfall is calculated in the following section.
2.3.2 Peak Discharge Determination
2.3.2.1 General

The River is not gauged river. The design flood is calculated by method using SCS unit hydrograph method. Thus, it is preferred to base the flood analysis on rainfall data, which are better both in quantity and quality of data. In the hydrologic analysis for drainage structures, it must be recognized that there are many variable factors that affect floods Peak flood analysis by SCS unit hydrograph method.
Design flood is calculated method of SCS (The United States Soil Conservation Service). This method is widely adopted and more reliable method for flood estimation. The approach considers, watershed parameters, like Area, Curve number, and time of concentration.
2.3.2.2 Time of concentration (Tc)

Time of concentration has been calculated by taking the stream profile of the longest streamline and dividing it in to different elevation. Kirpich formula is adopted for computation.

  The formula is, 

 [image: image23.png]Tc=30948 {(5)“’5 + (:i')‘ms et (%)n_WS}

H



 
· Tc = 2.92
Since Tc < 3hr., duration of excess rainfall difference, D = 0.5hr.

· Time to peak,


 [image: image25.png]=
Tpe3 +06T,



  = 2hr

· Base time,


 [image: image27.png]T, =2.67+T,



 = 5.34hr
· Recession time,


 [image: image29.png]1.67 *T,



  = 3.34hr.

2.3.2.3 Area Rainfall
As the area of the catchment gets larger, coincidence of all hydrological incidences becomes less and less. This can be optimized by changing the calculated point rainfall to aerial rainfall. The conversion factor is taken from standard table that relate directly with the size of watershed area and type of the gauging station. (IDD manual)

For the case of Menna_Dawch irrigation project,
· Total watershed area =62.36 Km2
· Type of gauging station = Daily rainfall (24 hr.)

· Aerial Rainfall = (Point Rainfall) x (Conversion factor)

2.3.2.4 Run off Analysis

Input data:

· Design Point Rainfall = 82.5mm
· Curve number at antecedent moisture condition III = 93.34
· Catchment Area, A = 62.36 Km2
· Tc = 2.92hr, D = 0.5hr., Tp = 2 hr; Tb = 5.34 hr; Tr = 3.34hr.

· Direct run-off, 
 [image: image31.png]


 
Where, I = Rearranged cumulative run-off depth (mm

· S = Maximum run off potential difference,
 [image: image33.png]5= (E22) 254





· Peak run-off for incremental; 
  [image: image35.png]Q

=021+22

49



 

                   
Where,   A = Catchment area = 62.36 Km2
                   

 Tp = Time to peak (hr)
                 Q = Incremental run-off (mm)

Table 2‑4: Runoff analysis

	Duration

(hrs)
	Cumulative run off

(mm)
	Incremental

run off

(mm)
	Peak run off

incremental

(m3/sec)
	Time of

begin
	Time to

peak

(hrs)
	Time to

end

	0.0-0.5
	3.31
	3.31
	0.00
	0.00
	0.00
	0.00

	0.5-1
	7.88
	4.57
	0.79
	0.79
	5.19
	0.50

	1-1.5
	14.46
	6.58
	4.01
	3.22
	21.07
	1.00

	1.5-2
	31.49
	17.04
	16.80
	12.79
	83.75
	1.50

	2.5-3
	40.07
	8.58
	24.24
	7.44
	48.74
	2.00


Table 2‑5: Hydrograph coordinates


	Time
	Coordinate of Hydrograph   (m3/Sec)

	(hr)
	1
	2
	3
	4
	5
	6
	Total

	0.00
	0.00
	 
	 
	 
	 
	 
	0.00

	0.50
	0.00
	0.00
	 
	 
	 
	 
	0.00

	1.00
	0.00
	1.30
	0.00
	 
	 
	 
	1.30

	1.50
	0.00
	2.59
	5.27
	0.00
	 
	 
	7.86

	2.00
	0.00
	3.89
	10.53
	20.92
	0.0
	 
	35.33

	2.50
	0.00
	5.19
	15.80
	41.87
	12.18
	0.0
	75.02

	3.00
	0.00
	4.41
	21.07
	62.81
	24.36
	6.51
	119.16

	3.50
	0.00
	3.63
	17.91
	83.75
	36.55
	13.02
	154.87

	4.00
	0.00
	2.86
	14.76
	71.21
	48.74
	19.53
	157.09

	4.50
	0.00
	2.08
	11.60
	58.67
	41.44
	26.04
	139.84

	5.34
	0.00
	0.78
	6.31
	37.62
	29.19
	19.50
	93.39

	5.84
	 
	0.00
	3.15
	25.08
	21.89
	15.60
	65.73

	6.34
	 
	 
	0.00
	12.54
	14.60
	11.70
	38.83

	6.84
	 
	 
	 
	0.00
	7.30
	7.80
	15.10

	7.34
	 
	 
	 
	 
	0.00
	3.90
	3.90

	7.84
	 
	 
	 
	 
	 
	0.00
	0.00


[image: image36.png]180.00
DISCHAR %%
140.00

12000

100.00

80.00

60.00

40.00

2000

0.00

200009

200
TIME

400

600

800

10,





Figure 2‑2: Complex Hydrograph

From the analysis, the 50 year return period design run off is 157.09 m 3/s

2.3.3 Tail Water Depth Computation

Tail water depth of the river is equal to the flood depth and amount at the proposed intake site before construction of the intake. It is used to crosscheck peak flood estimated by the SCS unit hydrograph method with tail water computation.

[image: image37.emf]1992

1993

1994

1995

1996

1997

1998

0.00 20.00 40.00 60.00 80.00 100.00 120.00 140.00

River crose section


  Figure 2‑3: Headwork Site River Section     
Table 2‑6: Stage Discharge Analysis
	ELEVATION
	H
	P
	A
	R
	V
	Q

	1993.00
	0.00
	0.00
	0.00
	0.00
	0.00
	0.00

	1993.30
	0.30
	1.17
	6.82
	0.17
	1.03
	1.21

	1993.60
	0.60
	3.17
	12.08
	0.26
	1.37
	4.34

	1993.90
	0.90
	7.17
	17.34
	0.41
	1.85
	13.29

	1994.20
	1.20
	13.17
	23.37
	0.56
	2.28
	30.00

	1994.50
	1.50
	24.13
	49.80
	0.48
	2.06
	49.71

	1994.80
	1.80
	40.77
	61.33
	0.66
	2.54
	103.70

	1995.00
	2.00
	53.29
	65.20
	0.82
	2.92
	157.09

	1995.10
	2.10
	60.03
	67.29
	0.89
	3.10
	185.80

	1995.40
	2.40
	81.03
	73.24
	1.11
	3.57
	289.50



[image: image38.emf]0

0.5

1

1.5

2

2.5

0 20 40 60 80 100 120 140 160 180

Tail Depth (m)

Discharge (m

3

/s)


 Figure 2‑4: Rating Curve
From the above stage discharge table and curve the maximum flood level corresponding to the computed design peak discharge is 157.09m3/s (2.0 m from the river bed) and it is considered as the high flood level i.e. expected at the intake axis before construction of the intake.


[image: image39.wmf]Þ

HFL = 1995 masl.

a) Average river bed slope

Average river bed slope of River is estimated by two different techniques. One is by end area method and the other is by using best fit line method. Designers have adopted the end area method output for further analysis. 

The water level of the river is taken at different points along the river channel around the head work site. Surveying work done for 190m length. And then, average water surface slope is considered as the river bed slope. For comparison of the two procedures, refer the attached Excel file.

[image: image40.png]1995.5

1995

1994.5

1994

1993.5

1993

1992.5

1992

19915

RIVER SLOPE

50

100

150

200




Figure 2‑6: River Slope Profile 
b) Manning’s Roughness coefficient

The Manning’s roughness coefficient is taken from standard table based on the river nature. The river at the headwork site has got braded feature and curving nature. The river banks are defined and relatively smooth. Manning’s roughness coefficient (n = 0.04) is adopted.

c) Discharge of the river

 Input data:

· Manning's roughness coefficient, n = 0.04

· Average river bed slope, S = 0.018

[image: image41.wmf]S

R

n

V

´

´

=

3

/

2

1

,  

Where, R = Hydraulic radius = (Area/Perimeter) 
[image: image43.png]Q=V=*A





Table 2‑7: River Discharge Computation at Different Stages of Flow
	Sr. Nr
	Elevation
	H
	P
	A
	R
	V
	Q

	1
	1993.00
	0
	0
	0
	0.00
	0
	0

	2
	1993.30
	0.3
	1.17
	6.818
	0.17
	1.03
	1.21

	3
	1993.60
	0.6
	3.17
	12.0775
	0.26
	1.37
	4.34

	4
	1993.90
	0.9
	7.17
	17.335
	0.41
	1.85
	13.29

	5
	1994.20
	1.2
	13.17
	23.3725
	0.56
	2.28
	30.00

	6
	1994.50
	1.5
	24.13
	49.7958
	0.48
	2.06
	49.71

	7
	1994.80
	1.8
	40.77
	61.33
	0.66
	2.54
	103.70

	8
	1995.00
	2.00
	53.29
	65.20
	0.82
	2.92
	157.09


3 HEADWORK DESIGN

3.1 Headwork Site Selection 
Head work site selection for right side of the Menna_Dawch River is more appropriate for irrigation development and at 4 places on the river, there are traditional diversions in the form of the intakes to irrigate the right side of the river. All canals that emerge from the head work site creep along the right bank of the river. These canals are exposed to the floods. The constructed traditional canal is usually taken away by flood during rain seasons. Reconstruction has to be executed to use the water for irrigation development. This is basic problem to the site, which has to be solved by this project.

The headwork site has been selected at the upstream of three traditional diversions to combine them for the irrigation development.

Taking into consideration, the geological formation of the headwork site, proximity of the command area to headwork, river topography, water head required, construction material availability, crossing structure along the route of the main canal and expected flood intensity, intake is proposed as headwork structure.

3.2 River Geology
It is a common fact that the river development tends to accommodate itself to the local geology that develops along the structurally weak zones like faults, joints, folds, etc. The drainage system of the study area is strongly influenced by geological structures and formations, the nature of the vegetation cover and climate. The nature of geological formations and structures has also strong influence on the development of the channel.

The present morphology of the Menna River channel is a function of a number of processes and environmental conditions, including the composition of the bed and the banks stable clay soil formation.  The size and composition of the sediment moving through the channel; the rate of sediment transport through the channel and deposition on the banks and beds; and the regional degradation due to erosion processes. Both left bank and the bed are composed of loose silt clay soil and coarser alluvial sediment as the result the stream shows highly meandering nature both up and downstream from the proposed site but at the particular intake site it shows not straight river channel. The river has wider section in upstream & downstream.
3.2.1 River Bed condition

The stream bed at proposed headwork site is characterized by straight, undefined and uniform surface situations and formed with uniform geological materials, as seen from surface and subsurface observations. Due to undefined flow direction and bank shape of the river, the stream bed has a very wide range from left bank to right bank. This stream bed has 80m length during in the time of study and the whole surface of the bed is covered by thick alluvial deposits, across the stream bed from right to left bank. The alluvial deposits that cover all stream bed in both upstream and downstream direction including the intake axis. The deposit is characterized by boulder, cobble, gravel, sand and silt formations. The test pit is taken from this stream bed near the right bank with 3m height and from the observation of this subsurface investigation; the bed rock is not exist at near distance. The test pit material is characterized by silty sand and gravel soil until the end of pit depth with higher moisture content. The laboratory test has been done for this pit to characterize the gradation of the deposit and according to laboratory testing (especially for gradation test); the deposit is characterized by the following results:

Gravel (>4.75mm) =37.15%

Coarse sand (4.75-0.425mm) =40.25%

Fine sand (0.425-0.075mm) =16.67%

Silt and clay (<0.075mm) =5.93%

[image: image44.jpg]



Figure 3‑1: River Bed at the Proposed Intake Site
3.2.2 River Bank Condition
3.2.2.1  Right Bank

The right bank of the project headwork site composed from SILTY CLAY and CLAY with brown color soils. The bank has 2m height from the river bed to upper area along the proposed axis. The main canal out let is part of this bank and traditional canal exists in this side and the canal is during in the time of study is functional for irrigation purpose by local people. The bank nature is undefined in both upstream and downstream direction including the proposed axis due to less erosion resistance materials. In general the bank has no defined shape and the river flow direction changes from season to season. There is no any type of rock out crop in general in the banks, so that always bank erosion and sliding condition is increasing due to year to year. From observation of bank geology and stream flow condition, the area is unstable, unworkable and not durable, so that the area required different erosion and sliding protection structures such that masonry or retaining wall during in the time of project construction. Along in this section of the bank the masonry or retaining wall should be constructed within 75m and 30m in both the upstream and downstream direction respectively, if not the river strictly changed current flow direction and the hydraulic structure that constructed in the area is out of function. 

3.2.2.2 Left Bank

The left bank of the project headwork site geological formation is SILTY SAND and SILTY CLAY soils in both the upstream and downstream direction including the axis. The bank nature is gentle area and less erosion activity resistance, so that due to this less erosion resistance material the bank shape becomes gentle and move towards the farmland area year to year. In the last time the river could be diverted by weir structure but from this weak nature of bank material the flow of river changed out of the weir and still the weir structure is not functional, so that to avoid this problem the river should be diverted by intake structure and different retaining structures are also required to protect river flow direction. The river flows has no permanent flow direction and in summer season the flood which comes from the surrounding mountain from the upstream direction highly affected this bank. From less erosion resistance bank material nature, this bank required flood resistance structure such that masonry structure or retaining wall in both the upstream and downstream direction from the axis. In both upstream and downstream direction the masonry or retaining structures are required within 80m and 30m length respectively.
3.3 Headwork Type Selection
Considering the river geology features and expected flood amount, Intake is chosen. 

· Simple for construction.
· Intake section is expected of the peak flood while the remaining flood will pass over the overflow section of the river course.

· There is no significant bed load (boulder effect) in the river.

3.4 Hydraulic Design of Headwork Structure
3.4.1 Intake Height or Scour Depth Determination

The following major factors have been seen in determining the Intake crest level:

· Maximum  command area elevation

· Deriving head of the intake structure

· Loss

· Lowest Point of river center

3.4.2 Intake Dimensions

3.4.2.1 Flow over the Intake crest

a. Crest Length

· Actual river section width of the over flow section of the river is = 80m

b. Discharge over the intake section

· Design discharge, Q = 157.09 m3/s. (Result is obtained from hydrology report of same document).
3.4.3 Outlet Design

3.4.3.1 Canal outlet level 

The head regulator is provided on the right-side .The sill level of this head regulator is fixed from different angle observations. The main conveyance system is more than 2.6km which passes more gullies and undulating alignment. Hence this level is fixed based on the optimum route alignment and the maximum irrigated command level including minor and major losses criteria. Based on this condition, the sill level is fixed to be1992.40m.

          • Outlet capacity 

The minimum command area is determined by the minimum flow of the river but the canal capacity should be determined for maximum command area and the corresponding discharge. In this case the outlet capacity is fixed considering maximum duty and command area are considered to account the variation of duty.

· Outlet capacity = Duty x command area


Where, maximum duty for 20hr irrigation 1.22 L/s/ha 

                                                                             Command area = 180ha.

· Outlet capacity = 1.22 L/s/ha x 180ha = 220 L/sec
          • Outlet size 
From the intake discharge formula the outlet size is determined as follows

 Q = CLHe3/2
Where; C = coeff. of discharge = 1.7

 L = Length of water w


[image: image45.wmf]m

x

CHe

Q

L

2

.

0

1

.

0

7

.

1

22

.

0

2

/

3

2

/

3

=

=

=


⇒ Waterway length = 0.6m from hydraulic computation canal parameters.
Hence, provide an outlet size of 0.6mx 0.9m (length x height) by adding free board 0.30m .The gate of the off take canal is to be vertical sheet metal of 0.7m x 0.90m for the closure of the opening space. The grooves are to be provided on the walls using angle iron frames at the two sides of the gate openings.
3.4.3.2 Trash rack and Operation Slab

A vertical raised gate is designed for the canal outlet regulator. These gates slides over the operation slab on the outlet of canal during opening and closing.

For easy operation of these gates, operation slab is provided. The size of the operation slab is fixed from the point of construction and free movement. The size of the operation slab is shown in the drawing for canal outlet thickness 0.2m.
The actual arrangement of angle irons, spindles, shafts and operation slab including other components is shown on the design drawing.  For each arrangement and further information, refer to the design drawing.
Trash rack is provided to protect the opening off take from the incoming boulders and debris. Size of trash rack is 0.8m width and 0.9m height. Trash racks of diameter 12mm with c/c spacing of 20cm has to be provided u/s of the gate to prevent entry of debris to the canal.

3.4.4 Retaining Wall Analysis
At the right side of the intake, walls have been provided to safeguard the river bank and the structure from scour at the ends and also as a facility to the canal outlet operation and maintenance at the canal outlet portion.

Table 3‑1: Typical design of masonry retaining wall 
[image: image46.emf]Over turning = (M+ve/M-ve)    >1.5 Fo 3.962444>1.5 OK

Sliding = (µxFv/Fh),---µ=0.75    >1.5 Fs 1.801367>1.50 OK

Tension: X= (Net Moment/Sum Fv), e=x-B/2,   e<B/6X 1.562326

B/6= 0.583333e 0.187674<B/6 OK


4 IRRIGATION AND DRAINAGE SYSTEMS DESIGN

4.1 Irrigable Area Description
4.1.1 Topography

Topography is an important factor for the planning of any irrigation project as it influences method of irrigation, drainage, erosion, mechanization, and cost of land development, labor requirement and choice of crops.

The topographic feature of the project command area is mainly mild sloping type. Its elevation range is from 1991 to1936 meters above sea level.  Nevertheless, it requires soil and water conservation measures or structures (i.e. constructing bunds, bio-physicals, check dams, artificial water ways, etc).  

The project command area is situated at the right side of Menna River (to the west side of the river). The natural topographic feature of the command area has inclined from the North- to the North-West direction.  

4.1.2 Soil characteristics 

Soil properties (physical, chemical, etc.) greatly influence the growth and thereby yield of crops which is grown. The command area has predominantly silt and clay and silt sand soil textured. Soils of the command area are suitable for most of the selected crops to be grown (for further detail see the Agronomy Study of the same project.
4.2 Irrigation Water Requirement 
4.2.1 Crop Water Requirement (CWR)     

The calculation of crop water requirement is a very important aspect for planning of any irrigation project. Several methods and procedures are available for this. The Food and Agriculture Organization (FAO) of the United Nations has also made available several publications on this subject and other issues related with this. The computer program available in FAO Irrigation and Drainage Paper No. 56 “CROPWAT” has been used for the calculation of Crop Water requirement. This program is based on Penman-Monteith approach and procedures for calculation of crop water requirements and irrigation requirements are mainly based on methodologies presented in FAO Irrigation and Drainage Paper No. 24 “Crop Water Requirements” and No. 33 “Yield Response to Water”. 

The corresponding values of the crop water requirements of the proposed crops of the project are presented in the Agronomy Study of the same project.

4.2.2 Irrigation efficiency (Ep)

To complete the evaluation of the demand, the efficiency of the water distribution system and of application must be known. 

The gross requirement of water for irrigation system is very much dependent on the overall efficiency of the irrigation system, which in turn is dependent on several factors: Method of irrigation, type of canal (Lined and/or Unlined), method of operations (simultaneously and continuous or Rotational water supply), and availability of structures (for controlling and distribution and measuring and monitoring).

On the basis of these factors, the project has planned to impose surface irrigation method (using furrows). The canal system is unlined other than canal near the head work. Hence, the conveyance efficiency has been estimated to be 90%, distribution efficiency 85%, and field application efficiency 60%. As a result of these the overall irrigation efficiency has been estimated to be 46%. According to soil Lab result, soils of the command area are predominantly characterized as silt sand soils.

4.2.3 Irrigation duty

Irrigation duty is the volume of water required per hectare for the full flange of the crops. Moreover, it helps in designing an efficient irrigation canal system.

 The area, which will be irrigated, can be calculated by knowing the total available water at the source and the overall duty for all crops required to be irrigated in different seasons of the years.

The proposed cropping pattern of Menna_Dawch intake irrigation project has showed a maximum net irrigation water requirement (NIWR) in the month of March with the amount of 5.88mm/day for 24 working hours (for overall proposed crops). 

However, for the designing of the irrigation water application and the flows in the entire canal systems, from the overall proposed crops the one that has maximum NIWR was used for irrigation duty calculation. Accordingly, potato has showed the maximum NIWR (i.e. 5.88mm/day); and hence taken for the irrigation project duty calculation as indicated here below:

For Menna_Dawch River Intake Irrigation Project, it decided to adopt 60% field application efficiency, 85% distribution efficiency, and 90% conveyance efficiency as the soil is clay textured and the canal systems are estimated to be line and unlined except small portion of the main canal near head work. Hence, the overall/project efficiency for the selected surface irrigation method has been estimated to be 46% (60/100*90/100*85/100) which is rounded to 46%. 

For the designing of the project, the GIWR is given as follows:

                             GIWR = 5.88/0.460 = 12.78 [mm/day]

The GIWR, 12.78 mm/day, represents the daily quantity of water that is required to be applied. This water quantity is also used for the determination of the canal discharge in consideration of the time of flow and is defined as the duty, expressed as l/s/ha. 

The duty is calculated by:

                   Duty (D) = GIWR × 1000 × 10 / (t × 60×60)

 Where; Duty – the duty [l/s/ha]

           GIWR – Gross Irrigation Requirement [mm/day]

         t – Daily irrigation or flow hours [hrs]

The duty for the GIWR of 12.78mm/day and20 hours of daily irrigation time (t = 20), is supported to be used with furrow irrigation method. Hence, Duty for20 working hours, as the site is nearer to farmers’ village and local farmers have experiences in irrigation, is computed as follows:  

                               D = (12.78 x 1000 x 10) / (20 x 3600) =1.22L/S/ha
4.2.4 Irrigation Methods 
Among the different irrigation systems furrow irrigation system is proposed for the project area; and the irrigation water will be obtained from Menna River and by constructing intake and convoying the water commonly through lined and earthen canals (MC, SC, and TC) and then leading to field canals; and finally irrigation takes place mostly in furrows.

For this project, among the various irrigation methods, surface irrigation method has been selected.  Of the surface irrigation methods furrow, border and basin irrigation methods can be used to supply irrigation water to the plants/crops. However, each method has its own advantages and disadvantages. Care should be taken when choosing the method which is best suited to the local circumstances, i.e., depending on slopes, soil types, selected crop types, amount of water available, etc. of the command area.

Based on the above factors surface irrigation method has been proposed for the proposed crops in this project. The method allows applying light irrigation and can be laid out in sloping fields along the contour. Furrow irrigation method is best suited for most of the proposed and row planted crops. In general, furrow irrigation method is simple, Manageable and widely practiced irrigation method. This method is suitable for row crops that cannot stand in water for long periods. The only thing required to use this method is row planting of crops. Besides, basin and border irrigation method would be used for the non-row planted crops. Rotational flow water distribution is also recommended for the project area.  

4.3 Irrigation and Drainage System Layout
The irrigation system layout for the project is prepared taking the following points into consideration besides other factors. 

· A primary concern in the layout of the system is that it serves the purpose of conveying and distributing water to the command area. 

· The excavation and earth fill volumes not be excessive, otherwise the construction costs can be tremendous. 

· The selection of longitudinal bed slope is made taking into account the existing slopes of the terrain, so as to minimize deviations in canal routing.

· Curves in canals should not be too sharp. 

The proposed irrigation system layout comprises one main canal, four secondary canals and twelve tertiary canals as shown on the layout Drawings. The main canal runs for most of its length parallel to the contours and several changes of direction are necessary to follow the topography. It crosses four main gullies, one foot path. The main canal is masonry lined for a length of 2600meters starting from the intake outlet.

Conveyance System
The conveyance system consists of one Main canal to irrigate total command area of 180ha. The main canal starts from Water abstraction site on right side and conveys water for a length of 2.6 Km. 
Main canal is aligned along contours and supplies to four secondary unit and two turn out. 

Design of the Canal System
Flow Depth and Section Capacity 

The earthen canals have been designed with a trapezoidal shape and the lined ones with rectangular x-section using Manning's Formula:


[image: image47.wmf]n

xS

AxR

Q

2

/

1

3

/

2

=


Where Q = discharge (m3/s)

 
R = Hydraulic radius (Flow area/wetted perimeter)

 
S = Hydraulic gradient

n = Manning's roughness coefficient, n = 0.025 is for the earth channels and n = 0.018 for the masonry lined part of the main canal
4.3.1 Main Canal
The main canal is designed for a discharge of 220l/s and depending on the site specific condition, appropriate slope is provided. Hydraulic parameters of the main canal are shown below.


	
	Bill 1. GENERAL ITEM 
	
	
	
	

	I. No
	 Descriptions
	Unit
	Qty
	Rate 
(Birr) 
	Amount
 (Birr) 

	1
	Genral Items
	 
	 
	 
	 

	1.1
	Allow for mobilization 
	Ls
	1.00
	       220,000.00 
	                220,000.00 

	1.2
	Allow for demobilization 
	Ls
	1.00
	       176,000.00 
	                176,000.00 

	1.3
	Allow for contractor's  camp and facilities
	 
	 
	 
	                               -   

	1.3.1
	Allow for constraction camp and facilities = 4*5 m2, living rooms  for construction key personnel, CIS and internally painted chip wood wall, masonry floor cement screend and well ventilated room complet with doors and windows., cafteria,shawor &toilet.$ from this two class's 4*5m^2 to consultant living $office
	Ls
	1.00
	       450,000.00 
	                450,000.00 

	1.4
	Allow for temporary acess road to site for15km
	Km
	7
	       250,000.00 
	             1,750,000.00 

	1.5
	Dewatering of open trenches and excavation of temporary diversion of the river flow and pumps.
	Ls
	1
	       158,100.00 
	                158,100.00 

	1.6
	Provide project indicator post starting from the construction time.
	Ls
	1.00
	           9,500.00 
	                    9,500.00 

	1.7
	Provision of as built drawings for the project.
	Ls
	1.00
	28400.00
	                  28,400.00 

	Total Carried to Summary for General Item
	2,792,000

	
	
	
	
	
	

	
	Bill 2. Head Work Structures
	
	
	
	

	I. No
	 Descriptions
	Unit
	Qty
	Rate 
(Birr) 
	Amount
 (Birr) 

	2.1
	Bed  Bar
	 
	 
	 
	 

	2.1.1
	Earth Excavation Ordinary Soil
	m3
	     522.83 
	                45.00 
	                  23,527.35 

	2.1.2
	Back fill
	m3
	     367.25 
	              110.00 
	                  40,397.50 

	2.1.3
	Concrete (C25)
	m3
	     121.13 
	           2,900.00 
	                351,262.50 

	2.1.4
	Lean Concrete (C20)
	m3
	         7.55 
	           1,500.00 
	                  11,325.00 

	2.1.5
	Reinforcing bars ф 12 including  Off take
	Kg
	  1,951.77 
	                50.00 
	                  97,588.50 

	2.1.6
	Plasterig(1:2 ratio)
	m2
	     161.50 
	              120.00 
	                  19,380.00 

	Total Carried to Summary for Bed Bar
	543,481

	2.2
	Right Side Retaining Wall
	 
	 
	 
	 

	2.2.1
	Earth Excavation Ordinary Soil
	m3
	     650.00 
	                45.00 
	                  29,250.00 

	2.2.2
	Back fill
	m3
	     260.00 
	              110.00 
	                  28,600.00 

	2.2.3
	Masonry(1:3 ratio)
	m3
	     800.00 
	           1,650.00 
	             1,320,000.00 

	2.2.4
	GABION
	m3
	     252.33 
	           1,300.00 
	                328,029.00 

	Total Carried to Summary for Right Side Retaining Work
	1,705,879

	2.3
	Off take canal gate and installation,  4mm thickness sheet metal, 40mmX30mmX4mm angle iron,  ∅12mm bar for anchorage square iron tube with 2mm thickness                               
	No
	         1.00 
	         13,994.15 
	                  13,994.15 

	Total Carried to Summary for Off take
	13,994

	Total Carried to Summary for Head Work
	2,263,354

	
	
	
	
	
	

	
	BILL 3. INFRASTRUCTURE 
	
	
	
	

	I. No
	 Descriptions
	Unit
	Qty
	Rate 
(Birr) 
	Amount
 (Birr) 

	3.1
	Main Canal
	 
	 
	 
	 

	 
	Earthworks
	 
	 
	 
	 

	3.1.1
	Common Soil Excavation  to a any depth including  haul to a distance not exceeding  200m.
	m3
	5775.49
	45
	259,897

	3.1.2
	Filling with selected material from excavated material including  compaction.
	m³
	921.20
	110
	101,332

	 
	Masonry Work
	 
	 
	 
	0

	3.1.3
	Basaltic or equivalent stone masonry canal wall erection well bedded in cement sand mortar of 1:3 mix ratio .The thickness of masonry wall will be as indicated in the drawing. The work should be to the satisfaction of the Engineer
	m3
	1612.56
	1650.00
	2,660,724

	3.1.4
	Internal plastering for the masonry wall
	m2
	2805.92
	120.00
	336,710

	Total Carried to Summary for Main Canal
	 

	3.2
	Secondary Canal
	 
	 
	 
	 

	 
	Earthworks
	 
	 
	 
	 

	3.2.1
	Common Soil Excavation  to a any depth including  haul to a distance not exceeding  200m.
	m3
	1377.00
	45
	61,965

	3.2.2
	Filling with selected material from excavated material including  compaction.
	m³
	921.20
	110.00
	101,332

	 
	Masonry Work
	 
	 
	 
	 

	3.2.3
	Basaltic or equivalent stone masonry canal wall erection well bedded in cement sand mortar of 1:3 mix ratio .The thickness of masonry wall will be as indicated in the drawing. The work should be to the satisfaction of the Engineer
	m3
	956.77
	1650.00
	1,578,677

	3.2.4
	Internal plastering for the masonry wall
	m2
	3228.99
	120.00
	387,479

	3.3
	Turnout/ Division box
	 
	 
	 
	0

	 
	Concrete
	 
	 
	 
	0

	3.3.1
	Supply and cast lean concrete quality C-10 filled in to formwork and vibrated. 
	m³
	18.54
	2100.00
	38,929

	 
	Masonry Work
	 
	 
	 
	0

	3.3.2
	Basaltic or equivalent stone masonry retaining wall erection well bedded in cement sand mortar of 1:3 mix ratio .The thickness of masonry wall will be as indicated in the drawing. The work should be to the satisfaction of the Engineer
	m3
	8.36
	1650.00
	13,794

	3.3.3
	Internal plastering for the masonry wall
	m2
	14.92
	120.00
	1,790

	3.3.4
	40cm Cemented Stone Pitching as per the engineers interest
	m3
	24.05
	1200.00
	28,858

	 
	Gate
	 
	 
	 
	0

	3.3.5
	15cm thick Precast concrete for Walk way, detail is presented in the drawing
	m2
	152.60
	400.00
	61,040

	3.3.6
	Spindle for vertical lift and its handling 
	Pcs
	35.00
	6000.00
	210,000

	3.3.7
	Angle iron for shuttering and for stiffening
	m
	24.66
	800.00
	19,728

	3.3.8
	Sheet metal 8mm  thick
	m2
	2.32
	1000.00
	2,320

	3.4
	Drop structure
	 
	 
	 
	0

	 
	Concrete
	 
	 
	 
	0

	3.4.1
	Supply and cast lean concrete quality C-10 filled in to formwork and vibrated. 
	m³
	3.79
	2100.00
	7,959

	 
	Masonry Work
	 
	 
	 
	0

	3.4.2
	Basaltic or equivalent stone masonry retaining wall erection well bedded in cement sand mortar of 1:3 mix ratio .The thickness of masonry wall will be as indicated in the drawing. The work should be to the satisfaction of the Engineer
	m3
	20.56
	1650.00
	33,924

	3.4.3
	Internal plastering for the masonry wall
	m2
	51.40
	120.00
	6,168

	3.4.4
	40cm Cemented Stone Pitching as per the engineers interest
	m3
	21.09
	1200.00
	25,308

	Total Carried to Summary for Secondary Canals
	0

	3.5
	Tertiary Canal Earthworks
	 
	 
	 
	0

	3.5.1
	Common Soil Excavation in trapezoidal Canal to a any depth including  haul to a distance not exceeding  200m.
	m3
	526.6
	60
	31,596

	3.5.2
	Filling with selected material  from borrow pits including  compaction (hauling distance not exceeding 5km)
	m³
	1294.7
	110
	142,421

	Total Carried to Summary for Tertiary Canals
	0

	3.6
	Flume
	 
	 
	 
	0

	3.6.1
	Common Soil Excavation  to a any depth including  haul to a distance not exceeding  200m
	m3
	48.0
	45
	2,160

	 
	Masonry Work
	 
	 
	 
	0

	3.6.2
	Basaltic or equivalent stone masonry retaining wall erection well bedded in cement sand mortar of 1:3 mix ratio .The thickness of masonry wall will be as indicated in the drawing. The work should be to the satisfaction of the Engineer
	m3
	24.0
	1650
	39,600

	 
	Concrete
	 
	 
	 
	0

	3.6.3
	Supply and cast mass concrete quality C-20 filled in to formwork and vibrated. 
	m3
	20.3
	2500
	50,641

	 
	Reinforcement
	 
	 
	 
	0

	3.6.4
	dia 14
	kg
	219.8
	50
	10,991

	3.6.5
	dia 12
	kg
	225.4
	50
	11,270

	Total Carried to Summary for Flume
	0

	3.7
	Supper passage 
	 
	 
	 
	0

	 
	Masonry Work
	 
	 
	 
	0

	3.7.1
	Basaltic or equivalent stone masonry canal wall erection well bedded in cement sand mortar of 1:3 mix ratio .The thickness of masonry wall will be as indicated in the drawing. The work should be to the satisfaction of the Engineer
	m3
	41.0
	1650
	67,683

	 
	Concrete
	 
	 
	 
	0

	3.7.2
	Supply and cast Reinforced concrete quality C-20 filled in to formwork and vibrated. 
	m3
	16.4
	2500
	41,000

	 
	Reinforcement
	 
	 
	 
	0

	3.7.3
	dia 8
	kg
	129.3
	50
	6,466

	3.7.4
	dia 10
	kg
	279.5
	50
	13,976

	Total Carried to Summary for Supper Passage
	0

	3.8
	Road crossing 
	 
	 
	 
	0

	 
	Masonry Work
	 
	 
	 
	0

	3.8.1
	Basaltic or equivalent stone masonry canal wall erection well bedded in cement sand mortar of 1:3 mix ratio .The thickness of masonry wall will be as indicated in the drawing. The work should be to the satisfaction of the Engineer
	m3
	15.6
	1650
	25,740

	3.8.2
	Supply and instalation of  precast Reinforced concrete quality C-20 with dimenstion of 0.2m*1.2m*1.5m 
	m3
	1.7
	2500.66
	4,251

	Total Carried to Summary for Road Crossing
	6,385,729

	Total Carried to Summary for Infrastructure
	 




	CHANNEL
	Area(ha)
	Chainage(m)
	Q required (m3/s)
	B(m)
	D(m)
	FB(m)
	Adopted depth(m)
	A(m2)
	P(m)
	R(m)
	Z
	S
	n
	V(m/s)
	Qdesign(m3/s)

	MC-1
	180
	0+000-0+269
	0.21
	0.6
	0.6
	0.3
	0.6
	0.36
	1.8
	0.2
	0
	0.001
	0.018
	0.60
	0.216

	
	180
	0+269+0+0+296
	0.21
	0.6
	0.6
	0.3
	0.6
	0.36
	1.8
	0.2
	0
	0.0013
	0.018
	0.67
	0.242

	
	180
	0+296-0+428
	0.21
	0.4
	0.4
	0.3
	0.4
	0.40
	1.84
	0.22
	1.5
	0.0013
	0.025
	0.51
	0.204

	
	104.8
	0+428-0+724
	0.19
	0.4
	0.4
	0.3
	0.4
	0.40
	1.84
	0.22
	1.5
	0.0013
	0.025
	0.51
	0.204

	
	104.8
	0+724-0+774
	0.19
	0.4
	0.4
	0.3
	0.4
	0.40
	1.84
	0.22
	1.5
	0.0013
	0.025
	0.53
	0.211

	
	104.8
	0+774-1+312
	0.19
	0.55
	0.53
	0.3
	0.55
	0.29
	1.61
	0.18
	0
	0.0013
	0.018
	0.65
	0.189

	
	98.1
	1+312-1+448
	0.17
	0.55
	0.53
	0.3
	0.55
	0.29
	1.61
	0.18
	0
	0.0013
	0.018
	0.65
	0.189

	
	98.1
	1+448-2+595
	0.17
	0.45
	0.36
	0.3
	0.4
	0.36
	1.75
	0.20
	1.5
	0.0013
	0.025
	0.51
	0.180


      Table 4‑1: Hydraulic Parameters of Main Canal
4.3.2 Secondary Canals

Table 4‑2: Hydraulic Parameters of secondary canals

	Channel
	Area(ha)
	Chainage(m)
	Q required(m3/s)
	B(m)
	D(m)
	FB(m)
	Adopted B(m)
	Adopted D(m)
	A(m2)
	P(m)
	R(m)
	Z
	S
	n
	V(m/s)
	Qdesign(m3/s)

	SC1-1
	9.45
	0+00-0+40
	0.01673
	0.2
	0.1
	0.3
	0.3
	0.1
	0.02
	0.4
	0.1
	0
	0.01429
	0.018
	0.9012
	0.018024

	
	
	0+40-0+107
	
	0.2
	0.1
	0.3
	0.3
	0.1
	0.02
	0.4
	0.1
	0
	0.02273
	0.018
	1.14
	0.022734

	
	
	0+107-0+244
	
	0.2
	0.1
	0.3
	0.3
	0.1
	0.02
	0.4
	0.1
	0
	0.01961
	0.018
	1.06
	0.021116

	SC2-1
	27.28
	0+0-0+257
	0.04829
	0.2
	0.15
	0.3
	0.3
	0.15
	0.03
	0.5
	0.1
	0
	0.03571
	0.018
	1.61
	0.048273

	
	18.57
	0+257-0+323
	0.03287
	0.2
	0.2
	0.3
	0.3
	0.2
	0.04
	0.6
	0.1
	0
	0.02041
	0.018
	1.30
	0.052195

	
	18.57
	0+323-0+382
	0.03287
	0.3
	0.25
	0.4
	0.3
	0.25
	0.075
	0.8
	0.1
	0
	0.02
	0.018
	1.62
	0.121605

	
	18.57
	0+382-0+572
	0.03287
	0.2
	0.15
	0.3
	0.3
	0.15
	0.03
	0.5
	0.1
	0
	0.04
	0.018
	1.70
	0.051087

	SC3-1
	71.6
	0+00-0+290
	0.12673
	0.25
	0.21
	0.3
	0.3
	0.2
	0.0525
	0.67
	0.1
	0
	0.05556
	0.018
	2.40
	0.125885

	
	62.5
	0+290-0+410
	0.11063
	0.25
	0.25
	0.3
	0.3
	0.25
	0.0625
	0.75
	0.1
	0
	0.03846
	0.018
	2.08
	0.129917

	
	50.63
	0+410-0+560
	0.08962
	0.3
	0.2
	0.3
	0.3
	0.3
	0.06
	0.7
	0.1
	0
	0.0303
	0.018
	1.88
	0.112804

	
	36.35
	0+560-0+620
	0.05016
	0.3
	0.2
	0.3
	0.3
	0.3
	0.06
	0.7
	0.1
	0
	0.04
	0.018
	2.16
	0.129602

	
	18.23
	0+620-873
	0.02516
	0.25
	0.21
	0.3
	0.3
	0.25
	0.0525
	0.67
	0.1
	0
	0.04
	0.018
	2.03
	0.106817


4.3.3 Tertiary canals

In the layout system there are 19 tertiary canals, the designed discharge is determined based on the duty of irrigation.  The sections of the canals are determined by using manning’s formula, and they are trapezoidal section. The hydraulic characteristics is Presented in Table 4.3 below.

[image: image48.png]T

—
éﬂg

&—B%




Figure 4‑1: Typical Cross Section of tertiary canals

Table 4‑3: Hydraulic Parameters of Tertiary Canals 
	 
	Area(ha)
	Chainage(m)
	Q required(m3/s)
	B(m)
	D(m)
	Adopted B(m)
	FB(m)
	A(m2)
	P(m)
	R(m)
	Z
	S
	n
	V(m/s)
	Qdesign(m3/s)

	TC1R-1-1
	2.63
	0+00-0+302
	0.004655
	0.2
	0.1
	0.3
	0.3
	0.035
	0.6
	0.1
	1.5
	0.002353
	0.025
	0.3
	0.010688

	TC1L-1-1
	2.58
	0+00-0+56
	0.004567
	0.2
	0.1
	0.3
	0.3
	0.035
	0.6
	0.1
	1.5
	0.003333
	0.025
	0.4
	0.012721

	TC2R-1-1
	0.72
	0+00-0+138
	0.001274
	0.2
	0.1
	0.3
	0.3
	0.035
	0.6
	0.1
	1.5
	0.003333
	0.025
	0.4
	0.012721

	TC2L-1-1
	2.02
	0+00-0+145
	0.003575
	0.2
	0.1
	0.3
	0.3
	0.035
	0.6
	0.1
	1.5
	0.0025
	0.025
	0.3
	0.011017

	TC1R-2-1
	3.77
	0+00-0+245
	0.006673
	0.2
	0.1
	0.3
	0.3
	0.035
	0.6
	0.1
	1.5
	0.003333
	0.025
	0.4
	0.012721

	TC1L-2-1
	3.56
	0+00-0+96
	0.006301
	0.2
	0.1
	0.3
	0.3
	0.035
	0.6
	0.1
	1.5
	0.002857
	0.025
	0.3
	0.011778

	TC2R-2-1
	6.58
	0+00-0+246
	0.011647
	0.2
	0.1
	0.3
	0.3
	0.035
	0.6
	0.1
	1.5
	0.003333
	0.025
	0.4
	0.012721

	TC2L-1-1
	4.66
	0+00-0+275
	0.008248
	0.2
	0.1
	0.3
	0.3
	0.035
	0.6
	0.1
	1.5
	0.003333
	0.025
	0.4
	0.012721

	TC3L-2-1
	3.53
	0+00-0+94
	0.006248
	0.2
	0.1
	0.3
	0.3
	0.035
	0.6
	0.1
	1.5
	0.003333
	0.025
	0.4
	0.012721

	TC3R-2-1
	4.77
	0+00-0+217
	0.008443
	0.2
	0.1
	0.3
	0.3
	0.035
	0.6
	0.1
	1.5
	0.003175
	0.025
	0.4
	0.012415

	TC1R-3-1
	4.88
	0+00-0+80
	0.008638
	0.2
	0.2
	0.3
	0.3
	0.1
	0.9
	0.1
	1.5
	0.001333
	0.025
	0.3
	0.03324

	
	4.64
	0+80-0+229
	0.008213
	0.2
	0.1
	0.3
	0.3
	0.035
	0.6
	0.1
	1.5
	0.002222
	0.025
	0.3
	0.010387

	TC1L-3-1
	4.57
	0+00-0+213
	0.008089
	0.25
	0.2
	0.3
	0.3
	0.11
	1.0
	0.1
	1.5
	0.001
	0.025
	0.3
	0.032574

	TC2R-3-1
	6.92
	0+00-0+180
	0.012248
	0.2
	0.2
	0.3
	0.3
	0.06375
	0.7
	0.1
	1.5
	0.001538
	0.025
	0.3
	0.019495

	
	6
	0+180-0+338
	0.01062
	0.2
	0.2
	0.3
	0.3
	0.06375
	0.7
	0.1
	1.5
	0.002
	0.025
	0.3
	0.022228

	TC2L-3-1
	4.6
	0+00-0+100
	0.008142
	0.2
	0.2
	0.3
	0.3
	0.06375
	0.7
	0.1
	1.5
	0.003333
	0.025
	0.5
	0.028696

	
	3
	0+100-0+249
	0.00531
	0.2
	0.2
	0.3
	0.3
	0.06375
	0.7
	0.1
	1.5
	0.002857
	0.025
	0.4
	0.026567

	TC3R-3-1
	9.45
	0+00-0+217
	0.016727
	0.2
	0.2
	0.3
	0.3
	0.06375
	0.7
	0.1
	1.5
	0.003333
	0.025
	0.5
	0.028696

	
	8.12
	0+217-0+260
	0.014372
	0.2
	0.2
	0.3
	0.3
	0.06375
	0.7
	0.1
	1.5
	0.002222
	0.025
	0.4
	0.02343

	
	6.34
	0+260-0+418
	0.011222
	0.2
	0.2
	0.3
	0.3
	0.06375
	0.7
	0.1
	1.5
	0.003333
	0.025
	0.5
	0.028696

	TC3L3-1
	4.83
	0+00-0+195
	0.008549
	0.25
	0.2
	0.3
	0.3
	0.11
	1.0
	0.1
	1.5
	0.001176
	0.025
	0.3
	0.035331

	TC4R-3-1
	9.23
	0+00-0+124
	0.016337
	0.2
	0.2
	0.3
	0.3
	0.06375
	0.7
	0.1
	1.5
	0.00125
	0.025
	0.3
	0.017573

	
	7.06
	0+124-0+191
	0.012496
	0.2
	0.2
	0.3
	0.3
	0.06375
	0.7
	0.1
	1.5
	0.003333
	0.025
	0.5
	0.028696

	
	6.21
	0+191-0+353
	0.010992
	0.2
	0.2
	0.3
	0.3
	0.06375
	0.7
	0.1
	1.5
	0.001818
	0.025
	0.3
	0.021193

	
	5.74
	0+353-0+502
	0.01016
	0.2
	0.2
	0.3
	0.3
	0.06375
	0.7
	0.1
	1.5
	0.0025
	0.025
	0.4
	0.024851

	TC4L-3-1
	8.39
	0+00-0+390
	0.01485
	0.2
	0.2
	0.3
	0.3
	0.06375
	0.7
	0.1
	1.5
	0.001538
	0.025
	0.3
	0.019495

	TC5L-3-1
	14.41
	0+00-0+426
	0.025506
	0.2
	0.2
	0.3
	0.3
	0.1
	0.9
	0.1
	1.5
	0.001176
	0.025
	0.3
	0.031223

	
	6
	0+426-0+605
	0.01062
	0.2
	0.2
	0.3
	0.3
	0.1
	0.9
	0.1
	1.5
	0.001538
	0.025
	0.4
	0.035705


4.3.4 Design of Division box

At different points of the main and secondary canals division boxes are provided which divert the flow to the secondary canal and tertiary canals. Gate should be provided at the outlet of the boxes. For detail refer the drawing. 
[image: image49.png]en

w

division kox





  Figure 4‑2: Typical Division Box plan

Using broad crested formula,

 Q= CL (h)3/2
Where; Q= discharge over rectangular intake (opening), m3/s

C = discharge coefficient, c= 1.7

L= effective length of crest form in m

h= over flow depth, m

Assuming equal discharge coefficient & sill height for two or three dividing canals, the proportion becomes.

Q1/ Q2= Q2/ Q3 =L1/ L2 = L2/ L3
Where Q1= is flow in canal 1

           Q2 = is flow in canal 2

           Q3 = is flow in canal 3

           L1= is effective crest length of intake sill across opening to canal 1

           L2= is effective crest length of intake sill across opening to canal 2

           L3 = is effective crest length of intake sill across opening to canal 3

           Q1= CL1 (h) 3/2, 

           L1 = Q1/Ch3/2 

           L2 = L1*Q2/ Q1
           L3 = L1*Q3/ Q1
The depth of (height of) the division box, 
D = d + fb
The width of the division box, 
B = b + 2*m*D

D = total canal depth of the incoming canal

                        

B =Width of Incoming Canal

Table 4‑4: Hydraulic Parameters of Division Boxes
	Canal name
	Chainage
	Q0 (L/s)
	Q1 (L/s)
	Q2  (L/s)
	Q3 (L/s)
	B, m
	d(m)
	D (d+fb)
	L, m
	W0, m
	W1, m
	W2, m
	W3, m
	H0
	H1
	H2
	H3
	Hs1
	Hs2
	Hs3
	L0, m
	L1, m
	L2, m
	L3, m

	DV1-1
	0+458
	204
	204
	17
	0
	0.4
	0.4
	0.7
	1.80
	0.50
	0.50
	0.30
	0.00
	0.40
	0.39
	0.10
	0.00
	0.01
	0.30
	0.00
	1.30
	1.30
	1.10
	0.00

	DV2-1-1 
	1+936
	181
	181
	48
	0
	0.45
	0.4
	0.7
	1.85
	0.50
	0.50
	0.30
	0.00
	0.40
	0.36
	0.21
	0.00
	0.04
	0.19
	0.00
	1.30
	1.30
	1.10
	0.00

	DV3-1-1
	2+591
	180
	0
	130
	0
	0.45
	0.4
	0.7
	1.85
	0.50
	0.00
	0.40
	0.00
	0.40
	0.00
	0.33
	0.00
	0.00
	0.07
	0.00
	1.30
	0.00
	1.20
	0.00

	DV1-1-1
	0+20
	17
	17
	0
	13
	0.3
	0.1
	0.4
	1.10
	0.40
	0.40
	0.00
	0.30
	0.10
	0.08
	0.00
	0.09
	0.02
	0.00
	0.01
	1.20
	1.20
	0.00
	1.10

	DV2-1-1 
	0+40
	17
	17
	10
	0
	0.3
	0.1
	0.4
	1.10
	0.40
	0.40
	0.30
	0.00
	0.10
	0.08
	0.07
	0.00
	0.02
	0.03
	0.00
	1.20
	1.20
	1.10
	0.00

	DV3-1-1
	0+234
	21
	21
	11
	12.7
	0.3
	0.1
	0.4
	1.10
	0.40
	0.40
	0.30
	0.30
	0.10
	0.10
	0.08
	0.09
	0.00
	0.02
	0.01
	1.20
	1.20
	1.10
	1.10

	DV1-2-1 
	0+30
	48
	48
	13
	11.7
	0.3
	0.15
	0.45
	1.20
	0.50
	0.50
	0.30
	0.30
	0.15
	0.15
	0.09
	0.08
	0.00
	0.06
	0.07
	1.30
	1.30
	1.10
	1.10

	DV2-2-1
	0+246
	48
	48
	13
	12.7
	0.3
	0.15
	0.45
	1.20
	0.50
	0.50
	0.30
	0.30
	0.15
	0.15
	0.09
	0.09
	0.00
	0.06
	0.06
	1.30
	1.30
	1.10
	1.10

	DV3-2-1
	0+429
	51
	51
	13
	0
	0.3
	0.15
	0.45
	1.20
	0.60
	0.60
	0.30
	0.00
	0.15
	0.14
	0.09
	0.00
	0.01
	0.06
	0.00
	1.40
	1.40
	1.10
	0.00

	DV4-2-1
	0+572
	51
	0
	0
	12.7
	0.3
	0.15
	0.45
	1.20
	0.60
	0.00
	0.00
	0.30
	0.15
	0.00
	0.00
	0.09
	0.00
	0.00
	0.06
	1.40
	0.00
	0.00
	1.10

	DV1-3-1
	0+10
	130
	130
	33
	10
	0.3
	0.2
	0.5
	1.30
	0.90
	0.90
	0.30
	0.30
	0.20
	0.19
	0.16
	0.07
	0.01
	0.04
	0.13
	1.70
	1.70
	1.10
	1.10

	DV2-3-1
	0+190
	130
	130
	29
	19.5
	0.3
	0.2
	0.5
	1.30
	0.90
	0.90
	0.30
	0.30
	0.20
	0.19
	0.15
	0.11
	0.01
	0.05
	0.09
	1.70
	1.70
	1.10
	1.10

	DV3-3-1
	0+410
	130
	110
	35
	28.7
	0.3
	0.25
	0.55
	1.40
	0.70
	0.60
	0.30
	0.30
	0.25
	0.23
	0.17
	0.15
	0.02
	0.08
	0.10
	1.50
	1.40
	1.10
	1.10

	DV4-3-1
	0+690
	110
	110
	20
	17.6
	0.3
	0.2
	0.5
	1.30
	0.80
	0.80
	0.30
	0.30
	0.20
	0.19
	0.11
	0.11
	0.01
	0.09
	0.09
	1.60
	1.60
	1.10
	1.10

	DV5-3-1
	0+860
	110
	110
	0
	31
	0.3
	0.2
	0.5
	1.30
	0.80
	0.80
	0.00
	0.30
	0.20
	0.19
	0.00
	0.15
	0.01
	0.00
	0.05
	1.60
	1.60
	0.00
	1.10


4.3.5 Road Crossing Structure
Three road crossing structures are provided on the main canal, at the Chainage of 157m, 0+874, 1158m,1588, 2+076 and 2802m. The road crossing structures are rectangular reinforced concrete slab. The slab is reinforced with 12mm @ 200mmc/c the length of the slab is 4m which is the same as the respective canal bed width, its width and thickness is 1.2m and 15mm respectively.
4.3.6 Drop structure

The drops are provided at places where the ground slope is steeper than the canal bed slopes. For irrigation canals, vertical drop structure of U.S.B R type standard is selected to convey water from higher to lower elevation of the ground.  The design procedures are shown below:

a. Critical hydraulic

Design discharge, Q (m3/s)

Height of drop, h (m)

Width of drop, bc = 
[image: image50.wmf])

(

734

.

0

2

/

3

m

d

Q


                 Where d = water depth of the canal, m

Critical discharge, q = Q/bc

Critical depth, dc = 
[image: image51.wmf]3

/

1

2

÷

÷

ø

ö

ç

ç

è

æ

g

q


Lip height, a = dc/2, a ( 0.15

b. Stilling basin

Basin width, B = 
[image: image52.wmf]m

Q

Q

,

91

.

9

46

.

18

+


Basin length, L = 
[image: image53.wmf]m

hdc

h

dc

h

dc

,

7

.

0

1

.

1

5

.

2

3

ú

ú

û

ù

ê

ê

ë

é

÷

ø

ö

ç

è

æ

+

+




The standard drawing for all the drops to be constructed is found in the irrigation infrastructure drawings on which the above parameters are used to code each of the dimensions of the drops. 

All the hydraulic parameters computed using the above procedures with the type of canals are shown
Table 4‑5: Drop Hydraulic Design 

	Canal name
	Chainage (m)
	D1, (m)
	b, m
	Q (m3/sec)
	h, m
	bc, m
	q (m3/s/m)
	 dc, m
	a, m
	L, m
	B, m
	Lup (m)
	Head Above Crest, m
	Ldp (m)
	Dc U/s, m
	Dc D/s, m
	tb, m
	tp, m
	PW1, m
	PW2, m

	SC2-1
	0+200
	0.45
	0.30
	0.048
	0.60
	0.30
	0.16
	0.14
	0.15
	0.79
	0.41
	0.45
	0.11
	3.00
	0.30
	0.30
	0.40
	0.30
	0.45
	0.45

	SC3-1
	0+30
	0.50
	0.30
	0.130
	0.90
	0.30
	0.43
	0.27
	0.15
	1.40
	0.66
	0.50
	0.15
	3.00
	0.30
	0.30
	0.40
	0.30
	0.50
	0.50

	TC3R-3-1
	0+217
	0.45
	0.30
	0.029
	0.60
	0.30
	2.00
	0.74
	0.37
	3.46
	1.36
	0.45
	0.22
	3.00
	0.30
	0.30
	0.40
	0.30
	0.45
	0.45

	TC1L-3-1
	0+00
	0.45
	0.30
	0.011
	0.30
	0.30
	1.00
	0.47
	0.23
	2.57
	0.99
	0.45
	0.17
	3.00
	0.30
	0.30
	0.40
	0.30
	0.45
	0.45

	TC2L-2-1

TC3R-2-1
	0+00
	0.40
	0.30
	0.012
	0.30
	0.30
	1.00
	0.47
	0.23
	2.57
	0.99
	0.40
	0.17
	3.00
	0.30
	0.30
	0.40
	0.30
	0.40
	0.40

	
	0+00
	0.40
	0.30
	0.012
	0.55
	0.30
	1.83
	0.70
	0.35
	3.31
	1.31
	0.40
	0.21
	3.00
	0.30
	0.30
	0.40
	0.30
	0.40
	0.40

	TC1L-1-1
	0+00
	0.40
	0.30
	0.012
	0.70
	0.30
	0.04
	0.05
	0.15
	0.51
	0.30
	0.40
	0.07
	3.00
	0.30
	0.30
	0.40
	0.30
	0.40
	0.40

	TC2L-1-1
	0+00
	0.40
	0.30
	0.011
	0.65
	0.30
	0.04
	0.05
	0.15
	0.47
	0.30
	0.40
	0.06
	3.00
	0.30
	0.30
	0.40
	0.30
	0.40
	0.40


4.3.7 Design of a Typical Flume 

  Hydraulic Characteristics of the canal

 Length of the flume: 40m

Shape of the flume:  Regetangular, Roughness coefficient, n = 0.018

 From the canal longitudinal profiles, u/s canal bed level (CBL) = 1989.998

D/s Canal bed level (CBL) =1989.66


Table 4‑6: Hydraulic Parameters of Flume
	Section
	Location
	Water depth (m)
	Change in water level
	Elevation of

	
	
	
	
	Canal bed
	Water surface

	A
	u/s canal
	0.36
	-
	-
	1989.998
	1990.358

	B
	Flume
	0.71
	drop
	0.000
	1989.652
	1990.358

	C
	Flume
	0.71
	drop
	0.032
	1989.620
	1990.326

	D
	d/s canal
	0.36
	rise
	0.000
	1989.966
	1990.326


4.3.8 Drainage System
The drainage system is provided for effective disposal of excess irrigation water and runoff from the irrigation field during rainy season. 
Field drains and catch drain collect from each field units and catchment above the canals will be conveyed with drainage crossing structure and directly discharge into the river and natural Drainage system. 

5 SOURCES OF CONSTRUCTION MATERIALS

During site investigation, natural construction materials required for the construction of the various proposed engineering structures at the headwork and within the farmland have been assessed, and possible quarry sites and borrow areas have been identified within the visited of the study area as close to the project site as possible. In addition to identifying the quality, quantity and accessibility conditions of the construction materials, ownerships of each proposed production sites have also been studied and described in this report, on separate sub-sections below. The materials needed for the construction of the structures include rock for masonry stones, aggregates (both coarse and fine), and water.

5.1 Rock for Masonry and Crushed Coarse Aggregate

During site investigation rocks required for masonry works were identified Masonry stones are highly required during construction of the project for headwork structure, main canal route structure, cross drainage structure, and for many other purposes. The aggregates are another required construction material found during in the construction of the project. The aggregates required for constructions of the project in concrete work are fine aggregate and coarse aggregate that is sands and crushed stones respectively. Rocks use as masonry works incorporated in the engineering design and found near the command area at location of 383910E, 1355479N and at elevation of 2014m above sea level near mountain ridges (BOSSENA mender). In the past time the contractors used this rock for construction of the weir and river bed is additional construction source, but the rocks occurred as boulders and cobble size. The rock type that exists in the production quarry site is fine grained volcanic rock within higher quality and the abundance is more than required amount for both masonry and coarse aggregate and which has 2km distance from headwork site. The productive quarry sites have no ownerships and accessible in dry season and also which is out of farmland area.

5.2 Fine Aggregates

Borrow areas for fine aggregate or natural sand have been assessed starting from the project stream itself. Natural deposits of such materials are during construction process, natural fine aggregate is required for concrete works and accessing this material in the surrounding area is another issue in the study.  Natural deposits of these materials are found within the beds of MENNA DAWOCH stream itself and the quantity of sand is more than required amount. The sand deposits are higher in both the upstream and downstream direction from headwork site and this natural deposit is used by local people for construction purpose in the surrounding. But the sand source until this study is not used by local contractors due to accessibility problem of the area. Both visual investigation and laboratory testing of the sand deposits that are found in the proposed area have been done. The secondary source also found nearby stream called Menna (megenagna) River and natural deposit of this sand is used by local contractors and also far from project area by 22km distance towards word town called Arbaya.  For secondary sand source area also visual investigation and laboratory test have been done  

The laboratory tests of the sand deposits that are found in the Menna_Dawch and Menna River have been done. To characterize the gradation of the deposit, a sample has been taken for laboratory testing (especially for gradation test) the sand deposit from Menna_Dawch River itself has the following gradation: 

Gravel (>4.75) = 37.15 %

Coarse Sand (4.75-0.425mm) = 40.25%

Fine Sand (0.425-0.075mm) =16.67%

Silt and Clay (<0.075mm) =5.93% 

And the secondary sand source (Menna river locally megenagna river) laboratory result also has the following gradation:

Gravel (>4.75mm) =26.90%

Coarse sand (4.75-0.425mm) =31.11%

Fine sand (0.425-0.075mm) = 38.01 %

Silt and Clay (<0.075mm) =3.99%

From observation the percentage of fines (Silt and clay) and gravel is higher, because the sample is taken by local contractors repeatedly so that the sand deposit should be washed before using for construction to remove fines and in addition, the amount of oversize grains (gravels) are also considerable and sieving with sieve opening of about 4.75 to 5mm is required.

5.3 Water

Water for construction purposes can be found from the project stream Menna River itself. The stream is perennial throughout the year that there is some amount of flow along its course. During this field time the stream flow was more than 280L/second.

6 OPERATION AND MAINTENANCE

6.1 General

The main objective of the operation and maintenance aspect of an irrigation scheme is to facilitate the timely delivery of the required irrigation water to farms and to keep the irrigation system in an optimum operating condition. This section therefore, discusses the main functions of the subject matter under consideration for the scheme.

6.2 Operation of the Head Works

Operation at the intake mainly focuses on the diversion of a controlled flow of river water, timely cleaning of floating debris in front of intake and removal of sediment deposits in front of the intake.
6.3 Irrigation System Operation

The operation of the irrigation system depends mainly on the method of water delivery at farm level.  Surface irrigation method is the recommended type of water distribution and application method for Menna_Dawch intake irrigation scheme.

The farmers would organize themselves and form groups in order to handle the water Management.  Since flow is low Rotational water distribution would be applied within the group. The rotational distribution is then to distribute water by turn to the whole scheme according to the timely need of crop water requirement. For better and efficient water Management, crop diversification should be avoided within a group.  This would reduce the complexity of water distribution system of the scheme during one irrigation season. At farmers’ level of operation, a constant flow and variable irrigation time is advisable. 

The operation of the irrigation system is continuous for 20 hours per day in main, secondary and tertiary canals whereas field canals within a tertiary block are operating in rotational system with each other for irrigation hours proportional to their size.  Since the tertiary canal discharges are within the Manageable range and the irrigation canal structures are accordingly designed for simple operation, the farmers can open and close easily whenever they required.

6.4 Maintenance Requirement

The canal system of the project is earthen canal except main canal and secondary canal, which is susceptible to siltation, erosion, growth of weeds and or breaching problems. Though the canal sections are designed for non- silting and non-scouring conditions, the above mentioned problems are unavoidable and hence periodical and yearly inspection and maintenance of canals and structures are obligatory in order to fulfill the design objective of the project area.

The maintenance tasks are categorized into two types: - routine activities, and repairs. The routine maintenance activities that are carried out periodically include:-

· Regular cleaning of sediments and weeds from canals and drains;

· Inspection and lubrication of gates; and

· Maintenance of cracked lined canals, regulating and control structures.

Repair works include task carried out more frequently and quickly, and include those tasks that are generally unpredictable.  They also include emergency works.  The activities included in this category are:-

· Repairing overtopped or breached canals, drains, and flood protection dykes;

· Repairing jammed gates;

· Filling holes made by wild animals; and

· Reduced free board due to walking over by people and livestock.

Regular inspection of the irrigation facilities should be carried out as part of the maintenance activities. These tasks could be carried out immediately after the end of the main rains in September and during the rainy season.  This could concentrate on the interceptor drains and the flood protection dykes, the main canal and the field drains.  The inspection of the other works like the tertiary canals, field drains, and the water control and regulating structures could be carried out as part of routine operation activities.

· Beneficiaries of the project need to have operation and maintenance budget, For O&M cost incurring entity area:

· Purchase sing of gate lubricate (grease)

· Replacing and maintenance of Stolen and damaged gates

· Repair Damages on the cross drainage structures.

The expense for O&M should be collected from the beneficiaries. Of course, much of the task is done by the labor and skill of the community. For cost incurring activities beneficiaries have to collect money based on the proportion of the command area they owned.

7 CONCLUSION AND RECOMMENDATION

· The infrastructure of this project area is designed to irrigate about 180 ha of land by taking its supply from the Menna_Dawch intake irrigation project. The maximum duty of the command area for 1.22 hours per day irrigation with overall project efficiency of46%.  The method of irrigation of the project area is furrow surface irrigation in which the main and secondary canals are working continuously whereas the field canals within a tertiary block are working rotational system.

· As the dominant soil type is black cotton, silt clay and clay soil, the main canal system is designed both earthen  and masonry 

· Secondary canals, one, two and three are earthen. But, secondary canal four is lined.

· The design of the canal dimensions of the irrigation canal is done by applying the manning’s uniform flow equation. The variable of the hydraulic parameters are calculated using iteration or flow master program.

 The following recommendations are drown:

1. For better performance and long service year of the project regular inspection and maintenance is highly required.

2. Farmers training, how to operate and maintain the project structures as a whole and available and water resources has a paramount important.

3. The irrigation hours per day and per week should be flexible based on base flow amount of each week or month.

4. Close supervision of the construction should be made to modify (if need be) each Components of irrigation system based on specific site conditions.
8 REFERENCE

1. FAO (1977) guidelines for predicting crop water requirements. No 24, Rome Italy
2. Applied Hydrology (1988) by Von Tec how David R. Maidment and Larry w.

3. Design of small Canal structures , USBR

ADSWE, Irrigation & Drainage P.O. Box: 1921 Tel: 058--218--06--38/10 23 Fax : 058--218-0550/0560
Page vii

_1511191747.unknown

_1511191751.unknown

_1521634087.xls
Chart1

		0

		1.2059839697

		4.338224481

		13.2896378909

		30.0018516974

		49.7073299961

		103.6981120775

		157.0949931191



Discharge (m3/s)

Tail Depth (m)

0

0.3

0.6

0.9

1.2

1.5

1.8

1.99505



MANA MC PROFILE  (1)

		

		chainage		0+00-0+2600

		bed width		0.7										masonry width		Working space		total cut width

		Slope		1000										0.3		0.35		1.65

		Total depth		0.6

		Side slope of canal		0														3.00

		Side slope of Burm		1														2.29

		Insert top width of built burm for fill		0														1.58

		OFFTAKE LEVEL CBL		1992.4														3.13

		Northing		Easting		Partial Distance		Chainage		Elevation		CBL		Bank level		CUT(m)		Fill(m)		slope		drop		Area of cut		Average Area of Cut		Volume of cut		Area of Fill		Average Area of Fill		Volume of Fill		Massonry Area (m2)		Massonry volume(m3)		PLASTERING		CUM.VOL.CUT

		1354384.8177		383508.609		0		0		1994.032		1992.40		1993.00		1.63		0.0		1000.00				2.69		0.00		0.00		0		0.00		0.00		0.75		0.00		0		0.00						0

		1354391.0324		383507.0569		6		6		1995.39		1992.39		1992.99		3.00		0.0		1000.00				4.94		3.82		24.46		0		0.00		0.00		0.75		4.80		11		24.46						7.5

		1354396.6457		383503.6233		7		13		1994.676		1992.39		1992.99		2.29		0.0						3.78		4.36		28.69		0		0.00		0.00		0.75		4.94		11		53.15						7.5

		1354402.259		383500.1896		7		20		1993.963		1992.38		1992.98		1.58		0.0		1000.00				2.61		3.19		21.02		0		0.00		0.00		0.75		4.94		11		74.17						7.5

		1354407.8724		383496.756		7		26		1994.202		1992.37		1992.97		1.83		0.0						3.02		2.81		18.52		0		0.00		0.00		0.75		4.94		11		92.69						7.5

		1354424.7124		383486.455		20		46		1995.483		1992.35		1992.95		3.13		0.0						5.16		4.09		80.73		0		0.00		0.00		0.75		14.81		33		173.42						7.5

		1354430.3238		383483.0213		7		52		1995.404		1992.35		1992.95		3.06		0.0						5.04		5.10		33.57		0		0.00		0.00		0.75		4.93		11		206.99						7.5

		1354435.9391		383479.5877		7		59		1995.231		1992.34		1992.94		2.89		0.0						4.77		4.91		32.29		0		0.00		0.00		0.75		4.94		11		239.28						7.5

		1354441.5525		383476.154		7		66		1995.058		1992.33		1992.93		2.72		0.0						4.49		4.63		30.48		0		0.00		0.00		0.75		4.94		11		269.75						7.5

		1354435.9391		383479.5877		7		72		1995.231		1992.33		1992.93		2.90		0.0						4.79		4.64		30.55		0		0.00		0.00		0.75		4.94		11		300.30						7.5

		1354441.5525		383476.154		7		79		1995.058		1992.32		1992.92		2.74		0.0						4.52		4.65		30.62		0		0.00		0.00		0.75		4.94		11		330.92						7.5

		1354475.5446		383475.4453		34		113		1994.4552		1992.29		1992.89		2.17		0.0						3.58		4.05		137.58		0		0.00		0.00		0.75		25.50		56		468.49						7.5

		1354485.5419		383475.2359		10		123		1994.2361		1992.28		1992.88		1.96		0.0						3.23		3.40		34.04		0		0.00		0.00		0.75		7.50		16		502.54						7.5

		1354495.5393		383475.0263		10		133		1994.2796		1992.27		1992.87		2.01		0.0						3.32		3.28		32.76		0		0.00		0.00		0.75		7.50		16		535.30						7.5

		1354505.5366		383474.8168		10		143		1994.3544		1992.26		1992.86		2.10		0.0						3.46		3.39		33.90		0		0.00		0.00		0.75		7.50		16		569.20						7.5

		1354515.5339		383474.6073		10		153		1994.3331		1992.25		1992.85		2.09		0.0						3.44		3.45		34.51		0		0.00		0.00		0.75		7.50		16		603.71						7.5

		1354525.5313		383474.3978		10		163		1993.9037		1992.24		1992.84		1.67		0.0		1000.00				2.75		3.10		30.96		0		0.00		0.00		0.75		7.50		16		634.67						7.5

		1354535.5286		383474.1883		10		173		1993.5963		1992.23		1992.83		1.37		0.0						2.26		2.50		25.04		0		0.00		0.00		0.75		7.50		16		659.71						7.5

		1354545.5259		383473.9788		10		183		1993.5135		1992.22		1992.82		1.30		0.0						2.14		2.20		21.99		0		0.00		0.00		0.75		7.50		16		681.70						7.5

		1354555.5233		383473.7693		10		193		1993.6323		1992.21		1992.81		1.43		0.0						2.35		2.25		22.45		0		0.00		0.00		0.75		7.50		16		704.15						7.5

		1354565.5206		383473.5597		10		203		1993.8089		1992.20		1992.80		1.61		0.0						2.66		2.51		25.05		0		0.00		0.00		0.75		7.50		16		729.20						7.5

		1354575.5179		383473.3502		10		213		1993.5487		1992.19		1992.79		1.36		0.0						2.25		2.45		24.53		0		0.00		0.00		0.75		7.50		16		753.73						7.5

		1354585.5153		383473.1407		10		223		1993.2689		1992.18		1992.78		1.09		0.0						1.80		2.02		20.24		0		0.00		0.00		0.75		7.50		16		773.96						7.5

		1354595.5126		383472.9312		10		233		1992.9999		1992.17		1992.77		0.83		0.0		1000.00				1.37		1.59		15.88		0		0.00		0.00		0.75		7.50		16		789.84						7.5

		1354605.5099		383472.7217		10		243		1992.9212		1992.16		1992.76		0.76		0.0						1.26		1.32		13.17		0		0.00		0.00		0.75		7.50		16		803.01						7.5

		1354615.5073		383472.5122		10		253		1992.8552		1992.15		1992.75		0.71		0.0		900.00				1.17		1.22		12.15		0		0.00		0.00		0.75		7.50		16		815.16						7.5

		1354625.5046		383472.3026		10		263		1992.7892		1992.13		1992.73		0.65		0.0						1.08		1.12		11.25		0		0.00		0.00		0.75		7.50		16		826.41						7.50

		1354635.4992		383472.1426		10		273		1992.7232		1992.12		1992.72		0.60		0.0						0.99		1.03		10.34		0		0.00		0.01		0.75		7.50		16		836.75						7.5

		1354645.1757		383474.6636		10		283		1992.5726		1992.11		1992.71		0.46		0						0.76		0.87		8.74		0		0.13		1.34		0.75		7.50		16		845.48						7.5

		1354654.8517		383477.1866		10		293		1992.4119		1992.10		1992.70		0.31		0						0.51		0.64		6.35		1		0.41		4.08		0.75		7.50		16		851.84						7.5

		1354664.5277		383479.7096		10		303		1992.4268		1992.09		1992.69		0.34		0						0.55		0.53		5.33		1		0.53		5.26		0.75		7.50		16		857.17						7.5

		1354674.2037		383482.2326		10		313		1992.4418		1992.08		1992.68		0.36		0						0.60		0.58		5.76		0		0.48		4.76		0.75		7.50		16		862.93						225

		1354683.6727		383482.4472		9		322		1992.4567		1992.07		1992.67		0.39		0		1000.00				0.64		0.62		5.86		0		0.43		4.05		0.75		7.10		16		868.80

		1354692.5009		383477.7512		10		332		1992.4616		1992.06		1992.66		0.40		0						0.67		0.65		6.53		0		0.39		3.88		0.75		7.50		16		875.33

		1354701.3292		383473.0553		10		342		1992.4663		1992.05		1992.65		0.42		0						0.69		0.68		6.79		0		0.36		3.58		0.75		7.50		16		882.12

		1354710.3659		383468.7865		10		352		1992.5276		1992.04		1992.64		0.49		0						0.81		0.75		7.52		0		0.27		2.74		0.75		7.50		16		889.63

		1354719.5025		383464.723		10		362		1992.7359		1992.02		1992.62		0.71		0						1.17		0.99		9.93		0		0.10		1.03		0.75		7.50		16		899.56

		1354728.6392		383460.6595		10		372		1992.7221		1992.01		1992.61		0.71		0						1.17		1.17		11.72		0		0.00		0.00		0.75		7.50		16		911.28

		1354737.7758		383456.596		10		382		1992.5554		1992.00		1992.60		0.55		0						0.91		1.04		10.41		0		0.04		0.45		0.75		7.50		16		921.69

		1354746.9125		383452.5325		10		392		1992.3388		1991.98		1992.58		0.36		0						0.59		0.75		7.50		0		0.28		2.76		0.75		7.50		16		929.19

		1354756.0492		383448.469		10		402		1992.2003		1991.96		1992.56		0.24		0		500.00				0.39		0.6527106869		6.526823558		0		0.34		3.40		0.75		7.50		16		935.72

		1354765.1858		383444.4055		10		412		1992.0617		1991.86		1992.46		0.20		0		100.00				0.33		0.36		3.61		0		0.26		2.60		0.75		7.50		16		939.33

		1354775.0976		383443.2093		10		422		1991.8908		1991.76		1992.36		0.13		0						0.21		0.27		2.70		0		0.38		3.81		0.75		7.49		16		942.03

		1354785.0406		383442.148		10		432		1991.9108		1991.66		1992.26		0.25		0						0.41		0.37		3.69		0		0.33		3.29		0.75		7.50		16		945.72

		1354794.9836		383441.0866		10		442		1991.9308		1991.56		1992.2		0.4		0						0.61		0.5		5.1		0		0.32		3.18		0.75		7.50		16		950.81

		1354804.9267		383440.0253		10		452		1991.9508		1991.46		1992.06		0.49		0						0.81		0.71		7.07		0		0.33		3.26		0.75		7.50		16		957.88

		1354813.6502		383442.8131		9		461		1991.8369		1991.37		1991.9708699084		0.47		0						0.77		0.6883660745		6.3041435928		0		0.23		2.14		0.75		6.87		15		964.18

		1354820.8187		383449.7848		10		471		1991.8454		1991.27		1991.87		0.57		0						0.95		0.86		8.58		0		0.15		1.51		0.75		7.50		16		972.76

		1354827.9871		383456.7565		10		481		1991.8557		1991.26		1991.86		0.60		0						0.99		0.97		9.68		0		0.03		0.25		0.75		7.50		16		982.45

		1354835.1555		383463.7282		10		491		1991.8662		1991.24		1991.84		0.62		0						1.03		1.01		10.09		0		0.00		0.01		0.75		7.50		16		992.54

		1354842.3239		383470.6999		10		501		1991.8768		1991.23		1991.83		0.65		0		700.00				1.07		1.05		10.50		0		0.00		0.00		0.75		7.50		16		1003.04

		1354849.4923		383477.6716		10		511		1991.8873		1991.21		1991.81		0.67		0						1.11		1.09		10.91		0		0.00		0.00		0.75		7.50		16		1013.94

		1354856.6607		383484.6433		10		521		1991.8979		1991.20		1991.80		0.70		0						1.15		1.11		11.11		0		0.00		0.00		0.75		7.50		16		1025.06

		1354863.8291		383491.615		10		531		1991.8179		1991.19		1991.79		0.63		0						1.04		1.10		10.98		0		0.00		0.00		0.75		7.50		16		1036.04

		1354870.9975		383498.5867		10		541		1991.7337		1991.17		1991.77		0.56		0						0.93		0.99		9.86		0		0.04		0.35		0.75		7.50		16		1045.90

		1354878.3064		383505.3529		10		551		1991.6541		1991.16		1991.76		0.50		0		1000.00				0.82		0.87		8.71		0		0.13		1.32		0.75		7.47		16		1054.62

		1354888.2688		383506.1948		10		561		1991.6588		1991.14		1991.74		0.52		0						0.85		0.84		8.36		0		0.18		1.77		0.75		7.50		16		1062.98

		1354898.2351		383507.0086		10		571		1991.6201		1991.13		1991.73		0.49		0						0.81		0.83		8.32		0		0.18		1.82		0.75		7.50		16		1071.30

		1354908.2015		383507.8225		10		581		1991.5829		1991.11		1991.71		0.47		0						0.77		0.79		7.93		0		0.23		2.27		0.75		7.50		16		1079.23

		1354918.1679		383508.6363		10		591		1991.5503		1991.10		1991.70		0.45		0						0.74		0.76		7.59		0		0.27		2.66		0.75		7.50		16		1086.81

		1354928.1342		383509.4501		10		601		1991.4417		1991.08		1991.68		0.36		0		500.00				0.60		0.67		6.71		0		0.37		3.68		0.75		7.50		16		1093.52

		1354938.1006		383510.264		10		611		1991.3332		1991.06		1991.66		0.27		0						0.45		0.52		5.25		0		0.30		2.98		0.75		7.50		16		1098.77

		1354948.0669		383511.0778		10		621		1991.2247		1991.04		1991.64		0.19		0		1000.00				0.31		0.38		3.79		0		0.24		2.38		0.75		7.50		16		1102.55

		1354958.0333		383511.8917		10		631		1991.1162		1991.02		1991.62		0.10		1						0.16		0.23		2.33		1		0.44		4.35		0.75		7.50		16		1104.88

		1354967.3498		383508.7833		10		641		1991.2835		1991.00		1991.60		0.28		0						0.47		0.31		3.08		0		0.33		3.25		0.75		7.37		16		1107.96

		1354976.4815		383504.7087		10		651		1991.4339		1990.98		1991.58		0.45		0						0.75		0.61		6.09		0		0.20		2.00		0.75		7.50		16		1114.04

		1354985.6132		383500.634		10		661		1991.5843		1990.96		1991.56		0.62		0						1.03		0.89		8.90		0		0.14		1.39		0.75		7.50		16		1122.94

		1354994.7449		383496.5594		10		671		1991.7347		1990.95		1991.55		0.78		0						1.29		1.16		11.63		0		0.00		0.00		0.75		7.50		16		1134.57

		1355003.8766		383492.4848		10		681		1991.7545		1990.94		1991.54		0.81		0						1.34		1.32		13.19		0		0.00		0.00		0.75		7.50		16		1147.76

		1355013.0083		383488.4101		10		691		1991.7272		1990.93		1991.53		0.80		0						1.32		1.33		13.30		0		0.00		0.00		0.75		7.50		16		1161.06

		1355022.14		383484.3355		10		701		1991.6999		1990.92		1991.52		0.78		0		1000.00				1.29		1.30		13.01		0		0.00		0.00		0.75		7.50		16		1174.07

		1355031.2717		383480.2608		10		711		1991.6726		1990.91		1991.51		0.76		0						1.26		1.27		12.73		0		0.00		0.00		0.75		7.50		16		1186.80

		1355040.4034		383476.1862		10		721		1991.623		1990.90		1991.50		0.72		0						1.19		1.23		12.26		0		0.00		0.00		0.75		7.50		16		1199.06

		1355049.5351		383472.1116		10		731		1991.5685		1990.89		1991.49		0.68		0						1.12		1.16		11.56		0		0.00		0.00		0.75		7.50		16		1210.62

		1355059.1547		383469.5832		10		741		1991.539		1990.88		1991.48		0.66		0						1.09		1.10		10.98		0		0.00		0.00		0.75		7.46		16		1221.60

		1355068.9758		383467.7024		10		751		1991.5663		1990.87		1991.47		0.70		0						1.15		1.12		11.18		0		0.00		0.00		0.75		7.50		16		1232.78

		1355078.7968		383465.8216		10		761		1991.5936		1990.86		1991.46		0.73		0						1.21		1.18		11.80		0		0.00		0.00		0.75		7.50		16		1244.58

		1355088.6179		383463.9408		10		771		1991.6881		1990.85		1991.45		0.84		0						1.38		1.30		12.97		0		0.00		0.00		0.75		7.50		16		1257.54

		1355098.4389		383462.06		10		781		1991.7911		1990.84		1991.44		0.95		0						1.57		1.48		14.76		0		0.00		0.00		0.75		7.50		16		1272.31

		1355108.1704		383463.8082		10		791		1991.7353		1990.83		1991.43		0.91		0						1.49		1.53		15.14		0		0.00		0.00		0.75		7.42		16		1287.45

		1355117.8697		383466.24		10		801		1991.6709		1990.82		1991.42		0.85		0						1.40		1.45		14.49		0		0.00		0.00		0.75		7.50		16		1301.94

		1355127.5691		383468.6717		10		811		1991.6066		1990.81		1991.41		0.80		0						1.31		1.36		13.59		0		0.00		0.00		0.75		7.50		16		1315.53

		1355137.2684		383471.1035		10		821		1991.7132		1990.80		1991.40		0.91		0						1.51		1.41		14.10		0		0.00		0.00		0.75		7.50		16		1329.63

		1355146.9678		383473.5352		10		831		1991.8269		1990.79		1991.39		1.04		0						1.71		1.61		16.09		0		0.00		0.00		0.75		7.50		16		1345.72				7.5		16.5

		1355156.1651		383477.4415		10		841		1991.6405		1990.78		1991.38		0.86		0						1.42		1.57		15.64		0		0.00		0.00		0.75		7.49		16		1361.36				7.5		16.5

		1355165.3297		383481.4416		10		851		1991.5123		1990.77		1991.37		0.74		0						1.22		1.32		13.22		0		0.00		0.00		0.75		7.50		16		1374.58				7.5		16.5

		1355174.4943		383485.4417		10		861		1991.3841		1990.76		1991.36		0.62		0						1.03		1.13		11.27		0		0.00		0.00		0.75		7.50		16		1385.85				7.5		16.5

		1355183.6589		383489.4418		10		871		1991.2559		1990.75		1991.35		0.51		0						0.83		0.93		9.32		0		0.09		0.89		0.75		7.50		16		1395.17				7.5		16.5

		1355193.148		383491.8932		10		880		1991.312		1990.74		1991.34		0.57		0						0.94		0.89		8.71		0		0.12		1.14		0.75		7.35		16		1403.88				7.5		16.5				1355839.3964		383403.22		383403.22,1355839.3964

		1355203.1436		383491.72		10		890		1991.6482		1990.73		1991.33		0.92		0						1.51		1.23		12.29		0		0.03		0.27		0.75		7.50		16		1416.17				7.5		16.5				1355849.4185		383403.4252		383403.4252,1355849.4185

		1355210.2181		383484.7391		10		900		1991.1737		1990.72		1991.32		0.45		0						0.75		1.13		11.24		0		0.14		1.38		0.75		7.45		16		1427.42				7.5		16.5				1355859.4407		383403.6304		383403.6304,1355859.4407

		1355217.1007		383477.4852		10		910		1991.35		1990.71		1991.31		0.64		0						1.06		0.90		9.02		0		0.14		1.39		0.75		7.50		16		1436.43				7.5		16.5				1355869.4629		383403.8356		383403.8356,1355869.4629

		1355223.9833		383470.2312		10		920		1991.5264		1990.70		1991.30		0.83		0						1.36		1.21		12.09		0		0.00		0.00		0.75		7.50		16		1448.52				7.5		16.5				1355879.4507		383403.7536		383403.7536,1355879.4507

		1355230.866		383462.9773		10		930		1991.4478		1990.69		1991.29		0.76		0		1000				1.25		1.31		13.06		0		0.00		0.00		0.75		7.50		16		1461.59				7.5		16.5

		1355237.7486		383455.7233		10		940		1991.326		1990.68		1991.28		0.65		0						1.07		1.16		11.58		0		0.00		0.00		0.75		7.50		16		1473.16				7.5		16.5

		1355239.8766		383446.5999		9		949		1991.0703		1990.67		1991.27		0.40		0						0.66		0.86		8.08		0		0.19		1.79		0.75		7.03		15		1481.24				7.5		16.5

		1355239.4683		383436.6087		10		959		1991.0533		1990.66		1991.26		0.39		0						0.65		0.65		6.53		0		0.39		3.88		0.75		7.50		16		1487.77				7.5		16.5

		1355239.06		383426.6176		10		969		1991.0517		1990.65		1991.25		0.40		0						0.66		0.65		6.54		0		0.39		3.87		0.75		7.50		16		1494.31				7.5		16.5

		1355237.7054		383416.742		10		979		1990.8351		1990.64		1991.24		0.19		0		1000				0.32		0.49		4.89		0		0.35		3.45		0.75		7.48		16		1499.21				7.5		16.5

		1355235.6811		383406.9496		10		989		1990.996		1990.63		1991.23		0.37		0						0.60		0.46		4.61		0		0.38		3.80		0.75		7.50		16		1503.82				7.5		16.5

		1355237.8146		383397.2932		10		999		1991.2024		1990.62		1991.22		0.58		0						0.96		0.78		7.72		0		0.24		2.38		0.75		7.42		16		1511.54				7.5		16.5

		1355241.0234		383387.8224		10		1009		1991.4722		1990.61		1991.21		0.86		0						1.42		1.19		11.90		0		0.02		0.18		0.75		7.50		16		1523.44				7.5		16.5

		1355244.2321		383378.3517		10		1019		1991.5052		1990.60		1991.20		0.90		0						1.49		1.46		14.56		0		0.00		0.00		0.75		7.50		16		1538.00				7.5		16.5

		1355247.4409		383368.881		10		1029		1991.2227		1990.59		1991.19		0.63		0						1.04		1.27		12.67		0		0.00		0.00		0.75		7.50		16		1550.67				7.5		16.5

		1355250.6496		383359.4103		10		1039		1990.9382		1990.58		1991.18		0.36		0						0.59		0.82		8.16		0		0.23		2.31		0.75		7.50		16		1558.83				7.5		16.5

		1355250.1621		383351.9621		7		1047		1990.663		1990.57		1991.17		0.09		0						0.15		0.37		2.75		0		0.23		1.72		0.75		5.60		12		1561.58				7.5		16.5

		1355248.2172		383342.1535		10		1057		1990.986		1990.56		1991.16		0.42		0						0.70		0.42		4.22		0		0.17		1.69		0.75		7.50		16		1565.80				7.5		16.5

		1355249.9384		383332.5929		10		1066		1991.4852		1990.55		1991.15		0.93		0						1.54		1.12		10.85		0		0.17		1.64		0.75		7.29		16		1576.65				7.5		16.5

		1355258.1863		383327.4698		10		1080		1991.1659		1990.54		1991.14		0.62		0						1.03		1.28		12.44		0		0.00		0.00		0.75		7.28		16		1589.09				7.5		16.5

		1355268.0845		383326.0496		10		1090		1991.1251		1990.53		1991.13		0.59		0						0.97		1.00		10.00		0		0.01		0.09		0.75		7.50		16		1599.09				7.5		16.5

		1355277.9827		383324.6294		10		1100		1991.1145		1990.52		1991.12		0.59		0						0.97		0.97		9.74		0		0.02		0.18		0.75		7.50		16		1608.83				7.5		16.5

		1355287.8808		383323.2092		10		1110		1991.1039		1990.51		1991.11		0.59		0						0.97		0.97		9.73		0		0.02		0.19		0.75		7.50		16		1618.57				7.5		16.5

		1355297.779		383321.789		10		1120		1991.0934		1990.50		1991.10		0.59		0						0.97		0.97		9.73		0		0.02		0.20		0.75		7.50		16		1628.29				7.5		16.5

		1355307.7241		383321.4233		10		1130		1991.101		1990.49		1991.09		0.61		0						1.00		0.99		9.82		0		0.01		0.10		0.75		7.46		16		1638.11				7.5		16.5

		1355317.7081		383321.9807		10		1140		1990.9466		1990.48		1991.08		0.46		0						0.76		0.88		8.82		0		0.13		1.31		0.75		7.50		16		1646.93				7.5		16.5

		1355327.6921		383322.5381		10		1150		1990.8201		1990.47		1991.07		0.35		0		1000				0.57		0.67		6.67		0		0.37		3.72		0.75		7.50		16		1653.60				7.5		16.5

		1355337.6761		383323.0955		10		1160		1990.694		1990.41		1991.01		0.29		0						0.47		0.52		5.22		0		0.30		3.00		0.75		7.50		16		1658.81				7.5		16.5

		1355347.6601		383323.6529		10		1170		1990.5679		1990.34		1990.94		0.23		0		150				0.37		0.42		4.24		0		0.18		1.79		0.75		7.50		16		1663.05				7.5		16.5

		1355357.644		383324.2103		10		1180		1990.4417		1990.27		1990.87		0.17		0						0.28		0.33		3.25		0		0.31		3.07		0.75		7.50		16		1666.30				7.5		16.5

		1355367.628		383324.7677		10		1190		1990.4271		1990.21		1990.81		0.22		0						0.36		0.32		3.19		0		0.32		3.15		0.75		7.50		16		1669.49				7.5		16.5

		1355377.612		383325.3251		10		1200		1990.4143		1990.14		1990.74		0.27		0						0.45		0.41		4.07		0		0.20		2.01		0.75		7.50		16		1673.56				7.5		16.5

		1355387.596		383325.8825		10		1210		1990.5167		1990.07		1990.67		0.44		0						0.73		0.59		5.90		0		0.22		2.22		0.75		7.50		16		1679.46				7.5		16.5

		1355397.58		383326.4399		10		1220		1990.6579		1990.01		1990.61		0.65		0						1.07		0.90		9.01		0		0.15		1.50		0.75		7.50		16		1688.48				7.5		16.5

		1355407.5639		383326.9973		10		1230		1990.709		1990.00		1990.60		0.71		0						1.17		1.12		11.23		0		0.00		0.00		0.75		7.50		16		1699.71				7.5		16.5

		1355417.5479		383327.5547		10		1240		1990.7477		1989.99		1990.59		0.76		0						1.25		1.21		12.14		0		0.00		0.00		0.75		7.50		16		1711.85				7.5		16.5

		1355427.5319		383328.1121		10		1250		1990.7865		1989.98		1990.58		0.81		0						1.33		1.29		12.94		0		0.00		0.00		0.75		7.50		16		1724.79				7.5		16.5

		1355437.1306		383330.0425		10		1260		1990.739		1989.97		1990.57		0.77		0						1.27		1.30		12.76		0		0.00		0.00		0.75		7.34		16		1737.56				7.5		16.5

		1355445.8466		383334.9436		10		1270		1990.7683		1989.96		1990.56		0.81		0						1.34		1.30		13.05		0		0.00		0.00		0.75		7.50		16		1750.60				7.5		16.5

		1355454.5627		383339.8447		10		1280		1990.7838		1989.95		1990.55		0.84		0						1.38		1.36		13.58		0		0.00		0.00		0.75		7.50		16		1764.19				7.5		16.5

		1355463.2787		383344.7458		10		1290		1990.7992		1989.94		1990.54		0.86		0						1.42		1.40		14.00		0		0.00		0.00		0.75		7.50		16		1778.19				7.5		16.5

		1355471.9948		383349.6469		10		1300		1990.8147		1989.93		1990.53		0.89		0						1.46		1.44		14.42		0		0.00		0.00		0.75		7.50		16		1792.61				7.5		16.5

		1355480.7109		383354.548		10		1310		1990.8301		1989.92		1990.52		0.91		0						1.51		1.48		14.84		0		0.00		0.00		0.75		7.50		16		1807.45				7.5		16.5

		1355489.4269		383359.4491		10		1320		1990.8188		1989.91		1990.51		0.91		0						1.50		1.50		15.04		0		0.00		0.00		0.75		7.50		16		1822.50				7.5		16.5

		1355498.143		383364.3502		10		1330		1990.6642		1989.90		1990.50		0.77		0						1.26		1.38		13.84		0		0.00		0.00		0.75		7.50		16		1836.33				7.5		16.5

		1355506.859		383369.2513		10		1340		1990.5097		1989.89		1990.49		0.62		0						1.03		1.15		11.45		0		0.00		0.00		0.75		7.50		16		1847.78				7.5		16.5

		1355515.5751		383374.1524		10		1350		1990.5014		1989.88		1990.48		0.62		0						1.03		1.03		10.27		0		0.00		0.00		0.75		7.50		16		1858.06				7.5		16.5

		1355524.2912		383379.0536		10		1360		1990.5466		1989.87		1990.47		0.68		0						1.12		1.07		10.74		0		0.00		0.00		0.75		7.50		16		1868.80				7.5		16.5

		1355533.0072		383383.9547		10		1370		1990.5919		1989.86		1990.46		0.73		0						1.21		1.17		11.66		0		0.00		0.00		0.75		7.50		16		1880.46				7.5		16.5

		1355541.7233		383388.8558		10		1380		1990.6371		1989.85		1990.45		0.79		0						1.30		1.26		12.57		0		0.00		0.00		0.75		7.50		16		1893.03				7.5		16.5

		1355551.3864		383389.2208		10		1390		1990.6969		1989.84		1990.44		0.86		0		1000				1.42		1.36		13.15		0		0.00		0.00		0.75		7.25		16		1906.17				7.5		16.5

		1355561.3173		383388.0508		10		1400		1990.6934		1989.83		1990.43		0.87		0						1.43		1.42		14.22		0		0.00		0.00		0.75		7.50		16		1920.39				7.5		16.5

		1355571.2481		383386.8808		10		1410		1990.69		1989.82		1990.42		0.87		0						1.44		1.43		14.33		0		0.00		0.00		0.75		7.50		16		1934.72				7.5		16.5

		1355581.179		383385.7107		10		1420		1990.7546		1989.81		1990.41		0.95		0		800				1.56		1.50		15.00		0		0.00		0.00		0.75		7.50		16		1949.72				7.5		16.5

		1355591.1098		383384.5407		10		1430		1990.8491		1989.80		1990.40		1.05		0						1.73		1.65		16.48		0		0.00		0.00		0.75		7.50		16		1966.20				7.5		16.5

		1355601.0406		383383.3707		10		1440		1990.9436		1989.79		1990.39		1.16		0						1.91		1.82		18.20		0		0.00		0.00		0.75		7.50		16		1984.40				7.5		16.5

		1355610.9715		383382.2006		10		1450		1990.9138		1989.78		1990.38		1.14		0						1.87		1.89		18.90		0		0.00		0.00		0.75		7.50		16		2003.30				7.5		16.5

		1355620.9023		383381.0306		10		1460		1990.7433		1989.77		1990.37		0.98		0						1.61		1.74		17.41		0		0.00		0.00		0.75		7.50		16		2020.72				7.5		16.5

		1355630.0729		383382.8447		9		1470		1990.5805		1989.76		1990.36		0.82		0						1.36		1.48		13.86		0		0.00		0.00		0.75		7.01		15		2034.57				7.5		16.5

		1355637.948		383389.0071		10		1480		1990.7792		1989.75		1990.35		1.03		0						1.70		1.53		15.28		0		0.00		0.00		0.75		7.50		16		2049.85				7.5		16.5

		1355645.823		383395.1694		10		1490		1990.9068		1989.74		1990.34		1.17		0						1.93		1.81		18.14		0		0.00		0.00		0.75		7.50		16		2067.99				7.5		16.5

		1355653.698		383401.3318		10		1500		1990.8694		1989.73		1990.33		1.14		0						1.88		1.90		19.04		0		0.00		0.00		0.75		7.50		16		2087.03				7.5		16.5

		1355661.573		383407.4941		10		1510		1990.4188		1989.72		1990.32		0.70		0						1.15		1.52		15.18		0		0.00		0.00		0.75		7.50		16		2102.22				7.5		16.5

		1355669.4481		383413.6565		10		1520		1990.3725		1989.71		1990.31		0.66		0						1.10		1.13		11.25		0		0.00		0.00		0.75		7.50		16		2113.47				7.5		16.5

		1355670.3203		383423.1701		10		1530		1990.7545		1989.70		1990.30		1.06		0						1.74		1.42		13.55		0		0.00		0.00		0.75		7.17		16		2127.02				7.5		16.5

		1355670.6548		383432.9299		10		1539		1990.6363		1989.69		1990.29		0.95		0						1.57		1.65		16.15		0		0.00		0.00		0.75		7.32		16		2143.16				7.5		16.5

		1355679.4356		383436.4672		9		1549		1989.3682		1989.68		1990.28		0.00		0.9						0.00		0.78		7.41		1		0.73		6.90		0.75		7.10		16		2150.58				7.5		16.5

		1355689.1537		383434.1118		10		1559		1989.1117		1989.66		1990.26		0.00		1.2		G1				0.00		0.00		0.00		2		1.79		17.94		0.75		7.50		16		2150.58				7.5		16.5

		1355698.8719		383431.7565		10		1569		1989.2198		1989.65		1990.25		0.00		1.0						0.00		0.00		0.00		2		1.96		19.57		0.75		7.50		16		2150.58				7.5		16.5

		1355708.5901		383429.4011		10		1579		1989.9583		1989.64		1990.24		0.32		0.3						0.53		0.26		2.64		1		1.16		11.57		0.75		7.50		16		2153.22				7.5		16.5

		1355718.3082		383427.0457		10		1589		1990.6283		1989.63		1990.23		1.00		0.0						1.66		1.09		10.92		0		0.27		2.65		0.75		7.50		16		2164.14				7.5		16.5

		1355728.0264		383424.6904		10		1599		1990.7111		1989.62		1990.22		1.10		0						1.81		1.73		17.32		0		0.00		0.00		0.75		7.50		16		2181.46				7.5		16.5

		1355736.8828		383420.0748		10		1609		1990.711		1989.61		1990.21		1.11		0						1.82		1.82		18.14		0		0.00		0.00		0.75		7.49		16		2199.60				7.5		16.5

		1355745.692		383415.3432		10		1619		1990.6432		1989.60		1990.20		1.05		0						1.73		1.78		17.77		0		0.00		0.00		0.75		7.50		16		2217.36				7.5		16.5

		1355754.5013		383410.6116		10		1629		1990.5592		1989.59		1990.19		0.97		0						1.61		1.67		16.68		0		0.00		0.00		0.75		7.50		16		2234.04				7.5		16.5

		1355763.3105		383405.8801		10		1639		1990.4597		1989.58		1990.18		0.88		0						1.46		1.53		15.33		0		0.00		0.00		0.75		7.50		16		2249.38				7.5		16.5

		1355772.3094		383401.8464		10		1649		1990.5083		1989.57		1990.17		0.94		0						1.56		1.51		14.87		0		0.00		0.00		0.75		7.40		16		2264.24				7.5		16.5

		1355782.3069		383402.0511		10		1659		1990.4943		1989.56		1990.16		0.94		0						1.55		1.55		15.52		0		0.00		0.00		0.75		7.50		16		2279.77				7.5		16.5

		1355792.3043		383402.2558		10		1669		1990.4485		1989.55		1990.15		0.90		0						1.49		1.52		15.20		0		0.00		0.00		0.75		7.50		16		2294.96				7.5		16.5

		1355802.3017		383402.4605		10		1679		1990.3994		1989.54		1990.14		0.86		0						1.43		1.46		14.58		0		0.00		0.00		0.75		7.50		16		2309.54				7.5		16.5

		1355812.2992		383402.6652		10		1689		1990.3502		1989.53		1990.13		0.82		0						1.36		1.39		13.93		0		0.00		0.00		0.75		7.50		16		2323.47				7.5		16.5

		1355822.2966		383402.8699		10		1699		1990.3011		1989.52		1990.12		0.79		0		700				1.30		1.33		13.29		0		0.00		0.00		0.75		7.50		16		2336.76				7.5		16.5

		1355832.294		383403.0746		10		1709		1990.2519		1989.51		1990.11		0.75		0						1.23		1.26		12.64		0		0.00		0.00		0.75		7.50		16		2349.40				660		1452

		1355842.2915		383403.2793		10		1719		1990.2027		1989.50		1990.10		0.71		0						1.17		1.20		11.99		0		0.00		0.00		0.75		7.50		16		2361.39

		1355852.2889		383403.484		10		1729		1990.1476		1989.49		1990.09		0.66		0		G2				1.09		1.13		11.30		0		0.00		0.00		0.75		7.50		16		2372.69

		1355862.2863		383403.6887		10		1739		1990.1423		1989.48		1990.08		0.67		0						1.10		1.10		10.96		0		0.00		0.00		0.75		7.50		16		2383.66

		1355872.2838		383403.8934		10		1749		1990.2524		1989.47		1990.07		0.79		0						1.30		1.20		11.99		0		0.00		0.00		0.75		7.50		16		2395.65

		1355882.1299		383402.9513		10		1759		1990.3624		1989.46		1990.06		0.91		0						1.50		1.40		13.82		0		0.00		0.00		0.75		7.42		16		2409.47

		1355891.7091		383400.0825		10		1769		1990.1933		1989.45		1990.05		0.75		0						1.23		1.37		13.65		0		0.00		0.00		0.75		7.50		16		2423.12

		1355901.2883		383397.2138		10		1779		1990.2326		1989.44		1990.04		0.80		0						1.32		1.27		12.74		0		0.00		0.00		0.75		7.50		16		2435.87

		1355910.8675		383394.3451		10		1789		1990.4157		1989.43		1990.03		0.99		0		1000				1.63		1.47		14.74		0		0.00		0.00		0.75		7.50		16		2450.61

		1355920.4467		383391.4764		10		1799		1990.3968		1989.42		1990.02		0.98		0						1.62		1.63		16.26		0		0.00		0.00		0.75		7.50		16		2466.88

		1355930.0259		383388.6077		10		1809		1990.3039		1989.41		1990.01		0.90		0						1.48		1.55		15.51		0		0.00		0.00		0.75		7.50		16		2482.38

		1355939.7728		383386.6231		10		1818		1990.1923		1989.40		1990.00		0.80		0						1.31		1.40		13.91		0		0.00		0.00		0.75		7.46		16		2496.29

		1355949.7397		383385.8163		10		1828		1990.0774		1989.39		1989.99		0.69		0.0						1.14		1.23		12.28		0		0.00		0.00		0.75		7.50		16		2508.57

		1355959.7067		383385.0095		10		1838		1989.6555		1989.38		1989.98		0.28		0.3						0.46		0.80		8.02		0		0.07		0.65		0.75		7.50		16		2516.59

		1355969.6736		383384.2026		10		1848		1989.4584		1989.37		1989.97		0.09		0.5		GL3				0.15		0.31		3.08		1		0.34		3.39		0.75		7.50		16		2519.67

		1355979.6405		383383.3958		10		1858		1989.56		1989.36		1989.96		0.20		0.4						0.34		0.25		2.45		0		0.42		4.19		0.75		7.50		16		2522.12

		1355988.0918		383379.0401		10		1868		1989.7525		1989.35		1989.95		0.41		0						0.67		0.50		4.79		0		0.33		3.13		0.75		7.13		16		2526.91

		1355995.4038		383372.2192		10		1878		1989.7074		1989.34		1989.94		0.37		0						0.61		0.64		6.42		0		0.40		4.01		0.75		7.50		16		2533.33

		1356002.7158		383365.3983		10		1888		1989.7147		1989.33		1989.93		0.39		0						0.64		0.63		6.27		0		0.42		4.18		0.75		7.50		16		2539.60

		1356010.0279		383358.5774		10		1898		1989.7772		1989.32		1989.92		0.46		0						0.76		0.70		7.01		0		0.33		3.33		0.75		7.50		16		2546.61

		1356017.3399		383351.7565		10		1908		1989.8398		1989.31		1989.91		0.53		0						0.88		0.82		8.21		0		0.19		1.95		0.75		7.50		16		2554.82

		1356024.6519		383344.9356		10		1918		1989.9024		1989.30		1989.90		0.61		0		500				1.00		0.94		9.41		0		0.06		0.63		0.75		7.50		16		2564.22

		1356031.964		383338.1147		10		1928		1989.965		1989.28		1989.88		0.69		0						1.14		1.07		10.69		0		0.00		0.00		0.75		7.50		16		2574.91

		1356039.2763		383331.2941		10		1938		1989.8395		1989.26		1989.86		0.58		0						0.96		1.05		10.50		0		0.02		0.16		0.75		7.50		16		2585.40

		1356048.8231		383328.4133		10		1948		1989.7897		1989.24		1989.84		0.55		0						0.91		0.94		9.35		0		0.06		0.60		0.75		7.48		16		2594.76

		1356058.4501		383325.7095		10		1958		1989.8192		1989.22		1989.82		0.60		0						1.00		0.95		9.54		0		0.04		0.44		0.75		7.50		16		2604.30

		1356068.0772		383323.0057		10		1968		1989.848		1989.20		1989.80		0.65		0						1.08		1.04		10.35		0		0.00		0.00		0.75		7.50		16		2614.65

		1356077.7042		383320.3019		10		1978		1989.8767		1989.18		1989.78		0.70		0						1.16		1.12		11.16		0		0.00		0.00		0.75		7.50		16		2625.81

		1356087.3313		383317.5981		10		1988		1989.9055		1989.16		1989.76		0.75		0						1.24		1.20		11.96		0		0.00		0.00		0.75		7.50		16		2637.77

		1356096.9583		383314.8943		10		1998		1989.9342		1989.14		1989.74		0.80		0						1.32		1.28		12.77		0		0.00		0.00		0.75		7.50		16		2650.54

		1356106.5853		383312.1905		10		2008		1989.963		1989.12		1989.72		0.85		0						1.40		1.36		13.57		0		0.00		0.00		0.75		7.50		16		2664.11

		1356116.2124		383309.4867		10		2018		1989.9392		1989.10		1989.70		0.84		0						1.39		1.39		13.94		0		0.00		0.00		0.75		7.50		16		2678.05

		1356125.8394		383306.7829		10		2028		1989.841		1989.08		1989.68		0.76		0						1.26		1.33		13.27		0		0.00		0.00		0.75		7.50		16		2691.32

		1356135.4665		383304.0791		10		2038		1989.7602		1989.06		1989.66		0.70		0						1.16		1.21		12.12		0		0.00		0.00		0.75		7.50		16		2703.43

		1356145.0935		383301.3753		10		2048		1989.6988		1989.04		1989.64		0.66		0						1.09		1.13		11.28		0		0.00		0.00		0.75		7.50		16		2714.71

		1356155.0223		383300.4249		10		2058		1989.671		1989.02		1989.62		0.65		0						1.08		1.09		10.84		0		0.00		0.00		0.75		7.48		16		2725.55

		1356165.0005		383299.771		10		2068		1989.6834		1989.00		1989.60		0.69		0						1.13		1.11		11.07		0		0.00		0.00		0.75		7.50		16		2736.62

		1356174.9786		383299.117		10		2078		1989.6957		1988.98		1989.58		0.72		0						1.19		1.16		11.61		0		0.00		0.00		0.75		7.50		16		2748.23

		1356184.9567		383298.463		10		2088		1989.708		1988.96		1989.56		0.75		0						1.24		1.21		12.14		0		0.00		0.00		0.75		7.50		16		2760.37

		1356194.9348		383297.8091		10		2098		1989.7204		1988.94		1989.54		0.78		0						1.29		1.27		12.67		0		0.00		0.00		0.75		7.50		16		2773.04

		1356204.9129		383297.1551		10		2108		1989.7327		1988.92		1989.52		0.82		0						1.35		1.32		13.21		0		0.00		0.00		0.75		7.50		16		2786.24

		1356214.8911		383296.5011		10		2118		1989.745		1988.90		1989.50		0.85		0						1.40		1.37		13.74		0		0.00		0.00		0.75		7.50		16		2799.98

		1356224.8692		383295.8472		10		2128		1989.7574		1988.88		1989.48		0.88		0						1.45		1.43		14.27		0		0.00		0.00		0.75		7.50		16		2814.25

		1356234.8473		383295.1932		10		2138		1989.7697		1988.86		1989.46		0.91		0						1.51		1.48		14.81		0		0.00		0.00		0.75		7.50		16		2829.06

		1356244.8254		383294.5392		10		2148		1989.782		1988.84		1989.44		0.95		0						1.56		1.53		15.34		0		0.00		0.00		0.75		7.50		16		2844.40

		1356254.8035		383293.8853		10		2158		1989.7944		1988.82		1989.42		0.98		0.0						1.61		1.59		15.87		0		0.00		0.00		0.75		7.50		16		2860.27

		1356264.7817		383293.2313		10		2168		1989.803		1988.80		1989.40		1.01		0.0						1.66		1.64		16.38		0		0.00		0.00		0.75		7.50		16		2876.65

		1356274.7598		383292.5773		10		2178		1989.81		1988.78		1989.38		1.03		0.0						1.71		1.68		16.83		0		0.00		0.00		0.75		7.50		16		2893.48

		1356284.7379		383291.9234		10		2188		1989.817		1988.76		1989.36		1.06		0.0						1.75		1.73		17.28		0		0.00		0.00		0.75		7.50		16		2910.76

		1356294.1251		383293.6584		10		2197		1989.826		1988.74		1989.34		1.09		0.0						1.80		1.77		16.93		0		0.00		0.00		0.75		7.16		16		2927.69

		1356302.4611		383299.1812		10		2207		1989.8575		1988.72		1989.32		1.14		0.0						1.88		1.84		18.39		0		0.00		0.00		0.75		7.50		16		2946.08

		1356310.7971		383304.704		10		2217		1989.7827		1988.70		1989.30		1.09		0.0						1.79		1.84		18.36		0		0.00		0.00		0.75		7.50		16		2964.45

		1356319.1331		383310.2269		10		2227		1989.7078		1988.68		1989.28		1.03		0.0		700				1.70		1.75		17.46		0		0.00		0.00		0.75		7.50		16		2981.91

		1356327.7982		383314.6948		10		2237		1989.4578		1988.66		1989.26		0.80		0						1.32		1.51		14.73		0		0.00		0.00		0.75		7.31		16		2996.63

		1356337.7833		383314.1592		10		2247		1989.531		1988.64		1989.24		0.89		0						1.47		1.40		13.97		0		0.00		0.00		0.75		7.50		16		3010.60

		1356347.7685		383313.6237		10		2257		1989.3978		1988.62		1989.22		0.78		0						1.29		1.38		13.81		0		0.00		0.00		0.75		7.50		16		3024.41

		1356357.7537		383313.0881		10		2267		1989.2645		1988.60		1989.20		0.67		0						1.10		1.19		11.94		0		0.00		0.00		0.75		7.50		16		3036.35

		1356367.7389		383312.5525		10		2277		1989.1313		1988.59		1989.19		0.54		0						0.90		1.00		9.99		0		0.05		0.53		0.75		7.50		16		3046.33

		1356377.7174		383311.9667		10		2287		1989.0742		1988.58		1989.18		0.50		0						0.82		0.86		8.58		0		0.15		1.52		0.75		7.50		16		3054.91

		1356387.0498		383308.3757		10		2297		1989.2514		1988.57		1989.17		0.68		0						1.13		0.97		9.74		0		0.10		0.98		0.75		7.50		16		3064.65

		1356396.38		383304.7789		10		2307		1989.392		1988.56		1989.16		0.83		0						1.38		1.25		12.52		0		0.00		0.00		0.75		7.50		16		3077.18

		1356405.7102		383301.182		10		2317		1989.5326		1988.55		1989.15		0.98		0.0						1.63		1.50		15.01		0		0.00		0.00		0.75		7.50		16		3092.18

		1356415.0404		383297.5852		10		2327		1989.6732		1988.54		1989.14		1.14		0.0						1.87		1.75		17.49		0		0.00		0.00		0.75		7.50		16		3109.68

		1356424.3707		383293.9883		10		2337		1989.7752		1988.53		1989.13		1.25		0.0						2.06		1.97		19.66		0		0.00		0.00		0.75		7.50		16		3129.34

		1356433.7009		383290.3915		10		2347		1989.6932		1988.52		1989.12		1.18		0.0						1.94		2.00		19.99		0		0.00		0.00		0.75		7.50		16		3149.33

		1356443.0311		383286.7946		10		2357		1989.6112		1988.51		1989.11		1.10		0.0						1.82		1.88		18.80		0		0.00		0.00		0.75		7.50		16		3168.13

		1356452.5349		383285.3114		10		2367		1989.5295		1988.50		1989.10		1.03		0.0		1000.00				1.70		1.76		16.94		0		0.00		0.00		0.75		7.21		16		3185.08

		1356462.2561		383287.6542		10		2377		1989.5159		1988.49		1989.09		1.03		0.0						1.70		1.70		16.99		0		0.00		0.00		0.75		7.50		16		3202.06

		1356471.9773		383289.997		10		2387		1989.4265		1988.48		1989.08		0.95		0.0						1.57		1.63		16.30		0		0.00		0.00		0.75		7.50		16		3218.37

		1356481.6985		383292.3398		10		2397		1989.3372		1988.47		1989.07		0.87		0		250				1.43		1.50		15.00		0		0.00		0.00		0.75		7.50		16		3233.37

		1356491.4197		383294.6826		10		2407		1989.2478		1988.46		1989.06		0.79		0						1.30		1.37		13.69		0		0.00		0.00		0.75		7.50		16		3247.05

		1356501.1409		383297.0254		10		2417		1989.1585		1988.45		1989.05		0.71		0						1.17		1.24		12.38		0		0.00		0.00		0.75		7.50		16		3259.43

		1356510.8621		383299.3682		10		2427		1989.0863		1988.44		1989.04		0.65		0						1.07		1.12		11.21		0		0.00		0.00		0.75		7.50		16		3270.64

		1356520.5833		383301.711		10		2437		1989.0194		1988.43		1989.03		0.59		0						0.98		1.02		10.23		0		0.01		0.08		0.75		7.50		16		3280.87

		1356530.3045		383304.0538		10		2447		1988.9596		1988.42		1989.02		0.54		0						0.89		0.93		9.35		0		0.06		0.64		0.75		7.50		16		3290.21

		1356540.0257		383306.3966		10		2457		1988.9853		1988.41		1989.01		0.58		0						0.95		0.92		9.23		0		0.08		0.77		0.75		7.50		16		3299.44

		1356549.7469		383308.7394		10		2467		1988.991		1988.40		1989.00		0.59		0						0.98		0.97		9.65		0		0.03		0.28		0.75		7.50		16		3309.10

		1356559.4682		383311.0822		10		2477		1988.9966		1988.39		1988.99		0.61		0						1.00		0.99		9.91		0		0.01		0.07		0.75		7.50		16		3319.01

		1356569.1894		383313.425		10		2487		1989.0022		1988.38		1988.98		0.62		0		800				1.03		1.02		10.17		0		0.00		0.00		0.75		7.50		16		3329.18

		1356579.0903		383314.7069		10		2497		1989.0168		1988.37		1988.97		0.65		0						1.07		1.05		10.48		0		0.00		0.00		0.75		7.49		16		3339.67

		1356589.0415		383315.689		10		2507		1989.04		1988.36		1988.96		0.68		0						1.13		1.10		10.98		0		0.00		0.00		0.75		7.50		16		3350.64

		1356598.9927		383316.6711		10		2517		1989.0631		1988.35		1988.95		0.72		0						1.18		1.15		11.53		0		0.00		0.00		0.75		7.50		16		3362.17

		1356608.9438		383317.6532		10		2527		1989.0951		1988.34		1988.94		0.76		0		800				1.25		1.21		12.14		0		0.00		0.00		0.75		7.50		16		3374.31

		1356618.895		383318.6353		10		2537		1989.1272		1988.33		1988.93		0.80		0						1.32		1.28		12.84		0		0.00		0.00		0.75		7.50		16		3387.15

		1356628.8462		383319.6175		10		2547		1989.1592		1988.32		1988.92		0.84		0		1000				1.39		1.35		13.53		0		0.00		0.00		0.75		7.50		16		3400.69

		1356638.7974		383320.5996		10		2557		1989.1913		1988.31		1988.91		0.88		0						1.46		1.42		14.23		0		0.00		0.00		0.75		7.50		16		3414.91

		1356648.7486		383321.5817		10		2567		1989.2233		1988.30		1988.90		0.93		0						1.53		1.49		14.92		0		0.00		0.00		0.75		7.50		16		3429.83

		1356658.6998		383322.5638		10		2577		1989.2419		1988.29		1988.89		0.95		0						1.57		1.55		15.50		0		0.00		0.00		0.75		7.50		16		3445.33

		1356668.6509		383323.5459		10		2587		1989.2045		1988.28		1988.88		0.93		0						1.53		1.55		15.51		0		0.00		0.00		0.75		7.50		16		3460.85

																								348.47		346.464445509		3460.85		23.3917978217		23.3917978217		232.0372483714		195		1936.7462493761		4260.8417486274		486088.58606586

																		0.35

																		0.34

																		0.69

				1355679.4356		383436.4672		10		1550		1989.3682		1990.063015873		1990.663015873		0		1.294815873

				1355689.1537		383434.1118		10		1560		1989.1117		1990.053015873		1990.653015873		0		1.541315873		G1

				1355698.8719		383431.7565		10		1570		1989.2198		1990.043015873		1990.643015873		0		1.423215873

				1355708.5901		383429.4011		10		1580		1989.9583		1990.033015873		1990.633015873		0		0.674715873

				1355718.3082		383427.0457		10		1590		1990.6283		1990.023015873		1990.623015873		0.605284127		0

				1356678.6021		383324.5281		10		2600		1989.1671		1988.2513492063		1988.8513492064		0.9157507936

				1354384.8177		383508.609		0		0		1992.8491				383508.609,1354384.8177

				1354391.0324		383507.0569		6.4055843214		6.4055843214		1992.9272				383507.0569,1354391.0324

				1354396.6457		383503.6233		6.5801782538		12.9857625752		1993.3158				383503.6233,1354396.6457

				1354402.259		383500.1896		6.5802304352		19.5659930104		1994.5522				383500.1896,1354402.259

				1354407.8724		383496.756		6.58026356		26.1462565704		1993.96				383496.756,1354407.8724

				1354424.7124		383486.455		19.7407244295		45.8869809999		1994.9173				383486.455,1354424.7124

				1354430.3238		383483.0213		6.5786097048		52.4655907047		1995.1146				383483.0213,1354430.3238

				1354435.9391		383479.5877		6.5818844606		59.0474751653		1995.0793				383479.5877,1354435.9391

				1354441.5525		383476.154		6.5803157408		65.6277909061		1995.0439				383476.154,1354441.5525

				1354435.9391		383479.5877		6.5803157408		72.2081066469		1994.9721				383479.5877,1354435.9391

				1354441.5525		383476.154		6.5803157408		78.7884223878		1994.7565				383476.154,1354441.5525

				1354475.5446		383475.4453		33.9994870269		112.7879094147		1994.4552				383475.4453,1354475.5446

				1354485.5419		383475.2359		9.9994927698		122.7874021845		1994.2361				383475.2359,1354485.5419

				1354495.5393		383475.0263		9.9995969379		132.7869991224		1994.2796				383475.0263,1354495.5393

				1354505.5366		383474.8168		9.9994948642		142.7864939865		1994.3544				383474.8168,1354505.5366

				1354515.5339		383474.6073		9.9994948642		152.7859888507		1994.3331				383474.6073,1354515.5339

				1354525.5313		383474.3978		9.9995948423		162.785583693		1993.9037				383474.3978,1354525.5313

				1354535.5286		383474.1883		9.9994948644		172.7850785574		1993.5963				383474.1883,1354535.5286

				1354545.5259		383473.9788		9.9994948642		182.7845734216		1993.5135				383473.9788,1354545.5259

				1354555.5233		383473.7693		9.9995948423		192.7841682639		1993.6323				383473.7693,1354555.5233

				1354565.5206		383473.5597		9.9994969598		202.7836652236		1993.8089				383473.5597,1354565.5206

				1354575.5179		383473.3502		9.9994948644		212.783160088		1993.5487				383473.3502,1354575.5179

				1354585.5153		383473.1407		9.9995948423		222.7827549303		1993.2689				383473.1407,1354585.5153

				1354595.5126		383472.9312		9.9994948642		232.7822497945		1992.9999				383472.9312,1354595.5126

				1354605.5099		383472.7217		9.9994948642		242.7817446587		1992.9212				383472.7217,1354605.5099

				1354615.5073		383472.5122		9.9995948423		252.781339501		1992.8552				383472.5122,1354615.5073

				1354625.5046		383472.3026		9.99949696		262.780836461		1992.7892				383472.3026,1354625.5046

				1354635.4992		383472.1426		9.9958806094		272.7767170704		1992.7232				383472.1426,1354635.4992

				1354645.1757		383474.6636		9.9995046503		282.7762217207		1992.5726				383474.6636,1354645.1757

				1354654.8517		383477.1866		9.9995252387		292.7757469594		1992.4119				383477.1866,1354654.8517

				1354664.5277		383479.7096		9.9995252387		302.7752721981		1992.4268				383479.7096,1354664.5277

				1354674.2037		383482.2326		9.9995252387		312.7747974368		1992.4418				383482.2326,1354674.2037

				1354683.6727		383482.4472		9.4714314737		322.2462289105		1992.4567				383482.4472,1354683.6727

				1354692.5009		383477.7512		9.9994765484		332.2457054588		1992.4616				383477.7512,1354692.5009

				1354701.3292		383473.0553		9.9995178733		342.2452233322		1992.4663				383473.0553,1354701.3292

				1354710.3659		383468.7865		9.994228351		352.2394516831		1992.5276				383468.7865,1354710.3659

				1354719.5025		383464.723		9.9994745766		362.2389262597		1992.7359				383464.723,1354719.5025

				1354728.6392		383460.6595		9.9995659477		372.2384922074		1992.7221				383460.6595,1354728.6392

				1354737.7758		383456.596		9.9994745766		382.2379667839		1992.5554				383456.596,1354737.7758

				1354746.9125		383452.5325		9.9995659477		392.2375327317		1992.3388				383452.5325,1354746.9125

				1354756.0492		383448.469		9.9995659475		402.2370986792		1992.2003				383448.469,1354756.0492

				1354765.1858		383444.4055		9.9994745768		412.236573256		1992.0617				383444.4055,1354765.1858

				1354775.0976		383443.2093		9.9837204327		422.2202936886		1991.8908				383443.2093,1354775.0976

				1354785.0406		383442.148		9.999480321		432.2197740096		1991.9108				383442.148,1354785.0406

				1354794.9836		383441.0866		9.999490935		442.2192649446		1991.9308				383441.0866,1354794.9836

				1354804.9267		383440.0253		9.9995797562		452.2188447008		1991.9508				383440.0253,1354804.9267

				1354813.6502		383442.8131		9.1581265056		461.3769712064		1991.8369				383442.8131,1354813.6502

				1354820.8187		383449.7848		9.9995996489		471.3765708553		1991.8454				383449.7848,1354820.8187

				1354827.9871		383456.7565		9.9995279614		481.3760988167		1991.8557				383456.7565,1354827.9871

				1354835.1555		383463.7282		9.9995279614		491.3756267781		1991.8662				383463.7282,1354835.1555

				1354842.3239		383470.6999		9.9995279612		501.3751547394		1991.8768				383470.6999,1354842.3239

				1354849.4923		383477.6716		9.9995279614		511.3746827008		1991.8873				383477.6716,1354849.4923

				1354856.6607		383484.6433		9.9995279612		521.374210662		1991.8979				383484.6433,1354856.6607

				1354863.8291		383491.615		9.9995279614		531.3737386234		1991.8179				383491.615,1354863.8291

				1354870.9975		383498.5867		9.9995279614		541.3732665848		1991.7337				383498.5867,1354870.9975

				1354878.3064		383505.3529		9.9599940586		551.3332606435		1991.6541				383505.3529,1354878.3064

				1354888.2688		383506.1948		9.9979102502		561.3311708937		1991.6588				383506.1948,1354888.2688

				1354898.2351		383507.0086		9.9994702924		571.3306411861		1991.6201				383507.0086,1354898.2351

				1354908.2015		383507.8225		9.9995780996		581.3302192858		1991.5829				383507.8225,1354908.2015

				1354918.1679		383508.6363		9.9995699608		591.3297892465		1991.5503				383508.6363,1354918.1679

				1354928.1342		383509.4501		9.9994702924		601.329259539		1991.4417				383509.4501,1354928.1342

				1354938.1006		383510.264		9.9995780996		611.3288376386		1991.3332				383510.264,1354938.1006

				1354948.0669		383511.0778		9.9994702924		621.3283079311		1991.2247				383511.0778,1354948.0669

				1354958.0333		383511.8917		9.9995780996		631.3278860307		1991.1162				383511.8917,1354958.0333

				1354967.3498		383508.7833		9.8213707195		641.1492567502		1991.2835				383508.7833,1354967.3498

				1354976.4815		383504.7087		9.9995154908		651.1487722409		1991.4339				383504.7087,1354976.4815

				1354985.6132		383500.634		9.9995562392		661.1483284801		1991.5843				383500.634,1354985.6132

				1354994.7449		383496.5594		9.9995154908		671.1478439709		1991.7347				383496.5594,1354994.7449

				1355003.8766		383492.4848		9.9995154908		681.1473594617		1991.7545				383492.4848,1355003.8766

				1355013.0083		383488.4101		9.9995562392		691.1469157009		1991.7272				383488.4101,1355013.0083

				1355022.14		383484.3355		9.9995154906		701.1464311915		1991.6999				383484.3355,1355022.14

				1355031.2717		383480.2608		9.9995562392		711.1459874306		1991.6726				383480.2608,1355031.2717

				1355040.4034		383476.1862		9.9995154908		721.1455029214		1991.623				383476.1862,1355040.4034

				1355049.5351		383472.1116		9.9995154908		731.1450184122		1991.5685				383472.1116,1355049.5351

				1355059.1547		383469.5832		9.9463315208		741.091349933		1991.539				383469.5832,1355059.1547

				1355068.9758		383467.7024		9.9995706831		751.0909206161		1991.5663				383467.7024,1355068.9758

				1355078.7968		383465.8216		9.9994724681		761.0903930842		1991.5936				383465.8216,1355078.7968

				1355088.6179		383463.9408		9.9995706834		771.0899637676		1991.6881				383463.9408,1355088.6179

				1355098.4389		383462.06		9.9994724681		781.0894362356		1991.7911				383462.06,1355098.4389

				1355108.1704		383463.8082		9.8872794787		790.9767157143		1991.7353				383463.8082,1355108.1704

				1355117.8697		383466.24		9.9995035741		800.9762192885		1991.6709				383466.24,1355117.8697

				1355127.5691		383468.6717		9.9995762536		810.975795542		1991.6066				383468.6717,1355127.5691

				1355137.2684		383471.1035		9.9995035742		820.9752991162		1991.7132				383471.1035,1355137.2684

				1355146.9678		383473.5352		9.9995762536		830.9748753698		1991.8269				383473.5352,1355146.9678

				1355156.1651		383477.4415		9.992472516		840.9673478857		1991.6405				383477.4415,1355156.1651

				1355165.3297		383481.4416		9.9995346475		850.9668825332		1991.5123				383481.4416,1355165.3297

				1355174.4943		383485.4417		9.9995346477		860.9664171809		1991.3841				383485.4417,1355174.4943

				1355183.6589		383489.4418		9.9995346477		870.9659518286		1991.2559				383489.4418,1355183.6589

				1355193.148		383491.8932		9.8006316517		880		1991.312				383491.8932,1355193.148

				1355203.1436		383491.72		9.9971004597		889.9971004597		1991.6482				383491.72,1355203.1436

				1355210.2181		383484.7391		9.9388890253		899.935989485		1991.1737				383484.7391,1355210.2181

				1355217.1007		383477.4852		9.9994623841		909.9354518691		1991.35				383477.4852,1355217.1007

				1355223.9833		383470.2312		9.9995349271		919.9349867962		1991.5264				383470.2312,1355223.9833

				1355230.866		383462.9773		9.9995312139		929.9345180102		1991.4478				383462.9773,1355230.866

				1355237.7486		383455.7233		9.9995349273		939.9340529375		1991.326				383455.7233,1355237.7486

				1355239.8766		383446.5999		9.3682875469		949.3023404844		1991.0703				383446.5999,1355239.8766

				1355239.4683		383436.6087		9.9995393059		959.3018797902		1991.0533				383436.6087,1355239.4683

				1355239.06		383426.6176		9.9994393893		969.3013191795		1991.0517				383426.6176,1355239.06

				1355237.7054		383416.742		9.9680698492		979.2693890287		1990.8351				383416.742,1355237.7054

				1355235.6811		383406.9496		9.9994443971		989.2688334259		1990.996				383406.9496,1355235.6811

				1355237.8146		383397.2932		9.8892812282		999.158114654		1991.2024				383397.2932,1355237.8146

				1355241.0234		383387.8224		9.9996224969		1009.157737151		1991.4722				383387.8224,1355241.0234

				1355244.2321		383378.3517		9.9994956962		1019.1572328472		1991.5052				383378.3517,1355244.2321

				1355247.4409		383368.881		9.9995277854		1029.1567606326		1991.2227				383368.881,1355247.4409

				1355250.6496		383359.4103		9.9994956962		1039.1562563288		1990.9382				383359.4103,1355250.6496

				1355250.1621		383351.9621		7.4641368885		1046.6203932173		1990.663				383351.9621,1355250.1621

				1355248.2172		383342.1535		9.999563489		1056.6199567062		1990.986				383342.1535,1355248.2172

				1355249.9384		383332.5929		9.7142988322		1066.3342555384		1991.4852				383332.5929,1355249.9384

				1355258.1863		383327.4698		9.7094803165		1080		1991.1659				383327.4698,1355258.1863

				1355268.0845		383326.0496		9.9995665548		1089.9995665548		1991.1251				383326.0496,1355268.0845

				1355277.9827		383324.6294		9.9995665546		1099.9991331093		1991.1145				383324.6294,1355277.9827

				1355287.8808		383323.2092		9.9994675682		1109.9986006775		1991.1039				383323.2092,1355287.8808

				1355297.779		383321.789		9.9995665548		1119.9981672323		1991.0934				383321.789,1355297.779

				1355307.7241		383321.4233		9.9518214663		1129.9499886986		1991.101				383321.4233,1355307.7241

				1355317.7081		383321.9807		9.9995475277		1139.9495362263		1990.9466				383321.9807,1355317.7081

				1355327.6921		383322.5381		9.9995475279		1149.9490837543		1990.8201				383322.5381,1355327.6921

				1355337.6761		383323.0955		9.9995475277		1159.948631282		1990.694				383323.0955,1355337.6761

				1355347.6601		383323.6529		9.9995475277		1169.9481788097		1990.5679				383323.6529,1355347.6601

				1355357.644		383324.2103		9.9994476834		1179.947626493		1990.4417				383324.2103,1355357.644

				1355367.628		383324.7677		9.9995475277		1189.9471740207		1990.4271				383324.7677,1355367.628

				1355377.612		383325.3251		9.9995475277		1199.9467215484		1990.4143				383325.3251,1355377.612

				1355387.596		383325.8825		9.9995475277		1209.9462690761		1990.5167				383325.8825,1355387.596

				1355397.58		383326.4399		9.9995475279		1219.9458166041		1990.6579				383326.4399,1355397.58

				1355407.5639		383326.9973		9.9994476831		1229.9452642872		1990.709				383326.9973,1355407.5639

				1355417.5479		383327.5547		9.9995475277		1239.9448118149		1990.7477				383327.5547,1355417.5479

				1355427.5319		383328.1121		9.9995475279		1249.9443593428		1990.7865				383328.1121,1355427.5319

				1355437.1306		383330.0425		9.7908878989		1259.7352472418		1990.739				383330.0425,1355437.1306

				1355445.8466		383334.9436		9.9994718466		1269.7347190883		1990.7683				383334.9436,1355445.8466

				1355454.5627		383339.8447		9.9995590111		1279.7342780995		1990.7838				383339.8447,1355454.5627

				1355463.2787		383344.7458		9.9994718465		1289.733749946		1990.7992				383344.7458,1355463.2787

				1355471.9948		383349.6469		9.9995590114		1299.7333089574		1990.8147				383349.6469,1355471.9948

				1355480.7109		383354.548		9.9995590114		1309.7328679687		1990.8301				383354.548,1355480.7109

				1355489.4269		383359.4491		9.9994718466		1319.7323398153		1990.8188				383359.4491,1355489.4269

				1355498.143		383364.3502		9.9995590111		1329.7318988264		1990.6642				383364.3502,1355498.143

				1355506.859		383369.2513		9.9994718466		1339.731370673		1990.5097				383369.2513,1355506.859

				1355515.5751		383374.1524		9.9995590114		1349.7309296844		1990.5014				383374.1524,1355515.5751

				1355524.2912		383379.0536		9.9996080249		1359.7305377092		1990.5466				383379.0536,1355524.2912

				1355533.0072		383383.9547		9.9994718466		1369.7300095558		1990.5919				383383.9547,1355533.0072

				1355541.7233		383388.8558		9.9995590111		1379.729568567		1990.6371				383388.8558,1355541.7233

				1355551.3864		383389.2208		9.6699910346		1390		1990.6969				383389.2208,1355551.3864

				1355561.3173		383388.0508		9.9995837319		1399.9995837319		1990.6934				383388.0508,1355561.3173

				1355571.2481		383386.8808		9.9994844187		1409.9990681506		1990.69				383386.8808,1355571.2481

				1355581.179		383385.7107		9.9995954329		1419.9986635834		1990.7546				383385.7107,1355581.179

				1355591.1098		383384.5407		9.9994844187		1429.9981480021		1990.8491				383384.5407,1355591.1098

				1355601.0406		383383.3707		9.9994844187		1439.9976324208		1990.9436				383383.3707,1355601.0406

				1355610.9715		383382.2006		9.9995954329		1449.9972278536		1990.9138				383382.2006,1355610.9715

				1355620.9023		383381.0306		9.9994844187		1459.9967122723		1990.7433				383381.0306,1355620.9023

				1355630.0729		383382.8447		9.3483080379		1470		1990.5805				383382.8447,1355630.0729

				1355637.948		383389.0071		9.9996186813		1479.9996186813		1990.7792				383389.0071,1355637.948

				1355645.823		383395.1694		9.9994783009		1489.9990969822		1990.9068				383395.1694,1355645.823

				1355653.698		383401.3318		9.9995399274		1499.9986369096		1990.8694				383401.3318,1355653.698

				1355661.573		383407.4941		9.9994783009		1509.9981152105		1990.4188				383407.4941,1355661.573

				1355669.4481		383413.6565		9.9996186811		1519.9977338916		1990.3725				383413.6565,1355669.4481

				1355670.3203		383423.1701		9.5534976736		1529.5512315652		1990.7545				383423.1701,1355670.3203

				1355670.6548		383432.9299		9.7655305176		1540		1990.6363				383432.9299,1355670.6548

				1355679.4356		383436.4672		9.4665167792		1549.4665167792		1989.3682				383436.4672,1355679.4356

				1355689.1537		383434.1118		9.9994688243		1559.4659856036		1989.1117				383434.1118,1355689.1537

				1355698.8719		383431.7565		9.999542456		1569.4655280596		1989.2198				383431.7565,1355698.8719

				1355708.5901		383429.4011		9.9995660106		1579.4650940702		1989.9583				383429.4011,1355708.5901

				1355718.3082		383427.0457		9.9994688246		1589.4645628947		1990.6283				383427.0457,1355718.3082

				1355728.0264		383424.6904		9.999542456		1599.4641053508		1990.7111				383424.6904,1355728.0264

				1355736.8828		383420.0748		9.9869707279		1609.4510760786		1990.711				383420.0748,1355736.8828

				1355745.692		383415.3432		9.9995021476		1619.4505782262		1990.6432				383415.3432,1355745.692

				1355754.5013		383410.6116		9.999590244		1629.4501684702		1990.5592				383410.6116,1355754.5013

				1355763.3105		383405.8801		9.9994548297		1639.4496232999		1990.4597				383405.8801,1355763.3105

				1355772.3094		383401.8464		9.8615889643		1649.3112122642		1990.5083				383401.8464,1355772.3094

				1355782.3069		383402.0511		9.9995954089		1659.310807673		1990.4943				383402.0511,1355782.3069

				1355792.3043		383402.2558		9.9994954298		1669.3103031028		1990.4485				383402.2558,1355792.3043

				1355802.3017		383402.4605		9.9994954298		1679.3097985326		1990.3994				383402.4605,1355802.3017

				1355812.2992		383402.6652		9.9995954089		1689.3093939414		1990.3502				383402.6652,1355812.2992

				1355822.2966		383402.8699		9.9994954298		1699.3088893712		1990.3011				383402.8699,1355822.2966

				1355832.294		383403.0746		9.9994954298		1709.3083848009		1990.2519				383403.0746,1355832.294

				1355842.2915		383403.2793		9.9995954089		1719.3079802098		1990.2027				383403.2793,1355842.2915

				1355852.2889		383403.484		9.9994954298		1729.3074756396		1990.1476				383403.484,1355852.2889

				1355862.2863		383403.6887		9.9994954298		1739.3069710693		1990.1423				383403.6887,1355862.2863

				1355872.2838		383403.8934		9.9995954089		1749.3065664782		1990.2524				383403.8934,1355872.2838

				1355882.1299		383402.9513		9.8910685782		1759.1976350565		1990.3624				383402.9513,1355882.1299

				1355891.7091		383400.0825		9.9995542941		1769.1971893505		1990.1933				383400.0825,1355891.7091

				1355901.2883		383397.2138		9.9995256051		1779.1967149556		1990.2326				383397.2138,1355901.2883

				1355910.8675		383394.3451		9.9995256053		1789.1962405609		1990.4157				383394.3451,1355910.8675

				1355920.4467		383391.4764		9.9995256053		1799.1957661662		1990.3968				383391.4764,1355920.4467

				1355930.0259		383388.6077		9.9995256053		1809.1952917715		1990.3039				383388.6077,1355930.0259

				1355939.7728		383386.6231		9.9468938251		1819.1421855966		1990.1923				383386.6231,1355939.7728

				1355949.7397		383385.8163		9.9995010802		1829.1416866767		1990.0774				383385.8163,1355949.7397

				1355959.7067		383385.0095		9.999600754		1839.1412874307		1989.6555				383385.0095,1355959.7067

				1355969.6736		383384.2026		9.9995091491		1849.1407965798		1989.4584				383384.2026,1355969.6736

				1355979.6405		383383.3958		9.9995010799		1859.1402976597		1989.56				383383.3958,1355979.6405

				1355988.0918		383379.0401		9.5077123527		1868.6480100124		1989.7525				383379.0401,1355988.0918

				1355995.4038		383372.2192		9.999501028		1878.6475110404		1989.7074				383372.2192,1355995.4038

				1356002.7158		383365.3983		9.999501028		1888.6470120684		1989.7147				383365.3983,1356002.7158

				1356010.0279		383358.5774		9.9995741521		1898.6465862205		1989.7772				383358.5774,1356010.0279

				1356017.3399		383351.7565		9.999501028		1908.6460872484		1989.8398				383351.7565,1356017.3399

				1356024.6519		383344.9356		9.999501028		1918.6455882764		1989.9024				383344.9356,1356024.6519

				1356031.964		383338.1147		9.999574152		1928.6451624284		1989.965				383338.1147,1356031.964

				1356039.2763		383331.2941		9.9995157708		1938.6446781992		1989.8395				383331.2941,1356039.2763

				1356048.8231		383328.4133		9.9719806898		1948.616658889		1989.7897				383328.4133,1356048.8231

				1356058.4501		383325.7095		9.9994831587		1958.6161420478		1989.8192				383325.7095,1356058.4501

				1356068.0772		383323.0057		9.9995794336		1968.6157214814		1989.848				383323.0057,1356068.0772

				1356077.7042		383320.3019		9.9994831587		1978.6152046401		1989.8767				383320.3019,1356077.7042

				1356087.3313		383317.5981		9.9995794336		1988.6147840737		1989.9055				383317.5981,1356087.3313

				1356096.9583		383314.8943		9.9994831587		1998.6142672324		1989.9342				383314.8943,1356096.9583

				1356106.5853		383312.1905		9.9994831585		2008.6137503909		1989.963				383312.1905,1356106.5853

				1356116.2124		383309.4867		9.9995794338		2018.6133298247		1989.9392				383309.4867,1356116.2124

				1356125.8394		383306.7829		9.9994831585		2028.6128129833		1989.841				383306.7829,1356125.8394

				1356135.4665		383304.0791		9.9995794338		2038.6123924171		1989.7602				383304.0791,1356135.4665

				1356145.0935		383301.3753		9.9994831585		2048.6118755756		1989.6988				383301.3753,1356145.0935

				1356155.0223		383300.4249		9.9741831546		2058.5860587302		1989.671				383300.4249,1356155.0223

				1356165.0005		383299.771		9.9996030146		2068.5856617448		1989.6834				383299.771,1356165.0005

				1356174.9786		383299.117		9.9995097684		2078.5851715133		1989.6957				383299.117,1356174.9786

				1356184.9567		383298.463		9.9995097684		2088.5846812817		1989.708				383298.463,1356184.9567

				1356194.9348		383297.8091		9.9995032286		2098.5841845103		1989.7204				383297.8091,1356194.9348

				1356204.9129		383297.1551		9.9995097687		2108.583694279		1989.7327				383297.1551,1356204.9129

				1356214.8911		383296.5011		9.9996095542		2118.5833038331		1989.745				383296.5011,1356214.8911

				1356224.8692		383295.8472		9.9995032288		2128.582807062		1989.7574				383295.8472,1356224.8692

				1356234.8473		383295.1932		9.9995097684		2138.5823168304		1989.7697				383295.1932,1356234.8473

				1356244.8254		383294.5392		9.9995097684		2148.5818265988		1989.782				383294.5392,1356244.8254

				1356254.8035		383293.8853		9.9995032286		2158.5813298275		1989.7944				383293.8853,1356254.8035

				1356264.7817		383293.2313		9.9996095544		2168.5809393818		1989.803				383293.2313,1356264.7817

				1356274.7598		383292.5773		9.9995097687		2178.5804491505		1989.81				383292.5773,1356274.7598

				1356284.7379		383291.9234		9.9995032286		2188.5799523791		1989.817				383291.9234,1356284.7379

				1356294.1251		383293.6584		9.5461902788		2198.126142658		1989.826				383293.6584,1356294.1251

				1356302.4611		383299.1812		9.9995107799		2208.1256534379		1989.8575				383299.1812,1356302.4611

				1356310.7971		383304.704		9.9995107802		2218.1251642181		1989.7827				383304.704,1356310.7971

				1356319.1331		383310.2269		9.999566011		2228.124730229		1989.7078				383310.2269,1356319.1331

				1356327.7982		383314.6948		9.7491583443		2237.8738885733		1989.4578				383314.6948,1356327.7982

				1356337.7833		383314.1592		9.9994544536		2247.8733430268		1989.531				383314.1592,1356337.7833

				1356347.7685		383313.6237		9.9995489543		2257.8728919812		1989.3978				383313.6237,1356347.7685

				1356357.7537		383313.0881		9.9995543101		2267.8724462912		1989.2645				383313.0881,1356357.7537

				1356367.7389		383312.5525		9.9995543101		2277.8720006013		1989.1313				383312.5525,1356367.7389

				1356377.7174		383311.9667		9.9956802615		2287.8676808628		1989.0742				383311.9667,1356377.7174

				1356387.0498		383308.3757		9.9994485228		2297.8671293855		1989.2514				383308.3757,1356387.0498

				1356396.38		383304.7789		9.9994801005		2307.866609486		1989.392				383304.7789,1356396.38

				1356405.7102		383301.182		9.999516071		2317.866125557		1989.5326				383301.182,1356405.7102

				1356415.0404		383297.5852		9.9994801005		2327.8656056574		1989.6732				383297.5852,1356415.0404

				1356424.3707		383293.9883		9.9996093774		2337.8652150348		1989.7752				383293.9883,1356424.3707

				1356433.7009		383290.3915		9.9994801005		2347.8646951352		1989.6932				383290.3915,1356433.7009

				1356443.0311		383286.7946		9.9995160708		2357.864211206		1989.6112				383286.7946,1356443.0311

				1356452.5349		383285.3114		9.618840714		2367.48305192		1989.5295				383285.3114,1356452.5349

				1356462.2561		383287.6542		9.9995220526		2377.4825739726		1989.5159				383287.6542,1356462.2561

				1356471.9773		383289.997		9.9995220524		2387.482096025		1989.4265				383289.997,1356471.9773

				1356481.6985		383292.3398		9.9995220526		2397.4816180776		1989.3372				383292.3398,1356481.6985

				1356491.4197		383294.6826		9.9995220526		2407.4811401302		1989.2478				383294.6826,1356491.4197

				1356501.1409		383297.0254		9.9995220526		2417.4806621828		1989.1585				383297.0254,1356501.1409

				1356510.8621		383299.3682		9.9995220526		2427.4801842354		1989.0863				383299.3682,1356510.8621

				1356520.5833		383301.711		9.9995220526		2437.479706288		1989.0194				383301.711,1356520.5833

				1356530.3045		383304.0538		9.9995220526		2447.4792283406		1988.9596				383304.0538,1356530.3045

				1356540.0257		383306.3966		9.9995220526		2457.4787503932		1988.9853				383306.3966,1356540.0257

				1356549.7469		383308.7394		9.9995220524		2467.4782724456		1988.991				383308.7394,1356549.7469

				1356559.4682		383311.0822		9.9996192693		2477.477891715		1988.9966				383311.0822,1356559.4682

				1356569.1894		383313.425		9.9995220526		2487.4774137676		1989.0022				383313.425,1356569.1894

				1356579.0903		383314.7069		9.9835408759		2497.4609546434		1989.0168				383314.7069,1356579.0903

				1356589.0415		383315.689		9.9995450822		2507.4604997256		1989.04				383315.689,1356589.0415

				1356598.9927		383316.6711		9.9995450822		2517.4600448078		1989.0631				383316.6711,1356598.9927

				1356608.9438		383317.6532		9.9994455656		2527.4594903733		1989.0951				383317.6532,1356608.9438

				1356618.895		383318.6353		9.9995450822		2537.4590354555		1989.1272				383318.6353,1356618.895

				1356628.8462		383319.6175		9.9995549041		2547.4585903596		1989.1592				383319.6175,1356628.8462

				1356638.7974		383320.5996		9.9995450822		2557.4581354418		1989.1913				383320.5996,1356638.7974

				1356648.7486		383321.5817		9.9995450822		2567.4576805239		1989.2233				383321.5817,1356648.7486

				1356658.6998		383322.5638		9.9995450822		2577.4572256061		1989.2419				383322.5638,1356658.6998

				1356668.6509		383323.5459		9.9994455656		2587.4566711717		1989.2045				383323.5459,1356668.6509





division box

		

				Dividing Canal Name		Chainage		CBL		ON GOING, Q0 (lit/sec)		OUTGOING, Q1  (lit/sec)		TC FLOW, Q2  (lit/sec)		parent canal bed width Bo		parent canal depth,Do		TCs bed width Bc		width of the basin ,B=Bo+0.40		Length of the basin ,L=Bc+0.41		depth  of the basin ,D=Do

				MC1																								masonry		plastering																		Dividing Canal Name		Chainage		CBL		ON GOING, Q0 (lit/sec)		OUTGOING, Q1  (lit/sec)		TC FLOW, Q2  (lit/sec)		parent canal bed width Bo		parent canal depth,Do		TCs bed width Bc		width of the basin ,B=Bo+0.40		Length of the basin ,L=Bc+0.41		depth  of the basin ,D=Do

				TC-1-1-1		0+10		1991.21		220		205.0		15.00		0.70		0.60		0.30		1.10		0.70		0.60		0.462		0.77						excavn

				TC-1-1-2		0+10		1991.21		205		200.0		5.00		0.35		0.50		0.30		0.75		0.70		0.50		0.2625		0.525				1.1		1.7		0.714

				TC-1-2-3		0+50		1986.67		200		194.0		6.00		0.35		0.40		0.30		0.75		0.70		0.40		0.21		0.525				0.75		1.35		0.4725										SC

				TC-1-2-4		0+330		1976.65		194		188.0		6.00		0.35		0.40		0.30		0.75		0.75		0.75		0.421875		0.5625				0.75		1.35		0.378										TC-1-1-1		0+170		2500.275		85		65.0		20.00		0.40		0.50		0.35		0.80		0.75		0.50

				TC-1-3-5		0+10		1988.18		188		178.0		10.00		0.35		0.40		0.30		0.75		0.75		0.40		0.225		0.5625				0.75		1.35		0.759375

				TC-1-3-6		0+250		1978.57		178		163.0		15.00		0.35		0.40		0.30		0.75		0.70		0.40		0.21		0.525				0.75		1.35		0.405

				TC 1-7		0+2600		1988.28		163		138.0		25.00		0.50		0.50		0.35		0.90		0.75		0.50		0.3375		0.675				0.75		1.35		0.378

				TC 1-4-8		0+20		1987.59		138		108.0		30.00		0.50		0.50		0.35		0.90		0.75		0.50		0.3375		0.675				0.9		1.5		0.5625										TC-1-1-2		0+170		2500		65		45.0		20.00		0.40		0.50		0.30		0.80		0.70		0.50

				TC-1-4-9		0+230		1975.18		108		88.0		20.00		0.50		0.50		0.35		0.90		0.75		0.50		0.3375		0.675				0.9		1.5		0.5625

				TC 1-4-10		0+460		1965.73		88		58.0		30.00		0.50		0.50		0.35		0.90		0.75		0.50		0.3375		0.675				0.9		1.5		0.5625

				TC 1-4-11		0+460		1965.73		58		18.0		40		0.50		0.50		0.35		0.90		0.75		0.50		0.3375		0.675				0.9		1.5		0.5625										TC-1-1-3		0+500		2488		45		25.0		20.00		0.35		0.40		0.30		0.75		0.70		0.40

				TC-1-4-12		0+810		1951.36		18		0.0		30		0.50		0.50		0.35		0.90		0.75		0.50		0.3375		0.675				0.9		1.5		0.5625										TC-1-1-4		0+500		2488		25		10.0		15.00		0.35		0.40		0.30		0.75		0.75		0.75

																												3.816375		7.52				0.9		1.5		0.5625										TC-1-1-5		0+1180		2474.92		10.00		0.00		15.00		0.35		0.40		0.30		0.75		0.70		0.40

																														15.04								6.481875										TC-1-1-6		0+1180		2474.92		0.00		0.00		15.00		0.35		0.40		0.30		0.75		0.70		0.40

				COSTS OF one DIVISION BOX		SYMBOL		UNIT		VALUE														turn out or  scaping canal						(in  river)

				ADDITIONAL INPUT DATA						FOR ONE SEDED DIV.BOX		FOR TW`OSIDED  DIV.BOX										in		l		w		d		maso		exca		plst				turn out

				thickness of masonry, t		t		m		0.35		0.`35												3		0.7		0.6		1.26				3.6

				lip height for basin		a		m		0.1		0.1												3.6								1.512						0.84

				excavation vol.added		ve		m3		0.539		1.078												2														1.68

				masonary vol		vm		m3		0.55125		1.1025												2.6								2.184

				plastering vol		va		m2		1.575		3.15																										3.36		pl

				dry pitch vol		vp		m3		0.735		1.47

				Number of Divission Box		No				3		20

				excavation vol.added		ve		m3		3.539		21.56

				masonary vol		vm		m3		3.55125		22.05

				plastering vol		va		m2		4.575		63

				dry pitch vol		vp		m3		3.735		29.4





BOQ OF MANA

		

				ITEM NO.		DESCRIPTION		`

								UNIT		QUANTITY		UNITE PRICE		AMOUNT (ETH. BIRR)

						Bill 1. GENERAL ITEM

				1.0		Genral Items

				1.1		Allow for mobilization		Ls		1.00		90,000.00		90,000.00

				1.2		Allow for demobilization		Ls		1.00		75,000.00		75,000.00

				1.3		Allow for contractor's camp and facilities

				1.3.1		Allow for constraction camp and facilities = 4*5 m2, living rooms  for construction key personnel, CIS and internally painted chip wood wall, masonry floor cement screend and well ventilated room complet with doors and windows., cafteria,shawor &toilet.$ from this two class's 4*5m^2 to consultant living $office		No		10.00		16,000.00		160,000.00

				1.3.2		8*8 m2, store constructed from CIS  with doors and windows, masonry floor cement screened.		No		1.00		20,000.00		20,000.00

				1.3.3		Barbed wire fence 50*30 m and  1.5m high treated timber post complete with 3m wide gate and CIS guard house.		m		1.00		10,000.00		10,000.00

				1.4		Allow for temporary acess road to site for15km		Km		15.00		50,000.00		750,000.00

				1.5		Dewatering of open trenches and excavation of temporary diversion of the river flow and pumps.		Ls		1.00		20,000.00		20,000.00

				1.6		Provide project indicator post starting from the construction time.		Ls		1.00		10,000.00		10,000.00

				1.7		Provision of as built drawings for the project.		Ls		1.00		7,000.00		7,000.00

						Total amount for general items								1,142,000.00

				1.8		A. Head Work Structures

				1.9		Bed  Bar

						Description

				2		Earth Excavation Ordinary Soil		m^3		522.83		100		52283

				2.1		Back fill		m^3		367.25		20		7345

				2.2		Concrete (C25)		m^3		121.125		2500		302812.5

						Lean Concrete (C20)		m^3		7.55		2000		15100

				2.3		Reinforcing bars ф 12 including  Off take		Kg		1951.77		50		97588.5

				2.4		Plasterig(1:2 ratio)		m^2		161.5		150		24225

						Subtotal								499354												12

				2.5		Right Side Retaining Wall																				8

				2.6		Earth Excavation Ordinary Soil		m^3		650		100		65000												104

				2.7		Back fill		m^3		260		18		4680

				2.8		Masonry(1:3 ratio)		m^3		406		1300		527800

				2.9		GABION		m^3		165		1000		165000

						Sub total								762480				1261834

						TOTAL								1261834

				3		Off take canal gate and installation,  4mm thickness sheet metal ,40mmX30mmX4mm angle iron,  ∅12mm bar for anchorage square iron tube with 2mm thickness		1000

						Sub total								1000

				3.1		B INFRASTRUCTURE

				B1		Main Canal 1(MC)

				3.2		Excavation (soil)		m3		3,766.07		100.00		376,607.00				660		2000		1		2000

				3.4		Back fill		m3		720.00		20.00		14,400.00				0						0

				3.5		Masonry work (1:3 ratio)		m3		886.00		1,000.00		886,000.00										0

				3.6		Plastering in (  1:2 ratio)		m2		1,452.00		200.00		290,400.00

						Sub total								1,567,407.00																														unite rate		cost

				3.7		TURNOUTS (2)								- 0

				3.8		excavation		m3		2.20		100.00		220.00

				3.9		masonary (1:3 ratio)		m3		1.68		1,000.00		1,680.00

				4		Plastering (  1:2 ratio)		m2		3.36		200.00		672.00

						Sub total								2,572.00

				4.1		FLUME

				4.2		Earth Excavation Ordinary Soil		m3		48.00		100.00		4,800.00

				4.3		Masonry work (1:3 ratio)retaining wall		m3		24.00		1,000.00		24,000.00

				4.4		Concrete (C25)		m3		24.34		2,500.00		60,850.00

				4.5		Reinforcing bars ф 12		kg/l/m		1,116.64		50.00		55,832.00

						Sub total								145,482.00

				4.6		ROAD CROSSINGS (4)								- 0

				4.7		masonary (1:3 ratio)		m3		10.56		1,000.00		10,560.00

				4.8		Plastering in ratio 1:2		m2		14.40		200.00		2,880.00

				4.9		RCC bar 12mm diam.		Kg/l/m		183.96		50.00		9,198.00

				5		C-20 concrete		m3		10.56		2,500.00		26,400.00

						Sub total								49,038.00

				5.1		SC1

				5.2		Excavation (soil)		m3		145.04		100.00		14,504.00

				5.3		SC2								- 0										III		Infrastructure

				5.4		Excavation (soil)		m3		365.77		100.00		36,577.00

				5.5		SC3

				5.6		Excavation (soil)		m3		211.75		100.00		21,175.00

				5.7		SC4

				5.8		Excavation (soil)		m3		543.40		100.00		54,340.00

				5.9		Back fill		m3		126.00		20.00		2,520.00

				6		Masonry work (1:3 ratio)		m3		548.10		1,000.00		548,100.00

				6.1		Plastering (  1:2 ratio))		m2		1,348.50		200.00		269,700.00

				6.2		TC1-1-1

				6.3		ordinary soil Excavation		m3		20.60		100.00		2,060.00										1.1		Masonry in ratio 1:3		m3						6		4.0		1.1		0.4		1.76		1700

				6.4		Tertiary canal  (TC-1-1-2)								- 0												Sub total																10.56				17952

				6.5		ordinary soil Excavation		m3		179.81		100.00		17,981.00										1.2		Plastering in ratio 1:2		m2						2		4				0.4		3.2

				6.6		Tertiary canal  (TC-1-2-3)								- 0										1.3		C-25 Concrete		m2						6		4		1.1		0.4		10.56		721		7613.76

				6.7		ordinary soil Excavation		m3		10.18		100.00		1,018.00										1.4		Reinforced bar ɸ12mm		Kg						6		4		1.1		0.4		0.00

				6.8		Tertiary canal (TC1-2-4)								- 0								Item No.		Work Description								L		W		S		NO. BAR		TL		CONVERTOR		KG/L/M		0

				6.9		ordinary soil Excavation		m3		36.90		100.00		3,690.00																		1.3				0.2		6.5		8.45		0.89		7.5205

				7		Tertiary canal TC1-3-5)																1		Road Crossing								FOR MANA												0

				7.1		ordinary soil Excavation		m3		110.64		100.00		11,064.00																												0

				7.2		Tertiary cana TC1-3-6)								- 0																				6								0

				7.3		ordinary soil Excavation		m3		112.76		100.00		11,276.00

				7.4		Tertiary cana TC1-4-7)								- 0						5		0

				7.5		ordinary soil Excavation		m3		119.10		100.00		11,910.00										0

				7.6		ordinary soil Excavation		m3		142.07		100.00		14,207.00								All gates

				7.7		Tertiary cana TC1-4-9)								- 0						10.1		divisoin turnouts		no		3		800		2,400.00

				7.8		ordinary soil Excavation		m3		131.00		100.00		13,100.00						10.3				No				256		- 0

				7.9		Tertiary cana TC1-4-10)								- 0								Sub total								- 0

				10		ordinary soil Excavation		m3		128.69		100.00		12,869.00

				10.1		Tertiary cana TC1-4-11)								- 0

				10.2		ordinary soil Excavation		m3		157.04		100.00		15,704.00

				10.3		Tertiary cana TC1-4-12)								- 0

				10.4		ordinary soil Excavation		m3		46.86		100.00		4,686.00

				10.5		DIVISION BOX ( 9NO)								- 0

				10.6		excavation soil		m3		6.50		100.00		650.00

				10.7		masonary (1:3 ratio)		m3		3.82		1,000.00		3,820.00

				10.8		Plastering (  1:2 ratio)		m2		15.00		200.00		3,000.00

				10.9		dry pitching				5.53		100.00		552.50

						Sub total								1,074,503.50

				11		All gates

				10.7		Offtake gate

				11.1		divisoin turnouts		no		8		800		6,400.00

				11.2		FC-turnouts		no		2		415		830.00

				11.1		Sub total								7,230.00

						Total								2,846,232.50

						Components		Costs ETB

						General items		1,142,000

						Headwork		1,261,834.00

						Infrastructure		2,846,232.50														ITEM NO.		DESCRIPTION		`

						Total		5,250,066.50																		UNIT		QUANTITY		UNITE PRICE		AMOUNT (ETH. BIRR)

						VAT 15%		787,509.98

						Total		6,037,576.48																Bill 1. GENERAL ITEM

						cost per  ha		52,273.39		45,455.12												1.0		Genral Items

																						1.1		Allow for mobilization		Ls		1.00		92,000.00		92,000.00

																						1.2		Allow for demobilization		Ls		1.00		80,000.00		80,000.00

																						1.3		Allow for contractor's camp and facilities

																						1.3.1		Allow for constraction camp and facilities = 4*5 m2, living rooms  for construction key personnel, CIS and internally painted chip wood wall, masonry floor cement screend and well ventilated room complet with doors and windows.		No		3.00		96,215.30		288,645.90

																						1.3.2		5*5 m2, store constructed from CIS  with doors and windows, masonry floor cement screened.		No		1.00		74,607.21		74,607.21																																																		cost of one drop

																						1.3.3		Barbed wire fence 50*20 m and  1.5m high treated timber post complete with 3m wide gate and CIS guard house.		m		1.00		74,641.77		74,641.77																																																		drop height H		SC		TC-1--1-1		TC1-1-3		TC1-1-4

																						1.4		Allow for temporary acess road to site		Km		0.50		250,882.53		125,441.27																																																		drop  basin length L		1		0.5		0.75		0.75

																						1.5		Dewatering of open trenches and excavation of temporary diversion of the river flow and pumps.		Ls		1.00		40,000.00		40,000.00																																																		drop Basin width B		1		1		1		1

																						1.6		Provide project indicator post starting from the construction time.		Ls		1.00		10,000.00		10,000.00																																																		thickness masonry, t		1.1		1.1		1.1		1.1

																						1.7		Provision of as built drawings for the project.		Ls		1.00		30,000.00		30,000.00																																																		canal depth D		0.35		0.35		0.3		0.3

																																252,000.00																																																		masonary volume m3		0.5		0.4		0.35		0.35

																																																																																		plastering m2		2.176		1.676		1.8735		1.8735

																																																																																		excavation soil		6.8336		6.2836		6.36085		6.36085

																																																																																		NUMBER OF DROPS		1.1		1.1		1.1		1.1

																																																																																		total mason volume		18		4		3		1

																																																																																		total area plaster		39.168		6.704		5.6205		1.8735

																				1.2																																																														total soil excv.		123.00		25.13		19.08		6.36

																																																																																		dry picht for lower only		19.80		4.40		3.30		1.10

																																																																																				2.84		0.63		0.47		0.16

																																																																																		DIVISION BOX												715682.005

																																																																																		TWO SIDE DIVISION BOX main lined

																																																																																		canal depth

																														1091924.24																																																				Secondary CANAL BED WIDTH, B		0.4

																				787,509.98																																																														TERTIARY CANAL BED WIDTH BC		0.35

																																																																																				0.3

																																																																																		floor m3		mason		plast		No of  DB

																																																																																		2 sides		0.0980		0.2800		3

																																																																																		noch		0.1680		0.4800		3

																																																																																		pich of l=1.5m		0.0578		0.1650		3

																																																																																		total mosary		0.1575		0.0000		3

																																																																																		total dry pich		0.3238				0.97125

																																																																																		plastering		0.1575				0.4725

																																																																																				0.9250				2.775						0.475

																																																																																		TURNOUT

																				sum																																																														NUMBER

																																																																																		SOIL EXC		2

																																																																																		MASONARY		2.2								tc1-1-5		tc1-1-6

																																																																																		PLASTER		4.352								1		0.5

																																																																																		PICH		13.6672								1		1

																																																																																				1.26								1.1		1.1

																																																																																												0.3		0.3

																																																																																												0.35		0.35

																1.1		1.1																																																																										2.106		1.641

																1		1																																																																										6.6166		6.1051

																2.106		1.641		3.747				98.821

																6.62		6.11		12.72				386.30

																1.10		1.10		2.20				268.20

																0.16		0.16		0.32				10.37





TC6 ON SC3 3 1-1 AT CH 250

		

		chainage		0+456-0+240

		bed width		0.3										masonry width		Working space		total cut width

		Slope		500										0.35		0.35		1.35

		Total depth		0.3														0.64

		Side slope of canal		0														0.45

		Side slope of Burm		1														0.48

		Insert top width of built burm for fill		0														0.48

		OFFTAKE LEVEL CBL		1978.57														0.51

		Northing		Easting		Partial Distance		Chainage		Elevation		CBL		Bank level		CUT(m)		Fill(m)		slope		drop		Area of cut		Average Area of Cut		Volume of cut		Area of Fill		Average Area of Fill		Volume of Fill		Massonry Area (m2)		Massonry volume(m3)		PLASTERING		CUM.VOL.CUT

		1355987.6684		383133.1163		0		0		1979.2137		1978.57		1978.87		0.64		0.00		500.00				0.87		0.00		0.00		0.00		0.00		0.00		0.45		0.00		0		0.00

		1355990.5286		383123.3209		10		10		1979		1978.55		1978.85		0.45		0.00						0.61		0.74		7.54		0.00		0.00		0.00		0.45		4.59		14		7.54

		1355996.9957		383115.229		10		20		1979.0107		1978.54		1978.84		0.48		0.00						0.64		0.62		6.25		0.00		0.00		0.00		0.45		4.50		14		13.79

		1356005.9532		383110.0474		10		30		1979.0017		1978.52		1978.82		0.48		0.00						0.65		0.65		6.45		0.00		0.00		0.00		0.45		4.50		14		20.24

		1356015.0788		383105.126		10		40		1979.0029		1978.51		1978.81		0.50		0.00						0.67		0.66		6.59		0.00		0.00		0.00		0.45		4.50		14		26.83

		1356024.2044		383100.2046		10		50		1979.0014		1978.49		1978.79		0.51		0.00						0.69		0.68		6.78		0.00		0.00		0.00		0.45		4.50		14		33.62

		1356033.2075		383095.0889		10		61		1979		1978.48		1978.78		0.52		0.00						0.71		0.70		7.21		0.00		0.00		0.00		0.45		4.66		14		40.83

		1356042.8597		383096.3434		10		71		1979		1978.46		1978.76		0.54		0.00		500.00				0.72		0.71		7.15		0.00		0.00		0.00		0.45		4.50		14		47.97

		1356051.8306		383091.4781		10		81		1979		1978.45		1978.75		0.55		0.00						0.74		0.73		7.49		0.00		0.00		0.00		0.45		4.59		14		55.47

		1356060.6478		383086.0234		10		91		1979		1978.43		1978.73		0.57		0.00						0.76		0.75		7.82		0.00		0.00		0.00		0.45		4.67		14		63.29

		1356069.465		383080.5687		10		102		1979		1978.42		1978.72		0.58		0.00						0.78		0.77		8.03		0.00		0.00		0.00		0.45		4.67		14		71.31

		1356078.2822		383075.1139		10		112		1979		1978.40		1978.70		0.60		0.00						0.80		0.79		8.23		0.00		0.00		0.00		0.45		4.67		14		79.55

		1356087.0995		383069.6592		10		122		1979		1978.39		1978.69		0.61		0.00						0.82		0.81		8.44		0.00		0.00		0.00		0.45		4.67		14		87.99

		1356096.9134		383069.0762		10		132		1979		1978.38		1978.68		0.62		0.00		700.00				0.84		0.83		8.20		0.00		0.00		0.00		0.45		4.42		13		96.18

		1356107.1329		383070.8257		10		142		1979		1978.36		1978.66		0.64		0.00						0.86		0.85		8.53		0.00		0.00		0.00		0.45		4.50		14		104.71

		1356117.3523		383072.5751		10		152		1979		1978.35		1978.65		0.65		0.00						0.88		0.87		9.04		0.00		0.00		0.00		0.45		4.67		14		113.75

		1356125.8883		383068.0165		10		162		1979		1978.33		1978.63		0.67		0.00						0.90		0.89		8.63		0.00		0.00		0.00		0.45		4.35		13		122.38

		1356133.6977		383061.1966		10		172		1979		1978.32		1978.62		0.68		0.00						0.92		0.91		9.45		0.00		0.00		0.00		0.45		4.67		14		131.83

		1356141.5071		383054.3767		10		183		1979		1978.30		1978.60		0.70		0.00						0.94		0.93		9.65		0.00		0.00		0.00		0.45		4.67		14		141.48

		1356149.3165		383047.5568		10		193		1979		1978.29		1978.59		0.71		0.00						0.96		0.95		9.86		0.00		0.00		0.00		0.45		4.67		14		151.34

																												151.34						0.00				86.95		261





TC 5 ON SC3 1-1 AT CH 10

		

		chainage		0+00-0+840

		bed width		0.3										masonry width		Working space		total cut width

		Slope		500										0.3		0.3		1.20

		Total depth		0.3														0.11

		Side slope of canal		0														0.08

		Side slope of Burm		1														0.33

		Insert top width of built burm for fill		0														0.35

		OFFTAKE LEVEL CBL		1989.18														0.39

		Northing		Easting		Partial Distance		Chainage		Elevation		CBL		Bank level		CUT(m)		Fill(m)		slope		drop		Area of cut		Average Area of Cut		Volume of cut		Area of Fill		Average Area of Fill		Volume of Fill		Massonry Area (m2)		Massonry volume(m3)		PLASTERING		CUM.VOL.CUT

		1355983.6841		383373.0833		0		0		1989.286		1989.18		1989.48		0.11		0		500.00				0.13		0.00		0.00		0.06		0.00		0.00		0.45		0.00		0		0.00

		1355988.5776		383363.8747		10.4		10		1989.002		1988.92		1989.22		0.08		0		40.00				0.10		0.11		1.18		0.09		0.08		0.79		0.45		4.69		13		1.18

		1355995.422		383355.9624		10.0		20		1989		1988.67		1988.97		0.33		0						0.40		0.25		2.48		0.00		0.04		0.44		0.45		4.50		12		3.66

		1356002.2833		383348.0644		10.0		30		1989		1988.65		1988.95		0.35		0		500.00				0.42		0.41		4.09		0.00		0.00		0.00		0.45		4.50		12		7.75

		1356009.1446		383340.1664		10.0		40		1989		1988.63		1988.93		0.37		0						0.44		0.43		4.33		0.00		0.00		0.00		0.45		4.50		12		12.08

		1356016.0059		383332.2684		10.0		50		1989		1988.61		1988.91		0.39		0						0.47		0.46		4.57		0.00		0.00		0.00		0.45		4.50		12		16.65

		1356022.8689		383324.3718		10.5		61		1989		1988.59		1988.89		0.41		0						0.49		0.48		5.04		0.00		0.00		0.00		0.45		4.71		13		21.68

		1356030.1462		383316.9664		10.0		71		1989.001		1988.57		1988.87		0.43		0		600.00				0.52		0.51		5.07		0.00		0.00		0.00		0.45		4.50		12		26.75

		1356040.0321		383313.5425		10.5		81		1989		1988.55		1988.85		0.45		0						0.54		0.53		5.56		0.00		0.00		0.00		0.45		4.71		13		32.30

		1356049.9254		383310.1397		10.5		92		1989		1988.53		1988.83		0.47		0						0.56		0.55		5.78		0.00		0.00		0.00		0.45		4.71		13		38.08

		1356059.8187		383306.7369		10.5		102		1989		1988.52		1988.82		0.48		0						0.58		0.57		5.96		0.00		0.00		0.00		0.45		4.71		13		44.04

		1356069.7119		383303.334		10.5		113		1989		1988.50		1988.80		0.50		0						0.60		0.59		6.15		0.00		0.00		0.00		0.45		4.71		13		50.19

		1356079.6052		383299.9312		10.5		123		1989		1988.49		1988.79		0.51		0						0.61		0.61		6.34		0.00		0.00		0.00		0.45		4.71		13		56.53

		1356089.4985		383296.5284		10.5		134		1989		1988.47		1988.77		0.53		0						0.63		0.62		6.53		0.00		0.00		0.00		0.45		4.71		13		63.06

		1356099.3918		383293.1256		10.0		144		1989		1988.46		1988.76		0.54		0						0.65		0.64		6.41		0.00		0.00		0.00		0.45		4.50		12		69.47

		1356109.3418		383289.9349		10.4		154		1989		1988.44		1988.74		0.56		0						0.67		0.66		6.88		0.00		0.00		0.00		0.45		4.70		13		76.36

		1356119.6405		383288.0929		10.5		165		1989		1988.43		1988.73		0.57		0		700.00				0.69		0.68		7.08		0.00		0.00		0.00		0.45		4.71		13		83.44

		1356129.9392		383286.251		10.5		175		1989		1988.41		1988.71		0.59		0						0.70		0.69		7.27		0.00		0.00		0.00		0.45		4.71		13		90.70

		1356140.2379		383284.409		10.5		185		1989		1988.40		1988.70		0.60		0						0.72		0.71		7.46		0.00		0.00		0.00		0.45		4.71		13		98.16

		1356150.5366		383282.5671		10.5		196		1989		1988.38		1988.68		0.62		0						0.74		0.73		7.64		0.00		0.00		0.00		0.45		4.71		13		105.80

		1356160.8353		383280.7251		10.5		206		1989		1988.37		1988.67		0.63		0						0.76		0.75		7.83		0.00		0.00		0.00		0.45		4.71		13		113.63

																												113.63						1.23				92.89		248

																										CUT VOL/METE





SC3 1-1 ON MC 1  AT CH 1870

		

		chainage		0+1870-0+456

		bed width		0.35										masonry width		Working space		total cut width

		Slope		500										0.35		0.35		1.40

		Total depth		0.35														0.23

		Side slope of canal		0														0.10

		Side slope of Burm		1														0.22

		Insert top width of built burm for fill		0														0.32

		OFFTAKE LEVEL CBL		1989.52														0.43

		Northing		Easting		Partial Distance		Chainage		Elevation		CBL		Bank level		CUT(m)		Fill(m)		slope				drop		Area of cut		Average Area of Cut		Volume of cut		Area of Fill		Average Area of Fill		Volume of Fill		Massonry Area (m2)		Massonry volume(m3)		PLASTERING		CUM.VOL.CUT

		1355983.5181		383383.0819		0		0		1989.7511		1989.52		1989.87		0.23		0.12		30.00		0.47				0.32		0.00		0.00		0.12		0.00		0.00		0.50		0.00		0		0.00

		1355983.687		383372.9095		10		10		1989.2798		1989.18		1989.53		0.10		0.25				0.50				0.14		0.23		2.35		0.12		0.12		1.23		0.50		5.04		14		2.35

		1355983.8559		383362.7371		10		20		1988.7799		1988.56		1988.91		0.22		0.13		16.00		0.53				0.31		0.23		2.26		0.13		0.12		1.24		0.50		4.95		14		4.61

		1355984.0248		383352.5647		10		30		1988.2512		1987.93		1988.28		0.32		0.03				0.45				0.45		0.38		3.81		0.03		0.08		0.82		0.50		4.95		14		8.42

		1355984.1937		383342.3924		10		40		1987.7988		1987.31		1987.66		0.49		0.00				0.17				0.69		0.57		5.69		0.00		0.02		0.16		0.50		4.95		14		14.11

		1355984.3626		383332.22		10		50		1987.6328		1987.21		1987.56		0.43		0.00		100.00		0.27				0.60		0.64		6.44		0.00		0.00		0.00		0.50		4.95		14		20.55

		1355984.5315		383322.0476		10		60		1987.3674		1986.87		1987.22		0.50		0.00		30.00		0.34				0.70		0.65		6.61		0.00		0.00		0.00		0.50		5.04		14		27.16

		1355984.7004		383311.8752		10		70		1987.0244		1986.53		1986.88		0.49		0.00				0.34				0.69		0.69		6.94		0.00		0.00		0.00		0.50		4.95		14		34.10

		1355984.8693		383301.7028		10		80		1986.6813		1986.19		1986.54		0.49		0.00				0.43				0.68		0.68		6.96		0.00		0.00		0.00		0.50		5.04		14		41.07

		1355985.0382		383291.5304		10		90		1986.252		1985.69		1986.04		0.57		0.00		20.00		0.52				0.79		0.74		7.50		0.00		0.00		0.00		0.50		5.04		14		48.57

		1355985.2071		383281.3581		10		100		1985.7279		1985.18		1985.53		0.55		0.00				0.52				0.77		0.78		7.96		0.00		0.00		0.00		0.50		5.04		14		56.53

		1355985.376		383271.1857		10		110		1985.2039		1984.67		1985.02		0.54		0.00				0.52				0.75		0.76		7.74		0.00		0.00		0.00		0.50		5.04		14		64.26

		1355985.5449		383261.0133		10		120		1984.6799		1984.16		1984.51		0.52		0.00				0.46				0.73		0.74		7.52		0.00		0.00		0.00		0.50		5.04		14		71.79

		1355985.7138		383250.8409		10		130		1984.2209		1983.65		1984.00		0.57		0.00				0.44				0.80		0.76		7.77		0.00		0.00		0.00		0.50		5.04		14		79.55

		1355985.8827		383240.6685		10		140		1983.7831		1983.15		1983.50		0.63		0.00				0.58				0.89		0.84		8.42		0.00		0.00		0.00		0.50		4.95		14		87.97

		1355986.0516		383230.4962		10		150		1983.205		1982.64		1982.99		0.56		0.00				0.58				0.79		0.84		8.51		0.00		0.00		0.00		0.50		5.04		14		96.48

		1355986.2205		383220.3238		10		160		1982.627		1982.13		1982.48		0.49		0.00		30.00		0.57				0.69		0.74		7.52		0.00		0.00		0.00		0.50		5.04		14		104.00

		1355986.3894		383210.1514		10		170		1982.0576		1981.62		1981.97		0.43		0.00				0.45				0.61		0.65		6.60		0.00		0.00		0.00		0.50		5.04		14		110.60

		1355986.5583		383199.979		10		180		1981.6093		1981.12		1981.47		0.49		0.00				0.45				0.69		0.65		6.59		0.00		0.00		0.00		0.50		5.04		14		117.19

		1355986.7272		383189.8066		10		190		1981.1611		1980.61		1980.96		0.55		0.00				0.35				0.78		0.73		7.46		0.00		0.00		0.00		0.50		5.04		14		124.65

		1355986.8961		383179.6343		10		200		1980.8116		1980.27		1980.62		0.54		0.00				0.35				0.76		0.77		7.81		0.00		0.00		0.00		0.50		5.04		14		132.46

		1355987.065		383169.4619		10		210		1980.4622		1979.93		1980.28		0.53		0.00				0.35				0.75		0.75		7.67		0.00		0.00		0.00		0.50		5.04		14		140.13

		1355987.2339		383159.2895		10		220		1980.1128		1979.59		1979.94		0.52		0.00				0.35				0.73		0.74		7.52		0.00		0.00		0.00		0.50		5.04		14		147.65

		1355987.4028		383149.1171		10		230		1979.7633		1979.25		1979.60		0.51		0.00				0.35				0.72		0.72		7.37		0.00		0.00		0.00		0.50		5.04		14		155.02

		1355987.5717		383138.9447		10		240		1979.4139		1978.91		1979.26		0.50		0.00				0.35				0.70		0.71		7.23		0.00		0.00		0.00		0.50		5.04		14		162.24

		1355987.7406		383128.7723		10		250		1979.0689		1978.57		1978.92		0.50		0.00				0.32				0.69		0.70		7.11		0.00		0.00		0.00		0.50		5.04		14		169.35

		1355987.9095		383118.6		10		260		1978.7524		1978.24		1978.59		0.51		0.00				0.32				0.72		0.71		7.07		0.00		0.00		0.00		0.50		4.95		14		176.42

		1355988.0784		383108.4276		10		270		1978.4359		1977.90		1978.25		0.54		0.00		22.00		0.44				0.75		0.73		7.47		0.00		0.00		0.00		0.50		5.04		14		183.89

		1355988.2473		383098.2552		10		281		1977.9918		1977.44		1977.79		0.55		0.00				0.46				0.78		0.76		7.76		0.00		0.00		0.00		0.50		5.04		14		191.65

		1355988.4162		383088.0828		10		291		1977.5278		1976.98		1977.33		0.55		0.00				0.46				0.77		0.77		7.88		0.00		0.00		0.00		0.50		5.04		14		199.53

		1355988.5851		383077.9104		10		301		1977.0639		1976.51		1976.86		0.55		0.00				0.47				0.77		0.77		7.86		0.00		0.00		0.00		0.50		5.04		14		207.39

		1355988.754		383067.7381		10		311		1976.5926		1976.05		1976.40		0.54		0.00				0.47				0.76		0.77		7.79		0.00		0.00		0.00		0.50		5.04		14		215.18

		1355988.9229		383057.5657		10		321		1976.1207		1975.59		1975.94		0.53		0.00		30.00		0.42				0.75		0.75		7.66		0.00		0.00		0.00		0.50		5.04		14		222.83

		1355989.0918		383047.3933		10		331		1975.6975		1975.25		1975.60		0.44		0.00				0.13				0.62		0.68		6.83		0.00		0.00		0.00		0.50		4.95		14		229.66

		1355989.2607		383037.2209		10		341		1975.5666		1974.92		1975.27		0.65		0.00				0.45				0.91		0.77		7.79		0.00		0.00		0.00		0.50		5.04		14		237.45

		1355989.4295		383027.0485		10		352		1975.1142		1974.58		1974.93		0.54		0.00				0.59				0.75		0.83		8.47		0.00		0.00		0.00		0.50		5.04		14		245.92

		1355989.5984		383016.8762		10		362		1974.5262		1974.01		1974.36		0.52		0.00		18.00		0.59				0.72		0.74		7.50		0.00		0.00		0.00		0.50		5.04		14		253.42

		1355989.7673		383006.7038		10		372		1973.9382		1973.45		1973.80		0.49		0.00				0.60				0.69		0.71		7.17		0.00		0.00		0.00		0.50		5.04		14		260.59

		1355989.9362		382996.5314		10		382		1973.3336		1972.88		1973.23		0.45		0.00				0.63				0.63		0.66		6.73		0.00		0.00		0.00		0.50		5.04		14		267.32

		1355990.1051		382986.359		10		392		1972.7043		1972.32		1972.67		0.39		0.00				0.63				0.54		0.59		5.99		0.00		0.00		0.00		0.50		5.04		14		273.32

		1355990.274		382976.1866		10		402		1972.0749		1971.68		1972.03		0.40		0.00		16.00		0.43				0.55		0.5936654544		6.0398348404		0.00		0.00		0.00		0.50		5.04		14		279.35

		1355990.4429		382966.0142		10		413		1971.6406		1971.04		1971.39		0.60		0.00				-0.04				0.84		0.69		7.06		0.00		0.00		0.00		0.50		5.04		14		286.42

		1355990.6118		382955.8419		10		423		1971.678		1971.03		1971.38		0.65		0.00		600.00		0.11				0.91		0.87		8.89		0.00		0.00		0.00		0.50		5.04		14		295.31

		1355990.7807		382945.6695		10		433		1971.5676		1971.01		1971.36		0.56		0.00				0.11				0.78		0.81		8.22		0.00		0.00		0.00		0.50		5.04		14		303.53

		1355990.9496		382935.4971		10		443		1971.4571		1970.99		1971.3		0.5		0.0				0.11				0.65		0.7		7.3		0.00		0.00		0.00		0.50		5.04		14		310.81

		1355991.1185		382925.3247		10		453		1971.3466		1970.98		1971.33		0.37		0.00				1971.35				0.52		0.58		5.95		0.00		0.00		0.00		0.50		5.04		14		316.75

																						0.00								316.75						3.44				225.93		639

																						0.00						CUT VOL/METE





TC9AT SC3 CH230 CHNGD

		

		chainage		0+00-0+220

		bed width		0.3										masonry width		Working space		total cut width

		Slope		500										0.35		0.35		1.35

		Total depth		0.3														0.36

		Side slope of canal		0														0.17

		Side slope of Burm		1														0.08

		Insert top width of built burm for fill		0														0.07

		OFFTAKE LEVEL CBL		1975.18														0.24

		Northing		Easting		Partial Distance		Chainage		Elevation		CBL		Bank level		CUT(m)		Fill(m)		slope		drop		Area of cut		Average Area of Cut		Volume of cut		Area of Fill		Average Area of Fill		Volume of Fill		Massonry Area (m2)		Massonry volume(m3)		PLASTERING		CUM.VOL.CUT

		1356696.5057		383095.1817		0		0		1975.5		1975.18		1975.48		0.36		0		500.00				0.48		0.00		0.00		0.00		0.00		0.00		0.45		0.00		0		0.00

		1356689.5303		383087.9352		10.1		10		1975.3		1975.16		1975.46		0.17		0						0.23		0.35		3.57		0.12		0.06		0.59		0.45		4.53		14		3.57

		1356682.3671		383080.8847		10.0		20		1975.1		1975.06		1975.36		0.08		0		100.00				0.11		0.17		1.67		0.09		0.10		1.05		0.45		4.50		14		5.24

		1356673.8052		383075.6654		10.0		30		1975.0		1974.96		1975.26		0.07		0						0.09		0.10		0.97		0.11		0.10		0.99		0.45		4.50		14		6.21

		1356664.2098		383072.6941		10.0		40		1975.0		1974.86		1975.16		0.14		0						0.19		0.14		1.39		0.03		0.07		0.68		0.45		4.50		14		7.60

		1356654.4781		383070.1519		10.0		50		1975.0		1974.76		1975.06		0.24		0						0.32		0.26		2.57		0.05		0.04		0.43		0.45		4.50		14		10.17

		1356644.6768		383067.9345		10.0		60		1975.0		1974.66		1974.96		0.34		0						0.46		0.39		3.94		0.00		0.03		0.27		0.45		4.52		14		14.11

		1356634.7002		383066.6559		10.0		70		1975.0		1974.64		1974.94		0.36		0		500.00				0.49		0.47		4.73		0.00		0.00		0.00		0.45		4.50		14		18.84

		1356624.7235		383065.3773		10.1		80		1975.0		1974.62		1974.92		0.38		0						0.51		0.50		5.03		0.00		0.00		0.00		0.45		4.53		14		23.88

		1356614.9992		383062.9281		10.0		90		1975.0		1974.60		1974.90		0.38		0						0.52		0.52		5.17		0.00		0.00		0.00		0.45		4.51		14		29.05

		1356606.0982		383058.2638		10.0		100		1975.0		1974.58		1974.88		0.42		0						0.57		0.54		5.46		0.00		0.00		0.00		0.45		4.52		14		34.51

		1356597.3462		383053.3069		10.1		110		1975.0		1974.56		1974.86		0.44		0						0.60		0.58		5.87		0.00		0.00		0.00		0.45		4.53		14		40.38

		1356588.5942		383048.3499		10.1		120		1975.0		1974.54		1974.84		0.46		0						0.63		0.61		6.15		0.00		0.00		0.00		0.45		4.53		14		46.53

		1356579.8423		383043.393		10.1		130		1975.0		1974.52		1974.82		0.48		0		700.00				0.65		0.64		6.40		0.00		0.00		0.00		0.45		4.53		14		52.93

		1356571.0903		383038.436		10.0		140		1975.0		1974.51		1974.81		0.49		0						0.67		0.66		6.57		0.00		0.00		0.00		0.45		4.50		14		59.50

		1356562.3383		383033.4791		10.1		150		1975.0		1974.50		1974.80		0.51		0						0.69		0.68		6.81		0.00		0.00		0.00		0.45		4.53		14		66.31

		1356553.5835		383028.5272		10.1		161		1975.0		1974.48		1974.78		0.52		0		500.00				0.70		0.70		6.99		0.00		0.00		0.00		0.45		4.53		14		73.30

		1356544.2049		383024.979		10.0		171		1975.0		1974.47		1974.77		0.55		0						0.74		0.72		7.22		0.00		0.00		0.00		0.45		4.51		14		80.52

		1356534.2495		383023.5833		10.1		181		1975.0		1974.45		1974.75		0.55		0						0.74		0.74		7.42		0.00		0.00		0.00		0.45		4.52		14		87.94

		1356524.261		383022.4005		10.1		191		1975.0		1974.44		1974.74		0.56		0						0.76		0.75		7.53		0.00		0.00		0.00		0.45		4.53		14		95.47

		1356514.2725		383021.2178		10.1		201		1975.0		1974.42		1974.72		0.58		0						0.78		0.77		7.72		0.00		0.00		0.00		0.45		4.53		14		103.19

		1356504.437		383019.1462		10.1		211		1975.0		1974.41		1974.71		0.59		0						0.80		0.79		7.91		0.00		0.00		0.00		0.45		4.52		14		111.10

																												111.10						4.01				94.85		285

																										CUT VOL/METE





TC10-AT SC3  CH 460 CNGD

		

		chainage		0

		bed width		0.35										masonry width		Working space		total cut width

		Slope		500										0.35		0.35		1.40

		Total depth		0.35														0.27

		Side slope of canal		0														0.29

		Side slope of Burm		1														0.30

		Insert top width of built burm for fill		0														0.32

		OFFTAKE LEVEL CBL		1965.73														0.35

		Northing		Easting		Partial Distance		Chainage		Elevation		CBL		Bank level		CUT(m)		Fill(m)		slope		drop		Area of cut		Average Area of Cut		Volume of cut		Area of Fill		Average Area of Fill		Volume of Fill		Massonry Area (m2)		Massonry volume(m3)		PLASTERING		CUM.VOL.CUT

		1356720.9551		382861.6996		0		0		1966		1965.73		1966.08		0.27		0.08		700.00				0.38		0.00		0.00		0.08		0.00		0.00		0.50		0.00		0		0.00

		1356727.0791		382869.8861		10.2		10		1966		1965.71		1966.06		0.29		0.06						0.41		0.39		4.01		0.06		0.07		0.75		0.50		5.06		14		4.01

		1356734.5276		382876.7836		10.0		20		1966		1965.70		1966.05		0.30		0.05						0.43		0.42		4.17		0.05		0.06		0.55		0.50		4.95		14		8.18

		1356742.053		382883.5211		10.0		30		1966		1965.68		1966.03		0.32		0.03						0.45		0.44		4.37		0.03		0.04		0.40		0.50		4.95		14		12.54

		1356748.5707		382891.3154		10.0		40		1965.9991		1965.67		1966.02		0.33		0.02						0.47		0.46		4.56		0.02		0.03		0.26		0.50		4.95		14		17.10

		1356757.1699		382896.8447		10.0		50		1966		1965.65		1966.00		0.35		0.00						0.49		0.48		4.76		0.00		0.01		0.11		0.50		4.95		14		21.86

		1356765.7733		382902.3677		10.2		60		1966		1965.64		1965.99		0.36		0.00						0.51		0.50		5.08		0.00		0.00		0.01		0.50		5.06		14		26.94

		1356774.3766		382907.8907		10.0		70		1966		1965.62		1965.97		0.38		0.00		500.00				0.53		0.52		5.17		0.00		0.00		0.00		0.50		4.95		14		32.11

		1356782.98		382913.4137		10.2		81		1966		1965.61		1965.96		0.39		0.00						0.54		0.54		5.48		0.00		0.00		0.00		0.50		5.06		14		37.59

		1356791.5834		382918.9367		10.2		91		1966		1965.60		1965.95		0.40		0.00						0.56		0.55		5.66		0.00		0.00		0.00		0.50		5.06		14		43.26

		1356800.1867		382924.4597		10.2		101		1966		1965.59		1965.94		0.41		0.00						0.58		0.57		5.85		0.00		0.00		0.00		0.50		5.06		14		49.10

		1356808.7901		382929.9826		10.2		111		1966		1965.57		1965.92		0.43		0.00						0.60		0.59		6.03		0.00		0.00		0.00		0.50		5.06		14		55.13

		1356817.3935		382935.5056		10.2		122		1966		1965.56		1965.91		0.44		0.00						0.62		0.61		6.21		0.00		0.00		0.00		0.50		5.06		14		61.34

		1356825.9968		382941.0286		10.2		132		1966		1965.55		1965.90		0.45		0.00						0.63		0.63		6.39		0.00		0.00		0.00		0.50		5.06		14		67.74

		1356834.6002		382946.5516		10.0		142		1966		1965.53		1965.88		0.47		0.00						0.65		0.64		6.43		0.00		0.00		0.00		0.50		4.95		14		74.17

		1356843.2036		382952.0746		10.2		152		1966		1965.52		1965.87		0.48		0.00		800.00				0.67		0.66		6.76		0.00		0.00		0.00		0.50		5.06		14		80.93

		1356851.7691		382957.6524		10.2		162		1966.0011		1965.51		1965.86		0.49		0.00						0.69		0.68		6.95		0.00		0.00		0.00		0.50		5.06		14		87.87

		1356859.5087		382964.332		10.2		172		1966		1965.50		1965.85		0.50		0.00						0.71		0.70		7.13		0.00		0.00		0.00		0.50		5.06		14		95.00

		1356867.2402		382971.0212		10.2		183		1966		1965.48		1965.83		0.52		0.00						0.72		0.71		7.31		0.00		0.00		0.00		0.50		5.06		14		102.31

		1356875.1914		382977.4247		10.2		193		1966		1965.47		1965.82		0.53		0.00						0.74		0.73		7.48		0.00		0.00		0.00		0.50		5.05		14		109.78

																												109.78						2.07				95.48		270





TC11 AT SC3 CH 460 CNGD

		

		chainage		0+460-0+240

		bed width		0.3										masonry width		Working space		total cut width

		Slope		500										0.35		0.35		1.35

		Total depth		0.3														0.27

		Side slope of canal		0														0.28

		Side slope of Burm		1														0.30

		Insert top width of built burm for fill		0														0.33

		OFFTAKE LEVEL CBL		1965.73														0.34

		Northing		Easting		Partial Distance		Chainage		Elevation		CBL		Bank level		CUT(m)		Fill(m)		slope		drop		Area of cut		Average Area of Cut		Volume of cut		Area of Fill		Average Area of Fill		Volume of Fill		Massonry Area (m2)		Massonry volume(m3)		PLASTERING		CUM.VOL.CUT

		1356720.9551		382861.6996		0		0		1966		1965.73		1966.03		0.27		0.03		700.00				0.36		0.00		0.00		0.03		0.00		0.00		0.45		0.00		0		0.00

		1356714.9427		382853.6611		10.0		10		1966		1965.72		1966.02		0.28		0.02						0.38		0.37		3.76		0.01		0.02		0.21		0.45		4.52		14		3.76

		1356708.9302		382845.6227		10.0		20		1966		1965.70		1966.00		0.30		0.00		800.00				0.40		0.39		3.94		0.00		0.01		0.08		0.45		4.50		14		7.69

		1356702.692		382837.7626		10.0		30		1966.0157		1965.69		1965.99		0.33		0.00						0.44		0.42		4.22		0.00		0.00		0.01		0.45		4.50		14		11.91

		1356695.6516		382830.6146		10.0		40		1966.0426		1965.68		1965.98		0.37		0.00						0.49		0.47		4.68		0.00		0.00		0.00		0.45		4.50		14		16.59

		1356687.8603		382824.2934		10.0		50		1966.0025		1965.66		1965.96		0.34		0.00						0.46		0.48		4.76		0.00		0.00		0.00		0.45		4.50		14		21.35

		1356679.5626		382818.6449		10.0		60		1966		1965.65		1965.95		0.35		0.00						0.47		0.46		4.66		0.00		0.00		0.00		0.45		4.52		14		26.01

		1356671.2368		382813.037		10.0		70		1966		1965.64		1965.94		0.36		0.00		500.00				0.49		0.48		4.79		0.00		0.00		0.00		0.45		4.50		14		30.80

		1356662.9111		382807.4292		10.0		80		1966		1965.63		1965.93		0.37		0.00						0.50		0.50		4.98		0.00		0.00		0.00		0.45		4.52		14		35.78

		1356654.0138		382802.8223		10.0		90		1966		1965.61		1965.91		0.39		0.00						0.52		0.51		5.14		0.00		0.00		0.00		0.45		4.51		14		40.92

		1356646.4935		382796.3097		9.9		100		1966		1965.60		1965.90		0.40		0.00		600.00				0.54		0.53		5.27		0.00		0.00		0.00		0.45		4.48		13		46.19

		1356638.1587		382790.7153		10.0		110		1966		1965.59		1965.89		0.41		0.00						0.56		0.55		5.49		0.00		0.00		0.00		0.45		4.52		14		51.67

		1356629.8239		382785.1208		10.0		120		1966		1965.58		1965.88		0.42		0.00		1000.00				0.57		0.56		5.66		0.00		0.00		0.00		0.45		4.52		14		57.33

		1356621.5851		382779.3898		10.0		130		1966		1965.56		1965.86		0.44		0.00						0.59		0.58		5.83		0.00		0.00		0.00		0.45		4.52		14		63.16

		1356613.5022		382773.4372		10.0		140		1966		1965.55		1965.85		0.45		0.00						0.61		0.60		5.97		0.00		0.00		0.00		0.45		4.50		14		69.13

		1356605.4194		382767.4846		10.0		150		1966		1965.54		1965.84		0.46		0.00						0.62		0.61		6.15		0.00		0.00		0.00		0.45		4.52		14		75.28

		1356597.3365		382761.532		10.0		160		1966		1965.53		1965.83		0.47		0.00		500.00				0.63		0.63		6.29		0.00		0.00		0.00		0.45		4.52		14		81.57

		1356588.2496		382757.9344		9.8		170		1966		1965.52		1965.82		0.48		0.00						0.65		0.64		6.25		0.00		0.00		0.00		0.45		4.40		13		87.82

		1356579.2622		382761.771		9.8		180		1965.9983		1965.51		1965.81		0.49		0.00						0.66		0.65		6.37		0.00		0.00		0.00		0.45		4.40		13		94.19

		1356569.9429		382765.4979		10.0		190		1965.9743		1965.50		1965.80		0.47		0.00						0.64		0.65		6.50		0.00		0.00		0.00		0.45		4.52		14		100.69

		1356560.6085		382769.1905		10.0		200		1965.9615		1965.49		1965.79		0.47		0.00						0.63		0.64		6.39		0.00		0.00		0.00		0.45		4.52		14		107.08

		1356551.2741		382772.883		10.0		210		1965.9681		1965.48		1965.78		0.49		0.00						0.66		0.65		6.48		0.00		0.00		0.00		0.45		4.52		14		113.56

		1356541.9396		382776.5756		10.0		220		1965.9746		1965.47		1965.77		0.50		0.00						0.68		0.67		6.71		0.00		0.00		0.00		0.45		4.52		14		120.27

		1356532.6052		382780.2682		10.0		230		1965.9811		1965.46		1965.76		0.52		0.00		500.00				0.70		0.69		6.93		0.00		0.00		0.00		0.45		4.52		14		127.20

		1356523.2708		382783.9607		10.0		240		1965.9876		1965.45		1965.75		0.54		0.00		800.00				0.72		0.71		7.16		0.00		0.00		0.00		0.45		4.52		14		134.35

																												134.35		0.0423302178		0.0288302178		0.2890880665		11.25		108.0198496284		324.0595488851		1524.2990439467





TC12 AT810. SC3 CHANGED

		

		chainage		0+840-0+310

		bed width		0.3										masonry width		Working space		total cut width

		Slope		500										0		0		0.30

		Total depth		0.3														0.40

		Side slope of canal		0														0.36

		Side slope of Burm		1														0.38

		Insert top width of built burm for fill		0														0.40

		OFFTAKE LEVEL CBL		1951.36														0.44

		Northing		Easting		Partial Distance		Chainage		Elevation		CBL		Bank level		CUT(m)		Fill(m)		slope		drop		Area of cut		Average Area of Cut		Volume of cut		Area of Fill		Average Area of Fill		Volume of Fill		Massonry Area (m2)		Massonry volume(m3)		PLASTERING		CUM.VOL.CUT

		1356760.0372		382488.4991		0		0		1951.8		1951.36		1951.66		0.40		0.00		600.00				0.12		0.00		0.00		0.00		0.00		0.00		0.45		0.00		0		0.00

		1356770.2677		382487.8659		10.0		10		1951.7		1951.34		1951.64		0.37		0.00						0.11		0.12		1.17								0.45

		1356780.4994		382487.2541		10.0		20		1951.7		1951.33		1951.63		0.36		0.00						0.11		0.11		1.10		0.00		0.00		0.00		0.45		4.50		3		1.10

		1356790.7321		382487.6502		10.0		30		1951.7		1951.31		1951.61		0.38		0.00		600.00				0.11		0.11		1.11		0.00		0.00		0.00		0.45		4.50		3		2.22

		1356800.7891		382489.5799		10.0		40		1951.7		1951.29		1951.59		0.40		0.00						0.12		0.12		1.17		0.00		0.00		0.00		0.45		4.50		3		3.38

		1356810.5863		382492.5913		10.0		50		1951.7		1951.28		1951.58		0.41		0.00						0.12		0.12		1.22		0.00		0.00		0.00		0.45		4.50		3		4.60

		1356820.3695		382495.6497		10.0		60		1951.7		1951.26		1951.56		0.44		0.00						0.13		0.13		1.28		0.00		0.00		0.00		0.45		4.50		3		5.88

		1356830.1528		382498.708		10.0		70		1951.7		1951.24		1951.54		0.46		0.00						0.14		0.13		1.35		0.00		0.00		0.00		0.45

		1356839.936		382501.7663		10.0		80		1951.7		1951.23		1951.53		0.48		0.00						0.15		0.14		1.42		0.00		0.00		0.00		0.45		4.50		3		7.29

		1356849.7192		382504.8247		10.0		90		1951.7		1951.21		1951.51		0.50		0.00		500.00				0.15		0.15		1.48		0.00		0.00		0.00		0.45		4.50		3		8.77

		1356859.5024		382507.883		10.0		100		1951.7		1951.20		1951.50		0.52		0.00						0.16		0.15		1.54		0.00		0.00		0.00		0.45		4.50		3		10.31

		1356869.2726		382510.9814		10.0		110		1951.7		1951.19		1951.49		0.50		0.00						0.15		0.15		1.54		0.00		0.00		0.00		0.45		4.50		3		11.84

		1356878.6566		382515.0833		10.0		120		1951.7		1951.18		1951.48		0.48		0.00		800.00				0.14		0.15		1.47		0.00		0.00		0.00		0.45		4.50		3		13.31

		1356887.8079		382519.7007		10.0		130		1951.6		1951.16		1951.46		0.47		0.00						0.14		0.14		1.42		0.00		0.00		0.00		0.45		4.50		3		14.73

		1356896.9591		382524.318		10.0		140		1951.6		1951.15		1951.45		0.47		0.00						0.14		0.14		1.41		0.00		0.00		0.00		0.45		4.50		3		16.14

		1356906.1103		382528.9354		10.0		150		1951.6		1951.14		1951.44		0.46		0.00						0.14		0.14		1.40		0.00		0.00		0.00		0.45		4.50		3		17.54

		1356915.2615		382533.5528		10.0		160		1951.6		1951.13		1951.43		0.46		0.00						0.14		0.14		1.38		0.00		0.00		0.00		0.45		4.50		3		18.92

		1356924.4127		382538.1701		10.0		170		1951.5		1951.11		1951.41		0.42		0.00						0.13		0.13		1.33		0.00		0.00		0.00		0.45		4.50		3		20.25

		1356933.5639		382542.7875		10.0		180		1951.5		1951.10		1951.40		0.38		0.00		500.00				0.11		0.12		1.21		0.00		0.00		0.00		0.45		4.50		3		21.46

		1356942.7151		382547.4049		10.0		190		1951.5		1951.09		1951.39		0.42		0.00						0.13		0.12		1.21		0.00		0.00		0.00		0.45		4.50		3		22.66

		1356951.8663		382552.0222		10.0		200		1951.5		1951.08		1951.38		0.47		0.00						0.14		0.13		1.34		0.00		0.00		0.00		0.45		4.50		3		24.00

		1356961.0176		382556.6396		10.0		210		1951.6		1951.06		1951.36		0.51		0.00						0.15		0.15		1.47		0.00		0.00		0.00		0.45		4.50		3		25.47

		1356970.1649		382561.2645		10.0		220		1951.6		1951.05		1951.35		0.56		0.00						0.17		0.16		1.60		0.00		0.00		0.00		0.45		4.50		3		27.07

		1356978.8494		382566.6908		10.0		230		1951.7		1951.04		1951.34		0.63		0.00						0.19		0.18		1.78		0.00		0.00		0.00		0.45		4.50		3		28.85

		1356986.6197		382573.3608		10.0		240		1951.6		1951.03		1951.33		0.59		0.00						0.18		0.18		1.83		0.00		0.00		0.00		0.45		4.50		3		30.68

		1356993.6344		382580.8341		10.0		250		1951.6		1951.01		1951.31		0.57		0.00		700.00				0.17		0.17		1.74		0.00		0.00		0.00		0.45		4.50		3		32.41

		1357000.6159		382588.339		10.0		260		1951.5		1951.00		1951.30		0.54		0.00						0.16		0.17		1.66		0.00		0.00		0.00		0.45		4.50		3		34.07

		1357007.5974		382595.8438		10.0		270		1951.6		1950.99		1951.29		0.61		0.00						0.18		0.17		1.73		0.00		0.00		0.00		0.45		4.50		3		35.80

		1357014.5789		382603.3487		10.0		280		1951.7		1950.98		1951.28		0.69		0.00						0.21		0.20		1.95		0.00		0.00		0.00		0.45		4.50		3		37.75

		1357021.5604		382610.8536		10.0		290		1951.7		1950.96		1951.26		0.73		0.00						0.22		0.21		2.12		0.00		0.00		0.00		0.45		4.50		3		39.88

		1357028.542		382618.3585		10.0		300		1951.7		1950.95		1951.25		0.76		0.00						0.23		0.22		2.24		0.00		0.00		0.00		0.45		4.50		3		42.11

		1357035.5235		382625.8634		10.0		310		1951.7		1950.94		1951.24		0.80		0.00						0.24		0.24		2.35		0.00		0.00		0.00		0.45		4.50		3		44.46

																								4.88		4.70		46.98		0.00		0		0.00		14.4		130.5		87		602.9626000003





TC(8) AT SC4  CH 2 CHNGD

		

		chainage		0+00-170

		bed width		0.3										masonry width		Working space		total cut width

		Slope		500										0.35		0.35		1.35

		Total depth		0.3														0.41

		Side slope of canal		0														0.49

		Side slope of Burm		1														0.50

		Insert top width of built burm for fill		0														0.50

		OFFTAKE LEVEL CBL		1987.59														0.51

		Northing		Easting		Partial Distance		Chainage		Elevation		CBL		Bank level		CUT(m)		Fill(m)		slope		drop		Area of cut		Average Area of Cut		Volume of cut		Area of Fill		Average Area of Fill		Volume of Fill		Massonry Area (m2)		Massonry volume(m3)		PLASTERING		CUM.VOL.CUT

		1356674.5637		383304.7181		0		0		1987.9999		1987.59		1987.89		0.41		0.00		500.00				0.55		0.00		0.00		0.00		0.00		0.00		0.45		0.00		0		0.00

		1356664.2992		383304.0899		10.3		10		1988.0617		1987.57		1987.87		0.49		0.00						0.66		0.61		6.26		0.00		0.00		0.00		0.45		4.63		14		6.26

		1356654.0347		383303.4618		10.0		20		1988.0548		1987.56		1987.86		0.50		0.00						0.67		0.67		6.68		0.00		0.00		0.00		0.45		4.50		14		12.95

		1356643.7702		383302.8337		10.0		30		1988.0465		1987.54		1987.84		0.50		0.00						0.68		0.67		6.75		0.00		0.00		0.00		0.45		4.50		14		19.70

		1356633.5056		383302.2055		10.0		40		1988.0382		1987.53		1987.83		0.51		0.00						0.68		0.68		6.81		0.00		0.00		0.00		0.45		4.50		14		26.50

		1356623.2411		383301.5774		10.0		50		1988.0299		1987.52		1987.82		0.51		0.00		800.00				0.69		0.69		6.86		0.00		0.00		0.00		0.45		4.50		14		33.36

		1356612.9766		383300.9493		10.3		61		1988.0216		1987.51		1987.81		0.52		0.00						0.70		0.69		7.12		0.00		0.00		0.00		0.45		4.63		14		40.48

		1356602.7121		383300.3211		10.0		71		1988.0133		1987.49		1987.79		0.52		0.00		600.00				0.70		0.70		6.98		0.00		0.00		0.00		0.45		4.50		14		47.46

		1356592.4476		383299.693		10.3		81		1988.0049		1987.48		1987.78		0.52		0.00						0.71		0.70		7.24		0.00		0.00		0.00		0.45		4.63		14		54.70

		1356582.1987		383298.8649		10.3		91		1987.9864		1987.47		1987.77		0.52		0.00						0.70		0.70		7.23		0.00		0.00		0.00		0.45		4.63		14		61.93

		1356572.0255		383297.3744		10.3		101		1987.9881		1987.46		1987.76		0.53		0.00						0.72		0.71		7.29		0.00		0.00		0.00		0.45		4.63		14		69.22

		1356561.9684		383295.2338		10.3		112		1988		1987.44		1987.74		0.56		0.00						0.75		0.74		7.56		0.00		0.00		0.00		0.45		4.63		14		76.79

		1356551.9496		383292.9147		10.3		122		1988		1987.43		1987.73		0.57		0.00						0.77		0.76		7.83		0.00		0.00		0.00		0.45		4.63		14		84.62

		1356541.9857		383290.3763		10.3		132		1987.9999		1987.42		1987.72		0.58		0.00						0.79		0.78		8.00		0.00		0.00		0.00		0.45		4.63		14		92.62

		1356532.1124		383287.4999		10.0		142		1987.9993		1987.40		1987.70		0.59		0.00						0.80		0.80		7.95		0.00		0.00		0.00		0.45		4.50		14		100.57

		1356522.4136		383284.092		10.3		153		1987.9922		1987.39		1987.69		0.60		0.00						0.81		0.81		8.30		0.00		0.00		0.00		0.45		4.63		14		108.86

		1356512.898		383280.1922		10.3		163		1987.9822		1987.38		1987.68		0.60		0.00		700.00				0.81		0.81		8.36		0.00		0.00		0.00		0.45		4.63		14		117.22

		1356503.3831		383276.2907		10.3		173		1987.9852		1987.37		1987.67		0.62		0.00						0.84		0.83		8.49		0.00		0.00		0.00		0.45		4.63		14		125.71

																												125.71		0		0		0		8.1				233.6998735915		1078.9719234012





TC-7-MC1

		

		chainage		0+2600-220

		bed width		0.3										masonry width		Working space		total cut width

		Slope		500										0.35		0.35		1.35

		Total depth		0.3														0.75

		Side slope of canal		0														0.89

		Side slope of Burm		1														0.66

		Insert top width of built burm for fill		0														0.68

		OFFTAKE LEVEL CBL		1988.28														0.72

		Northing		Easting		Partial Distance		Chainage		Elevation		CBL		Bank level		CUT(m)		Fill(m)		slope		drop		Area of cut		Average Area of Cut		Volume of cut		Area of Fill		Average Area of Fill		Volume of Fill		Massonry Area (m2)		Massonry volume(m3)		PLASTERING		CUM.VOL.CUT

		1356678.6021		383324.5281		0.0		0		1989.1671		1988.28		1988.58		0.89		0

		1356688.5533		383325.5102		10		10		1989.1297		1988.27		1988.27		0.86		0

		1356698.5045		383326.4923		10		20		1989.0923		1988.26		1989.26		0.83		0

		1356708.4557		383327.4744		10		30		1989.0306		1988.25		1988.25		0.78		0		1000.00				1.05		0.00		0.00		0.00		0.00		0.00		0.45		4.50		13		0.00

		1356718.4068		383328.4565		10		40		1988.9306		1988.24		3976.52		0.69		0						0.93		0.99		9.93		0.00		0.00		0.00		0.45		4.50		13		9.93

		1356728.1009		383330.8581		10		50		1988.8856		1988.23		3976.51		0.66		0						0.89		0.91		9.08		0.00		0.00		0.00		0.45		4.49		13		19.01

		1356737.7617		383333.4385		10		60		1988.8981		1988.22		3976.50		0.68		0						0.92		0.90		9.00		0.00		0.00		0.00		0.45		4.50		13		28.01

		1356747.4226		383336.0189		10		70		1988.9106		1988.21		3976.49		0.70		0						0.95		0.93		9.31		0.00		0.00		0.00		0.45		4.50		13		37.31

		1356757.0834		383338.5993		10		80		1988.9232		1988.20		3976.48		0.72		0						0.98		0.96		9.61		0.00		0.00		0.00		0.45		4.50		13		46.92

		1356766.7443		383341.1796		10		90		1988.9357		1988.19		3976.47		0.75		0						1.01		0.99		9.91		0.00		0.00		0.00		0.45		4.50		13		56.84

		1356776.4052		383343.76		10		100		1988.9166		1988.18		3976.46		0.74		0		300.00				0.99		1.00		10.00		0.00		0.00		0.00		0.45		4.50		13		66.84

		1356786.066		383346.3404		10		110		1988.8612		1988.17		3976.45		0.69		0						0.93		0.96		9.64		0.00		0.00		0.00		0.45		4.50		13		76.48

		1356795.7269		383348.9208		10		120		1988.8057		1988.16		3976.44		0.65		0						0.87		0.90		9.02		0.00		0.00		0.00		0.45		4.50		13		85.50

		1356805.3877		383351.5012		10		130		1988.7502		1988.15		3976.43		0.60		0						0.81		0.84		8.41		0.00		0.00		0.00		0.45		4.50		13		93.91

		1356815.0486		383354.0815		10		140		1988.6947		1988.14		3976.42		0.55		0						0.75		0.78		7.79		0.00		0.00		0.00		0.45		4.50		13		101.71

		1356824.7095		383356.6619		10		150		1988.6393		1988.13		3976.41		0.51		0						0.69		0.72		7.18		0.00		0.00		0.00		0.45		4.50		13		108.89

		1356833.6484		383361.0312		10		160		1988.6447		1988.12		3976.40		0.52		0						0.71		0.70		6.94		0.00		0.00		0.00		0.45		4.48		13		115.83

		1356842.3821		383365.9008		10		170		1988.7018		1988.11		3976.39		0.59		0						0.80		0.75		7.54		0.00		0.00		0.00		0.45		4.50		13		123.37

		1356851.1157		383370.7704		10		180		1988.7428		1988.10		3976.38		0.64		0						0.87		0.83		8.33		0.00		0.00		0.00		0.45		4.50		13		131.70

		1356859.8494		383375.64		10		190		1988.7838		1988.09		3976.37		0.69		0		700.00				0.94		0.90		9.02		0.00		0.00		0.00		0.45		4.50		13		140.72

		1356868.5831		383380.5096		10		200		1988.8248		1988.08		3976.36		0.74		0						1.01		0.97		9.71		0.00		0.00		0.00		0.45		4.50		13		150.43

		1356877.3168		383385.3793		10		210		1988.8658		1988.07		3976.35		0.80		0						1.07		1.04		10.40		0.00		0.00		0.00		0.45		4.50		13		160.83

		1356886.0505		383390.2489		10		220		1988.8807		1988.06		3976.34		0.82		0						1.11		1.09		10.91		0.00		0.00		0.00		0.45		85.47		256		1554.21

		1356894.7842		383395.1185		10		230		1988.8765		1988.05		3976.33		0.83		0						1.12		1.11		11.12		0.00		0.00		0.00		0.45

		1356903.5179		383399.9881		10		240		1988.8723		1988.04		3976.32		0.83		0						1.12		1.12		11.20		0.00		0.00		0.00		0.45

		1356912.2516		383404.8577		10		250		1988.8363		1988.03		3976.31		0.81		0						1.09		1.11		11.06		0.00		0.00		0.00		0.45

		1356920.9853		383409.7273		10		260		1988.7113		1987.9913492063		3976.27		0.72		0						0.97		1.03		10.30		0.00		0.00		0.00		0.45

		1356929.719		383414.5969		10		270		1988.5863		1987.9813492063		3976.26		0.60		0						0.82		0.89		8.94		0.00		0.00		0.00		0.45

		1356938.4527		383419.4666		10		280		1988.4614		1987.9713492063		3976.25		0.49		0						0.66		0.74		7.39		0.00		0.00		0.00		0.45

																												174.9052986698								8.55		85.4678851576





TC4 ATSC2 CH320

		

		chainage		0+00-0+250

		bed width		0.3										masonry width		Working space		total cut width

		Slope		300										0		0		0.30

		Total depth		0.3														0.35

		Side slope of canal		0														0.36

		Side slope of Burm		1														0.38

		Insert top width of built burm for fill		0														0.40

		OFFTAKE LEVEL CBL		1976.65														0.44

		Northing		Easting		Partial Distance		Chainage		Elevation		CBL		Bank level		CUT(m)		Fill(m)		slope		drop		Area of cut		Average Area of Cut		Volume of cut		Area of Fill		Average Area of Fill		Volume of Fill		Massonry Area (m2)		Massonry volume(m3)		PLASTERING		CUM.VOL.CUT

		1355742.4735		383115.8778		0		0		1977		1976.65		1976.95		0.35		0.0		2.00				0.10		0.00		0.00		0.00		0.00		0.00		0.45		0.00		0		0.00

		1355737.8835		383106.8243		10.2		10		1976.9988		1976.64		1976.94		0.36		0.0		600.00				0.11		0.11		1.08		0.00		0.00		0.00		0.45		4.57		3		1.08

		1355735.7698		383096.9758		10.0		20		1976.9988		1976.62		1976.92		0.38		0.0						0.11		0.11		1.11		0.00		0.00		0.00		0.45		4.50		3		2.19

		1355736.0752		383086.8296		10.0		30		1977		1976.60		1976.90		0.40		0.0						0.12		0.12		1.17		0.00		0.00		0.00		0.45		4.50		3		3.36

		1355735.9699		383076.697		10.0		40		1977.0285		1976.58		1976.88		0.45		0.0						0.13		0.13		1.27		0.00		0.00		0.00		0.45		4.50		3		4.63

		1355732.3171		383067.306		10.0		50		1977		1976.56		1976.86		0.44		0.0						0.13		0.13		1.33		0.00		0.00		0.00		0.45		4.50		3		5.96

		1355727.0306		383058.6404		10.2		60		1977		1976.54		1976.84		0.46		0.0						0.14		0.13		1.37		0.00		0.00		0.00		0.45		4.57		3		7.33

		1355722.1305		383049.7703		10.0		70		1977		1976.52		1976.82		0.48		0.0		500.00				0.14		0.14		1.41		0.00		0.00		0.00		0.45		4.50		3		8.74

		1355718.2603		383040.3862		10.2		80		1977		1976.50		1976.80		0.50		0.0						0.15		0.15		1.49		0.00		0.00		0.00		0.45		4.57		3		10.23

		1355712.7991		383031.9465		10.1		91		1977.0939		1976.49		1976.79		0.61		0.0						0.18		0.17		1.67		0.00		0.00		0.00		0.45		4.52		3		11.90

		1355703.9964		383027.0505		10.1		101		1977		1976.47		1976.77		0.53		0.0						0.16		0.17		1.71		0.00		0.00		0.00		0.45		4.53		3		13.61

		1355694.5371		383023.3678		10.2		111		1977		1976.46		1976.76		0.54		0.0						0.16		0.16		1.62		0.00		0.00		0.00		0.45		4.57		3		15.23

		1355685.0779		383019.6851		10.2		121		1977		1976.45		1976.75		0.55		0.0						0.17		0.16		1.66		0.00		0.00		0.00		0.45		4.57		3		16.89

		1355675.6186		383016.0024		10.2		131		1977		1976.44		1976.74		0.56		0.0						0.17		0.17		1.70		0.00		0.00		0.00		0.45		4.57		3		18.59

		1355666.1593		383012.3197		10.0		141		1977		1976.42		1976.72		0.58		0.0						0.17		0.17		1.71		0.00		0.00		0.00		0.45		4.50		3		20.30

		1355656.2414		383011.6053		9.9		151		1977.0921		1976.41		1976.71		0.68		0.0						0.20		0.19		1.87		0.00		0.00		0.00		0.45		4.47		3		22.17

		1355647.9708		383017.2717		10.0		161		1977		1976.40		1976.70		0.60		0.0		800.00				0.18		0.19		1.93		0.00		0.00		0.00		0.45		4.51		3		24.10

		1355639.9645		383023.3786		10.1		171		1976.9375		1976.39		1976.69		0.55		0.0						0.17		0.17		1.74		0.00		0.00		0.00		0.45		4.53		3		25.84

		1355629.935		383024.5284		10.1		181		1977		1976.37		1976.67		0.63		0.0						0.19		0.18		1.78		0.00		0.00		0.00		0.45		4.54		3		27.62

		1355619.7919		383024.9226		10.2		191		1977.0017		1976.36		1976.66		0.64		0.0						0.19		0.19		1.93		0.00		0.00		0.00		0.45		4.57		3		29.55

		1355610.6888		383028.9822		10.0		201		1977		1976.35		1976.65		0.65		0.0						0.20		0.19		1.93		0.00		0.00		0.00		0.45		4.49		3		31.48

		1355602.6736		383035.2109		10.2		211		1977		1976.34		1976.64		0.66		0.0						0.20		0.20		2.00		0.00		0.00		0.00		0.45		4.57		3		33.48

		1355594.6584		383041.4396		10.2		222		1977		1976.32		1976.62		0.68		0.0						0.20		0.20		2.04		0.00		0.00		0.00		0.45		4.57		3		35.52

		1355586.2056		383046.9472		10.1		232		1976.9976		1976.31		1976.61		0.69		0.0		500.00				0.21		0.20		2.06		0.00		0.00		0.00		0.45		4.54		3		37.59

		1355576.4622		383049.7942		10.2		242		1977		1976.30		1976.60		0.70		0.0						0.21		0.21		2.11		0.00		0.00		0.00		0.45		4.57		3		39.70

		1355566.7168		383052.6345		10.2		252		1977		1976.29		1976.59		0.71		0.0						0.21		0.21		2.16		0.00		0.00		0.00		0.45		4.57		3		41.86

																												41.86		0		0		0		11.7		113.3883427367		75.5922284911		488.9280176284





TC3-SC2 -MC1

		

		chainage		0+1540sc2-0+20

		bed width		0.3										masonry width		Working space		total cut width

		Slope		300										0		0		0.30

		Total depth		0.3														-0.26

		Side slope of canal		0														0.16

		Side slope of Burm		1														0.18

		Insert top width of built burm for fill		0														0.24

		OFFTAKE LEVEL CBL		1986.67														0.42

		Northing		Easting		Partial Distance		Chainage		Elevation		CBL		Bank level		CUT(m)		Fill(m)		slope		drop		Area of cut		Average Area of Cut		Volume of cut		Area of Fill		Average Area of Fill		Volume of Fill		Massonry Area (m2)		Massonry volume(m3)		PLASTERING		CUM.VOL.CUT

		1355691.9415		383329.499		0		0		1986.413		1986.67		1986.97		0.00		0.56						0.00		0.00		0.00		0.48		0.00		0.00		0.45		0.00		0		0.00

		1355683.0575		383329.499		8.9		9		1986.3929		1986.23		1986.53		0.16		0						0.05		0.02		0.22		0.12		0.30		2.69		0.45		4.00		3		0.22

		1355674.1735		383329.499		10.0		19		1986.3729		1986.20		1986.50		0.18		0						0.05		0.05		0.51		0.11		0.12		1.17		0.45		4.50		3		0.73

		1355665.2895		383329.499		10.0		29		1986.4043		1986.16		1986.46		0.24		0						0.07		0.06		0.63		0.05		0.08		0.82		0.45		4.50		3		1.35

		1355656.4055		383329.499		10.0		39		1986.4588		1986.13		1986.43		0.33		0.00						0.10		0.09		0.86		0.00		0.03		0.26		0.45		4.50		3		2.21

		1355647.5215		383329.499		10.0		49		1986.5132		1986.10		1986.40		0.42		0.00						0.13		0.11		1.12		0.00		0.00		0.00		0.45		4.50		3		3.33

		1355638.6375		383329.499		8.9		58		1986.5676		1986.07		1986.37		0.50		0.00		20.00				0.15		0.14		1.22		0.00		0.00		0.00		0.45		4.00		3		4.55

		1355629.7535		383329.499		10.0		68		1986.6221		1986.03		1986.33		0.59		0.00		300.00				0.18		0.16		1.63		0.00		0.00		0.00		0.45		4.50		3		6.19

		1355620.8695		383329.499		8.9		77		1986.6583		1986.00		1986.30		0.65		0.00						0.20		0.19		1.66		0.00		0.00		0.00		0.45		4.00		3		7.85

		1355611.9855		383329.499		8.9		86		1986.0764		1985.97		1986.27		0.10		0.20						0.03		0.11		1.01		0.07		0.03		0.30		0.45		4.00		3		8.85

		1355603.1015		383329.499		8.9		94		1986.357		1985.94		1986.24		0.41		0.00						0.12		0.08		0.69		0.00		0.03		0.30		0.45		4.00		3		9.54

		1355594.1761		383329.499		8.9		103		1986.3816		1985.91		1986.21		0.47		0.00		500.00				0.14		0.13		1.18		0.00		0.00		0.00		0.45		4.02		3		10.72

		1355585.0139		383329.499		9.2		113		1986.3657		1985.88		1986.18		0.48		0.00						0.14		0.14		1.30		0.00		0.00		0.00		0.45		4.12		3		12.02

		1355575.6119		383329.499		9.4		122		1986.4275		1985.85		1986.15		0.57		0.00		1000.00				0.17		0.16		1.49		0.00		0.00		0.00		0.45		4.23		3		13.51

																												13.51		0.8369422782		0.5956188274		5.54		6.3		54.86		37		81.08





TC 2 SC1 10 MC 1

		

		chainage		0+430sc1-0+320

		bed width		0.3										masonry width		Working space		total cut width

		Slope		500										0.35		0.35		1.35

		Total depth		0.3														0.60

		Side slope of canal		0														0.45

		Side slope of Burm		0														0.35

		Insert top width of built burm for fill		0														0.21

		OFFTAKE LEVEL CBL		1991.21														0.15

		Northing		Easting		Partial Distance		Chainage		Elevation		CBL		Bank level		CUT(m)		Fill(m)		slope		drop		Area of cut		Average Area of Cut		Volume of cut		Area of Fill		Average Area of Fill		Volume of Fill		Massonry Area (m2)		Massonry volume(m3)		PLASTERING		CUM.VOL.CUT

		1354844.9673		383470.3774		0		0		1991.8137		1991.21		1991.51		0.60		0.00		500.00				0.81		0.00		0.00		0.00		0.00		0.00		0.45		0.00		0		0.00

		1354854.7283		383472.5088		10.0		10		1991.647		1991.19		1991.49		0.45		0.00		600.00				0.61		0.71		7.13		0.00		0.00		0.00		0.45		4.50		13		7.13

		1354863.9441		383476.293		10.0		20		1991.5271		1991.18		1991.48		0.35		0.00						0.47		0.54		5.43		0.00		0.00		0.00		0.45		4.50		14		12.56

		1354872.6863		383481.1307		10.0		30		1991.37		1991.16		1991.46		0.21		0.09		100.00				0.28		0.38		3.78		0.03		0.01		0.14		0.45		4.50		14		16.34

		1354881.7752		383485.2295		10.0		40		1991.1914		1991.06		1991.36		0.13		0.17						0.18		0.23		2.30		0.01		0.02		0.19		0.45		4.50		14		18.65

		1354891.294		383488.26		10.0		50		1991.1084		1990.96		1991.26		0.15		0.15		700.00				0.20		0.19		1.89		0.00		0.01		0.06		0.45		4.50		14		20.53

		1354900.8699		383491.1114		10.0		60		1991.1308		1990.86		1991.16		0.27		0.03						0.37		0.28		2.83		0.01		0.00		0.05		0.45		4.50		13		23.36

		1354910.4408		383493.9797		10.0		70		1991.1808		1990.76		1991.06		0.42		0.00		700.00				0.57		0.47		4.67		0.00		0.00		0.04		0.45		4.50		14		28.03

		1354920.0031		383496.877		10.0		80		1991.2354		1990.75		1991.05		0.49		0.00						0.66		0.61		6.14		0.00		0.00		0.00		0.45		4.50		13		34.17

		1354929.5862		383499.6995		10.0		90		1991.2114		1990.73		1991.03		0.48		0.00						0.65		0.65		6.54		0.00		0.00		0.00		0.45		4.50		13		40.70

		1354939.3828		383501.6624		10.0		100		1991.1249		1990.72		1991.02		0.41		0.00						0.55		0.60		5.99		0.00		0.00		0.00		0.45		4.50		13		46.69

		1354949.2222		383503.3579		10.0		110		1991.0331		1990.70		1991.00		0.33		0.00						0.45		0.50		4.97		0.00		0.00		0.00		0.45		4.49		13		51.66

		1354959.146		383502.5857		10.0		120		1991.0457		1990.69		1990.99		0.36		0.00						0.48		0.46		4.62		0.00		0.00		0.00		0.45		4.48		13		56.28

																								6.28		5.6330637258		56.28		0.0479327738		0.0479327738		0.48		5.85		53.95		162		356.09





TC1-SC1-10-MC500

		

		chainage		0+430sc1-0+200

		bed width		0.3										masonry width		Working space		total cut width

		Slope		500										0		0		0.30

		Total depth		0.3														0.60

		Side slope of canal		0														0.54

		Side slope of Burm		1														0.57

		Insert top width of built burm for fill		0														0.61

		OFFTAKE LEVEL CBL		1991.21														0.70

		Northing		Easting		Partial Distance		Chainage		Elevation		CBL		Bank level		CUT(m)		Fill(m)		slope		drop		Area of cut		Average Area of Cut		Volume of cut		Area of Fill		Average Area of Fill		Volume of Fill		Massonry Area (m2)		Massonry volume(m3)		PLASTERING		CUM.VOL.CUT

		1354844.9677		383470.3776		0		0		1991.8137		1991.21		1991.51		0.60		0.00		600.00				0.18		0.00		0.00		0.00		0.00		0.00		0.45		0.00		0		0.00

		1354839.4123		383461.8945		10		10		1991.7299		1991.19		1991.49		0.54		0.00						0.16		0.17		1.73		0.00		0.00		0.00		0.45		4.56		3		1.73

		1354831.6552		383455.3777		10		20		1991.7436		1991.18		1991.48		0.57		0.00						0.17		0.17		1.68		0.00		0.00		0.00		0.45		4.56		3		3.41

		1354823.5838		383449.2191		10		30		1991.7734		1991.16		1991.46		0.61		0.00						0.18		0.18		1.80		0.00		0.00		0.00		0.45		4.57		3		5.21

		1354815.6162		383442.9272		10		41		1991.7983		1991.14		1991.44		0.66		0.00						0.20		0.19		1.93		0.00		0.00		0.00		0.45		4.57		3		7.15

		1354807.6655		383436.6137		10		51		1991.8238		1991.13		1991.43		0.70		0.00						0.21		0.20		2.06		0.00		0.00		0.00		0.45		4.57		3		9.21

		1354798.599		383432.9607		10		61		1991.6469		1991.11		1991.41		0.54		0.00		500.00				0.16		0.19		1.82		0.00		0.00		0.00		0.45		4.40		3		11.03

		1354788.489		383433.8898		10		71		1991.6207		1991.09		1991.39		0.54		0.00						0.16		0.16		1.64		0.00		0.00		0.00		0.45		4.57		3		12.66

		1354778.379		383434.8189		10		81		1991.5946		1991.07		1991.37		0.53		0.00						0.16		0.16		1.62		0.00		0.00		0.00		0.45		4.57		3		14.29

		1354768.2691		383435.7479		10		91		1991.5494		1991.04		1991.34		0.50		0.00						0.15		0.16		1.57		0.00		0.00		0.00		0.45		4.57		3		15.86

		1354758.1591		383436.677		10		101		1991.5223		1991.02		1991.32		0.50		0.00						0.15		0.15		1.53		0.00		0.00		0.00		0.45		4.57		3		17.39

		1354748.0491		383437.606		10		111		1991.4863		1991.00		1991.30		0.48		0.00						0.14		0.15		1.49		0.00		0.00		0.00		0.45		4.57		3		18.88

		1354737.9391		383438.5351		10		121		1991.4503		1990.99		1991.29		0.46		0.00		600.00				0.14		0.14		1.44		0.00		0.00		0.00		0.45		4.57		3		20.32

		1354728.0298		383440.5998		10		132		1991.4437		1990.97		1991.27		0.47		0.00						0.14		0.14		1.42		0.00		0.00		0.00		0.45		4.55		3		21.74

		1354718.2256		383443.2366		10		142		1991.4342		1990.95		1991.25		0.48		0.00						0.14		0.14		1.45		0.00		0.00		0.00		0.45		4.57		3		23.19

		1354708.4214		383445.8733		10		152		1991.4248		1990.94		1991.24		0.49		0.00						0.15		0.15		1.48		0.00		0.00		0.00		0.45		4.57		3		24.66

		1354698.6172		383448.5101		10		162		1991.3976		1990.92		1991.22		0.48		0.00						0.14		0.14		1.47		0.00		0.00		0.00		0.45		4.57		3		26.14

		1354688.813		383451.1469		10		172		1991.2734		1990.90		1991.20		0.37		0.00						0.11		0.13		1.29		0.00		0.00		0.00		0.45		4.57		3		27.43

		1354678.8919		383453.1896		10		182		1991.223		1990.89		1991.19		0.34		0.00						0.10		0.11		1.07		0.00		0.00		0.00		0.45		4.56		3		28.50

																								2.96		2.82		28.50		0		0.00		0		8.55		82.0264155316		54.684277021		288.79





SC2 AT CH 1540

		

		chainage		0+1540 MC-0+590

		bed width		0.35										masonry width		Working space		total cut width

		Slope		500										0.35		0.35		1.40

		Total depth		0.35														0.97

		Side slope of canal		0														0.98

		Side slope of Burm		1														0.76

		Insert top width of built burm for fill		0														0.30

		OFFTAKE LEVEL CBL		1989.69														0.25

		Northing		Easting		Partial Distance		Chainage		Elevation		CBL		Bank level		CUT(m)		Fill(m)		slope				drop		Area of cut		Average Area of Cut		Volume of cut		Area of Fill		Average Area of Fill		Volume of Fill		Massonry Area (m2)		Massonry volume(m3)		PLASTERING		CUM.VOL.CUT

		1355670.1328		383427.0348		0		0		1990.6615		1989.69		1990.04		0.97		0				0.01				1.36		0.00		0.00		0.00		0.00		0.00		0.50		0.00		0		0.00				0

		1355671.9383		383417.5488		10		10		1990.6558		1989.68		1990.03		0.98		0		800.00		0.54				1.37		1.36		13.18		0.00		0.00		0.00		0.50		4.78		14		13.18				13.5188125015

		1355673.7438		383408.0627		10		20		1989.9032		1989.14		1989.49		0.76		0		18.00		0.54				1.07		1.22		11.76		0.00		0.00		0.00		0.50		4.78		14		24.94				13.5189500325

		1355675.5493		383398.5767		10		30		1988.9092		1988.61		1988.96		0.30		0		10.00		0.97				0.43		0.75		7.21		0.05		0.02		0.23		0.50		4.78		14		32.14				13.5188125015

		1355677.3547		383389.0906		10		40		1987.9151		1987.64		1987.99		0.28		0				0.97				0.39		0.41		3.92		0.08		0.06		0.61		0.50		4.78		14		36.06				13.5189238567

		1355679.1727		383379.607		10		50		1986.9211		1986.67		1987.02		0.25		0				0.88				0.35		0.37		3.54		0.11		0.09		0.90		0.50		4.78		14		39.60				13.5187955899

		1355681.3126		383370.1917		10		60		1986.1755		1985.80		1986.15		0.38		0		11.00		0.48				0.53		0.44		4.24		0.00		0.05		0.52		0.50		4.78		14		43.83				13.5175815276

		1355683.8088		383360.8637		10		70		1985.6705		1985.31		1985.66		0.36		0		20.00		0.19				0.50		0.52		4.98		0.00		0.00		0.00		0.50		4.78		14		48.81				13.5187089969

		1355686.3322		383351.5429		10		80		1985.4775		1985.12		1985.47		0.36		0		50.00		0.01				0.50		0.50		4.83		0.00		0.00		0.00		0.50		4.78		14		53.65				94.6305850067

		1355688.8551		383342.2219		10		90		1985.537		1985.11		1985.46		0.43		0		800.00		0.01				0.60		0.55		5.32		0.00		0.00		0.00		0.50		4.78		14		58.96

		1355691.1575		383332.8447		10		100		1985.5368		1985.10		1985.45		0.44		0				0.01				0.62		0.61		5.88		0.00		0.00		0.00		0.50		4.78		14		64.84

		1355693.3597		383323.4428		10		110		1985.1889		1985.08		1985.43		0.11		0				0.01				0.15		0.38		3.69		0.11		0.05		0.53		0.50		4.78		14		68.53

		1355695.562		383314.0409		10		120		1985.8409		1985.07		1985.42		0.77		0				0.01				1.08		0.61		5.91		0.00		0.05		0.53		0.50		4.78		14		74.44

		1355697.7642		383304.6391		10		130		1985.4929		1985.06		1985.41		0.43		0				0.32				0.61		0.84		8.13		0.00		0.00		0.00		0.50		4.78		14		82.57

		1355699.9665		383295.2372		10		140		1985.145		1984.74		1985.09		0.41		0				0.32				0.57		0.59		5.68		0.00		0.00		0.00		0.50		4.78		14		88.25

		1355702.1687		383285.8353		10		150		1984.797		1984.42		1984.77		0.38		0				0.32				0.53		0.55		5.33		0.00		0.00		0.00		0.50		4.78		14		93.58

		1355704.371		383276.4334		10		160		1984.449		1984.09		1984.44		0.35		0		30.00		0.32				0.50		0.52		4.98		0.00		0.00		0.00		0.50		4.78		14		98.55

		1355706.5732		383267.0316		10		170		1984.1011		1983.77		1984.12		0.33		0				0.32				0.46		0.48		4.62		0.02		0.01		0.11		0.50		4.78		14		103.18

		1355708.6733		383257.6069		10		180		1983.671		1983.45		1983.80		0.22		0				0.32				0.31		0.38		3.71		0.14		0.08		0.76		0.50		4.78		14		106.89

		1355710.3543		383248.0987		10		190		1983.3571		1983.13		1983.48		0.23		0				0.74				0.32		0.31		3.04		0.13		0.13		1.27		0.50		4.78		14		109.93

		1355711.9031		383238.5674		10		200		1982.7163		1982.39		1982.74		0.33		0		13.00		0.74				0.46		0.39		3.78		0.02		0.07		0.71		0.50		4.78		14		113.71

		1355713.4519		383229.0361		10		210		1982.0756		1981.64		1981.99		0.43		0				0.60				0.61		0.53		5.16		0.00		0.01		0.10		0.50		4.78		14		118.87

		1355715.0008		383219.5048		10		220		1981.4348		1981.04		1981.39		0.40		0				0.60				0.55		0.58		5.60		0.00		0.00		0.00		0.50		4.78		14		124.47

		1355716.5496		383209.9734		10		230		1980.794		1980.44		1980.79		0.36		0		16.00		0.60				0.50		0.53		5.09		0.00		0.00		0.00		0.50		4.78		14		129.56

		1355718.1921		383200.4583		10		240		1980.2018		1979.83		1980.18		0.37		0				0.60				0.52		0.51		4.92		0.00		0.00		0.00		0.50		4.78		14		134.48

		1355720.2529		383191.0252		10		250		1979.6666		1979.23		1979.58		0.44		0				0.32				0.61		0.57		5.46		0.00		0.00		0.00		0.50		4.78		14		139.94

		1355722.4587		383181.6242		10		260		1979.1208		1978.91		1979.26		0.21		0				0.32				0.30		0.46		4.40		0.14		0.07		0.69		0.50		4.78		14		144.34

		1355724.6644		383172.2231		10		270		1978.7027		1978.59		1978.94		0.12		0				0.32				0.16		0.23		2.24		0.09		0.12		1.15		0.50		4.78		14		146.58

		1355726.8711		383162.8223		10		280		1978.3933		1978.26		1978.61		0.13		0				0.32				0.18		0.17		1.67		0.08		0.09		0.84		0.50		4.78		14		148.25

		1355729.3327		383153.486		10		290		1978.0747		1977.94		1978.29		0.13		0				0.32				0.19		0.18		1.78		0.08		0.08		0.75		0.50		4.78		14		150.03

		1355732.242		383144.2793		10		300		1977.8013		1977.62		1977.97		0.18		0				0.32				0.25		0.22		2.13		0.18		0.13		1.22		0.50		4.78		14		152.16

		1355735.4974		383135.1883		10		310		1977.5535		1977.30		1977.65		0.26		0				0.32				0.36		0.31		2.96		0.10		0.14		1.33		0.50		4.78		14		155.12

		1355738.7783		383126.1064		10		320		1977.3046		1976.98		1977.33		0.33		0		30.00		0.32				0.46		0.41		3.95		0.02		0.06		0.58		0.50		4.78		14		159.07

		1355742.0592		383117.0245		10		330		1977.0359		1976.65		1977.00		0.38		0		50.00		0.32				0.53		0.50		4.80		0.00		0.01		0.11		0.50		4.78		14		163.88

		1355745.3401		383107.9427		10		339		1976.7518		1976.33		1976.68		0.42		0				0.32				0.59		0.56		5.42		0.00		0.00		0.00		0.50		4.78		14		169.30

		1355748.621		383098.8608		10		349		1976.4678		1976.01		1976.36		0.46		0		30.00		0.19				0.64		0.61		5.93		0.00		0.00		0.00		0.50		4.78		14		175.23

		1355751.9019		383089.7789		10		359		1976.1838		1975.82		1976.17		0.37		0				0.19				0.51		0.58		5.57		0.00		0.00		0.00		0.50		4.78		14		180.80

		1355755.1829		383080.697		10		368		1975.8998		1975.62		1975.97		0.28		0				0.32				0.39		0.45		4.34		0.08		0.04		0.38		0.50		4.78		14		185.15

		1355758.4638		383071.6151		10		378		1975.6158		1975.30		1975.65		0.31		0				0.32				0.44		0.41		3.99		0.04		0.06		0.56		0.50		4.78		14		189.13

		1355761.7424		383062.5324		10		388		1975.3333		1974.98		1975.33		0.35		0				0.32				0.49		0.47		4.51		0.00		0.02		0.18		0.50		4.78		14		193.64

		1355764.7806		383053.3671		10		397		1975.0493		1974.66		1975.01		0.39		0		500.00		0.32				0.55		0.4933746083		4.7638986875		0.00		0.00		0.00		0.50		4.78		14		198.40

		1355767.7154		383044.1675		10		407		1974.7305		1974.34		1974.69		0.39		0				0.32				0.55		0.55		5.31		0.00		0.00		0.00		0.50		4.78		14		203.71

		1355770.6502		383034.968		10		417		1974.4116		1974.01		1974.36		0.40		0				0.32				0.56		0.55		5.35		0.00		0.00		0.00		0.50		4.78		14		209.06

		1355773.5851		383025.7684		10		426		1974.0928		1973.69		1974.04		0.40		0				0.32				0.56		0.56		5.37		0.00		0.00		0.00		0.50		4.78		14		214.43

		1355776.5199		383016.5689		10		436		1973.7739		1973.37		1973.7		0.4		0				0.32				0.56		0.6		5.4		0.00		0.00		0.00		0.50		4.78		14		219.86

		1355779.4749		383007.3759		10		446		1973.4067		1973.05		1973.40		0.36		0				0.32				0.50		0.53		5.14		0.00		0.00		0.00		0.50		4.78		14		225.00

		1355782.7581		382998.2957		10		455		1973.0563		1972.73		1973.0770331176		0.3292668824		0				0.32				0.46		0.5126850915		4.9502509196		0.02		0.01		0.11		0.50		4.78		14		229.95

		1355786.198		382989.2728		10		465		1972.8757		1972.41		1972.76		0.47		0				0.19				0.66		0.56		5.41		0.00		0.01		0.11		0.50		4.78		14		235.36

		1355789.638		382980.25		10		475		1972.7198		1972.21		1972.56		0.51		0				0.19				0.71		0.68		6.61		0.00		0.00		0.00		0.50		4.78		14		241.97

		1355793.078		382971.2271		10		484		1972.4011		1972.02		1972.37		0.38		0				0.19				0.54		0.62		6.02		0.00		0.00		0.00		0.50		4.78		14		247.99

		1355796.5179		382962.2043		10		494		1972.0628		1971.83		1972.18		0.24		0		500.00		0.39				0.33		0.43		4.19		0.12		0.06		0.57		0.50		4.78		14		252.17

		1355799.9579		382953.1815		10		503		1971.7244		1971.44		1971.79		0.28		0				0.39				0.40		0.37		3.53		0.07		0.09		0.90		0.50		4.78		14		255.70

		1355803.3979		382944.1586		10		513		1971.3861		1971.05		1971.40		0.33		0		40.00		0.80				0.47		0.40		3.85		0.02		0.04		0.42		0.50		4.78		14		259.55

		1355806.8378		382935.1358		10		523		1970.5492		1970.25		1970.60		0.30		0				0.80				0.42		0.44		4.28		0.05		0.03		0.34		0.50		4.78		14		263.83

		1355810.2778		382926.1129		10		532		1969.7352		1969.44		1969.79		0.29		0				0.00				0.41		0.41		4.00		0.06		0.06		0.55		0.50		4.78		14		267.84

		1355813.7177		382917.0901				532		1969.222		1969.44		1969.79		0.00		1		25.00		0.97				0.00		0.20		0.00		0.53		0.29		0.00		0.50		0.00		0		267.84

		1355817.1577		382908.0672		19.3		552		1968.7087		1968.48		1968.83		0.23		0				0.48				0.32		0.16		3.12		0.13		0.33		6.30		0.50		9.56		27		270.95

		1355820.5977		382899.0444		9.7		561		1968.1955		1968.00		1968.35		0.20		0		20.00		0.48				0.28		0.30		2.91		0.16		0.14		1.37		0.50		4.78		14		273.86

		1355824.0376		382890.0216		9.7		571		1967.6822		1967.51		1967.86		0.17		0		12.00		0.48				0.24		0.26		2.50		0.04		0.10		0.94		0.50		4.78		14		276.36

		1355827.4776		382880.9987		9.7		581		1967.169		1967.03		1967.38		0.14		0		10.00		0.48				0.19		0.22		2.09		0.07		0.05		0.51		0.50		4.78		14		278.45

		1355830.9176		382871.9759		9.7		590		1966.6557		1966.55		1966.90		0.11		0				1966.55				0.15		0.17		1.68		0.10		0.09		0.84		0.50		4.78		14		280.12

																												29.05		280.12		2.8158415564		2.763540996		26.99		30.195		286.79		811		9488.05





SC 1 AT MC 500

		

		chainage		0+430mc-0+330

		bed width		0.3										masonry width		Working space		total cut width

		Slope		300										0.3		0.2		1.10

		Total depth		0.3														0.77

		Side slope of canal		0														0.46

		Side slope of Burm		1														0.40

		Insert top width of built burm for fill		0														0.33

		OFFTAKE LEVEL CBL		1991.23														0.15

		Northing		Easting		Partial Distance		Chainage		Elevation		CBL		Bank level		CUT(m)		Fill(m)		slope				drop		Area of cut		Average Area of Cut		Volume of cut		Area of Fill		Average Area of Fill		Volume of Fill		Massonry Area (m2)		Massonry volume(m3)		PLASTERING		CUM.VOL.CUT

		1354853.7138		383487.5587		0		0		1992		1991.23		1991.53		0.77		0.00		500.00		0.02				0.85		0.00		0.00		0.00		0.00		0.00		0.45		0.00		0		0.00

		1354862.5282		383482.8626		10.0		10		1991.6747		1991.21		1991.51		0.46		0.00				0.25				0.51		0.68		6.78		0.00		0.00		0.00		0.45		4.49		11		6.78

		1354871.3426		383478.1664		10.0		20		1991.3578		1990.96		1991.26		0.40		0.00		40.00		0.25				0.44		0.47		4.74		0.00		0.00		0.00		0.45		4.49		11		11.52

		1354880.1571		383473.4703		10.0		30		1991.0424		1990.71		1991.01		0.33		0.00				0.25				0.36		0.40		4.01		0.00		0.00		0.00		0.45		4.49		11		15.52

		1354888.9715		383468.7742		10.0		40		1990.727		1990.46		1990.76		0.27		0.03				0.20				0.29		0.33		3.28		0.03		0.02		0.15		0.45		4.49		11		18.81

		1354897.7859		383464.078		10.0		50		1990.4093		1990.26		1990.56		0.15		0.15		50.00		0.20				0.16		0.23		2.27		0.02		0.03		0.27		0.45		4.49		11		21.08

		1354906.6003		383459.3819		10.0		60		1990.2693		1990.06		1990.36		0.21		0.09				0.20				0.23		0.20		1.95		0.08		0.05		0.54		0.45		4.49		11		23.04

		1354915.4147		383454.6858		10.0		70		1990.1633		1989.86		1990.16		0.30		0.00				0.20				0.33		0.28		2.80		0.00		0.04		0.41		0.45		4.49		11		25.83

		1354924.2291		383449.9896		10.0		80		1990.0574		1989.66		1989.96		0.40		0.00				0.10				0.43		0.38		3.83		0.00		0.00		0.00		0.45		4.49		11		29.66

		1354933.0435		383445.2935		10.0		90		1989.9515		1989.56		1989.86		0.39		0.00		100.00		0.10				0.43		0.43		4.31		0.00		0.00		0.00		0.45		4.49		11		33.97

		1354941.858		383440.5974		10.0		100		1989.8455		1989.46		1989.76		0.38		0.00				0.10				0.42		0.42		4.24		0.00		0.00		0.00		0.45		4.49		11		38.22

		1354950.6724		383435.9012		10.0		110		1989.7396		1989.36		1989.66		0.38		0.00				0.10				0.41		0.42		4.18		0.00		0.00		0.00		0.45		4.49		11		42.40

		1354959.4868		383431.2051		10.0		120		1989.6906		1989.26		1989.56		0.43		0.00				0.10				0.47		0.44		4.42		0.00		0.00		0.00		0.45		4.49		11		46.82

		1354968.3012		383426.509		10.0		130		1989.6671		1989.16		1989.46		0.50		0.00				0.10				0.55		0.51		5.12		0.00		0.00		0.00		0.45		4.49		11		51.94

		1354977.1156		383421.8128		10.0		140		1989.6435		1989.06		1989.36		0.58		0.00				0.10				0.64		0.60		5.96		0.00		0.00		0.00		0.45		4.49		11		57.90

		1354985.93		383417.1167		10.0		150		1989.578		1988.96		1989.26		0.62		0.00				0.10				0.68		0.66		6.57		0.00		0.00		0.00		0.45		4.49		11		64.47

		1354994.7444		383412.4206		10.0		160		1989.401		1988.86		1989.16		0.54		0.00				0.10				0.59		0.63		6.33		0.00		0.00		0.00		0.45		4.49		11		70.81

		1355003.5588		383407.7244		10.0		170		1989.2239		1988.76		1989.06		0.46		0.00				0.10				0.51		0.55		5.49		0.00		0.00		0.00		0.45		4.49		11		76.29

		1355012.3733		383403.0283		10.0		180		1989.0469		1988.66		1988.96		0.38		0.00				0.10				0.42		0.46		4.64		0.00		0.00		0.00		0.45		4.49		11		80.93

		1355021.1877		383398.3322		10.0		190		1988.8698		1988.56		1988.86		0.31		0.00				0.10				0.34		0.38		3.79		0.00		0.00		0.00		0.45		4.49		11		84.72

		1355030.0021		383393.636		10.0		200		1988.6928		1988.46		1988.76		0.23		0.07				0.10				0.25		0.29		2.94		0.06		0.03		0.32		0.45		4.49		11		87.67

		1355038.8165		383388.9399		10.0		210		1988.6588		1988.36		1988.66		0.30		0.00				0.10				0.32		0.29		2.88		0.00		0.03		0.34		0.45		4.49		11		90.55

		1355047.6309		383384.2438		10.0		220		1988.6841		1988.26		1988.56		0.42		0.00				0.01				0.46		0.39		3.93		0.00		0.00		0.02		0.45		4.49		11		94.48

		1355056.4453		383379.5476		10.0		230		1988.7012		1988.25		1988.55		0.45		0.00				0.01				0.49		0.48		4.78		0.00		0.00		0.00		0.45		4.49		11		99.26

		1355065.2597		383374.8515		10.0		240		1988.7183		1988.24		1988.54		0.48		0.00		800.00		0.01				0.53		0.51		5.11		0.00		0.00		0.00		0.45		4.49		11		104.36

		1355074.0742		383370.1554		10.0		250		1988.8224		1988.23		1988.53		0.60		0.00				0.01				0.66		0.59		5.91		0.00		0.00		0.00		0.45		4.49		11		110.27

		1355082.8886		383365.4592		10.0		260		1988.9149		1988.21		1988.51		0.70		0.00				0.01				0.77		0.71		7.13		0.00		0.00		0.00		0.45		4.49		11		117.40

		1355091.703		383360.7631		10.0		270		1988.8648		1988.20		1988.50		0.66		0.00				0.01				0.73		0.75		7.50		0.00		0.00		0.00		0.45		4.49		11		124.89

		1355100.5174		383356.067		10.0		280		1988.8803		1988.19		1988.49		0.69		0.00				0.01				0.76		0.75		7.44		0.00		0.00		0.00		0.45		4.49		11		132.34

		1355109.3318		383351.3708		10.0		290		1988.8958		1988.18		1988.48		0.72		0.00				0.01				0.79		0.78		7.75		0.00		0.00		0.00		0.45		4.49		11		140.09

		1355118.1462		383346.6747		10.0		300		1988.8601		1988.16		1988.46		0.70		0.00				0.01				0.77		0.78		7.78		0.00		0.00		0.00		0.45		4.49		11		147.86

		1355126.9606		383341.9786		10.0		310		1988.6265		1988.15		1988.45		0.48		0.00				0.01				0.52		0.64		6.43		0.00		0.00		0.00		0.45		4.49		11		154.30

		1355135.7751		383337.2824		10.0		320		1988.3928		1988.14		1988.44		0.25		0.05				0.01				0.28		0.40		4.00		0.04		0.02		0.21		0.45		4.49		11		158.30

		1355144.5895		383332.5863		10.0		330		1988.1592		1988.13		1988.43		0.03		0.27								0.04		0.16		1.57		0.14		0.09		0.92		0.45		4.49		11		159.88

																										16.45		16.0077522918		159.88		0.3889776546		0.3181060803		3.18		15.30		148.31		363		2522.36





SC4 CHAGED MC 2587

		

								lined canal

		chainage		0+2600 mc -0+840

		bed width		0.4										masonry width		Working space		total cut width

		Slope		300										0.35		0.35		1.45

		Total depth		0.4														0.89

		Side slope of canal		0														0.35

		Side slope of Burm		1														0.37

		Insert top width of built burm for fill		0														0.29

		OFFTAKE LEVEL CBL		1988.28														0.37						38.12

		Northing		Easting		Partial Distance		Chainage		Elevation		CBL		Bank level		CUT(m)		Fill(m)		slope				drop		Area of cut		Average Area of Cut		Volume of cut		Area of Fill		Average Area of Fill		Volume of Fill		Massonry Area (m2)		Massonry volume(m3)		PLASTERING		CUM.VOL.CUT

		1356672.5512		383323.9309		0		0		1989.1749		1988.28		1988.68		0.89		0		150.00		0.07				1.30		0.00		0.00		0.00		0.00		0.00		0.54		0.00		0		0.00

		1356673.5963		383313.9515		10.0		10		1988.5646		1988.21		1988.61		0.35		0				0.63				0.51		0.90		9.03		0.06		0.03		0.29		0.54		5.40		15		9.03

		1356674.6413		383303.9721		10.0		20		1987.9543		1987.59		1987.99		0.37		0		16.00		0.63				0.53		0.52		5.20		0.04		0.05		0.50		0.54		5.40		15		14.23

		1356675.6863		383293.9928		10.0		30		1987.2569		1986.96		1987.36		0.29		0				0.77				0.43		0.48		4.78		0.13		0.08		0.84		0.54		5.40		15		19.02

		1356676.7314		383284.0134		10.0		40		1986.527		1986.19		1986.59		0.33		0		13.00		0.77				0.48		0.45		4.54		0.08		0.10		1.04		0.54		5.40		15		23.56

		1356677.7764		383274.0341		10.0		50		1985.7977		1985.42		1985.82		0.37		0				0.77				0.54		0.51		5.12		0.03		0.06		0.57		0.54		5.40		15		28.67

		1356678.8214		383264.0547		10.0		60		1985.0684		1984.66		1985.06		0.41		0				0.77				0.60		0.57		5.70		0.00		0.02		0.16		0.54		5.40		15		34.37

		1356679.8665		383254.0753		10.0		70		1984.3391		1983.89		1984.29		0.45		0				0.50				0.66		0.63		6.27		0.00		0.00		0.00		0.54		5.40		15		40.64

		1356680.9115		383244.096		10.0		80		1983.6099		1983.39		1983.79		0.22		0		20.00		0.77				0.32		0.49		4.90		0.21		0.11		1.06		0.54		5.40		15		45.55

		1356681.9565		383234.1166		10.0		90		1982.8806		1982.62		1983.02		0.26		0		13.00		0.77				0.38		0.35		3.53		0.16		0.19		1.88		0.54		5.40		15		49.08

		1356683.0016		383224.1373		10.0		100		1982.2122		1981.85		1982.25		0.36		0				0.50				0.53		0.46		4.55		0.04		0.10		1.03		0.54		5.40		15		53.63

		1356684.0466		383214.1579		10.0		110		1981.7099		1981.35		1981.75		0.36		0				0.50				0.52		0.53		5.26		0.05		0.04		0.44		0.54		5.40		15		58.89

		1356685.0916		383204.1785		10.0		120		1981.2075		1980.85		1981.25		0.36		0		20.00		0.50				0.52		0.52		5.23		0.05		0.05		0.47		0.54		5.40		15		64.12

		1356686.1367		383194.1992		10.0		130		1980.7052		1980.35		1980.75		0.36		0		18.00		0.50				0.52		0.52		5.20		0.05		0.05		0.50		0.54		5.40		15		69.32

		1356687.1817		383184.2198		10.0		140		1980.2029		1979.85		1980.25		0.35		0				0.50				0.51		0.52		5.16		0.05		0.05		0.53		0.54		5.40		15		74.48

		1356688.2267		383174.2405		10.0		150		1979.7005		1979.35		1979.75		0.35		0				0.50				0.51		0.51		5.13		0.06		0.06		0.55		0.54		5.40		15		79.61

		1356689.2718		383164.2611		10.0		160		1979.1982		1978.85		1979.25		0.35		0				0.50				0.51		0.51		5.10		0.06		0.06		0.58		0.54		5.40		15		84.71

		1356690.3168		383154.2817		10.0		170		1978.6958		1978.35		1978.75		0.35		0				0.50				0.50		0.51		5.06		0.06		0.06		0.61		0.54		5.40		15		89.77

		1356691.3618		383144.3024		10.0		180		1978.1935		1977.85		1978.25		0.35		0				0.50				0.50		0.50		5.03		0.07		0.06		0.64		0.54		5.40		15		94.80

		1356692.4069		383134.323		10.0		190		1977.6912		1977.35		1977.75		0.34		0				0.50				0.50		0.50		4.99		0.07		0.07		0.67		0.54		5.40		15		99.79

		1356693.4519		383124.3437		10.0		200		1977.186		1976.85		1977.25		0.34		0		30.00		0.56				0.49		0.49		4.94		0.07		0.07		0.71		0.54		5.40		15		104.73

		1356694.4969		383114.3643		10.0		210		1976.6391		1976.29		1976.69		0.35		0		20.00		0.56				0.50		0.50		4.96		0.06		0.07		0.69		0.54		5.40		15		109.69

		1356695.542		383104.3849		10.0		220		1976.0652		1975.74		1976.14		0.33		0		18.00		0.56				0.48		0.49		4.89		0.09		0.07		0.75		0.54		5.40		15		114.59

		1356696.587		383094.4056		10.0		230		1975.4913		1975.18		1975.58		0.31		0		20.00		0.56				0.45		0.46		4.63		0.11		0.10		0.97		0.54		5.40		15		119.22

		1356697.632		383084.4262		10.0		240		1974.9174		1974.63		1975.03		0.29		0		16.00		0.56				0.42		0.44		4.36		0.13		0.12		1.19		0.54		5.40		15		123.58

		1356698.6771		383074.4469		10.0		250		1974.3435		1974.07		1974.47		0.27		0				0.56				0.40		0.41		4.10		0.15		0.14		1.41		0.54		5.40		15		127.68

		1356699.7221		383064.4675		10.0		260		1973.7696		1973.51		1973.91		0.25		0				0.56				0.37		0.38		3.83		0.17		0.16		1.63		0.54		5.40		15		131.51

		1356700.7671		383054.4881		10.0		270		1973.1957		1972.96		1973.36		0.24		0		28.00		0.56				0.34		0.36		3.56		0.20		0.19		1.85		0.54		5.40		15		135.07

		1356701.8122		383044.5088		10.0		280		1972.6218		1972.40		1972.80		0.22		0		20.00		0.56				0.32		0.33		3.30		0.22		0.21		2.07		0.54		5.40		15		138.37

		1356702.8572		383034.5294		10.0		290		1972.1027		1971.85		1972.25		0.25		0				0.56				0.37		0.34		3.43		0.17		0.20		1.96		0.54		5.40		15		141.80

		1356703.9022		383024.55		10.0		300		1971.7161		1971.29		1971.69		0.42		0				0.33				0.61		0.49		4.92		0.00		0.09		0.87		0.54		5.40		15		146.72

		1356704.9473		383014.5707		10.0		310		1971.3071		1970.96		1971.36		0.35		0		28.00		0.33				0.50		0.56		5.60		0.06		0.03		0.31		0.54		5.40		15		152.31

		1356705.9923		383004.5913		10.0		320		1970.8817		1970.63		1971.03		0.26		0		30.00		0.50				0.37		0.44		4.38		0.17		0.12		1.18		0.54		5.40		15		156.69

		1356707.0373		382994.612		10.0		330		1970.4563		1970.13		1970.53		0.33		0		20.00		0.50				0.48		0.43		4.25		0.08		0.13		1.28		0.54		5.40		15		160.94

		1356708.0824		382984.6326		10.0		340		1970.0309		1969.63		1970.03		0.41		0				0.20				0.59		0.53		5.33		0.00		0.04		0.42		0.54		5.40		15		166.28

		1356709.1274		382974.6532		10.0		350		1969.6055		1969.43		1969.83		0.18		0		50.00		0.50				0.26		0.42		4.24		0.06		0.03		0.32		0.54		5.40		15		170.52

		1356710.1724		382964.6739		10.0		360		1969.1801		1968.93		1969.33		0.25		0				0.50				0.37		0.31		3.15		0.17		0.12		1.20		0.54		5.40		15		173.67

		1356711.2175		382954.6945		10.0		370		1968.7656		1968.43		1968.83		0.34		0		30.00		0.33				0.49		0.43		4.31		0.07		0.12		1.23		0.54		5.40		15		177.97

		1356712.2625		382944.7152		10.0		380		1968.4265		1968.09		1968.49		0.33		0				0.33				0.48		0.49		4.89		0.08		0.08		0.76		0.54		5.40		15		182.86

		1356713.3075		382934.7358		10.0		390		1968.1358		1967.76		1968.16		0.38		0		30.00		0.33				0.55		0.52		5.15		0.03		0.05		0.53		0.54		5.40		15		188.01

		1356714.3526		382924.7564		10.0		400		1967.8826		1967.43		1967.83		0.46		0				0.20				0.66		0.5734607479		5.7346074786		0.00		0.01		0.14		0.54		5.40		15		193.75

		1356715.3976		382914.7771		10.0		410		1967.6294		1967.23		1967.63		0.40		0		50.00		0.20				0.59		0.62		6.24		0.00		0.00		0.00		0.54		5.40		15		199.99

		1356716.4426		382904.7977		10.0		420		1967.3763		1967.03		1967.43		0.35		0				0.20				0.51		0.55		5.47		0.06		0.03		0.30		0.54		5.40		15		205.46

		1356717.4877		382894.8184		10.0		430		1967.1231		1966.83		1967.23		0.30		0		50.00		0.50				0.43		0.51		5.08		0.12		0.09		0.91		0.54		5.40		15		210.54

		1356718.5327		382884.839		10.0		440		1966.8516		1966.33		1966.7		0.5		0		20.0		0.20				0.76		0.6		6.0		0.00		0.06		0.62		0.54		5.40		15		216.51

		1356719.5777		382874.8596		10.0		450		1966.4843		1966.13		1966.53		0.36		0				0.40				0.52		0.64		6.41		0.05		0.02		0.25		0.54		5.40		15		222.92

		1356720.6228		382864.8803		10.0		460		1966.1171		1965.73		1966.1257264957		0.3913735043		0		50		0.40				0.57		0.6650040812		6.650040812		0.01		0.03		0.30		0.54		5.40		15		229.57

		1356721.6678		382854.9009		10.0		470		1965.7498		1965.33		1965.73		0.42		0		25.00		0.40				0.61		0.59		5.91		0.00		0.01		0.05		0.54		5.40		15		235.48

		1356722.7128		382844.9216		10.0		480		1965.4674		1964.93		1965.33		0.54		0				0.10				0.79		0.70		7.00		0.00		0.00		0.00		0.54		5.40		15		242.48

		1356723.7579		382834.9422		10.0		490		1965.2347		1964.83		1965.23		0.41		0		100.00		0.10				0.59		0.69		6.89		0.00		0.00		0.00		0.54		5.40		15		249.38

		1356724.8029		382824.9628		10.0		500		1965.0021		1964.73		1965.13		0.28		0				0.33				0.40		0.50		4.97		0.15		0.07		0.74		0.54		5.40		15		254.34

		1356725.8479		382814.9835		10.0		510		1964.7695		1964.39		1964.79		0.38		0		30.00		0.33				0.55		0.47		4.74		0.03		0.09		0.88		0.54		5.40		15		259.08

		1356726.893		382805.0041		10.0		520		1964.4535		1964.06		1964.46		0.39		0				0.33				0.57		0.49		4.86		0.01		0.02		0.17		0.54		5.40		15		263.95

		1356727.938		382795.0248		10.0		530		1964.0678		1963.73		1964.13		0.34		0				0.33				0.50		0.53		5.34		0.07		0.04		0.38		0.54		5.40		15		269.29

		1356728.983		382785.0454		10.0		540		1963.682		1963.39		1963.79		0.29		0				0.50				0.42		0.46		4.58		0.13		0.10		1.01		0.54		5.40		15		273.87

		1356730.0281		382775.066		10.0		550		1963.2962		1962.89		1963.29		0.40		0		20.00		0.33				0.59		0.50		5.03		0.00		0.07		0.66		0.54		5.40		15		278.89

		1356731.0731		382765.0867		10.0		550		1962.9105		1962.56		1962.96		0.35		0				0.33				0.51		0.55		5.48		0.06		0.03		0.29		0.54		5.40		15		284.37

		1356732.1181		382755.1073		10.0		560		1962.5247		1962.23		1962.63		0.30		0		20.00		0.50				0.43		0.47		4.72		0.12		0.09		0.90		0.54		5.40		15		289.08

		1356733.1632		382745.1279		10.0		570		1962.1389		1961.73		1962.13		0.41		0				0.50				0.60		0.52		5.16		0.00		0.06		0.61		0.54		5.40		15		294.25

		1356734.2082		382735.1486		10.0		580		1961.7532		1961.23		1961.63		0.53		0				0.33				0.76		0.68		6.82		0.00		0.00		0.00		0.54		5.40		15		301.07

		1356735.2532		382725.1692		10.0		590		1961.3379		1960.89		1961.29		0.45		0				0.33				0.65		0.71		7.05		0.00		0.00		0.00		0.54		5.40		15		308.12

		1356736.2983		382715.1899		10.0		600		1960.9051		1960.56		1960.96		0.35		0		30.00		0.33				0.50		0.57		5.74		0.06		0.03		0.32		0.54		5.40		15		313.86

		1356737.3433		382705.2105		10.0		610		1960.4725		1960.23		1960.63		0.25		0		30.00		0.50				0.36		0.43		4.30		0.18		0.12		1.24		0.54		5.40		15		318.16

		1356738.3883		382695.2311		10.0		610		1960.0399		1959.73		1960.13		0.31		0				0.50				0.46		0.41		4.07		0.10		0.14		1.43		0.54		5.40		15		322.22

		1356739.4334		382685.2518		10.0		620		1959.6072		1959.23		1959.63		0.38		0		30.00		0.33				0.55		0.50		5.04		0.02		0.06		0.63		0.54		5.40		15		327.27

		1356740.4784		382675.2724		10.0		630		1959.1746		1958.89		1959.29		0.28		0				0.50				0.41		0.48		4.81		0.14		0.08		0.82		0.54		5.40		15		332.08

		1356741.5234		382665.2931		10.0		640		1958.7147		1958.39		1958.79		0.32		0		20.00		0.33				0.47		0.44		4.38		0.09		0.12		1.17		0.54		5.40		15		336.46

		1356742.5685		382655.3137		10.0		650		1958.3543		1958.06		1958.46		0.30		0		20.00		0.33				0.43		0.45		4.48		0.13		0.11		1.09		0.54		5.40		15		340.94

		1356743.6135		382645.3343		10.0		660		1958.0268		1957.73		1958.13		0.30		0		30.00		0.33				0.44		0.43		4.32		0.12		0.12		1.22		0.54		5.40		15		345.26

		1356744.6585		382635.355		10.0		670		1957.7122		1957.39		1957.79		0.32		0		25.00		0.33				0.46		0.45		4.50		0.10		0.11		1.07		0.54		5.40		15		349.76

		1356745.7036		382625.3756		10.0		680		1957.3977		1957.06		1957.46		0.34		0				0.33				0.49		0.48		4.77		0.07		0.08		0.85		0.54		5.40		15		354.54

		1356746.7486		382615.3963		10.0		680		1957.0832		1956.73		1957.13		0.36		0				0.33				0.52		0.50		5.05		0.05		0.06		0.62		0.54		5.40		15		359.58

		1356747.7936		382605.4169		10.0		690		1956.7687		1956.39		1956.79		0.38		0		20.00		0.33				0.55		0.53		5.32		0.03		0.04		0.40		0.54		5.40		15		364.90

		1356748.8387		382595.4375		10.0		700		1956.4542		1956.06		1956.46		0.40		0				0.33				0.57		0.56		5.59		0.01		0.02		0.17		0.54		5.40		15		370.50

		1356749.8837		382585.4582		10.0		710		1956.1397		1955.73		1956.13		0.41		0				0.33				0.60		0.59		5.87		0.00		0.00		0.03		0.54		5.40		15		376.36

		1356750.9287		382575.4788		10.0		720		1955.7877		1955.39		1955.79		0.40		0				0.50				0.57		0.59		5.87		0.01		0.00		0.03		0.54		5.40		15		382.23

		1356751.9738		382565.4995		10.0		730		1955.2775		1954.89		1955.29		0.39		0		30.00		0.50				0.56		0.57		5.66		0.02		0.01		0.12		0.54		5.40		15		387.89

		1356753.0188		382555.5201		10.0		740		1954.7673		1954.39		1954.79		0.37		0				0.50				0.54		0.55		5.51		0.03		0.02		0.24		0.54		5.40		15		393.40

		1356754.0638		382545.5407		10.0		750		1954.2571		1953.89		1954.29		0.36		0		20.00		0.50				0.53		0.54		5.36		0.04		0.04		0.36		0.54		5.40		15		398.76

		1356755.1089		382535.5614		10.0		760		1953.7469		1953.39		1953.79		0.35		0				0.50				0.51		0.52		5.21		0.05		0.05		0.48		0.54		5.40		15		403.97

		1356756.1539		382525.582		10.0		770		1953.2944		1952.89		1953.29		0.40		0		25.00		0.33				0.58		0.55		5.48		0.00		0.03		0.27		0.54		5.40		15		409.46

		1356757.1989		382515.6026		10.0		780		1952.8823		1952.56		1952.96		0.32		0				0.40				0.47		0.53		5.26		0.09		0.05		0.46		0.54		5.40		15		414.72

		1356758.244		382505.6233		10.0		790		1952.4702		1952.16		1952.56		0.31		0				0.40				0.45		0.46		4.60		0.11		0.10		0.99		0.54		5.40		15		419.32

		1356759.289		382495.6439		10.0		800		1952.0581		1951.76		1952.16		0.30		0				0.40				0.43		0.44		4.42		0.12		0.11		1.14		0.54		5.40		15		423.74

		1356760.334		382485.6646		10.0		810		1951.6482		1951.36		1951.76		0.29		0				0.40				0.42		0.43		4.26		0.13		0.13		1.27		0.54		5.40		15		428.00

		1356761.3791		382475.6852		10.0		820		1951.2937		1950.96		1951.36		0.33		0				0.40				0.49		0.45		4.52		0.08		0.11		1.06		0.54		5.40		15		432.53

		1356762.4241		382465.7058		10.0		830		1950.9393		1950.56		1950.96		0.38		0				0.40				0.55		0.52		5.18		0.02		0.05		0.51		0.54		5.40		15		437.71

		1356763.4691		382455.7265		10.0		840		1950.5848		1950.16		1950.56		0.43		0								0.62		0.58		5.84		0.00		0.01		0.12		0.54		5.40		15		443.55

																										45.26		44.3553599573		443.5535995726		6.0048224445		6.0048224445		60.0482244448		47.52		469.8		1261.5		19425.040268806





MC DESIGN OF MANA

		

						MAIIN CANAL		FC														1.27

						Canal Type		No of TC		Length of canal		net comand area (ha)		Design duty (l/s/ha)		Canal design capacity		adopted Q, l/s		irrigation days /days		irrigation/week

						MC-1		1		2600		115.9		1.77		205.143		220		7		126

						SC1		2		300		11.1		1.77		19.647		20		0.67		12.07

						SC2		2		400		6.7		1.77		11.859		15		0.40		7.28		0.13

						SC3		2		450		13		1.77		23.01		25		0.79		14.13		0.006

						SC4		5		840		71.6		1.77		126.732		130		4.32		77.84		0.01

						TC-1-1-1		1		320		8.4		1.77		14.868		15		0.51		9.13		0.015

						TC-1-1-2		1		400		2.75		1.77		4.8675		5		0.17		2.99		0.025

						TC-1-2-3		1		120		3.4		1.77		6.018		6		0.21		3.70		0.015

						TC-1-2-4		1		280		3.3		1.77		5.841		6		0.20		3.59		0.015				15

						TC-1-3-5		1		200		6		1.77		10.62		10		0.36		6.52		0.025				15

						TC-1-3-6		1		250		7		1.77		12.39		15		0.42		7.61		0.025				25

						TC-7-1-		1		280		13		1.77		23.01		25		0.79		14.13		0.025				25

						TC-1-4-8		1		420		8.8		1.77		15.576		15		0.53		9.57		0				25

						TC-1-4-9		1		400		7.3		1.77		12.921		15		0.44		7.94		0				105

						TC-1-4-10		1		300		14		1.77		24.78		25		0.85		15.22		0

						TC-1-4-11		1		280		13.7		1.77		24.249		25		0.83		14.89		0

						TC-1-4-12		1		360		12.4		1.77		21.948		25		0.75		13.48		0

						CANAL CHARACTERISTICS

						chainage		Length ,m		Desing slope,S		description		section

						0+0-0+2587(MC1)		2600		0.001		canal

						MC+420-+300(SC1)		300		0.020		canal

						MC+1540-0+400(SC2)		400		0.030		canal

						MC+1870-0+450		450		0.030		canal

						MC+2587-0+840(SC4)		840		0.020		canal

						Canal design spreadsheet

						ALL CANALS				MC-0-300,836-1700		MC 300-836,1700-2587		SC 1		SC2		SC3		SC 4		TC1-1-1		TC2-1-1		TC3-2 -1		TC4-2  -1		TC5-3-1		TC6-3-1		TC7-1		TC 8-4-1		TC 9-4-1		TC 10-4-1		TC-11-4-1		TC12-4-1

						Given value				(LINED  CANAL MC)		(EATHEN CANAL)

						Design discharge ,Q		Q		0.22		0.22		0.02		0.015		0.025		0.13		0.015		0.005		0.006		0.006		0.01		0.015		0.025		0.015		0.015		0.025		0.025		0.025

						Bed width to depth ratio (b/d)		K		1		1		1		1		1		1		1		1		1		1		1		1		1		1		1		1		1		1

						Side slope ,Z		Z		0		1		1		1		1		0		1		1		1		1		1		1		1		1		1		1		1		1

						Manning's roughness, n		n		0.018		0.03		0.03		0.03		0.03		0.018		0.03		0.03		0.03		0.03		0.03		0.03		0.03		0.03		0.03		0.03		0.03		0.03

						Longitudinal slope, S		S		0.001		0.001		0.016		0.016		0.014		0.002		0.02		0.008		0.015		0.0125		0.016		0.016		0.004		0.004		0.003		0.008		0.008		0.008

						Intermediate calculation

						k1				1		2		2		2		1		1		2		2		2		2		2		2		2		2		2		2		2		2

						k2				3.000		3.828		3.8284271247		3.8284271247		3.8284271247		3		3.8284271247		3.8284271247		3.8284271247		3.8284271247		3.8284271247		3.8284271247		3.8284271247		3.828		3.828		3.828		3.828		3.828

						k3				0.481		0.649		0.6486440033		0.6486440033		0.4086201168		0.4807498568		0.6486440033		0.6486440033		0.6486440033		0.6486440033		0.6486440033		0.6486440033		0.6486440033		0.6486440033		0.6486440033		0.6486440033		0.6486440033		0.6486440033

						k4				26.708		43.243		43.2429335521		43.2429335521		13.6206705604		26.7083253761		43.2429335521		43.2429335521		43.2429335521		43.2429335521		43.2429335521		43.2429335521		43.2429335521		43.2429335521		43.2429335521		43.2429335521		43.2429335521		43.2429335521

						Final result

						water depth, d				0.60		0.50		0.12		0.11		0.21		0.44		0.10		0.08		0.08		0.08		0.09		0.11		0.17		0.14		0.15		0.15		0.15		0.15

						bed width, b				0.60		0.50		0.12		0.11		0.21		0.44		0.10		0.08		0.08		0.08		0.09		0.11		0.17		0.14		0.15		0.15		0.15		0.15

						Area				0.36		0.51		0.03		0.02		0.04		0.19		0.02		0.01		0.01		0.01		0.02		0.02		0.06		0.04		0.04		0.05		0.05		0.05

						Wetted perimeter				1.81		1.93		0.47		0.42		0.80		1.31		0.40		0.32		0.30		0.31		0.36		0.42		0.66		0.54		0.57		0.58		0.58		0.58

						R2/3				0.34		0.41		0.16		0.15		0.14		0.28		0.14		0.12		0.12		0.12		0.13		0.15		0.20		0.18		0.18		0.18		0.18		0.18

						Hydraulic radius		R		0.20		0.26		0.06		0.06		0.05		0.15		0.05		0.04		0.04		0.04		0.05		0.06		0.09		0.07		0.08		0.08		0.08		0.08

						Velocity, v		Q/A		0.60		0.43		0.67		0.63		0.57		0.69		0.68		0.37		0.49		0.45		0.57		0.63		0.42		0.37		0.33		0.55		0.55		0.55

						Check the discharge				0.22		0.22		0.02		0.02		0.03		0.13		0.02		0.01		0.01		0.01		0.01		0.02		0.03		0.02		0.02		0.03		0.03		0.03

						Canal Discharge capacity				0.22		0.22		0.02		0.02		0.03		0.13		0.02		0.01		0.01		0.01		0.01		0.02		0.03		0.02		0.02		0.03		0.03		0.03

						Free board

						Total depth				0.60		0.50		0.12		0.11		0.21		0.44		0.10		0.08		0.08		0.08		0.09		0.11		0.17		0.14		0.15		0.15		0.15		0.15

						Adopted, depth, d				0.60		0.60		0.35		0.35		0.35		0.40		0.30		0.30		0.30		0.30		0.30		0.30		0.30		0.30		0.30		0.30		0.30		0.30

						Adopted, Bed width b				0.70		0.70		0.30		0.30		0.30		0.40		0.30		0.30		0.30		0.30		0.30		0.30		0.30		0.30		0.30		0.30		0.30		0.30

						FOR REPORT

						Prameters		MC-0-300,836-1700		MC 300-836,1700-2587		SC 1		SC2		SC3		SC 4		TC1-1-1

								(LINED  CANAL MC)		(EATHEN CANAL)

						Design discharge ,Q		0.22		0.22		0.02		0.015		0.025		0.13		0.015

						Bed width to depth ratio (b/d)		1		1		1		1		1		1		1

						Side slope ,Z		0		1		1		1		1		0		1

						Manning's roughness, n		0.018		0.03		0.03		0.03		0.03		0.018		0.03

						Longitudinal slope, S		0.001		0.001		0.016		0.016		0.014		0.002		0.02

						water depth, d		0.604		0.504		0.122		0.109		0.210		0.435		0.105

						bed width, b		0.604		0.504		0.122		0.1094696034		0.2096544395		0.4353044792		0.104983952

						Area		0.365		0.508		0.030		0.0239671881		0.043954984		0.1894899896		0.0220432604																Prameters		MC-0-150		MC 150-600				Prameters		Design discharge ,Q		Bed width to depth ratio (b/d)		Side slope ,Z		Manning's roughness, n		Longitudinal slope, S		water depth, d		bed width, b		Area		Wetted perimeter		Hydraulic radius		Velocity, v		Canal Discharge capacity		Free board		Total depth		Adopted, depth, d		Adopted, Bed width b

						Wetted perimeter		1.811		1.930		0.467		0.419		0.803		1.306		0.4019234096																Design discharge ,Q		0.085		0.085				MC-0-150		0.085		1.000		0.000		0.018		0.001		0.423		0.423		0.179		1.268		0.141		0.476		0.085		0.150		0.500		0.500		0.500

						Hydraulic radius		0.201		0.263		0.064		0.057		0.055		0.145		0.0548444302																Bed width to depth ratio (b/d)		1		1				MC 150-600		0.085		1.000		0.000		0.018		0.002		0.371		0.371		0.138		1.114		0.124		0.617		0.085		0.150		0.500		0.500		0.500

						Velocity, v		0.603		0.433		0.673		0.626		0.569		0.686		0.6804800993																Side slope ,Z		0		0

						Canal Discharge capacity		0.220		0.220		0.020		0.015		0.025		0.130		0.015																						Manning's roughness, n				0.018		0.018								Manning's roughness, n		0.018		0.018

						Total depth		0.604		0.504		0.122		0.109		0.210		0.435		0.104983952																						water depth, d				0.4227071562		0.3711901781								water depth, d		0.4227071562		0.3711901781

						Adopted, depth, d		0.60		0.600		0.350		0.350		0.350		0.400		0.3																						bed width, b				0.4227071562		0.3711901781								bed width, b		0.4227071562		0.3711901781

						Adopted, Bed width b		0.700		0.700		0.300		0.300		0.300		0.400		0.3																						Area				0.1786813399		0.1377821483								Area		0.1786813399		0.1377821483

						Prameters		TC1-1-2		TC1-2 -3		TC1-2  -4		TC1-3-5		TC1-3-6		TC1-7		TC 1-4-8		TC 1-4-9		TC 1-4-10		TC-1-4-11		TC1-4-12																		Hydraulic radius				0.1409023854		0.1237300594								Hydraulic radius		0.1409023854		0.1237300594

						Design discharge ,Q		0.005		0.006		0.006		0.010		0.015		0.025		0.015		0.015		0.025		0.025		0.025																		Velocity, v				0.4757072006		0.6169159142								Velocity, v		0.4757072006		0.6169159142

						Bed width to depth ratio (b/d)		1.00		1.00		1.00		1.00		1.00		1.00		1.00		1.00		1.00		1.00		1																		Canal Discharge capacity				0.085		0.085								Canal Discharge capacity		0.085		0.085

						Side slope ,Z		1.00		1.00		1.00		1.00		1.00		1.00		1.00		1.00		1.00		1.00		1																		Free board				0.15		0.15								Free board		0.15		0.15

						Manning's roughness, n		0.03		0.03		0.03		0.03		0.03		0.03		0.03		0.03		0.03		0.03		0.03																		Total depth				0.5727071562		0.5211901781								Total depth		0.5727071562		0.5211901781

						Longitudinal slope, S		0.01		0.02		0.01		0.02		0.02		0.00		0.00		0.00		0.01		0.01		0.008																		Adopted, depth, d				0.5		0.5								Adopted, depth, d		0.5		0.5

						water depth, d		0.08		0.08		0.08		0.09		0.11		0.17		0.14		0.15		0.15		0.15		0.15																		Adopted, Bed width b				0.5		0.5								Adopted, Bed width b		0.5		0.5

						bed width, b		0.08		0.08		0.08		0.09		0.11		0.17		0.14		0.15		0.15		0.15		0.15																																																																								Prameters		SC 0-100		SC 100-130		SC 130-160		SC 160-300		SC 300-440		SC 440-830		SC 830-1720

						Area		0.01		0.01		0.01		0.02		0.02		0.06		0.04		0.04		0.05		0.05		0.05																																																																								Design discharge ,Q		0.085		0.085		0.085		0.085		0.085		0.085		0.085

						Wetted perimeter		0.32		0.30		0.31		0.36		0.42		0.66		0.54		0.57		0.58		0.58		0.58																																																																								Bed width to depth ratio (b/d)		1.000		1.000		1.000		1.000		1.000		1.000		1.000

						Hydraulic radius		0.04		0.04		0.04		0.05		0.06		0.09		0.07		0.08		0.08		0.08		0.08																																								Canal Type		No of TC		Length of canal		net command are (ha)		Design duty (l/s/ha)		Canal design capacity		adopted Q, l/s																				Side slope ,Z		0.000		0.000		0.000		0.000		0.000		0.000		0.000

						Velocity, v		0.37		0.49		0.45		0.57		0.63		0.42		0.37		0.33		0.55		0.55		0.55																																								MC-1		1		600		54.97		1.47		80.8059		95																				Manning's roughness, n		0.018		0.018		0.018		0.018		0.018		0.018		0.018

						Canal Discharge capacity		0.01		0.01		0.01		0.01		0.02		0.03		0.02		0.02		0.03		0.03		0.03																																								MC2		1		1720		54.97		1.47		80.8059		Manning's roughness, n		Longitudinal slope, S		water depth, d						bed width, b		Area								Longitudinal slope, S		0.001		0.002		0.020		0.008		0.100		0.013		0.010

						Total depth		0.08		0.08		0.08		0.09		0.11		0.17		0.14		0.15		0.15		0.15		0.1509836604																																								TC-1-1-2		1		430		11.12		1.47		16.3464		0.02		0.00		0.60						0.60		0.36								bed width, b		0.423		0.371		0.241		0.286		0.178		0.263		0.274

						Adopted, depth, d		0.30		0.30		0.30		0.30		0.30		0.30		0.30		0.30		0.30		0.30		0.30																																								TC-1-1-3		1		230		11.44		1.47		16.8168																						Area		0.179		0.138		0.058		0.082		0.032		0.069		0.075

						Adopted, Bed width b		0.30		0.30		0.30		0.30		0.30		0.30		0.30		0.30		0.30		0.30		0.3																																								TC 1-1-4		1		140		6.3		1.47		9.261		50																				Wetted perimeter		1.268		1.114		0.723		0.859		0.535		0.790		0.823

																																																																				TC1-1-5		1		290		7.6		1.47		11.172		30																				Hydraulic radius		0.141		0.124		0.080		0.095		0.059		0.088		0.091

																																																																				TC1-1-6		1		130		6.7		1.47		9.849		30																				Free board		Total depth		Adopted, depth, d		Adopted, Bed width b		1.038		2.675		1.227		1.128

																						0.15		0.15		0.15		0.15								Wetted perimeter		Hydraulic radius		Velocity, v		Canal Discharge capacity																										TC 1-1-7		1		90		4		1.47		5.88		15																				0		0.6038318383		0.6038318383		0.7		0.085		0.085		0.085		0.085

																						0.3		0.3		0.3		0.3								1.81		0.20		0.60		0.22																										TC 1-1-8		1		50		3		1.47		4.41		15																				Free board		0.150		0.150		0.150		0.150		0.150		0.150		0.150

																Prameters		TC 1-1-3		Prameters		0.3		0.3		0.3		0.3																																																																								Total depth		0.573		0.521		0.391		0.436		0.328		0.413		0.424

																Design discharge ,Q		0.020		Design discharge ,Q		TC1-1-5										Prameters																																																																		Adopted, depth, d		0.500		0.400		0.400		0.400		0.400		0.400		0.400

																Bed width to depth ratio (b/d)		1.000		Bed width to depth ratio (b/d)		0.015										Design discharge ,Q																																																																		Adopted, Bed width b		0.500		0.350		0.350		0.350		0.350		0.350		0.350

																Side slope ,Z		0.000		Side slope ,Z		1.000										Bed width to depth ratio (b/d)

																Manning's roughness, n		0.018		Manning's roughness, n		0.000										Side slope ,Z

																Longitudinal slope, S		0.008		Longitudinal slope, S		0.018										Manning's roughness, n

																water depth, d		0.139		water depth, d		0.008										Longitudinal slope, S

																bed width, b		0.139		bed width, b		0.125										water depth, d														Prameters		TC-1-1-1		TC-1-1-2		TC-1-1-3		TC 1-1-4		TC-1-1-5		TC-1-1-6		TC-1-1-7		TC 1-1-8

																		Area		0.039		0.125										bed width, b														Design discharge ,Q		0.020		0.020		0.020		0.015		0.015		0.015		0.015		0.015

																		Wetted perimeter		0.532		Area		0.031										Area												Bed width to depth ratio (b/d)		1.000		1.000		1.000		1.000		1.000		1.000		1.000		1.000										Branching parent canal name		No of FC		chainage  (0+…….)		turnout dimensions

																		Hydraulic radius		0.073		Wetted perimeter		0.477										Wetted perimeter		TC1-1-6										Side slope ,Z		0.000		0.000		0.000		0.000		0.000		0.000		0.000		0.000																bed width		depth

																		Velocity, v		0.519		Hydraulic radius		0.065										Hydraulic radius		0.015		Prameters		TC-1-1-4						Manning's roughness, n		0.018		0.018		0.018		0.018		0.018		0.018		0.018		0.018										TC-1-1-1		2		5,150		equal to TC bed width		equal to TC depth

																		Canal Discharge capacity		0.020		Velocity, v		0.483										Velocity, v		1.000		Design discharge ,Q		0.015						Longitudinal slope, S		0.003		0.003		0.008		0.008		0.008		0.008		0.008		0.008										TC-1-1-2		2		5,200		equal to TC bed width		equal to TC depth

																		Free board		0.150		Canal Discharge capacity		0.015										Canal Discharge capacity		0.000		Bed width to depth ratio (b/d)		1.000						water depth, d		0.200		0.200		0.139		0.125		0.125		0.125		0.125		0.125										TC-1-1-3		2		5,115		equal to TC bed width		equal to TC depth

																		Total depth		0.289		Free board		0.150										Free board		0.018		Side slope ,Z		0.000						bed width, b		0.200		0.200		0.139		0.125		0.125		0.125		0.125		0.125										TC1-1-4		1		10		equal to TC bed width		equal to TC depth

																		Adopted, depth, d		0.350		Total depth		0.275										Total depth		0.008		Manning's roughness, n		0.018						Area		0.040		0.040		0.039		0.031		0.031		0.031		0.031		0.031										TC1-1-5		1		10,180		equal to TC bed width		equal to TC depth

																		Adopted, Bed width b		0.300		Adopted, depth, d		0.350										Adopted, depth, d		0.125		Longitudinal slope, S		0.008						Wetted perimeter		0.600		0.600		0.532		0.477		0.477		0.477		0.477		0.477										TC1-1-6		1		10		equal to TC bed width		equal to TC depth

																						Adopted, Bed width b		0.300										Adopted, Bed width b		0.125		water depth, d		0.125						Hydraulic radius		0.067		0.067		0.073		0.065		0.065		0.065		0.065		0.065										TC 1-1-7		1		10		equal to TC bed width		equal to TC depth

																																						0.031		bed width, b		0.125						Velocity, v		0.500		0.500		0.519		0.483		0.483		0.483		0.483		0.483										TC 1-1-8		1		10		equal to TC bed width		equal to TC depth

						Prameters		TC 1-1-1				Prameters																										0.477		Area		0.031						Canal Discharge capacity		0.020		0.020		0.020		0.015		0.015		0.015		0.015		0.015										MC2		2		780		equal to TC bed width		equal to TC depth

						Design discharge ,Q		0.020				Design discharge ,Q																										0.065		Wetted perimeter		0.477						Free board		0.150		0.150		0.150		0.150		0.150		0.150		0.150		0.150										MC2		2		1720		equal to TC bed width		equal to TC depth

						Bed width to depth ratio (b/d)		1.000				Bed width to depth ratio (b/d)																										0.483		Hydraulic radius		0.065						Total depth		0.350		0.350		0.289		0.275		0.275		0.275		0.275		0.275

						Side slope ,Z		0.000				Side slope ,Z		TC 1-1-2																								0.015		Velocity, v		0.483						Adopted, depth, d		0.350		0.350		0.350		0.350		0.350		0.350		0.350		0.350

						Manning's roughness, n		0.018				Manning's roughness, n		0.020																								0.150		Canal Discharge capacity		0.015						Adopted, Bed width b		0.300		0.300		0.300		0.300		0.300		0.300		0.300		0.300

						Longitudinal slope, S		0.003				Longitudinal slope, S		1.000																								0.275		Free board		0.150

						water depth, d		0.200				water depth, d		0.000																								0.350		Total depth		0.275

						bed width, b		0.200				bed width, b		0.018																								0.300		Adopted, depth, d		0.350																												Canal Type		No of FC		Length of canal		net command are (ha)		adopted Q, l/s		FC capacity selected (l/s)

						Area		0.040				Area		0.003																										Adopted, Bed width b		0.300																												TC-1-1-1		2		100		6		20		10

						Wetted perimeter		0.600				Wetted perimeter		0.200																																																								TC-1-1-2		2		250		11		20		10

						Hydraulic radius		0.067				Hydraulic radius		0.200																																																								TC-1-1-3		2		300		5		20		10

						Velocity, v		0.500				Velocity, v		0.040																																																								TC1-1-4		1		100		6		15		10

						Canal Discharge capacity		0.020				Canal Discharge capacity		0.600																																																								TC1-1-5		1		150		6		15		10

						Free board		0.150				Free board		0.067																																																								TC1-1-6		1		150		5		15		10

						Total depth		0.350				Total depth		0.500																																																								TC 1-1-7		1		150		6		15		10

						Adopted, depth, d		0.350				Adopted, depth, d		0.020																																																								TC 1-1-8		1		150		4		15		10

						Adopted, Bed width b		0.300				Adopted, Bed width b		0.150																																																								MC2		2		150		5		15		10

														0.350																																																								MC2		2		150		5		15		10

														0.350

														0.300

						Prameters		TC 1-1-2				Prameters

						Design discharge ,Q		0.271				Design discharge ,Q

						Bed width to depth ratio (b/d)		0.274				Bed width to depth ratio (b/d)

						Side slope ,Z		0.278				Side slope ,Z		TC 1-1-3

						Manning's roughness, n		0.282				Manning's roughness, n		0.271

						Longitudinal slope, S		0.286				Longitudinal slope, S		0.274

						water depth, d		0.290				water depth, d		0.278

						bed width, b		0.293				bed width, b		0.282

						Area		0.297				Area		0.286

						Wetted perimeter		0.301				Wetted perimeter		0.290

						Hydraulic radius		0.305				Hydraulic radius		0.293

						Velocity, v		0.308				Velocity, v		0.297

						Canal Discharge capacity		0.312				Canal Discharge capacity		0.301

						Free board		0.316				Free board		0.305

						Total depth		0.320				Total depth		0.308

						Adopted, depth, d		0.324				Adopted, depth, d		0.312

						Adopted, Bed width b		0.327				Adopted, Bed width b		0.316

														0.320

														0.324

														0.327

						Prameters		TC 1-1-3				Prameters

						Design discharge ,Q		0.331				Design discharge ,Q

						Bed width to depth ratio (b/d)		0.335				Bed width to depth ratio (b/d)

						Side slope ,Z		0.339				Side slope ,Z		TC 1-1-4

						Manning's roughness, n		0.342				Manning's roughness, n		0.331

						Longitudinal slope, S		0.346				Longitudinal slope, S		0.335

						water depth, d		0.350				water depth, d		0.339

						bed width, b		0.354				bed width, b		0.342

						Area		0.358				Area		0.346

						Wetted perimeter		0.361				Wetted perimeter		0.350

						Hydraulic radius		0.365				Hydraulic radius		0.354

						Velocity, v		0.369				Velocity, v		0.358

						Canal Discharge capacity		0.373				Canal Discharge capacity		0.361

						Free board		0.376				Free board		0.365

						Total depth		0.380				Total depth		0.369

						Adopted, depth, d		0.384				Adopted, depth, d		0.373

						Adopted, Bed width b		0.388				Adopted, Bed width b		0.376

														0.380

														0.384

														0.388

						Prameters		TC 1-1-4				Prameters

						Design discharge ,Q		0.392				Design discharge ,Q

						Bed width to depth ratio (b/d)		0.395				Bed width to depth ratio (b/d)

						Side slope ,Z		0.399				Side slope ,Z		TC 1-1-5

						Manning's roughness, n		0.403				Manning's roughness, n		0.392

						Longitudinal slope, S		0.407				Longitudinal slope, S		0.395

						water depth, d		0.410				water depth, d		0.399

						bed width, b		0.414				bed width, b		0.403

						Area		0.418				Area		0.407

						Wetted perimeter		0.422				Wetted perimeter		0.410

						Hydraulic radius		0.426				Hydraulic radius		0.414

						Velocity, v		0.429				Velocity, v		0.418

						Canal Discharge capacity		0.433				Canal Discharge capacity		0.422

						Free board		0.437				Free board		0.426

						Total depth		0.441				Total depth		0.429

						Adopted, depth, d		0.444				Adopted, depth, d		0.433

						Adopted, Bed width b		0.448				Adopted, Bed width b		0.437

														0.441

														0.444

														0.448

						Prameters		TC 1-1-5				Prameters

						Design discharge ,Q		0.452				Design discharge ,Q

						Bed width to depth ratio (b/d)		0.456				Bed width to depth ratio (b/d)

						Side slope ,Z		0.460				Side slope ,Z		TC 1-1-6

						Manning's roughness, n		0.463				Manning's roughness, n		0.452

						Longitudinal slope, S		0.467				Longitudinal slope, S		0.456

						water depth, d		0.471				water depth, d		0.460

						bed width, b		0.475				bed width, b		0.463

						Area		0.478				Area		0.467

						Wetted perimeter		0.482				Wetted perimeter		0.471

						Hydraulic radius		0.486				Hydraulic radius		0.475

						Velocity, v		0.490				Velocity, v		0.478

						Canal Discharge capacity		0.493				Canal Discharge capacity		0.482

						Free board		0.497				Free board

						Total depth		0.501				Total depth

						Adopted, depth, d		0.505				Adopted, depth, d

						Adopted, Bed width b		0.509				Adopted, Bed width b

																Prameters

																Design discharge ,Q

																Bed width to depth ratio (b/d)

																Side slope ,Z

																Manning's roughness, n

																Longitudinal slope, S

																water depth, d

																bed width, b

						Prameters		TC 1-1-2				Prameters

						Design discharge ,Q		0.271				Design discharge ,Q

						Bed width to depth ratio (b/d)		0.274				Bed width to depth ratio (b/d)

						Side slope ,Z		0.278				Side slope ,Z		TC 1-1-3

						Manning's roughness, n		0.282				Manning's roughness, n		0.271

						Longitudinal slope, S		0.286				Longitudinal slope, S		0.274

						water depth, d		0.290				water depth, d		0.278

						bed width, b		0.293				bed width, b		0.282

						Area		0.297				Area		0.286

						Wetted perimeter		0.301				Wetted perimeter		0.290

						Hydraulic radius		0.305				Hydraulic radius		0.293

						Velocity, v		0.308				Velocity, v		0.297

						Canal Discharge capacity		0.312				Canal Discharge capacity		0.301

						Free board		0.316				Free board		0.305

						Total depth		0.320				Total depth		0.308

						Adopted, depth, d		0.324				Adopted, depth, d		0.312

						Adopted, Bed width b		0.327				Adopted, Bed width b		0.316

														0.320

														0.324

														0.327

						Prameters		TC 1-1-3				Prameters

						Design discharge ,Q		0.331				Design discharge ,Q

						Bed width to depth ratio (b/d)		0.335				Bed width to depth ratio (b/d)

						Side slope ,Z		0.339				Side slope ,Z		TC 1-1-4

						Manning's roughness, n		0.342				Manning's roughness, n		0.331

						Longitudinal slope, S		0.346				Longitudinal slope, S		0.335

						water depth, d		0.350				water depth, d		0.339

						bed width, b		0.354				bed width, b		0.342

						Area		0.358				Area		0.346

						Wetted perimeter		0.361				Wetted perimeter		0.350

						Hydraulic radius		0.365				Hydraulic radius		0.354

						Velocity, v		0.369				Velocity, v		0.358

						Canal Discharge capacity		0.373				Canal Discharge capacity		0.361

						Free board		0.376				Free board		0.365

						Total depth		0.380				Total depth		0.369

						Adopted, depth, d		0.384				Adopted, depth, d		0.373

						Adopted, Bed width b		0.388				Adopted, Bed width b		0.376

														0.380

														0.384

														0.388

						Prameters		TC 1-1-4				Prameters

						Design discharge ,Q		0.392				Design discharge ,Q

						Bed width to depth ratio (b/d)		0.395				Bed width to depth ratio (b/d)

						Side slope ,Z		0.399				Side slope ,Z		TC 1-1-5

						Manning's roughness, n		0.403				Manning's roughness, n		0.392

						Longitudinal slope, S		0.407				Longitudinal slope, S		0.395

						water depth, d		0.410				water depth, d		0.399

						bed width, b		0.414				bed width, b		0.403

						Area		0.418				Area		0.407

						Wetted perimeter		0.422				Wetted perimeter		0.410

						Hydraulic radius		0.426				Hydraulic radius		0.414

						Velocity, v		0.429				Velocity, v		0.418

						Canal Discharge capacity		0.433				Canal Discharge capacity		0.422

						Free board		0.437				Free board		0.426

						Total depth		0.441				Total depth		0.429

						Adopted, depth, d		0.444				Adopted, depth, d		0.433

						Adopted, Bed width b		0.448				Adopted, Bed width b		0.437

														0.441

														0.444

														0.448

						Prameters		TC 1-1-5				Prameters

						Design discharge ,Q		0.452				Design discharge ,Q

						Bed width to depth ratio (b/d)		0.456				Bed width to depth ratio (b/d)

						Side slope ,Z		0.460				Side slope ,Z		TC 1-1-6

						Manning's roughness, n		0.463				Manning's roughness, n		0.452

						Longitudinal slope, S		0.467				Longitudinal slope, S		0.456

						water depth, d		0.471				water depth, d		0.460

						bed width, b		0.475				bed width, b		0.463

						Area		0.478				Area		0.467

						Wetted perimeter		0.482				Wetted perimeter		0.471

						Hydraulic radius		0.486				Hydraulic radius		0.475

						Velocity, v		0.490				Velocity, v		0.478

						Canal Discharge capacity		0.493				Canal Discharge capacity		0.482

						Free board		0.497				Free board		0.486

						Total depth		0.501				Total depth		0.490

						Adopted, depth, d		0.505				Adopted, depth, d		0.493

						Adopted, Bed width b		0.509				Adopted, Bed width b		0.497

														0.501

														0.505

														0.509

						Prameters		TC 1-1-6				Prameters

						Design discharge ,Q		0.512				Design discharge ,Q

						Bed width to depth ratio (b/d)		0.516				Bed width to depth ratio (b/d)

						Side slope ,Z		0.520				Side slope ,Z		TC 1-1-7

						Manning's roughness, n		0.524				Manning's roughness, n		0.486

						Longitudinal slope, S		0.527				Longitudinal slope, S		0.490

						water depth, d		0.531				water depth, d		0.493

						bed width, b		0.535				bed width, b		0.497

						Area		0.539				Area		0.501

						Wetted perimeter		0.543				Wetted perimeter		0.505

						Hydraulic radius		0.546				Hydraulic radius		0.509

						Velocity, v		0.550				Velocity, v		0.512

						Canal Discharge capacity		0.554				Canal Discharge capacity		0.516

						Free board		0.558				Free board

						Total depth		0.561				Total depth

						Adopted, depth, d		0.565				Adopted, depth, d

						Adopted, Bed width b		0.569				Adopted, Bed width b

																Prameters

																Design discharge ,Q

																Bed width to depth ratio (b/d)

																Side slope ,Z

																Manning's roughness, n

																Longitudinal slope, S

																water depth, d

																bed width, b

						Prameters		TC 1-1-3				Prameters

						Design discharge ,Q		0.331				Design discharge ,Q

						Bed width to depth ratio (b/d)		0.335				Bed width to depth ratio (b/d)

						Side slope ,Z		0.339				Side slope ,Z		TC 1-1-4

						Manning's roughness, n		0.342				Manning's roughness, n		0.331

						Longitudinal slope, S		0.346				Longitudinal slope, S		0.335

						water depth, d		0.350				water depth, d		0.339

						bed width, b		0.354				bed width, b		0.342

						Area		0.358				Area		0.346

						Wetted perimeter		0.361				Wetted perimeter		0.350

						Hydraulic radius		0.365				Hydraulic radius		0.354

						Velocity, v		0.369				Velocity, v		0.358

						Canal Discharge capacity		0.373				Canal Discharge capacity		0.361

						Free board		0.376				Free board		0.365

						Total depth		0.380				Total depth		0.369

						Adopted, depth, d		0.384				Adopted, depth, d		0.373

						Adopted, Bed width b		0.388				Adopted, Bed width b		0.376

														0.380

														0.384

														0.388

						Prameters		TC 1-1-4				Prameters

						Design discharge ,Q		0.392				Design discharge ,Q

						Bed width to depth ratio (b/d)		0.395				Bed width to depth ratio (b/d)

						Side slope ,Z		0.399				Side slope ,Z		TC 1-1-5

						Manning's roughness, n		0.403				Manning's roughness, n		0.392

						Longitudinal slope, S		0.407				Longitudinal slope, S		0.395

						water depth, d		0.410				water depth, d		0.399

						bed width, b		0.414				bed width, b		0.403

						Area		0.418				Area		0.407

						Wetted perimeter		0.422				Wetted perimeter		0.410

						Hydraulic radius		0.426				Hydraulic radius		0.414

						Velocity, v		0.429				Velocity, v		0.418

						Canal Discharge capacity		0.433				Canal Discharge capacity		0.422

						Free board		0.437				Free board		0.426

						Total depth		0.441				Total depth		0.429

						Adopted, depth, d		0.444				Adopted, depth, d		0.433

						Adopted, Bed width b		0.448				Adopted, Bed width b		0.437

														0.441

														0.444

														0.448

						Prameters		TC 1-1-5				Prameters

						Design discharge ,Q		0.452				Design discharge ,Q

						Bed width to depth ratio (b/d)		0.456				Bed width to depth ratio (b/d)

						Side slope ,Z		0.460				Side slope ,Z		TC 1-1-6

						Manning's roughness, n		0.463				Manning's roughness, n		0.452

						Longitudinal slope, S		0.467				Longitudinal slope, S		0.456

						water depth, d		0.471				water depth, d		0.460

						bed width, b		0.475				bed width, b		0.463

						Area		0.478				Area		0.467

						Wetted perimeter		0.482				Wetted perimeter		0.471

						Hydraulic radius		0.486				Hydraulic radius		0.475

						Velocity, v		0.490				Velocity, v		0.478

						Canal Discharge capacity		0.493				Canal Discharge capacity		0.482

						Free board		0.497				Free board		0.486

						Total depth		0.501				Total depth		0.490

						Adopted, depth, d		0.505				Adopted, depth, d		0.493

						Adopted, Bed width b		0.509				Adopted, Bed width b		0.497

														0.501

														0.505

														0.509

						Prameters		TC 1-1-6				Prameters

						Design discharge ,Q		0.512				Design discharge ,Q

						Bed width to depth ratio (b/d)		0.516				Bed width to depth ratio (b/d)

						Side slope ,Z		0.520				Side slope ,Z		TC 1-1-7

						Manning's roughness, n		0.524				Manning's roughness, n		0.512

						Longitudinal slope, S		0.527				Longitudinal slope, S		0.516

						water depth, d		0.531				water depth, d		0.520

						bed width, b		0.535				bed width, b		0.524

						Area		0.539				Area		0.527

						Wetted perimeter		0.543				Wetted perimeter		0.531

						Hydraulic radius		0.546				Hydraulic radius		0.535

						Velocity, v		0.550				Velocity, v		0.539

						Canal Discharge capacity		0.554				Canal Discharge capacity		0.543

						Free board		0.558				Free board		0.546

						Total depth		0.561				Total depth		0.550

						Adopted, depth, d		0.565				Adopted, depth, d		0.554

						Adopted, Bed width b		0.569				Adopted, Bed width b		0.558

														0.561

														0.565

														0.569

						Prameters		TC 1-1-7				Prameters

						Design discharge ,Q		0.573				Design discharge ,Q

						Bed width to depth ratio (b/d)		0.577				Bed width to depth ratio (b/d)

						Side slope ,Z		0.580				Side slope ,Z		TC 1-1-8

						Manning's roughness, n		0.584				Manning's roughness, n		0.520

						Longitudinal slope, S		0.588				Longitudinal slope, S		0.524

						water depth, d		0.592				water depth, d		0.527

						bed width, b		0.595				bed width, b		0.531

						Area		0.599				Area		0.535

						Wetted perimeter		0.603				Wetted perimeter		0.539

						Hydraulic radius		0.607				Hydraulic radius		0.543

						Velocity, v		0.611				Velocity, v		0.546

						Canal Discharge capacity		0.614				Canal Discharge capacity		0.550

						Free board		0.618				Free board

						Total depth		0.622				Total depth

						Adopted, depth, d		0.626				Adopted, depth, d

						Adopted, Bed width b		0.629				Adopted, Bed width b

																Prameters

																Design discharge ,Q

																Bed width to depth ratio (b/d)

																Side slope ,Z

																Manning's roughness, n

																Longitudinal slope, S

																water depth, d

																bed width, b

						Prameters		TC 1-1-4				Prameters

						Design discharge ,Q		0.392				Design discharge ,Q

						Bed width to depth ratio (b/d)		0.395				Bed width to depth ratio (b/d)

						Side slope ,Z		0.399				Side slope ,Z		TC 1-1-5

						Manning's roughness, n		0.403				Manning's roughness, n		0.392

						Longitudinal slope, S		0.407				Longitudinal slope, S		0.395

						water depth, d		0.410				water depth, d		0.399

						bed width, b		0.414				bed width, b		0.403

						Area		0.418				Area		0.407

						Wetted perimeter		0.422				Wetted perimeter		0.410

						Hydraulic radius		0.426				Hydraulic radius		0.414

						Velocity, v		0.429				Velocity, v		0.418

						Canal Discharge capacity		0.433				Canal Discharge capacity		0.422

						Free board		0.437				Free board		0.426

						Total depth		0.441				Total depth		0.429

						Adopted, depth, d		0.444				Adopted, depth, d		0.433

						Adopted, Bed width b		0.448				Adopted, Bed width b		0.437

														0.441

														0.444

														0.448

						Prameters		TC 1-1-5				Prameters

						Design discharge ,Q		0.452				Design discharge ,Q

						Bed width to depth ratio (b/d)		0.456				Bed width to depth ratio (b/d)

						Side slope ,Z		0.460				Side slope ,Z		TC 1-1-6

						Manning's roughness, n		0.463				Manning's roughness, n		0.452

						Longitudinal slope, S		0.467				Longitudinal slope, S		0.456

						water depth, d		0.471				water depth, d		0.460

						bed width, b		0.475				bed width, b		0.463

						Area		0.478				Area		0.467

						Wetted perimeter		0.482				Wetted perimeter		0.471

						Hydraulic radius		0.486				Hydraulic radius		0.475

						Velocity, v		0.490				Velocity, v		0.478

						Canal Discharge capacity		0.493				Canal Discharge capacity		0.482

						Free board		0.497				Free board		0.486

						Total depth		0.501				Total depth		0.490

						Adopted, depth, d		0.505				Adopted, depth, d		0.493

						Adopted, Bed width b		0.509				Adopted, Bed width b		0.497

														0.501

														0.505

														0.509





Sheet1

		

				Prameters		SC 1		Prameters		SC2				Prameters		MC-0-300,836-1700		MC 300-836,1700-2587

				Design discharge ,Q		0.02		Design discharge ,Q		0.015						(LINED  CANAL MC)		(EATHEN CANAL)

				Bed width to depth ratio (b/d)		1.00		Bed width to depth ratio (b/d)		1				Design discharge ,Q		0.22		0.22

				Side slope ,Z		1.00		Side slope ,Z		1				Bed width to depth ratio (b/d)		1		1

				Manning's roughness, n		0.03		Manning's roughness, n		0.03				Side slope ,Z		0		1

				Longitudinal slope, S		0.02		Longitudinal slope, S		0.016				Manning's roughness, n		0.018		0.03

				water depth, d		0.12		water depth, d		0.109				Longitudinal slope, S		0.001		0.001

				bed width, b		0.12		bed width, b		0.1094696034				water depth, d		0.60		0.50

				Area		0.03		Area		0.0239671881				bed width, b		0.60		0.50

				Wetted perimeter		0.47		Wetted perimeter		0.419				Area		0.36		0.51

				Hydraulic radius		0.06		Hydraulic radius		0.057				Wetted perimeter		1.81		1.93

				Velocity, v		0.67		Velocity, v		0.626				Hydraulic radius		0.20		0.26

				Canal Discharge capacity		0.02		Canal Discharge capacity		0.015				Velocity, v		0.60		0.43

				Total depth		0.12		Total depth		0.109				Canal Discharge capacity		0.22		0.22

				Adopted, depth, d		0.35		Adopted, depth, d		0.350				Total depth		0.60		0.50

				Adopted, Bed width b		0.3		Adopted, Bed width b		0.300				Adopted, depth, d		0.60		0.60

														Adopted, Bed width b		0.70		0.70

				Prameters		SC3		Prameters		SC 4

				Design discharge ,Q		0.025		Design discharge ,Q		0.13

				Bed width to depth ratio (b/d)		1.00		Bed width to depth ratio (b/d)		1.00

				Side slope ,Z		1.00		Side slope ,Z		0.00

				Manning's roughness, n		0.03		Manning's roughness, n		0.02

				Longitudinal slope, S		0.01		Longitudinal slope, S		0.00

				water depth, d		0.21		water depth, d		0.44

				bed width, b		0.21		bed width, b		0.44

				Area		0.04		Area		0.19

				Wetted perimeter		0.80		Wetted perimeter		1.31

				Hydraulic radius		0.05		Hydraulic radius		0.15

				Velocity, v		0.57		Velocity, v		0.69

				Canal Discharge capacity		0.03		Canal Discharge capacity		0.13

				Total depth		0.21		Total depth		0.44

				Adopted, depth, d		0.35		Adopted, depth, d		0.40

				Adopted, Bed width b		0.30		Adopted, Bed width b		0.40

				Prameters		TC1-1-1		Prameters		TC1-1-2

				Design discharge ,Q		0.02		Design discharge ,Q		0.005

				Bed width to depth ratio (b/d)		1.00		Bed width to depth ratio (b/d)		1.00

				Side slope ,Z		1.00		Side slope ,Z		1.00

				Manning's roughness, n		0.03		Manning's roughness, n		0.03

				Longitudinal slope, S		0.02		Longitudinal slope, S		0.01

				water depth, d		0.10		water depth, d		0.08

				bed width, b		0.10		bed width, b		0.08

				Area		0.02		Area		0.01

				Wetted perimeter		0.40		Wetted perimeter		0.32

				Hydraulic radius		0.05		Hydraulic radius		0.04

				Velocity, v		0.68		Velocity, v		0.37

				Canal Discharge capacity		0.02		Canal Discharge capacity		0.01

				Total depth		0.10		Total depth		0.08

				Adopted, depth, d		0.30		Adopted, depth, d		0.30

				Adopted, Bed width b		0.30		Adopted, Bed width b		0.30

				Prameters		TC1-2 -3		Prameters		TC1-2  -4

				Design discharge ,Q		0.006		Design discharge ,Q		0.006

				Bed width to depth ratio (b/d)		1.00		Bed width to depth ratio (b/d)		1.00

				Side slope ,Z		1.00		Side slope ,Z		1.00

				Manning's roughness, n		0.03		Manning's roughness, n		0.03

				Longitudinal slope, S		0.02		Longitudinal slope, S		0.01

				water depth, d		0.08		water depth, d		0.08

				bed width, b		0.08		bed width, b		0.08

				Area		0.01		Area		0.01

				Wetted perimeter		0.30		Wetted perimeter		0.31

				Hydraulic radius		0.04		Hydraulic radius		0.04

				Velocity, v		0.49		Velocity, v		0.45

				Canal Discharge capacity		0.01		Canal Discharge capacity		0.01

				Total depth		0.08		Total depth		0.08

				Adopted, depth, d		0.30		Adopted, depth, d		0.30

				Adopted, Bed width b		0.30		Adopted, Bed width b		0.30

				Prameters		TC1-3-5		Prameters		TC1-3-6

				Design discharge ,Q		0.010		Design discharge ,Q		0.015

				Bed width to depth ratio (b/d)		1.00		Bed width to depth ratio (b/d)		1.00

				Side slope ,Z		1.00		Side slope ,Z		1.00

				Manning's roughness, n		0.03		Manning's roughness, n		0.03

				Longitudinal slope, S		0.02		Longitudinal slope, S		0.02

				water depth, d		0.09		water depth, d		0.11

				bed width, b		0.09		bed width, b		0.11

				Area		0.02		Area		0.02

				Wetted perimeter		0.36		Wetted perimeter		0.42

				Hydraulic radius		0.05		Hydraulic radius		0.06

				Velocity, v		0.57		Velocity, v		0.63

				Canal Discharge capacity		0.01		Canal Discharge capacity		0.02

				Total depth		0.09		Total depth		0.11

				Adopted, depth, d		0.30		Adopted, depth, d		0.30

				Adopted, Bed width b		0.30		Adopted, Bed width b		0.30

								Prameters		TC 1-4-8

				Prameters		TC1-7		Design discharge ,Q		0.015

				Design discharge ,Q		0.025		Bed width to depth ratio (b/d)		1.00

				Bed width to depth ratio (b/d)		1.00		Side slope ,Z		1.00

				Side slope ,Z		1.00		Manning's roughness, n		0.03

				Manning's roughness, n		0.03		Longitudinal slope, S		0.00

				Longitudinal slope, S		0.00		water depth, d		0.14

				water depth, d		0.17		bed width, b		0.14

				bed width, b		0.17		Area		0.04

				Area		0.06		Wetted perimeter		0.54

				Wetted perimeter		0.66		Hydraulic radius		0.07

				Hydraulic radius		0.09		Velocity, v		0.37

				Velocity, v		0.42		Canal Discharge capacity		0.02

				Canal Discharge capacity		0.03		Total depth		0.14

				Total depth		0.17		Adopted, depth, d		0.30

				Adopted, depth, d		0.30		Adopted, Bed width b		0.30

				Adopted, Bed width b		0.30		Prameters		TC 1-4-9		Prameters				TC 1-4-10

								Design discharge ,Q		0.015		Design discharge ,Q				0.025

								Bed width to depth ratio (b/d)		1.00		Bed width to depth ratio (b/d)				1.00

								Side slope ,Z		1.00		Side slope ,Z				1.00

								Manning's roughness, n		0.03		Manning's roughness, n				0.03

								Longitudinal slope, S		0.00		Longitudinal slope, S				0.01

								water depth, d		0.15		water depth, d				0.15

								bed width, b		0.15		bed width, b				0.15

								Area		0.04		Area				0.05

								Wetted perimeter		0.57		Wetted perimeter				0.58

								Hydraulic radius		0.08		Hydraulic radius				0.08

								Velocity, v		0.33		Velocity, v				0.55

								Canal Discharge capacity		0.02		Canal Discharge capacity				0.03

								Total depth		0.15		Total depth				0.15

								Adopted, depth, d		0.30		Adopted, depth, d				0.30

								Adopted, Bed width b		0.30		Adopted, Bed width b				0.30

								Prameters		TC-1-4-11				Prameters				TC1-4-12

								Design discharge ,Q		0.025				Design discharge ,Q				0.03

								Bed width to depth ratio (b/d)		1.00				Bed width to depth ratio (b/d)				1.00

								Side slope ,Z		1.00				Side slope ,Z				1.00

								Manning's roughness, n		0.03				Manning's roughness, n				0.03

								Longitudinal slope, S		0.01				Longitudinal slope, S				0.01

								water depth, d		0.15				water depth, d				0.15

								bed width, b		0.15				bed width, b				0.15

								Area		0.05				Area				0.05

								Wetted perimeter		0.58				Wetted perimeter				0.58

								Hydraulic radius		0.08				Hydraulic radius				0.08

								Velocity, v		0.55				Velocity, v				0.55

								Canal Discharge capacity		0.03				Canal Discharge capacity				0.03

								Total depth		0.15				Total depth				0.15

								Adopted, depth, d		0.30				Adopted, depth, d				0.30

								Adopted, Bed width b		0.30				Adopted, Bed width b				0.30





Sheet2

		





Sheet3

		





FLUME CT $FILL

		Northing		Easting		PD		COM.D		ELEV.N		CBL		BL												G1		AQUIDUCT				1540

		1355670.6548		383432.9299		0		0		1990.6363		1989.6738492064		1990.2738492063		0.9624507936		0				0,1990.6363

		1355679.4356		383436.4672		10		10		1989.3682		1990.063015873		1990.663015873		0		1.294815873				10,1989.3682				383436.4672,1355679.4356																		Name		Q		CANAL DEPTH		CANAL WIDTH		FLUME HEIGHT		SPAN LENGTH		CH, ON MC

		1355689.1537		383434.1118		10		20		1989.1117		1990.053015873		1990.653015873		0		1.541315873				20,1989.1117				383434.1118,1355689.1537																		G1		0.18L/S		0.5		0.5		2.5		41.5m		0+1540																TC1		8.4

		1355698.8719		383431.7565		10		30		1989.2198		1990.043015873		1990.643015873		0		1.423215873				30,1989.2198				383431.7565,1355698.8719																		G3		0.18L/S		0.5		0.5		1		40		0+1840																TC2		2.7		11.1

		1355708.5901		383429.4011		10		40		1989.9583		1990.033015873		1990.633015873		0		0.674715873				40,1989.9583				383429.4011,1355708.5901																						CANAL DEPTH		CANAL WIDTH		SUPPER PASSAGE LENGTH				CH, ON MC																TC3		3.4

		1355718.3082		383427.0457		10		50		1990.6283		1989.6113492064		1990.2113492063		1.0169507937		0				50,1990.6283																						G2		0.18L/S		0.5		0.5		20				1720																TC4		3.3		6.7

		Northing		Easting		PD		COM.D		ELEV.N		CBL		BL		G3 AQUIDUCT				1840(ch)																																																				TC5		13.5

		1355959.7067		383385.0095		10		1840		1989.6555		1989.773015873		1990.373015873		0		0.717515873				1840,1989.6555				383385.0095,1355959.7067																																														TC7		12.5																30

		1355969.6736		383384.2026		10		1850		1989.4584		1989.763015873		1990.363015873		0		0.904615873				1850,1989.4584				383384.2026,1355969.6736																																														TC8		14.8

		1355979.6405		383383.3958		10		1860		1989.56		1989.753015873		1990.353015873		0		0.793015873				1860,1989.56				383383.3958,1355979.6405																																														TC9		23.7																1

		1355988.0918		383379.0401		10		1870		1989.7525		1989.743015873		1990.343015873		0.009484127		0.590515873				1870,1989.7525				383379.0401,1355988.0918																																														TC10		15.9		0														0.0333333333

		1355995.4038		383372.2192		10		1880		1989.7074		1989.733015873		1990.333015873		0		0.625615873				1880,1989.7074				383372.2192,1355995.4038																																																										10

		1356002.7158		383365.3983		10		1890		1989.7147		1989.723015873		1990.323015873		0		0.608315873				1890,1989.7147				383365.3983,1356002.7158																																																98.2												0.1

		1356010.0279		383358.5774		10		1900		1989.7772		1989.713015873		1990.313015873		0.064184127		0.535815873				1900,1989.7772				383358.5774,1356010.0279

										G2		SUPPERPASSAGE				1720-35

		1355842.2915		383403.2793		10		1720		1990.2027		1989.893015873		1990.493015873		0.309684127		0

		1355852.2889		383403.484		10		1730		1990.1476		1989.883015873		1990.483015873		0.264584127		0																30

		1355862.2863		383403.6887		10		1740		1990.1423		1989.873015873		1990.473015873		0.269284127		0																7.5





Scouring depth

		SCOUR DEPTH DETERMINATION BY CALCULATION

		Q=		157.90		M^3		PEAK FLOOD																																										0		2186.238

		L=		59.6876767013		M		LACEY'S PERIMETRE																										,																12.4852066464		2186.203

		q=		Q/L		2.6454371945																												,																31.4807507554		2186.009

		D=		5				naghbour point of view																										,																40.5129381427		2185.83

		f=		3.9131189606		1.75*D^0.5																												,																82.257133835		2185.511

		R=1.35(q^2/f)^1/3				1.6386683104																												Remarks,Unit																124.0029894016		2185.363

		HFL=1992.38+TAIL WATER DEPTH						1995.94																										,208.7																134.3173985946		2185.295

		2R=		3.2773366208																														actual river width,68.62																204.5657851241		2184.883

		CUTOFF LEVEL=HFL-2R						1992.6646633792

		CUT DEPTH=RRBL-CUTOFF LEVEL						-0.2846633792

		PARAMETRE		Column1		SYMBOL		FORMULA		QUANTITY

		RIVER BED LEVEL				RBL				1992.38

		PEAK FLOOD				Q				161.49

		LACEY'S PERIMETRE				P/L		4.75*Q^0.5		60.3620401458

		DISCHARGE INTENSITY				q		Q/P		2.675325879

		AVERAGE PARTICLE SIZE				D50		5		5

		SILT FACTOR				f		1.75*D^0.5		3.9131189606

		LACEY'S SCOUR DEPTH				R		1.35*(q^2/f)^1/3		1.6509878554

		RIVER STAGE				H				2

		Highest flood level				HFL		RRBL+STAGE		1994.377																																		0		2186.238

		CUTOFF LEVEL				CL		HFL-2R		1991.0750242893																																		12.4852066464		2186.203

		CUT DEPTH				Cd		RBL-CUTOFF LEVEL		1.30																																		31.4807507554		2186.009

		Therefore,				cutoff depth is 2m below the river bed level.

																																												64.9168123206		2185.83

		Determining Size of Intake																																										106.6626678872		2185.511

																																												116.9770770802		2185.295

		RECTANGULAR NOTCH FORMULA																																										187.2254636098		2184.883

		Q=Cd*(2g)^1/2*BH^3/2

		cd=discharge coefficient=0.6

		g=9.81m/s2

		Assume H to be 0.45m

		Q=0.28m3

				B=0.5m

		for ease of construction,adopt 0.4m*0.5m intake orifice.

		Normal scour depth, R=1.35(q/f)^1/3, where R=scour depth measured below HFL

		q= discharge intensity(m^3/s)

		& f= silt factor  ,f=1.76 SQRT(dm);														dm		5		mm

						q		Q/L

						f		3.9354796404

						R		1.2388682521

						Table: Computed value of scour depth & level

						S.Nr		Parametres to be computed						Unit		Remarks

						1		Flood discharge (m^3/s)						208.7

						2		Clear width of the river (L)  in m						68.62		actual river width

						3		Discharge intensity(q)in m^3/s/m						3.0413873506

						4		River bed level(m)						1635.71

						5		Tail water depth(TWD)						1.13

						6		HFL=RBL+TWD+FB						1637.71

						7		Cutoff depth -D						1.8583023781

						8		Bottom level of  cut off-D						1635.8516976219

						9		Cutoff depth below river bed						-0.1416976219		cutoff

										as Geological report

														L		68.6206510462

								He		1.493

								Top width,

								1.36m ----say 1.3		1.3093848132

								Bottom width,

										1.3094476228





Scouring depth

		





Base flow

		base flow								duty

		200l/s		dry						1.27		supplementary

		300l/s		suplementary						1.87		full

				200

				1		179						227.33

						35800						334.73





perimeter

		

				161.49

																														d		a		com a		p		l		p,

				12		1995.677		3.3		152.9944		81.4696				1.8779323821		0.8907329131		136.2771476061										0.3		1.17		1.17		13.598		6.78		6.818

				13		1995.977		3.6		178.346		87.6268				2.0352905732		0.9398462129		167.6178126846										0.6		2		3.17		24.0775		12		12.0775

																														0.9		4		7.17		34.625		17.29		17.335

				2.0186016014						1995.677										136.2771										1.2		6		13.17		46.7125		23.34		23.3725

										x										161.49										1.5		10.96		24.13		99.5558		49.76		49.7958

										1995.977										167.6178										1.8		16.64		40.77		122.553		61.22		61.333

																														2.1		19.26		60.03		134.4552		67.17		67.2852

																						25.2129								2.4		21		81.03		146.37		73.13		73.24

																						6.1278								2.7		22.7		103.73		156		78.3		77.7

																						4.1145109175								3		23.7		127.43		159.6		79.74		79.86

														2.0186016014								8212.4691574954								3.3		24.18		151.61		163		81.45		81.55

																						10208.1461574954								3.6		25.35		176.96		175.183		87.55		87.633

																						1995.9183111534								3.9		27.7		204.66		194.4556		97.19		97.2656

																														4.2		30		234.66		213.4		106.66		106.74

				1225.28				1995.92																						4.5		48.75		283.41		252.213		126.09		126.123

				1376.89				1995.68																						4.8		0.39		283.8		253.26		126.63		126.63

				173.7608705446				1995.98																1995.68

								0.24																1995.98

								0.06																134.14

								4																161.49

				606.7753291139				3.6				178.346		152.9944		87.63		81.47						165.44

				688.3253291139				14.4				713.3840000007		866.3784000007		350.5200000003								27.35

				86.8653330366				3.3						173.2756800001		431.9900000003								3.95										24.9265822785

								17.7								86.3980000001								6.9240506329				13820.2665822785		24.9265822785				28.2265822785

								3.54																13820.2665822785				15815.9465822785		28.2265822785				3.5621404101

																								15815.9465822785		1995.9420481113		1996.9629523079		3.5621404101

																		81.4546

																		163.0142

																		81.5596

																87.5558

																25.3516

																175.1825

																87.6267

																97.192





MASO $BAR  SDULE

				RETAINING				SOIL				L		W		WS		CD		TW		V						back fill

				WALL								58		3		2		2		5		580						116

								MASO				L		W		H		TB		V						812		232

												58		3		4		0.5		406

																																																										1.5

																																				BED BAR						L		T		B		H		V								0.75

																																				RCC						60.5		0.5		1		2		90.75								90.75

				RCCBAR						L		S		D		NO.OF BAR		TL		CONV fcr		KG/L/M																				15		0.5		1		2.7		30.375

										60.5		0.2		12		302.5		665.5		0.89		592.295																												121.125				193800

										15		0.2		12		75		217.5		0.89		193.575										44.055

										2.2		0.2		12		11		665.5		0.89		592.295																				conc		w		t		l		v

										2.9		0.2		12		14.5		217.5		0.89		193.575										95429.805												1		0.1		75.5		7.55

										1		0.2		12		5		377.5		0.89		335.975				95385.75

				bar																		1907.715						1951.77										3.3

				FLUME				L		W		D		S		BAR NO		TL		conv fcr		KG/L/M																21

				F1				41.5		0.5		0.5		0.2		207.5		207.5		0.89		184.675																28.3

								1.4		0.5		0.5		0.2		7		290.5		0.89		258.545																5.7

				F3				40		0.5		0.5		0.2		200		200		0.89		178								20								58.3

								1.4		0.5		0.5		0.2		7		280		0.89		249.2								0.2

				G2 (SUPPERPASSAGE)				20		0.5		0.5		0.2		100		100		0.89		89

						BOX		1		0.5		0.5		0.2		5		100		0.89		89

																						1048.42		5242.1

				FOR COLUON

				bar

				FLUME		L		S		NO BAR		TL		CONV FCR		KG/L/M												2.7		1

				F1		2.7		0.2		13.5		36.45		0.89		32.4405														5

																														13.5

				F3		1.2		0.2		6		7.2		0.89		6.408

				TOTAL												38.8485				1116.6385

				flume		concrete		l		B		D		T

				F1				41.5		0.5				0.15		3.1125		bed

								41.5				0.5		0.15		3.1125		SIDE WALL

																6.225

				SUBTOTOL												9.3375

				F3				40		0.5				0.15		3		bed

								40				0.5		0.15		3		SIDE WALL

																6

				SUBTOTOL												9

				F2				20		0.5				0.15		1.5		bed

								20				0.5		0.15		1.5		SIDE WALL

																3

						TOP COVER		20		0.5				0.15		1.5

				SUBTOTOL												6

				TOTAL												24.3375

								RETAINING WALL

				MASONRY FOR FLUME

						L		H		T		V

				F1 $F2		3		2.5		0.8		6

												12		24

				SOIL EXCAVATION

								L		H		T		V

								3		1		2.5		7.5

														15		30

		SOIL		COLUN				L		H		T		V

								1.5		1		1.5		2.25

		NO. OF COLUON				8								18

																48

		BAR FOR  RETAINING WALL THAT CANAL PASS THRUOGH IT

				L		S		NO BAR		TL		CONV FCR		KG/L/M

				1.2		0.2		6		18		0.89		16.02

				3		0.2		15		15		0.89		13.35

										33		0.89		29.37

		BAR FOR  OFF GATE

				L		S		NO BAR		TL		CONV FCR		KG/L/M

				1.2		0.2		6		9		0.89		8.01

				1.5		0.2		7.5		7.5		0.89		6.675

														14.685		44.055





BAR CUT VOLUME

		

				north		easting		elevetion		PD		chai		Bar hieght		cut depth		Width		CUT VOLUME		COMULATIVE VOLUME

		914		1354312.8282		383460.6258		1996.6696		0		0		-2		2		3		0.00		0.00		0,1996.6696

		915		1354314.6422		383461.832		1996.5781		2.18		2.18		-2		2		3		13.07		13.07		2.17842017049948,1996.5781

		916		1354316.4563		383463.0383		1996.4866		2.18		4.36		-2		2		3		13.07		26.14		4.35697898318359,1996.4866

		917		1354318.2703		383464.2445		1996.3952		2.18		6.54		-2		2		3		13.07		39.21		6.53539915384472,1996.3952

		918		1354320.0844		383465.4507		1996.3037		2.18		8.71		-2		2		3		13.07		52.28		8.71390259664947,1996.3037

		919		1354321.8984		383466.6569		1994.9709		2.18		10.89		-2		2		3		13.07		65.35		10.8923227673428,1994.9709

		920		1354323.7124		383467.8632		1994.2795		2.18		13.07		-2		2		3		13.07		78.42		13.0707983100321,1994.2795

		921		1354325.5265		383469.0694		1994.2023		2.18		15.25		-2		2		3		13.07		91.50		15.2493017526107,1994.2023

		922		1354327.3405		383470.2756		1994.1461		2.18		17.43		-2		2		3		13.07		104.57		17.4277219233041,1994.1461

		923		1354329.1546		383471.4818		1994.0899		2.18		19.61		-2		2		3		13.07		117.64		19.6062253661088,1994.0899

		924		1354330.9686		383472.688		1994.0338		2.18		21.78		-2		2		3		13.07		130.71		21.7846455368022,1994.0338

		925		1354332.7827		383473.8943		1993.9776		2.18		23.96		-2		2		3		13.07		143.78		23.963204349454,1993.9776

		926		1354334.5967		383475.1005		1993.9328		2.18		26.14		-2		2		3		13.07		156.85		26.1416245201474,1993.9328

		927		1354336.4108		383476.3067		1993.8969		2.18		28.32		-2		2		3		13.07		169.92		28.3201279627583,1993.8969

		928		1354338.2248		383477.5129		1993.8559		2.18		30.50		-2		2		3		13.07		182.99		30.4985481334194,1993.8559

		929		1354340.0388		383478.7192		1993.815		2.18		32.68		-2		2		3		13.07		196.06		32.6770236761086,1993.815

		930		1354341.8529		383479.9254		1993.8282		2.18		34.86		-2		2		3		13.07		209.13		34.8555271189134,1993.8282

		931		1354343.6669		383481.1316		1993.8537		2.18		37.03		-2		2		3		13.07		222.20		37.0339472896068,1993.8537

		932		1354345.481		383482.3378		1993.8793		2.18		39.21		-2		2		3		13.07		235.27		39.2124507321854,1993.8793

		933		1354347.295		383483.544		1993.9048		2.18		41.39		-2		2		3		13.07		248.35		41.3908709028787,1993.9048

		934		1354349.1091		383484.7503		1993.93		2.18		43.57		-2		2		3		13.07		261.42		43.5694297155629,1993.93

		935		1354350.9231		383485.9565		1993.9531		2.18		45.75		-2		2		3		13.07		274.49		45.747849886224,1993.9531

		936		1354352.7371		383487.1627		1993.9762		2.18		47.93		-2		2		3		13.07		287.56		47.9262700569174,1993.9762

		937		1354354.5512		383488.3689		1993.9992		2.18		50.10		-2		2		3		13.07		300.63		50.1047734997221,1993.9992

		938		1354356.3652		383489.5751		1994.0221		2.18		52.28		-2		2		3		13.07		313.70		52.2831936702216,1994.0221

		939		1354358.1793		383490.7814		1993.971		2.18		54.46		-2		2		3		13.07		326.77		54.4617524828735,1993.971

		940		1354359.9933		383491.9876		1993.9199		2.18		56.64		-2		2		3		13.07		339.84		56.6401726535668,1993.9199

		941		1354361.8074		383493.1938		1993.7726		2.18		58.82		-2		2		3		13.07		352.91		58.8186760963716,1993.7726

		942		1354363.6214		383494.4		1993.5879		2.18		61.00		-2		2		3		13.07		365.98		60.9970962670649,1993.5879

		943		1354365.4354		383495.6063		1993.4031		2.18		63.18		-2		2		3		13.07		379.05		63.1755718097219,1993.4031

		944		1354367.2495		383496.8125		1993.2184		2.18		65.35		-2		2		3		13.07		392.12		65.3540752523328,1993.2184

		945		1354369.0635		383498.0187		1993.0336		2.18		67.53		-2		2		3		13.07		405.19		67.5324954230261,1993.0336

		946		1354370.8776		383499.2249		1992.8488		2.18		69.71		-2		2		3		13.07		418.27		69.7109988657987,1992.8488

		947		1354372.6916		383500.4311		1992.6641		2.18		71.89		-2		2		3		13.07		431.34		71.889419036492,1992.6641

		948		1354374.5057		383501.6374		1992.4793		2.18		74.07		-2		2		3		13.07		444.41		74.0679778491761,1992.4793

		949		1354376.3197		383502.8436		1992.2946		2.18		76.25		-2		2		3		13.07		457.48		76.2463980198695,1992.2946

		950		1354378.1338		383504.0498		1992.4299		2.18		78.42		-2		2		3		13.07		470.55		78.4249014624481,1992.4299

		951		1354379.9478		383505.256		1992.6558		2.18		80.60		-2		2		3		13.07		483.62		80.6033216331415,1992.6558

		952		1354381.7618		383506.4623		1992.7996		2.18		82.78		-2		2		3		13.07		496.69		82.7817971758307,1992.7996

		953		1354383.5759		383507.6685		1992.9433		2.18		84.96		-2		2		3		13.07		509.76		84.9603006186354,1992.9433

		954		1354385.3899		383508.8747		1995		2.18		87.14		-2		2		3		13.07		522.83		87.1387207892966,1995

				TOTAL																522.83		522.83

								BACK FILL		$ COPACTIN WITH GRAVELS  IN THE RIVER IT SELF

												L		W		H		V

												60.5		1.3		2		157.3

																		314.6

												15		1.3		2.7		52.65

																		52.65

																		367.25





GABION STAIBILITY $ VOLUME

		

				RETAINING WALL STABILITY

				dimension

				H		FB		HT				B1		B2		B

				2		0		2				1		2		3

				Stability analysis

				Code		Load				Lever Arm, R		Moment

						Vertical		Horizontal				Posetive		Negative

				W1		32				2.5		80

				W2		32				1.33		42.67

				Wsoil		10.56				0.67		7.04

				Pw				19.62		0.67				13.08

				P SILT				5.94		0.67				3.96

				SUM		74.56		25.56				129.71		17.04

				Factor of safety against,

				Over turning = (M+ve/M-ve)    >1.5								Fo		7.61		>1.5		OK

				Sliding = (µxFv/Fh),---µ=0.75    >1.5								Fs		2.19		>1.50		OK

				Tension: X= (Net Moment/Sum Fv), e=x-B/2,   e<B/6								X		1.51

								B/6=		0.5		e		0.01		<B/6		OK

								L		B		T		H		V

						GROYNE		15		2		1		2		45

																135

		G ABION  AS GROYNE						10		2		1		2		30

						TOTAL										165





Retaining wall Analys

				RETAINING WALL STABILITY

				dimension

				H		FB		HT				B1		B2		B												4

				3.8		0.2		4				0.5		3		3.5												2.8

				Stability analysis

				Code		Load				Lever Arm, R		Moment

						Vertical		Horizontal				Posetive		Negative

				W1		46				3.3		149.5

				W2		138				2.0		276.0

				Wsoil		37.62				1.0		37.6

				Pw				70.83		1.3				89.72

				P SILT				21.44		1.3				27.16

				SUM		221.62		92.27				463.12		116.88

				Factor of safety against,

				Over turning = (M+ve/M-ve)    >1.5								Fo		3.9624440525		>1.5		OK

				Sliding = (µxFv/Fh),---µ=0.75    >1.5								Fs		1.8013668344		>1.50		OK

				Tension: X= (Net Moment/Sum Fv), e=x-B/2,   e<B/6								X		1.5623257829								0.5833333333

								B/6=		0.5833333333		e		0.1876742171		<B/6		OK





axise data

				data

		X-COORDINATE		Y-COORDINATE		ELEVATION

		383436.4946		1354323.1488		1997.1847

		383438.0804		1354324.3839		1997.1557

		383439.6661		1354325.619		1997.1397

		383441.2519		1354326.8541		1997.1237

		383442.8376		1354328.0892		1997.1077

		383444.4234		1354329.3243		1997.0917

		383446.0092		1354330.5594		1997.0756

		383447.5949		1354331.7945		1996.8155

		383449.1807		1354333.0296		1995.8921

		383450.7664		1354334.2648		1995.0287

		383452.3522		1354335.4999		1994.9195

		383453.938		1354336.735		1994.8103

		383455.5237		1354337.9701		1994.7011

		383457.1095		1354339.2052		1994.5919

		383458.6952		1354340.4403		1994.4827

		383460.281		1354341.6754		1994.3734

		383461.8668		1354342.9105		1994.2642

		383463.4525		1354344.1456		1994.155

		383465.0383		1354345.3808		1994.0458

		383466.6241		1354346.6159		1993.9891

		383468.2098		1354347.851		1993.946

		383469.7956		1354349.0861		1993.9167

		383471.3813		1354350.3212		1993.8875

		383472.9671		1354351.5563		1993.851

		383474.5529		1354352.7914		1993.8137

		383476.1386		1354354.0265		1993.7764

		383477.7244		1354355.2616		1993.7335

		383479.3101		1354356.4967		1993.6876

		383480.8959		1354357.7319		1993.7249

		383482.4817		1354358.967		1993.7657

		383484.0674		1354360.2021		1993.8066

		383485.6532		1354361.4372		1993.8474

		383487.2389		1354362.6723		1993.8882

		383488.8247		1354363.9074		1993.8151

		383490.4105		1354365.1425		1993.6553

		383491.9962		1354366.3776		1993.4955

		383493.582		1354367.6127		1993.3357

		383495.1677		1354368.8479		1993.1759

		383496.7535		1354370.083		1993.0162

		383498.3393		1354371.3181		1992.8564

		383499.925		1354372.5532		1992.6966

		383501.5108		1354373.7883		1992.5368

		383503.0965		1354375.0234		1992.377

		383504.6823		1354376.2585		1992.47

		383506.2681		1354377.4936		1992.8869

		383507.8538		1354378.7287		1993.2888

		383509.4396		1354379.9638		1993.5503

		383511.0253		1354381.199		1993.8118

		383512.6111		1354382.4341		1995.2181

		383514.1969		1354383.6692		1995.8113

		383515.7826		1354384.9043		1995.8785

		383517.3684		1354386.1394		1995.9456

		383518.9541		1354387.3745		1996.0127

		383520.5399		1354388.6096		1996.0798

		383522.1257		1354389.8447		1996.1469

		383523.7114		1354391.0798		1996.2141

		383525.2972		1354392.315		1996.2812

		383526.883		1354393.5501		1996.3483

		383528.4687		1354394.7852		1996.4154

		383530.0545		1354396.0203		1996.4825

		383531.6402		1354397.2554		1996.5496

		383533.226		1354398.4905		1996.6339

		383534.8118		1354399.7256		1996.7308

		383536.3975		1354400.9607		1996.8278





 Axis $ profile of mana

				MANA  DAWUCH  INTAKEAXIS PROFILE

				X-COORDINATE		Y-COORDINATE		PARTIAL DISTANCE		COMULATIVE DISTANCE		ELEVATION		DATA SOURCE		CONCACTENATED DATA

		1		383436.4946		1354323.1488		0.00		0.00		1997.1847				0,1997.1847

		2		383438.0804		1354324.3839		2.0		2.01		1997.1557		this data came from AUTOCAD CIVIL 3D and must be taken in to Autocad civil 3d again for scaled cross section drawing . Do it after concactenation.		2.01003324595286,1997.1557

		3		383439.6661		1354325.619		2.0		4.02		1997.1397				4.01998759862377,1997.1397

		4		383441.2519		1354326.8541		2.0		6.03		1997.1237				6.0300208447197,1997.1237

		5		383442.8376		1354328.0892		2.0		8.04		1997.1077				8.03997519743654,1997.1077

		6		383444.4234		1354329.3243		2.0		10.05		1997.0917				10.0500084433894,1997.0917

		7		383446.0092		1354330.5594		2.0		12.06		1997.0756				12.0600416892963,1997.0756										Elevation

		8		383447.5949		1354331.7945		2.0		14.07		1996.8155				14.0699960421562,1996.8155

		9		383449.1807		1354333.0296		2.0		16.08		1995.8921				16.0800292881091,1995.8921

		10		383450.7664		1354334.2648		2.0		18.09		1995.0287				18.0900450915237,1995.0287

		11		383452.3522		1354335.4999		2.0		20.10		1994.9195				20.1000783374765,1994.9195

		12		383453.938		1354336.735		2.0		22.11		1994.8103				22.1101115835725,1994.8103

		13		383455.5237		1354337.9701		2.0		24.12		1994.7011				24.1200659362434,1994.7011

		14		383457.1095		1354339.2052		2.0		26.13		1994.5919				26.1300991821962,1994.5919

		15		383458.6952		1354340.4403		2.0		28.14		1994.4827				28.1400535348671,1994.4827

		16		383460.281		1354341.6754		2.0		30.15		1994.3734				30.1500867809631,1994.3734

		17		383461.8668		1354342.9105		2.0		32.16		1994.2642				32.1601200269159,1994.2642

		18		383463.4525		1354344.1456		2.0		34.17		1994.155				34.1700743795868,1994.155

		19		383465.0383		1354345.3808		2.0		36.18		1994.0458				36.1801690738715,1994.0458

		20		383466.6241		1354346.6159		2.0		38.19		1993.9891				38.1902023199674,1993.9891

		21		383468.2098		1354347.851		2.0		40.20		1993.946				40.2001566726383,1993.946

		22		383469.7956		1354349.0861		2.0		42.21		1993.9167				42.2101899185912,1993.9167

		23		383471.3813		1354350.3212		2.0		44.22		1993.8875				44.2201442712621,1993.8875

		24		383472.9671		1354351.5563		2.0		46.23		1993.851				46.230177517358,1993.851

		25		383474.5529		1354352.7914		2.0		48.24		1993.8137				48.2402107633109,1993.8137

		26		383476.1386		1354354.0265		2.0		50.25		1993.7764				50.2501651159818,1993.7764

		27		383477.7244		1354355.2616		2.0		52.26		1993.7335				52.2601983620777,1993.7335

		28		383479.3101		1354356.4967		2.0		54.27		1993.6876				54.2701527147486,1993.6876

		29		383480.8959		1354357.7319		2.0		56.28		1993.7249				56.2802474090333,1993.7249

		30		383482.4817		1354358.967		2.0		58.29		1993.7657				58.2902806549862,1993.7657

		31		383484.0674		1354360.2021		2.0		60.30		1993.8066				60.3002350078001,1993.8066

		32		383485.6532		1354361.4372		2.0		62.31		1993.8474				62.310268253753,1993.8474

		33		383487.2389		1354362.6723		2.0		64.32		1993.8882				64.3202226064239,1993.8882

		34		383488.8247		1354363.9074		2.0		66.33		1993.8151				66.3302558523768,1993.8151

		35		383490.4105		1354365.1425		2.0		68.34		1993.6553				68.3402890984727,1993.6553

		36		383491.9962		1354366.3776		2.0		70.35		1993.4955				70.3502434511436,1993.4955

		37		383493.582		1354367.6127		2.0		72.36		1993.3357				72.3602766970965,1993.3357

		38		383495.1677		1354368.8479		2.0		74.37		1993.1759				74.3702925005111,1993.1759

		39		383496.7535		1354370.083		2.0		76.38		1993.0162				76.380325746607,1993.0162

		40		383498.3393		1354371.3181		2.0		78.39		1992.8564				78.3903589925599,1992.8564

		41		383499.925		1354372.5532		2.0		80.40		1992.6966				80.4003133452308,1992.6966

		42		383501.5108		1354373.7883		2.0		82.41		1992.5368				82.4103465911836,1992.5368

		43		383503.0965		1354375.0234		2.0		84.42		1992.377				84.4203009439976,1992.377

		44		383504.6823		1354376.2585		2.0		86.43		1992.47				86.4303341899505,1992.47

		45		383506.2681		1354377.4936		2.0		88.44		1992.8869				88.4403674359034,1992.8869

		46		383507.8538		1354378.7287		2.0		90.45		1993.2888				90.4503217887173,1993.2888

		47		383509.4396		1354379.9638		2.0		92.46		1993.5503				92.4603550346702,1993.5503

		48		383511.0253		1354381.199		2.0		94.47		1993.8118				94.4703708380848,1993.8118

		49		383512.6111		1354382.4341		2.0		96.48		1995.2181				96.4804040840376,1995.2181

		50		383514.1969		1354383.6692		2.0		98.49		1995.8113				98.4904373299905,1995.8113

		51		383515.7826		1354384.9043		2.0		100.50		1995.8785				100.500391682804,1995.8785

		52		383517.3684		1354386.1394		2.0		102.51		1995.9456				102.510424928757,1995.9456

		53		383518.9541		1354387.3745		2.0		104.52		1996.0127				104.520379281428,1996.0127

		54		383520.5399		1354388.6096		2.0		106.53		1996.0798				106.530412527524,1996.0798

		55		383522.1257		1354389.8447		2.0		108.54		1996.1469				108.540445773477,1996.1469

		56		383523.7114		1354391.0798		2.0		110.55		1996.2141				110.550400126148,1996.2141

		57		383525.2972		1354392.315		2.0		112.56		1996.2812				112.560494820433,1996.2812

		58		383526.883		1354393.5501		2.0		114.57		1996.3483				114.570528066529,1996.3483

		59		383528.4687		1354394.7852		2.0		116.58		1996.4154				116.580482419245,1996.4154

		60		383530.0545		1354396.0203		2.0		118.59		1996.4825				118.590515665198,1996.4825

		61		383531.6402		1354397.2554		2.0		120.60		1996.5496				120.600470017869,1996.5496

		62		383533.226		1354398.4905		2.0		122.61		1996.6339				122.610503263965,1996.6339

		63		383534.8118		1354399.7256		2.0		124.62		1996.7308				124.620536509918,1996.7308																		0

		64		383536.3975		1354400.9607		2.0		126.63		1996.8278				126.630490862589,1996.8278

								RIVER LONGITUDAN PROFILE DATA  FOR RIVER SLOPE CALCULATION

								DIRECT TOPGRAPHY METHOD												PARTIAL AREA METHOD

								X-COORDINATE		Y-COORDINATE		PARTIAL DISTANCE		COMULATIVE DISTANCE		ELEVATION				SN		Partial Distance (m)		Elevation H(m)		Accumulative Height(m)		Total Area A(M^2)								RIVER SLOPE

				1				383463.38		1354411.346		0		0		1991.701				1		0		1991.701		0		0.00

				2				383502.471		1354379.206		50.6		51		1992.134				2		50.6		1992.134		0.433		10.96

				3				383513.019		1354290.495		89.3		140		1995.023				3		89.3		1995.023		3.322		167.73

				4				383520.812		1354340.098		50.2		190		1994.114				4		50.2		1994.114		2.413		143.98

																				sum		190.1545030128						322.67

								AVERAGE RIVER BED SLOPE						0.018				computed		Havg		3.394

								RIVER BED MATERIAL MANNING COEFF, N						0.040				from field		Iavg		0.0178

								ACTUAL FLOOD MARK ELEVATION						1996				computed

				C				RIVER STAGE DISCHARGE ANALYSIS AT THE WEIR AXIS BEFORE CONSTRUCTION

								ELEVATION		DEPTH		WET AREA		TOTAL PERIM		Hydrulic radius R  (m)		Velocity V (m/sec.)		Discharge Q (m^3/sec.)

						1		1993.00		0		0		0		0.00		0		0

						2		1993.30		0.3		1.17		6.818		0.17		1.03		1.21

						3		1993.60		0.6		3.17		12.0775		0.26		1.37		4.34

						4		1993.90		0.9		7.17		17.335		0.41		1.85		13.29

						5		1994.20		1.2		13.17		23.3725		0.56		2.28		30.00

						6		1994.50		1.5		24.13		49.7958		0.48		2.06		49.71

						7		1994.80		1.8		40.77		61.33		0.66		2.54		103.70

						8		1995.00		2.00		53.29		65.20		0.82		2.92		157.09		Design flood mark

						9		1995.10		2.1		60.03		67.2852		0.89		3.10		185.80

						10		1995.40		2.4		81.03		73.24		1.11		3.57		289.50

						11		1995.70		2.7		103.73		77.7		1.335		4.05		420.07

						12		1996.00		3		127.43		79.86		1.596		4.56		581.24

						13		1996.30		3.3		151.61		81.55		1.859		5.05		765.73

						14		1995.94		3.56		173.76		86.865		2.000		5.30		157.09

						15		1996.60		3.6		176.96		87.633		2.02		5.34		944.44

						16		1996.86		3.86		204.66		97.2656		2.10		5.49		1122.66				`

						17		1996.90		3.9		234.66		106.74		2.20		5.65		1325.42

						18		1997.16		4.16		283.41		126.123		2.25		5.73		1624.32

						19		1997.20		4.2		283.8		126.63		2.24		5.72		1623.70						2.94

																1992.38

				D





 Axis $ profile of mana

		0



WEIR AXIS PROFILE



Sheet5

		



axise



Sheet6

		



DISCHARGE , M3/S

TAIL DEPTH, M



MANA

		



RIVER SLOPE



StormAnal

		

		1		383450.7664		1354334.2648		1995.0287								18.0900450915237,1995.0287										0.00		0

		2		383452.3522		1354335.4999		1994.9195								20.1000783374765,1994.9195										2.01		2.01

		3		383453.938		1354336.735		1994.8103								22.1101115835725,1994.8103										2.01		4.02

		4		383455.5237		1354337.9701		1994.7011								24.1200659362434,1994.7011										2.01		6.03

		5		383457.1095		1354339.2052		1994.5919								26.1300991821962,1994.5919										2.01		8.04

		6		383458.6952		1354340.4403		1994.4827								28.1400535348671,1994.4827										2.01		10.05

		7		383460.281		1354341.6754		1994.3734								30.1500867809631,1994.3734										2.01		12.06

		8		383461.8668		1354342.9105		1994.2642								32.1601200269159,1994.2642										2.01		14.07

		9		383463.4525		1354344.1456		1994.155								34.1700743795868,1994.155										2.01		16.08

		10		383465.0383		1354345.3808		1994.0458								36.1801690738715,1994.0458										2.01		18.09

		11		383466.6241		1354346.6159		1993.9891								38.1902023199674,1993.9891										2.01		20.10

		12		383468.2098		1354347.851		1993.946								40.2001566726383,1993.946										2.01		22.11

		13		383469.7956		1354349.0861		1993.9167								42.2101899185912,1993.9167										2.01		24.12

		14		383471.3813		1354350.3212		1993.8875								44.2201442712621,1993.8875										2.01		26.13

		15		383472.9671		1354351.5563		1993.851								46.230177517358,1993.851										2.01		28.14

		16		383474.5529		1354352.7914		1993.8137								48.2402107633109,1993.8137										2.01		30.15

		17		383476.1386		1354354.0265		1993.7764								50.2501651159818,1993.7764										2.01		32.16

		18		383477.7244		1354355.2616		1993.7335								52.2601983620777,1993.7335										2.01		34.17

		19		383479.3101		1354356.4967		1993.6876								54.2701527147486,1993.6876										2.01		36.18

		20		383480.8959		1354357.7319		1993.7249								56.2802474090333,1993.7249										2.01		38.19

		21		383482.4817		1354358.967		1993.7657								58.2902806549862,1993.7657										2.01		40.20

		22		383484.0674		1354360.2021		1993.8066								60.3002350078001,1993.8066										2.01		42.21

		23		383485.6532		1354361.4372		1993.8474								62.310268253753,1993.8474										2.01		44.22

		24		383487.2389		1354362.6723		1993.8882								64.3202226064239,1993.8882										2.01		46.23

		25		383488.8247		1354363.9074		1993.8151								66.3302558523768,1993.8151										2.01		48.24

		26		383490.4105		1354365.1425		1993.6553								68.3402890984727,1993.6553										2.01		50.25

		27		383491.9962		1354366.3776		1993.4955								70.3502434511436,1993.4955										2.01		52.26

		28		383493.582		1354367.6127		1993.3357								72.3602766970965,1993.3357										2.01		54.27

		29		383495.1677		1354368.8479		1993.1759								74.3702925005111,1993.1759										2.01		56.28

		30		383496.7535		1354370.083		1993.0162								76.380325746607,1993.0162										2.01		58.29

		31		383498.3393		1354371.3181		1992.8564								78.3903589925599,1992.8564										2.01		60.30

		32		383499.925		1354372.5532		1992.6966								80.4003133452308,1992.6966										2.01		62.31

		33		383501.5108		1354373.7883		1992.5368								82.4103465911836,1992.5368										2.01		64.32

		34		383503.0965		1354375.0234		1992.377								84.4203009439976,1992.377										2.01		66.33

		35		383504.6823		1354376.2585		1992.47								86.4303341899505,1992.47										2.01		68.34

		36		383506.2681		1354377.4936		1992.8869								88.4403674359034,1992.8869										2.01		70.35

		37		383507.8538		1354378.7287		1993.2888								90.4503217887173,1993.2888										2.01		72.36

		38		383509.4396		1354379.9638		1993.5503								92.4603550346702,1993.5503										2.01		74.37

		39		383511.0253		1354381.199		1993.8118								94.4703708380848,1993.8118										2.01		76.38

		40		383512.6111		1354382.4341		1995.2181								96.4804040840376,1995.2181										2.01		78.39

																										2.01		80.40

				Pt		East		North		Elevation		Code		Par.dis		Com.dis

				1		383450.77		1354334.26		1995.03		bank		0		0

				2		383452.35		1354335.50		1994.92		bank		2		2

				3		383453.94		1354336.74		1994.81		bank		2		4

				4		383455.52		1354337.97		1994.70		bank		2		6

				5		383457.11		1354339.21		1994.59		bank		2		8

				6		383458.70		1354340.44		1994.48		bank		2		10

				7		383460.28		1354341.68		1994.37		bank		2		12

				8		383461.87		1354342.91		1994.26		bank		2		14

				9		383463.45		1354344.15		1994.16		bank		2		16

				10		383465.04		1354345.38		1994.05		bank		2		18

				11		383466.62		1354346.62		1993.99		bank		2		20

				12		383468.21		1354347.85		1993.95		bank		2		22

				13		383469.80		1354349.09		1993.92		bank		2		24

				14		383471.38		1354350.32		1993.89		river center		2		26

				15		383472.97		1354351.56		1993.85		river center		2		28

				16		383474.55		1354352.79		1993.81		river center		2		30

				17		383476.14		1354354.03		1993.78		river center		2		32

				18		383477.72		1354355.26		1993.73		river center		2		34

				19		383479.31		1354356.50		1993.69		river center		2		36

				20		383480.90		1354357.73		1993.72		river center		2		38

				21		383482.48		1354358.97		1993.77		river center		2		40

				22		383484.07		1354360.20		1993.81		river center		2		42

				23		383485.65		1354361.44		1993.85		river center		2		44

				24		383487.24		1354362.67		1993.89		river center		2		46

				25		383488.82		1354363.91		1993.82		river center		2		48

				26		383490.41		1354365.14		1993.66		river center		2		50

				27		383492.00		1354366.38		1993.50		river center		2		52

				28		383493.58		1354367.61		1993.34		river center		2		54

				29		383495.17		1354368.85		1993.18		river center		2		56

				30		383496.75		1354370.08		1993.02		river center		2		58

				31		383498.34		1354371.32		1992.86		river center		2		60

				32		383499.93		1354372.55		1992.70		river center		2		62

				33		383501.51		1354373.79		1992.54		river center		2		64

				34		383503.10		1354375.02		1992.38		river center		2		66

				35		383504.68		1354376.26		1992.47		river center		2		68

				36		383506.27		1354377.49		1992.89		river center		2		70

				37		383507.85		1354378.73		1993.29		river center		2		72

				38		383509.44		1354379.96		1993.55		river center		2		74

				39		383511.03		1354381.20		1993.81		river center		2		76

				40		383512.61		1354382.43		1995.22		bank		2		78





Sheet4

		





		

				NAME OF THE PROJECT : Mana Dawuch small scale diversion project														Partial		Elevation		Elevation Difference in m								Slope of river, Decimal

				HYDROLOGY OF SCS METHOD TO DETERMINE THE DESIGN FLOOD														Length,m		in m				slope		TC

				Designation/formula		sym		Unit		Output		REMARK						0		2997		0		0		0						134.6						0		0		2540		0		0

		1		Catchment area		A		Km2		62.36								8910.68		2862.4		214.60		2.41		1.50						216.6						1.54		1.54		2480		60		0.32

		2		Length of Longest stream course		L		m										3058.43		2645.8		216.60		7.08		0.43						216.6						1.51		3.05		2460		20		0.48

						L1		m		8910.68		UPER						1381.49		2429.2		216.60		15.68		0.17						216.6						1.79		3.3		2409		51		0.41

						L2		m		3058.43		MIDDLE						3008.49		2212.6		199.80		7.91		2.92						2212.6						4.84								1.21

						L3		m		1381.49		MIDDLE						18541.06				199.80		7.91

						L4		m		2181.97								Total Tc,in hr								2.92

						L5		m		3008.49		LOWER

						L6		m		0.00

				Longest stream Elevations		H		M		18541.06

						H1		m		214.60		UPER

						H2		m		216.60		MIDDLE

						H3		m		216.60		MIDDLE

						H4				216.60

						H5				134.60		LOWER

				apex Elevation		H6				0.00

				River Slope						199.80						slope		0.0240834621

						s1		%		2.41

						s2		%		7.08

						s3		%		15.68

						s4		%		9.93

						s5		%		4.47

						s6				0.00

						Average Slop		%		7.91

				Time of concentration		Tc		hr												33.8

						Tc1		hr		1.50										135.2						0.50		35

						Tc2		hr		0.43																1.00		45

						Tc3		hr		0.17																1.50		54

						Tc4		hr		0.29																2.00		59

						Tc5		hr		0.51																												1.67

						Tc6		hr		0.00																												3.34

				TC total				hr		2.92						Formula:     D=Tc/6										2.50		65

				Rainfall excess duration		D		hr		0.50						Formula :tp=0.5D+0.6Tc										3.00		67								2.67

				Time to peak		tp		hr		2.000						Formula :tp=2.67tp										3.50		69								5.34

				Time to base		tb		hr		5.34						Formula :tl=0.6Tc										4.00		72

				Lag time		tl		hr		1.75						Formula :qp=(0.21A)/tp										4.50		75

				Peak rate of discharge		qp		m3/sec.mm		6.55										0.5				0.6

				Design storm		p		mm		82.4988446195										0.5		0.25		1.752

																								2.002																For the most intensive period of the storm, the time increment, D, should be at least as small as one fifth of the time of concentration. However, the general rule to determine the time increment will be as follows.

																																								For the determination of time increment, D, to be used the time increment , D, will usually be 1 hour for the first ( most intensive) 6 hours. For rapid concentration time (TC  less than 3 hours), One-half hour is the minimum practical time increment, D, recommended for the most intensive periods. For less rapid concentration times, the time increment, D, for the most intensive period may be longer. For TC values of 10 to 15 hours, a time increment, D of 2 hours is recommended.

				Duration		Daily point R.F		R.F profile		R.F profile		Areal of point R.F Ratio		Areal of point R.F Ratio		Incremental R.F		Desending order		Rearraged order		Rearraged Incremental R.F		Cumulative R.F		Time of incremental Hydrograph

				hr		mm		%		mm		%		mm		mm		No		No		mm		mm		Beginning		Peak		End										The time period, D,  may be lengthened in the later part of the storm to reduce computations. This will result in a poorer definition of the recession limb of the hydrograph, but it has little effect on the design.

				0.50		82.4988446195		35		28.9		59		17.0		17.04		1		6		3.31		3.31		0.50		2.00		5.3

				1.00				45		37.1		69		25.6		8.58		2		4		4.57		7.88		1.00		2.50		5.8										Runoff from 12-24 hour period , if obtained, has little effect on design and therefore, may be neglected. Runoff hydrographs for only the first 12-hour period of design storm need be computed for watersheds having a TC of 12 hours or less.

				1.50				54		44.5		72.26		32.2		6.58		3		3		6.58		14.46		1.50		3.00		6.3

				2.00				59		48.7		75.52		36.8		4.57		4		1		17.04		31.49		2.00		3.50		6.8										For obtaining 0.5 hour excesses, hourly excess rainfall increments are divided by  2 and triangular hydrograph for each increment of excess is computed.

				2.50				64		52.8		78.02		41.2		4.44		5		2		8.58		40.07		2.50		4.00		7.3

				3.00				67		55.3		80.52		44.5		3.31		6		5		4.44		44.51		3.00		4.50		7.8								93.2834571432

																																						1.0992629878

				FOR REPORT

				Duration (hr)		Design Rainfall		Rainfall Profile				Area to Point Ratio %		Areal Rainfall (mm)		Incremental Rainfall (mm)		Descending order		Rank

								%		mm

				0.50		82.50		35		28.9		59		17.0		17.04		17.04		1

				1				45		37.1		69		25.6		8.58		8.58		2

				1.5				54		44.5		72.26		32.2		6.58		6.58		3				1.00		69

				2				59		48.7		75.52		36.8		4.57		4.44		4				2.00		75.52

				2.5				64		52.8		78.02		41.2		4.44		4.57		5				1.50		72.260

				3				67		55.3		80.52		44.5		3.31		3.31		6

				PARAMETER		SYMBOL		UNIT		VALUE														2.00		75.52

				AMC_II		CN-II				84.85522														3.00		80.52

				AMCIII		CN-III				93.2834571432		91.30421672												2.50		78.02

				Maximum potential difference(P)&(Q)		S		mm		18.2883647099						3.657672942

				Duration		commulative RF		Incremental RF		acumulative runoff		incremental runoff		runoff in		unit hydrograph time						Remark

				hr		mm		mm		mm		mm		m3/s		Beginning		peak		End

				0.50		3.31		3.31		0.00		0.00		0.00		0.00		2.00		5.34		H1

				1.00		7.88		4.57		0.79		0.79		5.19		0.50		2.50		5.84		H2

				1.50		14.46		6.58		4.01		3.22		21.07		1.00		3.00		6.34		H3

				2.00		31.49		17.04		16.80		12.79		83.75		1.50		3.50		6.84		H4

				2.50		40.07		8.58		24.24		7.44		48.74		2.00		4.00		7.34		H5

				3.00		44.51		4.44		28.22		3.98		26.04		2.50		4.50		7.84		H6

				HYDROGRAPH TIME		H1		H2		H3		H4		H5		H6		HT

				0.00		0.00												0.00																		0.5		30

				0.50		0.00		0.00										0.00																		1		45

				1.00		0.00		1.30		0.00								1.30																		1.5		54

				1.50		0.00		2.59		5.27		0.00						7.86		DISCHARGE																2		59

				2.00		0.00		3.89		10.53		20.92		-0.0				35.33

				2.50		0.00		5.19		15.80		41.87		12.18		-0.0		75.02

				3.00		0.00		4.41		21.07		62.81		24.36		6.51		119.16

				3.50		0.00		3.63		17.91		83.75		36.55		13.02		154.87																		3.5		69

				4.00		0.00		2.86		14.76		71.21		48.74		19.53		157.09																		4		72

				4.50		0.00		2.08		11.60		58.67		41.44		26.04		139.84																		4.5		75

				5.34		0.00		0.78		6.31		37.62		29.19		19.50		93.39

				5.84				0.00		3.15		25.08		21.89		15.60		65.73

				6.34						0.00		12.54		14.60		11.70		38.83

				6.84								0.00		7.30		7.80		15.10						TIME

				7.34										0.00		3.90		3.90

				7.84												0.00		0.00

				DESIGN FLOOD		m3/s		157.09

				Rate of max. flood/sp. Flood		m3/s/km2		2.52		shows  Mana Dawuch receives high rainfall and high HRU





		



H1

H2

H3

H4

H5

H6

HT



		

						Station Name : Adiszemen

				1		Hydroclimatic Data Availability and Its Quality

				S.No.		Year		Max. RF		Descending Order		Rank		Logarithmic Value/Yo/		(Yo-Ym)2		(Yo-Ym)3

				1		1998		32.4		69		1		1.8388		0.042		0.0085

				2		1999		42		57		2		1.7559		0.015		0.0018

				3		2000		46.5		53.2		3		1.7259		0.008		0.0008

				4		2001		27		48.4		4		1.6848		0.003		0.0001

				5		2002		53.2		46.5		5		1.6675		0.001		0.0000

				6		2003		38		42.5		6		1.6284		0.000		-0.0000

				7		2004		48.4		42		7		1.6232		0.000		-0.0000

				8		2005		57		42		7		1.6232		0.000		-0.0000

				9		2006		69		38		9		1.5798		0.003		-0.0002

				10		2007		35		35		10		1.5441		0.008		-0.0007

				11		2008		100		32.4		11		1.5105		0.015		-0.0019

				12		2009		42		27		12		1.4314		0.041		-0.0084

				SUM						533.00				19.6136		0.137		0.0001																March		12.9		37.2

				MEAN						44.42				1.6345		0.011		0.0000																April		14.9		32.5

				STANDARD DEVATION						11.49				0.1114																				May		15.5		30.1

				SKEWNESS COEFICIENT						0.679				0.0055																				June		15.1		29.9

				Data quality Check																														August		14.6		24.4

				Number of data =						12																								September		14		25.4

				Standard deviation,						11.49298864																								October		13.8		26.6

				Standard error of mean =						3.3177400425																								November		11.1		28.1

																																		December		8.9		29.1

																																		Average		12.9		29.2

				Relative standard    =						7.4695835855		%<10%

		2		Outlier Test

				Kn						2.1337238496

				Higher Limit ;                                                      YH=    Ymean+Kn*бy						1.8722046158

				Higher Limit ;                                                                              QH=						74.5082933589		166		no outlier

				Lower Limit ;                                                      YL=    Ymean- Kn*бy						1.397

				Lower Limit ;                                                                                    QL=						24.9301956835

				Consideration of the outliers depends on the value of skewness coefficient. If the value is b/n -0.4 and +0.4 , we consider both the  Higher and the Lower outliers; if the value is < -0.4 ,and if skewness coefficient is >+0.4 consider the higher outlier firt ;based on this we consider the Lower And higher outlier . But in this case there is no data which is out of   the outliers, so all the data can be considered.

		2		Design rain fall anlysis

		2.1		Gumbel's Method

				return period T yrs						50.00

				Standard variate, Sn						1.02

				standard mean, Yn						0.51														3.9

				yt						3.90														0.51

				frequency factor , KT						3.31														1.02

				Y=Xmean + Z*XStandared deviation						82.50

				Gumbel's EVI Method

				return period T yrs						50.00

				Standard variate, Sn						1.02

				standard mean, Yn						0.51

				yt						3.90

				frequency factor , KT						2.59

				Y=Xmean + Z*XStandared deviation						74.21

		2.2		Log Pearson Type 3 Method

				Design Period, T						50.00

				Probability, P						0.02

				K=(Cs/6)						0.001

				W=(Ln(1/P2))0.5						2.80

				Frequency Factor, KT=(w((2.515517+0.802853*w+0.010328*w2)/(1+1.432788*w+0.189269*w2+0.001308*w3)))						2.05

				Standared Normal Variance, Z=KT+(KT2-1)*K+1/3*(KT3-6*KT)*K2-(KT2-1)*K3+KT*K4+1/3*K5						2.06

				Y=Ymean + Z*YStandared deviation						1.864

				Design Rainfall, X50 = 10Y						73.06

		2.3		Log Normal Method

				Design Period, T						50.00

				Probability, P						0.02

				K=(Cs/6)						0.000

				W=(Ln(1/P2))0.5						2.80

				Frequency Factor, KT=(w((2.515517+0.802853*w+0.010328*w2)/(1+1.432788*w+0.189269*w2+0.001308*w3)))						2.05

				Standared Normal Variance, Z=KT+(KT2-1)*K+1/3*(KT3-6*KT)*K2-(KT2-1)*K3+KT*K4+1/3*K5						2.05

				Y=Ymean + Z*σy						1.863

				Design Rainfall, X50 = 10Y						73.00

		2.4		Pearson Type 3 Distribution

				Design Period, T						50.00

				Probability, P						0.02

				K=(Cs/6)						0.001

				W=(Ln(1/P2))0.5						2.80

				Z=(w((2.515517+0.802853*w+0.010328*w2)/(1+1.432788*w+0.189269*w2+0.001308*w3)))						2.05

				Kt=Z+(Z2-1)*K+1/3*(Z3-6*Z)*K2-(Z2-1)*K3+Z*K4+1/3*K5						2.06

				X50=Xmean + KT*σx						68.06

		2.5		Normal

				Design Period, T						50.00

				Probability, P						0.02

				K=(Cs/6)						0.000

				W=(Ln(1/P2))0.5						2.80

				KT=(w((2.515517+0.802853*w+0.010328*w2)/(1+1.432788*w+0.189269*w2+0.001308*w3)))						2.05

				X50=Xmean + KT*σx						68.03

		2.6		D-indexs				Take at least above Xmean for the value of XI.										Remark:The value of b =3/8 for all distributions except Gumbel whose b=11/25

																		But in this case m/(N+1) probability equation is used

								Normal										Log Normal												Log person Type III																Person Type III														Gumbel EVD								Gumbel

				Rank		XI		PR		w		KT		XI'		XI-'XI'		PR		w		KT		Y		XI'		XI-'XI'		PR		w		K		Z		KT		y		XI'		XI-'XI'		PR		w		K		Z		KT		XI'		XI-'XI'		PR		KT		XI'		XI-'XI'		PR		YT		KT		XI'		XI-'XI'

				1		69.00		0.077		2.2649		1.426		60.81		8.190		0.077		2.2649279712		1.4263388441		1.7933877941		62.142367378		6.858		0.077		2.2649		0.0186		1.4263		1.4449		1.7955		62.4389		6.561		0.077		2.2649279712		0.019		1.4263388441		1.4448918099		61.0227918234		7.977		0.077		1.519		61.87		7.127		0.029		3.522		2.9421347239		78.23		9.231

				2		57.00		0.154		1.9348		1.020		56.14		0.860		0.154		1.9348396197		1.0200611051		1.7481203374		55.9912724632		1.009		0.154		1.9348		0.0186		1.0201		1.0202		1.7481		55.9937		1.006		0.154		1.9348396197		0.019		1.0200611051		1.0202319908		56.1421813476		0.858		0.154		0.945		55.28		1.720		0.021		3.861		3.2739473789		82.04		25.044

				3		53.20		0.231		1.7125		0.736		52.88		0.324		0.231		1.7125052226		0.736063839		1.7164773683		52.0567880578		1.143		0.231		1.7125		0.0186		0.7361		0.7271		1.7155		51.9372		1.263		0.231		1.7125052226		0.019		0.736063839		0.727096088		52.7731737463		0.427		0.231		0.593		51.23		1.966		0.015		4.191		3.595751931		85.74		32.543

				4		48.40		0.308		1.5354		0.502		50.19		1.786		0.308		1.5353533771		0.5019927821		1.6903971763		49.0226942784		0.623		0.308		1.5354		0.0186		0.5020		0.4878		1.6888		48.8442		0.444		0.308		1.5353533771		0.019		0.5019927821		0.4877755369		50.0226653711		1.623		0.308		0.330		48.21		0.191		0.010		4.576		3.9721956778		90.07		41.669

				5		46.50		0.385		1.3824		0.293		47.78		1.284		0.385		1.3823975152		0.2929488214		1.6671055028		46.4628133278		0.037		0.385		1.3824		0.0186		0.2929		0.2758		1.6652		46.2586		0.241		0.385		1.3823975152		0.019		0.2929488214		0.2757792197		47.5861941063		1.086		0.385		0.113		45.72		0.781		0.006		5.117		4.5007147092		96.14		49.643

				6		42.50		0.462		1.2435		0.096		45.52		3.024		0.462		1.2435351931		0.0963279985		1.6451980151		44.1771825795		1.677		0.462		1.2435		0.0186		0.0963		0.0779		1.6431		43.9685		1.468		0.462		1.2435351931		0.019		0.0963279985		0.0778703376		45.311629572		2.812		0.462		-0.076		43.54		1.042		0.002		6.231		5.5897931864		108.66		66.160

				Sum												15.467												11.347																10.984														14.782								12.827										224.290

				Sum/Xm												0.34823												0.25546																0.24730														0.33281								0.28878										5.04968

				Rank		XI		Normal		Log Pearson Type III		Log Normal		Pearson Type III		Gumbel EVI		Gumbel

								XI -'XI'		XI -'XI'		XI -'XI'		XI -'XI'		XI -'XI'		XI -'XI'

				1		69.00		8.190		6.561		6.858		7.977		7.127		9.231

				2		57.00		0.860		1.006		1.009		0.858		1.720		25.044

				3		53.20		0.324		1.263		1.143		0.427		1.966		32.543

				4		48.40		1.786		0.444		0.623		1.623		0.191		41.669

				5		46.50		1.284		0.241		0.037		1.086		0.781		49.643

				6		42.50		3.024		1.468		1.677		2.812		1.042		66.160

				Sum				15.467		10.984		11.347		14.782		12.827		224.290

				Sum/Mean				0.348		0.247		0.255		0.333		0.289		5.050

				Point  Rainfall				68.03		73.06		73.00		68.06		74.21		82.50

				Design Point Rainfal =						82.499





		

																				12

																				44.42

														12		11.49				533.04

														3.4641016151		0.0746708081				23.0876590411

														153.8753937444		7.4670808116

																		3.9

																		0.51

																		1.02		3.39

																				3.3235294118				44.4166666667

																								11.49298864

																								38.1972857741

																								82.6139524407

																												1.50

												8.91																0.43

												3.06						0				-2227.29						0.17

												1.38						1368.1										0.29

												2.18						3595.39										0.51

												3.01						5042.42										2.92

																		7696.61

																		9286.28

																		80		0.79		1.14

																		84.85				x

																		90		0.87		1.07

																				4.85				x-1.14

																				5.15				1.07-x

																						0.9417475728		1.0076699029		2.1476699029

																								0.9455x		1.103916681

																										1.1		93.346





TC-1-1-1


0+5


2500.28 85 65.0 20.00 0.40 0.50 0.35 0.80 0.75


0.50


TC-1-1-2


0+5


2500.28 65


45.0


20.00


0.40 0.50


0.30


0.80 0.70


0.50


TC-1-1-3


0+170 2495.60


45


25.0


20.00


0.35 0.40


0.30


0.75 0.70


0.40


TC-1-1-4


0+170 2495.60


25


10.0


15.00


0.35 0.40


0.30


0.75 0.75


0.75


TC-1-1-5


0+500


2488.13


10.00 0.00 15.00 0.35 0.40


0.30


0.75 0.70


0.40


TC-1-1-6


0+500


2488.13


0.00 0.00 15.00 0.35 0.40


0.30


0.75 0.70


0.40


TC 1-1-7


0+1170


2474.92 0.00 0.00 15.00 0.35 0.40


0.30


0.75 0.70


0.40


TC 1-1-8


0+1170


2474.92 0.00 0.00 15.00 0.35 0.40


0.30


0.75 0.70


0.40


SC


depth  of 


the basin 


,D=Do Dividing Canal Name Chainage


ON GOING, 


Q


0


 (lit/sec)


OUTGOING, 


Q


1  


(lit/sec)       


TC FLOW, 


Q


2  


(lit/sec)       


parent canal 


bed width Bo


TCs bed 


width Bc


width of the 


basin 


,B=Bo+0.40


Length of 


the basin 


,L=Bc+0.41


parent canal 


depth,Do CBL




Canal  Chanaige Remark


MC1 (+100,300, 320,380, 600) 4m,=L


MC 2 (+200,400,600,800, 900,1000,1300,1600)1.1m = W


B=Canal WIDTHD =Depth For each,L=foot path length


For each,W=foot path width




(



)



8



/



3



4



5



.



0



k



S



Q






 


8 / 3


4


5.0


k S


Q




(



)



5



.



0



2



Z



1



2



K



+



+






 5.0


2


Z 1 2 K  




Z



K



+






Z K




3



/



2



2



1



÷



ø



ö



ç



è



æ



K



K






3 / 2


2


1 

















K


K




n



K



K



2



1






n


K K


2 1




Kd






Kd




2



1



d



K






2


1


d K




d



K



2






d K


2




3



/



2



3



d



K






3/2


3


d K




n



S



AR



3



/



2






n


S AR


3/2




=


-


=


1


s


He


B






m


P


He


B


5


.


3


1


'


=


-


+


=


s




Bl .






Home | Insert  Pagelajout  References  Mailngs  Review  View

ﬂ & Cut & Find -
& cony 4aBbCcD AaBbCi A) AaBb L AaBb( AaBh( .
P g omt paiter TChar  Heading3  Heading4  Heading5  Headings < g:‘ya‘:?f Iy Select =

Clipboard & Font & Paragraph & Styles 5| ediing
Document Map - x ([ 1o [EX) CXERRREF KERNRRRE IXENRRRE ERRNRRRS ERRNRERNXRRY |

5.0 myunaunc Design ur 1 e werr Where

3.6.1 Flow over the Weir Crest o 3
3.6.1.1 Crest Length Q=Design discharge, m¥/s

3.6.1.2 Discharge over the wer section _ o
3.6.2 Type of Flow (Modular/ None-Modular) R =Hydraulic radius of th canal, m

363 Top and bottom width of weir A = Wetted cross sectional area of canal, m?
37 ydraulic jump Computation

38 Stabity of the weir P = Wetted Perimeter, m

3.9 Design of Retaining Wall L .
3.9.1 Upstream Retaining Wall 1= Manning’s roughness coefficient
3.9.2 Downstream retaining wall S =Bed slope of the canal
3.10 Design of under sluice
3.1 Design of Head Regulator
3.12 Weir Protection Work (Capping)

SETon o ATON & Do RS

4. Trrigable area description

4.1 Topography and soil

o arecies

o rovamnt

e equramnt

4.3.2 Trrigation efficiency

4.3.3 Trrigation duty

4.4 Trrigation method

4.5 Irrigation & Drainage system lay out

4.5.1 Trrigation canals

S5 e

4.6 Canal design

b

4.7 Drainage Canals

3D+D?
3+22D

A
?

Page: 59 of 89 | Words: 16242 | <&  English (United States) |







Table - IVA-1B.1 Areal to Point Ratio (%)

[ Area Duration  0.50 100 300 300 400 500 6.00

; 800 1200 1500 1809 2100 2400
km' I(hrs) W
(08 88 78 82 85 87 88 88 91 92 93 93 9% 9
50 61 71 78 82 84 85 87 89 90 91 92 92 93
75 57 67 75 79 82 84 83 87 89 90 91 91 7]
100 54 65 73 78 80 82 83 86 88 89 90 91 N
% 125 52 63 72 76 79 81 82 85 87 88 89 90 91
150 50 61 70 75 78 80 61 84 86 88 89 89 90 “\
175 48 59 69 74 77 79 81 84 86 87 38 89 920
200 46 58 68 73 76 78 80 83 85 87 88 83 89
225 45 57 57 72 75 77 i 82 85 86 87 88 89
250 44 55 66 71 74 7L 78 82 84 86 87 88 38
[ 275 42 54 65 70 74 76 78 81 84 85 86 87 88
/ 300 41 83 54 70 i) 75 o 81 83 65 86 87 88
[ 325 40 53 63 58 72 73 77 80 83 84 86 87 87
[ 350 38 52 63 68 72 74 76 80 82 84 85 86 87
375 39 51 62 68 Wi 74 78 80 82 84 85 86 87
400 38 50 61 67 71 73 75 79 82 33 85 86 87
425 37 50 61 67 70 73 75 79 81 83 84 85 86
450 36 49 60 66 70 72 74 79 81 83 84 85 86
475 36 48 60 66 69 72 74 78 81 83 84 85 86
500 35 48 59 66 69 oSN 80 82 84 85 86
525 34 47 59 65 68 71 73 78 80 82 83 85 85
550 34 47 58 64 68 71 73 i 80 82 83 84 85
575 33 46 58 64 68 7 73 77 80 82 83 84 85
600 33 45 57 63 67 70 72 77 79 81 83 84 85
625 32 45 57 63 67 70 72 76 79 81 83 84 85 ‘
680 32 45 56 63 67 69 72 76 79 81 82 84 84 :
675 31 41 56 62 66 69 71 76 79 81 82 83 84
700 31 44 56 62 66 69 71 76 78 80 82 83 84
725 31 45 55 62 66 69 7 75 78 80 82 8 84
750 30 43 55 61 65 68 71 75 78 80 82 83 84
1 49







e - e :
| ; |.5

#IL A P g 44

Lo Gl e o

‘ \

— i g

90 -
P

TILE ( hours)






1149
W12 * 4442,






MBD00128CAD.unknown



MBD00128CB1.unknown



MBD00128CB5.unknown



MBD00128CB7.unknown



MC TC DESIGN OF GUDER3


									MAIIN CANAL 			FC


									Canal Type			No of TC 			Length of canal 			net comand area (ha) 			Design duty (l/s/ha) 			Canal design capacity 			adopted Q, l/s


									MC-1			0			600			54.97			1.47			80.8059			85


									SC			6			1940			54.97			1.47			80.8059			85


									TC-1-1-1			1			980			11.81			1.47			17.3607			20


									TC-1-1-2			1			770			11.12			1.47			16.3464			20


									TC-1-1-3			1			550			11.44			1.47			16.8168			20


									TC-1-1-4			1			1250			6.3			1.47			9.261			15


									TC-1-1-5			1			520			7.6			1.47			11.172			15


									TC-1-1-6			1			60			6.7			1.47			9.849			15


									MAIN CANAL CHARACTERISTICS


									chainage			Length ,m			Desing slope,S			description			section 


									0+0-0+150			150			0.001			canal


									0+150-0+370			220			0.013			chute


									0+370-0+440			70			0.001			chute


									0+440-0+530			90			0.063			chute


									0+0-100 (SC)			100			0.001			canal


									100-130(SC)			30			0.001			chute


									130-160(SC)			30			0.020			chute


									160-300(SC)			140			0.008			chute


									300-440(SC)			140			0.100			chute


									440-830(SC)			390			0.013			chute


									830-1940 (SC)			1110			0.010			chute





									Canal design spreadsheet


									ALL CANALS 						MC-0-150			MC 150-600			SC 0-100			SC 100-130			SC 130-160			SC 160-300			SC 300-440			SC 440-830			SC 830-1940			TC 1-1-1			TC 1-1-2			TC 1-1-3			TC-1-1-4			TC1-1-5			TC1-1-6


									Given value


									Design discharge ,Q			Q			0.085			0.085			0.085			0.085			0.085			0.085			0.085			0.085			0.085			0.02			0.02			0.02			0.015			0.015			0.015


									Bed width to depth ratio (b/d)			K			1			1			1			1			1			1			1			1			1			1			1			1			1			1			1


									Side slope ,Z			Z			0			0			0			0			0			0			0			0			0			0			0			1			1			1			1


									Manning's roughness, n			n			0.018			0.018			0.018			0.018			0.018			0.018			0.018			0.018			0.018			0.018			0.018			0.03			0.03			0.03			0.03


									Longitudinal slope, S			S			0.001			0.002			0.001			0.002			0.02			0.008			0.1			0.0125			0.01			0.003			0.003			0.008			0.008			0.008			0.008


									Intermediate calculation


									k1						1			1			1			1			1			1			1			1			1			1			1			2			2			2			2


									k2						3.000			3			3			3			3			3			3			3			3			3.000			3.000			3.828			3.828			3.828			3.828


									k3						0.481			0.4807498568			0.4807498568			0.4807498568			0.4807498568			0.4807498568			0.4807498568			0.4807498568			0.4807498568			0.481			0.481			0.649			0.649			0.649			0.649


									k4						26.708			26.7083253761			26.7083253761			26.7083253761			26.7083253761			26.7083253761			26.7083253761			26.7083253761			26.7083253761			26.708			26.708			43.243			43.243			43.243			43.243


									Final result


									water depth, d						0.423			0.3711901781			0.4227071562			0.3711901781			0.2410440835			0.2862267555			0.1782541297			0.2632503594			0.2744982628			0.200			0.200			0.139			0.125			0.125			0.125


									bed width, b						0.423			0.371			0.423			0.371			0.241			0.286			0.178			0.263			0.274			0.200			0.200			0.139			0.125			0.125			0.125


									Area						0.179			0.138			0.179			0.138			0.058			0.082			0.032			0.069			0.075			0.040			0.040			0.039			0.031			0.031			0.031


									Wetted perimeter						1.268			1.114			1.268			1.114			0.723			0.859			0.535			0.790			0.823			0.600			0.600			0.532			0.477			0.477			0.477


									R2/3						0.271			0.248			0.271			0.248			0.186			0.209			0.152			0.197			0.203			0.164			0.164			0.174			0.162			0.162			0.162


									Hydraulic radius			           R			0.141			0.124			0.141			0.124			0.080			0.095			0.059			0.088			0.091			0.067			0.067			0.073			0.065			0.065			0.065


									Velocity, v			           Q/A			0.476			0.617			0.476			0.617			1.463			1.038			2.675			1.227			1.128			0.500			0.500			0.519			0.483			0.483			0.483


									Check the discharge						0.085			0.085			0.085			0.085			0.085			0.085			0.085			0.085			0.085			0.02			0.02			0.02			0.015			0.015			0.015


									Canal Discharge capacity						0.085			0.085			0.085			0.085			0.085			0.085			0.085			0.085			0.085			0.02			0.02			0.02			0.015			0.015			0.015


									Free board


									Total depth						0.423			0.371			0.423			0.371			0.241			0.286			0.178			0.263			0.274			0.200			0.200			0.139			0.125			0.125			0.125





									Prameters			TC 1-1-1			TC 1-1-2			TC 1-1-3			TC-1-1-4			TC1-1-5			TC1-1-6																																										MC-0-150			MC 150-600												Prameters			MC-0-150			MC 150-600						Prameters			Design discharge ,Q			Bed width to depth ratio (b/d)			Side slope ,Z			Manning's roughness, n			Longitudinal slope, S			water depth, d			bed width, b			Area			Wetted perimeter			Hydraulic radius			Velocity, v			Canal Discharge capacity			Free board			Total depth			Adopted, depth, d			Adopted, Bed width b


									Design discharge ,Q			0.020			0.020			0.020			0.015			0.015			0.015																																				Design discharge ,Q						0.085			0.085												Design discharge ,Q			0.085			0.085						MC1  0-150			0.085			1.000			0.000			0.018			0.001			0.423			0.423			0.179			1.268			0.141			0.476			0.085			0.150			0.500			0.500			0.500


									Bed width to depth ratio (b/d)			1.000			1.000			1.000			1.000			1.000			1.000																																				Bed width to depth ratio (b/d)						1			1												Bed width to depth ratio (b/d)			1			1						MC1  150-600			0.085			1.000			0.000			0.018			0.002			0.371			0.371			0.138			1.114			0.124			0.617			0.085			0.150			0.500			0.500			0.500


									Side slope ,Z			0.000			0.000			0.000			0.000			0.000			0.000																																				Side slope ,Z						0			0												Side slope ,Z			0			0


									Manning's roughness, n			0.018			0.018			0.018			0.018			0.018			0.018																																				Manning's roughness, n						0.018			0.018												Manning's roughness, n			0.018			0.018


									Longitudinal slope, S			0.003			0.003			0.008			0.008			0.008			0.008																																				Longitudinal slope, S						0.001			0.002												Longitudinal slope, S			0.001			0.002


									water depth, d			0.200			0.200			0.139			0.125			0.125			0.125																																				water depth, d						0.4227071562			0.3711901781												water depth, d			0.4227071562			0.3711901781


									bed width, b			0.200			0.200			0.139			0.125			0.125			0.125																																				bed width, b						0.4227071562			0.3711901781												bed width, b			0.4227071562			0.3711901781


									Area			0.040			0.040			0.039			0.031			0.031			0.031																																				Area						0.1786813399			0.1377821483												Area			0.1786813399			0.1377821483


									Wetted perimeter			0.600			0.600			0.532			0.477			0.477			0.477																																				Wetted perimeter						1.2681214685			1.1135705344												Wetted perimeter			1.2681214685			1.1135705344


									Hydraulic radius			0.067			0.067			0.073			0.065			0.065			0.065																																				Hydraulic radius						0.1409023854			0.1237300594												Hydraulic radius			0.1409023854			0.1237300594


									Velocity, v			0.500			0.500			0.519			0.483			0.483			0.483																																				Velocity, v						0.4757072006			0.6169159142												Velocity, v			0.4757072006			0.6169159142


									Canal Discharge capacity			0.020			0.020			0.020			0.015			0.015			0.015																																				Canal Discharge capacity						0.085			0.085												Canal Discharge capacity			0.085			0.085


									Free board			0.150			0.150			0.150			0.150			0.150			0.150																																				Free board						0.15			0.15												Free board			0.15			0.15


									Total depth			0.350			0.350			0.289			0.275			0.275			0.275																																				Total depth						0.5727071562			0.5211901781												Total depth			0.5727071562			0.5211901781


									Adopted, depth, d			0.350			0.350			0.350			0.350			0.350			0.350																																				Adopted, depth, d						0.5			0.5												Adopted, depth, d			0.5			0.5


									Adopted, Bed width b			0.300			0.300			0.300			0.300			0.300			0.300																																				Adopted, Bed width b						0.5			0.5												Adopted, Bed width b			0.5			0.5





																																																									Prameters			MC2  0-100			MC2 100-130			MC2  130-160			MC2  160-300			MC2  300-440			MC2  440-830			MC2  830-1720


																																																									Design discharge ,Q			0.085			0.085			0.085			0.085			0.085			0.085			0.085


																																																									Bed width to depth ratio (b/d)			1.000			1.000			1.000			1.000			1.000			1.000			1.000


																																																									Side slope ,Z			0.000			0.000			0.000			0.000			0.000			0.000			0.000


									Prameters			TC 1-1-1						Prameters			TC 1-1-2						Prameters			TC 1-1-3						Prameters			TC-1-1-4																		Manning's roughness, n			0.018			0.018			0.018			0.018			0.018			0.018			0.018


									Design discharge ,Q			0.020						Design discharge ,Q			0.020						Design discharge ,Q			0.020						Design discharge ,Q			0.015																		Longitudinal slope, S			0.001			0.002			0.020			0.008			0.100			0.013			0.010


									Bed width to depth ratio (b/d)			1.000						Bed width to depth ratio (b/d)			1.000						Bed width to depth ratio (b/d)			1.000						Bed width to depth ratio (b/d)			1.000																		water depth, d			0.423			0.371			0.241			0.286			0.178			0.263			0.274


									Side slope ,Z			0.000						Side slope ,Z			0.000						Side slope ,Z			0.000						Side slope ,Z			0.000																		bed width, b			0.423			0.371			0.241			0.286			0.178			0.263			0.274


									Manning's roughness, n			0.018						Manning's roughness, n			0.018						Manning's roughness, n			0.018						Manning's roughness, n			0.018																		Area			0.179			0.138			0.058			0.082			0.032			0.069			0.075


									Longitudinal slope, S			0.003						Longitudinal slope, S			0.003						Longitudinal slope, S			0.008						Longitudinal slope, S			0.008																		Wetted perimeter			1.268			1.114			0.723			0.859			0.535			0.790			0.823


									water depth, d			0.200						water depth, d			0.200						water depth, d			0.139						water depth, d			0.125																		Hydraulic radius			0.141			0.124			0.080			0.095			0.059			0.088			0.091


									bed width, b			0.200						bed width, b			0.200						bed width, b			0.139						bed width, b			0.125																		Velocity, v			0.476			0.617			1.463			1.038			2.675			1.227			1.128


									Area			0.040						Area			0.040						Area			0.039						Area			0.031																		Canal Discharge capacity			0.085			0.085			0.085			0.085			0.085			0.085			0.085


									Wetted perimeter			0.600						Wetted perimeter			0.600						Wetted perimeter			0.532						Wetted perimeter			0.477																		Free board			0.150			0.150			0.150			0.150			0.150			0.150			0.150


									Hydraulic radius			0.067						Hydraulic radius			0.067						Hydraulic radius			0.073						Hydraulic radius			0.065																		Total depth			0.573			0.521			0.391			0.436			0.328			0.413			0.424


									Velocity, v			0.500						Velocity, v			0.500						Velocity, v			0.519						Velocity, v			0.483																		Adopted, depth, d			0.500			0.400			0.400			0.400			0.400			0.400			0.400


									Canal Discharge capacity			0.020						Canal Discharge capacity			0.020						Canal Discharge capacity			0.020						Canal Discharge capacity			0.015																		Adopted, Bed width b			0.500			0.350			0.350			0.350			0.350			0.350			0.350


									Free board			0.150						Free board			0.150						Free board			0.150						Free board			0.150


									Total depth			0.350						Total depth			0.350						Total depth			0.289						Total depth			0.275


									Adopted, depth, d			0.350						Adopted, depth, d			0.350						Adopted, depth, d			0.350						Adopted, depth, d			0.350


									Adopted, Bed width b			0.300						Adopted, Bed width b			0.300						Adopted, Bed width b			0.300						Adopted, Bed width b			0.300


																																	Prameters			TC1-1-5									Prameters						TC1-1-6


																																	Design discharge ,Q			0.015									Design discharge ,Q						0.015


																																	Bed width to depth ratio (b/d)			1.000									Bed width to depth ratio (b/d)						1.000


																																	Side slope ,Z			0.000									Side slope ,Z						0.000


																																	Manning's roughness, n			0.018									Manning's roughness, n						0.018


																																	Longitudinal slope, S			0.008									Longitudinal slope, S						0.008


																																	water depth, d			0.125									water depth, d						0.125


																																	bed width, b			0.125									bed width, b						0.125


																																	Area			0.031									Area						0.031


																																	Wetted perimeter			0.477									Wetted perimeter						0.477


																																	Hydraulic radius			0.065									Hydraulic radius						0.065


																																	Velocity, v			0.483									Velocity, v						0.483


																																	Canal Discharge capacity			0.015									Canal Discharge capacity						0.015


																																	Free board			0.150									Free board						0.150


																																	Total depth			0.275									Total depth						0.275


																																	Adopted, depth, d			0.350									Adopted, depth, d						0.350


																																	Adopted, Bed width b			0.300									Adopted, Bed width b						0.300


																																	Prameters						TC1-1-7									Prameters						TC1-1-8


																																	Design discharge ,Q						0.015									Design discharge ,Q						0.015


																																	Bed width to depth ratio (b/d)						1.000									Bed width to depth ratio (b/d)						1.000


																																	Side slope ,Z						0.000									Side slope ,Z						0.000


																																	Manning's roughness, n						0.018									Manning's roughness, n						0.018


																																	Longitudinal slope, S						0.008									Longitudinal slope, S						0.008


																																	water depth, d						0.125									water depth, d						0.125


																																	bed width, b						0.125									bed width, b						0.125


																																	Area						0.031									Area						0.031


																																	Wetted perimeter						0.477									Wetted perimeter						0.477


																																	Hydraulic radius						0.065									Hydraulic radius						0.065


																																	Velocity, v						0.483									Velocity, v						0.483


																																	Canal Discharge capacity						0.015									Canal Discharge capacity						0.015


																																	Free board						0.150									Free board						0.150


																																	Total depth						0.275									Total depth						0.275


																																	Adopted, depth, d						0.350									Adopted, depth, d						0.350


																																	Adopted, Bed width b						0.300									Adopted, Bed width b						0.300








MCDATA


			236094.4479			1203720.6409			0			0			1773.5653


			236086.3542			1203738.93			20.0			19.9999789624			1774.6306


			236078.4915			1203757.3193			20.0			39.999689105			1773.3961


			236069.9813			1203775.4179			20.0			59.9992597503			1774.1747


			236061.8946			1203793.71			20.0			79.9991507325			1773.9963


			236053.8028			1203811.9995			20.0			99.9987266652			1774.7946


			236045.8796			1203830.3631			20.0			119.9986992452			1775.0486


			236037.7933			1203848.6553			20.0			139.9985199577			1775.063


			236030.403			1203867.2395			20.0			159.998245549			1775.4034


			236023.3754			1203885.9642			20.0			179.9982843453			1775.5739


			236016.3812			1203904.7013			20.0			199.9982280965			1775.5203


			236009.3871			1203923.4385			20.0			219.9982305626			1775.3281


			236001.9747			1203942.0039			20.0			239.9886720514			1775.1322


			235991.4001			1203958.9373			20.0			259.9526947104			1774.7329


			235977.557			1203973.3224			20.0			279.9167253559			1773.9988


			235961.9198			1203985.7909			20.0			299.9163632549			1773.1514


			235946.2097			1203998.1666			20.0			319.9154930486			1772.2499


			235929.218			1204008.6955			20.0			339.9048803352			1771.1522


			235911.9634			1204018.8089			20.0			359.9049323532			1770.1266


			235894.7089			1204028.9223			20.0			379.9048980984			1769.1496


			235877.4579			1204039.0417			20.0			399.9048795324			1768.1169


			235861.2384			1204050.7203			20.0			419.89142196			1767.0954


			235845.3679			1204062.8912			20.0			439.8915113863			1766.2495


			235829.4975			1204075.062			20.0			459.8914606062			1765.6745


			235813.1952			1204086.6433			20.0			479.8887477968			1765.348


			235796.7803			1204098.0692			20.0			499.8887511173			1764.6513


			235780.274			1204109.362			20.0			519.8883829021			1764.4808


			235763.7162			1204120.5798			20.0			539.8883773441			1764.3312


			235747.2266			1204131.8973			20.0			559.8881952036			1764.0783


			235730.7664			1204143.258			20.0			579.8882874165			1763.6216


			235714.3063			1204154.6186			20.0			599.8882405257			1763.3368


			235697.8376			1204165.9667			20.0			619.8881768582			1763.0431


			235681.26			1204177.1552			20.0			639.8881607084			1762.5002


			235664.6824			1204188.3437			20.0			659.8881445587			1762.022


			235648.1048			1204199.5323			20.0			679.8881843517			1761.4647


			235631.5272			1204210.7208			20.0			699.8881682019			1760.8989


			235614.9496			1204221.9093			20.0			719.8881520521			1760.3461


			235598.441			1204233.1965			20.0			739.8865209306			1759.7504


			235582.6701			1204245.4958			20.0			759.8863726125			1759.1348


			235567.5489			1204258.4905			19.9			779.8240985995			1758.4772


			235562.7971			1204277.3971			19.5			799.3186908444			1758.0443


			235568.3095			1204296.6098			20.0			819.3065470339			1757.9855


			235563.0121			1204314.8678			19.0			838.3175178339			1757.3527


			235549.1709			1204329.3047			20.0			858.31759031			1756.2429


			235535.3298			1204343.7415			20.0			878.3175213962			1755.1331


			235521.4886			1204358.1783			20.0			898.3175216882			1754.0233


			235507.6474			1204372.6151			20.0			918.3175219802			1752.9134


			235493.8062			1204387.0519			20.0			938.3175222723			1751.7992


			235480.4286			1204401.8832			20.0			958.2906953163			1750.6386


			235468.5649			1204417.9845			20.0			978.2906763008			1749.5035


			235456.7011			1204434.0858			20.0			998.290716604			1749.149


			235444.8374			1204450.1871			20.0			1018.2906975885			1748.3344


			235432.9736			1204466.2884			20.0			1038.2907378917			1747.294


			235428.9258			1204484.6274			18.8			1057.0711427288			1747.3589


			235424.1845			1204501.0988			17.1			1074.2113569529			1748.7037


			235408.4332			1204513.4234			20.0			1094.211337374			1748.412


			235390.2601			1204521.7293			20.0			1114.1925670264			1748.4782


			235375.308			1204534.9851			20.0			1134.1745971547			1748.3624


			235362.4737			1204550.324			20.0			1154.1746248973			1748.4017


			235347.8028			1204547.4574			14.9			1169.1229593319			1747.7634


			235331.9786			1204548.7733			15.9			1185.0017785087			1746.9564


			235315.6805			1204560.3652			20.0			1205.0017837392			1746.7049


			235299.3824			1204571.957			20.0			1225.0017310104			1746.2924


			235283.0843			1204583.5489			20.0			1245.001736241			1745.7932


			235267.0329			1204595.4748			20.0			1264.9985993141			1745.1215


			235251.1609			1204607.6437			20.0			1284.9986620943			1744.4977


			235235.289			1204619.8125			20.0			1304.9985846704			1744.0526


			235219.6434			1204632.2684			20.0			1324.9969407071			1743.6223


			235204.1087			1204644.8651			20.0			1344.9970345814			1743.1093


			235188.5741			1204657.4617			20.0			1364.9969877994			1742.4923


			235173.1874			1204670.2386			20.0			1384.9969805619			1741.9047


			235157.801			1204683.0159			20.0			1404.9969980681			1741.3107


			235142.4147			1204695.7933			20.0			1424.9970025293			1740.5565


			235127.0284			1204708.5706			20.0			1444.9969431037			1740.0345


			235111.642			1204721.348			20.0			1464.9970244966			1739.5303


			235096.2557			1204734.1253			20.0			1484.9969650709			1739.1192


			235080.8605			1204746.8915			20.0			1504.9966662057			1738.006


			235064.8506			1204758.8783			20.0			1524.996673012			1738.6944


			235048.0903			1204769.5989			19.9			1544.8923740665			1738.5598


			235029.8601			1204777.8244			20.0			1564.8923501238			1738.2182


			235011.6299			1204786.0499			20.0			1584.892326181			1737.8167


			234993.3996			1204794.2753			20.0			1604.8923522622			1737.3344


			234975.4985			1204803.1753			20.0			1624.8838349789			1736.8713


			234957.7987			1204812.4874			20.0			1644.88378814			1736.4878


			234940.0989			1204821.7995			20.0			1664.8837413012			1736.0814


			234922.399			1204831.1116			20.0			1684.8837829617			1735.6737


			234904.6992			1204840.4238			20.0			1704.8837826837			1735.2659


			234886.9993			1204849.7359			20.0			1724.8838243441			1734.8581


			234869.2995			1204859.048			20.0			1744.8837775053			1733.9964


			234851.5997			1204868.3601			20.0			1764.8837306665			1732.8654


			234833.8998			1204877.6723			20.0			1784.8838188876			1731.9728


			234815.3148			1204884.7928			19.9			1804.7861741565			1730.7412


			234796.1032			1204890.3528			20.0			1824.7861535205			1729.2741


			234776.8916			1204895.9129			20.0			1844.7861606848			1727.84


			234759.6834			1204905.764			19.8			1864.6145826706			1727.346


			234743.1206			1204916.9745			20.0			1884.6146240228			1727.2214


			234726.5578			1204928.1849			20.0			1904.6146093228			1727.0968


			234709.9951			1204939.3954			20.0			1924.6145678613			1726.9722


			234693.4323			1204950.6058			20.0			1944.6145531613			1726.8476


			234676.8695			1204961.8163			20.0			1964.6145945135			1726.723


			234660.3067			1204973.0267			20.0			1984.6145798135			1726.3711


			234643.7439			1204984.2372			20.0			2004.6146211657			1725.8405


			234627.1812			1204995.4476			20.0			2024.6145236517			1725.5759


			234610.6184			1205006.6581			20.0			2044.6145650038			1725.3171


			234594.0556			1205017.8685			20.0			2064.6145503039			1725.0583


			234577.4928			1205029.079			20.0			2084.614591656			1724.7995


			234560.93			1205040.2895			20.0			2104.6146330083			1724.4333


			234544.3673			1205051.4999			20.0			2124.6145354943			1723.9697


			234527.8045			1205062.7104			20.0			2144.6145768465			1723.5061


			234511.2417			1205073.9208			20.0			2164.6145621465			1723.0426


			234494.6789			1205085.1313			20.0			2184.6146034987			1722.579


			234478.1161			1205096.3417			20.0			2204.6145887987			1722.1154


			234461.5533			1205107.5522			20.0			2224.6146301509			1721.2141


			234446.7722			1205120.7581			19.8			2244.4357479806			1720.2689


			234433.8191			1205135.9968			20.0			2264.4357674132			1719.4531


			234425.5361			1205153.0037			18.9			2283.3524990708			1718.9455


			234425.8609			1205173.001			20.0			2303.3524366289			1718.6785


			234420.6623			1205190.1102			17.9			2321.2339960296			1717.4261


			234403.0412			1205199.5705			20.0			2341.2340070621			1718.0712


			234385.42			1205209.0307			20.0			2361.2340588991			1717.966


			234367.7989			1205218.4909			20.0			2381.2340226303			1717.9965


			234349.7259			1205227.0538			20.0			2401.2329372362			1718.1892


			234331.6328			1205235.5767			20.0			2421.2329395367			1718.1695








GUDER MC DATA


						X			Y			Z


						272958.4872			1221298.1129			2501.742


						272954.4407			1221307.2579			2501.499


						272947.5577			1221313.6784			2501.631


						272940.6831			1221320.4503			2501.628


						272937.707			1221329.8876			2501.742


						272932.4762			1221338.2883			2501.756


						272923.1202			1221341.8023			2501.655


						272919.2047			1221350.142			2501.859


						272917.7727			1221360.0392			2501.932


						272916.3407			1221369.9364			2501.951


						272687.9036			1221787.9321			2501.5227


						272677.9223			1221788.5423			2501.5402


						272667.9409			1221789.1526			2501.5578


						272657.9596			1221789.7628			2501.5754


						272647.9782			1221790.3731			2501.5853


						272637.9908			1221790.8576			2501.4806


						272627.9928			1221790.766			2501.3871


						272618.0194			1221790.0588			2501.3061


						272608.1085			1221788.7386			2501.2378


						272598.2978			1221786.8105			2501.1773


						272588.6245			1221784.2817			2501.1245


						272579.051			1221781.3921			2501.0275


						272569.4788			1221778.4988			2500.9138


						272559.9065			1221775.6054			2500.8412


						272550.3342			1221772.712			2500.7687


						272540.762			1221769.8186			2500.6243


						272531.1897			1221766.9252			2500.4549


						272521.6174			1221764.0318			2500.2865


						272512.0452			1221761.1384			2500.1307


						272502.4729			1221758.245			2499.975


						272492.9006			1221755.3517			2499.8192


						272483.3034			1221752.5444			2499.726


						272473.5546			1221750.3261			2499.6664


						272463.6759			1221748.7865			2499.5245


						272453.7143			1221747.9331			2499.533


						272443.7177			1221747.7699			2499.6156


						272433.7336			1221748.2977			2499.6746


						272423.808			1221749.5017			2499.7572


						272413.9107			1221750.9307			2499.8238


						272404.0133			1221752.3598			2499.8903


						272394.1222			1221753.8297			2499.9207


						272384.3597			1221755.98			2499.6229


						272374.8353			1221759.0158			2499.2292


						272365.6292			1221762.9116			2498.7074


						272356.7661			1221767.5399			2498.1385


						272347.9586			1221772.2758			2497.5683


						272339.1512			1221777.0117			2496.998


						272330.3437			1221781.7476			2496.4278


						272321.5363			1221786.4835			2495.8576


						272312.7288			1221791.2194			2495.2874


						272303.9214			1221795.9554			2494.7171


						272295.1139			1221800.6913			2494.1469


						272286.3065			1221805.4272			2493.5767


						272277.4991			1221810.1631			2492.7623








Guder3MC





			chainage			0+00-0+530


			bed width			0.423															masonry width			Working space			total cut width


			Slope			1000															0.35			0.35			1.47


			Total depth			0.423																					0.41


			Side slope of canal			0																					0.17


			Side slope of Burm			1																					0.32


			Insert top width of built burm for fill			0																					0.32


			OFFTAKE LEVEL CBL			2501.3344																					0.47








			Northing			Easting			Partial Distance			Chainage			Elevation			CBL			Bank level			CUT(m)			Fill(m)			slope			drop			Area of cut			Average Area of Cut			Volume of cut			Area of Fill			Average Area of Fill			Volume of Fill			Massonry Area (m2)			Massonry volume(m3)			PLASTERING			CUM.VOL.CUT


			272958.4872			1221298.1129			0			0			2501.742			2501.33			2501.76			0.41			0.02			1000.00						0.60			0.00			0.00			0.02			0.00			0.00			0.56			0.00			0			0.00


			272954.4407			1221307.2579			10.0			10			2501.499			2501.32			2501.75			0.17			0.25									0.26			0.43			4.29			0.09			0.06			0.56			0.56			5.61			15			4.29


			272947.5577			1221313.6784			10.0			20			2501.631			2501.31			2501.74			0.32			0.11									0.47			0.36			3.62			0.14			0.11			1.14			0.56			5.61			15			7.91


			272940.6831			1221320.4503			10.0			30			2501.628			2501.30			2501.73			0.32			0.10									0.48			0.47			4.72			0.13			0.13			1.31			0.56			5.61			15			12.62


			272937.707			1221329.8876			10.0			40			2501.742			2501.29			2501.72			0.45			0.00									0.66			0.57			5.68			0.00			0.06			0.63			0.56			5.61			15			18.30


			272932.4762			1221338.2883			10.0			50			2501.756			2501.28			2501.71			0.47			0.00									0.69			0.68			6.77			0.00			0.00			0.00			0.56			5.61			15			25.07


			272923.1202			1221341.8023			10.0			60			2501.655			2501.27			2501.70			0.38			0.04									0.56			0.63			6.27			0.05			0.03			0.27			0.56			5.60			15			31.34


			272919.2047			1221350.142			10.0			70			2501.859			2501.26			2501.69			0.59			0.00			1000.00						0.88			0.72			7.18			0.00			0.03			0.27			0.56			5.61			15			38.53


			272917.7727			1221360.0392			10.0			80			2501.932			2501.25			2501.68			0.68			0.00									1.00			0.94			9.37			0.00			0.00			0.00			0.56			5.61			15			47.90


			272916.3407			1221369.9364			10.0			90			2501.951			2501.24			2501.67			0.71			0.00									1.04			1.02			10.19			0.00			0.00			0.00			0.56			5.61			15			58.09


			272914.9088			1221379.8336			10.0			100			2501.954			2501.23			2501.66			0.72			0.00									1.06			1.05			10.50			0.00			0.00			0.00			0.56			5.61			15			68.59


			272913.4768			1221389.7308			10.0			110			2501.8646			2501.22			2501.65			0.64			0.00									0.94			1.00			10.02			0.00			0.00			0.00			0.56			5.61			15			78.61


			272912.0448			1221399.6281			10.0			120			2501.756			2501.21			2501.64			0.54			0.00									0.80			0.87			8.70			0.00			0.00			0.00			0.56			5.61			15			87.31


			272910.6129			1221409.5253			10.0			130			2501.6862			2501.20			2501.63			0.48			0.00									0.71			0.75			7.54			0.00			0.00			0.00			0.56			5.61			15			94.85


			272909.1809			1221419.4225			10.0			140			2501.5248			2501.19			2501.62			0.33			0.09									0.49			0.60			5.98			0.12			0.06			0.59			0.56			5.61			15			100.83


			272907.6485			1221429.2968			10.0			150			2501.2978			2501.17			2501.60			0.12			0.30			500.00						0.18			0.33			3.34			0.16			0.14			1.41			0.56			5.60			15			104.17


			272902.6809			1221437.9743			10.0			160			2501.2748			2501.15			2501.58			0.12			0.30									0.18			0.18			1.80			0.17			0.17			1.66			0.56			5.61			15			105.97


			272897.6836			1221446.6364			10.0			170			2501.4722			2501.13			2501.56			0.34			0.09									0.50			0.34			3.37			0.11			0.14			1.38			0.56			5.61			15			109.34


			272892.6862			1221455.2985			10.0			180			2501.5844			2501.11			2501.54			0.47			0.00									0.69			0.59			5.95			0.00			0.05			0.54			0.56			5.61			15			115.29


			272887.6889			1221463.9607			10.0			190			2501.6966			2501.09			2501.52			0.60			0.00									0.89			0.79			7.90			0.00			0.00			0.00			0.56			5.61			15			123.19


			272882.6916			1221472.6228			10.0			200			2501.8455			2501.07			2501.50			0.77			0.00									1.14			1.01			10.11			0.00			0.00			0.00			0.56			5.61			15			133.30


			272877.6943			1221481.2849			10.0			210			2501.8131			2501.05			2501.48			0.76			0.00									1.12			1.13			11.27			0.00			0.00			0.00			0.56			5.61			15			144.57


			272872.3684			1221489.6773			9.9			220			2501.7596			2501.03			2501.46			0.73			0.00									1.07			1.09			10.86			0.00			0.00			0.00			0.56			5.57			15			155.43


			272863.3092			1221493.9101			10.0			230			2501.8853			2501.01			2501.44			0.87			0.00									1.28			1.18			11.75			0.00			0.00			0.00			0.56			5.61			15			167.18


			272854.2383			1221498.1201			10.0			240			2501.8661			2500.99			2501.42			0.87			0.00									1.28			1.28			12.83			0.00			0.00			0.00			0.56			5.61			15			180.02


			272845.8206			1221503.1306			10.0			250			2501.8183			2500.97			2501.40			0.84			0.00									1.24			1.26			12.63			0.00			0.00			0.00			0.56			5.61			15			192.65


			272841.3002			1221512.0508			10.0			260			2501.6357			2500.95			2501.38			0.68			0.00									1.00			1.12			11.23			0.00			0.00			0.00			0.56			5.61			15			203.88


			272836.7798			1221520.9711			10.0			270			2501.6097			2500.93			2501.36			0.68			0.00									0.99			1.00			9.99			0.00			0.00			0.00			0.56			5.61			15			213.87


			272832.2594			1221529.8914			10.0			280			2501.5851			2500.91			2501.34			0.67			0.00									0.99			0.99			9.91			0.00			0.00			0.00			0.56			5.61			15			223.78


			272828.4518			1221539.0867			10.0			290			2501.5484			2500.89			2501.32			0.65			0.00									0.96			0.98			9.71			0.00			0.00			0.00			0.56			5.58			15			233.49


			272825.877			1221548.7498			10.0			300			2501.3402			2500.87			2501.30			0.47			0.00									0.69			0.82			8.24			0.00			0.00			0.00			0.56			5.61			15			241.73


			272823.3023			1221558.4129			10.0			310			2501.4203			2500.85			2501.28			0.57			0.00									0.83			0.76			7.60			0.00			0.00			0.00			0.56			5.61			15			249.33


			272820.7275			1221568.0761			10.0			320			2501.4565			2500.83			2501.26			0.62			0.00									0.92			0.87			8.75			0.00			0.00			0.00			0.56			5.61			15			258.08


			272821.5798			1221577.9605			10.0			330			2501.464			2500.81			2501.24			0.65			0.00									0.96			0.94			9.36			0.00			0.00			0.00			0.56			5.61			15			267.44


			272823.0012			1221587.8592			10.0			340			2501.4579			2500.79			2501.22			0.66			0.00									0.98			0.97			9.67			0.00			0.00			0.00			0.56			5.61			15			277.11


			272824.4225			1221597.758			10.0			350			2501.4619			2500.77			2501.20			0.69			0.00									1.01			0.99			9.95			0.00			0.00			0.00			0.56			5.61			15			287.05


			272823.3432			1221607.4823			9.8			360			2501.453			2500.76			2501.18			0.70			0.00									1.03			1.02			9.98			0.00			0.00			0.00			0.56			5.49			14			297.03


			272820.3643			1221617.0286			10.0			370			2501.4294			2500.74			2501.16			0.69			0.00									1.02			1.03			10.25			0.00			0.00			0.00			0.56			5.61			15			307.29


			272817.3853			1221626.5748			10.0			380			2501.4058			2500.72			2501.14			0.69			0.00			500.00						1.02			1.02			10.20			0.00			0.00			0.00			0.56			5.61			15			317.49


			272814.4064			1221636.1211			10.0			390			2501.3789			2500.70			2501.12			0.68			0.00									1.01			1.01			10.12			0.00			0.00			0.00			0.56			5.61			15			327.61


			272811.4275			1221645.6674			10.0			400			2501.3821			2500.68			2501.10			0.71			0.00									1.04			1.0294634819			10.2949276406			0.00			0.00			0.00			0.56			5.61			15			337.91


			272808.4485			1221655.2137			10.0			410			2501.3939			2500.66			2501.08			0.74			0.00									1.09			1.06			10.65			0.00			0.00			0.00			0.56			5.61			15			348.56


			272805.4696			1221664.7599			10.0			420			2501.4057			2500.64			2501.06			0.77			0.00									1.14			1.11			11.12			0.00			0.00			0.00			0.56			5.61			15			359.68


			272802.4907			1221674.3062			10.0			430			2501.4138			2500.62			2501.04			0.80			0.00									1.18			1.13			11.32			0.00			0.00			0.00			0.56			5.61			15			371.00


			272799.5117			1221683.8525			10.0			440			2501.4199			2500.60			2501.0			0.8			0.0									1.21			1.2			12.0			0.00			0.00			0.00			0.56			5.61			15			382.96


			272796.5328			1221693.3988			10.0			450			2501.426			2500.58			2501.00			0.85			0.00			500.00						1.25			1.23			12.34			0.00			0.00			0.00			0.56			5.61			15			395.30


			272793.5539			1221702.9451			10.0			460			2501.4598			2500.56			2500.9780570998			0.9047429002			0									1.33			1.273839104			12.7387533717			0.00			0.00			0.00			0.56			5.61			15			408.04


			272790.5749			1221712.4913			10.0			470			2501.5041			2500.54			2500.96			0.97			0.00									1.43			1.38			13.80			0.00			0.00			0.00			0.56			5.61			15			421.84


			272787.1799			1221721.8251			10.0			480			2501.5618			2500.52			2500.94			1.05			0.00									1.54			1.48			14.85			0.00			0.00			0.00			0.56			5.61			15			436.69


			272780.2326			1221729.0182			10.0			490			2501.6843			2500.50			2500.92			1.19			0.00									1.75			1.65			16.47			0.00			0.00			0.00			0.56			5.61			15			453.16


			272773.2853			1221736.2113			10.0			500			2501.7354			2500.48			2500.90			1.26			0.00									1.86			1.80			18.04			0.00			0.00			0.00			0.56			5.61			15			471.20


			272766.338			1221743.4044			10.0			510			2501.7473			2500.46			2500.88			1.29			0.00									1.90			1.88			18.80			0.00			0.00			0.00			0.56			5.61			15			490.00


			272759.3907			1221750.5976			10.0			520			2501.6351			2500.44			2500.86			1.20			0.00									1.77			1.81			18.12			0.00			0.00			0.00			0.56			5.61			15			508.12


			272750.7165			1221755.3849			10.0			530			2501.5677			2500.42			2500.84			1.15			0.00									1.70			1.73			17.33			0.00			0.00			0.00			0.56			5.61			15			525.45


			272741.6365			1221759.5752			10.0			540			2501.5124			2500.40			2500.82			1.12			0.00									1.65			1.67			16.72			0.00			0.00			0.00			0.56			5.61			15			542.17


			272732.5565			1221763.7655			10.0			550			2501.495			2500.38			2500.80			1.12			0.00									1.65			1.65			16.48			0.00			0.00			0.00			0.56			5.61			15			558.64


			272723.4765			1221767.9559			10.0			560			2501.5664			2500.36			2500.78			1.21			0.00									1.78			1.72			17.17			0.00			0.00			0.00			0.56			5.61			15			575.81


			272714.3964			1221772.1462			10.0			570			2501.6379			2500.34			2500.76			1.30			0.00									1.92			1.85			18.52			0.00			0.00			0.00			0.56			5.61			15			594.33


			272705.3164			1221776.3365			10.0			580			2501.6412			2500.32			2500.74			1.33			0.00									1.95			1.94			19.36			0.00			0.00			0.00			0.56			5.61			15			613.69


			272696.2364			1221780.5269			10.0			590			2501.6057			2500.30			2500.72			1.31			0.00									1.93			1.94			19.42			0.00			0.00			0.00			0.56			5.61			15			633.12


			272687.1564			1221784.7172			10.0			600			2501.5702			2500.28			2500.70			1.30			0.00									1.91			1.92			19.19			0.00			0.00			0.00			0.56			5.61			15			652.31


																																				66.58			65.26			652.31			0.99			0.98			9.76			34.20			336.24			883			15990.50

















































































































MC PROFILE OF G3


			chainage


			OGL


			CBL


			embankment level


			depth of cut, m


			depth of fill


			drop


			slope 


			0.00			2501.74			2501.33			2501.76			0.41			0.02						`


			10.00			2501.50			2501.32			2501.75			0.17			0.25


			20.00			2501.63			2501.31			2501.74			0.32			0.11


			30.00			2501.63			2501.30			2501.73			0.32			0.10


			40.00			2501.74			2501.29			2501.72			0.45			0.00


			50.00			2501.76			2501.28			2501.71			0.47			0.00


			59.99			2501.66			2501.27			2501.70			0.38			0.04


			69.99			2501.86			2501.26			2501.69			0.59			0.00						1000


			79.99			2501.93			2501.25			2501.68			0.68			0.00


			89.99			2501.95			2501.24			2501.67			0.71			0.00


			100.00			2501.95			2501.23			2501.66			0.72			0.00


			110.00			2501.86			2501.22			2501.65			0.64			0.00


			120.00			2501.76			2501.21			2501.64			0.54			0.00


			130.00			2501.69			2501.20			2501.63			0.48			0.00


			140.00			2501.52			2501.19			2501.62			0.33			0.09


			149.99			2501.30			2501.17			2501.60			0.12			0.30						500


			159.99			2501.27			2501.15			2501.58			0.12			0.30


			169.99			2501.47			2501.13			2501.56			0.34			0.09


			179.99			2501.58			2501.11			2501.54			0.47			0.00


			189.99			2501.70			2501.09			2501.52			0.60			0.00


			199.99			2501.85			2501.07			2501.50			0.77			0.00


			209.99			2501.81			2501.05			2501.48			0.76			0.00


			219.93			2501.76			2501.03			2501.46			0.73			0.00


			229.93			2501.89			2501.01			2501.44			0.87			0.00


			239.93			2501.87			2500.99			2501.42			0.87			0.00


			249.93			2501.82			2500.97			2501.40			0.84			0.00


			259.93			2501.64			2500.95			2501.38			0.68			0.00


			269.93			2501.61			2500.93			2501.36			0.68			0.00


			279.93			2501.59			2500.91			2501.34			0.67			0.00


			289.88			2501.55			2500.89			2501.32			0.65			0.00


			299.88			2501.34			2500.87			2501.30			0.47			0.00


			309.88			2501.42			2500.85			2501.28			0.57			0.00


			319.88			2501.46			2500.83			2501.26			0.62			0.00


			329.88			2501.46			2500.81			2501.24			0.65			0.00


			339.88			2501.46			2500.79			2501.22			0.66			0.00


			349.88			2501.46			2500.77			2501.20			0.69			0.00


			359.67			2501.45			2500.76			2501.18			0.70			0.00


			369.67			2501.43			2500.74			2501.16			0.69			0.00


			379.67			2501.41			2500.72			2501.14			0.69			0.00						500


			389.67			2501.38			2500.70			2501.12			0.68			0.00


			399.67			2501.38			2500.68			2501.10			0.71			0.00


			409.67			2501.39			2500.66			2501.08			0.74			0.00


			419.67			2501.41			2500.64			2501.06			0.77			0.00


			429.67			2501.41			2500.62			2501.04			0.80			0.00


			439.67			2501.42			2500.60			2501.02			0.82			0.00


			449.67			2501.43			2500.58			2501.00			0.85			0.00						500


			459.67			2501.46			2500.56			2500.98			0.90			0.00


			469.67			2501.50			2500.54			2500.96			0.97			0.00


			479.67			2501.56			2500.52			2500.94			1.05			0.00


			489.67			2501.68			2500.50			2500.92			1.19			0.00


			499.67			2501.74			2500.48			2500.90			1.26			0.00


			509.67			2501.75			2500.46			2500.88			1.29			0.00


			519.67			2501.64			2500.44			2500.86			1.20			0.00


			529.67			2501.57			2500.42			2500.84			1.15			0.00


			539.67			2501.51			2500.40			2500.82			1.12			0.00


			549.67			2501.50			2500.38			2500.80			1.12			0.00


			559.67			2501.57			2500.36			2500.78			1.21			0.00


			569.67			2501.64			2500.34			2500.76			1.30			0.00


			579.67			2501.64			2500.32			2500.74			1.33			0.00


			589.67			2501.61			2500.30			2500.72			1.31			0.00


			599.67			2501.57			2500.28			2500.70			1.30			0.00








SC OF GUDER3


			chainage			0+00-0+840


			bed width			0.423															masonry width			Working space			total cut width


			Slope			1000															0.35			0.35			1.47


			Total depth			0.423																					1.30


			Side slope of canal			0																					1.18


			Side slope of Burm			1																					1.07


			Insert top width of built burm for fill			0																					0.92


			OFFTAKE LEVEL CBL			2500.275																					0.48








			Northing			Easting			Partial Distance			Chainage			Elevation			CBL			Bank level			CUT(m)			Fill(m)			slope			drop			Area of cut			Average Area of Cut			Volume of cut			Area of Fill			Average Area of Fill			Volume of Fill			Massonry Area (m2)			Massonry volume(m3)			PLASTERING			CUM.VOL.CUT


			1221784.7172			272687.1564			0			0			2501.5702			2500.28			2500.70			1.30			0.00			1000.00						1.91			0.00			0.00			0.00			0.00			0.00			0.56			0.00			0			0.00


			1221794.5292			272689.0864			10.0			10			2501.4413			2500.27			2500.69			1.18			0.00									1.73			1.82			18.20			0.00			0.00			0.00			0.56			5.61			15			18.20


			1221804.3411			272691.0165			10.0			20			2501.3201			2500.26			2500.68			1.07			0.00									1.57			1.65			16.51			0.00			0.00			0.00			0.56			5.61			15			34.71


			1221814.1531			272692.9465			10.0			30			2501.1633			2500.25			2500.67			0.92			0.00									1.35			1.46			14.61			0.00			0.00			0.00			0.56			5.61			15			49.32


			1221823.9651			272694.8765			10.0			40			2500.9501			2500.24			2500.66			0.72			0.00									1.05			1.20			12.03			0.00			0.00			0.00			0.56			5.61			15			61.35


			1221833.7771			272696.8066			10.0			50			2500.7019			2500.23			2500.65			0.48			0.00									0.70			0.88			8.78			0.00			0.00			0.00			0.56			5.61			15			70.13


			1221843.5891			272698.7366			10.0			60			2500.4461			2500.21			2500.64			0.23			0.19									0.34			0.52			5.21			0.24			0.12			1.22			0.56			5.61			15			75.34


									10.0			70			2500.4461			2499.22			2499.64			1.23			0.00			1000.00			1.00			1.81			1.07			10.73			0.00			0.12			1.22			0.56			5.61			15			86.07


			1221853.4011			272700.6666			10.0			70			2500.1833			2499.21			2499.63			0.97			0.00									1.43			0.89			8.87			0.00			0.12			1.22			0.56			5.61			15			84.21


			1221863.213			272702.5966			10.0			80			2499.8171			2499.20			2499.62			0.62			0.00									0.91			1.17			11.71			0.00			0.00			0.00			0.56			5.61			15			95.93


			1221873.025			272704.5267			10.0			90			2499.4263			2499.19			2499.61			0.24			0.19									0.35			0.63			6.29			0.24			0.12			1.18			0.56			5.61			15			102.21


			1221882.837			272706.4567			10.0			100			2499.0306			2499.18			2499.60			0.00			0.57									0.00			0.17			1.74			0.57			0.40			4.03			0.56			5.61			15			103.95


									10.0			110			2499.0306			2497.90			2498.32			1.13			0.00			500.00			1.00			1.67			0.83			8.33			0.00			0.28			2.85			0.56			5.61			15			112.28


			1221892.649			272708.3867			10.0			110			2498.5604			2497.88			2498.30			0.68			0.00									1.00			0.50			5.01			0.00			0.28			2.85			0.56			5.61			15			108.96


			1221902.461			272710.3168			10.0			120			2498.1957			2497.86			2498.28			0.34			0.09									0.49			0.75			7.48			0.11			0.06			0.55			0.56			5.61			15			116.45


			1221912.2729			272712.2468			10.0			130			2497.8317			2497.84			2498.26			0.00			0.43									0.00			0.25			2.47			0.37			0.24			2.40			0.56			5.61			15			118.92


									10.0			140			2497.8317			2496.84			2497.26			0.99			0.00			50.00			1.00			1.46			0.73			7.30			0.00			0.18			1.84			0.56			5.61			15			126.22


			1221922.0849			272714.1768			10.0			140			2497.4676			2496.64			2497.06			0.83			0.00									1.22			0.61			6.10			0.00			0.18			1.84			0.56			5.61			15			125.01


			1221931.8969			272716.1069			10.0			150			2497.2228			2496.62			2497.04			0.60			0.00									0.89			1.05			10.53			0.00			0.00			0.00			0.56			5.61			15			135.55


			1221941.7089			272718.0369			10.0			160			2496.9577			2496.60			2497.02			0.36			0.07									0.53			0.71			7.07			0.08			0.04			0.41			0.56			5.61			15			142.62


									10.0			170			2496.9577			2495.60			2496.02			1.36			0.00			125.00			1.00			2.00			1.26			12.63			0.00			0.04			0.41			0.56			5.61			15			155.26


			1221951.5357			272719.8874			10.0			170			2496.5975			2495.52			2495.94			1.08			0.00									1.59			1.06			10.57			0.00			0.04			0.41			0.56			5.61			15			153.19


			1221961.4357			272721.2906			10.0			180			2496.2389			2495.50			2495.92			0.74			0.00									1.09			1.34			13.38			0.00			0.00			0.00			0.56			5.61			15			166.57


			1221971.3935			272722.1971			10.0			190			2495.8931			2495.48			2495.90			0.41			0.01									0.61			0.85			8.48			0.01			0.01			0.06			0.56			5.61			15			175.05


									10.0			200			2495.8931			2494.48			2494.90			1.41			0.00			125.00			1.00			2.08			1.34			13.45			0.00			0.01			0.06			0.56			5.61			15			188.50


			1221981.3842			272722.6048			10.0			200			2495.5481			2494.40			2494.82			1.15			0.00									1.69			1.15			11.50			0.00			0.01			0.06			0.56			5.61			15			186.55


			1221991.3835			272722.5526			10.0			210			2495.1936			2494.38			2494.80			0.81			0.00									1.20			1.44			14.45			0.00			0.00			0.00			0.56			5.61			15			201.00


			1222001.3825			272722.41			10.0			220			2494.861			2494.36			2494.78			0.50			0.00									0.74			0.97			9.68			0.00			0.00			0.00			0.56			5.61			15			210.68


			1222011.3815			272722.2674			10.0			230			2494.4367			2494.34			2494.76			0.10			0.33									0.14			0.44			4.40			0.20			0.10			1.02			0.56			5.61			15			215.08


									10.0			240			2494.4367			2493.34			2493.76			1.10						125.00			1.00			1.62			0.88			8.79			0.00			0.10			1.02			0.56			5.61			15			223.87


			1222021.3805			272722.1248			10.0			240			2493.9816			2493.26			2493.68			0.72			0.00									1.06			0.60			6.03			0.00			0.10			1.02			0.56			5.61			15			221.11


			1222031.3795			272721.9822			10.0			250			2493.5466			2493.24			2493.66			0.31			0.12									0.45			0.76			7.57			0.15			0.07			0.74			0.56			5.61			15			228.68


			1222041.3785			272721.8396			10.0			260			2493.3598			2493.22			2493.64			0.14			0.28									0.21			0.33			3.29			0.14			0.14			1.44			0.56			5.61			15			231.97


									10.0			270			2493.3598			2492.22			2492.64			1.14			0.00						1.00			1.68			0.94			9.42			0.00			0.07			0.70			0.56			5.61			15			241.39


			1222051.3778			272721.7816			10.0			270			2493.0964			2492.20			2492.62			0.90			0.00									1.32			0.76			7.63			0.00			0.07			0.70			0.56			5.61			15			239.60


			1222061.3689			272722.1797			10.0			280			2492.6824			2492.18			2492.60			0.50			0.00									0.74			1.03			10.30			0.00			0.00			0.00			0.56			5.61			15			249.90


			1222071.3275			272723.0766			10.0			290			2492.2784			2492.16			2492.58			0.12			0.30									0.17			0.46			4.57			0.17			0.09			0.86			0.56			5.61			15			254.47


			1222081.2289			272724.4701			10.0			300			2491.8841			2492.14			2492.56			0.00			0.68									0.00			0.09			0.87			0.75			0.46			4.60			0.56			5.61			15			255.34


									10.0			310			2491.8841			2491.14			2491.56			0.74			0.00			10.00			1.00			1.10			0.55			5.48			0.00			0.37			3.74			0.56			5.61			15			260.82


			1222091.0482			272726.3568			10.0			310			2491.4996			2490.14			2490.56			1.36			0.00									2.00			1.00			10.01			0.00			0.37			3.74			0.56			5.61			15			265.36


			1222100.761			272728.7319			10.0			320			2490.9663			2490.12			2490.54			0.85			0.00									1.25			1.62			16.24			0.00			0.00			0.00			0.56			5.61			15			281.60


			1222110.343			272731.5894			10.0			330			2490.8236			2490.10			2490.52			0.72			0.00									1.07			1.16			11.56			0.00			0.00			0.00			0.56			5.61			15			293.16


			1222119.8109			272734.8075			10.0			340			2490.504			2490.08			2490.50			0.42			0.00									0.62			0.85			8.45			0.00			0.00			0.00			0.56			5.61			15			301.61


			1222129.2716			272738.0472			10.0			350			2490.2291			2490.06			2490.48			0.17			0.25									0.25			0.44			4.37			0.10			0.05			0.50			0.56			5.61			15			305.98


			1222138.7322			272741.2869			10.0			360			2490.0865			2490.04			2490.46			0.05			0.38									0.07			0.16			1.59			0.28			0.19			1.91			0.56			5.61			15			307.56


			1222148.1929			272744.5266			10.0			370			2490.4894			2490.02			2490.44			0.47			0.00									0.69			0.38			3.80			0.00			0.14			1.41			0.56			5.61			15			311.36


			1222157.6536			272747.7664			10.0			380			2490.4872			2490.00			2490.42			0.49			0.00									0.72			0.70			7.04			0.00			0.00			0.00			0.56			5.61			15			318.40


			1222167.1142			272751.0061			10.0			390			2490.4263			2489.98			2490.40			0.45			0.00									0.66			0.69			6.87			0.00			0.00			0.00			0.56			5.61			15			325.28


			1222176.5749			272754.2458			10.0			400			2490.4189			2489.96			2490.38			0.46			0.00									0.68			0.6966361986			6.9663794221			0.00			0.00			0.00			0.56			5.61			15			332.24


			1222186.0677			272757.3884			10.0			410			2490.3443			2489.94			2490.36			0.40			0.02									0.60			0.64			6.36			0.02			0.01			0.12			0.56			5.61			15			338.60


			1222195.6965			272760.0838			10.0			420			2490.2831			2489.92			2490.34			0.36			0.06									0.53			0.57			5.65			0.08			0.05			0.50			0.56			5.61			15			344.25


			1222205.448			272762.2945			10.0			430			2490.1005			2489.90			2490.32			0.20			0.22									0.30			0.45			4.45			0.06			0.07			0.68			0.56			5.61			15			348.70


			1222215.2978			272764.0152			10.0			440			2489.807			2489.88			2490.3			0.0			0.5									0.00			0.1			1.5			0.46			0.26			2.57			0.56			5.61			15			350.18


									10.0			450			2489.807			2488.88			2489.3			0.9			0.0			80.00			1.00			1.37			0.7			6.8			0.00			0.23			2.28			0.56			5.61			15			357.00


			1222225.2213			272765.2414			10.0			450			2489.6956			2488.76			2489.18			0.94			0.00									1.39			0.69			6.93			0.00			0.23			2.28			0.56			5.61			15			357.10


			1222235.1874			272766.0612			10.0			460			2489.5319			2488.63			2489.0530158507			0.9018841493			0.00									1.33			0.6642376759			6.642218046			0.00			0.00			0.00			0.56			5.61			15			363.75


			1222245.1569			272766.8421			10.0			470			2489.1464			2488.51			2488.93			0.64			0.00									0.94			1.14			11.37			0.00			0.00			0.00			0.56			5.61			15			375.11


			1222255.1264			272767.623			10.0			480			2488.7608			2488.38			2488.80			0.38			0.04									0.56			0.75			7.53			0.05			0.03			0.27			0.56			5.61			15			382.64


			1222265.0958			272768.4039			10.0			490			2488.4645			2488.26			2488.68			0.21			0.21									0.31			0.43			4.35			0.05			0.05			0.50			0.56			5.61			15			386.99


			1222275.0653			272769.1848			10.0			500			2488.3825			2488.13			2488.55			0.25			0.17									0.37			0.34			3.40			0.22			0.13			1.32			0.56			5.61			15			390.39


			1222285.0348			272769.9657			10.0			510			2488.3066			2488.01			2488.43			0.30			0.12									0.44			0.41			4.08			0.15			0.19			1.85			0.56			5.61			15			394.47


			1222295.0042			272770.7466			10.0			520			2488.0858			2487.88			2488.30			0.21			0.22									0.30			0.34			3.38			0.05			0.10			1.03			0.56			5.61			15			397.85


			1222304.9737			272771.5275			10.0			530			2487.865			2487.76			2488.18			0.11			0.31									0.16			0.23			2.33			0.18			0.12			1.18			0.56			5.61			15			400.17


			1222314.9431			272772.3084			10.0			540			2487.607			2487.63			2488.05			0.00			0.45									0.00			0.08			0.81			0.39			0.29			2.86			0.56			5.61			15			400.98


									10.0			550			2487.607			2486.63			2487.05			0.98			0.00			80.00			1.00			1.44			0.72			7.20			0.00			0.19			1.94			0.56			5.61			15			408.18


			1222324.9126			272773.0893			10.0			550			2487.3115			2486.50			2486.93			0.81			0.00									1.19			0.59			5.94			0.00			0.19			1.94			0.56			5.61			15			406.92


			1222334.8821			272773.8702			10.0			560			2486.9908			2486.38			2486.80			0.61			0.00									0.90			1.04			10.44			0.00			0.00			0.00			0.56			5.61			15			417.36


			1222344.8515			272774.6511			10.0			570			2486.67			2486.25			2486.68			0.42			0.01									0.61			0.76			7.55			0.01			0.01			0.05			0.56			5.61			15			424.91


			1222354.821			272775.432			10.0			580			2486.6455			2486.13			2486.55			0.52			0.00									0.76			0.69			6.85			0.00			0.01			0.05			0.56			5.61			15			431.77


			1222364.7905			272776.2129			10.0			590			2486.6735			2486.00			2486.43			0.67			0.00									0.98			0.87			8.72			0.00			0.00			0.00			0.56			5.61			15			440.49


			1222374.7599			272776.9938			10.0			600			2486.7009			2485.88			2486.30			0.82			0.00									1.21			1.10			10.97			0.00			0.00			0.00			0.56			5.61			15			451.46


			1222384.7294			272777.7747			10.0			610			2486.7282			2485.75			2486.18			0.97			0.00									1.43			1.32			13.21			0.00			0.00			0.00			0.56			5.61			15			464.67


			1222394.6989			272778.5556			10.0			620			2486.6035			2485.63			2486.05			0.97			0.00									1.43			1.43			14.34			0.00			0.00			0.00			0.56			5.61			15			479.01


			1222404.6683			272779.3365			10.0			630			2486.3005			2485.50			2485.93			0.80			0.00									1.17			1.30			13.03			0.00			0.00			0.00			0.56			5.61			15			492.04


			1222414.6378			272780.1174			10.0			640			2485.9768			2485.38			2485.80			0.60			0.00									0.88			1.03			10.25			0.00			0.00			0.00			0.56			5.61			15			502.29


			1222424.6072			272780.8983			10.0			650			2485.653			2485.25			2485.68			0.40			0.02									0.59			0.73			7.33			0.03			0.02			0.16			0.56			5.61			15			509.62


			1222434.5767			272781.6792			10.0			660			2485.3291			2485.13			2485.55			0.20			0.22									0.29			0.44			4.40			0.06			0.05			0.46			0.56			5.61			15			514.02


			1222444.5462			272782.4601			10.0			670			2485.001			2485.00			2485.43			0.00			0.43									0.00			0.15			1.47			0.36			0.21			2.12			0.56			5.61			15			515.48


									10.0			680			2485.001			2484.00			2484.42			1.00			0.00			80.00			1.00			1.47			0.74			7.37			0.00			0.18			1.81			0.56			5.61			15			522.85


			1222454.5156			272783.241			10.0			680			2484.6729			2483.88			2484.30			0.80			0.00									1.18			0.59			5.88			0.00			0.18			1.81			0.56			5.61			15			521.36


			1222464.4851			272784.0219			10.0			690			2484.3761			2483.75			2484.17			0.63			0.00									0.92			1.05			10.49			0.00			0.00			0.00			0.56			5.61			15			531.85


			1222474.4546			272784.8028			10.0			700			2484.0814			2483.63			2484.05			0.46			0.00									0.67			0.80			7.97			0.00			0.00			0.00			0.56			5.61			15			539.82


			1222484.424			272785.5837			10.0			710			2483.8076			2483.50			2483.92			0.31			0.12									0.45			0.56			5.63			0.15			0.07			0.73			0.56			5.61			15			545.45


			1222494.3935			272786.3646			10.0			720			2483.5216			2483.38			2483.80			0.15			0.28									0.22			0.33			3.35			0.13			0.14			1.39			0.56			5.61			15			548.79


			1222504.3412			272787.3764			10.0			730			2482.9881			2483.25			2483.67			0.00			0.68									0.00			0.11			1.08			0.76			0.45			4.45			0.56			5.61			15			549.87


									10.0			740			2482.9881			2482.25			2482.67			0.74			0.00			80.00			1.00			1.09			0.54			5.44			0.00			0.38			3.79			0.56			5.61			15			555.31


			1222514.2663			272788.598			10.0			740			2482.6559			2482.13			2482.55			0.53			0.00									0.78			0.39			3.91			0.00			0.38			3.79			0.56			5.61			15			553.78


			1222524.1914			272789.8196			10.0			750			2482.4505			2482.00			2482.42			0.45			0.00									0.66			0.72			7.23			0.00			0.00			0.00			0.56			5.61			15			561.01


			1222534.1165			272791.0412			10.0			760			2482.2563			2481.88			2482.30			0.38			0.04									0.56			0.61			6.13			0.05			0.03			0.26			0.56			5.61			15			567.14


			1222544.0416			272792.2628			10.0			770			2482.0708			2481.75			2482.17			0.32			0.10									0.47			0.52			5.17			0.13			0.09			0.91			0.56			5.61			15			572.31


			1222553.9667			272793.4844			10.0			780			2481.9322			2481.63			2482.05			0.31			0.12									0.45			0.46			4.63			0.15			0.14			1.38			0.56			5.61			15			576.93


			1222563.8918			272794.706			10.0			790			2481.8398			2481.50			2481.92			0.34			0.08									0.50			0.48			4.77			0.11			0.13			1.26			0.56			5.61			15			581.70


			1222573.8169			272795.9277			10.0			800			2481.7157			2481.38			2481.80			0.34			0.08									0.50			0.50			5.01			0.10			0.11			1.05			0.56			5.61			15			586.71


			1222583.7764			272796.7764			10.0			810			2481.5156			2481.25			2481.67			0.27			0.16									0.39			0.45			4.46			0.20			0.15			1.52			0.56			5.60			15			591.17


			1222593.768			272796.5248			10.0			820			2481.2624			2481.13			2481.55			0.14			0.29									0.20			0.30			2.97			0.14			0.17			1.72			0.56			5.60			15			594.14


			1222603.6688			272795.1578			10.0			830			2480.8523			2481.00			2481.42			0.00			0.57									0.00			0.10			1.01			0.57			0.36			3.56			0.56			5.60			15			595.15


									10.0			840			2480.8523			2480.00			2480.42			0.85			0.00			100.00			1.00			1.26			0.63			6.28			0.00			0.28			2.84			0.56			5.61			15			601.42


			1222613.3547			272792.6924			10.0			840			2480.6797			2479.90			2480.32			0.78			0.00									1.15			0.57			5.74			0.00			0.28			2.84			0.56			5.60			15			600.89


			1222622.7043			272789.1596			10.0			850			2480.3032			2479.88			2480.30			0.42			0.00									0.62			0.89			8.85			0.00			0.00			0.00			0.56			5.60			15			609.74


			1222631.6003			272784.6036			10.0			860			2480.0915			2479.86			2480.28			0.23			0.19									0.34			0.48			4.82			0.24			0.12			1.21			0.56			5.60			15			614.56


			1222639.9311			272779.0815			10.0			870			2480.0142			2479.84			2480.26			0.17			0.25									0.26			0.30			2.99			0.09			0.17			1.68			0.56			5.60			15			617.54


			1222647.5923			272772.6627			10.0			880			2479.5721			2479.82			2480.24			0.00			0.67									0.00			0.13			1.28			0.73			0.41			4.14			0.56			5.60			15			618.83


									10.0			890			2479.5721			2478.82			2479.24			0.75			0.00			100.00			1.00			1.11			0.55			5.54			0.00			0.37			3.67			0.56			5.61			15			624.36


			1222654.4879			272765.4276			10.0			890			2479.0229			2478.72			2479.14			0.30			0.12									0.45			0.22			2.23			0.15			0.44			4.43			0.56			5.60			15			621.05


			1222660.9251			272757.775			10.0			900			2478.6844			2478.62			2479.04			0.06			0.36									0.09			0.27			2.70			0.25			0.20			2.03			0.56			5.61			15			623.76


			1222667.3611			272750.1214			10.0			910			2478.5837			2478.52			2478.94			0.06			0.36									0.09			0.09			0.94			0.25			0.25			2.54			0.56			5.61			15			624.70


									10.0			920			2478.5837			2477.52			2477.94			1.06			0.00			100.00			1.00			1.57			0.83			8.30			0.00			0.13			1.27			0.56			5.61			15			633.00


			1222673.797			272742.4677			10.0			920			2478.2475			2477.42			2477.84			0.83			0.00									1.22			0.66			6.56			0.00			0.13			1.27			0.56			5.61			15			631.27


			1222680.233			272734.814			10.0			930			2478.0004			2477.32			2477.74			0.68			0.00									1.00			1.11			11.11			0.00			0.00			0.00			0.56			5.61			15			642.37


			1222686.6689			272727.1604			10.0			940			2477.744			2477.22			2477.64			0.52			0.00									0.77			0.89			8.87			0.00			0.00			0.00			0.56			5.61			15			651.24


			1222693.1049			272719.5067			10.0			950			2477.4666			2477.12			2477.54			0.35			0.08									0.51			0.64			6.41			0.10			0.05			0.48			0.56			5.61			15			657.65


			1222699.5408			272711.8531			10.0			960			2477.2871			2477.02			2477.44			0.27			0.16									0.39			0.45			4.52			0.20			0.15			1.47			0.56			5.61			15			662.17


			1222705.9768			272704.1994			10.0			970			2477.1333			2476.92			2477.34			0.21			0.21									0.31			0.35			3.54			0.27			0.23			2.32			0.56			5.61			15			665.71


			1222712.4127			272696.5457			10.0			980			2476.9821			2476.82			2477.24			0.16			0.26									0.24			0.28			2.76			0.11			0.19			1.88			0.56			5.61			15			668.48


			1222718.8487			272688.8921			10.0			990			2476.831			2476.72			2477.14			0.11			0.31									0.16			0.20			2.01			0.18			0.15			1.46			0.56			5.61			15			670.49


			1222725.2846			272681.2384			10.0			1000			2476.87			2476.62			2477.04			0.25			0.17									0.37			0.27			2.66			0.22			0.20			2.01			0.56			5.61			15			673.15


			1222731.7206			272673.5848			10.0			1010			2476.8031			2476.52			2476.94			0.28			0.14									0.42			0.39			3.93			0.18			0.20			1.99			0.56			5.61			15			677.07


			1222738.1565			272665.9311			10.0			1020			2476.7362			2476.42			2476.84			0.32			0.11									0.47			0.44			4.41			0.14			0.16			1.57			0.56			5.61			15			681.49


			1222744.5925			272658.2774			10.0			1030			2476.6693			2476.32			2476.74			0.35			0.07									0.51			0.49			4.90			0.09			0.11			1.15			0.56			5.61			15			686.39


			1222751.0285			272650.6238			10.0			1040			2476.6799			2476.22			2476.64			0.46			0.00									0.68			0.60			5.96			0.00			0.05			0.47			0.56			5.61			15			692.35


			1222757.4644			272642.9701			10.0			1050			2476.7067			2476.12			2476.54			0.59			0.00									0.86			0.77			7.71			0.00			0.00			0.00			0.56			5.61			15			700.06


			1222764.3053			272635.6833			10.0			1060			2476.6174			2476.02			2476.44			0.60			0.00									0.88			0.87			8.72			0.00			0.00			0.00			0.56			5.60			15			708.77


			1222771.918			272629.207			10.0			1070			2476.4662			2475.92			2476.34			0.55			0.00									0.80			0.84			8.42			0.00			0.00			0.00			0.56			5.60			15			717.19


			1222780.207			272623.6224			10.0			1080			2476.3288			2475.82			2476.24			0.51			0.00									0.75			0.78			7.77			0.00			0.00			0.00			0.56			5.61			15			724.96


			1222788.9355			272618.7433			10.0			1090			2476.2676			2475.72			2476.14			0.55			0.00									0.81			0.78			7.78			0.00			0.00			0.00			0.56			5.61			15			732.74


			1222797.686			272613.9031			10.0			1100			2476.2074			2475.62			2476.04			0.59			0.00									0.87			0.84			8.36			0.00			0.00			0.00			0.56			5.61			15			741.09


			1222806.4366			272609.0628			10.0			1110			2476.1584			2475.52			2475.94			0.64			0.00									0.94			0.90			9.03			0.00			0.00			0.00			0.56			5.61			15			750.12


			1222815.1871			272604.2226			10.0			1120			2476.0744			2475.42			2475.84			0.65			0.00									0.96			0.95			9.52			0.00			0.00			0.00			0.56			5.61			15			759.64


			1222823.9377			272599.3823			10.0			1130			2475.9903			2475.32			2475.74			0.67			0.00									0.99			0.98			9.75			0.00			0.00			0.00			0.56			5.61			15			769.40


			1222832.6944			272594.5534			10.0			1140			2475.8795			2475.22			2475.64			0.66			0.00									0.97			0.98			9.79			0.00			0.00			0.00			0.56			5.61			15			779.19


			1222841.7701			272590.3668			10.0			1150			2475.7287			2475.12			2475.54			0.61			0.00									0.90			0.93			9.33			0.00			0.00			0.00			0.56			5.60			15			788.52


			1222851.2569			272587.2211			10.0			1160			2475.5482			2475.02			2475.44			0.53			0.00									0.78			0.84			8.37			0.00			0.00			0.00			0.56			5.60			15			796.89


			1222861.036			272585.1557			10.0			1170			2475.2928			2474.92			2475.34			0.37			0.05									0.55			0.66			6.63			0.06			0.03			0.32			0.56			5.60			15			803.52


			1222870.9399			272583.7731			10.0			1180			2475.2729			2474.82			2475.24			0.45			0.00									0.67			0.61			6.08			0.00			0.03			0.32			0.56			5.61			15			809.59


			1222880.8451			272582.3995			10.0			1190			2475.2743			2474.72			2475.14			0.55			0.00									0.82			0.74			7.41			0.00			0.00			0.00			0.56			5.61			15			817.01


			1222890.7503			272581.0259			10.0			1200			2475.2757			2474.62			2475.04			0.66			0.00									0.97			0.89			8.91			0.00			0.00			0.00			0.56			5.61			15			825.92


			1222900.6555			272579.6523			10.0			1210			2475.2063			2474.52			2474.94			0.69			0.00									1.01			0.99			9.88			0.00			0.00			0.00			0.56			5.61			15			835.80


			1222910.5607			272578.2787			10.0			1220			2475.1271			2474.42			2474.84			0.71			0.00									1.04			1.03			10.26			0.00			0.00			0.00			0.56			5.61			15			846.05


			1222920.4659			272576.9052			10.0			1230			2475.0479			2474.32			2474.74			0.73			0.00									1.07			1.06			10.56			0.00			0.00			0.00			0.56			5.61			15			856.62


			1222930.3711			272575.5316			10.0			1240			2474.9325			2474.22			2474.64			0.71			0.00									1.05			1.06			10.60			0.00			0.00			0.00			0.56			5.61			15			867.22


			1222940.2764			272574.158			10.0			1250			2474.7984			2474.12			2474.54			0.68			0.00									1.00			1.02			10.24			0.00			0.00			0.00			0.56			5.61			15			877.46


			1222950.1816			272572.7844			10.0			1260			2474.7208			2474.02			2474.44			0.70			0.00									1.03			1.02			10.15			0.00			0.00			0.00			0.56			5.61			15			887.62


			1222960.0868			272571.4108			10.0			1270			2474.6779			2473.92			2474.34			0.76			0.00									1.12			1.07			10.74			0.00			0.00			0.00			0.56			5.61			15			898.36


			1222969.992			272570.0372			10.0			1280			2474.6378			2473.82			2474.24			0.82			0.00									1.20			1.16			11.60			0.00			0.00			0.00			0.56			5.61			15			909.96


			1222979.8972			272568.6637			10.0			1290			2474.6116			2473.72			2474.14			0.89			0.00									1.31			1.26			12.59			0.00			0.00			0.00			0.56			5.61			15			922.54


			1222989.8024			272567.2901			10.0			1300			2474.4669			2473.62			2474.04			0.85			0.00									1.25			1.28			12.80			0.00			0.00			0.00			0.56			5.61			15			935.34


			1222999.6701			272565.6832			10.0			1310			2474.4662			2473.52			2473.94			0.95			0.00									1.39			1.32			13.20			0.00			0.00			0.00			0.56			5.61			15			948.54


			1223009.4877			272563.7824			10.0			1320			2474.3295			2473.42			2473.84			0.91			0.00									1.34			1.37			13.66			0.00			0.00			0.00			0.56			5.61			15			962.21


			1223019.3054			272561.8816			10.0			1330			2474.1947			2473.32			2473.74			0.87			0.00									1.29			1.31			13.14			0.00			0.00			0.00			0.56			5.61			15			975.34


			1223029.1231			272559.9807			10.0			1340			2474.112			2473.22			2473.64			0.89			0.00									1.31			1.30			13.01			0.00			0.00			0.00			0.56			5.61			15			988.35


			1223038.9408			272558.0799			10.0			1350			2473.6943			2473.12			2473.54			0.57			0.00									0.85			1.08			10.80			0.00			0.00			0.00			0.56			5.61			15			999.14


			1223048.7585			272556.1791			10.0			1360			2473.2014			2473.02			2473.44			0.18			0.24									0.27			0.56			5.56			0.08			0.04			0.42			0.56			5.61			15			1004.71


			1223058.5762			272554.2783			10.0			1370			2473.8181			2472.92			2473.34			0.90			0.00									1.32			0.79			7.95			0.00			0.04			0.42			0.56			5.61			15			1012.65


			1223068.3938			272552.3775			10.0			1380			2473.5562			2472.82			2473.24			0.74			0.00									1.08			1.20			12.03			0.00			0.00			0.00			0.56			5.61			15			1024.68


			1223078.2115			272550.4766			10.0			1390			2473.118			2472.72			2473.14			0.40			0.03									0.59			0.83			8.35			0.03			0.02			0.16			0.56			5.61			15			1033.03


			1223088.0292			272548.5758			10.0			1400			2472.6799			2472.62			2473.04			0.06			0.36									0.09			0.34			3.37			0.26			0.15			1.46			0.56			5.61			15			1036.40


			1223097.8469			272546.675			10.0			1410			2473.0902			2472.52			2472.94			0.57			0.00									0.84			0.46			4.64			0.00			0.13			1.30			0.56			5.61			15			1041.04


			1223107.6646			272544.7742			10.0			1420			2473.3414			2472.42			2472.84			0.92			0.00									1.36			1.10			10.98			0.00			0.00			0.00			0.56			5.61			15			1052.02


			1223117.4823			272542.8734			10.0			1430			2472.6976			2472.32			2472.74			0.38			0.05									0.56			0.96			9.56			0.06			0.03			0.29			0.56			5.61			15			1061.58


			1223127.2999			272540.9725			10.0			1440			2472.4087			2472.22			2472.64			0.19			0.23									0.28			0.42			4.17			0.07			0.07			0.66			0.56			5.61			15			1065.75


			1223137.1176			272539.0717			10.0			1450			2472.8929			2472.12			2472.54			0.77			0.00									1.14			0.71			7.08			0.00			0.04			0.37			0.56			5.61			15			1072.83


			1223146.9353			272537.1709			10.0			1460			2473.377			2472.02			2472.44			1.36			0.00									2.00			1.57			15.68			0.00			0.00			0.00			0.56			5.61			15			1088.51


			1223156.753			272535.2701			10.0			1470			2473.1964			2471.92			2472.34			1.28			0.00									1.88			1.94			19.39			0.00			0.00			0.00			0.56			5.61			15			1107.90


			1223166.5707			272533.3693			10.0			1480			2472.8537			2471.82			2472.24			1.03			0.00									1.52			1.70			17.01			0.00			0.00			0.00			0.56			5.61			15			1124.91


			1223176.3884			272531.4685			10.0			1490			2472.1393			2471.72			2472.14			0.42			0.00									0.62			1.07			10.70			0.01			0.00			0.03			0.56			5.61			15			1135.61


			1223186.206			272529.5676			10.0			1500			2471.485			2471.62			2472.04			0.00			0.56									0.00			0.31			3.09			0.55			0.28			2.76			0.56			5.61			15			1138.69


									10.0			1510			2471.485			2470.62			2471.04			0.87			0.00			100.00			1.00			1.27			0.64			6.37			0.00			0.27			2.74			0.56			5.61			15			1145.06


			1223196.0237			272527.6668			10.0			1510			2471.7843			2470.52			2470.94			1.26			0.00									1.86			1.57			15.68			0.00			0.00			0.00			0.56			5.61			15			1160.75


			1223205.8414			272525.766			10.0			1520			2472.0914			2470.42			2470.84			1.67			0.00									2.46			2.16			21.62			0.00			0.00			0.00			0.56			5.61			15			1182.37


			1223215.6591			272523.8652			10.0			1530			2471.843			2470.32			2470.74			1.52			0.00									2.24			2.35			23.53			0.00			0.00			0.00			0.56			5.61			15			1205.89


			1223225.4768			272521.9644			10.0			1540			2470.8993			2470.22			2470.64			0.68			0.00									1.00			1.62			16.22			0.00			0.00			0.00			0.56			5.61			15			1222.11


			1223235.2944			272520.0635			10.0			1550			2470.7583			2470.12			2470.54			0.64			0.00									0.94			0.97			9.70			0.00			0.00			0.00			0.56			5.61			15			1231.82


			1223245.1121			272518.1627			10.0			1560			2471.3696			2470.02			2470.44			1.35			0.00									1.99			1.46			14.64			0.00			0.00			0.00			0.56			5.61			15			1246.46


			1223254.9298			272516.2619			10.0			1570			2470.5324			2469.92			2470.34			0.61			0.00									0.90			1.45			14.45			0.00			0.00			0.00			0.56			5.61			15			1260.91


			1223264.7475			272514.3611			10.0			1580			2469.9576			2469.82			2470.24			0.14			0.29									0.20			0.55			5.52			0.14			0.07			0.72			0.56			5.61			15			1266.43


			1223274.5652			272512.4603			10.0			1590			2470.6373			2469.72			2470.14			0.92			0.00									1.35			0.78			7.77			0.00			0.07			0.72			0.56			5.61			15			1274.20


			1223284.4421			272510.9245			10.0			1600			2470.1839			2469.62			2470.04			0.56			0.00									0.83			1.09			10.90			0.00			0.00			0.00			0.56			5.60			15			1285.11


			1223294.4271			272510.4829			10.0			1610			2469.1459			2469.52			2469.94			0.00			0.80									0.00			0.42			4.15			0.97			0.49			4.86			0.56			5.60			15			1289.26


									10.0			1620			2469.1459			2468.52			2468.94			0.63			0.00			100.00			1.00			0.92			0.46			4.61			0.00			0.49			4.86			0.56			5.61			15			1293.87


			1223304.4188			272510.8795			10.0			1620			2468.8627			2468.42			2468.84			0.44			0.00									0.65			0.79			7.87			0.00			0.00			0.00			0.56			5.61			15			1301.74


			1223314.409			272511.3235			10.0			1630			2468.5987			2468.32			2468.74			0.28			0.14									0.41			0.53			5.31			0.18			0.09			0.92			0.56			5.61			15			1307.05


			1223324.3991			272511.7675			10.0			1640			2468.3338			2468.22			2468.64			0.11			0.31									0.17			0.29			2.89			0.18			0.18			1.81			0.56			5.61			15			1309.94


			1223334.3893			272512.2114			10.0			1650			2467.8785			2468.12			2468.54			0.00			0.66			100.00						0.00			0.08			0.84			0.72			0.45			4.50			0.56			5.61			15			1310.78


									10.0			1660			2467.8785			2467.12			2467.54			0.76			0.00						1.00			1.12			0.56			5.59			0.00			0.36			3.61			0.56			5.61			15			1316.36


			1223344.3794			272512.6554			10.0			1660			2467.6243			2467.02			2467.44			0.60			0.00									0.89			1.00			10.04			0.00			0.00			0.00			0.56			5.61			15			1326.40


			1223354.3695			272513.0993			10.0			1670			2467.5429			2466.92			2467.34			0.62			0.00									0.92			0.90			9.04			0.00			0.00			0.00			0.56			5.61			15			1335.44


			1223364.3597			272513.5433			10.0			1680			2467.4615			2466.82			2467.24			0.64			0.00									0.94			0.93			9.31			0.00			0.00			0.00			0.56			5.61			15			1344.75


			1223374.3498			272513.9872			10.0			1690			2467.4122			2466.72			2467.14			0.69			0.00									1.02			0.98			9.82			0.00			0.00			0.00			0.56			5.61			15			1354.58


			1223384.34			272514.4312			10.0			1700			2467.3863			2466.62			2467.04			0.77			0.00									1.13			1.07			10.74			0.00			0.00			0.00			0.56			5.61			15			1365.32


			1223394.3301			272514.8752			10.0			1710			2467.291			2466.52			2466.94			0.77			0.00									1.14			1.13			11.32			0.00			0.00			0.00			0.56			5.61			15			1376.64


			1223404.3202			272515.3191			10.0			1720			2467.2745			2466.42			2466.84			0.85			0.00									1.26			1.20			11.97			0.00			0.00			0.00			0.56			5.61			15			1388.61


			1223414.3104			272515.7631			10.0			1730			2467.2057			2466.32			2466.74			0.89			0.00									1.30			1.28			12.82			0.00			0.00			0.00			0.56			5.61			15			1401.43


			1223424.3005			272516.207			10.0			1740			2467.1449			2466.22			2466.64			0.92			0.00									1.36			1.33			13.34			0.00			0.00			0.00			0.56			5.61			15			1414.76


			1223434.2907			272516.651			10.0			1750			2467.1722			2466.12			2466.54			1.05			0.00									1.55			1.46			14.56			0.00			0.00			0.00			0.56			5.61			15			1429.32


			1223444.2808			272517.0949			10.0			1760			2467.1228			2466.02			2466.44			1.10			0.00									1.62			1.59			15.87			0.00			0.00			0.00			0.56			5.61			15			1445.20


			1223454.2709			272517.5389			10.0			1770			2467.0426			2465.92			2466.34			1.12			0.00									1.65			1.64			16.39			0.00			0.00			0.00			0.56			5.61			15			1461.59


			1223464.2611			272517.9829			10.0			1780			2467.0294			2465.82			2466.24			1.21			0.00									1.78			1.72			17.18			0.00			0.00			0.00			0.56			5.61			15			1478.76


			1223474.2512			272518.4268			10.0			1790			2467.0312			2465.72			2466.14			1.31			0.00									1.93			1.86			18.56			0.00			0.00			0.00			0.56			5.61			15			1497.32


			1223484.2462			272518.6246			10.0			1800			2467.0057			2465.62			2466.04			1.39			0.00									2.04			1.99			19.86			0.00			0.00			0.00			0.56			5.61			15			1517.18


			1223494.2204			272517.9258			10.0			1810			2466.9211			2465.52			2465.94			1.40			0.00									2.06			2.05			20.52			0.00			0.00			0.00			0.56			5.61			15			1537.70


			1223504.1867			272517.1053			10.0			1820			2466.7137			2465.42			2465.84			1.29			0.00									1.91			1.98			19.85			0.00			0.00			0.00			0.56			5.61			15			1557.55


			1223514.1529			272516.2848			10.0			1830			2466.4715			2465.32			2465.74			1.15			0.00									1.70			1.80			18.01			0.00			0.00			0.00			0.56			5.61			15			1575.56


			1223524.1192			272515.4644			10.0			1840			2466.2293			2465.22			2465.64			1.01			0.00									1.49			1.59			15.91			0.00			0.00			0.00			0.56			5.61			15			1591.47


			1223534.0855			272514.6439			10.0			1850			2465.9871			2465.12			2465.54			0.87			0.00									1.28			1.38			13.82			0.00			0.00			0.00			0.56			5.61			15			1605.29


			1223544.0518			272513.8234			10.0			1860			2465.8581			2465.02			2465.44			0.84			0.00									1.23			1.26			12.56			0.00			0.00			0.00			0.56			5.61			15			1617.85


			1223554.0181			272513.003			10.0			1870			2465.7521			2464.92			2465.34			0.83			0.00									1.23			1.23			12.30			0.00			0.00			0.00			0.56			5.61			15			1630.15


			1223563.9844			272512.1825			10.0			1880			2465.6325			2464.82			2465.24			0.81			0.00									1.20			1.21			12.11			0.00			0.00			0.00			0.56			5.61			15			1642.26


			1223573.9506			272511.362			10.0			1890			2465.3416			2464.72			2465.14			0.62			0.00									0.92			1.06			10.56			0.00			0.00			0.00			0.56			5.61			15			1652.82


			1223583.9169			272510.5415			10.0			1900			2465.0652			2464.62			2465.04			0.45			0.00									0.66			0.79			7.86			0.00			0.00			0.00			0.56			5.61			15			1660.68


			1223593.8832			272509.7211			10.0			1910			2464.8816			2464.52			2464.94			0.36			0.06									0.53			0.59			5.94			0.08			0.04			0.39			0.56			5.61			15			1666.62


			1223603.8495			272508.9006			10.0			1920			2464.7422			2464.42			2464.84			0.32			0.10									0.47			0.50			5.04			0.13			0.10			1.03			0.56			5.61			15			1671.66


			1223613.8158			272508.0801			10.0			1930			2464.6501			2464.32			2464.74			0.33			0.09									0.49			0.48			4.80			0.12			0.12			1.23			0.56			5.61			15			1676.46


			1223623.7821			272507.2597			10.0			1940			2464.558			2464.22			2464.64			0.34			0.09									0.50			0.49			4.92			0.11			0.11			1.13			0.56			5.61			15			1681.38


																																				105.87			105.67			1804.47			5.24			5.31			53.11			59.43			1188.63			1561			117110.12








SC PROFILE OF G3


			chainage


			OGL


			CBL


			embankment level


			depth of cut, m


			depth of fill


			drop


			slope 


			0.00			2501.57			2500.28			2500.70			1.30			0.00						1000


			10.00			2501.44			2500.27			2500.69			1.18			0.00


			20.00			2501.32			2500.26			2500.68			1.07			0.00


			30.00			2501.16			2500.25			2500.67			0.92			0.00


			40.00			2500.95			2500.24			2500.66			0.72			0.00


			50.00			2500.70			2500.23			2500.65			0.48			0.00


			60.00			2500.45			2500.21			2500.64			0.23			0.19


			60.00			2500.45			2499.22												1.00			1000


			70.00			2500.18			2499.21			2499.63			0.97			0.00


			80.00			2499.82			2499.20			2499.62			0.62			0.00


			90.00			2499.43			2499.19			2499.61			0.24			0.19


			100.00			2499.03			2499.18			2499.60			0.00			0.57


			100.00			2499.03			2497.90												1.00			500


			110.00			2498.56			2497.88			2498.30			0.68			0.00


			120.00			2498.20			2497.86			2498.28			0.34			0.09


			130.00			2497.83			2497.84			2498.26			0.00			0.43


			130.00			2497.83			2496.84												1.00			50


			140.00			2497.47			2496.64			2497.06			0.83			0.00


			150.00			2497.22			2496.62			2497.04			0.60			0.00


			160.00			2496.96			2496.60			2497.02			0.36			0.07


			160.00			2496.96			2495.60												1.00			125


			170.00			2496.60			2495.52			2495.94			1.08			0.00


			180.00			2496.24			2495.50			2495.92			0.74			0.00


			190.00			2495.89			2495.48			2495.90			0.41			0.01


			190.00			2495.89			2494.48												1.00			125


			200.00			2495.55			2494.40			2494.82			1.15			0.00


			210.00			2495.19			2494.38			2494.80			0.81			0.00


			220.00			2494.86			2494.36			2494.78			0.50			0.00


			230.00			2494.44			2494.34			2494.76			0.10			0.33


			230.00			2494.44			2493.34												1.00			125


			240.00			2493.98			2493.26			2493.68			0.72			0.00


			250.00			2493.55			2493.24			2493.66			0.31			0.12


			260.00			2493.36			2493.22			2493.64			0.14			0.28


			260.00			2493.36			2492.22


			270.00			2493.10			2492.20			2492.62			0.90			0.00


			280.00			2492.68			2492.18			2492.60			0.50			0.00


			290.00			2492.28			2492.16			2492.58			0.12			0.30


			299.99			2491.88			2492.14			2492.56			0.00			0.68


			299.99			2491.88			2491.14												1.00			10


			309.99			2491.50			2490.14			2490.56			1.36			0.00


			319.99			2490.97			2490.12			2490.54			0.85			0.00


			329.99			2490.82			2490.10			2490.52			0.72			0.00


			339.99			2490.50			2490.08			2490.50			0.42			0.00


			349.99			2490.23			2490.06			2490.48			0.17			0.25


			359.99			2490.09			2490.04			2490.46			0.05			0.38


			369.99			2490.49			2490.02			2490.44			0.47			0.00


			379.99			2490.49			2490.00			2490.42			0.49			0.00


			389.99			2490.43			2489.98			2490.40			0.45			0.00


			399.99			2490.42			2489.96			2490.38			0.46			0.00


			409.99			2490.34			2489.94			2490.36			0.40			0.02


			419.99			2490.28			2489.92			2490.34			0.36			0.06


			429.99			2490.10			2489.90			2490.32			0.20			0.22


			439.99			2489.81			2489.88			2490.30			0.00			0.50


			439.99			2489.81			2488.88												1.00			80


			449.99			2489.70			2488.76			2489.18			0.94			0.00


			459.99			2489.53			2488.63			2489.05			0.90			0.00


			469.99			2489.15			2488.51			2488.93			0.64			0.00


			479.99			2488.76			2488.38			2488.80			0.38			0.04


			489.99			2488.46			2488.26			2488.68			0.21			0.21


			499.99			2488.38			2488.13			2488.55			0.25			0.17


			509.99			2488.31			2488.01			2488.43			0.30			0.12


			519.99			2488.09			2487.88			2488.30			0.21			0.22


			529.99			2487.87			2487.76			2488.18			0.11			0.31


			539.99			2487.61			2487.63			2488.05			0.00			0.45


			539.99			2487.61			2486.63												1.00			80


			549.99			2487.31			2486.50			2486.93			0.81			0.00


			559.99			2486.99			2486.38			2486.80			0.61			0.00


			569.99			2486.67			2486.25			2486.68			0.42			0.01


			579.99			2486.65			2486.13			2486.55			0.52			0.00


			589.99			2486.67			2486.00			2486.43			0.67			0.00


			599.99			2486.70			2485.88			2486.30			0.82			0.00


			609.99			2486.73			2485.75			2486.18			0.97			0.00


			619.99			2486.60			2485.63			2486.05			0.97			0.00


			629.99			2486.30			2485.50			2485.93			0.80			0.00


			639.99			2485.98			2485.38			2485.80			0.60			0.00


			649.99			2485.65			2485.25			2485.68			0.40			0.02


			659.99			2485.33			2485.13			2485.55			0.20			0.22


			669.99			2485.00			2485.00			2485.43			0.00			0.43


			669.99			2485.00			2484.00												1.00			80


			679.99			2484.67			2483.88			2484.30			0.80			0.00


			689.99			2484.38			2483.75			2484.17			0.63			0.00


			699.99			2484.08			2483.63			2484.05			0.46			0.00


			709.99			2483.81			2483.50			2483.92			0.31			0.12


			719.99			2483.52			2483.38			2483.80			0.15			0.28


			729.99			2482.99			2483.25			2483.67			0.00			0.68


			729.99			2482.99			2482.25												1.00			80


			739.99			2482.66			2482.13			2482.55			0.53			0.00


			749.99			2482.45			2482.00			2482.42			0.45			0.00


			759.99			2482.26			2481.88			2482.30			0.38			0.04


			769.99			2482.07			2481.75			2482.17			0.32			0.10


			779.99			2481.93			2481.63			2482.05			0.31			0.12


			789.99			2481.84			2481.50			2481.92			0.34			0.08


			799.99			2481.72			2481.38			2481.80			0.34			0.08


			809.98			2481.52			2481.25			2481.67			0.27			0.16


			819.98			2481.26			2481.13			2481.55			0.14			0.29


			829.97			2480.85			2481.00			2481.42			0.00			0.57


			829.97			2480.85			2480.00												1.00			100


			839.97			2480.68			2479.90			2480.32			0.78			0.00


			849.96			2480.30			2479.88			2480.30			0.42			0.00


			859.96			2480.09			2479.86			2480.28			0.23			0.19


			869.95			2480.01			2479.84			2480.26			0.17			0.25


			879.95			2479.57			2479.82			2480.24			0.00			0.67


			879.95			2479.57			2478.82												1.00			100


			889.94			2479.02			2478.72			2479.14			0.30			0.12


			899.94			2478.68			2478.62			2479.04			0.06			0.36


			909.94			2478.58			2478.52			2478.94			0.06			0.36


			909.94			2478.58			2477.52												1.00			100


			919.94			2478.25			2477.42			2477.84			0.83			0.00


			929.94			2478.00			2477.32			2477.74			0.68			0.00


			939.94			2477.74			2477.22			2477.64			0.52			0.00


			949.94			2477.47			2477.12			2477.54			0.35			0.08


			959.94			2477.29			2477.02			2477.44			0.27			0.16


			969.94			2477.13			2476.92			2477.34			0.21			0.21


			979.94			2476.98			2476.82			2477.24			0.16			0.26


			989.94			2476.83			2476.72			2477.14			0.11			0.31


			999.94			2476.87			2476.62			2477.04			0.25			0.17


			1009.94			2476.80			2476.52			2476.94			0.28			0.14


			1019.94			2476.74			2476.42			2476.84			0.32			0.11


			1029.94			2476.67			2476.32			2476.74			0.35			0.07


			1039.94			2476.68			2476.22			2476.64			0.46			0.00


			1049.94			2476.71			2476.12			2476.54			0.59			0.00


			1059.93			2476.62			2476.02			2476.44			0.60			0.00


			1069.93			2476.47			2475.92			2476.34			0.55			0.00


			1079.93			2476.33			2475.82			2476.24			0.51			0.00


			1089.93			2476.27			2475.72			2476.14			0.55			0.00


			1099.93			2476.21			2475.62			2476.04			0.59			0.00


			1109.93			2476.16			2475.52			2475.94			0.64			0.00


			1119.93			2476.07			2475.42			2475.84			0.65			0.00


			1129.93			2475.99			2475.32			2475.74			0.67			0.00


			1139.93			2475.88			2475.22			2475.64			0.66			0.00


			1149.92			2475.73			2475.12			2475.54			0.61			0.00


			1159.92			2475.55			2475.02			2475.44			0.53			0.00


			1169.91			2475.29			2474.92			2475.34			0.37			0.05


			1179.91			2475.27			2474.82			2475.24			0.45			0.00


			1189.91			2475.27			2474.72			2475.14			0.55			0.00


			1199.91			2475.28			2474.62			2475.04			0.66			0.00


			1209.91			2475.21			2474.52			2474.94			0.69			0.00


			1219.91			2475.13			2474.42			2474.84			0.71			0.00


			1229.91			2475.05			2474.32			2474.74			0.73			0.00


			1239.91			2474.93			2474.22			2474.64			0.71			0.00


			1249.91			2474.80			2474.12			2474.54			0.68			0.00


			1259.91			2474.72			2474.02			2474.44			0.70			0.00


			1269.91			2474.68			2473.92			2474.34			0.76			0.00


			1279.91			2474.64			2473.82			2474.24			0.82			0.00


			1289.91			2474.61			2473.72			2474.14			0.89			0.00


			1299.91			2474.47			2473.62			2474.04			0.85			0.00


			1309.91			2474.47			2473.52			2473.94			0.95			0.00


			1319.91			2474.33			2473.42			2473.84			0.91			0.00


			1329.91			2474.19			2473.32			2473.74			0.87			0.00


			1339.91			2474.11			2473.22			2473.64			0.89			0.00


			1349.91			2473.69			2473.12			2473.54			0.57			0.00


			1359.91			2473.20			2473.02			2473.44			0.18			0.24


			1369.91			2473.82			2472.92			2473.34			0.90			0.00


			1379.91			2473.56			2472.82			2473.24			0.74			0.00


			1389.91			2473.12			2472.72			2473.14			0.40			0.03


			1399.91			2472.68			2472.62			2473.04			0.06			0.36


			1409.91			2473.09			2472.52			2472.94			0.57			0.00


			1419.91			2473.34			2472.42			2472.84			0.92			0.00


			1429.91			2472.70			2472.32			2472.74			0.38			0.05


			1439.91			2472.41			2472.22			2472.64			0.19			0.23


			1449.91			2472.89			2472.12			2472.54			0.77			0.00


			1459.91			2473.38			2472.02			2472.44			1.36			0.00


			1469.91			2473.20			2471.92			2472.34			1.28			0.00


			1479.91			2472.85			2471.82			2472.24			1.03			0.00


			1489.91			2472.14			2471.72			2472.14			0.42			0.00


			1499.91			2471.49			2471.62			2472.04			0.00			0.56


			1499.91			2471.49			2470.62												1.00			100


			1509.91			2471.78			2470.52			2470.94			1.26			0.00


			1519.91			2472.09			2470.42			2470.84			1.67			0.00


			1529.91			2471.84			2470.32			2470.74			1.52			0.00


			1539.91			2470.90			2470.22			2470.64			0.68			0.00


			1549.91			2470.76			2470.12			2470.54			0.64			0.00


			1559.91			2471.37			2470.02			2470.44			1.35			0.00


			1569.91			2470.53			2469.92			2470.34			0.61			0.00


			1579.91			2469.96			2469.82			2470.24			0.14			0.29


			1589.91			2470.64			2469.72			2470.14			0.92			0.00


			1599.91			2470.18			2469.62			2470.04			0.56			0.00


			1609.90			2469.15			2469.52			2469.94			0.00			0.80


			1609.90			2469.15			2468.52												1.00			100


			1619.90			2468.86			2468.42			2468.84			0.44			0.00


			1629.90			2468.60			2468.32			2468.74			0.28			0.14


			1639.90			2468.33			2468.22			2468.64			0.11			0.31


			1649.90			2467.88			2468.12			2468.54			0.00			0.66			1.00			100


			1649.90			2467.88			2467.12


			1659.90			2467.62			2467.02			2467.44			0.60			0.00


			1669.90			2467.54			2466.92			2467.34			0.62			0.00


			1679.90			2467.46			2466.82			2467.24			0.64			0.00


			1689.90			2467.41			2466.72			2467.14			0.69			0.00


			1699.90			2467.39			2466.62			2467.04			0.77			0.00


			1709.90			2467.29			2466.52			2466.94			0.77			0.00


			1719.90			2467.27			2466.42			2466.84			0.85			0.00


			1729.90			2467.21			2466.32			2466.74			0.89			0.00


			1739.90			2467.14			2466.22			2466.64			0.92			0.00


			1749.90			2467.17			2466.12			2466.54			1.05			0.00


			1759.90			2467.12			2466.02			2466.44			1.10			0.00


			1769.90			2467.04			2465.92			2466.34			1.12			0.00


			1779.90			2467.03			2465.82			2466.24			1.21			0.00


			1789.90			2467.03			2465.72			2466.14			1.31			0.00


			1799.90			2467.01			2465.62			2466.04			1.39			0.00


			1809.90			2466.92			2465.52			2465.94			1.40			0.00


			1819.90			2466.71			2465.42			2465.84			1.29			0.00


			1829.90			2466.47			2465.32			2465.74			1.15			0.00


			1839.90			2466.23			2465.22			2465.64			1.01			0.00


			1849.90			2465.99			2465.12			2465.54			0.87			0.00


			1859.90			2465.86			2465.02			2465.44			0.84			0.00


			1869.90			2465.75			2464.92			2465.34			0.83			0.00


			1879.90			2465.63			2464.82			2465.24			0.81			0.00


			1889.90			2465.34			2464.72			2465.14			0.62			0.00


			1899.90			2465.07			2464.62			2465.04			0.45			0.00


			1909.90			2464.88			2464.52			2464.94			0.36			0.06


			1919.90			2464.74			2464.42			2464.84			0.32			0.10


			1929.90			2464.65			2464.32			2464.74			0.33			0.09


			1939.90			2464.56			2464.22			2464.64			0.34			0.09








TC 1-1-1 OF G3


			bed width			0.20						chainage


			Slope			125.00						OGL


			Initial CBL			2495.52						CBL


			Total depth			0.20						masonay width			0.35


			Side slope of canal			1.00						working space			0.2


			Side slope of Burm			1.00						total width cut			1.3


			Insert top width of built burm for fill			0.30





			Northing			Easting			Partial Distance			Chainage			Elevation			CBL			Bank level			CUT(m)			Fill(m)			drop			slope			Area of cut			Average Area of Cut			Volume of cut			Area of Fill			Average Area of Fill			Volume of Fill


			1221951.5357			272719.8874			0.00			0.00			2496.5977			2495.52			2495.72			1.08			0.00						125.00			1.40			0.00			0.00			0.00			0.00			0.00


			1221952.8892			272709.9795			10.00			10.00			2496.377			2495.44			2495.64			0.94			0.00									1.22			1.31			13.10			0.00			0.00			0.00


			1221954.2427			272700.0715			10.00			20.00			2496.5986			2495.36			2495.56			1.24			0.00									1.61			1.41			14.14			0.00			0.00			0.00


			1221955.5962			272690.1635			10.00			30.00			2496.4913			2495.28			2495.48			1.21			0.00									1.57			1.59			15.92			0.00			0.00			0.00


			1221956.9497			272680.2555			10.00			40.00			2496.1514			2495.20			2495.40			0.95			0.00									1.24			1.41			14.06			0.00			0.00			0.00


			1221958.3032			272670.3476			10.00			50.00			2495.8307			2495.12			2495.32			0.71			0.00									0.92			1.08			10.80			0.00			0.00			0.00


			1221959.6567			272660.4396			10.00			60.00			2495.0545			2495.04			2495.24			0.01			0.19									0.02			0.47			4.71			0.26			0.13			1.29


			1221961.0102			272650.5316			10.00			70.00			2495.3772			2494.96			2495.16			0.42			0.00									0.54			0.28			2.81			0.00			0.13			1.29


									10.00			80.00			2495.3772			2494.46			2494.66			0.92			0.00			0.50			125.00			1.19			0.87			8.67			0.00			0.00			0.00


			1221962.3637			272640.6236			10.00			80.00			2494.5923			2494.38			2494.58			0.21			0.00									0.28			0.41			4.09			0.00			0.00			0.00


			1221963.7172			272630.7156			10.00			90.00			2494.326			2494.30			2494.50			0.03			0.17									0.03			0.15			1.55			0.24			0.12			1.20


									10.00			100.00			2494.326			2493.87			2494.07			0.46			0.00			0.50			125.00			0.59			0.31			3.13			0.00			0.12			1.20


			1221965.0707			272620.8077			10.00			100.00			2494.0943			2493.79			2493.99			0.30			0.00									0.40			0.21			2.15			0.00			0.12			1.20


			1221966.4242			272610.8997			10.00			110.00			2493.8627			2493.71			2493.91			0.15			0.05									0.20			0.30			2.97			0.06			0.03			0.29


			1221967.7777			272600.9917			10.00			120.00			2493.5371			2493.63			2493.83			0.00			0.29									0.00			0.10			0.99			0.36			0.21			2.08


									10.00			130.00			2493.5371			2493.03			2493.23			0.51			0.00			0.60			18.00			0.66			0.33			3.30			0.00			0.18			1.79


			1221969.1312			272591.0837			10.00			130.00			2492.8953			2492.47			2492.67			0.42			0.00									0.55			0.27			2.74			0.00			0.18			1.79


			1221970.4847			272581.1757			10.00			140.00			2492.1971			2491.92			2492.12			0.28			0.00									0.36			0.45			4.54			0.00			0.00			0.00


									10.00			150.00			2492.1971			2491.36			2491.56			0.83			0.00									1.08			0.72			7.23			0.00			0.00			0.00


			1221971.8382			272571.2678			10.00			150.00			2491.4194			2490.81			2491.01			0.61			0.00			0.30						0.80			0.58			5.78			0.00			0.00			0.00


			1221973.1917			272561.3598			10.00			160.00			2490.6416			2490.25			2490.45			0.39			0.00									0.51			0.65			6.51			0.00			0.00			0.00


			1221974.5452			272551.4518			10.00			170.00			2489.9115			2489.70			2489.90			0.21			0.00									0.28			0.39			3.93			0.00			0.00			0.00


			1221975.8987			272541.5438			10.00			180.00			2489.3095			2489.14			2489.34			0.17			0.03									0.22			0.25			2.49			0.04			0.02			0.19


			1221977.2522			272531.6359			10.00			190.00			2488.7075			2488.59			2488.79			0.12			0.08									0.16			0.19			1.89			0.10			0.07			0.69


			1221978.6057			272521.7279			10.00			200.00			2488.1055			2488.03			2488.23			0.08			0.12						300.00			0.10			0.13			1.28			0.16			0.13			1.32


			1221979.9592			272511.8199			10.00			210.00			2487.3803			2487.47			2487.67			0.00			0.29									0.00			0.05			0.49			0.36			0.26			2.62


			1221981.3127			272501.9119			10.00			220.00			2486.508			2486.92			2487.12			0.00			0.61									0.00			0.00			0.00			1.03			0.69			6.93


																																				ERROR:#REF!			=			139.27			46.00			=			ERROR:#REF!








TC 1-1-1 PROF


			chainage


			OGL


			CBL


			embankment level


			depth of cut, m


			depht of fill,m


			Drop


			Slope


			0.00			2501.52			2500.28			2500.43			1.25			0.00			0.00			300.00


			10.00			2501.54			2500.24			2500.39			1.30			0.00			0.00


			20.00			2501.56			2500.21			2500.36			1.35			0.00			0.00


			30.00			2501.58			2500.18			2500.33			1.40			0.00			0.00


			40.00			2501.59			2500.14			2500.29			1.44			0.00			0.00


			50.00			2501.48			2500.11			2500.26			1.37			0.00			0.00


			60.00			2501.39			2500.08			2500.23			1.31			0.00			0.00			300.00


			70.00			2501.31			2500.04			2500.19			1.26			0.00			0.00


			80.00			2501.24			2500.01			2500.16			1.23			0.00			0.00


			90.00			2501.18			2499.98			2500.13			1.20			0.00			0.00


			100.00			2501.12			2499.94			2500.09			1.18			0.00			0.00


			110.00			2501.03			2499.91			2500.06			1.12			0.00			0.00


			120.00			2500.91			2499.88			2500.03			1.04			0.00			0.00


			130.00			2500.84			2499.84			2499.99			1.00			0.00			0.00


			140.00			2500.77			2499.81			2499.96			0.96			0.00			0.00


			150.00			2500.62			2499.78			2499.93			0.85			0.00			0.00


			160.00			2500.45			2499.74			2499.89			0.71			0.00			0.00


			170.00			2500.29			2499.71			2499.86			0.58			0.00			0.00


			180.00			2500.13			2499.68			2499.83			0.46			0.00			0.00


			190.00			2499.98			2499.64			2499.79			0.33			0.00			0.00


			200.00			2499.82			2499.61			2499.76			0.21			0.00			0.00			300.00


			210.00			2499.73			2499.58			2499.73			0.15			0.00			0.00


			220.00			2499.73			2499.53												0.50


			230.00			2499.67			2499.50			2499.65			0.17			0.00			0.00


			240.00			2499.52			2499.46			2499.62			0.06			0.09			0.00


			250.00			2499.53			2499.43			2499.58			0.10			0.05			0.00


			260.00			2499.62			2499.40			2499.55			0.22			0.00			0.00


			270.00			2499.67			2499.36			2499.52			0.31			0.00			0.00


			280.00			2499.76			2499.33			2499.48			0.43			0.00			0.00


			290.00			2499.82			2499.30			2499.45			0.53			0.00			0.00


			300.00			2499.89			2499.26			2499.42			0.63			0.00			0.00			300.00


			310.00			2499.92			2499.23			2499.38			0.69			0.00			0.00


			320.00			2499.62			2499.20			2499.35			0.43			0.00			0.00








TC 1-1-2 OF G3


			bed width			0.23						chainage


			Slope			300						OGL


			Initial CBL			2500.28						CBL


			Total depth			0.23


			Side slope of canal			1.00


			b/d ratio			1.00


			Side slope of Burm			1.00


			Insert top width of built burm for fill			0.30





			Northing			Easting			Partial Distance			Chainage			Elevation			CBL			Bank level			drop			slope			CUT(m)			Fill(m)			Area of cut			Average Area of Cut			Volume of cut			Area of Fill			Average Area of Fill			Volume of Fill			cum.cut


			272687.90			1221787.93			0.00			0.00			2501.52			2500.28			2500.51						300.00			1.25			0.00			3.11			0.00			0.00			0.00			0.00			0.00			0.00


			272697.32			1221784.55			10.00			10.00			2501.55			2500.24			2500.47									1.30			0.00			3.40			3.26			32.58			0.00			0.00			0.00			32.58


			272706.73			1221781.18			10.00			20.00			2501.57			2500.21			2500.44									1.36			0.00			3.70			3.55			35.52			0.00			0.00			0.00			68.09


			272716.14			1221777.80			10.00			30.00			2501.54			2500.17			2500.40									1.36			0.00			3.72			3.71			37.13			0.00			0.00			0.00			105.22


			272725.55			1221774.42			10.00			40.00			2501.45			2500.14			2500.37									1.31			0.00			3.44			3.58			35.80			0.00			0.00			0.00			141.03


			272734.96			1221771.04			10.00			50.00			2501.37			2500.11			2500.34									1.26			0.00			3.16			3.30			33.01			0.00			0.00			0.00			174.03


			272744.38			1221767.66			10.00			60.00			2501.37			2500.07			2500.30									1.29			0.00			3.33			3.25			32.48			0.00			0.00			0.00			206.51


			272753.68			1221764.01			10.00			70.00			2501.41			2500.04			2500.27									1.37			0.00			3.76			3.54			35.44			0.00			0.00			0.00			241.95


			272762.59			1221759.48			10.00			79.99			2501.48			2500.01			2500.24									1.47			0.00			4.31			4.03			40.30			0.00			0.00			0.00			282.25


			272771.02			1221754.10			10.00			89.99			2501.55			2499.98			2500.21									1.58			0.00			4.99			4.65			46.48			0.00			0.00			0.00			328.73


			272778.88			1221747.92			10.00			99.98			2501.65			2499.94			2500.17									1.71			0.00			5.82			5.41			54.04			0.00			0.00			0.00			382.77


			272786.09			1221741.00			10.00			109.98			2501.57			2499.91			2500.14									1.67			0.00			5.55			5.69			56.84			0.00			0.00			0.00			439.61


			272792.59			1221733.41			10.00			119.98			2501.40			2499.88			2500.11									1.53			0.00			4.66			5.10			51.02			0.00			0.00			0.00			490.63


			272798.31			1221725.21			10.00			129.97			2501.23			2499.84			2500.07									1.39			0.00			3.86			4.26			42.59			0.00			0.00			0.00			533.21


			272803.20			1221716.49			10.00			139.97			2501.16			2499.81			2500.04						300.00			1.35			0.00			3.65			3.76			37.56			0.00			0.00			0.00			570.78


			272807.57			1221707.50			10.00			149.97			2501.05			2499.78			2500.01									1.28			0.00			3.26			3.46			34.58			0.00			0.00			0.00			605.36


			272811.93			1221698.50			10.00			159.97			2500.87			2499.74			2499.97									1.13			0.00			2.54			2.90			29.04			0.00			0.00			0.00			634.39


			272816.30			1221689.50			10.00			169.97			2500.68			2499.71			2499.94									0.97			0.00			1.90			2.22			22.20			0.00			0.00			0.00			656.60


			272820.66			1221680.50			10.00			179.97			2500.67			2499.68			2499.91									1.00			0.00			2.00			1.95			19.47			0.00			0.00			0.00			676.07


			272825.02			1221671.51			10.00			189.97			2500.71			2499.64			2499.87									1.07			0.00			2.28			2.14			21.38			0.00			0.00			0.00			697.45


			272829.39			1221662.51			10.00			199.97			2500.75			2499.61			2499.84									1.14			0.00			2.58			2.43			24.32			0.00			0.00			0.00			721.77


			272833.75			1221653.51			10.00			209.97			2500.71			2499.58			2499.81									1.14			0.00			2.59			2.58			25.85			0.00			0.00			0.00			747.62


			272837.66			1221644.31			10.00			219.96			2500.67			2499.54			2499.77									1.13			0.00			2.56			2.57			25.70			0.00			0.00			0.00			773.32


			272840.67			1221634.78			10.00			229.96			2500.69			2499.51			2499.74									1.18			0.00			2.81			2.68			26.80			0.00			0.00			0.00			800.13


			272843.43			1221625.17			10.00			239.96			2500.74			2499.48			2499.71									1.27			0.00			3.22			3.01			30.11			0.00			0.00			0.00			830.24


			272846.20			1221615.56			10.00			249.96			2500.64			2499.44			2499.67									1.20			0.00			2.87			3.04			30.42			0.00			0.00			0.00			860.66


			272848.96			1221605.95			10.00			259.96			2500.49			2499.41			2499.64									1.08			0.00			2.33			2.60			26.00			0.00			0.00			0.00			886.66


			272851.72			1221596.33			10.00			269.96			2500.20			2499.38			2499.61									0.82			0.00			1.36			1.85			18.46			0.00			0.00			0.00			905.12


			272854.51			1221586.73			10.00			279.96			2499.89			2499.34			2499.57									0.55			0.00			0.60			0.98			9.81			0.00			0.00			0.00			914.93


			272857.96			1221577.35			10.00			289.96			2499.58			2499.31			2499.54									0.27			0.00			0.14			0.37			3.72			0.00			0.00			0.00			918.65


			272862.32			1221568.36			10.00			299.95			2499.36			2499.28			2499.51									0.08			0.15			0.01			0.08			0.78			0.21			0.11			1.07			919.43


			272867.54			1221559.83			10.00			309.95			2499.42			2499.24			2499.47									0.18			0.05			0.06			0.04			0.38			0.07			0.14			1.43			919.80


			272873.57			1221551.86			10.00			319.95			2499.70			2499.21			2499.44									0.49			0.00			0.48			0.27			2.72			0.00			0.04			0.36			922.52


			272880.36			1221544.52			10.00			329.94			2500.00			2499.18			2499.41									0.83			0.00			1.38			0.93			9.29			0.00			0.00			0.00			931.81


			272887.56			1221537.58			10.00			339.94			2500.14			2499.14			2499.37									0.99			0.00			1.98			1.68			16.76			0.00			0.00			0.00			948.57


			272894.77			1221530.65			10.00			349.94			2500.00			2499.11			2499.34									0.89			0.00			1.59			1.78			17.82			0.00			0.00			0.00			966.39


			272901.98			1221523.72			10.00			359.94			2499.93			2499.08			2499.31									0.85			0.00			1.45			1.52			15.21			0.00			0.00			0.00			981.60


			272909.19			1221516.79			10.00			369.94			2499.72			2499.04			2499.27									0.68			0.00			0.92			1.19			11.90			0.00			0.00			0.00			993.50


			272916.39			1221509.86			10.00			379.94			2499.61			2499.01			2499.24									0.60			0.00			0.72			0.82			8.25			0.00			0.00			0.00			1001.75


			272923.60			1221502.93			10.00			389.94			2499.39			2498.98			2499.21									0.42			0.00			0.35			0.54			5.37			0.00			0.00			0.00			1007.11


			272930.81			1221496.00			10.00			399.94			2499.29			2498.94			2499.17									0.35			0.00			0.25			0.30			2.98			0.00			0.00			0.00			1010.09


			272938.02			1221489.07			10.00			409.94			2499.13			2498.91			2499.14									0.22			0.01			0.10			0.17			1.73			0.01			0.01			0.05			1011.82


			272945.23			1221482.14			10.00			419.94			2499.22			2498.88			2499.11									0.35			0.00			0.24			0.17			1.71			0.00			0.01			0.05			1013.53


			272952.44			1221475.20			10.00			429.94			2499.32			2498.84			2499.07						300			0.48			0.00			0.45			0.35			3.48			0.00			0.00			0.00			1017.01


																														43.83			0.21			103.50			101.72			1017.01			0.30			0.30			2.97			29271.26








TC 1-1-2 PROFILE OF G3


			chainage


			OGL


			CBL


			embankment level


			depth of cut, m


			depth of fill


			drop


			slope


			0.00			2501.52			2500.28			2500.51			1.25			0.00			0.00			300.00


			10.00			2501.55			2500.24			2500.47			1.30			0.00			0.00


			20.00			2501.57			2500.21			2500.44			1.36			0.00			0.00


			30.00			2501.54			2500.17			2500.40			1.36			0.00			0.00


			40.00			2501.45			2500.14			2500.37			1.31			0.00			0.00


			50.00			2501.37			2500.11			2500.34			1.26			0.00			0.00


			60.00			2501.37			2500.07			2500.30			1.29			0.00			0.00


			70.00			2501.41			2500.04			2500.27			1.37			0.00			0.00


			79.99			2501.48			2500.01			2500.24			1.47			0.00			0.00


			89.99			2501.55			2499.98			2500.21			1.58			0.00			0.00


			99.98			2501.65			2499.94			2500.17			1.71			0.00			0.00


			109.98			2501.57			2499.91			2500.14			1.67			0.00			0.00


			119.98			2501.40			2499.88			2500.11			1.53			0.00			0.00


			129.97			2501.23			2499.84			2500.07			1.39			0.00			0.00


			139.97			2501.16			2499.81			2500.04			1.35			0.00			0.00			300.00


			149.97			2501.05			2499.78			2500.01			1.28			0.00			0.00


			159.97			2500.87			2499.74			2499.97			1.13			0.00			0.00


			169.97			2500.68			2499.71			2499.94			0.97			0.00			0.00


			179.97			2500.67			2499.68			2499.91			1.00			0.00			0.00


			189.97			2500.71			2499.64			2499.87			1.07			0.00			0.00


			199.97			2500.75			2499.61			2499.84			1.14			0.00			0.00


			209.97			2500.71			2499.58			2499.81			1.14			0.00			0.00


			219.96			2500.67			2499.54			2499.77			1.13			0.00			0.00


			229.96			2500.69			2499.51			2499.74			1.18			0.00			0.00


			239.96			2500.74			2499.48			2499.71			1.27			0.00			0.00


			249.96			2500.64			2499.44			2499.67			1.20			0.00			0.00


			259.96			2500.49			2499.41			2499.64			1.08			0.00			0.00


			269.96			2500.20			2499.38			2499.61			0.82			0.00			0.00


			279.96			2499.89			2499.34			2499.57			0.55			0.00			0.00


			289.96			2499.58			2499.31			2499.54			0.27			0.00			0.00


			299.95			2499.36			2499.28			2499.51			0.08			0.15			0.00


			309.95			2499.42			2499.24			2499.47			0.18			0.05			0.00


			319.95			2499.70			2499.21			2499.44			0.49			0.00			0.00


			329.94			2500.00			2499.18			2499.41			0.83			0.00			0.00


			339.94			2500.14			2499.14			2499.37			0.99			0.00			0.00


			349.94			2500.00			2499.11			2499.34			0.89			0.00			0.00


			359.94			2499.93			2499.08			2499.31			0.85			0.00			0.00


			369.94			2499.72			2499.04			2499.27			0.68			0.00			0.00


			379.94			2499.61			2499.01			2499.24			0.60			0.00			0.00


			389.94			2499.39			2498.98			2499.21			0.42			0.00			0.00


			399.94			2499.29			2498.94			2499.17			0.35			0.00			0.00


			409.94			2499.13			2498.91			2499.14			0.22			0.01			0.00


			419.94			2499.22			2498.88			2499.11			0.35			0.00			0.00


			429.94			2499.32			2498.84			2499.07			0.48			0.00			0.00			300.00

















TC 1-1-3 OF G3


			bed width			0.09


			Slope			125.00


			Initial CBL			2488.13


			Total depth			0.09


			Side slope of canal			1.00


			b/d ratio			1.00


			Side slope of Burm			1.00


			Insert top width of built burm for fill			0.00





			Northing			Easting			Partial Distance			Chenaige			Elevation			CBL			Bank level			drop			slope			CUT(m)			Fill(m)			Area of cut			Average Area of Cut			Volume of cut			Area of Fill			Average Area of Fill			Volume of Fill			cum.cut


			272769.1848			1222275.0653			0.00			0.0			2488.3825			2488.13			2488.22						125.00			0.25			0.00			0.13			0.00			0.00			0.00			0.00			0.00			0.00


			272769.9657			1222285.0348			10.0			10.0			2488.3066			2488.049999706			2488.14									0.26			0.00			0.13			0.13			1.30			0.00			0.00			0.00			1.30


			272770.7466			1222295.0042			10.0			20.0			2488.0858			2487.9700002095			2488.06									0.12			0.00			0.03			0.08			0.79			0.00			0.00			0.00			2.09


			272771.5275			1222304.9737			10.0			30.0			2487.865			2487.8899999155			2487.98									0.00			0.12			0.00			0.01			0.13			0.03			0.02			0.15			2.22


			272772.3084			1222314.9431			10.0			40.0			2487.607			2487.810000419			2487.90									0.00			0.30			0.00			0.00			0.00			0.15			0.09			0.92			2.22


			272773.0893			1222324.9126			10.0			50.0			2487.3115			2487.730000125			2487.82									0.00			0.51			0.00			0.00			0.00			0.39			0.27			2.72			2.22


												60.0			2487.3115			2487.03			2487.12			0.7			125			0.28			0.00			0.16			0.00			0.00			0.00			0.00			0.00			0.00


			272773.8702			1222334.8821			10.0			60.0			2486.9908			2486.949999706			2487.04									0.04			0.05			0.00			0.00			0.02			0.02			0.20			2.04			2.24


			272774.6511			1222344.8515			10.0			70.0			2486.67			2486.8700002095			2486.96									0.00			0.29			0.00			0.00			0.02			0.15			0.08			0.85			2.26


			272775.432			1222354.821			10.0			80.0			2486.6455			2486.7899999155			2486.88									0.00			0.24			0.00			0.00			0.00			0.11			0.13			1.29			2.26


			272776.2129			1222364.7905			10.0			90.0			2486.6735			2486.7099996215			2486.80									0.00			0.13			0.00			0.00			0.00			0.04			0.07			0.71			2.26


			272776.9938			1222374.7599			10.0			100.0			2486.7009			2486.630000125			2486.72									0.07			0.02			0.01			0.01			0.05			0.01			0.02			0.22			2.31


			272777.7747			1222384.7294			10.0			110.0			2486.7282			2486.549999831			2486.64									0.18			0.00			0.06			0.04			0.37			0.00			0.00			0.04			2.67


			272778.5556			1222394.6989			10.0			120.0			2486.6035			2486.469999537			2486.56									0.13			0.00			0.04			0.05			0.50			0.00			0.00			0.00			3.17


			272779.3365			1222404.6683			10.0			130.0			2486.3005			2486.3900000405			2486.48									0.00			0.18			0.00			0.02			0.18			0.07			0.03			0.34			3.35


			272780.1174			1222414.6378			10.0			140.0			2485.9768			2486.3099997465			2486.40									0.00			0.43			0.00			0.00			0.00			0.29			0.18			1.77			3.35


									10.0			150.0			2485.9768			2485.56			2485.65			0.75						0.42			0.00			0.35			0.00			0.00			0.00			0.00			0.00			0.00


			272780.8983			1222424.6072			10.0			150.0			2485.653			2485.4800005035			2485.57									0.17			0.00			0.06			0.03			0.30			0.00			0.14			1.43			3.65


			272781.6792			1222434.5767			10.0			160.0			2485.3291			2485.4000002095			2485.49									0.00			0.16			0.00			0.03			0.30			0.06			0.03			0.28			3.95


			272782.4601			1222444.5462			10.0			170.0			2485.001			2485.3199999155			2485.41									0.00			0.41			0.00			0.00			0.00			0.27			0.16			1.63			3.95


			272783.241			1222454.5156			10.0			180.0			2484.6729			2485.240000419			2485.33									0.00			0.66			0.00			0.00			0.00			0.61			0.44			4.38			3.95


												190.0			2484.6729			2484.31			2484.40			0.75						0.36			0.00			0.26			0.00			0.00			0.00			0.00			0.00			0.00


			272784.0219			1222464.4851			10.0			200.0			2484.3761			2484.1099992649			2484.20									0.27			0.00			0.14			0.07			0.71			0.00			0.30			3.03			4.65


			272784.8028			1222474.4546			10.0			210.0			2484.0814			2483.9099985299			2484.00									0.17			0.00			0.06			0.10			1.00			0.00			0.00			0.00			5.66


			272785.5837			1222484.424			10.0			220.0			2483.8076			2483.7099997887			2483.80									0.10			0.00			0.02			0.04			0.39			0.00			0.00			0.00			6.05


			272786.3646			1222494.3935			10.0			230.0			2483.5216			2483.5099990537			2483.60									0.01			0.08			0.00			0.01			0.10			0.03			0.02			0.15			6.14


												230.0			2483.5216			2483.5099990537			2483.60									0.01			0.08			0.00			0.00			0.00			0.00			0.00			0.00			0.00


			272787.3764			1222504.3412			10.0			240.0			2482.9881			2483.3100185801			2483.40									0.00			0.42			0.00			0.00			0.00			0.27			0.15			1.51			6.14


									0.0			240.0			2482.9881			2482.81			2482.90			0.50			50.00			0.18			0.00			0.06			0.00			0.00			0.00			0.00			0.00			0.00


			272788.598			1222514.2663			10.0			250.0			2482.6559			2482.6100000834			2482.70									0.05			0.05			0.00			0.00			0.02			0.02			0.14			1.44			6.16


			272789.8196			1222524.1914			10.0			260.0			2482.4505			2482.4100001669			2482.50									0.04			0.05			0.00			0.00			0.04			0.02			0.02			0.17			6.20


			272791.0412			1222534.1165			10.0			270.0			2482.2563			2482.2100002503			2482.30									0.05			0.05			0.00			0.00			0.04			0.02			0.02			0.17			6.24


			272792.2628			1222544.0416			10.0			280.0			2482.0708			2482.0100003337			2482.10									0.06			0.03			0.01			0.01			0.06			0.01			0.01			0.13			6.30


			272793.4844			1222553.9667			10.0			290.0			2481.9322			2481.8100004172			2481.90									0.12			0.00			0.03			0.02			0.19			0.00			0.01			0.05			6.48


			272794.706			1222563.8918			10.0			300.0			2481.8398			2481.6100005006			2481.70									0.23			0.00			0.11			0.07			0.68			0.00			0.00			0.00			7.16


			272795.9277			1222573.8169			10.0			310.0			2481.7157			2481.4100003397			2481.50									0.31			0.00			0.19			0.15			1.46			0.00			0.00			0.00			8.62


			272796.7764			1222583.7764			10.0			320.0			2481.5156			2481.2100884271			2481.30									0.31			0.00			0.19			0.19			1.87			0.00			0.00			0.00			10.49


			272796.5248			1222593.768			10.0			330.0			2481.2624			2481.0101930814			2481.10									0.25			0.00			0.13			0.16			1.57			0.00			0.00			0.00			12.06


																														4.43			4.28			2.17			1.21			12.06			2.54			2.54			25.40			147.76










































































tc 1-1-3 profile of g3


			chainage


			OGL


			CBL


			embankment level


			depth of cut, m


			depth of fill


			drop


			slope


			0.00			2488.38			2488.13			2488.22			0.25			0.00						125.00


			10.00			2488.31			2488.05			2488.14			0.26			0.00


			20.00			2488.09			2487.97			2488.06			0.12			0.00


			30.00			2487.87			2487.89			2487.98			0.00			0.12


			40.00			2487.61			2487.81			2487.90			0.00			0.30


			50.00			2487.31			2487.73			2487.82			0.00			0.51


			60.00			2487.31			2487.03												0.70			125.00


			60.00			2486.99			2486.95			2487.04			0.04			0.05


			70.00			2486.67			2486.87			2486.96			0.00			0.29


			80.00			2486.65			2486.79			2486.88			0.00			0.24


			90.00			2486.67			2486.71			2486.80			0.00			0.13


			100.00			2486.70			2486.63			2486.72			0.07			0.02


			110.00			2486.73			2486.55			2486.64			0.18			0.00


			120.00			2486.60			2486.47			2486.56			0.13			0.00


			130.00			2486.30			2486.39			2486.48			0.00			0.18


			140.00			2485.98			2486.31			2486.40			0.00			0.43


			150.00			2485.98			2485.56												0.75


			150.00			2485.65			2485.48			2485.57			0.17			0.00


			160.00			2485.33			2485.40			2485.49			0.00			0.16


			170.00			2485.00			2485.32			2485.41			0.00			0.41


			180.00			2484.67			2485.24			2485.33			0.00			0.66


			190.00			2484.67			2484.31												0.75


			200.00			2484.38			2484.11			2484.20			0.27			0.00


			210.00			2484.08			2483.91			2484.00			0.17			0.00


			220.00			2483.81			2483.71			2483.80			0.10			0.00


			230.00			2483.52			2483.51			2483.60			0.01			0.08


			230.00			2483.52			2483.51												1.00


			240.00			2482.99			2483.31			2483.40			0.00			0.42


			240.00			2482.99			2482.81												0.50			50.00


			250.00			2482.66			2482.61			2482.70			0.05			0.05


			260.00			2482.45			2482.41			2482.50			0.04			0.05


			270.00			2482.26			2482.21			2482.30			0.05			0.05


			280.00			2482.07			2482.01			2482.10			0.06			0.03


			290.00			2481.93			2481.81			2481.90			0.12			0.00


			300.00			2481.84			2481.61			2481.70			0.23			0.00


			310.00			2481.72			2481.41			2481.50			0.31			0.00


			319.99			2481.52			2481.21			2481.30			0.31			0.00


			329.99			2481.26			2481.01			2481.10			0.25			0.00








TC 1-1-4 OF G3


			bed width			0.13						chainage


			Slope			200.00						OGL


			Initial CBL			2488.13						CBL


			Total depth			0.13


			Side slope of canal			1.00


			b/d ratio			1.00


			Side slope of Burm			1.00


			Insert top width of built burm for fill			0.30





			Northing			Easting			Partial Distance			Chainage			Elevation			CBL			Bank level			drop			slope			CUT(m)			Fill(m)			Area of cut			Average Area of Cut			Volume of cut			Area of Fill			Average Area of Fill			Volume of Fill


			272778.4986			1222271.4249			0.00			0.00			2488.7308			2488.13			2488.26						300.00			0.60			0.00			0.72			0.00			0.00			0.00			0.00			0.00


			272787.8125			1222267.7845			10.0			10.0			2489.165			2488.0799996887			2488.20									1.09			0.00			2.35			1.54			15.38			0.00			0.00			0.00


			272797.1263			1222264.1441			10.0			20.0			2489.3906			2488.029999843			2488.15									1.36			0.00			3.70			3.03			30.28			0.00			0.00			0.00


			272806.4401			1222260.5037			10.0			30.0			2489.3174			2487.979999843			2488.10									1.34			0.00			3.58			3.64			36.40			0.00			0.00			0.00


			272815.754			1222256.8632			10.0			40.0			2489.1466			2487.929999843			2488.05									1.22			0.00			2.96			3.27			32.69			0.00			0.00			0.00


			272825.0527			1222253.1849			10.0			50.0			2488.7209			2487.879999843			2488.00									0.84			0.00			1.41			2.19			21.87			0.00			0.00			0.00


			272834.219			1222249.1883			10.0			60.0			2488.2273			2487.8300013762			2487.96									0.40			0.00			0.32			0.86			8.65			0.00			0.00			0.00


			272843.3619			1222245.1377			10.0			70.0			2487.7343			2487.780001381			2487.91									0.00			0.17			0.00			0.16			1.58			0.16			0.08			0.82


												70.0			2487.7343			2487.03			2487.16			0.75			100			0.70			0.00			0.99			0.50			0.00			0.00			0.08			0.00


			272852.5048			1222241.0871			10.0			80.0			2487.3751			2486.93			2487.06									0.45			0.00			0.40			0.20			1.98			0.00			0.08			0.82


			272861.6477			1222237.0365			10.0			90.0			2487.0439			2486.8300000096			2486.96									0.21			0.00			0.09			0.24			2.44			0.00			0.00			0.00


			272870.7906			1222232.9859			10.0			100.0			2486.8038			2486.7300000192			2486.86									0.07			0.05			0.01			0.05			0.51			0.05			0.03			0.26


			272879.9335			1222228.9353			10.0			110.0			2486.6353			2486.6300000192			2486.76									0.01			0.12			0.00			0.01			0.05			0.13			0.09			0.92


			272889.0764			1222224.8848			10.0			120.0			2486.5899			2486.5300004339			2486.66									0.06			0.07			0.01			0.00			0.04			0.07			0.10			0.99


			272898.2193			1222220.8342			10.0			130.0			2486.5757			2486.4300004435			2486.56									0.15			0.00			0.04			0.02			0.25			0.00			0.03			0.34


																																										152.12








TC 1-1-4 PROFILE OF G3


			chainage


			OGL


			CBL


			embankment level


			depth of cut, m


			depth of fill


			drop


			slope


			0.00			2488.73			2488.13			2488.26			0.60			0.00						300.00


			10.00			2489.17			2488.08			2488.20			1.09			0.00


			20.00			2489.39			2488.03			2488.15			1.36			0.00


			30.00			2489.32			2487.98			2488.10			1.34			0.00


			40.00			2489.15			2487.93			2488.05			1.22			0.00


			50.00			2488.72			2487.88			2488.00			0.84			0.00


			60.00			2488.23			2487.83			2487.96			0.40			0.00


			70.00			2487.73			2487.78			2487.91			0.00			0.17


			70.00			2487.73			2487.03												0.75			100.00


			80.00			2487.38			2486.93			2487.06			0.45			0.00


			90.00			2487.04			2486.83			2486.96			0.21			0.00


			100.00			2486.80			2486.73			2486.86			0.07			0.05


			110.00			2486.64			2486.63			2486.76			0.01			0.12


			120.00			2486.59			2486.53			2486.66			0.06			0.07


			130.00			2486.58			2486.43			2486.56			0.15			0.00








TC 1-1-5


			bed width			0.13						chainage


			Slope			300.00						OGL


			Initial CBL			2474.92						CBL


			Total depth			0.13


			Side slope of canal			1.00


			b/d ratio			1.00


			Side slope of Burm			1.00


			Insert top width of built burm for fill			0.00





			Northing			Easting			Partial Distance			Chainage			Elevation			CBL			Bank level			drop			slope			CUT(m)			Fill(m)			Area of cut			Average Area of Cut			Volume of cut			Area of Fill			Average Area of Fill			Volume of Fill			cum.cut


			272585.1557			1222861.036			0.00			0.00			2475.2928			2474.92			2475.05			0.00			300.00			0.37			0.00			0.28			0.00			0.00			0.00			0.00			0.00			0.00


			272578.0245			1222854.0256			10			10			2475.4665			2474.8866667131			2475.01									0.58			0.00			0.67			0.48			4.75			0.00			0.00			0.00			4.75


			272570.8932			1222847.0152			10			20			2475.5088			2474.8533331884			2474.98									0.66			0.00			0.86			0.77			7.66			0.00			0.00			0.00			12.41


			272563.762			1222840.0049			10			30			2475.737			2474.8200001352			2474.95									0.92			0.00			1.68			1.27			12.71			0.00			0.00			0.00			25.12


			272556.6307			1222832.9945			10			30			2475.1036			2474.7866666105			2474.91									0.32			0.00			0.20			0.94			9.41			0.00			0.00			0.00			34.53


			272549.4994			1222825.9841			10			40			2474.596			2474.7533330859			2474.88						125.00			0.00			0.28			0.00			0.10			1.00			0.15			0.08			0.77			35.53


												40			2474.596			2473.753			2473.88			1.00						0.84			0.00			1.42			0.71			0.00			0.00			0.08			0.00			35.53


			272542.3682			1222818.9738			10			50			2474.1278			2473.6730006722			2473.80									0.45			0.00			0.41			0.21			2.07			0.00			0.08			0.77			37.60


			272535.2369			1222811.9634			10			60			2473.8639			2473.593000213			2473.72									0.27			0.00			0.15			0.28			2.80			0.00			0.00			0.00			40.40


			272528.1057			1222804.9531			10			70			2473.6045			2473.5130008852			2473.64									0.09			0.03			0.02			0.08			0.82			0.01			0.01			0.07			41.22


			272520.9744			1222797.9427			10			80			2473.2738			2473.4330004261			2473.56									0.00			0.28			0.00			0.01			0.08			0.16			0.08			0.85			41.31


			272513.8431			1222790.9323			10			90			2472.9431			2473.352999967			2473.48									0.00			0.53			0.00			0.00			0.00			0.46			0.31			3.06			41.31


																																										41.31











TC 1-1-5 PROFILE OF G3


			chainage


			OGL


			CBL


			embankment level


			depth of cut, m


			depth of fill


			drop


			slope


			0.00			2475.29			2474.92			2475.05			0.37			0.00			0.00			300.00


			10.00			2475.47			2474.89			2475.01			0.58			0.00


			20.00			2475.51			2474.85			2474.98			0.66			0.00


			30.00			2475.74			2474.82			2474.95			0.92			0.00


			30.00			2475.10			2474.79			2474.91			0.32			0.00


			40.00			2474.60			2474.75			2474.88			0.00			0.28			1.00			125.00


			40.00			2474.60			2473.75


			50.00			2474.13			2473.67			2473.80			0.45			0.00


			60.00			2473.86			2473.59			2473.72			0.27			0.00


			70.00			2473.60			2473.51			2473.64			0.09			0.03


			80.00			2473.27			2473.43			2473.56			0.00			0.28


			90.00			2472.94			2473.35			2473.48			0.00			0.53














GUDERDROP


						E. Vertical Drop (U.S.B.R. Type)


						Project ____________________


						Canal: ____________________


						Station: ___________________


						PARAMETERS			SYBOLS			UNITS			FORMULAS			SC(60,100,130,160,190,230,260,300,440,540,670,730,830,880,910,1500,16101650)			VALUES


						CHAINAGE 															TC-1-1-3(60,150,190,240)			TC1-1-4(70)			TC-1-1-5(40)			TC1-1-6(30)


						CRITICAL FLOW HYDRAULICS


						Design  discharge			Q			m3/s						0.085			0.02			0.015			0.015			0.015


						incoming canal depth 			d1			m						0.50			0.289			0.275			0.275			0.275


						drop top eleveatoin			EL.A			m 						- 0


						drop bottom elevation excluding lip height			EL.B			m 						- 0


						drop height 			h			m						1			0.75			0.75			1			0.5			for < 2m3/s


						width of the drop 			bc			m						0.18			0.09			0.08			0.08			0.08


						Unit discharge 			q			m3/s/m						0.48			0.21			0.20			0.20			0.20


						Critical depth 			dc			m						0.29			0.17			0.16			0.16			0.16


						STILLING BASIN


						Lip height 			a			m						0.14			0.08			0.08			0.08			0.08			must be > 0.15m


						basin width 			B 			m						0.54			0.26			0.23			0.23			0.23			must be >bc


						Basin Length 			L			m						1.52			0.97			0.94			1.06			0.81


						protection of upstream/d/s  canal (pitch)			P 			m						1.64			1.41			1.38			1.38			1.38





						BED WIDTH OF THE CANAL 			b			m						0.500			0.350			0.300			0.300			0.300





						PARAMETERS			SYBOLS			UNITS			VALUES			VALUES





						CRITICAL FLOW HYDRAULICS												SC(60,100,130,160,190,230,260,300,440,540,670,730,830,880,910,1500,16101650)			TC-1-1-3(60,150,190,240)			TC1-1-4(70)			TC-1-1-5(40)			TC1-1-6(30)


						Design  discharge			Q			m3/s						0.09			0.02			0.02			0.02			0.02


						incoming canal depth 			d1			m						0.50			0.29			0.28			0.28			0.28


						drop top eleveatoin			EL.A			m 						- 0			- 0			- 0			- 0			- 0


						drop bottom elevation excluding lip height			EL.B			m 						- 0			- 0			- 0			- 0			- 0


						drop height 			h			m						1.00			0.75			0.75			1.00			0.50


						width of the drop 			bc			m						0.18			0.09			0.08			0.08			0.08


						Unit discharge 			q			m3/s/m						0.48			0.21			0.20			0.20			0.20


						Critical depth 			dc			m						0.29			0.17			0.16			0.16			0.16


						STILLING BASIN


						Lip height 			a			m						0.14			0.08			0.08			0.08			0.08


						basin width 			B 			m						0.90			0.65			0.60			0.60			0.60


						Basin Length 			L			m						1.50			1.40			1.30			1.20			1.20


						protection of upstream/d/s  canal (pitch)			P 			m						1.50			1.41			1.50			1.50			1.50


						NUMBER OF DROPS 												18.00			1.00			1.00			1.00			1.00


															BOQ OF THE DROPS 


															cost of one drop			SC			TC-1-1-3			TC-1-1-4			TC-1-1-5			tc1-1-6


															thickness masonry, t			0.35			0.35			0.35			0.35			0.35


															masonary volume m3			1.97			1.43			1.34			1.48			1.03


															plastering m2			8.17			5.83			5.36			5.80			4.30


															excavation soil			1.10			2.10			3.10			4.10			5.10


															NUMBER OF DROPS			18.00			1.00			1.00			1.00			1.00


															total mason volume			35.49			1.43			1.34			1.48			1.03


															total area plaster			147.06			5.83			5.36			5.80			4.30


															total soil excv.			19.80			2.10			3.10			4.10			5.10


															dry picht for lower only			4.73			0.17			0.16			0.16			0.16


																					69.13


																					61.38744











DROP


						Vertical Drop Design / UsBR type


			Design Parameters;


						d=Full supply depth of the canal


						V=Velocity through the canal


						b=bed width of the canal


						L=Length of the stilling basin


						h=height of drop


						B=Stilling basin width


						a=Sill height>=15cm


						bc=Critical flow - width of notch>=0.3


						dc=Critical depth, 


						L1=U/S protection


						L2= D/s protection


						b1=top width of drop wall =0.4m


						t=Thickness of the stilling basin=0.4m





			where;


						He= d+v2/2g


						L=[2.5+1.1dc/h+07(dc/h)3]√(hdc)


						B = 18.46* (Q) 1/2/ (9.91+Q)


						a= 0.5 (Heh)1/2 = 0.5 (d+v2/2gh)1/2 >=0.15m 


						bc= 0.734*Q/d 3/2  >=0.3m


						q= Q/bc																											Q1=1.71*L1*H1^3/2 


						dc= (q2/g) 1/3 																											H=			(Q/(1.71*B))2/3


						L1=L2= 1.2+3/2Q 1/2 


						b1=0.55√d Where d=crest level – d/s canal bed level                       (for drops of non crested type, d=h= drop height)  


															From experience point of view take top width 0.4m





						B1=(He+h ) /G  (Bligh's formula): G=2.1 for massonry


						                                 He=d1+v2/2g           


						If the bc is too small use drop having a crest





						Insert G of massonry									2.1


			Hydrualic Parameters of Drop structures  


			Drops On			Chainage			Q  (m3/s)			V   (m/s)			 b    (m)			H    (m)			 d     (m)			 h  (m)			b1  (m)			q (m3/s/m)			dc  (m)			L (m)			B (m)			t(m)			tf(m)			a(m)			bc (m)			 L1/Lup (m)			 L2/Ldp (m)			Remark


																								(m)


			TC_1			0+50, 0+70, 0+100, 0+130, 0+190			0.030			0.66			0.30			0.17			0.15			1.00			0.40			0.10			0.10			0.82			0.32			0.40			0.30			0.2			0.3			1.46			1.46			With division box


			TC_2			0+0, 0+20, 0+30, 0+70, 0+120			0.030			0.66			0.30			0.27			0.25			1.00			0.40			0.10			0.10			0.83			0.32			0.40			0.30			0.3			0.3			1.46			1.46			With division box


			TC_3			0+0, 0+140,0+230			0.030			0.66			0.30			0.27			0.25			1.00			0.40			0.10			0.10			0.83			0.32			0.40			0.30			0.3			0.3			1.46			1.46			With division box


			TC_4			0+0,0+10,0+40,0+60,0+90,0+130,0+160,0+320,0+350,0+390,0+450			0.030			0.66			0.30			0.27			0.25			1.00			0.40			0.10			0.10			0.83			0.32			0.40			0.30			0.3			0.3			1.46			1.46			Without division box








			Drop structures  Quantity


			Drops			Masonry												Plastering									Lean Concrete			Stone Pitching						excavation


						V			H			No			Vol. (m3)			V			H			A (m2)			A (m2)			Asp			Vol. (m3)																																	1.2199074074			646.5509259259





			D1			0.11			0.67			5			3.87			2.03			0.26			11.49			1.82			0.54			7.88			20.9178793252


			D2			0.11			0.68			5			3.93			2.07			0.27			11.66			1.83			0.66			9.63			22.3150269263


			D3			0.11			0.68			3			2.36			2.07			0.27			7.00			1.83			0.66			5.78			13.3890161558


			D4			0.11			0.68			12			9.43			2.07			0.27			27.99			1.83			0.66			23.12			53.5560646232


			Sub total												19.58									58.13			7.30						46.42			110.1779870305


			Total quantity=									0.00			19.58									58.13			7.30						46.42			110.18





			  Vertical=(dropwidth*drop height*stilling basin width)+((a+t)*t*stilling basin width)+(0.5*2*(drop height + t)*L*t)








						canals			chainage			design discharge,m3/s			drop H, height,m			drop Bc			unit discharge,m3/s/m			critical depth,m			leap height, a, m			stilling basin length, L			stilling Basin width, B			Ldpitch


						TC_1			0+50, 0+70, 0+100, 0+130, 0+190			0.030			1.00			0.3			0.10			0.10			0.2			0.82			0.32			1.46


						TC_2			0+0, 0+20, 0+30, 0+70, 0+120			0.030			1.00			0.3			0.10			0.10			0.3			0.83			0.32			1.46


						TC_3			0+0, 0+140,0+230			0.030			1.00			0.3			0.10			0.10			0.3			0.83			0.32			1.46


						TC_4			0+0,0+10,0+40,0+60,0+90,0+130,0+160,0+320,0+350,0+390,0+450			0.030			1.00			0.3			0.10			0.10			0.3			0.83			0.32			1.46








tc_fcturnout


						Dividing Canal Name			Chainage			CBL			ON GOING, Q0 (lit/sec)			OUTGOING, Q1  (lit/sec)       			TC FLOW, Q2  (lit/sec)       			parent canal bed width Bo			parent canal depth,Do			TCs bed width Bc			width of the basin ,B=Bo+0.40			Length of the basin ,L=Bc+0.41			depth  of the basin ,D=Do








						SC


						TC-1-1-1			0+5			2500.28			85			65.0			20.00			0.40			0.50			0.35			0.80			0.75			0.50


						TC-1-1-2			0+5			2500.28			65			45.0			20.00			0.40			0.50			0.30			0.80			0.70			0.50


						TC-1-1-3			0+170			2495.60			45			25.0			20.00			0.35			0.40			0.30			0.75			0.70			0.40


						TC-1-1-4			0+170			2495.60			25			10.0			15.00			0.35			0.40			0.30			0.75			0.75			0.75


						TC-1-1-5			0+500			2488.13			10.00			0.00			15.00			0.35			0.40			0.30			0.75			0.70			0.40


						TC-1-1-6			0+500			2488.13			0.00			0.00			15.00			0.35			0.40			0.30			0.75			0.70			0.40


						TC 1-1-7			0+1170			2474.92			0.00			0.00			15.00			0.35			0.40			0.30			0.75			0.70			0.40


						TC 1-1-8			0+1170			2474.92			0.00			0.00			15.00			0.35			0.40			0.30			0.75			0.70			0.40





						COSTS OF one DIVISION BOX 			SYMBOL			UNIT			VALUE


						ADDITIONAL INPUT DATA									FOR ONE SEDED DIV.BOX			FOR TWOSIDED  DIV.BOX


						thickness of masonry, t			t			m			0.35			0.35


						lip height for basin			a			m			0.1			0.1


						excavation vol.added 			ve			m3			0.55825			1.1165


						masonary vol			vm			m3			0.49875			0.9975


						plastering vol			va			m2			1.425			2.85


						dry pitch vol			vp			m3			0.42			0.84


						Number of Divission Box			No						3			20


						excavation vol.added 			ve			m3			3.55825			22.33


						masonary vol			vm			m3			3.49875			19.95


						plastering vol			va			m2			4.425			57


						dry pitch vol			vp			m3			3.42			16.8











MC_TCTURNOUT


						Hydraulic and related parameters for Division box


						L=Length of throat


						B=Width of Division Box


						D=Depth of Division Box


						Bo=Width of the incoming canal


						H0=Depth of the incoming canal


						Lo=Q0/(C*H03/2)


						L0/L1=Q0/Q1


						L1=L0*(Q1/Q0)


						L2=L0*(Q2/Q0)


						L3=L0*(Q3/Q0)


						B=B0+(2*m*H1)


						L1=L2= 1.2+3/2Q 1/2 


						H0=(Q0/(C*L0))^(2/3)








						Thickness of Protection						tp			m			0.3


						Thickness of Wall						tw			m			0.3


						Thickness of support						tf			m			0.3


						Depth of Support						ds			m			0.4


															 Hydrualic parameters of division box


						Dividing Canal Name			Chainage			ON GOING, Q0 (lit/sec)			OUTGOING, Q1  (lit/sec)       			TC FLOW, Q2  (lit/sec)       			Q3  (lit/sec)			B0  (m)            			D0 (m)			H0 (m)			D= (D0+FB)  (m)			B (m)			L  (m)			L1 (m)			L2 (m)			L3 (m)			D1 (m)			B1  (m)			D2 (m)			B2 (m)			D3 (m)			B3 (m)			Lp2 (m)			Lp3 (m)


																																																																																																																								PLASTER





						TC_1			0+260			146			116.0			30.0			0.0			0.50			0.09			0.31			0.29			0.68			0.50			0.50			0.34			0.00			0.22			0.50			0.14			0.34			0.00			0.00			0.76			0.00


						TC_2			0+780			116			86.0			30.0			0.0			0.50			0.22			0.27			0.42			0.93			0.50			0.50			0.16			0.00			0.20			0.50			0.23			0.16			0.00			0.00			0.76			0.00						0.0976089644			0.0367966613			0			0.469			ERROR:#REF!						0.39			0.558772214			ERROR:#REF!


						TC_3			1+300			86			56.0			30.0			0.0			0.50			0.20			0.22			0.40			0.89			0.50			0.50			0.17			0.00			0.25			0.50			0.25			0.14			0.00			0.00			0.76			0.00						0.124660156			0.0352941176			0			0.485			0.3683949598


						TC_4			1+680			56			26.0			30.0			0.0			0.50			0.25			0.16			0.45			1.00			0.50			0.50			0.27			0.00			0.25			0.50			0.25			0.14			0.00			0.00			0.76			0.00						0.125			0.0352941176			0			0.485			0.3683949598


																								0.50			0.25








																																																																																										T			A


						Division Box Quantity


						Dividing Canal Name			Masonry												Plastering						Stone pitching									NO GATES																																										ERROR:#REF!			ERROR:#REF!			ERROR:#REF!			ERROR:#REF!			ERROR:#REF!			ERROR:#REF!


									Amas			Vmas			Vol. of gate opening			NET Vol.(m3)						Area (m2)			ASP2			ASP3			Vol.  (m3)																																													ERROR:#REF!			ERROR:#REF!			ERROR:#REF!						ERROR:#REF!			ERROR:#REF!


						TC_1			1.18			0.49			0.09			0.40			1.18			1.77			0.63			0.32			0.48			1


						TC_2			1.48			0.88			0.10			0.77			1.48			2.31			0.71			0.32			0.54			1


						TC_3			1.43			0.80			0.11			0.69			1.43			2.22			0.73			0.32			0.56			1


						TC_4			1.56			1.00			0.12			0.87			1.56			2.35			0.73			0.32			0.56			1


																		2.74						8.65									2.13			4








						volume of excavation						topwexc															l/s			m3/day/12hr


												a1			11666.3									m3			200.00			8,640.00			17,280.00


												a2			14450.8									14,556.44


												d			6									174,677.22


															78,351.30						can be filled			20.2172708333


									fill and compacttion						4,170.83


						dividing canal			chainage			Tc dsichargre /l/s/			B,m			L			launching stone pitch


						TC_1			0+260			30.0			0.68			0.50			0.76


						TC_2			0+780			30.0			0.93			0.50			0.76


						TC_3			1+300			30.0			0.89			0.50			0.76


						TC_4			1+680			30.0			1.00			0.50			0.76

















BOQ


						S/no 			Item of work 			Unit 			Quantity 			Unit rate (et.birr)			Total cost


									B. Irrigation Infrastructure


						B1			Main Canal 1(MC_1)


						1.1			Excavation (soil)			m3			652.31			107.00			69,797.17


						1.2			clearing and grubing			m2			240.00			8.00			1,920.00


						1.3			Back fill			m3			360.00			189.00			68,040.00


						1.4			Masonry work			m3			491.22			1,597.00			784,478.34


						1.5			Plastering			m2			1,209.10			83.00			100,355.30


						B2			SC


						1.6			Excavation (soil)			m3			1,804.47			107.00			193,078.29


						1.7			clearing and grubing			m2			680.00			8.00			5,440.00


						1.8			Back fill			m3			1,020.00			189.00			192,780.00


						1.9			Masonry work			m3			749.72			1,597.00			1,197,302.84


						2.1			Plastering			m2			1,812.10			83.00			150,404.30


									Sub total 												2,763,596.24


						2			Tertiary canal –1-1(TC-1-1)												- 0


						2.1			clearing and grubing			m2			26.30			8.00			210.40


						2.2			ordinary soil Excavation			m3			1,010.84			107.00			108,159.88


						2.3			Fill			m3			49.61			189.00			9,376.29


						2.4			Masonry work			m3			514.50			1,950.00			1,003,275.00


						2.5			Plastering			m2			1,127.10			83.00			93,549.30


						2.6			Back fill			m3			246.10			189.00			46,512.90


									Sub total 												1,261,083.77


						3			Tertiary canal –1-2 (TC-1-2)												- 0


						3.1			clearing and grubing			m2			19.30			8.00			154.40


						3.2			ordinary soil Excavation			m3			1,611.01			107.00			172,378.07


						3.3			Fill			m3			154.50			189.00			29,200.50


									Sub total 												201,732.97


						4			Tertiary canal -1– 3 (TC-1-3)												- 0


						4.1			clearing and grubing			m2			15.60			8.00			124.80


						4.2			ordinary soil Excavation			m3			1,087.87			107.00			116,402.09


						4.3			Fill			m3			88.60			189.00			16,745.40


									Sub total 												133,272.29


						5			Tertiary canal-2 –1 (TC-2-1)												- 0


						5.1			clearing and grubing			m2			35.10			8.00			280.80


						5.2			ordinary soil Excavation			m3			671.80			107.00			71,882.60


						5.3			Fill			m3			68.20			189.00			12,889.80


									Sub total 												85,053.20


						6			Tertiary canal-2 –1 (TC-2-1)												- 0


						6.1			clearing and grubing			m2			38.90			8.00			311.20


						6.2			ordinary soil Excavation			m3			609.77			107.00			65,245.39


						6.3			Fill			m3			111.99			189.00			21,166.11


									Sub total 												86,722.70


						6			Drops (59 drops)												- 0


						6.1			excavation			m3			68.20			107.00			7,297.40


						6.2			masonary			m3			132.85			1,597.00			212,156.66


						6.3			Plastering			m2			421.41			83.00			34,977.17


						6.4			dry pitching			m3			9.77			1,232.00			12,030.48


									Sub total 												266,461.71						excavation vol.added 			ve			m3			5.55825			22.33


						7			DIVISION BOX ( 5 NO)												- 0						masonary vol			vm			m3			5.44625			17.85


						7.1			excavation soil 			m3			5.56			107.00			594.71						plastering vol			va			m2			6.275			51


						7.2			masonary			m3			5.44			- 0			- 0						dry pitch vol			vp			m3			5.525			21


						7.3			Plastering			m2			6.27			8.00			50.16


						7.4			dry pitching						5.53			107.00			591.18


									Sub total 												1,236.04


						8			TURNOUTS (20) 												- 0


						8.1			excavation			m3			22.33			107.00			2,389.31


						8.2			masonary			m3			17.85			1,597.00			28,506.45


						8.3			Plastering			m2			51.00			83.00			4,233.00


						8.4			dry pitching			m3			21.00			1,232.00			25,872.00


									Sub total 												61,000.76


						8			ROAD CROSSINGS												- 0


						8.1			Excavation (soil)			m3			26			107.00			1,688.46


						8.2			masonary			v3			89.23			225			10,580.65


						8.3			RCC bar 12mm diam.			Kg			60			69			6,210.00


						8.4			C-20 concrete			m3			5.6			2445			11,862.75


						8.5			Back fill			m3			6.3			189.00			12,096.00


									Sub total 												42437.85405


						9			Gully crossing 


						9.1			excavation			m3			15.78			107.00			1,688.46


						9.2			masonary			m3			47.02509			1,597.00			75,099.07


						9.3			rcc bar 			kg			90			69			6,210.00


						9.4			Lean concrete 			m3			4.85184			1727			8,379.13


						9.5			C-20 concrete			m3			64			2445			156,480.00


									Sub total 												247856.65641


						10			All gates																					1.2


						10.1			Offtake gate			no			2			800			1,600.00


						10.2			divisoin turnouts			no			0.05			415			20.75


						10.3			FC-turnouts			No			20			256			5,120.00


									Sub total 												6,740.75


									Sub total 												5,202,508.49








									Components			Costs ETB


									General items			277,000.00


									Headwork			686,614.79


									Infrastructure			5,202,508.49


									Total 			6,166,123.28


									VAT 15%			924,918.49


									Total 			7,091,041.77			58,724.98												0.475


									cost per  ha			67,533.73


									cost of one drop			MC-1			TC-1-1			TC-1-2			TC-1-3			tc-2-1			tc-2-2			sum


									drop height H			1			1			1			1			1			1


									drop  basin length L			1			1			1			1			1			1


									drop Basin width B			1.1			1.1			1.1			1.1			1.1			1.1


									thickness masonry, t			0.35			0.35			0.35			0.35			0.35			0.35


									canal depth D			0.5			0.4			0.4			0.4			0.4			0.4


									masonary volume m3			2.176			2.141			2.141			2.141			2.141			2.141


									plastering m2			6.8336			6.7951			6.7951			6.7951			6.7951			6.7951


									excavation soil			1.1			1.1			1.1			1.1			1.1			1.1


									NUMBER OF DROPS			3			11			7			7			16			18


									total mason volume			6.528			23.551			14.987			14.987			34.256			38.538			132.847						98.821


									total area plaster			20.50			74.75			47.57			47.57			108.72			122.31			421.41						386.30


									total soil excv.			3.30			12.10			7.70			7.70			17.60			19.80			68.20						268.20


									dry picht for lower only			0.47			1.73			1.10			1.10			2.52			2.84			9.77						10.37


									DIVISION BOX


									ONE SIDE DIVISION BOX main lined


									canal depth			0.5


									MAIN CANAL BED WIDTH, B			0.5


									TERTIARY CANAL BED WIDTH BC			0.3


												mason			plast			No of  DB


									floor m3			0.0980			0.2800			5


									2 sides			0.1960			0.5600			5


									noch			0.0735			0.2100			5


									pich of l=1.5m			0.1575			0.0000			5


									total mosary			0.3675						1.8375


									total dry pich			0.1575						0.7875


									plastering			1.0500						5.25


									TURNOUT


									NUMBER			20


									SOIL EXC			22


									MASONARY			43.52


									PLASTER			136.672


									PICH			12.6








FC_turnout


						FIELD CANAL CAAPACITY FIXING 


						Canal Type			No of FC 			Length of canal 			net comand are (ha) 			comand/FC ratio			adopted Q, l/s			Q/FC ratio			FC capacity selected


						TC-1-1			4			980			28.67			7.17			40			10			10


						TC-1-2			3			770			17.91			5.97			30			10			10


						TC-1-3			3			550			11.5			3.83			30			10			10


						TC-2-1			6			520			15.7			2.62			30			5			10


						TC-2-2			4			530			20.3			5.08			30			7.5			10


			Hydraulic Parameter of Turn outs


			Q= Discharge of the Incoming  Canal


			L= Width of Turn out box


			D= Depth of Supply of  Canal + Free Board


			B= Width of the incoming canal


			Lup= U/S protection


			Ldp= D/s protection





			Canal Name			No. of Turn outs			Q (lit/sec)			D=d+fb (m) 			B (m)			L (m)			Lup (m)			Ldp (m)			Remark


																																	T			A			Vmas			TOTAL MAS			ASP			VSP			TOTAL SP			C-10			PLASTER						GATE AREA





			FC1			1			0.01			0.30			0.30			0.9			1.50			1.50												1.44			0.43			0.43			0.86			2.57			2.57			2.25			1.89						0.18


			FC2			1			0.01			0.30			0.30			0.9			1.50			1.50												1.44			0.43			0.43			0.86			2.57			2.57			2.25			1.89						0.18


			FC3			1			0.01			0.30			0.30			0.9			1.50			1.50												1.44			0.43			0.43			0.86			2.57			2.57			2.25			1.89


			FC4			1			0.01			0.30			0.30			0.9			1.50			1.50												1.44			0.43			0.43			0.86			2.57			2.57			2.25			1.89


			FC5			1			0.01			0.30			0.30			0.9			1.50			1.50												1.44			0.43			0.43			0.86			2.57			2.57			2.25			1.89


			FC6			1			0.01			0.30			0.30			0.9			5.50			1.50												1.44			0.43			0.43			0.86			5.99			5.99			2.25			1.89


			FC7			1			0.01			0.30			0.30			0.9			1.50			1.50												1.44			0.43			0.43			0.86			2.57			2.57			2.25			1.89						0.18


			FC8			1			0.01			0.30			0.30			0.9			1.50			1.50												1.44			0.43			0.43			0.86			2.57			2.57			2.25			1.89


			FC9			1			0.01			0.30			0.30			0.9			2.50			1.50												1.44			0.43			0.43			0.86			3.42			3.42			2.25			1.89


			FC10			1			0.01			0.30			0.30			0.9			3.50			1.50												1.44			0.43			0.43			0.86			4.28			4.28			2.25			1.89


			FC11			1			0.01			0.30			0.30			0.9			4.50			1.50												1.44			0.43			0.43			0.86			5.13			5.13			2.25			1.89


			FC12			1			0.01			0.30			0.30			0.9			5.50			1.50												1.44			0.43			0.43			0.86			5.99			5.99			2.25			1.89


			FC13			1			0.01			0.30			0.30			0.9			1.50			1.50												1.44			0.43			0.43			0.86			2.57			2.57			2.25			1.89


			FC14			1			0.01			0.30			0.30			0.9			1.50			1.50												1.44			0.43			0.43			0.86			2.57			2.57			2.25			1.89


			FC15			1			0.01			0.30			0.30			0.9			1.50			1.50												1.44			0.43			0.43			0.86			2.57			2.57			2.25			1.89


			FC16			1			0.01			0.30			0.30			0.9			1.50			1.50												1.44			0.43			0.43			0.86			2.57			2.57			2.25			1.89


			FC17			1			0.01			0.30			0.30			0.9			1.50			1.50												1.44			0.43			0.43			0.86			2.57			2.57			2.25			1.89


			FC18			1			0.02			0.30			0.30			0.9			1.50			1.50												1.44			0.43			0.43			0.86			2.57			2.57			2.25			1.89


			FC19			1			0.01			0.30			0.30			0.9			1.50			1.50												1.44			0.43			0.43			0.86			2.57			2.57			2.25			1.89


			FC20			1			0.02			0.30			0.30			0.9			1.50			1.50												1.44			0.43			0.43			0.86			2.57			2.57			2.25			1.89


						20																																				8.64									63.27			45.00			37.80








catchDrain


												10 YRS STORM, mm			Intensity /mm/hr			runoff coefficient			catch area (ha)			design flood (m3/s)


									CD-1-1			87.25			90.15			0.5			10			1.25


									CD-1-2			87.25			90.15			0.5			6			0.75


									CD-2-1			87.25			90.15			0.5			8			1


									CD-2-1			87.25			90.15			0.5			15			1.88


						ALL CANALS 						CD-1-1			CD-1-2			CD-2-1			CD-2-2


						Given value


						Design discharge ,Q			Q			1.25			0.75			1			1.88


						Bed width to depth ratio (b/d)			K			1			1			1			1


						Side slope ,Z			Z			1			1			1			1


						Manning's roughness, n			n			0.025			0.025			0.025			0.025


						Longitudinal slope, S			S			0.01			0.01			0.01			0.01


						Intermediate calculation


						k1						2			2			2			2


						k2						3.828			3.828			3.828			3.828


						k3						0.649			0.649			0.649			0.649


						k4						51.892			51.892			51.892			51.892


						Final result


						water depth, d						0.586			0.484			0.539			0.683


						bed width, b						0.586			0.484			0.539			0.683


						Area						0.688			0.469			0.582			0.934


						Wetted perimeter						2.245			1.854			2.065			2.616


						R2/3						0.454			0.400			0.430			0.503


						Hydraulic radius			           R			0.306			0.253			0.282			0.357


						Velocity, v			           Q/A			1.818			1.600			1.719			2.013


						Top width ,T			T			1.759			1.452			1.618			2.050


						Check the discharge						1.25			0.75			1			1.88


						Canal Discharge capacity						1.25			0.75			1			1.88


						Free board


						Total depth						0.586			0.484			0.539			0.683


						Prameters			CD-1-1			CD-1-2			CD-2-1			CD-2-2			0


						Design discharge ,Q			1.250			0.750			1.000			1.880			0.000									963614.79


						Bed width to depth ratio (b/d)			1.000			1.000			1.000			1.000			0.000


						Side slope ,Z			1.000			1.000			1.000			1.000			0.000


						Manning's roughness, n			0.025			0.025			0.025			0.025			0.000


						Longitudinal slope, S			0.010			0.010			0.010			0.010			0.000


						water depth, d			0.586			0.484			0.539			0.683			0.000


						bed width, b			0.586			0.484			0.539			0.683			0.000


						Area			0.688			0.469			0.582			0.934			0.000


						Wetted perimeter			2.245			1.854			2.065			2.616			0.000


						Hydraulic radius			0.306			0.253			0.282			0.357			0.000


						Velocity, v			1.818			1.600			1.719			2.013			0.000


						Top width ,T			1.759			1.452			1.618			2.050			0.000


						Canal Discharge capacity			1.250			0.750			1.000			1.880			0.000


						Free board			0.150			0.150			0.150			0.150			0.150


						Total depth			0.736			0.634			0.689			0.833			0.150


						Adopted, depth, d			0.800			0.650			0.700			0.850			0.350


						Adopted, Bed width b			0.600			0.500			0.600			0.700			0.300








GUDER3 TC1-1-2


			272687.9036			1221787.9321			2501.5227


			272697.3157			1221784.5538			2501.5458


			272706.7278			1221781.1754			2501.5689


			272716.1398			1221777.7971			2501.5394


			272725.5519			1221774.4188			2501.4527


			272734.964			1221771.0405			2501.366


			272744.376			1221767.6622			2501.3659


			272753.6813			1221764.0085			2501.4122


			272762.5936			1221759.4819			2501.4758


			272771.0188			1221754.1026			2501.5549


			272778.8754			1221747.9226			2501.6478


			272786.0877			1221741.0014			2501.5743


			272792.586			1221733.406			2501.4011


			272798.3077			1221725.2095			2501.2316


			272803.1974			1221716.4911			2501.1598


			272807.5668			1221707.4963			2501.0526


			272811.9313			1221698.499			2500.8694


			272816.2959			1221689.5017			2500.6825


			272820.6604			1221680.5044			2500.6742


			272825.0249			1221671.5072			2500.7096


			272829.3894			1221662.5099			2500.7451


			272833.7539			1221653.5126			2500.7121


			272837.658			1221644.3105			2500.6724


			272840.6733			1221634.779			2500.6929


			272843.4348			1221625.1678			2500.7433


			272846.1963			1221615.5567			2500.6393


			272848.9578			1221605.9455			2500.4882


			272851.7192			1221596.3344			2500.1999


			272854.5086			1221586.7315			2499.8904


			272857.9629			1221577.3513			2499.5751


			272862.321			1221568.3554			2499.3565


			272867.5407			1221559.8305			2499.4177


			272873.5718			1221551.859			2499.6997


			272880.356			1221544.5177			2500.0045


			272887.561			1221537.5831			2500.136


			272894.7694			1221530.6522			2499.9995


			272901.9779			1221523.7212			2499.928


			272909.1863			1221516.7903			2499.7219


			272916.3948			1221509.8593			2499.6105


			272923.6032			1221502.9284			2499.3926


			272930.8117			1221495.9974			2499.2931


			272938.0202			1221489.0664			2499.1305


			272945.2286			1221482.1355			2499.224


			272952.4371			1221475.2045			2499.3176








GUDER3TC 1-1-3


			272769.1848			1222275.0653			2488.3825


			272760.963			1222269.373			2488.1539


			272752.7413			1222263.6807			2487.9253


			272744.5195			1222257.9883			2487.9635


			272736.2977			1222252.296			2488.0154


			272728.076			1222246.6037			2488.0519


			272719.8542			1222240.9114			2488.0884


			272711.6324			1222235.2191			2488.1379


			272703.4107			1222229.5267			2488.1114


			272695.1889			1222223.8344			2488.0377


			272686.9671			1222218.1421			2487.8693


			272678.7454			1222212.4498			2487.6496


			272670.5236			1222206.7575			2487.4298


			272662.2311			1222201.1699			2487.2141


			272653.6831			1222195.9821			2487.1484


			272645.0388			1222190.9547			2486.8495


			272636.3944			1222185.9273			2486.4845


			272627.75			1222180.8998			2486.1144


			272619.1057			1222175.8724			2485.7178


			272610.4613			1222170.845			2485.3211


			272601.8169			1222165.8176			2485.0241


			272593.1726			1222160.7902			2484.8749


			272584.5282			1222155.7628			2484.672


			272575.8838			1222150.7353			2484.4282


			272567.2395			1222145.7079			2484.2815


			272558.5951			1222140.6805			2484.0174


			272549.9507			1222135.6531			2483.2238


			272541.3064			1222130.6257			2482.4301


			272532.662			1222125.5983			2481.6364


			272524.0176			1222120.5709			2480.8427


			272515.3733			1222115.5434			2480.0828


			272506.7289			1222110.516			2479.4023


			272498.0845			1222105.4886			2478.7219


			272489.4402			1222100.4612			2478.0634


			272480.7958			1222095.4338			2477.5178








GUDER3TC1-1-4


			272778.4986			1222271.4249			2488.7308


			272787.8125			1222267.7845			2489.165


			272797.1263			1222264.1441			2489.3906


			272806.4401			1222260.5037			2489.3174


			272815.754			1222256.8632			2489.1466


			272825.0527			1222253.1849			2488.7209


			272834.219			1222249.1883			2488.2273


			272843.3619			1222245.1377			2487.7343


			272852.5048			1222241.0871			2487.3751


			272861.6477			1222237.0365			2487.0439


			272870.7906			1222232.9859			2486.8038


			272879.9335			1222228.9353			2486.6353


			272889.0764			1222224.8848			2486.5899


			272898.2193			1222220.8342			2486.5757








GUDER3TC1-1-5


			272778.4986			1222271.4249			2488.7308									272585.1557			1222861.036			2475.2928


			272787.8125			1222267.7845			2489.165									272578.0245			1222854.0256			2475.4665


			272797.1263			1222264.1441			2489.3906									272570.8932			1222847.0152			2475.5088


			272806.4401			1222260.5037			2489.3174									272563.762			1222840.0049			2475.737


			272815.754			1222256.8632			2489.1466									272556.6307			1222832.9945			2475.1036


			272825.0527			1222253.1849			2488.7209									272549.4994			1222825.9841			2474.596


			272834.219			1222249.1883			2488.2273									272542.3682			1222818.9738			2474.1278


			272843.3619			1222245.1377			2487.7343									272535.2369			1222811.9634			2473.8639


			272852.5048			1222241.0871			2487.3751									272528.1057			1222804.9531			2473.6045


			272861.6477			1222237.0365			2487.0439									272520.9744			1222797.9427			2473.2738


			272870.7906			1222232.9859			2486.8038									272513.8431			1222790.9323			2472.9431


			272879.9335			1222228.9353			2486.6353


			272889.0764			1222224.8848			2486.5899


			272898.2193			1222220.8342			2486.5757








GUDER3TC1-1-6


			272585.1557			1222861.036			2475.2928


			272594.2287			1222865.2408			2475.2979


			272603.3017			1222869.4457			2475.1143


			272612.3747			1222873.6505			2474.9307


			272621.4477			1222877.8554			2474.7472


			272630.5207			1222882.0603			2474.3895


			272639.5937			1222886.2651			2474.1193








GUDER3TC1-1-71


															272508.9006			1223603.8495			2464.7422


															272498.9273			1223604.5294			2464.5763


															272488.9595			1223605.3314			2463.9041


															272478.9917			1223606.1334			2462.9977


															272469.0239			1223606.9354			2462.2034








GUDER3TC1-1-8


			272469.0239			1223606.9354			2462.2034


			272508.9006			1223603.8495			2464.7422


			272518.0837			1223607.808			2464.8866


			272527.2669			1223611.7665			2465.0647








GUDERSC1-1-1-1EXCEL


			272687.1564			1221784.7172			2501.5702


			272689.0864			1221794.5292			2501.4413


			272691.0165			1221804.3411			2501.3201


			272692.9465			1221814.1531			2501.1633


			272694.8765			1221823.9651			2500.9501


			272696.8066			1221833.7771			2500.7019


			272698.7366			1221843.5891			2500.4461


			272700.6666			1221853.4011			2500.1833


			272702.5966			1221863.213			2499.8171


			272704.5267			1221873.025			2499.4263


			272706.4567			1221882.837			2499.0306


			272708.3867			1221892.649			2498.5604


			272710.3168			1221902.461			2498.1957


			272712.2468			1221912.2729			2497.8317


			272714.1768			1221922.0849			2497.4676


			272716.1069			1221931.8969			2497.2228


			272718.0369			1221941.7089			2496.9577


			272719.8874			1221951.5357			2496.5975


			272721.2906			1221961.4357			2496.2389


			272722.1971			1221971.3935			2495.8931


			272722.6048			1221981.3842			2495.5481


			272722.5526			1221991.3835			2495.1936


			272722.41			1222001.3825			2494.861


			272722.2674			1222011.3815			2494.4367


			272722.1248			1222021.3805			2493.9816


			272721.9822			1222031.3795			2493.5466


			272721.8396			1222041.3785			2493.3598


			272721.7816			1222051.3778			2493.0964


			272722.1797			1222061.3689			2492.6824


			272723.0766			1222071.3275			2492.2784


			272724.4701			1222081.2289			2491.8841


			272726.3568			1222091.0482			2491.4996


			272728.7319			1222100.761			2490.9663


			272731.5894			1222110.343			2490.8236


			272734.8075			1222119.8109			2490.504


			272738.0472			1222129.2716			2490.2291


			272741.2869			1222138.7322			2490.0865


			272744.5266			1222148.1929			2490.4894


			272747.7664			1222157.6536			2490.4872


			272751.0061			1222167.1142			2490.4263


			272754.2458			1222176.5749			2490.4189


			272757.3884			1222186.0677			2490.3443


			272760.0838			1222195.6965			2490.2831


			272762.2945			1222205.448			2490.1005


			272764.0152			1222215.2978			2489.807


			272765.2414			1222225.2213			2489.6956


			272766.0612			1222235.1874			2489.5319


			272766.8421			1222245.1569			2489.1464


			272767.623			1222255.1264			2488.7608


			272768.4039			1222265.0958			2488.4645


			272769.1848			1222275.0653			2488.3825


			272769.9657			1222285.0348			2488.3066


			272770.7466			1222295.0042			2488.0858


			272771.5275			1222304.9737			2487.865


			272772.3084			1222314.9431			2487.607


			272773.0893			1222324.9126			2487.3115


			272773.8702			1222334.8821			2486.9908


			272774.6511			1222344.8515			2486.67


			272775.432			1222354.821			2486.6455


			272776.2129			1222364.7905			2486.6735


			272776.9938			1222374.7599			2486.7009


			272777.7747			1222384.7294			2486.7282


			272778.5556			1222394.6989			2486.6035


			272779.3365			1222404.6683			2486.3005


			272780.1174			1222414.6378			2485.9768


			272780.8983			1222424.6072			2485.653


			272781.6792			1222434.5767			2485.3291


			272782.4601			1222444.5462			2485.001


			272783.241			1222454.5156			2484.6729


			272784.0219			1222464.4851			2484.3761


			272784.8028			1222474.4546			2484.0814


			272785.5837			1222484.424			2483.8076


			272786.3646			1222494.3935			2483.5216


			272787.3764			1222504.3412			2482.9881


			272788.598			1222514.2663			2482.6559


			272789.8196			1222524.1914			2482.4505


			272791.0412			1222534.1165			2482.2563


			272792.2628			1222544.0416			2482.0708


			272793.4844			1222553.9667			2481.9322


			272794.706			1222563.8918			2481.8398


			272795.9277			1222573.8169			2481.7157


			272796.7764			1222583.7764			2481.5156


			272796.5248			1222593.768			2481.2624


			272795.1578			1222603.6688			2480.8523


			272792.6924			1222613.3547			2480.6797


			272789.1596			1222622.7043			2480.3032


			272784.6036			1222631.6003			2480.0915


			272779.0815			1222639.9311			2480.0142


			272772.6627			1222647.5923			2479.5721


			272765.4276			1222654.4879			2479.0229


			272757.775			1222660.9251			2478.6844


			272750.1214			1222667.3611			2478.5837


			272742.4677			1222673.797			2478.2475


			272734.814			1222680.233			2478.0004


			272727.1604			1222686.6689			2477.744


			272719.5067			1222693.1049			2477.4666


			272711.8531			1222699.5408			2477.2871


			272704.1994			1222705.9768			2477.1333


			272696.5457			1222712.4127			2476.9821


			272688.8921			1222718.8487			2476.831


			272681.2384			1222725.2846			2476.87


			272673.5848			1222731.7206			2476.8031


			272665.9311			1222738.1565			2476.7362


			272658.2774			1222744.5925			2476.6693


			272650.6238			1222751.0285			2476.6799


			272642.9701			1222757.4644			2476.7067


			272635.6833			1222764.3053			2476.6174


			272629.207			1222771.918			2476.4662


			272623.6224			1222780.207			2476.3288


			272618.7433			1222788.9355			2476.2676


			272613.9031			1222797.686			2476.2074


			272609.0628			1222806.4366			2476.1584


			272604.2226			1222815.1871			2476.0744


			272599.3823			1222823.9377			2475.9903


			272594.5534			1222832.6944			2475.8795


			272590.3668			1222841.7701			2475.7287


			272587.2211			1222851.2569			2475.5482


			272585.1557			1222861.036			2475.2928


			272583.7731			1222870.9399			2475.2729


			272582.3995			1222880.8451			2475.2743


			272581.0259			1222890.7503			2475.2757


			272579.6523			1222900.6555			2475.2063


			272578.2787			1222910.5607			2475.1271


			272576.9052			1222920.4659			2475.0479


			272575.5316			1222930.3711			2474.9325


			272574.158			1222940.2764			2474.7984


			272572.7844			1222950.1816			2474.7208


			272571.4108			1222960.0868			2474.6779


			272570.0372			1222969.992			2474.6378


			272568.6637			1222979.8972			2474.6116


			272567.2901			1222989.8024			2474.4669


			272565.6832			1222999.6701			2474.4662


			272563.7824			1223009.4877			2474.3295


			272561.8816			1223019.3054			2474.1947


			272559.9807			1223029.1231			2474.112


			272558.0799			1223038.9408			2473.6943


			272556.1791			1223048.7585			2473.2014


			272554.2783			1223058.5762			2473.8181


			272552.3775			1223068.3938			2473.5562


			272550.4766			1223078.2115			2473.118


			272548.5758			1223088.0292			2472.6799


			272546.675			1223097.8469			2473.0902


			272544.7742			1223107.6646			2473.3414


			272542.8734			1223117.4823			2472.6976


			272540.9725			1223127.2999			2472.4087


			272539.0717			1223137.1176			2472.8929


			272537.1709			1223146.9353			2473.377


			272535.2701			1223156.753			2473.1964


			272533.3693			1223166.5707			2472.8537


			272531.4685			1223176.3884			2472.1393


			272529.5676			1223186.206			2471.485


			272527.6668			1223196.0237			2471.7843


			272525.766			1223205.8414			2472.0914


			272523.8652			1223215.6591			2471.843


			272521.9644			1223225.4768			2470.8993


			272520.0635			1223235.2944			2470.7583


			272518.1627			1223245.1121			2471.3696


			272516.2619			1223254.9298			2470.5324


			272514.3611			1223264.7475			2469.9576


			272512.4603			1223274.5652			2470.6373


			272510.9245			1223284.4421			2470.1839


			272510.4829			1223294.4271			2469.1459


			272510.8795			1223304.4188			2468.8627


			272511.3235			1223314.409			2468.5987


			272511.7675			1223324.3991			2468.3338


			272512.2114			1223334.3893			2467.8785


			272512.6554			1223344.3794			2467.6243


			272513.0993			1223354.3695			2467.5429


			272513.5433			1223364.3597			2467.4615


			272513.9872			1223374.3498			2467.4122


			272514.4312			1223384.34			2467.3863


			272514.8752			1223394.3301			2467.291


			272515.3191			1223404.3202			2467.2745


			272515.7631			1223414.3104			2467.2057


			272516.207			1223424.3005			2467.1449


			272516.651			1223434.2907			2467.1722


			272517.0949			1223444.2808			2467.1228


			272517.5389			1223454.2709			2467.0426


			272517.9829			1223464.2611			2467.0294


			272518.4268			1223474.2512			2467.0312


			272518.6246			1223484.2462			2467.0057


			272517.9258			1223494.2204			2466.9211


			272517.1053			1223504.1867			2466.7137


			272516.2848			1223514.1529			2466.4715


			272515.4644			1223524.1192			2466.2293


			272514.6439			1223534.0855			2465.9871


			272513.8234			1223544.0518			2465.8581


			272513.003			1223554.0181			2465.7521


			272512.1825			1223563.9844			2465.6325


			272511.362			1223573.9506			2465.3416


			272510.5415			1223583.9169			2465.0652


			272509.7211			1223593.8832			2464.8816


			272508.9006			1223603.8495			2464.7422


			272508.0801			1223613.8158			2464.6501


			272507.2597			1223623.7821			2464.558








TC 1-1-6 CUT&FILL


			bed width			0.13


			Slope			250.00


			Initial CBL			2474.92


			Total depth			0.13


			Side slope of canal			1.00


			b/d ratio			1.00


			Side slope of Burm			1.00


			Insert top width of built burm for fill			0.00





			Northing			Easting			Partial Distance			Chainage			Elevation			CBL			Bank level			drop			slope			CUT(m)			Fill(m)			Area of cut			Average Area of Cut			Volume of cut			Area of Fill			Average Area of Fill			Volume of Fill


			1222861.036			272778.4986			0.00			0			2475.2928			2474.92			2475.05						250			0.37			0.00			0.28			0.00			0.00			0.00			0.00			0.00


			1222865.2408			272787.8125			10			10			2475.2979			2474.8791237817			2475.00									0.42			0.00			0.35			0.31			3.21			0.00			0.00			0.00


			1222869.4457			272585.1557			10			20			2475.1143			2474.8391237817			2474.96									0.28			0.00			0.15			0.25			2.51			0.00			0.00			0.00


			1222873.6505			272594.2287			10			20			2474.9307			2474.7991238473			2474.92									0.13			0.00			0.03			0.09			0.93			0.00			0.00			0.00


			1222877.8554			272603.3017			10			30			2474.7472			2474.7591237447			2474.88			0.50			250.00			0.00			0.14			0.00			0.02			0.17			0.04			0.02			0.19


			1222877.8554			272603.3017			10			30			2474.7472			2474.259			2474.38									0.00			0.14			0.00			0.02			0.17			0.04			0.02			0.19


			1222882.0603			272612.3747			10			40			2474.3895			2474.2189998974			2474.34									0.17			0.00			0.06			0.03			0.29			0.00			0.02			0.19


			1222886.2651			272621.4477			10			50			2474.1193			2474.178999963			2474.30									0.00			0.18			0.00			0.03			0.29			0.07			0.04			0.36


																																				0.87						7.58						0.09			0.94








Sheet2


			272769.1848			1222275.0653			2488.3825


			272769.9657			1222285.0348			2488.3066


			272770.7466			1222295.0042			2488.0858


			272771.5275			1222304.9737			2487.865


			272772.3084			1222314.9431			2487.607


			272773.0893			1222324.9126			2487.3115


			272773.8702			1222334.8821			2486.9908


			272774.6511			1222344.8515			2486.67


			272775.432			1222354.821			2486.6455


			272776.2129			1222364.7905			2486.6735


			272776.9938			1222374.7599			2486.7009


			272777.7747			1222384.7294			2486.7282


			272778.5556			1222394.6989			2486.6035


			272779.3365			1222404.6683			2486.3005


			272780.1174			1222414.6378			2485.9768


			272780.8983			1222424.6072			2485.653


			272781.6792			1222434.5767			2485.3291


			272782.4601			1222444.5462			2485.001


			272783.241			1222454.5156			2484.6729


			272784.0219			1222464.4851			2484.3761


			272784.8028			1222474.4546			2484.0814


			272785.5837			1222484.424			2483.8076


			272786.3646			1222494.3935			2483.5216


			272787.3764			1222504.3412			2482.9881


			272788.598			1222514.2663			2482.6559


			272789.8196			1222524.1914			2482.4505


			272791.0412			1222534.1165			2482.2563


			272792.2628			1222544.0416			2482.0708


			272793.4844			1222553.9667			2481.9322


			272794.706			1222563.8918			2481.8398


			272795.9277			1222573.8169			2481.7157


			272796.7764			1222583.7764			2481.5156


			272796.5248			1222593.768			2481.2624


			272795.1578			1222603.6688			2480.8523


			272792.6924			1222613.3547			2480.6797


			272789.1596			1222622.7043			2480.3032


			272784.6036			1222631.6003			2480.0915


			272779.0815			1222639.9311			2480.0142


			272772.6627			1222647.5923			2479.5721


			272765.4276			1222654.4879			2479.0229


			272757.775			1222660.9251			2478.6844








TC 1-1-6 PROFILE OF G3


			chainage


			OGL


			CBL


			embankment level


			depth of cut, m


			depth of fill


			drop


			slope


			0.00			2475.29			2474.92			2475.05			0.37			0.00						250.00


			10.22			2475.30			2474.88			2475.00			0.42			0.00


			20.22			2475.11			2474.84			2474.96			0.28			0.00


			20.22			2474.93			2474.80			2474.92			0.13			0.00


			30.22			2474.75			2474.76			2474.88									0.50			250.00


			30.22			2474.75			2474.26						0.00			0.14


			40.22			2474.39			2474.22			2474.34			0.17			0.00


			50.22			2474.12			2474.18			2474.30			0.00			0.18








Sheet1








oleObject7.bin





oleObject8.bin





oleObject9.bin





oleObject10.bin





oleObject1.bin





oleObject2.bin





oleObject3.bin





oleObject4.bin





oleObject5.bin





oleObject6.bin





image1.png


Bl .








image2.emf


(




)




8




/




3




4




5




.




0




k




S




Q








 



8 / 3



4



5.0



k S



Q






image11.emf


n




S




AR




3




/




2








n



S AR



3/2






image3.emf


(




)




5




.




0




2




Z




1




2




K




+




+








 5.0



2



Z 1 2 K  






image4.emf


Z




K




+








Z K






image5.emf


3




/




2




2




1




÷




ø




ö




ç




è




æ




K




K








3 / 2



2



1 























K



K






image6.emf


n




K




K




2




1








n



K K



2 1






image7.emf


Kd








Kd






image8.emf


2




1




d




K








2



1



d K






image9.emf


d




K




2








d K



2






image10.emf


3




/




2




3




d




K








3/2



3



d K






image12.png


Home | Insert  Pagelajout  References  Mailngs  Review  View

ﬂ & Cut & Find -
& cony 4aBbCcD AaBbCi A) AaBb L AaBb( AaBh( .
P g omt paiter TChar  Heading3  Heading4  Heading5  Headings < g:‘ya‘:?f Iy Select =

Clipboard & Font & Paragraph & Styles 5| ediing
Document Map - x ([ 1o [EX) CXERRREF KERNRRRE IXENRRRE ERRNRRRS ERRNRERNXRRY |

5.0 myunaunc Design ur 1 e werr Where

3.6.1 Flow over the Weir Crest o 3
3.6.1.1 Crest Length Q=Design discharge, m¥/s

3.6.1.2 Discharge over the wer section _ o
3.6.2 Type of Flow (Modular/ None-Modular) R =Hydraulic radius of th canal, m

363 Top and bottom width of weir A = Wetted cross sectional area of canal, m?
37 ydraulic jump Computation

38 Stabity of the weir P = Wetted Perimeter, m

3.9 Design of Retaining Wall L .
3.9.1 Upstream Retaining Wall 1= Manning’s roughness coefficient
3.9.2 Downstream retaining wall S =Bed slope of the canal
3.10 Design of under sluice
3.1 Design of Head Regulator
3.12 Weir Protection Work (Capping)

SETon o ATON & Do RS

4. Trrigable area description

4.1 Topography and soil

o arecies

o rovamnt

e equramnt

4.3.2 Trrigation efficiency

4.3.3 Trrigation duty

4.4 Trrigation method

4.5 Irrigation & Drainage system lay out

4.5.1 Trrigation canals

S5 e

4.6 Canal design

b

4.7 Drainage Canals

3D+D?
3+22D

A
?

Page: 59 of 89 | Words: 16242 | <&  English (United States) |









image13.png










oleObject18.bin





oleObject11.bin





oleObject12.bin





oleObject13.bin





oleObject14.bin





oleObject15.bin





oleObject16.bin





oleObject17.bin





image14.emf


B




EL




A




EL




h




.




.




-




=








B EL A EL h . .



 






image15.emf


2




3




1




734




.




0




d




Q




b




c




=








2



3



1



734 . 0



d



Q



b



c










image16.emf


c




b




Q




q




=








c



b



Q



q










image17.emf


3




1




2




÷




÷




ø




ö




ç




ç




è




æ




=




g




q




d




c








3



1



2







































g



q



d



c






image18.emf


2




c




d




a




=








2



c



d



a










image19.emf


c




c




c




hd




h




d




h




d




L




ú




ú




û




ù




ê




ê




ë




é




÷




÷




ø




ö




ç




ç




è




æ




+




+




=




3




7




.




0




1




.




1




5




.




2








c



c c



hd



h



d



h



d



L



































































  



3



7 . 0 1 . 1 5 . 2






image20.emf


91




.




9




46




.




18




+




=




Q




Q




B








91 . 9



46 . 18











Q



Q



B






image21.emf


2




1




2




3




2




.




1




Q




I




+




=








2



1



2



3



2 . 1



Q I



 






image22.png










image23.jpeg










oleObject26.bin





oleObject27.bin





oleObject28.bin





oleObject19.bin





oleObject20.bin





oleObject21.bin





oleObject22.bin





oleObject23.bin





oleObject24.bin





oleObject25.bin







Sheet1


			Canal 			Chanaige			Remark


			MC1			(+100,300, 320,380, 600)			4m,=L


			MC 2			(+200,400,600,800, 900,1000,1300,1600)			1.1m = W


			B=Canal WIDTH			D =Depth			For each,L=foot path length


									For each,W=foot path width








Sheet2








Sheet3










MBD00128CB6.unknown



MBD00128CB3.unknown



MBD00128CB4.unknown



MBD00128CB2.unknown



MBD00128CAF.unknown



MBD00128CB0.unknown



MBD00128CAE.unknown



MBD00128CAB.unknown



MBD00128CAC.unknown




_1521634384.xls
Chart1

		0

		2.010033246

		4.0199875986

		6.0300208447

		8.0399751974

		10.0500084434

		12.0600416893

		14.0699960422

		16.0800292881

		18.0900450915

		20.1000783375

		22.1101115836

		24.1200659362

		26.1300991822

		28.1400535349

		30.150086781

		32.1601200269

		34.1700743796

		36.1801690739

		38.19020232

		40.2001566726

		42.2101899186

		44.2201442713

		46.2301775174

		48.2402107633

		50.250165116

		52.2601983621

		54.2701527147

		56.280247409

		58.290280655

		60.3002350078

		62.3102682538

		64.3202226064

		66.3302558524

		68.3402890985

		70.3502434511

		72.3602766971

		74.3702925005

		76.3803257466

		78.3903589926

		80.4003133452

		82.4103465912

		84.420300944

		86.43033419

		88.4403674359

		90.4503217887

		92.4603550347

		94.4703708381

		96.480404084

		98.49043733

		100.5003916828

		102.5104249288

		104.5203792814

		106.5304125275

		108.5404457735

		110.5504001261

		112.5604948204

		114.5705280665

		116.5804824192

		118.5905156652

		120.6004700179

		122.610503264

		124.6205365099

		126.6304908626



axise

River crose section

1997.1847

1997.1557

1997.1397

1997.1237

1997.1077

1997.0917

1997.0756

1996.8155

1995.8921

1995.0287

1994.9195

1994.8103

1994.7011

1994.5919

1994.4827

1994.3734

1994.2642

1994.155

1994.0458

1993.9891

1993.946

1993.9167

1993.8875

1993.851

1993.8137

1993.7764

1993.7335

1993.6876

1993.7249

1993.7657

1993.8066

1993.8474

1993.8882

1993.8151

1993.6553

1993.4955

1993.3357

1993.1759

1993.0162

1992.8564

1992.6966

1992.5368

1992.377

1992.47

1992.8869

1993.2888

1993.5503

1993.8118

1995.2181

1995.8113

1995.8785

1995.9456

1996.0127

1996.0798

1996.1469

1996.2141

1996.2812

1996.3483

1996.4154

1996.4825

1996.5496

1996.6339

1996.7308

1996.8278



MANA MC PROFILE  (1)

		

		chainage		0+00-0+2600

		bed width		0.7										masonry width		Working space		total cut width

		Slope		1000										0.3		0.35		1.65

		Total depth		0.6

		Side slope of canal		0														3.00

		Side slope of Burm		1														2.29

		Insert top width of built burm for fill		0														1.58

		OFFTAKE LEVEL CBL		1992.4														3.13

		Northing		Easting		Partial Distance		Chainage		Elevation		CBL		Bank level		CUT(m)		Fill(m)		slope		drop		Area of cut		Average Area of Cut		Volume of cut		Area of Fill		Average Area of Fill		Volume of Fill		Massonry Area (m2)		Massonry volume(m3)		PLASTERING		CUM.VOL.CUT

		1354384.8177		383508.609		0		0		1994.032		1992.40		1993.00		1.63		0.0		1000.00				2.69		0.00		0.00		0		0.00		0.00		0.75		0.00		0		0.00						0

		1354391.0324		383507.0569		6		6		1995.39		1992.39		1992.99		3.00		0.0		1000.00				4.94		3.82		24.46		0		0.00		0.00		0.75		4.80		11		24.46						7.5

		1354396.6457		383503.6233		7		13		1994.676		1992.39		1992.99		2.29		0.0						3.78		4.36		28.69		0		0.00		0.00		0.75		4.94		11		53.15						7.5

		1354402.259		383500.1896		7		20		1993.963		1992.38		1992.98		1.58		0.0		1000.00				2.61		3.19		21.02		0		0.00		0.00		0.75		4.94		11		74.17						7.5

		1354407.8724		383496.756		7		26		1994.202		1992.37		1992.97		1.83		0.0						3.02		2.81		18.52		0		0.00		0.00		0.75		4.94		11		92.69						7.5

		1354424.7124		383486.455		20		46		1995.483		1992.35		1992.95		3.13		0.0						5.16		4.09		80.73		0		0.00		0.00		0.75		14.81		33		173.42						7.5

		1354430.3238		383483.0213		7		52		1995.404		1992.35		1992.95		3.06		0.0						5.04		5.10		33.57		0		0.00		0.00		0.75		4.93		11		206.99						7.5

		1354435.9391		383479.5877		7		59		1995.231		1992.34		1992.94		2.89		0.0						4.77		4.91		32.29		0		0.00		0.00		0.75		4.94		11		239.28						7.5

		1354441.5525		383476.154		7		66		1995.058		1992.33		1992.93		2.72		0.0						4.49		4.63		30.48		0		0.00		0.00		0.75		4.94		11		269.75						7.5

		1354435.9391		383479.5877		7		72		1995.231		1992.33		1992.93		2.90		0.0						4.79		4.64		30.55		0		0.00		0.00		0.75		4.94		11		300.30						7.5

		1354441.5525		383476.154		7		79		1995.058		1992.32		1992.92		2.74		0.0						4.52		4.65		30.62		0		0.00		0.00		0.75		4.94		11		330.92						7.5

		1354475.5446		383475.4453		34		113		1994.4552		1992.29		1992.89		2.17		0.0						3.58		4.05		137.58		0		0.00		0.00		0.75		25.50		56		468.49						7.5

		1354485.5419		383475.2359		10		123		1994.2361		1992.28		1992.88		1.96		0.0						3.23		3.40		34.04		0		0.00		0.00		0.75		7.50		16		502.54						7.5

		1354495.5393		383475.0263		10		133		1994.2796		1992.27		1992.87		2.01		0.0						3.32		3.28		32.76		0		0.00		0.00		0.75		7.50		16		535.30						7.5

		1354505.5366		383474.8168		10		143		1994.3544		1992.26		1992.86		2.10		0.0						3.46		3.39		33.90		0		0.00		0.00		0.75		7.50		16		569.20						7.5

		1354515.5339		383474.6073		10		153		1994.3331		1992.25		1992.85		2.09		0.0						3.44		3.45		34.51		0		0.00		0.00		0.75		7.50		16		603.71						7.5

		1354525.5313		383474.3978		10		163		1993.9037		1992.24		1992.84		1.67		0.0		1000.00				2.75		3.10		30.96		0		0.00		0.00		0.75		7.50		16		634.67						7.5

		1354535.5286		383474.1883		10		173		1993.5963		1992.23		1992.83		1.37		0.0						2.26		2.50		25.04		0		0.00		0.00		0.75		7.50		16		659.71						7.5

		1354545.5259		383473.9788		10		183		1993.5135		1992.22		1992.82		1.30		0.0						2.14		2.20		21.99		0		0.00		0.00		0.75		7.50		16		681.70						7.5

		1354555.5233		383473.7693		10		193		1993.6323		1992.21		1992.81		1.43		0.0						2.35		2.25		22.45		0		0.00		0.00		0.75		7.50		16		704.15						7.5

		1354565.5206		383473.5597		10		203		1993.8089		1992.20		1992.80		1.61		0.0						2.66		2.51		25.05		0		0.00		0.00		0.75		7.50		16		729.20						7.5

		1354575.5179		383473.3502		10		213		1993.5487		1992.19		1992.79		1.36		0.0						2.25		2.45		24.53		0		0.00		0.00		0.75		7.50		16		753.73						7.5

		1354585.5153		383473.1407		10		223		1993.2689		1992.18		1992.78		1.09		0.0						1.80		2.02		20.24		0		0.00		0.00		0.75		7.50		16		773.96						7.5

		1354595.5126		383472.9312		10		233		1992.9999		1992.17		1992.77		0.83		0.0		1000.00				1.37		1.59		15.88		0		0.00		0.00		0.75		7.50		16		789.84						7.5

		1354605.5099		383472.7217		10		243		1992.9212		1992.16		1992.76		0.76		0.0						1.26		1.32		13.17		0		0.00		0.00		0.75		7.50		16		803.01						7.5

		1354615.5073		383472.5122		10		253		1992.8552		1992.15		1992.75		0.71		0.0		900.00				1.17		1.22		12.15		0		0.00		0.00		0.75		7.50		16		815.16						7.5

		1354625.5046		383472.3026		10		263		1992.7892		1992.13		1992.73		0.65		0.0						1.08		1.12		11.25		0		0.00		0.00		0.75		7.50		16		826.41						7.50

		1354635.4992		383472.1426		10		273		1992.7232		1992.12		1992.72		0.60		0.0						0.99		1.03		10.34		0		0.00		0.01		0.75		7.50		16		836.75						7.5

		1354645.1757		383474.6636		10		283		1992.5726		1992.11		1992.71		0.46		0						0.76		0.87		8.74		0		0.13		1.34		0.75		7.50		16		845.48						7.5

		1354654.8517		383477.1866		10		293		1992.4119		1992.10		1992.70		0.31		0						0.51		0.64		6.35		1		0.41		4.08		0.75		7.50		16		851.84						7.5

		1354664.5277		383479.7096		10		303		1992.4268		1992.09		1992.69		0.34		0						0.55		0.53		5.33		1		0.53		5.26		0.75		7.50		16		857.17						7.5

		1354674.2037		383482.2326		10		313		1992.4418		1992.08		1992.68		0.36		0						0.60		0.58		5.76		0		0.48		4.76		0.75		7.50		16		862.93						225

		1354683.6727		383482.4472		9		322		1992.4567		1992.07		1992.67		0.39		0		1000.00				0.64		0.62		5.86		0		0.43		4.05		0.75		7.10		16		868.80

		1354692.5009		383477.7512		10		332		1992.4616		1992.06		1992.66		0.40		0						0.67		0.65		6.53		0		0.39		3.88		0.75		7.50		16		875.33

		1354701.3292		383473.0553		10		342		1992.4663		1992.05		1992.65		0.42		0						0.69		0.68		6.79		0		0.36		3.58		0.75		7.50		16		882.12

		1354710.3659		383468.7865		10		352		1992.5276		1992.04		1992.64		0.49		0						0.81		0.75		7.52		0		0.27		2.74		0.75		7.50		16		889.63

		1354719.5025		383464.723		10		362		1992.7359		1992.02		1992.62		0.71		0						1.17		0.99		9.93		0		0.10		1.03		0.75		7.50		16		899.56

		1354728.6392		383460.6595		10		372		1992.7221		1992.01		1992.61		0.71		0						1.17		1.17		11.72		0		0.00		0.00		0.75		7.50		16		911.28

		1354737.7758		383456.596		10		382		1992.5554		1992.00		1992.60		0.55		0						0.91		1.04		10.41		0		0.04		0.45		0.75		7.50		16		921.69

		1354746.9125		383452.5325		10		392		1992.3388		1991.98		1992.58		0.36		0						0.59		0.75		7.50		0		0.28		2.76		0.75		7.50		16		929.19

		1354756.0492		383448.469		10		402		1992.2003		1991.96		1992.56		0.24		0		500.00				0.39		0.6527106869		6.526823558		0		0.34		3.40		0.75		7.50		16		935.72

		1354765.1858		383444.4055		10		412		1992.0617		1991.86		1992.46		0.20		0		100.00				0.33		0.36		3.61		0		0.26		2.60		0.75		7.50		16		939.33

		1354775.0976		383443.2093		10		422		1991.8908		1991.76		1992.36		0.13		0						0.21		0.27		2.70		0		0.38		3.81		0.75		7.49		16		942.03

		1354785.0406		383442.148		10		432		1991.9108		1991.66		1992.26		0.25		0						0.41		0.37		3.69		0		0.33		3.29		0.75		7.50		16		945.72

		1354794.9836		383441.0866		10		442		1991.9308		1991.56		1992.2		0.4		0						0.61		0.5		5.1		0		0.32		3.18		0.75		7.50		16		950.81

		1354804.9267		383440.0253		10		452		1991.9508		1991.46		1992.06		0.49		0						0.81		0.71		7.07		0		0.33		3.26		0.75		7.50		16		957.88

		1354813.6502		383442.8131		9		461		1991.8369		1991.37		1991.9708699084		0.47		0						0.77		0.6883660745		6.3041435928		0		0.23		2.14		0.75		6.87		15		964.18

		1354820.8187		383449.7848		10		471		1991.8454		1991.27		1991.87		0.57		0						0.95		0.86		8.58		0		0.15		1.51		0.75		7.50		16		972.76

		1354827.9871		383456.7565		10		481		1991.8557		1991.26		1991.86		0.60		0						0.99		0.97		9.68		0		0.03		0.25		0.75		7.50		16		982.45

		1354835.1555		383463.7282		10		491		1991.8662		1991.24		1991.84		0.62		0						1.03		1.01		10.09		0		0.00		0.01		0.75		7.50		16		992.54

		1354842.3239		383470.6999		10		501		1991.8768		1991.23		1991.83		0.65		0		700.00				1.07		1.05		10.50		0		0.00		0.00		0.75		7.50		16		1003.04

		1354849.4923		383477.6716		10		511		1991.8873		1991.21		1991.81		0.67		0						1.11		1.09		10.91		0		0.00		0.00		0.75		7.50		16		1013.94

		1354856.6607		383484.6433		10		521		1991.8979		1991.20		1991.80		0.70		0						1.15		1.11		11.11		0		0.00		0.00		0.75		7.50		16		1025.06

		1354863.8291		383491.615		10		531		1991.8179		1991.19		1991.79		0.63		0						1.04		1.10		10.98		0		0.00		0.00		0.75		7.50		16		1036.04

		1354870.9975		383498.5867		10		541		1991.7337		1991.17		1991.77		0.56		0						0.93		0.99		9.86		0		0.04		0.35		0.75		7.50		16		1045.90

		1354878.3064		383505.3529		10		551		1991.6541		1991.16		1991.76		0.50		0		1000.00				0.82		0.87		8.71		0		0.13		1.32		0.75		7.47		16		1054.62

		1354888.2688		383506.1948		10		561		1991.6588		1991.14		1991.74		0.52		0						0.85		0.84		8.36		0		0.18		1.77		0.75		7.50		16		1062.98

		1354898.2351		383507.0086		10		571		1991.6201		1991.13		1991.73		0.49		0						0.81		0.83		8.32		0		0.18		1.82		0.75		7.50		16		1071.30

		1354908.2015		383507.8225		10		581		1991.5829		1991.11		1991.71		0.47		0						0.77		0.79		7.93		0		0.23		2.27		0.75		7.50		16		1079.23

		1354918.1679		383508.6363		10		591		1991.5503		1991.10		1991.70		0.45		0						0.74		0.76		7.59		0		0.27		2.66		0.75		7.50		16		1086.81

		1354928.1342		383509.4501		10		601		1991.4417		1991.08		1991.68		0.36		0		500.00				0.60		0.67		6.71		0		0.37		3.68		0.75		7.50		16		1093.52

		1354938.1006		383510.264		10		611		1991.3332		1991.06		1991.66		0.27		0						0.45		0.52		5.25		0		0.30		2.98		0.75		7.50		16		1098.77

		1354948.0669		383511.0778		10		621		1991.2247		1991.04		1991.64		0.19		0		1000.00				0.31		0.38		3.79		0		0.24		2.38		0.75		7.50		16		1102.55

		1354958.0333		383511.8917		10		631		1991.1162		1991.02		1991.62		0.10		1						0.16		0.23		2.33		1		0.44		4.35		0.75		7.50		16		1104.88

		1354967.3498		383508.7833		10		641		1991.2835		1991.00		1991.60		0.28		0						0.47		0.31		3.08		0		0.33		3.25		0.75		7.37		16		1107.96

		1354976.4815		383504.7087		10		651		1991.4339		1990.98		1991.58		0.45		0						0.75		0.61		6.09		0		0.20		2.00		0.75		7.50		16		1114.04

		1354985.6132		383500.634		10		661		1991.5843		1990.96		1991.56		0.62		0						1.03		0.89		8.90		0		0.14		1.39		0.75		7.50		16		1122.94

		1354994.7449		383496.5594		10		671		1991.7347		1990.95		1991.55		0.78		0						1.29		1.16		11.63		0		0.00		0.00		0.75		7.50		16		1134.57

		1355003.8766		383492.4848		10		681		1991.7545		1990.94		1991.54		0.81		0						1.34		1.32		13.19		0		0.00		0.00		0.75		7.50		16		1147.76

		1355013.0083		383488.4101		10		691		1991.7272		1990.93		1991.53		0.80		0						1.32		1.33		13.30		0		0.00		0.00		0.75		7.50		16		1161.06

		1355022.14		383484.3355		10		701		1991.6999		1990.92		1991.52		0.78		0		1000.00				1.29		1.30		13.01		0		0.00		0.00		0.75		7.50		16		1174.07

		1355031.2717		383480.2608		10		711		1991.6726		1990.91		1991.51		0.76		0						1.26		1.27		12.73		0		0.00		0.00		0.75		7.50		16		1186.80

		1355040.4034		383476.1862		10		721		1991.623		1990.90		1991.50		0.72		0						1.19		1.23		12.26		0		0.00		0.00		0.75		7.50		16		1199.06

		1355049.5351		383472.1116		10		731		1991.5685		1990.89		1991.49		0.68		0						1.12		1.16		11.56		0		0.00		0.00		0.75		7.50		16		1210.62

		1355059.1547		383469.5832		10		741		1991.539		1990.88		1991.48		0.66		0						1.09		1.10		10.98		0		0.00		0.00		0.75		7.46		16		1221.60

		1355068.9758		383467.7024		10		751		1991.5663		1990.87		1991.47		0.70		0						1.15		1.12		11.18		0		0.00		0.00		0.75		7.50		16		1232.78

		1355078.7968		383465.8216		10		761		1991.5936		1990.86		1991.46		0.73		0						1.21		1.18		11.80		0		0.00		0.00		0.75		7.50		16		1244.58

		1355088.6179		383463.9408		10		771		1991.6881		1990.85		1991.45		0.84		0						1.38		1.30		12.97		0		0.00		0.00		0.75		7.50		16		1257.54

		1355098.4389		383462.06		10		781		1991.7911		1990.84		1991.44		0.95		0						1.57		1.48		14.76		0		0.00		0.00		0.75		7.50		16		1272.31

		1355108.1704		383463.8082		10		791		1991.7353		1990.83		1991.43		0.91		0						1.49		1.53		15.14		0		0.00		0.00		0.75		7.42		16		1287.45

		1355117.8697		383466.24		10		801		1991.6709		1990.82		1991.42		0.85		0						1.40		1.45		14.49		0		0.00		0.00		0.75		7.50		16		1301.94

		1355127.5691		383468.6717		10		811		1991.6066		1990.81		1991.41		0.80		0						1.31		1.36		13.59		0		0.00		0.00		0.75		7.50		16		1315.53

		1355137.2684		383471.1035		10		821		1991.7132		1990.80		1991.40		0.91		0						1.51		1.41		14.10		0		0.00		0.00		0.75		7.50		16		1329.63

		1355146.9678		383473.5352		10		831		1991.8269		1990.79		1991.39		1.04		0						1.71		1.61		16.09		0		0.00		0.00		0.75		7.50		16		1345.72				7.5		16.5

		1355156.1651		383477.4415		10		841		1991.6405		1990.78		1991.38		0.86		0						1.42		1.57		15.64		0		0.00		0.00		0.75		7.49		16		1361.36				7.5		16.5

		1355165.3297		383481.4416		10		851		1991.5123		1990.77		1991.37		0.74		0						1.22		1.32		13.22		0		0.00		0.00		0.75		7.50		16		1374.58				7.5		16.5

		1355174.4943		383485.4417		10		861		1991.3841		1990.76		1991.36		0.62		0						1.03		1.13		11.27		0		0.00		0.00		0.75		7.50		16		1385.85				7.5		16.5

		1355183.6589		383489.4418		10		871		1991.2559		1990.75		1991.35		0.51		0						0.83		0.93		9.32		0		0.09		0.89		0.75		7.50		16		1395.17				7.5		16.5

		1355193.148		383491.8932		10		880		1991.312		1990.74		1991.34		0.57		0						0.94		0.89		8.71		0		0.12		1.14		0.75		7.35		16		1403.88				7.5		16.5				1355839.3964		383403.22		383403.22,1355839.3964

		1355203.1436		383491.72		10		890		1991.6482		1990.73		1991.33		0.92		0						1.51		1.23		12.29		0		0.03		0.27		0.75		7.50		16		1416.17				7.5		16.5				1355849.4185		383403.4252		383403.4252,1355849.4185

		1355210.2181		383484.7391		10		900		1991.1737		1990.72		1991.32		0.45		0						0.75		1.13		11.24		0		0.14		1.38		0.75		7.45		16		1427.42				7.5		16.5				1355859.4407		383403.6304		383403.6304,1355859.4407

		1355217.1007		383477.4852		10		910		1991.35		1990.71		1991.31		0.64		0						1.06		0.90		9.02		0		0.14		1.39		0.75		7.50		16		1436.43				7.5		16.5				1355869.4629		383403.8356		383403.8356,1355869.4629

		1355223.9833		383470.2312		10		920		1991.5264		1990.70		1991.30		0.83		0						1.36		1.21		12.09		0		0.00		0.00		0.75		7.50		16		1448.52				7.5		16.5				1355879.4507		383403.7536		383403.7536,1355879.4507

		1355230.866		383462.9773		10		930		1991.4478		1990.69		1991.29		0.76		0		1000				1.25		1.31		13.06		0		0.00		0.00		0.75		7.50		16		1461.59				7.5		16.5

		1355237.7486		383455.7233		10		940		1991.326		1990.68		1991.28		0.65		0						1.07		1.16		11.58		0		0.00		0.00		0.75		7.50		16		1473.16				7.5		16.5

		1355239.8766		383446.5999		9		949		1991.0703		1990.67		1991.27		0.40		0						0.66		0.86		8.08		0		0.19		1.79		0.75		7.03		15		1481.24				7.5		16.5

		1355239.4683		383436.6087		10		959		1991.0533		1990.66		1991.26		0.39		0						0.65		0.65		6.53		0		0.39		3.88		0.75		7.50		16		1487.77				7.5		16.5

		1355239.06		383426.6176		10		969		1991.0517		1990.65		1991.25		0.40		0						0.66		0.65		6.54		0		0.39		3.87		0.75		7.50		16		1494.31				7.5		16.5

		1355237.7054		383416.742		10		979		1990.8351		1990.64		1991.24		0.19		0		1000				0.32		0.49		4.89		0		0.35		3.45		0.75		7.48		16		1499.21				7.5		16.5

		1355235.6811		383406.9496		10		989		1990.996		1990.63		1991.23		0.37		0						0.60		0.46		4.61		0		0.38		3.80		0.75		7.50		16		1503.82				7.5		16.5

		1355237.8146		383397.2932		10		999		1991.2024		1990.62		1991.22		0.58		0						0.96		0.78		7.72		0		0.24		2.38		0.75		7.42		16		1511.54				7.5		16.5

		1355241.0234		383387.8224		10		1009		1991.4722		1990.61		1991.21		0.86		0						1.42		1.19		11.90		0		0.02		0.18		0.75		7.50		16		1523.44				7.5		16.5

		1355244.2321		383378.3517		10		1019		1991.5052		1990.60		1991.20		0.90		0						1.49		1.46		14.56		0		0.00		0.00		0.75		7.50		16		1538.00				7.5		16.5

		1355247.4409		383368.881		10		1029		1991.2227		1990.59		1991.19		0.63		0						1.04		1.27		12.67		0		0.00		0.00		0.75		7.50		16		1550.67				7.5		16.5

		1355250.6496		383359.4103		10		1039		1990.9382		1990.58		1991.18		0.36		0						0.59		0.82		8.16		0		0.23		2.31		0.75		7.50		16		1558.83				7.5		16.5

		1355250.1621		383351.9621		7		1047		1990.663		1990.57		1991.17		0.09		0						0.15		0.37		2.75		0		0.23		1.72		0.75		5.60		12		1561.58				7.5		16.5

		1355248.2172		383342.1535		10		1057		1990.986		1990.56		1991.16		0.42		0						0.70		0.42		4.22		0		0.17		1.69		0.75		7.50		16		1565.80				7.5		16.5

		1355249.9384		383332.5929		10		1066		1991.4852		1990.55		1991.15		0.93		0						1.54		1.12		10.85		0		0.17		1.64		0.75		7.29		16		1576.65				7.5		16.5

		1355258.1863		383327.4698		10		1080		1991.1659		1990.54		1991.14		0.62		0						1.03		1.28		12.44		0		0.00		0.00		0.75		7.28		16		1589.09				7.5		16.5

		1355268.0845		383326.0496		10		1090		1991.1251		1990.53		1991.13		0.59		0						0.97		1.00		10.00		0		0.01		0.09		0.75		7.50		16		1599.09				7.5		16.5

		1355277.9827		383324.6294		10		1100		1991.1145		1990.52		1991.12		0.59		0						0.97		0.97		9.74		0		0.02		0.18		0.75		7.50		16		1608.83				7.5		16.5

		1355287.8808		383323.2092		10		1110		1991.1039		1990.51		1991.11		0.59		0						0.97		0.97		9.73		0		0.02		0.19		0.75		7.50		16		1618.57				7.5		16.5

		1355297.779		383321.789		10		1120		1991.0934		1990.50		1991.10		0.59		0						0.97		0.97		9.73		0		0.02		0.20		0.75		7.50		16		1628.29				7.5		16.5

		1355307.7241		383321.4233		10		1130		1991.101		1990.49		1991.09		0.61		0						1.00		0.99		9.82		0		0.01		0.10		0.75		7.46		16		1638.11				7.5		16.5

		1355317.7081		383321.9807		10		1140		1990.9466		1990.48		1991.08		0.46		0						0.76		0.88		8.82		0		0.13		1.31		0.75		7.50		16		1646.93				7.5		16.5

		1355327.6921		383322.5381		10		1150		1990.8201		1990.47		1991.07		0.35		0		1000				0.57		0.67		6.67		0		0.37		3.72		0.75		7.50		16		1653.60				7.5		16.5

		1355337.6761		383323.0955		10		1160		1990.694		1990.41		1991.01		0.29		0						0.47		0.52		5.22		0		0.30		3.00		0.75		7.50		16		1658.81				7.5		16.5

		1355347.6601		383323.6529		10		1170		1990.5679		1990.34		1990.94		0.23		0		150				0.37		0.42		4.24		0		0.18		1.79		0.75		7.50		16		1663.05				7.5		16.5

		1355357.644		383324.2103		10		1180		1990.4417		1990.27		1990.87		0.17		0						0.28		0.33		3.25		0		0.31		3.07		0.75		7.50		16		1666.30				7.5		16.5

		1355367.628		383324.7677		10		1190		1990.4271		1990.21		1990.81		0.22		0						0.36		0.32		3.19		0		0.32		3.15		0.75		7.50		16		1669.49				7.5		16.5

		1355377.612		383325.3251		10		1200		1990.4143		1990.14		1990.74		0.27		0						0.45		0.41		4.07		0		0.20		2.01		0.75		7.50		16		1673.56				7.5		16.5

		1355387.596		383325.8825		10		1210		1990.5167		1990.07		1990.67		0.44		0						0.73		0.59		5.90		0		0.22		2.22		0.75		7.50		16		1679.46				7.5		16.5

		1355397.58		383326.4399		10		1220		1990.6579		1990.01		1990.61		0.65		0						1.07		0.90		9.01		0		0.15		1.50		0.75		7.50		16		1688.48				7.5		16.5

		1355407.5639		383326.9973		10		1230		1990.709		1990.00		1990.60		0.71		0						1.17		1.12		11.23		0		0.00		0.00		0.75		7.50		16		1699.71				7.5		16.5

		1355417.5479		383327.5547		10		1240		1990.7477		1989.99		1990.59		0.76		0						1.25		1.21		12.14		0		0.00		0.00		0.75		7.50		16		1711.85				7.5		16.5

		1355427.5319		383328.1121		10		1250		1990.7865		1989.98		1990.58		0.81		0						1.33		1.29		12.94		0		0.00		0.00		0.75		7.50		16		1724.79				7.5		16.5

		1355437.1306		383330.0425		10		1260		1990.739		1989.97		1990.57		0.77		0						1.27		1.30		12.76		0		0.00		0.00		0.75		7.34		16		1737.56				7.5		16.5

		1355445.8466		383334.9436		10		1270		1990.7683		1989.96		1990.56		0.81		0						1.34		1.30		13.05		0		0.00		0.00		0.75		7.50		16		1750.60				7.5		16.5

		1355454.5627		383339.8447		10		1280		1990.7838		1989.95		1990.55		0.84		0						1.38		1.36		13.58		0		0.00		0.00		0.75		7.50		16		1764.19				7.5		16.5

		1355463.2787		383344.7458		10		1290		1990.7992		1989.94		1990.54		0.86		0						1.42		1.40		14.00		0		0.00		0.00		0.75		7.50		16		1778.19				7.5		16.5

		1355471.9948		383349.6469		10		1300		1990.8147		1989.93		1990.53		0.89		0						1.46		1.44		14.42		0		0.00		0.00		0.75		7.50		16		1792.61				7.5		16.5

		1355480.7109		383354.548		10		1310		1990.8301		1989.92		1990.52		0.91		0						1.51		1.48		14.84		0		0.00		0.00		0.75		7.50		16		1807.45				7.5		16.5

		1355489.4269		383359.4491		10		1320		1990.8188		1989.91		1990.51		0.91		0						1.50		1.50		15.04		0		0.00		0.00		0.75		7.50		16		1822.50				7.5		16.5

		1355498.143		383364.3502		10		1330		1990.6642		1989.90		1990.50		0.77		0						1.26		1.38		13.84		0		0.00		0.00		0.75		7.50		16		1836.33				7.5		16.5

		1355506.859		383369.2513		10		1340		1990.5097		1989.89		1990.49		0.62		0						1.03		1.15		11.45		0		0.00		0.00		0.75		7.50		16		1847.78				7.5		16.5

		1355515.5751		383374.1524		10		1350		1990.5014		1989.88		1990.48		0.62		0						1.03		1.03		10.27		0		0.00		0.00		0.75		7.50		16		1858.06				7.5		16.5

		1355524.2912		383379.0536		10		1360		1990.5466		1989.87		1990.47		0.68		0						1.12		1.07		10.74		0		0.00		0.00		0.75		7.50		16		1868.80				7.5		16.5

		1355533.0072		383383.9547		10		1370		1990.5919		1989.86		1990.46		0.73		0						1.21		1.17		11.66		0		0.00		0.00		0.75		7.50		16		1880.46				7.5		16.5

		1355541.7233		383388.8558		10		1380		1990.6371		1989.85		1990.45		0.79		0						1.30		1.26		12.57		0		0.00		0.00		0.75		7.50		16		1893.03				7.5		16.5

		1355551.3864		383389.2208		10		1390		1990.6969		1989.84		1990.44		0.86		0		1000				1.42		1.36		13.15		0		0.00		0.00		0.75		7.25		16		1906.17				7.5		16.5

		1355561.3173		383388.0508		10		1400		1990.6934		1989.83		1990.43		0.87		0						1.43		1.42		14.22		0		0.00		0.00		0.75		7.50		16		1920.39				7.5		16.5

		1355571.2481		383386.8808		10		1410		1990.69		1989.82		1990.42		0.87		0						1.44		1.43		14.33		0		0.00		0.00		0.75		7.50		16		1934.72				7.5		16.5

		1355581.179		383385.7107		10		1420		1990.7546		1989.81		1990.41		0.95		0		800				1.56		1.50		15.00		0		0.00		0.00		0.75		7.50		16		1949.72				7.5		16.5

		1355591.1098		383384.5407		10		1430		1990.8491		1989.80		1990.40		1.05		0						1.73		1.65		16.48		0		0.00		0.00		0.75		7.50		16		1966.20				7.5		16.5

		1355601.0406		383383.3707		10		1440		1990.9436		1989.79		1990.39		1.16		0						1.91		1.82		18.20		0		0.00		0.00		0.75		7.50		16		1984.40				7.5		16.5

		1355610.9715		383382.2006		10		1450		1990.9138		1989.78		1990.38		1.14		0						1.87		1.89		18.90		0		0.00		0.00		0.75		7.50		16		2003.30				7.5		16.5

		1355620.9023		383381.0306		10		1460		1990.7433		1989.77		1990.37		0.98		0						1.61		1.74		17.41		0		0.00		0.00		0.75		7.50		16		2020.72				7.5		16.5

		1355630.0729		383382.8447		9		1470		1990.5805		1989.76		1990.36		0.82		0						1.36		1.48		13.86		0		0.00		0.00		0.75		7.01		15		2034.57				7.5		16.5

		1355637.948		383389.0071		10		1480		1990.7792		1989.75		1990.35		1.03		0						1.70		1.53		15.28		0		0.00		0.00		0.75		7.50		16		2049.85				7.5		16.5

		1355645.823		383395.1694		10		1490		1990.9068		1989.74		1990.34		1.17		0						1.93		1.81		18.14		0		0.00		0.00		0.75		7.50		16		2067.99				7.5		16.5

		1355653.698		383401.3318		10		1500		1990.8694		1989.73		1990.33		1.14		0						1.88		1.90		19.04		0		0.00		0.00		0.75		7.50		16		2087.03				7.5		16.5

		1355661.573		383407.4941		10		1510		1990.4188		1989.72		1990.32		0.70		0						1.15		1.52		15.18		0		0.00		0.00		0.75		7.50		16		2102.22				7.5		16.5

		1355669.4481		383413.6565		10		1520		1990.3725		1989.71		1990.31		0.66		0						1.10		1.13		11.25		0		0.00		0.00		0.75		7.50		16		2113.47				7.5		16.5

		1355670.3203		383423.1701		10		1530		1990.7545		1989.70		1990.30		1.06		0						1.74		1.42		13.55		0		0.00		0.00		0.75		7.17		16		2127.02				7.5		16.5

		1355670.6548		383432.9299		10		1539		1990.6363		1989.69		1990.29		0.95		0						1.57		1.65		16.15		0		0.00		0.00		0.75		7.32		16		2143.16				7.5		16.5

		1355679.4356		383436.4672		9		1549		1989.3682		1989.68		1990.28		0.00		0.9						0.00		0.78		7.41		1		0.73		6.90		0.75		7.10		16		2150.58				7.5		16.5

		1355689.1537		383434.1118		10		1559		1989.1117		1989.66		1990.26		0.00		1.2		G1				0.00		0.00		0.00		2		1.79		17.94		0.75		7.50		16		2150.58				7.5		16.5

		1355698.8719		383431.7565		10		1569		1989.2198		1989.65		1990.25		0.00		1.0						0.00		0.00		0.00		2		1.96		19.57		0.75		7.50		16		2150.58				7.5		16.5

		1355708.5901		383429.4011		10		1579		1989.9583		1989.64		1990.24		0.32		0.3						0.53		0.26		2.64		1		1.16		11.57		0.75		7.50		16		2153.22				7.5		16.5

		1355718.3082		383427.0457		10		1589		1990.6283		1989.63		1990.23		1.00		0.0						1.66		1.09		10.92		0		0.27		2.65		0.75		7.50		16		2164.14				7.5		16.5

		1355728.0264		383424.6904		10		1599		1990.7111		1989.62		1990.22		1.10		0						1.81		1.73		17.32		0		0.00		0.00		0.75		7.50		16		2181.46				7.5		16.5

		1355736.8828		383420.0748		10		1609		1990.711		1989.61		1990.21		1.11		0						1.82		1.82		18.14		0		0.00		0.00		0.75		7.49		16		2199.60				7.5		16.5

		1355745.692		383415.3432		10		1619		1990.6432		1989.60		1990.20		1.05		0						1.73		1.78		17.77		0		0.00		0.00		0.75		7.50		16		2217.36				7.5		16.5

		1355754.5013		383410.6116		10		1629		1990.5592		1989.59		1990.19		0.97		0						1.61		1.67		16.68		0		0.00		0.00		0.75		7.50		16		2234.04				7.5		16.5

		1355763.3105		383405.8801		10		1639		1990.4597		1989.58		1990.18		0.88		0						1.46		1.53		15.33		0		0.00		0.00		0.75		7.50		16		2249.38				7.5		16.5

		1355772.3094		383401.8464		10		1649		1990.5083		1989.57		1990.17		0.94		0						1.56		1.51		14.87		0		0.00		0.00		0.75		7.40		16		2264.24				7.5		16.5

		1355782.3069		383402.0511		10		1659		1990.4943		1989.56		1990.16		0.94		0						1.55		1.55		15.52		0		0.00		0.00		0.75		7.50		16		2279.77				7.5		16.5

		1355792.3043		383402.2558		10		1669		1990.4485		1989.55		1990.15		0.90		0						1.49		1.52		15.20		0		0.00		0.00		0.75		7.50		16		2294.96				7.5		16.5

		1355802.3017		383402.4605		10		1679		1990.3994		1989.54		1990.14		0.86		0						1.43		1.46		14.58		0		0.00		0.00		0.75		7.50		16		2309.54				7.5		16.5

		1355812.2992		383402.6652		10		1689		1990.3502		1989.53		1990.13		0.82		0						1.36		1.39		13.93		0		0.00		0.00		0.75		7.50		16		2323.47				7.5		16.5

		1355822.2966		383402.8699		10		1699		1990.3011		1989.52		1990.12		0.79		0		700				1.30		1.33		13.29		0		0.00		0.00		0.75		7.50		16		2336.76				7.5		16.5

		1355832.294		383403.0746		10		1709		1990.2519		1989.51		1990.11		0.75		0						1.23		1.26		12.64		0		0.00		0.00		0.75		7.50		16		2349.40				660		1452

		1355842.2915		383403.2793		10		1719		1990.2027		1989.50		1990.10		0.71		0						1.17		1.20		11.99		0		0.00		0.00		0.75		7.50		16		2361.39

		1355852.2889		383403.484		10		1729		1990.1476		1989.49		1990.09		0.66		0		G2				1.09		1.13		11.30		0		0.00		0.00		0.75		7.50		16		2372.69

		1355862.2863		383403.6887		10		1739		1990.1423		1989.48		1990.08		0.67		0						1.10		1.10		10.96		0		0.00		0.00		0.75		7.50		16		2383.66

		1355872.2838		383403.8934		10		1749		1990.2524		1989.47		1990.07		0.79		0						1.30		1.20		11.99		0		0.00		0.00		0.75		7.50		16		2395.65

		1355882.1299		383402.9513		10		1759		1990.3624		1989.46		1990.06		0.91		0						1.50		1.40		13.82		0		0.00		0.00		0.75		7.42		16		2409.47

		1355891.7091		383400.0825		10		1769		1990.1933		1989.45		1990.05		0.75		0						1.23		1.37		13.65		0		0.00		0.00		0.75		7.50		16		2423.12

		1355901.2883		383397.2138		10		1779		1990.2326		1989.44		1990.04		0.80		0						1.32		1.27		12.74		0		0.00		0.00		0.75		7.50		16		2435.87

		1355910.8675		383394.3451		10		1789		1990.4157		1989.43		1990.03		0.99		0		1000				1.63		1.47		14.74		0		0.00		0.00		0.75		7.50		16		2450.61

		1355920.4467		383391.4764		10		1799		1990.3968		1989.42		1990.02		0.98		0						1.62		1.63		16.26		0		0.00		0.00		0.75		7.50		16		2466.88

		1355930.0259		383388.6077		10		1809		1990.3039		1989.41		1990.01		0.90		0						1.48		1.55		15.51		0		0.00		0.00		0.75		7.50		16		2482.38

		1355939.7728		383386.6231		10		1818		1990.1923		1989.40		1990.00		0.80		0						1.31		1.40		13.91		0		0.00		0.00		0.75		7.46		16		2496.29

		1355949.7397		383385.8163		10		1828		1990.0774		1989.39		1989.99		0.69		0.0						1.14		1.23		12.28		0		0.00		0.00		0.75		7.50		16		2508.57

		1355959.7067		383385.0095		10		1838		1989.6555		1989.38		1989.98		0.28		0.3						0.46		0.80		8.02		0		0.07		0.65		0.75		7.50		16		2516.59

		1355969.6736		383384.2026		10		1848		1989.4584		1989.37		1989.97		0.09		0.5		GL3				0.15		0.31		3.08		1		0.34		3.39		0.75		7.50		16		2519.67

		1355979.6405		383383.3958		10		1858		1989.56		1989.36		1989.96		0.20		0.4						0.34		0.25		2.45		0		0.42		4.19		0.75		7.50		16		2522.12

		1355988.0918		383379.0401		10		1868		1989.7525		1989.35		1989.95		0.41		0						0.67		0.50		4.79		0		0.33		3.13		0.75		7.13		16		2526.91

		1355995.4038		383372.2192		10		1878		1989.7074		1989.34		1989.94		0.37		0						0.61		0.64		6.42		0		0.40		4.01		0.75		7.50		16		2533.33

		1356002.7158		383365.3983		10		1888		1989.7147		1989.33		1989.93		0.39		0						0.64		0.63		6.27		0		0.42		4.18		0.75		7.50		16		2539.60

		1356010.0279		383358.5774		10		1898		1989.7772		1989.32		1989.92		0.46		0						0.76		0.70		7.01		0		0.33		3.33		0.75		7.50		16		2546.61

		1356017.3399		383351.7565		10		1908		1989.8398		1989.31		1989.91		0.53		0						0.88		0.82		8.21		0		0.19		1.95		0.75		7.50		16		2554.82

		1356024.6519		383344.9356		10		1918		1989.9024		1989.30		1989.90		0.61		0		500				1.00		0.94		9.41		0		0.06		0.63		0.75		7.50		16		2564.22

		1356031.964		383338.1147		10		1928		1989.965		1989.28		1989.88		0.69		0						1.14		1.07		10.69		0		0.00		0.00		0.75		7.50		16		2574.91

		1356039.2763		383331.2941		10		1938		1989.8395		1989.26		1989.86		0.58		0						0.96		1.05		10.50		0		0.02		0.16		0.75		7.50		16		2585.40

		1356048.8231		383328.4133		10		1948		1989.7897		1989.24		1989.84		0.55		0						0.91		0.94		9.35		0		0.06		0.60		0.75		7.48		16		2594.76

		1356058.4501		383325.7095		10		1958		1989.8192		1989.22		1989.82		0.60		0						1.00		0.95		9.54		0		0.04		0.44		0.75		7.50		16		2604.30

		1356068.0772		383323.0057		10		1968		1989.848		1989.20		1989.80		0.65		0						1.08		1.04		10.35		0		0.00		0.00		0.75		7.50		16		2614.65

		1356077.7042		383320.3019		10		1978		1989.8767		1989.18		1989.78		0.70		0						1.16		1.12		11.16		0		0.00		0.00		0.75		7.50		16		2625.81

		1356087.3313		383317.5981		10		1988		1989.9055		1989.16		1989.76		0.75		0						1.24		1.20		11.96		0		0.00		0.00		0.75		7.50		16		2637.77

		1356096.9583		383314.8943		10		1998		1989.9342		1989.14		1989.74		0.80		0						1.32		1.28		12.77		0		0.00		0.00		0.75		7.50		16		2650.54

		1356106.5853		383312.1905		10		2008		1989.963		1989.12		1989.72		0.85		0						1.40		1.36		13.57		0		0.00		0.00		0.75		7.50		16		2664.11

		1356116.2124		383309.4867		10		2018		1989.9392		1989.10		1989.70		0.84		0						1.39		1.39		13.94		0		0.00		0.00		0.75		7.50		16		2678.05

		1356125.8394		383306.7829		10		2028		1989.841		1989.08		1989.68		0.76		0						1.26		1.33		13.27		0		0.00		0.00		0.75		7.50		16		2691.32

		1356135.4665		383304.0791		10		2038		1989.7602		1989.06		1989.66		0.70		0						1.16		1.21		12.12		0		0.00		0.00		0.75		7.50		16		2703.43

		1356145.0935		383301.3753		10		2048		1989.6988		1989.04		1989.64		0.66		0						1.09		1.13		11.28		0		0.00		0.00		0.75		7.50		16		2714.71

		1356155.0223		383300.4249		10		2058		1989.671		1989.02		1989.62		0.65		0						1.08		1.09		10.84		0		0.00		0.00		0.75		7.48		16		2725.55

		1356165.0005		383299.771		10		2068		1989.6834		1989.00		1989.60		0.69		0						1.13		1.11		11.07		0		0.00		0.00		0.75		7.50		16		2736.62

		1356174.9786		383299.117		10		2078		1989.6957		1988.98		1989.58		0.72		0						1.19		1.16		11.61		0		0.00		0.00		0.75		7.50		16		2748.23

		1356184.9567		383298.463		10		2088		1989.708		1988.96		1989.56		0.75		0						1.24		1.21		12.14		0		0.00		0.00		0.75		7.50		16		2760.37

		1356194.9348		383297.8091		10		2098		1989.7204		1988.94		1989.54		0.78		0						1.29		1.27		12.67		0		0.00		0.00		0.75		7.50		16		2773.04

		1356204.9129		383297.1551		10		2108		1989.7327		1988.92		1989.52		0.82		0						1.35		1.32		13.21		0		0.00		0.00		0.75		7.50		16		2786.24

		1356214.8911		383296.5011		10		2118		1989.745		1988.90		1989.50		0.85		0						1.40		1.37		13.74		0		0.00		0.00		0.75		7.50		16		2799.98

		1356224.8692		383295.8472		10		2128		1989.7574		1988.88		1989.48		0.88		0						1.45		1.43		14.27		0		0.00		0.00		0.75		7.50		16		2814.25

		1356234.8473		383295.1932		10		2138		1989.7697		1988.86		1989.46		0.91		0						1.51		1.48		14.81		0		0.00		0.00		0.75		7.50		16		2829.06

		1356244.8254		383294.5392		10		2148		1989.782		1988.84		1989.44		0.95		0						1.56		1.53		15.34		0		0.00		0.00		0.75		7.50		16		2844.40

		1356254.8035		383293.8853		10		2158		1989.7944		1988.82		1989.42		0.98		0.0						1.61		1.59		15.87		0		0.00		0.00		0.75		7.50		16		2860.27

		1356264.7817		383293.2313		10		2168		1989.803		1988.80		1989.40		1.01		0.0						1.66		1.64		16.38		0		0.00		0.00		0.75		7.50		16		2876.65

		1356274.7598		383292.5773		10		2178		1989.81		1988.78		1989.38		1.03		0.0						1.71		1.68		16.83		0		0.00		0.00		0.75		7.50		16		2893.48

		1356284.7379		383291.9234		10		2188		1989.817		1988.76		1989.36		1.06		0.0						1.75		1.73		17.28		0		0.00		0.00		0.75		7.50		16		2910.76

		1356294.1251		383293.6584		10		2197		1989.826		1988.74		1989.34		1.09		0.0						1.80		1.77		16.93		0		0.00		0.00		0.75		7.16		16		2927.69

		1356302.4611		383299.1812		10		2207		1989.8575		1988.72		1989.32		1.14		0.0						1.88		1.84		18.39		0		0.00		0.00		0.75		7.50		16		2946.08

		1356310.7971		383304.704		10		2217		1989.7827		1988.70		1989.30		1.09		0.0						1.79		1.84		18.36		0		0.00		0.00		0.75		7.50		16		2964.45

		1356319.1331		383310.2269		10		2227		1989.7078		1988.68		1989.28		1.03		0.0		700				1.70		1.75		17.46		0		0.00		0.00		0.75		7.50		16		2981.91

		1356327.7982		383314.6948		10		2237		1989.4578		1988.66		1989.26		0.80		0						1.32		1.51		14.73		0		0.00		0.00		0.75		7.31		16		2996.63

		1356337.7833		383314.1592		10		2247		1989.531		1988.64		1989.24		0.89		0						1.47		1.40		13.97		0		0.00		0.00		0.75		7.50		16		3010.60

		1356347.7685		383313.6237		10		2257		1989.3978		1988.62		1989.22		0.78		0						1.29		1.38		13.81		0		0.00		0.00		0.75		7.50		16		3024.41

		1356357.7537		383313.0881		10		2267		1989.2645		1988.60		1989.20		0.67		0						1.10		1.19		11.94		0		0.00		0.00		0.75		7.50		16		3036.35

		1356367.7389		383312.5525		10		2277		1989.1313		1988.59		1989.19		0.54		0						0.90		1.00		9.99		0		0.05		0.53		0.75		7.50		16		3046.33

		1356377.7174		383311.9667		10		2287		1989.0742		1988.58		1989.18		0.50		0						0.82		0.86		8.58		0		0.15		1.52		0.75		7.50		16		3054.91

		1356387.0498		383308.3757		10		2297		1989.2514		1988.57		1989.17		0.68		0						1.13		0.97		9.74		0		0.10		0.98		0.75		7.50		16		3064.65

		1356396.38		383304.7789		10		2307		1989.392		1988.56		1989.16		0.83		0						1.38		1.25		12.52		0		0.00		0.00		0.75		7.50		16		3077.18

		1356405.7102		383301.182		10		2317		1989.5326		1988.55		1989.15		0.98		0.0						1.63		1.50		15.01		0		0.00		0.00		0.75		7.50		16		3092.18

		1356415.0404		383297.5852		10		2327		1989.6732		1988.54		1989.14		1.14		0.0						1.87		1.75		17.49		0		0.00		0.00		0.75		7.50		16		3109.68

		1356424.3707		383293.9883		10		2337		1989.7752		1988.53		1989.13		1.25		0.0						2.06		1.97		19.66		0		0.00		0.00		0.75		7.50		16		3129.34

		1356433.7009		383290.3915		10		2347		1989.6932		1988.52		1989.12		1.18		0.0						1.94		2.00		19.99		0		0.00		0.00		0.75		7.50		16		3149.33

		1356443.0311		383286.7946		10		2357		1989.6112		1988.51		1989.11		1.10		0.0						1.82		1.88		18.80		0		0.00		0.00		0.75		7.50		16		3168.13

		1356452.5349		383285.3114		10		2367		1989.5295		1988.50		1989.10		1.03		0.0		1000.00				1.70		1.76		16.94		0		0.00		0.00		0.75		7.21		16		3185.08

		1356462.2561		383287.6542		10		2377		1989.5159		1988.49		1989.09		1.03		0.0						1.70		1.70		16.99		0		0.00		0.00		0.75		7.50		16		3202.06

		1356471.9773		383289.997		10		2387		1989.4265		1988.48		1989.08		0.95		0.0						1.57		1.63		16.30		0		0.00		0.00		0.75		7.50		16		3218.37

		1356481.6985		383292.3398		10		2397		1989.3372		1988.47		1989.07		0.87		0		250				1.43		1.50		15.00		0		0.00		0.00		0.75		7.50		16		3233.37

		1356491.4197		383294.6826		10		2407		1989.2478		1988.46		1989.06		0.79		0						1.30		1.37		13.69		0		0.00		0.00		0.75		7.50		16		3247.05

		1356501.1409		383297.0254		10		2417		1989.1585		1988.45		1989.05		0.71		0						1.17		1.24		12.38		0		0.00		0.00		0.75		7.50		16		3259.43

		1356510.8621		383299.3682		10		2427		1989.0863		1988.44		1989.04		0.65		0						1.07		1.12		11.21		0		0.00		0.00		0.75		7.50		16		3270.64

		1356520.5833		383301.711		10		2437		1989.0194		1988.43		1989.03		0.59		0						0.98		1.02		10.23		0		0.01		0.08		0.75		7.50		16		3280.87

		1356530.3045		383304.0538		10		2447		1988.9596		1988.42		1989.02		0.54		0						0.89		0.93		9.35		0		0.06		0.64		0.75		7.50		16		3290.21

		1356540.0257		383306.3966		10		2457		1988.9853		1988.41		1989.01		0.58		0						0.95		0.92		9.23		0		0.08		0.77		0.75		7.50		16		3299.44

		1356549.7469		383308.7394		10		2467		1988.991		1988.40		1989.00		0.59		0						0.98		0.97		9.65		0		0.03		0.28		0.75		7.50		16		3309.10

		1356559.4682		383311.0822		10		2477		1988.9966		1988.39		1988.99		0.61		0						1.00		0.99		9.91		0		0.01		0.07		0.75		7.50		16		3319.01

		1356569.1894		383313.425		10		2487		1989.0022		1988.38		1988.98		0.62		0		800				1.03		1.02		10.17		0		0.00		0.00		0.75		7.50		16		3329.18

		1356579.0903		383314.7069		10		2497		1989.0168		1988.37		1988.97		0.65		0						1.07		1.05		10.48		0		0.00		0.00		0.75		7.49		16		3339.67

		1356589.0415		383315.689		10		2507		1989.04		1988.36		1988.96		0.68		0						1.13		1.10		10.98		0		0.00		0.00		0.75		7.50		16		3350.64

		1356598.9927		383316.6711		10		2517		1989.0631		1988.35		1988.95		0.72		0						1.18		1.15		11.53		0		0.00		0.00		0.75		7.50		16		3362.17

		1356608.9438		383317.6532		10		2527		1989.0951		1988.34		1988.94		0.76		0		800				1.25		1.21		12.14		0		0.00		0.00		0.75		7.50		16		3374.31

		1356618.895		383318.6353		10		2537		1989.1272		1988.33		1988.93		0.80		0						1.32		1.28		12.84		0		0.00		0.00		0.75		7.50		16		3387.15

		1356628.8462		383319.6175		10		2547		1989.1592		1988.32		1988.92		0.84		0		1000				1.39		1.35		13.53		0		0.00		0.00		0.75		7.50		16		3400.69

		1356638.7974		383320.5996		10		2557		1989.1913		1988.31		1988.91		0.88		0						1.46		1.42		14.23		0		0.00		0.00		0.75		7.50		16		3414.91

		1356648.7486		383321.5817		10		2567		1989.2233		1988.30		1988.90		0.93		0						1.53		1.49		14.92		0		0.00		0.00		0.75		7.50		16		3429.83

		1356658.6998		383322.5638		10		2577		1989.2419		1988.29		1988.89		0.95		0						1.57		1.55		15.50		0		0.00		0.00		0.75		7.50		16		3445.33

		1356668.6509		383323.5459		10		2587		1989.2045		1988.28		1988.88		0.93		0						1.53		1.55		15.51		0		0.00		0.00		0.75		7.50		16		3460.85

																								348.47		346.464445509		3460.85		23.3917978217		23.3917978217		232.0372483714		195		1936.7462493761		4260.8417486274		486088.58606586

																		0.35

																		0.34

																		0.69

				1355679.4356		383436.4672		10		1550		1989.3682		1990.063015873		1990.663015873		0		1.294815873

				1355689.1537		383434.1118		10		1560		1989.1117		1990.053015873		1990.653015873		0		1.541315873		G1

				1355698.8719		383431.7565		10		1570		1989.2198		1990.043015873		1990.643015873		0		1.423215873

				1355708.5901		383429.4011		10		1580		1989.9583		1990.033015873		1990.633015873		0		0.674715873

				1355718.3082		383427.0457		10		1590		1990.6283		1990.023015873		1990.623015873		0.605284127		0

				1356678.6021		383324.5281		10		2600		1989.1671		1988.2513492063		1988.8513492064		0.9157507936

				1354384.8177		383508.609		0		0		1992.8491				383508.609,1354384.8177

				1354391.0324		383507.0569		6.4055843214		6.4055843214		1992.9272				383507.0569,1354391.0324

				1354396.6457		383503.6233		6.5801782538		12.9857625752		1993.3158				383503.6233,1354396.6457

				1354402.259		383500.1896		6.5802304352		19.5659930104		1994.5522				383500.1896,1354402.259

				1354407.8724		383496.756		6.58026356		26.1462565704		1993.96				383496.756,1354407.8724

				1354424.7124		383486.455		19.7407244295		45.8869809999		1994.9173				383486.455,1354424.7124

				1354430.3238		383483.0213		6.5786097048		52.4655907047		1995.1146				383483.0213,1354430.3238

				1354435.9391		383479.5877		6.5818844606		59.0474751653		1995.0793				383479.5877,1354435.9391

				1354441.5525		383476.154		6.5803157408		65.6277909061		1995.0439				383476.154,1354441.5525

				1354435.9391		383479.5877		6.5803157408		72.2081066469		1994.9721				383479.5877,1354435.9391

				1354441.5525		383476.154		6.5803157408		78.7884223878		1994.7565				383476.154,1354441.5525

				1354475.5446		383475.4453		33.9994870269		112.7879094147		1994.4552				383475.4453,1354475.5446

				1354485.5419		383475.2359		9.9994927698		122.7874021845		1994.2361				383475.2359,1354485.5419

				1354495.5393		383475.0263		9.9995969379		132.7869991224		1994.2796				383475.0263,1354495.5393

				1354505.5366		383474.8168		9.9994948642		142.7864939865		1994.3544				383474.8168,1354505.5366

				1354515.5339		383474.6073		9.9994948642		152.7859888507		1994.3331				383474.6073,1354515.5339

				1354525.5313		383474.3978		9.9995948423		162.785583693		1993.9037				383474.3978,1354525.5313

				1354535.5286		383474.1883		9.9994948644		172.7850785574		1993.5963				383474.1883,1354535.5286

				1354545.5259		383473.9788		9.9994948642		182.7845734216		1993.5135				383473.9788,1354545.5259

				1354555.5233		383473.7693		9.9995948423		192.7841682639		1993.6323				383473.7693,1354555.5233

				1354565.5206		383473.5597		9.9994969598		202.7836652236		1993.8089				383473.5597,1354565.5206

				1354575.5179		383473.3502		9.9994948644		212.783160088		1993.5487				383473.3502,1354575.5179

				1354585.5153		383473.1407		9.9995948423		222.7827549303		1993.2689				383473.1407,1354585.5153

				1354595.5126		383472.9312		9.9994948642		232.7822497945		1992.9999				383472.9312,1354595.5126

				1354605.5099		383472.7217		9.9994948642		242.7817446587		1992.9212				383472.7217,1354605.5099

				1354615.5073		383472.5122		9.9995948423		252.781339501		1992.8552				383472.5122,1354615.5073

				1354625.5046		383472.3026		9.99949696		262.780836461		1992.7892				383472.3026,1354625.5046

				1354635.4992		383472.1426		9.9958806094		272.7767170704		1992.7232				383472.1426,1354635.4992

				1354645.1757		383474.6636		9.9995046503		282.7762217207		1992.5726				383474.6636,1354645.1757

				1354654.8517		383477.1866		9.9995252387		292.7757469594		1992.4119				383477.1866,1354654.8517

				1354664.5277		383479.7096		9.9995252387		302.7752721981		1992.4268				383479.7096,1354664.5277

				1354674.2037		383482.2326		9.9995252387		312.7747974368		1992.4418				383482.2326,1354674.2037

				1354683.6727		383482.4472		9.4714314737		322.2462289105		1992.4567				383482.4472,1354683.6727

				1354692.5009		383477.7512		9.9994765484		332.2457054588		1992.4616				383477.7512,1354692.5009

				1354701.3292		383473.0553		9.9995178733		342.2452233322		1992.4663				383473.0553,1354701.3292

				1354710.3659		383468.7865		9.994228351		352.2394516831		1992.5276				383468.7865,1354710.3659

				1354719.5025		383464.723		9.9994745766		362.2389262597		1992.7359				383464.723,1354719.5025

				1354728.6392		383460.6595		9.9995659477		372.2384922074		1992.7221				383460.6595,1354728.6392

				1354737.7758		383456.596		9.9994745766		382.2379667839		1992.5554				383456.596,1354737.7758

				1354746.9125		383452.5325		9.9995659477		392.2375327317		1992.3388				383452.5325,1354746.9125

				1354756.0492		383448.469		9.9995659475		402.2370986792		1992.2003				383448.469,1354756.0492

				1354765.1858		383444.4055		9.9994745768		412.236573256		1992.0617				383444.4055,1354765.1858

				1354775.0976		383443.2093		9.9837204327		422.2202936886		1991.8908				383443.2093,1354775.0976

				1354785.0406		383442.148		9.999480321		432.2197740096		1991.9108				383442.148,1354785.0406

				1354794.9836		383441.0866		9.999490935		442.2192649446		1991.9308				383441.0866,1354794.9836

				1354804.9267		383440.0253		9.9995797562		452.2188447008		1991.9508				383440.0253,1354804.9267

				1354813.6502		383442.8131		9.1581265056		461.3769712064		1991.8369				383442.8131,1354813.6502

				1354820.8187		383449.7848		9.9995996489		471.3765708553		1991.8454				383449.7848,1354820.8187

				1354827.9871		383456.7565		9.9995279614		481.3760988167		1991.8557				383456.7565,1354827.9871

				1354835.1555		383463.7282		9.9995279614		491.3756267781		1991.8662				383463.7282,1354835.1555

				1354842.3239		383470.6999		9.9995279612		501.3751547394		1991.8768				383470.6999,1354842.3239

				1354849.4923		383477.6716		9.9995279614		511.3746827008		1991.8873				383477.6716,1354849.4923

				1354856.6607		383484.6433		9.9995279612		521.374210662		1991.8979				383484.6433,1354856.6607

				1354863.8291		383491.615		9.9995279614		531.3737386234		1991.8179				383491.615,1354863.8291

				1354870.9975		383498.5867		9.9995279614		541.3732665848		1991.7337				383498.5867,1354870.9975

				1354878.3064		383505.3529		9.9599940586		551.3332606435		1991.6541				383505.3529,1354878.3064

				1354888.2688		383506.1948		9.9979102502		561.3311708937		1991.6588				383506.1948,1354888.2688

				1354898.2351		383507.0086		9.9994702924		571.3306411861		1991.6201				383507.0086,1354898.2351

				1354908.2015		383507.8225		9.9995780996		581.3302192858		1991.5829				383507.8225,1354908.2015

				1354918.1679		383508.6363		9.9995699608		591.3297892465		1991.5503				383508.6363,1354918.1679

				1354928.1342		383509.4501		9.9994702924		601.329259539		1991.4417				383509.4501,1354928.1342

				1354938.1006		383510.264		9.9995780996		611.3288376386		1991.3332				383510.264,1354938.1006

				1354948.0669		383511.0778		9.9994702924		621.3283079311		1991.2247				383511.0778,1354948.0669

				1354958.0333		383511.8917		9.9995780996		631.3278860307		1991.1162				383511.8917,1354958.0333

				1354967.3498		383508.7833		9.8213707195		641.1492567502		1991.2835				383508.7833,1354967.3498

				1354976.4815		383504.7087		9.9995154908		651.1487722409		1991.4339				383504.7087,1354976.4815

				1354985.6132		383500.634		9.9995562392		661.1483284801		1991.5843				383500.634,1354985.6132

				1354994.7449		383496.5594		9.9995154908		671.1478439709		1991.7347				383496.5594,1354994.7449

				1355003.8766		383492.4848		9.9995154908		681.1473594617		1991.7545				383492.4848,1355003.8766

				1355013.0083		383488.4101		9.9995562392		691.1469157009		1991.7272				383488.4101,1355013.0083

				1355022.14		383484.3355		9.9995154906		701.1464311915		1991.6999				383484.3355,1355022.14

				1355031.2717		383480.2608		9.9995562392		711.1459874306		1991.6726				383480.2608,1355031.2717

				1355040.4034		383476.1862		9.9995154908		721.1455029214		1991.623				383476.1862,1355040.4034

				1355049.5351		383472.1116		9.9995154908		731.1450184122		1991.5685				383472.1116,1355049.5351

				1355059.1547		383469.5832		9.9463315208		741.091349933		1991.539				383469.5832,1355059.1547

				1355068.9758		383467.7024		9.9995706831		751.0909206161		1991.5663				383467.7024,1355068.9758

				1355078.7968		383465.8216		9.9994724681		761.0903930842		1991.5936				383465.8216,1355078.7968

				1355088.6179		383463.9408		9.9995706834		771.0899637676		1991.6881				383463.9408,1355088.6179

				1355098.4389		383462.06		9.9994724681		781.0894362356		1991.7911				383462.06,1355098.4389

				1355108.1704		383463.8082		9.8872794787		790.9767157143		1991.7353				383463.8082,1355108.1704

				1355117.8697		383466.24		9.9995035741		800.9762192885		1991.6709				383466.24,1355117.8697

				1355127.5691		383468.6717		9.9995762536		810.975795542		1991.6066				383468.6717,1355127.5691

				1355137.2684		383471.1035		9.9995035742		820.9752991162		1991.7132				383471.1035,1355137.2684

				1355146.9678		383473.5352		9.9995762536		830.9748753698		1991.8269				383473.5352,1355146.9678

				1355156.1651		383477.4415		9.992472516		840.9673478857		1991.6405				383477.4415,1355156.1651

				1355165.3297		383481.4416		9.9995346475		850.9668825332		1991.5123				383481.4416,1355165.3297

				1355174.4943		383485.4417		9.9995346477		860.9664171809		1991.3841				383485.4417,1355174.4943

				1355183.6589		383489.4418		9.9995346477		870.9659518286		1991.2559				383489.4418,1355183.6589

				1355193.148		383491.8932		9.8006316517		880		1991.312				383491.8932,1355193.148

				1355203.1436		383491.72		9.9971004597		889.9971004597		1991.6482				383491.72,1355203.1436

				1355210.2181		383484.7391		9.9388890253		899.935989485		1991.1737				383484.7391,1355210.2181

				1355217.1007		383477.4852		9.9994623841		909.9354518691		1991.35				383477.4852,1355217.1007

				1355223.9833		383470.2312		9.9995349271		919.9349867962		1991.5264				383470.2312,1355223.9833

				1355230.866		383462.9773		9.9995312139		929.9345180102		1991.4478				383462.9773,1355230.866

				1355237.7486		383455.7233		9.9995349273		939.9340529375		1991.326				383455.7233,1355237.7486

				1355239.8766		383446.5999		9.3682875469		949.3023404844		1991.0703				383446.5999,1355239.8766

				1355239.4683		383436.6087		9.9995393059		959.3018797902		1991.0533				383436.6087,1355239.4683

				1355239.06		383426.6176		9.9994393893		969.3013191795		1991.0517				383426.6176,1355239.06

				1355237.7054		383416.742		9.9680698492		979.2693890287		1990.8351				383416.742,1355237.7054

				1355235.6811		383406.9496		9.9994443971		989.2688334259		1990.996				383406.9496,1355235.6811

				1355237.8146		383397.2932		9.8892812282		999.158114654		1991.2024				383397.2932,1355237.8146

				1355241.0234		383387.8224		9.9996224969		1009.157737151		1991.4722				383387.8224,1355241.0234

				1355244.2321		383378.3517		9.9994956962		1019.1572328472		1991.5052				383378.3517,1355244.2321

				1355247.4409		383368.881		9.9995277854		1029.1567606326		1991.2227				383368.881,1355247.4409

				1355250.6496		383359.4103		9.9994956962		1039.1562563288		1990.9382				383359.4103,1355250.6496

				1355250.1621		383351.9621		7.4641368885		1046.6203932173		1990.663				383351.9621,1355250.1621

				1355248.2172		383342.1535		9.999563489		1056.6199567062		1990.986				383342.1535,1355248.2172

				1355249.9384		383332.5929		9.7142988322		1066.3342555384		1991.4852				383332.5929,1355249.9384

				1355258.1863		383327.4698		9.7094803165		1080		1991.1659				383327.4698,1355258.1863

				1355268.0845		383326.0496		9.9995665548		1089.9995665548		1991.1251				383326.0496,1355268.0845

				1355277.9827		383324.6294		9.9995665546		1099.9991331093		1991.1145				383324.6294,1355277.9827

				1355287.8808		383323.2092		9.9994675682		1109.9986006775		1991.1039				383323.2092,1355287.8808

				1355297.779		383321.789		9.9995665548		1119.9981672323		1991.0934				383321.789,1355297.779

				1355307.7241		383321.4233		9.9518214663		1129.9499886986		1991.101				383321.4233,1355307.7241

				1355317.7081		383321.9807		9.9995475277		1139.9495362263		1990.9466				383321.9807,1355317.7081

				1355327.6921		383322.5381		9.9995475279		1149.9490837543		1990.8201				383322.5381,1355327.6921

				1355337.6761		383323.0955		9.9995475277		1159.948631282		1990.694				383323.0955,1355337.6761

				1355347.6601		383323.6529		9.9995475277		1169.9481788097		1990.5679				383323.6529,1355347.6601

				1355357.644		383324.2103		9.9994476834		1179.947626493		1990.4417				383324.2103,1355357.644

				1355367.628		383324.7677		9.9995475277		1189.9471740207		1990.4271				383324.7677,1355367.628

				1355377.612		383325.3251		9.9995475277		1199.9467215484		1990.4143				383325.3251,1355377.612

				1355387.596		383325.8825		9.9995475277		1209.9462690761		1990.5167				383325.8825,1355387.596

				1355397.58		383326.4399		9.9995475279		1219.9458166041		1990.6579				383326.4399,1355397.58

				1355407.5639		383326.9973		9.9994476831		1229.9452642872		1990.709				383326.9973,1355407.5639

				1355417.5479		383327.5547		9.9995475277		1239.9448118149		1990.7477				383327.5547,1355417.5479

				1355427.5319		383328.1121		9.9995475279		1249.9443593428		1990.7865				383328.1121,1355427.5319

				1355437.1306		383330.0425		9.7908878989		1259.7352472418		1990.739				383330.0425,1355437.1306

				1355445.8466		383334.9436		9.9994718466		1269.7347190883		1990.7683				383334.9436,1355445.8466

				1355454.5627		383339.8447		9.9995590111		1279.7342780995		1990.7838				383339.8447,1355454.5627

				1355463.2787		383344.7458		9.9994718465		1289.733749946		1990.7992				383344.7458,1355463.2787

				1355471.9948		383349.6469		9.9995590114		1299.7333089574		1990.8147				383349.6469,1355471.9948

				1355480.7109		383354.548		9.9995590114		1309.7328679687		1990.8301				383354.548,1355480.7109

				1355489.4269		383359.4491		9.9994718466		1319.7323398153		1990.8188				383359.4491,1355489.4269

				1355498.143		383364.3502		9.9995590111		1329.7318988264		1990.6642				383364.3502,1355498.143

				1355506.859		383369.2513		9.9994718466		1339.731370673		1990.5097				383369.2513,1355506.859

				1355515.5751		383374.1524		9.9995590114		1349.7309296844		1990.5014				383374.1524,1355515.5751

				1355524.2912		383379.0536		9.9996080249		1359.7305377092		1990.5466				383379.0536,1355524.2912

				1355533.0072		383383.9547		9.9994718466		1369.7300095558		1990.5919				383383.9547,1355533.0072

				1355541.7233		383388.8558		9.9995590111		1379.729568567		1990.6371				383388.8558,1355541.7233

				1355551.3864		383389.2208		9.6699910346		1390		1990.6969				383389.2208,1355551.3864

				1355561.3173		383388.0508		9.9995837319		1399.9995837319		1990.6934				383388.0508,1355561.3173

				1355571.2481		383386.8808		9.9994844187		1409.9990681506		1990.69				383386.8808,1355571.2481

				1355581.179		383385.7107		9.9995954329		1419.9986635834		1990.7546				383385.7107,1355581.179

				1355591.1098		383384.5407		9.9994844187		1429.9981480021		1990.8491				383384.5407,1355591.1098

				1355601.0406		383383.3707		9.9994844187		1439.9976324208		1990.9436				383383.3707,1355601.0406

				1355610.9715		383382.2006		9.9995954329		1449.9972278536		1990.9138				383382.2006,1355610.9715

				1355620.9023		383381.0306		9.9994844187		1459.9967122723		1990.7433				383381.0306,1355620.9023

				1355630.0729		383382.8447		9.3483080379		1470		1990.5805				383382.8447,1355630.0729

				1355637.948		383389.0071		9.9996186813		1479.9996186813		1990.7792				383389.0071,1355637.948

				1355645.823		383395.1694		9.9994783009		1489.9990969822		1990.9068				383395.1694,1355645.823

				1355653.698		383401.3318		9.9995399274		1499.9986369096		1990.8694				383401.3318,1355653.698

				1355661.573		383407.4941		9.9994783009		1509.9981152105		1990.4188				383407.4941,1355661.573

				1355669.4481		383413.6565		9.9996186811		1519.9977338916		1990.3725				383413.6565,1355669.4481

				1355670.3203		383423.1701		9.5534976736		1529.5512315652		1990.7545				383423.1701,1355670.3203

				1355670.6548		383432.9299		9.7655305176		1540		1990.6363				383432.9299,1355670.6548

				1355679.4356		383436.4672		9.4665167792		1549.4665167792		1989.3682				383436.4672,1355679.4356

				1355689.1537		383434.1118		9.9994688243		1559.4659856036		1989.1117				383434.1118,1355689.1537

				1355698.8719		383431.7565		9.999542456		1569.4655280596		1989.2198				383431.7565,1355698.8719

				1355708.5901		383429.4011		9.9995660106		1579.4650940702		1989.9583				383429.4011,1355708.5901

				1355718.3082		383427.0457		9.9994688246		1589.4645628947		1990.6283				383427.0457,1355718.3082

				1355728.0264		383424.6904		9.999542456		1599.4641053508		1990.7111				383424.6904,1355728.0264

				1355736.8828		383420.0748		9.9869707279		1609.4510760786		1990.711				383420.0748,1355736.8828

				1355745.692		383415.3432		9.9995021476		1619.4505782262		1990.6432				383415.3432,1355745.692

				1355754.5013		383410.6116		9.999590244		1629.4501684702		1990.5592				383410.6116,1355754.5013

				1355763.3105		383405.8801		9.9994548297		1639.4496232999		1990.4597				383405.8801,1355763.3105

				1355772.3094		383401.8464		9.8615889643		1649.3112122642		1990.5083				383401.8464,1355772.3094

				1355782.3069		383402.0511		9.9995954089		1659.310807673		1990.4943				383402.0511,1355782.3069

				1355792.3043		383402.2558		9.9994954298		1669.3103031028		1990.4485				383402.2558,1355792.3043

				1355802.3017		383402.4605		9.9994954298		1679.3097985326		1990.3994				383402.4605,1355802.3017

				1355812.2992		383402.6652		9.9995954089		1689.3093939414		1990.3502				383402.6652,1355812.2992

				1355822.2966		383402.8699		9.9994954298		1699.3088893712		1990.3011				383402.8699,1355822.2966

				1355832.294		383403.0746		9.9994954298		1709.3083848009		1990.2519				383403.0746,1355832.294

				1355842.2915		383403.2793		9.9995954089		1719.3079802098		1990.2027				383403.2793,1355842.2915

				1355852.2889		383403.484		9.9994954298		1729.3074756396		1990.1476				383403.484,1355852.2889

				1355862.2863		383403.6887		9.9994954298		1739.3069710693		1990.1423				383403.6887,1355862.2863

				1355872.2838		383403.8934		9.9995954089		1749.3065664782		1990.2524				383403.8934,1355872.2838

				1355882.1299		383402.9513		9.8910685782		1759.1976350565		1990.3624				383402.9513,1355882.1299

				1355891.7091		383400.0825		9.9995542941		1769.1971893505		1990.1933				383400.0825,1355891.7091

				1355901.2883		383397.2138		9.9995256051		1779.1967149556		1990.2326				383397.2138,1355901.2883

				1355910.8675		383394.3451		9.9995256053		1789.1962405609		1990.4157				383394.3451,1355910.8675

				1355920.4467		383391.4764		9.9995256053		1799.1957661662		1990.3968				383391.4764,1355920.4467

				1355930.0259		383388.6077		9.9995256053		1809.1952917715		1990.3039				383388.6077,1355930.0259

				1355939.7728		383386.6231		9.9468938251		1819.1421855966		1990.1923				383386.6231,1355939.7728

				1355949.7397		383385.8163		9.9995010802		1829.1416866767		1990.0774				383385.8163,1355949.7397

				1355959.7067		383385.0095		9.999600754		1839.1412874307		1989.6555				383385.0095,1355959.7067

				1355969.6736		383384.2026		9.9995091491		1849.1407965798		1989.4584				383384.2026,1355969.6736

				1355979.6405		383383.3958		9.9995010799		1859.1402976597		1989.56				383383.3958,1355979.6405

				1355988.0918		383379.0401		9.5077123527		1868.6480100124		1989.7525				383379.0401,1355988.0918

				1355995.4038		383372.2192		9.999501028		1878.6475110404		1989.7074				383372.2192,1355995.4038

				1356002.7158		383365.3983		9.999501028		1888.6470120684		1989.7147				383365.3983,1356002.7158

				1356010.0279		383358.5774		9.9995741521		1898.6465862205		1989.7772				383358.5774,1356010.0279

				1356017.3399		383351.7565		9.999501028		1908.6460872484		1989.8398				383351.7565,1356017.3399

				1356024.6519		383344.9356		9.999501028		1918.6455882764		1989.9024				383344.9356,1356024.6519

				1356031.964		383338.1147		9.999574152		1928.6451624284		1989.965				383338.1147,1356031.964

				1356039.2763		383331.2941		9.9995157708		1938.6446781992		1989.8395				383331.2941,1356039.2763

				1356048.8231		383328.4133		9.9719806898		1948.616658889		1989.7897				383328.4133,1356048.8231

				1356058.4501		383325.7095		9.9994831587		1958.6161420478		1989.8192				383325.7095,1356058.4501

				1356068.0772		383323.0057		9.9995794336		1968.6157214814		1989.848				383323.0057,1356068.0772

				1356077.7042		383320.3019		9.9994831587		1978.6152046401		1989.8767				383320.3019,1356077.7042

				1356087.3313		383317.5981		9.9995794336		1988.6147840737		1989.9055				383317.5981,1356087.3313

				1356096.9583		383314.8943		9.9994831587		1998.6142672324		1989.9342				383314.8943,1356096.9583

				1356106.5853		383312.1905		9.9994831585		2008.6137503909		1989.963				383312.1905,1356106.5853

				1356116.2124		383309.4867		9.9995794338		2018.6133298247		1989.9392				383309.4867,1356116.2124

				1356125.8394		383306.7829		9.9994831585		2028.6128129833		1989.841				383306.7829,1356125.8394

				1356135.4665		383304.0791		9.9995794338		2038.6123924171		1989.7602				383304.0791,1356135.4665

				1356145.0935		383301.3753		9.9994831585		2048.6118755756		1989.6988				383301.3753,1356145.0935

				1356155.0223		383300.4249		9.9741831546		2058.5860587302		1989.671				383300.4249,1356155.0223

				1356165.0005		383299.771		9.9996030146		2068.5856617448		1989.6834				383299.771,1356165.0005

				1356174.9786		383299.117		9.9995097684		2078.5851715133		1989.6957				383299.117,1356174.9786

				1356184.9567		383298.463		9.9995097684		2088.5846812817		1989.708				383298.463,1356184.9567

				1356194.9348		383297.8091		9.9995032286		2098.5841845103		1989.7204				383297.8091,1356194.9348

				1356204.9129		383297.1551		9.9995097687		2108.583694279		1989.7327				383297.1551,1356204.9129

				1356214.8911		383296.5011		9.9996095542		2118.5833038331		1989.745				383296.5011,1356214.8911

				1356224.8692		383295.8472		9.9995032288		2128.582807062		1989.7574				383295.8472,1356224.8692

				1356234.8473		383295.1932		9.9995097684		2138.5823168304		1989.7697				383295.1932,1356234.8473

				1356244.8254		383294.5392		9.9995097684		2148.5818265988		1989.782				383294.5392,1356244.8254

				1356254.8035		383293.8853		9.9995032286		2158.5813298275		1989.7944				383293.8853,1356254.8035

				1356264.7817		383293.2313		9.9996095544		2168.5809393818		1989.803				383293.2313,1356264.7817

				1356274.7598		383292.5773		9.9995097687		2178.5804491505		1989.81				383292.5773,1356274.7598

				1356284.7379		383291.9234		9.9995032286		2188.5799523791		1989.817				383291.9234,1356284.7379

				1356294.1251		383293.6584		9.5461902788		2198.126142658		1989.826				383293.6584,1356294.1251

				1356302.4611		383299.1812		9.9995107799		2208.1256534379		1989.8575				383299.1812,1356302.4611

				1356310.7971		383304.704		9.9995107802		2218.1251642181		1989.7827				383304.704,1356310.7971

				1356319.1331		383310.2269		9.999566011		2228.124730229		1989.7078				383310.2269,1356319.1331

				1356327.7982		383314.6948		9.7491583443		2237.8738885733		1989.4578				383314.6948,1356327.7982

				1356337.7833		383314.1592		9.9994544536		2247.8733430268		1989.531				383314.1592,1356337.7833

				1356347.7685		383313.6237		9.9995489543		2257.8728919812		1989.3978				383313.6237,1356347.7685

				1356357.7537		383313.0881		9.9995543101		2267.8724462912		1989.2645				383313.0881,1356357.7537

				1356367.7389		383312.5525		9.9995543101		2277.8720006013		1989.1313				383312.5525,1356367.7389

				1356377.7174		383311.9667		9.9956802615		2287.8676808628		1989.0742				383311.9667,1356377.7174

				1356387.0498		383308.3757		9.9994485228		2297.8671293855		1989.2514				383308.3757,1356387.0498

				1356396.38		383304.7789		9.9994801005		2307.866609486		1989.392				383304.7789,1356396.38

				1356405.7102		383301.182		9.999516071		2317.866125557		1989.5326				383301.182,1356405.7102

				1356415.0404		383297.5852		9.9994801005		2327.8656056574		1989.6732				383297.5852,1356415.0404

				1356424.3707		383293.9883		9.9996093774		2337.8652150348		1989.7752				383293.9883,1356424.3707

				1356433.7009		383290.3915		9.9994801005		2347.8646951352		1989.6932				383290.3915,1356433.7009

				1356443.0311		383286.7946		9.9995160708		2357.864211206		1989.6112				383286.7946,1356443.0311

				1356452.5349		383285.3114		9.618840714		2367.48305192		1989.5295				383285.3114,1356452.5349

				1356462.2561		383287.6542		9.9995220526		2377.4825739726		1989.5159				383287.6542,1356462.2561

				1356471.9773		383289.997		9.9995220524		2387.482096025		1989.4265				383289.997,1356471.9773

				1356481.6985		383292.3398		9.9995220526		2397.4816180776		1989.3372				383292.3398,1356481.6985

				1356491.4197		383294.6826		9.9995220526		2407.4811401302		1989.2478				383294.6826,1356491.4197

				1356501.1409		383297.0254		9.9995220526		2417.4806621828		1989.1585				383297.0254,1356501.1409

				1356510.8621		383299.3682		9.9995220526		2427.4801842354		1989.0863				383299.3682,1356510.8621

				1356520.5833		383301.711		9.9995220526		2437.479706288		1989.0194				383301.711,1356520.5833

				1356530.3045		383304.0538		9.9995220526		2447.4792283406		1988.9596				383304.0538,1356530.3045

				1356540.0257		383306.3966		9.9995220526		2457.4787503932		1988.9853				383306.3966,1356540.0257

				1356549.7469		383308.7394		9.9995220524		2467.4782724456		1988.991				383308.7394,1356549.7469

				1356559.4682		383311.0822		9.9996192693		2477.477891715		1988.9966				383311.0822,1356559.4682

				1356569.1894		383313.425		9.9995220526		2487.4774137676		1989.0022				383313.425,1356569.1894

				1356579.0903		383314.7069		9.9835408759		2497.4609546434		1989.0168				383314.7069,1356579.0903

				1356589.0415		383315.689		9.9995450822		2507.4604997256		1989.04				383315.689,1356589.0415

				1356598.9927		383316.6711		9.9995450822		2517.4600448078		1989.0631				383316.6711,1356598.9927

				1356608.9438		383317.6532		9.9994455656		2527.4594903733		1989.0951				383317.6532,1356608.9438

				1356618.895		383318.6353		9.9995450822		2537.4590354555		1989.1272				383318.6353,1356618.895

				1356628.8462		383319.6175		9.9995549041		2547.4585903596		1989.1592				383319.6175,1356628.8462

				1356638.7974		383320.5996		9.9995450822		2557.4581354418		1989.1913				383320.5996,1356638.7974

				1356648.7486		383321.5817		9.9995450822		2567.4576805239		1989.2233				383321.5817,1356648.7486

				1356658.6998		383322.5638		9.9995450822		2577.4572256061		1989.2419				383322.5638,1356658.6998

				1356668.6509		383323.5459		9.9994455656		2587.4566711717		1989.2045				383323.5459,1356668.6509





division box

		

				Dividing Canal Name		Chainage		CBL		ON GOING, Q0 (lit/sec)		OUTGOING, Q1  (lit/sec)		TC FLOW, Q2  (lit/sec)		parent canal bed width Bo		parent canal depth,Do		TCs bed width Bc		width of the basin ,B=Bo+0.40		Length of the basin ,L=Bc+0.41		depth  of the basin ,D=Do

				MC1																								masonry		plastering																		Dividing Canal Name		Chainage		CBL		ON GOING, Q0 (lit/sec)		OUTGOING, Q1  (lit/sec)		TC FLOW, Q2  (lit/sec)		parent canal bed width Bo		parent canal depth,Do		TCs bed width Bc		width of the basin ,B=Bo+0.40		Length of the basin ,L=Bc+0.41		depth  of the basin ,D=Do

				TC-1-1-1		0+10		1991.21		220		205.0		15.00		0.70		0.60		0.30		1.10		0.70		0.60		0.462		0.77						excavn

				TC-1-1-2		0+10		1991.21		205		200.0		5.00		0.35		0.50		0.30		0.75		0.70		0.50		0.2625		0.525				1.1		1.7		0.714

				TC-1-2-3		0+50		1986.67		200		194.0		6.00		0.35		0.40		0.30		0.75		0.70		0.40		0.21		0.525				0.75		1.35		0.4725										SC

				TC-1-2-4		0+330		1976.65		194		188.0		6.00		0.35		0.40		0.30		0.75		0.75		0.75		0.421875		0.5625				0.75		1.35		0.378										TC-1-1-1		0+170		2500.275		85		65.0		20.00		0.40		0.50		0.35		0.80		0.75		0.50

				TC-1-3-5		0+10		1988.18		188		178.0		10.00		0.35		0.40		0.30		0.75		0.75		0.40		0.225		0.5625				0.75		1.35		0.759375

				TC-1-3-6		0+250		1978.57		178		163.0		15.00		0.35		0.40		0.30		0.75		0.70		0.40		0.21		0.525				0.75		1.35		0.405

				TC 1-7		0+2600		1988.28		163		138.0		25.00		0.50		0.50		0.35		0.90		0.75		0.50		0.3375		0.675				0.75		1.35		0.378

				TC 1-4-8		0+20		1987.59		138		108.0		30.00		0.50		0.50		0.35		0.90		0.75		0.50		0.3375		0.675				0.9		1.5		0.5625										TC-1-1-2		0+170		2500		65		45.0		20.00		0.40		0.50		0.30		0.80		0.70		0.50

				TC-1-4-9		0+230		1975.18		108		88.0		20.00		0.50		0.50		0.35		0.90		0.75		0.50		0.3375		0.675				0.9		1.5		0.5625

				TC 1-4-10		0+460		1965.73		88		58.0		30.00		0.50		0.50		0.35		0.90		0.75		0.50		0.3375		0.675				0.9		1.5		0.5625

				TC 1-4-11		0+460		1965.73		58		18.0		40		0.50		0.50		0.35		0.90		0.75		0.50		0.3375		0.675				0.9		1.5		0.5625										TC-1-1-3		0+500		2488		45		25.0		20.00		0.35		0.40		0.30		0.75		0.70		0.40

				TC-1-4-12		0+810		1951.36		18		0.0		30		0.50		0.50		0.35		0.90		0.75		0.50		0.3375		0.675				0.9		1.5		0.5625										TC-1-1-4		0+500		2488		25		10.0		15.00		0.35		0.40		0.30		0.75		0.75		0.75

																												3.816375		7.52				0.9		1.5		0.5625										TC-1-1-5		0+1180		2474.92		10.00		0.00		15.00		0.35		0.40		0.30		0.75		0.70		0.40

																														15.04								6.481875										TC-1-1-6		0+1180		2474.92		0.00		0.00		15.00		0.35		0.40		0.30		0.75		0.70		0.40

				COSTS OF one DIVISION BOX		SYMBOL		UNIT		VALUE														turn out or  scaping canal						(in  river)

				ADDITIONAL INPUT DATA						FOR ONE SEDED DIV.BOX		FOR TW`OSIDED  DIV.BOX										in		l		w		d		maso		exca		plst				turn out

				thickness of masonry, t		t		m		0.35		0.`35												3		0.7		0.6		1.26				3.6

				lip height for basin		a		m		0.1		0.1												3.6								1.512						0.84

				excavation vol.added		ve		m3		0.539		1.078												2														1.68

				masonary vol		vm		m3		0.55125		1.1025												2.6								2.184

				plastering vol		va		m2		1.575		3.15																										3.36		pl

				dry pitch vol		vp		m3		0.735		1.47

				Number of Divission Box		No				3		20

				excavation vol.added		ve		m3		3.539		21.56

				masonary vol		vm		m3		3.55125		22.05

				plastering vol		va		m2		4.575		63

				dry pitch vol		vp		m3		3.735		29.4





BOQ OF MANA

		

				ITEM NO.		DESCRIPTION		`

								UNIT		QUANTITY		UNITE PRICE		AMOUNT (ETH. BIRR)

						Bill 1. GENERAL ITEM																5443084.82

				1.0		Genral Items																18.5

				1.1		Allow for mobilization		Ls		1.00		90,000.00		90,000.00								294220.801081081		7

				1.2		Allow for demobilization		Ls		1.00		75,000.00		75,000.00										2059545.60756757

				1.3		Allow for contractor's camp and facilities																		4,459,545.61		297,303.04

				1.3.1		Allow for constraction camp and facilities = 4*5 m2, living rooms  for construction key personnel, CIS and internally painted chip wood wall, masonry floor cement screend and well ventilated room complet with doors and windows., cafteria,shawor &toilet.$ from this two class's 4*5m^2 to consultant living $office		No		10.00		16,000.00		160,000.00

				1.3.2		8*8 m2, store constructed from CIS  with doors and windows, masonry floor cement screened.		No		1.00		20,000.00		20,000.00

				1.3.3		Barbed wire fence 50*30 m and  1.5m high treated timber post complete with 3m wide gate and CIS guard house.		m		1.00		10,000.00		10,000.00

				1.4		Allow for temporary acess road to site for15km		Km		15.00		160,000.00		2,400,000.00

				1.5		Dewatering of open trenches and excavation of temporary diversion of the river flow and pumps.		Ls		1.00		20,000.00		20,000.00

				1.6		Provide project indicator post starting from the construction time.		Ls		1.00		10,000.00		10,000.00

				1.7		Provision of as built drawings for the project.		Ls		1.00		7,000.00		7,000.00

						Total amount for general items								2,792,000.00

				1.8		A. Head Work Structures

				1.9		Bed  Bar

						Description

				2		Earth Excavation Ordinary Soil		m^3		522.83		100		52283

				2.1		Back fill		m^3		367.25		20		7345

				2.2		Concrete (C25)		m^3		121.125		2500		302812.5

						Lean Concrete (C20)		m^3		7.55		2000		15100

				2.3		Reinforcing bars ф 12 including  Off take		Kg		1951.77		50		97588.5

				2.4		Plasterig(1:2 ratio)		m^2		161.5		150		24225

						Subtotal								499354												12

				2.5		Right Side Retaining Wall																				8

				2.6		Earth Excavation Ordinary Soil		m^3		650		100		65000												104

				2.7		Back fill		m^3		260		18		4680

				2.8		Masonry(1:3 ratio)		m^3		406		1300		527800

				2.9		GABION		m^3		165		1000		165000

						Sub total								762480				1261834

						TOTAL								1261834

				3		Off take canal gate and installation,  4mm thickness sheet metal ,40mmX30mmX4mm angle iron,  ∅12mm bar for anchorage square iron tube with 2mm thickness		1000

						Sub total								1000

				3.1		B INFRASTRUCTURE

				B1		Main Canal 1(MC)

				3.2		Excavation (soil)		m3		3,766.07		100.00		376,607.00				660		2000		1		2000

				3.4		Back fill		m3		720.00		20.00		14,400.00				0						0

				3.5		Masonry work (1:3 ratio)		m3		886.00		1,000.00		886,000.00										0

				3.6		Plastering in (  1:2 ratio)		m2		1,452.00		200.00		290,400.00

						Sub total								1,567,407.00																														unite rate		cost

				3.7		TURNOUTS (2)								- 0

				3.8		excavation		m3		2.20		100.00		220.00

				3.9		masonary (1:3 ratio)		m3		1.68		1,000.00		1,680.00				20

				4		Plastering (  1:2 ratio)		m2		3.36		200.00		672.00				0.7

						Sub total								2,572.00				0.6

				4.1		FLUME												8.4

				4.2		Earth Excavation Ordinary Soil		m3		48.00		100.00		4,800.00				16.8

				4.3		Masonry work (1:3 ratio)retaining wall		m3		24.00		1,000.00		24,000.00

				4.4		Concrete (C25)		m3		24.34		2,500.00		60,850.00

				4.5		Reinforcing bars ф 12		kg/l/m		1,116.64		50.00		55,832.00

				4.6		Sub total								145,482.00

				4.7		SUPERPASSAGE

				4.8		Masonry work (1:3 ratio)retaining wall		m3		16.80		1,000.00		16,800.00

				4.9		Concrete (C25)		m3		12.00		2,500.00		30,000.00

				5		Reinforcing bars ф 12		kg/l/m		356.00		50.00		17,800.00

						Sub total								64,600.00

				5.1		ROAD CROSSINGS (4)								- 0

				5.2		masonary (1:3 ratio)		m3		10.56		1,000.00		10,560.00

				5.3		Plastering in ratio 1:2		m2		14.40		200.00		2,880.00

				5.4		RCC bar 12mm diam.		Kg/l/m		183.96		50.00		9,198.00

				5.5		C-20 concrete		m3		10.56		2,500.00		26,400.00

				5.6		Sub total								49,038.00

				5.7		SC1

				5.8		Excavation (soil)		m3		145.04		100.00		14,504.00

				5.9		SC2								- 0										III		Infrastructure

				6		Excavation (soil)		m3		365.77		100.00		36,577.00

				6.1		SC3

				6.2		Excavation (soil)		m3		211.75		100.00		21,175.00

				6.3		SC4

				6.4		Excavation (soil)		m3		543.40		100.00		54,340.00

				6.5		Back fill		m3		126.00		20.00		2,520.00

				6.6		Masonry work (1:3 ratio)		m3		548.10		1,000.00		548,100.00

				6.7		Plastering (  1:2 ratio))		m2		1,348.50		200.00		269,700.00

				6.8		TC1-1-1

				6.9		ordinary soil Excavation		m3		20.60		100.00		2,060.00										1.1		Masonry in ratio 1:3		m3						6		4.0		1.1		0.4		1.76		1700

				7		Tertiary canal  (TC-1-1-2)								- 0												Sub total																10.56				17952

				7.1		ordinary soil Excavation		m3		179.81		100.00		17,981.00										1.2		Plastering in ratio 1:2		m2						2		4				0.4		3.2

				7.2		Tertiary canal  (TC-1-2-3)								- 0										1.3		C-25 Concrete		m2						6		4		1.1		0.4		10.56		721		7613.76

				7.3		ordinary soil Excavation		m3		10.18		100.00		1,018.00										1.4		Reinforced bar ɸ12mm		Kg						6		4		1.1		0.4		0.00

				7.4		Tertiary canal (TC1-2-4)								- 0								Item No.		Work Description								L		W		S		NO. BAR		TL		CONVERTOR		KG/L/M		0

				7.5		ordinary soil Excavation		m3		36.90		100.00		3,690.00																		1.3				0.2		6.5		8.45		0.89		7.5205

				7.6		Tertiary canal TC1-3-5)																1		Road Crossing								4.5												0

				7.7		ordinary soil Excavation		m3		110.64		100.00		11,064.00																												0

				7.8		Tertiary cana TC1-3-6)								- 0																				6								0

				7.9		ordinary soil Excavation		m3		112.76		100.00		11,276.00

				10		Tertiary cana TC1-4-7)								- 0						5		0

				10.1		ordinary soil Excavation		m3		119.10		100.00		11,910.00										0

				10.2		ordinary soil Excavation		m3		142.07		100.00		14,207.00								All gates

				10.3		Tertiary cana TC1-4-9)								- 0						10.1		divisoin turnouts		no		3		800		2,400.00

				10.4		ordinary soil Excavation		m3		131.00		100.00		13,100.00						10.3				No				256		- 0

				10.5		Tertiary cana TC1-4-10)								- 0								Sub total								- 0

				10.6		ordinary soil Excavation		m3		128.69		100.00		12,869.00

				10.7		Tertiary cana TC1-4-11)								- 0

				10.8		ordinary soil Excavation		m3		157.04		100.00		15,704.00

				10.9		Tertiary cana TC1-4-12)								- 0

				11		ordinary soil Excavation		m3		46.86		100.00		4,686.00

				11.1		DIVISION BOX ( 9NO)								- 0

				11.2		excavation soil		m3		6.50		100.00		650.00

				11.3		masonary (1:3 ratio)		m3		3.82		1,000.00		3,820.00

				11.4		Plastering (  1:2 ratio)		m2		15.00		200.00		3,000.00

				11.5		dry pitching				5.53		100.00		552.50

				11.6		Sub total								1,074,503.50

				11.7		All gates

				11.8		Offtake gate

				11.9		divisoin turnouts		no		8		800		6,400.00

				12		FC-turnouts		no		2		415		830.00

						Sub total								7,230.00

						Total								2,910,832.50

						Components		Costs ETB

						General items		2,792,000

						Headwork		1,261,834.00

						Infrastructure		2,910,832.50														ITEM NO.		DESCRIPTION		`

						Total		6,964,666.50																		UNIT		QUANTITY		UNITE PRICE		AMOUNT (ETH. BIRR)

						VAT 15%		1,044,699.98

						Total		8,009,366.48																Bill 1. GENERAL ITEM

						cost per  ha		69,345.16		60,300.14												1.0		Genral Items

																						1.1		Allow for mobilization		Ls		1.00		92,000.00		92,000.00

																						1.2		Allow for demobilization		Ls		1.00		80,000.00		80,000.00

																						1.3		Allow for contractor's camp and facilities

																						1.3.1		Allow for constraction camp and facilities = 4*5 m2, living rooms  for construction key personnel, CIS and internally painted chip wood wall, masonry floor cement screend and well ventilated room complet with doors and windows.		No		3.00		96,215.30		288,645.90

																						1.3.2		5*5 m2, store constructed from CIS  with doors and windows, masonry floor cement screened.		No		1.00		74,607.21		74,607.21																																																		cost of one drop

																						1.3.3		Barbed wire fence 50*20 m and  1.5m high treated timber post complete with 3m wide gate and CIS guard house.		m		1.00		74,641.77		74,641.77																																																		drop height H		SC		TC-1--1-1		TC1-1-3		TC1-1-4

																						1.4		Allow for temporary acess road to site		Km		0.50		250,882.53		125,441.27																																																		drop  basin length L		1		0.5		0.75		0.75

																						1.5		Dewatering of open trenches and excavation of temporary diversion of the river flow and pumps.		Ls		1.00		40,000.00		40,000.00																																																		drop Basin width B		1		1		1		1

																						1.6		Provide project indicator post starting from the construction time.		Ls		1.00		10,000.00		10,000.00																																																		thickness masonry, t		1.1		1.1		1.1		1.1

																						1.7		Provision of as built drawings for the project.		Ls		1.00		30,000.00		30,000.00																																																		canal depth D		0.35		0.35		0.3		0.3

																																252,000.00																																																		masonary volume m3		0.5		0.4		0.35		0.35

																																																																																		plastering m2		2.176		1.676		1.8735		1.8735

																																																																																		excavation soil		6.8336		6.2836		6.36085		6.36085

																																																																																		NUMBER OF DROPS		1.1		1.1		1.1		1.1

																																																																																		total mason volume		18		4		3		1

																																																																																		total area plaster		39.168		6.704		5.6205		1.8735

																				1.2																																																														total soil excv.		123.00		25.13		19.08		6.36

																																																																																		dry picht for lower only		19.80		4.40		3.30		1.10

																																																																																				2.84		0.63		0.47		0.16

																																																																																		DIVISION BOX												715682.005

																																																																																		TWO SIDE DIVISION BOX main lined

																																																																																		canal depth

																														1091924.24																																																				Secondary CANAL BED WIDTH, B		0.4

																				1,044,699.98																																																														TERTIARY CANAL BED WIDTH BC		0.35

																																																																																				0.3

																																																																																		floor m3		mason		plast		No of  DB

																																																																																		2 sides		0.0980		0.2800		3

																																																																																		noch		0.1680		0.4800		3

																																																																																		pich of l=1.5m		0.0578		0.1650		3

																																																																																		total mosary		0.1575		0.0000		3

																																																																																		total dry pich		0.3238				0.97125

																																																																																		plastering		0.1575				0.4725

																																																																																				0.9250				2.775						0.475

																																																																																		TURNOUT

																				sum																																																														NUMBER

																																																																																		SOIL EXC		2

																																																																																		MASONARY		2.2								tc1-1-5		tc1-1-6

																																																																																		PLASTER		4.352								1		0.5

																																																																																		PICH		13.6672								1		1

																																																																																				1.26								1.1		1.1

																																																																																												0.3		0.3

																																																																																												0.35		0.35

																1.1		1.1																																																																										2.106		1.641

																1		1																																																																										6.6166		6.1051

																2.106		1.641		3.747				98.821

																6.62		6.11		12.72				386.30

																1.10		1.10		2.20				268.20

																0.16		0.16		0.32				10.37





TC6 ON SC3 3 1-1 AT CH 250

		

		chainage		0+456-0+240

		bed width		0.3										masonry width		Working space		total cut width

		Slope		500										0.35		0.35		1.35

		Total depth		0.3														0.64

		Side slope of canal		0														0.45

		Side slope of Burm		1														0.48

		Insert top width of built burm for fill		0														0.48

		OFFTAKE LEVEL CBL		1978.57														0.51

		Northing		Easting		Partial Distance		Chainage		Elevation		CBL		Bank level		CUT(m)		Fill(m)		slope		drop		Area of cut		Average Area of Cut		Volume of cut		Area of Fill		Average Area of Fill		Volume of Fill		Massonry Area (m2)		Massonry volume(m3)		PLASTERING		CUM.VOL.CUT

		1355987.6684		383133.1163		0		0		1979.2137		1978.57		1978.87		0.64		0.00		500.00				0.87		0.00		0.00		0.00		0.00		0.00		0.45		0.00		0		0.00

		1355990.5286		383123.3209		10		10		1979		1978.55		1978.85		0.45		0.00						0.61		0.74		7.54		0.00		0.00		0.00		0.45		4.59		14		7.54

		1355996.9957		383115.229		10		20		1979.0107		1978.54		1978.84		0.48		0.00						0.64		0.62		6.25		0.00		0.00		0.00		0.45		4.50		14		13.79

		1356005.9532		383110.0474		10		30		1979.0017		1978.52		1978.82		0.48		0.00						0.65		0.65		6.45		0.00		0.00		0.00		0.45		4.50		14		20.24

		1356015.0788		383105.126		10		40		1979.0029		1978.51		1978.81		0.50		0.00						0.67		0.66		6.59		0.00		0.00		0.00		0.45		4.50		14		26.83

		1356024.2044		383100.2046		10		50		1979.0014		1978.49		1978.79		0.51		0.00						0.69		0.68		6.78		0.00		0.00		0.00		0.45		4.50		14		33.62

		1356033.2075		383095.0889		10		61		1979		1978.48		1978.78		0.52		0.00						0.71		0.70		7.21		0.00		0.00		0.00		0.45		4.66		14		40.83

		1356042.8597		383096.3434		10		71		1979		1978.46		1978.76		0.54		0.00		500.00				0.72		0.71		7.15		0.00		0.00		0.00		0.45		4.50		14		47.97

		1356051.8306		383091.4781		10		81		1979		1978.45		1978.75		0.55		0.00						0.74		0.73		7.49		0.00		0.00		0.00		0.45		4.59		14		55.47

		1356060.6478		383086.0234		10		91		1979		1978.43		1978.73		0.57		0.00						0.76		0.75		7.82		0.00		0.00		0.00		0.45		4.67		14		63.29

		1356069.465		383080.5687		10		102		1979		1978.42		1978.72		0.58		0.00						0.78		0.77		8.03		0.00		0.00		0.00		0.45		4.67		14		71.31

		1356078.2822		383075.1139		10		112		1979		1978.40		1978.70		0.60		0.00						0.80		0.79		8.23		0.00		0.00		0.00		0.45		4.67		14		79.55

		1356087.0995		383069.6592		10		122		1979		1978.39		1978.69		0.61		0.00						0.82		0.81		8.44		0.00		0.00		0.00		0.45		4.67		14		87.99

		1356096.9134		383069.0762		10		132		1979		1978.38		1978.68		0.62		0.00		700.00				0.84		0.83		8.20		0.00		0.00		0.00		0.45		4.42		13		96.18

		1356107.1329		383070.8257		10		142		1979		1978.36		1978.66		0.64		0.00						0.86		0.85		8.53		0.00		0.00		0.00		0.45		4.50		14		104.71

		1356117.3523		383072.5751		10		152		1979		1978.35		1978.65		0.65		0.00						0.88		0.87		9.04		0.00		0.00		0.00		0.45		4.67		14		113.75

		1356125.8883		383068.0165		10		162		1979		1978.33		1978.63		0.67		0.00						0.90		0.89		8.63		0.00		0.00		0.00		0.45		4.35		13		122.38

		1356133.6977		383061.1966		10		172		1979		1978.32		1978.62		0.68		0.00						0.92		0.91		9.45		0.00		0.00		0.00		0.45		4.67		14		131.83

		1356141.5071		383054.3767		10		183		1979		1978.30		1978.60		0.70		0.00						0.94		0.93		9.65		0.00		0.00		0.00		0.45		4.67		14		141.48

		1356149.3165		383047.5568		10		193		1979		1978.29		1978.59		0.71		0.00						0.96		0.95		9.86		0.00		0.00		0.00		0.45		4.67		14		151.34

																												151.34						0.00				86.95		261





TC 5 ON SC3 1-1 AT CH 10

		

		chainage		0+00-0+840

		bed width		0.3										masonry width		Working space		total cut width

		Slope		500										0.3		0.3		1.20

		Total depth		0.3														0.11

		Side slope of canal		0														0.08

		Side slope of Burm		1														0.33

		Insert top width of built burm for fill		0														0.35

		OFFTAKE LEVEL CBL		1989.18														0.39

		Northing		Easting		Partial Distance		Chainage		Elevation		CBL		Bank level		CUT(m)		Fill(m)		slope		drop		Area of cut		Average Area of Cut		Volume of cut		Area of Fill		Average Area of Fill		Volume of Fill		Massonry Area (m2)		Massonry volume(m3)		PLASTERING		CUM.VOL.CUT

		1355983.6841		383373.0833		0		0		1989.286		1989.18		1989.48		0.11		0		500.00				0.13		0.00		0.00		0.06		0.00		0.00		0.45		0.00		0		0.00

		1355988.5776		383363.8747		10.4		10		1989.002		1988.92		1989.22		0.08		0		40.00				0.10		0.11		1.18		0.09		0.08		0.79		0.45		4.69		13		1.18

		1355995.422		383355.9624		10.0		20		1989		1988.67		1988.97		0.33		0						0.40		0.25		2.48		0.00		0.04		0.44		0.45		4.50		12		3.66

		1356002.2833		383348.0644		10.0		30		1989		1988.65		1988.95		0.35		0		500.00				0.42		0.41		4.09		0.00		0.00		0.00		0.45		4.50		12		7.75

		1356009.1446		383340.1664		10.0		40		1989		1988.63		1988.93		0.37		0						0.44		0.43		4.33		0.00		0.00		0.00		0.45		4.50		12		12.08

		1356016.0059		383332.2684		10.0		50		1989		1988.61		1988.91		0.39		0						0.47		0.46		4.57		0.00		0.00		0.00		0.45		4.50		12		16.65

		1356022.8689		383324.3718		10.5		61		1989		1988.59		1988.89		0.41		0						0.49		0.48		5.04		0.00		0.00		0.00		0.45		4.71		13		21.68

		1356030.1462		383316.9664		10.0		71		1989.001		1988.57		1988.87		0.43		0		600.00				0.52		0.51		5.07		0.00		0.00		0.00		0.45		4.50		12		26.75

		1356040.0321		383313.5425		10.5		81		1989		1988.55		1988.85		0.45		0						0.54		0.53		5.56		0.00		0.00		0.00		0.45		4.71		13		32.30

		1356049.9254		383310.1397		10.5		92		1989		1988.53		1988.83		0.47		0						0.56		0.55		5.78		0.00		0.00		0.00		0.45		4.71		13		38.08

		1356059.8187		383306.7369		10.5		102		1989		1988.52		1988.82		0.48		0						0.58		0.57		5.96		0.00		0.00		0.00		0.45		4.71		13		44.04

		1356069.7119		383303.334		10.5		113		1989		1988.50		1988.80		0.50		0						0.60		0.59		6.15		0.00		0.00		0.00		0.45		4.71		13		50.19

		1356079.6052		383299.9312		10.5		123		1989		1988.49		1988.79		0.51		0						0.61		0.61		6.34		0.00		0.00		0.00		0.45		4.71		13		56.53

		1356089.4985		383296.5284		10.5		134		1989		1988.47		1988.77		0.53		0						0.63		0.62		6.53		0.00		0.00		0.00		0.45		4.71		13		63.06

		1356099.3918		383293.1256		10.0		144		1989		1988.46		1988.76		0.54		0						0.65		0.64		6.41		0.00		0.00		0.00		0.45		4.50		12		69.47

		1356109.3418		383289.9349		10.4		154		1989		1988.44		1988.74		0.56		0						0.67		0.66		6.88		0.00		0.00		0.00		0.45		4.70		13		76.36

		1356119.6405		383288.0929		10.5		165		1989		1988.43		1988.73		0.57		0		700.00				0.69		0.68		7.08		0.00		0.00		0.00		0.45		4.71		13		83.44

		1356129.9392		383286.251		10.5		175		1989		1988.41		1988.71		0.59		0						0.70		0.69		7.27		0.00		0.00		0.00		0.45		4.71		13		90.70

		1356140.2379		383284.409		10.5		185		1989		1988.40		1988.70		0.60		0						0.72		0.71		7.46		0.00		0.00		0.00		0.45		4.71		13		98.16

		1356150.5366		383282.5671		10.5		196		1989		1988.38		1988.68		0.62		0						0.74		0.73		7.64		0.00		0.00		0.00		0.45		4.71		13		105.80

		1356160.8353		383280.7251		10.5		206		1989		1988.37		1988.67		0.63		0						0.76		0.75		7.83		0.00		0.00		0.00		0.45		4.71		13		113.63

																												113.63						1.23				92.89		248

																										CUT VOL/METE





SC3 1-1 ON MC 1  AT CH 1870

		

		chainage		0+1870-0+456

		bed width		0.35										masonry width		Working space		total cut width

		Slope		500										0.35		0.35		1.40

		Total depth		0.35														0.23

		Side slope of canal		0														0.10

		Side slope of Burm		1														0.22

		Insert top width of built burm for fill		0														0.32

		OFFTAKE LEVEL CBL		1989.52														0.43

		Northing		Easting		Partial Distance		Chainage		Elevation		CBL		Bank level		CUT(m)		Fill(m)		slope				drop		Area of cut		Average Area of Cut		Volume of cut		Area of Fill		Average Area of Fill		Volume of Fill		Massonry Area (m2)		Massonry volume(m3)		PLASTERING		CUM.VOL.CUT

		1355983.5181		383383.0819		0		0		1989.7511		1989.52		1989.87		0.23		0.12		30.00		0.47				0.32		0.00		0.00		0.12		0.00		0.00		0.50		0.00		0		0.00

		1355983.687		383372.9095		10		10		1989.2798		1989.18		1989.53		0.10		0.25				0.50				0.14		0.23		2.35		0.12		0.12		1.23		0.50		5.04		14		2.35

		1355983.8559		383362.7371		10		20		1988.7799		1988.56		1988.91		0.22		0.13		16.00		0.53				0.31		0.23		2.26		0.13		0.12		1.24		0.50		4.95		14		4.61

		1355984.0248		383352.5647		10		30		1988.2512		1987.93		1988.28		0.32		0.03				0.45				0.45		0.38		3.81		0.03		0.08		0.82		0.50		4.95		14		8.42

		1355984.1937		383342.3924		10		40		1987.7988		1987.31		1987.66		0.49		0.00				0.17				0.69		0.57		5.69		0.00		0.02		0.16		0.50		4.95		14		14.11

		1355984.3626		383332.22		10		50		1987.6328		1987.21		1987.56		0.43		0.00		100.00		0.27				0.60		0.64		6.44		0.00		0.00		0.00		0.50		4.95		14		20.55

		1355984.5315		383322.0476		10		60		1987.3674		1986.87		1987.22		0.50		0.00		30.00		0.34				0.70		0.65		6.61		0.00		0.00		0.00		0.50		5.04		14		27.16

		1355984.7004		383311.8752		10		70		1987.0244		1986.53		1986.88		0.49		0.00				0.34				0.69		0.69		6.94		0.00		0.00		0.00		0.50		4.95		14		34.10

		1355984.8693		383301.7028		10		80		1986.6813		1986.19		1986.54		0.49		0.00				0.43				0.68		0.68		6.96		0.00		0.00		0.00		0.50		5.04		14		41.07

		1355985.0382		383291.5304		10		90		1986.252		1985.69		1986.04		0.57		0.00		20.00		0.52				0.79		0.74		7.50		0.00		0.00		0.00		0.50		5.04		14		48.57

		1355985.2071		383281.3581		10		100		1985.7279		1985.18		1985.53		0.55		0.00				0.52				0.77		0.78		7.96		0.00		0.00		0.00		0.50		5.04		14		56.53

		1355985.376		383271.1857		10		110		1985.2039		1984.67		1985.02		0.54		0.00				0.52				0.75		0.76		7.74		0.00		0.00		0.00		0.50		5.04		14		64.26

		1355985.5449		383261.0133		10		120		1984.6799		1984.16		1984.51		0.52		0.00				0.46				0.73		0.74		7.52		0.00		0.00		0.00		0.50		5.04		14		71.79

		1355985.7138		383250.8409		10		130		1984.2209		1983.65		1984.00		0.57		0.00				0.44				0.80		0.76		7.77		0.00		0.00		0.00		0.50		5.04		14		79.55

		1355985.8827		383240.6685		10		140		1983.7831		1983.15		1983.50		0.63		0.00				0.58				0.89		0.84		8.42		0.00		0.00		0.00		0.50		4.95		14		87.97

		1355986.0516		383230.4962		10		150		1983.205		1982.64		1982.99		0.56		0.00				0.58				0.79		0.84		8.51		0.00		0.00		0.00		0.50		5.04		14		96.48

		1355986.2205		383220.3238		10		160		1982.627		1982.13		1982.48		0.49		0.00		30.00		0.57				0.69		0.74		7.52		0.00		0.00		0.00		0.50		5.04		14		104.00

		1355986.3894		383210.1514		10		170		1982.0576		1981.62		1981.97		0.43		0.00				0.45				0.61		0.65		6.60		0.00		0.00		0.00		0.50		5.04		14		110.60

		1355986.5583		383199.979		10		180		1981.6093		1981.12		1981.47		0.49		0.00				0.45				0.69		0.65		6.59		0.00		0.00		0.00		0.50		5.04		14		117.19

		1355986.7272		383189.8066		10		190		1981.1611		1980.61		1980.96		0.55		0.00				0.35				0.78		0.73		7.46		0.00		0.00		0.00		0.50		5.04		14		124.65

		1355986.8961		383179.6343		10		200		1980.8116		1980.27		1980.62		0.54		0.00				0.35				0.76		0.77		7.81		0.00		0.00		0.00		0.50		5.04		14		132.46

		1355987.065		383169.4619		10		210		1980.4622		1979.93		1980.28		0.53		0.00				0.35				0.75		0.75		7.67		0.00		0.00		0.00		0.50		5.04		14		140.13

		1355987.2339		383159.2895		10		220		1980.1128		1979.59		1979.94		0.52		0.00				0.35				0.73		0.74		7.52		0.00		0.00		0.00		0.50		5.04		14		147.65

		1355987.4028		383149.1171		10		230		1979.7633		1979.25		1979.60		0.51		0.00				0.35				0.72		0.72		7.37		0.00		0.00		0.00		0.50		5.04		14		155.02

		1355987.5717		383138.9447		10		240		1979.4139		1978.91		1979.26		0.50		0.00				0.35				0.70		0.71		7.23		0.00		0.00		0.00		0.50		5.04		14		162.24

		1355987.7406		383128.7723		10		250		1979.0689		1978.57		1978.92		0.50		0.00				0.32				0.69		0.70		7.11		0.00		0.00		0.00		0.50		5.04		14		169.35

		1355987.9095		383118.6		10		260		1978.7524		1978.24		1978.59		0.51		0.00				0.32				0.72		0.71		7.07		0.00		0.00		0.00		0.50		4.95		14		176.42

		1355988.0784		383108.4276		10		270		1978.4359		1977.90		1978.25		0.54		0.00		22.00		0.44				0.75		0.73		7.47		0.00		0.00		0.00		0.50		5.04		14		183.89

		1355988.2473		383098.2552		10		281		1977.9918		1977.44		1977.79		0.55		0.00				0.46				0.78		0.76		7.76		0.00		0.00		0.00		0.50		5.04		14		191.65

		1355988.4162		383088.0828		10		291		1977.5278		1976.98		1977.33		0.55		0.00				0.46				0.77		0.77		7.88		0.00		0.00		0.00		0.50		5.04		14		199.53

		1355988.5851		383077.9104		10		301		1977.0639		1976.51		1976.86		0.55		0.00				0.47				0.77		0.77		7.86		0.00		0.00		0.00		0.50		5.04		14		207.39

		1355988.754		383067.7381		10		311		1976.5926		1976.05		1976.40		0.54		0.00				0.47				0.76		0.77		7.79		0.00		0.00		0.00		0.50		5.04		14		215.18

		1355988.9229		383057.5657		10		321		1976.1207		1975.59		1975.94		0.53		0.00		30.00		0.42				0.75		0.75		7.66		0.00		0.00		0.00		0.50		5.04		14		222.83

		1355989.0918		383047.3933		10		331		1975.6975		1975.25		1975.60		0.44		0.00				0.13				0.62		0.68		6.83		0.00		0.00		0.00		0.50		4.95		14		229.66

		1355989.2607		383037.2209		10		341		1975.5666		1974.92		1975.27		0.65		0.00				0.45				0.91		0.77		7.79		0.00		0.00		0.00		0.50		5.04		14		237.45

		1355989.4295		383027.0485		10		352		1975.1142		1974.58		1974.93		0.54		0.00				0.59				0.75		0.83		8.47		0.00		0.00		0.00		0.50		5.04		14		245.92

		1355989.5984		383016.8762		10		362		1974.5262		1974.01		1974.36		0.52		0.00		18.00		0.59				0.72		0.74		7.50		0.00		0.00		0.00		0.50		5.04		14		253.42

		1355989.7673		383006.7038		10		372		1973.9382		1973.45		1973.80		0.49		0.00				0.60				0.69		0.71		7.17		0.00		0.00		0.00		0.50		5.04		14		260.59

		1355989.9362		382996.5314		10		382		1973.3336		1972.88		1973.23		0.45		0.00				0.63				0.63		0.66		6.73		0.00		0.00		0.00		0.50		5.04		14		267.32

		1355990.1051		382986.359		10		392		1972.7043		1972.32		1972.67		0.39		0.00				0.63				0.54		0.59		5.99		0.00		0.00		0.00		0.50		5.04		14		273.32

		1355990.274		382976.1866		10		402		1972.0749		1971.68		1972.03		0.40		0.00		16.00		0.43				0.55		0.5936654544		6.0398348404		0.00		0.00		0.00		0.50		5.04		14		279.35

		1355990.4429		382966.0142		10		413		1971.6406		1971.04		1971.39		0.60		0.00				-0.04				0.84		0.69		7.06		0.00		0.00		0.00		0.50		5.04		14		286.42

		1355990.6118		382955.8419		10		423		1971.678		1971.03		1971.38		0.65		0.00		600.00		0.11				0.91		0.87		8.89		0.00		0.00		0.00		0.50		5.04		14		295.31

		1355990.7807		382945.6695		10		433		1971.5676		1971.01		1971.36		0.56		0.00				0.11				0.78		0.81		8.22		0.00		0.00		0.00		0.50		5.04		14		303.53

		1355990.9496		382935.4971		10		443		1971.4571		1970.99		1971.3		0.5		0.0				0.11				0.65		0.7		7.3		0.00		0.00		0.00		0.50		5.04		14		310.81

		1355991.1185		382925.3247		10		453		1971.3466		1970.98		1971.33		0.37		0.00				1971.35				0.52		0.58		5.95		0.00		0.00		0.00		0.50		5.04		14		316.75

																						0.00								316.75						3.44				225.93		639

																						0.00						CUT VOL/METE





TC9AT SC3 CH230 CHNGD

		

		chainage		0+00-0+220

		bed width		0.3										masonry width		Working space		total cut width

		Slope		500										0.35		0.35		1.35

		Total depth		0.3														0.36

		Side slope of canal		0														0.17

		Side slope of Burm		1														0.08

		Insert top width of built burm for fill		0														0.07

		OFFTAKE LEVEL CBL		1975.18														0.24

		Northing		Easting		Partial Distance		Chainage		Elevation		CBL		Bank level		CUT(m)		Fill(m)		slope		drop		Area of cut		Average Area of Cut		Volume of cut		Area of Fill		Average Area of Fill		Volume of Fill		Massonry Area (m2)		Massonry volume(m3)		PLASTERING		CUM.VOL.CUT

		1356696.5057		383095.1817		0		0		1975.5		1975.18		1975.48		0.36		0		500.00				0.48		0.00		0.00		0.00		0.00		0.00		0.45		0.00		0		0.00

		1356689.5303		383087.9352		10.1		10		1975.3		1975.16		1975.46		0.17		0						0.23		0.35		3.57		0.12		0.06		0.59		0.45		4.53		14		3.57

		1356682.3671		383080.8847		10.0		20		1975.1		1975.06		1975.36		0.08		0		100.00				0.11		0.17		1.67		0.09		0.10		1.05		0.45		4.50		14		5.24

		1356673.8052		383075.6654		10.0		30		1975.0		1974.96		1975.26		0.07		0						0.09		0.10		0.97		0.11		0.10		0.99		0.45		4.50		14		6.21

		1356664.2098		383072.6941		10.0		40		1975.0		1974.86		1975.16		0.14		0						0.19		0.14		1.39		0.03		0.07		0.68		0.45		4.50		14		7.60

		1356654.4781		383070.1519		10.0		50		1975.0		1974.76		1975.06		0.24		0						0.32		0.26		2.57		0.05		0.04		0.43		0.45		4.50		14		10.17

		1356644.6768		383067.9345		10.0		60		1975.0		1974.66		1974.96		0.34		0						0.46		0.39		3.94		0.00		0.03		0.27		0.45		4.52		14		14.11

		1356634.7002		383066.6559		10.0		70		1975.0		1974.64		1974.94		0.36		0		500.00				0.49		0.47		4.73		0.00		0.00		0.00		0.45		4.50		14		18.84

		1356624.7235		383065.3773		10.1		80		1975.0		1974.62		1974.92		0.38		0						0.51		0.50		5.03		0.00		0.00		0.00		0.45		4.53		14		23.88

		1356614.9992		383062.9281		10.0		90		1975.0		1974.60		1974.90		0.38		0						0.52		0.52		5.17		0.00		0.00		0.00		0.45		4.51		14		29.05

		1356606.0982		383058.2638		10.0		100		1975.0		1974.58		1974.88		0.42		0						0.57		0.54		5.46		0.00		0.00		0.00		0.45		4.52		14		34.51

		1356597.3462		383053.3069		10.1		110		1975.0		1974.56		1974.86		0.44		0						0.60		0.58		5.87		0.00		0.00		0.00		0.45		4.53		14		40.38

		1356588.5942		383048.3499		10.1		120		1975.0		1974.54		1974.84		0.46		0						0.63		0.61		6.15		0.00		0.00		0.00		0.45		4.53		14		46.53

		1356579.8423		383043.393		10.1		130		1975.0		1974.52		1974.82		0.48		0		700.00				0.65		0.64		6.40		0.00		0.00		0.00		0.45		4.53		14		52.93

		1356571.0903		383038.436		10.0		140		1975.0		1974.51		1974.81		0.49		0						0.67		0.66		6.57		0.00		0.00		0.00		0.45		4.50		14		59.50

		1356562.3383		383033.4791		10.1		150		1975.0		1974.50		1974.80		0.51		0						0.69		0.68		6.81		0.00		0.00		0.00		0.45		4.53		14		66.31

		1356553.5835		383028.5272		10.1		161		1975.0		1974.48		1974.78		0.52		0		500.00				0.70		0.70		6.99		0.00		0.00		0.00		0.45		4.53		14		73.30

		1356544.2049		383024.979		10.0		171		1975.0		1974.47		1974.77		0.55		0						0.74		0.72		7.22		0.00		0.00		0.00		0.45		4.51		14		80.52

		1356534.2495		383023.5833		10.1		181		1975.0		1974.45		1974.75		0.55		0						0.74		0.74		7.42		0.00		0.00		0.00		0.45		4.52		14		87.94

		1356524.261		383022.4005		10.1		191		1975.0		1974.44		1974.74		0.56		0						0.76		0.75		7.53		0.00		0.00		0.00		0.45		4.53		14		95.47

		1356514.2725		383021.2178		10.1		201		1975.0		1974.42		1974.72		0.58		0						0.78		0.77		7.72		0.00		0.00		0.00		0.45		4.53		14		103.19

		1356504.437		383019.1462		10.1		211		1975.0		1974.41		1974.71		0.59		0						0.80		0.79		7.91		0.00		0.00		0.00		0.45		4.52		14		111.10

																												111.10						4.01				94.85		285

																										CUT VOL/METE





TC10-AT SC3  CH 460 CNGD

		

		chainage		0

		bed width		0.35										masonry width		Working space		total cut width

		Slope		500										0.35		0.35		1.40

		Total depth		0.35														0.27

		Side slope of canal		0														0.29

		Side slope of Burm		1														0.30

		Insert top width of built burm for fill		0														0.32

		OFFTAKE LEVEL CBL		1965.73														0.35

		Northing		Easting		Partial Distance		Chainage		Elevation		CBL		Bank level		CUT(m)		Fill(m)		slope		drop		Area of cut		Average Area of Cut		Volume of cut		Area of Fill		Average Area of Fill		Volume of Fill		Massonry Area (m2)		Massonry volume(m3)		PLASTERING		CUM.VOL.CUT

		1356720.9551		382861.6996		0		0		1966		1965.73		1966.08		0.27		0.08		700.00				0.38		0.00		0.00		0.08		0.00		0.00		0.50		0.00		0		0.00

		1356727.0791		382869.8861		10.2		10		1966		1965.71		1966.06		0.29		0.06						0.41		0.39		4.01		0.06		0.07		0.75		0.50		5.06		14		4.01

		1356734.5276		382876.7836		10.0		20		1966		1965.70		1966.05		0.30		0.05						0.43		0.42		4.17		0.05		0.06		0.55		0.50		4.95		14		8.18

		1356742.053		382883.5211		10.0		30		1966		1965.68		1966.03		0.32		0.03						0.45		0.44		4.37		0.03		0.04		0.40		0.50		4.95		14		12.54

		1356748.5707		382891.3154		10.0		40		1965.9991		1965.67		1966.02		0.33		0.02						0.47		0.46		4.56		0.02		0.03		0.26		0.50		4.95		14		17.10

		1356757.1699		382896.8447		10.0		50		1966		1965.65		1966.00		0.35		0.00						0.49		0.48		4.76		0.00		0.01		0.11		0.50		4.95		14		21.86

		1356765.7733		382902.3677		10.2		60		1966		1965.64		1965.99		0.36		0.00						0.51		0.50		5.08		0.00		0.00		0.01		0.50		5.06		14		26.94

		1356774.3766		382907.8907		10.0		70		1966		1965.62		1965.97		0.38		0.00		500.00				0.53		0.52		5.17		0.00		0.00		0.00		0.50		4.95		14		32.11

		1356782.98		382913.4137		10.2		81		1966		1965.61		1965.96		0.39		0.00						0.54		0.54		5.48		0.00		0.00		0.00		0.50		5.06		14		37.59

		1356791.5834		382918.9367		10.2		91		1966		1965.60		1965.95		0.40		0.00						0.56		0.55		5.66		0.00		0.00		0.00		0.50		5.06		14		43.26

		1356800.1867		382924.4597		10.2		101		1966		1965.59		1965.94		0.41		0.00						0.58		0.57		5.85		0.00		0.00		0.00		0.50		5.06		14		49.10

		1356808.7901		382929.9826		10.2		111		1966		1965.57		1965.92		0.43		0.00						0.60		0.59		6.03		0.00		0.00		0.00		0.50		5.06		14		55.13

		1356817.3935		382935.5056		10.2		122		1966		1965.56		1965.91		0.44		0.00						0.62		0.61		6.21		0.00		0.00		0.00		0.50		5.06		14		61.34

		1356825.9968		382941.0286		10.2		132		1966		1965.55		1965.90		0.45		0.00						0.63		0.63		6.39		0.00		0.00		0.00		0.50		5.06		14		67.74

		1356834.6002		382946.5516		10.0		142		1966		1965.53		1965.88		0.47		0.00						0.65		0.64		6.43		0.00		0.00		0.00		0.50		4.95		14		74.17

		1356843.2036		382952.0746		10.2		152		1966		1965.52		1965.87		0.48		0.00		800.00				0.67		0.66		6.76		0.00		0.00		0.00		0.50		5.06		14		80.93

		1356851.7691		382957.6524		10.2		162		1966.0011		1965.51		1965.86		0.49		0.00						0.69		0.68		6.95		0.00		0.00		0.00		0.50		5.06		14		87.87

		1356859.5087		382964.332		10.2		172		1966		1965.50		1965.85		0.50		0.00						0.71		0.70		7.13		0.00		0.00		0.00		0.50		5.06		14		95.00

		1356867.2402		382971.0212		10.2		183		1966		1965.48		1965.83		0.52		0.00						0.72		0.71		7.31		0.00		0.00		0.00		0.50		5.06		14		102.31

		1356875.1914		382977.4247		10.2		193		1966		1965.47		1965.82		0.53		0.00						0.74		0.73		7.48		0.00		0.00		0.00		0.50		5.05		14		109.78

																												109.78						2.07				95.48		270





TC11 AT SC3 CH 460 CNGD

		

		chainage		0+460-0+240

		bed width		0.3										masonry width		Working space		total cut width

		Slope		500										0.35		0.35		1.35

		Total depth		0.3														0.27

		Side slope of canal		0														0.28

		Side slope of Burm		1														0.30

		Insert top width of built burm for fill		0														0.33

		OFFTAKE LEVEL CBL		1965.73														0.34

		Northing		Easting		Partial Distance		Chainage		Elevation		CBL		Bank level		CUT(m)		Fill(m)		slope		drop		Area of cut		Average Area of Cut		Volume of cut		Area of Fill		Average Area of Fill		Volume of Fill		Massonry Area (m2)		Massonry volume(m3)		PLASTERING		CUM.VOL.CUT

		1356720.9551		382861.6996		0		0		1966		1965.73		1966.03		0.27		0.03		700.00				0.36		0.00		0.00		0.03		0.00		0.00		0.45		0.00		0		0.00

		1356714.9427		382853.6611		10.0		10		1966		1965.72		1966.02		0.28		0.02						0.38		0.37		3.76		0.01		0.02		0.21		0.45		4.52		14		3.76

		1356708.9302		382845.6227		10.0		20		1966		1965.70		1966.00		0.30		0.00		800.00				0.40		0.39		3.94		0.00		0.01		0.08		0.45		4.50		14		7.69

		1356702.692		382837.7626		10.0		30		1966.0157		1965.69		1965.99		0.33		0.00						0.44		0.42		4.22		0.00		0.00		0.01		0.45		4.50		14		11.91

		1356695.6516		382830.6146		10.0		40		1966.0426		1965.68		1965.98		0.37		0.00						0.49		0.47		4.68		0.00		0.00		0.00		0.45		4.50		14		16.59

		1356687.8603		382824.2934		10.0		50		1966.0025		1965.66		1965.96		0.34		0.00						0.46		0.48		4.76		0.00		0.00		0.00		0.45		4.50		14		21.35

		1356679.5626		382818.6449		10.0		60		1966		1965.65		1965.95		0.35		0.00						0.47		0.46		4.66		0.00		0.00		0.00		0.45		4.52		14		26.01

		1356671.2368		382813.037		10.0		70		1966		1965.64		1965.94		0.36		0.00		500.00				0.49		0.48		4.79		0.00		0.00		0.00		0.45		4.50		14		30.80

		1356662.9111		382807.4292		10.0		80		1966		1965.63		1965.93		0.37		0.00						0.50		0.50		4.98		0.00		0.00		0.00		0.45		4.52		14		35.78

		1356654.0138		382802.8223		10.0		90		1966		1965.61		1965.91		0.39		0.00						0.52		0.51		5.14		0.00		0.00		0.00		0.45		4.51		14		40.92

		1356646.4935		382796.3097		9.9		100		1966		1965.60		1965.90		0.40		0.00		600.00				0.54		0.53		5.27		0.00		0.00		0.00		0.45		4.48		13		46.19

		1356638.1587		382790.7153		10.0		110		1966		1965.59		1965.89		0.41		0.00						0.56		0.55		5.49		0.00		0.00		0.00		0.45		4.52		14		51.67

		1356629.8239		382785.1208		10.0		120		1966		1965.58		1965.88		0.42		0.00		1000.00				0.57		0.56		5.66		0.00		0.00		0.00		0.45		4.52		14		57.33

		1356621.5851		382779.3898		10.0		130		1966		1965.56		1965.86		0.44		0.00						0.59		0.58		5.83		0.00		0.00		0.00		0.45		4.52		14		63.16

		1356613.5022		382773.4372		10.0		140		1966		1965.55		1965.85		0.45		0.00						0.61		0.60		5.97		0.00		0.00		0.00		0.45		4.50		14		69.13

		1356605.4194		382767.4846		10.0		150		1966		1965.54		1965.84		0.46		0.00						0.62		0.61		6.15		0.00		0.00		0.00		0.45		4.52		14		75.28

		1356597.3365		382761.532		10.0		160		1966		1965.53		1965.83		0.47		0.00		500.00				0.63		0.63		6.29		0.00		0.00		0.00		0.45		4.52		14		81.57

		1356588.2496		382757.9344		9.8		170		1966		1965.52		1965.82		0.48		0.00						0.65		0.64		6.25		0.00		0.00		0.00		0.45		4.40		13		87.82

		1356579.2622		382761.771		9.8		180		1965.9983		1965.51		1965.81		0.49		0.00						0.66		0.65		6.37		0.00		0.00		0.00		0.45		4.40		13		94.19

		1356569.9429		382765.4979		10.0		190		1965.9743		1965.50		1965.80		0.47		0.00						0.64		0.65		6.50		0.00		0.00		0.00		0.45		4.52		14		100.69

		1356560.6085		382769.1905		10.0		200		1965.9615		1965.49		1965.79		0.47		0.00						0.63		0.64		6.39		0.00		0.00		0.00		0.45		4.52		14		107.08

		1356551.2741		382772.883		10.0		210		1965.9681		1965.48		1965.78		0.49		0.00						0.66		0.65		6.48		0.00		0.00		0.00		0.45		4.52		14		113.56

		1356541.9396		382776.5756		10.0		220		1965.9746		1965.47		1965.77		0.50		0.00						0.68		0.67		6.71		0.00		0.00		0.00		0.45		4.52		14		120.27

		1356532.6052		382780.2682		10.0		230		1965.9811		1965.46		1965.76		0.52		0.00		500.00				0.70		0.69		6.93		0.00		0.00		0.00		0.45		4.52		14		127.20

		1356523.2708		382783.9607		10.0		240		1965.9876		1965.45		1965.75		0.54		0.00		800.00				0.72		0.71		7.16		0.00		0.00		0.00		0.45		4.52		14		134.35

																												134.35		0.0423302178		0.0288302178		0.2890880665		11.25		108.0198496284		324.0595488851		1524.2990439467





TC12 AT810. SC3 CHANGED

		

		chainage		0+840-0+310

		bed width		0.3										masonry width		Working space		total cut width

		Slope		500										0		0		0.30

		Total depth		0.3														0.40

		Side slope of canal		0														0.36

		Side slope of Burm		1														0.38

		Insert top width of built burm for fill		0														0.40

		OFFTAKE LEVEL CBL		1951.36														0.44

		Northing		Easting		Partial Distance		Chainage		Elevation		CBL		Bank level		CUT(m)		Fill(m)		slope		drop		Area of cut		Average Area of Cut		Volume of cut		Area of Fill		Average Area of Fill		Volume of Fill		Massonry Area (m2)		Massonry volume(m3)		PLASTERING		CUM.VOL.CUT

		1356760.0372		382488.4991		0		0		1951.8		1951.36		1951.66		0.40		0.00		600.00				0.12		0.00		0.00		0.00		0.00		0.00		0.45		0.00		0		0.00

		1356770.2677		382487.8659		10.0		10		1951.7		1951.34		1951.64		0.37		0.00						0.11		0.12		1.17								0.45

		1356780.4994		382487.2541		10.0		20		1951.7		1951.33		1951.63		0.36		0.00						0.11		0.11		1.10		0.00		0.00		0.00		0.45		4.50		3		1.10

		1356790.7321		382487.6502		10.0		30		1951.7		1951.31		1951.61		0.38		0.00		600.00				0.11		0.11		1.11		0.00		0.00		0.00		0.45		4.50		3		2.22

		1356800.7891		382489.5799		10.0		40		1951.7		1951.29		1951.59		0.40		0.00						0.12		0.12		1.17		0.00		0.00		0.00		0.45		4.50		3		3.38

		1356810.5863		382492.5913		10.0		50		1951.7		1951.28		1951.58		0.41		0.00						0.12		0.12		1.22		0.00		0.00		0.00		0.45		4.50		3		4.60

		1356820.3695		382495.6497		10.0		60		1951.7		1951.26		1951.56		0.44		0.00						0.13		0.13		1.28		0.00		0.00		0.00		0.45		4.50		3		5.88

		1356830.1528		382498.708		10.0		70		1951.7		1951.24		1951.54		0.46		0.00						0.14		0.13		1.35		0.00		0.00		0.00		0.45

		1356839.936		382501.7663		10.0		80		1951.7		1951.23		1951.53		0.48		0.00						0.15		0.14		1.42		0.00		0.00		0.00		0.45		4.50		3		7.29

		1356849.7192		382504.8247		10.0		90		1951.7		1951.21		1951.51		0.50		0.00		500.00				0.15		0.15		1.48		0.00		0.00		0.00		0.45		4.50		3		8.77

		1356859.5024		382507.883		10.0		100		1951.7		1951.20		1951.50		0.52		0.00						0.16		0.15		1.54		0.00		0.00		0.00		0.45		4.50		3		10.31

		1356869.2726		382510.9814		10.0		110		1951.7		1951.19		1951.49		0.50		0.00						0.15		0.15		1.54		0.00		0.00		0.00		0.45		4.50		3		11.84

		1356878.6566		382515.0833		10.0		120		1951.7		1951.18		1951.48		0.48		0.00		800.00				0.14		0.15		1.47		0.00		0.00		0.00		0.45		4.50		3		13.31

		1356887.8079		382519.7007		10.0		130		1951.6		1951.16		1951.46		0.47		0.00						0.14		0.14		1.42		0.00		0.00		0.00		0.45		4.50		3		14.73

		1356896.9591		382524.318		10.0		140		1951.6		1951.15		1951.45		0.47		0.00						0.14		0.14		1.41		0.00		0.00		0.00		0.45		4.50		3		16.14

		1356906.1103		382528.9354		10.0		150		1951.6		1951.14		1951.44		0.46		0.00						0.14		0.14		1.40		0.00		0.00		0.00		0.45		4.50		3		17.54

		1356915.2615		382533.5528		10.0		160		1951.6		1951.13		1951.43		0.46		0.00						0.14		0.14		1.38		0.00		0.00		0.00		0.45		4.50		3		18.92

		1356924.4127		382538.1701		10.0		170		1951.5		1951.11		1951.41		0.42		0.00						0.13		0.13		1.33		0.00		0.00		0.00		0.45		4.50		3		20.25

		1356933.5639		382542.7875		10.0		180		1951.5		1951.10		1951.40		0.38		0.00		500.00				0.11		0.12		1.21		0.00		0.00		0.00		0.45		4.50		3		21.46

		1356942.7151		382547.4049		10.0		190		1951.5		1951.09		1951.39		0.42		0.00						0.13		0.12		1.21		0.00		0.00		0.00		0.45		4.50		3		22.66

		1356951.8663		382552.0222		10.0		200		1951.5		1951.08		1951.38		0.47		0.00						0.14		0.13		1.34		0.00		0.00		0.00		0.45		4.50		3		24.00

		1356961.0176		382556.6396		10.0		210		1951.6		1951.06		1951.36		0.51		0.00						0.15		0.15		1.47		0.00		0.00		0.00		0.45		4.50		3		25.47

		1356970.1649		382561.2645		10.0		220		1951.6		1951.05		1951.35		0.56		0.00						0.17		0.16		1.60		0.00		0.00		0.00		0.45		4.50		3		27.07

		1356978.8494		382566.6908		10.0		230		1951.7		1951.04		1951.34		0.63		0.00						0.19		0.18		1.78		0.00		0.00		0.00		0.45		4.50		3		28.85

		1356986.6197		382573.3608		10.0		240		1951.6		1951.03		1951.33		0.59		0.00						0.18		0.18		1.83		0.00		0.00		0.00		0.45		4.50		3		30.68

		1356993.6344		382580.8341		10.0		250		1951.6		1951.01		1951.31		0.57		0.00		700.00				0.17		0.17		1.74		0.00		0.00		0.00		0.45		4.50		3		32.41

		1357000.6159		382588.339		10.0		260		1951.5		1951.00		1951.30		0.54		0.00						0.16		0.17		1.66		0.00		0.00		0.00		0.45		4.50		3		34.07

		1357007.5974		382595.8438		10.0		270		1951.6		1950.99		1951.29		0.61		0.00						0.18		0.17		1.73		0.00		0.00		0.00		0.45		4.50		3		35.80

		1357014.5789		382603.3487		10.0		280		1951.7		1950.98		1951.28		0.69		0.00						0.21		0.20		1.95		0.00		0.00		0.00		0.45		4.50		3		37.75

		1357021.5604		382610.8536		10.0		290		1951.7		1950.96		1951.26		0.73		0.00						0.22		0.21		2.12		0.00		0.00		0.00		0.45		4.50		3		39.88

		1357028.542		382618.3585		10.0		300		1951.7		1950.95		1951.25		0.76		0.00						0.23		0.22		2.24		0.00		0.00		0.00		0.45		4.50		3		42.11

		1357035.5235		382625.8634		10.0		310		1951.7		1950.94		1951.24		0.80		0.00						0.24		0.24		2.35		0.00		0.00		0.00		0.45		4.50		3		44.46

																								4.88		4.70		46.98		0.00		0		0.00		14.4		130.5		87		602.9626000003





TC(8) AT SC4  CH 2 CHNGD

		

		chainage		0+00-170

		bed width		0.3										masonry width		Working space		total cut width

		Slope		500										0.35		0.35		1.35

		Total depth		0.3														0.41

		Side slope of canal		0														0.49

		Side slope of Burm		1														0.50

		Insert top width of built burm for fill		0														0.50

		OFFTAKE LEVEL CBL		1987.59														0.51

		Northing		Easting		Partial Distance		Chainage		Elevation		CBL		Bank level		CUT(m)		Fill(m)		slope		drop		Area of cut		Average Area of Cut		Volume of cut		Area of Fill		Average Area of Fill		Volume of Fill		Massonry Area (m2)		Massonry volume(m3)		PLASTERING		CUM.VOL.CUT

		1356674.5637		383304.7181		0		0		1987.9999		1987.59		1987.89		0.41		0.00		500.00				0.55		0.00		0.00		0.00		0.00		0.00		0.45		0.00		0		0.00

		1356664.2992		383304.0899		10.3		10		1988.0617		1987.57		1987.87		0.49		0.00						0.66		0.61		6.26		0.00		0.00		0.00		0.45		4.63		14		6.26

		1356654.0347		383303.4618		10.0		20		1988.0548		1987.56		1987.86		0.50		0.00						0.67		0.67		6.68		0.00		0.00		0.00		0.45		4.50		14		12.95

		1356643.7702		383302.8337		10.0		30		1988.0465		1987.54		1987.84		0.50		0.00						0.68		0.67		6.75		0.00		0.00		0.00		0.45		4.50		14		19.70

		1356633.5056		383302.2055		10.0		40		1988.0382		1987.53		1987.83		0.51		0.00						0.68		0.68		6.81		0.00		0.00		0.00		0.45		4.50		14		26.50

		1356623.2411		383301.5774		10.0		50		1988.0299		1987.52		1987.82		0.51		0.00		800.00				0.69		0.69		6.86		0.00		0.00		0.00		0.45		4.50		14		33.36

		1356612.9766		383300.9493		10.3		61		1988.0216		1987.51		1987.81		0.52		0.00						0.70		0.69		7.12		0.00		0.00		0.00		0.45		4.63		14		40.48

		1356602.7121		383300.3211		10.0		71		1988.0133		1987.49		1987.79		0.52		0.00		600.00				0.70		0.70		6.98		0.00		0.00		0.00		0.45		4.50		14		47.46

		1356592.4476		383299.693		10.3		81		1988.0049		1987.48		1987.78		0.52		0.00						0.71		0.70		7.24		0.00		0.00		0.00		0.45		4.63		14		54.70

		1356582.1987		383298.8649		10.3		91		1987.9864		1987.47		1987.77		0.52		0.00						0.70		0.70		7.23		0.00		0.00		0.00		0.45		4.63		14		61.93

		1356572.0255		383297.3744		10.3		101		1987.9881		1987.46		1987.76		0.53		0.00						0.72		0.71		7.29		0.00		0.00		0.00		0.45		4.63		14		69.22

		1356561.9684		383295.2338		10.3		112		1988		1987.44		1987.74		0.56		0.00						0.75		0.74		7.56		0.00		0.00		0.00		0.45		4.63		14		76.79

		1356551.9496		383292.9147		10.3		122		1988		1987.43		1987.73		0.57		0.00						0.77		0.76		7.83		0.00		0.00		0.00		0.45		4.63		14		84.62

		1356541.9857		383290.3763		10.3		132		1987.9999		1987.42		1987.72		0.58		0.00						0.79		0.78		8.00		0.00		0.00		0.00		0.45		4.63		14		92.62

		1356532.1124		383287.4999		10.0		142		1987.9993		1987.40		1987.70		0.59		0.00						0.80		0.80		7.95		0.00		0.00		0.00		0.45		4.50		14		100.57

		1356522.4136		383284.092		10.3		153		1987.9922		1987.39		1987.69		0.60		0.00						0.81		0.81		8.30		0.00		0.00		0.00		0.45		4.63		14		108.86

		1356512.898		383280.1922		10.3		163		1987.9822		1987.38		1987.68		0.60		0.00		700.00				0.81		0.81		8.36		0.00		0.00		0.00		0.45		4.63		14		117.22

		1356503.3831		383276.2907		10.3		173		1987.9852		1987.37		1987.67		0.62		0.00						0.84		0.83		8.49		0.00		0.00		0.00		0.45		4.63		14		125.71

																												125.71		0		0		0		8.1				233.6998735915		1078.9719234012





TC-7-MC1

		

		chainage		0+2600-220

		bed width		0.3										masonry width		Working space		total cut width

		Slope		500										0.35		0.35		1.35

		Total depth		0.3														0.75

		Side slope of canal		0														0.89

		Side slope of Burm		1														0.66

		Insert top width of built burm for fill		0														0.68

		OFFTAKE LEVEL CBL		1988.28														0.72

		Northing		Easting		Partial Distance		Chainage		Elevation		CBL		Bank level		CUT(m)		Fill(m)		slope		drop		Area of cut		Average Area of Cut		Volume of cut		Area of Fill		Average Area of Fill		Volume of Fill		Massonry Area (m2)		Massonry volume(m3)		PLASTERING		CUM.VOL.CUT

		1356678.6021		383324.5281		0.0		0		1989.1671		1988.28		1988.58		0.89		0

		1356688.5533		383325.5102		10		10		1989.1297		1988.27		1988.27		0.86		0

		1356698.5045		383326.4923		10		20		1989.0923		1988.26		1989.26		0.83		0

		1356708.4557		383327.4744		10		30		1989.0306		1988.25		1988.25		0.78		0		1000.00				1.05		0.00		0.00		0.00		0.00		0.00		0.45		4.50		13		0.00

		1356718.4068		383328.4565		10		40		1988.9306		1988.24		3976.52		0.69		0						0.93		0.99		9.93		0.00		0.00		0.00		0.45		4.50		13		9.93

		1356728.1009		383330.8581		10		50		1988.8856		1988.23		3976.51		0.66		0						0.89		0.91		9.08		0.00		0.00		0.00		0.45		4.49		13		19.01

		1356737.7617		383333.4385		10		60		1988.8981		1988.22		3976.50		0.68		0						0.92		0.90		9.00		0.00		0.00		0.00		0.45		4.50		13		28.01

		1356747.4226		383336.0189		10		70		1988.9106		1988.21		3976.49		0.70		0						0.95		0.93		9.31		0.00		0.00		0.00		0.45		4.50		13		37.31

		1356757.0834		383338.5993		10		80		1988.9232		1988.20		3976.48		0.72		0						0.98		0.96		9.61		0.00		0.00		0.00		0.45		4.50		13		46.92

		1356766.7443		383341.1796		10		90		1988.9357		1988.19		3976.47		0.75		0						1.01		0.99		9.91		0.00		0.00		0.00		0.45		4.50		13		56.84

		1356776.4052		383343.76		10		100		1988.9166		1988.18		3976.46		0.74		0		300.00				0.99		1.00		10.00		0.00		0.00		0.00		0.45		4.50		13		66.84

		1356786.066		383346.3404		10		110		1988.8612		1988.17		3976.45		0.69		0						0.93		0.96		9.64		0.00		0.00		0.00		0.45		4.50		13		76.48

		1356795.7269		383348.9208		10		120		1988.8057		1988.16		3976.44		0.65		0						0.87		0.90		9.02		0.00		0.00		0.00		0.45		4.50		13		85.50

		1356805.3877		383351.5012		10		130		1988.7502		1988.15		3976.43		0.60		0						0.81		0.84		8.41		0.00		0.00		0.00		0.45		4.50		13		93.91

		1356815.0486		383354.0815		10		140		1988.6947		1988.14		3976.42		0.55		0						0.75		0.78		7.79		0.00		0.00		0.00		0.45		4.50		13		101.71

		1356824.7095		383356.6619		10		150		1988.6393		1988.13		3976.41		0.51		0						0.69		0.72		7.18		0.00		0.00		0.00		0.45		4.50		13		108.89

		1356833.6484		383361.0312		10		160		1988.6447		1988.12		3976.40		0.52		0						0.71		0.70		6.94		0.00		0.00		0.00		0.45		4.48		13		115.83

		1356842.3821		383365.9008		10		170		1988.7018		1988.11		3976.39		0.59		0						0.80		0.75		7.54		0.00		0.00		0.00		0.45		4.50		13		123.37

		1356851.1157		383370.7704		10		180		1988.7428		1988.10		3976.38		0.64		0						0.87		0.83		8.33		0.00		0.00		0.00		0.45		4.50		13		131.70

		1356859.8494		383375.64		10		190		1988.7838		1988.09		3976.37		0.69		0		700.00				0.94		0.90		9.02		0.00		0.00		0.00		0.45		4.50		13		140.72

		1356868.5831		383380.5096		10		200		1988.8248		1988.08		3976.36		0.74		0						1.01		0.97		9.71		0.00		0.00		0.00		0.45		4.50		13		150.43

		1356877.3168		383385.3793		10		210		1988.8658		1988.07		3976.35		0.80		0						1.07		1.04		10.40		0.00		0.00		0.00		0.45		4.50		13		160.83

		1356886.0505		383390.2489		10		220		1988.8807		1988.06		3976.34		0.82		0						1.11		1.09		10.91		0.00		0.00		0.00		0.45		85.47		256		1554.21

		1356894.7842		383395.1185		10		230		1988.8765		1988.05		3976.33		0.83		0						1.12		1.11		11.12		0.00		0.00		0.00		0.45

		1356903.5179		383399.9881		10		240		1988.8723		1988.04		3976.32		0.83		0						1.12		1.12		11.20		0.00		0.00		0.00		0.45

		1356912.2516		383404.8577		10		250		1988.8363		1988.03		3976.31		0.81		0						1.09		1.11		11.06		0.00		0.00		0.00		0.45

		1356920.9853		383409.7273		10		260		1988.7113		1987.9913492063		3976.27		0.72		0						0.97		1.03		10.30		0.00		0.00		0.00		0.45

		1356929.719		383414.5969		10		270		1988.5863		1987.9813492063		3976.26		0.60		0						0.82		0.89		8.94		0.00		0.00		0.00		0.45

		1356938.4527		383419.4666		10		280		1988.4614		1987.9713492063		3976.25		0.49		0						0.66		0.74		7.39		0.00		0.00		0.00		0.45

																												174.9052986698								8.55		85.4678851576





TC4 ATSC2 CH320

		

		chainage		0+00-0+250

		bed width		0.3										masonry width		Working space		total cut width

		Slope		300										0		0		0.30

		Total depth		0.3														0.35

		Side slope of canal		0														0.36

		Side slope of Burm		1														0.38

		Insert top width of built burm for fill		0														0.40

		OFFTAKE LEVEL CBL		1976.65														0.44

		Northing		Easting		Partial Distance		Chainage		Elevation		CBL		Bank level		CUT(m)		Fill(m)		slope		drop		Area of cut		Average Area of Cut		Volume of cut		Area of Fill		Average Area of Fill		Volume of Fill		Massonry Area (m2)		Massonry volume(m3)		PLASTERING		CUM.VOL.CUT

		1355742.4735		383115.8778		0		0		1977		1976.65		1976.95		0.35		0.0		2.00				0.10		0.00		0.00		0.00		0.00		0.00		0.45		0.00		0		0.00

		1355737.8835		383106.8243		10.2		10		1976.9988		1976.64		1976.94		0.36		0.0		600.00				0.11		0.11		1.08		0.00		0.00		0.00		0.45		4.57		3		1.08

		1355735.7698		383096.9758		10.0		20		1976.9988		1976.62		1976.92		0.38		0.0						0.11		0.11		1.11		0.00		0.00		0.00		0.45		4.50		3		2.19

		1355736.0752		383086.8296		10.0		30		1977		1976.60		1976.90		0.40		0.0						0.12		0.12		1.17		0.00		0.00		0.00		0.45		4.50		3		3.36

		1355735.9699		383076.697		10.0		40		1977.0285		1976.58		1976.88		0.45		0.0						0.13		0.13		1.27		0.00		0.00		0.00		0.45		4.50		3		4.63

		1355732.3171		383067.306		10.0		50		1977		1976.56		1976.86		0.44		0.0						0.13		0.13		1.33		0.00		0.00		0.00		0.45		4.50		3		5.96

		1355727.0306		383058.6404		10.2		60		1977		1976.54		1976.84		0.46		0.0						0.14		0.13		1.37		0.00		0.00		0.00		0.45		4.57		3		7.33

		1355722.1305		383049.7703		10.0		70		1977		1976.52		1976.82		0.48		0.0		500.00				0.14		0.14		1.41		0.00		0.00		0.00		0.45		4.50		3		8.74

		1355718.2603		383040.3862		10.2		80		1977		1976.50		1976.80		0.50		0.0						0.15		0.15		1.49		0.00		0.00		0.00		0.45		4.57		3		10.23

		1355712.7991		383031.9465		10.1		91		1977.0939		1976.49		1976.79		0.61		0.0						0.18		0.17		1.67		0.00		0.00		0.00		0.45		4.52		3		11.90

		1355703.9964		383027.0505		10.1		101		1977		1976.47		1976.77		0.53		0.0						0.16		0.17		1.71		0.00		0.00		0.00		0.45		4.53		3		13.61

		1355694.5371		383023.3678		10.2		111		1977		1976.46		1976.76		0.54		0.0						0.16		0.16		1.62		0.00		0.00		0.00		0.45		4.57		3		15.23

		1355685.0779		383019.6851		10.2		121		1977		1976.45		1976.75		0.55		0.0						0.17		0.16		1.66		0.00		0.00		0.00		0.45		4.57		3		16.89

		1355675.6186		383016.0024		10.2		131		1977		1976.44		1976.74		0.56		0.0						0.17		0.17		1.70		0.00		0.00		0.00		0.45		4.57		3		18.59

		1355666.1593		383012.3197		10.0		141		1977		1976.42		1976.72		0.58		0.0						0.17		0.17		1.71		0.00		0.00		0.00		0.45		4.50		3		20.30

		1355656.2414		383011.6053		9.9		151		1977.0921		1976.41		1976.71		0.68		0.0						0.20		0.19		1.87		0.00		0.00		0.00		0.45		4.47		3		22.17

		1355647.9708		383017.2717		10.0		161		1977		1976.40		1976.70		0.60		0.0		800.00				0.18		0.19		1.93		0.00		0.00		0.00		0.45		4.51		3		24.10

		1355639.9645		383023.3786		10.1		171		1976.9375		1976.39		1976.69		0.55		0.0						0.17		0.17		1.74		0.00		0.00		0.00		0.45		4.53		3		25.84

		1355629.935		383024.5284		10.1		181		1977		1976.37		1976.67		0.63		0.0						0.19		0.18		1.78		0.00		0.00		0.00		0.45		4.54		3		27.62

		1355619.7919		383024.9226		10.2		191		1977.0017		1976.36		1976.66		0.64		0.0						0.19		0.19		1.93		0.00		0.00		0.00		0.45		4.57		3		29.55

		1355610.6888		383028.9822		10.0		201		1977		1976.35		1976.65		0.65		0.0						0.20		0.19		1.93		0.00		0.00		0.00		0.45		4.49		3		31.48

		1355602.6736		383035.2109		10.2		211		1977		1976.34		1976.64		0.66		0.0						0.20		0.20		2.00		0.00		0.00		0.00		0.45		4.57		3		33.48

		1355594.6584		383041.4396		10.2		222		1977		1976.32		1976.62		0.68		0.0						0.20		0.20		2.04		0.00		0.00		0.00		0.45		4.57		3		35.52

		1355586.2056		383046.9472		10.1		232		1976.9976		1976.31		1976.61		0.69		0.0		500.00				0.21		0.20		2.06		0.00		0.00		0.00		0.45		4.54		3		37.59

		1355576.4622		383049.7942		10.2		242		1977		1976.30		1976.60		0.70		0.0						0.21		0.21		2.11		0.00		0.00		0.00		0.45		4.57		3		39.70

		1355566.7168		383052.6345		10.2		252		1977		1976.29		1976.59		0.71		0.0						0.21		0.21		2.16		0.00		0.00		0.00		0.45		4.57		3		41.86

																												41.86		0		0		0		11.7		113.3883427367		75.5922284911		488.9280176284





TC3-SC2 -MC1

		

		chainage		0+1540sc2-0+20

		bed width		0.3										masonry width		Working space		total cut width

		Slope		300										0		0		0.30

		Total depth		0.3														-0.26

		Side slope of canal		0														0.16

		Side slope of Burm		1														0.18

		Insert top width of built burm for fill		0														0.24

		OFFTAKE LEVEL CBL		1986.67														0.42

		Northing		Easting		Partial Distance		Chainage		Elevation		CBL		Bank level		CUT(m)		Fill(m)		slope		drop		Area of cut		Average Area of Cut		Volume of cut		Area of Fill		Average Area of Fill		Volume of Fill		Massonry Area (m2)		Massonry volume(m3)		PLASTERING		CUM.VOL.CUT

		1355691.9415		383329.499		0		0		1986.413		1986.67		1986.97		0.00		0.56						0.00		0.00		0.00		0.48		0.00		0.00		0.45		0.00		0		0.00

		1355683.0575		383329.499		8.9		9		1986.3929		1986.23		1986.53		0.16		0						0.05		0.02		0.22		0.12		0.30		2.69		0.45		4.00		3		0.22

		1355674.1735		383329.499		10.0		19		1986.3729		1986.20		1986.50		0.18		0						0.05		0.05		0.51		0.11		0.12		1.17		0.45		4.50		3		0.73

		1355665.2895		383329.499		10.0		29		1986.4043		1986.16		1986.46		0.24		0						0.07		0.06		0.63		0.05		0.08		0.82		0.45		4.50		3		1.35

		1355656.4055		383329.499		10.0		39		1986.4588		1986.13		1986.43		0.33		0.00						0.10		0.09		0.86		0.00		0.03		0.26		0.45		4.50		3		2.21

		1355647.5215		383329.499		10.0		49		1986.5132		1986.10		1986.40		0.42		0.00						0.13		0.11		1.12		0.00		0.00		0.00		0.45		4.50		3		3.33

		1355638.6375		383329.499		8.9		58		1986.5676		1986.07		1986.37		0.50		0.00		20.00				0.15		0.14		1.22		0.00		0.00		0.00		0.45		4.00		3		4.55

		1355629.7535		383329.499		10.0		68		1986.6221		1986.03		1986.33		0.59		0.00		300.00				0.18		0.16		1.63		0.00		0.00		0.00		0.45		4.50		3		6.19

		1355620.8695		383329.499		8.9		77		1986.6583		1986.00		1986.30		0.65		0.00						0.20		0.19		1.66		0.00		0.00		0.00		0.45		4.00		3		7.85

		1355611.9855		383329.499		8.9		86		1986.0764		1985.97		1986.27		0.10		0.20						0.03		0.11		1.01		0.07		0.03		0.30		0.45		4.00		3		8.85

		1355603.1015		383329.499		8.9		94		1986.357		1985.94		1986.24		0.41		0.00						0.12		0.08		0.69		0.00		0.03		0.30		0.45		4.00		3		9.54

		1355594.1761		383329.499		8.9		103		1986.3816		1985.91		1986.21		0.47		0.00		500.00				0.14		0.13		1.18		0.00		0.00		0.00		0.45		4.02		3		10.72

		1355585.0139		383329.499		9.2		113		1986.3657		1985.88		1986.18		0.48		0.00						0.14		0.14		1.30		0.00		0.00		0.00		0.45		4.12		3		12.02

		1355575.6119		383329.499		9.4		122		1986.4275		1985.85		1986.15		0.57		0.00		1000.00				0.17		0.16		1.49		0.00		0.00		0.00		0.45		4.23		3		13.51

																												13.51		0.8369422782		0.5956188274		5.54		6.3		54.86		37		81.08





TC 2 SC1 10 MC 1

		

		chainage		0+430sc1-0+320

		bed width		0.3										masonry width		Working space		total cut width

		Slope		500										0.35		0.35		1.35

		Total depth		0.3														0.60

		Side slope of canal		0														0.45

		Side slope of Burm		0														0.35

		Insert top width of built burm for fill		0														0.21

		OFFTAKE LEVEL CBL		1991.21														0.15

		Northing		Easting		Partial Distance		Chainage		Elevation		CBL		Bank level		CUT(m)		Fill(m)		slope		drop		Area of cut		Average Area of Cut		Volume of cut		Area of Fill		Average Area of Fill		Volume of Fill		Massonry Area (m2)		Massonry volume(m3)		PLASTERING		CUM.VOL.CUT

		1354844.9673		383470.3774		0		0		1991.8137		1991.21		1991.51		0.60		0.00		500.00				0.81		0.00		0.00		0.00		0.00		0.00		0.45		0.00		0		0.00

		1354854.7283		383472.5088		10.0		10		1991.647		1991.19		1991.49		0.45		0.00		600.00				0.61		0.71		7.13		0.00		0.00		0.00		0.45		4.50		13		7.13

		1354863.9441		383476.293		10.0		20		1991.5271		1991.18		1991.48		0.35		0.00						0.47		0.54		5.43		0.00		0.00		0.00		0.45		4.50		14		12.56

		1354872.6863		383481.1307		10.0		30		1991.37		1991.16		1991.46		0.21		0.09		100.00				0.28		0.38		3.78		0.03		0.01		0.14		0.45		4.50		14		16.34

		1354881.7752		383485.2295		10.0		40		1991.1914		1991.06		1991.36		0.13		0.17						0.18		0.23		2.30		0.01		0.02		0.19		0.45		4.50		14		18.65

		1354891.294		383488.26		10.0		50		1991.1084		1990.96		1991.26		0.15		0.15		700.00				0.20		0.19		1.89		0.00		0.01		0.06		0.45		4.50		14		20.53

		1354900.8699		383491.1114		10.0		60		1991.1308		1990.86		1991.16		0.27		0.03						0.37		0.28		2.83		0.01		0.00		0.05		0.45		4.50		13		23.36

		1354910.4408		383493.9797		10.0		70		1991.1808		1990.76		1991.06		0.42		0.00		700.00				0.57		0.47		4.67		0.00		0.00		0.04		0.45		4.50		14		28.03

		1354920.0031		383496.877		10.0		80		1991.2354		1990.75		1991.05		0.49		0.00						0.66		0.61		6.14		0.00		0.00		0.00		0.45		4.50		13		34.17

		1354929.5862		383499.6995		10.0		90		1991.2114		1990.73		1991.03		0.48		0.00						0.65		0.65		6.54		0.00		0.00		0.00		0.45		4.50		13		40.70

		1354939.3828		383501.6624		10.0		100		1991.1249		1990.72		1991.02		0.41		0.00						0.55		0.60		5.99		0.00		0.00		0.00		0.45		4.50		13		46.69

		1354949.2222		383503.3579		10.0		110		1991.0331		1990.70		1991.00		0.33		0.00						0.45		0.50		4.97		0.00		0.00		0.00		0.45		4.49		13		51.66

		1354959.146		383502.5857		10.0		120		1991.0457		1990.69		1990.99		0.36		0.00						0.48		0.46		4.62		0.00		0.00		0.00		0.45		4.48		13		56.28

																								6.28		5.6330637258		56.28		0.0479327738		0.0479327738		0.48		5.85		53.95		162		356.09





TC1-SC1-10-MC500

		

		chainage		0+430sc1-0+200

		bed width		0.3										masonry width		Working space		total cut width

		Slope		500										0		0		0.30

		Total depth		0.3														0.60

		Side slope of canal		0														0.54

		Side slope of Burm		1														0.57

		Insert top width of built burm for fill		0														0.61

		OFFTAKE LEVEL CBL		1991.21														0.70

		Northing		Easting		Partial Distance		Chainage		Elevation		CBL		Bank level		CUT(m)		Fill(m)		slope		drop		Area of cut		Average Area of Cut		Volume of cut		Area of Fill		Average Area of Fill		Volume of Fill		Massonry Area (m2)		Massonry volume(m3)		PLASTERING		CUM.VOL.CUT

		1354844.9677		383470.3776		0		0		1991.8137		1991.21		1991.51		0.60		0.00		600.00				0.18		0.00		0.00		0.00		0.00		0.00		0.45		0.00		0		0.00

		1354839.4123		383461.8945		10		10		1991.7299		1991.19		1991.49		0.54		0.00						0.16		0.17		1.73		0.00		0.00		0.00		0.45		4.56		3		1.73

		1354831.6552		383455.3777		10		20		1991.7436		1991.18		1991.48		0.57		0.00						0.17		0.17		1.68		0.00		0.00		0.00		0.45		4.56		3		3.41

		1354823.5838		383449.2191		10		30		1991.7734		1991.16		1991.46		0.61		0.00						0.18		0.18		1.80		0.00		0.00		0.00		0.45		4.57		3		5.21

		1354815.6162		383442.9272		10		41		1991.7983		1991.14		1991.44		0.66		0.00						0.20		0.19		1.93		0.00		0.00		0.00		0.45		4.57		3		7.15

		1354807.6655		383436.6137		10		51		1991.8238		1991.13		1991.43		0.70		0.00						0.21		0.20		2.06		0.00		0.00		0.00		0.45		4.57		3		9.21

		1354798.599		383432.9607		10		61		1991.6469		1991.11		1991.41		0.54		0.00		500.00				0.16		0.19		1.82		0.00		0.00		0.00		0.45		4.40		3		11.03

		1354788.489		383433.8898		10		71		1991.6207		1991.09		1991.39		0.54		0.00						0.16		0.16		1.64		0.00		0.00		0.00		0.45		4.57		3		12.66

		1354778.379		383434.8189		10		81		1991.5946		1991.07		1991.37		0.53		0.00						0.16		0.16		1.62		0.00		0.00		0.00		0.45		4.57		3		14.29

		1354768.2691		383435.7479		10		91		1991.5494		1991.04		1991.34		0.50		0.00						0.15		0.16		1.57		0.00		0.00		0.00		0.45		4.57		3		15.86

		1354758.1591		383436.677		10		101		1991.5223		1991.02		1991.32		0.50		0.00						0.15		0.15		1.53		0.00		0.00		0.00		0.45		4.57		3		17.39

		1354748.0491		383437.606		10		111		1991.4863		1991.00		1991.30		0.48		0.00						0.14		0.15		1.49		0.00		0.00		0.00		0.45		4.57		3		18.88

		1354737.9391		383438.5351		10		121		1991.4503		1990.99		1991.29		0.46		0.00		600.00				0.14		0.14		1.44		0.00		0.00		0.00		0.45		4.57		3		20.32

		1354728.0298		383440.5998		10		132		1991.4437		1990.97		1991.27		0.47		0.00						0.14		0.14		1.42		0.00		0.00		0.00		0.45		4.55		3		21.74

		1354718.2256		383443.2366		10		142		1991.4342		1990.95		1991.25		0.48		0.00						0.14		0.14		1.45		0.00		0.00		0.00		0.45		4.57		3		23.19

		1354708.4214		383445.8733		10		152		1991.4248		1990.94		1991.24		0.49		0.00						0.15		0.15		1.48		0.00		0.00		0.00		0.45		4.57		3		24.66

		1354698.6172		383448.5101		10		162		1991.3976		1990.92		1991.22		0.48		0.00						0.14		0.14		1.47		0.00		0.00		0.00		0.45		4.57		3		26.14

		1354688.813		383451.1469		10		172		1991.2734		1990.90		1991.20		0.37		0.00						0.11		0.13		1.29		0.00		0.00		0.00		0.45		4.57		3		27.43

		1354678.8919		383453.1896		10		182		1991.223		1990.89		1991.19		0.34		0.00						0.10		0.11		1.07		0.00		0.00		0.00		0.45		4.56		3		28.50

																								2.96		2.82		28.50		0		0.00		0		8.55		82.0264155316		54.684277021		288.79





SC2 AT CH 1540

		

		chainage		0+1540 MC-0+590

		bed width		0.35										masonry width		Working space		total cut width

		Slope		500										0.35		0.35		1.40

		Total depth		0.35														0.97

		Side slope of canal		0														0.98

		Side slope of Burm		1														0.76

		Insert top width of built burm for fill		0														0.30

		OFFTAKE LEVEL CBL		1989.69														0.25

		Northing		Easting		Partial Distance		Chainage		Elevation		CBL		Bank level		CUT(m)		Fill(m)		slope				drop		Area of cut		Average Area of Cut		Volume of cut		Area of Fill		Average Area of Fill		Volume of Fill		Massonry Area (m2)		Massonry volume(m3)		PLASTERING		CUM.VOL.CUT

		1355670.1328		383427.0348		0		0		1990.6615		1989.69		1990.04		0.97		0				0.01				1.36		0.00		0.00		0.00		0.00		0.00		0.50		0.00		0		0.00				0

		1355671.9383		383417.5488		10		10		1990.6558		1989.68		1990.03		0.98		0		800.00		0.54				1.37		1.36		13.18		0.00		0.00		0.00		0.50		4.78		14		13.18				13.5188125015

		1355673.7438		383408.0627		10		20		1989.9032		1989.14		1989.49		0.76		0		18.00		0.54				1.07		1.22		11.76		0.00		0.00		0.00		0.50		4.78		14		24.94				13.5189500325

		1355675.5493		383398.5767		10		30		1988.9092		1988.61		1988.96		0.30		0		10.00		0.97				0.43		0.75		7.21		0.05		0.02		0.23		0.50		4.78		14		32.14				13.5188125015

		1355677.3547		383389.0906		10		40		1987.9151		1987.64		1987.99		0.28		0				0.97				0.39		0.41		3.92		0.08		0.06		0.61		0.50		4.78		14		36.06				13.5189238567

		1355679.1727		383379.607		10		50		1986.9211		1986.67		1987.02		0.25		0				0.88				0.35		0.37		3.54		0.11		0.09		0.90		0.50		4.78		14		39.60				13.5187955899

		1355681.3126		383370.1917		10		60		1986.1755		1985.80		1986.15		0.38		0		11.00		0.48				0.53		0.44		4.24		0.00		0.05		0.52		0.50		4.78		14		43.83				13.5175815276

		1355683.8088		383360.8637		10		70		1985.6705		1985.31		1985.66		0.36		0		20.00		0.19				0.50		0.52		4.98		0.00		0.00		0.00		0.50		4.78		14		48.81				13.5187089969

		1355686.3322		383351.5429		10		80		1985.4775		1985.12		1985.47		0.36		0		50.00		0.01				0.50		0.50		4.83		0.00		0.00		0.00		0.50		4.78		14		53.65				94.6305850067

		1355688.8551		383342.2219		10		90		1985.537		1985.11		1985.46		0.43		0		800.00		0.01				0.60		0.55		5.32		0.00		0.00		0.00		0.50		4.78		14		58.96

		1355691.1575		383332.8447		10		100		1985.5368		1985.10		1985.45		0.44		0				0.01				0.62		0.61		5.88		0.00		0.00		0.00		0.50		4.78		14		64.84

		1355693.3597		383323.4428		10		110		1985.1889		1985.08		1985.43		0.11		0				0.01				0.15		0.38		3.69		0.11		0.05		0.53		0.50		4.78		14		68.53

		1355695.562		383314.0409		10		120		1985.8409		1985.07		1985.42		0.77		0				0.01				1.08		0.61		5.91		0.00		0.05		0.53		0.50		4.78		14		74.44

		1355697.7642		383304.6391		10		130		1985.4929		1985.06		1985.41		0.43		0				0.32				0.61		0.84		8.13		0.00		0.00		0.00		0.50		4.78		14		82.57

		1355699.9665		383295.2372		10		140		1985.145		1984.74		1985.09		0.41		0				0.32				0.57		0.59		5.68		0.00		0.00		0.00		0.50		4.78		14		88.25

		1355702.1687		383285.8353		10		150		1984.797		1984.42		1984.77		0.38		0				0.32				0.53		0.55		5.33		0.00		0.00		0.00		0.50		4.78		14		93.58

		1355704.371		383276.4334		10		160		1984.449		1984.09		1984.44		0.35		0		30.00		0.32				0.50		0.52		4.98		0.00		0.00		0.00		0.50		4.78		14		98.55

		1355706.5732		383267.0316		10		170		1984.1011		1983.77		1984.12		0.33		0				0.32				0.46		0.48		4.62		0.02		0.01		0.11		0.50		4.78		14		103.18

		1355708.6733		383257.6069		10		180		1983.671		1983.45		1983.80		0.22		0				0.32				0.31		0.38		3.71		0.14		0.08		0.76		0.50		4.78		14		106.89

		1355710.3543		383248.0987		10		190		1983.3571		1983.13		1983.48		0.23		0				0.74				0.32		0.31		3.04		0.13		0.13		1.27		0.50		4.78		14		109.93

		1355711.9031		383238.5674		10		200		1982.7163		1982.39		1982.74		0.33		0		13.00		0.74				0.46		0.39		3.78		0.02		0.07		0.71		0.50		4.78		14		113.71

		1355713.4519		383229.0361		10		210		1982.0756		1981.64		1981.99		0.43		0				0.60				0.61		0.53		5.16		0.00		0.01		0.10		0.50		4.78		14		118.87

		1355715.0008		383219.5048		10		220		1981.4348		1981.04		1981.39		0.40		0				0.60				0.55		0.58		5.60		0.00		0.00		0.00		0.50		4.78		14		124.47

		1355716.5496		383209.9734		10		230		1980.794		1980.44		1980.79		0.36		0		16.00		0.60				0.50		0.53		5.09		0.00		0.00		0.00		0.50		4.78		14		129.56

		1355718.1921		383200.4583		10		240		1980.2018		1979.83		1980.18		0.37		0				0.60				0.52		0.51		4.92		0.00		0.00		0.00		0.50		4.78		14		134.48

		1355720.2529		383191.0252		10		250		1979.6666		1979.23		1979.58		0.44		0				0.32				0.61		0.57		5.46		0.00		0.00		0.00		0.50		4.78		14		139.94

		1355722.4587		383181.6242		10		260		1979.1208		1978.91		1979.26		0.21		0				0.32				0.30		0.46		4.40		0.14		0.07		0.69		0.50		4.78		14		144.34

		1355724.6644		383172.2231		10		270		1978.7027		1978.59		1978.94		0.12		0				0.32				0.16		0.23		2.24		0.09		0.12		1.15		0.50		4.78		14		146.58

		1355726.8711		383162.8223		10		280		1978.3933		1978.26		1978.61		0.13		0				0.32				0.18		0.17		1.67		0.08		0.09		0.84		0.50		4.78		14		148.25

		1355729.3327		383153.486		10		290		1978.0747		1977.94		1978.29		0.13		0				0.32				0.19		0.18		1.78		0.08		0.08		0.75		0.50		4.78		14		150.03

		1355732.242		383144.2793		10		300		1977.8013		1977.62		1977.97		0.18		0				0.32				0.25		0.22		2.13		0.18		0.13		1.22		0.50		4.78		14		152.16

		1355735.4974		383135.1883		10		310		1977.5535		1977.30		1977.65		0.26		0				0.32				0.36		0.31		2.96		0.10		0.14		1.33		0.50		4.78		14		155.12

		1355738.7783		383126.1064		10		320		1977.3046		1976.98		1977.33		0.33		0		30.00		0.32				0.46		0.41		3.95		0.02		0.06		0.58		0.50		4.78		14		159.07

		1355742.0592		383117.0245		10		330		1977.0359		1976.65		1977.00		0.38		0		50.00		0.32				0.53		0.50		4.80		0.00		0.01		0.11		0.50		4.78		14		163.88

		1355745.3401		383107.9427		10		339		1976.7518		1976.33		1976.68		0.42		0				0.32				0.59		0.56		5.42		0.00		0.00		0.00		0.50		4.78		14		169.30

		1355748.621		383098.8608		10		349		1976.4678		1976.01		1976.36		0.46		0		30.00		0.19				0.64		0.61		5.93		0.00		0.00		0.00		0.50		4.78		14		175.23

		1355751.9019		383089.7789		10		359		1976.1838		1975.82		1976.17		0.37		0				0.19				0.51		0.58		5.57		0.00		0.00		0.00		0.50		4.78		14		180.80

		1355755.1829		383080.697		10		368		1975.8998		1975.62		1975.97		0.28		0				0.32				0.39		0.45		4.34		0.08		0.04		0.38		0.50		4.78		14		185.15

		1355758.4638		383071.6151		10		378		1975.6158		1975.30		1975.65		0.31		0				0.32				0.44		0.41		3.99		0.04		0.06		0.56		0.50		4.78		14		189.13

		1355761.7424		383062.5324		10		388		1975.3333		1974.98		1975.33		0.35		0				0.32				0.49		0.47		4.51		0.00		0.02		0.18		0.50		4.78		14		193.64

		1355764.7806		383053.3671		10		397		1975.0493		1974.66		1975.01		0.39		0		500.00		0.32				0.55		0.4933746083		4.7638986875		0.00		0.00		0.00		0.50		4.78		14		198.40

		1355767.7154		383044.1675		10		407		1974.7305		1974.34		1974.69		0.39		0				0.32				0.55		0.55		5.31		0.00		0.00		0.00		0.50		4.78		14		203.71

		1355770.6502		383034.968		10		417		1974.4116		1974.01		1974.36		0.40		0				0.32				0.56		0.55		5.35		0.00		0.00		0.00		0.50		4.78		14		209.06

		1355773.5851		383025.7684		10		426		1974.0928		1973.69		1974.04		0.40		0				0.32				0.56		0.56		5.37		0.00		0.00		0.00		0.50		4.78		14		214.43

		1355776.5199		383016.5689		10		436		1973.7739		1973.37		1973.7		0.4		0				0.32				0.56		0.6		5.4		0.00		0.00		0.00		0.50		4.78		14		219.86

		1355779.4749		383007.3759		10		446		1973.4067		1973.05		1973.40		0.36		0				0.32				0.50		0.53		5.14		0.00		0.00		0.00		0.50		4.78		14		225.00

		1355782.7581		382998.2957		10		455		1973.0563		1972.73		1973.0770331176		0.3292668824		0				0.32				0.46		0.5126850915		4.9502509196		0.02		0.01		0.11		0.50		4.78		14		229.95

		1355786.198		382989.2728		10		465		1972.8757		1972.41		1972.76		0.47		0				0.19				0.66		0.56		5.41		0.00		0.01		0.11		0.50		4.78		14		235.36

		1355789.638		382980.25		10		475		1972.7198		1972.21		1972.56		0.51		0				0.19				0.71		0.68		6.61		0.00		0.00		0.00		0.50		4.78		14		241.97

		1355793.078		382971.2271		10		484		1972.4011		1972.02		1972.37		0.38		0				0.19				0.54		0.62		6.02		0.00		0.00		0.00		0.50		4.78		14		247.99

		1355796.5179		382962.2043		10		494		1972.0628		1971.83		1972.18		0.24		0		500.00		0.39				0.33		0.43		4.19		0.12		0.06		0.57		0.50		4.78		14		252.17

		1355799.9579		382953.1815		10		503		1971.7244		1971.44		1971.79		0.28		0				0.39				0.40		0.37		3.53		0.07		0.09		0.90		0.50		4.78		14		255.70

		1355803.3979		382944.1586		10		513		1971.3861		1971.05		1971.40		0.33		0		40.00		0.80				0.47		0.40		3.85		0.02		0.04		0.42		0.50		4.78		14		259.55

		1355806.8378		382935.1358		10		523		1970.5492		1970.25		1970.60		0.30		0				0.80				0.42		0.44		4.28		0.05		0.03		0.34		0.50		4.78		14		263.83

		1355810.2778		382926.1129		10		532		1969.7352		1969.44		1969.79		0.29		0				0.00				0.41		0.41		4.00		0.06		0.06		0.55		0.50		4.78		14		267.84

		1355813.7177		382917.0901				532		1969.222		1969.44		1969.79		0.00		1		25.00		0.97				0.00		0.20		0.00		0.53		0.29		0.00		0.50		0.00		0		267.84

		1355817.1577		382908.0672		19.3		552		1968.7087		1968.48		1968.83		0.23		0				0.48				0.32		0.16		3.12		0.13		0.33		6.30		0.50		9.56		27		270.95

		1355820.5977		382899.0444		9.7		561		1968.1955		1968.00		1968.35		0.20		0		20.00		0.48				0.28		0.30		2.91		0.16		0.14		1.37		0.50		4.78		14		273.86

		1355824.0376		382890.0216		9.7		571		1967.6822		1967.51		1967.86		0.17		0		12.00		0.48				0.24		0.26		2.50		0.04		0.10		0.94		0.50		4.78		14		276.36

		1355827.4776		382880.9987		9.7		581		1967.169		1967.03		1967.38		0.14		0		10.00		0.48				0.19		0.22		2.09		0.07		0.05		0.51		0.50		4.78		14		278.45

		1355830.9176		382871.9759		9.7		590		1966.6557		1966.55		1966.90		0.11		0				1966.55				0.15		0.17		1.68		0.10		0.09		0.84		0.50		4.78		14		280.12

																												29.05		280.12		2.8158415564		2.763540996		26.99		30.195		286.79		811		9488.05





SC 1 AT MC 500

		

		chainage		0+430mc-0+330

		bed width		0.3										masonry width		Working space		total cut width

		Slope		300										0.3		0.2		1.10

		Total depth		0.3														0.77

		Side slope of canal		0														0.46

		Side slope of Burm		1														0.40

		Insert top width of built burm for fill		0														0.33

		OFFTAKE LEVEL CBL		1991.23														0.15

		Northing		Easting		Partial Distance		Chainage		Elevation		CBL		Bank level		CUT(m)		Fill(m)		slope				drop		Area of cut		Average Area of Cut		Volume of cut		Area of Fill		Average Area of Fill		Volume of Fill		Massonry Area (m2)		Massonry volume(m3)		PLASTERING		CUM.VOL.CUT

		1354853.7138		383487.5587		0		0		1992		1991.23		1991.53		0.77		0.00		500.00		0.02				0.85		0.00		0.00		0.00		0.00		0.00		0.45		0.00		0		0.00

		1354862.5282		383482.8626		10.0		10		1991.6747		1991.21		1991.51		0.46		0.00				0.25				0.51		0.68		6.78		0.00		0.00		0.00		0.45		4.49		11		6.78

		1354871.3426		383478.1664		10.0		20		1991.3578		1990.96		1991.26		0.40		0.00		40.00		0.25				0.44		0.47		4.74		0.00		0.00		0.00		0.45		4.49		11		11.52

		1354880.1571		383473.4703		10.0		30		1991.0424		1990.71		1991.01		0.33		0.00				0.25				0.36		0.40		4.01		0.00		0.00		0.00		0.45		4.49		11		15.52

		1354888.9715		383468.7742		10.0		40		1990.727		1990.46		1990.76		0.27		0.03				0.20				0.29		0.33		3.28		0.03		0.02		0.15		0.45		4.49		11		18.81

		1354897.7859		383464.078		10.0		50		1990.4093		1990.26		1990.56		0.15		0.15		50.00		0.20				0.16		0.23		2.27		0.02		0.03		0.27		0.45		4.49		11		21.08

		1354906.6003		383459.3819		10.0		60		1990.2693		1990.06		1990.36		0.21		0.09				0.20				0.23		0.20		1.95		0.08		0.05		0.54		0.45		4.49		11		23.04

		1354915.4147		383454.6858		10.0		70		1990.1633		1989.86		1990.16		0.30		0.00				0.20				0.33		0.28		2.80		0.00		0.04		0.41		0.45		4.49		11		25.83

		1354924.2291		383449.9896		10.0		80		1990.0574		1989.66		1989.96		0.40		0.00				0.10				0.43		0.38		3.83		0.00		0.00		0.00		0.45		4.49		11		29.66

		1354933.0435		383445.2935		10.0		90		1989.9515		1989.56		1989.86		0.39		0.00		100.00		0.10				0.43		0.43		4.31		0.00		0.00		0.00		0.45		4.49		11		33.97

		1354941.858		383440.5974		10.0		100		1989.8455		1989.46		1989.76		0.38		0.00				0.10				0.42		0.42		4.24		0.00		0.00		0.00		0.45		4.49		11		38.22

		1354950.6724		383435.9012		10.0		110		1989.7396		1989.36		1989.66		0.38		0.00				0.10				0.41		0.42		4.18		0.00		0.00		0.00		0.45		4.49		11		42.40

		1354959.4868		383431.2051		10.0		120		1989.6906		1989.26		1989.56		0.43		0.00				0.10				0.47		0.44		4.42		0.00		0.00		0.00		0.45		4.49		11		46.82

		1354968.3012		383426.509		10.0		130		1989.6671		1989.16		1989.46		0.50		0.00				0.10				0.55		0.51		5.12		0.00		0.00		0.00		0.45		4.49		11		51.94

		1354977.1156		383421.8128		10.0		140		1989.6435		1989.06		1989.36		0.58		0.00				0.10				0.64		0.60		5.96		0.00		0.00		0.00		0.45		4.49		11		57.90

		1354985.93		383417.1167		10.0		150		1989.578		1988.96		1989.26		0.62		0.00				0.10				0.68		0.66		6.57		0.00		0.00		0.00		0.45		4.49		11		64.47

		1354994.7444		383412.4206		10.0		160		1989.401		1988.86		1989.16		0.54		0.00				0.10				0.59		0.63		6.33		0.00		0.00		0.00		0.45		4.49		11		70.81

		1355003.5588		383407.7244		10.0		170		1989.2239		1988.76		1989.06		0.46		0.00				0.10				0.51		0.55		5.49		0.00		0.00		0.00		0.45		4.49		11		76.29

		1355012.3733		383403.0283		10.0		180		1989.0469		1988.66		1988.96		0.38		0.00				0.10				0.42		0.46		4.64		0.00		0.00		0.00		0.45		4.49		11		80.93

		1355021.1877		383398.3322		10.0		190		1988.8698		1988.56		1988.86		0.31		0.00				0.10				0.34		0.38		3.79		0.00		0.00		0.00		0.45		4.49		11		84.72

		1355030.0021		383393.636		10.0		200		1988.6928		1988.46		1988.76		0.23		0.07				0.10				0.25		0.29		2.94		0.06		0.03		0.32		0.45		4.49		11		87.67

		1355038.8165		383388.9399		10.0		210		1988.6588		1988.36		1988.66		0.30		0.00				0.10				0.32		0.29		2.88		0.00		0.03		0.34		0.45		4.49		11		90.55

		1355047.6309		383384.2438		10.0		220		1988.6841		1988.26		1988.56		0.42		0.00				0.01				0.46		0.39		3.93		0.00		0.00		0.02		0.45		4.49		11		94.48

		1355056.4453		383379.5476		10.0		230		1988.7012		1988.25		1988.55		0.45		0.00				0.01				0.49		0.48		4.78		0.00		0.00		0.00		0.45		4.49		11		99.26

		1355065.2597		383374.8515		10.0		240		1988.7183		1988.24		1988.54		0.48		0.00		800.00		0.01				0.53		0.51		5.11		0.00		0.00		0.00		0.45		4.49		11		104.36

		1355074.0742		383370.1554		10.0		250		1988.8224		1988.23		1988.53		0.60		0.00				0.01				0.66		0.59		5.91		0.00		0.00		0.00		0.45		4.49		11		110.27

		1355082.8886		383365.4592		10.0		260		1988.9149		1988.21		1988.51		0.70		0.00				0.01				0.77		0.71		7.13		0.00		0.00		0.00		0.45		4.49		11		117.40

		1355091.703		383360.7631		10.0		270		1988.8648		1988.20		1988.50		0.66		0.00				0.01				0.73		0.75		7.50		0.00		0.00		0.00		0.45		4.49		11		124.89

		1355100.5174		383356.067		10.0		280		1988.8803		1988.19		1988.49		0.69		0.00				0.01				0.76		0.75		7.44		0.00		0.00		0.00		0.45		4.49		11		132.34

		1355109.3318		383351.3708		10.0		290		1988.8958		1988.18		1988.48		0.72		0.00				0.01				0.79		0.78		7.75		0.00		0.00		0.00		0.45		4.49		11		140.09

		1355118.1462		383346.6747		10.0		300		1988.8601		1988.16		1988.46		0.70		0.00				0.01				0.77		0.78		7.78		0.00		0.00		0.00		0.45		4.49		11		147.86

		1355126.9606		383341.9786		10.0		310		1988.6265		1988.15		1988.45		0.48		0.00				0.01				0.52		0.64		6.43		0.00		0.00		0.00		0.45		4.49		11		154.30

		1355135.7751		383337.2824		10.0		320		1988.3928		1988.14		1988.44		0.25		0.05				0.01				0.28		0.40		4.00		0.04		0.02		0.21		0.45		4.49		11		158.30

		1355144.5895		383332.5863		10.0		330		1988.1592		1988.13		1988.43		0.03		0.27								0.04		0.16		1.57		0.14		0.09		0.92		0.45		4.49		11		159.88

																										16.45		16.0077522918		159.88		0.3889776546		0.3181060803		3.18		15.30		148.31		363		2522.36





SC4 CHAGED MC 2587

		

								lined canal

		chainage		0+2600 mc -0+840

		bed width		0.4										masonry width		Working space		total cut width

		Slope		300										0.35		0.35		1.45

		Total depth		0.4														0.89

		Side slope of canal		0														0.35

		Side slope of Burm		1														0.37

		Insert top width of built burm for fill		0														0.29

		OFFTAKE LEVEL CBL		1988.28														0.37						38.12

		Northing		Easting		Partial Distance		Chainage		Elevation		CBL		Bank level		CUT(m)		Fill(m)		slope				drop		Area of cut		Average Area of Cut		Volume of cut		Area of Fill		Average Area of Fill		Volume of Fill		Massonry Area (m2)		Massonry volume(m3)		PLASTERING		CUM.VOL.CUT

		1356672.5512		383323.9309		0		0		1989.1749		1988.28		1988.68		0.89		0		150.00		0.07				1.30		0.00		0.00		0.00		0.00		0.00		0.54		0.00		0		0.00

		1356673.5963		383313.9515		10.0		10		1988.5646		1988.21		1988.61		0.35		0				0.63				0.51		0.90		9.03		0.06		0.03		0.29		0.54		5.40		15		9.03

		1356674.6413		383303.9721		10.0		20		1987.9543		1987.59		1987.99		0.37		0		16.00		0.63				0.53		0.52		5.20		0.04		0.05		0.50		0.54		5.40		15		14.23

		1356675.6863		383293.9928		10.0		30		1987.2569		1986.96		1987.36		0.29		0				0.77				0.43		0.48		4.78		0.13		0.08		0.84		0.54		5.40		15		19.02

		1356676.7314		383284.0134		10.0		40		1986.527		1986.19		1986.59		0.33		0		13.00		0.77				0.48		0.45		4.54		0.08		0.10		1.04		0.54		5.40		15		23.56

		1356677.7764		383274.0341		10.0		50		1985.7977		1985.42		1985.82		0.37		0				0.77				0.54		0.51		5.12		0.03		0.06		0.57		0.54		5.40		15		28.67

		1356678.8214		383264.0547		10.0		60		1985.0684		1984.66		1985.06		0.41		0				0.77				0.60		0.57		5.70		0.00		0.02		0.16		0.54		5.40		15		34.37

		1356679.8665		383254.0753		10.0		70		1984.3391		1983.89		1984.29		0.45		0				0.50				0.66		0.63		6.27		0.00		0.00		0.00		0.54		5.40		15		40.64

		1356680.9115		383244.096		10.0		80		1983.6099		1983.39		1983.79		0.22		0		20.00		0.77				0.32		0.49		4.90		0.21		0.11		1.06		0.54		5.40		15		45.55

		1356681.9565		383234.1166		10.0		90		1982.8806		1982.62		1983.02		0.26		0		13.00		0.77				0.38		0.35		3.53		0.16		0.19		1.88		0.54		5.40		15		49.08

		1356683.0016		383224.1373		10.0		100		1982.2122		1981.85		1982.25		0.36		0				0.50				0.53		0.46		4.55		0.04		0.10		1.03		0.54		5.40		15		53.63

		1356684.0466		383214.1579		10.0		110		1981.7099		1981.35		1981.75		0.36		0				0.50				0.52		0.53		5.26		0.05		0.04		0.44		0.54		5.40		15		58.89

		1356685.0916		383204.1785		10.0		120		1981.2075		1980.85		1981.25		0.36		0		20.00		0.50				0.52		0.52		5.23		0.05		0.05		0.47		0.54		5.40		15		64.12

		1356686.1367		383194.1992		10.0		130		1980.7052		1980.35		1980.75		0.36		0		18.00		0.50				0.52		0.52		5.20		0.05		0.05		0.50		0.54		5.40		15		69.32

		1356687.1817		383184.2198		10.0		140		1980.2029		1979.85		1980.25		0.35		0				0.50				0.51		0.52		5.16		0.05		0.05		0.53		0.54		5.40		15		74.48

		1356688.2267		383174.2405		10.0		150		1979.7005		1979.35		1979.75		0.35		0				0.50				0.51		0.51		5.13		0.06		0.06		0.55		0.54		5.40		15		79.61

		1356689.2718		383164.2611		10.0		160		1979.1982		1978.85		1979.25		0.35		0				0.50				0.51		0.51		5.10		0.06		0.06		0.58		0.54		5.40		15		84.71

		1356690.3168		383154.2817		10.0		170		1978.6958		1978.35		1978.75		0.35		0				0.50				0.50		0.51		5.06		0.06		0.06		0.61		0.54		5.40		15		89.77

		1356691.3618		383144.3024		10.0		180		1978.1935		1977.85		1978.25		0.35		0				0.50				0.50		0.50		5.03		0.07		0.06		0.64		0.54		5.40		15		94.80

		1356692.4069		383134.323		10.0		190		1977.6912		1977.35		1977.75		0.34		0				0.50				0.50		0.50		4.99		0.07		0.07		0.67		0.54		5.40		15		99.79

		1356693.4519		383124.3437		10.0		200		1977.186		1976.85		1977.25		0.34		0		30.00		0.56				0.49		0.49		4.94		0.07		0.07		0.71		0.54		5.40		15		104.73

		1356694.4969		383114.3643		10.0		210		1976.6391		1976.29		1976.69		0.35		0		20.00		0.56				0.50		0.50		4.96		0.06		0.07		0.69		0.54		5.40		15		109.69

		1356695.542		383104.3849		10.0		220		1976.0652		1975.74		1976.14		0.33		0		18.00		0.56				0.48		0.49		4.89		0.09		0.07		0.75		0.54		5.40		15		114.59

		1356696.587		383094.4056		10.0		230		1975.4913		1975.18		1975.58		0.31		0		20.00		0.56				0.45		0.46		4.63		0.11		0.10		0.97		0.54		5.40		15		119.22

		1356697.632		383084.4262		10.0		240		1974.9174		1974.63		1975.03		0.29		0		16.00		0.56				0.42		0.44		4.36		0.13		0.12		1.19		0.54		5.40		15		123.58

		1356698.6771		383074.4469		10.0		250		1974.3435		1974.07		1974.47		0.27		0				0.56				0.40		0.41		4.10		0.15		0.14		1.41		0.54		5.40		15		127.68

		1356699.7221		383064.4675		10.0		260		1973.7696		1973.51		1973.91		0.25		0				0.56				0.37		0.38		3.83		0.17		0.16		1.63		0.54		5.40		15		131.51

		1356700.7671		383054.4881		10.0		270		1973.1957		1972.96		1973.36		0.24		0		28.00		0.56				0.34		0.36		3.56		0.20		0.19		1.85		0.54		5.40		15		135.07

		1356701.8122		383044.5088		10.0		280		1972.6218		1972.40		1972.80		0.22		0		20.00		0.56				0.32		0.33		3.30		0.22		0.21		2.07		0.54		5.40		15		138.37

		1356702.8572		383034.5294		10.0		290		1972.1027		1971.85		1972.25		0.25		0				0.56				0.37		0.34		3.43		0.17		0.20		1.96		0.54		5.40		15		141.80

		1356703.9022		383024.55		10.0		300		1971.7161		1971.29		1971.69		0.42		0				0.33				0.61		0.49		4.92		0.00		0.09		0.87		0.54		5.40		15		146.72

		1356704.9473		383014.5707		10.0		310		1971.3071		1970.96		1971.36		0.35		0		28.00		0.33				0.50		0.56		5.60		0.06		0.03		0.31		0.54		5.40		15		152.31

		1356705.9923		383004.5913		10.0		320		1970.8817		1970.63		1971.03		0.26		0		30.00		0.50				0.37		0.44		4.38		0.17		0.12		1.18		0.54		5.40		15		156.69

		1356707.0373		382994.612		10.0		330		1970.4563		1970.13		1970.53		0.33		0		20.00		0.50				0.48		0.43		4.25		0.08		0.13		1.28		0.54		5.40		15		160.94

		1356708.0824		382984.6326		10.0		340		1970.0309		1969.63		1970.03		0.41		0				0.20				0.59		0.53		5.33		0.00		0.04		0.42		0.54		5.40		15		166.28

		1356709.1274		382974.6532		10.0		350		1969.6055		1969.43		1969.83		0.18		0		50.00		0.50				0.26		0.42		4.24		0.06		0.03		0.32		0.54		5.40		15		170.52

		1356710.1724		382964.6739		10.0		360		1969.1801		1968.93		1969.33		0.25		0				0.50				0.37		0.31		3.15		0.17		0.12		1.20		0.54		5.40		15		173.67

		1356711.2175		382954.6945		10.0		370		1968.7656		1968.43		1968.83		0.34		0		30.00		0.33				0.49		0.43		4.31		0.07		0.12		1.23		0.54		5.40		15		177.97

		1356712.2625		382944.7152		10.0		380		1968.4265		1968.09		1968.49		0.33		0				0.33				0.48		0.49		4.89		0.08		0.08		0.76		0.54		5.40		15		182.86

		1356713.3075		382934.7358		10.0		390		1968.1358		1967.76		1968.16		0.38		0		30.00		0.33				0.55		0.52		5.15		0.03		0.05		0.53		0.54		5.40		15		188.01

		1356714.3526		382924.7564		10.0		400		1967.8826		1967.43		1967.83		0.46		0				0.20				0.66		0.5734607479		5.7346074786		0.00		0.01		0.14		0.54		5.40		15		193.75

		1356715.3976		382914.7771		10.0		410		1967.6294		1967.23		1967.63		0.40		0		50.00		0.20				0.59		0.62		6.24		0.00		0.00		0.00		0.54		5.40		15		199.99

		1356716.4426		382904.7977		10.0		420		1967.3763		1967.03		1967.43		0.35		0				0.20				0.51		0.55		5.47		0.06		0.03		0.30		0.54		5.40		15		205.46

		1356717.4877		382894.8184		10.0		430		1967.1231		1966.83		1967.23		0.30		0		50.00		0.50				0.43		0.51		5.08		0.12		0.09		0.91		0.54		5.40		15		210.54

		1356718.5327		382884.839		10.0		440		1966.8516		1966.33		1966.7		0.5		0		20.0		0.20				0.76		0.6		6.0		0.00		0.06		0.62		0.54		5.40		15		216.51

		1356719.5777		382874.8596		10.0		450		1966.4843		1966.13		1966.53		0.36		0				0.40				0.52		0.64		6.41		0.05		0.02		0.25		0.54		5.40		15		222.92

		1356720.6228		382864.8803		10.0		460		1966.1171		1965.73		1966.1257264957		0.3913735043		0		50		0.40				0.57		0.6650040812		6.650040812		0.01		0.03		0.30		0.54		5.40		15		229.57

		1356721.6678		382854.9009		10.0		470		1965.7498		1965.33		1965.73		0.42		0		25.00		0.40				0.61		0.59		5.91		0.00		0.01		0.05		0.54		5.40		15		235.48

		1356722.7128		382844.9216		10.0		480		1965.4674		1964.93		1965.33		0.54		0				0.10				0.79		0.70		7.00		0.00		0.00		0.00		0.54		5.40		15		242.48

		1356723.7579		382834.9422		10.0		490		1965.2347		1964.83		1965.23		0.41		0		100.00		0.10				0.59		0.69		6.89		0.00		0.00		0.00		0.54		5.40		15		249.38

		1356724.8029		382824.9628		10.0		500		1965.0021		1964.73		1965.13		0.28		0				0.33				0.40		0.50		4.97		0.15		0.07		0.74		0.54		5.40		15		254.34

		1356725.8479		382814.9835		10.0		510		1964.7695		1964.39		1964.79		0.38		0		30.00		0.33				0.55		0.47		4.74		0.03		0.09		0.88		0.54		5.40		15		259.08

		1356726.893		382805.0041		10.0		520		1964.4535		1964.06		1964.46		0.39		0				0.33				0.57		0.49		4.86		0.01		0.02		0.17		0.54		5.40		15		263.95

		1356727.938		382795.0248		10.0		530		1964.0678		1963.73		1964.13		0.34		0				0.33				0.50		0.53		5.34		0.07		0.04		0.38		0.54		5.40		15		269.29

		1356728.983		382785.0454		10.0		540		1963.682		1963.39		1963.79		0.29		0				0.50				0.42		0.46		4.58		0.13		0.10		1.01		0.54		5.40		15		273.87

		1356730.0281		382775.066		10.0		550		1963.2962		1962.89		1963.29		0.40		0		20.00		0.33				0.59		0.50		5.03		0.00		0.07		0.66		0.54		5.40		15		278.89

		1356731.0731		382765.0867		10.0		550		1962.9105		1962.56		1962.96		0.35		0				0.33				0.51		0.55		5.48		0.06		0.03		0.29		0.54		5.40		15		284.37

		1356732.1181		382755.1073		10.0		560		1962.5247		1962.23		1962.63		0.30		0		20.00		0.50				0.43		0.47		4.72		0.12		0.09		0.90		0.54		5.40		15		289.08

		1356733.1632		382745.1279		10.0		570		1962.1389		1961.73		1962.13		0.41		0				0.50				0.60		0.52		5.16		0.00		0.06		0.61		0.54		5.40		15		294.25

		1356734.2082		382735.1486		10.0		580		1961.7532		1961.23		1961.63		0.53		0				0.33				0.76		0.68		6.82		0.00		0.00		0.00		0.54		5.40		15		301.07

		1356735.2532		382725.1692		10.0		590		1961.3379		1960.89		1961.29		0.45		0				0.33				0.65		0.71		7.05		0.00		0.00		0.00		0.54		5.40		15		308.12

		1356736.2983		382715.1899		10.0		600		1960.9051		1960.56		1960.96		0.35		0		30.00		0.33				0.50		0.57		5.74		0.06		0.03		0.32		0.54		5.40		15		313.86

		1356737.3433		382705.2105		10.0		610		1960.4725		1960.23		1960.63		0.25		0		30.00		0.50				0.36		0.43		4.30		0.18		0.12		1.24		0.54		5.40		15		318.16

		1356738.3883		382695.2311		10.0		610		1960.0399		1959.73		1960.13		0.31		0				0.50				0.46		0.41		4.07		0.10		0.14		1.43		0.54		5.40		15		322.22

		1356739.4334		382685.2518		10.0		620		1959.6072		1959.23		1959.63		0.38		0		30.00		0.33				0.55		0.50		5.04		0.02		0.06		0.63		0.54		5.40		15		327.27

		1356740.4784		382675.2724		10.0		630		1959.1746		1958.89		1959.29		0.28		0				0.50				0.41		0.48		4.81		0.14		0.08		0.82		0.54		5.40		15		332.08

		1356741.5234		382665.2931		10.0		640		1958.7147		1958.39		1958.79		0.32		0		20.00		0.33				0.47		0.44		4.38		0.09		0.12		1.17		0.54		5.40		15		336.46

		1356742.5685		382655.3137		10.0		650		1958.3543		1958.06		1958.46		0.30		0		20.00		0.33				0.43		0.45		4.48		0.13		0.11		1.09		0.54		5.40		15		340.94

		1356743.6135		382645.3343		10.0		660		1958.0268		1957.73		1958.13		0.30		0		30.00		0.33				0.44		0.43		4.32		0.12		0.12		1.22		0.54		5.40		15		345.26

		1356744.6585		382635.355		10.0		670		1957.7122		1957.39		1957.79		0.32		0		25.00		0.33				0.46		0.45		4.50		0.10		0.11		1.07		0.54		5.40		15		349.76

		1356745.7036		382625.3756		10.0		680		1957.3977		1957.06		1957.46		0.34		0				0.33				0.49		0.48		4.77		0.07		0.08		0.85		0.54		5.40		15		354.54

		1356746.7486		382615.3963		10.0		680		1957.0832		1956.73		1957.13		0.36		0				0.33				0.52		0.50		5.05		0.05		0.06		0.62		0.54		5.40		15		359.58

		1356747.7936		382605.4169		10.0		690		1956.7687		1956.39		1956.79		0.38		0		20.00		0.33				0.55		0.53		5.32		0.03		0.04		0.40		0.54		5.40		15		364.90

		1356748.8387		382595.4375		10.0		700		1956.4542		1956.06		1956.46		0.40		0				0.33				0.57		0.56		5.59		0.01		0.02		0.17		0.54		5.40		15		370.50

		1356749.8837		382585.4582		10.0		710		1956.1397		1955.73		1956.13		0.41		0				0.33				0.60		0.59		5.87		0.00		0.00		0.03		0.54		5.40		15		376.36

		1356750.9287		382575.4788		10.0		720		1955.7877		1955.39		1955.79		0.40		0				0.50				0.57		0.59		5.87		0.01		0.00		0.03		0.54		5.40		15		382.23

		1356751.9738		382565.4995		10.0		730		1955.2775		1954.89		1955.29		0.39		0		30.00		0.50				0.56		0.57		5.66		0.02		0.01		0.12		0.54		5.40		15		387.89

		1356753.0188		382555.5201		10.0		740		1954.7673		1954.39		1954.79		0.37		0				0.50				0.54		0.55		5.51		0.03		0.02		0.24		0.54		5.40		15		393.40

		1356754.0638		382545.5407		10.0		750		1954.2571		1953.89		1954.29		0.36		0		20.00		0.50				0.53		0.54		5.36		0.04		0.04		0.36		0.54		5.40		15		398.76

		1356755.1089		382535.5614		10.0		760		1953.7469		1953.39		1953.79		0.35		0				0.50				0.51		0.52		5.21		0.05		0.05		0.48		0.54		5.40		15		403.97

		1356756.1539		382525.582		10.0		770		1953.2944		1952.89		1953.29		0.40		0		25.00		0.33				0.58		0.55		5.48		0.00		0.03		0.27		0.54		5.40		15		409.46

		1356757.1989		382515.6026		10.0		780		1952.8823		1952.56		1952.96		0.32		0				0.40				0.47		0.53		5.26		0.09		0.05		0.46		0.54		5.40		15		414.72

		1356758.244		382505.6233		10.0		790		1952.4702		1952.16		1952.56		0.31		0				0.40				0.45		0.46		4.60		0.11		0.10		0.99		0.54		5.40		15		419.32

		1356759.289		382495.6439		10.0		800		1952.0581		1951.76		1952.16		0.30		0				0.40				0.43		0.44		4.42		0.12		0.11		1.14		0.54		5.40		15		423.74

		1356760.334		382485.6646		10.0		810		1951.6482		1951.36		1951.76		0.29		0				0.40				0.42		0.43		4.26		0.13		0.13		1.27		0.54		5.40		15		428.00

		1356761.3791		382475.6852		10.0		820		1951.2937		1950.96		1951.36		0.33		0				0.40				0.49		0.45		4.52		0.08		0.11		1.06		0.54		5.40		15		432.53

		1356762.4241		382465.7058		10.0		830		1950.9393		1950.56		1950.96		0.38		0				0.40				0.55		0.52		5.18		0.02		0.05		0.51		0.54		5.40		15		437.71

		1356763.4691		382455.7265		10.0		840		1950.5848		1950.16		1950.56		0.43		0								0.62		0.58		5.84		0.00		0.01		0.12		0.54		5.40		15		443.55

																										45.26		44.3553599573		443.5535995726		6.0048224445		6.0048224445		60.0482244448		47.52		469.8		1261.5		19425.040268806





MC DESIGN OF MANA

		

						MAIIN CANAL		FC														1.27

						Canal Type		No of TC		Length of canal		net comand area (ha)		Design duty (l/s/ha)		Canal design capacity		adopted Q, l/s		irrigation days /days		irrigation/week

						MC-1		1		2600		115.9		1.77		205.143		220		7		126

						SC1		2		300		11.1		1.77		19.647		20		0.67		12.07

						SC2		2		400		6.7		1.77		11.859		15		0.40		7.28		0.13

						SC3		2		450		13		1.77		23.01		25		0.79		14.13		0.006

						SC4		5		840		71.6		1.77		126.732		130		4.32		77.84		0.01

						TC-1-1-1		1		320		8.4		1.77		14.868		15		0.51		9.13		0.015

						TC-1-1-2		1		400		2.75		1.77		4.8675		5		0.17		2.99		0.025

						TC-1-2-3		1		120		3.4		1.77		6.018		6		0.21		3.70		0.015

						TC-1-2-4		1		280		3.3		1.77		5.841		6		0.20		3.59		0.015				15

						TC-1-3-5		1		200		6		1.77		10.62		10		0.36		6.52		0.025				15

						TC-1-3-6		1		250		7		1.77		12.39		15		0.42		7.61		0.025				25

						TC-7-1-		1		280		13		1.77		23.01		25		0.79		14.13		0.025				25

						TC-1-4-8		1		420		8.8		1.77		15.576		15		0.53		9.57		0				25

						TC-1-4-9		1		400		7.3		1.77		12.921		15		0.44		7.94		0				105

						TC-1-4-10		1		300		14		1.77		24.78		25		0.85		15.22		0

						TC-1-4-11		1		280		13.7		1.77		24.249		25		0.83		14.89		0

						TC-1-4-12		1		360		12.4		1.77		21.948		25		0.75		13.48		0

						CANAL CHARACTERISTICS

						chainage		Length ,m		Desing slope,S		description		section

						0+0-0+2587(MC1)		2600		0.001		canal

						MC+420-+300(SC1)		300		0.020		canal

						MC+1540-0+400(SC2)		400		0.030		canal

						MC+1870-0+450		450		0.030		canal

						MC+2587-0+840(SC4)		840		0.020		canal

						Canal design spreadsheet

						ALL CANALS				MC-0-300,836-1700		MC 300-836,1700-2587		SC 1		SC2		SC3		SC 4		TC1-1-1		TC2-1-1		TC3-2 -1		TC4-2  -1		TC5-3-1		TC6-3-1		TC7-1		TC 8-4-1		TC 9-4-1		TC 10-4-1		TC-11-4-1		TC12-4-1

						Given value				(LINED  CANAL MC)		(EATHEN CANAL)

						Design discharge ,Q		Q		0.22		0.22		0.02		0.015		0.025		0.13		0.015		0.005		0.006		0.006		0.01		0.015		0.025		0.015		0.015		0.025		0.025		0.025

						Bed width to depth ratio (b/d)		K		1		1		1		1		1		1		1		1		1		1		1		1		1		1		1		1		1		1

						Side slope ,Z		Z		0		1		1		1		1		0		1		1		1		1		1		1		1		1		1		1		1		1

						Manning's roughness, n		n		0.018		0.03		0.03		0.03		0.03		0.018		0.03		0.03		0.03		0.03		0.03		0.03		0.03		0.03		0.03		0.03		0.03		0.03

						Longitudinal slope, S		S		0.001		0.001		0.016		0.016		0.014		0.002		0.02		0.008		0.015		0.0125		0.016		0.016		0.004		0.004		0.003		0.008		0.008		0.008

						Intermediate calculation

						k1				1		2		2		2		1		1		2		2		2		2		2		2		2		2		2		2		2		2

						k2				3.000		3.828		3.8284271247		3.8284271247		3.8284271247		3		3.8284271247		3.8284271247		3.8284271247		3.8284271247		3.8284271247		3.8284271247		3.8284271247		3.828		3.828		3.828		3.828		3.828

						k3				0.481		0.649		0.6486440033		0.6486440033		0.4086201168		0.4807498568		0.6486440033		0.6486440033		0.6486440033		0.6486440033		0.6486440033		0.6486440033		0.6486440033		0.6486440033		0.6486440033		0.6486440033		0.6486440033		0.6486440033

						k4				26.708		43.243		43.2429335521		43.2429335521		13.6206705604		26.7083253761		43.2429335521		43.2429335521		43.2429335521		43.2429335521		43.2429335521		43.2429335521		43.2429335521		43.2429335521		43.2429335521		43.2429335521		43.2429335521		43.2429335521

						Final result

						water depth, d				0.60		0.50		0.12		0.11		0.21		0.44		0.10		0.08		0.08		0.08		0.09		0.11		0.17		0.14		0.15		0.15		0.15		0.15

						bed width, b				0.60		0.50		0.12		0.11		0.21		0.44		0.10		0.08		0.08		0.08		0.09		0.11		0.17		0.14		0.15		0.15		0.15		0.15

						Area				0.36		0.51		0.03		0.02		0.04		0.19		0.02		0.01		0.01		0.01		0.02		0.02		0.06		0.04		0.04		0.05		0.05		0.05

						Wetted perimeter				1.81		1.93		0.47		0.42		0.80		1.31		0.40		0.32		0.30		0.31		0.36		0.42		0.66		0.54		0.57		0.58		0.58		0.58

						R2/3				0.34		0.41		0.16		0.15		0.14		0.28		0.14		0.12		0.12		0.12		0.13		0.15		0.20		0.18		0.18		0.18		0.18		0.18

						Hydraulic radius		R		0.20		0.26		0.06		0.06		0.05		0.15		0.05		0.04		0.04		0.04		0.05		0.06		0.09		0.07		0.08		0.08		0.08		0.08

						Velocity, v		Q/A		0.60		0.43		0.67		0.63		0.57		0.69		0.68		0.37		0.49		0.45		0.57		0.63		0.42		0.37		0.33		0.55		0.55		0.55

						Check the discharge				0.22		0.22		0.02		0.02		0.03		0.13		0.02		0.01		0.01		0.01		0.01		0.02		0.03		0.02		0.02		0.03		0.03		0.03

						Canal Discharge capacity				0.22		0.22		0.02		0.02		0.03		0.13		0.02		0.01		0.01		0.01		0.01		0.02		0.03		0.02		0.02		0.03		0.03		0.03

						Free board				0.30		0.30		0.30		0.30		0.30		0.30		0.30		0.30		0.30		0.30		0.30		0.30		0.30		0.30		0.30		0.30		0.30		0.30

						Total depth				0.90		0.80		0.42		0.41		0.51		0.74		0.40		0.38		0.38		0.38		0.39		0.41		0.47		0.44		0.45		0.45		0.45		0.45

						Adopted, depth, d				0.90		0.80		0.35		0.40		0.50		0.75		0.30		0.40		0.40		0.40		0.40		0.40		0.50		0.45		0.30		0.45		0.45		0.45

						Adopted, Bed width b				0.70		0.70		0.30		0.30		0.30		0.40		0.30		0.30		0.30		0.30		0.30		0.30		0.30		0.30		0.30		0.30		0.30		0.30

						FOR REPORT

						Prameters		MC-0-300,836-1700m		MC 300-836,1700-2587m		SC 1		SC2		SC3		SC 4		TC1-1-1

								(LINED  CANAL MC)		(EATHEN CANAL)

						Design discharge ,Q		0.22		0.22		0.02		0.015		0.025		0.13		0.015

						Bed width to depth ratio (b/d)		1		1		1		1		1		1		1

						Side slope ,Z		0		1		1		1		1		0		1

						Manning's roughness, n		0.018		0.03		0.03		0.03		0.03		0.018		0.03

						Longitudinal slope, S		0.001		0.001		0.016		0.016		0.014		0.002		0.02

						water depth, d		0.604		0.504		0.122		0.109		0.210		0.435		0.105

						bed width, b		0.604		0.504		0.122		0.1094696034		0.2096544395		0.4353044792		0.104983952

						Area		0.365		0.508		0.030		0.0239671881		0.043954984		0.1894899896		0.0220432604																Prameters		MC-0-150		MC 150-600				Prameters		Design discharge ,Q		Bed width to depth ratio (b/d)		Side slope ,Z		Manning's roughness, n		Longitudinal slope, S		water depth, d		bed width, b		Area		Wetted perimeter		Hydraulic radius		Velocity, v		Canal Discharge capacity		Free board		Total depth		Adopted, depth, d		Adopted, Bed width b

						Wetted perimeter		1.811		1.930		0.467		0.419		0.803		1.306		0.4019234096																Design discharge ,Q		0.085		0.085				MC-0-150		0.085		1.000		0.000		0.018		0.001		0.423		0.423		0.179		1.268		0.141		0.476		0.085		0.150		0.500		0.500		0.500

						Hydraulic radius		0.201		0.263		0.064		0.057		0.055		0.145		0.0548444302																Bed width to depth ratio (b/d)		1		1				MC 150-600		0.085		1.000		0.000		0.018		0.002		0.371		0.371		0.138		1.114		0.124		0.617		0.085		0.150		0.500		0.500		0.500

						Velocity, v		0.603		0.433		0.673		0.626		0.569		0.686		0.6804800993																Side slope ,Z		0		0

						Canal Discharge capacity		0.220		0.220		0.020		0.015		0.025		0.130		0.015																						Manning's roughness, n				0.018		0.018								Manning's roughness, n		0.018		0.018

						Total depth		0.604		0.504		0.122		0.109		0.210		0.435		0.104983952																						water depth, d				0.4227071562		0.3711901781								water depth, d		0.4227071562		0.3711901781

						Adopted, depth, d		0.60		0.600		0.350		0.350		0.350		0.400		0.3																						bed width, b				0.4227071562		0.3711901781								bed width, b		0.4227071562		0.3711901781

						Adopted, Bed width b		0.700		0.700		0.300		0.300		0.300		0.400		0.3																						Area				0.1786813399		0.1377821483								Area		0.1786813399		0.1377821483

						Prameters		TC1-1-2		TC1-2 -3		TC1-2  -4		TC1-3-5		TC1-3-6		TC1-7		TC 1-4-8		TC 1-4-9		TC 1-4-10		TC-1-4-11		TC1-4-12																		Hydraulic radius				0.1409023854		0.1237300594								Hydraulic radius		0.1409023854		0.1237300594

						Design discharge ,Q		0.01		0.01		0.01		0.01		0.02		0.03		0.02		0.02		0.03		0.03		0.03																		Velocity, v				0.4757072006		0.6169159142								Velocity, v		0.4757072006		0.6169159142

						Bed width to depth ratio (b/d)		1.00		1.00		1.00		1.00		1.00		1.00		1.00		1.00		1.00		1.00		1.00																		Canal Discharge capacity				0.085		0.085								Canal Discharge capacity		0.085		0.085

						Side slope ,Z		1.00		1.00		1.00		1.00		1.00		1.00		1.00		1.00		1.00		1.00		1.00																		Free board				0.15		0.15								Free board		0.15		0.15

						Manning's roughness, n		0.03		0.03		0.03		0.03		0.03		0.03		0.03		0.03		0.03		0.03		0.03																		Total depth				0.5727071562		0.5211901781								Total depth		0.5727071562		0.5211901781

						Longitudinal slope, S		0.01		0.02		0.01		0.02		0.02		0.00		0.00		0.00		0.01		0.01		0.01																		Adopted, depth, d				0.5		0.5								Adopted, depth, d		0.5		0.5

						water depth, d		0.08		0.08		0.08		0.09		0.11		0.17		0.14		0.15		0.15		0.15		0.15																		Adopted, Bed width b				0.5		0.5								Adopted, Bed width b		0.5		0.5

						bed width, b		0.08		0.08		0.08		0.09		0.11		0.17		0.14		0.15		0.15		0.15		0.15																																																																								Prameters		SC 0-100		SC 100-130		SC 130-160		SC 160-300		SC 300-440		SC 440-830		SC 830-1720

						Area		0.01		0.01		0.01		0.02		0.02		0.06		0.04		0.04		0.05		0.05		0.05																																																																								Design discharge ,Q		0.085		0.085		0.085		0.085		0.085		0.085		0.085

						Wetted perimeter		0.32		0.30		0.31		0.36		0.42		0.66		0.54		0.57		0.58		0.58		0.58																																																																								Bed width to depth ratio (b/d)		1.000		1.000		1.000		1.000		1.000		1.000		1.000

						Hydraulic radius		0.04		0.04		0.04		0.05		0.06		0.09		0.07		0.08		0.08		0.08		0.08																																								Canal Type		No of TC		Length of canal		net command are (ha)		Design duty (l/s/ha)		Canal design capacity		adopted Q, l/s																				Side slope ,Z		0.000		0.000		0.000		0.000		0.000		0.000		0.000

						Velocity, v		0.37		0.49		0.45		0.57		0.63		0.42		0.37		0.33		0.55		0.55		0.55																																								MC-1		1		600		54.97		1.47		80.8059		95																				Manning's roughness, n		0.018		0.018		0.018		0.018		0.018		0.018		0.018

						Canal Discharge capacity		0.01		0.01		0.01		0.01		0.02		0.03		0.02		0.02		0.03		0.03		0.03																																								MC2		1		1720		54.97		1.47		80.8059		Manning's roughness, n		Longitudinal slope, S		water depth, d						bed width, b		Area								Longitudinal slope, S		0.001		0.002		0.020		0.008		0.100		0.013		0.010

						Total depth		0.08		0.08		0.08		0.09		0.11		0.17		0.14		0.15		0.15		0.15		0.15																																								TC-1-1-2		1		430		11.12		1.47		16.3464		0.02		0.00		0.60						0.60		0.36								bed width, b		0.423		0.371		0.241		0.286		0.178		0.263		0.274

						Adopted, depth, d		0.30		0.30		0.30		0.30		0.30		0.30		0.30		0.30		0.30		0.30		0.30																																								TC-1-1-3		1		230		11.44		1.47		16.8168																						Area		0.179		0.138		0.058		0.082		0.032		0.069		0.075

						Adopted, Bed width b		0.30		0.30		0.30		0.30		0.30		0.30		0.30		0.30		0.30		0.30		0.30																																								TC 1-1-4		1		140		6.3		1.47		9.261		50																				Wetted perimeter		1.268		1.114		0.723		0.859		0.535		0.790		0.823

																																																																				TC1-1-5		1		290		7.6		1.47		11.172		30																				Hydraulic radius		0.141		0.124		0.080		0.095		0.059		0.088		0.091

																																																																				TC1-1-6		1		130		6.7		1.47		9.849		30																				Free board		Total depth		Adopted, depth, d		Adopted, Bed width b		1.038		2.675		1.227		1.128

						Prameters		TC 1-4-8		TC 1-4-9		TC 1-4-10		TC-1-4-11		TC1-4-12				SC 1		SC2		SC3		SC 4 (lined)								0.15		0.15		0.15		Velocity, v		Canal Discharge capacity																										TC 1-1-7		1		90		4		1.47		5.88		15																				0		0.6038318383		0.6038318383		0.7		0.085		0.085		0.085		0.085

						Design discharge ,Q		0.02		0.02		0.03		0.03		0.03				0.02		0.02		0.03		0.13								0.3		0.3		0.3		0.60		0.22																										TC 1-1-8		1		50		3		1.47		4.41		15																				Free board		0.150		0.150		0.150		0.150		0.150		0.150		0.150

						Bed width to depth ratio (b/d)		1.00		1.00		1.00		1.00		1.00				1.00		1.00		1.00		1.00		Prameters		TC 1-1-3		Prameters		0.3		0.3		0.3																																																														Total depth		0.573		0.521		0.391		0.436		0.328		0.413		0.424

						Side slope ,Z		1.00		1.00		1.00		1.00		1.00				1.00		1.00		1.00		0.00		Design discharge ,Q		0.020		Design discharge ,Q		TC1-1-5																																																																Adopted, depth, d		0.500		0.400		0.400		0.400		0.400		0.400		0.400

						Manning's roughness, n		0.03		0.03		0.03		0.03		0.03				0.03		0.03		0.03		0.02		Bed width to depth ratio (b/d)		1.000		Bed width to depth ratio (b/d)		0.015																																																																Adopted, Bed width b		0.500		0.350		0.350		0.350		0.350		0.350		0.350

						Longitudinal slope, S		0.00		0.00		0.01		0.01		0.01				0.02		0.02		0.01		0.00		Side slope ,Z		0.000		Side slope ,Z		1.000

						water depth, d		0.14		0.15		0.15		0.15		0.15				0.12		0.11		0.21		0.44		Manning's roughness, n		0.018		Manning's roughness, n		0.000

						bed width, b		0.14		0.15		0.15		0.15		0.15				0.12		0.11		0.21		0.44		Longitudinal slope, S		0.008		Longitudinal slope, S		0.018

						Area		0.04		0.04		0.05		0.05		0.05				0.03		0.02		0.04		0.19		water depth, d		0.139		water depth, d		0.008

						Wetted perimeter		0.54		0.57		0.58		0.58		0.58				0.47		0.42		0.80		1.31		bed width, b		0.139		bed width, b		0.125												Prameters		TC-1-1-1		TC-1-1-2		TC-1-1-3		TC 1-1-4		TC-1-1-5		TC-1-1-6		TC-1-1-7		TC 1-1-8

						Hydraulic radius		0.07		0.08		0.08		0.08		0.08				0.06		0.06		0.05		0.15				Area		0.039		0.125												Design discharge ,Q		0.020		0.020		0.020		0.015		0.015		0.015		0.015		0.015

						Velocity, v		0.37		0.33		0.55		0.55		0.55				0.67		0.63		0.57		0.69				Wetted perimeter		0.532		Area		0.031										Bed width to depth ratio (b/d)		1.000		1.000		1.000		1.000		1.000		1.000		1.000		1.000										Branching parent canal name		No of FC		chainage  (0+…….)		turnout dimensions

						Canal Discharge capacity		0.02		0.02		0.03		0.03		0.03				0.02		0.02		0.03		0.13				Hydraulic radius		0.073		Wetted perimeter		0.477										Side slope ,Z		0.000		0.000		0.000		0.000		0.000		0.000		0.000		0.000																bed width		depth

						Total depth		0.14		0.15		0.15		0.15		0.15				0.12		0.11		0.21		0.44				Velocity, v		0.519		Hydraulic radius		0.065				TC-1-1-4						Manning's roughness, n		0.018		0.018		0.018		0.018		0.018		0.018		0.018		0.018										TC-1-1-1		2		5,150		equal to TC bed width		equal to TC depth

						Adopted, depth, d		0.30		0.30		0.30		0.30		0.30				0.35		0.35		0.35		0.40				Canal Discharge capacity		0.020		Velocity, v		0.483				0.015						Longitudinal slope, S		0.003		0.003		0.008		0.008		0.008		0.008		0.008		0.008										TC-1-1-2		2		5,200		equal to TC bed width		equal to TC depth

						Adopted, Bed width b		0.30		0.30		0.30		0.30		0.30				0.30		0.30		0.30		0.40				Free board		0.150		Canal Discharge capacity		0.015				1.000						water depth, d		0.200		0.200		0.139		0.125		0.125		0.125		0.125		0.125										TC-1-1-3		2		5,115		equal to TC bed width		equal to TC depth

																														Total depth		0.289		Free board		0.150				0.000						bed width, b		0.200		0.200		0.139		0.125		0.125		0.125		0.125		0.125										TC1-1-4		1		10		equal to TC bed width		equal to TC depth

																		Adopted, depth, d		0.350		Total depth		0.275										Total depth		0.008		Manning's roughness, n		0.018						Area		0.040		0.040		0.039		0.031		0.031		0.031		0.031		0.031										TC1-1-5		1		10,180		equal to TC bed width		equal to TC depth

																		Adopted, Bed width b		0.300		Adopted, depth, d		0.350										Adopted, depth, d		0.125		Longitudinal slope, S		0.008						Wetted perimeter		0.600		0.600		0.532		0.477		0.477		0.477		0.477		0.477										TC1-1-6		1		10		equal to TC bed width		equal to TC depth

																						Adopted, Bed width b		0.300										Adopted, Bed width b		0.125		water depth, d		0.125						Hydraulic radius		0.067		0.067		0.073		0.065		0.065		0.065		0.065		0.065										TC 1-1-7		1		10		equal to TC bed width		equal to TC depth

																																						0.031		bed width, b		0.125						Velocity, v		0.500		0.500		0.519		0.483		0.483		0.483		0.483		0.483										TC 1-1-8		1		10		equal to TC bed width		equal to TC depth

																																						0.477		Area		0.031						Canal Discharge capacity		0.020		0.020		0.020		0.015		0.015		0.015		0.015		0.015										MC2		2		780		equal to TC bed width		equal to TC depth

																																						0.065		Wetted perimeter		0.477						Free board		0.150		0.150		0.150		0.150		0.150		0.150		0.150		0.150										MC2		2		1720		equal to TC bed width		equal to TC depth

																																						0.483		Hydraulic radius		0.065						Total depth		0.350		0.350		0.289		0.275		0.275		0.275		0.275		0.275

																																						0.015		Velocity, v		0.483						Adopted, depth, d		0.350		0.350		0.350		0.350		0.350		0.350		0.350		0.350

																																						0.150		Canal Discharge capacity		0.015						Adopted, Bed width b		0.300		0.300		0.300		0.300		0.300		0.300		0.300		0.300

																																						0.275		Free board		0.150

																																						0.350		Total depth		0.275

																																						0.300		Adopted, depth, d		0.350																												Canal Type		No of FC		Length of canal		net command are (ha)		adopted Q, l/s		FC capacity selected (l/s)

																																								Adopted, Bed width b		0.300																												TC-1-1-1		2		100		6		20		10

																																																																						TC-1-1-2		2		250		11		20		10

																																																																						TC-1-1-3		2		300		5		20		10

																																																																						TC1-1-4		1		100		6		15		10

						Prameters		TC 1-1-1				Prameters																																																										TC1-1-5		1		150		6		15		10

						Design discharge ,Q		0.020				Design discharge ,Q																																																										TC1-1-6		1		150		5		15		10

						Bed width to depth ratio (b/d)		1.000				Bed width to depth ratio (b/d)																																																										TC 1-1-7		1		150		6		15		10

						Side slope ,Z		0.000				Side slope ,Z		TC 1-1-2																																																								TC 1-1-8		1		150		4		15		10

						Manning's roughness, n		0.018				Manning's roughness, n		0.020																																																								MC2		2		150		5		15		10

						Longitudinal slope, S		0.003				Longitudinal slope, S		1.000																																																								MC2		2		150		5		15		10

						water depth, d		0.200				water depth, d		0.000

						bed width, b		0.200				bed width, b		0.018

						Area		0.040				Area		0.003

						Wetted perimeter		0.600				Wetted perimeter		0.200

						Hydraulic radius		0.067				Hydraulic radius		0.200

						Velocity, v		0.500				Velocity, v		0.040

						Canal Discharge capacity		0.020				Canal Discharge capacity		0.600

						Free board		0.150				Free board		0.067

						Total depth		0.350				Total depth		0.500

						Adopted, depth, d		0.350				Adopted, depth, d		0.020

						Adopted, Bed width b		0.300				Adopted, Bed width b		0.150

														0.350

														0.350

														0.300

						Prameters		TC 1-1-2				Prameters

						Design discharge ,Q		0.271				Design discharge ,Q

						Bed width to depth ratio (b/d)		0.274				Bed width to depth ratio (b/d)

						Side slope ,Z		0.278				Side slope ,Z		TC 1-1-3

						Manning's roughness, n		0.282				Manning's roughness, n		0.271

						Longitudinal slope, S		0.286				Longitudinal slope, S		0.274

						water depth, d		0.290				water depth, d		0.278

						bed width, b		0.293				bed width, b		0.282

						Area		0.297				Area		0.286

						Wetted perimeter		0.301				Wetted perimeter		0.290

						Hydraulic radius		0.305				Hydraulic radius		0.293

						Velocity, v		0.308				Velocity, v		0.297

						Canal Discharge capacity		0.312				Canal Discharge capacity		0.301

						Free board		0.316				Free board		0.305

						Total depth		0.320				Total depth		0.308

						Adopted, depth, d		0.324				Adopted, depth, d		0.312

						Adopted, Bed width b		0.327				Adopted, Bed width b		0.316

														0.320

														0.324

														0.327

						Prameters		TC 1-1-3				Prameters

						Design discharge ,Q		0.331				Design discharge ,Q

						Bed width to depth ratio (b/d)		0.335				Bed width to depth ratio (b/d)

						Side slope ,Z		0.339				Side slope ,Z		TC 1-1-4

						Manning's roughness, n		0.342				Manning's roughness, n		0.331

						Longitudinal slope, S		0.346				Longitudinal slope, S		0.335

						water depth, d		0.350				water depth, d		0.339

						bed width, b		0.354				bed width, b		0.342

						Area		0.358				Area		0.346

						Wetted perimeter		0.361				Wetted perimeter		0.350

						Hydraulic radius		0.365				Hydraulic radius		0.354

						Velocity, v		0.369				Velocity, v		0.358

						Canal Discharge capacity		0.373				Canal Discharge capacity		0.361

						Free board		0.376				Free board		0.365

						Total depth		0.380				Total depth		0.369

						Adopted, depth, d		0.384				Adopted, depth, d		0.373

						Adopted, Bed width b		0.388				Adopted, Bed width b		0.376

														0.380

														0.384

														0.388

						Prameters		TC 1-1-4				Prameters

						Design discharge ,Q		0.392				Design discharge ,Q

						Bed width to depth ratio (b/d)		0.395				Bed width to depth ratio (b/d)

						Side slope ,Z		0.399				Side slope ,Z		TC 1-1-5

						Manning's roughness, n		0.403				Manning's roughness, n		0.392

						Longitudinal slope, S		0.407				Longitudinal slope, S		0.395

						water depth, d		0.410				water depth, d		0.399

						bed width, b		0.414				bed width, b		0.403

						Area		0.418				Area		0.407

						Wetted perimeter		0.422				Wetted perimeter		0.410

						Hydraulic radius		0.426				Hydraulic radius		0.414

						Velocity, v		0.429				Velocity, v		0.418

						Canal Discharge capacity		0.433				Canal Discharge capacity		0.422

						Free board		0.437				Free board		0.426

						Total depth		0.441				Total depth		0.429

						Adopted, depth, d		0.444				Adopted, depth, d		0.433

						Adopted, Bed width b		0.448				Adopted, Bed width b		0.437

														0.441

														0.444

														0.448

						Prameters		TC 1-1-5				Prameters

						Design discharge ,Q		0.452				Design discharge ,Q

						Bed width to depth ratio (b/d)		0.456				Bed width to depth ratio (b/d)

						Side slope ,Z		0.460				Side slope ,Z		TC 1-1-6

						Manning's roughness, n		0.463				Manning's roughness, n		0.452

						Longitudinal slope, S		0.467				Longitudinal slope, S		0.456

						water depth, d		0.471				water depth, d		0.460

						bed width, b		0.475				bed width, b		0.463

						Area		0.478				Area		0.467

						Wetted perimeter		0.482				Wetted perimeter		0.471

						Hydraulic radius		0.486				Hydraulic radius		0.475

						Velocity, v		0.490				Velocity, v		0.478

						Canal Discharge capacity		0.493				Canal Discharge capacity		0.482

						Free board		0.497				Free board

						Total depth		0.501				Total depth

						Adopted, depth, d		0.505				Adopted, depth, d

						Adopted, Bed width b		0.509				Adopted, Bed width b

																Prameters

																Design discharge ,Q

																Bed width to depth ratio (b/d)

																Side slope ,Z

																Manning's roughness, n

																Longitudinal slope, S

																water depth, d

																bed width, b

						Prameters		TC 1-1-2				Prameters

						Design discharge ,Q		0.271				Design discharge ,Q

						Bed width to depth ratio (b/d)		0.274				Bed width to depth ratio (b/d)

						Side slope ,Z		0.278				Side slope ,Z		TC 1-1-3

						Manning's roughness, n		0.282				Manning's roughness, n		0.271

						Longitudinal slope, S		0.286				Longitudinal slope, S		0.274

						water depth, d		0.290				water depth, d		0.278

						bed width, b		0.293				bed width, b		0.282

						Area		0.297				Area		0.286

						Wetted perimeter		0.301				Wetted perimeter		0.290

						Hydraulic radius		0.305				Hydraulic radius		0.293

						Velocity, v		0.308				Velocity, v		0.297

						Canal Discharge capacity		0.312				Canal Discharge capacity		0.301

						Free board		0.316				Free board		0.305

						Total depth		0.320				Total depth		0.308

						Adopted, depth, d		0.324				Adopted, depth, d		0.312

						Adopted, Bed width b		0.327				Adopted, Bed width b		0.316

														0.320

														0.324

														0.327

						Prameters		TC 1-1-3				Prameters

						Design discharge ,Q		0.331				Design discharge ,Q

						Bed width to depth ratio (b/d)		0.335				Bed width to depth ratio (b/d)

						Side slope ,Z		0.339				Side slope ,Z		TC 1-1-4

						Manning's roughness, n		0.342				Manning's roughness, n		0.331

						Longitudinal slope, S		0.346				Longitudinal slope, S		0.335

						water depth, d		0.350				water depth, d		0.339

						bed width, b		0.354				bed width, b		0.342

						Area		0.358				Area		0.346

						Wetted perimeter		0.361				Wetted perimeter		0.350

						Hydraulic radius		0.365				Hydraulic radius		0.354

						Velocity, v		0.369				Velocity, v		0.358

						Canal Discharge capacity		0.373				Canal Discharge capacity		0.361

						Free board		0.376				Free board		0.365

						Total depth		0.380				Total depth		0.369

						Adopted, depth, d		0.384				Adopted, depth, d		0.373

						Adopted, Bed width b		0.388				Adopted, Bed width b		0.376

														0.380

														0.384

														0.388

						Prameters		TC 1-1-4				Prameters

						Design discharge ,Q		0.392				Design discharge ,Q

						Bed width to depth ratio (b/d)		0.395				Bed width to depth ratio (b/d)

						Side slope ,Z		0.399				Side slope ,Z		TC 1-1-5

						Manning's roughness, n		0.403				Manning's roughness, n		0.392

						Longitudinal slope, S		0.407				Longitudinal slope, S		0.395

						water depth, d		0.410				water depth, d		0.399

						bed width, b		0.414				bed width, b		0.403

						Area		0.418				Area		0.407

						Wetted perimeter		0.422				Wetted perimeter		0.410

						Hydraulic radius		0.426				Hydraulic radius		0.414

						Velocity, v		0.429				Velocity, v		0.418

						Canal Discharge capacity		0.433				Canal Discharge capacity		0.422

						Free board		0.437				Free board		0.426

						Total depth		0.441				Total depth		0.429

						Adopted, depth, d		0.444				Adopted, depth, d		0.433

						Adopted, Bed width b		0.448				Adopted, Bed width b		0.437

														0.441

														0.444

														0.448

						Prameters		TC 1-1-5				Prameters

						Design discharge ,Q		0.452				Design discharge ,Q

						Bed width to depth ratio (b/d)		0.456				Bed width to depth ratio (b/d)

						Side slope ,Z		0.460				Side slope ,Z		TC 1-1-6

						Manning's roughness, n		0.463				Manning's roughness, n		0.452

						Longitudinal slope, S		0.467				Longitudinal slope, S		0.456

						water depth, d		0.471				water depth, d		0.460

						bed width, b		0.475				bed width, b		0.463

						Area		0.478				Area		0.467

						Wetted perimeter		0.482				Wetted perimeter		0.471

						Hydraulic radius		0.486				Hydraulic radius		0.475

						Velocity, v		0.490				Velocity, v		0.478

						Canal Discharge capacity		0.493				Canal Discharge capacity		0.482

						Free board		0.497				Free board		0.486

						Total depth		0.501				Total depth		0.490

						Adopted, depth, d		0.505				Adopted, depth, d		0.493

						Adopted, Bed width b		0.509				Adopted, Bed width b		0.497

														0.501

														0.505

														0.509

						Prameters		TC 1-1-6				Prameters

						Design discharge ,Q		0.512				Design discharge ,Q

						Bed width to depth ratio (b/d)		0.516				Bed width to depth ratio (b/d)

						Side slope ,Z		0.520				Side slope ,Z		TC 1-1-7

						Manning's roughness, n		0.524				Manning's roughness, n		0.486

						Longitudinal slope, S		0.527				Longitudinal slope, S		0.490

						water depth, d		0.531				water depth, d		0.493

						bed width, b		0.535				bed width, b		0.497

						Area		0.539				Area		0.501

						Wetted perimeter		0.543				Wetted perimeter		0.505

						Hydraulic radius		0.546				Hydraulic radius		0.509

						Velocity, v		0.550				Velocity, v		0.512

						Canal Discharge capacity		0.554				Canal Discharge capacity		0.516

						Free board		0.558				Free board

						Total depth		0.561				Total depth

						Adopted, depth, d		0.565				Adopted, depth, d

						Adopted, Bed width b		0.569				Adopted, Bed width b

																Prameters

																Design discharge ,Q

																Bed width to depth ratio (b/d)

																Side slope ,Z

																Manning's roughness, n

																Longitudinal slope, S

																water depth, d

																bed width, b

						Prameters		TC 1-1-3				Prameters

						Design discharge ,Q		0.331				Design discharge ,Q

						Bed width to depth ratio (b/d)		0.335				Bed width to depth ratio (b/d)

						Side slope ,Z		0.339				Side slope ,Z		TC 1-1-4

						Manning's roughness, n		0.342				Manning's roughness, n		0.331

						Longitudinal slope, S		0.346				Longitudinal slope, S		0.335

						water depth, d		0.350				water depth, d		0.339

						bed width, b		0.354				bed width, b		0.342

						Area		0.358				Area		0.346

						Wetted perimeter		0.361				Wetted perimeter		0.350

						Hydraulic radius		0.365				Hydraulic radius		0.354

						Velocity, v		0.369				Velocity, v		0.358

						Canal Discharge capacity		0.373				Canal Discharge capacity		0.361

						Free board		0.376				Free board		0.365

						Total depth		0.380				Total depth		0.369

						Adopted, depth, d		0.384				Adopted, depth, d		0.373

						Adopted, Bed width b		0.388				Adopted, Bed width b		0.376

														0.380

														0.384

														0.388

						Prameters		TC 1-1-4				Prameters

						Design discharge ,Q		0.392				Design discharge ,Q

						Bed width to depth ratio (b/d)		0.395				Bed width to depth ratio (b/d)

						Side slope ,Z		0.399				Side slope ,Z		TC 1-1-5

						Manning's roughness, n		0.403				Manning's roughness, n		0.392

						Longitudinal slope, S		0.407				Longitudinal slope, S		0.395

						water depth, d		0.410				water depth, d		0.399

						bed width, b		0.414				bed width, b		0.403

						Area		0.418				Area		0.407

						Wetted perimeter		0.422				Wetted perimeter		0.410

						Hydraulic radius		0.426				Hydraulic radius		0.414

						Velocity, v		0.429				Velocity, v		0.418

						Canal Discharge capacity		0.433				Canal Discharge capacity		0.422

						Free board		0.437				Free board		0.426

						Total depth		0.441				Total depth		0.429

						Adopted, depth, d		0.444				Adopted, depth, d		0.433

						Adopted, Bed width b		0.448				Adopted, Bed width b		0.437

														0.441

														0.444

														0.448

						Prameters		TC 1-1-5				Prameters

						Design discharge ,Q		0.452				Design discharge ,Q

						Bed width to depth ratio (b/d)		0.456				Bed width to depth ratio (b/d)

						Side slope ,Z		0.460				Side slope ,Z		TC 1-1-6

						Manning's roughness, n		0.463				Manning's roughness, n		0.452

						Longitudinal slope, S		0.467				Longitudinal slope, S		0.456

						water depth, d		0.471				water depth, d		0.460

						bed width, b		0.475				bed width, b		0.463

						Area		0.478				Area		0.467

						Wetted perimeter		0.482				Wetted perimeter		0.471

						Hydraulic radius		0.486				Hydraulic radius		0.475

						Velocity, v		0.490				Velocity, v		0.478

						Canal Discharge capacity		0.493				Canal Discharge capacity		0.482

						Free board		0.497				Free board		0.486

						Total depth		0.501				Total depth		0.490

						Adopted, depth, d		0.505				Adopted, depth, d		0.493

						Adopted, Bed width b		0.509				Adopted, Bed width b		0.497

														0.501

														0.505

														0.509

						Prameters		TC 1-1-6				Prameters

						Design discharge ,Q		0.512				Design discharge ,Q

						Bed width to depth ratio (b/d)		0.516				Bed width to depth ratio (b/d)

						Side slope ,Z		0.520				Side slope ,Z		TC 1-1-7

						Manning's roughness, n		0.524				Manning's roughness, n		0.512

						Longitudinal slope, S		0.527				Longitudinal slope, S		0.516

						water depth, d		0.531				water depth, d		0.520

						bed width, b		0.535				bed width, b		0.524

						Area		0.539				Area		0.527

						Wetted perimeter		0.543				Wetted perimeter		0.531

						Hydraulic radius		0.546				Hydraulic radius		0.535

						Velocity, v		0.550				Velocity, v		0.539

						Canal Discharge capacity		0.554				Canal Discharge capacity		0.543

						Free board		0.558				Free board		0.546

						Total depth		0.561				Total depth		0.550

						Adopted, depth, d		0.565				Adopted, depth, d		0.554

						Adopted, Bed width b		0.569				Adopted, Bed width b		0.558

														0.561

														0.565

														0.569

						Prameters		TC 1-1-7				Prameters

						Design discharge ,Q		0.573				Design discharge ,Q

						Bed width to depth ratio (b/d)		0.577				Bed width to depth ratio (b/d)

						Side slope ,Z		0.580				Side slope ,Z		TC 1-1-8

						Manning's roughness, n		0.584				Manning's roughness, n		0.520

						Longitudinal slope, S		0.588				Longitudinal slope, S		0.524

						water depth, d		0.592				water depth, d		0.527

						bed width, b		0.595				bed width, b		0.531

						Area		0.599				Area		0.535

						Wetted perimeter		0.603				Wetted perimeter		0.539

						Hydraulic radius		0.607				Hydraulic radius		0.543

						Velocity, v		0.611				Velocity, v		0.546

						Canal Discharge capacity		0.614				Canal Discharge capacity		0.550

						Free board		0.618				Free board

						Total depth		0.622				Total depth

						Adopted, depth, d		0.626				Adopted, depth, d

						Adopted, Bed width b		0.629				Adopted, Bed width b

																Prameters

																Design discharge ,Q

																Bed width to depth ratio (b/d)

																Side slope ,Z

																Manning's roughness, n

																Longitudinal slope, S

																water depth, d

																bed width, b

						Prameters		TC 1-1-4				Prameters

						Design discharge ,Q		0.392				Design discharge ,Q

						Bed width to depth ratio (b/d)		0.395				Bed width to depth ratio (b/d)

						Side slope ,Z		0.399				Side slope ,Z		TC 1-1-5

						Manning's roughness, n		0.403				Manning's roughness, n		0.392

						Longitudinal slope, S		0.407				Longitudinal slope, S		0.395

						water depth, d		0.410				water depth, d		0.399

						bed width, b		0.414				bed width, b		0.403

						Area		0.418				Area		0.407

						Wetted perimeter		0.422				Wetted perimeter		0.410

						Hydraulic radius		0.426				Hydraulic radius		0.414

						Velocity, v		0.429				Velocity, v		0.418

						Canal Discharge capacity		0.433				Canal Discharge capacity		0.422

						Free board		0.437				Free board		0.426

						Total depth		0.441				Total depth		0.429

						Adopted, depth, d		0.444				Adopted, depth, d		0.433

						Adopted, Bed width b		0.448				Adopted, Bed width b		0.437

														0.441

														0.444

														0.448

						Prameters		TC 1-1-5				Prameters

						Design discharge ,Q		0.452				Design discharge ,Q

						Bed width to depth ratio (b/d)		0.456				Bed width to depth ratio (b/d)

						Side slope ,Z		0.460				Side slope ,Z		TC 1-1-6

						Manning's roughness, n		0.463				Manning's roughness, n		0.452

						Longitudinal slope, S		0.467				Longitudinal slope, S		0.456

						water depth, d		0.471				water depth, d		0.460

						bed width, b		0.475				bed width, b		0.463

						Area		0.478				Area		0.467

						Wetted perimeter		0.482				Wetted perimeter		0.471

						Hydraulic radius		0.486				Hydraulic radius		0.475

						Velocity, v		0.490				Velocity, v		0.478

						Canal Discharge capacity		0.493				Canal Discharge capacity		0.482

						Free board		0.497				Free board		0.486

						Total depth		0.501				Total depth		0.490

						Adopted, depth, d		0.505				Adopted, depth, d		0.493

						Adopted, Bed width b		0.509				Adopted, Bed width b		0.497

														0.501

														0.505

														0.509





Sheet1

		

																						Prameters				Design discharge ,Q		Bed width to depth ratio (b/d)		Side slope ,Z		Manning's roughness, n		Longitudinal slope, S		water depth, d		bed width, b		Area		Wetted perimeter		Hydraulic radius		Velocity, v		Canal Discharge capacity		Total depth		Adopted, depth, d		Adopted, Bed width b

				Prameters		SC 1		Prameters		SC2				Prameters		MC-0-300,836-1700		MC 300-836,1700-2587				MC-0-300,836-1700		(LINED  CANAL MC)		0.22		1		0		0.018		0.001		0.60		0.60		0.36		1.81		0.20		0.60		0.22		0.60		0.60		0.70

				Design discharge ,Q		0.02		Design discharge ,Q		0.015						(LINED  CANAL MC)		(EATHEN CANAL)				MC 300-836,1700-2587		(EATHEN CANAL)		0.22		1		1		0.03		0.001		0.50		0.50		0.51		1.93		0.26		0.43		0.22		0.50		0.60		0.70

				Bed width to depth ratio (b/d)		1.00		Bed width to depth ratio (b/d)		1				Design discharge ,Q		0.22		0.22

				Side slope ,Z		1.00		Side slope ,Z		1				Bed width to depth ratio (b/d)		1		1				Prameters		Design discharge ,Q		Bed width to depth ratio (b/d)		Side slope ,Z		Manning's roughness, n		Longitudinal slope, S		water depth, d		bed width, b		Area		Wetted perimeter		Hydraulic radius		Velocity, v		Canal Discharge capacity		Total depth		Adopted, depth, d		Adopted, Bed width b

				Manning's roughness, n		0.03		Manning's roughness, n		0.03				Side slope ,Z		0		1				SC2		0.015		1		1		0.03		0.016		0.109		0.1094696034		0.0239671881		0.419		0.057		0.626		0.015		0.109		0.350		0.300

				Longitudinal slope, S		0.02		Longitudinal slope, S		0.016				Manning's roughness, n		0.018		0.03

				water depth, d		0.12		water depth, d		0.109				Longitudinal slope, S		0.001		0.001				Prameters		Design discharge ,Q		Bed width to depth ratio (b/d)		Side slope ,Z		Manning's roughness, n		Longitudinal slope, S		water depth, d		bed width, b		Area		Wetted perimeter		Hydraulic radius		Velocity, v		Canal Discharge capacity		Total depth		Adopted, depth, d		Adopted, Bed width b

				bed width, b		0.12		bed width, b		0.1094696034				water depth, d		0.60		0.50				SC 1		0.02		1.00		1.00		0.03		0.02		0.12		0.12		0.03		0.47		0.06		0.67		0.02		0.12		0.35		0.3

				Area		0.03		Area		0.0239671881				bed width, b		0.60		0.50

				Wetted perimeter		0.47		Wetted perimeter		0.419				Area		0.36		0.51				Prameters		Design discharge ,Q		Bed width to depth ratio (b/d)		Side slope ,Z		Manning's roughness, n		Longitudinal slope, S		water depth, d		bed width, b		Area		Wetted perimeter		Hydraulic radius		Velocity, v		Canal Discharge capacity		Total depth		Adopted, depth, d		Adopted, Bed width b

				Hydraulic radius		0.06		Hydraulic radius		0.057				Wetted perimeter		1.81		1.93				SC3		0.025		1.00		1.00		0.03		0.01		0.21		0.21		0.04		0.80		0.05		0.57		0.03		0.21		0.35		0.30

				Velocity, v		0.67		Velocity, v		0.626				Hydraulic radius		0.20		0.26

				Canal Discharge capacity		0.02		Canal Discharge capacity		0.015				Velocity, v		0.60		0.43				Prameters		Design discharge ,Q		Bed width to depth ratio (b/d)		Side slope ,Z		Manning's roughness, n		Longitudinal slope, S		water depth, d		bed width, b		Area		Wetted perimeter		Hydraulic radius		Velocity, v		Canal Discharge capacity		Total depth		Adopted, depth, d		Adopted, Bed width b

				Total depth		0.12		Total depth		0.109				Canal Discharge capacity		0.22		0.22				SC 4		0.13		1.00		0.00		0.02		0.00		0.44		0.44		0.19		1.31		0.15		0.69		0.13		0.44		0.40		0.40

				Adopted, depth, d		0.35		Adopted, depth, d		0.350				Total depth		0.60		0.50

				Adopted, Bed width b		0.3		Adopted, Bed width b		0.300				Adopted, depth, d		0.60		0.60				Prameters		Design discharge ,Q		Bed width to depth ratio (b/d)		Side slope ,Z		Manning's roughness, n		Longitudinal slope, S		water depth, d		bed width, b		Area		Wetted perimeter		Hydraulic radius		Velocity, v		Canal Discharge capacity		Total depth		Adopted, depth, d		Adopted, Bed width b

														Adopted, Bed width b		0.70		0.70				TC1-1-1		0.02		1.00		1.00		0.03		0.02		0.10		0.10		0.02		0.40		0.05		0.68		0.02		0.10		0.30		0.30

				Prameters		SC3		Prameters		SC 4

				Design discharge ,Q		0.025		Design discharge ,Q		0.13												Prameters		Design discharge ,Q		Bed width to depth ratio (b/d)		Side slope ,Z		Manning's roughness, n		Longitudinal slope, S		water depth, d		bed width, b		Area		Wetted perimeter		Hydraulic radius		Velocity, v		Canal Discharge capacity		Total depth		Adopted, depth, d		Adopted, Bed width b

				Bed width to depth ratio (b/d)		1.00		Bed width to depth ratio (b/d)		1.00												TC1-1-2		0.005		1.00		1.00		0.03		0.01		0.08		0.08		0.01		0.32		0.04		0.37		0.01		0.08		0.30		0.30

				Side slope ,Z		1.00		Side slope ,Z		0.00

				Manning's roughness, n		0.03		Manning's roughness, n		0.02												Prameters		Design discharge ,Q		Bed width to depth ratio (b/d)		Side slope ,Z		Manning's roughness, n		Longitudinal slope, S		water depth, d		bed width, b		Area		Wetted perimeter		Hydraulic radius		Velocity, v		Canal Discharge capacity		Total depth		Adopted, depth, d		Adopted, Bed width b		Prameters		Design discharge ,Q		Bed width to depth ratio (b/d)		Side slope ,Z		Manning's roughness, n		Longitudinal slope, S		water depth, d		bed width, b		Area		Wetted perimeter		Hydraulic radius		Velocity, v		Canal Discharge capacity		Total depth		Adopted, depth, d		Adopted, Bed width b

				Longitudinal slope, S		0.01		Longitudinal slope, S		0.00												TC1-2 -3		0.006		1.00		1.00		0.03		0.02		0.08		0.08		0.01		0.30		0.04		0.49		0.01		0.08		0.30		0.30		TC1-3-5		0.010		1.00		1.00		0.03		0.02		0.09		0.09		0.02		0.36		0.05		0.57		0.01		0.09		0.30		0.30

				water depth, d		0.21		water depth, d		0.44

				bed width, b		0.21		bed width, b		0.44												Prameters		Design discharge ,Q		Bed width to depth ratio (b/d)		Side slope ,Z		Manning's roughness, n		Longitudinal slope, S		water depth, d		bed width, b		Area		Wetted perimeter		Hydraulic radius		Velocity, v		Canal Discharge capacity		Total depth		Adopted, depth, d		Adopted, Bed width b		Prameters		Design discharge ,Q		Bed width to depth ratio (b/d)		Side slope ,Z		Manning's roughness, n		Longitudinal slope, S		water depth, d		bed width, b		Area		Wetted perimeter		Hydraulic radius		Velocity, v		Canal Discharge capacity		Total depth		Adopted, depth, d		Adopted, Bed width b

				Area		0.04		Area		0.19												TC1-2  -4		0.006		1.00		1.00		0.03		0.01		0.08		0.08		0.01		0.31		0.04		0.45		0.01		0.08		0.30		0.30		TC1-3-6		0.015		1.00		1.00		0.03		0.02		0.11		0.11		0.02		0.42		0.06		0.63		0.02		0.11		0.30		0.30

				Wetted perimeter		0.80		Wetted perimeter		1.31

				Hydraulic radius		0.05		Hydraulic radius		0.15												Prameters		Design discharge ,Q		Bed width to depth ratio (b/d)		Side slope ,Z		Manning's roughness, n		Longitudinal slope, S		water depth, d		bed width, b		Area		Wetted perimeter		Hydraulic radius		Velocity, v		Canal Discharge capacity		Total depth		Adopted, depth, d		Adopted, Bed width b

				Velocity, v		0.57		Velocity, v		0.69												TC1-3-5		0.010		1.00		1.00		0.03		0.02		0.09		0.09		0.02		0.36		0.05		0.57		0.01		0.09		0.30		0.30

				Canal Discharge capacity		0.03		Canal Discharge capacity		0.13

				Total depth		0.21		Total depth		0.44												Prameters		Design discharge ,Q		Bed width to depth ratio (b/d)		Side slope ,Z		Manning's roughness, n		Longitudinal slope, S		water depth, d		bed width, b		Area		Wetted perimeter		Hydraulic radius		Velocity, v		Canal Discharge capacity		Total depth		Adopted, depth, d		Adopted, Bed width b

				Adopted, depth, d		0.35		Adopted, depth, d		0.40												TC1-3-6		0.015		1.00		1.00		0.03		0.02		0.11		0.11		0.02		0.42		0.06		0.63		0.02		0.11		0.30		0.30

				Adopted, Bed width b		0.30		Adopted, Bed width b		0.40

																						Prameters		Design discharge ,Q		Bed width to depth ratio (b/d)		Side slope ,Z		Manning's roughness, n		Longitudinal slope, S		water depth, d		bed width, b		Area		Wetted perimeter		Hydraulic radius		Velocity, v		Canal Discharge capacity		Total depth		Adopted, depth, d		Adopted, Bed width b

				Prameters		TC1-1-1		Prameters		TC1-1-2												TC1-7		0.025		1.00		1.00		0.03		0.00		0.17		0.17		0.06		0.66		0.09		0.42		0.03		0.17		0.30		0.30

				Design discharge ,Q		0.02		Design discharge ,Q		0.005

				Bed width to depth ratio (b/d)		1.00		Bed width to depth ratio (b/d)		1.00												Prameters		Design discharge ,Q		Bed width to depth ratio (b/d)		Side slope ,Z		Manning's roughness, n		Longitudinal slope, S		water depth, d		bed width, b		Area		Wetted perimeter		Hydraulic radius		Velocity, v		Canal Discharge capacity		Total depth		Adopted, depth, d		Adopted, Bed width b

				Side slope ,Z		1.00		Side slope ,Z		1.00												TC 1-4-8		0.015		1.00		1.00		0.03		0.00		0.14		0.14		0.04		0.54		0.07		0.37		0.02		0.14		0.30		0.30

				Manning's roughness, n		0.03		Manning's roughness, n		0.03

				Longitudinal slope, S		0.02		Longitudinal slope, S		0.01												Prameters		Design discharge ,Q		Bed width to depth ratio (b/d)		Side slope ,Z		Manning's roughness, n		Longitudinal slope, S		water depth, d		bed width, b		Area		Wetted perimeter		Hydraulic radius		Velocity, v		Canal Discharge capacity		Total depth		Adopted, depth, d		Adopted, Bed width b

				water depth, d		0.10		water depth, d		0.08												TC 1-4-9		0.015		1.00		1.00		0.03		0.00		0.15		0.15		0.04		0.57		0.08		0.33		0.02		0.15		0.30		0.30

				bed width, b		0.10		bed width, b		0.08

				Area		0.02		Area		0.01												Prameters		Design discharge ,Q		Bed width to depth ratio (b/d)		Side slope ,Z		Manning's roughness, n		Longitudinal slope, S		water depth, d		bed width, b		Area		Wetted perimeter		Hydraulic radius		Velocity, v		Canal Discharge capacity		Total depth		Adopted, depth, d		Adopted, Bed width b

				Wetted perimeter		0.40		Wetted perimeter		0.32

				Hydraulic radius		0.05		Hydraulic radius		0.04												TC 1-4-10		0.025		1.00		1.00		0.03		0.01		0.15		0.15		0.05		0.58		0.08		0.55		0.03		0.15		0.30		0.30

				Velocity, v		0.68		Velocity, v		0.37

				Canal Discharge capacity		0.02		Canal Discharge capacity		0.01												Prameters		Design discharge ,Q		Bed width to depth ratio (b/d)		Side slope ,Z		Manning's roughness, n		Longitudinal slope, S		water depth, d		bed width, b		Area		Wetted perimeter		Hydraulic radius		Velocity, v		Canal Discharge capacity		Total depth		Adopted, depth, d		Adopted, Bed width b

				Total depth		0.10		Total depth		0.08												TC-1-4-11		0.025		1.00		1.00		0.03		0.01		0.15		0.15		0.05		0.58		0.08		0.55		0.03		0.15		0.30		0.30

				Adopted, depth, d		0.30		Adopted, depth, d		0.30

				Adopted, Bed width b		0.30		Adopted, Bed width b		0.30												Prameters		Design discharge ,Q		Bed width to depth ratio (b/d)		Side slope ,Z		Manning's roughness, n		Longitudinal slope, S		water depth, d		bed width, b		Area		Wetted perimeter		Hydraulic radius		Velocity, v		Canal Discharge capacity		Total depth		Adopted, depth, d		Adopted, Bed width b

				Prameters		TC1-2 -3		Prameters		TC1-2  -4												TC1-4-12		0.03		1.00		1.00		0.03		0.01		0.15		0.15		0.05		0.58		0.08		0.55		0.03		0.15		0.30		0.30

				Design discharge ,Q		0.006		Design discharge ,Q		0.006

				Bed width to depth ratio (b/d)		1.00		Bed width to depth ratio (b/d)		1.00

				Side slope ,Z		1.00		Side slope ,Z		1.00

				Manning's roughness, n		0.03		Manning's roughness, n		0.03

				Longitudinal slope, S		0.02		Longitudinal slope, S		0.01

				water depth, d		0.08		water depth, d		0.08

				bed width, b		0.08		bed width, b		0.08

				Area		0.01		Area		0.01

				Wetted perimeter		0.30		Wetted perimeter		0.31

				Hydraulic radius		0.04		Hydraulic radius		0.04

				Velocity, v		0.49		Velocity, v		0.45

				Canal Discharge capacity		0.01		Canal Discharge capacity		0.01

				Total depth		0.08		Total depth		0.08

				Adopted, depth, d		0.30		Adopted, depth, d		0.30

				Adopted, Bed width b		0.30		Adopted, Bed width b		0.30

				Prameters		TC1-3-5		Prameters		TC1-3-6

				Design discharge ,Q		0.010		Design discharge ,Q		0.015

				Bed width to depth ratio (b/d)		1.00		Bed width to depth ratio (b/d)		1.00

				Side slope ,Z		1.00		Side slope ,Z		1.00

				Manning's roughness, n		0.03		Manning's roughness, n		0.03

				Longitudinal slope, S		0.02		Longitudinal slope, S		0.02

				water depth, d		0.09		water depth, d		0.11

				bed width, b		0.09		bed width, b		0.11

				Area		0.02		Area		0.02

				Wetted perimeter		0.36		Wetted perimeter		0.42

				Hydraulic radius		0.05		Hydraulic radius		0.06

				Velocity, v		0.57		Velocity, v		0.63

				Canal Discharge capacity		0.01		Canal Discharge capacity		0.02

				Total depth		0.09		Total depth		0.11

				Adopted, depth, d		0.30		Adopted, depth, d		0.30

				Adopted, Bed width b		0.30		Adopted, Bed width b		0.30

								Prameters		TC 1-4-8

				Prameters		TC1-7		Design discharge ,Q		0.015

				Design discharge ,Q		0.025		Bed width to depth ratio (b/d)		1.00

				Bed width to depth ratio (b/d)		1.00		Side slope ,Z		1.00

				Side slope ,Z		1.00		Manning's roughness, n		0.03

				Manning's roughness, n		0.03		Longitudinal slope, S		0.00

				Longitudinal slope, S		0.00		water depth, d		0.14

				water depth, d		0.17		bed width, b		0.14

				bed width, b		0.17		Area		0.04

				Area		0.06		Wetted perimeter		0.54

				Wetted perimeter		0.66		Hydraulic radius		0.07

				Hydraulic radius		0.09		Velocity, v		0.37

				Velocity, v		0.42		Canal Discharge capacity		0.02

				Canal Discharge capacity		0.03		Total depth		0.14

				Total depth		0.17		Adopted, depth, d		0.30

				Adopted, depth, d		0.30		Adopted, Bed width b		0.30

				Adopted, Bed width b		0.30		Prameters		TC 1-4-9		Prameters				TC 1-4-10

								Design discharge ,Q		0.015		Design discharge ,Q				0.025

								Bed width to depth ratio (b/d)		1.00		Bed width to depth ratio (b/d)				1.00

								Side slope ,Z		1.00		Side slope ,Z				1.00

								Manning's roughness, n		0.03		Manning's roughness, n				0.03

								Longitudinal slope, S		0.00		Longitudinal slope, S				0.01

								water depth, d		0.15		water depth, d				0.15

								bed width, b		0.15		bed width, b				0.15

								Area		0.04		Area				0.05

								Wetted perimeter		0.57		Wetted perimeter				0.58

								Hydraulic radius		0.08		Hydraulic radius				0.08

								Velocity, v		0.33		Velocity, v				0.55

								Canal Discharge capacity		0.02		Canal Discharge capacity				0.03

								Total depth		0.15		Total depth				0.15

								Adopted, depth, d		0.30		Adopted, depth, d				0.30

								Adopted, Bed width b		0.30		Adopted, Bed width b				0.30

								Prameters		TC-1-4-11				Prameters				TC1-4-12

								Design discharge ,Q		0.025				Design discharge ,Q				0.03

								Bed width to depth ratio (b/d)		1.00				Bed width to depth ratio (b/d)				1.00

								Side slope ,Z		1.00				Side slope ,Z				1.00

								Manning's roughness, n		0.03				Manning's roughness, n				0.03

								Longitudinal slope, S		0.01				Longitudinal slope, S				0.01

								water depth, d		0.15				water depth, d				0.15

								bed width, b		0.15				bed width, b				0.15

								Area		0.05				Area				0.05

								Wetted perimeter		0.58				Wetted perimeter				0.58

								Hydraulic radius		0.08				Hydraulic radius				0.08

								Velocity, v		0.55				Velocity, v				0.55

								Canal Discharge capacity		0.03				Canal Discharge capacity				0.03

								Total depth		0.15				Total depth				0.15

								Adopted, depth, d		0.30				Adopted, depth, d				0.30

								Adopted, Bed width b		0.30				Adopted, Bed width b				0.30





Sheet8

		

																						Prameters		MC-0-300,836-1700		MC 300-836,1700-2587

																								(LINED  CANAL MC)		(EATHEN CANAL)





Sheet2

		





Sheet3

		





FLUME CT $FILL

		Northing		Easting		PD		COM.D		ELEV.N		CBL		BL												G1		AQUIDUCT				1540

		1355670.6548		383432.9299		0		0		1990.6363		1989.6738492064		1990.2738492063		0.9624507936		0				0,1990.6363

		1355679.4356		383436.4672		10		10		1989.3682		1990.063015873		1990.663015873		0		1.294815873				10,1989.3682				383436.4672,1355679.4356																		Name		Q		CANAL DEPTH		CANAL WIDTH		FLUME HEIGHT		SPAN LENGTH		CH, ON MC

		1355689.1537		383434.1118		10		20		1989.1117		1990.053015873		1990.653015873		0		1.541315873				20,1989.1117				383434.1118,1355689.1537																		G1		0.18L/S		0.5		0.5		2.5		41.5m		0+1550																TC1		8.4

		1355698.8719		383431.7565		10		30		1989.2198		1990.043015873		1990.643015873		0		1.423215873				30,1989.2198				383431.7565,1355698.8719																		G3		0.18L/S		0.5		0.5		1		40		0+1840																TC2		2.7		11.1

		1355708.5901		383429.4011		10		40		1989.9583		1990.033015873		1990.633015873		0		0.674715873				40,1989.9583				383429.4011,1355708.5901																						CANAL DEPTH		CANAL WIDTH		SUPPER PASSAGE LENGTH				CH, ON MC																TC3		3.4

		1355718.3082		383427.0457		10		50		1990.6283		1989.6113492064		1990.2113492063		1.0169507937		0				50,1990.6283																						G2		0.18L/S		0.5		0.5		20				1720m																TC4		3.3		6.7

		Northing		Easting		PD		COM.D		ELEV.N		CBL		BL		G3 AQUIDUCT				1840(ch)																												0.5		0.5		20				836m																TC5		13.5

		1355959.7067		383385.0095		10		1840		1989.6555		1989.773015873		1990.373015873		0		0.717515873				1840,1989.6555				383385.0095,1355959.7067																																														TC7		12.5																30

		1355969.6736		383384.2026		10		1850		1989.4584		1989.763015873		1990.363015873		0		0.904615873				1850,1989.4584				383384.2026,1355969.6736																																														TC8		14.8

		1355979.6405		383383.3958		10		1860		1989.56		1989.753015873		1990.353015873		0		0.793015873				1860,1989.56				383383.3958,1355979.6405																																														TC9		23.7																1

		1355988.0918		383379.0401		10		1870		1989.7525		1989.743015873		1990.343015873		0.009484127		0.590515873				1870,1989.7525				383379.0401,1355988.0918																																														TC10		15.9		0														0.0333333333

		1355995.4038		383372.2192		10		1880		1989.7074		1989.733015873		1990.333015873		0		0.625615873				1880,1989.7074				383372.2192,1355995.4038																																																										10

		1356002.7158		383365.3983		10		1890		1989.7147		1989.723015873		1990.323015873		0		0.608315873				1890,1989.7147				383365.3983,1356002.7158																																																98.2												0.1

		1356010.0279		383358.5774		10		1900		1989.7772		1989.713015873		1990.313015873		0.064184127		0.535815873				1900,1989.7772				383358.5774,1356010.0279

										G2		SUPPERPASSAGE				1720-35

		1355842.2915		383403.2793		10		1720		1990.2027		1989.893015873		1990.493015873		0.309684127		0

		1355852.2889		383403.484		10		1730		1990.1476		1989.883015873		1990.483015873		0.264584127		0																30

		1355862.2863		383403.6887		10		1740		1990.1423		1989.873015873		1990.473015873		0.269284127		0																7.5





Scouring depth

		SCOUR DEPTH DETERMINATION BY CALCULATION

		Q=		157.90		M^3		PEAK FLOOD																																										0		2186.238

		L=		59.6876767013		M		LACEY'S PERIMETRE																										,																12.4852066464		2186.203

		q=		Q/L		2.6454371945																												,																31.4807507554		2186.009

		D=		5				naghbour point of view																										,																40.5129381427		2185.83

		f=		3.9131189606		1.75*D^0.5																												,																82.257133835		2185.511

		R=1.35(q^2/f)^1/3				1.6386683104																												Remarks,Unit																124.0029894016		2185.363

		HFL=1992.38+TAIL WATER DEPTH						1995.94																										,208.7																134.3173985946		2185.295

		2R=		3.2773366208																														actual river width,68.62																204.5657851241		2184.883

		CUTOFF LEVEL=HFL-2R						1992.6646633792

		CUT DEPTH=RRBL-CUTOFF LEVEL						-0.2846633792

		PARAMETRE		Column1		SYMBOL		FORMULA		QUANTITY

		RIVER BED LEVEL				RBL				1992.38

		PEAK FLOOD				Q				161.49

		LACEY'S PERIMETRE				P/L		4.75*Q^0.5		60.3620401458

		DISCHARGE INTENSITY				q		Q/P		2.675325879

		AVERAGE PARTICLE SIZE				D50		5		5

		SILT FACTOR				f		1.75*D^0.5		3.9131189606

		LACEY'S SCOUR DEPTH				R		1.35*(q^2/f)^1/3		1.6509878554

		RIVER STAGE				H				2

		Highest flood level				HFL		RRBL+STAGE		1994.377																																		0		2186.238

		CUTOFF LEVEL				CL		HFL-2R		1991.0750242893																																		12.4852066464		2186.203

		CUT DEPTH				Cd		RBL-CUTOFF LEVEL		1.30																																		31.4807507554		2186.009

		Therefore,				cutoff depth is 2m below the river bed level.

																																												64.9168123206		2185.83

		Determining Size of Intake																																										106.6626678872		2185.511

																																												116.9770770802		2185.295

		RECTANGULAR NOTCH FORMULA																																										187.2254636098		2184.883

		Q=Cd*(2g)^1/2*BH^3/2

		cd=discharge coefficient=0.6

		g=9.81m/s2

		Assume H to be 0.45m

		Q=0.28m3

				B=0.5m

		for ease of construction,adopt 0.4m*0.5m intake orifice.

		Normal scour depth, R=1.35(q/f)^1/3, where R=scour depth measured below HFL

		q= discharge intensity(m^3/s)

		& f= silt factor  ,f=1.76 SQRT(dm);														dm		5		mm

						q		Q/L

						f		3.9354796404

						R		1.2388682521

						Table: Computed value of scour depth & level

						S.Nr		Parametres to be computed						Unit		Remarks

						1		Flood discharge (m^3/s)						208.7

						2		Clear width of the river (L)  in m						68.62		actual river width

						3		Discharge intensity(q)in m^3/s/m						3.0413873506

						4		River bed level(m)						1635.71

						5		Tail water depth(TWD)						1.13

						6		HFL=RBL+TWD+FB						1637.71

						7		Cutoff depth -D						1.8583023781

						8		Bottom level of  cut off-D						1635.8516976219

						9		Cutoff depth below river bed						-0.1416976219		cutoff

										as Geological report

														L		68.6206510462

								He		1.493

								Top width,

								1.36m ----say 1.3		1.3093848132

								Bottom width,

										1.3094476228





Scouring depth

		





Base flow

		base flow								duty

		200l/s		dry						1.27		supplementary

		300l/s		suplementary						1.87		full

				200

				1		179						227.33

						35800						334.73





perimeter

		

				161.49

																														d		a		com a		p		l		p,

				12		1995.677		3.3		152.9944		81.4696				1.8779323821		0.8907329131		136.2771476061										0.3		1.17		1.17		13.598		6.78		6.818

				13		1995.977		3.6		178.346		87.6268				2.0352905732		0.9398462129		167.6178126846										0.6		2		3.17		24.0775		12		12.0775

																														0.9		4		7.17		34.625		17.29		17.335

				2.0186016014						1995.677										136.2771										1.2		6		13.17		46.7125		23.34		23.3725

										x										161.49										1.5		10.96		24.13		99.5558		49.76		49.7958

										1995.977										167.6178										1.8		16.64		40.77		122.553		61.22		61.333

																														2.1		19.26		60.03		134.4552		67.17		67.2852

																						25.2129								2.4		21		81.03		146.37		73.13		73.24

																						6.1278								2.7		22.7		103.73		156		78.3		77.7

																						4.1145109175								3		23.7		127.43		159.6		79.74		79.86

														2.0186016014								8212.4691574954								3.3		24.18		151.61		163		81.45		81.55

																						10208.1461574954								3.6		25.35		176.96		175.183		87.55		87.633

																						1995.9183111534								3.9		27.7		204.66		194.4556		97.19		97.2656

																														4.2		30		234.66		213.4		106.66		106.74

				1225.28				1995.92																						4.5		48.75		283.41		252.213		126.09		126.123

				1376.89				1995.68																						4.8		0.39		283.8		253.26		126.63		126.63

				173.7608705446				1995.98																1995.68

								0.24																1995.98

								0.06																134.14

								4																161.49

				606.7753291139				3.6				178.346		152.9944		87.63		81.47						165.44

				688.3253291139				14.4				713.3840000007		866.3784000007		350.5200000003								27.35

				86.8653330366				3.3						173.2756800001		431.9900000003								3.95										24.9265822785

								17.7								86.3980000001								6.9240506329				13820.2665822785		24.9265822785				28.2265822785

								3.54																13820.2665822785				15815.9465822785		28.2265822785				3.5621404101

																								15815.9465822785		1995.9420481113		1996.9629523079		3.5621404101

																		81.4546

																		163.0142

																		81.5596

																87.5558

																25.3516

																175.1825

																87.6267

																97.192





MASO $BAR  SDULE

				RETAINING				SOIL				L		W		WS		CD		TW		V						back fill

				WALL								58		3		2		2		5		580						116

								MASO				L		W		H		TB		V						812		232

												58		3		4		0.5		406

																																																										1.5

																																				BED BAR						L		T		B		H		V								0.75

																																				RCC						60.5		0.5		1		2		90.75								90.75

				RCCBAR						L		S		D		NO.OF BAR		TL		CONV fcr		KG/L/M																				15		0.5		1		2.7		30.375

										60.5		0.2		12		302.5		665.5		0.89		592.295																												121.125				193800

										15		0.2		12		75		217.5		0.89		193.575										44.055

										2.2		0.2		12		11		665.5		0.89		592.295																				conc		w		t		l		v

										2.9		0.2		12		14.5		217.5		0.89		193.575										95429.805												1		0.1		75.5		7.55

										1		0.2		12		5		377.5		0.89		335.975				95385.75

				bar																		1907.715						1951.77										3.3

				FLUME				L		W		D		S		BAR NO		TL		conv fcr		KG/L/M																21

				F1				41.5		0.5		0.5		0.2		207.5		207.5		0.89		184.675																28.3

								1.4		0.5		0.5		0.2		7		290.5		0.89		258.545																5.7

				F3				40		0.5		0.5		0.2		200		200		0.89		178								20								58.3

								1.4		0.5		0.5		0.2		7		280		0.89		249.2								0.2

				G2 (SUPPERPASSAGE)				20		0.5		0.5		0.2		100		100		0.89		89

						BOX		1		0.5		0.5		0.2		5		100		0.89		89		178		356

																						1048.42		5242.1

				FOR COLUON

				bar

				FLUME		L		S		NO BAR		TL		CONV FCR		KG/L/M												2.7		1

				F1		2.7		0.2		13.5		36.45		0.89		32.4405														5

																														13.5

				F3		1.2		0.2		6		7.2		0.89		6.408

				TOTAL												38.8485				1116.6385

				flume		concrete		l		B		D		T

				F1				41.5		0.5				0.15		3.1125		bed

								41.5				0.5		0.15		3.1125		SIDE WALL

																6.225

				SUBTOTOL												9.3375

				F3				40		0.5				0.15		3		bed

								40				0.5		0.15		3		SIDE WALL

																6

				SUBTOTOL												9

				F2				20		0.5				0.15		1.5		bed

								20				0.5		0.15		1.5		SIDE WALL

																3

						TOP COVER		20		0.5				0.15		1.5

				SUBTOTOL												6		12

				TOTAL												24.3375

								RETAINING WALL

				MASONRY FOR FLUME

						L		H		T		V

				F1 $F2		3		2.5		0.8		6

												12		24

				SOIL EXCAVATION

								L		H		T		V

								3		1		2.5		7.5

														15		30

		SOIL		COLUN				L		H		T		V

								1.5		1		1.5		2.25

		NO. OF COLUON				8								18

																48

		BAR FOR  RETAINING WALL THAT CANAL PASS THRUOGH IT

				L		S		NO BAR		TL		CONV FCR		KG/L/M

				1.2		0.2		6		18		0.89		16.02

				3		0.2		15		15		0.89		13.35

										33		0.89		29.37

		BAR FOR  OFF GATE

				L		S		NO BAR		TL		CONV FCR		KG/L/M

				1.2		0.2		6		9		0.89		8.01

				1.5		0.2		7.5		7.5		0.89		6.675

														14.685		44.055





BAR CUT VOLUME

		

				north		easting		elevetion		PD		chai		Bar hieght		cut depth		Width		CUT VOLUME		COMULATIVE VOLUME

		914		1354312.8282		383460.6258		1996.6696		0		0		-2		2		3		0.00		0.00		0,1996.6696

		915		1354314.6422		383461.832		1996.5781		2.18		2.18		-2		2		3		13.07		13.07		2.17842017049948,1996.5781

		916		1354316.4563		383463.0383		1996.4866		2.18		4.36		-2		2		3		13.07		26.14		4.35697898318359,1996.4866

		917		1354318.2703		383464.2445		1996.3952		2.18		6.54		-2		2		3		13.07		39.21		6.53539915384472,1996.3952

		918		1354320.0844		383465.4507		1996.3037		2.18		8.71		-2		2		3		13.07		52.28		8.71390259664947,1996.3037

		919		1354321.8984		383466.6569		1994.9709		2.18		10.89		-2		2		3		13.07		65.35		10.8923227673428,1994.9709

		920		1354323.7124		383467.8632		1994.2795		2.18		13.07		-2		2		3		13.07		78.42		13.0707983100321,1994.2795

		921		1354325.5265		383469.0694		1994.2023		2.18		15.25		-2		2		3		13.07		91.50		15.2493017526107,1994.2023

		922		1354327.3405		383470.2756		1994.1461		2.18		17.43		-2		2		3		13.07		104.57		17.4277219233041,1994.1461

		923		1354329.1546		383471.4818		1994.0899		2.18		19.61		-2		2		3		13.07		117.64		19.6062253661088,1994.0899

		924		1354330.9686		383472.688		1994.0338		2.18		21.78		-2		2		3		13.07		130.71		21.7846455368022,1994.0338

		925		1354332.7827		383473.8943		1993.9776		2.18		23.96		-2		2		3		13.07		143.78		23.963204349454,1993.9776

		926		1354334.5967		383475.1005		1993.9328		2.18		26.14		-2		2		3		13.07		156.85		26.1416245201474,1993.9328

		927		1354336.4108		383476.3067		1993.8969		2.18		28.32		-2		2		3		13.07		169.92		28.3201279627583,1993.8969

		928		1354338.2248		383477.5129		1993.8559		2.18		30.50		-2		2		3		13.07		182.99		30.4985481334194,1993.8559

		929		1354340.0388		383478.7192		1993.815		2.18		32.68		-2		2		3		13.07		196.06		32.6770236761086,1993.815

		930		1354341.8529		383479.9254		1993.8282		2.18		34.86		-2		2		3		13.07		209.13		34.8555271189134,1993.8282

		931		1354343.6669		383481.1316		1993.8537		2.18		37.03		-2		2		3		13.07		222.20		37.0339472896068,1993.8537

		932		1354345.481		383482.3378		1993.8793		2.18		39.21		-2		2		3		13.07		235.27		39.2124507321854,1993.8793

		933		1354347.295		383483.544		1993.9048		2.18		41.39		-2		2		3		13.07		248.35		41.3908709028787,1993.9048

		934		1354349.1091		383484.7503		1993.93		2.18		43.57		-2		2		3		13.07		261.42		43.5694297155629,1993.93

		935		1354350.9231		383485.9565		1993.9531		2.18		45.75		-2		2		3		13.07		274.49		45.747849886224,1993.9531

		936		1354352.7371		383487.1627		1993.9762		2.18		47.93		-2		2		3		13.07		287.56		47.9262700569174,1993.9762

		937		1354354.5512		383488.3689		1993.9992		2.18		50.10		-2		2		3		13.07		300.63		50.1047734997221,1993.9992

		938		1354356.3652		383489.5751		1994.0221		2.18		52.28		-2		2		3		13.07		313.70		52.2831936702216,1994.0221

		939		1354358.1793		383490.7814		1993.971		2.18		54.46		-2		2		3		13.07		326.77		54.4617524828735,1993.971

		940		1354359.9933		383491.9876		1993.9199		2.18		56.64		-2		2		3		13.07		339.84		56.6401726535668,1993.9199

		941		1354361.8074		383493.1938		1993.7726		2.18		58.82		-2		2		3		13.07		352.91		58.8186760963716,1993.7726

		942		1354363.6214		383494.4		1993.5879		2.18		61.00		-2		2		3		13.07		365.98		60.9970962670649,1993.5879

		943		1354365.4354		383495.6063		1993.4031		2.18		63.18		-2		2		3		13.07		379.05		63.1755718097219,1993.4031

		944		1354367.2495		383496.8125		1993.2184		2.18		65.35		-2		2		3		13.07		392.12		65.3540752523328,1993.2184

		945		1354369.0635		383498.0187		1993.0336		2.18		67.53		-2		2		3		13.07		405.19		67.5324954230261,1993.0336

		946		1354370.8776		383499.2249		1992.8488		2.18		69.71		-2		2		3		13.07		418.27		69.7109988657987,1992.8488

		947		1354372.6916		383500.4311		1992.6641		2.18		71.89		-2		2		3		13.07		431.34		71.889419036492,1992.6641

		948		1354374.5057		383501.6374		1992.4793		2.18		74.07		-2		2		3		13.07		444.41		74.0679778491761,1992.4793

		949		1354376.3197		383502.8436		1992.2946		2.18		76.25		-2		2		3		13.07		457.48		76.2463980198695,1992.2946

		950		1354378.1338		383504.0498		1992.4299		2.18		78.42		-2		2		3		13.07		470.55		78.4249014624481,1992.4299

		951		1354379.9478		383505.256		1992.6558		2.18		80.60		-2		2		3		13.07		483.62		80.6033216331415,1992.6558

		952		1354381.7618		383506.4623		1992.7996		2.18		82.78		-2		2		3		13.07		496.69		82.7817971758307,1992.7996

		953		1354383.5759		383507.6685		1992.9433		2.18		84.96		-2		2		3		13.07		509.76		84.9603006186354,1992.9433

		954		1354385.3899		383508.8747		1995		2.18		87.14		-2		2		3		13.07		522.83		87.1387207892966,1995

				TOTAL																522.83		522.83

								BACK FILL		$ COPACTIN WITH GRAVELS  IN THE RIVER IT SELF

												L		W		H		V

												60.5		1.3		2		157.3

																		314.6

												15		1.3		2.7		52.65

																		52.65

																		367.25





GABION STAIBILITY $ VOLUME

		

				RETAINING WALL STABILITY

				dimension

				H		FB		HT				B1		B2		B

				2		0		2				1		2		3

				Stability analysis

				Code		Load				Lever Arm, R		Moment

						Vertical		Horizontal				Posetive		Negative

				W1		32				2.5		80

				W2		32				1.33		42.67

				Wsoil		10.56				0.67		7.04

				Pw				19.62		0.67				13.08

				P SILT				5.94		0.67				3.96

				SUM		74.56		25.56				129.71		17.04

				Factor of safety against,

				Over turning = (M+ve/M-ve)    >1.5								Fo		7.61		>1.5		OK

				Sliding = (µxFv/Fh),---µ=0.75    >1.5								Fs		2.19		>1.50		OK

				Tension: X= (Net Moment/Sum Fv), e=x-B/2,   e<B/6								X		1.51

								B/6=		0.5		e		0.01		<B/6		OK

								L		B		T		H		V

						GROYNE		15		2		1		2		45

																135

		G ABION  AS GROYNE						10		2		1		2		30

						TOTAL										165





Retaining wall Analys

				RETAINING WALL STABILITY

				dimension

				H		FB		HT				B1		B2		B												4

				3.8		0.2		4				0.5		3		3.5												2.8

				Stability analysis

				Code		Load				Lever Arm, R		Moment

						Vertical		Horizontal				Posetive		Negative

				W1		46				3.3		149.5

				W2		138				2.0		276.0

				Wsoil		37.62				1.0		37.6

				Pw				70.83		1.3				89.72

				P SILT				21.44		1.3				27.16

				SUM		221.62		92.27				463.12		116.88

				Factor of safety against,

				Over turning = (M+ve/M-ve)    >1.5								Fo		3.9624440525		>1.5		OK

				Sliding = (µxFv/Fh),---µ=0.75    >1.5								Fs		1.8013668344		>1.50		OK

				Tension: X= (Net Moment/Sum Fv), e=x-B/2,   e<B/6								X		1.5623257829								0.5833333333

								B/6=		0.5833333333		e		0.1876742171		<B/6		OK





axise data

				data

		X-COORDINATE		Y-COORDINATE		ELEVATION

		383436.4946		1354323.1488		1997.1847

		383438.0804		1354324.3839		1997.1557

		383439.6661		1354325.619		1997.1397

		383441.2519		1354326.8541		1997.1237

		383442.8376		1354328.0892		1997.1077

		383444.4234		1354329.3243		1997.0917

		383446.0092		1354330.5594		1997.0756

		383447.5949		1354331.7945		1996.8155

		383449.1807		1354333.0296		1995.8921

		383450.7664		1354334.2648		1995.0287

		383452.3522		1354335.4999		1994.9195

		383453.938		1354336.735		1994.8103

		383455.5237		1354337.9701		1994.7011

		383457.1095		1354339.2052		1994.5919

		383458.6952		1354340.4403		1994.4827

		383460.281		1354341.6754		1994.3734

		383461.8668		1354342.9105		1994.2642

		383463.4525		1354344.1456		1994.155

		383465.0383		1354345.3808		1994.0458

		383466.6241		1354346.6159		1993.9891

		383468.2098		1354347.851		1993.946

		383469.7956		1354349.0861		1993.9167

		383471.3813		1354350.3212		1993.8875

		383472.9671		1354351.5563		1993.851

		383474.5529		1354352.7914		1993.8137

		383476.1386		1354354.0265		1993.7764

		383477.7244		1354355.2616		1993.7335

		383479.3101		1354356.4967		1993.6876

		383480.8959		1354357.7319		1993.7249

		383482.4817		1354358.967		1993.7657

		383484.0674		1354360.2021		1993.8066

		383485.6532		1354361.4372		1993.8474

		383487.2389		1354362.6723		1993.8882

		383488.8247		1354363.9074		1993.8151

		383490.4105		1354365.1425		1993.6553

		383491.9962		1354366.3776		1993.4955

		383493.582		1354367.6127		1993.3357

		383495.1677		1354368.8479		1993.1759

		383496.7535		1354370.083		1993.0162

		383498.3393		1354371.3181		1992.8564

		383499.925		1354372.5532		1992.6966

		383501.5108		1354373.7883		1992.5368

		383503.0965		1354375.0234		1992.377

		383504.6823		1354376.2585		1992.47

		383506.2681		1354377.4936		1992.8869

		383507.8538		1354378.7287		1993.2888

		383509.4396		1354379.9638		1993.5503

		383511.0253		1354381.199		1993.8118

		383512.6111		1354382.4341		1995.2181

		383514.1969		1354383.6692		1995.8113

		383515.7826		1354384.9043		1995.8785

		383517.3684		1354386.1394		1995.9456

		383518.9541		1354387.3745		1996.0127

		383520.5399		1354388.6096		1996.0798

		383522.1257		1354389.8447		1996.1469

		383523.7114		1354391.0798		1996.2141

		383525.2972		1354392.315		1996.2812

		383526.883		1354393.5501		1996.3483

		383528.4687		1354394.7852		1996.4154

		383530.0545		1354396.0203		1996.4825

		383531.6402		1354397.2554		1996.5496

		383533.226		1354398.4905		1996.6339

		383534.8118		1354399.7256		1996.7308

		383536.3975		1354400.9607		1996.8278





 Axis $ profile of mana

				MANA  DAWUCH  INTAKEAXIS PROFILE

				X-COORDINATE		Y-COORDINATE		PARTIAL DISTANCE		COMULATIVE DISTANCE		ELEVATION		DATA SOURCE		CONCACTENATED DATA

		1		383436.4946		1354323.1488		0.00		0.00		1997.1847				0,1997.1847

		2		383438.0804		1354324.3839		2.0		2.01		1997.1557		this data came from AUTOCAD CIVIL 3D and must be taken in to Autocad civil 3d again for scaled cross section drawing . Do it after concactenation.		2.01003324595286,1997.1557

		3		383439.6661		1354325.619		2.0		4.02		1997.1397				4.01998759862377,1997.1397

		4		383441.2519		1354326.8541		2.0		6.03		1997.1237				6.0300208447197,1997.1237

		5		383442.8376		1354328.0892		2.0		8.04		1997.1077				8.03997519743654,1997.1077

		6		383444.4234		1354329.3243		2.0		10.05		1997.0917				10.0500084433894,1997.0917

		7		383446.0092		1354330.5594		2.0		12.06		1997.0756				12.0600416892963,1997.0756												Elevation

		8		383447.5949		1354331.7945		2.0		14.07		1996.8155				14.0699960421562,1996.8155

		9		383449.1807		1354333.0296		2.0		16.08		1995.8921				16.0800292881091,1995.8921

		10		383450.7664		1354334.2648		2.0		18.09		1995.0287				18.0900450915237,1995.0287

		11		383452.3522		1354335.4999		2.0		20.10		1994.9195				20.1000783374765,1994.9195

		12		383453.938		1354336.735		2.0		22.11		1994.8103				22.1101115835725,1994.8103

		13		383455.5237		1354337.9701		2.0		24.12		1994.7011				24.1200659362434,1994.7011

		14		383457.1095		1354339.2052		2.0		26.13		1994.5919				26.1300991821962,1994.5919																				Distance

		15		383458.6952		1354340.4403		2.0		28.14		1994.4827				28.1400535348671,1994.4827

		16		383460.281		1354341.6754		2.0		30.15		1994.3734				30.1500867809631,1994.3734

		17		383461.8668		1354342.9105		2.0		32.16		1994.2642				32.1601200269159,1994.2642

		18		383463.4525		1354344.1456		2.0		34.17		1994.155				34.1700743795868,1994.155

		19		383465.0383		1354345.3808		2.0		36.18		1994.0458				36.1801690738715,1994.0458

		20		383466.6241		1354346.6159		2.0		38.19		1993.9891				38.1902023199674,1993.9891

		21		383468.2098		1354347.851		2.0		40.20		1993.946				40.2001566726383,1993.946

		22		383469.7956		1354349.0861		2.0		42.21		1993.9167				42.2101899185912,1993.9167

		23		383471.3813		1354350.3212		2.0		44.22		1993.8875				44.2201442712621,1993.8875

		24		383472.9671		1354351.5563		2.0		46.23		1993.851				46.230177517358,1993.851

		25		383474.5529		1354352.7914		2.0		48.24		1993.8137				48.2402107633109,1993.8137

		26		383476.1386		1354354.0265		2.0		50.25		1993.7764				50.2501651159818,1993.7764

		27		383477.7244		1354355.2616		2.0		52.26		1993.7335				52.2601983620777,1993.7335

		28		383479.3101		1354356.4967		2.0		54.27		1993.6876				54.2701527147486,1993.6876

		29		383480.8959		1354357.7319		2.0		56.28		1993.7249				56.2802474090333,1993.7249

		30		383482.4817		1354358.967		2.0		58.29		1993.7657				58.2902806549862,1993.7657

		31		383484.0674		1354360.2021		2.0		60.30		1993.8066				60.3002350078001,1993.8066

		32		383485.6532		1354361.4372		2.0		62.31		1993.8474				62.310268253753,1993.8474

		33		383487.2389		1354362.6723		2.0		64.32		1993.8882				64.3202226064239,1993.8882

		34		383488.8247		1354363.9074		2.0		66.33		1993.8151				66.3302558523768,1993.8151

		35		383490.4105		1354365.1425		2.0		68.34		1993.6553				68.3402890984727,1993.6553

		36		383491.9962		1354366.3776		2.0		70.35		1993.4955				70.3502434511436,1993.4955

		37		383493.582		1354367.6127		2.0		72.36		1993.3357				72.3602766970965,1993.3357

		38		383495.1677		1354368.8479		2.0		74.37		1993.1759				74.3702925005111,1993.1759

		39		383496.7535		1354370.083		2.0		76.38		1993.0162				76.380325746607,1993.0162

		40		383498.3393		1354371.3181		2.0		78.39		1992.8564				78.3903589925599,1992.8564

		41		383499.925		1354372.5532		2.0		80.40		1992.6966				80.4003133452308,1992.6966

		42		383501.5108		1354373.7883		2.0		82.41		1992.5368				82.4103465911836,1992.5368

		43		383503.0965		1354375.0234		2.0		84.42		1992.377				84.4203009439976,1992.377

		44		383504.6823		1354376.2585		2.0		86.43		1992.47				86.4303341899505,1992.47

		45		383506.2681		1354377.4936		2.0		88.44		1992.8869				88.4403674359034,1992.8869

		46		383507.8538		1354378.7287		2.0		90.45		1993.2888				90.4503217887173,1993.2888

		47		383509.4396		1354379.9638		2.0		92.46		1993.5503				92.4603550346702,1993.5503

		48		383511.0253		1354381.199		2.0		94.47		1993.8118				94.4703708380848,1993.8118

		49		383512.6111		1354382.4341		2.0		96.48		1995.2181				96.4804040840376,1995.2181

		50		383514.1969		1354383.6692		2.0		98.49		1995.8113				98.4904373299905,1995.8113

		51		383515.7826		1354384.9043		2.0		100.50		1995.8785				100.500391682804,1995.8785

		52		383517.3684		1354386.1394		2.0		102.51		1995.9456				102.510424928757,1995.9456

		53		383518.9541		1354387.3745		2.0		104.52		1996.0127				104.520379281428,1996.0127

		54		383520.5399		1354388.6096		2.0		106.53		1996.0798				106.530412527524,1996.0798

		55		383522.1257		1354389.8447		2.0		108.54		1996.1469				108.540445773477,1996.1469

		56		383523.7114		1354391.0798		2.0		110.55		1996.2141				110.550400126148,1996.2141

		57		383525.2972		1354392.315		2.0		112.56		1996.2812				112.560494820433,1996.2812

		58		383526.883		1354393.5501		2.0		114.57		1996.3483				114.570528066529,1996.3483

		59		383528.4687		1354394.7852		2.0		116.58		1996.4154				116.580482419245,1996.4154

		60		383530.0545		1354396.0203		2.0		118.59		1996.4825				118.590515665198,1996.4825

		61		383531.6402		1354397.2554		2.0		120.60		1996.5496				120.600470017869,1996.5496

		62		383533.226		1354398.4905		2.0		122.61		1996.6339				122.610503263965,1996.6339

		63		383534.8118		1354399.7256		2.0		124.62		1996.7308				124.620536509918,1996.7308																		0

		64		383536.3975		1354400.9607		2.0		126.63		1996.8278				126.630490862589,1996.8278

								RIVER LONGITUDAN PROFILE DATA  FOR RIVER SLOPE CALCULATION

								DIRECT TOPGRAPHY METHOD												PARTIAL AREA METHOD

								X-COORDINATE		Y-COORDINATE		PARTIAL DISTANCE		COMULATIVE DISTANCE		ELEVATION				SN		Partial Distance (m)		Elevation H(m)		Accumulative Height(m)		Total Area A(M^2)								RIVER SLOPE

				1				383463.38		1354411.346		0		0		1991.701				1		0		1991.701		0		0.00

				2				383502.471		1354379.206		50.6		51		1992.134				2		50.6		1992.134		0.433		10.96

				3				383513.019		1354290.495		89.3		140		1995.023				3		89.3		1995.023		3.322		167.73

				4				383520.812		1354340.098		50.2		190		1994.114				4		50.2		1994.114		2.413		143.98

																				sum		190.1545030128						322.67

								AVERAGE RIVER BED SLOPE						0.018				computed		Havg		3.394

								RIVER BED MATERIAL MANNING COEFF, N						0.040				from field		Iavg		0.0178

								ACTUAL FLOOD MARK ELEVATION						1996				computed

				C				RIVER STAGE DISCHARGE ANALYSIS AT THE WEIR AXIS BEFORE CONSTRUCTION

								ELEVATION		DEPTH		WET AREA		TOTAL PERIM		Hydrulic radius R  (m)		Velocity V (m/sec.)		Discharge Q (m^3/sec.)

						1		1993.00		0		0		0		0.00		0		0

						2		1993.30		0.3		1.17		6.818		0.17		1.03		1.21

						3		1993.60		0.6		3.17		12.0775		0.26		1.37		4.34

						4		1993.90		0.9		7.17		17.335		0.41		1.85		13.29

						5		1994.20		1.2		13.17		23.3725		0.56		2.28		30.00

						6		1994.50		1.5		24.13		49.7958		0.48		2.06		49.71

						7		1994.80		1.8		40.77		61.33		0.66		2.54		103.70

						8		1995.00		2.00		53.29		65.20		0.82		2.92		157.09		Design flood mark

						9		1995.10		2.1		60.03		67.2852		0.89		3.10		185.80

						10		1995.40		2.4		81.03		73.24		1.11		3.57		289.50

						11		1995.70		2.7		103.73		77.7		1.335		4.05		420.07

						12		1996.00		3		127.43		79.86		1.596		4.56		581.24

						13		1996.30		3.3		151.61		81.55		1.859		5.05		765.73

						14		1995.94		3.56		173.76		86.865		2.000		5.30		157.09

						15		1996.60		3.6		176.96		87.633		2.02		5.34		944.44

						16		1996.86		3.86		204.66		97.2656		2.10		5.49		1122.66				`

						17		1996.90		3.9		234.66		106.74		2.20		5.65		1325.42

						18		1997.16		4.16		283.41		126.123		2.25		5.73		1624.32

						19		1997.20		4.2		283.8		126.63		2.24		5.72		1623.70						2.94

																1992.38

				D





 Axis $ profile of mana

		0



WEIR AXIS PROFILE



Sheet5

		



axise



Sheet6

		



DISCHARGE , M3/S

TAIL DEPTH, M



MANA

		



RIVER SLOPE



StormAnal

		



axise



Sheet7

		

		1		383450.7664		1354334.2648		1995.0287								18.0900450915237,1995.0287										0.00		0

		2		383452.3522		1354335.4999		1994.9195								20.1000783374765,1994.9195										2.01		2.01

		3		383453.938		1354336.735		1994.8103								22.1101115835725,1994.8103										2.01		4.02

		4		383455.5237		1354337.9701		1994.7011								24.1200659362434,1994.7011										2.01		6.03

		5		383457.1095		1354339.2052		1994.5919								26.1300991821962,1994.5919										2.01		8.04

		6		383458.6952		1354340.4403		1994.4827								28.1400535348671,1994.4827										2.01		10.05

		7		383460.281		1354341.6754		1994.3734								30.1500867809631,1994.3734										2.01		12.06

		8		383461.8668		1354342.9105		1994.2642								32.1601200269159,1994.2642										2.01		14.07

		9		383463.4525		1354344.1456		1994.155								34.1700743795868,1994.155										2.01		16.08

		10		383465.0383		1354345.3808		1994.0458								36.1801690738715,1994.0458										2.01		18.09

		11		383466.6241		1354346.6159		1993.9891								38.1902023199674,1993.9891										2.01		20.10

		12		383468.2098		1354347.851		1993.946								40.2001566726383,1993.946										2.01		22.11

		13		383469.7956		1354349.0861		1993.9167								42.2101899185912,1993.9167										2.01		24.12

		14		383471.3813		1354350.3212		1993.8875								44.2201442712621,1993.8875										2.01		26.13

		15		383472.9671		1354351.5563		1993.851								46.230177517358,1993.851										2.01		28.14

		16		383474.5529		1354352.7914		1993.8137								48.2402107633109,1993.8137										2.01		30.15

		17		383476.1386		1354354.0265		1993.7764								50.2501651159818,1993.7764										2.01		32.16

		18		383477.7244		1354355.2616		1993.7335								52.2601983620777,1993.7335										2.01		34.17

		19		383479.3101		1354356.4967		1993.6876								54.2701527147486,1993.6876										2.01		36.18

		20		383480.8959		1354357.7319		1993.7249								56.2802474090333,1993.7249										2.01		38.19

		21		383482.4817		1354358.967		1993.7657								58.2902806549862,1993.7657										2.01		40.20

		22		383484.0674		1354360.2021		1993.8066								60.3002350078001,1993.8066										2.01		42.21

		23		383485.6532		1354361.4372		1993.8474								62.310268253753,1993.8474										2.01		44.22

		24		383487.2389		1354362.6723		1993.8882								64.3202226064239,1993.8882										2.01		46.23

		25		383488.8247		1354363.9074		1993.8151								66.3302558523768,1993.8151										2.01		48.24

		26		383490.4105		1354365.1425		1993.6553								68.3402890984727,1993.6553										2.01		50.25

		27		383491.9962		1354366.3776		1993.4955								70.3502434511436,1993.4955										2.01		52.26

		28		383493.582		1354367.6127		1993.3357								72.3602766970965,1993.3357										2.01		54.27

		29		383495.1677		1354368.8479		1993.1759								74.3702925005111,1993.1759										2.01		56.28

		30		383496.7535		1354370.083		1993.0162								76.380325746607,1993.0162										2.01		58.29

		31		383498.3393		1354371.3181		1992.8564								78.3903589925599,1992.8564										2.01		60.30

		32		383499.925		1354372.5532		1992.6966								80.4003133452308,1992.6966										2.01		62.31

		33		383501.5108		1354373.7883		1992.5368								82.4103465911836,1992.5368										2.01		64.32

		34		383503.0965		1354375.0234		1992.377								84.4203009439976,1992.377										2.01		66.33

		35		383504.6823		1354376.2585		1992.47								86.4303341899505,1992.47										2.01		68.34

		36		383506.2681		1354377.4936		1992.8869								88.4403674359034,1992.8869										2.01		70.35

		37		383507.8538		1354378.7287		1993.2888								90.4503217887173,1993.2888										2.01		72.36

		38		383509.4396		1354379.9638		1993.5503								92.4603550346702,1993.5503										2.01		74.37

		39		383511.0253		1354381.199		1993.8118								94.4703708380848,1993.8118										2.01		76.38

		40		383512.6111		1354382.4341		1995.2181								96.4804040840376,1995.2181										2.01		78.39

																										2.01		80.40

				Pt		East		North		Elevation		Code		Par.dis		Com.dis

				1		383450.77		1354334.26		1995.03		bank		0		0

				2		383452.35		1354335.50		1994.92		bank		2		2

				3		383453.94		1354336.74		1994.81		bank		2		4

				4		383455.52		1354337.97		1994.70		bank		2		6

				5		383457.11		1354339.21		1994.59		bank		2		8

				6		383458.70		1354340.44		1994.48		bank		2		10

				7		383460.28		1354341.68		1994.37		bank		2		12

				8		383461.87		1354342.91		1994.26		bank		2		14

				9		383463.45		1354344.15		1994.16		bank		2		16

				10		383465.04		1354345.38		1994.05		bank		2		18

				11		383466.62		1354346.62		1993.99		bank		2		20

				12		383468.21		1354347.85		1993.95		bank		2		22

				13		383469.80		1354349.09		1993.92		bank		2		24

				14		383471.38		1354350.32		1993.89		river center		2		26

				15		383472.97		1354351.56		1993.85		river center		2		28

				16		383474.55		1354352.79		1993.81		river center		2		30

				17		383476.14		1354354.03		1993.78		river center		2		32

				18		383477.72		1354355.26		1993.73		river center		2		34

				19		383479.31		1354356.50		1993.69		river center		2		36

				20		383480.90		1354357.73		1993.72		river center		2		38

				21		383482.48		1354358.97		1993.77		river center		2		40

				22		383484.07		1354360.20		1993.81		river center		2		42

				23		383485.65		1354361.44		1993.85		river center		2		44

				24		383487.24		1354362.67		1993.89		river center		2		46

				25		383488.82		1354363.91		1993.82		river center		2		48

				26		383490.41		1354365.14		1993.66		river center		2		50

				27		383492.00		1354366.38		1993.50		river center		2		52

				28		383493.58		1354367.61		1993.34		river center		2		54

				29		383495.17		1354368.85		1993.18		river center		2		56

				30		383496.75		1354370.08		1993.02		river center		2		58

				31		383498.34		1354371.32		1992.86		river center		2		60

				32		383499.93		1354372.55		1992.70		river center		2		62

				33		383501.51		1354373.79		1992.54		river center		2		64

				34		383503.10		1354375.02		1992.38		river center		2		66

				35		383504.68		1354376.26		1992.47		river center		2		68

				36		383506.27		1354377.49		1992.89		river center		2		70

				37		383507.85		1354378.73		1993.29		river center		2		72

				38		383509.44		1354379.96		1993.55		river center		2		74

				39		383511.03		1354381.20		1993.81		river center		2		76

				40		383512.61		1354382.43		1995.22		bank		2		78





Sheet4

		





		

				NAME OF THE PROJECT : Mana Dawuch small scale diversion project														Partial		Elevation		Elevation Difference in m								Slope of river, Decimal

				HYDROLOGY OF SCS METHOD TO DETERMINE THE DESIGN FLOOD														Length,m		in m				slope		TC

				Designation/formula		sym		Unit		Output		REMARK						0		2997		0		0		0						134.6						0		0		2540		0		0

		1		Catchment area		A		Km2		62.36								8910.68		2862.4		214.60		2.41		1.50						216.6						1.54		1.54		2480		60		0.32

		2		Length of Longest stream course		L		m										3058.43		2645.8		216.60		7.08		0.43						216.6						1.51		3.05		2460		20		0.48

						L1		m		8910.68		UPER						1381.49		2429.2		216.60		15.68		0.17						216.6						1.79		3.3		2409		51		0.41

						L2		m		3058.43		MIDDLE						3008.49		2212.6		199.80		7.91		2.92						2212.6						4.84								1.21

						L3		m		1381.49		MIDDLE						18541.06				199.80		7.91

						L4		m		2181.97								Total Tc,in hr								2.92

						L5		m		3008.49		LOWER

						L6		m		0.00

				Longest stream Elevations		H		M		18541.06

						H1		m		214.60		UPER

						H2		m		216.60		MIDDLE

						H3		m		216.60		MIDDLE

						H4				216.60

						H5				134.60		LOWER

				apex Elevation		H6				0.00

				River Slope						199.80						slope		0.0240834621

						s1		%		2.41

						s2		%		7.08

						s3		%		15.68

						s4		%		9.93

						s5		%		4.47

						s6				0.00

						Average Slop		%		7.91

				Time of concentration		Tc		hr												33.8

						Tc1		hr		1.50										135.2						0.50		35

						Tc2		hr		0.43																1.00		45

						Tc3		hr		0.17																1.50		54

						Tc4		hr		0.29																2.00		59

						Tc5		hr		0.51																												1.67

						Tc6		hr		0.00																												3.34

				TC total				hr		2.92						Formula:     D=Tc/6										2.50		65

				Rainfall excess duration		D		hr		0.50						Formula :tp=0.5D+0.6Tc										3.00		67								2.67

				Time to peak		tp		hr		2.000						Formula :tp=2.67tp										3.50		69								5.34

				Time to base		tb		hr		5.34						Formula :tl=0.6Tc										4.00		72

				Lag time		tl		hr		1.75						Formula :qp=(0.21A)/tp										4.50		75

				Peak rate of discharge		qp		m3/sec.mm		6.55										0.5				0.6

				Design storm		p		mm		82.4988446195										0.5		0.25		1.752

																								2.002																For the most intensive period of the storm, the time increment, D, should be at least as small as one fifth of the time of concentration. However, the general rule to determine the time increment will be as follows.

																																								For the determination of time increment, D, to be used the time increment , D, will usually be 1 hour for the first ( most intensive) 6 hours. For rapid concentration time (TC  less than 3 hours), One-half hour is the minimum practical time increment, D, recommended for the most intensive periods. For less rapid concentration times, the time increment, D, for the most intensive period may be longer. For TC values of 10 to 15 hours, a time increment, D of 2 hours is recommended.

				Duration		Daily point R.F		R.F profile		R.F profile		Areal of point R.F Ratio		Areal of point R.F Ratio		Incremental R.F		Desending order		Rearraged order		Rearraged Incremental R.F		Cumulative R.F		Time of incremental Hydrograph

				hr		mm		%		mm		%		mm		mm		No		No		mm		mm		Beginning		Peak		End										The time period, D,  may be lengthened in the later part of the storm to reduce computations. This will result in a poorer definition of the recession limb of the hydrograph, but it has little effect on the design.

				0.50		82.4988446195		35		28.9		59		17.0		17.04		1		6		3.31		3.31		0.50		2.00		5.3

				1.00				45		37.1		69		25.6		8.58		2		4		4.57		7.88		1.00		2.50		5.8										Runoff from 12-24 hour period , if obtained, has little effect on design and therefore, may be neglected. Runoff hydrographs for only the first 12-hour period of design storm need be computed for watersheds having a TC of 12 hours or less.

				1.50				54		44.5		72.26		32.2		6.58		3		3		6.58		14.46		1.50		3.00		6.3

				2.00				59		48.7		75.52		36.8		4.57		4		1		17.04		31.49		2.00		3.50		6.8										For obtaining 0.5 hour excesses, hourly excess rainfall increments are divided by  2 and triangular hydrograph for each increment of excess is computed.

				2.50				64		52.8		78.02		41.2		4.44		5		2		8.58		40.07		2.50		4.00		7.3

				3.00				67		55.3		80.52		44.5		3.31		6		5		4.44		44.51		3.00		4.50		7.8								93.2834571432

																																						1.0992629878

				FOR REPORT

				Duration (hr)		Design Rainfall		Rainfall Profile				Area to Point Ratio %		Areal Rainfall (mm)		Incremental Rainfall (mm)		Descending order		Rank

								%		mm

				0.50		82.50		35		28.9		59		17.0		17.04		17.04		1

				1				45		37.1		69		25.6		8.58		8.58		2

				1.5				54		44.5		72.26		32.2		6.58		6.58		3				1.00		69

				2				59		48.7		75.52		36.8		4.57		4.44		4				2.00		75.52

				2.5				64		52.8		78.02		41.2		4.44		4.57		5				1.50		72.260

				3				67		55.3		80.52		44.5		3.31		3.31		6

				PARAMETER		SYMBOL		UNIT		VALUE														2.00		75.52

				AMC_II		CN-II				84.85522														3.00		80.52

				AMCIII		CN-III				93.2834571432		91.30421672												2.50		78.02

				Maximum potential difference(P)&(Q)		S		mm		18.2883647099						3.657672942

				Duration		commulative RF		Incremental RF		acumulative runoff		incremental runoff		runoff in		unit hydrograph time						Remark

				hr		mm		mm		mm		mm		m3/s		Beginning		peak		End

				0.50		3.31		3.31		0.00		0.00		0.00		0.00		2.00		5.34		H1

				1.00		7.88		4.57		0.79		0.79		5.19		0.50		2.50		5.84		H2

				1.50		14.46		6.58		4.01		3.22		21.07		1.00		3.00		6.34		H3

				2.00		31.49		17.04		16.80		12.79		83.75		1.50		3.50		6.84		H4

				2.50		40.07		8.58		24.24		7.44		48.74		2.00		4.00		7.34		H5

				3.00		44.51		4.44		28.22		3.98		26.04		2.50		4.50		7.84		H6

				HYDROGRAPH TIME		H1		H2		H3		H4		H5		H6		HT

				0.00		0.00												0.00																		0.5		30

				0.50		0.00		0.00										0.00																		1		45

				1.00		0.00		1.30		0.00								1.30																		1.5		54

				1.50		0.00		2.59		5.27		0.00						7.86		DISCHARGE																2		59

				2.00		0.00		3.89		10.53		20.92		-0.0				35.33

				2.50		0.00		5.19		15.80		41.87		12.18		-0.0		75.02

				3.00		0.00		4.41		21.07		62.81		24.36		6.51		119.16

				3.50		0.00		3.63		17.91		83.75		36.55		13.02		154.87																		3.5		69

				4.00		0.00		2.86		14.76		71.21		48.74		19.53		157.09																		4		72

				4.50		0.00		2.08		11.60		58.67		41.44		26.04		139.84																		4.5		75

				5.34		0.00		0.78		6.31		37.62		29.19		19.50		93.39

				5.84				0.00		3.15		25.08		21.89		15.60		65.73

				6.34						0.00		12.54		14.60		11.70		38.83

				6.84								0.00		7.30		7.80		15.10						TIME

				7.34										0.00		3.90		3.90

				7.84												0.00		0.00

				DESIGN FLOOD		m3/s		157.09

				Rate of max. flood/sp. Flood		m3/s/km2		2.52		shows  Mana Dawuch receives high rainfall and high HRU





		



H1

H2

H3

H4

H5

H6

HT



		

						Station Name : Adiszemen

				1		Hydroclimatic Data Availability and Its Quality

				S.No.		Year		Max. RF		Descending Order		Rank		Logarithmic Value/Yo/		(Yo-Ym)2		(Yo-Ym)3

				1		1998		32.4		69		1		1.8388		0.042		0.0085

				2		1999		42		57		2		1.7559		0.015		0.0018

				3		2000		46.5		53.2		3		1.7259		0.008		0.0008

				4		2001		27		48.4		4		1.6848		0.003		0.0001

				5		2002		53.2		46.5		5		1.6675		0.001		0.0000

				6		2003		38		42.5		6		1.6284		0.000		-0.0000

				7		2004		48.4		42		7		1.6232		0.000		-0.0000

				8		2005		57		42		7		1.6232		0.000		-0.0000

				9		2006		69		38		9		1.5798		0.003		-0.0002

				10		2007		35		35		10		1.5441		0.008		-0.0007

				11		2008		100		32.4		11		1.5105		0.015		-0.0019

				12		2009		42		27		12		1.4314		0.041		-0.0084

				SUM						533.00				19.6136		0.137		0.0001																March		12.9		37.2

				MEAN						44.42				1.6345		0.011		0.0000																April		14.9		32.5

				STANDARD DEVATION						11.49				0.1114																				May		15.5		30.1

				SKEWNESS COEFICIENT						0.679				0.0055																				June		15.1		29.9

				Data quality Check																														August		14.6		24.4

				Number of data =						12																								September		14		25.4

				Standard deviation,						11.49298864																								October		13.8		26.6

				Standard error of mean =						3.3177400425																								November		11.1		28.1

																																		December		8.9		29.1

																																		Average		12.9		29.2

				Relative standard    =						7.4695835855		%<10%

		2		Outlier Test

				Kn						2.1337238496

				Higher Limit ;                                                      YH=    Ymean+Kn*бy						1.8722046158

				Higher Limit ;                                                                              QH=						74.5082933589		166		no outlier

				Lower Limit ;                                                      YL=    Ymean- Kn*бy						1.397

				Lower Limit ;                                                                                    QL=						24.9301956835

				Consideration of the outliers depends on the value of skewness coefficient. If the value is b/n -0.4 and +0.4 , we consider both the  Higher and the Lower outliers; if the value is < -0.4 ,and if skewness coefficient is >+0.4 consider the higher outlier firt ;based on this we consider the Lower And higher outlier . But in this case there is no data which is out of   the outliers, so all the data can be considered.

		2		Design rain fall anlysis

		2.1		Gumbel's Method

				return period T yrs						50.00

				Standard variate, Sn						1.02

				standard mean, Yn						0.51														3.9

				yt						3.90														0.51

				frequency factor , KT						3.31														1.02

				Y=Xmean + Z*XStandared deviation						82.50										10

				Gumbel's EVI Method

				return period T yrs						50.00

				Standard variate, Sn						1.02

				standard mean, Yn						0.51

				yt						3.90

				frequency factor , KT						2.59

				Y=Xmean + Z*XStandared deviation						74.21

		2.2		Log Pearson Type 3 Method

				Design Period, T						50.00

				Probability, P						0.02

				K=(Cs/6)						0.001

				W=(Ln(1/P2))0.5						2.80

				Frequency Factor, KT=(w((2.515517+0.802853*w+0.010328*w2)/(1+1.432788*w+0.189269*w2+0.001308*w3)))						2.05

				Standared Normal Variance, Z=KT+(KT2-1)*K+1/3*(KT3-6*KT)*K2-(KT2-1)*K3+KT*K4+1/3*K5						2.06

				Y=Ymean + Z*YStandared deviation						1.864

				Design Rainfall, X50 = 10Y						73.06

		2.3		Log Normal Method

				Design Period, T						50.00

				Probability, P						0.02

				K=(Cs/6)						0.000

				W=(Ln(1/P2))0.5						2.80

				Frequency Factor, KT=(w((2.515517+0.802853*w+0.010328*w2)/(1+1.432788*w+0.189269*w2+0.001308*w3)))						2.05

				Standared Normal Variance, Z=KT+(KT2-1)*K+1/3*(KT3-6*KT)*K2-(KT2-1)*K3+KT*K4+1/3*K5						2.05

				Y=Ymean + Z*σy						1.863

				Design Rainfall, X50 = 10Y						73.00

		2.4		Pearson Type 3 Distribution

				Design Period, T						50.00

				Probability, P						0.02

				K=(Cs/6)						0.001

				W=(Ln(1/P2))0.5						2.80

				Z=(w((2.515517+0.802853*w+0.010328*w2)/(1+1.432788*w+0.189269*w2+0.001308*w3)))						2.05

				Kt=Z+(Z2-1)*K+1/3*(Z3-6*Z)*K2-(Z2-1)*K3+Z*K4+1/3*K5						2.06

				X50=Xmean + KT*σx						68.06

		2.5		Normal

				Design Period, T						50.00

				Probability, P						0.02

				K=(Cs/6)						0.000

				W=(Ln(1/P2))0.5						2.80

				KT=(w((2.515517+0.802853*w+0.010328*w2)/(1+1.432788*w+0.189269*w2+0.001308*w3)))						2.05

				X50=Xmean + KT*σx						68.03

		2.6		D-indexs				Take at least above Xmean for the value of XI.										Remark:The value of b =3/8 for all distributions except Gumbel whose b=11/25

																		But in this case m/(N+1) probability equation is used

								Normal										Log Normal												Log person Type III																Person Type III														Gumbel EVD								Gumbel

				Rank		XI		PR		w		KT		XI'		XI-'XI'		PR		w		KT		Y		XI'		XI-'XI'		PR		w		K		Z		KT		y		XI'		XI-'XI'		PR		w		K		Z		KT		XI'		XI-'XI'		PR		KT		XI'		XI-'XI'		PR		YT		KT		XI'		XI-'XI'

				1		69.00		0.077		2.2649		1.426		60.81		8.190		0.077		2.2649279712		1.4263388441		1.7933877941		62.142367378		6.858		0.077		2.2649		0.0186		1.4263		1.4449		1.7955		62.4389		6.561		0.077		2.2649279712		0.019		1.4263388441		1.4448918099		61.0227918234		7.977		0.077		1.519		61.87		7.127		0.029		3.522		2.9421347239		78.23		9.231

				2		57.00		0.154		1.9348		1.020		56.14		0.860		0.154		1.9348396197		1.0200611051		1.7481203374		55.9912724632		1.009		0.154		1.9348		0.0186		1.0201		1.0202		1.7481		55.9937		1.006		0.154		1.9348396197		0.019		1.0200611051		1.0202319908		56.1421813476		0.858		0.154		0.945		55.28		1.720		0.021		3.861		3.2739473789		82.04		25.044

				3		53.20		0.231		1.7125		0.736		52.88		0.324		0.231		1.7125052226		0.736063839		1.7164773683		52.0567880578		1.143		0.231		1.7125		0.0186		0.7361		0.7271		1.7155		51.9372		1.263		0.231		1.7125052226		0.019		0.736063839		0.727096088		52.7731737463		0.427		0.231		0.593		51.23		1.966		0.015		4.191		3.595751931		85.74		32.543

				4		48.40		0.308		1.5354		0.502		50.19		1.786		0.308		1.5353533771		0.5019927821		1.6903971763		49.0226942784		0.623		0.308		1.5354		0.0186		0.5020		0.4878		1.6888		48.8442		0.444		0.308		1.5353533771		0.019		0.5019927821		0.4877755369		50.0226653711		1.623		0.308		0.330		48.21		0.191		0.010		4.576		3.9721956778		90.07		41.669

				5		46.50		0.385		1.3824		0.293		47.78		1.284		0.385		1.3823975152		0.2929488214		1.6671055028		46.4628133278		0.037		0.385		1.3824		0.0186		0.2929		0.2758		1.6652		46.2586		0.241		0.385		1.3823975152		0.019		0.2929488214		0.2757792197		47.5861941063		1.086		0.385		0.113		45.72		0.781		0.006		5.117		4.5007147092		96.14		49.643

				6		42.50		0.462		1.2435		0.096		45.52		3.024		0.462		1.2435351931		0.0963279985		1.6451980151		44.1771825795		1.677		0.462		1.2435		0.0186		0.0963		0.0779		1.6431		43.9685		1.468		0.462		1.2435351931		0.019		0.0963279985		0.0778703376		45.311629572		2.812		0.462		-0.076		43.54		1.042		0.002		6.231		5.5897931864		108.66		66.160

				Sum												15.467												11.347																10.984														14.782								12.827										224.290

				Sum/Xm												0.34823												0.25546																0.24730														0.33281								0.28878										5.04968

				Rank		XI		Normal		Log Pearson Type III		Log Normal		Pearson Type III		Gumbel EVI		Gumbel

								XI -'XI'		XI -'XI'		XI -'XI'		XI -'XI'		XI -'XI'		XI -'XI'

				1		69.00		8.190		6.561		6.858		7.977		7.127		9.231

				2		57.00		0.860		1.006		1.009		0.858		1.720		25.044

				3		53.20		0.324		1.263		1.143		0.427		1.966		32.543

				4		48.40		1.786		0.444		0.623		1.623		0.191		41.669

				5		46.50		1.284		0.241		0.037		1.086		0.781		49.643

				6		42.50		3.024		1.468		1.677		2.812		1.042		66.160

				Sum				15.467		10.984		11.347		14.782		12.827		224.290

				Sum/Mean				0.348		0.247		0.255		0.333		0.289		5.050

				Point  Rainfall				68.03		73.06		73.00		68.06		74.21		82.50

				Design Point Rainfal =						82.499





		





		

																				12

																				44.42

														12		11.49				533.04

														3.4641016151		0.0746708081				23.0876590411

														153.8753937444		7.4670808116

																		3.9

																		0.51

																		1.02		3.39

																				3.3235294118				44.4166666667

																								11.49298864

																								38.1972857741

																								82.6139524407

																												1.50

												8.91																0.43

												3.06						0				-2227.29						0.17

												1.38						1368.1										0.29

												2.18						3595.39										0.51

												3.01						5042.42										2.92

																		7696.61

																		9286.28

																		80		0.79		1.14

																		84.85				x

																		90		0.87		1.07

																				4.85				x-1.14

																				5.15				1.07-x

																						0.9417475728		1.0076699029		2.1476699029

																								0.9455x		1.103916681

																										1.1		93.346





TC-1-1-1


0+5


2500.28 85 65.0 20.00 0.40 0.50 0.35 0.80 0.75


0.50


TC-1-1-2


0+5


2500.28 65


45.0


20.00


0.40 0.50


0.30


0.80 0.70


0.50


TC-1-1-3


0+170 2495.60


45


25.0


20.00


0.35 0.40


0.30


0.75 0.70


0.40


TC-1-1-4


0+170 2495.60


25


10.0


15.00


0.35 0.40


0.30


0.75 0.75


0.75


TC-1-1-5


0+500


2488.13


10.00 0.00 15.00 0.35 0.40


0.30


0.75 0.70


0.40


TC-1-1-6


0+500


2488.13


0.00 0.00 15.00 0.35 0.40


0.30


0.75 0.70


0.40


TC 1-1-7


0+1170


2474.92 0.00 0.00 15.00 0.35 0.40


0.30


0.75 0.70


0.40


TC 1-1-8


0+1170


2474.92 0.00 0.00 15.00 0.35 0.40


0.30


0.75 0.70


0.40


SC


depth  of 


the basin 


,D=Do Dividing Canal Name Chainage


ON GOING, 


Q


0


 (lit/sec)


OUTGOING, 


Q


1  


(lit/sec)       


TC FLOW, 


Q


2  


(lit/sec)       


parent canal 


bed width Bo


TCs bed 


width Bc


width of the 


basin 


,B=Bo+0.40


Length of 


the basin 


,L=Bc+0.41


parent canal 


depth,Do CBL




Canal  Chanaige Remark


MC1 (+100,300, 320,380, 600) 4m,=L


MC 2 (+200,400,600,800, 900,1000,1300,1600)1.1m = W


B=Canal WIDTHD =Depth For each,L=foot path length


For each,W=foot path width




(



)



8



/



3



4



5



.



0



k



S



Q






 


8 / 3


4


5.0


k S


Q




(



)



5



.



0



2



Z



1



2



K



+



+






 5.0


2


Z 1 2 K  




Z



K



+






Z K




3



/



2



2



1



÷



ø



ö



ç



è



æ



K



K






3 / 2


2


1 

















K


K




n



K



K



2



1






n


K K


2 1




Kd






Kd




2



1



d



K






2


1


d K




d



K



2






d K


2




3



/



2



3



d



K






3/2


3


d K




n



S



AR



3



/



2






n


S AR


3/2




=


-


=


1


s


He


B






m


P


He


B


5


.


3


1


'


=


-


+


=


s




Bl .






Home | Insert  Pagelajout  References  Mailngs  Review  View

ﬂ & Cut & Find -
& cony 4aBbCcD AaBbCi A) AaBb L AaBb( AaBh( .
P g omt paiter TChar  Heading3  Heading4  Heading5  Headings < g:‘ya‘:?f Iy Select =

Clipboard & Font & Paragraph & Styles 5| ediing
Document Map - x ([ 1o [EX) CXERRREF KERNRRRE IXENRRRE ERRNRRRS ERRNRERNXRRY |

5.0 myunaunc Design ur 1 e werr Where

3.6.1 Flow over the Weir Crest o 3
3.6.1.1 Crest Length Q=Design discharge, m¥/s

3.6.1.2 Discharge over the wer section _ o
3.6.2 Type of Flow (Modular/ None-Modular) R =Hydraulic radius of th canal, m

363 Top and bottom width of weir A = Wetted cross sectional area of canal, m?
37 ydraulic jump Computation

38 Stabity of the weir P = Wetted Perimeter, m

3.9 Design of Retaining Wall L .
3.9.1 Upstream Retaining Wall 1= Manning’s roughness coefficient
3.9.2 Downstream retaining wall S =Bed slope of the canal
3.10 Design of under sluice
3.1 Design of Head Regulator
3.12 Weir Protection Work (Capping)

SETon o ATON & Do RS

4. Trrigable area description

4.1 Topography and soil

o arecies

o rovamnt

e equramnt

4.3.2 Trrigation efficiency

4.3.3 Trrigation duty

4.4 Trrigation method

4.5 Irrigation & Drainage system lay out

4.5.1 Trrigation canals

S5 e

4.6 Canal design

b

4.7 Drainage Canals

3D+D?
3+22D

A
?

Page: 59 of 89 | Words: 16242 | <&  English (United States) |







Table - IVA-1B.1 Areal to Point Ratio (%)

[ Area Duration  0.50 100 300 300 400 500 6.00

; 800 1200 1500 1809 2100 2400
km' I(hrs) W
(08 88 78 82 85 87 88 88 91 92 93 93 9% 9
50 61 71 78 82 84 85 87 89 90 91 92 92 93
75 57 67 75 79 82 84 83 87 89 90 91 91 7]
100 54 65 73 78 80 82 83 86 88 89 90 91 N
% 125 52 63 72 76 79 81 82 85 87 88 89 90 91
150 50 61 70 75 78 80 61 84 86 88 89 89 90 “\
175 48 59 69 74 77 79 81 84 86 87 38 89 920
200 46 58 68 73 76 78 80 83 85 87 88 83 89
225 45 57 57 72 75 77 i 82 85 86 87 88 89
250 44 55 66 71 74 7L 78 82 84 86 87 88 38
[ 275 42 54 65 70 74 76 78 81 84 85 86 87 88
/ 300 41 83 54 70 i) 75 o 81 83 65 86 87 88
[ 325 40 53 63 58 72 73 77 80 83 84 86 87 87
[ 350 38 52 63 68 72 74 76 80 82 84 85 86 87
375 39 51 62 68 Wi 74 78 80 82 84 85 86 87
400 38 50 61 67 71 73 75 79 82 33 85 86 87
425 37 50 61 67 70 73 75 79 81 83 84 85 86
450 36 49 60 66 70 72 74 79 81 83 84 85 86
475 36 48 60 66 69 72 74 78 81 83 84 85 86
500 35 48 59 66 69 oSN 80 82 84 85 86
525 34 47 59 65 68 71 73 78 80 82 83 85 85
550 34 47 58 64 68 71 73 i 80 82 83 84 85
575 33 46 58 64 68 7 73 77 80 82 83 84 85
600 33 45 57 63 67 70 72 77 79 81 83 84 85
625 32 45 57 63 67 70 72 76 79 81 83 84 85 ‘
680 32 45 56 63 67 69 72 76 79 81 82 84 84 :
675 31 41 56 62 66 69 71 76 79 81 82 83 84
700 31 44 56 62 66 69 71 76 78 80 82 83 84
725 31 45 55 62 66 69 7 75 78 80 82 8 84
750 30 43 55 61 65 68 71 75 78 80 82 83 84
1 49







e - e :
| ; |.5

#IL A P g 44

Lo Gl e o

‘ \

— i g

90 -
P

TILE ( hours)






1149
W12 * 4442,






MBD00128D78.unknown



MBD00128D7C.unknown



MBD00128D80.unknown



MBD00128D82.unknown



MC TC DESIGN OF GUDER3


									MAIIN CANAL 			FC


									Canal Type			No of TC 			Length of canal 			net comand area (ha) 			Design duty (l/s/ha) 			Canal design capacity 			adopted Q, l/s


									MC-1			0			600			54.97			1.47			80.8059			85


									SC			6			1940			54.97			1.47			80.8059			85


									TC-1-1-1			1			980			11.81			1.47			17.3607			20


									TC-1-1-2			1			770			11.12			1.47			16.3464			20


									TC-1-1-3			1			550			11.44			1.47			16.8168			20


									TC-1-1-4			1			1250			6.3			1.47			9.261			15


									TC-1-1-5			1			520			7.6			1.47			11.172			15


									TC-1-1-6			1			60			6.7			1.47			9.849			15


									MAIN CANAL CHARACTERISTICS


									chainage			Length ,m			Desing slope,S			description			section 


									0+0-0+150			150			0.001			canal


									0+150-0+370			220			0.013			chute


									0+370-0+440			70			0.001			chute


									0+440-0+530			90			0.063			chute


									0+0-100 (SC)			100			0.001			canal


									100-130(SC)			30			0.001			chute


									130-160(SC)			30			0.020			chute


									160-300(SC)			140			0.008			chute


									300-440(SC)			140			0.100			chute


									440-830(SC)			390			0.013			chute


									830-1940 (SC)			1110			0.010			chute





									Canal design spreadsheet


									ALL CANALS 						MC-0-150			MC 150-600			SC 0-100			SC 100-130			SC 130-160			SC 160-300			SC 300-440			SC 440-830			SC 830-1940			TC 1-1-1			TC 1-1-2			TC 1-1-3			TC-1-1-4			TC1-1-5			TC1-1-6


									Given value


									Design discharge ,Q			Q			0.085			0.085			0.085			0.085			0.085			0.085			0.085			0.085			0.085			0.02			0.02			0.02			0.015			0.015			0.015


									Bed width to depth ratio (b/d)			K			1			1			1			1			1			1			1			1			1			1			1			1			1			1			1


									Side slope ,Z			Z			0			0			0			0			0			0			0			0			0			0			0			1			1			1			1


									Manning's roughness, n			n			0.018			0.018			0.018			0.018			0.018			0.018			0.018			0.018			0.018			0.018			0.018			0.03			0.03			0.03			0.03


									Longitudinal slope, S			S			0.001			0.002			0.001			0.002			0.02			0.008			0.1			0.0125			0.01			0.003			0.003			0.008			0.008			0.008			0.008


									Intermediate calculation


									k1						1			1			1			1			1			1			1			1			1			1			1			2			2			2			2


									k2						3.000			3			3			3			3			3			3			3			3			3.000			3.000			3.828			3.828			3.828			3.828


									k3						0.481			0.4807498568			0.4807498568			0.4807498568			0.4807498568			0.4807498568			0.4807498568			0.4807498568			0.4807498568			0.481			0.481			0.649			0.649			0.649			0.649


									k4						26.708			26.7083253761			26.7083253761			26.7083253761			26.7083253761			26.7083253761			26.7083253761			26.7083253761			26.7083253761			26.708			26.708			43.243			43.243			43.243			43.243


									Final result


									water depth, d						0.423			0.3711901781			0.4227071562			0.3711901781			0.2410440835			0.2862267555			0.1782541297			0.2632503594			0.2744982628			0.200			0.200			0.139			0.125			0.125			0.125


									bed width, b						0.423			0.371			0.423			0.371			0.241			0.286			0.178			0.263			0.274			0.200			0.200			0.139			0.125			0.125			0.125


									Area						0.179			0.138			0.179			0.138			0.058			0.082			0.032			0.069			0.075			0.040			0.040			0.039			0.031			0.031			0.031


									Wetted perimeter						1.268			1.114			1.268			1.114			0.723			0.859			0.535			0.790			0.823			0.600			0.600			0.532			0.477			0.477			0.477


									R2/3						0.271			0.248			0.271			0.248			0.186			0.209			0.152			0.197			0.203			0.164			0.164			0.174			0.162			0.162			0.162


									Hydraulic radius			           R			0.141			0.124			0.141			0.124			0.080			0.095			0.059			0.088			0.091			0.067			0.067			0.073			0.065			0.065			0.065


									Velocity, v			           Q/A			0.476			0.617			0.476			0.617			1.463			1.038			2.675			1.227			1.128			0.500			0.500			0.519			0.483			0.483			0.483


									Check the discharge						0.085			0.085			0.085			0.085			0.085			0.085			0.085			0.085			0.085			0.02			0.02			0.02			0.015			0.015			0.015


									Canal Discharge capacity						0.085			0.085			0.085			0.085			0.085			0.085			0.085			0.085			0.085			0.02			0.02			0.02			0.015			0.015			0.015


									Free board


									Total depth						0.423			0.371			0.423			0.371			0.241			0.286			0.178			0.263			0.274			0.200			0.200			0.139			0.125			0.125			0.125





									Prameters			TC 1-1-1			TC 1-1-2			TC 1-1-3			TC-1-1-4			TC1-1-5			TC1-1-6																																										MC-0-150			MC 150-600												Prameters			MC-0-150			MC 150-600						Prameters			Design discharge ,Q			Bed width to depth ratio (b/d)			Side slope ,Z			Manning's roughness, n			Longitudinal slope, S			water depth, d			bed width, b			Area			Wetted perimeter			Hydraulic radius			Velocity, v			Canal Discharge capacity			Free board			Total depth			Adopted, depth, d			Adopted, Bed width b


									Design discharge ,Q			0.020			0.020			0.020			0.015			0.015			0.015																																				Design discharge ,Q						0.085			0.085												Design discharge ,Q			0.085			0.085						MC1  0-150			0.085			1.000			0.000			0.018			0.001			0.423			0.423			0.179			1.268			0.141			0.476			0.085			0.150			0.500			0.500			0.500


									Bed width to depth ratio (b/d)			1.000			1.000			1.000			1.000			1.000			1.000																																				Bed width to depth ratio (b/d)						1			1												Bed width to depth ratio (b/d)			1			1						MC1  150-600			0.085			1.000			0.000			0.018			0.002			0.371			0.371			0.138			1.114			0.124			0.617			0.085			0.150			0.500			0.500			0.500


									Side slope ,Z			0.000			0.000			0.000			0.000			0.000			0.000																																				Side slope ,Z						0			0												Side slope ,Z			0			0


									Manning's roughness, n			0.018			0.018			0.018			0.018			0.018			0.018																																				Manning's roughness, n						0.018			0.018												Manning's roughness, n			0.018			0.018


									Longitudinal slope, S			0.003			0.003			0.008			0.008			0.008			0.008																																				Longitudinal slope, S						0.001			0.002												Longitudinal slope, S			0.001			0.002


									water depth, d			0.200			0.200			0.139			0.125			0.125			0.125																																				water depth, d						0.4227071562			0.3711901781												water depth, d			0.4227071562			0.3711901781


									bed width, b			0.200			0.200			0.139			0.125			0.125			0.125																																				bed width, b						0.4227071562			0.3711901781												bed width, b			0.4227071562			0.3711901781


									Area			0.040			0.040			0.039			0.031			0.031			0.031																																				Area						0.1786813399			0.1377821483												Area			0.1786813399			0.1377821483


									Wetted perimeter			0.600			0.600			0.532			0.477			0.477			0.477																																				Wetted perimeter						1.2681214685			1.1135705344												Wetted perimeter			1.2681214685			1.1135705344


									Hydraulic radius			0.067			0.067			0.073			0.065			0.065			0.065																																				Hydraulic radius						0.1409023854			0.1237300594												Hydraulic radius			0.1409023854			0.1237300594


									Velocity, v			0.500			0.500			0.519			0.483			0.483			0.483																																				Velocity, v						0.4757072006			0.6169159142												Velocity, v			0.4757072006			0.6169159142


									Canal Discharge capacity			0.020			0.020			0.020			0.015			0.015			0.015																																				Canal Discharge capacity						0.085			0.085												Canal Discharge capacity			0.085			0.085


									Free board			0.150			0.150			0.150			0.150			0.150			0.150																																				Free board						0.15			0.15												Free board			0.15			0.15


									Total depth			0.350			0.350			0.289			0.275			0.275			0.275																																				Total depth						0.5727071562			0.5211901781												Total depth			0.5727071562			0.5211901781


									Adopted, depth, d			0.350			0.350			0.350			0.350			0.350			0.350																																				Adopted, depth, d						0.5			0.5												Adopted, depth, d			0.5			0.5


									Adopted, Bed width b			0.300			0.300			0.300			0.300			0.300			0.300																																				Adopted, Bed width b						0.5			0.5												Adopted, Bed width b			0.5			0.5





																																																									Prameters			MC2  0-100			MC2 100-130			MC2  130-160			MC2  160-300			MC2  300-440			MC2  440-830			MC2  830-1720


																																																									Design discharge ,Q			0.085			0.085			0.085			0.085			0.085			0.085			0.085


																																																									Bed width to depth ratio (b/d)			1.000			1.000			1.000			1.000			1.000			1.000			1.000


																																																									Side slope ,Z			0.000			0.000			0.000			0.000			0.000			0.000			0.000


									Prameters			TC 1-1-1						Prameters			TC 1-1-2						Prameters			TC 1-1-3						Prameters			TC-1-1-4																		Manning's roughness, n			0.018			0.018			0.018			0.018			0.018			0.018			0.018


									Design discharge ,Q			0.020						Design discharge ,Q			0.020						Design discharge ,Q			0.020						Design discharge ,Q			0.015																		Longitudinal slope, S			0.001			0.002			0.020			0.008			0.100			0.013			0.010


									Bed width to depth ratio (b/d)			1.000						Bed width to depth ratio (b/d)			1.000						Bed width to depth ratio (b/d)			1.000						Bed width to depth ratio (b/d)			1.000																		water depth, d			0.423			0.371			0.241			0.286			0.178			0.263			0.274


									Side slope ,Z			0.000						Side slope ,Z			0.000						Side slope ,Z			0.000						Side slope ,Z			0.000																		bed width, b			0.423			0.371			0.241			0.286			0.178			0.263			0.274


									Manning's roughness, n			0.018						Manning's roughness, n			0.018						Manning's roughness, n			0.018						Manning's roughness, n			0.018																		Area			0.179			0.138			0.058			0.082			0.032			0.069			0.075


									Longitudinal slope, S			0.003						Longitudinal slope, S			0.003						Longitudinal slope, S			0.008						Longitudinal slope, S			0.008																		Wetted perimeter			1.268			1.114			0.723			0.859			0.535			0.790			0.823


									water depth, d			0.200						water depth, d			0.200						water depth, d			0.139						water depth, d			0.125																		Hydraulic radius			0.141			0.124			0.080			0.095			0.059			0.088			0.091


									bed width, b			0.200						bed width, b			0.200						bed width, b			0.139						bed width, b			0.125																		Velocity, v			0.476			0.617			1.463			1.038			2.675			1.227			1.128


									Area			0.040						Area			0.040						Area			0.039						Area			0.031																		Canal Discharge capacity			0.085			0.085			0.085			0.085			0.085			0.085			0.085


									Wetted perimeter			0.600						Wetted perimeter			0.600						Wetted perimeter			0.532						Wetted perimeter			0.477																		Free board			0.150			0.150			0.150			0.150			0.150			0.150			0.150


									Hydraulic radius			0.067						Hydraulic radius			0.067						Hydraulic radius			0.073						Hydraulic radius			0.065																		Total depth			0.573			0.521			0.391			0.436			0.328			0.413			0.424


									Velocity, v			0.500						Velocity, v			0.500						Velocity, v			0.519						Velocity, v			0.483																		Adopted, depth, d			0.500			0.400			0.400			0.400			0.400			0.400			0.400


									Canal Discharge capacity			0.020						Canal Discharge capacity			0.020						Canal Discharge capacity			0.020						Canal Discharge capacity			0.015																		Adopted, Bed width b			0.500			0.350			0.350			0.350			0.350			0.350			0.350


									Free board			0.150						Free board			0.150						Free board			0.150						Free board			0.150


									Total depth			0.350						Total depth			0.350						Total depth			0.289						Total depth			0.275


									Adopted, depth, d			0.350						Adopted, depth, d			0.350						Adopted, depth, d			0.350						Adopted, depth, d			0.350


									Adopted, Bed width b			0.300						Adopted, Bed width b			0.300						Adopted, Bed width b			0.300						Adopted, Bed width b			0.300


																																	Prameters			TC1-1-5									Prameters						TC1-1-6


																																	Design discharge ,Q			0.015									Design discharge ,Q						0.015


																																	Bed width to depth ratio (b/d)			1.000									Bed width to depth ratio (b/d)						1.000


																																	Side slope ,Z			0.000									Side slope ,Z						0.000


																																	Manning's roughness, n			0.018									Manning's roughness, n						0.018


																																	Longitudinal slope, S			0.008									Longitudinal slope, S						0.008


																																	water depth, d			0.125									water depth, d						0.125


																																	bed width, b			0.125									bed width, b						0.125


																																	Area			0.031									Area						0.031


																																	Wetted perimeter			0.477									Wetted perimeter						0.477


																																	Hydraulic radius			0.065									Hydraulic radius						0.065


																																	Velocity, v			0.483									Velocity, v						0.483


																																	Canal Discharge capacity			0.015									Canal Discharge capacity						0.015


																																	Free board			0.150									Free board						0.150


																																	Total depth			0.275									Total depth						0.275


																																	Adopted, depth, d			0.350									Adopted, depth, d						0.350


																																	Adopted, Bed width b			0.300									Adopted, Bed width b						0.300


																																	Prameters						TC1-1-7									Prameters						TC1-1-8


																																	Design discharge ,Q						0.015									Design discharge ,Q						0.015


																																	Bed width to depth ratio (b/d)						1.000									Bed width to depth ratio (b/d)						1.000


																																	Side slope ,Z						0.000									Side slope ,Z						0.000


																																	Manning's roughness, n						0.018									Manning's roughness, n						0.018


																																	Longitudinal slope, S						0.008									Longitudinal slope, S						0.008


																																	water depth, d						0.125									water depth, d						0.125


																																	bed width, b						0.125									bed width, b						0.125


																																	Area						0.031									Area						0.031


																																	Wetted perimeter						0.477									Wetted perimeter						0.477


																																	Hydraulic radius						0.065									Hydraulic radius						0.065


																																	Velocity, v						0.483									Velocity, v						0.483


																																	Canal Discharge capacity						0.015									Canal Discharge capacity						0.015


																																	Free board						0.150									Free board						0.150


																																	Total depth						0.275									Total depth						0.275


																																	Adopted, depth, d						0.350									Adopted, depth, d						0.350


																																	Adopted, Bed width b						0.300									Adopted, Bed width b						0.300








MCDATA


			236094.4479			1203720.6409			0			0			1773.5653


			236086.3542			1203738.93			20.0			19.9999789624			1774.6306


			236078.4915			1203757.3193			20.0			39.999689105			1773.3961


			236069.9813			1203775.4179			20.0			59.9992597503			1774.1747


			236061.8946			1203793.71			20.0			79.9991507325			1773.9963


			236053.8028			1203811.9995			20.0			99.9987266652			1774.7946


			236045.8796			1203830.3631			20.0			119.9986992452			1775.0486


			236037.7933			1203848.6553			20.0			139.9985199577			1775.063


			236030.403			1203867.2395			20.0			159.998245549			1775.4034


			236023.3754			1203885.9642			20.0			179.9982843453			1775.5739


			236016.3812			1203904.7013			20.0			199.9982280965			1775.5203


			236009.3871			1203923.4385			20.0			219.9982305626			1775.3281


			236001.9747			1203942.0039			20.0			239.9886720514			1775.1322


			235991.4001			1203958.9373			20.0			259.9526947104			1774.7329


			235977.557			1203973.3224			20.0			279.9167253559			1773.9988


			235961.9198			1203985.7909			20.0			299.9163632549			1773.1514


			235946.2097			1203998.1666			20.0			319.9154930486			1772.2499


			235929.218			1204008.6955			20.0			339.9048803352			1771.1522


			235911.9634			1204018.8089			20.0			359.9049323532			1770.1266


			235894.7089			1204028.9223			20.0			379.9048980984			1769.1496


			235877.4579			1204039.0417			20.0			399.9048795324			1768.1169


			235861.2384			1204050.7203			20.0			419.89142196			1767.0954


			235845.3679			1204062.8912			20.0			439.8915113863			1766.2495


			235829.4975			1204075.062			20.0			459.8914606062			1765.6745


			235813.1952			1204086.6433			20.0			479.8887477968			1765.348


			235796.7803			1204098.0692			20.0			499.8887511173			1764.6513


			235780.274			1204109.362			20.0			519.8883829021			1764.4808


			235763.7162			1204120.5798			20.0			539.8883773441			1764.3312


			235747.2266			1204131.8973			20.0			559.8881952036			1764.0783


			235730.7664			1204143.258			20.0			579.8882874165			1763.6216


			235714.3063			1204154.6186			20.0			599.8882405257			1763.3368


			235697.8376			1204165.9667			20.0			619.8881768582			1763.0431


			235681.26			1204177.1552			20.0			639.8881607084			1762.5002


			235664.6824			1204188.3437			20.0			659.8881445587			1762.022


			235648.1048			1204199.5323			20.0			679.8881843517			1761.4647


			235631.5272			1204210.7208			20.0			699.8881682019			1760.8989


			235614.9496			1204221.9093			20.0			719.8881520521			1760.3461


			235598.441			1204233.1965			20.0			739.8865209306			1759.7504


			235582.6701			1204245.4958			20.0			759.8863726125			1759.1348


			235567.5489			1204258.4905			19.9			779.8240985995			1758.4772


			235562.7971			1204277.3971			19.5			799.3186908444			1758.0443


			235568.3095			1204296.6098			20.0			819.3065470339			1757.9855


			235563.0121			1204314.8678			19.0			838.3175178339			1757.3527


			235549.1709			1204329.3047			20.0			858.31759031			1756.2429


			235535.3298			1204343.7415			20.0			878.3175213962			1755.1331


			235521.4886			1204358.1783			20.0			898.3175216882			1754.0233


			235507.6474			1204372.6151			20.0			918.3175219802			1752.9134


			235493.8062			1204387.0519			20.0			938.3175222723			1751.7992


			235480.4286			1204401.8832			20.0			958.2906953163			1750.6386


			235468.5649			1204417.9845			20.0			978.2906763008			1749.5035


			235456.7011			1204434.0858			20.0			998.290716604			1749.149


			235444.8374			1204450.1871			20.0			1018.2906975885			1748.3344


			235432.9736			1204466.2884			20.0			1038.2907378917			1747.294


			235428.9258			1204484.6274			18.8			1057.0711427288			1747.3589


			235424.1845			1204501.0988			17.1			1074.2113569529			1748.7037


			235408.4332			1204513.4234			20.0			1094.211337374			1748.412


			235390.2601			1204521.7293			20.0			1114.1925670264			1748.4782


			235375.308			1204534.9851			20.0			1134.1745971547			1748.3624


			235362.4737			1204550.324			20.0			1154.1746248973			1748.4017


			235347.8028			1204547.4574			14.9			1169.1229593319			1747.7634


			235331.9786			1204548.7733			15.9			1185.0017785087			1746.9564


			235315.6805			1204560.3652			20.0			1205.0017837392			1746.7049


			235299.3824			1204571.957			20.0			1225.0017310104			1746.2924


			235283.0843			1204583.5489			20.0			1245.001736241			1745.7932


			235267.0329			1204595.4748			20.0			1264.9985993141			1745.1215


			235251.1609			1204607.6437			20.0			1284.9986620943			1744.4977


			235235.289			1204619.8125			20.0			1304.9985846704			1744.0526


			235219.6434			1204632.2684			20.0			1324.9969407071			1743.6223


			235204.1087			1204644.8651			20.0			1344.9970345814			1743.1093


			235188.5741			1204657.4617			20.0			1364.9969877994			1742.4923


			235173.1874			1204670.2386			20.0			1384.9969805619			1741.9047


			235157.801			1204683.0159			20.0			1404.9969980681			1741.3107


			235142.4147			1204695.7933			20.0			1424.9970025293			1740.5565


			235127.0284			1204708.5706			20.0			1444.9969431037			1740.0345


			235111.642			1204721.348			20.0			1464.9970244966			1739.5303


			235096.2557			1204734.1253			20.0			1484.9969650709			1739.1192


			235080.8605			1204746.8915			20.0			1504.9966662057			1738.006


			235064.8506			1204758.8783			20.0			1524.996673012			1738.6944


			235048.0903			1204769.5989			19.9			1544.8923740665			1738.5598


			235029.8601			1204777.8244			20.0			1564.8923501238			1738.2182


			235011.6299			1204786.0499			20.0			1584.892326181			1737.8167


			234993.3996			1204794.2753			20.0			1604.8923522622			1737.3344


			234975.4985			1204803.1753			20.0			1624.8838349789			1736.8713


			234957.7987			1204812.4874			20.0			1644.88378814			1736.4878


			234940.0989			1204821.7995			20.0			1664.8837413012			1736.0814


			234922.399			1204831.1116			20.0			1684.8837829617			1735.6737


			234904.6992			1204840.4238			20.0			1704.8837826837			1735.2659


			234886.9993			1204849.7359			20.0			1724.8838243441			1734.8581


			234869.2995			1204859.048			20.0			1744.8837775053			1733.9964


			234851.5997			1204868.3601			20.0			1764.8837306665			1732.8654


			234833.8998			1204877.6723			20.0			1784.8838188876			1731.9728


			234815.3148			1204884.7928			19.9			1804.7861741565			1730.7412


			234796.1032			1204890.3528			20.0			1824.7861535205			1729.2741


			234776.8916			1204895.9129			20.0			1844.7861606848			1727.84


			234759.6834			1204905.764			19.8			1864.6145826706			1727.346


			234743.1206			1204916.9745			20.0			1884.6146240228			1727.2214


			234726.5578			1204928.1849			20.0			1904.6146093228			1727.0968


			234709.9951			1204939.3954			20.0			1924.6145678613			1726.9722


			234693.4323			1204950.6058			20.0			1944.6145531613			1726.8476


			234676.8695			1204961.8163			20.0			1964.6145945135			1726.723


			234660.3067			1204973.0267			20.0			1984.6145798135			1726.3711


			234643.7439			1204984.2372			20.0			2004.6146211657			1725.8405


			234627.1812			1204995.4476			20.0			2024.6145236517			1725.5759


			234610.6184			1205006.6581			20.0			2044.6145650038			1725.3171


			234594.0556			1205017.8685			20.0			2064.6145503039			1725.0583


			234577.4928			1205029.079			20.0			2084.614591656			1724.7995


			234560.93			1205040.2895			20.0			2104.6146330083			1724.4333


			234544.3673			1205051.4999			20.0			2124.6145354943			1723.9697


			234527.8045			1205062.7104			20.0			2144.6145768465			1723.5061


			234511.2417			1205073.9208			20.0			2164.6145621465			1723.0426


			234494.6789			1205085.1313			20.0			2184.6146034987			1722.579


			234478.1161			1205096.3417			20.0			2204.6145887987			1722.1154


			234461.5533			1205107.5522			20.0			2224.6146301509			1721.2141


			234446.7722			1205120.7581			19.8			2244.4357479806			1720.2689


			234433.8191			1205135.9968			20.0			2264.4357674132			1719.4531


			234425.5361			1205153.0037			18.9			2283.3524990708			1718.9455


			234425.8609			1205173.001			20.0			2303.3524366289			1718.6785


			234420.6623			1205190.1102			17.9			2321.2339960296			1717.4261


			234403.0412			1205199.5705			20.0			2341.2340070621			1718.0712


			234385.42			1205209.0307			20.0			2361.2340588991			1717.966


			234367.7989			1205218.4909			20.0			2381.2340226303			1717.9965


			234349.7259			1205227.0538			20.0			2401.2329372362			1718.1892


			234331.6328			1205235.5767			20.0			2421.2329395367			1718.1695








GUDER MC DATA


						X			Y			Z


						272958.4872			1221298.1129			2501.742


						272954.4407			1221307.2579			2501.499


						272947.5577			1221313.6784			2501.631


						272940.6831			1221320.4503			2501.628


						272937.707			1221329.8876			2501.742


						272932.4762			1221338.2883			2501.756


						272923.1202			1221341.8023			2501.655


						272919.2047			1221350.142			2501.859


						272917.7727			1221360.0392			2501.932


						272916.3407			1221369.9364			2501.951


						272687.9036			1221787.9321			2501.5227


						272677.9223			1221788.5423			2501.5402


						272667.9409			1221789.1526			2501.5578


						272657.9596			1221789.7628			2501.5754


						272647.9782			1221790.3731			2501.5853


						272637.9908			1221790.8576			2501.4806


						272627.9928			1221790.766			2501.3871


						272618.0194			1221790.0588			2501.3061


						272608.1085			1221788.7386			2501.2378


						272598.2978			1221786.8105			2501.1773


						272588.6245			1221784.2817			2501.1245


						272579.051			1221781.3921			2501.0275


						272569.4788			1221778.4988			2500.9138


						272559.9065			1221775.6054			2500.8412


						272550.3342			1221772.712			2500.7687


						272540.762			1221769.8186			2500.6243


						272531.1897			1221766.9252			2500.4549


						272521.6174			1221764.0318			2500.2865


						272512.0452			1221761.1384			2500.1307


						272502.4729			1221758.245			2499.975


						272492.9006			1221755.3517			2499.8192


						272483.3034			1221752.5444			2499.726


						272473.5546			1221750.3261			2499.6664


						272463.6759			1221748.7865			2499.5245


						272453.7143			1221747.9331			2499.533


						272443.7177			1221747.7699			2499.6156


						272433.7336			1221748.2977			2499.6746


						272423.808			1221749.5017			2499.7572


						272413.9107			1221750.9307			2499.8238


						272404.0133			1221752.3598			2499.8903


						272394.1222			1221753.8297			2499.9207


						272384.3597			1221755.98			2499.6229


						272374.8353			1221759.0158			2499.2292


						272365.6292			1221762.9116			2498.7074


						272356.7661			1221767.5399			2498.1385


						272347.9586			1221772.2758			2497.5683


						272339.1512			1221777.0117			2496.998


						272330.3437			1221781.7476			2496.4278


						272321.5363			1221786.4835			2495.8576


						272312.7288			1221791.2194			2495.2874


						272303.9214			1221795.9554			2494.7171


						272295.1139			1221800.6913			2494.1469


						272286.3065			1221805.4272			2493.5767


						272277.4991			1221810.1631			2492.7623








Guder3MC





			chainage			0+00-0+530


			bed width			0.423															masonry width			Working space			total cut width


			Slope			1000															0.35			0.35			1.47


			Total depth			0.423																					0.41


			Side slope of canal			0																					0.17


			Side slope of Burm			1																					0.32


			Insert top width of built burm for fill			0																					0.32


			OFFTAKE LEVEL CBL			2501.3344																					0.47








			Northing			Easting			Partial Distance			Chainage			Elevation			CBL			Bank level			CUT(m)			Fill(m)			slope			drop			Area of cut			Average Area of Cut			Volume of cut			Area of Fill			Average Area of Fill			Volume of Fill			Massonry Area (m2)			Massonry volume(m3)			PLASTERING			CUM.VOL.CUT


			272958.4872			1221298.1129			0			0			2501.742			2501.33			2501.76			0.41			0.02			1000.00						0.60			0.00			0.00			0.02			0.00			0.00			0.56			0.00			0			0.00


			272954.4407			1221307.2579			10.0			10			2501.499			2501.32			2501.75			0.17			0.25									0.26			0.43			4.29			0.09			0.06			0.56			0.56			5.61			15			4.29


			272947.5577			1221313.6784			10.0			20			2501.631			2501.31			2501.74			0.32			0.11									0.47			0.36			3.62			0.14			0.11			1.14			0.56			5.61			15			7.91


			272940.6831			1221320.4503			10.0			30			2501.628			2501.30			2501.73			0.32			0.10									0.48			0.47			4.72			0.13			0.13			1.31			0.56			5.61			15			12.62


			272937.707			1221329.8876			10.0			40			2501.742			2501.29			2501.72			0.45			0.00									0.66			0.57			5.68			0.00			0.06			0.63			0.56			5.61			15			18.30


			272932.4762			1221338.2883			10.0			50			2501.756			2501.28			2501.71			0.47			0.00									0.69			0.68			6.77			0.00			0.00			0.00			0.56			5.61			15			25.07


			272923.1202			1221341.8023			10.0			60			2501.655			2501.27			2501.70			0.38			0.04									0.56			0.63			6.27			0.05			0.03			0.27			0.56			5.60			15			31.34


			272919.2047			1221350.142			10.0			70			2501.859			2501.26			2501.69			0.59			0.00			1000.00						0.88			0.72			7.18			0.00			0.03			0.27			0.56			5.61			15			38.53


			272917.7727			1221360.0392			10.0			80			2501.932			2501.25			2501.68			0.68			0.00									1.00			0.94			9.37			0.00			0.00			0.00			0.56			5.61			15			47.90


			272916.3407			1221369.9364			10.0			90			2501.951			2501.24			2501.67			0.71			0.00									1.04			1.02			10.19			0.00			0.00			0.00			0.56			5.61			15			58.09


			272914.9088			1221379.8336			10.0			100			2501.954			2501.23			2501.66			0.72			0.00									1.06			1.05			10.50			0.00			0.00			0.00			0.56			5.61			15			68.59


			272913.4768			1221389.7308			10.0			110			2501.8646			2501.22			2501.65			0.64			0.00									0.94			1.00			10.02			0.00			0.00			0.00			0.56			5.61			15			78.61


			272912.0448			1221399.6281			10.0			120			2501.756			2501.21			2501.64			0.54			0.00									0.80			0.87			8.70			0.00			0.00			0.00			0.56			5.61			15			87.31


			272910.6129			1221409.5253			10.0			130			2501.6862			2501.20			2501.63			0.48			0.00									0.71			0.75			7.54			0.00			0.00			0.00			0.56			5.61			15			94.85


			272909.1809			1221419.4225			10.0			140			2501.5248			2501.19			2501.62			0.33			0.09									0.49			0.60			5.98			0.12			0.06			0.59			0.56			5.61			15			100.83


			272907.6485			1221429.2968			10.0			150			2501.2978			2501.17			2501.60			0.12			0.30			500.00						0.18			0.33			3.34			0.16			0.14			1.41			0.56			5.60			15			104.17


			272902.6809			1221437.9743			10.0			160			2501.2748			2501.15			2501.58			0.12			0.30									0.18			0.18			1.80			0.17			0.17			1.66			0.56			5.61			15			105.97


			272897.6836			1221446.6364			10.0			170			2501.4722			2501.13			2501.56			0.34			0.09									0.50			0.34			3.37			0.11			0.14			1.38			0.56			5.61			15			109.34


			272892.6862			1221455.2985			10.0			180			2501.5844			2501.11			2501.54			0.47			0.00									0.69			0.59			5.95			0.00			0.05			0.54			0.56			5.61			15			115.29


			272887.6889			1221463.9607			10.0			190			2501.6966			2501.09			2501.52			0.60			0.00									0.89			0.79			7.90			0.00			0.00			0.00			0.56			5.61			15			123.19


			272882.6916			1221472.6228			10.0			200			2501.8455			2501.07			2501.50			0.77			0.00									1.14			1.01			10.11			0.00			0.00			0.00			0.56			5.61			15			133.30


			272877.6943			1221481.2849			10.0			210			2501.8131			2501.05			2501.48			0.76			0.00									1.12			1.13			11.27			0.00			0.00			0.00			0.56			5.61			15			144.57


			272872.3684			1221489.6773			9.9			220			2501.7596			2501.03			2501.46			0.73			0.00									1.07			1.09			10.86			0.00			0.00			0.00			0.56			5.57			15			155.43


			272863.3092			1221493.9101			10.0			230			2501.8853			2501.01			2501.44			0.87			0.00									1.28			1.18			11.75			0.00			0.00			0.00			0.56			5.61			15			167.18


			272854.2383			1221498.1201			10.0			240			2501.8661			2500.99			2501.42			0.87			0.00									1.28			1.28			12.83			0.00			0.00			0.00			0.56			5.61			15			180.02


			272845.8206			1221503.1306			10.0			250			2501.8183			2500.97			2501.40			0.84			0.00									1.24			1.26			12.63			0.00			0.00			0.00			0.56			5.61			15			192.65


			272841.3002			1221512.0508			10.0			260			2501.6357			2500.95			2501.38			0.68			0.00									1.00			1.12			11.23			0.00			0.00			0.00			0.56			5.61			15			203.88


			272836.7798			1221520.9711			10.0			270			2501.6097			2500.93			2501.36			0.68			0.00									0.99			1.00			9.99			0.00			0.00			0.00			0.56			5.61			15			213.87


			272832.2594			1221529.8914			10.0			280			2501.5851			2500.91			2501.34			0.67			0.00									0.99			0.99			9.91			0.00			0.00			0.00			0.56			5.61			15			223.78


			272828.4518			1221539.0867			10.0			290			2501.5484			2500.89			2501.32			0.65			0.00									0.96			0.98			9.71			0.00			0.00			0.00			0.56			5.58			15			233.49


			272825.877			1221548.7498			10.0			300			2501.3402			2500.87			2501.30			0.47			0.00									0.69			0.82			8.24			0.00			0.00			0.00			0.56			5.61			15			241.73


			272823.3023			1221558.4129			10.0			310			2501.4203			2500.85			2501.28			0.57			0.00									0.83			0.76			7.60			0.00			0.00			0.00			0.56			5.61			15			249.33


			272820.7275			1221568.0761			10.0			320			2501.4565			2500.83			2501.26			0.62			0.00									0.92			0.87			8.75			0.00			0.00			0.00			0.56			5.61			15			258.08


			272821.5798			1221577.9605			10.0			330			2501.464			2500.81			2501.24			0.65			0.00									0.96			0.94			9.36			0.00			0.00			0.00			0.56			5.61			15			267.44


			272823.0012			1221587.8592			10.0			340			2501.4579			2500.79			2501.22			0.66			0.00									0.98			0.97			9.67			0.00			0.00			0.00			0.56			5.61			15			277.11


			272824.4225			1221597.758			10.0			350			2501.4619			2500.77			2501.20			0.69			0.00									1.01			0.99			9.95			0.00			0.00			0.00			0.56			5.61			15			287.05


			272823.3432			1221607.4823			9.8			360			2501.453			2500.76			2501.18			0.70			0.00									1.03			1.02			9.98			0.00			0.00			0.00			0.56			5.49			14			297.03


			272820.3643			1221617.0286			10.0			370			2501.4294			2500.74			2501.16			0.69			0.00									1.02			1.03			10.25			0.00			0.00			0.00			0.56			5.61			15			307.29


			272817.3853			1221626.5748			10.0			380			2501.4058			2500.72			2501.14			0.69			0.00			500.00						1.02			1.02			10.20			0.00			0.00			0.00			0.56			5.61			15			317.49


			272814.4064			1221636.1211			10.0			390			2501.3789			2500.70			2501.12			0.68			0.00									1.01			1.01			10.12			0.00			0.00			0.00			0.56			5.61			15			327.61


			272811.4275			1221645.6674			10.0			400			2501.3821			2500.68			2501.10			0.71			0.00									1.04			1.0294634819			10.2949276406			0.00			0.00			0.00			0.56			5.61			15			337.91


			272808.4485			1221655.2137			10.0			410			2501.3939			2500.66			2501.08			0.74			0.00									1.09			1.06			10.65			0.00			0.00			0.00			0.56			5.61			15			348.56


			272805.4696			1221664.7599			10.0			420			2501.4057			2500.64			2501.06			0.77			0.00									1.14			1.11			11.12			0.00			0.00			0.00			0.56			5.61			15			359.68


			272802.4907			1221674.3062			10.0			430			2501.4138			2500.62			2501.04			0.80			0.00									1.18			1.13			11.32			0.00			0.00			0.00			0.56			5.61			15			371.00


			272799.5117			1221683.8525			10.0			440			2501.4199			2500.60			2501.0			0.8			0.0									1.21			1.2			12.0			0.00			0.00			0.00			0.56			5.61			15			382.96


			272796.5328			1221693.3988			10.0			450			2501.426			2500.58			2501.00			0.85			0.00			500.00						1.25			1.23			12.34			0.00			0.00			0.00			0.56			5.61			15			395.30


			272793.5539			1221702.9451			10.0			460			2501.4598			2500.56			2500.9780570998			0.9047429002			0									1.33			1.273839104			12.7387533717			0.00			0.00			0.00			0.56			5.61			15			408.04


			272790.5749			1221712.4913			10.0			470			2501.5041			2500.54			2500.96			0.97			0.00									1.43			1.38			13.80			0.00			0.00			0.00			0.56			5.61			15			421.84


			272787.1799			1221721.8251			10.0			480			2501.5618			2500.52			2500.94			1.05			0.00									1.54			1.48			14.85			0.00			0.00			0.00			0.56			5.61			15			436.69


			272780.2326			1221729.0182			10.0			490			2501.6843			2500.50			2500.92			1.19			0.00									1.75			1.65			16.47			0.00			0.00			0.00			0.56			5.61			15			453.16


			272773.2853			1221736.2113			10.0			500			2501.7354			2500.48			2500.90			1.26			0.00									1.86			1.80			18.04			0.00			0.00			0.00			0.56			5.61			15			471.20


			272766.338			1221743.4044			10.0			510			2501.7473			2500.46			2500.88			1.29			0.00									1.90			1.88			18.80			0.00			0.00			0.00			0.56			5.61			15			490.00


			272759.3907			1221750.5976			10.0			520			2501.6351			2500.44			2500.86			1.20			0.00									1.77			1.81			18.12			0.00			0.00			0.00			0.56			5.61			15			508.12


			272750.7165			1221755.3849			10.0			530			2501.5677			2500.42			2500.84			1.15			0.00									1.70			1.73			17.33			0.00			0.00			0.00			0.56			5.61			15			525.45


			272741.6365			1221759.5752			10.0			540			2501.5124			2500.40			2500.82			1.12			0.00									1.65			1.67			16.72			0.00			0.00			0.00			0.56			5.61			15			542.17


			272732.5565			1221763.7655			10.0			550			2501.495			2500.38			2500.80			1.12			0.00									1.65			1.65			16.48			0.00			0.00			0.00			0.56			5.61			15			558.64


			272723.4765			1221767.9559			10.0			560			2501.5664			2500.36			2500.78			1.21			0.00									1.78			1.72			17.17			0.00			0.00			0.00			0.56			5.61			15			575.81


			272714.3964			1221772.1462			10.0			570			2501.6379			2500.34			2500.76			1.30			0.00									1.92			1.85			18.52			0.00			0.00			0.00			0.56			5.61			15			594.33


			272705.3164			1221776.3365			10.0			580			2501.6412			2500.32			2500.74			1.33			0.00									1.95			1.94			19.36			0.00			0.00			0.00			0.56			5.61			15			613.69


			272696.2364			1221780.5269			10.0			590			2501.6057			2500.30			2500.72			1.31			0.00									1.93			1.94			19.42			0.00			0.00			0.00			0.56			5.61			15			633.12


			272687.1564			1221784.7172			10.0			600			2501.5702			2500.28			2500.70			1.30			0.00									1.91			1.92			19.19			0.00			0.00			0.00			0.56			5.61			15			652.31


																																				66.58			65.26			652.31			0.99			0.98			9.76			34.20			336.24			883			15990.50

















































































































MC PROFILE OF G3


			chainage


			OGL


			CBL


			embankment level


			depth of cut, m


			depth of fill


			drop


			slope 


			0.00			2501.74			2501.33			2501.76			0.41			0.02						`


			10.00			2501.50			2501.32			2501.75			0.17			0.25


			20.00			2501.63			2501.31			2501.74			0.32			0.11


			30.00			2501.63			2501.30			2501.73			0.32			0.10


			40.00			2501.74			2501.29			2501.72			0.45			0.00


			50.00			2501.76			2501.28			2501.71			0.47			0.00


			59.99			2501.66			2501.27			2501.70			0.38			0.04


			69.99			2501.86			2501.26			2501.69			0.59			0.00						1000


			79.99			2501.93			2501.25			2501.68			0.68			0.00


			89.99			2501.95			2501.24			2501.67			0.71			0.00


			100.00			2501.95			2501.23			2501.66			0.72			0.00


			110.00			2501.86			2501.22			2501.65			0.64			0.00


			120.00			2501.76			2501.21			2501.64			0.54			0.00


			130.00			2501.69			2501.20			2501.63			0.48			0.00


			140.00			2501.52			2501.19			2501.62			0.33			0.09


			149.99			2501.30			2501.17			2501.60			0.12			0.30						500


			159.99			2501.27			2501.15			2501.58			0.12			0.30


			169.99			2501.47			2501.13			2501.56			0.34			0.09


			179.99			2501.58			2501.11			2501.54			0.47			0.00


			189.99			2501.70			2501.09			2501.52			0.60			0.00


			199.99			2501.85			2501.07			2501.50			0.77			0.00


			209.99			2501.81			2501.05			2501.48			0.76			0.00


			219.93			2501.76			2501.03			2501.46			0.73			0.00


			229.93			2501.89			2501.01			2501.44			0.87			0.00


			239.93			2501.87			2500.99			2501.42			0.87			0.00


			249.93			2501.82			2500.97			2501.40			0.84			0.00


			259.93			2501.64			2500.95			2501.38			0.68			0.00


			269.93			2501.61			2500.93			2501.36			0.68			0.00


			279.93			2501.59			2500.91			2501.34			0.67			0.00


			289.88			2501.55			2500.89			2501.32			0.65			0.00


			299.88			2501.34			2500.87			2501.30			0.47			0.00


			309.88			2501.42			2500.85			2501.28			0.57			0.00


			319.88			2501.46			2500.83			2501.26			0.62			0.00


			329.88			2501.46			2500.81			2501.24			0.65			0.00


			339.88			2501.46			2500.79			2501.22			0.66			0.00


			349.88			2501.46			2500.77			2501.20			0.69			0.00


			359.67			2501.45			2500.76			2501.18			0.70			0.00


			369.67			2501.43			2500.74			2501.16			0.69			0.00


			379.67			2501.41			2500.72			2501.14			0.69			0.00						500


			389.67			2501.38			2500.70			2501.12			0.68			0.00


			399.67			2501.38			2500.68			2501.10			0.71			0.00


			409.67			2501.39			2500.66			2501.08			0.74			0.00


			419.67			2501.41			2500.64			2501.06			0.77			0.00


			429.67			2501.41			2500.62			2501.04			0.80			0.00


			439.67			2501.42			2500.60			2501.02			0.82			0.00


			449.67			2501.43			2500.58			2501.00			0.85			0.00						500


			459.67			2501.46			2500.56			2500.98			0.90			0.00


			469.67			2501.50			2500.54			2500.96			0.97			0.00


			479.67			2501.56			2500.52			2500.94			1.05			0.00


			489.67			2501.68			2500.50			2500.92			1.19			0.00


			499.67			2501.74			2500.48			2500.90			1.26			0.00


			509.67			2501.75			2500.46			2500.88			1.29			0.00


			519.67			2501.64			2500.44			2500.86			1.20			0.00


			529.67			2501.57			2500.42			2500.84			1.15			0.00


			539.67			2501.51			2500.40			2500.82			1.12			0.00


			549.67			2501.50			2500.38			2500.80			1.12			0.00


			559.67			2501.57			2500.36			2500.78			1.21			0.00


			569.67			2501.64			2500.34			2500.76			1.30			0.00


			579.67			2501.64			2500.32			2500.74			1.33			0.00


			589.67			2501.61			2500.30			2500.72			1.31			0.00


			599.67			2501.57			2500.28			2500.70			1.30			0.00








SC OF GUDER3


			chainage			0+00-0+840


			bed width			0.423															masonry width			Working space			total cut width


			Slope			1000															0.35			0.35			1.47


			Total depth			0.423																					1.30


			Side slope of canal			0																					1.18


			Side slope of Burm			1																					1.07


			Insert top width of built burm for fill			0																					0.92


			OFFTAKE LEVEL CBL			2500.275																					0.48








			Northing			Easting			Partial Distance			Chainage			Elevation			CBL			Bank level			CUT(m)			Fill(m)			slope			drop			Area of cut			Average Area of Cut			Volume of cut			Area of Fill			Average Area of Fill			Volume of Fill			Massonry Area (m2)			Massonry volume(m3)			PLASTERING			CUM.VOL.CUT


			1221784.7172			272687.1564			0			0			2501.5702			2500.28			2500.70			1.30			0.00			1000.00						1.91			0.00			0.00			0.00			0.00			0.00			0.56			0.00			0			0.00


			1221794.5292			272689.0864			10.0			10			2501.4413			2500.27			2500.69			1.18			0.00									1.73			1.82			18.20			0.00			0.00			0.00			0.56			5.61			15			18.20


			1221804.3411			272691.0165			10.0			20			2501.3201			2500.26			2500.68			1.07			0.00									1.57			1.65			16.51			0.00			0.00			0.00			0.56			5.61			15			34.71


			1221814.1531			272692.9465			10.0			30			2501.1633			2500.25			2500.67			0.92			0.00									1.35			1.46			14.61			0.00			0.00			0.00			0.56			5.61			15			49.32


			1221823.9651			272694.8765			10.0			40			2500.9501			2500.24			2500.66			0.72			0.00									1.05			1.20			12.03			0.00			0.00			0.00			0.56			5.61			15			61.35


			1221833.7771			272696.8066			10.0			50			2500.7019			2500.23			2500.65			0.48			0.00									0.70			0.88			8.78			0.00			0.00			0.00			0.56			5.61			15			70.13


			1221843.5891			272698.7366			10.0			60			2500.4461			2500.21			2500.64			0.23			0.19									0.34			0.52			5.21			0.24			0.12			1.22			0.56			5.61			15			75.34


									10.0			70			2500.4461			2499.22			2499.64			1.23			0.00			1000.00			1.00			1.81			1.07			10.73			0.00			0.12			1.22			0.56			5.61			15			86.07


			1221853.4011			272700.6666			10.0			70			2500.1833			2499.21			2499.63			0.97			0.00									1.43			0.89			8.87			0.00			0.12			1.22			0.56			5.61			15			84.21


			1221863.213			272702.5966			10.0			80			2499.8171			2499.20			2499.62			0.62			0.00									0.91			1.17			11.71			0.00			0.00			0.00			0.56			5.61			15			95.93


			1221873.025			272704.5267			10.0			90			2499.4263			2499.19			2499.61			0.24			0.19									0.35			0.63			6.29			0.24			0.12			1.18			0.56			5.61			15			102.21


			1221882.837			272706.4567			10.0			100			2499.0306			2499.18			2499.60			0.00			0.57									0.00			0.17			1.74			0.57			0.40			4.03			0.56			5.61			15			103.95


									10.0			110			2499.0306			2497.90			2498.32			1.13			0.00			500.00			1.00			1.67			0.83			8.33			0.00			0.28			2.85			0.56			5.61			15			112.28


			1221892.649			272708.3867			10.0			110			2498.5604			2497.88			2498.30			0.68			0.00									1.00			0.50			5.01			0.00			0.28			2.85			0.56			5.61			15			108.96


			1221902.461			272710.3168			10.0			120			2498.1957			2497.86			2498.28			0.34			0.09									0.49			0.75			7.48			0.11			0.06			0.55			0.56			5.61			15			116.45


			1221912.2729			272712.2468			10.0			130			2497.8317			2497.84			2498.26			0.00			0.43									0.00			0.25			2.47			0.37			0.24			2.40			0.56			5.61			15			118.92


									10.0			140			2497.8317			2496.84			2497.26			0.99			0.00			50.00			1.00			1.46			0.73			7.30			0.00			0.18			1.84			0.56			5.61			15			126.22


			1221922.0849			272714.1768			10.0			140			2497.4676			2496.64			2497.06			0.83			0.00									1.22			0.61			6.10			0.00			0.18			1.84			0.56			5.61			15			125.01


			1221931.8969			272716.1069			10.0			150			2497.2228			2496.62			2497.04			0.60			0.00									0.89			1.05			10.53			0.00			0.00			0.00			0.56			5.61			15			135.55


			1221941.7089			272718.0369			10.0			160			2496.9577			2496.60			2497.02			0.36			0.07									0.53			0.71			7.07			0.08			0.04			0.41			0.56			5.61			15			142.62


									10.0			170			2496.9577			2495.60			2496.02			1.36			0.00			125.00			1.00			2.00			1.26			12.63			0.00			0.04			0.41			0.56			5.61			15			155.26


			1221951.5357			272719.8874			10.0			170			2496.5975			2495.52			2495.94			1.08			0.00									1.59			1.06			10.57			0.00			0.04			0.41			0.56			5.61			15			153.19


			1221961.4357			272721.2906			10.0			180			2496.2389			2495.50			2495.92			0.74			0.00									1.09			1.34			13.38			0.00			0.00			0.00			0.56			5.61			15			166.57


			1221971.3935			272722.1971			10.0			190			2495.8931			2495.48			2495.90			0.41			0.01									0.61			0.85			8.48			0.01			0.01			0.06			0.56			5.61			15			175.05


									10.0			200			2495.8931			2494.48			2494.90			1.41			0.00			125.00			1.00			2.08			1.34			13.45			0.00			0.01			0.06			0.56			5.61			15			188.50


			1221981.3842			272722.6048			10.0			200			2495.5481			2494.40			2494.82			1.15			0.00									1.69			1.15			11.50			0.00			0.01			0.06			0.56			5.61			15			186.55


			1221991.3835			272722.5526			10.0			210			2495.1936			2494.38			2494.80			0.81			0.00									1.20			1.44			14.45			0.00			0.00			0.00			0.56			5.61			15			201.00


			1222001.3825			272722.41			10.0			220			2494.861			2494.36			2494.78			0.50			0.00									0.74			0.97			9.68			0.00			0.00			0.00			0.56			5.61			15			210.68


			1222011.3815			272722.2674			10.0			230			2494.4367			2494.34			2494.76			0.10			0.33									0.14			0.44			4.40			0.20			0.10			1.02			0.56			5.61			15			215.08


									10.0			240			2494.4367			2493.34			2493.76			1.10						125.00			1.00			1.62			0.88			8.79			0.00			0.10			1.02			0.56			5.61			15			223.87


			1222021.3805			272722.1248			10.0			240			2493.9816			2493.26			2493.68			0.72			0.00									1.06			0.60			6.03			0.00			0.10			1.02			0.56			5.61			15			221.11


			1222031.3795			272721.9822			10.0			250			2493.5466			2493.24			2493.66			0.31			0.12									0.45			0.76			7.57			0.15			0.07			0.74			0.56			5.61			15			228.68


			1222041.3785			272721.8396			10.0			260			2493.3598			2493.22			2493.64			0.14			0.28									0.21			0.33			3.29			0.14			0.14			1.44			0.56			5.61			15			231.97


									10.0			270			2493.3598			2492.22			2492.64			1.14			0.00						1.00			1.68			0.94			9.42			0.00			0.07			0.70			0.56			5.61			15			241.39


			1222051.3778			272721.7816			10.0			270			2493.0964			2492.20			2492.62			0.90			0.00									1.32			0.76			7.63			0.00			0.07			0.70			0.56			5.61			15			239.60


			1222061.3689			272722.1797			10.0			280			2492.6824			2492.18			2492.60			0.50			0.00									0.74			1.03			10.30			0.00			0.00			0.00			0.56			5.61			15			249.90


			1222071.3275			272723.0766			10.0			290			2492.2784			2492.16			2492.58			0.12			0.30									0.17			0.46			4.57			0.17			0.09			0.86			0.56			5.61			15			254.47


			1222081.2289			272724.4701			10.0			300			2491.8841			2492.14			2492.56			0.00			0.68									0.00			0.09			0.87			0.75			0.46			4.60			0.56			5.61			15			255.34


									10.0			310			2491.8841			2491.14			2491.56			0.74			0.00			10.00			1.00			1.10			0.55			5.48			0.00			0.37			3.74			0.56			5.61			15			260.82


			1222091.0482			272726.3568			10.0			310			2491.4996			2490.14			2490.56			1.36			0.00									2.00			1.00			10.01			0.00			0.37			3.74			0.56			5.61			15			265.36


			1222100.761			272728.7319			10.0			320			2490.9663			2490.12			2490.54			0.85			0.00									1.25			1.62			16.24			0.00			0.00			0.00			0.56			5.61			15			281.60


			1222110.343			272731.5894			10.0			330			2490.8236			2490.10			2490.52			0.72			0.00									1.07			1.16			11.56			0.00			0.00			0.00			0.56			5.61			15			293.16


			1222119.8109			272734.8075			10.0			340			2490.504			2490.08			2490.50			0.42			0.00									0.62			0.85			8.45			0.00			0.00			0.00			0.56			5.61			15			301.61


			1222129.2716			272738.0472			10.0			350			2490.2291			2490.06			2490.48			0.17			0.25									0.25			0.44			4.37			0.10			0.05			0.50			0.56			5.61			15			305.98


			1222138.7322			272741.2869			10.0			360			2490.0865			2490.04			2490.46			0.05			0.38									0.07			0.16			1.59			0.28			0.19			1.91			0.56			5.61			15			307.56


			1222148.1929			272744.5266			10.0			370			2490.4894			2490.02			2490.44			0.47			0.00									0.69			0.38			3.80			0.00			0.14			1.41			0.56			5.61			15			311.36


			1222157.6536			272747.7664			10.0			380			2490.4872			2490.00			2490.42			0.49			0.00									0.72			0.70			7.04			0.00			0.00			0.00			0.56			5.61			15			318.40


			1222167.1142			272751.0061			10.0			390			2490.4263			2489.98			2490.40			0.45			0.00									0.66			0.69			6.87			0.00			0.00			0.00			0.56			5.61			15			325.28


			1222176.5749			272754.2458			10.0			400			2490.4189			2489.96			2490.38			0.46			0.00									0.68			0.6966361986			6.9663794221			0.00			0.00			0.00			0.56			5.61			15			332.24


			1222186.0677			272757.3884			10.0			410			2490.3443			2489.94			2490.36			0.40			0.02									0.60			0.64			6.36			0.02			0.01			0.12			0.56			5.61			15			338.60


			1222195.6965			272760.0838			10.0			420			2490.2831			2489.92			2490.34			0.36			0.06									0.53			0.57			5.65			0.08			0.05			0.50			0.56			5.61			15			344.25


			1222205.448			272762.2945			10.0			430			2490.1005			2489.90			2490.32			0.20			0.22									0.30			0.45			4.45			0.06			0.07			0.68			0.56			5.61			15			348.70


			1222215.2978			272764.0152			10.0			440			2489.807			2489.88			2490.3			0.0			0.5									0.00			0.1			1.5			0.46			0.26			2.57			0.56			5.61			15			350.18


									10.0			450			2489.807			2488.88			2489.3			0.9			0.0			80.00			1.00			1.37			0.7			6.8			0.00			0.23			2.28			0.56			5.61			15			357.00


			1222225.2213			272765.2414			10.0			450			2489.6956			2488.76			2489.18			0.94			0.00									1.39			0.69			6.93			0.00			0.23			2.28			0.56			5.61			15			357.10


			1222235.1874			272766.0612			10.0			460			2489.5319			2488.63			2489.0530158507			0.9018841493			0.00									1.33			0.6642376759			6.642218046			0.00			0.00			0.00			0.56			5.61			15			363.75


			1222245.1569			272766.8421			10.0			470			2489.1464			2488.51			2488.93			0.64			0.00									0.94			1.14			11.37			0.00			0.00			0.00			0.56			5.61			15			375.11


			1222255.1264			272767.623			10.0			480			2488.7608			2488.38			2488.80			0.38			0.04									0.56			0.75			7.53			0.05			0.03			0.27			0.56			5.61			15			382.64


			1222265.0958			272768.4039			10.0			490			2488.4645			2488.26			2488.68			0.21			0.21									0.31			0.43			4.35			0.05			0.05			0.50			0.56			5.61			15			386.99


			1222275.0653			272769.1848			10.0			500			2488.3825			2488.13			2488.55			0.25			0.17									0.37			0.34			3.40			0.22			0.13			1.32			0.56			5.61			15			390.39


			1222285.0348			272769.9657			10.0			510			2488.3066			2488.01			2488.43			0.30			0.12									0.44			0.41			4.08			0.15			0.19			1.85			0.56			5.61			15			394.47


			1222295.0042			272770.7466			10.0			520			2488.0858			2487.88			2488.30			0.21			0.22									0.30			0.34			3.38			0.05			0.10			1.03			0.56			5.61			15			397.85


			1222304.9737			272771.5275			10.0			530			2487.865			2487.76			2488.18			0.11			0.31									0.16			0.23			2.33			0.18			0.12			1.18			0.56			5.61			15			400.17


			1222314.9431			272772.3084			10.0			540			2487.607			2487.63			2488.05			0.00			0.45									0.00			0.08			0.81			0.39			0.29			2.86			0.56			5.61			15			400.98


									10.0			550			2487.607			2486.63			2487.05			0.98			0.00			80.00			1.00			1.44			0.72			7.20			0.00			0.19			1.94			0.56			5.61			15			408.18


			1222324.9126			272773.0893			10.0			550			2487.3115			2486.50			2486.93			0.81			0.00									1.19			0.59			5.94			0.00			0.19			1.94			0.56			5.61			15			406.92


			1222334.8821			272773.8702			10.0			560			2486.9908			2486.38			2486.80			0.61			0.00									0.90			1.04			10.44			0.00			0.00			0.00			0.56			5.61			15			417.36


			1222344.8515			272774.6511			10.0			570			2486.67			2486.25			2486.68			0.42			0.01									0.61			0.76			7.55			0.01			0.01			0.05			0.56			5.61			15			424.91


			1222354.821			272775.432			10.0			580			2486.6455			2486.13			2486.55			0.52			0.00									0.76			0.69			6.85			0.00			0.01			0.05			0.56			5.61			15			431.77


			1222364.7905			272776.2129			10.0			590			2486.6735			2486.00			2486.43			0.67			0.00									0.98			0.87			8.72			0.00			0.00			0.00			0.56			5.61			15			440.49


			1222374.7599			272776.9938			10.0			600			2486.7009			2485.88			2486.30			0.82			0.00									1.21			1.10			10.97			0.00			0.00			0.00			0.56			5.61			15			451.46


			1222384.7294			272777.7747			10.0			610			2486.7282			2485.75			2486.18			0.97			0.00									1.43			1.32			13.21			0.00			0.00			0.00			0.56			5.61			15			464.67


			1222394.6989			272778.5556			10.0			620			2486.6035			2485.63			2486.05			0.97			0.00									1.43			1.43			14.34			0.00			0.00			0.00			0.56			5.61			15			479.01


			1222404.6683			272779.3365			10.0			630			2486.3005			2485.50			2485.93			0.80			0.00									1.17			1.30			13.03			0.00			0.00			0.00			0.56			5.61			15			492.04


			1222414.6378			272780.1174			10.0			640			2485.9768			2485.38			2485.80			0.60			0.00									0.88			1.03			10.25			0.00			0.00			0.00			0.56			5.61			15			502.29


			1222424.6072			272780.8983			10.0			650			2485.653			2485.25			2485.68			0.40			0.02									0.59			0.73			7.33			0.03			0.02			0.16			0.56			5.61			15			509.62


			1222434.5767			272781.6792			10.0			660			2485.3291			2485.13			2485.55			0.20			0.22									0.29			0.44			4.40			0.06			0.05			0.46			0.56			5.61			15			514.02


			1222444.5462			272782.4601			10.0			670			2485.001			2485.00			2485.43			0.00			0.43									0.00			0.15			1.47			0.36			0.21			2.12			0.56			5.61			15			515.48


									10.0			680			2485.001			2484.00			2484.42			1.00			0.00			80.00			1.00			1.47			0.74			7.37			0.00			0.18			1.81			0.56			5.61			15			522.85


			1222454.5156			272783.241			10.0			680			2484.6729			2483.88			2484.30			0.80			0.00									1.18			0.59			5.88			0.00			0.18			1.81			0.56			5.61			15			521.36


			1222464.4851			272784.0219			10.0			690			2484.3761			2483.75			2484.17			0.63			0.00									0.92			1.05			10.49			0.00			0.00			0.00			0.56			5.61			15			531.85


			1222474.4546			272784.8028			10.0			700			2484.0814			2483.63			2484.05			0.46			0.00									0.67			0.80			7.97			0.00			0.00			0.00			0.56			5.61			15			539.82


			1222484.424			272785.5837			10.0			710			2483.8076			2483.50			2483.92			0.31			0.12									0.45			0.56			5.63			0.15			0.07			0.73			0.56			5.61			15			545.45


			1222494.3935			272786.3646			10.0			720			2483.5216			2483.38			2483.80			0.15			0.28									0.22			0.33			3.35			0.13			0.14			1.39			0.56			5.61			15			548.79


			1222504.3412			272787.3764			10.0			730			2482.9881			2483.25			2483.67			0.00			0.68									0.00			0.11			1.08			0.76			0.45			4.45			0.56			5.61			15			549.87


									10.0			740			2482.9881			2482.25			2482.67			0.74			0.00			80.00			1.00			1.09			0.54			5.44			0.00			0.38			3.79			0.56			5.61			15			555.31


			1222514.2663			272788.598			10.0			740			2482.6559			2482.13			2482.55			0.53			0.00									0.78			0.39			3.91			0.00			0.38			3.79			0.56			5.61			15			553.78


			1222524.1914			272789.8196			10.0			750			2482.4505			2482.00			2482.42			0.45			0.00									0.66			0.72			7.23			0.00			0.00			0.00			0.56			5.61			15			561.01


			1222534.1165			272791.0412			10.0			760			2482.2563			2481.88			2482.30			0.38			0.04									0.56			0.61			6.13			0.05			0.03			0.26			0.56			5.61			15			567.14


			1222544.0416			272792.2628			10.0			770			2482.0708			2481.75			2482.17			0.32			0.10									0.47			0.52			5.17			0.13			0.09			0.91			0.56			5.61			15			572.31


			1222553.9667			272793.4844			10.0			780			2481.9322			2481.63			2482.05			0.31			0.12									0.45			0.46			4.63			0.15			0.14			1.38			0.56			5.61			15			576.93


			1222563.8918			272794.706			10.0			790			2481.8398			2481.50			2481.92			0.34			0.08									0.50			0.48			4.77			0.11			0.13			1.26			0.56			5.61			15			581.70


			1222573.8169			272795.9277			10.0			800			2481.7157			2481.38			2481.80			0.34			0.08									0.50			0.50			5.01			0.10			0.11			1.05			0.56			5.61			15			586.71


			1222583.7764			272796.7764			10.0			810			2481.5156			2481.25			2481.67			0.27			0.16									0.39			0.45			4.46			0.20			0.15			1.52			0.56			5.60			15			591.17


			1222593.768			272796.5248			10.0			820			2481.2624			2481.13			2481.55			0.14			0.29									0.20			0.30			2.97			0.14			0.17			1.72			0.56			5.60			15			594.14


			1222603.6688			272795.1578			10.0			830			2480.8523			2481.00			2481.42			0.00			0.57									0.00			0.10			1.01			0.57			0.36			3.56			0.56			5.60			15			595.15


									10.0			840			2480.8523			2480.00			2480.42			0.85			0.00			100.00			1.00			1.26			0.63			6.28			0.00			0.28			2.84			0.56			5.61			15			601.42


			1222613.3547			272792.6924			10.0			840			2480.6797			2479.90			2480.32			0.78			0.00									1.15			0.57			5.74			0.00			0.28			2.84			0.56			5.60			15			600.89


			1222622.7043			272789.1596			10.0			850			2480.3032			2479.88			2480.30			0.42			0.00									0.62			0.89			8.85			0.00			0.00			0.00			0.56			5.60			15			609.74


			1222631.6003			272784.6036			10.0			860			2480.0915			2479.86			2480.28			0.23			0.19									0.34			0.48			4.82			0.24			0.12			1.21			0.56			5.60			15			614.56


			1222639.9311			272779.0815			10.0			870			2480.0142			2479.84			2480.26			0.17			0.25									0.26			0.30			2.99			0.09			0.17			1.68			0.56			5.60			15			617.54


			1222647.5923			272772.6627			10.0			880			2479.5721			2479.82			2480.24			0.00			0.67									0.00			0.13			1.28			0.73			0.41			4.14			0.56			5.60			15			618.83


									10.0			890			2479.5721			2478.82			2479.24			0.75			0.00			100.00			1.00			1.11			0.55			5.54			0.00			0.37			3.67			0.56			5.61			15			624.36


			1222654.4879			272765.4276			10.0			890			2479.0229			2478.72			2479.14			0.30			0.12									0.45			0.22			2.23			0.15			0.44			4.43			0.56			5.60			15			621.05


			1222660.9251			272757.775			10.0			900			2478.6844			2478.62			2479.04			0.06			0.36									0.09			0.27			2.70			0.25			0.20			2.03			0.56			5.61			15			623.76


			1222667.3611			272750.1214			10.0			910			2478.5837			2478.52			2478.94			0.06			0.36									0.09			0.09			0.94			0.25			0.25			2.54			0.56			5.61			15			624.70


									10.0			920			2478.5837			2477.52			2477.94			1.06			0.00			100.00			1.00			1.57			0.83			8.30			0.00			0.13			1.27			0.56			5.61			15			633.00


			1222673.797			272742.4677			10.0			920			2478.2475			2477.42			2477.84			0.83			0.00									1.22			0.66			6.56			0.00			0.13			1.27			0.56			5.61			15			631.27


			1222680.233			272734.814			10.0			930			2478.0004			2477.32			2477.74			0.68			0.00									1.00			1.11			11.11			0.00			0.00			0.00			0.56			5.61			15			642.37


			1222686.6689			272727.1604			10.0			940			2477.744			2477.22			2477.64			0.52			0.00									0.77			0.89			8.87			0.00			0.00			0.00			0.56			5.61			15			651.24


			1222693.1049			272719.5067			10.0			950			2477.4666			2477.12			2477.54			0.35			0.08									0.51			0.64			6.41			0.10			0.05			0.48			0.56			5.61			15			657.65


			1222699.5408			272711.8531			10.0			960			2477.2871			2477.02			2477.44			0.27			0.16									0.39			0.45			4.52			0.20			0.15			1.47			0.56			5.61			15			662.17


			1222705.9768			272704.1994			10.0			970			2477.1333			2476.92			2477.34			0.21			0.21									0.31			0.35			3.54			0.27			0.23			2.32			0.56			5.61			15			665.71


			1222712.4127			272696.5457			10.0			980			2476.9821			2476.82			2477.24			0.16			0.26									0.24			0.28			2.76			0.11			0.19			1.88			0.56			5.61			15			668.48


			1222718.8487			272688.8921			10.0			990			2476.831			2476.72			2477.14			0.11			0.31									0.16			0.20			2.01			0.18			0.15			1.46			0.56			5.61			15			670.49


			1222725.2846			272681.2384			10.0			1000			2476.87			2476.62			2477.04			0.25			0.17									0.37			0.27			2.66			0.22			0.20			2.01			0.56			5.61			15			673.15


			1222731.7206			272673.5848			10.0			1010			2476.8031			2476.52			2476.94			0.28			0.14									0.42			0.39			3.93			0.18			0.20			1.99			0.56			5.61			15			677.07


			1222738.1565			272665.9311			10.0			1020			2476.7362			2476.42			2476.84			0.32			0.11									0.47			0.44			4.41			0.14			0.16			1.57			0.56			5.61			15			681.49


			1222744.5925			272658.2774			10.0			1030			2476.6693			2476.32			2476.74			0.35			0.07									0.51			0.49			4.90			0.09			0.11			1.15			0.56			5.61			15			686.39


			1222751.0285			272650.6238			10.0			1040			2476.6799			2476.22			2476.64			0.46			0.00									0.68			0.60			5.96			0.00			0.05			0.47			0.56			5.61			15			692.35


			1222757.4644			272642.9701			10.0			1050			2476.7067			2476.12			2476.54			0.59			0.00									0.86			0.77			7.71			0.00			0.00			0.00			0.56			5.61			15			700.06


			1222764.3053			272635.6833			10.0			1060			2476.6174			2476.02			2476.44			0.60			0.00									0.88			0.87			8.72			0.00			0.00			0.00			0.56			5.60			15			708.77


			1222771.918			272629.207			10.0			1070			2476.4662			2475.92			2476.34			0.55			0.00									0.80			0.84			8.42			0.00			0.00			0.00			0.56			5.60			15			717.19


			1222780.207			272623.6224			10.0			1080			2476.3288			2475.82			2476.24			0.51			0.00									0.75			0.78			7.77			0.00			0.00			0.00			0.56			5.61			15			724.96


			1222788.9355			272618.7433			10.0			1090			2476.2676			2475.72			2476.14			0.55			0.00									0.81			0.78			7.78			0.00			0.00			0.00			0.56			5.61			15			732.74


			1222797.686			272613.9031			10.0			1100			2476.2074			2475.62			2476.04			0.59			0.00									0.87			0.84			8.36			0.00			0.00			0.00			0.56			5.61			15			741.09


			1222806.4366			272609.0628			10.0			1110			2476.1584			2475.52			2475.94			0.64			0.00									0.94			0.90			9.03			0.00			0.00			0.00			0.56			5.61			15			750.12


			1222815.1871			272604.2226			10.0			1120			2476.0744			2475.42			2475.84			0.65			0.00									0.96			0.95			9.52			0.00			0.00			0.00			0.56			5.61			15			759.64


			1222823.9377			272599.3823			10.0			1130			2475.9903			2475.32			2475.74			0.67			0.00									0.99			0.98			9.75			0.00			0.00			0.00			0.56			5.61			15			769.40


			1222832.6944			272594.5534			10.0			1140			2475.8795			2475.22			2475.64			0.66			0.00									0.97			0.98			9.79			0.00			0.00			0.00			0.56			5.61			15			779.19


			1222841.7701			272590.3668			10.0			1150			2475.7287			2475.12			2475.54			0.61			0.00									0.90			0.93			9.33			0.00			0.00			0.00			0.56			5.60			15			788.52


			1222851.2569			272587.2211			10.0			1160			2475.5482			2475.02			2475.44			0.53			0.00									0.78			0.84			8.37			0.00			0.00			0.00			0.56			5.60			15			796.89


			1222861.036			272585.1557			10.0			1170			2475.2928			2474.92			2475.34			0.37			0.05									0.55			0.66			6.63			0.06			0.03			0.32			0.56			5.60			15			803.52


			1222870.9399			272583.7731			10.0			1180			2475.2729			2474.82			2475.24			0.45			0.00									0.67			0.61			6.08			0.00			0.03			0.32			0.56			5.61			15			809.59


			1222880.8451			272582.3995			10.0			1190			2475.2743			2474.72			2475.14			0.55			0.00									0.82			0.74			7.41			0.00			0.00			0.00			0.56			5.61			15			817.01


			1222890.7503			272581.0259			10.0			1200			2475.2757			2474.62			2475.04			0.66			0.00									0.97			0.89			8.91			0.00			0.00			0.00			0.56			5.61			15			825.92


			1222900.6555			272579.6523			10.0			1210			2475.2063			2474.52			2474.94			0.69			0.00									1.01			0.99			9.88			0.00			0.00			0.00			0.56			5.61			15			835.80


			1222910.5607			272578.2787			10.0			1220			2475.1271			2474.42			2474.84			0.71			0.00									1.04			1.03			10.26			0.00			0.00			0.00			0.56			5.61			15			846.05


			1222920.4659			272576.9052			10.0			1230			2475.0479			2474.32			2474.74			0.73			0.00									1.07			1.06			10.56			0.00			0.00			0.00			0.56			5.61			15			856.62


			1222930.3711			272575.5316			10.0			1240			2474.9325			2474.22			2474.64			0.71			0.00									1.05			1.06			10.60			0.00			0.00			0.00			0.56			5.61			15			867.22


			1222940.2764			272574.158			10.0			1250			2474.7984			2474.12			2474.54			0.68			0.00									1.00			1.02			10.24			0.00			0.00			0.00			0.56			5.61			15			877.46


			1222950.1816			272572.7844			10.0			1260			2474.7208			2474.02			2474.44			0.70			0.00									1.03			1.02			10.15			0.00			0.00			0.00			0.56			5.61			15			887.62


			1222960.0868			272571.4108			10.0			1270			2474.6779			2473.92			2474.34			0.76			0.00									1.12			1.07			10.74			0.00			0.00			0.00			0.56			5.61			15			898.36


			1222969.992			272570.0372			10.0			1280			2474.6378			2473.82			2474.24			0.82			0.00									1.20			1.16			11.60			0.00			0.00			0.00			0.56			5.61			15			909.96


			1222979.8972			272568.6637			10.0			1290			2474.6116			2473.72			2474.14			0.89			0.00									1.31			1.26			12.59			0.00			0.00			0.00			0.56			5.61			15			922.54


			1222989.8024			272567.2901			10.0			1300			2474.4669			2473.62			2474.04			0.85			0.00									1.25			1.28			12.80			0.00			0.00			0.00			0.56			5.61			15			935.34


			1222999.6701			272565.6832			10.0			1310			2474.4662			2473.52			2473.94			0.95			0.00									1.39			1.32			13.20			0.00			0.00			0.00			0.56			5.61			15			948.54


			1223009.4877			272563.7824			10.0			1320			2474.3295			2473.42			2473.84			0.91			0.00									1.34			1.37			13.66			0.00			0.00			0.00			0.56			5.61			15			962.21


			1223019.3054			272561.8816			10.0			1330			2474.1947			2473.32			2473.74			0.87			0.00									1.29			1.31			13.14			0.00			0.00			0.00			0.56			5.61			15			975.34


			1223029.1231			272559.9807			10.0			1340			2474.112			2473.22			2473.64			0.89			0.00									1.31			1.30			13.01			0.00			0.00			0.00			0.56			5.61			15			988.35


			1223038.9408			272558.0799			10.0			1350			2473.6943			2473.12			2473.54			0.57			0.00									0.85			1.08			10.80			0.00			0.00			0.00			0.56			5.61			15			999.14


			1223048.7585			272556.1791			10.0			1360			2473.2014			2473.02			2473.44			0.18			0.24									0.27			0.56			5.56			0.08			0.04			0.42			0.56			5.61			15			1004.71


			1223058.5762			272554.2783			10.0			1370			2473.8181			2472.92			2473.34			0.90			0.00									1.32			0.79			7.95			0.00			0.04			0.42			0.56			5.61			15			1012.65


			1223068.3938			272552.3775			10.0			1380			2473.5562			2472.82			2473.24			0.74			0.00									1.08			1.20			12.03			0.00			0.00			0.00			0.56			5.61			15			1024.68


			1223078.2115			272550.4766			10.0			1390			2473.118			2472.72			2473.14			0.40			0.03									0.59			0.83			8.35			0.03			0.02			0.16			0.56			5.61			15			1033.03


			1223088.0292			272548.5758			10.0			1400			2472.6799			2472.62			2473.04			0.06			0.36									0.09			0.34			3.37			0.26			0.15			1.46			0.56			5.61			15			1036.40


			1223097.8469			272546.675			10.0			1410			2473.0902			2472.52			2472.94			0.57			0.00									0.84			0.46			4.64			0.00			0.13			1.30			0.56			5.61			15			1041.04


			1223107.6646			272544.7742			10.0			1420			2473.3414			2472.42			2472.84			0.92			0.00									1.36			1.10			10.98			0.00			0.00			0.00			0.56			5.61			15			1052.02


			1223117.4823			272542.8734			10.0			1430			2472.6976			2472.32			2472.74			0.38			0.05									0.56			0.96			9.56			0.06			0.03			0.29			0.56			5.61			15			1061.58


			1223127.2999			272540.9725			10.0			1440			2472.4087			2472.22			2472.64			0.19			0.23									0.28			0.42			4.17			0.07			0.07			0.66			0.56			5.61			15			1065.75


			1223137.1176			272539.0717			10.0			1450			2472.8929			2472.12			2472.54			0.77			0.00									1.14			0.71			7.08			0.00			0.04			0.37			0.56			5.61			15			1072.83


			1223146.9353			272537.1709			10.0			1460			2473.377			2472.02			2472.44			1.36			0.00									2.00			1.57			15.68			0.00			0.00			0.00			0.56			5.61			15			1088.51


			1223156.753			272535.2701			10.0			1470			2473.1964			2471.92			2472.34			1.28			0.00									1.88			1.94			19.39			0.00			0.00			0.00			0.56			5.61			15			1107.90


			1223166.5707			272533.3693			10.0			1480			2472.8537			2471.82			2472.24			1.03			0.00									1.52			1.70			17.01			0.00			0.00			0.00			0.56			5.61			15			1124.91


			1223176.3884			272531.4685			10.0			1490			2472.1393			2471.72			2472.14			0.42			0.00									0.62			1.07			10.70			0.01			0.00			0.03			0.56			5.61			15			1135.61


			1223186.206			272529.5676			10.0			1500			2471.485			2471.62			2472.04			0.00			0.56									0.00			0.31			3.09			0.55			0.28			2.76			0.56			5.61			15			1138.69


									10.0			1510			2471.485			2470.62			2471.04			0.87			0.00			100.00			1.00			1.27			0.64			6.37			0.00			0.27			2.74			0.56			5.61			15			1145.06


			1223196.0237			272527.6668			10.0			1510			2471.7843			2470.52			2470.94			1.26			0.00									1.86			1.57			15.68			0.00			0.00			0.00			0.56			5.61			15			1160.75


			1223205.8414			272525.766			10.0			1520			2472.0914			2470.42			2470.84			1.67			0.00									2.46			2.16			21.62			0.00			0.00			0.00			0.56			5.61			15			1182.37


			1223215.6591			272523.8652			10.0			1530			2471.843			2470.32			2470.74			1.52			0.00									2.24			2.35			23.53			0.00			0.00			0.00			0.56			5.61			15			1205.89


			1223225.4768			272521.9644			10.0			1540			2470.8993			2470.22			2470.64			0.68			0.00									1.00			1.62			16.22			0.00			0.00			0.00			0.56			5.61			15			1222.11


			1223235.2944			272520.0635			10.0			1550			2470.7583			2470.12			2470.54			0.64			0.00									0.94			0.97			9.70			0.00			0.00			0.00			0.56			5.61			15			1231.82


			1223245.1121			272518.1627			10.0			1560			2471.3696			2470.02			2470.44			1.35			0.00									1.99			1.46			14.64			0.00			0.00			0.00			0.56			5.61			15			1246.46


			1223254.9298			272516.2619			10.0			1570			2470.5324			2469.92			2470.34			0.61			0.00									0.90			1.45			14.45			0.00			0.00			0.00			0.56			5.61			15			1260.91


			1223264.7475			272514.3611			10.0			1580			2469.9576			2469.82			2470.24			0.14			0.29									0.20			0.55			5.52			0.14			0.07			0.72			0.56			5.61			15			1266.43


			1223274.5652			272512.4603			10.0			1590			2470.6373			2469.72			2470.14			0.92			0.00									1.35			0.78			7.77			0.00			0.07			0.72			0.56			5.61			15			1274.20


			1223284.4421			272510.9245			10.0			1600			2470.1839			2469.62			2470.04			0.56			0.00									0.83			1.09			10.90			0.00			0.00			0.00			0.56			5.60			15			1285.11


			1223294.4271			272510.4829			10.0			1610			2469.1459			2469.52			2469.94			0.00			0.80									0.00			0.42			4.15			0.97			0.49			4.86			0.56			5.60			15			1289.26


									10.0			1620			2469.1459			2468.52			2468.94			0.63			0.00			100.00			1.00			0.92			0.46			4.61			0.00			0.49			4.86			0.56			5.61			15			1293.87


			1223304.4188			272510.8795			10.0			1620			2468.8627			2468.42			2468.84			0.44			0.00									0.65			0.79			7.87			0.00			0.00			0.00			0.56			5.61			15			1301.74


			1223314.409			272511.3235			10.0			1630			2468.5987			2468.32			2468.74			0.28			0.14									0.41			0.53			5.31			0.18			0.09			0.92			0.56			5.61			15			1307.05


			1223324.3991			272511.7675			10.0			1640			2468.3338			2468.22			2468.64			0.11			0.31									0.17			0.29			2.89			0.18			0.18			1.81			0.56			5.61			15			1309.94


			1223334.3893			272512.2114			10.0			1650			2467.8785			2468.12			2468.54			0.00			0.66			100.00						0.00			0.08			0.84			0.72			0.45			4.50			0.56			5.61			15			1310.78


									10.0			1660			2467.8785			2467.12			2467.54			0.76			0.00						1.00			1.12			0.56			5.59			0.00			0.36			3.61			0.56			5.61			15			1316.36


			1223344.3794			272512.6554			10.0			1660			2467.6243			2467.02			2467.44			0.60			0.00									0.89			1.00			10.04			0.00			0.00			0.00			0.56			5.61			15			1326.40


			1223354.3695			272513.0993			10.0			1670			2467.5429			2466.92			2467.34			0.62			0.00									0.92			0.90			9.04			0.00			0.00			0.00			0.56			5.61			15			1335.44


			1223364.3597			272513.5433			10.0			1680			2467.4615			2466.82			2467.24			0.64			0.00									0.94			0.93			9.31			0.00			0.00			0.00			0.56			5.61			15			1344.75


			1223374.3498			272513.9872			10.0			1690			2467.4122			2466.72			2467.14			0.69			0.00									1.02			0.98			9.82			0.00			0.00			0.00			0.56			5.61			15			1354.58


			1223384.34			272514.4312			10.0			1700			2467.3863			2466.62			2467.04			0.77			0.00									1.13			1.07			10.74			0.00			0.00			0.00			0.56			5.61			15			1365.32


			1223394.3301			272514.8752			10.0			1710			2467.291			2466.52			2466.94			0.77			0.00									1.14			1.13			11.32			0.00			0.00			0.00			0.56			5.61			15			1376.64


			1223404.3202			272515.3191			10.0			1720			2467.2745			2466.42			2466.84			0.85			0.00									1.26			1.20			11.97			0.00			0.00			0.00			0.56			5.61			15			1388.61


			1223414.3104			272515.7631			10.0			1730			2467.2057			2466.32			2466.74			0.89			0.00									1.30			1.28			12.82			0.00			0.00			0.00			0.56			5.61			15			1401.43


			1223424.3005			272516.207			10.0			1740			2467.1449			2466.22			2466.64			0.92			0.00									1.36			1.33			13.34			0.00			0.00			0.00			0.56			5.61			15			1414.76


			1223434.2907			272516.651			10.0			1750			2467.1722			2466.12			2466.54			1.05			0.00									1.55			1.46			14.56			0.00			0.00			0.00			0.56			5.61			15			1429.32


			1223444.2808			272517.0949			10.0			1760			2467.1228			2466.02			2466.44			1.10			0.00									1.62			1.59			15.87			0.00			0.00			0.00			0.56			5.61			15			1445.20


			1223454.2709			272517.5389			10.0			1770			2467.0426			2465.92			2466.34			1.12			0.00									1.65			1.64			16.39			0.00			0.00			0.00			0.56			5.61			15			1461.59


			1223464.2611			272517.9829			10.0			1780			2467.0294			2465.82			2466.24			1.21			0.00									1.78			1.72			17.18			0.00			0.00			0.00			0.56			5.61			15			1478.76


			1223474.2512			272518.4268			10.0			1790			2467.0312			2465.72			2466.14			1.31			0.00									1.93			1.86			18.56			0.00			0.00			0.00			0.56			5.61			15			1497.32


			1223484.2462			272518.6246			10.0			1800			2467.0057			2465.62			2466.04			1.39			0.00									2.04			1.99			19.86			0.00			0.00			0.00			0.56			5.61			15			1517.18


			1223494.2204			272517.9258			10.0			1810			2466.9211			2465.52			2465.94			1.40			0.00									2.06			2.05			20.52			0.00			0.00			0.00			0.56			5.61			15			1537.70


			1223504.1867			272517.1053			10.0			1820			2466.7137			2465.42			2465.84			1.29			0.00									1.91			1.98			19.85			0.00			0.00			0.00			0.56			5.61			15			1557.55


			1223514.1529			272516.2848			10.0			1830			2466.4715			2465.32			2465.74			1.15			0.00									1.70			1.80			18.01			0.00			0.00			0.00			0.56			5.61			15			1575.56


			1223524.1192			272515.4644			10.0			1840			2466.2293			2465.22			2465.64			1.01			0.00									1.49			1.59			15.91			0.00			0.00			0.00			0.56			5.61			15			1591.47


			1223534.0855			272514.6439			10.0			1850			2465.9871			2465.12			2465.54			0.87			0.00									1.28			1.38			13.82			0.00			0.00			0.00			0.56			5.61			15			1605.29


			1223544.0518			272513.8234			10.0			1860			2465.8581			2465.02			2465.44			0.84			0.00									1.23			1.26			12.56			0.00			0.00			0.00			0.56			5.61			15			1617.85


			1223554.0181			272513.003			10.0			1870			2465.7521			2464.92			2465.34			0.83			0.00									1.23			1.23			12.30			0.00			0.00			0.00			0.56			5.61			15			1630.15


			1223563.9844			272512.1825			10.0			1880			2465.6325			2464.82			2465.24			0.81			0.00									1.20			1.21			12.11			0.00			0.00			0.00			0.56			5.61			15			1642.26


			1223573.9506			272511.362			10.0			1890			2465.3416			2464.72			2465.14			0.62			0.00									0.92			1.06			10.56			0.00			0.00			0.00			0.56			5.61			15			1652.82


			1223583.9169			272510.5415			10.0			1900			2465.0652			2464.62			2465.04			0.45			0.00									0.66			0.79			7.86			0.00			0.00			0.00			0.56			5.61			15			1660.68


			1223593.8832			272509.7211			10.0			1910			2464.8816			2464.52			2464.94			0.36			0.06									0.53			0.59			5.94			0.08			0.04			0.39			0.56			5.61			15			1666.62


			1223603.8495			272508.9006			10.0			1920			2464.7422			2464.42			2464.84			0.32			0.10									0.47			0.50			5.04			0.13			0.10			1.03			0.56			5.61			15			1671.66


			1223613.8158			272508.0801			10.0			1930			2464.6501			2464.32			2464.74			0.33			0.09									0.49			0.48			4.80			0.12			0.12			1.23			0.56			5.61			15			1676.46


			1223623.7821			272507.2597			10.0			1940			2464.558			2464.22			2464.64			0.34			0.09									0.50			0.49			4.92			0.11			0.11			1.13			0.56			5.61			15			1681.38


																																				105.87			105.67			1804.47			5.24			5.31			53.11			59.43			1188.63			1561			117110.12








SC PROFILE OF G3


			chainage


			OGL


			CBL


			embankment level


			depth of cut, m


			depth of fill


			drop


			slope 


			0.00			2501.57			2500.28			2500.70			1.30			0.00						1000


			10.00			2501.44			2500.27			2500.69			1.18			0.00


			20.00			2501.32			2500.26			2500.68			1.07			0.00


			30.00			2501.16			2500.25			2500.67			0.92			0.00


			40.00			2500.95			2500.24			2500.66			0.72			0.00


			50.00			2500.70			2500.23			2500.65			0.48			0.00


			60.00			2500.45			2500.21			2500.64			0.23			0.19


			60.00			2500.45			2499.22												1.00			1000


			70.00			2500.18			2499.21			2499.63			0.97			0.00


			80.00			2499.82			2499.20			2499.62			0.62			0.00


			90.00			2499.43			2499.19			2499.61			0.24			0.19


			100.00			2499.03			2499.18			2499.60			0.00			0.57


			100.00			2499.03			2497.90												1.00			500


			110.00			2498.56			2497.88			2498.30			0.68			0.00


			120.00			2498.20			2497.86			2498.28			0.34			0.09


			130.00			2497.83			2497.84			2498.26			0.00			0.43


			130.00			2497.83			2496.84												1.00			50


			140.00			2497.47			2496.64			2497.06			0.83			0.00


			150.00			2497.22			2496.62			2497.04			0.60			0.00


			160.00			2496.96			2496.60			2497.02			0.36			0.07


			160.00			2496.96			2495.60												1.00			125


			170.00			2496.60			2495.52			2495.94			1.08			0.00


			180.00			2496.24			2495.50			2495.92			0.74			0.00


			190.00			2495.89			2495.48			2495.90			0.41			0.01


			190.00			2495.89			2494.48												1.00			125


			200.00			2495.55			2494.40			2494.82			1.15			0.00


			210.00			2495.19			2494.38			2494.80			0.81			0.00


			220.00			2494.86			2494.36			2494.78			0.50			0.00


			230.00			2494.44			2494.34			2494.76			0.10			0.33


			230.00			2494.44			2493.34												1.00			125


			240.00			2493.98			2493.26			2493.68			0.72			0.00


			250.00			2493.55			2493.24			2493.66			0.31			0.12


			260.00			2493.36			2493.22			2493.64			0.14			0.28


			260.00			2493.36			2492.22


			270.00			2493.10			2492.20			2492.62			0.90			0.00


			280.00			2492.68			2492.18			2492.60			0.50			0.00


			290.00			2492.28			2492.16			2492.58			0.12			0.30


			299.99			2491.88			2492.14			2492.56			0.00			0.68


			299.99			2491.88			2491.14												1.00			10


			309.99			2491.50			2490.14			2490.56			1.36			0.00


			319.99			2490.97			2490.12			2490.54			0.85			0.00


			329.99			2490.82			2490.10			2490.52			0.72			0.00


			339.99			2490.50			2490.08			2490.50			0.42			0.00


			349.99			2490.23			2490.06			2490.48			0.17			0.25


			359.99			2490.09			2490.04			2490.46			0.05			0.38


			369.99			2490.49			2490.02			2490.44			0.47			0.00


			379.99			2490.49			2490.00			2490.42			0.49			0.00


			389.99			2490.43			2489.98			2490.40			0.45			0.00


			399.99			2490.42			2489.96			2490.38			0.46			0.00


			409.99			2490.34			2489.94			2490.36			0.40			0.02


			419.99			2490.28			2489.92			2490.34			0.36			0.06


			429.99			2490.10			2489.90			2490.32			0.20			0.22


			439.99			2489.81			2489.88			2490.30			0.00			0.50


			439.99			2489.81			2488.88												1.00			80


			449.99			2489.70			2488.76			2489.18			0.94			0.00


			459.99			2489.53			2488.63			2489.05			0.90			0.00


			469.99			2489.15			2488.51			2488.93			0.64			0.00


			479.99			2488.76			2488.38			2488.80			0.38			0.04


			489.99			2488.46			2488.26			2488.68			0.21			0.21


			499.99			2488.38			2488.13			2488.55			0.25			0.17


			509.99			2488.31			2488.01			2488.43			0.30			0.12


			519.99			2488.09			2487.88			2488.30			0.21			0.22


			529.99			2487.87			2487.76			2488.18			0.11			0.31


			539.99			2487.61			2487.63			2488.05			0.00			0.45


			539.99			2487.61			2486.63												1.00			80


			549.99			2487.31			2486.50			2486.93			0.81			0.00


			559.99			2486.99			2486.38			2486.80			0.61			0.00


			569.99			2486.67			2486.25			2486.68			0.42			0.01


			579.99			2486.65			2486.13			2486.55			0.52			0.00


			589.99			2486.67			2486.00			2486.43			0.67			0.00


			599.99			2486.70			2485.88			2486.30			0.82			0.00


			609.99			2486.73			2485.75			2486.18			0.97			0.00


			619.99			2486.60			2485.63			2486.05			0.97			0.00


			629.99			2486.30			2485.50			2485.93			0.80			0.00


			639.99			2485.98			2485.38			2485.80			0.60			0.00


			649.99			2485.65			2485.25			2485.68			0.40			0.02


			659.99			2485.33			2485.13			2485.55			0.20			0.22


			669.99			2485.00			2485.00			2485.43			0.00			0.43


			669.99			2485.00			2484.00												1.00			80


			679.99			2484.67			2483.88			2484.30			0.80			0.00


			689.99			2484.38			2483.75			2484.17			0.63			0.00


			699.99			2484.08			2483.63			2484.05			0.46			0.00


			709.99			2483.81			2483.50			2483.92			0.31			0.12


			719.99			2483.52			2483.38			2483.80			0.15			0.28


			729.99			2482.99			2483.25			2483.67			0.00			0.68


			729.99			2482.99			2482.25												1.00			80


			739.99			2482.66			2482.13			2482.55			0.53			0.00


			749.99			2482.45			2482.00			2482.42			0.45			0.00


			759.99			2482.26			2481.88			2482.30			0.38			0.04


			769.99			2482.07			2481.75			2482.17			0.32			0.10


			779.99			2481.93			2481.63			2482.05			0.31			0.12


			789.99			2481.84			2481.50			2481.92			0.34			0.08


			799.99			2481.72			2481.38			2481.80			0.34			0.08


			809.98			2481.52			2481.25			2481.67			0.27			0.16


			819.98			2481.26			2481.13			2481.55			0.14			0.29


			829.97			2480.85			2481.00			2481.42			0.00			0.57


			829.97			2480.85			2480.00												1.00			100


			839.97			2480.68			2479.90			2480.32			0.78			0.00


			849.96			2480.30			2479.88			2480.30			0.42			0.00


			859.96			2480.09			2479.86			2480.28			0.23			0.19


			869.95			2480.01			2479.84			2480.26			0.17			0.25


			879.95			2479.57			2479.82			2480.24			0.00			0.67


			879.95			2479.57			2478.82												1.00			100


			889.94			2479.02			2478.72			2479.14			0.30			0.12


			899.94			2478.68			2478.62			2479.04			0.06			0.36


			909.94			2478.58			2478.52			2478.94			0.06			0.36


			909.94			2478.58			2477.52												1.00			100


			919.94			2478.25			2477.42			2477.84			0.83			0.00


			929.94			2478.00			2477.32			2477.74			0.68			0.00


			939.94			2477.74			2477.22			2477.64			0.52			0.00


			949.94			2477.47			2477.12			2477.54			0.35			0.08


			959.94			2477.29			2477.02			2477.44			0.27			0.16


			969.94			2477.13			2476.92			2477.34			0.21			0.21


			979.94			2476.98			2476.82			2477.24			0.16			0.26


			989.94			2476.83			2476.72			2477.14			0.11			0.31


			999.94			2476.87			2476.62			2477.04			0.25			0.17


			1009.94			2476.80			2476.52			2476.94			0.28			0.14


			1019.94			2476.74			2476.42			2476.84			0.32			0.11


			1029.94			2476.67			2476.32			2476.74			0.35			0.07


			1039.94			2476.68			2476.22			2476.64			0.46			0.00


			1049.94			2476.71			2476.12			2476.54			0.59			0.00


			1059.93			2476.62			2476.02			2476.44			0.60			0.00


			1069.93			2476.47			2475.92			2476.34			0.55			0.00


			1079.93			2476.33			2475.82			2476.24			0.51			0.00


			1089.93			2476.27			2475.72			2476.14			0.55			0.00


			1099.93			2476.21			2475.62			2476.04			0.59			0.00


			1109.93			2476.16			2475.52			2475.94			0.64			0.00


			1119.93			2476.07			2475.42			2475.84			0.65			0.00


			1129.93			2475.99			2475.32			2475.74			0.67			0.00


			1139.93			2475.88			2475.22			2475.64			0.66			0.00


			1149.92			2475.73			2475.12			2475.54			0.61			0.00


			1159.92			2475.55			2475.02			2475.44			0.53			0.00


			1169.91			2475.29			2474.92			2475.34			0.37			0.05


			1179.91			2475.27			2474.82			2475.24			0.45			0.00


			1189.91			2475.27			2474.72			2475.14			0.55			0.00


			1199.91			2475.28			2474.62			2475.04			0.66			0.00


			1209.91			2475.21			2474.52			2474.94			0.69			0.00


			1219.91			2475.13			2474.42			2474.84			0.71			0.00


			1229.91			2475.05			2474.32			2474.74			0.73			0.00


			1239.91			2474.93			2474.22			2474.64			0.71			0.00


			1249.91			2474.80			2474.12			2474.54			0.68			0.00


			1259.91			2474.72			2474.02			2474.44			0.70			0.00


			1269.91			2474.68			2473.92			2474.34			0.76			0.00


			1279.91			2474.64			2473.82			2474.24			0.82			0.00


			1289.91			2474.61			2473.72			2474.14			0.89			0.00


			1299.91			2474.47			2473.62			2474.04			0.85			0.00


			1309.91			2474.47			2473.52			2473.94			0.95			0.00


			1319.91			2474.33			2473.42			2473.84			0.91			0.00


			1329.91			2474.19			2473.32			2473.74			0.87			0.00


			1339.91			2474.11			2473.22			2473.64			0.89			0.00


			1349.91			2473.69			2473.12			2473.54			0.57			0.00


			1359.91			2473.20			2473.02			2473.44			0.18			0.24


			1369.91			2473.82			2472.92			2473.34			0.90			0.00


			1379.91			2473.56			2472.82			2473.24			0.74			0.00


			1389.91			2473.12			2472.72			2473.14			0.40			0.03


			1399.91			2472.68			2472.62			2473.04			0.06			0.36


			1409.91			2473.09			2472.52			2472.94			0.57			0.00


			1419.91			2473.34			2472.42			2472.84			0.92			0.00


			1429.91			2472.70			2472.32			2472.74			0.38			0.05


			1439.91			2472.41			2472.22			2472.64			0.19			0.23


			1449.91			2472.89			2472.12			2472.54			0.77			0.00


			1459.91			2473.38			2472.02			2472.44			1.36			0.00


			1469.91			2473.20			2471.92			2472.34			1.28			0.00


			1479.91			2472.85			2471.82			2472.24			1.03			0.00


			1489.91			2472.14			2471.72			2472.14			0.42			0.00


			1499.91			2471.49			2471.62			2472.04			0.00			0.56


			1499.91			2471.49			2470.62												1.00			100


			1509.91			2471.78			2470.52			2470.94			1.26			0.00


			1519.91			2472.09			2470.42			2470.84			1.67			0.00


			1529.91			2471.84			2470.32			2470.74			1.52			0.00


			1539.91			2470.90			2470.22			2470.64			0.68			0.00


			1549.91			2470.76			2470.12			2470.54			0.64			0.00


			1559.91			2471.37			2470.02			2470.44			1.35			0.00


			1569.91			2470.53			2469.92			2470.34			0.61			0.00


			1579.91			2469.96			2469.82			2470.24			0.14			0.29


			1589.91			2470.64			2469.72			2470.14			0.92			0.00


			1599.91			2470.18			2469.62			2470.04			0.56			0.00


			1609.90			2469.15			2469.52			2469.94			0.00			0.80


			1609.90			2469.15			2468.52												1.00			100


			1619.90			2468.86			2468.42			2468.84			0.44			0.00


			1629.90			2468.60			2468.32			2468.74			0.28			0.14


			1639.90			2468.33			2468.22			2468.64			0.11			0.31


			1649.90			2467.88			2468.12			2468.54			0.00			0.66			1.00			100


			1649.90			2467.88			2467.12


			1659.90			2467.62			2467.02			2467.44			0.60			0.00


			1669.90			2467.54			2466.92			2467.34			0.62			0.00


			1679.90			2467.46			2466.82			2467.24			0.64			0.00


			1689.90			2467.41			2466.72			2467.14			0.69			0.00


			1699.90			2467.39			2466.62			2467.04			0.77			0.00


			1709.90			2467.29			2466.52			2466.94			0.77			0.00


			1719.90			2467.27			2466.42			2466.84			0.85			0.00


			1729.90			2467.21			2466.32			2466.74			0.89			0.00


			1739.90			2467.14			2466.22			2466.64			0.92			0.00


			1749.90			2467.17			2466.12			2466.54			1.05			0.00


			1759.90			2467.12			2466.02			2466.44			1.10			0.00


			1769.90			2467.04			2465.92			2466.34			1.12			0.00


			1779.90			2467.03			2465.82			2466.24			1.21			0.00


			1789.90			2467.03			2465.72			2466.14			1.31			0.00


			1799.90			2467.01			2465.62			2466.04			1.39			0.00


			1809.90			2466.92			2465.52			2465.94			1.40			0.00


			1819.90			2466.71			2465.42			2465.84			1.29			0.00


			1829.90			2466.47			2465.32			2465.74			1.15			0.00


			1839.90			2466.23			2465.22			2465.64			1.01			0.00


			1849.90			2465.99			2465.12			2465.54			0.87			0.00


			1859.90			2465.86			2465.02			2465.44			0.84			0.00


			1869.90			2465.75			2464.92			2465.34			0.83			0.00


			1879.90			2465.63			2464.82			2465.24			0.81			0.00


			1889.90			2465.34			2464.72			2465.14			0.62			0.00


			1899.90			2465.07			2464.62			2465.04			0.45			0.00


			1909.90			2464.88			2464.52			2464.94			0.36			0.06


			1919.90			2464.74			2464.42			2464.84			0.32			0.10


			1929.90			2464.65			2464.32			2464.74			0.33			0.09


			1939.90			2464.56			2464.22			2464.64			0.34			0.09








TC 1-1-1 OF G3


			bed width			0.20						chainage


			Slope			125.00						OGL


			Initial CBL			2495.52						CBL


			Total depth			0.20						masonay width			0.35


			Side slope of canal			1.00						working space			0.2


			Side slope of Burm			1.00						total width cut			1.3


			Insert top width of built burm for fill			0.30





			Northing			Easting			Partial Distance			Chainage			Elevation			CBL			Bank level			CUT(m)			Fill(m)			drop			slope			Area of cut			Average Area of Cut			Volume of cut			Area of Fill			Average Area of Fill			Volume of Fill


			1221951.5357			272719.8874			0.00			0.00			2496.5977			2495.52			2495.72			1.08			0.00						125.00			1.40			0.00			0.00			0.00			0.00			0.00


			1221952.8892			272709.9795			10.00			10.00			2496.377			2495.44			2495.64			0.94			0.00									1.22			1.31			13.10			0.00			0.00			0.00


			1221954.2427			272700.0715			10.00			20.00			2496.5986			2495.36			2495.56			1.24			0.00									1.61			1.41			14.14			0.00			0.00			0.00


			1221955.5962			272690.1635			10.00			30.00			2496.4913			2495.28			2495.48			1.21			0.00									1.57			1.59			15.92			0.00			0.00			0.00


			1221956.9497			272680.2555			10.00			40.00			2496.1514			2495.20			2495.40			0.95			0.00									1.24			1.41			14.06			0.00			0.00			0.00


			1221958.3032			272670.3476			10.00			50.00			2495.8307			2495.12			2495.32			0.71			0.00									0.92			1.08			10.80			0.00			0.00			0.00


			1221959.6567			272660.4396			10.00			60.00			2495.0545			2495.04			2495.24			0.01			0.19									0.02			0.47			4.71			0.26			0.13			1.29


			1221961.0102			272650.5316			10.00			70.00			2495.3772			2494.96			2495.16			0.42			0.00									0.54			0.28			2.81			0.00			0.13			1.29


									10.00			80.00			2495.3772			2494.46			2494.66			0.92			0.00			0.50			125.00			1.19			0.87			8.67			0.00			0.00			0.00


			1221962.3637			272640.6236			10.00			80.00			2494.5923			2494.38			2494.58			0.21			0.00									0.28			0.41			4.09			0.00			0.00			0.00


			1221963.7172			272630.7156			10.00			90.00			2494.326			2494.30			2494.50			0.03			0.17									0.03			0.15			1.55			0.24			0.12			1.20


									10.00			100.00			2494.326			2493.87			2494.07			0.46			0.00			0.50			125.00			0.59			0.31			3.13			0.00			0.12			1.20


			1221965.0707			272620.8077			10.00			100.00			2494.0943			2493.79			2493.99			0.30			0.00									0.40			0.21			2.15			0.00			0.12			1.20


			1221966.4242			272610.8997			10.00			110.00			2493.8627			2493.71			2493.91			0.15			0.05									0.20			0.30			2.97			0.06			0.03			0.29


			1221967.7777			272600.9917			10.00			120.00			2493.5371			2493.63			2493.83			0.00			0.29									0.00			0.10			0.99			0.36			0.21			2.08


									10.00			130.00			2493.5371			2493.03			2493.23			0.51			0.00			0.60			18.00			0.66			0.33			3.30			0.00			0.18			1.79


			1221969.1312			272591.0837			10.00			130.00			2492.8953			2492.47			2492.67			0.42			0.00									0.55			0.27			2.74			0.00			0.18			1.79


			1221970.4847			272581.1757			10.00			140.00			2492.1971			2491.92			2492.12			0.28			0.00									0.36			0.45			4.54			0.00			0.00			0.00


									10.00			150.00			2492.1971			2491.36			2491.56			0.83			0.00									1.08			0.72			7.23			0.00			0.00			0.00


			1221971.8382			272571.2678			10.00			150.00			2491.4194			2490.81			2491.01			0.61			0.00			0.30						0.80			0.58			5.78			0.00			0.00			0.00


			1221973.1917			272561.3598			10.00			160.00			2490.6416			2490.25			2490.45			0.39			0.00									0.51			0.65			6.51			0.00			0.00			0.00


			1221974.5452			272551.4518			10.00			170.00			2489.9115			2489.70			2489.90			0.21			0.00									0.28			0.39			3.93			0.00			0.00			0.00


			1221975.8987			272541.5438			10.00			180.00			2489.3095			2489.14			2489.34			0.17			0.03									0.22			0.25			2.49			0.04			0.02			0.19


			1221977.2522			272531.6359			10.00			190.00			2488.7075			2488.59			2488.79			0.12			0.08									0.16			0.19			1.89			0.10			0.07			0.69


			1221978.6057			272521.7279			10.00			200.00			2488.1055			2488.03			2488.23			0.08			0.12						300.00			0.10			0.13			1.28			0.16			0.13			1.32


			1221979.9592			272511.8199			10.00			210.00			2487.3803			2487.47			2487.67			0.00			0.29									0.00			0.05			0.49			0.36			0.26			2.62


			1221981.3127			272501.9119			10.00			220.00			2486.508			2486.92			2487.12			0.00			0.61									0.00			0.00			0.00			1.03			0.69			6.93


																																				ERROR:#REF!			=			139.27			46.00			=			ERROR:#REF!








TC 1-1-1 PROF


			chainage


			OGL


			CBL


			embankment level


			depth of cut, m


			depht of fill,m


			Drop


			Slope


			0.00			2501.52			2500.28			2500.43			1.25			0.00			0.00			300.00


			10.00			2501.54			2500.24			2500.39			1.30			0.00			0.00


			20.00			2501.56			2500.21			2500.36			1.35			0.00			0.00


			30.00			2501.58			2500.18			2500.33			1.40			0.00			0.00


			40.00			2501.59			2500.14			2500.29			1.44			0.00			0.00


			50.00			2501.48			2500.11			2500.26			1.37			0.00			0.00


			60.00			2501.39			2500.08			2500.23			1.31			0.00			0.00			300.00


			70.00			2501.31			2500.04			2500.19			1.26			0.00			0.00


			80.00			2501.24			2500.01			2500.16			1.23			0.00			0.00


			90.00			2501.18			2499.98			2500.13			1.20			0.00			0.00


			100.00			2501.12			2499.94			2500.09			1.18			0.00			0.00


			110.00			2501.03			2499.91			2500.06			1.12			0.00			0.00


			120.00			2500.91			2499.88			2500.03			1.04			0.00			0.00


			130.00			2500.84			2499.84			2499.99			1.00			0.00			0.00


			140.00			2500.77			2499.81			2499.96			0.96			0.00			0.00


			150.00			2500.62			2499.78			2499.93			0.85			0.00			0.00


			160.00			2500.45			2499.74			2499.89			0.71			0.00			0.00


			170.00			2500.29			2499.71			2499.86			0.58			0.00			0.00


			180.00			2500.13			2499.68			2499.83			0.46			0.00			0.00


			190.00			2499.98			2499.64			2499.79			0.33			0.00			0.00


			200.00			2499.82			2499.61			2499.76			0.21			0.00			0.00			300.00


			210.00			2499.73			2499.58			2499.73			0.15			0.00			0.00


			220.00			2499.73			2499.53												0.50


			230.00			2499.67			2499.50			2499.65			0.17			0.00			0.00


			240.00			2499.52			2499.46			2499.62			0.06			0.09			0.00


			250.00			2499.53			2499.43			2499.58			0.10			0.05			0.00


			260.00			2499.62			2499.40			2499.55			0.22			0.00			0.00


			270.00			2499.67			2499.36			2499.52			0.31			0.00			0.00


			280.00			2499.76			2499.33			2499.48			0.43			0.00			0.00


			290.00			2499.82			2499.30			2499.45			0.53			0.00			0.00


			300.00			2499.89			2499.26			2499.42			0.63			0.00			0.00			300.00


			310.00			2499.92			2499.23			2499.38			0.69			0.00			0.00


			320.00			2499.62			2499.20			2499.35			0.43			0.00			0.00








TC 1-1-2 OF G3


			bed width			0.23						chainage


			Slope			300						OGL


			Initial CBL			2500.28						CBL


			Total depth			0.23


			Side slope of canal			1.00


			b/d ratio			1.00


			Side slope of Burm			1.00


			Insert top width of built burm for fill			0.30





			Northing			Easting			Partial Distance			Chainage			Elevation			CBL			Bank level			drop			slope			CUT(m)			Fill(m)			Area of cut			Average Area of Cut			Volume of cut			Area of Fill			Average Area of Fill			Volume of Fill			cum.cut


			272687.90			1221787.93			0.00			0.00			2501.52			2500.28			2500.51						300.00			1.25			0.00			3.11			0.00			0.00			0.00			0.00			0.00			0.00


			272697.32			1221784.55			10.00			10.00			2501.55			2500.24			2500.47									1.30			0.00			3.40			3.26			32.58			0.00			0.00			0.00			32.58


			272706.73			1221781.18			10.00			20.00			2501.57			2500.21			2500.44									1.36			0.00			3.70			3.55			35.52			0.00			0.00			0.00			68.09


			272716.14			1221777.80			10.00			30.00			2501.54			2500.17			2500.40									1.36			0.00			3.72			3.71			37.13			0.00			0.00			0.00			105.22


			272725.55			1221774.42			10.00			40.00			2501.45			2500.14			2500.37									1.31			0.00			3.44			3.58			35.80			0.00			0.00			0.00			141.03


			272734.96			1221771.04			10.00			50.00			2501.37			2500.11			2500.34									1.26			0.00			3.16			3.30			33.01			0.00			0.00			0.00			174.03


			272744.38			1221767.66			10.00			60.00			2501.37			2500.07			2500.30									1.29			0.00			3.33			3.25			32.48			0.00			0.00			0.00			206.51


			272753.68			1221764.01			10.00			70.00			2501.41			2500.04			2500.27									1.37			0.00			3.76			3.54			35.44			0.00			0.00			0.00			241.95


			272762.59			1221759.48			10.00			79.99			2501.48			2500.01			2500.24									1.47			0.00			4.31			4.03			40.30			0.00			0.00			0.00			282.25


			272771.02			1221754.10			10.00			89.99			2501.55			2499.98			2500.21									1.58			0.00			4.99			4.65			46.48			0.00			0.00			0.00			328.73


			272778.88			1221747.92			10.00			99.98			2501.65			2499.94			2500.17									1.71			0.00			5.82			5.41			54.04			0.00			0.00			0.00			382.77


			272786.09			1221741.00			10.00			109.98			2501.57			2499.91			2500.14									1.67			0.00			5.55			5.69			56.84			0.00			0.00			0.00			439.61


			272792.59			1221733.41			10.00			119.98			2501.40			2499.88			2500.11									1.53			0.00			4.66			5.10			51.02			0.00			0.00			0.00			490.63


			272798.31			1221725.21			10.00			129.97			2501.23			2499.84			2500.07									1.39			0.00			3.86			4.26			42.59			0.00			0.00			0.00			533.21


			272803.20			1221716.49			10.00			139.97			2501.16			2499.81			2500.04						300.00			1.35			0.00			3.65			3.76			37.56			0.00			0.00			0.00			570.78


			272807.57			1221707.50			10.00			149.97			2501.05			2499.78			2500.01									1.28			0.00			3.26			3.46			34.58			0.00			0.00			0.00			605.36


			272811.93			1221698.50			10.00			159.97			2500.87			2499.74			2499.97									1.13			0.00			2.54			2.90			29.04			0.00			0.00			0.00			634.39


			272816.30			1221689.50			10.00			169.97			2500.68			2499.71			2499.94									0.97			0.00			1.90			2.22			22.20			0.00			0.00			0.00			656.60


			272820.66			1221680.50			10.00			179.97			2500.67			2499.68			2499.91									1.00			0.00			2.00			1.95			19.47			0.00			0.00			0.00			676.07


			272825.02			1221671.51			10.00			189.97			2500.71			2499.64			2499.87									1.07			0.00			2.28			2.14			21.38			0.00			0.00			0.00			697.45


			272829.39			1221662.51			10.00			199.97			2500.75			2499.61			2499.84									1.14			0.00			2.58			2.43			24.32			0.00			0.00			0.00			721.77


			272833.75			1221653.51			10.00			209.97			2500.71			2499.58			2499.81									1.14			0.00			2.59			2.58			25.85			0.00			0.00			0.00			747.62


			272837.66			1221644.31			10.00			219.96			2500.67			2499.54			2499.77									1.13			0.00			2.56			2.57			25.70			0.00			0.00			0.00			773.32


			272840.67			1221634.78			10.00			229.96			2500.69			2499.51			2499.74									1.18			0.00			2.81			2.68			26.80			0.00			0.00			0.00			800.13


			272843.43			1221625.17			10.00			239.96			2500.74			2499.48			2499.71									1.27			0.00			3.22			3.01			30.11			0.00			0.00			0.00			830.24


			272846.20			1221615.56			10.00			249.96			2500.64			2499.44			2499.67									1.20			0.00			2.87			3.04			30.42			0.00			0.00			0.00			860.66


			272848.96			1221605.95			10.00			259.96			2500.49			2499.41			2499.64									1.08			0.00			2.33			2.60			26.00			0.00			0.00			0.00			886.66


			272851.72			1221596.33			10.00			269.96			2500.20			2499.38			2499.61									0.82			0.00			1.36			1.85			18.46			0.00			0.00			0.00			905.12


			272854.51			1221586.73			10.00			279.96			2499.89			2499.34			2499.57									0.55			0.00			0.60			0.98			9.81			0.00			0.00			0.00			914.93


			272857.96			1221577.35			10.00			289.96			2499.58			2499.31			2499.54									0.27			0.00			0.14			0.37			3.72			0.00			0.00			0.00			918.65


			272862.32			1221568.36			10.00			299.95			2499.36			2499.28			2499.51									0.08			0.15			0.01			0.08			0.78			0.21			0.11			1.07			919.43


			272867.54			1221559.83			10.00			309.95			2499.42			2499.24			2499.47									0.18			0.05			0.06			0.04			0.38			0.07			0.14			1.43			919.80


			272873.57			1221551.86			10.00			319.95			2499.70			2499.21			2499.44									0.49			0.00			0.48			0.27			2.72			0.00			0.04			0.36			922.52


			272880.36			1221544.52			10.00			329.94			2500.00			2499.18			2499.41									0.83			0.00			1.38			0.93			9.29			0.00			0.00			0.00			931.81


			272887.56			1221537.58			10.00			339.94			2500.14			2499.14			2499.37									0.99			0.00			1.98			1.68			16.76			0.00			0.00			0.00			948.57


			272894.77			1221530.65			10.00			349.94			2500.00			2499.11			2499.34									0.89			0.00			1.59			1.78			17.82			0.00			0.00			0.00			966.39


			272901.98			1221523.72			10.00			359.94			2499.93			2499.08			2499.31									0.85			0.00			1.45			1.52			15.21			0.00			0.00			0.00			981.60


			272909.19			1221516.79			10.00			369.94			2499.72			2499.04			2499.27									0.68			0.00			0.92			1.19			11.90			0.00			0.00			0.00			993.50


			272916.39			1221509.86			10.00			379.94			2499.61			2499.01			2499.24									0.60			0.00			0.72			0.82			8.25			0.00			0.00			0.00			1001.75


			272923.60			1221502.93			10.00			389.94			2499.39			2498.98			2499.21									0.42			0.00			0.35			0.54			5.37			0.00			0.00			0.00			1007.11


			272930.81			1221496.00			10.00			399.94			2499.29			2498.94			2499.17									0.35			0.00			0.25			0.30			2.98			0.00			0.00			0.00			1010.09


			272938.02			1221489.07			10.00			409.94			2499.13			2498.91			2499.14									0.22			0.01			0.10			0.17			1.73			0.01			0.01			0.05			1011.82


			272945.23			1221482.14			10.00			419.94			2499.22			2498.88			2499.11									0.35			0.00			0.24			0.17			1.71			0.00			0.01			0.05			1013.53


			272952.44			1221475.20			10.00			429.94			2499.32			2498.84			2499.07						300			0.48			0.00			0.45			0.35			3.48			0.00			0.00			0.00			1017.01


																														43.83			0.21			103.50			101.72			1017.01			0.30			0.30			2.97			29271.26








TC 1-1-2 PROFILE OF G3


			chainage


			OGL


			CBL


			embankment level


			depth of cut, m


			depth of fill


			drop


			slope


			0.00			2501.52			2500.28			2500.51			1.25			0.00			0.00			300.00


			10.00			2501.55			2500.24			2500.47			1.30			0.00			0.00


			20.00			2501.57			2500.21			2500.44			1.36			0.00			0.00


			30.00			2501.54			2500.17			2500.40			1.36			0.00			0.00


			40.00			2501.45			2500.14			2500.37			1.31			0.00			0.00


			50.00			2501.37			2500.11			2500.34			1.26			0.00			0.00


			60.00			2501.37			2500.07			2500.30			1.29			0.00			0.00


			70.00			2501.41			2500.04			2500.27			1.37			0.00			0.00


			79.99			2501.48			2500.01			2500.24			1.47			0.00			0.00


			89.99			2501.55			2499.98			2500.21			1.58			0.00			0.00


			99.98			2501.65			2499.94			2500.17			1.71			0.00			0.00


			109.98			2501.57			2499.91			2500.14			1.67			0.00			0.00


			119.98			2501.40			2499.88			2500.11			1.53			0.00			0.00


			129.97			2501.23			2499.84			2500.07			1.39			0.00			0.00


			139.97			2501.16			2499.81			2500.04			1.35			0.00			0.00			300.00


			149.97			2501.05			2499.78			2500.01			1.28			0.00			0.00


			159.97			2500.87			2499.74			2499.97			1.13			0.00			0.00


			169.97			2500.68			2499.71			2499.94			0.97			0.00			0.00


			179.97			2500.67			2499.68			2499.91			1.00			0.00			0.00


			189.97			2500.71			2499.64			2499.87			1.07			0.00			0.00


			199.97			2500.75			2499.61			2499.84			1.14			0.00			0.00


			209.97			2500.71			2499.58			2499.81			1.14			0.00			0.00


			219.96			2500.67			2499.54			2499.77			1.13			0.00			0.00


			229.96			2500.69			2499.51			2499.74			1.18			0.00			0.00


			239.96			2500.74			2499.48			2499.71			1.27			0.00			0.00


			249.96			2500.64			2499.44			2499.67			1.20			0.00			0.00


			259.96			2500.49			2499.41			2499.64			1.08			0.00			0.00


			269.96			2500.20			2499.38			2499.61			0.82			0.00			0.00


			279.96			2499.89			2499.34			2499.57			0.55			0.00			0.00


			289.96			2499.58			2499.31			2499.54			0.27			0.00			0.00


			299.95			2499.36			2499.28			2499.51			0.08			0.15			0.00


			309.95			2499.42			2499.24			2499.47			0.18			0.05			0.00


			319.95			2499.70			2499.21			2499.44			0.49			0.00			0.00


			329.94			2500.00			2499.18			2499.41			0.83			0.00			0.00


			339.94			2500.14			2499.14			2499.37			0.99			0.00			0.00


			349.94			2500.00			2499.11			2499.34			0.89			0.00			0.00


			359.94			2499.93			2499.08			2499.31			0.85			0.00			0.00


			369.94			2499.72			2499.04			2499.27			0.68			0.00			0.00


			379.94			2499.61			2499.01			2499.24			0.60			0.00			0.00


			389.94			2499.39			2498.98			2499.21			0.42			0.00			0.00


			399.94			2499.29			2498.94			2499.17			0.35			0.00			0.00


			409.94			2499.13			2498.91			2499.14			0.22			0.01			0.00


			419.94			2499.22			2498.88			2499.11			0.35			0.00			0.00


			429.94			2499.32			2498.84			2499.07			0.48			0.00			0.00			300.00

















TC 1-1-3 OF G3


			bed width			0.09


			Slope			125.00


			Initial CBL			2488.13


			Total depth			0.09


			Side slope of canal			1.00


			b/d ratio			1.00


			Side slope of Burm			1.00


			Insert top width of built burm for fill			0.00





			Northing			Easting			Partial Distance			Chenaige			Elevation			CBL			Bank level			drop			slope			CUT(m)			Fill(m)			Area of cut			Average Area of Cut			Volume of cut			Area of Fill			Average Area of Fill			Volume of Fill			cum.cut


			272769.1848			1222275.0653			0.00			0.0			2488.3825			2488.13			2488.22						125.00			0.25			0.00			0.13			0.00			0.00			0.00			0.00			0.00			0.00


			272769.9657			1222285.0348			10.0			10.0			2488.3066			2488.049999706			2488.14									0.26			0.00			0.13			0.13			1.30			0.00			0.00			0.00			1.30


			272770.7466			1222295.0042			10.0			20.0			2488.0858			2487.9700002095			2488.06									0.12			0.00			0.03			0.08			0.79			0.00			0.00			0.00			2.09


			272771.5275			1222304.9737			10.0			30.0			2487.865			2487.8899999155			2487.98									0.00			0.12			0.00			0.01			0.13			0.03			0.02			0.15			2.22


			272772.3084			1222314.9431			10.0			40.0			2487.607			2487.810000419			2487.90									0.00			0.30			0.00			0.00			0.00			0.15			0.09			0.92			2.22


			272773.0893			1222324.9126			10.0			50.0			2487.3115			2487.730000125			2487.82									0.00			0.51			0.00			0.00			0.00			0.39			0.27			2.72			2.22


												60.0			2487.3115			2487.03			2487.12			0.7			125			0.28			0.00			0.16			0.00			0.00			0.00			0.00			0.00			0.00


			272773.8702			1222334.8821			10.0			60.0			2486.9908			2486.949999706			2487.04									0.04			0.05			0.00			0.00			0.02			0.02			0.20			2.04			2.24


			272774.6511			1222344.8515			10.0			70.0			2486.67			2486.8700002095			2486.96									0.00			0.29			0.00			0.00			0.02			0.15			0.08			0.85			2.26


			272775.432			1222354.821			10.0			80.0			2486.6455			2486.7899999155			2486.88									0.00			0.24			0.00			0.00			0.00			0.11			0.13			1.29			2.26


			272776.2129			1222364.7905			10.0			90.0			2486.6735			2486.7099996215			2486.80									0.00			0.13			0.00			0.00			0.00			0.04			0.07			0.71			2.26


			272776.9938			1222374.7599			10.0			100.0			2486.7009			2486.630000125			2486.72									0.07			0.02			0.01			0.01			0.05			0.01			0.02			0.22			2.31


			272777.7747			1222384.7294			10.0			110.0			2486.7282			2486.549999831			2486.64									0.18			0.00			0.06			0.04			0.37			0.00			0.00			0.04			2.67


			272778.5556			1222394.6989			10.0			120.0			2486.6035			2486.469999537			2486.56									0.13			0.00			0.04			0.05			0.50			0.00			0.00			0.00			3.17


			272779.3365			1222404.6683			10.0			130.0			2486.3005			2486.3900000405			2486.48									0.00			0.18			0.00			0.02			0.18			0.07			0.03			0.34			3.35


			272780.1174			1222414.6378			10.0			140.0			2485.9768			2486.3099997465			2486.40									0.00			0.43			0.00			0.00			0.00			0.29			0.18			1.77			3.35


									10.0			150.0			2485.9768			2485.56			2485.65			0.75						0.42			0.00			0.35			0.00			0.00			0.00			0.00			0.00			0.00


			272780.8983			1222424.6072			10.0			150.0			2485.653			2485.4800005035			2485.57									0.17			0.00			0.06			0.03			0.30			0.00			0.14			1.43			3.65


			272781.6792			1222434.5767			10.0			160.0			2485.3291			2485.4000002095			2485.49									0.00			0.16			0.00			0.03			0.30			0.06			0.03			0.28			3.95


			272782.4601			1222444.5462			10.0			170.0			2485.001			2485.3199999155			2485.41									0.00			0.41			0.00			0.00			0.00			0.27			0.16			1.63			3.95


			272783.241			1222454.5156			10.0			180.0			2484.6729			2485.240000419			2485.33									0.00			0.66			0.00			0.00			0.00			0.61			0.44			4.38			3.95


												190.0			2484.6729			2484.31			2484.40			0.75						0.36			0.00			0.26			0.00			0.00			0.00			0.00			0.00			0.00


			272784.0219			1222464.4851			10.0			200.0			2484.3761			2484.1099992649			2484.20									0.27			0.00			0.14			0.07			0.71			0.00			0.30			3.03			4.65


			272784.8028			1222474.4546			10.0			210.0			2484.0814			2483.9099985299			2484.00									0.17			0.00			0.06			0.10			1.00			0.00			0.00			0.00			5.66


			272785.5837			1222484.424			10.0			220.0			2483.8076			2483.7099997887			2483.80									0.10			0.00			0.02			0.04			0.39			0.00			0.00			0.00			6.05


			272786.3646			1222494.3935			10.0			230.0			2483.5216			2483.5099990537			2483.60									0.01			0.08			0.00			0.01			0.10			0.03			0.02			0.15			6.14


												230.0			2483.5216			2483.5099990537			2483.60									0.01			0.08			0.00			0.00			0.00			0.00			0.00			0.00			0.00


			272787.3764			1222504.3412			10.0			240.0			2482.9881			2483.3100185801			2483.40									0.00			0.42			0.00			0.00			0.00			0.27			0.15			1.51			6.14


									0.0			240.0			2482.9881			2482.81			2482.90			0.50			50.00			0.18			0.00			0.06			0.00			0.00			0.00			0.00			0.00			0.00


			272788.598			1222514.2663			10.0			250.0			2482.6559			2482.6100000834			2482.70									0.05			0.05			0.00			0.00			0.02			0.02			0.14			1.44			6.16


			272789.8196			1222524.1914			10.0			260.0			2482.4505			2482.4100001669			2482.50									0.04			0.05			0.00			0.00			0.04			0.02			0.02			0.17			6.20


			272791.0412			1222534.1165			10.0			270.0			2482.2563			2482.2100002503			2482.30									0.05			0.05			0.00			0.00			0.04			0.02			0.02			0.17			6.24


			272792.2628			1222544.0416			10.0			280.0			2482.0708			2482.0100003337			2482.10									0.06			0.03			0.01			0.01			0.06			0.01			0.01			0.13			6.30


			272793.4844			1222553.9667			10.0			290.0			2481.9322			2481.8100004172			2481.90									0.12			0.00			0.03			0.02			0.19			0.00			0.01			0.05			6.48


			272794.706			1222563.8918			10.0			300.0			2481.8398			2481.6100005006			2481.70									0.23			0.00			0.11			0.07			0.68			0.00			0.00			0.00			7.16


			272795.9277			1222573.8169			10.0			310.0			2481.7157			2481.4100003397			2481.50									0.31			0.00			0.19			0.15			1.46			0.00			0.00			0.00			8.62


			272796.7764			1222583.7764			10.0			320.0			2481.5156			2481.2100884271			2481.30									0.31			0.00			0.19			0.19			1.87			0.00			0.00			0.00			10.49


			272796.5248			1222593.768			10.0			330.0			2481.2624			2481.0101930814			2481.10									0.25			0.00			0.13			0.16			1.57			0.00			0.00			0.00			12.06


																														4.43			4.28			2.17			1.21			12.06			2.54			2.54			25.40			147.76










































































tc 1-1-3 profile of g3


			chainage


			OGL


			CBL


			embankment level


			depth of cut, m


			depth of fill


			drop


			slope


			0.00			2488.38			2488.13			2488.22			0.25			0.00						125.00


			10.00			2488.31			2488.05			2488.14			0.26			0.00


			20.00			2488.09			2487.97			2488.06			0.12			0.00


			30.00			2487.87			2487.89			2487.98			0.00			0.12


			40.00			2487.61			2487.81			2487.90			0.00			0.30


			50.00			2487.31			2487.73			2487.82			0.00			0.51


			60.00			2487.31			2487.03												0.70			125.00


			60.00			2486.99			2486.95			2487.04			0.04			0.05


			70.00			2486.67			2486.87			2486.96			0.00			0.29


			80.00			2486.65			2486.79			2486.88			0.00			0.24


			90.00			2486.67			2486.71			2486.80			0.00			0.13


			100.00			2486.70			2486.63			2486.72			0.07			0.02


			110.00			2486.73			2486.55			2486.64			0.18			0.00


			120.00			2486.60			2486.47			2486.56			0.13			0.00


			130.00			2486.30			2486.39			2486.48			0.00			0.18


			140.00			2485.98			2486.31			2486.40			0.00			0.43


			150.00			2485.98			2485.56												0.75


			150.00			2485.65			2485.48			2485.57			0.17			0.00


			160.00			2485.33			2485.40			2485.49			0.00			0.16


			170.00			2485.00			2485.32			2485.41			0.00			0.41


			180.00			2484.67			2485.24			2485.33			0.00			0.66


			190.00			2484.67			2484.31												0.75


			200.00			2484.38			2484.11			2484.20			0.27			0.00


			210.00			2484.08			2483.91			2484.00			0.17			0.00


			220.00			2483.81			2483.71			2483.80			0.10			0.00


			230.00			2483.52			2483.51			2483.60			0.01			0.08


			230.00			2483.52			2483.51												1.00


			240.00			2482.99			2483.31			2483.40			0.00			0.42


			240.00			2482.99			2482.81												0.50			50.00


			250.00			2482.66			2482.61			2482.70			0.05			0.05


			260.00			2482.45			2482.41			2482.50			0.04			0.05


			270.00			2482.26			2482.21			2482.30			0.05			0.05


			280.00			2482.07			2482.01			2482.10			0.06			0.03


			290.00			2481.93			2481.81			2481.90			0.12			0.00


			300.00			2481.84			2481.61			2481.70			0.23			0.00


			310.00			2481.72			2481.41			2481.50			0.31			0.00


			319.99			2481.52			2481.21			2481.30			0.31			0.00


			329.99			2481.26			2481.01			2481.10			0.25			0.00








TC 1-1-4 OF G3


			bed width			0.13						chainage


			Slope			200.00						OGL


			Initial CBL			2488.13						CBL


			Total depth			0.13


			Side slope of canal			1.00


			b/d ratio			1.00


			Side slope of Burm			1.00


			Insert top width of built burm for fill			0.30





			Northing			Easting			Partial Distance			Chainage			Elevation			CBL			Bank level			drop			slope			CUT(m)			Fill(m)			Area of cut			Average Area of Cut			Volume of cut			Area of Fill			Average Area of Fill			Volume of Fill


			272778.4986			1222271.4249			0.00			0.00			2488.7308			2488.13			2488.26						300.00			0.60			0.00			0.72			0.00			0.00			0.00			0.00			0.00


			272787.8125			1222267.7845			10.0			10.0			2489.165			2488.0799996887			2488.20									1.09			0.00			2.35			1.54			15.38			0.00			0.00			0.00


			272797.1263			1222264.1441			10.0			20.0			2489.3906			2488.029999843			2488.15									1.36			0.00			3.70			3.03			30.28			0.00			0.00			0.00


			272806.4401			1222260.5037			10.0			30.0			2489.3174			2487.979999843			2488.10									1.34			0.00			3.58			3.64			36.40			0.00			0.00			0.00


			272815.754			1222256.8632			10.0			40.0			2489.1466			2487.929999843			2488.05									1.22			0.00			2.96			3.27			32.69			0.00			0.00			0.00


			272825.0527			1222253.1849			10.0			50.0			2488.7209			2487.879999843			2488.00									0.84			0.00			1.41			2.19			21.87			0.00			0.00			0.00


			272834.219			1222249.1883			10.0			60.0			2488.2273			2487.8300013762			2487.96									0.40			0.00			0.32			0.86			8.65			0.00			0.00			0.00


			272843.3619			1222245.1377			10.0			70.0			2487.7343			2487.780001381			2487.91									0.00			0.17			0.00			0.16			1.58			0.16			0.08			0.82


												70.0			2487.7343			2487.03			2487.16			0.75			100			0.70			0.00			0.99			0.50			0.00			0.00			0.08			0.00


			272852.5048			1222241.0871			10.0			80.0			2487.3751			2486.93			2487.06									0.45			0.00			0.40			0.20			1.98			0.00			0.08			0.82


			272861.6477			1222237.0365			10.0			90.0			2487.0439			2486.8300000096			2486.96									0.21			0.00			0.09			0.24			2.44			0.00			0.00			0.00


			272870.7906			1222232.9859			10.0			100.0			2486.8038			2486.7300000192			2486.86									0.07			0.05			0.01			0.05			0.51			0.05			0.03			0.26


			272879.9335			1222228.9353			10.0			110.0			2486.6353			2486.6300000192			2486.76									0.01			0.12			0.00			0.01			0.05			0.13			0.09			0.92


			272889.0764			1222224.8848			10.0			120.0			2486.5899			2486.5300004339			2486.66									0.06			0.07			0.01			0.00			0.04			0.07			0.10			0.99


			272898.2193			1222220.8342			10.0			130.0			2486.5757			2486.4300004435			2486.56									0.15			0.00			0.04			0.02			0.25			0.00			0.03			0.34


																																										152.12








TC 1-1-4 PROFILE OF G3


			chainage


			OGL


			CBL


			embankment level


			depth of cut, m


			depth of fill


			drop


			slope


			0.00			2488.73			2488.13			2488.26			0.60			0.00						300.00


			10.00			2489.17			2488.08			2488.20			1.09			0.00


			20.00			2489.39			2488.03			2488.15			1.36			0.00


			30.00			2489.32			2487.98			2488.10			1.34			0.00


			40.00			2489.15			2487.93			2488.05			1.22			0.00


			50.00			2488.72			2487.88			2488.00			0.84			0.00


			60.00			2488.23			2487.83			2487.96			0.40			0.00


			70.00			2487.73			2487.78			2487.91			0.00			0.17


			70.00			2487.73			2487.03												0.75			100.00


			80.00			2487.38			2486.93			2487.06			0.45			0.00


			90.00			2487.04			2486.83			2486.96			0.21			0.00


			100.00			2486.80			2486.73			2486.86			0.07			0.05


			110.00			2486.64			2486.63			2486.76			0.01			0.12


			120.00			2486.59			2486.53			2486.66			0.06			0.07


			130.00			2486.58			2486.43			2486.56			0.15			0.00








TC 1-1-5


			bed width			0.13						chainage


			Slope			300.00						OGL


			Initial CBL			2474.92						CBL


			Total depth			0.13


			Side slope of canal			1.00


			b/d ratio			1.00


			Side slope of Burm			1.00


			Insert top width of built burm for fill			0.00





			Northing			Easting			Partial Distance			Chainage			Elevation			CBL			Bank level			drop			slope			CUT(m)			Fill(m)			Area of cut			Average Area of Cut			Volume of cut			Area of Fill			Average Area of Fill			Volume of Fill			cum.cut


			272585.1557			1222861.036			0.00			0.00			2475.2928			2474.92			2475.05			0.00			300.00			0.37			0.00			0.28			0.00			0.00			0.00			0.00			0.00			0.00


			272578.0245			1222854.0256			10			10			2475.4665			2474.8866667131			2475.01									0.58			0.00			0.67			0.48			4.75			0.00			0.00			0.00			4.75


			272570.8932			1222847.0152			10			20			2475.5088			2474.8533331884			2474.98									0.66			0.00			0.86			0.77			7.66			0.00			0.00			0.00			12.41


			272563.762			1222840.0049			10			30			2475.737			2474.8200001352			2474.95									0.92			0.00			1.68			1.27			12.71			0.00			0.00			0.00			25.12


			272556.6307			1222832.9945			10			30			2475.1036			2474.7866666105			2474.91									0.32			0.00			0.20			0.94			9.41			0.00			0.00			0.00			34.53


			272549.4994			1222825.9841			10			40			2474.596			2474.7533330859			2474.88						125.00			0.00			0.28			0.00			0.10			1.00			0.15			0.08			0.77			35.53


												40			2474.596			2473.753			2473.88			1.00						0.84			0.00			1.42			0.71			0.00			0.00			0.08			0.00			35.53


			272542.3682			1222818.9738			10			50			2474.1278			2473.6730006722			2473.80									0.45			0.00			0.41			0.21			2.07			0.00			0.08			0.77			37.60


			272535.2369			1222811.9634			10			60			2473.8639			2473.593000213			2473.72									0.27			0.00			0.15			0.28			2.80			0.00			0.00			0.00			40.40


			272528.1057			1222804.9531			10			70			2473.6045			2473.5130008852			2473.64									0.09			0.03			0.02			0.08			0.82			0.01			0.01			0.07			41.22


			272520.9744			1222797.9427			10			80			2473.2738			2473.4330004261			2473.56									0.00			0.28			0.00			0.01			0.08			0.16			0.08			0.85			41.31


			272513.8431			1222790.9323			10			90			2472.9431			2473.352999967			2473.48									0.00			0.53			0.00			0.00			0.00			0.46			0.31			3.06			41.31


																																										41.31











TC 1-1-5 PROFILE OF G3


			chainage


			OGL


			CBL


			embankment level


			depth of cut, m


			depth of fill


			drop


			slope


			0.00			2475.29			2474.92			2475.05			0.37			0.00			0.00			300.00


			10.00			2475.47			2474.89			2475.01			0.58			0.00


			20.00			2475.51			2474.85			2474.98			0.66			0.00


			30.00			2475.74			2474.82			2474.95			0.92			0.00


			30.00			2475.10			2474.79			2474.91			0.32			0.00


			40.00			2474.60			2474.75			2474.88			0.00			0.28			1.00			125.00


			40.00			2474.60			2473.75


			50.00			2474.13			2473.67			2473.80			0.45			0.00


			60.00			2473.86			2473.59			2473.72			0.27			0.00


			70.00			2473.60			2473.51			2473.64			0.09			0.03


			80.00			2473.27			2473.43			2473.56			0.00			0.28


			90.00			2472.94			2473.35			2473.48			0.00			0.53














GUDERDROP


						E. Vertical Drop (U.S.B.R. Type)


						Project ____________________


						Canal: ____________________


						Station: ___________________


						PARAMETERS			SYBOLS			UNITS			FORMULAS			SC(60,100,130,160,190,230,260,300,440,540,670,730,830,880,910,1500,16101650)			VALUES


						CHAINAGE 															TC-1-1-3(60,150,190,240)			TC1-1-4(70)			TC-1-1-5(40)			TC1-1-6(30)


						CRITICAL FLOW HYDRAULICS


						Design  discharge			Q			m3/s						0.085			0.02			0.015			0.015			0.015


						incoming canal depth 			d1			m						0.50			0.289			0.275			0.275			0.275


						drop top eleveatoin			EL.A			m 						- 0


						drop bottom elevation excluding lip height			EL.B			m 						- 0


						drop height 			h			m						1			0.75			0.75			1			0.5			for < 2m3/s


						width of the drop 			bc			m						0.18			0.09			0.08			0.08			0.08


						Unit discharge 			q			m3/s/m						0.48			0.21			0.20			0.20			0.20


						Critical depth 			dc			m						0.29			0.17			0.16			0.16			0.16


						STILLING BASIN


						Lip height 			a			m						0.14			0.08			0.08			0.08			0.08			must be > 0.15m


						basin width 			B 			m						0.54			0.26			0.23			0.23			0.23			must be >bc


						Basin Length 			L			m						1.52			0.97			0.94			1.06			0.81


						protection of upstream/d/s  canal (pitch)			P 			m						1.64			1.41			1.38			1.38			1.38





						BED WIDTH OF THE CANAL 			b			m						0.500			0.350			0.300			0.300			0.300





						PARAMETERS			SYBOLS			UNITS			VALUES			VALUES





						CRITICAL FLOW HYDRAULICS												SC(60,100,130,160,190,230,260,300,440,540,670,730,830,880,910,1500,16101650)			TC-1-1-3(60,150,190,240)			TC1-1-4(70)			TC-1-1-5(40)			TC1-1-6(30)


						Design  discharge			Q			m3/s						0.09			0.02			0.02			0.02			0.02


						incoming canal depth 			d1			m						0.50			0.29			0.28			0.28			0.28


						drop top eleveatoin			EL.A			m 						- 0			- 0			- 0			- 0			- 0


						drop bottom elevation excluding lip height			EL.B			m 						- 0			- 0			- 0			- 0			- 0


						drop height 			h			m						1.00			0.75			0.75			1.00			0.50


						width of the drop 			bc			m						0.18			0.09			0.08			0.08			0.08


						Unit discharge 			q			m3/s/m						0.48			0.21			0.20			0.20			0.20


						Critical depth 			dc			m						0.29			0.17			0.16			0.16			0.16


						STILLING BASIN


						Lip height 			a			m						0.14			0.08			0.08			0.08			0.08


						basin width 			B 			m						0.90			0.65			0.60			0.60			0.60


						Basin Length 			L			m						1.50			1.40			1.30			1.20			1.20


						protection of upstream/d/s  canal (pitch)			P 			m						1.50			1.41			1.50			1.50			1.50


						NUMBER OF DROPS 												18.00			1.00			1.00			1.00			1.00


															BOQ OF THE DROPS 


															cost of one drop			SC			TC-1-1-3			TC-1-1-4			TC-1-1-5			tc1-1-6


															thickness masonry, t			0.35			0.35			0.35			0.35			0.35


															masonary volume m3			1.97			1.43			1.34			1.48			1.03


															plastering m2			8.17			5.83			5.36			5.80			4.30


															excavation soil			1.10			2.10			3.10			4.10			5.10


															NUMBER OF DROPS			18.00			1.00			1.00			1.00			1.00


															total mason volume			35.49			1.43			1.34			1.48			1.03


															total area plaster			147.06			5.83			5.36			5.80			4.30


															total soil excv.			19.80			2.10			3.10			4.10			5.10


															dry picht for lower only			4.73			0.17			0.16			0.16			0.16


																					69.13


																					61.38744











DROP


						Vertical Drop Design / UsBR type


			Design Parameters;


						d=Full supply depth of the canal


						V=Velocity through the canal


						b=bed width of the canal


						L=Length of the stilling basin


						h=height of drop


						B=Stilling basin width


						a=Sill height>=15cm


						bc=Critical flow - width of notch>=0.3


						dc=Critical depth, 


						L1=U/S protection


						L2= D/s protection


						b1=top width of drop wall =0.4m


						t=Thickness of the stilling basin=0.4m





			where;


						He= d+v2/2g


						L=[2.5+1.1dc/h+07(dc/h)3]√(hdc)


						B = 18.46* (Q) 1/2/ (9.91+Q)


						a= 0.5 (Heh)1/2 = 0.5 (d+v2/2gh)1/2 >=0.15m 


						bc= 0.734*Q/d 3/2  >=0.3m


						q= Q/bc																											Q1=1.71*L1*H1^3/2 


						dc= (q2/g) 1/3 																											H=			(Q/(1.71*B))2/3


						L1=L2= 1.2+3/2Q 1/2 


						b1=0.55√d Where d=crest level – d/s canal bed level                       (for drops of non crested type, d=h= drop height)  


															From experience point of view take top width 0.4m





						B1=(He+h ) /G  (Bligh's formula): G=2.1 for massonry


						                                 He=d1+v2/2g           


						If the bc is too small use drop having a crest





						Insert G of massonry									2.1


			Hydrualic Parameters of Drop structures  


			Drops On			Chainage			Q  (m3/s)			V   (m/s)			 b    (m)			H    (m)			 d     (m)			 h  (m)			b1  (m)			q (m3/s/m)			dc  (m)			L (m)			B (m)			t(m)			tf(m)			a(m)			bc (m)			 L1/Lup (m)			 L2/Ldp (m)			Remark


																								(m)


			TC_1			0+50, 0+70, 0+100, 0+130, 0+190			0.030			0.66			0.30			0.17			0.15			1.00			0.40			0.10			0.10			0.82			0.32			0.40			0.30			0.2			0.3			1.46			1.46			With division box


			TC_2			0+0, 0+20, 0+30, 0+70, 0+120			0.030			0.66			0.30			0.27			0.25			1.00			0.40			0.10			0.10			0.83			0.32			0.40			0.30			0.3			0.3			1.46			1.46			With division box


			TC_3			0+0, 0+140,0+230			0.030			0.66			0.30			0.27			0.25			1.00			0.40			0.10			0.10			0.83			0.32			0.40			0.30			0.3			0.3			1.46			1.46			With division box


			TC_4			0+0,0+10,0+40,0+60,0+90,0+130,0+160,0+320,0+350,0+390,0+450			0.030			0.66			0.30			0.27			0.25			1.00			0.40			0.10			0.10			0.83			0.32			0.40			0.30			0.3			0.3			1.46			1.46			Without division box








			Drop structures  Quantity


			Drops			Masonry												Plastering									Lean Concrete			Stone Pitching						excavation


						V			H			No			Vol. (m3)			V			H			A (m2)			A (m2)			Asp			Vol. (m3)																																	1.2199074074			646.5509259259





			D1			0.11			0.67			5			3.87			2.03			0.26			11.49			1.82			0.54			7.88			20.9178793252


			D2			0.11			0.68			5			3.93			2.07			0.27			11.66			1.83			0.66			9.63			22.3150269263


			D3			0.11			0.68			3			2.36			2.07			0.27			7.00			1.83			0.66			5.78			13.3890161558


			D4			0.11			0.68			12			9.43			2.07			0.27			27.99			1.83			0.66			23.12			53.5560646232


			Sub total												19.58									58.13			7.30						46.42			110.1779870305


			Total quantity=									0.00			19.58									58.13			7.30						46.42			110.18





			  Vertical=(dropwidth*drop height*stilling basin width)+((a+t)*t*stilling basin width)+(0.5*2*(drop height + t)*L*t)








						canals			chainage			design discharge,m3/s			drop H, height,m			drop Bc			unit discharge,m3/s/m			critical depth,m			leap height, a, m			stilling basin length, L			stilling Basin width, B			Ldpitch


						TC_1			0+50, 0+70, 0+100, 0+130, 0+190			0.030			1.00			0.3			0.10			0.10			0.2			0.82			0.32			1.46


						TC_2			0+0, 0+20, 0+30, 0+70, 0+120			0.030			1.00			0.3			0.10			0.10			0.3			0.83			0.32			1.46


						TC_3			0+0, 0+140,0+230			0.030			1.00			0.3			0.10			0.10			0.3			0.83			0.32			1.46


						TC_4			0+0,0+10,0+40,0+60,0+90,0+130,0+160,0+320,0+350,0+390,0+450			0.030			1.00			0.3			0.10			0.10			0.3			0.83			0.32			1.46








tc_fcturnout


						Dividing Canal Name			Chainage			CBL			ON GOING, Q0 (lit/sec)			OUTGOING, Q1  (lit/sec)       			TC FLOW, Q2  (lit/sec)       			parent canal bed width Bo			parent canal depth,Do			TCs bed width Bc			width of the basin ,B=Bo+0.40			Length of the basin ,L=Bc+0.41			depth  of the basin ,D=Do








						SC


						TC-1-1-1			0+5			2500.28			85			65.0			20.00			0.40			0.50			0.35			0.80			0.75			0.50


						TC-1-1-2			0+5			2500.28			65			45.0			20.00			0.40			0.50			0.30			0.80			0.70			0.50


						TC-1-1-3			0+170			2495.60			45			25.0			20.00			0.35			0.40			0.30			0.75			0.70			0.40


						TC-1-1-4			0+170			2495.60			25			10.0			15.00			0.35			0.40			0.30			0.75			0.75			0.75


						TC-1-1-5			0+500			2488.13			10.00			0.00			15.00			0.35			0.40			0.30			0.75			0.70			0.40


						TC-1-1-6			0+500			2488.13			0.00			0.00			15.00			0.35			0.40			0.30			0.75			0.70			0.40


						TC 1-1-7			0+1170			2474.92			0.00			0.00			15.00			0.35			0.40			0.30			0.75			0.70			0.40


						TC 1-1-8			0+1170			2474.92			0.00			0.00			15.00			0.35			0.40			0.30			0.75			0.70			0.40





						COSTS OF one DIVISION BOX 			SYMBOL			UNIT			VALUE


						ADDITIONAL INPUT DATA									FOR ONE SEDED DIV.BOX			FOR TWOSIDED  DIV.BOX


						thickness of masonry, t			t			m			0.35			0.35


						lip height for basin			a			m			0.1			0.1


						excavation vol.added 			ve			m3			0.55825			1.1165


						masonary vol			vm			m3			0.49875			0.9975


						plastering vol			va			m2			1.425			2.85


						dry pitch vol			vp			m3			0.42			0.84


						Number of Divission Box			No						3			20


						excavation vol.added 			ve			m3			3.55825			22.33


						masonary vol			vm			m3			3.49875			19.95


						plastering vol			va			m2			4.425			57


						dry pitch vol			vp			m3			3.42			16.8











MC_TCTURNOUT


						Hydraulic and related parameters for Division box


						L=Length of throat


						B=Width of Division Box


						D=Depth of Division Box


						Bo=Width of the incoming canal


						H0=Depth of the incoming canal


						Lo=Q0/(C*H03/2)


						L0/L1=Q0/Q1


						L1=L0*(Q1/Q0)


						L2=L0*(Q2/Q0)


						L3=L0*(Q3/Q0)


						B=B0+(2*m*H1)


						L1=L2= 1.2+3/2Q 1/2 


						H0=(Q0/(C*L0))^(2/3)








						Thickness of Protection						tp			m			0.3


						Thickness of Wall						tw			m			0.3


						Thickness of support						tf			m			0.3


						Depth of Support						ds			m			0.4


															 Hydrualic parameters of division box


						Dividing Canal Name			Chainage			ON GOING, Q0 (lit/sec)			OUTGOING, Q1  (lit/sec)       			TC FLOW, Q2  (lit/sec)       			Q3  (lit/sec)			B0  (m)            			D0 (m)			H0 (m)			D= (D0+FB)  (m)			B (m)			L  (m)			L1 (m)			L2 (m)			L3 (m)			D1 (m)			B1  (m)			D2 (m)			B2 (m)			D3 (m)			B3 (m)			Lp2 (m)			Lp3 (m)


																																																																																																																								PLASTER





						TC_1			0+260			146			116.0			30.0			0.0			0.50			0.09			0.31			0.29			0.68			0.50			0.50			0.34			0.00			0.22			0.50			0.14			0.34			0.00			0.00			0.76			0.00


						TC_2			0+780			116			86.0			30.0			0.0			0.50			0.22			0.27			0.42			0.93			0.50			0.50			0.16			0.00			0.20			0.50			0.23			0.16			0.00			0.00			0.76			0.00						0.0976089644			0.0367966613			0			0.469			ERROR:#REF!						0.39			0.558772214			ERROR:#REF!


						TC_3			1+300			86			56.0			30.0			0.0			0.50			0.20			0.22			0.40			0.89			0.50			0.50			0.17			0.00			0.25			0.50			0.25			0.14			0.00			0.00			0.76			0.00						0.124660156			0.0352941176			0			0.485			0.3683949598


						TC_4			1+680			56			26.0			30.0			0.0			0.50			0.25			0.16			0.45			1.00			0.50			0.50			0.27			0.00			0.25			0.50			0.25			0.14			0.00			0.00			0.76			0.00						0.125			0.0352941176			0			0.485			0.3683949598


																								0.50			0.25








																																																																																										T			A


						Division Box Quantity


						Dividing Canal Name			Masonry												Plastering						Stone pitching									NO GATES																																										ERROR:#REF!			ERROR:#REF!			ERROR:#REF!			ERROR:#REF!			ERROR:#REF!			ERROR:#REF!


									Amas			Vmas			Vol. of gate opening			NET Vol.(m3)						Area (m2)			ASP2			ASP3			Vol.  (m3)																																													ERROR:#REF!			ERROR:#REF!			ERROR:#REF!						ERROR:#REF!			ERROR:#REF!


						TC_1			1.18			0.49			0.09			0.40			1.18			1.77			0.63			0.32			0.48			1


						TC_2			1.48			0.88			0.10			0.77			1.48			2.31			0.71			0.32			0.54			1


						TC_3			1.43			0.80			0.11			0.69			1.43			2.22			0.73			0.32			0.56			1


						TC_4			1.56			1.00			0.12			0.87			1.56			2.35			0.73			0.32			0.56			1


																		2.74						8.65									2.13			4








						volume of excavation						topwexc															l/s			m3/day/12hr


												a1			11666.3									m3			200.00			8,640.00			17,280.00


												a2			14450.8									14,556.44


												d			6									174,677.22


															78,351.30						can be filled			20.2172708333


									fill and compacttion						4,170.83


						dividing canal			chainage			Tc dsichargre /l/s/			B,m			L			launching stone pitch


						TC_1			0+260			30.0			0.68			0.50			0.76


						TC_2			0+780			30.0			0.93			0.50			0.76


						TC_3			1+300			30.0			0.89			0.50			0.76


						TC_4			1+680			30.0			1.00			0.50			0.76

















BOQ


						S/no 			Item of work 			Unit 			Quantity 			Unit rate (et.birr)			Total cost


									B. Irrigation Infrastructure


						B1			Main Canal 1(MC_1)


						1.1			Excavation (soil)			m3			652.31			107.00			69,797.17


						1.2			clearing and grubing			m2			240.00			8.00			1,920.00


						1.3			Back fill			m3			360.00			189.00			68,040.00


						1.4			Masonry work			m3			491.22			1,597.00			784,478.34


						1.5			Plastering			m2			1,209.10			83.00			100,355.30


						B2			SC


						1.6			Excavation (soil)			m3			1,804.47			107.00			193,078.29


						1.7			clearing and grubing			m2			680.00			8.00			5,440.00


						1.8			Back fill			m3			1,020.00			189.00			192,780.00


						1.9			Masonry work			m3			749.72			1,597.00			1,197,302.84


						2.1			Plastering			m2			1,812.10			83.00			150,404.30


									Sub total 												2,763,596.24


						2			Tertiary canal –1-1(TC-1-1)												- 0


						2.1			clearing and grubing			m2			26.30			8.00			210.40


						2.2			ordinary soil Excavation			m3			1,010.84			107.00			108,159.88


						2.3			Fill			m3			49.61			189.00			9,376.29


						2.4			Masonry work			m3			514.50			1,950.00			1,003,275.00


						2.5			Plastering			m2			1,127.10			83.00			93,549.30


						2.6			Back fill			m3			246.10			189.00			46,512.90


									Sub total 												1,261,083.77


						3			Tertiary canal –1-2 (TC-1-2)												- 0


						3.1			clearing and grubing			m2			19.30			8.00			154.40


						3.2			ordinary soil Excavation			m3			1,611.01			107.00			172,378.07


						3.3			Fill			m3			154.50			189.00			29,200.50


									Sub total 												201,732.97


						4			Tertiary canal -1– 3 (TC-1-3)												- 0


						4.1			clearing and grubing			m2			15.60			8.00			124.80


						4.2			ordinary soil Excavation			m3			1,087.87			107.00			116,402.09


						4.3			Fill			m3			88.60			189.00			16,745.40


									Sub total 												133,272.29


						5			Tertiary canal-2 –1 (TC-2-1)												- 0


						5.1			clearing and grubing			m2			35.10			8.00			280.80


						5.2			ordinary soil Excavation			m3			671.80			107.00			71,882.60


						5.3			Fill			m3			68.20			189.00			12,889.80


									Sub total 												85,053.20


						6			Tertiary canal-2 –1 (TC-2-1)												- 0


						6.1			clearing and grubing			m2			38.90			8.00			311.20


						6.2			ordinary soil Excavation			m3			609.77			107.00			65,245.39


						6.3			Fill			m3			111.99			189.00			21,166.11


									Sub total 												86,722.70


						6			Drops (59 drops)												- 0


						6.1			excavation			m3			68.20			107.00			7,297.40


						6.2			masonary			m3			132.85			1,597.00			212,156.66


						6.3			Plastering			m2			421.41			83.00			34,977.17


						6.4			dry pitching			m3			9.77			1,232.00			12,030.48


									Sub total 												266,461.71						excavation vol.added 			ve			m3			5.55825			22.33


						7			DIVISION BOX ( 5 NO)												- 0						masonary vol			vm			m3			5.44625			17.85


						7.1			excavation soil 			m3			5.56			107.00			594.71						plastering vol			va			m2			6.275			51


						7.2			masonary			m3			5.44			- 0			- 0						dry pitch vol			vp			m3			5.525			21


						7.3			Plastering			m2			6.27			8.00			50.16


						7.4			dry pitching						5.53			107.00			591.18


									Sub total 												1,236.04


						8			TURNOUTS (20) 												- 0


						8.1			excavation			m3			22.33			107.00			2,389.31


						8.2			masonary			m3			17.85			1,597.00			28,506.45


						8.3			Plastering			m2			51.00			83.00			4,233.00


						8.4			dry pitching			m3			21.00			1,232.00			25,872.00


									Sub total 												61,000.76


						8			ROAD CROSSINGS												- 0


						8.1			Excavation (soil)			m3			26			107.00			1,688.46


						8.2			masonary			v3			89.23			225			10,580.65


						8.3			RCC bar 12mm diam.			Kg			60			69			6,210.00


						8.4			C-20 concrete			m3			5.6			2445			11,862.75


						8.5			Back fill			m3			6.3			189.00			12,096.00


									Sub total 												42437.85405


						9			Gully crossing 


						9.1			excavation			m3			15.78			107.00			1,688.46


						9.2			masonary			m3			47.02509			1,597.00			75,099.07


						9.3			rcc bar 			kg			90			69			6,210.00


						9.4			Lean concrete 			m3			4.85184			1727			8,379.13


						9.5			C-20 concrete			m3			64			2445			156,480.00


									Sub total 												247856.65641


						10			All gates																					1.2


						10.1			Offtake gate			no			2			800			1,600.00


						10.2			divisoin turnouts			no			0.05			415			20.75


						10.3			FC-turnouts			No			20			256			5,120.00


									Sub total 												6,740.75


									Sub total 												5,202,508.49








									Components			Costs ETB


									General items			277,000.00


									Headwork			686,614.79


									Infrastructure			5,202,508.49


									Total 			6,166,123.28


									VAT 15%			924,918.49


									Total 			7,091,041.77			58,724.98												0.475


									cost per  ha			67,533.73


									cost of one drop			MC-1			TC-1-1			TC-1-2			TC-1-3			tc-2-1			tc-2-2			sum


									drop height H			1			1			1			1			1			1


									drop  basin length L			1			1			1			1			1			1


									drop Basin width B			1.1			1.1			1.1			1.1			1.1			1.1


									thickness masonry, t			0.35			0.35			0.35			0.35			0.35			0.35


									canal depth D			0.5			0.4			0.4			0.4			0.4			0.4


									masonary volume m3			2.176			2.141			2.141			2.141			2.141			2.141


									plastering m2			6.8336			6.7951			6.7951			6.7951			6.7951			6.7951


									excavation soil			1.1			1.1			1.1			1.1			1.1			1.1


									NUMBER OF DROPS			3			11			7			7			16			18


									total mason volume			6.528			23.551			14.987			14.987			34.256			38.538			132.847						98.821


									total area plaster			20.50			74.75			47.57			47.57			108.72			122.31			421.41						386.30


									total soil excv.			3.30			12.10			7.70			7.70			17.60			19.80			68.20						268.20


									dry picht for lower only			0.47			1.73			1.10			1.10			2.52			2.84			9.77						10.37


									DIVISION BOX


									ONE SIDE DIVISION BOX main lined


									canal depth			0.5


									MAIN CANAL BED WIDTH, B			0.5


									TERTIARY CANAL BED WIDTH BC			0.3


												mason			plast			No of  DB


									floor m3			0.0980			0.2800			5


									2 sides			0.1960			0.5600			5


									noch			0.0735			0.2100			5


									pich of l=1.5m			0.1575			0.0000			5


									total mosary			0.3675						1.8375


									total dry pich			0.1575						0.7875


									plastering			1.0500						5.25


									TURNOUT


									NUMBER			20


									SOIL EXC			22


									MASONARY			43.52


									PLASTER			136.672


									PICH			12.6








FC_turnout


						FIELD CANAL CAAPACITY FIXING 


						Canal Type			No of FC 			Length of canal 			net comand are (ha) 			comand/FC ratio			adopted Q, l/s			Q/FC ratio			FC capacity selected


						TC-1-1			4			980			28.67			7.17			40			10			10


						TC-1-2			3			770			17.91			5.97			30			10			10


						TC-1-3			3			550			11.5			3.83			30			10			10


						TC-2-1			6			520			15.7			2.62			30			5			10


						TC-2-2			4			530			20.3			5.08			30			7.5			10


			Hydraulic Parameter of Turn outs


			Q= Discharge of the Incoming  Canal


			L= Width of Turn out box


			D= Depth of Supply of  Canal + Free Board


			B= Width of the incoming canal


			Lup= U/S protection


			Ldp= D/s protection





			Canal Name			No. of Turn outs			Q (lit/sec)			D=d+fb (m) 			B (m)			L (m)			Lup (m)			Ldp (m)			Remark


																																	T			A			Vmas			TOTAL MAS			ASP			VSP			TOTAL SP			C-10			PLASTER						GATE AREA





			FC1			1			0.01			0.30			0.30			0.9			1.50			1.50												1.44			0.43			0.43			0.86			2.57			2.57			2.25			1.89						0.18


			FC2			1			0.01			0.30			0.30			0.9			1.50			1.50												1.44			0.43			0.43			0.86			2.57			2.57			2.25			1.89						0.18


			FC3			1			0.01			0.30			0.30			0.9			1.50			1.50												1.44			0.43			0.43			0.86			2.57			2.57			2.25			1.89


			FC4			1			0.01			0.30			0.30			0.9			1.50			1.50												1.44			0.43			0.43			0.86			2.57			2.57			2.25			1.89


			FC5			1			0.01			0.30			0.30			0.9			1.50			1.50												1.44			0.43			0.43			0.86			2.57			2.57			2.25			1.89


			FC6			1			0.01			0.30			0.30			0.9			5.50			1.50												1.44			0.43			0.43			0.86			5.99			5.99			2.25			1.89


			FC7			1			0.01			0.30			0.30			0.9			1.50			1.50												1.44			0.43			0.43			0.86			2.57			2.57			2.25			1.89						0.18


			FC8			1			0.01			0.30			0.30			0.9			1.50			1.50												1.44			0.43			0.43			0.86			2.57			2.57			2.25			1.89


			FC9			1			0.01			0.30			0.30			0.9			2.50			1.50												1.44			0.43			0.43			0.86			3.42			3.42			2.25			1.89


			FC10			1			0.01			0.30			0.30			0.9			3.50			1.50												1.44			0.43			0.43			0.86			4.28			4.28			2.25			1.89


			FC11			1			0.01			0.30			0.30			0.9			4.50			1.50												1.44			0.43			0.43			0.86			5.13			5.13			2.25			1.89


			FC12			1			0.01			0.30			0.30			0.9			5.50			1.50												1.44			0.43			0.43			0.86			5.99			5.99			2.25			1.89


			FC13			1			0.01			0.30			0.30			0.9			1.50			1.50												1.44			0.43			0.43			0.86			2.57			2.57			2.25			1.89


			FC14			1			0.01			0.30			0.30			0.9			1.50			1.50												1.44			0.43			0.43			0.86			2.57			2.57			2.25			1.89


			FC15			1			0.01			0.30			0.30			0.9			1.50			1.50												1.44			0.43			0.43			0.86			2.57			2.57			2.25			1.89


			FC16			1			0.01			0.30			0.30			0.9			1.50			1.50												1.44			0.43			0.43			0.86			2.57			2.57			2.25			1.89


			FC17			1			0.01			0.30			0.30			0.9			1.50			1.50												1.44			0.43			0.43			0.86			2.57			2.57			2.25			1.89


			FC18			1			0.02			0.30			0.30			0.9			1.50			1.50												1.44			0.43			0.43			0.86			2.57			2.57			2.25			1.89


			FC19			1			0.01			0.30			0.30			0.9			1.50			1.50												1.44			0.43			0.43			0.86			2.57			2.57			2.25			1.89


			FC20			1			0.02			0.30			0.30			0.9			1.50			1.50												1.44			0.43			0.43			0.86			2.57			2.57			2.25			1.89


						20																																				8.64									63.27			45.00			37.80








catchDrain


												10 YRS STORM, mm			Intensity /mm/hr			runoff coefficient			catch area (ha)			design flood (m3/s)


									CD-1-1			87.25			90.15			0.5			10			1.25


									CD-1-2			87.25			90.15			0.5			6			0.75


									CD-2-1			87.25			90.15			0.5			8			1


									CD-2-1			87.25			90.15			0.5			15			1.88


						ALL CANALS 						CD-1-1			CD-1-2			CD-2-1			CD-2-2


						Given value


						Design discharge ,Q			Q			1.25			0.75			1			1.88


						Bed width to depth ratio (b/d)			K			1			1			1			1


						Side slope ,Z			Z			1			1			1			1


						Manning's roughness, n			n			0.025			0.025			0.025			0.025


						Longitudinal slope, S			S			0.01			0.01			0.01			0.01


						Intermediate calculation


						k1						2			2			2			2


						k2						3.828			3.828			3.828			3.828


						k3						0.649			0.649			0.649			0.649


						k4						51.892			51.892			51.892			51.892


						Final result


						water depth, d						0.586			0.484			0.539			0.683


						bed width, b						0.586			0.484			0.539			0.683


						Area						0.688			0.469			0.582			0.934


						Wetted perimeter						2.245			1.854			2.065			2.616


						R2/3						0.454			0.400			0.430			0.503


						Hydraulic radius			           R			0.306			0.253			0.282			0.357


						Velocity, v			           Q/A			1.818			1.600			1.719			2.013


						Top width ,T			T			1.759			1.452			1.618			2.050


						Check the discharge						1.25			0.75			1			1.88


						Canal Discharge capacity						1.25			0.75			1			1.88


						Free board


						Total depth						0.586			0.484			0.539			0.683


						Prameters			CD-1-1			CD-1-2			CD-2-1			CD-2-2			0


						Design discharge ,Q			1.250			0.750			1.000			1.880			0.000									963614.79


						Bed width to depth ratio (b/d)			1.000			1.000			1.000			1.000			0.000


						Side slope ,Z			1.000			1.000			1.000			1.000			0.000


						Manning's roughness, n			0.025			0.025			0.025			0.025			0.000


						Longitudinal slope, S			0.010			0.010			0.010			0.010			0.000


						water depth, d			0.586			0.484			0.539			0.683			0.000


						bed width, b			0.586			0.484			0.539			0.683			0.000


						Area			0.688			0.469			0.582			0.934			0.000


						Wetted perimeter			2.245			1.854			2.065			2.616			0.000


						Hydraulic radius			0.306			0.253			0.282			0.357			0.000


						Velocity, v			1.818			1.600			1.719			2.013			0.000


						Top width ,T			1.759			1.452			1.618			2.050			0.000


						Canal Discharge capacity			1.250			0.750			1.000			1.880			0.000


						Free board			0.150			0.150			0.150			0.150			0.150


						Total depth			0.736			0.634			0.689			0.833			0.150


						Adopted, depth, d			0.800			0.650			0.700			0.850			0.350


						Adopted, Bed width b			0.600			0.500			0.600			0.700			0.300








GUDER3 TC1-1-2


			272687.9036			1221787.9321			2501.5227


			272697.3157			1221784.5538			2501.5458


			272706.7278			1221781.1754			2501.5689


			272716.1398			1221777.7971			2501.5394


			272725.5519			1221774.4188			2501.4527


			272734.964			1221771.0405			2501.366


			272744.376			1221767.6622			2501.3659


			272753.6813			1221764.0085			2501.4122


			272762.5936			1221759.4819			2501.4758


			272771.0188			1221754.1026			2501.5549


			272778.8754			1221747.9226			2501.6478


			272786.0877			1221741.0014			2501.5743


			272792.586			1221733.406			2501.4011


			272798.3077			1221725.2095			2501.2316


			272803.1974			1221716.4911			2501.1598


			272807.5668			1221707.4963			2501.0526


			272811.9313			1221698.499			2500.8694


			272816.2959			1221689.5017			2500.6825


			272820.6604			1221680.5044			2500.6742


			272825.0249			1221671.5072			2500.7096


			272829.3894			1221662.5099			2500.7451


			272833.7539			1221653.5126			2500.7121


			272837.658			1221644.3105			2500.6724


			272840.6733			1221634.779			2500.6929


			272843.4348			1221625.1678			2500.7433


			272846.1963			1221615.5567			2500.6393


			272848.9578			1221605.9455			2500.4882


			272851.7192			1221596.3344			2500.1999


			272854.5086			1221586.7315			2499.8904


			272857.9629			1221577.3513			2499.5751


			272862.321			1221568.3554			2499.3565


			272867.5407			1221559.8305			2499.4177


			272873.5718			1221551.859			2499.6997


			272880.356			1221544.5177			2500.0045


			272887.561			1221537.5831			2500.136


			272894.7694			1221530.6522			2499.9995


			272901.9779			1221523.7212			2499.928


			272909.1863			1221516.7903			2499.7219


			272916.3948			1221509.8593			2499.6105


			272923.6032			1221502.9284			2499.3926


			272930.8117			1221495.9974			2499.2931


			272938.0202			1221489.0664			2499.1305


			272945.2286			1221482.1355			2499.224


			272952.4371			1221475.2045			2499.3176








GUDER3TC 1-1-3


			272769.1848			1222275.0653			2488.3825


			272760.963			1222269.373			2488.1539


			272752.7413			1222263.6807			2487.9253


			272744.5195			1222257.9883			2487.9635


			272736.2977			1222252.296			2488.0154


			272728.076			1222246.6037			2488.0519


			272719.8542			1222240.9114			2488.0884


			272711.6324			1222235.2191			2488.1379


			272703.4107			1222229.5267			2488.1114


			272695.1889			1222223.8344			2488.0377


			272686.9671			1222218.1421			2487.8693


			272678.7454			1222212.4498			2487.6496


			272670.5236			1222206.7575			2487.4298


			272662.2311			1222201.1699			2487.2141


			272653.6831			1222195.9821			2487.1484


			272645.0388			1222190.9547			2486.8495


			272636.3944			1222185.9273			2486.4845


			272627.75			1222180.8998			2486.1144


			272619.1057			1222175.8724			2485.7178


			272610.4613			1222170.845			2485.3211


			272601.8169			1222165.8176			2485.0241


			272593.1726			1222160.7902			2484.8749


			272584.5282			1222155.7628			2484.672


			272575.8838			1222150.7353			2484.4282


			272567.2395			1222145.7079			2484.2815


			272558.5951			1222140.6805			2484.0174


			272549.9507			1222135.6531			2483.2238


			272541.3064			1222130.6257			2482.4301


			272532.662			1222125.5983			2481.6364


			272524.0176			1222120.5709			2480.8427


			272515.3733			1222115.5434			2480.0828


			272506.7289			1222110.516			2479.4023


			272498.0845			1222105.4886			2478.7219


			272489.4402			1222100.4612			2478.0634


			272480.7958			1222095.4338			2477.5178








GUDER3TC1-1-4


			272778.4986			1222271.4249			2488.7308


			272787.8125			1222267.7845			2489.165


			272797.1263			1222264.1441			2489.3906


			272806.4401			1222260.5037			2489.3174


			272815.754			1222256.8632			2489.1466


			272825.0527			1222253.1849			2488.7209


			272834.219			1222249.1883			2488.2273


			272843.3619			1222245.1377			2487.7343


			272852.5048			1222241.0871			2487.3751


			272861.6477			1222237.0365			2487.0439


			272870.7906			1222232.9859			2486.8038


			272879.9335			1222228.9353			2486.6353


			272889.0764			1222224.8848			2486.5899


			272898.2193			1222220.8342			2486.5757








GUDER3TC1-1-5


			272778.4986			1222271.4249			2488.7308									272585.1557			1222861.036			2475.2928


			272787.8125			1222267.7845			2489.165									272578.0245			1222854.0256			2475.4665


			272797.1263			1222264.1441			2489.3906									272570.8932			1222847.0152			2475.5088


			272806.4401			1222260.5037			2489.3174									272563.762			1222840.0049			2475.737


			272815.754			1222256.8632			2489.1466									272556.6307			1222832.9945			2475.1036


			272825.0527			1222253.1849			2488.7209									272549.4994			1222825.9841			2474.596


			272834.219			1222249.1883			2488.2273									272542.3682			1222818.9738			2474.1278


			272843.3619			1222245.1377			2487.7343									272535.2369			1222811.9634			2473.8639


			272852.5048			1222241.0871			2487.3751									272528.1057			1222804.9531			2473.6045


			272861.6477			1222237.0365			2487.0439									272520.9744			1222797.9427			2473.2738


			272870.7906			1222232.9859			2486.8038									272513.8431			1222790.9323			2472.9431


			272879.9335			1222228.9353			2486.6353


			272889.0764			1222224.8848			2486.5899


			272898.2193			1222220.8342			2486.5757








GUDER3TC1-1-6


			272585.1557			1222861.036			2475.2928


			272594.2287			1222865.2408			2475.2979


			272603.3017			1222869.4457			2475.1143


			272612.3747			1222873.6505			2474.9307


			272621.4477			1222877.8554			2474.7472


			272630.5207			1222882.0603			2474.3895


			272639.5937			1222886.2651			2474.1193








GUDER3TC1-1-71


															272508.9006			1223603.8495			2464.7422


															272498.9273			1223604.5294			2464.5763


															272488.9595			1223605.3314			2463.9041


															272478.9917			1223606.1334			2462.9977


															272469.0239			1223606.9354			2462.2034








GUDER3TC1-1-8


			272469.0239			1223606.9354			2462.2034


			272508.9006			1223603.8495			2464.7422


			272518.0837			1223607.808			2464.8866


			272527.2669			1223611.7665			2465.0647








GUDERSC1-1-1-1EXCEL


			272687.1564			1221784.7172			2501.5702


			272689.0864			1221794.5292			2501.4413


			272691.0165			1221804.3411			2501.3201


			272692.9465			1221814.1531			2501.1633


			272694.8765			1221823.9651			2500.9501


			272696.8066			1221833.7771			2500.7019


			272698.7366			1221843.5891			2500.4461


			272700.6666			1221853.4011			2500.1833


			272702.5966			1221863.213			2499.8171


			272704.5267			1221873.025			2499.4263


			272706.4567			1221882.837			2499.0306


			272708.3867			1221892.649			2498.5604


			272710.3168			1221902.461			2498.1957


			272712.2468			1221912.2729			2497.8317


			272714.1768			1221922.0849			2497.4676


			272716.1069			1221931.8969			2497.2228


			272718.0369			1221941.7089			2496.9577


			272719.8874			1221951.5357			2496.5975


			272721.2906			1221961.4357			2496.2389


			272722.1971			1221971.3935			2495.8931


			272722.6048			1221981.3842			2495.5481


			272722.5526			1221991.3835			2495.1936


			272722.41			1222001.3825			2494.861


			272722.2674			1222011.3815			2494.4367


			272722.1248			1222021.3805			2493.9816


			272721.9822			1222031.3795			2493.5466


			272721.8396			1222041.3785			2493.3598


			272721.7816			1222051.3778			2493.0964


			272722.1797			1222061.3689			2492.6824


			272723.0766			1222071.3275			2492.2784


			272724.4701			1222081.2289			2491.8841


			272726.3568			1222091.0482			2491.4996


			272728.7319			1222100.761			2490.9663


			272731.5894			1222110.343			2490.8236


			272734.8075			1222119.8109			2490.504


			272738.0472			1222129.2716			2490.2291


			272741.2869			1222138.7322			2490.0865


			272744.5266			1222148.1929			2490.4894


			272747.7664			1222157.6536			2490.4872


			272751.0061			1222167.1142			2490.4263


			272754.2458			1222176.5749			2490.4189


			272757.3884			1222186.0677			2490.3443


			272760.0838			1222195.6965			2490.2831


			272762.2945			1222205.448			2490.1005


			272764.0152			1222215.2978			2489.807


			272765.2414			1222225.2213			2489.6956


			272766.0612			1222235.1874			2489.5319


			272766.8421			1222245.1569			2489.1464


			272767.623			1222255.1264			2488.7608


			272768.4039			1222265.0958			2488.4645


			272769.1848			1222275.0653			2488.3825


			272769.9657			1222285.0348			2488.3066


			272770.7466			1222295.0042			2488.0858


			272771.5275			1222304.9737			2487.865


			272772.3084			1222314.9431			2487.607


			272773.0893			1222324.9126			2487.3115


			272773.8702			1222334.8821			2486.9908


			272774.6511			1222344.8515			2486.67


			272775.432			1222354.821			2486.6455


			272776.2129			1222364.7905			2486.6735


			272776.9938			1222374.7599			2486.7009


			272777.7747			1222384.7294			2486.7282


			272778.5556			1222394.6989			2486.6035


			272779.3365			1222404.6683			2486.3005


			272780.1174			1222414.6378			2485.9768


			272780.8983			1222424.6072			2485.653


			272781.6792			1222434.5767			2485.3291


			272782.4601			1222444.5462			2485.001


			272783.241			1222454.5156			2484.6729


			272784.0219			1222464.4851			2484.3761


			272784.8028			1222474.4546			2484.0814


			272785.5837			1222484.424			2483.8076


			272786.3646			1222494.3935			2483.5216


			272787.3764			1222504.3412			2482.9881


			272788.598			1222514.2663			2482.6559


			272789.8196			1222524.1914			2482.4505


			272791.0412			1222534.1165			2482.2563


			272792.2628			1222544.0416			2482.0708


			272793.4844			1222553.9667			2481.9322


			272794.706			1222563.8918			2481.8398


			272795.9277			1222573.8169			2481.7157


			272796.7764			1222583.7764			2481.5156


			272796.5248			1222593.768			2481.2624


			272795.1578			1222603.6688			2480.8523


			272792.6924			1222613.3547			2480.6797


			272789.1596			1222622.7043			2480.3032


			272784.6036			1222631.6003			2480.0915


			272779.0815			1222639.9311			2480.0142


			272772.6627			1222647.5923			2479.5721


			272765.4276			1222654.4879			2479.0229


			272757.775			1222660.9251			2478.6844


			272750.1214			1222667.3611			2478.5837


			272742.4677			1222673.797			2478.2475


			272734.814			1222680.233			2478.0004


			272727.1604			1222686.6689			2477.744


			272719.5067			1222693.1049			2477.4666


			272711.8531			1222699.5408			2477.2871


			272704.1994			1222705.9768			2477.1333


			272696.5457			1222712.4127			2476.9821


			272688.8921			1222718.8487			2476.831


			272681.2384			1222725.2846			2476.87


			272673.5848			1222731.7206			2476.8031


			272665.9311			1222738.1565			2476.7362


			272658.2774			1222744.5925			2476.6693


			272650.6238			1222751.0285			2476.6799


			272642.9701			1222757.4644			2476.7067


			272635.6833			1222764.3053			2476.6174


			272629.207			1222771.918			2476.4662


			272623.6224			1222780.207			2476.3288


			272618.7433			1222788.9355			2476.2676


			272613.9031			1222797.686			2476.2074


			272609.0628			1222806.4366			2476.1584


			272604.2226			1222815.1871			2476.0744


			272599.3823			1222823.9377			2475.9903


			272594.5534			1222832.6944			2475.8795


			272590.3668			1222841.7701			2475.7287


			272587.2211			1222851.2569			2475.5482


			272585.1557			1222861.036			2475.2928


			272583.7731			1222870.9399			2475.2729


			272582.3995			1222880.8451			2475.2743


			272581.0259			1222890.7503			2475.2757


			272579.6523			1222900.6555			2475.2063


			272578.2787			1222910.5607			2475.1271


			272576.9052			1222920.4659			2475.0479


			272575.5316			1222930.3711			2474.9325


			272574.158			1222940.2764			2474.7984


			272572.7844			1222950.1816			2474.7208


			272571.4108			1222960.0868			2474.6779


			272570.0372			1222969.992			2474.6378


			272568.6637			1222979.8972			2474.6116


			272567.2901			1222989.8024			2474.4669


			272565.6832			1222999.6701			2474.4662


			272563.7824			1223009.4877			2474.3295


			272561.8816			1223019.3054			2474.1947


			272559.9807			1223029.1231			2474.112


			272558.0799			1223038.9408			2473.6943


			272556.1791			1223048.7585			2473.2014


			272554.2783			1223058.5762			2473.8181


			272552.3775			1223068.3938			2473.5562


			272550.4766			1223078.2115			2473.118


			272548.5758			1223088.0292			2472.6799


			272546.675			1223097.8469			2473.0902


			272544.7742			1223107.6646			2473.3414


			272542.8734			1223117.4823			2472.6976


			272540.9725			1223127.2999			2472.4087


			272539.0717			1223137.1176			2472.8929


			272537.1709			1223146.9353			2473.377


			272535.2701			1223156.753			2473.1964


			272533.3693			1223166.5707			2472.8537


			272531.4685			1223176.3884			2472.1393


			272529.5676			1223186.206			2471.485


			272527.6668			1223196.0237			2471.7843


			272525.766			1223205.8414			2472.0914


			272523.8652			1223215.6591			2471.843


			272521.9644			1223225.4768			2470.8993


			272520.0635			1223235.2944			2470.7583


			272518.1627			1223245.1121			2471.3696


			272516.2619			1223254.9298			2470.5324


			272514.3611			1223264.7475			2469.9576


			272512.4603			1223274.5652			2470.6373


			272510.9245			1223284.4421			2470.1839


			272510.4829			1223294.4271			2469.1459


			272510.8795			1223304.4188			2468.8627


			272511.3235			1223314.409			2468.5987


			272511.7675			1223324.3991			2468.3338


			272512.2114			1223334.3893			2467.8785


			272512.6554			1223344.3794			2467.6243


			272513.0993			1223354.3695			2467.5429


			272513.5433			1223364.3597			2467.4615


			272513.9872			1223374.3498			2467.4122


			272514.4312			1223384.34			2467.3863


			272514.8752			1223394.3301			2467.291


			272515.3191			1223404.3202			2467.2745


			272515.7631			1223414.3104			2467.2057


			272516.207			1223424.3005			2467.1449


			272516.651			1223434.2907			2467.1722


			272517.0949			1223444.2808			2467.1228


			272517.5389			1223454.2709			2467.0426


			272517.9829			1223464.2611			2467.0294


			272518.4268			1223474.2512			2467.0312


			272518.6246			1223484.2462			2467.0057


			272517.9258			1223494.2204			2466.9211


			272517.1053			1223504.1867			2466.7137


			272516.2848			1223514.1529			2466.4715


			272515.4644			1223524.1192			2466.2293


			272514.6439			1223534.0855			2465.9871


			272513.8234			1223544.0518			2465.8581


			272513.003			1223554.0181			2465.7521


			272512.1825			1223563.9844			2465.6325


			272511.362			1223573.9506			2465.3416


			272510.5415			1223583.9169			2465.0652


			272509.7211			1223593.8832			2464.8816


			272508.9006			1223603.8495			2464.7422


			272508.0801			1223613.8158			2464.6501


			272507.2597			1223623.7821			2464.558








TC 1-1-6 CUT&FILL


			bed width			0.13


			Slope			250.00


			Initial CBL			2474.92


			Total depth			0.13


			Side slope of canal			1.00


			b/d ratio			1.00


			Side slope of Burm			1.00


			Insert top width of built burm for fill			0.00





			Northing			Easting			Partial Distance			Chainage			Elevation			CBL			Bank level			drop			slope			CUT(m)			Fill(m)			Area of cut			Average Area of Cut			Volume of cut			Area of Fill			Average Area of Fill			Volume of Fill


			1222861.036			272778.4986			0.00			0			2475.2928			2474.92			2475.05						250			0.37			0.00			0.28			0.00			0.00			0.00			0.00			0.00


			1222865.2408			272787.8125			10			10			2475.2979			2474.8791237817			2475.00									0.42			0.00			0.35			0.31			3.21			0.00			0.00			0.00


			1222869.4457			272585.1557			10			20			2475.1143			2474.8391237817			2474.96									0.28			0.00			0.15			0.25			2.51			0.00			0.00			0.00


			1222873.6505			272594.2287			10			20			2474.9307			2474.7991238473			2474.92									0.13			0.00			0.03			0.09			0.93			0.00			0.00			0.00


			1222877.8554			272603.3017			10			30			2474.7472			2474.7591237447			2474.88			0.50			250.00			0.00			0.14			0.00			0.02			0.17			0.04			0.02			0.19


			1222877.8554			272603.3017			10			30			2474.7472			2474.259			2474.38									0.00			0.14			0.00			0.02			0.17			0.04			0.02			0.19


			1222882.0603			272612.3747			10			40			2474.3895			2474.2189998974			2474.34									0.17			0.00			0.06			0.03			0.29			0.00			0.02			0.19


			1222886.2651			272621.4477			10			50			2474.1193			2474.178999963			2474.30									0.00			0.18			0.00			0.03			0.29			0.07			0.04			0.36


																																				0.87						7.58						0.09			0.94








Sheet2


			272769.1848			1222275.0653			2488.3825


			272769.9657			1222285.0348			2488.3066


			272770.7466			1222295.0042			2488.0858


			272771.5275			1222304.9737			2487.865


			272772.3084			1222314.9431			2487.607


			272773.0893			1222324.9126			2487.3115


			272773.8702			1222334.8821			2486.9908


			272774.6511			1222344.8515			2486.67


			272775.432			1222354.821			2486.6455


			272776.2129			1222364.7905			2486.6735


			272776.9938			1222374.7599			2486.7009


			272777.7747			1222384.7294			2486.7282


			272778.5556			1222394.6989			2486.6035


			272779.3365			1222404.6683			2486.3005


			272780.1174			1222414.6378			2485.9768


			272780.8983			1222424.6072			2485.653


			272781.6792			1222434.5767			2485.3291


			272782.4601			1222444.5462			2485.001


			272783.241			1222454.5156			2484.6729


			272784.0219			1222464.4851			2484.3761


			272784.8028			1222474.4546			2484.0814


			272785.5837			1222484.424			2483.8076


			272786.3646			1222494.3935			2483.5216


			272787.3764			1222504.3412			2482.9881


			272788.598			1222514.2663			2482.6559


			272789.8196			1222524.1914			2482.4505


			272791.0412			1222534.1165			2482.2563


			272792.2628			1222544.0416			2482.0708


			272793.4844			1222553.9667			2481.9322


			272794.706			1222563.8918			2481.8398


			272795.9277			1222573.8169			2481.7157


			272796.7764			1222583.7764			2481.5156


			272796.5248			1222593.768			2481.2624


			272795.1578			1222603.6688			2480.8523


			272792.6924			1222613.3547			2480.6797


			272789.1596			1222622.7043			2480.3032


			272784.6036			1222631.6003			2480.0915


			272779.0815			1222639.9311			2480.0142


			272772.6627			1222647.5923			2479.5721


			272765.4276			1222654.4879			2479.0229


			272757.775			1222660.9251			2478.6844








TC 1-1-6 PROFILE OF G3


			chainage


			OGL


			CBL


			embankment level


			depth of cut, m


			depth of fill


			drop


			slope


			0.00			2475.29			2474.92			2475.05			0.37			0.00						250.00


			10.22			2475.30			2474.88			2475.00			0.42			0.00


			20.22			2475.11			2474.84			2474.96			0.28			0.00


			20.22			2474.93			2474.80			2474.92			0.13			0.00


			30.22			2474.75			2474.76			2474.88									0.50			250.00


			30.22			2474.75			2474.26						0.00			0.14


			40.22			2474.39			2474.22			2474.34			0.17			0.00


			50.22			2474.12			2474.18			2474.30			0.00			0.18








Sheet1








oleObject7.bin





oleObject8.bin





oleObject9.bin





oleObject10.bin





oleObject1.bin





oleObject2.bin





oleObject3.bin





oleObject4.bin





oleObject5.bin





oleObject6.bin





image1.png


Bl .








image2.emf


(




)




8




/




3




4




5




.




0




k




S




Q








 



8 / 3



4



5.0



k S



Q






image11.emf


n




S




AR




3




/




2








n



S AR



3/2






image3.emf


(




)




5




.




0




2




Z




1




2




K




+




+








 5.0



2



Z 1 2 K  






image4.emf


Z




K




+








Z K






image5.emf


3




/




2




2




1




÷




ø




ö




ç




è




æ




K




K








3 / 2



2



1 























K



K






image6.emf


n




K




K




2




1








n



K K



2 1






image7.emf


Kd








Kd






image8.emf


2




1




d




K








2



1



d K






image9.emf


d




K




2








d K



2






image10.emf


3




/




2




3




d




K








3/2



3



d K






image12.png


Home | Insert  Pagelajout  References  Mailngs  Review  View

ﬂ & Cut & Find -
& cony 4aBbCcD AaBbCi A) AaBb L AaBb( AaBh( .
P g omt paiter TChar  Heading3  Heading4  Heading5  Headings < g:‘ya‘:?f Iy Select =

Clipboard & Font & Paragraph & Styles 5| ediing
Document Map - x ([ 1o [EX) CXERRREF KERNRRRE IXENRRRE ERRNRRRS ERRNRERNXRRY |

5.0 myunaunc Design ur 1 e werr Where

3.6.1 Flow over the Weir Crest o 3
3.6.1.1 Crest Length Q=Design discharge, m¥/s

3.6.1.2 Discharge over the wer section _ o
3.6.2 Type of Flow (Modular/ None-Modular) R =Hydraulic radius of th canal, m

363 Top and bottom width of weir A = Wetted cross sectional area of canal, m?
37 ydraulic jump Computation

38 Stabity of the weir P = Wetted Perimeter, m

3.9 Design of Retaining Wall L .
3.9.1 Upstream Retaining Wall 1= Manning’s roughness coefficient
3.9.2 Downstream retaining wall S =Bed slope of the canal
3.10 Design of under sluice
3.1 Design of Head Regulator
3.12 Weir Protection Work (Capping)

SETon o ATON & Do RS

4. Trrigable area description

4.1 Topography and soil

o arecies

o rovamnt

e equramnt

4.3.2 Trrigation efficiency

4.3.3 Trrigation duty

4.4 Trrigation method

4.5 Irrigation & Drainage system lay out

4.5.1 Trrigation canals

S5 e

4.6 Canal design

b

4.7 Drainage Canals

3D+D?
3+22D

A
?

Page: 59 of 89 | Words: 16242 | <&  English (United States) |









image13.png










oleObject18.bin





oleObject11.bin





oleObject12.bin





oleObject13.bin





oleObject14.bin





oleObject15.bin





oleObject16.bin





oleObject17.bin





image14.emf


B




EL




A




EL




h




.




.




-




=








B EL A EL h . .



 






image15.emf


2




3




1




734




.




0




d




Q




b




c




=








2



3



1



734 . 0



d



Q



b



c










image16.emf


c




b




Q




q




=








c



b



Q



q










image17.emf


3




1




2




÷




÷




ø




ö




ç




ç




è




æ




=




g




q




d




c








3



1



2







































g



q



d



c






image18.emf


2




c




d




a




=








2



c



d



a










image19.emf


c




c




c




hd




h




d




h




d




L




ú




ú




û




ù




ê




ê




ë




é




÷




÷




ø




ö




ç




ç




è




æ




+




+




=




3




7




.




0




1




.




1




5




.




2








c



c c



hd



h



d



h



d



L



































































  



3



7 . 0 1 . 1 5 . 2






image20.emf


91




.




9




46




.




18




+




=




Q




Q




B








91 . 9



46 . 18











Q



Q



B






image21.emf


2




1




2




3




2




.




1




Q




I




+




=








2



1



2



3



2 . 1



Q I



 






image22.png










image23.jpeg










oleObject26.bin





oleObject27.bin





oleObject28.bin





oleObject19.bin





oleObject20.bin





oleObject21.bin





oleObject22.bin





oleObject23.bin





oleObject24.bin





oleObject25.bin







Sheet1


			Canal 			Chanaige			Remark


			MC1			(+100,300, 320,380, 600)			4m,=L


			MC 2			(+200,400,600,800, 900,1000,1300,1600)			1.1m = W


			B=Canal WIDTH			D =Depth			For each,L=foot path length


									For each,W=foot path width








Sheet2








Sheet3










MBD00128D81.unknown



MBD00128D7E.unknown



MBD00128D7F.unknown



MBD00128D7D.unknown



MBD00128D7A.unknown



MBD00128D7B.unknown



MBD00128D79.unknown



MBD00128D76.unknown



MBD00128D77.unknown




_1550301020.unknown

_1521265278.unknown

_1521265280.unknown

_1521265281.unknown

_1521265279.unknown

_1511191752.unknown

_1511191749.unknown

_1511191750.unknown

_1511191748.unknown

_1511191745.unknown

_1511191746.unknown

_1511191744.unknown

