MINISTRY OF AGRICULTURE

National Guidelines for Small Scale Irrigation Development in Ethiopia

SSIGL 19:  Spate Irrigation System Study and Design

November 2018                     Addis Ababa

National Guidelines for Small Scale Irrigation Development in Ethiopia

First Edition 2018

© MOA 2018

Ministry of Agriculture

Small-Scale Irrigation Development Directorate

P. O. Box 62347

Tel: +251-1-6462355

Fax: +251-1-6462355

Email: SSIDdirectorate@moa.gov.et

SSIDdirectorate@gmail.com

eDMS (intranet): MoA SSID DMS (http://172.28.1.188:8080/DMS/login.jsp)

Website: www.moa.gov.et

Financed by Agricultural Growth Program (AGP)

DISCLAIMER

Ministry of Agriculture through the Consultant and core reviewers from all relevant stakeholders included the information to provide the contemporary approach about the subject matter. The information contained in the guidelines is obtained from sources believed tested and reliable and are augmented based on practical experiences. While it is believed that the guideline is enriched with professional advice, for it to be successful, needs services of competent professionals from all respective disciplines. It is believed, the guidelines presented herein are sound and to the expected standard. However, we hereby disclaim any liability, loss or risk taken by individuals, groups, or organization who does not act on the information contained herein as appropriate to the specific SSI site condition.

# FORWARD

Ministry of Agriculture, based on the national strategic directions is striving to meet its commitments in which modernizing agriculture is on top of its highest priorities to sustain the rapid, broad-based and fair economic growth and development of the country.  To date, major efforts have been made to remodel several important strategies and national guidelines by its major programs and projects.

While efforts have been made to create access to irrigation water and promoting sustainable irrigation development, several barriers are still hindering the implementation process and the performance of the schemes. The major technical constrains starts from poor planning and identification, study, design, construction, operation, and maintenance. One of the main reasons behind this outstanding challenge, in addition to the capacity limitations, is that SSIPs have been studied and designed using many ad-hoc procedures and technical guidelines developed by various local and international institutions.

Despite having several guidelines and manuals developed by different entities such as MoA (IDD)-1986, ESRDF-1997, MoWIE-2002 and JICA/OIDA-2014, still the irrigation professionals follow their own public sources and expertise to fill some important gaps. A number of disparities, constraints and outstanding issues in the study and design procedures, criteria and assumptions have been causing huge variations in all vital aspects of SSI study, design and implementation from region to region and among professionals within the same region and institutions due mainly to the lack of agreed standard technical guidelines. Hence, the SSI Directorate with AGP financial support, led by Generation consultant (GIRDC) and with active involvement of national and regional stakeholders and international development partners, these new and comprehensive national guidelines have been developed.

The SSID guidelines have been developed by addressing all key features in a comprehensive and participatory manner at all levels. The guidelines are believed to be responsive to the prevalent study and design contentious issues; and efforts have been made to make the guidelines simple, flexible and adaptable to almost all regional contexts including concerned partner institution interests. The outlines of the guidelines cover all aspects of irrigation development including project initiation, planning, organizations, site identification and prioritization, feasibility studies and detail designs, contract administration and management, scheme operation, maintenance and management.

Enforceability, standardization, social and environmental safeguard mechanisms are well mainstreamed in the guidelines, hence they shall be used as a guiding framework for engineers and other experts engaged in all SSI development phases. The views and actual procedures of all relevant diverse government bodies, research and higher learning institutions, private companies and development partners has been immensely and thoroughly considered to ensure that all stakeholders are aligned and can work together towards a common goal. Appropriately, the guidelines will be familiarized to the entire stakeholders working in the irrigation development.  Besides, significant number of experts in the corresponding subject matter will be effectively trained nationwide; and the guidelines will be tested practically on actual new and developing projects for due consideration of possible improvement.  Hence, hereinafter, all involved stakeholders including government & non-governmental organizations, development partners, enterprises, institutions, consultants and individuals in Ethiopia have to adhere to these comprehensive national guidelines in all cases and at all level whilst if any overlooked components are found, it should be documented and communicated to MOA to bring them up-to-date.

Therefore, I congratulate all parties involved in the success of this effort, and urge partners and stakeholders to show a similar level of engagement in the implementation and stick to the guidelines over the coming years.

H.E. Dr. Kaba Urgessa

State Minister, Ministry of Agriculture

SMALL SCALE IRRIGATION DEVELOPMENT VISION

Transforming agricultural production from its dependence on rain-fed practices by creating reliable irrigation system in which smallholder farmers have access to at least one option of water source to increase production and productivity as well as enhance resilience to climate change and thereby ensure  food security, maintain increasing  income and sustain economic growth.

# ACKNOWLEDGEMENTS

The preparation of SSIGLs required extensive inputs from all stakeholders and development partners. Accordingly many professionals from government and development partners have contributed to the realization of the guidelines. To this end MOA would like to extend sincere acknowledgement to all institutions and individuals who have been involved in the review of these SSIGLs for their comprehensive participation, invaluable inputs and encouragement to the completion of the guidelines. There are just too many collaborators involved to name exhaustively and congratulate individually, as many experts from Federal, regional states and development partners have been involved in one way or another in the preparation of the guidelines. The contribution of all of them who actively involved in the development of these SSIGLs is gratefully acknowledged. The Ministry believes that their contributions will be truly appreciated by the users for many years to come.

The Ministry would like to extend its appreciation and gratitude to the following contributors:

Agriculture Growth Program (AGP) of the MoA for financing the development and publication of the guidelines.

The National Agriculture Water Management Platform (NAWMP) for overseeing, guidance and playing key supervisory and quality control roles in the overall preparation process and for the devotion of its members in reviewing and providing invaluable technical inputs to enrich the guidelines.

Federal Government and Regional States organizations and their staff for their untiring effort in reviewing the guidelines and providing constructive suggestions, recommendations and comments.

National and international development partners for their unreserved efforts in reviewing the guidelines and providing constructive comments which invaluably improved the quality of the guidelines.

Small-scale and Micro Irrigation Support Project (SMIS) and its team for making all efforts to have quality GLs developed as envisioned by the Ministry.

The MOA would also like to extend its high gratitude and sincere thanks to AGP’s multi development partners including the International Development Association (IDA)/World Bank, the Canada Department of Foreign Affairs, Trade and Development (DFATD), the United States Agency for International Development (USAID), the Netherlands, the European Commission (EC), the Spanish Agency for International Development (AECID), the Global Agriculture and Food Security Program (GAFSP), the Italy International Development Cooperation, the Food and Agriculture Organization (FAO) and the United Nations Development Program (UNDP).

Moreover, the Ministry would like to express its gratitude to Generation Integrated Rural Development Consultant (GIRDC) and its staff whose determined efforts to the development of these SSIGLs have been invaluable. GIRDC and its team drafted and finalized all the contents of the SSIGLs as per stakeholder suggestions, recommendations and concerns. The MoA recognizes the patience, diligence, tireless, extensive and selfless dedication of the GIRDC and its staff who made this assignment possible.

Finally, we owe courtesy to all national and International source materials cited and referred but unintentionally not cited.

Ministry of Agriculture

DEDICATIONS

The National Guidelines for Small Scale Irrigation Development are dedicated to Ethiopian smallholder farmers, agro-pastoralists, pastoralists, to equip them with appropriate irrigation technology as we envision them empowered and transformed.

# List of Guidelines

Part I. SSIGL 1: Project Initiation, Planning and Organization

Part II: SSIGL 2: Site Identification and Prioritization

Part III: Feasibility Study and Detail Design

SSIGL 3: Hydrology and Water Resources Planning

SSIGL 4: Topographic and Irrigation Infrastructures Surveying

SSIGL 5: Soil Survey and Land Suitability Evaluation

SSIGL 6:  Geology and Engineering Geology Study

SSIGL 7: Groundwater Study and Design

SSIGL 8: Irrigation Agronomy and Agricultural Development Plan

SSIGL 9: Socio-economy and Community Participation

SSIGL 10: Diversion Weir Study and Design

SSIGL 11: Free River Side Intake Study and Design

SSIGL 12: Small Embankment Dam Study and Design

SSIGL 13: Irrigation Pump Facilities Study and Design

SSIGL 14: Spring Development Study and Design

SSIGL 15: Surface Irrigation System Planning and Design

SSIGL 16:  Canals Related Structures Design

SSIGL 17:  Sprinkler Irrigation System Study and Design

SSIGL 18:  Drip Irrigation System Study and Design

SSIGL 19:  Spate Irrigation System Study and Design

SSIGL 20:  Quantity Surveying

SSIGL 21:  Selected Application Software’s

SSIGL 22:  Technical Drawings

SSIGL 23:  Tender Document Preparation

SSIGL 24:  Technical Specifications Preparation

SSIGL 25: Environmental & Social Impact Assessment

SSIGL 26:  Financial and Economic Analysis

Part IV:  Contract Administration & Construction Management

SSIGL 27: Contract Administration

SSIGL 28: Construction Supervision

SSIGL 29: Construction of Irrigation Infrastructures

Part V: SSI Scheme Operation, Maintenance and Management

SSIGL 30: Scheme Operation, Maintenance and Management

SSIGL 31: A Procedural Guideline for Small Scale Irrigation Schemes Revitalization

SSIGL 32: Monitoring and Evaluation

Ancillary Tools for National Guidelines of Small Scale Irrigation Development

SSIGL 33: Participatory Irrigation Development and Management (PIDM)

SSIGL 34: Quality Assurance and Control for Engineering Sector Study and Design

TABLE OF CONTENTS

FORWARD	i

ACKNOWLEDGEMENTS	iii

List of Guidelines	v

Acronyms	xv

PREFACE	xvii

UPDATING AND REVISIONS OF GUIDELINES	xix

1	INTRODUCTION	1

1.1	background	1

1.2	objectives of the guideline	1

1.2.1	Main objective of the guideline	1

1.2.2	Specific objectives of the guideline	2

1.3	scopes of the guideline	2

1.4	definitions of technical terminologies used in the guideline	2

2	PLANNING OF SPATE IRRIGATION DEV’T & ITS TYPES	7

2.1	general principle	7

2.2	identify reasons for poor performance of existing spate irrigation	9

2.3	improving spate irrigation systems	9

2.4	difference of spate irrigation flood irrigation & water harvesting systems	10

2.5	initiation of participatory design process	11

2.6	linkages of spate irrigation and natural resource management	12

2.7	types of spate	12

2.7.1	General	12

2.7.2	Classification & Selection of Appropriate Spate Diversion	13

2.7.3	Spate classification based on position of d/s water level	16

2.7.4	Spate classification based on stabilizing factor	17

2.8	components and functions of spate diversion structures	17

2.8.1	Functions of spate diversion structures	17

2.8.2	Components of spate diversion structure	18

2.9	causes and remedies for failure of spate headwork structure	18

2.9.1	General	18

2.9.2	Failure due to subsurface flow	18

2.9.3	Failure by surface flow	19

2.9.4	Failure due to silt (Aggradations & degradation or retrogression)	19

2.9.5	Failure due to seismic load	20

2.9.6	Failure due to man-made activities	20

2.9.7	Remedies for failure of spate headwork structure	20

2.10	lesson from implemented spate irrigation schemes	20

2.11	types of stilling basins in spate irrigation	22

2.11.1	General	22

2.11.2	USBR Standard Stilling Basin	23

2.11.3	Indian standard stilling basin	25

2.11.4	Appurtenant structures in stilling basin	25

3	SPATE HYDROLOGY in Brief	27

3.1	nature of spate floods	27

3.2	hydrological data requirements	27

3.3	assessments required for spate flood estimation	28

3.4	considerations for spate flood estimate	28

3.5	spate irrigation and river morphology	31

3.6	estimating mean annual run-off and potential irrigated area	31

3.6.1	General	31

3.6.2	Using farmers’ indigenous knowledge	32

3.6.3	Estimating MAR depth & volume using a runoff coefficient	32

3.6.4	Estimation of proportion of diversion from annual runoff	33

4	SOIL AND MOISTURE MANAGEMENT IN SPATE IRRIGATION IN BRIEF	35

4.1	soil survey and land suitability evaluation	35

4.2	soil moisture conservation in spate irrigation	37

5	CROP SELECTION AND MANAGEMNT IN BRIEF	39

5.1	crop selection	39

5.2	crop selection criteria and potential crops	40

5.2.1	Crop selection Criteria	40

5.2.2	Potential crops for spate irrigated agriculture	41

5.3	cropping pattern development	41

5.4	cropping calendar	41

5.5	irrigation water supply and crop management	42

6	SOCIOECONOMIC ASPECTS IN BRIEF	45

7	DESIGN OF DIVERSION HEADWORK FOR SPATE IRRIGATION	47

7.1	design consideration of spate irrigation	47

7.2	Data Required for Design of Spate Irrigation	50

7.2.1	Office level data	50

7.2.2	Field level data	50

7.3	selection of appropriate spate diversion site	55

7.4	SELECTION OF TYPE OF SPATE DIVERSION BASED ON NATURE OF RIVER	56

7.5	selection of suitable shape of spate diversion crest	57

7.6	selecting design flood of appropriate return period	58

7.7	rating curve construction	58

7.8	hydraulic design of spate diversion & related structures	60

7.8.1	Layout of spate irrigation schemes	60

7.8.2	Spate diversion crest level	60

7.8.3	Spate diversion weir length/width	61

7.8.4	Determination of flow depth over the crest of spate diversion	62

7.8.5	Arrangement of bed-bar across the river	63

7.8.6	Checking modularity of a spate diversion structure	63

7.8.7	Determination of geometry of weir	64

7.8.8	Fixing bottom level of a spate diversion body	68

7.8.9	Design of energy dissipater	69

7.8.10	Determination of stilling basin type & its component	73

7.8.11	Determination of exit gradient (GE)	83

7.8.12	Design of protection works	85

7.9	analysis of afflux	92

7.9.1	Upstream water surface profile determination	92

7.9.2	Approximate method	93

7.9.3	Standard step method	93

7.10	design of head regulator	94

7.10.1	Location and functions of head regulator structures	94

7.10.2	Types and selection of intake on diversion weir	95

7.10.3	Considerations in fixing intake level and its type	95

7.10.4	Design of intake structure	96

7.10.5	Trash racks arrangement at intake structure	97

7.10.6	Design of Settling Basin and Its Components	98

7.11	design of scouring sluice	105

7.11.1	Functions and locations of scouring-sluice	105

7.11.2	Design consideration	106

7.11.3	Hydraulic design of scouring sluices	107

7.12	design of divide walls	109

7.12.1	General	109

7.12.2	Location and functions of the divide walls	109

7.12.3	Design consideration of the divide walls	109

7.12.4	Fixing section of a divide wall	110

7.13	hydraulic design of wing walls	110

7.13.1	Arrangements and functions of wing walls	110

7.13.2	Design considerations for wing walls	110

7.13.3	Selection of wall type	111

7.13.4	Data required for design of wing walls	111

7.14	design of storage structure	111

7.15	structural design of diversion weir	112

7.15.1	Background	112

7.15.2	Structural design considerations for weir and wing-wall	112

7.15.3	Structural design aspects of stone masonry	112

7.15.4	Types of gates used in irrigation	113

7.15.5	Design Considerations of Gates	114

7.15.6	Common loads on irrigation structures	115

7.15.7	Forces acting on a weir and wing walls	116

7.15.8	Stability analysis of the weir	118

7.15.9	Stability analysis of retaining and flood protection walls	120

7.15.10	Basic engineering property of materials	122

7.15.11	Commonly used standard grades of concrete	123

7.15.12	Reinforcement steel	125

7.15.13	Structural analysis	125

7.15.14	Limit state design	126

7.15.15	Flexural design of reinforced concrete member	126

7.15.16	Shear resistance design of reinforced concrete member	128

7.15.17	Water quality for concrete mix	128

7.15.18	Minimum structural member thickness requirement	128

8	SPATE IRRIGATION CANAL DESIGN	131

8.1	background	131

8.2	spate canal design considerations	131

8.3	spate canal design methods	132

8.3.1	Manning’s equation	132

8.3.2	Lacey’s regime equation	132

8.3.3	Permissible velocity method	134

8.3.4	Tractive force method	134

8.4	canal design flow and water level	134

8.5	side spill weir	135

8.6	average bed slope of spate canals	135

8.7	velocity of spate flow	136

8.8	side spillway	136

8.9	design of drainage system in spate	136

9	DESIGN OF GATES, BREAST WALLS & GATE OPERATING DECK	137

9.1	background	137

9.2	types of gates used in irrigation	137

9.3	design considerations of gates	138

9.3.1	Materials of gate structures & precaution to be taken	138

9.3.2	Structural aspects of sliding gates	139

9.4	breast wall	140

9.4.1	Arrangement of breast wall	140

9.4.2	Structural aspects of breast wall	140

9.5	gate operating deck	140

9.5.1	Arrangement of operating deck	140

9.5.2	Structural aspects of operating deck	140

9.6	bedding under structures	141

10	EXPANSION/CONTRACTION JOINTS IN STRUCTURES	143

10.1	need for introduction of contraction/expansion joint	143

10.2	joint sealant	143

10.3	joint filler	144

10.4	dowel bar	144

10.5	PVC dowel sleeve	145

10.6	bond breaker tape	145

10.7	water-stops	146

10.8	weep holes	147

11	RIVER TRAINING WORKS AROUND HEADWORKS	149

11.1	needs for river training works	149

11.2	objectives of river training or improvement works	149

11.3	considerations in design of river training	149

11.3.1	Peak flood level	149

11.3.2	Environmental impact assessment and socioeconomic considerations	150

11.3.3	Freeboard requirement for levee	150

11.3.4	Widths of levee	150

11.3.5	Cost–benefit consideration	150

11.3.6	River cross sections	151

11.4	principal methods of river training	151

11.4.1	River regulation	151

11.4.2	Dredging	156

11.5	design of river training/flood-protection works	156

11.5.1	Required data	156

11.5.2	Alignment of flood protection works	156

11.5.3	Cross section design of guide bank structures	156

11.5.4	Design aspects of groynes	159

12	OPERATION AND MAINTENANCE OF SPATE SCHEMES	161

12.1	scope of operation and maintenance of spate schemes	161

12.2	planning for easy operation and maintenance	161

12.3	considerations in operation and maintenance of spate schemes	162

12.4	spate irrigation systems management	162

12.5	trash management	162

12.6	sediment management	162

12.7	establishing responsibilities for o&m	163

12.8	field water distribution principles in spate irrigation	164

REFERENCES	165

APPENDICES	167

LIST OF APPENDICES

APPENDIX I: Different Classifications of Spate Irrigation Schemes	169

APPENDIX II: Typical Values of Manning’s Roughness Coefficient of Channels	171

APPENDIX III: Allowable Bearing Capacity	171

APPENDIX IV: Graphical Determination of Exit Gradient (Khoslas Theory)	172

APPENDIX V: Khosla's Graph to Determine Uplift Pressure at Cut Off Ends	173

APPENDIX VI: Seismic Risk Map showing 1:50 Earthquake Acceleration	174

APPENDIX VII: Typical Cross Sections of Wing walls	175

LIST OF TABLES

Table 2-1: Comparison of conventional diversion & spate diversion systems	7

Table 2-2: Differences between Spate and Normal River Diversion Schemes	11

Table 2-3: Understanding Linkages b/n Spate Irrigation & Natural Resource Mang’t	12

Table 2-4: Types and comparison of spate infrastructure	16

Table 2-5: Field rise rates in spate irrigated areas	22

Table 3-1: Requirements of hydrologic parameters in conventional & spate diversions	29

Table 3-2: Wadi hydrology and sediment transport collection methods	29

Table 4-1: Description of class limitation symbols to be used in land suitability classification	36

Table 4-2: Rating of land use requirements for spate irrigated lowland sorghum.	37

Table 5-1: Format for cropping pattern recommendation	41

Table 7-1: Materials for revetment	54

Table 7-2: Recommended type of spate, based on nature of river	56

Table 7-3: Values of the constants K & n (S.K. Garg, 2006)	65

Table 7-4: Lacey's silt factor "f"	69

Table 7-5: Summary of types of hydraulic jump	73

Table 7-6: Selection of energy dissipaters for different range of flows	74

Table 7-7: Values of lane's creep coefficient, c and safe hydraulic gradient	77

Table 7-8: Recommended values of Khosla’s safe exit gradient	84

Table 7-9: Values of Khosla’s corrections for standard slopes	84

Table 7-10: Allowable ranges of stability factor	90

Table 7-11: Comparison of possible arrangement of intake gate	94

Table 7-12: Head loss through trash racks	98

Table 7-13: Particle size distribution and corresponding permeability coefficient	108

Table 7-14: Average particle size, d (mm) for various types of materials	108

Table 7-15: Summary of common forces acting on weir & wing-wall	117

Table 7-16: List of possible forces and moments acting on weir section (full flow condition)	120

Table 7-17: Possible Forces and Moments acting on wing wall Section (full flow condition)	121

Table 7-18: Unit weights of basic materials	122

Table 7-19: Internal angle of friction (∅) of Soil	122

Table 7-20: Allowable bearing pressure of soils	122

Table 7-21: Commonly used Standard Grades of Concrete	123

Table 7-22: Standard mixes for ordinary structural concrete per 50kg of cement	124

Table 7-23: Minimum RF-bars required for crack control of immature concrete	125

Table 7-24: Permissible shear in concrete (N/mm2)	125

Table 7-25: Partial safety factor applied to material, m	126

Table 7-26: Partial factor of safety for loadings	126

Table 7-27: Minimum structure thickness required for weir component	129

Table 7-28: Recommended slump for varies types of constructions	129

Table 7-29: Maximum size of aggregate recommend for varies types of construction	129

Table 8-1: Maximum permissible velocity and tractive force	132

Table 8-2: Indicative bed slope of traditional spate canals	136

Table 9-1: Computed required flow at entrance to the scheme	139

Table 11-1: Comparison between spur and groyne	153

Table 12-1: Sediment management options for a range of scheme types	163

LIST OF FIGURES

Figure 2-1: Intake when blocked by trashes carried by spate flow	8

Figure 2-2: Layout of a Typical Curved Spate Headwork/Skimming Weir	9

Figure 2-3: Traditional (L) and Improved (R) Field Intake in Spate Irrigation	10

Figure 2-4: Intake (L) and weir (R) types of spate diversion	11

Figure 2-5: Traditional spate irrigation headwork (L) Diversion bund intake (R)	13

Figure 2-6: Deflecting spur-type traditional intake	13

Figure 2-7: Modern spate irrigation headwork in operation (Tigray)	15

Figure 2-8: Position of water level relative to crest level (Typical)	17

Figure 2-9: Fertile soil (L) & sedimentation (R) as seen deposited on field & MC	21

Figure 2-10: Land levelling & mulching after irrigation using draught animals	21

Figure 2-11: USBR stilling basin, type-I	23

Figure 2-12: USBR stilling basin, type-II	24

Figure 2-13: View of USBR stilling basin, type-III	24

Figure 2-14: USBR stilling basin, type-IV	25

Figure 3-1: Typical hydrographs showing nature of peak flood & duration	29

Figure 3-2: Abandoned intake due to lowering of riverbed & erosion of bank, ethiopia	31

Figure 4-1: Scheme presentation of a land suitability system ( Tesfai, M 2001)	36

Figure 5-1: Spate irrigation field in Oromia	39

Figure 7-1: Flow chart indicating general design steps of spate irrigation	47

Figure 7-2: Intake type of spate headwork, traditional (L) modern (R)	57

Figure 7-3: Modern spate diversion headwork	57

Figure 7-4: Stage-discharge-curve at diversion site of ssi project	59

Figure 7-5: Typical arrangement of flow heads over a spate diversion structure	63

Figure 7-6: Recommended values of Kp and Ka	64

Figure 7-7: Components of ogee weir, (S.K. Garg, 2006)	66

Figure 7-8: H-Q relation for selecting coeff. of discharge, C (MoWR, 2002)	67

Figure 7-9: Hydraulic jump interpreted by specific energy curve	71

Figure 7-10: Assumed pressure distribution under the base profile of the structure	77

Figure 7-11: Schematic representation of khosla’s flow net	79

Figure 7-12: Simple standard profiles of weir floors of khosla’s proposals	81

Figure 7-13: Arrangement of Launching Apron on Horizontal Floor	86

Figure 7-14: Inverted filter & flexible (launching/talus) apron (P. Novak, 2007)	87

Figure 7-15: Typical arrangement of launching apron at an angle (S.K. Garg, 2006)	87

Figure 7-16: Dumped or hand-placed or plated riprap, HEC-11, 1997	88

Figure 7-17: Rock filled gabion (L) and under preparation (R)	91

Figure 7-18: Arrangement of mattresses (L) block gabions (R)	92

Figure 7-19: Schematic view of backwater profile	93

Figure 7-20: Typical trash rack arrangement at intake structure	98

Figure 7-21: Typical double-basin sand-trap plan	100

Figure 7-22: Soil triangle of basic soil textural classes	100

Figure 7-23: Relationship between sieve diameter & fall velocity for still water	101

Figure 7-24: Single (L) and double (R) basin Sandtrap looking d/s (under construction)	102

Figure 7-25: Typical sand trap & sluiceway arrangement	103

Figure 7-26: Spate canal cross section with side escape	104

Figure 7-27: Water surface profile at side weir/ side escape	105

Figure 7-28: Relative arrangements of intake and silt gates (Typical)	106

Figure 7-29: Flow profile in u/s of scouring sluice channel, (JICA-OIDA, 2014)	108

Figure 7-30: Check structure with slide gate (Thicknesses are in mm)	114

Figure 7-31: Washout gate operated by spindle (L) & sluice gate by chain block (R)	114

Figure 7-32: Forces acting on a critical section of a weir	117

Figure 7-33: Forces acting on wing wall or retaining wall	121

Figure 7-34: Section with stress diagram and stress block for singly reinforced section	126

Figure 9-1: Combined gate and weir cross regulator: empty (L) & in operation (R)	137

Figure 10-1: Sealant as seen in joints of concrete slabs	143

Figure 10-2: Joint fillers in concrete works	144

Figure 10-3: Dowel bar arrangement in concrete works	145

Figure 10-4: Plastic screw dowel and dowel bar sleeves	145

Figure 10-5: Bond breaker and its effect on concrete crack	146

Figure 10-6: Different types of water stops	147

Figure 11-1: Arrangement of groynes along river bank, gabion (L) bamboo (R)	152

Figure 11-2: Schematic layout of groynes along river bank	152

Figure 11-3: Attracting, repelling and deflecting groynes (L to R resp.)	153

Figure 11-4: Arrangement of check dams along river reach	153

Figure 11-5: Arrangement of sill/bed sill along river bank (from tree trunks & branches)	154

Figure 11-6: Levee/dykes arrangement along river bank and its section	154

Figure 11-7: Rock riprap (L) & protection by gabion at u/s of river crossing (R)	156

Figure 11-8: Schematic PLAN OF GUIDE BANK EXTENDED FROM WING WALL	157

Figure 11-9: Typical cross-section through guide bank	159

Figure 11-10: Typical plan & cross sections of groynes along river bank	160

# Acronyms

| A | Cross sectional area of flow |
| --- | --- |
| AGP | Agricultural Growth Project |
| b | Width of canal |
| C | Coefficient of discharge or creep coefficient |
| D | Internal diameter of pipe |
| d | Depth of flow |
| D/S | Downstream |
| d1 or y1 | Depth of flow before jump |
| d2 or y2 | Depth of flow after jump |
| dc or yc | Critical depth of flow |
| ESRDF | Ethiopian Social Rehabilitation and Development Fund |
| f | Lacey’s silt factor |
| FAO | Food and Agriculture Organization |
| Fr | Fraud Number |
| g | Acceleration due to gravity |
| G | Specific gravity of floor material |
| GIRDC | Generation Integrated Rural Development Consultant |
| GTZ/GIZ | German International development cooperation |
| Hav | Approach velocity head |
| Hd | Flow depth on the crest |
| hf | Head loss due to friction |
| HFL/MFL | High/Maximum Flood Level |
| hl | Head loss |
| JICA | Japan International Cooperation Agency |
| L | Length |
| M | Meter/moment |
| m/s | Meter/second |
| MoANR | Ministry of Agriculture and Natural Resource |
| MoWIE | Ministry of Water Irrigation and Electricity |
| MoWR | Ministry of Water Resource |
| n | Manning’s roughness coefficient |
| O&M | Operation and maintenance |
| OIDA | Oromia Irrigation Development Authority |
| p | Wetted perimeter of flow |
| Ph | Water Pressure Head |
| ppm | Parts Per Million |
| Ps | Silt Pressure Head |
| Pu | Uplift Pressure Head |
| q | Unit discharge per meter |
| Q | Discharge |
| Qd | Peak demand or discharge of canal |
| Qp | Design Flood for the Selected Return Period i.e. Q50 in this Manual |
| R | Hydraulic mean depth or scour depth or Hydraulic radius |
| RBL | River Bed Level |
| RCC | Reinforced concrete |
| RF | Rainfall |
| s | Longitudinal slope of canal/channel |
| SB | Stilling Basin |
| SSID | Small Scale Irrigation Development |
| SSIGL | Small Scale Irrigation Guideline |
| SSIP | Small Scale Irrigation Project |
| SSIS | Small Scale Irrigation Scheme |
| TDS | Total Dissolved Solid |
| TWD | Tail Water Depth |
| USBR | United States Bureau of Reclamation |
| v | Velocity of flow |
| va | Approach velocity |
| W | Weight of structure |
| WC | Weir Crest |
| WCL | Weir Crest Level |
| WHO | World Health Organization |
| WL | Water Level |
| WUA | Water User Association |

# PREFACE

While irrigation development is at the top of the government’s priority agendas as it is key to boost production and improve food security as well as to provide inputs for industrial development. Accordingly, irrigated land in different scales has been aggressively expanding from time to time. To this end, to enhance quality delivery of small-scale irrigation development planning, implementation and management, it has been decided to develop standard SSI guidelines that must be nationally applied. In September 2017 the Ministry of Agriculture (MoA) had entrusted Generation Integrated Rural Development Consultant (GIRDC) to prepare the National Small-scale Irrigation Development Guidelines (SSIGLs).

Preparation of the SSIGLs for enhancing development of irrigated agriculture is recognized as one of the many core initiatives of the MoA to improve its delivery system and achieve the targets in irrigated agriculture and fulfill its mission for improving agricultural productivity and production. The core objective of developing SSIGLs is to summarize present thinking, knowledge and practices to enable irrigation practitioners to properly plan, implement and manage community managed SSI schemes to develop the full irrigation potential in a sustainable manner.

As the SSIGLs are prepared based on national and international knowledge, experiences and practices, and describe current and recommended practice and set out the national standard guides and procedures for SSI development, they serve as a source of information and provide guidance. Hence, it is believed that the SSIGLs will contribute to ensuring the quality and timely delivery, operation and maintenance of SSI schemes in the country. The SSIGLs attempt to explain and illustrate the important concepts, considerations and procedures in SSI planning, implementation and management; and shall be used as a guiding framework for professionals engaged in SSI development. Illustrative examples from within the country have been added to enable the users understand the contents, methodologies presented in the SSIGLs.

The intended audiences of the SSIGLs are government organizations, NGOs, CSOs and the private sector involved in SSI development. Professionally, the SSIGLs will be beneficial for experienced and junior planners, experts, contractors, consultants, suppliers, investors, operators and managers of SSI schemes. The SSIGLs will also serve as a useful reference for academia and researchers involved and interested in SSI development. The SSIGLs will guide to ensure that; planning, implementation and management of SSI projects is formalized and set procedures and processes to be followed. As the SSIGLs provide information and guides they must be always fully considered and applied by adapting them to the local specific requirements.

In cognizance with the need for quality SSIGLs, the MoA has duly considered quality assurance and control during preparation of the guidelines. Accordingly, the outlines, contents and scope of the SSIGLs were thoroughly discussed, reviewed and modified by NAWMP members (senior professionals from public, national and international stakeholder) with key stakeholders in many consultative meetings and workshops. Moreover, at each milestone of SSIGL preparation, resource persons from all stakeholders reviewed and confirmed that SSIGLs have met the demands and expectations of users.

Moreover, the Ministry has mobilized resource persons from key Federal, National Regional States level stakeholders and international development partners for review, validation and endorsement of the SSIGLs.

Several hundreds of experienced professionals (who are very qualified experts in their respective fields) from government institutions, relevant private sector and international development partners have significantly contributed to the preparation of the SSIGLs. They have been involved in all aspects of the development of SSIGLs throughout the preparation process. The preparation process included a number of consultation meetings and workshops: (i) workshop to review  inception report, (ii) workshop on findings of review of existing guidelines/manuals and proposed contents of the SSIGLs, (iii) meetings to review  zero draft SSI GLs, (iv) review workshop on draft SSI GLs, (v) small group review meetings on thematic areas, (vi) small group consultation meetings on its final presentation of  contents and layout, (vii) consultation mini-workshops in the National States on semi-final versions of the SSIGLs, and (viii) final write-shop for the appraisal and approval of the final versions of SSIGLs.

The deliberations, concerns, suggestions and comments received from professionals have been duly considered and incorporated by the GIRD Consultant in the final SSIGLs.

There are 34 separate guidelines which are categorized into the following five parts concurrent to SSI development phases:

Part-I. Project Initiation, Planning and Organization Guideline which deals with key considerations and procedures on planning and organization of SSI development projects.

Part-II. Site Identification and Prioritization Guideline which treats physical potential identification and prioritization of investment projects. It presents SSI site selection process and prioritization criteria.

Part-III. Feasibility Study and Detail Design Guidelines for SSID dealing with feasibility study 	and design concepts, approaches, considerations, requirements and procedures in the 	study and design of SSI systems.

Part-IV. Contract Administration and Construction Management Guidelines for SSI development presents the considerations, requirements, and procedures involved in construction of works, 	construction supervision and contract administration.

Part-V. SSI Scheme Management, Operation and Maintenance Guidelines which covers SSI 	Scheme management and operation.

Moreover, Tools for Small Scale Irrigation development are also prepared as part of SSIGLs.

It is strongly believed and expected that; the SSIGLs will be quickly applied by all stakeholders involved in SSI development and others as appropriate following the dissemination and familiarization process of the guidelines in order to ensure efficient, productive and sustainable irrigation development.

The SSIGLs are envisioned to be updated by incorporating new technologies and experiences including research findings. Therefore, any suggestions, concerns, recommendations and comments on the SSIGLs are highly appreciated and welcome for future updates as per the attached format below.  Furthermore, despite efforts in making all types of editorial works, there may still errors, which similarly shall be handled in future undated versions.

# UPDATING AND REVISIONS OF GUIDELINES

The GLs are intended as an up-to-date or a live document enabling revisions, to be updated periodically to incorporate improvements, when and where necessary; may be due to evolving demands, technological changes and changing policies, and regulatory frameworks. Planning, study and design of SSI development interventions is a dynamic process. Advancements in these aspects are necessary to cope up with the changing environment and advancing techniques. Also, based on observation feedbacks and experiences gained during application and implementation of the guidelines, there might be a need to update the requirements, provisions and procedures, as appropriate. Besides, day-by-day, water is becoming more and more valuable. Hence, for efficient water development, utilization and management will have to be designed, planned and constructed with a new set up of mind to keep pace with the changing needs of the time. It may, therefore, be necessary to take up the work of further revision of these GLs.

This current version of the GLs has particular reference to the prevailing conditions in Ethiopia and reflects the experience gained through activities within the sub-sector during subsequent years. This is the first version of the SSI development GLs. This version shall be used as a starting point for future update, revision and improvement. Future updating and revisions to the GLs are anticipated as part of the process of strengthening the standards for planning, study, design, construction, operation and management SSI development in the country.

Completion of the review and updating of the GLs shall be undertaken in close consultation with the federal and regional irrigation institutions and other stakeholders in the irrigation sub-sector including the contracting and consulting industry.

In summary, significant changes to criteria, procedures or any other relevant issues related to technological changes, new policies or revised laws should be incorporated into the GLs from their date of effectiveness. Other minor changes that will not significantly affect the whole nature of the GLs may be accumulated and made periodically. When changes are made and approved, new page(s) incorporating the revision, together with the revision date, will be issued and inserted into the relevant GL section.

All suggestions to improve the GLs should be made in accordance with the following procedures:

- Users of the GLs must register on the MOA website: Website: www.moa.gov.et

- Proposed changes should be outlined on the GLs Change Form and forwarded with a covering letter or email of its need and purpose to the Ministry.

- Agreed changes will be approved by the Ministry on recommendation from the Small-scale Irrigation Directorate and/or other responsible government body.

- The release date of the new version will be notified to all registered users and authorities.

Users are kindly requested to present their concerns, suggestions, recommendations and comments for future updates including any omissions and/or obvious errors by completing the following revisions form and submitting it to the Ministry. The Ministry shall appraise such requests for revision and will determine if an update to the guide is justified and necessary; and when such updates will be published. Revisions may take the form of replacement or additional pages. Upon receipt, revision pages are to be incorporated in the GLs and all superseded pages removed.

Suggested Revisions Request Form (Official Letter or Email)

To: ---------------------------------------------------------------

From: -----------------------------------------------------------

Date: -----------------------------------------------------------

Description of suggested updates/changes: Include GL code and title, section title and # (heading/subheading #), and page #.

| GL Code and Title | Date | Sections/ Heading/Subheading/ Pages/Table/Figure | Explanation | Comments (proposed change) |
| --- | --- | --- | --- | --- |

Note that be specific and include suggested language if possible and include additional sheets for comments, reference materials, charts or graphics.

GLs Change Action

| Suggested Change | Recommended Action | Authorized by | Date |
| --- | --- | --- | --- |

Director for SSI Directorate: _______________________Date: ________________

The following table helps to track initial issuance of the guidelines and subsequent Updates/Versions and Revisions (Registration of Amendments/Updates).

Revision Register

| Version/Issue/Revision No | Reference/Revised Sections/Pages/topics | Description of revision (Comments) | Authorized by | Date |
| --- | --- | --- | --- | --- |

# INTRODUCTION

## background

Spate headworks are basically similar to diversion weir except that spate headworks are built on intermittent rivers/ Wadi flow to harvest flashing runoff. Principally, capacities of developing such projects are dependent on available runoff which is flowing in the river, unlike that of diversion, which needs enduring low/base flow throughout the year. Such projects are usually exercised in lowland areas such as arid and semi-arid regions where evapotranspiration greatly exceeds rainfall during rainy season, i.e. where there is erratic occurrence of rainfall and hence, scarcity of low flow in the river. Spate schemes less than 500ha in Ethiopia are considered small schemes. If the system is larger than 500ha and smaller than 2,000ha it is called medium. Systems over 2,000ha are large scale systems (J.P. van den Ham 2008, 2008).

This type of water management is very risk-prone and requires high levels of cooperation between farmers to divert and distribute flood flows. The uncertainty stems from the unpredictable numbers, timing and volumes of floods, the occasional very large floods that wash out diversion/intake structures, and the frequent changes to the wadi channels from which the water is diverted. Substantial local wisdom has developed in setting up and constructing intakes, organizing water distribution and managing the flood waters and their heavy sediment loads.

Spate irrigation is difficult for managing runoff effectively as it is difficult to justify investments in civil engineering works on systems dominated by low-value subsistence farming. Moreover, it is hard to identify successful interventions, since spate schemes, in spite of their apparently simple technologies, are hydraulically and socially complex. Thus, this type of water management is very risk-prone and requires high levels of cooperation among irrigators to divert and distribute flood flows at a time effectively.

Such technique of water harvesting has been exercised for long time before, by diverting seasonal rivers and road side runoff traditionally. In particular, sedimentation at intakes and in canals including water distribution system are often not properly controlled in ‘modernized systems’.

Consequently, traditional spate irrigation system needs to be modernized by considering the healthy side of indigenous knowledge of the beneficiaries and their preferences regarding the scope and type of works which have been maintained to reduce excessive labour inputs required to keep the system operating season to season, and there are also large areas in arid and semi-arid zones where spate irrigation could be introduced to improve crop yields in marginal rain fed areas. Thus, the modernized system must take into account the existing irrigation practices based on traditional rights regarding the allocation and distribution of spate water, as well as the existing agricultural practices.

## objectives of the guideline

### Main objective of the guideline

The objective of this component of the guideline, is to lay down design outline and procedures for studying and designing Spate irrigation headwork structures and other appurtenant components for small scale spate irrigation projects under the existing conditions to arrive at the most suitable design based on the principle of harnessing floods from wadis to allow farmers to secure crop production and therefore contributes to food security and poverty alleviation. This principle is meant, residual moisture stored in the deep alluvial soils formed from the sediments deposited in previous irrigations would support crops which otherwise be damaged from lack of water.

### Specific objectives of the guideline

This Guideline is specifically intended to provide:

A guide to assessment and collection of data required for design of spate irrigation;

A guide to the study of spate hydrology;

A guide to the river training works around headworks;

engineering of spate irrigation study and infrastructures design;

A practical guide for selection and designing of spate related interventions;

A guide to Operation and Maintenance requirements of spate schemes.

## scopes of the guideline

This Guideline gives rooms for detailed design procedures including templates to be followed for the hydraulic & structural design of small and medium scale spate irrigation structures. The spate irrigation headwork structures considered in this Guideline are those structures with a height not exceeding reasonable value.

The headwork structure may be submerged or free over-fall and it may be established either on rocky or permeable foundation. Its longitudinal length could extend as long as to the requirement of piping and/or energy dissipation requirement, whichever govern. Its width also prolongs to existing channel width and/or the requirement to bypass the expected return period flood without disturbing the surrounding ecosystem, if it is more than what we need.

Although its extent is relatively minor compared to other types of irrigation, spate irrigation characterizes a unique option for the management of scarce water resources in support of agricultural production and rural livelihoods in many arid regions.

## definitions of technical terminologies used in the guideline

For the purpose of easily understandability of this Guideline, the following technical definitions or important terminologies as used in this Guideline have been given by the consultant:

Abutment: That part of a valley side against which the structure is constructed. Artificial abutments are sometimes constructed to take the thrust of an arch where there is no suitable natural abutment.

Afflux: By afflux, we mean the rise in the high flood level of the river above normal level upstream of the spate (or the bridge in case of non-erodible soils), or barrage, as a result of· its construction. It is the difference in water level at any point upstream of spate before and after its construction. Thus, maximum afflux is expected just upstream of the barrage/spate and declines gradually while moving upstream.

Apron: Is the area at the downstream end of a spate to protect against erosion and scouring by water.

Banks: Are lateral boundaries of a channel or stream, as indicated by a scarp, or on the inside of bends, by the stream ward edge of permanent vegetal growth.

Bed material: Is deposit of materials in bed of a river consisting of particle sizes large enough to be found in appreciable quantities at the surface of a streambed.

Bund: 	Embankment constructed from soil or wadi bed sediments.

Canal: Is a long thin stretch of artificially made waterway for taking water from one area to another or allow movement of boats from one point to the other;

Capacity: A measure of the ability of a channel or conduit to convey water;

Channel: Is the bed and banks that confine the surface flow of a natural or artificial stream;

Control section: Is a cross section, such as a bridge crossing, reach of channel, or dam, with limited flow capacity, and where the discharge is related to the upstream water-surface elevation.

Critical depth: is the flow depth for which the mean specific energy is minimum. It is a depth at which water flows over a spate; this depth being attained automatically where no backwater forces are involved. It is the depth at which the energy content of flow/mean specific energy/ is a minimum;

Cross-section: is a hypothetical section line which defines the shape of a channel, stream, or valley as viewed across its axis. In watershed investigations it is determined by a line approximately perpendicular to the main path of water flow, along which measurements of distance and elevation are taken to define the cross-sectional area;

Cutoff wall: Is a wall that extends from the end of a structure to below the expected scour depth or scour-resistant material to control piping.

Design discharge or flow: Is the rate of flow for which a hydraulic facility is designed and thus expected to accommodate without exceeding the adopted design constraints. It is also called design flood and is defined as maximum flood selected/desired for certain return period that any structure can safely pass during its life span.

Divide wall: is a long wall structure which is as high as top level of wing walls or top of crest level depending on size of sluice gate. It may be constructed with stone masonry or cement concrete.

End sill: This is a solid structure situated at end of stilling basin for serving as energy dissipation arrangements.

Energy grade line: Is a hypothetical line joining elevation of energy heads; a line drawn above the hydraulic grade line a distance equivalent to the velocity head of the flowing water at each section along a stream, channel, or conduit;

Exit gradient (EG): The slope (or gradient) of hydraulic grade line (for subsoil seepage flow), at the exit end of the structure where the seepage water comes out from subsoil.

Floodplain: Is the alluvial land bordering a stream, formed by stream processes, that is subject to inundation by floods;

Floor length: is the total length of impervious floor consisting of upstream floor, upstream glacis, downstream glacis, downstream stilling basin and end sill.

Freeboard: The vertical distance between the level of the water surface, usually corresponding to design flow and a point of interest such as a low chord of a bridge beam or specific location on the roadway grade;

Fraud number: It is a ratio which is proportional to the square root of the ratio of the inertial forces over the weight of fluid. The Froude number is used generally for scaling free-surface flows, open channels and hydraulic structures;

Guide bank: When a barrage is constructed across a river which flows through the alluvial soil, the guide banks must be constructed on both the approaches to protect the structure from erosion. It is an earthen embankment with curved head on both the ends. It serves: (a) To protect the barrage from the effect of scouring and erosion. (b) To control tendency of changing the course of the river. (c) To control velocity of flow near the structure.

Head: is the difference in water level between two reference points & is thus energy required to drive water from higher point to the lower point (for gravity flow).

Head loss is energy dissipated due to the resistance to flow from the material in which it is flowing, hl = H = S*L, for open channel flow, where H-is head difference, S-is longitudinal slope, L-is length but hl = KV2/2g for pipe flow.

Headwork: is a structure located across the stream or on the lake, reservoir and/or ground water to collect reserve or divert water for irrigating crops and/or hydropower use. Thus it includes Diversion Headwork/Spate, spate, Free Intake structure, Pump, Spring Protection or Development, Micro Dam and Ground water extraction. In a storage system, it is called a 'Storage dam' and the main body of the structure is mostly 'Earth-dam' where-as for a diversion system, it is called a 'Spate', and the water pool is called a 'Pond'.

Hydraulic jump: is a transition from a rapid or supercritical flow to a slow flow motion i.e. subcritical flow;

Intake structure: It is also called a head regulator structure and situated at the upstream end of a headwork consisting of a chamber, trash-rack, gate and sometimes provision for stop-logs. It is thus part of the structure in a spate through which water is drawn into a canal or pipe by extending to upstream end of a channel;

Irrigation projects: are time bounded activities consisting of development of irrigation and related infrastructures like access road, bridge, headwork, camping, drainage, on-farm structures, social service structures, etc. for supporting artificial watering of land to sustain plant growth.

Marginal embankments or dykes: are earthen embankments which are constructed parallel to the river bank on one or both the banks according to the condition.

Meandering channel: is an alluvial stream characterized by a series of alternating bends (i.e. meanders) as a result of alluvial processes;

Peak flow: Is the maximum discharge of a flood event & is used for designing headwork structure;

Piping: is a phenomenon which results when flow net beneath the structure having pressure at downstream end of the structure is more than critical exit gradient and thus brings soil particles with it on the downstream side. Such seepage, if uncontrolled causes springing at the downstream and finally results in hollows under the floor causing collapse of the floor and/or the structure as a whole.

Pond level: The level of water, immediately upstream of the spate, required to facilitate withdrawal into the canal or for any other purpose.

Protection works: These are protection mechanisms which are required both on the u/s and d/s of a spate to prevent possibility of a scour hole moving close to the u/s or d/s cutoffs and undermining the structure. On the u/s side the need is due to higher velocities of flow near the structure due to draw down; whereas, on the d/s side the need is due to the turbulent nature of flow as it leaves stilling basin to guard against higher than expected exit gradients. When a spate is constructed on rock, such protection works are not required. They include block works like apron and inverted filter and launching apron;

Sediment: Any material carried in suspension by the flow and/or as bed-load which would settle to the bottom of hydraulic structures in the absence or slow motion of flow;

Silt factor, f is a factor related to grain size and defines average particle size of the material forming bed of channels.

Spate irrigation: It is the diversion of flood flows from ephemeral rivers for irrigation. It is the art and science of water management that is unique to semi-arid environments. Thus it such irrigation system is a distinctive form of irrigation, predominantly initiated in arid and semi-arid regions where use is made of occasional heavy floods of short duration. Such project also called runoff harvesting where the floodwater intermingle and when in spate simultaneously cause considerable havoc. FAO (1987) have defined spate irrigation as “an ancient irrigation practice that involves the diversion of flashy spate floods running off from mountainous catchments where flood flows, usually flowing for only a few hours with appreciable discharges and with recession flows lasting for only one to a few days, are channeled through short steep canals to bunded basins, which are flooded to a certain depth”. Subsistence crops, often sorghum, are typically planted only after irrigation has occurred. Crops are grown from one or more irrigations using residual moisture stored in the deep alluvial soils formed from the sediments deposited in previous irrigations.

Specific energy: Quantity proportional to the energy per unit mass, measured with the channel bottom as the elevation datum, and expressed in meters of water.

Stilling Basin: This is a solid apron structure on the downstream of a main spate body, spillway, outlet work, chute or canal structure. It is required to dissipate excess energy of falling water in the form of hydraulic jump so as to prevent scour and undermining of structures and damage from waves;

Streamline: It is the line drawn so that the velocity vector is always tangential to it i.e. no flow across a streamline. When the streamlines converge it shows the velocity is increasing;

Submerged flow: is flow condition which exists when a change in the downstream water surface elevation causes a change in the upstream water surface elevation.

Tail water depth: This is the normal depth of flow immediately downstream of the structure;

Under-sluice: A flushing device in the diversion structure constructed adjustment to the head regulator on one and/or two abutments to allow sediment rejection during flooding and control entry of silt to the intake.

Uplift: is upward pressure or interstitial pressure in the pores of bed material under the base of hydraulic structures. It can led to the destruction of stilling basins and even to the failures of concrete dams, if not treated/managed;

Wadi: The bed or valley of a seasonal stream in arid or semi-arid areas that is usually dry except for a short time after spate flow events (a few hours to a few days). It is a valley which has a stream that is usually dry except when it has rained on the highland, and flooded commonly in desert or lowland areas.

Weir crest is part of the diversion structure over which excess flow passes from upstream to the downstream side and its top level must be above the intake level so a s to enable required flow depth to the intake side.

Wing walls: are also called retaining walls and are designed to protect submergence of the structure as well as the environs during flooding. They are laid on an impervious concrete floor either on one and/or both sides of the spate depending on stability and nature of surrounding topography.

# PLANNING OF SPATE IRRIGATION DEV’T & ITS TYPES

## general principle

The prevailing principle in spate irrigation system design is that there is no single approach to the design of improved spate systems. Specific requirements vary widely between, and in some cases within schemes. Thus, before plans are finalized, it is essential that design engineers fully understand the way in which the farmers’ system has operated and farmers truly understand and comprehend what the engineers are proposing for them. It is important to keep a large ranges of approaches as in some areas, permanent headworks are useful, and in other areas the use of gabion flow dividers/splitters or the engagement of bulldozers to construct earthen structures are appropriate.

Planning of spate irrigation development with respect to floods has been presented in “Spate Hydrology” section, thus can be referred there.

Spate irrigation application in general needs to be implemented where there is no option other than it, otherwise conventional diversion weir for irrigation must be chosen.

The spate irrigation structures are sometimes spectacular: earthen bunds, spanning the width of a river, or extensive spurs made of brushwood and stones. Spate systems are made in such a way that ideally the largest floods are kept away from the command as very large floods would create considerable damage to the command area. They would destroy flood diversion channels and cause rivers to shift. This is where the ingenuity of many of the traditional systems comes in.

Spurs and bunds are generally made in such a way that the main diversion structures in the river break when floods are too large. Thus Provision of earthmoving equipment is required here.

Table 2-1: Comparison of conventional diversion & spate diversion systems

| Parameter | Conventional Diversion | Spate Diversion |
| --- | --- | --- |
| Definition | It is the diversion of continuously flowing rivers (for long period of time) for agricultural dev’t. | It is diversion of flashy floods running off from mountainous catchment, using simple deflectors or robust structures for agricultural dev’t. |
| Discharge | Required to be fixed based on lean/base flow. Thus flow is smaller | Required to be fixed based on 80% dependable flow. Thus flow is large flood |
| sediment concentrations | Sediment concentrations is low as it is carried out in dry season | High sediment concentrations thus require settling basin & rejection spill structure |
| Longitudinal Slope & Velocity | Better to be non-erosive & non-silting | Better to be steeper within allowable ranges to enable flushing of sediment |
| Canal cross section | Preferred to be rectangular if lined (Rotational supply) | Preferred to be trapezoidal to carry large flow at a time (Continuous supply) |
| Canal b/d ration | Usually made to be within a range of 0.5-1.0 | Need to be shallow but wider i.e. b/d 1.0 so as to enable removal of deposited silt |
| Canal design formula | Fixed based on Manning’s formula | Fixed based on empirical equations like Lacey’s regime equations and canal erosion is then checked using Tractive Force Theory. |
| Duration of Irrigation | Supposed to be in day time or fulltime irrigation depending on capacity of beneficiaries, thus limited beneficiaries are participated. | Supposed to be at any time based on duration of incoming flood/runoff thus need close cooperation among beneficiaries. |
| Water Management | Easy to control as it is designed within the capacity & experience of beneficiaries; | Challenging for control as it is designed for the available 80% dependable flow |
| Sedimentation | Easy to control as it is carried out during dry time & limited flow is expected here. | Challenging for control, as large flow is released at a time thus rejection spillway should be built. |
| Efficiency | More efficient if properly managed | Less efficient as it is flashy and opportunity time for infiltration is also worse. |
| Sustainability | Once base flow is estimated reasonably & catchment is maintained properly, no problem with it. If the source is sustainable it could be primary option. | This is very risk-prone and requires high levels of co-operation among farmers, thus require mass mobilization even in the night. Operated where there is no other option |
| Labor input | Limited (3-4 per day) | Excessive, depending on magnitude of flood |
| Supply | Irrigation water supply for schemes is made available by gravity without settling basin. | Irrigation water supply is made available only by gravity with settling basin as it is sediment laden water. |
| Design aspect | Designed for sustainable base flow which is expected throughout the year | Designed for available runoff and command area (irrespective of base flow) |

Large floods can carry considerable amounts of trash which can quickly block canal intakes. Intakes sited on the outside of bends (the best location to capture the flow) are particularly vulnerable because trash moves with the surface flow to the outside of a bend. Trash screens are usually provided but may make the risk of blockage worse because they may tend to catch smaller trash which would otherwise pass through the intake and into the canal.

Trash already captured will effectively reduce the opening size and stop smaller trash from passing through. The solution is to provide a very large screen upstream of the intake, is likely to not incur sufficient blockage to stop flows, but it is also expensive.

Figure 2-1: Intake when blocked by trashes carried by spate flow

The most important constraint when planning for spate irrigation is usually lack of sufficient data on spate hydrology to predict floods and sediment loads in the wadi and hence to design the structure and diversion works.

In general, it is important to place the development of spate irrigation in the context of river basin management. If it is well designed and managed, spate irrigation systems can fulfil several important functions in basin management, beyond providing water for agriculture, rangeland and local forestry. They include:

Preserving biodiversity;

Mitigating flood peaks;

Stabilizing river systems; and

Recharging groundwater.

## identify reasons for poor performance of existing spate irrigation

Reasons for poor performance of spate irrigation that had not been anticipated include:

Failure to achieve the expected increase in irrigated area due to over-optimistic assumptions about water resource availability or incorrect characterization of the flood flows;

Increased inequity of water distribution resulting from the construction of stronger diversion structures which give the benefiting farmers a greater share of the available flow to the detriment of others;

Failure to appreciate the problems associated with high sediment loads resulting in blocked canals and in the longer term, inability to command raised fields;

Use of in appropriate design parameters and formulae (such as those for clear water irrigation);

Improbable assumptions about operation and maintenance in particular the ability of government departments to fund, manage and maintain the irrigation systems;

Changes in irrigation practice, such as the development of groundwater.

Figure 2-2: Layout of a Typical Curved Spate Headwork/Skimming Weir

Source: Guidelines on Spate Irrigation, by FAO, 2010

## improving spate irrigation systems

There are, a number of ways to improve spate irrigation systems:

Improve local diversion structures, ensuring that improvements do not interfere with established water distribution rules or expose the command area to risk of damaging high floods or heavy sedimentation. A wide range of options exists for civil engineering improvements, the use of gabion works, stone abutments and/or soil bunds using earth-moving equipment.

Improve water productivity and soil moisture management. There are several ways to achieve this. First is the use of improved field-to-field structures (inlets and overflow structures), allowing more regulated inflows and outflows during the hectic spate period. Another strategy is to ensure that animal traction power is adequate for ploughing and mulching, so as to conserve soil moisture after irrigation. A final strategy is to consider concentrating flows into a relatively compact command area. More-compact command areas also increase the chance of a second and third irrigation, taking crops out of the ‘stress zone'.

Improve field preparations, seed treatment, use of improved seed, early planting and targeted use of agrochemicals.

Introduce new crops – vegetables, cucurbits, pulses, oilseed. Introduce post-harvest technologies such as seed cleaning and improved storage.

Promote local agroforestry, particularly indigenous trees. This serves to stabilize surrounding areas and provides fuel, timber, medicines and bee forage.

Improve drinking water facilities in spate areas. These are often unprotected open ponds, but they can be improved by a range of technical and institutional improvements.

Improve land and water tenure, issuing individual titles where they do not exist and codifying or reviewing water rights so as to minimize conflicts and accommodate new realities – such as intense use of groundwater and the need for recharging.

Work on the bigger picture – improve access roads to spate-irrigated areas, general amenities and market facilities.

Figure 2-3: Traditional (L) and Improved (R) Field Intake in Spate Irrigation

## difference of spate irrigation flood irrigation & water harvesting systems

As spate irrigation uses seasonal floods for irrigation, it is similar but different from two other categories of flood-based irrigation systems, i.e. inundation canals (that start to flow as soon as the flood in a perennial river reaches a certain level) or flood rise or recession irrigation, where a rising perennial river overtops its banks and inundates the plains alongside the river.

In flood rise or recession irrigation, crops are grown on the rising or receding flow or on the residual moisture. In spate irrigation instead water is diverted from normally dry river beds (Wadis) when the river is in-spate. The flood water is then diverted to the fields. This can be done by one of the following modern spate diversion systems like:

Free intakes;

Diversion spurs; or

Bunds that are built across the river bed.

The flood water typically lasts a few hours or a few days and is channeled through a network of primary/main, secondary and sometimes tertiary flood channels. Command areas may range from a few hectares to over 25,000 hectares.

Erosion of RB due to insufficient length of wing wall or absence of key wall

Effect of retrogression

Intake

Weir

Figure 2-4: Intake (L) and weir (R) types of spate diversion

Source: Guidelines on Spate Irrigation, by FAO, 2010

Detailed study and design procedures of these headwork structures are separately presented in “GL 10: SSIP Guideline for Diversion Weir Design: and “GL 11: SSIP Guideline for Free River Side Intake Design”, thus, any reader can refer these guidelines.

Table 2-2: Differences between Spate and Normal River Diversion Schemes

| Parameter | Spate | Normal River Diversion |
| --- | --- | --- |
| Flow to be diverted | - Flood | - Base /Lean/Dependable flow |
| Nature of flow | - Hardly predictable in occurrence, frequency and magnitude - Flood stays for short period of time (mostly in hours) - Damaging and precious resources in dry lowlands due to alluvial nature of stream | - Relatively predictable in occurrence and magnitude - Flow stays for longer period of time (in months) - Confined within stable river banks |
| Sediment condition | - High concentrations - Pone to bed level changes of the command area | - Low concentrations - Unaffected by bed level changes of the command area |
| Irrigation application | - Only wild flooding the farm within bunds | - Can be in different option |
| Irrigated land | - High uncertainty and subjected to variability - Large area | - Almost certain in irrigating pre-determined land if applied as per design - Small area |
| Production season | - Once per year i.e. only in flooding times | - Up to three times per year depending on ecology |
| Objective | - For survival | - For profit making |

## initiation of participatory design process

Spate irrigation by principle needs participatory design process together with beneficiaries. The main steps of such participatory design processes include:

Identification of beneficiaries including traditional institutions/ associations such as hydraulic units or villages;

Introduction of the project and clarification of its objectives to them;

Identification of problems as much as possible;

Ranking of problems i.e. prioritize them;

Examination of the more highly ranked problems both in the field and by desk study (how many problems can be addressed will depend on both costs of solutions and Identification of possible solutions to the highly ranked problems and agreement on preferred solutions (possibly more than one if the final decision will depend on cost);

Outline design and cost estimates for the preferred solutions;

Identification and resolution of any potential impacts of the proposed works on the existing water rights;

Agreement on scope and responsibilities for future operation and maintenance;

Discussion of the outline designs and either agreement to proceed with detailed design or, if too expensive, proceed with a more affordable solution;

Preparation of final designs and cost estimates;

Final agreement by the beneficiaries to the proposed works prior to implementation.

## linkages of spate irrigation and natural resource management

As a designer, before planning spate irrigation project, we need to understand its linkages to natural resource management so that necessity of the project comes in to picture as presented in table below.

Table 2-3: Understanding Linkages b/n Spate Irrigation & Natural Resource Mang’t

| Issue | Impact of spate irrigation | Impact on spate irrigation |
| --- | --- | --- |
| Biodiversity and natural vegetation | - Spate systems are depositories of local biodiversity | - Wild plants and trees are often additional sources of income. - Mesquite infestation has a negative effect on use of the command area. |
| Catchment degradation | - Cutting of trees for traditional diversion structures may contribute to the degradation of the catchment area. | - Catchment degradation changes runoff patterns and increases sediment loads. |
| River morphology | - Spate systems tend to stabilize river morphology. Encroachment on river banks creates vulnerable areas. | - Catchment degradation and cutting of riverine forest and bank vegetation causes changes in runoff regime and may trigger scouring and widening of wadi beds. |
| Dune formation | - Facilitate recharges as it got more chance of seepage. | - Dune formation particularly threatens the fringes of spate systems. |
| Flood management | - Spate systems usually intercept moderate to medium flows, only large floods are passed on down a wadi. | - Major floods change River morphology and affect viability of spate systems. |
| Groundwater recharge | - May be either positive or negative. May increase recharge by slowing down flood flows. May decrease recharge by extracting water from wadi & increase evaporation. Cutoff structures may obstruct subsurface flows that are the major source of groundwater recharge. | - In areas where ground water is available conjunctive use of groundwater and spate flows can sustain highly productive agriculture. |
| U/s and d/s water use | - Spate irrigation may reduce water availability for downstream use. | - Intensification of u/s water use may change water availability for spate irrigation |

Source: Guidelines on Spate Irrigation, by FAO, 2010

## types of spate

### General

Summary of different types of spate irrigation schemes as per “The Guidelines of Spate Irrigation, by FAO, 2010” are presented in Appendix-I. However, general classifications & selection of appropriate spate diversion headwork are given in the following sections.

### Classification & Selection of Appropriate Spate Diversion

#### Traditional Spate Irrigation

Such irrigation involves runoff deflection by spurs or bunds, earthen, stone or brushwood. It is typically characterized by many small intakes with short canals.

Canal Intake

Stream flow

Figure 2-5: Traditional spate irrigation headwork (L) Diversion bund intake (R)

Traditional intakes can take one of the two forms: Spur-type deflector (Figure 2-6) and Bund-type diversion (Figure 2-5 (R)).

Figure 2-6: Deflecting spur-type traditional intake

Deflecting spurs are mainly constructed in upstream wadi reaches, soon after the wadi leaves the foothills and begins to enter the flood plains. In these locations, longitudinal slopes are steep, bed materials are coarse and water velocities during flood flows very fast. The structures consist of a spur, usually built from wadi bed material and reinforced with brushwood and other more durable materials brought down during floods. They are located within the main wadi bed and aim to divide or split the flood flows, with the larger part of the flow being encouraged to continue downstream. From the main deflector, a smaller bund is constructed across and extending up the wadi bed at a relatively sharp angle both to intercept low flow and divert it via the low-flow channel to an un-gated canal intake.

In case of Bund-type diversion, the diversion structure consists of a large bund constructed from wadi bed material that is built right across the wadi bed. The structure diverts all the available wadi flow to canals at one or both banks. Bund-type diversions are constructed in the lower reaches of wadis, where the bed slopes are flatter, available flows less frequent, water velocities are slower and the bed materials are finer than the sites where deflectors are used. All the wadi flow is diverted until the bund is overtopped and scoured out by a large flood or is deliberately cut by farmers.

In general, traditional spate irrigation systems are based on floods and related phenomena, which makes them very different from normal irrigation practices. Design considerations that apply to other irrigation systems do not apply to them. Some of the factors that make such spate systems unique are:

Large amount of sediment that ride on the flow (refer section sand trap for it control);

The large amount of trash that comes in with the flood waters;

Scope for abrasion and impact damage;

A complex system of water rights of various users.

Having evolved over hundreds of years in traditional spate irrigation systems, the improved system take all of these into account. Any intervention to increase their efficiency should therefore be based on these considerations.

#### Improved spate irrigation

This has reinforced intakes, bed stabilizer, rejection spill ways or overflow structures, drop structures use of gabions, bulldozer bunds, and vegetative bunds.

There are several options for improving diversion structures, which depend on:

The site topographic conditions,

The available resources and

Farmers’ preferences.

These options essentially include more durable diversion spurs with:

Breach or overflow sections;

Improved diversion bunds (including the use of fuse plugs and bed bars);

Controlling flows admitted to canals (natural orifice control or more formal gated intake structures);

Rejection spillways; and

A combination of all these.

Typically, improved diversion structures shall incorporate the following components:

A bed stabilizer (bed bar) or a raised permanent weir, to control and fix the bed and hence the water levels at the division point. In most cases weirs are only needed to provide command to the immediately adjacent land, as both the land and wadi bed slopes are steep and most of the land is naturally commanded;

A fuse plug, in earth or wadi bed material, to be used in conjunction with a permanent weir structure spanning only part of the wadi width, to increase the return period of the design and thereby reduce costs but still protect the intake and weir from exceptional floods;

A scour or under-sluice, to exclude very coarse sediment material from the canal during periods of high flows. When gated, sluices can usually only be operated for the short periods when the wadi flows exceed the canal discharge and in agreement with water users,

A breach bund made of local material, located just downstream from the intake structure and built over a bed bar that controls the location of the diversion bund and offtake. It will be breached during high flood flows and thereby return to the downstream river bed large amounts of coarse sediments transported by such floods and avoid heavy sedimentation of canals and blocking of intakes,

A canal head regulator or intake, controlled by gates or orifice flow, to regulate the flows entering the canal and share water among several intakes. In large systems characterized by fixed intakes, gates are needed for sharing the water between the intakes. In these situations, a local experienced community operator assesses the arriving floods (timing, duration, size) and adjusts the openings in accordance with agreed schedules and water allocations; and

Guide or divide walls.

#### Modern spate irrigation

This type involves concrete spates, sedimentation ponds, single long channels, Use of concrete and gabion often modified by beneficiaries.

Figure 2-7: Modern spate irrigation headwork in operation (Tigray)

Modern spate irrigation headwork is relatively sophisticated (when compared with traditional structures) and costly diversion structures, linked to new canal systems, have been introduced in several countries to modernize and improve the performance of existing traditional systems. These well-intentioned engineering interventions were designed to reduce or eliminate the need for the frequent reconstruction of intakes and in some cases to increase the volumes of water that could be diverted. However, these have often failed to produce the benefits that were expected.

The disappointing performance of many of these systems has been variously attributed to Failures to achieve an expected increase in irrigated area due to over-optimistic assumptions about water resource availability and the water diversion efficiencies that can be achieved with rapidly varying spate flows and manually operated control gates; An increased inequity of water distribution, resulting from the construction of permanent diversion structures at the head of spate systems, which gave the upstream farmers control over a large proportion of the available flows, to the detriment of downstream irrigators; Serious command problems due to high rates of sediment deposition on the fields and canals; Unrealistic assumptions concerning levels of operation and particularly the maintenance, mostly canal de-silting, required to keep conventionally designed irrigation networks running in spate systems.

Table 2-4: Types and comparison of spate infrastructure

| Spate Types | Description |
| --- | --- |
| Traditional | Deflection spurs or bunds; Earthen, stone or brushwood structures; Typically many small intakes with short canals |
| Improved traditional | Requires reinforced intakes, bed stabilizer, rejection spill ways or overflow structures, drop structures; use of gabions, bulldozer bunds, vegetative bunds; Traditional channel network kept intact |
| Modernized | Designed from concrete diversion weirs, sedimentation ponds, single long channels; Use of concrete and gabion; Often modified by farmers |

### Spate classification based on position of d/s water level

Free-overfall (Clear-overfall) spate: In this case,

Q = 2/3*Cd*L* (2g)0.5*H1.5 ………………………………………………………………… (2-1)

Where,	Q is discharge m3/s;

L is crest length;

Cd is discharge coefficient;

H is flow depth over the spate crest.

Here, downstream water level /WL/ is lower than crest level, thus Q is independent of D/S WL but Q α H;

Submerged/drowned spate: In this case, D/S WL is higher than spate crest. Thus, discharge over the free portion (i.e., upper portion) is given by:

………………………………………………….. (2-2)

And discharge over the submerged (i.e., lower) portion is given by:

……………………………………………………… (2-3)

Therefore, total discharge expected to pass over the spate body:

……………………………………………………………………………... (2-4)

Figure 2-8: Position of water level relative to crest level (Typical)

Note: In selecting any of the above spate types, its economic aspect, its stability and its practicality should be considered.

### Spate classification based on stabilizing factor

Gravity spate diversion: In this case, the weight of the spate (i.e. its body and floor) balances the uplift pressure caused by the head of the water seeping below the spate. Thus, this type of spate depends on its weight for counteracting uplift pressure due to seepage. Weight of the spate body and/or floor is higher than the uplift/due to head of seepage water (subsurface flow) under spate. Such spate is used on permeable soil.

Non Gravity spate diversion: In this case, the spate floor is designed continuous with the divide piers as reinforced structure, such that the weight of concrete slab together with the weight of divide piers, keep the structure safe against the uplift. This type of spate rests on the piles (cutoffs) and other pressure defusing mechanisms for its stability against uplift force from the subsurface flow. It needs careful design and reduces construction material cost.

## components and functions of spate diversion structures

### Functions of spate diversion structures

A design engineer must know functions of a diversion headwork and its compartments and imagine it so as to fix its size and shape which best fits the existing conditions at the selected site. Consequently, the following main functions of such structures are identified for this purpose:

To regulate water supplies in to the off-taking canal and river downstream,

To raise water level in the river for maximizing the size of command area;

To provide a stable riverbed level from which to abstract flow from the river;

To provide an impermeable cut-off to bed rock and drive sub-surface flow to the surface  often a major requirement for spates in arid climates;

To pass continuous flow towards the intake;

To reduce the beneficiaries work load in constructing temporary diversion bunds at every flood season;

To increase reliability of water supply.

To form a temporary storage by construction of dykes on both side of banks of the river so that water is available throughout the year.

To control entry of silt into the canal and to control the deposition of silt at the head of canal head regulator, and

To control fluctuation of water level in the river during different seasons,

To provide a positive cut-off to bed rock and thus drive sub-surface flow to the surface.

### Components of spate diversion structure

To achieve at the aforementioned functions of spate diversion, the structure shall comprise either all or part of the following components:

Main spate body including part between sluices channels;

Intake Structure also called head regulator & that part embedded in wing walls;

Sediment exclusion structures, like Scour/Under sluice and/or sand trap;

Intake & Under-sluice gates;

Stilling Basin & End Sill (depending on local bed material condition & magnitude of flood);

Intake and sluice gates (spindle or sliding depending flood on condition);

Protection Works (depending on local bed material condition);

Divide Wall (depending on amount of lean flow availability);

Wing walls (depending on size of flood, bank stability & level of surrounding ground);

River training bunds/marginal embankments or dykes (depending on magnitude of flood & level of surrounding ground);

Guide Bank (depending on magnitude of flood & level of surrounding ground);

## causes and remedies for failure of spate headwork structure

### General

Failure of hydraulic structures in spate irrigation is similar to that of conventional diversion weirs. Thus, this failure is the combined effect of subsurface flow and surface flow at the site in addition to lack of quality of construction and sedimentation of on-farm structures. Such causes include piping, uplift force, suction caused by standing wave and scouring on both upstream and downstream of the structures.

When hydraulic gradient or exit gradient exceeds the critical value of soil, surface soil at d/s end starts boiling first and is washed away by percolating water. This process of removal or washing out of soil continuous and eventually a channel in the form of pipe is formed by seepage water. This is called piping which may cause the failure of foundation. Similarly uplift force of percolating water is acting on the floor from bottom and if the weight of floor is not enough to resist this uplift force, the floor subjected to such condition may fail by cracking or bursting.

### Failure due to subsurface flow

There are two fundamentals for such failure

#### By piping or undermining

This occurs when water from the upstream side continuously percolates through the bottom of the foundation and emerges at the downstream end of the weir or barrage floor. The force of this percolating water removes the soil particles by scouring at the point of emergence. As the process of removal of these soil particles goes on continuously, a depression is formed progressively which extends backwards towards the upstream through the bottom of the foundation. This process of erosion thus progressively works backwards towards the upstream and results in the formation of a channel or a pipe underneath the floor of the spate diversion structure, causing its failure and a hollow like pipe formation develops under the foundation due to which the structure may fail by subsiding. This phenomenon is known as failure by piping or undermining,

#### By uplift pressure

This phenomenon occurs when the percolating water exerts an upward pressure on the foundation of the headwork structure. If this uplift is not counterbalanced by the self-weight of the structure, it may fail by rapture. Its distribution is high at the upstream and minimized while moving to the downstream.

### Failure by surface flow

#### By hydraulic jump

When the water flows with a very high velocity over the crest of the headwork structure or over the gates of the barrage, then hydraulic jump develops. This hydraulic jump causes a suction pressure or negative pressure on the downstream side which acts in the direction of uplift pressure. If the thickness of the impervious floor is not sufficient, then the structure fails by rapture.

#### By Scouring during floods

The gates of the barrage are kept open and the water flows with high velocity. The water may also flow with very high velocity over the crest of the structure. Both cases can result in scouring effect on the downstream and on the upstream side of the structure. Due to scouring effect on the downstream and on the upstream side of the structure, its stability gets endangered by shearing.

### Failure due to silt (Aggradations & degradation or retrogression)

Constructing headwork structure across the river causes progressive retrogression on the downstream part and aggradations in the upstream part of the structure. The upstream aggradations have the tendency of increasing the velocity of approach in the upstream side of the structure since the initial flow area computed for the velocity of approach in the upstream side encloses between the U/S high flood level and pond level.

The downstream retrogression on the other hand, causes lowering of the downstream river stages which thus need to be considered during the design. Lowering of the river water level due to retrogression on the downstream causes increased exit gradients and endanger the safety of the structure. So, a retrogression of 0.3-0.5m may be assumed for calculating the design floor and exit gradient. However, if the downstream river course is strong rock, retrogression will not be assumed.

Thus, silt deposition could hamper soundness of operation of the structure by clogging of gates and other water ways there by reducing its efficiency or leading to its collapse. Thus, following mechanisms are recommended:

Introduce silt- controlling mechanism,

Open headwork structure or barrage is recommended on Rivers with high sediment concentration usually those with poor catchments on upper reach of a river & seasonal rivers,

Depending on the magnitude & type of sediment, an excluder in the River or extractor along the canal could be constructed,

Usually on the lower reach, suspended silt is carried by the flood thus, an extractor in the canal would be appropriate. The decision is dictated by the pertinent condition of the silt & it is the designers who decide on either mechanism.

### Failure due to seismic load

Seismic impact especially on any elevated structure is high. Therefore, a seismic coefficient should be adopted in the design activity depending on the delineated seismic zones of our country. Seismic Risk Map showing 1:50 earthquake acceleration has been attached as appendix for this purpose.

### Failure due to man-made activities

Man-made activities like use of poor construction activity and construction material for the purpose of fraud and absence of skilled construction labor including intentional interference like looting of steel and other materials and attack on the structure due to unhealthy attitude towards it can also cause danger to the structure. This requires strict follow-up of the construction activities and awareness creation for not only the project beneficiaries but also for the communities around the project area.

### Remedies for failure of spate headwork structure

The main remedies against failure of spate headwork structure are:

Path of percolation or creep length of seepage water should be increased either by providing sheet piles at upstream, downstream or at intermediate point to reduce the hydraulic gradient or increase length of the impervious layer itself;

Floor thickness should be increased to increase its self-weight to counterbalance the uplift force;

Energy dissipater blocks like friction blocks, impact blocks, should be provided i.e. select appropriate type of stilling basin;

Inverted filter should be provided with concrete blocks on the top so that the percolating water does not wash out the soil particles;

Launching apron of sufficient length and thickness shall be provided on both U/S and D/S sides, as appropriate;

Deep foundation like well foundation should be provided for the barrage piers (Note: well foundation is a type of foundation formed by sinking monoliths to a firm stratum, plugging the open wells at the bottom with concrete and filling with granular material. Smaller wells may be filled entirely with concrete. Usually adopted for across wide rivers of loose bed material. Well foundation is preferable to pile foundation when foundation has to resist large lateral forces).

## lesson from implemented spate irrigation schemes

As has been mentioned, spate irrigation is commonly exercised in arid and semiarid areas where there is no other alternative to sources of irrigation water. In such areas, there may not be enough hydrological and meteorological stations and data scarcity may encounter. Consequently, vulnerability of hydrological assumptions may encounter resulting in either over or under flood magnitude and duration than estimated one.

Sediment including trashes are a fundamental feature of most spate irrigation schemes i.e. sediment has both advantage and disadvantage in that it is a key resource as it brings fertile silt from the catchment; on the other hand, it is a key problem as it transports boulders, gravel, sand and trashes to the project area. Traditional diversion works usually breaches in the larger floods case, which also enables the worst of the sediment to be flushed downstream instead of entering the canal system. Thus, developing a strategy for sediment management is the first requirement in the planning of spate irrigation schemes either structurally or biologically and/or both.

Parent soil

Deposited soil

Figure 2-9: Fertile soil (L) & sedimentation (R) as seen deposited on field & MC

The options that are available for sediment management in spate irrigation include:

- Excluding, or at least reducing, the concentrations of bed material sediments that are allowed to enter the canal head reach at the head works;

- Removing excess sediment with a sediment extractor, usually located in the canal head reach;

- Designing the canal to transport the high sediment concentrations that will be admitted;

- Accept that a conventionally designed canal will silt up, and make the appropriate arrangements for routine desilting.

In contrast, spate irrigation can thicken shallow soil depths by depositing alluvial soil that comes with the flood (from erosion of upstream river banks and beds) and settles on the farm. But raising field level if irregular may enforce non-uniform distribution of spate water, thus levelling the farm land after each irrigation using draught animals is by-far important. In some locations, soil depths of 50cm thickness have been developed over a period of 3 to 4 years. Alluvial sediment gets deposited for many meters thick have been observed in some of the older spate irrigated areas. The rate that soil builds up varies from location to location, depending on the erosion status and sediment yield from catchments and also with position within a scheme.

Figure 2-10: Land levelling & mulching after irrigation using draught animals

Table 2-5: Field rise rates in spate irrigated areas

| Scheme | Annual rise rate, mm/year |
| --- | --- |
| Wadi Laba Eritrea (Measured 1998/99) | Upstream fields 8–32 |
|  | Middle fields 6–18 |
|  | Downstream fields 5–9 |
| Wadi Laba Eritrea (Long term estimate) | 30 |
| Eastern Sudan | 139 |
| Baluchistan mountain systems, Pakistan | > 50 |
| Wadi Zabid, Pakistan | Upstream fields 20–50 |

Source: P.L. and Dr. F.V. Steenbergen, 2005

Annual rise (as per P.L. and Dr. F.V. Steenburgen, 2005) in the command levels of upstream fields can be estimated from:

…………………………………………………………………………. (2-5)

Where,	Rise is Annual rise in the level of the upstream fields (m)

N is Number of irrigations

D is Depth of water applied per irrigation (m)

C is Sediment concentration by weight (ppm)

Determination of flow capacity for spate irrigation is fully dependent on management capacities and coordination of beneficiaries’. Spate flow by its nature is devastating unless we control it at intake site based on this capacity. Flow capacity is usually assumed 50% of peak design flood for diversion unless the command area is large enough to accommodate more than this value.

In general, spate canals are usually relatively designed to be wide and shallow. Thus, deposition of sediment in the bed has a limited impact on the flow capacity and can be easily compensated for by raising the banks. When required. However, if they are much narrower, deposition of the sediment results in a substantial reduction in flow capacity. Wide, shallow canals are also hydraulically inefficient which means that they can naturally dissipate sufficient energy to main suitable velocities.

Spate flows most frequently occur at night as a matter of natural consequence usually in the afternoon or evening rainstorms. Farmers thus may or may not be aware of the incoming spate flow depending on the rainfall falling on the highlands and whether there is any warning or communication system for the beneficiaries. Since duration for such incoming flood is not exactly known to beneficiaries, they should use flood warning system such as siren/alarm of outsized sound, if available or local implements like “Tirumba”, a device similar to French horn or even extra-large vocal sound among themselves.

## types of stilling basins in spate irrigation

### General

The stilling basin also called downstream impervious apron is an integral part of the weir structure to its downstream side and is used for the purpose of resisting uplift pressures exerted from the bottom of the structure and to dissipate the incoming energy from over the weir. There are different types of stilling basins, but the most commonly used types are USBR Standard and Indian Standard. The USBR standard recommends lengths and depths of basin, based on calculated specific energy, velocity and Froude number.

### USBR Standard Stilling Basin

Types of stilling basins as per Design of Small Dam, USBR, 1987, are divided in to the following.

#### Stilling basin type-I

This type of basin is used where hydraulic jump occurs on a horizontal apron thus energy dissipation is very low with the Fraud number, Fr = 1.7 to 2.5 and incoming velocity is less than 15m/s. This is the weak jump zone. Such flows are not appeared by active turbulence. Thus, in such case, the basin is plain horizontal and jump occurs on the floor with no chute blocks, baffle piers or end sill provided thus simple for construction. Usually this is not recommended because of need for excessive length, but discussed here since it provides a grounding in the basic hydraulics of all stilling basins.

Figure 2-11: USBR stilling basin, type-I

#### Stilling basin of type-II

This type of basin is used for spillways of high concrete dam and embankment dams. Its incoming velocity exceeds 15m/s and Fraud number, Fr varies from 4.5 to 9.0. It is a range of well-balanced jump and its performance is at its best and least affected by tail water variations. In this case length of the basin can be shortened by introducing devices like baffles and chute blocks. Such jump is called a steady jump.

Figure 2-12: USBR stilling basin, type-II

#### Stilling basin of type-III

This can be more economical than basin II. Here a row of baffle piers is placed downstream from the chute blocks. This basin relies on dissipation of energy by the impact blocks and also on the turbulence of the jump phenomena for its effectiveness.

Because of the large impact forces to which the baffles are subjected by the impingement of high incoming velocities and because of the possibility of cavitation along the surfaces of the blocks and floor, the use of this basin must be limited to heads where the velocity does not exceed 15 m/s. This is a short basin, but complicated by floor and chute blocks.

Figure 2-13: View of USBR stilling basin, type-III

#### Stilling basin of type-IV

This type of basin is used for stilling basin design and wave suppressors for canal structures and low head diversion weirs. Its Fr varies from 2.5 to 4.5 & is in the transition zone with incoming velocity less than 15m/s. It has rough water surface with roller and oscillating jet. The jump is not stable and waves are thus generated. This basin is a short basin, but complicated by floor and chute blocks.

Figure 2-14: USBR stilling basin, type-IV

### Indian standard stilling basin

Indian Standard Institution has also standardized certain stilling basins for uses under different conditions in IS: 4997 - 1968. Stilling basin I and II (for Fr <4.5 and Fr > 4.5 respectively) with horizontal aprons and stilling basins III and IV with sloping .aprons are described in detail in standard. But the most commonly adopted basins are the above described USBR ones, if anyone is interested in IS, it can be referred in the mentioned standard.

### Appurtenant structures in stilling basin

#### Chute blocks

Chute blocks are a kind of ragged wedges (i.e. row of small projections like teeth of saw) and provided at the entrance of the stilling basin i.e. foot of d/s sloping face. The incoming jet of water is creased and partly lifted from the floor, producing a shorter length of jump than what would have been without them. They also help in stabilizing the flow and thus improve the jump performance.

Chute blocks:	Height = d1 or d2/9, whichever is greater; …………………………………... (2-6)

And, Width = spacing = 0.75 to 1.0 times height …………………………… (2-7)

#### Sills and dentated siils

Sill or end sill or more preferably dentated sill is generally provided at the end of the stilling basin. The dentated sill diffuses the residual portion of high velocity jet reaching the end of the basin. They, therefore, help in dissipating residual energy and to reduce the length of the jump or the basin.

Baffle/Basin blocks:	Height = d1 or d2/8, whichever is greater; ………………………....... (2-8)

Width and spacing are same as for the chute blocks, but staggered;

Location = 0.4*Lb from start of basin ……………………….......................... (2-9)

End Sill: Height = d2/10 ………………………............................................... (2-10)

Note: These dimensions are indicative only, as it is based on the type of the selected stilling basin.

#### Baffle piers

These are the blocks placed within the basin, across the basin floor. They help in breaking the flow and dissipate energy mostly by impact. These baffle piers, sometimes called friction blocks are very useful in small structures, such as low spillways and weirs, etc. They, however, give way due to cavitation, under the influence of high velocity jets, and hence are unsuitable for large works.

# SPATE HYDROLOGY in Brief

## nature of spate floods

Spate irrigation is a moisture conservation strategy by its nature, and it is different from that of conventional diversion as it mainly involves diversion of flashy floods of short duration carrying full of sediments. Spate hydrology is thus characterized by a great variation in the size and frequency of floods which directly influence the availability of water for agriculture.

Wadis are also characterized by very high sediment loads and important groundwater recharge through seepage in the wadi bed. All these characteristics are specific to wadi hydrology. Management of floods and high sediment load therefore require a good estimate of the main hydrological characteristics of the wadi.

Consequently, in developing a spate irrigation system, it is important to understand the entire hydrology of the system, such as mean monthly flow, sub-surface flow and groundwater and the pattern of spate floods that prescribes the potential yield of spate systems, the design of diversion structures and canals and the area to be potentially irrigated.

Thus, in analyzing spate hydrology, particular attention should be given especially during the determination of amount of design flood and silt load from large catchment as it depends on orographic nature, climatic conditions and hydrologic cycle in general. Even there is high seepage of water in the course of the river between the head work site and the catchment outlet at a point where contribution of runoff from rainfall ceases. Therefore, during hydrological analysis, designers need to consider such conditions as they have impacts on the expected output. To minimize silt load, it is better to use settling basin or allow passage of the first peak runoff in the channel.

## hydrological data requirements

Hydrological and sediment transport data are needed to design improved water diversion structures and canals in spate schemes. The following information should ideally be available to designers of spate irrigation headworks and canals:

Annual volumes of water available at the diversion point(s) in terms of seasonal incidence and reliability;

Probable distribution of spate runoff events in terms of peak flows and flood volumes;

Distribution of flows during runoff events, particularly the shape of the recession limb of the hydrograph, which provides the bulk of the water that can be diverted to irrigation command areas;

Proportion of annual hydrograph that occurs in different flow ranges (flow duration curve);

Wadi bed seepage rates;

Magnitude and return periods of extreme discharges for the design and protection of permanent works;

Concentrations and size range of sediments transported by spate events and their relationship with wadi discharges; and

Sediment-transporting capacity of existing canals.

For more hydrological data requirement for irrigation project design, refer the hydrology study guideline which has been presented separately in detail in "GL 3: SSIP Guideline for Hydrology and Water Resources Planning”).

## assessments required for spate flood estimation

Spate hydrology is not dependable as the theoretical output may mislead us. Thus we need to make field assessment to counter check theoretical output and simulated data. Among the checks that need to be made are:

Find out the number of floods in each of the past few years from the local population. Try to classify them into large, medium and small and whether the years were wet, dry or average (Note: Normal year is a year receiving RF in b/n X±SD; Good year is a year receiving RF > Normal year; Abnormal/Wet year is a year receiving RF  X+SD; Drought year is a year receiving RF < X-SD; Normal month is a month with 50-200% of MMR i.e. Mean monthly RF; Abnormal month is a month with more than two times MMR; Drought month is a month receiving <50% of MMR),

Also find out the flood durations and whether length is dependent on the peak flow;

Ask about the largest floods in both history and living memory and, if possible, the years when they occurred.

At a location where the wadi /river is relatively confined, ask the local population to indicate the maximum water levels for both the highest floods in recent years and the highest in memory. The flow can then be estimated by velocity-area method after surveying the channel cross section and the water surface slope at that location.

## considerations for spate flood estimate

Generally, planning of spate irrigation development with respect to floods need to take in to account of:

How many floods?

How much water they contain? and

How long they last?

Duration of spate flow is very important as two floods may have the same volume of water but one may have a low peak and long duration while the other has a high peak and short duration. The former flood is of-course easier to manage and has better potential for spate irrigation. From farmers points of view a good flood is the one that has a moderate peak but a long recession.

Figure 3-1: Typical hydrographs showing nature of peak flood & duration

As we can be seen from the above typical hydrographs, for example, flow at st2 has lower peak but lasts for longer duration than flow at st1 which has higher peak and shorter duration. This indicates that, if our demand is say 15m3/s, then diversion for spate irrigation at st2 gives better and dependable flow than that at st1 as it lasts for longer duration (Jun to Jan) though its peak is lower than that at st1 (of-course we do not want discharge beyond 15m3/s).

In case, the available mean flow is low to irrigate available command area, then it may require diversion of all flood other than downstream release or use storage system.

Differences in requirements of hydrologic parameters for spate diversions as compared to conventional ones are presented in table below.

Table 3-1: Requirements of hydrologic parameters in conventional & spate diversions

| Parameter | Conventional Diversion | Spate Diversion |
| --- | --- | --- |
| Monthly base/lean/ dependable flow | In this case it is critically required for designing irrigation demand | Here, it is not critical as demand is based on mean monthly flow |
| Mean monthly flow | Required for water balance | Required for analysis of irrigation demand |
| Peak flow | Required for designing the headwork structure | Required for designing the headwork structure |

The following table shows assessments required in Wadi hydrology and sediment transport collection methods.

Table 3-2: Wadi hydrology and sediment transport collection methods

| Parameter | Method | Remarks |
| --- | --- | --- |
| Seasonal/annual discharge and probabilities of occurrence | Long-term discharge data from flow-gauging station | - Rarely if ever available. - Needs properly sited and maintained gauging station. - Discharge is usually computed from continuous water level records and derived rating curve(s). - Velocity measurement in floods is extremely difficult, although surface float tracking is feasible. |
|  | Numerical models verified/ calibrated by short-term discharge data | - Usually only feasible for major studies - Needs good-quality long-term RF data from catchment - Some gauging station data desirable for validation. |
|  | Short-term flow data supplemented by farmers’ recollections of numbers of floods occurring & areas irrigated in past years | - Annual and monthly runoff is broadly correlated with the number of floods that occur. - Irrigated areas usually vary widely from year to year, reflecting discharge variations. |
|  | Regional RF/runoff relationships/ empirical methods supplemented by farmers’ recollections | - Method needs to be selected and interpreted by experienced hydrologist. |
| Design extreme flood discharges | Analysis of long-term records of annual flood maximum discharges | - Data rarely available. |
|  | Synthetic long-term runoff data derived from stochastic modelling | - Usually only feasible for major studies. |
|  | Rational methods | - Need rainfall intensity and other parameters derived from catchment characteristics - Need verification with measured or slope area estimates of flood maxima. |
|  | Regional flood frequency relationships | - Often the most reliable method as based on large number of station years of measurement. - Need to estimate the mean annual maximum flood in order to use reported growth factors. |
|  | Slope area calculations | - Used to estimate peak discharge of historical floods by means of local informants’ estimates of the flood water level. |
| Discharge capacity of exiting canals | Current metering in floods | - Difficult, need to be on site when large floods occur (often at night), requires heavy equipment. |
|  | Slope area calculations | - Ideally gauge boards/automatic water installed to provide reliable water-level records. - Farmers may provide estimates of water levels when canals have been breached/overtopped. |
| Sediment transport | Bed material sediment sizes, wadi bed and canals | - Large samples needed when coarse wadi bed material is to be size graded. - Stone-counting methods available for cobble and boulder shoals. |
|  | Pump sampling during floods at discharge-gauging location | - Needs continuous presence on site unless automatic sampling equipment is used. - Measures suspended load component only; bed load is usually derived from empirical relationships. - Needs concurrent measurement of discharges plus size grading data of bed material. |
|  | Dip samples collected in bottles during floods | - Measures wash load, useful for estimating fine sediment concentrations passed to fields. - Can be supplemented with sediment transport predictors to estimate sand and bed load. - Need concurrent measurement or estimates of discharges and size-grading data of bed material. |
|  | Historical rates of rise of field levels and command levels | - Surveys of field levels, trial pits, upstream movement of traditional diversion structures. |

Source: Guidelines on Spate Irrigation, by FAO, 2010

## spate irrigation and river morphology

As per FAO, 2010, spate irrigation occurs either in mountain valleys or on the plains close to the mountain front at the end of a gravel fan. In the latter areas, wadis tend to be unstable and subject to serious erosion of the bank and bed.

Spate irrigators thus attempt to stabilize these sections for the sustainability of their spate irrigation as it depends on the river that does not change its course dramatically, or bed levels silting up or degrading. Even then spate systems are subject to disturbance when large floods occur resulting in changes in the river morphology, thus have their origin in the lack of protection of local vegetation such as the cutting of riverine forest or of river bank vegetation, but are also be triggered by historic floods that result in a general lowering of river bed levels thus destroying headwork’s original levels and dimensions and consequently disables entrance of spate flood to the intake side.

Original Intake bed level

Modified Intake bed level

Eroded Bank

Figure 3-2: Abandoned intake due to lowering of riverbed & erosion of bank, ethiopia

## estimating mean annual run-off and potential irrigated area

### General

The proportion of Mean Annual Run-off (MAR) that can be diverted to the command area is an important parameter in determining the potential irrigable area, although in spate schemes the areas that are irrigated can vary widely from year to year. MAR is conventionally expressed as a run-off depth from the catchment, in mm (refer equation 3-1), but can easily be converted to a volume (m3) by multiplying by the catchment area. This volume however, need to consider that part which is expected to be lost on arriving the diversion site especially for the case when runoff contributing catchment and the command area are far apart.

The proportion of the run-off volume that can be diverted for irrigation depends on the diversion arrangements and the patterns of spate flows that are experienced. This is difficult to estimate without extensive long term site-specific flow data. In spate schemes, the command areas are determined in part by the level of risk that farmers are prepared to accept before constructing and maintaining canals and field bunds and preparing their fields. While the fields near the head of a scheme may receive multiple irritations, those near the tail may only receive water occasionally.

### Using farmers’ indigenous knowledge

As per “The Guidelines of Spate Irrigation, by FAO, 2010”, where there is a traditional spate irrigation scheme, the most reliable procedure is to base assessments on existing extent of the command areas without disturbing existing main infrastructures, if any. These assessments shall be supplemented by consultations with farmers to establish:

How often fields in different parts of the system are irrigated and how this varies between seasons and years;

Numbers and sizes of floods and their variations between seasons and years;

Estimates of water levels and the periods that canals flow, to approximate the volumes of water diverted from flood events by slope-area method.

Note: As beneficiaries themselves establish the potential irrigable area, the main benefits from improvement projects of existing spate usually stem from a saving in the large labor requirements needed to divert the traditional intakes and canals which would have required maintenance every season than engendering new area.

### Estimating MAR depth & volume using a runoff coefficient

The simplest method of estimating MAR is to apply a runoff coefficient to the mean annual rainfall/precipitation over the catchment as given below, FAO 2010:

MAR = C* MAP ……………………………………………………………………………. (3-1)

Where	MAR is Mean Annual Runoff (mm)

MAP is Mean Annual Precipitation (mm, from design rainfall analysis)

C is Runoff Coefficient

Runoff coefficients for catchments of wadis typically range between 0.05 for larger catchments and 0.10 for smaller catchments, FAO 2010. However, runoff coefficients can vary considerably, even between adjacent catchments and, if this approach is used, then a hydrologist with knowledge of the local catchments should select an appropriate runoff coefficient. More refined methods for estimating MAR can be referred in "GL 3: SSIP Guideline for Hydrology and Water Resources Planning”.

Annual volume of runoff from a certain catchment at intake site is then estimated from:

ARV = MAR * A * 1000……………………………………………………………………. (3-2)

Where,	ARV is Annual Runoff Volume, including potential losses (m3)

MAR is Mean Annual Runoff (mm)

A is Catchment Area (km2)

Monthly computed demand (m3) then should be compared with monthly runoff volume (m3) to decide on feasibility of such irrigation project.

The catchment area can be estimated from 1:50,000 topo maps, after marking the intake location(s) and the catchment boundaries, by using a digitizer, planimeter or squared overlay sheet or simply by Arc-Hydro or Global mapper.

### Estimation of proportion of diversion from annual runoff

The proportion of the MAR that is diverted depends on the diversion arrangements and the pattern of flows that occur and is very difficult to estimate accurately without long-term flow data collected at or near to the diversion site. However, very few measurements have been observed in spate schemes catchment.

For new schemes with a single diversion point, approximate estimates of the proportions of flows diverted for a range of intake capacities can be derived from non-dimensional flow duration curves when these are available or can be developed from regional hydrological data. In the absence of more specific local information, non-dimensional flow duration curves developed for one catchment may be transferred to another catchment of similar size in the same region if they are in similar rainfall zones and it can be assumed that the relative distribution of discharges within an annual runoff hydrograph will be similar.

For more detailed hydrological data analysis procedures, refer to "GL 3: SSIP Guideline for Hydrology and Water Resources Planning”.

# SOIL AND MOISTURE MANAGEMENT IN SPATE IRRIGATION IN BRIEF

Soils in spate areas are largely built up from sedimentation in the early years of development of a spate system. They are further affected by the continuing sedimentation that is inherent in spate irrigation. Farmers in spate schemes often divert water to collect alluvial silt and silt loam sediments to develop soils. The rate that soil builds up varies depending on the sediment yield from catchments, and on the position within a scheme. Sedimentation rates are higher in the upstream fields, and are relatively lower in downstream areas that rarely receive water (FAO ID 65).

Average siltation rates on spate-irrigated fields in systems reaches up to 50 cm/year. The constant sedimentation of spat systems is a blessing, as it brings much needed fertility to the fields (ibid). Site specific sediment accumulation or build-up of silt layer need to be examined by trend analysis in consultation with the communities to assess the soil depth dynamics in relation to soil nutrient improvement, physical soil condition, land management recommendation and water distribution regime. The information will be used for almost all sectors to provide relevant interventions of correction measures.

Soils of the command area expected to fulfill the minimum suitability requirements for spate-irrigated agriculture. The soil texture of the command area should have moderately impervious characteristics to facilitate good drainage and maintain adequate soil moisture reserves in soil profile. The land having a pan layer limiting the water percolation and command area with vertisols characterized by poor drainage are not recommended for spate irrigation development. The soil experts have to aware of these basic limitations to consider during site identification and feasibility study.

## soil survey and land suitability evaluation

Soil survey and land suitability evaluation is the assessment which mainly concerns in evaluating the current soil conditions including soil texture, depth, soil fertility status, soil chemistry, soil moisture condition, and erosion. These soil physical and chemical features will be analyzed by taking soil samples and site observation. With slight modification, the basic methodologies recommended in GL A3 Soil and Land evaluation guideline for SSID are applicable for spate-irrigation development study.  Peculiar features of spate irrigation impose to include additional and specific factors for land suitability evaluation, such as frequency of floods and damaging floods in years see Figure 4-1 for sketch presentation for land evaluation elements.

Spate Irrigation System

The demand side

Land Qualities

- Availability of flood water

- Soil moisture availability

- Flood hazard

- Nutrient status

- Availability of oxygen

- Salinity hazard

Matching the Land Use Requirements

Against

The Land Qualities

Land quality Improvements

Land suitability without improvements

The Supply Side

Land Use requirements

- Number of floods

- Soil moisture content

- Flood hazard in years

- Organic Matter

- Soil drainage

- Soil salinity

Land use Improvements

Land suitability with improvements

Figure 4-1: Scheme presentation of a land suitability system ( Tesfai, M 2001)

The soil quality requirements for different types of crops in spate irrigation system are tabulated below to use as reference. The soil expert should analyze and make matching analysis with the actual soil survey results. For reference the symbol and description of selected land suitability evaluation sub-class limitation factors undertaken in Eritrea for spate irrigation study (Tesfai M.2001) are indicated in Table 4-1.

Table 4-1: Description of class limitation symbols to be used in land suitability classification

| Letters symbols | Descriptions |
| --- | --- |
| f | Flood availability |
| m | Moisture limitation |
| H | Flood hazard |
| S | Salinity limitation |

Table 4-2: Rating of land use requirements for spate irrigated lowland sorghum.

| Crop requirement |  | Diagnostic factor rating |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Land qualities | Land characteristics | Highly suitable | Moderately suitable | Marginally suitable | Not suitable |
|  |  | S1 | S2 | S3 | N |
| Flood availability | No of flood diverted | > 4 | 3-4 | 1-2 | nl |
| Soil moisture availability | Available water (mm/m) | >200 | 150-200 | 100-150 | <100 |
| Big flood hazard | Big flood frequency (yr) | 1 in 10 | 1 in 6-10 | 1 in 3-5 | 1in 1-2 |
| Nutrient status | Organic matter (%) | >3.0 | 1.0 – 3.0 | 0.5-1.0 | <0.5 |
| Availability of oxygen | Soil drainage class** | 5 | 4 | 3,6,7 | 1,2 |
| Salinity hazard | Soil salinity (dS/m) | 0-6 | 6-9 | 9-16 | >16 |

Note: ** 1 =Very poorly drained; 2=  poorly drained; 3 = imperfectly drained; 4 = moderately  drained;   5 =w ell drained; 6=  somewhat excessively drained and 7= excessively drained, FAO (1985). nl: nil

## soil moisture conservation in spate irrigation

Moisture conservation in spate irrigation is as important as water supply, as crop yields can be severely depressed by soil moisture deficit. Experience from other countries indicated that due to proper land preparation and bund maintenance which are some of the conservation techniques increase the crop yield by 30-100%.  Research in Yemen suggests that, if land is not ploughed within two weeks after irrigation, up to 30–40 percent of the moisture may be lost.

The techniques to conserve soil moisture applied in spate-systems are: ploughing prior to and after irrigation; conservation tillage, soil mulching; and breaking soil crusts. In land management recommendation of the feasibility study, the soil expert should suggest appropriate soil moisture conservation technologies for sustainable development of spate-irrigated agriculture.

# CROP SELECTION AND MANAGEMNT IN BRIEF

Spate irrigation unlike to other types of irrigation system it entirely relay on unpredictable flood generated from the catchment which is unreliable in timing, frequency, and quantity. By its nature, spate irrigation generally supports a low-input, risk-averse type of farming owing to the recurrent uncertainties in the timing, number and size of floods that occur and the potential damage to crops and irrigation infrastructure caused by large floods.

It has a wide range of uncertainties in employing improved farm management practices and input utilization in which in most cases the recommendations are rely on site specific farmers’ experiences in averting recurrent environment induced problems and their coping mechanisms.

## crop selection

Crop selection process for spate irrigation require intensive and site specific consultation with the local people for their rich experiences in crop selection and appropriate agronomic practices. During field assessment the agronomist shall spend adequate time to develop  his/her knowledge on water management and field operation schedules of the project area.

The crop selection must be undertaken with the participation of beneficiaries and key informants to consider the local criteria usually applied for selection. Some of the crop selection criteria recommended in GL 6: Irrigation Agronomy guideline for SSID is applicable also for spate irrigation development and consolidate with the criteria proposed in section 5-2 of this guideline. The criteria require revision in each projects to assimilate with actual situations of the proposed spate irrigation areas.

Figure 5-1: Spate irrigation field in Oromia

The farmers’ experience in crop selection for traditional spate irrigation farms provide a highlight for overall requirements or consideration required for crop selection. Under traditional spate irrigation system the following cropping strategies are considered which can be used as the basis for identifying suitable crops. Major cropping strategies adopted to cope up the recurrent constraints in traditional spate irrigation are: growing local varieties adoptable to local conditions; growing multipurpose crops for alternative harvest for animal feeding;  intercropping; selecting crops in relation to the timing and volume of the first irrigation for relay cropping; growing early maturing and drought resistant crops. Most of the crop selection criteria are supporting the indicated cropping strategies

## crop selection criteria and potential crops

### Crop selection Criteria

In general crop preference considers the length of growing period, frequency and magnitude of floods, socio-economic condition and culture. Based on the experiences from traditional spate irrigation practices and the above-mentioned general requirements for crop selection, the following crop selection criteria are recommended:

Location of the plots within the system ;

The probability of receiving irrigation is not equally distributed throughout the command area. This typically would range from very high for fields close to the wadi to very low at the downstream margins of schemes. The selection of crops should consider this position advantage to select suitable crops for relatively sever water shortage conditions or marginal condition within the scheme;

Crop length of growing period

Usually crops with short cycle or early maturing varieties are preferable for spate irrigation; however it depends on soil moisture reserves in soil profile. If the soil moisture reserve allows to grow a medium cycle crops then they can be taken as potential crops.

Timing and volume of irrigation water likely to be received;

Flood or irrigation water timing should be coinciding with crop critical water shortage stage. The information of timing for expected floods during production year must be available from the community or knowledgeable informants. For early flooding areas crops like sorghum is recommended while for late flooding teff and chickpeas are preferable

Volume of flood water expected from the catchment is a determinant factor to select the crops, the crops demanding relatively small amount of irrigation water should have special attention in crop selection

Resistance to drought, pests and disease;

Potential for multi-purpose uses : Crops having multipurpose benefits like for grain harvest, fodder and soil fertility maintenance

Possibility of ratooning:  there are crops potential to grow tillers or ratoon for additional harvests example sorghum and sugarcane,

Potential for food self-sufficiency:

In most cases spate irrigation is recommended for subsistence production in lowland areas where climate limiting the production of subsistence crops. Therefore the priority criteria for crop selection in such areas shall be focused on crops those have a capacity to support the household food demands

Community preference: it is the basic and priority selection criteria in spate irrigated agriculture. Crops proposed by the beneficiaries need to be included in order of their importance

High economic return or market demand

If the volume of water and timing are allow to grow drought resistant cash crops (cotton, sesame, cowpea, pigeon pea) in the project scheme then this selection criterion has to be considered

### Potential crops for spate irrigated agriculture

Lowland crops adoptable for semi-arid climate are suitable for spate irrigation. Type of potential crops for spate irrigation is increasing with the increase of flood frequency and soil conditions.

Sorghum, millet, wheat, maize, teff, chickpea, cowpea, and pigeon pea are the main subsistence crops in spate irrigated areas. Cash crops like cotton, sesame, vegetables, and cucurbits also have good potential to grow under spate irrigation system.

## cropping pattern development

In most spate irrigation schemes, the copping pattern is designed in response to site specific climate, land resource and social factors to benefit from actual marginal conditions. Moreover, the patterns adapt different climatic conditions and increase the probability that there will be at least one harvest at any given because of unreliable flood occurrence and frequency.

Usually one cropping pattern is required for spate irrigation development planning. Therefore the crop area coverage within the scheme should be proposed in terms of hectare and percentage. Keep in mind that due to uneven distribution of irrigation water throughout the scheme (lands closer to intake or wadi and tail of the scheme) the agronomist might require recommending separate cropping patterns for upper and downstream of the scheme in which the number of crops for closer part of the scheme could be higher.

The cropping pattern table should present type of crops, land area in hectare and percentage; and planting and harvesting date see Table 5-1

Table 5-1: Format for cropping pattern recommendation

| Type of crops | Area |  | Sowing date | Planting date |
| --- | --- | --- | --- | --- |
|  | Ha | % |  |  |
| Crop 1 |  |  |  |  |
| Crop 2 |  |  |  |  |
| Crop 3 |  |  |  |  |

## cropping calendar

The cropping calendar for spate irrigated agriculture will develop in reference with existing traditional spate irrigation practices by consulting the communities and technical staff at grass root level. The cropping calendar of a project entirely is depending on the time of flooding and frequency. For instance the pre-irrigation ploughing schedule for given year considers the time of the first flooding, available human and oxen and soil conditions. On the other hand the sowing dates can be set by taking the soil moisture condition, labor, flood frequency, plot position within the scheme, relay cropping patterns and other factors into consideration.

Therefore the cropping calendar of the scheme might vary within the scheme like upper and lower parts of the schemes because of the extents of irrigation water accessibility. Early flood occurrence gives opportunity to grow relatively long cycle and more drought resistant crops like sorghum. On the contrary during late flooding from the catchments, short cycle crops like teff and cowpea are preferable and the cropping calendar should be flexible to optimize the available soil moisture.

The agronomist should collect detail information on existing cropping calendar for each crop correlated with irrigation frequency, land position advantage and other scenarios like for bad and good years circumstance.

## irrigation water supply and crop management

Water distribution is generally follows a number of principles that includes: a) rapidly spreading the available flows so as to prevent spate water rapidly disappearing in low-lying areas;

b) dividing the floods into manageable quantities so as to avoid erosive flows and gully formation; and c) ensuring that large enough water volumes to irrigate the downstream areas conveyed in the short time that spate flows are available.

As indicated in Spate irrigation guideline (FAO ID 65), there are two methods of water application in the system: In field – to- field irrigation system all the flow in a canal is diverted to a group of bunded fields by an earthen bund that blocks the canal and each bunded field irrigate one after the other by making a cut in the downstream field bund to release water to the next field.

Field-to-field irrigation allows large volumes of water to be applied to fields rapidly in the short time periods that spate floods flow, helps to control sediments and level the land, is well established and based on existing water rights and management rules and requires minor initial investment.

In spate irrigation, it is generally assumed that irrigation application should result in an average of 400 mm net stored in the soil (Camacho, 1987). It is also reported that the application of 600–1000 mm of water in a single pre-planting irrigation is sufficient to raise all spate-irrigated crops, provided that the moisture-holding capacity of the soil is satisfactory (Mu’Allem, 1987). There is a relationship between the height of field bunds and the availability of water both in terms of frequency and volume of irrigation. For instance in Wadi Rima in Yemen, in locations where crops can expect to receive only a single irrigation, the bunds are high and the depth of the water application averages 400 mm. In locations closer to the wadi, which can expect two or more irrigations per crop, bunds are lower and the amount of water absorbed for each irrigation averages 300 mm (Makin, 1977).

Maintaining field bunds is an individual responsibility with a collective impact because, if bunds in one field are neglected, the water will move across the command area in an uncontrolled fashion, not serving large parts of it and causing field erosion at the same time.

A number of techniques are available to improve the control of field water application and distribution. They include better leveling of field bunds so that water overflows over a relatively large stretch, digging a shallow ditch downstream of the bund to spread overflowing water over the entire breadth of the field, the reinforcement of overflow structures, and improved field gates.

In determining the crop water requirements of the crops similar procedures should be followed except for effective rainfall computation, in areas where the water supply system is rely only on spate floods then the Effective rainfall shall be zero in all months. This option is recommended and can be used by applying CROPWAT 8 software (refer “chapter 8 of GL 6 Irrigation agronomy guideline), however in areas where the spate irrigation is supplemented by rainfall then the contribution of effective rainfall should be accounted which means that crop water requirement will be computed as usual.

Crop production management of the spate-irrigated project area should consider frequency and volume of the floods, sedimentation, soil water holding capacity of the command area, and location of the plots for production of optimum yield. Some of the managements enhancing water productivity in spate irrigation system are: appropriate pre and post irrigation land preparation, proper land leveling for even flood distribution, early planting, soil moisture conservation practices like mulching, intercropping and relay cropping crop mixes, and improved post-harvest technologies. The agronomists have to give attention for the above indicated crop management practices in the project study to recommend appropriate interventions. Moreover depends on the soil laboratory results of the command area fertilizer application might require to restore the soil fertility which is not practical for most spate-irrigated fields because of natural restoration of soil nutrients from siltation.

# SOCIOECONOMIC ASPECTS IN BRIEF

Social aspects of spate irrigation system are more interactive and depending on participation of the beneficiaries in maintaining the water distribution and harvesting schemes. In case of traditional spate irrigation scheme the beneficiaries have rules and regulation to secure their water use right. Spate irrigation system requires high inputs of human labour and draught power to manage the pre- irrigation ploughing, maintaining intakes, canal and field systems; and for land leveling. In order to manage the available family members and other extra labour the community based organization like Spate Irrigation Users’ Association expected to establish applicable strong rules and regulations.

The socio-economic study to be undertaken by sociologist and community expert should have realized the specific and unique conditions of the irrigation scheme and surrounding. Most of the decisions or recommendations in the feasibility study entirely reflect the site specific experiences which must be collected through intensive community consultation.

Spate-irrigating communities have developed a range of livelihood strategies to cope with the large and unpredictable seasonal and inter-annual variations in water supply and crop production which are inherent in spate irrigation. An understanding of the socio-economic circumstances of farmers and the coping strategies that they adopt is needed if effective and sustainable improvements to spate irrigation systems are to be developed.

The socio-economic study need to focus on the following issues during consultation and field assessment

Primary and secondary livelihood basis of the communities in which the spate irrigated agriculture is integrated with other income generating schemes because of high risk  nature of the spate irrigation system

Coping mechanisms during bad and good years

Traditional water distribution mechanisms and community involvement

Available farm labour and draught power at household and community level

Traditional labour exchange mechanisms and peak labour demanding season

Traditional or modern water users’ association structures and responsibilities

Existing rules and regulation in operating the spate irrigation system

Information on trends of flood occurrence, volume and frequency

The methodologies recommended for community consultation and secondary data collections for classical irrigation scheme are applicable for spate irrigation system. Please refer the methodology chapter of GL A7 Socioeconomic study guideline for SSID.

Gender aspects of spate irrigation system should have special attention during socio-economic study to address their problems and to analyze from different aspects. In developing the water use regulation, the disadvantage groups, women headed family, elders and orphan children shall have priority concerns to accommodate their interests and supporting mechanisms.

The socio-economic study assessment findings will be used as reliable information sources for all sectoral studies to recommend appropriate implementing strategies and interventions.

The checklists for primary and secondary data collection need to be prepared adopting from the annexes of above-indicated socio-economic guideline.

# DESIGN OF DIVERSION HEADWORK FOR SPATE IRRIGATION

## design consideration of spate irrigation

To design a stable and cost effective headwork structure with appropriate geometry, both surface and subsurface flow analysis should be done as flow condition is determined by the geometry of a structure and in turn the geometry of such hydraulic structure affects its design and economics. Therefore enhancing effectiveness between the economics and the design of a stable structure is expected from the design engineer. The following successive sub-sections present design considerations and procedural approach to design of spate irrigation & related appurtenant structures in this harmony.

Setting design criteria and considerations ahead of designing any structure is imperative as it can help designers to know their scope of design and direction. In view of that, spate diversion needs to be designed from both hydraulic as well as structural design requirements points of view. To do this, basic data required (as mentioned above) for design of such diversion spate need to be gathered before jumping to the next stage i.e. design processes. The followings flow chart gives general design paces of spate irrigation system design.

Beneficiary

Information,

Soil surveys

Hydrological

Flow-duration

Data

Catchment

Sediment

Runoff data

Slopes of existing stable

Canals

Field

Inspection,

Topo surveys

Options for sediment

Management

Ensure that O&M is included

Hydrological peak flood, data

Identify the command area. Determine max. Irrigable elevation of the area

Estimate canal flow capacity. Consider options for single or multiple intakes

Estimate the future rate of land rise due to sediment deposition

Estimate canal slope required for sediment conveyance

Identify possible locations for intakes able to provide required command and canal slope, (usually on convex side)

Identify and compare options for intakes and canal layouts

Discuss and agree proposed arrangement with beneficiaries

Prepare detailed designs for intake(s)/ diversion structures

Prepare detailed designs for canals and canal structures & prepare drawing & BOQ

Figure 7-1: Flow chart indicating general design steps of spate irrigation

Note: It can be seen that understanding the situation, data collection and analysis form a substantial part of the process and that the full engineering design of the proposed works is only a final step.

Spates should be designed to withstand recommended large flood events and last a reasonably long time expensive construction materials and hence robust designs are necessary. If the site is suited to a Free Intake, then the high cost of such spate structure can be avoided. In both cases the command should be lower than intake level/the head regulators so as to irrigate the land unlike pumping system.

For this purpose, the hydraulic design of improvements to traditional and modern spate needs to take into account a number of parameters including:

Wadi flow and water levels over a range of flows;

Stability of wadi and low flow channel Sediment load in wadi;

Canal flow;

Canal command level;

Rate of land rise due to sediment deposition; and

Design life of structure

Stilling basins as part of spate diversion are required downstream from spate headwork structures to reduce high velocity flows to a velocity, which does not cause excessive erosion of the natural riverbed or the downstream channel. Without adequate energy dissipation there is a danger that the structure will be undermined.

The cost of energy dissipation arrangements at a headwork structure increases with increasing discharge intensity (i.e. discharge / unit width) and with increasing spate headwork structure height. The general consideration is thus to keep this height as low as possible consistent with achieving effective sluicing and also command over the life of the structure and also to design for a relatively low discharge intensity.

In wider wadis, shorter headwork structures spanning only part of a wadi and designed to pass a smaller “design flood”, are used to reduce the costs. A beaching bund or “fuse plug”, constructed from unconsolidated river bed materials, designed to overtop and scour out when wadi flows exceed the design discharge of the headwork structure can completes the low cost diversion structure, but does not last long.

Consequently, the following factors need to be considered in the design and construction of soil bunds as stipulated in Guidelines on Spate Irrigation, by FAO, 2010:

Location and height of a bund shall be chosen in such a way that they do not cause unwanted flooding of surrounding areas;

In case of a diversion bund across the wadi with a single offtake, the preference is for the bund to be constructed as an arc or at an angle to the direction of flow of the wadi, to dissipate energy of flood;

In case of a cross-bund with offtakes at both banks, the bund shall be constructed in a straight line; depending on the height of a bund and the slope of the land, the cross-bund may serve several upstream offtakes. Practical experience has shown that this is more suitable than constructing the bund as a V-shape, as during large flood flows of the bund needs to be breached in the center to reduce damage. The V-shaped bund directs the large floods towards the intakes and eventually to the command area where they can cause significant erosion and gullies and hence the complete loss of large segments of irrigable fields. Also the cross slope would mean that the apex of the V could not be in the center of the river if flows are to be delivered to both sides in proportion to the areas commanded;

The preference is to construct the soil bund with loamy soil. Gravel and saline soils should be avoided. The latter would lead to cracking of the soil bund and early breaching before overtopping occurs;

Preferably, the soil bund should be developed in layers, with each layer being 1–1.5 m thick. Compaction can be achieved by bulldozer, animal action or by hand.

The soil bund is reinforced by intermixing it with vegetation, by laying brushwood along the lower toe or by stone pitching. In some cases short wooden poles are driven into the most exposed and vulnerable sections to fix the bund to the river bed and to reinforce the bund.

Generally, care shall be taken to avoid animals trespassing and trampling on the structure, as this would weaken the soil bunds.

Controlling spate flows admitted to canals involves permitting flows up to the design capacity to enter a canal and then restricting higher flows. The most basic control is a head regulator structure without gates. In its simplest form this can be a rectangular opening with two side walls constructed of suitable materials (masonry, concrete or gabions) and shall be most effective where the maximum flood levels in the wadi are relatively low.

The next consideration is to design the head regulator to act as an orifice once the design flow is reached, by providing a breast wall over the opening. The bottom of the breast wall should be at the canal design water level, such that it excludes bed-loads coming with flood. As the land levels and canals beds will be rising, it will be necessary to construct the bottom part of the breast wall in removable panels (i.e. as concrete or steel beams) that can be taken out to compensate for rising levels. Breast walls and high abutments are most needed when the wadi channel is confined and flood levels are high. Gated intakes and rejection spillways located near the canal head provide further levels of protection.

The basic requirements for normal spate diversion works are:

To be compatible with accepted water rights but incorporate the flexibility to cope with future changes;

To divert the maximum flow of water that the distribution system can handle without surcharging the distribution system such that damage is caused;

To be able to command the land to be irrigated, i.e. The crest level should be set at desired height or level that enable to obtain the required driving head to safe delivery of the designed discharge to main canal offtake.;

To divert water for the longest possible period while water is available;

To minimize the sediment load entering the canal system, I.e. The bed level of the under sluice should be below sill level of canal head regulator. But level of the under sluice can be taken as equal to or greater than RBL;

To be adaptable for future changes, particularly rising land levels & movement of approach channel;

To have construction and operating costs compatible with the financial and economic benefits of spate irrigation;

Where the structure will be operated by the beneficiaries, operation and maintenance requirements should be compatible with their resources;

The MC at the head reach should not be too deep in order to avoid large excavation work, to minimize construction cost and to reduce maintenance and side slopes stability problems.

## Data Required for Design of Spate Irrigation

### Office level data

Office level data which are required for designing of spate irrigation are secondary data, among which the followings are major ones:

Collection of meteorological data in the vicinity of the project site;

Collection of hydrological data of the river proposed to be developed;

Identification of possible alternative spate headwork sites from maps;

Selection of appropriate spate headwork site among the identified ones;

Identification and analysis of data  which enables irrigation of maximum potential command area on d/s side;

Site which have impervious and strong foundation condition;

Align off-taking conveyance canal route in such a way that command area is obtained without excessive digging;

Valuable land upstream of the barrier like spate or barrage should not be submerged;

Prepare base map based on the above information

### Field level data

#### Physiographic data

Physiographic and river morphology /bed & banks/ data which are required for design of spate irrigation are data of the river from which irrigation water is expected to be supplied, such as:

Length/width across the river: The shorter the crest length the more economical it is; but it results in higher flow depth over the crest of the spate thus thicker energy dissipater and extended stilling basin are required. On the other hand, the longer crest length results in lower/shallow flow depth over the crest of the spate thus thinner energy dissipater and shorter stilling basin are required. Thus maintaining existing natural channel width is preferred so long as it accommodates the incoming flood and requires minimal training of the channel

Longitudinal profile around the spate site: Such profile is required to estimate average slope of the river along its thalweg around spate site and hence flow of the river using Manning’s equation or Velocity-Area method.

River banks:  Data required as related to river bank its height and stability condition. Bank height is prerequisite to evaluate its susceptibility flood and hence overtopping; whereas, its stability condition is used to identify type of wing wall the need to be embedded in the abutments,

River flow regime: This is concerned with the river geometry and nature of flow in river reaches such as discharge condition, relation of water level and discharge and sedimentation conditions. A channel is said to be in regime when, over a hydrological cycle, the channel shows no appreciable change in its width, depth or gradient. Regime theory postulates that for a stable channel there is a relationship between the channel parameters of width, depth, gradient and flow. Thus if any one of these four parameters is artificially (or naturally) changed, the channel will adjust itself so that regime conditions are re-established.

Water Level or stage – Discharge relationship: It is also called rating curve or discharge curve.  This curve is used to estimate different discharges of a stream for specific water levels of that stream at that particular cross section. Thus, it is important to estimate tail water depth for the expected design flood of certain return period.

#### Topographical data

Topographical features data around the river/channel both upstream and downstream of the proposed headwork site, including river cross-sections, profile between these cross sections, topographic data like contour map of the headwork site covering 200m on the left and right sides of the river bank at headwork site and a minimum of 300m on the upstream and downstream sides need to be acquired to understand features around it and hence ranges of the layout. If the land is flat, it may be extended even more than the quoted figures. In any case, it should cover at least 5 meters from RBL.

In general, the following topographic data are required for the study and design of such headwork and appurtenant structures:

Bench marks: This is a permanent material object, bearing a marked point whose elevation above or below an adopted datum is known. At least three permanent BMs have to be fixed at the selected headwork site and additional pairs of BMs at every 500m to 1km or less along the MC such that they are inter-visible.

Index map: An index map of scale 1:50,000 showing catchment features of the entire river system upstream of the proposed site of is paramount important for identifying appropriate headwork site and boundary of potential command area.

Topographic survey of the proposed site: This is essential data as it shows the physical appearance of the natural features of an area of headwork site, especially the shape of its surface.

Cross-sectional survey at the proposed site: Once the headwork site has been selected, Cross-sectional survey of the river and its flood-plain up to about 5m above the floodplain along axis of the headwork, 50-100m both on the u/s & d/s of headwork axis need to be executed as they are required to enable to properly define the existing river channel and know nature of carrying capacity of the channel.

Flood mark: Level of historical or observed flood on the banks of the river need to be identified to assess trend of incoming flood and decide on necessity precautions to be taken care of.

Longitudinal survey between u/s & d/s cross sections: Profile survey through thalweg of a river is required to know average bed slope of the river to be used as input for discharge estimation at that site.

Existing infrastructures around the proposed site: Identification of any existing infrastructures around the proposed site is required either to make use of it such as bridge or to provide protection against it such as those having social values.

Details of Topographic survey can be referred in the Guideline part of " GL 4: SSIP Guideline for Topographic and Irrigation Infrastructures Survey".

#### Hydrological Data

Spate irrigation is a diversion of flashy floods running off from mountainous catchment, using simple deflectors or robust structures for agricultural development. Hydrology of such irrigation is characterized by a great variation in size and frequency of floods which directly influence the availability of water for agriculture. Wadis are also characterized by very high sediment loads and important groundwater recharge through seepage in the wadi bed. All these characteristics are specific to wadi hydrology. Management of floods and high sediment load therefore require a good estimate of the main hydrological characteristics of the wadi.

Design flood: For the purpose of design, a design flood of 50 to 100 years return period/frequency, (depending on expected magnitude of flood) is normally sufficient. This is to be fixed up as per the norms prescribed in "GL A1: SSIP Guideline for Hydrology, Climate and Water Resources” as it is directly related with cost of the structure;

Monthly low flows: Low flows and associated river levels are important to study water budget of the river at the selected headwork site.

Irrigation water demand: Assessment of upstream and downstream irrigation water demands need to be obtained to account for some percentage of flow for seasonal downstream and peripheral water use while fixing abstraction amount.

Stage - discharge relationship: Daily stage - discharge relationship data of a river at or near the site of the proposed work, with stages and observed discharges during floods for as many years as possible are necessary, if any, otherwise it can be estimated from the cross section at that particular site using Manning’s formula.

Drainage module of the area: This data is required for solving the problem of ineffective land drainage which occurs when inflow into the system exceeds outflow from it.

Sediment data: Sediment rate in the river is another hydrological data which need to be assessed to determine sluice type and size requirement and type of headwork itself.

Analyzed water quality data: Data on water quality of a probable water source evaluated in respect of TDS, salinity, acidity and Alkalinity taste is remarkably required for its dependable recommendation. Such data need to meet the standards set for irrigation in the WHO guidelines, otherwise additional recommendations are required for its management. In general, the following information should ideally be available to designers of spate intakes and canals:

Annual volumes of water available at the diversion point(s) in terms of seasonal incidence and reliability;

Probable distribution of spate runoff events in terms of peak flows and flood volumes;

Distribution of flows during runoff events, particularly the shape of the recession limb of the hydrograph, which provides the bulk of the water that can be diverted to irrigation command areas;

Proportion of annual hydrograph that occurs in different flow ranges (flow duration curve);

Wadi bed seepage rates;

Magnitude and return periods of extreme discharges for the design and protection of the permanent works;

Concentrations and size range of the sediments transported by spate events and their relationship with wadi discharges; and Sediment-transporting capacity of existing canals.

#### Soil data

Soil suitability map: This is necessary for identifying suitable farm plots and designing subsequent infrastructure layout system;

Infiltration rate, cm/hr: This parameter is required to estimate application depth so that over and/or under irrigation may not result;

Soil type classification (clay, sandy, loamy, etc.): These parameters are required to separately apply water depth;

Soil depth and drainage condition of the command: This is also required to proportionally apply the required crop water requirement so that there will not be over and/or under application of water, etc.

#### Agronomy data

Agronomy data which are required for design of spate irrigation project are:

Existing and proposed cropping pattern: This is used for determining CWR, and water balance estimation;

Irrigation scheduling: This parameter is required to determine operation and maintenance requirement of the system, etc.

#### Geology and Geotechnical Data

Geotechnical Data: Geology and geotechnical data including riverbed material and features such as rock outcrops from foundation investigation are crucially required to know compressive strength of foundation material & its bearing capacity and study piping situation.

River banks data: Geologic conditions of river bank data are required for stability of the structure at the headwork site.

Foundation data: Depending on the identified foundation material of the river bed along spate axis as recommended by geologist, we need to fix depth of cut off trench to the required good foundation material.

Spate site geological cross section: A graph showing geological cross section along headwork axis should be presented for deciding depth of foundation and requirement for protection works. In addition to this, over burden information and their suitability are required to decide type of structure on permeable foundation or on hard foundation;

Laboratory test: Results of laboratory tests are essential as it indicate permeability condition, Angle of internal friction, cohesion, density, bearing capacity of the soil in the foundation and in the embankment soil. For details refer "GL A4: SSIP Guideline for Geology and Engineering Geological Study".

#### Construction materials

Location map of quarry site: Quarry site for a certain SSI project need to be located and as it has a direct relationship with unit rate analysis of that project. Similarly, location and distance of sand, gravel, cement, RF bar, pipe, etc. need to be shown to do the same.

In addition to this type, texture, properties/quality and quantity of construction material are important as they affect type of structure that need to be designed for a specific site.

Construction Materials should be selected based on availability and requirement for such irrigation system. Scour protection measures are designed to protect the channel bed and banks from the erosive forces causing scour. They can be grouped in to two categories: flexible and rigid systems. Flexible systems can cope with some movement without losing their armour capability and so can adjust to settlement or movement of the underlying and adjacent surface or bed. Such systems are susceptible to failure from movement of the armour material, either because it is undersized or because of loss of materials at the edges. Rigid systems cannot adjust to changes in the underlying surface and are often impermeable. While nominally more resistance to erosion they are susceptible to failure by undermining and uplift (due to seepage pressure).

In general, factors influencing choice of construction materials include:

Investment cost;

Underwater or uplift resistance;

Availability of materials (in quantity and quality);

Construction and maintenance constraints (for example access);

Channel stability laterally and vertically;

Environmental considerations;

Potential for accidental or deliberate damage;

Future maintenance costs and access.

The following table shows examples in selecting materials for revetment by comparing advantage and disadvantage of each material.

Table 7-1: Materials for revetment

| Revetment | Description | Advantage | Disadvantage |
| --- | --- | --- | --- |
| Gabion Mattress | 300mm thick wire basket containing 150 - 200mm dia. (5 - 10kg) stones on filter fabric | Flexible, can settle with bank; Can form launching apron; Farmers can supply stone | Wires can break; Limited longevity |
| Rock Rip Rap | 500mm thick layer containing 250 - 300mm dia. (20 - 60kg) stones on filter fabric | Flexible, can settle with bank; Can form launching apron; Requires machines for placement | Can be dislodged under high velocity; Too heavy to be supplied by farmers |
| Cemented Pitching | 300mm thick layer containing 250mm dia. (20kg) stones bedded in mortar and mortared joints | Good abrasion resistance | Not flexible, can crack and settle; Requires good compaction; Difficult to be supplied by fanners; Needs toe to prevent undermining |
| Plain Concrete | 300mm thick layer on compacted sub grade | High longevity; Good compressive strength | Not flexible, can crack and settle; Requires good compaction; Difficult to be supplied by fanners; Needs toe to prevent undermining |

#### Other data

Daily laborers’ daily rate;

Machinery rental rates;

Local construction material cost;

Transportation cost

Loading and unloading rate, etc.

## selection of appropriate spate diversion site

The design engineer in collaboration with engineering geologist need to identify possible options of diversion site so as to select the most appropriate one after comparing all options with different design requirements (Such as maximizing potential irrigable area, stability requirements, bearing requirement, and the like).

Note: A site selection has direct implication on cost and stability of the spate. Therefore, due attention is to be paid in selecting appropriate site.

Where feasible, intakes should be located on the outside of a moderate bend where the channel bank is made of firm material. The deepest part of the channel will also be at the outside of the bend which facilitates diversion of the lower flows and the bend will tend to cause cleaner surface water to move towards the intake and the bed sediment to move away from the intake due to the helicoidal flow pattern. Although the development of helicoidal flow will be less in wide, shallow wadis than in normal rivers there will still be the tendency for the low flow channel to be at the outside of bends.

While a rocky foundation may be considered attractive, this may result in expensive rock excavation which more than offsets the cost of building a structure suitable for a non-rock foundation. Sharp bends are more vulnerable to erosion and the intakes sites will be less stable or require protection but are preferable to a location on the inside of a bend. Should it be decided to have two intakes opposite each other, then they should be located on a straight section of channel to reduce the likelihood of water consistently going to one side. Some spate headwork structures have been constructed with an intake on each bank. While this shares the investment cost, the flow will not naturally divide itself between both intakes and temporary embankments are often required to split the flow.

In general, the following points should be considered while selecting appropriate site for spate diversion headwork.

It shall be located at or upstream of existing traditional spate diversion site, if any;

It shall be located in narrow valley to economize the structure & get concentrated flow;

It shall be located in straight reach of the river i.e. not meandering channel at the site

It shall enable irrigation of maximum potential command area on both left & right sides;

It shall be such that elevation of the site is at higher level than the area to be irrigated for gravity flow.

It shall have impervious and strong foundation condition, if not it requires especial foundation treatment;

It shall have strong, well defined, stable and water tight abutments/banks;

It shall irrigate the command area with reasonable structure height;

It shall be selected in such a way that contoured MC in which both excavation & fill is minimum & with minimum possible length;

It shall be selected so that maximum water can be harvested, say d/s of confluence of rivers;

It shall be possible to align off-taking canal in such a way that command area is obtained without excessive digging;

It shall be environmentally friendly, socially and culturally acceptable, and economically feasible;

It shall be situated in the nearby command area (to reduce cost of idle MC & loss)

It shall be such that valuable land upstream of the barrier like spate or barrage should not be submerged.

It shall be at a location such that river width should be wide enough to accommodate expected flood but narrow enough to avoid construction of long crested spate and ovoid sluggish flow condition causing silt deposition, which could hinder the structure performance leading to high maintenance cost.

It shall be selected at a site where the thalweg is stable and located near the river bank where it is easy to install the intake in the scheme and enable to set the scouring sluices in the thalweg.

It shall be accessible;

Thus an ideal diversion spate site would be one where the river is stable, not meandering and neither degrading or aggrading and capable of supplying maximum area with minimum spate headwork height.

## SELECTION OF TYPE OF SPATE DIVERSION BASED ON NATURE OF RIVER

Generally, based on the availability of construction material, nature of flow and foundation condition at the diversion site, the design engineer is expected to select appropriate types of spate diversion that suit to the selected site. Consequently, we need to know their types before selecting any one of them for our site. General selection procedure based on nature of river is presented in following table.

Table 7-2: Recommended type of spate, based on nature of river

| SN | River Condition | Recommended Diversion |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Function | Crest | Design | Construction |
| 1 | Perennial river less significant bed load & moderate up to good foundation bearing capacity | Storage/ diversion | Spate | Gravity | Masonry /cyclopean /concrete/rockfill with masonry/ |
| 2 | Perennial or intermittent river highly significant bed load & moderate up to good foundation bearing capacity | Storage/ diversion | Barrage/ open slotted spate | Gravity | Masonry /cyclopean /concrete/ |
| 3 | Same as above but bad foundation bearing capacity | Storage/ diversion | Barrage/ open slotted spate | Non-Gravity | Cyclopean concrete/ reinforced concrete/ |
| 4 | River water released from storage dam & moderate up to good foundation bearing capacity | Pick up | Spate | Gravity/Non-Gravity | Masonry /cyclopean concrete /rock fill with masonry/ |
| 5 | Same as above but bad foundation bearing capacity | Pick up | Spate | Gravity/Non-Gravity | Cyclopean concrete/ reinforced concrete/ |

Source: As adopted from MoWR, 2002

Traditional Intake

Modern Intake

Source: As adopted from FAO, Spate Manual, 2010

Figure 7-2: Intake type of spate headwork, traditional (L) modern (R)

MC

Settling Basins

River Flow

Spate Diversion

Plan

Longitudinal section

Source: As adopted from FAO, Spate Manual, 2010

Figure 7-3: Modern spate diversion headwork

## selection of suitable shape of spate diversion crest

Diversion spate structures differ in type and shape, however they all are designed and constructed to serve the same purposes i.e. diversion of water. Consequently, the following points shall be considered to select shape of a spate that suits to a specific site:

Suitability of the local construction materials;

The hydrological characteristics of the river at that particular site;

A spate with a shape that cannot easily be constructed by local manpower should not be considered;

The availability of skilled manpower for implementing it;

The skill of the local masons to perform it as per design and specification;

The cross sectional shape of a spate has to be decided based on a combination of hydraulic and structural requirements conditions, as well as some consideration as to the nature of the spate.

The four commonly adopted shapes are:

An ogee crested spate (bypass more Qd than other for the same crest length);

A vertical drop spate;

A steep glacis spate;

A shallow glacis spate.

The often claimed advantage of ogee shaped spate is that it has a higher coefficient of discharge than other spate shapes and that the coefficient is more predictable than for other spates. The main disadvantage of the curved shape is the difficulty in constructing it accurately and soundly.

The vertical drop spate appears, at first glance, both simple to construct and easy and economical to design. In truth, if all structural checks are undertaken and adequate factors of safety are applied at maximum levels of flow, it will be found that for all spates apart from those with very small flows per unit width, the wall section becomes very thick to resist overturning and shear forces.

## selecting design flood of appropriate return period

After appropriate spate site is selected, the next step to consider for designing a spate is selecting design flood of certain return period for the flood which will be adopted. Spates are usually designed to withstand a flood event of certain return period (either 50 years flood level plus some free board or 100 years flood level). The selection however, is dependent on economic and structural requirements.

Upstream and downstream guide bunds and channel protection bunds are usually designed for a 1 in 25 or 1 in 50 year flood event level where overtopping and failure of the bunds will not result in catastrophic failure of the spate.

In general, its selection is dependent on interest of the client as it matters economic aspect of design of the structure.

Box 7-1:

Descriptive example-1: Should design life of structures be the same as that of return period for design conditions?

Solutions: Design life means the minimum duration a structure is expected to last. Thus, the longer is the design life; the higher is the cost of a project. Therefore, in choosing the design life for a structure, engineers should consider the design life which generates an economical project without sacrificing the required function.

In selection of return period of certain design conditions, winds, waves, etc., one should consider the consequences of exceedance. In fact, there are normally no extreme maximum values of these design conditions and its selection is based on the probability of exceedance which is related to return period. Therefore, design life may not be equal to return period of design conditions because their selections are based on different considerations.

## rating curve construction

Rating curve also known as stage-discharge curve is a plot of the water levels/gauge heights on the Y-axis against the corresponding discharges on the X-axis. In the absence of detailed stage-discharge data, preliminary rating curve for existing un-retrograded condition of the river can be prepared by computing the discharges at for various assumed depths of flow i.e. water levels (preferably 20-40cm interval) using the Manning’s formula, shown below.

…………………………………………………………………… (7-1)

Where, Q = Flow rate in (m3/s)

n = Manning’s roughness coefficient for compound channel, Refer appendix-II for details

A = Cross-sectional area of flow (assumed composite trapezoidal channel, but need to be estimated by breaking it in to small segments of say 0.5m wide, (m2)

R = Hydraulic mean radius = A/P, (m) ………………………………………………….. (7-2)

P = Wetted perimeter of channel, (m)

S = Average friction/longitudinal slope of channel at headwork site, S=H /L (%) … (7-3)

H = Head difference between reference points, (m) and

L = distance between reference points (m)

Then after, water level (assumed normal flow depth) corresponding to selected design flood magnitude should be read from the plotted curve to use it for fixing top level of downstream wing wall and thickness of downstream apron;

Note: The indicated initial stage, H=1432.475 in the above table is the lowest river bed level at the selected spate site.

Figure 7-4: Stage-discharge-curve at diversion site of ssi project

Cross section area and wetted perimeter can be estimated for each assumed raise in stage (say 0.2m for small channel or up to 1m for large channel) by either of AutoCAD or hydraulic tool box or HEC RAS software. The following steps are prepared for manual computation using AutoCAD:

Step-1: Extract river cross section from DEM or survey data along axis of the structure, if any;

Step-2: Arrange the data by concatenate in excel from cumulative distance and elevation;

Step-3: Open AutoCAD and click on polyline;

Step-4: Then paste the concatenated data;

Step-5: Then simply click enter and zoom it out;

Step-6: Now draw a horizontal polyline through the lowest point of the channel;

Step-7: Then offset it at the required interval specified above up to river banks top level;

Step-8: Starting from one end of the offset polyline, digitize along bottom horizontal bed up to another end of same line following river bank. This gives us the first wetted perimeter;

Step-9: On the same route draw another polyline and close it. This gives us the first cross section area;

Step-10: Then compute hydraulic radius from these two values;

Step-11: Compute bed slope of the river;

Step-12: Assume roughness coefficient, n and estimate flow velocity and corresponding discharge as shown in figure 7-4 above;

Step-13: Repeat same procedure and estimate flow velocity and corresponding discharge till we get a value little bit greater than the expected return period flood;

Step-14: Plot stage or head against discharge which we call rating curve

Step-15: Finally, read a stage or level that corresponds to the selected design discharge from the graph.

## hydraulic design of spate diversion & related structures

### Layout of spate irrigation schemes

Generally, spate irrigation schemes layout need to comprise at least the following five main components;

River regulation components: River bed stabilization, diversion points & embankments;

Some form of works to divert spate flows from the wadi: In exceptional circumstances where a wadi naturally splits into several braided channels forming an alluvial fan, the flow may be automatically diverted;

Land to be irrigated: These are usually basins that have been constructed by the formation of perimeter bunds;

Canals to convey water from the diversion point(s) to the land to be irrigated: In some situations the land may be adjacent to the wadi, or water may be passed from field to field without separate canals.

Drains (usually drains are required in the form of enabling safe passage of excess water out of the end of the system and interceptor drain beside the main canal to protect it from flood coming from the u/s micro watershed but internal drains are not required in spate system).

Normally, separate headwork layout is required at a scale of 1:500 in addition to that of the whole system layout. Such headwork layout should cover at least 5m from the bed of the river so that it enables to extend wing walls to the desired MFL.

### Spate diversion crest level

Design consideration for fixing spate crest level is that:

The crest level should be set at desired height or level that enable to obtain the required driving head to safe delivery of the designed discharge to main canal offtake. This level has direct implication on height of a spate crest thus care should be taken as it can affect the discharge coefficient, water head over the crest, and backwater curve;

Crest i.e. pond level, upstream of the canal head regulator shall generally be obtained by adding the working/driving head to the designed full supply level in the canal depending on the command topography;

The spate crest should be set to allow a safely passage of maximum flood discharge within designed spate crest length;

Provision of appropriate crest width in spate design is crucial for a smooth flow and moderate velocity.

The bed level of the under sluice should be below sill level of canal head regulator. But level of the under sluice can be taken as equal to or greater than RBL

The MC at the head reach should not be too deep in order to avoid large excavation work, to minimize construction cost and to reduce maintenance and side slopes stability problems; Spate Diversion Crest Level is then given by:

WCL = (Water surface level at 1st off-take down the main canal) + (L x S) + hg; Where, L = length of main canal from the head regulator to the 1st off-take (m); S = Bed slope of the main canal; hg=Head loss at the head regulator (m) (usually taken as 0.1-0.3 m); ……………… (7-4)

Water surface level at 1st off-take down the main canal = Peak irrigable land level in the command area + Water depth in the MC + Operational losses (usually 0.1m) …………….. (7-5)

Note: Water depth in the MC here refers to that corresponding to water duty of expected spate flow, which is usually 3-4 hours. Since, large flow is expected in this MC, b/d ratio of greater than two is preferred.

Spate Diversion Height, h = WCL – RBL ………………………………………………. (7-6)

(Note: RBL refers to minimum or thalweg at spate axis). This height should be high enough for allowing water at peak demand case in to the intake. Thus, a minimum of 0.15m driving head should be permitted to allow full supply to the intake.

### Spate diversion weir length/width

#### Crest length based on lacey’s equation

Lacey calculated a series of regime flow equations. One of these describes the regime perimeter of a river in alluvial material in terms of its dominant flow. The equation, in metric units, is as follows (Sharma-1987):

P = 4.75 Q0.5……………………………………………………………………………….. (7-7)

Where, P is the wetted perimeter of the river, m, and

Q is the design discharge, m3/sec.

This equation is used as a first approximation of the likely width of the river channel and an appropriate maximum width of the spate. Thus, the length of a spate shall be chosen somewhere between the regime width of the river and that which gives about 5m3/s/m width of spate, and depend on sites conditions in each case. Where rivers are naturally constrained to less than the above values by rock banks, the spate length must be taken as the natural width of the river though it may require raised wings and hence expensive design.

This formula being valid, has yet a limitation as to its applicability to all conditions & magnitude of rivers. It is rather appropriate to apply it for designing new river channel (artificial water way); and rivers expected to carry a flood more than their capacity due to river merging intensive soil & water conservation; urbanization or other factors. For small & self-contained rivers, the formula is not applicable as it yields highly exaggerated value.

#### Crest length based on actual river width

In practice, length of a spate crest is determined based on the physical characteristics of the selected spate diversion site and the width of the existing waterway. Rationally, a spate with a long crest gives a small discharge per unit length i.e. intensity of discharge and hence, the required energy dissipater per meter of the crest width is smaller than what is needed for a shorter crest length. On the other hand, spate’s crest longer than maximum wetted river width causes formation of islands at upstream side of the spate. The formation of such island upstream of the spate reduces effective length of the crest (part of the spate less effective in passing the flood).

Consequently, width of a spate diversion structure could be the natural river channel width or it could be widened or contracted depending on the flow condition of flood in the river. Usually width of a river is kept to be width of the spate crest if the river flow is not too sluggish with a velocity of low quantum or if the flow doesn't spill over the banks. If it is too sluggish, to avoid silt accumulation we may reduce the section till we get minimum or critical silt-driving velocity. If the river flow is perennial with moderate fluctuation, the river width could be reduced to get the required commanding head in the place of constructing high head spate diversion or in seasonal rivers, an open spate with a barrage could be cost effective & efficient.

Thus, as a general rule, the crest length of the spate diversion including scouring sluice, should be taken as the average wetted width during the flood. If possible the flow per unit width should not exceed 15m3/s/m so as to avoid a relatively costly energy dissipation arrangement. In such case, increasing the length of the spate crest to 1.2 times the river width is allowable.

### Determination of flow depth over the crest of spate diversion

The general formula for computing discharge, Q, passing over a broad crested spate weir crest is given by:

Qp=C*Le*He3/2	………………………………………………………………….…………... (7-8)

Where, Qp is flood discharge of a given return period (m3/s)

C is coefficient of discharge usually 1.7 for broad crested spate weir;

Le is effective crest length (m), …....................... (7-9)

Lt is Total crest length i.e. bank width at crest level (m)

N is Number of piers

Kp is pier contraction coefficient (as given in figure 7-6)

Ka is abutment contraction coefficient

t is thickness of each pier (m)

He is specific energy head (m) = Hd +Hav (Refer the sketch shown below) ……….. (7-10)

Hd is flow depth on the crest (m)

Hav is approach velocity head (m)

Now, driving equation from:

He = Hd+Hav, Hav=Va2/2g and Va =Q/A, we will have:

Va =Q/A = Qd/(Le*(h+Hd)) and from eq. (4-8), He = (Qd/C*Le)2/3.

Thus, He =Hd+(Qp/(Le*(h+Hd)))^2/2g ……………………………………………………………. (7-11)

Then substituting equation (7-10) in to equation (7-8), we can solve for Hd by goal seek (self-iterative or trial and error on excel) i.e. compute and compare till the left side He from (7-8) equals the right side i.e. by inserting different values of Hd in Hd+(Qp/(L*(h+Hd)))^2/2g).

If the spate diversion structure is of Glacis and Ogee Weir type, then:

……………………………………………………... (7-12)

Where,	Q is discharge over the barrage, m3/s

C is discharge coefficient =1.7 for BCW & 1.84 for sharp crested weir

L is clear waterway lengths i.e. crest lengths of the overflow (m)

K is Coefficient of end contraction (equals twice the number of gated bays & varies from 0.1 for thick blunt pier noses to 0.04 for thin pointed noses: generally taken as 0.1 in ordinary calculations.

n is number of end contractions

He is specific energy head (i.e. Hd + hav), (m)

Consequently, flow depth over such structure, Hd needs to be considered for either of these cases which is found fulfilling the above stated conditions.

### Arrangement of bed-bar across the river

If the spate diversion structure is simple river side intake (refer for details in GL 11: SSIP Guideline for Free River Side Intake Study and Design), then bed bar is required for stabilizing the diversion structure across the river. Bed bar is a buried wall laid across a river or at a 90 to 120 degree from the flow direction upwards with its top at, or slightly above, river bed level and is intended to prevent the lowering of the channel bed level adjacent to the canal intake structure.

The level from stage-discharge curve is to be used to fix or determine hydraulic mean depth that is required in fixing bottom level of bed bar or cut off (usually of concrete) for the intake structure (refer equation 7-28). This bed bar should be in monolithic with the side retaining structure for the purpose of stabilization.

### Checking modularity of a spate diversion structure

Modularity or submergence of a spate is checked by computing the ratio h2/h1 (where h1 and h2 are the downstream and upstream head above the spate crest respectively, refer figure 7-5) which usually varies from 0.79 to 0.94 for broad crested spates with a shallow sloping back i.e. downstream face, while for a vertical back face, the modular limit varies from 0.67 to 0.92, depending on the value of the ratio (h2/h1). The modular or submergence limit is the ratio of the downstream head over a spate over the upstream head, and is represented by the ratio h2/h1.

A

B

Cm1

A

B

C

Hav

He

h

Hd

d1

d2

Hav1

Hav2

Hav3

d3

Figure 7-5: Typical arrangement of flow heads over a spate diversion structure

Figure 7-6: Recommended values of Kp and Ka

### Determination of geometry of weir

#### Geometry of broad crested vertical drop weir

This section is concentrated on how to fix top and bottom width of weir body. The weir body is the main component of the diversion weir structures and its section is determined as follows.

If the weir is of broad crested (vertical drop weir and sloping glacis weir) type, the top width is the maximum value of the following four equations:

…………………………………………………………………………… (7-13)

……………………………………………………………………….. (7-14)

b = S + 1 …………………………………………………………………………… (7-15)

This top width can also be estimated using Etcheverry's Method as:

……………………………………………….. (7-16)

Where,	b is the top width of a weir, (m)

He is the specific energy head over the weir crest during the design flood, (Ii is the sum of overflow depth & approaching velocity head), m

is the specific gravity of the weir body material and

S is the shutter height if it is provided (in case of barrage).

H, Hd, and Hav are as described in figure 7-5.

The recommended top width for diversion weirs of SSI Project from practice/experience varies from 1.0 m to 1.5m with vertical upstream face and 1:1 downstream slope of the weir body (if the selected weir type is vertical drop weir).

The bottom width, B is given by:

………………………………………………………………………. (7-17)

Where	H is height of weir, m

He &  are as described above

However, these formulae give preliminary sizes of the structure as the final one is governed by the stability requirements of the structure especially for no over flow condition and the downstream channel is dry, i.e. when the u/s water level is at crest level.

#### Geometry of ogee weir

If the weir is of ogee type, then the crest shape is determined based on the design head. The profile of ogee weir is thus fixed for the design head as it is generally chosen to give the maximum practical hydraulic efficiency, in keeping with the operational requirements, stability and economy of the structure. If the actual head is less than the design head, the pressure on the crest gives positive (i.e. above atmospheric) value. However, for the actual heads greater than the design head, the pressure on the crest is negative (i.e. less than the atmospheric pressure) thus it leads to cavitation (i.e. A hydraulic phenomenon of formation of vapor bubbles and vapor pockets within dropping water caused by excessive stress. Cavitation may occur in low-pressure regions where water has been accelerated). Thus, to avoid any possibility of negative pressures on the crest, the ogee crest shall be designed for a design head in the condition, when the under sluices are not in operation and whole of the design flood passes over the weir crest. Usually, the type of ogee selected for SSIP is vertical upstream face and downstream face sloping at 45 degrees to the vertical.

The downstream profile of the weir crest is represented by the equation:

…………………………………………………………………... (7-18)

Where,	He is the design head including velocity head, (m)

X & Y are coordinates of the points on the crest profile with the origin at the highest point of the crest, called the apex.

K & n are constants depending on slope of u/s face (as shown below)

Table 7-3: Values of the constants K & n (S.K. Garg, 2006)

| Slope of the u/s face of the spillway weir | K | n |
| --- | --- | --- |
| Vertical | 2.0 | 1.85 |
| 1H:3V | 1.936 | 1.836 |
| 1H:1.5H i.e. 2H:3V | 1.939 | 1.810 |
| 2H:3V | 1.873 | 1.776 |

Source: US Army of Engineers, WES

Ro/2

Figure 7-7: Components of ogee weir, (S.K. Garg, 2006)

From stability and construction point of view, a downstream slope of 1:1 is commonly provided following end of ogee shape and extends to a horizontal distance of (for vertical drop):

…………………………………………………………….. (7-19)

Where,	X is horizontal distance (m)

S is slope of d/s face of weir (e.g. if it is 1:1, then S=1 and if 1:3, then S=3)

According to the latest studies of U.S. Army Corps, the u/s curve of the ogee spillway having a vertical u/s face, should have the following equation:

.. (7-20)

Where,	Y is vertical distance, (m)

He & X are as defined above at any point X, (m)

This profile extends from peak point (crest level or apex) back to 𝑋=−0.27*He …………… (7-21)

The radius of the base bucket is calculated as follows (MoWR, 2002):

………………………………………………………………………... (7-22)

……………………………………………………………….. (7-23)

V =  ……………………………………………………………..… (7-24)

Where,	V is Velocity at the toe of the weir (m/s)

The radius of base bucket, Ro can also be assumed to be ¼ of H or P, as per S.K. Garg, 2006.

ha is approach velocity head (m) & given by,  ……………………….... (7-25)

The discharge coefficient, C can be determined by the relation of P/ha when:

P/ha > 1.33, velocity head is negligible thus, C=2.225 ………………………........… (4-26)

P/ha < 1.33, velocity head is need to considered, thus C is read from the curve given below.

Procedure for determining C:

- Calculate Hc/Hd and P/Hd

- Then from the curve, read C/Cd

- Calculate actual discharge coefficient from C=c/Cd*2.225 ……………........………. (7-27)

- If the u/s face is not vertical correct the value of C calculated in step iii, multiplying it by the correction factor for given P/Hd. Repeat the procedure with the corrected value of C & fix Hc.

Figure 7-8: H-Q relation for selecting coeff. of discharge, C (MoWR, 2002)

#### Geometry of sloping glacis weir

Such weir has sloping faces both on the upstream and downstream. The slope of the glacis u/s of the stilling basin has little effect on the jump as long as the distribution of velocity and depth of flow are reasonably uniform on entering the jump. The sloping glacis weirs have the inherent advantage of stability. On rivers subject to high velocity flows carrying boulders, weirs should be made as low as possible and a shallow glacis weir would best transport boulders safely over the weir. Glacis weirs with an upstream slope of 1V:1H to 1V:1.5H and a downstream slope of 1V:1.5H to 1V:2.0H shall be adopted as required.

The position of the start of the jump on a sloping glacis can be estimated by projecting the conjugate depth back from the tail water level to the incoming flow level.

### Fixing bottom level of a spate diversion body

#### General

Cutoff is a wall used for controlling piping is required for pervious foundation material. The required depth of this wall to satisfy the weighted creep-head ratio can be calculated once foundation type and dimensions of the structure are known. If this depth is greater than can be constructed, two or more cutoffs of reduced depth may be used which could be at the upstream and downstream ends of the structure. If the space between the cutoffs should be at least equal to 6/5 times the cutoff depth, otherwise the full benefit of the multiple cutoff will not be obtained. The factor 6/5 originates from the requirement that the weighted creep length along the short path between the tips of the cutoffs should at least equal the weighted creep length along the contact line. In practice, a cutoff spacing of two or more times the cutoff depth is generally used, but for most typically small scale diversion spates this will not be a problem.

A downstream erosion cutoff is usually required to protect the structure from downstream retrogression. When a reverse filter with a drain pipe is not included at the end of the downstream hydraulic jump stilling basin/apron, this will also act as a seepage cutoff to increase the seepage path length and assist in protecting the structure from a piping failure. An upstream cutoff may also be necessary to increase the seepage path and protect against a piping failure.

For a diversion spate not constructed on bedrock, the cutoffs will not only be required to resist seepage and piping, but will probably also be required to ensure that the structure will not slide. As a general rule, a typical small scale diversion spate with upstream and downstream cutoff depths at least 50 % of the spate height will usually be adequate with respect to sliding resistance.

#### Bottom level of cutoff

Bottom level of a spate body is fully dependent on condition of bed material on which the structure rests. If it rests on rocky bed material, then only key wall is required to tie or create bondage between the structure and the bed rock. However, if the bed material is other than bed rock, then bottom level of a spate body is fixed based on the requirement of cutting off piping effects under that structure.

To determine bottom level of the spate body, we therefore need to determine vertical cut-offs that need to be fixed at the upstream and downstream ends of the spate to safeguard against scouring and piping effects. Intermediate cut-offs are usually provided at the ends of upstream and/or the downstream slopes of the impervious floor based on the length required to dissipate subsurface hydraulic/pressure head and are useful in protecting the main structure against sliding too.

The depth of cut-offs should therefore be such that the structure’s bottom level is lower than the level of possible flood scour at that section. In addition, the downstream cut-off should also be sufficient to reduce the exit gradient within safe limits, which is decided by the sub-surface conditions.

At the outflow from the stilling basin, there remains a certain proportion of energy in the flow that scours the downstream of the basin. The scour holes so formed may progress towards the structure end and results in structural failure. Such failures can be prevented by providing piles or cut-off at u/s and d/s ends of the impervious floor, by extending below the calculated scour level. This depth below High/Design Flood Level (HFL), R i.e. depth of normal scour is given by the Regime scour depth method developed by Lacey’s equation as follow:

Hydraulic mean depth or scour depth, (R), R=1.35×q2f1/3………………………………. (7-28)

Where,		R = Hydraulic mean depth or scour depth, m

q = Unit discharge or discharge per meter length, = Q/b, m ……………….. (7-29)

f = Lacey’s silt factor, for the stated bed material = 1.76d ………………… (7-30)

d = Average river bed material/particle/grain size/diameter, mm (It is to be read from a gradation curve for the 50% of particle distribution)

To fix bottom levels of cut-offs, the scour depth, R is multiplied by a factor of safety ranging from 1.25 to 1.5 and 1.75 to 2.0 for upstream cut-off and downstream cut-off depths respectively.

Upstream cutoff level = Upstream HFL - l.5R…………………………………………. (7-31)

Downstream cutoff level = Downstream HFL – 1.75R……………………………….. (7-32)

Table 7-4: Lacey's silt factor "f"

| Type of Reach | Mean value of "f" |
| --- | --- |
| Large boulders and shingle | 20 |
| Boulders and shingle | 15 |
| Boulders and gravel | 12.5 |
| Medium boulders, shingle and sand | 10.0 |
| Gravel and bajri | 9.0 |
| Coarse gravel | 4.75 |
| Coarse bajri and sand | 2.75 |
| Heavy sand | 2.0 |
| Fine bajri and sand | 1.75 |
| Coarse sand | 1.5 |
| Medium sand | 1.25 |
| Standard silt | 1.0 |
| Medium silt | 0.85 |
| Very fine silt | 0.6 |
| Fine silt | 0.4 |
| Clay | 5.0 |

Source: Weir Design Manual, Halcrow-ULG, 1988

### Design of energy dissipater

#### General

Various types of structures have been developed for the dissipation of energy of flow. The dissipation is achieved by transforming super-critical flow into sub-critical flow through hydraulic jumps, turbulence, impacts, etc. Commonly used dissipaters in irrigation works are: (i) USBR hydraulic jump basins (Types I to IV) (ii) Vlugter basin; (iii) SAF Basin; (iv) Impact block (straight drop) type basin; (v) Slotted grating dissipater; (vi) Impact type stilling basin; (vii) Plunge pool; (viii) Stilling well; (ix) Baffled spillway and ( x) Deflector bucket

Dissipaters’ of type (i) to (v) and (x) are mostly used in spillways, whereas types (vi) to (ix) are used in outlets. Deflector buckets are suitable for use in headworks structures, but not generally used in canal works. In this manual only the hydraulic jump basins will be discussed.

#### Hydraulic jump computation

Hydraulic jump is one of the flow hydraulic characteristics which takes place when a super-critical flow changes into a sub-critical flow. This characteristics usually occurs in the stilling basin and is mainly a function of the Froude number, which also defines types of stilling basin. Froude number is generally represented by Fr and is computed by:

Fr = V/(g*D) …..………………………………………………..……………................. (7-33)

Where,	V is velocity of flow (m/s) and

D is Hydraulic depth or Hydraulic mean depth (=A/T), thus it is same as flow depth, d in case of rectangular flow sections (m)

The Froude number is generally used for scaling free-surface flows, open channels and hydraulic structures.

For rectangular channels, The Froude number is given by:

……………………………………………………………………………... (7-34)

For a channel of irregular cross-sectional shape, the Froude number is defined as:

…………………………………………………………………………….. (4-35)

Where,	Fr is The Froude number, dimensionless;

V is the mean flow velocity (m/s);

d is the characteristic geometric dimension and represent internal diameter of pipe for pipe flows and flow depth for open channel flow in a rectangular channel (m);

A is the cross-sectional area (m2); and

B is the free-surface flow width (m).

To ensure adequate hydraulic jump stilling action, it would be desirable to keep the Froude number of the incoming flow (Fr1) as high as possible. The Froude numbers shown in table 4-5 from Chow provides some guidance.

#### Determination of jump length

Length of jump is the distance that is generated when there is a transition from supercritical flow to subcritical flow condition. It is thus the main indicator and decisive parameter for estimating length of stilling basin. Hydraulic jump entering a stilling basin can be interpreted by a curve called specific energy curve. This curve is given by:

HE= d+V2/2g + q2/2gd2 ……………………………….………………….……………… (7-36)

Where, HE is Specific energy, (m)

d is flow depth (m)

q is unit discharge or discharge per meter width (m3/s/m)

A graph of specific energy plotted against depth generates u-shape curve with the specific energy a minimum at a turning depth called critical depth as shown in figure 7-9. Here, the flow passes from subcritical to supercritical. At critical flow,

V2 = g*D ……………………………….………………….………………………………. (7-37)

In other words the Froude Number Fr = 1. At subcritical flows, the Froude Number is less than 1, because the velocity is low and the depth is large. At supercritical flows the Froude Number is greater than 1.

The specific energy curve shows that for any energy level there are two possible depths: one subcritical and one supercritical. These are known as conjugate depths, and if the flow state changes from one side of critical to the other it also changes from one depth to its conjugate depth. The most dramatic instance of such a transition is the hydraulic jump.

dc=(qc/g)2/3 = 2/3 * HEmin …………………..…………………………………………… (7-38)

Where, V is flow velocity, (m/s)

dc is critical depth of flow, (m)

qc is discharge per unit critical width, (m3/s/m)

At this point, the curve produces a minimum specific energy, HEmin.

The depth before the jump is called the initial depth (y1 or d1) and the depth after the jump is called the sequent depth (y2 or d2). These depths are shown on specific energy curve shown below. These depths of flow must be differentiated from alternate depths y1 and y2'. y2' is the depth that shall occur in a subcritical flow if there was no loss of energy in the jump formation; while y2 is the actual depth that occurs after the jump, involving the energy loss Hl·

Figure 7-9: Hydraulic jump interpreted by specific energy curve

…………………..………………………………..… (7-39)

…………………..…………………………………………………..…. (7-40)

…………………..………………………………………………..….. (7-41)

…………………..…………………………………………….…………...…… (7-42)

…………………..………………………………………………………..…... (7-43)

Where,	Ef1 and Ef2 are specific energies at section 1 & 2 respectively, (m)

V1 & V2 are corresponding flow velocities at same section, (m/s)

Pre- and post-jump depths are interrelated with the following equation:

or ……………………….....………... (7-44)

Based on such computed flow depth values at pre- and post-jumps, one can estimate jump length as:

Lj = 5 to 6*(d2-d1) ………………………………………………………………............... (7-45)

#### Determination of location of the jump

Hydraulic jump can occur only when the Froude number exceeds 1. When the Froude number is near one, the jump is very weak and somewhat gradual such that it might not even be able to see it is "jumping".

Thus, to figure out where the jump occurs it needs to know when the Froude Number transits from less than one to more than one. To help this, the following equation is extremely useful for modeling open channel flow:

………………………………………………………………………... (7-46)

Where,	y represents the depth of flow in a riverbed at any point,

x is the distance along the flow,

S is slope of riverbed (positive when flowing downhill, negative, when flowing uphill),

yc is the critical depth of flow corresponding to Fr =1, and

yn is the normal depth, the depth of flow corresponding to flow that is balancing the frictional losses with gravitation gains.

As a general rule, it is easiest to work upstream i.e. from d2 towards d1. If we try to work downstream from an initial guess, we'll end up with non-physical flows unless we happen to guess perfectly.

In general, we can model the flow by going upstream from the subcritical section and downstream from the supercritical section. Then having modeled the supercritical section we can plot vs position of the depth of flow that would result from a hydraulic jump at that location. Any time that plot intersects the subcritical plot which is a location where a hydraulic jump could be stable.

### Determination of stilling basin type & its component

#### General

There have been numerous studies carried out on the study of shape, dimension and details of stilling basins. One of the latest and most comprehensive and being widely practiced investigations was conducted by USBR which is presented here briefly.

If it is supposed to accommodate the jump and match exit gradient criteria by such stilling basin alone, it results in costly and long massive structure. Although not adequate, the length of apron from exit gradient could be reduced by introducing a cut off walls as long as the jump remain within the apron. Such mechanism of controlling location of jump by introducing energy dissipater results in cost reduction.

Jumps could be classified according to their Froude numbers as follows (Irrigation Engineering and Hydraulic Structures, S.K. Garg, 2006):

For Fr = 1, the flow is critical and no jump is formed. Fr = 1 to 1.7, water surface shows undulations and the jump is called an undular jump. The energy dissipation in this case is quite low being only about 5%.

Fr = 1.7 to 2.5; a series of small rollers develop on the surface of the jump, but downstream water surface remains smooth. The velocity is fairly uniform and the energy dissipation is only about 20%, thus it is called a weak jump. For this case only a horizontal apron is to be provided with no less than 5d2 (sequent depth).

Fr =2.5 to 4.5 Entering jet oscillates back and forth from bottom to the surface and back again with no periodicity. It is called oscillating jump. The energy dissipation in this case ranges from 20 to 45%. For this type of jump; stilling basin of Type-I is suitable. It contains chute blocks and the end sill as an option. The dimensions of its components are as shown in section 2-11. The length, L is obtained from equation (7-45). The value of incoming Froude number for weirs/barrages and canal regulator generally lies in this zone or in the previous zone i.e. zone of weak jump.

Fr = 4.5 to 9. In this case a stable and well developed jump is formed. It has best performance. If energy dissipation ranges from 45% to 70%, it is called steady jump.

Fr = 9 and above. The jump action is rough which results in a rough water surface with strong surface waves downstream from the jump. If the energy dissipation reaches up to 85%, and it is called strong jump. This occurs usually under dam spillway.

Table 7-5: Summary of types of hydraulic jump

| Types of Jump | Froude number | Description | Energy dissipation, % |
| --- | --- | --- | --- |
| Strong jump Steady jump Oscillating jump Weak jump Undular jump | Fr > 9 4.5 < Fr < 9 2.5 < Fr < 4.5 1.7 < Fr < 2.5 1.0 < Fr < 1.7 | Rough jump, lots of energy dissipation Considerably energy losses Unstable oscillating jump; production of large waves of irregular period Little energy loss Free-surface undulations d/s of the jump; negligible energy loss | 5 20 20-40 45-70 70-85 |

Source: Types of Hydraulic Jumps (rough classification), Chow 1973

Table 7-6: Selection of energy dissipaters for different range of flows

| Types of basin | Consideration/ Application limits |
| --- | --- |
| USBR Type I | Wide range of Fr, V< 15 m/s; Long basin, simple construction |
| USBR Type II | For V>15m/s; Long basins, with chute blocks |
| USBR Type III | For Fr > 4.5, V < 15 m/s; Short basin, but complicated by floor and chute blocks |
| USBR Type IV | For Fr between 2.5 - 4.5, V < 15m/s; short basin, but complicated by floor and chute blocks |
| Vlugter | For canal falls of drop<4m; Simple to design & construct; Suitable for masonry construction |
| SAF | For small low head structures; Short basin, but complicated by floor and chute blocks |
| Impact block | For drops<2m; Generally economical; Short basin, but complicated by floor & chute blocks |
| Slotted grating | For 2.5<Fr <4.5; for small structures; complicated by grating |
| Baffled spillway | No tail water requirement; Complicated by blocks; economical |
| Bucket | Needs more tail water than jump type basins; Good foundation & protection required, in view of scour hole formation |

Source: Guidelines for Irrigation Systems Design in Hills and Valleys, MoWR, Nepal, 2006

#### Stilling basin setting and fixing its level

The objective of all stilling basin designs is to make the highly turbulent region of flow that occur on the stilling basin at all levels of discharge and to ensure that the flow leaving the downstream end of the basin is subcritical and will not cause excessive scour downstream. The most important parameter required to set stilling basin is sequent depth of a hydraulic jump.

The floor of the stilling basin must thus be set to a sufficient depth below the minimum tail-water to confine the hydraulic jump to the basin at all times. If the setting of aprons/stilling basins is too high to ensure hydraulic jump formation, instead of a hydraulic jump dissipating the energy over a relatively short reach, a gradual thickening of the flow results in dissipating the energy over a relatively long reach. Thus, the typical stilling basin/apron length selected shall be set shorter to provide protection from these gradually varying flows by depressing it and introducing additional structures like chute blocks, baffle blocks, end sill, etc.

Typical small scale diversion weir stilling basins usually have lower Fr (generally between 2.5 and 4.5), and the USBR “Design of Small Dams” recommends a type IV basin. Flows for these basins are considered to be in the transition flow stage because a true hydraulic jump does not fully develop. Stilling basins that accommodate these flows are the least effective in providing satisfactory dissipation because the attendant wave action ordinarily cannot be controlled by the usual basin devices. Waves generated by the flow phenomena will persist beyond the end of the basin and must often be dampened by means apart from the basin.

USBR thus recommends that “because of the tendency of the jump to sweep out, and as an aid in suppressing wave action, the water depths in the basin should be about 10 percent greater than the computed conjugate/sequent depth”. Also they indicate that higher Fr stilling basins and better hydraulic jump performance can be facilitated by selecting wider structure/basin widths. The USBR chart for jump/basin length for type IV basins (generally with chute blocks which are probably not practical for typical small scale weir diversion projects) indicates basin lengths of about 5 to 6d2 for Froude numbers between 2.5 and 4.5.

In general, to design the stilling basin we require to estimate the depth of flow, velocity of flow and Froude number at the upstream end of the stilling basin. This is done by undertaking an energy balance between the top of the weir, where flow conditions are governed by the weir equation, and the downstream toe of the weir (neglecting losses due to friction and turbulence in between).

This energy balance also called Bernoulli’s equation is expressed as follows:

d1 + Z + V12/2g = d2 + V22/2g……………………………………………………………. (7-47)

Where,	d1 is flow depth at entrance to the jump, (m)

Z is datum level, i.e. reference elevation (in this case it is RBL, m);

V1 is velocity of flow entering the jump, (m/s);

d2 is sequent depth, (m)

V2 is velocity of flow leaving the jump, (m/s).

The left hand side of the above energy balance equation can be solved at first hand since all parameters are known, the right hand side of the equation however has to be solved iteratively or by goal seek for d2 by varying d1 by assume floor level of the d/s apron/stilling basin (i.e. fist assume floor level then compute equation on LHS till it equals RHS by varying d1). Thus the general procedure for designing stilling basin is as outlined below:

Determine the pre-jump and post-jump water depth, d1 & d2,

Determine the pre-jump velocity V1 and Froude Number, Fr1,

Select suitable basin from the following types of Jump and recommended Stilling Basis.

The floor of the basin should be set to give a tail water depth to be at least 10% greater than the sequent depth D2, given by the equation (7-44):

#### Estimation of length of stilling basin

The length of the downstream impervious apron i.e. Stilling Basin is determined considering the hydraulic jump length and the available exit gradient at the end of the apron. The apron thickness varies along this length from a maximum at the start of the hydraulic jump in the stilling basin/apron to a minimum at its end.

To ensure safety against piping, Lane's Weighted Creep Theory states that “The sum of the vertical creep lengths, plus one third the sum of the horizontal creep lengths must be greater than the differential head across the structure times Lane's creep coefficient (C) which is given in the table 7-7”.

The downstream cistern i.e. solid apron should be long enough to accommodate the jump and is 5 to 6 times jump height, as given in equation (7-45).

The upstream and downstream apron lengths, can also be computed from (MoWR, 2002):

.…………………………………………………….……. (7-48)

Where,	Lu is apron length on the u/s portion of the weir

q is discharge per meter width of channel;

du/s is water depth at upstream corresponding to design discharge.

…………………………………………………………… (7-49)

Where,	q is as defined above & dd/s is water depth at downstream corresponding to design discharge, i.e.d3 or TWD.

The length of the downstream impervious floor, Ld is also given by Bligh as follow:

For weir with shutters, it is given by:

…………………………………………………………….…….. (7-50)

For weir with no shutters, it is given by:

………………………………………………………………...… (7-51)

And the length of the upstream impervious floor, Lu is as:

………………………………………………………. (7-52)

Where, B, d1 & d2 are as defined in figure 7-10.

In general, the value that can give safe exit gradient, taking economic aspects in to view shall be selected.

The downstream length could be reduced by providing a stilling basin with different energy defusing elements, i.e. chute blocks, friction block, arrow, dented sill, deflector, biff wall ribbed pitch, baffle wall, etc.

#### Determination of thickness of stilling basin

The floor of a stilling basin is subjected to uplift pressures resisting the tail water loads and water loads whose magnitudes depend on hydraulic-jump depths. For articulated slabs, such uplift pressure must be resisted by the weight of the slab and the water inside the basin and by anchor bars. Consequently, to know effect of such subsurface flow or seepage which builds up an uplift pressure under the foundation of the structure, especially on pervious foundations, proper seepage analysis should be carried out to enable the designer to evaluate the threat and incorporate necessary measures to defuse it. Three methods of such seepage analysis are discussed here.

- Bligh's creep theory

For the safety of hydraulic structures on pervious foundation, he considered the following two design criteria that should be satisfied.

The subsoil hydraulic gradient should be less than the permissible value to prevent piping failure.

The floor should be sufficiently thick to prevent its rupture due to uplift pressure.

For this purposes, Bligh postulated that percolating water follows the outline of the base and foundations of a s00tructure, i.e. water creeps along the bottom structural contour, According to his theory:

Percolating water creeps along the base profile of the structure, which is in contact with the subsoil. The length of path traversed by the percolating water is called creep length;

Head loss per unit length of creep called hydraulic gradient is proportional to the length of the creep, HL/L;

No distinction is made between horizontal and vertical creep, i.e. he assumed them as if they are equally effective.

B

LB

d1

d2

Figure 7-10: Assumed pressure distribution under the base profile of the structure

Uplift pressure, hB at any point B from above pressure diagram is determined as follows:

……………………………………………………………….......... (7-53)

Where, 	hB = Uplift pressure along the base i.e. residual head up to point B, (m)

Leq = equivalent creep length according to Bligh's Theory (m)

= (t1+2a)+L1+2b+L2+(t2+2c) …………………………………………..…….. (7-54)

LB = Creep length along the base up to point B, (m)

H = Actual water head, (m)

Table 7-7: Values of lane's creep coefficient, c and safe hydraulic gradient

| Type of soil | Value of C | Safe exit gradient |  |
| --- | --- | --- | --- |
|  |  | Lane's Method (1/C) | Bligh's Method |
| Very fine sand or silt | 8.5 | 1/8.5 | 1/18 |
| Fine sand | 7.0 | 1/7.0 | 1/15 |
| Medium sand |  | 1/6.0 | - |
| Coarse sand | 5.0 | 1/5.0 | 1/12 |
| Fine gravel |  | 1/4.0 | - |
| Medium gravel |  | 1/3.5 | - |
| Gravel and sand | 3.5 to 3.0 | 1/3.0 | 1/9 |
| Coarse gravel including cobbles |  | 1/3.0 | - |
| Boulders, cobbles & gravels |  | 1/2.5 | - |
| Boulders, gravel & Sand | 3.0 to 2.5 | - | 1/4-6 |
| Soft clay |  | 1/3.0 | - |
| Medium clay | 3.0 to 1.6 | 1/2.0 | - |
| Hard clay |  | 1/1.8 | - |
| Very Hard clay & Hard pan |  | 1/1.6 |  |

Source: As adopted from MoWR, Garg & Halcrow

For final design of a non-piping structure at the toe of the foundation, the exit gradient, Ge should be less than the recommended safe hydraulic gradient shown in the table above.

L= C*H …………………………………………………………………….…................... (7-55)

Where,	L is required creep length, (m)

C is creep coefficient

Bligh, then calculated floor thickness from t = hB/(G-I) ……………………………..………... (7-56)

Where, G is specific gravity of floor material;

With safety factory t = (4/3)* hB/(G-I) ……………………………………..……………. (7-57)

Required criteria in this case is:

Exit gradient Ge = H/Leq < Gs ……………………….…………………..……….…….. (7-58)

This theory is simple but with its limitation in that its exaggerated safety factor results in high value and hence high construction cost.

The design will be economical if the greater part of the creep length (i.e. of the impervious floor) is provided upstream of the weir where nominal floor thickness would be sufficient. The downstream floor has to be thicker to resist the uplift pressure. However, a minimum floor length is always required to be provided on the downstream side from the consideration of surface flow to resist the action of fast flowing water whenever it is passed to the downstream side of the weir.

Bligh’s Theory is simple but has the following limitations:

Bligh made no distinction between horizontal and vertical creep.

The theory holds well as long as horizontal distance between cut-offs or pile lines is greater than twice their depth.

No distinction is made between the effectiveness of the outer and inner faces of sheet piles and short and long intermediate piles. However, investigations, later, have shown that the outer faces of the end piles are much more effective than the inner ones. Also intermediate piles of shorter length than the outer ones are ineffective except for local redistribution of pressure.

No indication on the significance of exit gradient. Average value of hydraulic gradient gives idea about safety against piping. Exit gradient must be less than critical exit gradient (for safety).

The assumption, loss of head is proportional to creep length is not true and actual uplift pressure distribution is not linear, but it follows a sine curve.

Bligh did not specify the absolute necessity of providing a cutoff at the downstream end of the floor, whereas it is absolutely essential to provide a deep vertical cutoff at the downstream end of the floor to prevent undermining.

- Lane's weighed creep theory

Lane modified Bligh's Creep Theory, after analyzing the foundations of 200 dams worldwide, and stipulated that in computing the creep length, a weighting factor of one third should be applied to the horizontal creep as it is less effective in reducing uplift or differential head. Thus to ensure safety against piping:

“The sum of the vertical creep lengths, plus one third the sum of the horizontal creep lengths must be greater than the differential head across the structure times Lane's creep coefficient (C) which is given in the table below”. Thus:

Lc = 1/3*N +V…………………………………………………………..…………………. (7-59)

Where, N= sum of all horizontal and all sloping contacts less than 45°.

V= Sum of all vertical contacts and all sloping contacts greater than 45°

Lc = equivalent creep length according to Lane's Theory (m)

= 1/3 * (L1+L2)+(t1+2a+ 2b) ………………………………..…………………..……. (7-60)

Lane’s principles are:

Always, the exit gradient must be less than the safe gradient.

The horizontal creep is less effective in reducing uplift pressure than vertical one, hence N/3 is taken.

To determine the thickness of the apron both dynamic and static case should be considered. The bottom parts of the apron will generally require larger thickness when static case is selected, but the top part of the apron (the toe section) will have larger thickness when dynamic case is considered. Therefore, the thickness at any point say A, B and C are calculated from:

……………………………………………………. (7-61)

Where,	t=Thickness of apron at any point A, B & C where residual pressure head is computed (m)

f = Factor of safety = 1.3

Hmax = Total seepage head i.e. U/S and D/S differential (maximum) head, m

Lc= Weighted creep length total (m), …………….…. (7-62)

LV =Vertical creep length (m) and

LH = Horizontal creep length (m)

C = Lane’s creep coefficient (From Table 7-7)

Note: Required condition is: Lc  C*Hmax; or (Hmax /Lc) ≤ (1/C) ……………..……………….. (7-63)

- Khosla's theory

To assess the uplift pressure under composite weirs in any hydraulic structure, Khosla (1954) evolved the method of independent variables. In this method, the base of the structure is split up into a number of simple standard forms of known analytical solutions.

Figure 7-11: Schematic representation of khosla’s flow net

This theory is used to analyze the uplift pressure under any hydraulic structure of regular, irregular or composite shaped foundation. The method takes in to account effects of their shape and thickness.

Base of the structure is divided in to a number of single standard forms of known analytical solutions i.e.:

Straight horizontal floor of negligible thickness with a sheet pile at either ends;

Straight horizontal floor of negligible thickness with a sheet pile line at some intermediate position;

Straight horizontal floor depressed below the bed but with no vertical cut-offs.

The main principles of this theory are:

The seepage water does not creep along the bottom contour of pucca-floor as stated by Bligh, but moves along a set of streamlines. This steady seepage in a vertical plane for a homogeneous soil can be expressed by the 2-D partial differential equation called the Laplacian equation:

…………………………………………………......................... (7-64)

Where, 	 = Flow potential = K*h; ……………………………………..………………… (7-65)

K = Coefficient of permeability of soil as defined by Darcy’s law and

h = is the residual head at any point within the soil

This equation represents two sets of curves intersecting each other orthogonally. The resultant flow diagram showing both of the curves is called a Flow Net.

The streamlines represent paths along which water flows through the sub-soil. Every particle entering the soil at a given point upstream of the work will trace out its own path and will represent a streamline. The first streamline follows the bottom contour of the works and is the same as Bligh’s path of creep. The remaining streamlines follows smooth curves transiting slowly from the outline of the foundation to a semi-ellipse, as shown in Figure 7-11.

Treating the downstream bed as datum and assuming no water on the downstream side, it can be easily stated that every streamline possesses a head equal to h1 while entering the soil; and when it emerges at the downstream end into the atmosphere, its head is zero. Thus, the head h1 is entirely lost during the passage of water along the streamlines.

Further, at every intermediate point in its path, there is certain residual head, h, still to be dissipated in the remaining length to be traversed to the downstream end. This fact is applicable to every streamline, and hence, there will be points on different streamlines having the same value of residual head h. If such points are joined together, the curve obtained is called an equipotential line.

Every water particle on line AB is having a residual head h = h1, and on CD is having a residual head h = 0, and hence, AB and CD are equipotential lines.

The seepage water exerts a force at each point in the direction of flow and tangential to the streamlines. This force (F) has an upward component from the point where the streamlines turns upward. For soil grains to remain stable, the upward component of this force should be counterbalanced by the submerged weight of the soil grain. This force has the maximum disturbing tendency at the exit end, because the direction of this force at the exit point is vertically upward, and hence full force acts as its upward component.

For the soil grain to remain stable, the submerged weight of soil grain should be more than this upward disturbing force. The disturbing force at any point is proportional to the gradient of pressure of water at that point. This gradient of pressure of water at the exit end is called the exit gradient. In order that the soil articles at exit remain stable, the upward pressure at exit should be safe. In other words, the exit gradient should be safe.

This exit gradient is said to be critical, when the upward disturbing force on the grain is just equal to the submerged weight of the grain at the exit. When a factor of safety equal to 4 to 5 is used, the exit gradient can then be taken as safe. In other words, an exit gradient equal to ¼ to 1/5 of the critical exit gradient is ensured, so as to keep the structure safe against piping.

Khosla et al. used the method of independent variables and obtained solutions of Laplace equation for a number of simple profiles. This solution is commonly known as Khosla’s solution. The following forms of these simple profiles are very useful in the design of weirs and barrages on permeable foundations:

Figure 7-12: Simple standard profiles of weir floors of khosla’s proposals

For sheet piles at either upstream end or downstream end [as shown in Figure 7-12 above]:

…………………………………………………………………… (7-66)

…………………………………………………………………… (7-67)

…………………………………………………………………………… (7-68)

…………………………………………………………………………… (7-69)

Where,  …………………………………………………………….… (7-70)

And  …………………………………………………………………………..……. (7-71)

For sheet piles at the intermediate point [as shown in Figure 7-12, above]:

………………………………………………………………..… (7-72)

……………………………………………………………  …...… (7-73)

……………………………………………………………….…... (7-74)

Here,  ….…………………………………………………. (7-75)

And  …………………………………………………….… (7-76)

Where,  and  ………………………………………………….………… (7-77)

In the case of a depressed floor [as shown in Figure 7-12 (iv), above]

…………………………………………………………… (7-78)

…………………………………………………………………….…….. (7-79)

Where,  and  are as given above and, ……………..…………………… (7-80)

#### Fixing level of stilling basin

Level of stilling basin fixed either by energy method (or trial and error) or conventional method. Energy method involves assuming level of stilling basin and applying Bernoulli’s/Energy equation shown in equation (7-47) at two sections: on the u/s & on the d/s of weir body and solve for initial depth of flow entering the jump such that the difference between tail water depth and sequent depth is within allowable range of 20 to 40%. Thus, data required for this method are:

- Data required on the upstream side:

Approaching velocity head, Hav;

River Bed Level, RBL;

Head of design discharge or Overflow depth, Hd; and

Weir height, h

- Data required on the downstream side:

Characteristics of entering hydraulic jump such as d1 and Hav1;

Assumed level of the basin.

This method also involves calculations based on approximation as well as trial and error methods. It also neglects losses between points/sections and considers similar datum.

The Conventional Method on the other hand, involves experimental formula as has been presented here under:

……………..……………………………………………………… (7-81)

……………..………………………………………………….. (7-82)

The required criteria in this case is,  ……………..………………………..…. (7-83)

Where; L is length of the basin (horizontal length of the d/s slope of the weir + length of the d/s apron floor), (m)

D is Depth of the stilling basin below RBL, (m)

Hd is Overflow depth, (m)

F is the difference of (u/s Water Level + Velocity Head) – (d/s Water Level) …..… (7-84)

Finally, if both the conditions stated under the two methods are satisfied, then select the shorter length from economic point of view. For this purpose, and from practical experiences, the result of Conventional Method is lower than the Energy Method.

Note: The selected basin length should also satisfy piping and exit gradient requirements.

### Determination of exit gradient (GE)

When the upward thrust exceeds a certain value at the exit, piping will occur. Exit gradient is a gradient of pressure of water at the exit end of structure. This exit gradient is said to be critical, when the upward disturbing force on the grain is just equal to the submerged weight of the grain at the exit. When a factor of safety equal to 4 to 5 is used, the exit gradient can then be taken as safe. In other words, an exit gradient equal to ¼ to 1/5 of the critical exit gradient shall be ensured so as to keep the structure safe against piping.

When upward thrust of seepage flow passing beneath a structure is greater than submerged weight of the soil resisting the upward thrust on the d/s side of end cut off wall, piping will occur and bed material will be washed upwards and into river flow. Two popular methods for determining GE are: flow net which may be plotted by drawing or the use of electrical analogue methods and Khosla's approximation. But commonly Khosla's approximation is adopted for its easiness.

Khosla determined that for a standard form of structure with a floor length (b) and vertical cut-off (d), the exit gradient at the downstream side is given by:

……………………………………………………………….…….. (7-85)

Where,  and  ……………………………………………………...… (7-86)

GE is exit gradient

Hmax is maximum pressure head under Dynamic Case and/or Static Case

b is total length of impervious floor, m

d is depth of downstream cutoff, m

is a number to be computed from equation above,

is a number to be computed from equation above,

When the upward seepage force acting on soil at the exit end of the structure is exactly balanced by tile submerged weight of the soil, the exit gradient is known as the Critical Exit Gradient, CEG. It can be expressed mathematically as CEG = (S - 1) (1 - n) where S is the specific gravity of the soil and n is its porosity. When critical exit gradient is divided by factor of safety, it gives the safe exit gradient (SEG). For example, for ordinary alluvial type of soil, S = 2.6 and n = 0.4. If a factor of safety of 3 is adopted then SEG = CEG/SF = 0.32.

Note: To keep the exit gradient to a safe value, the depth of cutoff (D) and the flow length are to be suitably adjusted. It may be required to increase the downstream floor length than needed, from hydraulic considerations. If the jump is not formed, this length can be adopted as 6 times the downstream water depth. Thus, the total floor length is the total of impervious floor consisting of upstream floor, upstream glacis (if any), downstream glacis, downstream stilling basin and end sill. It need to satisfy the requirements of exit gradient, scours as well as economy.

The above equation has been graphically established by Khosla (Refer appendix -IV). A graph based on Khosla's theory is placed to indicate the correlation between the floor length, (b) cutoff depth and (d) i.e.  and 1/() to determine exit gradient figuratively. By adopting suitable ratio of b and d, i.e. , safe value of exit gradient can be achieved and ready from the graph.

Table 7-8: Recommended values of Khosla’s safe exit gradient

| Type of soil | Values of Khosla’s Safe Exit Gradient |
| --- | --- |
| Shingle | 0.25 to 0.20 |
| Coarse sand | 0.20 to 0.17 |
| Fine sand | 0.17 to 0.14 |

In general, Khosla’s procedure for analyzing uplift pressure under a structure consists:

Splitting up the foundation into standard forms

Determining the pressure as a percentage of the water head at the key points. (Junctions of the floor and the pile; bottom points of pile; and bottom corners in case of depressed floor).

The profiles are then corrected for:

Mutual interference of pile

Floor thickness

Slope of floor

Table 7-9: Values of Khosla’s corrections for standard slopes

| Slope (Horizontal :Vertical) | Proposed Correction factor |
| --- | --- |
| 1:1 | 11.2 |
| 2:1 | 6.5 |
| 3:1 | 4.5 |
| 4:1 | 3.3 |
| 5:1 | 2.8 |
| 6:1 | 2.5 |
| 7:1 | 2.3 |
| 8:1 | 2.0 |

### Design of protection works

#### General

To maintain normal function of a weir for its intended design period, protection works are necessary based on stability conditions prevailing around the structure. These protective works are required both on the u/s and d/s of a weir depending on nature of foundation condition to prevent possibility of a scour hole moving close to the u/s or d/s cutoffs and undermining the structure. These works are required in addition to impervious floors. Thus, provision of sufficient cutoffs are enough for small structures, and remaining works shall be provided only in cases where the nature of the river is erosive as well as the river bed material is of loose/alluvial.

#### Upstream protection works

On the u/s side, the need for such protection works is owing to higher velocities of flow near the structure as a result of draw down. Thus, upstream protection works are required to keep the upstream apron and loose river channel from scouring. Such protection commonly include provision of combinations and/or either of cut off piles, block protection, rip-raps and launching apron as found necessary. The non-launching apron prevents the scour hole travel close to the floor or sheet pile line; whereas launching apron is designed to launch along the slope of the scour hole to prevent further scooping out of the underlying river bed material.

The most commonly used protection is cut-off and riprap in a form of dumped rock or precast concrete block or rock filled gabion (wire container or welded bar enlargement). Cut-off design has been presented in preceding section. However, minimum length of stone rip-rap on upstream can be estimated by:

Lpu = 1.25 to 1.5 * Du/s .………………………………………………………………..…. (7-87)

Where,	Lpu is length of upstream protection work (m),

Du/s scour depth below the river/channel bed on the u/s (m),

#### Downstream protection works

On the d/s side, the need for protection works is due to the turbulent nature of flow as it leaves stilling basin to guard against higher than expected exit gradients and retrogression effects on the downstream of impervious apron.

Minimum length of stone rip-rap on the d/s side is given by:

Lpd =1.5 to 2.0 * Dd/s ………………………………..……………………………………. (7-88)

Where,	Lpd is length of downstream protection work (m),

Dd/s scour depth below the river/channel bed on the d/s (m),

Stone size used for rip rap can be estimated using:

………………………………………………………………………….… (7-89)

Where,	D is Stone size/diameter (m),

V is average flow velocity at a cross-section under consideration, m/s

According to Bligh theory, the total combined length of the downstream impervious floor and protection works (L) is computed under two conditions:

- For weir with shutters, it is given by:

………………………………………………………….….… (7-90)

- For weir with no shutters, it is given by:

……………………………………………………………..… (7-91)

Where,	Hs is the seepage head, the difference in water levels u/s and d/s of the weir,

C is coefficient of creep,

q is unit discharge over the weir, m3/s/m

Note: When a weir is constructed on rocky foundation, such apron and protection works are not required.

#### Launching apron

Launching apron also called pervious apron or floor is a protection work provided after block protection and inverted filters. It is that part of the protection work laid horizontally over the riverbed on both the upstream and downstream sides of weir, as shown in figure 7-13. It is also provided as continuation of the pitching whenever its sloping face needs to be protected by stone pitching against scour by extending it beyond the toe on the bed in the form of packed stones especially in river training works, as shown in figure 7-15.

Launching apron

Launching apron

D/s impervious floor

Figure 7-13: Arrangement of Launching Apron on Horizontal Floor

The different aspects to be looked into in the design of launching apron are:

Size of the stones (from equation 7-49),

Depth of scour (from Lacey’s scour equation),

Thickness of launching apron,

slope of launching apron,

Shape and size of launching apron.

Figure 7-14: Inverted filter & flexible (launching/talus) apron (P. Novak, 2007)

The required size of stone for the apron can be obtained from the curves. In case of non-availability of required size of stones, cement concrete blocks or stone sausages, prepared with 4 mm GI wire in double knots and closely knit and securely tied, may be used.

Figure 7-15: Typical arrangement of launching apron at an angle (S.K. Garg, 2006)

#### Inverted filter

This protection mechanism consists of layers of selected materials of increasing permeability from bottom to top. The thickness of the inverted filter varies from 0.5 to 1.25 m. To prevent the filter material from dislocation by surface flow, they are weighted down with large size stones or concrete blocks. The blocks are usually 0.9 to 1.2 m thick and are placed with open joints filled with river sand or filter material. It is provided immediately at the d/s end of the impervious floor to relieve the uplift pressure. The length depends on the scour depth R below the river bed and it usually varies from 1.5R to 2R as given by equation:

D= XR – Y ……………………………………………………………………………...… (7-92)

Where,	R = depth of the deepest scour level below HFL (m),

X = a multiplying factor (varying from 1.25 for u/s to 2 for d/s) …...………………… (7-93)

Y = HFL-RBL is depth of river bed or impervious floor below HFL (m) …...……….. (7-94)

#### Block protection

Such protection is made of concrete blocks and provided immediately at the u/s end of the impervious floor. It consists of 0.6 to 1.0 m thick stone or concrete blocks laid on 0.4 to 0.6 m thick loosely packed stone. The length of the block protection is usually equal to the depth of scour, D, below the river bed at the u/s end of the impervious floor.

#### Riprap protection

Riprap protection can be rock/rubble, broken concrete slabs, and preformed concrete shapes. However, rock riprap is the most widely used and most desirable type of revetment. It is compatible with most environmental settings. The term "riprap" alone is most often used to refer to rock riprap.

The rock is layered in either dumped or hand-placed or plated placement method. Dumped riprap is graded stone dumped on a prepared slope by mechanized means, such as crane and skip, dragline, or some form of bucket in such a manner that segregation will not take place. Hand-placed riprap on the other-hand is stone laid carefully by hand following a definite pattern, with the voids between the larger stones filled with smaller stones and the surface kept relatively even. Plated or keyed riprap is stone placement on the bank with a skip and then tamped into place using a steel plate, thus forming a regular, well organized surface. During the plating operation, the larger stones are fractured, producing smaller rock sizes to fill voids in the riprap blanket.

Figure 7-16: Dumped or hand-placed or plated riprap, HEC-11, 1997

The basic premise underlying riprap design based on tractive force theory is that the flow induced unit tractive force should not exceed the permissible tractive force or critical shear stress of the riprap.

Shapes of stones affect how well the stones are interlocked and offer resistance to movement. General design consideration:

Riprap stone should be block in shape rather than elongated.

It should be predominately angular and sub-angular in shape.

Less than 30% of the stone should have a/c < 2.5

Less than 15% of the stone should have a/c < 3.

An approximate guide to stone shape is that neither the breadth nor thickness of a single stone should be less than one-third its length.

It should not be steeper that 1V:1.5H; Recommended 1V:2H to 1V:3H though Ideal Side slope equals angle of repose of the material.

Stone for riprap should be hard, durable field or quarry materials. They should be angular and not subject to breaking down when exposed to water or weathering. The specific gravity should be at least 2.5.

The minimum layer thickness should be 1.5 times the maximum stone diameter, but in no case less than 150mm. It should not be less than the spherical diameter of the D100 stone, or less than 1.5 times the spherical diameter of the D50 stone, whichever results in the greater thickness. For practical placement, usually 300 mm is adopted. The thickness determined by either method should be increased by 50 percent when the riprap is placed underwater to provide for uncertainties associated with this type of placement. An increase in thickness of 150-300 mm, accompanied by an appropriate increase in stone sizes, should be provided where riprap revetment will be subject to attack by floating debris or waves from wind, or bedforms.

Placement of Stone for riprap should follow immediately after placement of the filter. Place riprap so that it forms dense, well-graded mass of stone with a minimum of voids.

Stones should be shaped so that the least dimension of the stone fragment is not less than one-third of the greatest dimension of the fragment. Flat rocks should not be used for riprap. Blocky and angular shaped rocks with sharp clean edges and relatively flat faces are good. If rounded stones are used, they should be placed on flatter slopes (not exceeding 2.5:1 horizontal to vertical) and the recommended median rock diameter should be increased by 25% with a comparable increase in the thickness of the revetment.

Note: The size of individual rock is usually expressed by the dimensions of their three axes. The long axis, a, is the maximum length of the stone. The intermediate axis, b, is the maximum width, perpendicular to the long axis. The short axis, c, is the thickness of the stone perpendicular to the plane of axes, a and b. The size of an individual rock is usually expressed as its b-axis dimension. The use of rock or stone size is preferred for riprap dimensions; however, weight is commonly used. The relationship of size to weight depends on stone shape and also on the specific weight or density of the rock. Typically, the space that the rock used for riprap is not spherical and its shape lies between that of a sphere and a cube.

Theoretical shear stress on channel bed is given by:

……………………………………………………………………… (7-95)

On channel sides:

………………………………………………………………………. (7-96)

Where,	b is theoretical shear stress on bed

s is theoretical shear stress on sides

is the unit weight of water;

R is the hydraulic radius; and

S is the energy grade line slope;

Kb is 0.97 but usually taken as 1;

Ks is a function of stone size but it can be taken to be equal to 0.75

The riprap materials’ resistance to movement i.e. its permissible unit tractive force is known as critical shear stress, (c) and given by the following relationship the form of which was first proposed by Shields:

…………………………………………………………..... (7-97)

Where,	SP is the Shields parameter;

s is the unit weight of the riprap material;

is as defined above;

D50 is the median riprap particle size; and

K is the tractive force ratio defined as:

………………………………………………………………… (7-98)

Where,	 is the bank angle with the horizontal; and

ϕ is the riprap material's angle of repose.

The ratio of the riprap’s critical shear stress and the tractive force exerted by the flow is defined as the stability factor.

………………………………………………………………………………...... (7-99)

As long as the SF is greater than 1, the critical shear stress of the material is greater than the tractive stress induced by flow, thus the riprap is considered stable.

Dividing the critical shear stress by the tractive force due to the flow, rearranging terms, and replacing the hydraulic radius (R) with the average flow depth (havg) yields the following relationship:

..……………………………………………………………… (7-100)

Where,	SF = the stability factor

Ss = the specific gravity of the rock riprap.

This equation represents the basic form of the tractive stress relationship and here, the median riprap size is primarily a function of flow depth and slope.

Table 7-10: Allowable ranges of stability factor

| Factor | Range of SF |
| --- | --- |
| Uniform flow; straight or mildly curving reach (curve radius/channel width >30); Impact from wave action and floating debris is minimal; Little or no uncertainty in design parameters. | 1.0-1.2 |
| Gradually varying flow; Moderate bend curvature (30 > curve radius/channel width > 10); Impact from waves or floating debris moderate. | 1.3-1.6 |
| Approaching rapidly varying flow; Sharp bend curvature (10 > curve radius/channel width); Significant impact potential from floating debris and/or ice; Significant wind and/or boat generated waves (0.30 - 0.61 m)); High flow turbulence; Turbulently mixing flow at bridge abutments; Significant uncertainty in design parameters. | 1.6-2.0 |

A filter is a transitional layer of gravel, small stone, or fabric placed between the underlying soil and the structure. The filter

Prevents the migration of the fine soil particles through voids in the structure,

Distributes the weight of the armor units to provide more uniform settlement, and

Permits relief of hydrostatic pressures within the soils.

For areas above the water line, filters also prevent surface water from causing erosion (gullies) beneath the riprap.

The proper design of granular and fabric filters is critical to the stability of riprap installations on channel banks. If openings in the filter are too large, excessive piping through the filter can cause erosion and failure of the bank material below the filter. On the other hand, if the openings in the filter are too small, the build-up of hydrostatic pressures behind the filter can cause a slip plane to form along the filter resulting in massive translational slide failure. Thus, for rock riprap, a filter ratio of 5 or less between layers will usually result in a stable condition (HEC-11). The filter ratio is defined as the ratio of the 15 percent particle size (D15) of the coarser layer to the 85 percent particle size (D85) of the finer layer. An additional requirement for stability is that the ratio of the 15 percent particle size of the coarser material to the 15 percent article size of the finer material should exceed 5 but be less than 40. These requirements can be stated as:

..…………………….. (7-101)

The left side of this equation is intended to prevent piping through the filter, the center portion provides for adequate permeability for structural bedding layers, and the right portion provides a uniformity criterion.

The thickness of the filter blanket should range:

From 150 mm to 380 mm for a single layer, or

From 100 mm to 200 mm for individual layers of a multiple layer blanket.

#### Gabions and mattress protection

Wire-enclosed rock revetments consist of rectangular wire mesh baskets filled with rock. They are formed by filling pre-assembled wire baskets with rock, and anchoring to the channel bottom or bank. Wire enclosed revetments are applicable for conditions that are similar to those of other revetments. However, their economic use is limited to locations where the only rock available economically is too small for use as rock riprap slope protection.

Figure 7-17: Rock filled gabion (L) and under preparation (R)

General design consideration:

Subgrade should be compacted and leveled to receive first layer of gabions.

The first row should be keyed into the existing grade at the toe, a minimum of 0.5 m.

Gabions should be placed according to the manufacturers recommendations.

Gabions should be filled with stone or crushed rock from 100 to 200mm in diameter.

In corrosive environments, gabion wire should be coated with Poly Vinyl Chloride (PVC).

Wire-enclosed rock revetments are generally of two types distinguished by shape or geometry:

Mattresses: consist of flat wire baskets having a depth dimension which is much smaller than their width or length. The individual mattress sections are laid end to end and side to side on a prepared channel bed or bank to form a continuous mattress layer. The individual basket units are attached to each other and anchored to the base material.

Block gabions: consist of rectangular wire baskets having depths that are approximately the same as their widths and of the same order of magnitude as their lengths. The baskets are stacked in a stepped-back fashion to form the revetment surface. They are typically rectangular or trapezoidal in shape.

Figure 7-18: Arrangement of mattresses (L) block gabions (R)

#### Indirect Protection

This includes works that are not done directly on the bank but in front of them with the view of reducing the erosive force of the current by deflecting the current away from the banks or by inducing deposition. Vegetation can function as either revetment or indirect protection, and in some applications, can function as both simultaneously.

## analysis of afflux

### Upstream water surface profile determination

Afflux is water surface profile upstream of a weir. When a barrier structure is put across a river, water surface propagates upstream and consequently the water surface profile changes from the normal water surface to a level that is detained by the barrier plus depth of water over the crest. Afflux, though confined in the beginning to a short length of the river above the barrier, extends gradually very far up till the final slope of the river upstream of the barrier is established due to sediment deposition in-front of the structure.

Determination of the upstream water surface profile (afflux) is most not required, unless there are some upstream concerns with the raised river water levels (e.g. flooding, land control, etc.) for the case of shallow u/s/ banks. With lesser upstream velocities, generally there should not be additional erosion, except possibly some isolated bank erosion concerns because of the raised water levels.

The value of afflux (at the design flood) to be permitted is one of the factors that the width of a weir is governed by, in addition to the existing stream width and the proposed crest levels. Moreover, the upstream water surface profile helps us to determine depth of water upstream of the weir and to find out whether water has sufficient head to feed the off taking canal in addition to its use for the weir stability analysis. The amount of afflux determines the top levels of guide banks and their lengths, and the top levels and cross-sections of flood protection bunds. It also governs the dynamic action, as the greater the afflux or fall of levels from upstream to downstream, the greater is the action. It also controls the depth and location of the standing wave. By providing a high afflux, the width of the barrier can be narrowed but the cost of training works can go up and the risk of failure by out flanking will increase. Thus, selection and adoption of a realistic medium value is imperative, which is commonly 1-1.2m.

There are different methods for determining this profile but the most common ones are stated as follow.

### Approximate method

This is applicable method for determining the upstream water profile for preliminary design purpose by considering a channel with uniform cross section and constant hydraulic properties.

………………………………………………………………….. (7-102)

Where,   Y - Water rise at distance X upstream of the weir above the normal water depth.

X - Distance from the crest to the point where Y is required to be determined.

S - Slope of the riverbed

0= (h+Hd)-TWD, is rise of water above normal flow depth at X=0 ..……………. (7-103)

Figure 7-19: Schematic view of backwater profile

### Standard step method

This method is used to determine both the upstream and downstream water profile. It is preferred if the water stretches long distance back and the friction loss is considerable. Steps to follow in this method are:

Identify cross sections of the river at points where geometrical and hydraulically characteristics are expected to show a change.

Determine cross sectional area of each section, A

Determine wetted perimeter of each cross sections, P

Determine hydraulic radius of each cross sections, R

Prepare a table

Start computation by assessing water level if not known at the 1st section

…………………………………………….…………………………….. (7-104)

Where,		Sf is friction slope of each sub areas

Qi is flow in each sub areas

Ki is conveyance parameters within each sub areas

Equation above can be used by starting from one end of the channel where the flow depth and velocity are known and working backward or forward in steps as required. Here, two, methods are used of which we shall discuss one, called the standard step method. Avery popular computer program called HEC-2 developed by hydrologic engineering center of the US Army Corps of Engineers is based on this method. In this method, for any given discharge the depth of flow would be known at the control section. It is then required to calculate the depth of flow at the section immediately next to the control section.

## design of head regulator

### Location and functions of head regulator structures

Head regulator structures in SSIP are located at the off-take from a weir into conveyor or main canal by at least 1m on the upstream side of the scouring sluice.

The functions of head regulator structures are:

Serve for regulation of flow in to the canal for all river stages;

Stilling basin and transition into the downstream canal;

A room for measuring device such as Crump weir or cut-throat flume;

Road Bridge for canal embankment service road.

The first necessity for the intake site is that the river channel, in other words the thalweg, should be stable. Sediment inflow to the canal may take place in the following cases:

If the intake site is not correctly sited in relation to meandering of the river,

If water intake is required even during floods,

If the intake is located too close to the riverbed elevation and the intake flow velocity is large.

Intake structure can be situated on the upstream face of the wing wall or in the middle or on the outer side. However, each and every option has its own advantage and disadvantage as shown below.

Table 7-11: Comparison of possible arrangement of intake gate

| Possible position of Intake | Advantage | Disadvantage |
| --- | --- | --- |
| On the upstream face of the wing wall | - In this case the intake can get water without any problem | - Trash racks and the gate itself can easily be susceptible to destruction/deflection by flooding |
| In the middle of the wing wall | - No problem of flood hazard - Easily manageable | - Difficult to maintain |
| On the outer side of the wing wall | - The most easily operable - Easy to maintain | - Pressurized water can dismantle the system - Subject to clogging/sedimentation - Susceptible to stolen |

Thus, the middle arrangement may be the most suitable though its selection is left to the designer based on site condition.

### Types and selection of intake on diversion weir

Types of intake for off-taking water from the diversion headwork of SSIP are two:

Box, and

Concrete pipe.

Box type could be rectangular or square in shape and is used when required flow in the conveyance canal is larger. For smaller flow, piped system is preferred as it is more efficient in discharging than the box intake. If the adjacent topography is also steeper, then piped system is preferred to bury it and extend till it emerges from the rugged surface.

When considering intake of water on both banks, the intake levels of both sides should be equal, otherwise available low flow may be imbalanced thus slanted to the intake with lower bottom level. Their intake capacity shall rather be managed by water level passing through the intake by corresponding gate installed in the wings. Their location may not necessarily be parallel to each other, rather governed by adjoining geology & topography.

### Considerations in fixing intake level and its type

The following points need to be considered while selecting type of and fixing intake level of Intake or head-regulator:

Capacity of intake should be such that it allows the peak discharge or the maximum irrigation water demand plus some 20-30% allowance for future demand.

Bed level of an intake structure should be high enough to prevent entrance of bed load in to the canal and the same time, it should be low enough to harvest available low flow of the river.

Intake should be such that it enables regulation of supply of irrigation water based on the irrigation schedule or demand and the availability of water in the river.

If the level of the intake at the headwork site is higher than the existing riverbed level then a weir with seepage under it, even with a deep vertical cut off and/or an upstream seepage apron shall be considerable. In addition, if there is considerable evaporation losses from the pond created upstream of the weir, moving the weir’s location further upstream should be considered.

Perennial flow available in the river at the intake location limits the design discharge capacity. Thus the design discharge at the intake should be less than the 1:5 year low flow in the river for every month of the year.

For most irrigation schemes it is usually sufficient to provide a simple gated orifice intake in the weir abutment wall just upstream of the scour sluice;

The intake to the irrigation canal should be gated so that the canal can be closed off during floods;

If not closed off sediment may enter the canal, requiring (labor intensive) cleaning or settling basin along the MC;

The gate should be capable of being operated under high pressure of water during floods. So, should it be located in the wall or on the outer side of the wall?

If gates are not accurately manufactured, during floods they may be jammed against their (rubber) gate seals rather than moving freely on their bronze track bars;

The bed level of the intake canal should be below the main weir but above the invert of the scour sluice;

The intake should be sufficiently below the main weir level to allow the full design flow to enter the intake for a river water level equal to the main weir crest level;

Reinforced concrete breast walls are usually provided to the head regulator so that orifice flow occurs during floods;

This makes the flow through the regulator proportional to the square root of the flow depth (i.e.  h0.5), rather than proportional to the flow depth to the power 1.5 (i.e.  h1.5).

In general, the inlet elevation is preferred to be 1.0m higher than scouring sluice sill and also preferred to be more than 1/6 of maximum flood depth of the river from the riverbed for prevention of sand in case of alluvial channel. But in case of small head diversion weirs, a minimum inlet elevation is at least 0.5m higher than scouring sluice sill. If the height from scouring sluice sill to inlet elevation is lower than 1.0m, settling basin should be considered especially if the river is sediment laden type.

### Design of intake structure

#### Selection of type of intake & sizing its capacity

Intake also called Head Regulator can be box /rectangular or square/ type and concrete piped system. The size of opening of each intake structure type is determined based on the amount of irrigation water required. Box type is selected for larger demand such as spate flow, whereas, piped system is used for smaller flow.

The box type acts as a submerged orifice. Thus, the following formula can be adopted:

……………………………………………………………........................ (7-105)

Where, Q = Discharge through the opening (m3/s)

C = Coefficient of discharge, usually = 0.62

g = Acceleration due to gravity (m/s2)

A = Actual water area, (m2)

h =Working head=d/2+driving head i.e. water head above center of opening,(m) . (7-106)

d = Depth of flow in conveyance canal/MC

For the case of concrete piped head regulator system, head losses through the pipe shall first be estimated based on design discharge of MC from the following equations.

Intake loss, hl = (V2/2g)*FT …………………………………………………………….. (7-107)

Where, FT = (Entry loss + Friction loss (FL) + Exit loss) coefficients……………………….. (7-108)

Entry and exit losses are taken 0.5m and 1m respectively.

Head loss due to friction, FL = f*L/D ………………………………………………….. (7-109)

Where, factor f=124.5*n2/D1/3 ……………………………………………………………......... (7-110)

V = Velocity of flow through the opening (m/s)

D = Internal pipe diameter (m)

L = Length of pipe (m)

n = Roughness coefficient (Refer Appendix-II)

To simplify operation of such intake pipes, a minimum pipe diameter of 0.5m is usually adopted. However, since large spate flow carrying lots of sediment is expected in this intake, box type is preferred than this one.

#### Intake 4

Intake sill level shall be able to deliver the maximum or potential irrigable area as described in the WCL determination section including losses. In addition to this however, we should consider long-term sediment storage on the command area for its expected service life as presented in equation 2-5.

#### Capacity of intake

Capacity of intake structure should be as large as possible since large flow is expected to pass through it. Thus, this capacity shall be fixed such that flow passing through it can irrigate potential area plus 10-20% unexpected demand such as breaches on any reach of the canal as well as animal watering.

### Trash racks arrangement at intake structure

Trash racks are simple bar arrangements that need to be installed or mounted/added to the inlet/intake of any hydraulic structure that possibly suck in people, other animals or debris which may cause damage or blockage to it. These structures should be installed at the entrance of intakes, tunnels and inverted siphons as a matter of course.

These are simple structure provisions on structures that could suck floating debris, or any other animals that could cause damage or blockage to the intake.

Design considerations trash racks for intake or head regulators are:

Trash racks are bar screens, made from steel bars spaced at 5 to 15 cm center to center (in both directions) depending upon the maximum size of the debris required to be excluded from entering the conduit. Thus, they should be installed at the entrance to intakes, tunnels and inverted siphons as a matter of course.

The velocity of flow through the trash rack is kept low (generally less than 0.62 m/s), so as to minimize losses. This is sometimes accomplished by constructing the trash rack in the form of a half cylinder.

Rack Inclination: 60 degrees from horizontal;

The racks shall be identical and interchangeable between intake bays;

Rack Height: The rack shall extend above the elevation of the service bridge a distance considered necessary by the manufacturer to ensure the debris falls freely onto the conveyor. The rack shall be designed to facilitate the movement of the debris by the raking equipment to the conveyor by means of metal guides, sloping end bar sections, etc.

Figure 7-20: Typical trash rack arrangement at intake structure

Table 7-12: Head loss through trash racks

| Velocity through Trash Rack, m/s | Head loss, m |
| --- | --- |
| 0.15 0.30 0.45 0.62 | 0.006 0.03 0.09 0.15 |

Source: SK Garg 2006

### Design of Settling Basin and Its Components

#### General

Sediment laden spate water calms down while entering the settling basin also called sand trap, thereby sediment-load is also settled down in the basin thus relatively bed-load free water is picked up to the conveyance canal and sediment gets deposited within the basin, which latter shall be flushed through the silt ejector (refer section flow).

Sand Traps are provided for sediment laden water (otherwise it may not be required) just downstream of river intakes. They should be designed to settle out sand and gravel under normal operating conditions and for the material to be scoured out under flushing conditions.

#### Components of Sand Traps

A sand and grit trap is part of an inlet structure which comprises an inlet transition, settling basin(s), an outlet transition, control section and flushing sluiceway(s).

The sand trap inlet should be located at least 10Ws downstream of the intake, where Ws is the water surface width of the off-taking canal, so that turbulence induced by flow through the intake would be decayed ……….…………………………….....……………………………... (7-111)

To prevent separation, the inlet transition walls should not diverge sharper than 1:5 and the outlet transition walls should not converge sharper than 1:3 ………………………….…… (7-112)

The settling basin(s) total area should be sufficiently large to settle out gravel and the coarser sand particles. An initial estimate for the surface area of the settling basin is given by:

Initial basin width, Wsb = 5Qd^0.5 (m) ...…………………………………….……….… (7-113)

Basin Length, Lb = 8Wsb (m) ………………………………………...………………… (7-114)

Where, Qd is the design discharge for the intake i.e. the main canal (m3/s).

The control section at the downstream end of the trap is gated and allows flow to either return to the river via the flushing sluiceway to scour sediment deposited in the settling basins, or to flow into the conveyance canal(s).

#### Design of sand trap

A sand trap settling basin’s size is determined for the design intake flow. The settling basin(s) accommodate sediment settled out during normal operation. When the accumulated sediment is to be flushed from the settling basin(s) back to the river, the flushing sluiceway gate(s) are opened. The slope of the bottom of the settling basin(s) and of the flushing sluiceway must been sufficiently steep to flush out accumulated sediment.

The flushing sluiceway returns flow to the river, where the sluiceway bed level must be above riverbed level. If excess head remains then a glacis drop may be provided. If this is not the case, either the bed-bar crest has to be raised to increase available head, or the length and capacity of the sand trap have to be reduced.

In general, a sand trap should have sufficient capacity so that flushing is required weekly, bi-weekly or monthly.

The tail of the sluiceway at the river may also have to be gated or provided with stop logs, and is generally provided with RCC breast walls to prevent river flow backing up towards the sand trap during floods. The following two sections give steps in the design of a sand trap.

#### Design of sand trap under normal operating conditions

Step 1:  Adopt a maximum sediment size (Dmax) that is to be settled out in the settling basin under normal operating conditions. Typically, for designing sand traps this value ranges between 0.6mm and 0.2 mm (average value being 0.3mm). This will result in only (fine) sand and silt entering the irrigation canal system, which will probably mostly be transported to farmers’ fields (Refer Figure 7-22). Then determine the fall velocity of the Dmax sediment from Figure 7-23. For 0.3mm particles the fall velocity (W) is commonly about 0.04m/s.

Figure 7-21: Typical double-basin sand-trap plan

Figure 7-22: Soil triangle of basic soil textural classes

Figure 7-23: Relationship between sieve diameter & fall velocity for still water

Step 2: Use Vetter’s settling basin design equation to determine the required surface area for the settling basin:

……………………………………………...…………… (7-115)

Where:

Xout/Xin = Trap efficiency, usually an efficiency of 99% is adopted.

W = fall velocity for Dmax particle (m/s)

Qd = Design discharge for the irrigation canal (m3/s).

A = Surface area of settling basin (m2).

Rearranging Vetter’s equation gives:

A = 4.605 Qd / W   (m2) ……………………..……………………...………………… (7-116)

Step 3: Use additional Safety Factor for designing sand traps, i.e. if the Initial Surface Area to be estimated is greater than 1.25 times the Vetter’s Area, then an area of 1.25*Vetter’s Area is to be adopted. If the Initial Surface Area to be estimated is less than the 1.25 times the Vetter’s Area, then the Vetter’s Area is to be adopted.

Step 4: Adopt dimensions for the settling basin so that the length (Lb) = 8 to 10 times its width (Wsb) ……………………..……………………...………………………………………………... (7-117)

Note: A shorter wider basin will require baffles or expensive flushing arrangements, while a longer, thinner basin will be unnecessarily expensive.

Step 5: Determine the basin depth so that the average velocity of flow through the basin is between 0.2m/s and 0.3m/s for the design discharge (Qd). For sand traps designed under NSIASP, NAD, a trapezoidal settling basin is recommended with side slopes of 1V: 1H or 1V or 1.5H, with the flushing channel being a rectangular flume (see Figure 7-24). If the width of the basin is large, for more effective flushing provision of two or more settling basins separated by divide wall(s) is recommended. Gates are required so that each basin can be flushed in turn.

Figure 7-24: Single (L) and double (R) basin Sandtrap looking d/s (under construction)

According to GTZ Publication by Helmut Lauterjung & Gangolf Schmidt, 1989, Planning of Water intake structures for irrigation or hydropower:

Suspended matter concentration, C = m/V …..………………..……………………………… (7-118)

Where, 	m is weight of suspended matter, kg and

V is volume of water, m3

Average suspended matter concentrations (C) are generally:

C = 0.1 to 1.0 kg/m³, in lowland rivers

C = 2.0 to 10 kg/m³ in mountainous rivers/brooks.

However, according to nature of catchment areas (i.e. topography, geology, land use, vegetation), these values can be far exceeded or not reached. For example, the suspended matter concentration in the lower course of the Yellow River in China varies seasonally between 60 and 600 kg/m³.

#### Design of sand trap under flushing conditions

Step 1: Design Parameters

The flushing discharge is usually set at 1.2 Qd where Qd is the design discharge for the intake.

Various recommendations are given for the flushing velocity. For example the GoI Irrigation Design Manual, December 1986 recommends a flushing velocity of 1.5m/s and a Froude number (Fr = v/(gy)^0.5) of less than 1. Supercritical flow is therefore avoided.

In contrast, Varshney & Gupter recommend a minimum flushing velocity of 2.0 to 2.5m/s for silt/sand, and 3.0 to 4.0 m/s for boulders. Avery (Sediment Control at Intakes) recommends a flushing velocity so that supercritical flow occurs in the sluiceway, i.e. Fr > 1.0.

Sharp transitions in the sluice way should be avoided so that a hydraulic jump does not form until the flow is returned to the river.

Step 2: The width of the flume is the width of the bottom of the trapezoidal settling basin. The slope of the sluice way shall be determined using a uniform flow formula, such as Manning’s formula.

Figure 7-25: Typical sand trap & sluiceway arrangement

#### Silt ejector and escape canal

Silt ejector is part of the sand trap structure used for flushing sediment that is deposed in the basin. It can also serve for rejection of overflow on conveyance canal passing over the escape.

Escape is a canal structure used to control overflow or tail outflow. Thus, it can be a side escape as in case of siphon side escape for controlling and flushing of excess flow and bed load or Tail escape as for the case of flushing of excess flow at end of main and secondary canals.

Escape structures are necessary in open canal systems in the event of incorrect operation, gate failure, or other emergency. Either because of gates being wrongly operated upstream or downstream, too much water coming in at the headworks, a blockage downstream, or excess rainwater flooding in during the rainy season, the canal will overflow. On a small canal it may not matter where the overflow takes place. In most cases however it is desirable to control it so that it can be safely channeled away into the drainage system without damaging crops or canal banks.

Side escapes are overflow structures controlled by a spillway or waste-weir, often called escapes when used in a canal. Side escapes are located near to or integral with cross-drainage structures, and as close as practicable to potential points of control such as cross regulators or siphon intakes which are liable to cause a backwater effect. Tail escapes are naturally enough located at the tail-end of canals, usually integral with a flushing sluice gate for draining the canal for maintenance.

Escapes are usually some form of weir, which comes into action when the water level exceeds a certain height. This is normally established as the maximum regulated water level, plus a certain amount, typically 150 mm, to accommodate waves and minor fluctuations in level caused by gate operation. Occasionally a siphon spillway might be used. These give a greater discharge per unit width than an uncontrolled weir crest. Side escapes comprise a long-crested side weir discharging via a channel or chute into a natural drainage channel.

Escapes serve as emergency spillway usually designs as chute structure. Thus, it is also part of the settling basin and generally operates automatically to spill excess flow to the river/channel side, which otherwise destroy the command area (For design of chute structure, refer GL-16:  SSIP Guideline for Design of Canal Related Structures).

Figure 7-26: Spate canal cross section with side escape

Figure 7-27: Water surface profile at side weir/ side escape

As per FAO, 2010, the theory of flow over side weir is only applicable when the area of water surface drawdown perpendicular to the center line of the canal is small in comparison with the water surface width of same canal, i.e. when Y-P1 < 0.10B .…………………...…………. (7-118)

H0, 1 = d1+Q12/2gA12 = d2+Q22/2gA22 = H0, 2 ……………………..……………………...….. (7-119)

## design of scouring sluice

### Functions and locations of scouring-sluice

Scouring-sluices are also called under-sluices or sluiceways or sluice channels. A scouring sluice is one of the parts of the headwork structure that must be provided some distance 1.5 to 2m to the intake side so as to stabilize flow in to the intake. It shall also be designed to prevent sediment ingression/intrusion into the canal as much as possible when drawing water. Thus, scouring-sluices need to be located adjacent to the irrigation inlet or intake that is in-front of the head regulator or off-taking canal. They should be left open during the rainy season/flood flows/ to drain as much sediment as possible through the sluice channel if the incoming flow is greater than the demand. Thus they need to be set at a lower elevation than the intake.

The main weir portion is separated from the under-sluices portion by a long structure called divide wall. The arrangement is aimed at keeping approach channel to the intake or canal head regulator comparatively clear of silt and to minimize the effect of main river current on the flow conditions in the regulator. Hence the purpose of under-sluice is for flushing out the lower bed loads and comparatively enable drawing of silt free water by the intake. This structure should therefore be located adjacent to the intake structure so as to minimize entrance of silt in to intake and hence main conveyance.

By operating the sluiceway at full capacity during floods, flow current is maintained and the channel is kept clear. During normal operating periods when the flow is being diverted, a dune may build up progressively toward the head-gate and eventually sediment could pass into the canal. This can be prevented if the sluiceway is opened periodically to discharge the accumulated deposit from in-front of the head-gate.

The bay before the gate serves as a settling basin as the turbulent water rushing in to it is forced to calm down thereby sediment-load is also settled down and relatively clear water is picked up by intake canal through the head regulator, which is usually raised by a meter or above from crest of the sluice way.

### Design consideration

The width and opening size of the under-sluice portion of a weir shall be determined on the basis of considerations that it should not be too wide to keep the approach velocities to cause maximum settlement of suspended silt load within the pond and should be manageable size that can be operable by a single operator.

The under-sluice bay floor level is generally kept as low as possible to create pool conditions for silt settlement and its exclusion later. Thus, its crest level is fixed by considering the workability of the river bed and the required head below the canal sill level to scour the deposited sediment in front of the canal off take.

Figure 7-28: Relative arrangements of intake and silt gates (Typical)

Normally, the crest level of the under-sluices is kept equal to the deepest bed level of the river during non-monsoon season. As the crest of the under sluice pocket is at a low level, a deep channel develop towards this pocket, which helps in bringing low dry weather discharge towards this pocket, thereby, ensuring easy diversion of water into the canal through the canal head.

If the waterway is very wide, then the whole length is divided into bays each being separated with piers and each bay is provided with a gate so as to act as an opening of controlled height for flushing during flood times.

The under-sluiced length of weir is then divided into a number of bays by piers, and separate gates are installed on these bays. Each bay can thus, be opened to any desired height by lifting its gate and hence, act as a gate controlled opening, and will help in bypassing the excess supplies to the down-stream side of the river. These openings will also help in scouring and removing the deposited silt from the under sluiced pocket; and hence are also called the scouring sluices.

Discharging capacity of under-sluices is carefully chosen based on the following criterion:

They should be able to ensure sufficient scouring capacity, for which discharging capacity should be at least twice the full supply discharge of MC at its head.

They should be able to pass dry weather-flow & low floods during the months excluding rainy season without necessity of dropping weir shutters,

They should be able to dispose of 5 to 20% of design flood discharge during expected design floods so as to reduce flood height over the structure & hence wing wall height, i.e. it should be designed to ensure sufficient scouring capacity to dispose off the above range of the peak flood. This value shall at least be greater than 2 times the intake capacity;

Bottom Level of Under Sluices should be fixed such that it allows easy flushing of sediment (usually kept on river bed level);

### Hydraulic design of scouring sluices

Hydraulic design capacity of scouring sluices under different flow conditions is given by the orifice equation:

…………………………………………………. (7-120)

Velocity of flow through these openings is also given:

……………………………………………………………....................... (7-121)

Where,	Q = Discharge through the openings (m3/s)

A = Area of flow through the openings, (m2)

g = Acceleration due to gravity (m/s2)

h = Head above center of orifice for worst case, i.e. when it is at pool level, (m)

Cd = Coefficient of discharge, usually = 0.60

Leff= effective length of the openings (m)

d = Depth of opening, (m)

This velocity of flow through each sluice channel should be greater than critical velocity, Vc, so as to enable easy flushing of sediment through the openings, i.e. flow within the scouring sluice should be in supercritical condition to remove sediment deposited in-front of intake, but that through the intake should give a critical flow condition so as to allow flow to the canal.

Design of these sluices should therefore be made so as to allow transportation of the maximum particle sizes of the riverbed materials with this critical flow velocity, Vc which is given by the following formula (JICA-OIDA, 2014).

…….………………………………………………………................. (7-122)	 …….………………………………………………………................... (7-123)

…….……………………………………………………….......... (7-124)

Where, Vc is Critical flow velocity through the openings (m/s)

dm is maximum particle size through the openings, 90 % passing by weight, (m)

hc is Critical depth of flow through the openings, (m)

qc is flow per unit critical width, (m3/s/m)

g is acceleration of gravity, (m/s2)

The height of the guide wall H required to form a channel for the scouring sluice is made 1.5hc at the point of intake.

Figure 7-29: Flow profile in u/s of scouring sluice channel, (JICA-OIDA, 2014)

Note: River bed grain size distribution need to be sampled tested in laboratory and analyzed so as to use in these equations. However, in case there is no data, the following indicative ranges of particle size distribution and corresponding permeability coefficients can be used (though not recommended unless it is compulsory).

Table 7-13: Particle size distribution and corresponding permeability coefficient

| Classification | Clay | Silty Clay | Silty sand | Fine sand | Medium sand | Course sand | Gravel |
| --- | --- | --- | --- | --- | --- | --- | --- |
| d (mm) | 00.01 | 0.010.05 | 0.050.10 | 0.100.25 | 0.250.50 | 0.501.0 | 1.05.0 |
| K (cm/s) | 0.000003 | 0.00045 | 0.0035 | 0.015 | 0.085 | 0.35 | 3.0 |

Note: d is average or 50% of grain size distribution, mm.

Table 7-14: Average particle size, d (mm) for various types of materials

| Type a/material (soil) |  | Average grain size, d (mm) |
| --- | --- | --- |
| Silt | Very fine Fine Medium Standard (i.e. f=1.0) | 0.05 to 0.08 0.12 0.16 0.32 |
| Sand | Medium Course | 0.51 0.73 |
| Bajri and sand | Fine Medium Course | 0.89 1.29 2.42 |
| Gravel | Medium Heavy/Course | 7.28 26.1 |
| Boulders | Small Medium Large | 50.1 72.5 188.8 |

Source: S.K. Garg, 2006

Typical layout of a curved spate skimming diversion headwork/weir has been shown in figure 2-2. Such curves channel has the axis of the canal intake at 300 to the axis of the river. A guide pier is provided to create an artificial bend and a skimming weir typically of 0.6m to 1.0m high. Placed in-front of the canal head regulator to form the outer edge of the curved sluice channel. This arrangement is more effective where the predominant bed load is sand.

Placing the weir at the upstream end of the guide pier enables some flushing of sediment from the upstream side of the weir. Curved channel excluders are less effective as the approach velocities and sediment size increase because, there is less chance for the spate flow to develop helicoidally.

## design of divide walls

### General

Divide walls are part of headwork structures and provided at right angles to the weir axis on the upstream side of a weir and extends from crest to a bit longer than intake structure or up to end of upstream impervious apron. Sometimes these walls also extend to the foot of downstream sloping face of the weir when there is a bridge over the weir or even it extends down to the basin end sill when we are interested to provide a barrier between the stilling basin and scouring bay, so as to avoid cross-currents. Guide piers are also designed to serve the same purpose.

### Location and functions of the divide walls

These walls are provided between two portions i.e. under sluices portion and weir portion to minimize flow current. Thus, the main functions of divide walls are:

To form a still water pocket in front of the canal head so that the suspended silt can be settled down which then later can be cleared through the scouring sluices from time to time,

To control the eddy current or cross current in front of the canal head,

To provide a straight approach in front of the canal head,

To resist the overturning effect on the weir or barrage caused by the pressure of the impounding water,

To separate the turbulent floodwater from the pocket in front of canal sluice,

To check parallel flow that would be caused by the formation of deep channels leading from the river to the pocket in front of the sluices, and,

To support gate operation slab, if the gate is rotary/spindle type (if it is sliding type, no slab is required of-course).

### Design consideration of the divide walls

The length of these walls should extended atleast beyond the upstream end of the head regulators on the upstream side, just to cover the canal head regulator and on the downstream side, it is extended up to the launching apron;

The dividing wall is built at right angles to the axis of the weir, separating the weir and the under-sluices;

The dividing wall can be designed from masonry or concrete walls. However, the choice is dependent on availability of construction materials around the project area;

Their height is as high as that of wing walls to serve as support for RCC operating desk thus extends from river bed up to the top level of upstream wing walls or as high as crest level for the case when sluice gate height up to crest level;

It should be designed at a right angle to the axis of a weir or a barrage to maintain stable streamlines of flow to the pocket/groyne of sluices;

Interval and number of scouring sluices shall be determined based on the size of flow required to pass through the channel;

Size of each sluice shall be fixed based on manageable size of the gate which is a function of thickness, width and height of the gate.

### Fixing section of a divide wall

Its length range lies between 0.5 to 2m depending on the magnitude of flood. The divide Wall height can be fixed using the most governing parameters of upstream high flood level and the weir bank condition. Therefore the height of the divide wall is the difference between the HFL and the river bed level plus some free board on the u/s or to the top of the weir in case when there is no rotary gate but operated by sliding.

Also downstream wall height can be fixed by subtracting the foundation or river bed level from the downstream HFL and adding free board of that range. Divide wall thickness is fixed by considering the wall height, the load’s acting on the wall and the materials proposed for wall construction (i.e. concrete or masonry wall).

## hydraulic design of wing walls

### Arrangements and functions of wing walls

Wing walls have at least the following functions:

As flood protection walls: To constrict and control design flood levels within the river banks so that there may not be submergence and inundation on the back of the diversion and crossing structures as a result of construction of such burrier structure across the river,

As retaining structures: To restrain/hold or retain soil, rock or other materials behind it so that the river bank slopes get stabilized thus may not be collapsed as a result of the scouring created by hydraulic jump,

They can also be used for protecting conveyance canals running on steep landscape from being eroded and sliding.

Wing walls are arranged both on the u/s and d/s of the weir body and both on the left and right banks of the river right from end of u/s impervious apron up to the end of stilling basin but being keyed to the natural ground such that, these keys should find design flood levels on all directions.

The wing walls and existing abutment walls may coincide or not depending on required intensity of flow we are interested in. if incoming design flood is high, the abutments need to be widened and if smaller, then the abutments need to be constricted so that allowable intensity of design flood can pass safely.

### Design considerations for wing walls

Wing walls are retaining structures designed on river banks/abutments along with diversion structure such that there will not be overtopping of flood level for the expected design discharge of known return period, which is usually Q50 for SSI Projects as a result of introduction of such barrier structure. Thus, the flood protection wall height is determined based on the high design flood levels with some free boards. It is commonly designed from masonry walls.

Hydraulic design aspects of this structure should consider free board on top of Q50 flood level. In addition to this, wing walls are also required on downstream side of the crest so as to protect the scouring of the banks due to formation of jumps. Usually a free board on upstream is taken 0.4-0.5m and downstream one is 0.5-0.6m but at least 1.05d2 is recommended due to jump.

Retaining walls shall be designed to withstand lateral earth and water pressures, the effects of surcharge loads, the self-weight of the wall and in special cases, earthquake loads. If the retained earth is not allowed to drain, the effect of hydrostatic water pressure shall be added to that of earth pressure (for detailed stability analysis of wing walls, refer section 7-15-9).

Note: Provisions of wing walls both on the u/s and d/s may not be required if geology of the abutment on both sides of the bank is rocky, stable and deep enough for accommodating incoming design flood level.

### Selection of wall type

Selection of appropriate wall type is based on:

An assessment of the design loading,

Depth to adequate foundation support,

Presence of deleterious environmental factors,

Physical constraints of the site,

Cross-sectional geometry of the site both existing and planned,

Settlement potential,

Desired aesthetics,

Constructability,

Maintenance, and

Cost.

### Data required for design of wing walls

Data required for hydraulic design of wing walls are:

Weir wall height, h

Head over the weir, hd

Sequent depth, D2

U/s river bed level,

D/S High flood level,   (D/S HFL)

U/S High flood level,   (U/S HFL)

Depth of depression

Stability of the abutments on both banks of the river & its foundation

Topographic conditions (Map & coverage conditions)

## design of storage structure

Normally, spate flow occurs for short duration of 3 to 4 hours. Thus, the objective of spate irrigation is to divert this flood and store it in the command area itself within bunds for the prior specified time, which means there is no spare time to store water in the storage structure. Spate flow in excess of irrigation demand can be critically required on the downstream of our diversion site. Moreover, equity dictates that a fair share of floodwater should be released for the owners of the riparian rights and as "ecological water".

Thus, storage structure in no case is required in spate irrigation system. In case, it is found necessary, readers can refer to “GL-16:  SSIP Guideline for Design of Canal Related Structures” for design of such storage structure.

## structural design of diversion weir

### Background

The objective of this section is to lay basis for consideration in structural design of weir, wing-wall, breast wall, operating deck and gate structures for irrigation projects, such as flat or sliding gates, spindle and radial gates.

### Structural design considerations for weir and wing-wall

This section gives considerations in structural design aspects of a weir and wing-wall sections which involves stability and sizing of the structure based on hydraulic requirements stated in previous sections and structural requirements. The structural design of weirs is mainly related with the nature of flow and foundation conditions.

Such analysis is made for a masonry and/or concrete wall imbedded in cement mortar like for retaining/wing wall, guide wall, divide wall, piers, river training and other related purposes. Gravity walls are usually stabilized by their own weight. But checking for tension in critical sections of masonry walls are necessary as it is weak in tension. In case of concrete it can be alleviated by introduction of reinforcement bars.

All structures should be checked for the safety against stability and stress conditions. The major factors involved in the structural design aspects are construction materials, various loads to be considered and factor of safety to be adopted. According to our current construction industry practice, for small scale irrigation project construction, stone masonry and reinforced concrete are the dominant structural units used for weir type head work design. Steel structures are also in use for gates, ladders and railing purposes.

### Structural design aspects of stone masonry

#### General

In most cases of small scale irrigation scheme weir headwork structure construction, the use of stone masonry structural as side soil retaining work is a common practice. Because, compared to other construction materials, masonry is relatively cheap and easy to work with. One major disadvantage of masonry work is however, that its capacity to withstand tension is very limited. Due to this it will be necessary to check the magnitude of tension force at critical sections. The unit weight for Stone masonry and soil for design purpose can be taken from Table 7-18 above. Active earth pressure on such structure shall be calculated based on Equation (7-125) above.

#### Design assumptions

When a surcharge load is to be considered, the value of surcharge load should be taken according to the nature of fill and slope of surcharge.

For Hydraulic structures, 2/3 of the bottom soil is assumed to be saturated.

The triangular wedge of the retained soil is assumed to assist the stabilizing effect.

The passive earth pressure is assumed to be counter blocked by an equivalent active pressure.

#### Stability analysis

This has been presented in detail under section 7.15.9.

### Types of gates used in irrigation

The followings are types of gates which are commonly used in irrigation projects:

Vertical Lift Gates: such as Fixed wheel/roller type gate, Rotary/Spindle gate, Slide gate, Double leaf gate and Stop-log;

Hinged Type Gates: such as Radial gate, Sector gate, Mitre gate, Flap gate and Swing gate. These types are typically used in large scale irrigation projects.

Out of these different types of gates, the most commonly used gates for small scale irrigation projects are vertical lift gate type. On account of their low cost, small slide gates are used everywhere for passing discharges up to a few cubic meter per second. The problem with them are however, they are prone to frequent jamming thus require careful operation.

Type of gate is decided after considering its purpose, installation location, cases of operation, safety, dependability and economy of water intake function, especially from the view point of effective usage of the water resources, appropriate style and operation method to reduce over diversion.

Fixed wheel type gate is mechanically and structurally simple. Hoisting load is also lighter than for slide gate and is more dependable. It is the most frequently used gate for barrages. In this type of gate, hydraulic load is transmitted to a horizontal main girder through the skin plate (sheet metal) and its supporting girder. The load is finally transmitted to the guide frame by way of vertical end girders at each side of the gate leaf and wheel.

Slide gates can be used both for diversion weir and on-farm structures like division box and turnouts. This type of gate is suitable for a relatively small span and water level difference. The mechanism is simple as a metal plate can be used for guide frame. Operation under hydraulic load causes a large load for hoisting since the gate leaf has to slide on the guide frame. Thus, this type is not suitable for large gate leaves unless operated under balanced water pressure.

For the on-farm structures, it is used as undershot or overshot and are a common form of structure used for turnouts. Such gates should be fixed in a concrete structure which can be precast to ensure high quality. They do not normally have a regulating function other than diverting the flow in an on/off situation. Indeed, there is little point in using them as variable flow structures, because farmers will generally use them either fully open in order to maximize the flow, or else shut when they do not require irrigation water.

Radial gates are typically used in sizes up to 5 m wide with a capacity of up to 40 cubic meter per second each.

Stop-logs are not commonly self-stand gates but provided as reserve gates to be used during maintenance of main gate. Stop-logs are less expensive than gates and are more quickly adjusted but do not control the flow as closely.

Flap gate is a simple hydraulic automatic upstream water level control gate. Its simplicity is derived from ease of construction and maintenance-construction only requires flat plate and tubing fabrication, rather than curved surfaces as for other types of hydraulic automatic gates. Once installed and proper operation is verified, flap gate only requires lubrication of its bearings and occasional painting for maintenance.

Check Structure

Slide Gate

Foot Bridge

Figure 7-30: Check structure with slide gate (Thicknesses are in mm)

Note: In selecting thickness of slide gate from this table, we need to consider gate size (m2) and upstream water height (m). For example, if the upstream water height 2m and our gate size is 1m by 1m, then the thickness of skin plate will be 7mm.

Intake

Sluice Channel

Weir body

Wing wall

Operation Deck

Washout

WCL

Top of Wing wall

Figure 7-31: Washout gate operated by spindle (L) & sluice gate by chain block (R)

### Design Considerations of Gates

#### Materials of Gate Structures & Precaution to be taken

Such water control gate structures are designed with heavy brass thrust nuts on the rising spindle gates set in to concrete or plastered stone masonry. Steel gates invariably leak around the sides and base, contributing to seepage flows and leakage losses. The main problem is that the close tolerances required for gate seals can rarely be achieved during construction in the field. Thus, precaution should be taken care of it so as to obtain the desired design flow.

Materials used for gate structures comprise steel, aluminum, stainless steel, rubber and FRP (fiberglass reinforced plastic). The selection is based on different flow conditions approaching to gate. When using materials other than steel for gate, the characteristic features of the material for gate should be studied carefully.

Gate structures consist of a gate leaf, guide frame, pivot and hoisting equipment. The gate leaf is the part which receives the hydraulic load and conveys it to pivot. The guide frame is the embedded part in concrete and adjacent to the sealing part of the leaf to prevent water leakage. The pivot is part of a hinged type gate which transmit the external force (load) to the concrete. 'The guide frame covers this function for a vertical lift type gate. The hoist is the equipment which operates a gate leaf.

Slide gates are designed and fabricated from special shaped extrusions or structural angles, flats, and plates are assembled by welds and bolts. Since there are no machined parts or wedging devices in such gate itself, the gate depends upon water pressure and seal design to seat the fabricated slide. Fabricated slide gates are usually furnished with rubber seals to improve water-tightness. Head capacity is dependent on opening size and availability of structural members.

The gates recommended for SSI project should meet the following requirements:

Should be reasonably watertight. Leakage if any unless otherwise specified shall not exceed 5 to 15 litres per minute per meter length of periphery of the sealing surface.

Shall be rigid, smooth, straight & without offset at joints.

Bottom shape of the gate shall be suitably designed to minimize down pull & to provide a converging fluid way.

Slot shall be as narrow as possible in conformity with structural safety of the gate leaf.

The gate as a whole shall be capable of being raised or lowered by the hoisting· mechanism provided.

#### Structural design aspects of sliding gates

The structural analysis of slide gates is part of electromechanically design work, however the structural design shall provide the provisions and structural detail such as get sliding steel channel embedding concrete groves, appropriate thickness of grove sides and reinforcement detail designed to withstand the hydrostatic and hydrodynamic pressure plus force induced during gate operation activity.

With respect to the gate sizing for both sluiceways and canal intakes, it is preferable to keep the gate width narrower, and use narrower gates than less wider gates. Gates (and the associated lift) wider than about 0.6 to 1 m are more expensive to construct, and can present operation and maintenance difficulties. Generally each gate is operated by a centrally located single stem screw lift. The sill/invert of the canal intake gate(s) should be as high as possible and at least 0.5 to 1 m higher than the sluiceway sill/invert. A number of relatively narrow/small canal intake gates with weir flow (as opposed to orifice flow) may be required. This will decrease the potential for future canal intake gate siltation problems, and reduce maintenance costs.

### Common loads on irrigation structures

The principal load which should be considered for structural design of weir are self-weight, earth pressure, water pressure including uplift, imposed live load such as live load at get operation platform, earth quake load and wind load. For small scale irrigation scheme the effect of earth quake load and wind load are usually negligible and are not considered.

Operating decks for the head regulator and scouring sluice area of the weir part & shall be designed for a uniform live load of 7.2 KN/m2.

The stability of the weir wall above foundation slab is checked for two conditions: one is for condition of high flood level on the upstream and the other is for condition when water level is at crest level, i.e. no over flow condition for the downstream.

Foundation could be permeable or impermeable. The structural analysis design for both foundation conditions is the same except that weirs on permeable foundation need additional analysis regarding piping & uplift pressure. Therefore, these aspects have to be properly analyzed.

### Forces acting on a weir and wing walls

Before going to analyze stability of hydraulic structures, it is essential to identify these forces acting on such structures. Accordingly, the above expected forces which act on a weir body both on the surface and from subsurface direction can be categorized in to: Static water pressure, Uplift water pressure, Deposited Silt Pressure; Soil reaction at the weir base (on foundation), Friction forces at the base, Self-weight and water wedge, Dynamic force unburden, and Seismic force (if the structure is situated in the seismic zone). These Loads can be classified in terms of applicability/relative importance in to three:

- Primary Loads: are identified as those of major importance to all weirs, irrespective of type, e.g. water and related seepage loads, and self-weight loads.

- Secondary Loads: are universally applicable although of lesser magnitude (e.g. sediment load) or, alternatively, are of major importance only to certain types of weirs (e.g. thermal effects within concrete weirs).

- Exceptional Loads: are so designed on the basis of limited general applicability or having a low probability of occurrence (e.g. tectonic effects, or the inertia loads associated with seismic activity).

Dynamic force: This is a water reaction acting on the weir but supposed negligible as water behind the weir builds up gradually and filled with water and/or silt up to crest, however it could be considered if the designer found it necessary.

Silt brought by runoff commonly gets deposited against the upstream face of a weir just after construction. If hs is the height of silt deposited, then the force exerted by this silt in addition to external water pressure, can be represented by Rankine's formula as:

………………………………………………………………… (7-125)

…………………………………………………………………………… (7-126)

Where,		Ps is force exerted by deposited silt and it acts at 1/3hs …………….…….. (7-127)

Ka is the coefficient of active earth pressure, as shown below

hs is height of deposited silt, m

s is submerged unit weight of silt material, KN/m3

= Angle of repose or angle of internal friction of soil

Table 7-15: Summary of common forces acting on weir & wing-wall

| Structure | Load \ Flow Condition | No Flow Condition | Static Condition | Dynamic Condition | Remark |
| --- | --- | --- | --- | --- | --- |
| Weir critical section (Refer figure 4-32) | Water pressure on u/s face, Ph1 | No | Yes | Yes |  |
|  | Water pressure on top, Ph2 | No | No | Yes | Force on weir crest |
|  | Water pressure on d/s face, Ph3 | No | No | Yes |  |
|  | Self-weight | Yes | Yes | Yes | Force |
|  | Silt/sediment load | No | Yes | Yes |  |
|  | Uplift | No | Yes | Yes |  |
|  | Seismic load | Yes | Yes | Yes |  |
| U/s Wing-wall (Refer figure 4-33) | Water pressure on river side, Ph1 | No | Yes | Yes |  |
|  | Self-weight | Yes | Yes | Yes |  |
|  | Earth pressure from back | Yes | Yes | Yes | As per shown figure |
|  | Uplift pressure | No | Yes | Yes |  |
|  | Seismic load | Yes | Yes | Yes |  |
| D/s Wing-wall (Refer figure 4-33) | Water pressure on river side, Ph1 | No | No | Yes |  |
|  | Self-weight | Yes | Yes | Yes |  |
|  | Earth pressure from back | No | Yes | Yes | Similar to u/s wall but differ in height & base |
|  | Uplift pressure | No | No | Yes |  |
|  | Seismic load | Yes | Yes | Yes |  |

Note: - No Flow Condition is when there is no flow in the river; Static Condition is when there is no-overflow i.e. water is at WCL; Dynamic condition is when flow is at its design capacity.

- Refer figure 4-32 for forces acting on weir and figure 4-33 for those on Wing-walls.

- Seismic impact should be considered based on the delineated seismic zones in Appendix-VI.

Figure 7-32: Forces acting on a critical section of a weir

These different forces acting on weir body can act together simultaneously thus can be combined into a single resultant force, R, that can ultimately lie either inside or outside of weir body. However, for a stable structure it has to remain within the middle third of base of the structure. These forces are presented for full flow condition, however, for no overflow condition, Ph2 & Ph3 and corresponding moments will not exist.

### Stability analysis of the weir

#### General

The objective of stability analysis of a diversion weir is to keep the compressive stresses within the allowable limit, and prevent the development of any tension stresses in the concrete. Unreinforced concrete or possibly stone masonry is weak in tension, the ultimate tension strength being only one-tenth of the ultimate compressive strength. Thus it is considered unwise to permit any tension stresses whatsoever. To achieve this, the “middle third rule” is adhered to, where the resultant of all the forces is maintained in the middle third of the structure. If the reinforced concrete apron is connected to the weir, which is required to resist apron uplift, overturning will generally not be a problem for the typical diversion weirs for small scale irrigation projects. Such analysis is made by considering forces acting on the structure and possible moment resulting from these forces which is taken about external toe of critical section of a weir as shown above bit internal toe for wing walls.

When analyzing stability conditions of structures, we need to consider economic aspects as well. Thus, we need to design a structure which is economical and stable. For the diversion structure to be kept under stability condition, the following conditions must be fulfilled:

The structure must be safe against sliding, on any plane or combination of planes within the structure, at the foundation or within the foundation;

The structure must be safe against overturning at any plane within the structure, at the base, or at any plane below the base;

The resultant force acting on the structure must lie within the middle third of the base;

There should not be tension under the base of the structure;

The maximum toe and heel pressures on foundations should not exceed the prescribed safe limits i.e. the safe unit stresses in the body of the structure or in the foundation material shall not be exceeded.

#### Stability against sliding

The weir should be stable against sliding at the base for different conditions and it is the function of the shear strength of the construction materials. It is given by:

………………………………………………………………….….. (7-128)

Where, Fs is Factor of safety against Sliding & it should be greater than or equal to 1.5.

is coefficient of friction b/n the material and the horizontal section and its value varies b/n 0.65 to 0.75 up on the materials used.

FV is 	summation of vertical forces

FH is 	summation of horizontal forces

#### Stability against overturning

Factor of safety against overturning, F0, in terms of moments about the downstream toe of the weir is given by:

…………………………………………………………………….. (7-129)

Where, Fo is Factor of safety against overturning

M(+) is summation of stabilizing moment

M(-) is summation of overturning moment

F0 should be greater than or equal to 1.5.

#### Safety against Tension

For no tension on the base of the head work structure, for critical section, the resultant force, R should act at the middle third part of the critical section. This implies that the eccentricity (e) should be less than or equal to one-sixth (1/6) of the base width (b) of the weir at the critical section.

R = SQRT((FH)2 + (FV) 2) ………………………………………..…………………. (7-130)

= M/Fv ……………………………………………………………………………. (7-131)

e = - B/2 ………………………………………………………..…………………….. (7-132)

Where, R is the resultant force, (KN)

is arm length of resultant force from toe, i.e. centroidal distance, (m)

e is eccentricity, (m):

For the structure to be safe, the eccentricity ‘e’ should satisfy the following condition otherwise overturning may occur if the resultant R fell outside of the base:

………………………………………………………………….. (7-133)

Where,	M = M+ - M-  ……………………………………………………………………….. (7-134)

M+ & M- as defined above

B is bottom width of the structure (m)

#### Safety against bearing capacity of foundation

Also called safety for contact pressure or vertical stress. Here it is assumed that the distribution of vertical stress between foundation and bed of structure is linear. The required condition in this case is, if the magnitude of contact pressure at the base of the structure is less than allowable foundation material, is safe against settlement this is it is within safe limit of the crushing strength of the masonry or concrete. Thus, compressive stress or vertical stress, Pmax/min can be estimated with the trapezoidal law, shown by the following equation:

……………………………………………………………….. (7-135)

Where,	Pmax is the maximum compressive stress or vertical stress, KN/m2

Pmin is the lower limit compressive stress or vertical stress, KN/m2

#### Safety against seismicity

Seismic impact especially on any elevated structure is high, therefore a seismic coefficient should be adopted in the design activities depending on the delineated seismic zones. An earthquake, which is a violent shaking of the earth's crust, may be treated as a reversing horizontal acceleration. Due to the inertia of the weir, it tends to resist the motion, and the stresses in the weir and foundation may increase momentarily. In the static loading method of analysis, the motion is replaced by the equivalent inertia force Se applied at the center of gravity of the weir, and is given by:

Se = W*a …………………………………………………………………………….. (7-136)

Where, W- is the weight of the weir and

a- is earthquake intensity factor

Earthquake intensity is expressed in terms of the factor “a” which is the ratio of earthquake acceleration to the acceleration due to gravity. Design values for “a” ranges from 0.0 to 2.0 for Ethiopia, the largest being in the rift-valley (for details refer Appendix-VII).

Table 7-16: List of possible forces and moments acting on weir section (full flow condition)

| Description | Vertical Forces | Lever Arm | Moments | Remark |
| --- | --- | --- | --- | --- |
| Weight of structure |  |  |  |  |
| Weight of top rectangular part of weir, W1 | W1=b*h*m | L1=b/2+(B-b) | M1 = W1*L1 | (+) Moment about external toe, O |
| Weight of top triangular part of weir, W2 | W2=1/2*(B-b)*h*m | L2=B/3 | M2 = W2*L2 | (+) |
| Weight of bottom rectangular part of weir, W3 | W3=(b+a)*d1*m | L3= b/2+(B-b) | M3 = W3*L3 | (+) |
| Weight of bottom rectangular part of weir, W4 | W4=1/2*a*d2*c | L4=B-b-a+a/3 | M4 = W4*L4 | (+) |
| Weight of bottom rectangular part of weir, W5 | W5=(B-b-a)*d2*c | L5=(B-b-a)/2 | M5 = W5*L5 | (+) |
| Weight of bottom rectangular part of weir, W6 | W6=(B-b-a)*d1*c | L6=(B-b-a)/2 | M6 = W6*L6 | (+) |
| Static water pressure |  |  |  |  |
| u/s water pressure, Ph1 | Ph1 = 1/2* h*h*w | L7=1/3*h | M7 = Ph1*L7 | (-) |
| Top water pressure, Ph2 | Ph2=1/2* hd*hd*w | L8=((B-b)+2/3b) | M8 = Ph2*L8 | (+) |
| d/s water pressure, Ph3 | Ph3=1/2*h*(B-b)*w | L9=1/3*(B-b) | M9 = Ph2*L9 | (+) |
| Uplift pressure |  |  |  |  |
| Uplift pressure, Pu1 | Pu1 =1/2*b*(h-d’)*w | L10=2/3*b+(B-b) | M10 = Ph1*L10 | (-) |
| Uplift pressure, Pu2 | Pu2 =b*d’*w | L11=1/2*b+(B-b) | M11 = Ph1*L11 | (-) |
| Uplift pressure, Pu3 | Pu3 =1/2*(B-b)*d’’ | L12=2/3*(B-b) | M12 = Ph1*L12 | (-) |
| Uplift pressure, Pu4 | Pu4 =(B-b)*d’’’ | L13=1/2*(B-b) | M12 = Ph1*L13 | (-) |
| Silt pressure |  |  |  |  |
| u/s silt pressure, Ps | Ps =1/2* hs*hs*s | L14=1/3*hs | M14 = Ph1*L14 | (-) |

Note: - Parameters a, b and B are as indicated in figure 4-32 & others have their usual meaning; hs=silt height.

- Based on the these formulae and the identified common forces acting on weir & wing-walls under different flow conditions in table 7-16, stability of the structure can be checked for all the conditions i.e. for no flow condition, static i.e. no-overflow condition or when water is at WCL and dynamic condition. (For details refer the accompanied excel templates).

### Stability analysis of retaining and flood protection walls

In the same way to stability of weir, gravity retaining walls should also be designed to provide adequate stability against sliding, overturning, foundation bearing failure and if applicable deep foundation failure due to seepage. The forces acting on the wall must be identified at first and then moments on the wall shall be determined with reference to front toe of the wall (unlike weir body).

Forces acting on such walls are the lateral earth and water pressure, weight of wall and any soil on the wall; surcharge loading to account for items such as heavy equipment next to the wall (if any); and, in some instances uplift pressures and horizontal seismic loading if applicable with respect to diversion weir loads. The following figures show the generalized forces on gravity retaining walls.

Figure 7-33: Forces acting on wing wall or retaining wall

Table 7-17: Possible Forces and Moments acting on wing wall Section (full flow condition)

| Description | Vertical Forces | Lever Arm | Moments | Remark |
| --- | --- | --- | --- | --- |
| Weight of structure |  |  |  |  |
| Weight of rectangular part of wing wall above RBL, W1 | W1=b*H*m | L1=b/2 | M1 = W1*L1 | (+) Moment about internal toe, O |
| Weight of triangular part of wing wall above RBL, W2 | W2=1/2*(B-b)*H*m | L2=b+1/3*B | M2 = W2*L2 | (+) |
| Weight of rectangular part of wing wall below RBL, W3 | W3=(B+t)*d1*c | L3=½*(B+t) | M3 = W3*L3 | (+) |
| Static water pressure |  |  |  |  |
| U/s water pressure, Ph1 | Ph = 1/2* H*H*w | L4=1/3*H | M4 = Ph1*L4 | (+) |
| Silt pressure |  |  |  |  |
| Inclined overburden soil pressure, Ps1 | Ps1 =1/2* H*(B-b)*s | L5=b+1/3*(B-b) | M5 = Ph1*L5 | (+) |
| Vertical overburden soil pressure, Ps2 | Ps2 =1/2* H*H*s | L6=1/3*hs | M6 = Ph2*L6 | (-) |

Retaining wall design is said safe, when the average compression does not exceed the allowable compressive stress, otherwise reinforcement need to be provided in concrete at base of the walls.

These forces are presented for full flow condition; however, for no overflow condition, Ph and corresponding moment will not exist. Uplift pressure is assumed negligible so long as we provide weep holes in the body of the walls. Moreover, overburden soil pressures, Ps1 & Ps2 are treated separately as they are opposite in reaction i.e. Ps1 (+) and Ps2 is (-).

The base is usually constructed of reinforced concrete. Generally the factor of safety for structure stability (i.e. the ratio between stabilizing to destabilizing forces) should be at least 1.3 to ensure long term sustainability. For gravity retaining walls constructed on sound bedrock and adequately interlocked to the bedrock, stability is not a problem.

For a quick stability analysis on a retaining wall, Retwall software (that can be obtained online by own cost) can give us soil bearing loads, analyze the wall stability, calculate all wall moments, design our rebar arrangement and give us design sketches. The program handles flowing water and multi-layers of backfill. We can adjust all allowable values to meet whatever code requirements we are tied to.

The retaining walls need to be backfilled with granular backfill material. Its foundation need to be filled and compacted from this material; however, this is often not possible as impervious backfill is required to prevent seepage. Clay backfill material of swelling nature should be avoided. If granular backfill is used, it is good practice to place an impervious soil layer at the top of the backfill to reduce the amount of infiltration.

### Basic engineering property of materials

Basic construction materials to be used in the structural analysis of structures have their own unit weight. Such unit weights of common engineering materials are presented as follow.

Table 7-18: Unit weights of basic materials

| SN | Dead Load | Weight (KN/m3) |
| --- | --- | --- |
| 1 | Water | 9.8 |
| 2 | Stone masonry | 21.0 |
| 3 | Brick masonry | 21.0 |
| 4 | Mass concrete | 24.0 |
| 5 | Reinforced concrete | 25.0 |
| 6 | Steel | 78.5 |
| 7 | Timber (steel) | 8.0 |
| 8 | Wood (teak) | 6.0 |
| 9 | Dry backfill | 16.0 |
| 10 | Saturated backfill | 20.0 |
| 11 | Submerged compacted backfill | 10.2 |
| 12 | Dry compacted backfill | 18.5 |
| 13 | Saturated compacted backfill | 21.5 |
| 14 | Submerged compacted backfill | 11.7 |
| 15 | Gabions | 14.0 |

Table 7-19: Internal angle of friction (∅) of Soil

| SN | Soil Type | Angle of internal friction, |
| --- | --- | --- |
|  | Gravel | 400-550 |
|  | Sand-Gravel | 350-500 |
|  | Sand-Loose | 280-340 |
|  | Sand-Dense | 340-450 |
|  | Silt, silty sand- Loose | 200-220 |
|  | Silt, silty sand- Dense | 250-300 |

Note: For small structures a conservative value of  =250 is commonly used

Table 7-20: Allowable bearing pressure of soils

| SN | Soil Type | Allowable Bearing Pressure (KN/m2) |
| --- | --- | --- |
| 1 | Soft clays and silts | < 80 |
| 2 | Firm clays and firm sandy clays | 100 |
| 3 | Stiff clays and stiff sandy clays | 200 |
| 4 | Very stiff boulder clays | 350 |
| 5 | Loose well graded sands and gravel/sand mixtures | 100 |
| 6 | Compact well graded sands and gravel/sand mixtures | 200 |
| 7 | Loose uniform sands | < 100 |
|  | Compact uniform sands | 150 |

Note: that for dynamic loads a 25% overstress may be allowed

### Commonly used standard grades of concrete

Concrete is graded in terms of its characteristics strength. Compressive strength of concrete is determined from tests on 150mm cubes at the age of 28 days in accordance with standard issued or approved by Ethiopian Standard. Table below gives the permissible grades of concrete for the two classes of concrete works commonly used in our country. The number in the grade designation denotes the specified characteristics compressive strength in MPa.

Table 7-21: Commonly used Standard Grades of Concrete

|  | Class |  | fck | Nature of Concrete | Mix ratio | Remark |
| --- | --- | --- | --- | --- | --- | --- |
|  | I | II |  |  |  |  |
| Permissible grades of concrete | C5 | C5 |  | Blinding/lean concrete | 1:5:10 | Used under structure |
|  | C7 | C7 |  | Mass/Plain concrete of roughest type | 1:4:8 |  |
|  | C10 | C10 |  | Mass/Plain concrete | 1:4:8 | Where more stabilization is req’d |
|  | C15 | C15 | 12 | Unreinforced concrete | 1:3:6 |  |
|  | C20 | C20 | 16 | Standard-grade Reinforced concrete | 1:2:4 |  |
|  | C25 |  | 20 | High-grade Reinforced concrete | 1:2:3 |  |
|  | C30 |  | 24 | High Strength Reinforced concrete | 1:11/2:3 |  |
|  | C40 |  | 32 | High Strength Reinforced concrete | 1:1:3 |  |
|  | C50 |  | 40 | Higher Strength Reinforced concrete | 1:1:2.5 | High-rise structures & bldgs |
|  | C60 |  | 48 | Supper High Strength Reinforced concrete | 1:1:2 | High-rise structures & bldgs. |

Note: Given ratios are dry-volume ratios of cement, sand, and coarse aggregates respectively, Civil Engineering Hand book

The amount of water added to these mixtures is about 1 to 1.5 times the volume of the cement. For high-strength concrete, the water content is kept low, with just enough water added to wet the entire mixture. In general, the more water in a concrete mix, the easier it is to work with, but the weaker the hardened concrete becomes.

Table 7-22: Standard mixes for ordinary structural concrete per 50kg of cement

| Concrete grade | Nominal max size of Aggregate | 40 |  | 20 |  | 14 |  | 10 |  | cement per m3 of concrete |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Workability | Medium | high | Medium | high | Medium | high | Medium | high |  |  |
|  | Limit of slump that may be expected | 30 to 60 | 60-120 | 20-50 | 50-100 | 10 to 30 | 30-60 | 10to 25 | 25-50 | 40 | 20 |
| C5 | Total aggregate (kg) Fine Aggregate (%) Vol. of finished con.(m3) | 640 30-45 0.312 | 550 30-45 0.275 | 540 35-50 0.277 | 4800 35-50 0.252 |  |  |  |  | 1.70 | 1.89 |
| C15 | Total aggregate (kg) Fine Aggregate (%) Vol. of finished con.(m3) | 370 30-45 0.200 | 330 30-45 0.183 | 320 35-50 0.277 | 280 35-50 0.252 |  |  |  |  | 2.61 | 1.89 |
| C20 | Total aggregate (kg) Fine Aggregate (%) Vol. of finished con.(m3) | 305 30-35 0.165 | 270 30-45 0.155 | 280 30-40 0.156 | 250 35-45 0.143 | 255 35-45 0.146 | 220 40-50 0.130 | 240 40-50 0.137 | 200 45-55 0.121 | 3.13 | 3.34 |
| C25 | Total aggregate (kg) Fine Aggregate (%) Vol. of finished con.(m3) | 265 30-35 0.147 | 240 30-40 0.137 | 240 30-40 0.137 | 215 35-45 0.127 | 220 35-45 0.130 | 195 40-50 0.118 | 210 40-50 0.124 | 175 45-55 0.110 | 3.52 | 3.89 |
| C30 | Total aggregate (kg) Fine Aggregate (%) Vol. of finished con.(m3) | 235 30-35 0.134 | 215 30-40 0.127 | 210 30-40 0.124 | 190 35-45 0.115 | 195 35-45 0.115 | 170 40-50 0.106 | 180 40-50 0.109 | 150 45-55 0.097 | 3.83 | 4.18 |

Note: Compressive strength of concrete at 28 days in Mpa is given by the following formula from 7 day strength

fc28=fc7+2.491fc7^0.5 Mpa; Source: “The Civil Engineering Hand book”.

### Reinforcement steel

The characteristic tensile strength of reinforcement bar to be used shall have yield strength not less than 400MPa (fy = fck = 400MPa to be used for design in this manual). The mean value of Modulus of Elasticity of reinforcement bar Es can be assumed 200GPa.

Minimum reinforcement provision is required to control the concrete crack during the immature age and the minimum reinforcement required shall be provided as per table below.

Table 7-23: Minimum RF-bars required for crack control of immature concrete

### Structural analysis

Structural Analysis is the process for the determination of the actions on the structure due to all the possible applied loads as mentioned in section above: load on structures. The main actions obtained after the structural analysis are bending moment, Shear force and axial force. The analysis can be carried out manually with the help of equilibrium equations for simple determinate type structure, however for indeterminate type problem, the use of software application like SAP-2000 is preferred for accuracy and time saving. Following the completion of the analysis, the design of the member size and reinforcement requirement shall be carried out based on the limit state design.

Table 7-24: Permissible shear in concrete (N/mm2)

| 100Ast/bd | Grade of Concrete |  |  |
| --- | --- | --- | --- |
|  | M-15 | M-20 | M-25 |
| 0.25 0.50 0.75 1.00 1.25 1.50 1.75 2.00 2.25 2.50 2.75 3.00 | 0.22 0.29 0.34 0.37 0.40 0.42 0.44 0.44 0.44 0.44 0.44 0.44 | 0.22 0.30 0.35 0.39 0.42 0.45 0.47 0.49 0.51 0.51 0.51 0.51 | 0.23 0.31 0.36 0.40 0.44 0.46 0.49 0.51 0.53 0.55 0.56 0.57 |

Source: Hydraulic Structures Design, A.E. 2009

### Limit state design

In this manual, the limit state design will be in use as this method is the acceptable current practice by our local codes and other international codes. The limit state method multiplies the working load by partial factor of safety and also divide the materials ultimate strength by further partial factor of safety.

Table 7-25: Partial safety factor applied to material, m

| Limit state | Material |  |
| --- | --- | --- |
|  | concrete | steel |
| Ultimate |  |  |
| Flexure | 1.5 | 1.15 |
| Shear | 1.25 | 1.15 |
| Bond | 1.4 |  |
| Serviceability | 1.0 | 1.0 |

Table 7-26: Partial factor of safety for loadings

| Load combination | Ultimate |  |  |  | Serviceability all (G, Q, W) |
| --- | --- | --- | --- | --- | --- |
|  | Dead, G | Imposed, Q | Earth & Water, Q | Wind, W |  |
| Dead & Imposed (+Earth & Water) | 1.4 (or 1.0) | 1.6 (or 0.0) | 1.4 | - | 1.0 |
| Dead & Wind (+Earth & Water) | 1.4 (or 1.0) | - | 1.4 | 1.4 | 1.0 |
| Dead, Imposed & Wind (+Earth & Water) | 1.2 | 1.2 | 1.2 | 1.2 | 1.0 |

For small scale diversion weir structure design, the structural strength requirement needs to check for bending moment (flexure), shear force and axial stress are quite sufficient.

### Flexural design of reinforced concrete member

The theory of bending for reinforced concrete assumes that the concrete will crack in the regions of tensile strains and that after cracking all the tension is carried by the reinforcement. It is also assumed that plane section of a structural member remains plane after straining, so that across the section there must be a linear distribution of strains.

Figure below shows the cross section of a member subjected to bending and the resultant strain diagram together with 3 different types of stresses distribution in the concrete.

Figure 7-34: Section with stress diagram and stress block for singly reinforced section

Case-1: The triangular stress distribution applies when the stresses are very nearly proportional to the strains, which generally occurs at the loading levels encountered under working conditions and it is, therefore, used at serviceability limit state.

Case-2: The rectangular – parabolic stress block represents the distribution at failure when the compressive strains are within the plastic range and it is associated with the design for the ultimate limit state.

Case-3: The equivalent rectangular stress block is a simplified alternative to the rectangular – parabolic distribution.

For singly reinforced section in equilibrium, the ultimate design moment, M, must be balanced by the moment of resistance of the section so that:

M = Fcc * z = Fst*z ……………………………………………………………………….. (7-137)

Where, z is the lever arm between the resultant forces Fcc and Fst

fst is design strength of steel reinforcement (N/mm2)

Fcc = 0.567 * fck*bs ……………………………………………………….…………….. (7-138)

M = 0.567 * fck*bs*z…………………………………………………………..………… (7-139)

Where, z = d - s/2 ……………………………..………………………………..………………. (7-140)

M = 1.134 * fckbd-zz …………………………………………………………….… (7-141)

Where, K = M/( bd2fck) …………………………………………………………………………. (7-142)

Therefore, z=d0.5+0.25-k/1.134 ……………………………………………….……. (7-143)

Hence, As=M0.87fykz       ……………………………………………..……………………….… (7-144)

The lower limit for the lever arm can be determined from the limit depth of the neutral axis that is x=0.45d, Minimum lever arm limit is therefore, z= d-(0.8*0.45d/2)= 0.82d ..…………… (7-145)

Hence, for balanced failure,

Mbal = 1.134fckb*(d-0.82d)*0.82d = 0.167fckbd2 ………………………………..…….. (7-146)

Therefore,

………………………………………………………………..………... (7-147)

For section to be designed as single reinforcement and failure first to happen in yielding:

Kbal < 0.167 …………………………………………………………………..….………. (7-148)

### Shear resistance design of reinforced concrete member

It is inconvenient to use shear reinforcement in slabs because it is difficult to fix, impends placing of concrete, and is inefficient in the use of steel. The wall or base slab thickness therefore should be at least sufficient to allow the ultimate shear force to be resisted by the concrete in combination with the longitudinal reinforcement. Maximum ultimate shear carrying capacity of reinforced concrete slab is given by equation below as per British Standard (BS 8110).

……………………………. (7-149)

Where,	c is Maximum ultimate shear carrying capacity of RCC

b is width of rectangular section (mm)

d is effective depth of the section (mm), its value of should not be taken > 400mm

fck is characteristic tensile strength of RF bar & it should not be taken as > 40N/mm2

As is area of reinforcement steel

m is unit weight of material & shall be taken as 1.25

Note: The steel ratio should not be taken as greater than 3.

### Water quality for concrete mix

Large amount of water is usually required in every construction site. Water is required for concrete mixing, curing, compaction for embankments, foundation moistening before placement, etc. Water for the above purposes can be obtained from river, spring, sea, lake, pond, groundwater, rain, etc. Water to be used in masonry and concrete works shall have the following properties:

It shall be free from injurious amounts of oils, acids, alkalies, organic and inorganic impurities and

It shall be free from mud, iron, vegetable matter or any substance which is likely to have adverse effect on concrete, masonry or reinforcement.

pH values between 6 & 9 are usually don't need special precautions, but out of these ranges special protective measures such as increasing the cement proportion in the mix, increasing the dimensions of the section or corrosive resisting cement types shall be used. Similarly, sulphate attack (S03) is small if the water contains a concentration of sulphate less than 300mg/l, otherwise similar remedial measures have to be taken on the concrete works.

Some of the tests required in water for construction purposes include impurities and suspended material determination and chemical tests such as pH, sulphate, chloride, etc. The standard on material specifications (Part III.A) gives detail information on construction materials requirements.

### Minimum structural member thickness requirement

The following table presents provision for the minimum concrete member and masonry wall thickness required for weir construction in small scale irrigation scheme context.

Table 7-27: Minimum structure thickness required for weir component

| Structure Description | Recommended Minimum Requirement |
| --- | --- |
| Reinforced Concrete Structural Members |  |
| Head Regulator, Scouring Sluice Gate & Operation Deck thickness | 200mm |
| Head Regulator Side and Middle Piers thickness | 800mm |
| Scouring Sluice Side and Middle Piers | 1000mm |
| Breast Wall for Head Regulator | 300mm |
| Breast Wall for Scouring Sluice | 400mm |
| Stone Masonry Retaining Wall |  |
| Masonry Wall top Cup Concrete Thickness | 150mm |
| Masonry Wall Base Slab Thickness | 200mm |
| Masonry Wall Top Width | 500mm |
| Front Side Wall slope, Water Side | Vertical |
| Rare Side Wall Slope, Soil Side ( Horizontal :Vertical ) | 1:2.5 |

Table 7-28: Recommended slump for varies types of constructions

| Type of construction | Slump (m)* |  |
| --- | --- | --- |
|  | Max. | Min. |
| Reinforced foundations, walls and footings | 175 | 50 |
| Plain footings, caissons and sub structure walls | 10 | 25 |
| Slabs, beams, and reinforced walls | 150 | 75 |
| Building columns | 150 | 75 |
| Pavements | 75 | 50 |
| Heavy mass construction | 75 | 50 |

*When high frequency vibrators are used, the values given above should be reduced by about one third.

Table 7-29: Maximum size of aggregate recommend for varies types of construction

| Minimum Dimension of Section (mm) | Maximum Size of Aggregate (mm) |  |  |  |
| --- | --- | --- | --- | --- |
|  | Reinforced Walls, Beams & Columns | Un-reinforced walls | Heavily Reinforced slabs | Lightly Reinforced Un-reinforced Slabs |
| 62.5 - 125 | 12.5 - 20 | 20 | 20 - 25 | 20-40 |
| 150 - 275 | 20-40 | 40 | 40 | 40- 80 |
| 300 - 275 | 40- 80 | 80 | 40- 80 | 80 |
| 750 or more | 40- 80 | 160 | 40- 80 | 80-160 |

# SPATE IRRIGATION CANAL DESIGN

## background

Experience in modernized spate irrigation systems has revealed several consistent of which the most significant is the rapid loss of canal capacity due to sediment deposition. This has been caused by the following listed design features:

Slopes that are too flat and velocities too low to transport the incoming sediment;

Cross sections that are relatively narrow and have limited capacity to grasp sediment;

Cross regulator or check structures that further reduce the velocities while water is ponded to command offtakes or fields (this problem has occurred on traditional canals which use early embankments but often the sediment is flushed downstream when the embankment is breached);

Not considering effect of rise in irrigable field level i.e. head loss as a result of deposition of transported sediment particularly in the upstream part of the system where farmers tend to get more water. This forced them to pond up the water in the MC which on the other side, lead to silt up of the canal due to backwater and hence flattened canal bed slope.

## spate canal design considerations

Canals for perennial schemes are often designed using maximum and minimum water velocities set by “none scouring – none silting” criteria. As concentrations of sand diverted to canals is far larger in spate schemes than is the case in perennial schemes, and canals are operated at a fraction of their design capacity for most of the time, spate canals designed in this way gets silted up rapidly.

Thus, “Regime” design methods have been applied in spate schemes. These are sets of empirical equations derived from observations of canal systems that are relatively stable, or "in regime". The methods are simple to apply as usually only the discharge has to be specified. Some methods, such as the Lacey, 1930, equations are still widely used in the Indian subcontinent but as most are based of observations of canals that carried low sand loads, they are not appropriate for use in spate schemes.

In general, there are two major approaches and requirements for optimizing design of conveyance canal system in spate irrigation projects:

The system that follow a route to reduce the need for excavation and fill volumes, by selecting appropriate slopes for the canal that maximize use of the natural ground slope as much as possible;

The system that follow as much as possible the shortest route and avoids areas where construction is difficult and dangerous with respect to construction, economy and safety.

Selection of either or both of these approaches is left for the designer as the natural ground features and available resource govern either or both of these options.

Other distribution canal systems are also dependent on network of natural drainage network and flatness or steepness of the command area. Where there is a traditional water distribution systems, the design shall follow them, otherwise the newly designed network may contradict the existing system.

Canal cross sections are designed of trapezoidal with flatter side slopes of say 1:1.5 to 1:2 to accommodate large incoming spate flow. The longitudinal slope of such canals also vary from 1:500 to 1:100 Moreover, earthen canals are preferred to minimize costs in places where the bed and side slopes are relatively water tight and stable except in areas where it runs on steep and fragile topography.

Flow velocity has to be checked such that it satisfies the non-silting and non-scouring criteria as shown in table below.

Table 8-1: Maximum permissible velocity and tractive force

| Material | Clear Water |  | Water transporting colloidal silt |  | Roughness, n |
| --- | --- | --- | --- | --- | --- |
|  | V (m/s) | (N/m2) | V (m/s) | (N/m2) |  |
| Fine sand, colloidal | 0.45 | 1.3 | 0.75 | 3.7 | 0.020 |
| Sandy loam, non-colloidal | 0.50 | 1.8 | 0.75 | 3.7 | 0.020 |
| Silt loam, non-colloidal | 0.60 | 2.3 | 0.90 | 5.4 | 0.020 |
| Alluvial silts, non-colloidal | 0.60 | 2.3 | 1.07 | 7.3 | 0.020 |
| Ordinary firm loam | 0.75 | 3.7 | 1.07 | 7.3 | 0.020 |
| Volcanic ash | 0.75 | 3.7 | 1.07 | 7.3 | 0.020 |
| Stiff clay, very colloidal | 1.15 | 12.7 | 1.5 | 22.5 | 0.025 |
| Alluvial silts, colloidal | 1.15 | 12.7 | 1.5 | 22.5 | 0.025 |
| Shells and hardpans | 1.8 | 32.8 | 1.8 | 32.8 | 0.025 |
| Fine gravel | 0.75 | 3.7 | 1.5 | 15.6 | 0.020 |
| Graded loam to cobbles When non colloidal | 1.15 | 18.6 | 1.5 | 32.8 | 0.030 |
| Graded silts to cobbles When colloidal | 1.2 | 21.0 | 1.7 | 39.1 | 0.030 |
| Coarse gravel, non-colloidal | 1.2 | 14.7 | 1.8 | 32.8 | 0.025 |
| Cobbles and shingles | 1.5 | 44.5 | 1.7 | 53.9 | 0.035 |

Note: V- is Unit tractive force and  is Max. Permissible average velocity

Source: Design Guideline on Drainage System Design, MoWR, 2002

## spate canal design methods

### Manning’s equation

This method is used for lined or other non-erodible canals, and canals conveying clear water. Generally it should not be used for earth canals conveying river water with huge sediment load.

Manning’s equation has been presented in equation 7-1.

For roughness coefficient for different materials refer Appendix-II.

### Lacey’s regime equation

In this method the principle is ‘canal is considered to be in regime if over a hydrological cycle, neither net erosion nor deposition of materials occurs’. Canals are designed to have a trapezoidal cross section with a bed width to water surface width ratio of 0.8, although in practice side slopes of 1:2 are normally specified so that the actual water surface width is greater than the design value. This allows the rapid formation of natural regime shape through erosion and deposition.

The water surface width equation is:

Ws = 4.83 * e * Q1/2 ……………………………..………………………………………… (8-1)

Where, 	Ws is the design water surface width (m)

e is the width factor which varies between 0.7 and 1.10, and

Q is the dominant discharge, (m3/s)

The choice of an ‘e’ value depends up on the nature of the soil through which the canal is excavated, the nature of the sediment carried and the need to restrict full width development where land is available. A low ‘e’ value is adopted if the soils and sediment are tenacious i.e. have a clay fraction. When they are non-cohesive and fine a high ‘e’ value is recommended. Two values commonly used are 0.83 and 1.0 corresponding to tenacious and friable soils.

The Lacey uniform flow formula may be expressed generally as:

Q = C*R(n+1)/2Sn	 …………………………………………………………….………. (8-2)

Where, v is the mean velocity

R is the hydraulic radius

S is the longitudinal slope (%), and

C & n are coefficients.

The coefficients C & n vary according to median grain size (mm) of the material. In metric units the formulae are:

V = 4500R*S, 		for m < 0.2mm and n =1 ………….…………………………….. (8-3)

V = 46.4 R3/4S1/2, 	for m 0.2<m< 0.6mm and n =1/2 ………….…………………... (8-4)

V = 10.77R2/3S1/3, 	for m 0.6<m <2mm and n =1/3 ………….…………………….. (8-5)

V = 5.98R5/8S1/4, 	for m > 2mm and n =1/4 ………….…………………………….. (8-6)

Combining equations of WS and Q,

Q = Ke2R(n+3)S2n ……………………………………………………..……..…….............. (8-7)

Thus, for a given discharge, soil type and sediment size there is a range of combinations of R and S which can satisfy the equation. To define a unique solution, an additional equation is required. The equation which has been adopted is:

f = 2.46 V2/R ……………………………………………………….……....…..………….. (8-8)

Thus, Lacey regime equations can be summarized as follows (valid for all values of median grain size, m):

Ws = 4.83 * e * Q1/2 ……………………………..………………………………............... (8-9)

f = 2.46 V2/Dm ……………………………..…………………………………..…………. (8-10)

Where, Dm is hydraulic mean depth or hydraulic radius = A / P = A / Ws

Dm = (0.4725Q1/3) / (e2/3f1/3) ……………………………..………………………………. (8-11)

S = 0.000206 (e1/3f2/3)(E/Q1/6) 		for m < 0.2mm ………….…………………….. (8-12)

S = 0.000274(e1/3f2/3)(E/Q1/6) 		for 0.2 <m< 0.6mm ………….……………….. (8-13)

S = 0.000303(e1/3f2/3)(E/Q1/6) 		for 0.6 < m < 2mm ………….………………… (8-14)

S = 0.000188(e1/3f2/3)(E/Q1/6) 		for m > 2mm ………….……………………….. (8-15)

Where, E is shape factor and E = (Wetted perimeter / Ws)

S is water surface slope (m/m), and

f is Lacey silt factor

### Permissible velocity method

In this method, the canal size is selected such that the mean flow velocity for the design discharge under uniform flow conditions is less than the permissible flow velocity. The permissible velocity is defined as the mean velocity at or below which the canal bottom and sides are not eroded. This velocity depends primarily upon the type of soil and the size of particles even though it has been recognized that it should depend upon the flow depth as well as whether the canal is straight or not. This is because, for the same value of mean velocity, the flow velocity at the canal bottom is higher for low depths than that at large depth.

Similarly, a curved alignment induces secondary currents. These produce higher flow velocities near the canal sides, which may cause erosion. A trapezoidal canal section is usually used for erodible canals. To design these canals, first an appropriate value for the side slope is selected so that the sides are stable under all conditions.

### Tractive force method

The term Tractive Force also referred to as "shear force" or "drag force." It is the pull of the water on the wetted area of a channel. This force is produced when water flows in a channel and acts in the direction of flow. It has been presented in detain under chapter-6.

o = gRS …………………………..…………………………………………………….. (8-16)

Where,	o is average shear/tractive stress, N/m2 (refer details in chapter-6)

is average density of material, kg/m3

g acceleration due to gravity, m/s2

R mean hydraulic radius, m

S slope of channel, %

………………………………………………………… (8-17)

Where,	c is critical tractive force, N/m2

D is mean participle diameter, mm

## canal design flow and water level

Before, introduction of any improved water distribution system, we need to ensure that farmers understand and agree with the implications of any implied changes to water distribution and, where new canals are needed, agree to provide additional land required to construct those canals.

Design flow of such conveyance canal can be determined using the formula:

…………………………………………………………………….. (8-18)

Where, Qi is theoretical discharge diverted at the headwork (m3/s)

AI is an irrigable area (ha)

W is depth of application (usually assumed 0.50m to 0.60m based on soil type)

is application efficiency (assumed to be 40-50% for wild flooding)

t is time of application (hrs)

Note: Since all the irrigable land is expected to be flooded at the same time, capacity of conveyance canal should also be fixed likewise.

The time of application is the time period for which the flood flows in the wadi exceeds the canal capacity during the irrigation season. The time period will probably become shorter the further an intake is down a wadi. Then we need to determine depth of flow in the canal for the maximum design demand/discharge using Manning’s equation.

Checks should be made to confirm that canal water level is sufficient to irrigate the highest fields (which are usually at the start of the canal). Otherwise, water may be ponded up to irrigate this land and the potential flow in the canal will be reduced.

Dimensioning of spate canals does not follow the classical irrigation system design because, in spate irrigation systems the objective is to divert the maximum possible amount of water during the very limited duration period of the spate flood to reach as many of the fields as possible. Intakes and canals thus have a much larger discharge capacity per unit area served than would be the case in perennial irrigation schemes.

Generally, spate canals encounter a wide range of flows and sediment loads that affect scour and sediment deposition. Design of spate irrigation canals and canal structures should take account of regime conditions. "Regime" means the long-term stable condition and represents the combined effect of the various flow and operating conditions. In spate irrigation, an overall rise may be superimposed upon the regime condition to meet the needs of irrigating raised field levels (refer equation 2-5). Canals tend to progressively fill with sediment during smaller floods and flush out during larger ones. As a broad rule, high sediment loads result in wide, shallow and relatively steep canals.

## side spill weir

In this case, it is required to determine the height and length of the side spill weir upstream of the structure. The spill weir should start to reject flow as soon as the water depth upstream of the orifice reaches the depth at the canal design discharge, d. The equation for the flow over the side spill weir is taken as:

………………………………………….……………………… (8-19)

Where, Qw	is theoretical discharge (m3/s)

K	is coefficient for oblique flow over the weir

C	is taken as 1.7 for a broad crested weir

B	is crest length of the spill-weir

h	is design head over the crest where h = (d0 – d1) …………………………… (8-20)

h0	is upstream head at the head of the diversion embankment

## average bed slope of spate canals

Experience from Yemen as reported in FAO 1987, has shown that average bed slope of traditional spate canals ranges from 3.7 to 4.8 m/km as presented in following table.

Table 8-2: Indicative bed slope of traditional spate canals

| Name of Canal | Maximum capacity (m3/s) | Average bed slope (m/km) |
| --- | --- | --- |
| Mansury | 40 | 3.8 |
| Rayyan | 60 | 3.7 |
| Bagr | 40 | 3.7 |
| Gerhazi | 50 | 3.9 |
| Mawi | 60 | 4.8 |

Source: Report FAO, 1987

## velocity of spate flow

The normal design criteria for design of canals indicate velocities set to avoid erosion with clean water. However, spate water has a sediment load, which may be subcritical and the velocity needs to be sufficient to keep that sediment moving. Regime theory formulae can be used to predict velocities to give an overall balance between sedimentation and scour. The challenge for designers is to make an assumption about the effectiveness of any sediment exclusion arrangements such that the chosen canal can convey the sediment remaining in the flow. In general, spate flow velocity under an extreme flood would be about 3m/s giving a possible velocity head of up to 0.5m.

Floating trash can be a major problem during floods. An unfortunate fact of physics is that any intake, particularly if located on the outside of a bend and designed to attract the cleaner surface flow, will also attract the trash. There are two basic options tor trash management (i) keep it away from the intake using a suitable trash screen large enough to pass sufficient water even when substantially blocked and (II) make openings large enough to let trash pass.

## side spillway

This is part of the spate headwork structure along conveyance canal, which is designed to bypass excess flow in this canal. It can also be used as a rejection spillway to remove deposited sediment in the gated division box. Such management of flow is intended to remove excess flows entering the canal system such that there should not be significant damage to environs. Measures to achieve this objective include:

Provision of a side spillway on the head reach of a canal just upstream of a control structure to reject much of the excess flow;

Provision of proportional weirs on canals instead of gated control structures to distribute any excess flow through the system;

Provision of drop structures to control erosion of any drainage channels emerging from the field system.

## design of drainage system in spate

In spate irrigation system, internal drainage is not required. But, interceptor drains running parallel to the main conveyance canal must be considered and allowed to cross this canal either by super passages or level crossings structures and join the nearby natural drain.

Cross drainage structures either flume or siphons should also be considered based on necessity of these structures while crossing the conveyance canal on natural drain and road network.

# DESIGN OF GATES, BREAST WALLS & GATE OPERATING DECK

## background

The objective of this section is to lay basis for consideration in structural design of the most commonly used gates for irrigation projects, such as flat or sliding gates, spindle and radial gates. If gates are provided then these recommendations should be followed:

Gate openings should be a large as possible to reduce the risk of blockage by trash

Gates should be designed to allow operation in a short period of time and Hydraulic design & energy dissipation should consider possibility of high upstream water Level & partly opened gate can result in a jet of water flowing under gate which is more severe than either the opened or closed gate condition.

## types of gates used in irrigation

The followings are types of gates which are commonly used in irrigation projects:

Vertical Lift Gate: such as fixed wheel/roller type gate, Slide gate, double leaf gate and Stop-log

Hinged Type Gate: such as Radial gate, Sector gate, Mitre gate, Flap gate and Swing gate. These are typically used in large scale irrigation projects.

Figure 9-1: Combined gate and weir cross regulator: empty (L) & in operation (R)

Source: As adopted from Engineering Manual for Spate Irrigation, Landell Mills LTD, 2011

Out of these different types of gates, the most commonly used gates for small scale irrigation projects are vertical lift gate type. On account of their low cost, small slide gates are used everywhere for passing discharges up to a few cubic meter per second. The problem with them are however, they are prone to frequent jamming thus require careful operation.

Type of gate is decided after considering its purpose, installation location, cases of operation, safety, dependability and economy of water intake function, especially from the view point of effective usage of the water resources, appropriate style and operation method to reduce over diversion.

Fixed wheel type gate is mechanically and structurally simple. Hoisting load is also lighter than for slide gate and is more dependable. It is the most frequently used gate for barrages. In this type of gate, hydraulic load is transmitted to a horizontal main girder through the skin plate (sheet metal) and its supporting girder. The load is finally transmitted to the guide frame by way of vertical end girders at each side of the gate leaf and wheel.

Slide gates can be used both for diversion spate and on-farm structures like division box and turnouts. This type of gate is suitable for a relatively small span and water level difference. The mechanism is simple as a metal plate can be used for guide frame. Operation under hydraulic load causes a large load for hoisting since the gate leaf has to slide on the guide frame. Thus, this type is not suitable for large gate leaves unless operated under balanced water pressure.

For the on-farm structures, it is used as undershot or overshot and are a common form of structure used for turnouts. Such gates should be fixed in a concrete structure which can be precast to ensure high quality. They do not normally have a regulating function other than diverting the flow in an on/off situation. Indeed, there is little point in using them as variable flow structures, because farmers will generally use them either fully open in order to maximize the flow, or else shut when they do not require irrigation water.

Radial gates are typically used in sizes up to 5 m wide with a capacity of up to 40 cubic meter per second each, if automatic, otherwise it shall be as heavy as that a single person can pick-up.

Stop-logs are not commonly self-stand gates but provided as reserve gates to be used during maintenance of main gate. Stop-logs are less expensive than steel gates and are more quickly adjusted but do not control the flow as closely as steel gates.

## design considerations of gates

### Materials of gate structures & precaution to be taken

Such water control gate structures are designed with heavy brass thrust nuts on the rising spindle gates set in to concrete or plastered stone masonry. Steel gates invariably leak around the sides and base, contributing to seepage flows and leakage losses. The main problem is that the close tolerances required for gate seals can rarely be achieved during construction in the field. Thus, precaution should be taken care of it so as to obtain the desired design flow.

Materials used for gate structures comprise steel, aluminum, stainless steel, rubber and FRP (fiberglass reinforced plastic). The selection is based on different flow conditions approaching to gate. When using materials other than steel for gate, the characteristic features of the material for gate should be studied carefully.

Gate structures consist of a gate leaf, guide frame, pivot and hoisting equipment. The gate leaf is the part which receives the hydraulic load and conveys it to pivot. The guide frame is the embedded part in concrete and adjacent to the sealing part of the leaf to prevent water leakage. The pivot is part of a hinged type gate which transmit the external force (load) to the concrete. 'The guide frame covers this function for a vertical lift type gate. The hoist is the equipment which operates a gate leaf.

Slide gates are designed and fabricated from special shaped extrusions or structural angles, flats, and plates are assembled by welds and bolts. Since there are no machined parts or wedging devices in such gate itself, the gate depends upon water pressure and seal design to seat the fabricated slide. Fabricated slide gates are usually furnished with rubber seals to improve water-tightness. Head capacity is dependent on opening size and availability of structural members.

The gates recommended for SSI project should meet the following requirements:

Should be reasonably watertight. Leakage if any unless otherwise specified shall not exceed 5 to 15 liters per minute per meter length of periphery of the sealing surface.

Shall be rigid, smooth, straight & without offset at joints.

Bottom shape of the gate shall be suitably designed to minimize down pull & to provide a converging fluid way.

Slot shall be as narrow as possible in conformity with structural safety of the gate leaf.

The gate as a whole shall be capable of being raised or lowered by the hoisting· mechanism provided.

### Structural aspects of sliding gates

The structural analysis of slide gates is part of electromechanically design work, however the structural design shall provide the provisions and structural detail such as get sliding steel channel embedding concrete groves, appropriate thickness of grove sides and reinforcement detail designed to withstand the hydrostatic and hydrodynamic pressure plus force induced during gate operation activity.

Box 9-1:

Worked Example-1: If it is planned to supply spate irrigation development on 1,000ha with a 0.30m net application depth of water at 50% overall efficiency within 5 hours, then how much flow is required at entrance to this scheme? If this application time is reduced to 3hours, how much would the gross depth of flow be under the same application efficiency?

Solutions: Assume that the required flow can be diverted for the whole period

Table 9-1: Computed required flow at entrance to the scheme

| Given: |  |  |
| --- | --- | --- |
| Irrigation area, A = | 1,000 ha or | 1,0000,000 (m2) |
| Net depth of application, dnet = | 0.30 m | Avg. size |
| Overall Efficiency, = | 0.50 % |  |
| Irrigation duration, t1 = | 5 hr or | 18,000 s |
| Irrigation duration for 2nd condition, t2 = | 3 hr or | 10,800 s |
| Reqd: |  |  |
| Flow in the canal, Q m3/s |  |  |
| Net depth of application for the 2nd condition |  |  |
| Solution: |  |  |
| Gross depth of application, dgross=dnet/Eff. = | 0.60 m |  |
| Case-1: Volume, V=Ad=Q*t, thus Q=A*d/t | 333.3 (m3/s) |  |
| Case-2: dgross= Q*t/A | 036m |  |
| Thus, net depth of application, dnet =dg*effi. | 0.18m |  |

Note: Since all system operates at the same time, this flow will be equally distributed among all canals for the same duration.

## breast wall

### Arrangement of breast wall

Breast wall is an RCC thin wall structure arranged vertically and designed to avoid spilling of water over the under sluice structure during HFL and canal regulator gate. It is provided from top level of the gate up to the HFL. It is also used as a runner for the under sluice spindle gate.

### Structural aspects of breast wall

Breast wall is constructed out of reinforced concrete. The minimum thickness required for head work and scouring sluice beast walls are indicated in Table 7-27 above. The critical loading condition for the beast wall is during design flood flow condition. The hydrostatic force is a triangular force distribution nil at wall top that is at high flood mark and unit weight of water times breast wall height at beast wall bottom.

The hydrodynamic force can be computed as unit weight of water multiplied with approach flow velocity and hypothetical discharge over the breast wall area. Once the wall dimensions, end fixity condition with the side piers and the imposed loads and are known, the analysis can be easily managed by SAP-2000 software.

For the design, the critical actions to be investigated are the bending moments at span and at wall ends and the shear force at wall ends. Reinforcement therefore, can be designed with the limit state design for flexural and shear resistance design equations provided in previous sections. The reinforcement provided finally shall be checked if it is well above the minimum requirement, if otherwise the minimum reinforcement requirement will govern.

## gate operating deck

### Arrangement of operating deck

Operating deck is an RCC thin slab structure arranged horizontally and designed to serve as a bridge for operation of gates.

### Structural aspects of operating deck

Operation slab is made to have dimensions of commonly 1m long by 3m wide for sluice and intake operation or as found necessary to make the operator free from risk during operation by enclosing it within hand rails drilled on both of its edges.

Thicknesses of the slab and breast wall are simply determined from practical recommendations of:

L/t = 20 to 35 ………………………………………………………………………………. (9-1)

Where, 	L = length of greater span = 3.0m

t = thickness (m)

However, t =0.10 to 0.20m thicknesses are provided for the slab and breast wall work. And provide the reinforcement bar of φ12mm diameter spread out @ 150mm c/c spacing in all directions with reinforcement cover of 20mm.

The minimum slab thickness provided for gate operation slab is 200mm as indicated in table 7-27 above. However the thickness shall be checked to be satisfactory by conducting the analysis and design of the deck slab. In addition to the thickness of the deck slab the other geometrical data required for structural analysis is the lateral dimensions i.e. slab span and width over the supporting piers and the end restraint conditions shall be also defined based on the actual fixity condition provided in the design. The imposed operation live load recommended is 7.2KN/m2 which is presented in previous section, load on operation deck. The structural analysis and design will then be carried out in similar manner as explained for breast wall design.

## bedding under structures

Bedding, which are normally made of granular materials or concrete, serves four main functions:

To enhance a uniform support under pipes in order to reduce the bending moment longitudinally;

To increase the load-supporting strength of the pipes;

For pipes with spigot and socket joints, it enables pipes to be supported along pipe lengths instead of pipe sockets. Otherwise, uneven stress may be induced and it may damage the pipes;

To provide a platform for achieving correct alignment and level during and after construction.

# EXPANSION/CONTRACTION JOINTS IN STRUCTURES

## need for introduction of contraction/expansion joint

Contraction joints are used mainly to control locations of cracks caused by shrinkage of concrete after it has hardened. If the concrete, while shrinking, is restrained from moving, by friction or attachment to more rigid construction, cracks are likely to occur at points of weakness. Expansion joints accommodate volumetric increase due to rise in temperature besides preventing transfer of stress between different exposed units of the structure. Contraction and expansion joints are constructed in such a manner that there is no bond between the adjacent units of the structure.

A need for introduction of expansion joint in concrete structures normally contains the following components: joint sealant, joint filler, dowel bar, PVC dowel sleeve, bond breaker tape and cradle bent.

## joint sealant

This seals the joint width and prevents water and dirt from entering the joint and causing dowel bar corrosion and unexpected joint stress resulting from restrained movement.

Joint sealants are typically fluid, gel, or solid agents used to seal construction gaps in masonry, asphalt, timber, or steel structures. The use of a joint sealant serves the dual purpose of creating a physical barrier to exclude water, air, or dirt while creating an aesthetically pleasing finish to otherwise unsightly joints. The two most common types of joint sealant are fluid/gel and preformed solid seals. These joint sealants are specifically engineered with specific physical attributes and may also have additives such as flame or bacterial retardants included in their formulations.

Joints in construction elements are an unavoidable and often essential feature of most industries. Whatever their function, most joints require sealing to keep out moisture or air and exclude plant and dirt intrusion. In the case of decorative structures such as walkways, patios, decks, and pool paving, the joint sealant should also make for a visually pleasing finish. Joints in high traffic or stress applications such as sidewalks, roads, and bridges need to exhibit superior abrasion and shock resistant qualities along with their general sealing characteristics.

Figure 10-1: Sealant as seen in joints of concrete slabs

## joint filler

A filler is a rigid material that supports the edge of the joint when heavy traffic crosses. This type of material is only effective with saw-cut joints; rounded tooled edges can't support the filler. It is compressible rubber type filler so that the joint can expand freely without constraint. Someone may doubt that even without its presence, the joint can still expand freely. In fact, its presence is necessary because it serves the purpose of space occupation such that even if dirt and rubbish are intruded in the joint, there is no space left for their accommodation.

Figure 10-2: Joint fillers in concrete works

Note: Both sealers and fillers should only be installed after the slab has had a chance to shrink as much as possible. Fillers are only effective if installed after the concrete has gone through most of its shrinkage, although that can take a year or more. Fillers and sealers should be checked at the end of the first year of service and repaired or replaced as needed. Effective sealant materials must bond to the concrete, be impermeable, and be able to handle the expansion and contraction. Before installing a sealant, the joint must be dry and free of dust and debris. Vacuum it thoroughly before sealing. Carefully follow the sealant manufacturer's installation instructions.

There are two types of fillers: Concrete Control Joint Filling and Concrete Expansion Joint Filling. Concrete control joints are intended to be cut the first or second day following placement of the slab at either 25% or 33% percent depth (depending on the day cut). Their purpose is to “control” stress cracking in the slab as the concrete expands and contracts with changes in moisture and temperature. If desired, control joint filler can be installed. Polyurea joint filler is intended to give the concrete joints protection under weight and traffic. This is a 2-part semi–rigid product that cures quickly, reaches high compressive strength, and forms a 3-sided bond.

The concrete expansion joint is visibly larger than the control joints and they allow for movement of the concrete slab due to vibration, settling, or temperature changes. The most common type of concrete expansion joint filler is caulk. Expansion joint caulk (or expansion joint sealant) is typically installed over backer rod or other foam insert, it forms a bond on 2 sides only.

## dowel bar

This is a major component of the joint. It serves to guide the direction of movement of concrete expansion. Therefore, incorrect direction of placement of dowel bar will induce stresses in the joint during thermal expansion. On the other hand, it links the two adjacent structures by transferring loads across the joints.

Figure 10-3: Dowel bar arrangement in concrete works

Dowel bars are typically placed at the mid-depth of the slab and should be parallel to the pavement surface and parallel to the direction of travel. The center of the dowel bar should be below the joint.

## PVC dowel sleeve

It serves to facilitate the movement of dowel bar. On one side of the joint, the dowel bar is encased in concrete. On the other side, however, the PVC dowel sleeve is bonded directly to concrete so that movement of dowel bar can take place. One may notice that the detailing of normal expansion joints in structures standard drawing is in such a way that part of PVC dowel sleeve is also extended to the other part of the joint where the dowel bar is directly adhered to concrete. In this case, it appears that this arrangement prevents the movement of joint. If this is the case, why should designers purposely put up such arrangement? In fact, the rationale behind this is to avoid water from getting into contact with dowel bar in case the joint sealant fails. As PVC is a flexible material, it only minutely hinders the movement of joint only under this design.

Figure 10-4: Plastic screw dowel and dowel bar sleeves

## bond breaker tape

A bond breaker is a substance applied over concrete surfaces to ensure that there is permanent bonding between the surfaces. Bond breakers are used normally on tilt-up walls and precast segments to ensure the right pieces are cast together. Bond breakers allow lifting and moving of precast pieces after stripping them from the form. As the majority of joint sealant is applied in liquid form during construction, the bond breaker tape helps to prevent flowing of sealant liquid inside the joint. Cradle bar: It helps to uphold the dowel bar in position during construction.

Bond breakers are used over concrete surfaces to eliminate or reduce the cracking of slabs due to temperature and moisture fluctuations. Bond breakers also avoid shrinkage cracks on tilt-up walls. Bond breakers are applied on surfaces that will be eventually joined together, since once the concrete is poured, they will be inseparable. Bond breakers are available in different forms, such as: Liquid, Spray, Rods, and Tape. Bond breakers are engineered products that form a membrane, allowing the surfaces to be separated easily. In some countries wax, petroleum-based substances or grease are used as bond breakers but these chemicals will change characteristics of the surfaces on which they are applied.

Bond breakers are classified into two major groups: membrane forming and non-membrane forming. They can also be divided into water based or non-water based products. Membrane forming bond breakers hold water in the casting slab and they are formulated to meet ASTM C-309, the standard specification for liquid-membrane-forming compounds. These types of bond breakers are made of crude resins to form the thin film. Non-membrane bond breakers are subdivided into reactive and non-reactive. The reactive bond breakers react forming a crude soap. The non-reactive bind breakers interact with the concrete surface and generate a waterproof surface.

Figure 10-5: Bond breaker and its effect on concrete crack

## water-stops

The principal function of waterstops is to prevent liquids (e.g. water), water-borne materials and solids to pass through concrete joints. In essence, it aims at providing water tightness to the drainage channel. Besides, waterstops in drainage channels or box culverts can also serve two other purposes:

To avoid water contacting joints’ dowel bars and causing corrosion.

To avoid water seeping in from the underside of drainage channels or box culverts, thereby washing in soil particles and causing voids underneath these structures and finally leading to their failure.

To serve the second purpose, obviously only one waterstop is required at any depth location. To serve the first purpose, a waterstop has to be installed on top of dowel bars to prevent water from drainage channels from leaking through. On the other hand, a water stop has to be provided below dowel bars to avoid underground water from surging upwards. In fact, the other way out to serve the first purpose is by using corrosion resistant bars.

Waterstops can be types: PVC type, Rubber waterstop and Bentonite strip waterstops.

Figure 10-6: Different types of water stops

## weep holes

Usually, the weep holes of 2 inch PVC at every 1m both in vertical or horizontal intervals for high guide walls and additional expansion joints for long masonry work at headwork sites and retaining structures are provided.

“Standard Specifications for Highway Bridges.”(American Association of State Highway and Transportation Officials) requires that contraction joints be provided at intervals not exceeding 9m. Alternate horizontal bars should be cut at these joints for crack control. Expansion joints should be located at intervals of up to 27m.

# RIVER TRAINING WORKS AROUND HEADWORKS

## needs for river training works

Natural processes and human interference may disturb the equilibrium between the sediment load contributed to the channel and the transport capacity of the flow. Seasonal variations in the flow, dredging of the river, construction of a reservoir, construction of a weir and deforestation in the catchment area are all examples of causes of such disturbance. Training structures are thus necessary in order to protect the channel against the changes that occur due to this disturbance.

This guideline, is focused to river training works that need to be considered so as to protect overtopping of the channels as a result of introduction of hydraulic structures such as diversion weir, cross drainage structures, bridges as well as channel stabilization within the project boundary. Thus, river training here refers to the structural measures which are taken to improve a river and its banks. Such training is an important component in the prevention and mitigation of flash floods and general flood control, as well as in other activities such as ensuring safe passage of a flood over a weir and under or over cross drainage structures.

## objectives of river training or improvement works

The objectives of river training or improvement works are to prevent overtopping and hence flooding, to reclaim or protect land around river banks or to provide protection against conveyance canal for irrigation water supply, hydropower development or domestic and industrial use and/or to aid navigation.

River training or improvement works are mainly implemented for two purposes:

Maintain normal flow depth of design flood within the existing reach of rivers,

Reduce effect of erosive nature of rivers around structures under consideration.

Specifically, the objectives of river training are summarized as:

To increase safety against flooding by accommodating the flood flow,

To improve the efficiency of the sediment transport,

To minimize bank erosion by stabilizing the course of flow,

To direct the flow to a desired river stretch/reach,

To reduce the probability of meandering, and

In most cases, the primary objective of river training is to improve navigation by maintaining channel depth (though it is not the objective of this guideline).

## considerations in design of river training

### Peak flood level

River training works are required particularly when a weir does not extend over the existing width of a river and/or backwater effect is significant. These comprise embankments and spurs, which may be stone-protected earthen embankments or gabion or masonry structures. The embankments need to be sufficiently high and robust to convey flood flows over the weir without overtopping or failing. They should be designed for a 1 in 25 year flood event where overtopping and failure of the bunds will not result in catastrophic failure of the weir and other costly structures. Otherwise they should be designed for a 1 in 50 year flood event.

### Environmental impact assessment and socioeconomic considerations

The design of river improvements works in general is dependent upon fluvial geomorphology and wider river engineering aims and river mechanics. In any design of river training works, it is extremely important to consider a holistic approach and to incorporate environmental impact assessment and socioeconomic considerations, as it directly affects land adjacent to river banks and hence conflict of interest may arise. The proposed structures need to be environmentally friendly to maintain the natural riverine environment and ecology.

### Freeboard requirement for levee

The minimum vertical distance between the maximum flood level and the top of the levee (the crown or crest) is generally taken to be 1.5 times the height of the wave (hw), which is calculated from the following (Physical Methods for River Training, 2017):

, for F< 32km ……………..….………. (11-1)

, for F< 32km ……………..….…………………………………. (11-2)

Where,	V is velocity of wind km/hr, and

F is straight length of water surface in km.

### Widths of levee

The top width of the embankment should be sufficient to keep the seepage line well within the levee. For a small levee, this top width is generally governed by the minimum roadway width requirements. The minimum top width (A) of an earthen levee can be calculated as follows:

, for a very low levee ……………..….…………………………………… (11-3)

, for a levee lower than 30 m ……………..….………….. (11-4)

, for a levee higher than 30 m ……………..….…………. (11-5)

Where, H is the height of the levee.

Its bottom width is dependent on the expected height of dyke and pore-water pressure is safe on all the faces and phreatic line remains within the body of the dyke (refer Figure 11-6 for its cross section and profile).

### Cost–benefit consideration

Flood protection schemes require a careful cost–benefit analysis to determine a suitable design discharge which depends on the type and necessity of land to be protected, type of structures and property to be protected and the processes involved. The return period of this discharge may vary from 1 to 100 years and in very special cases (large settlements, ancient historic monuments, nuclear installations, etc.) may be substantially higher. But for design of diversion weirs and cross drainage structures most commonly 50 years design flood level is adopted to design such protection structures. For flood protection at small crossings structures 25 years design flood level is enough.

When structures are designed for a flood less than the maximum probable value, there exists a certain amount of flood risk to the structures, nor is it economical to design for 100% flood protection. But protection against the highest rare floods is uneconomical because of the large investment and infrequent flood occurrence.

### River cross sections

For designing flood protection structures river cross sections should be surveyed at upstream and downstream of the river reach requiring protection and longitudinal slope of this reach need to be determined.

The approximate river flood level for the design flood event can then be estimated using Manning’s equation taking into account the surveyed cross sections, the slope of the river and an appropriate Manning’s roughness coefficient “n” (refer appendix-II for ranges of Manning’s roughness values). Where possible the river levels should be checked against trash marks left by floods, which should be noted when river cross sections are surveyed.

## principal methods of river training

Flood-protection works include high-water river training (mainly by dykes), diversion and flood-relief channels with or without control structures, and flood-control reservoirs. The principal methods used to improve river channels are categorized in to two: River Regulation and Dredging/ Scouring.

### River regulation

In river regulation method of training, the river is encouraged to follow its natural course or it may be straightened. But, the latter approach requires great sensitivity and should be used only with caution and due regard to environmental constraints is given. In the upstream reaches, the main problem is the short-term and seasonal variation of flow, high velocity, channel instability and shoal/raised area/ formation. In the middle and lower reaches, it is often necessary to raise river banks and carry out works reducing the channel width. To do this, there are a number of types of river training structures. The selection and design of the most appropriate structure depends largely on the project site conditions. River regulation training structures can be classified into two main categories: transversal protection structures and longitudinal protection structures.

#### Transverse protection structures

Transversal protection structures are installed perpendicular to the water course, such as around cross drainage structures. They are used to lower the river gradient in order to reduce the water velocity and protect the river bed and banks from erosion. Most of the rivers from highlands originate in the high mountains, where they have steep gradients giving the flow a massive erosive power. Moreover, intense rainfall and breakout events can accelerate the river flow to such an extent that the water has a significant impact on the watercourses and surrounding areas. Transversal protection structures are effective for controlling the velocity of such rivers and streams and reducing the development of flash floods.

Spurs: A spur or spur dyke, or groyne is a structure employed as an indirect way for protection of banks. They are in general cheaper than direct protection measures. They are made to project flow from a river bank into a stream or river with the aim of deflecting the flow away from the side of the river on which the groyne is built. Two to five structures are typically placed in series along straight or convex bank lines where the flow lines are roughly parallel to the bank (McCullah and Gray 2005). Such structure train a river to flow along a desired course by preventing erosion of the bank and encouraging flow along a channel with a more desirable width and alignment.

Spurs can be made from many materials including stone, for example in the form of gabions or in bamboo ‘cages’; tree trunks and branches; concrete; or any material that is not easily detached by the river and is strong enough to withstand the flow and the impacts of debris.

Figure 11-1: Arrangement of groynes along river bank, gabion (L) bamboo (R)

Figure 11-2: Schematic layout of groynes along river bank

Groynes can be categorized in to three: Attracting, Repelling and Deflecting Groynes. Attracting Groyne is designed obliquely to the bank by making an angle of 600 to 750 toward the downstream/flow direction. Thus, flow of water is attracted towards the bank and the velocity of the flow is reduced to such an extent that it cannot cause any erosion to the bank. However, a bank protection of stone pitching is provided for safety (refer figure below).

In case of repelling groyne, the alignment is towards the upstream i.e. against flow direction at an angle of 600 to 750 with the river bank. Here a still water pocket is formed on the upstream where silting takes place. Thus, the bank protection is not necessary because the flow of water does not touch the bank and there is no effect of erosion on the bank. But still pitching should be provided for safety.

Deflecting groyne is designed perpendicular to the river bank and are also called ordinary groyne or normal groyne. Here flow of water is deflected from the bank by the perpendicular obstruction called Deflecting groyne. The flow of water follows an undulating path just outside the head of the groyne. An eddy current is formed on the upstream side of the structure. This eddy current will not affect the river bank. But a bank protection of stone pitching is provided for safety.

Figure 11-3: Attracting, repelling and deflecting groynes (L to R resp.)

Table 11-1: Comparison between spur and groyne

| Spur | Groyne |
| --- | --- |
| It is a temporary structure It is permeable It requires repair works It is recommended for small rivers It is useful for low or medium velocity of flow It is constructed with bamboo pile, timber pile, sand bag, boulders, etc. | It is a permanent structure It is impermeable It does not require any repair work It is recommended for large rivers It is useful for high velocity of flow It is constructed with rubble masonry with cement mortar. |

Source: Irrigation Engineering, by N. N. Basak, 2007

Check dams: These are weir like structures / low dams that are built across a stream bed to facilitate the bed-slope reduction. They can be made of gabions, concrete, logs, bamboo, and many other materials so as to decrease the morphological gradient of the torrent bed and reduce the water velocity during a flood event by increasing the time of concentration of the hydrographic basins and reducing the flood peak and solid transportation capacity of the river. They also help to reduce erosion and debris flow. The main purpose of check dams on rivers is to stabilize the riverbed over a long distance. Check dams generally require additional protection structures in the bed or on the banks to hinder undermining.

Original river bed

Final river bed

Bank Top Level

Figure 11-4: Arrangement of check dams along river reach

Check dams are usually designed such that the crest of the u/s dam is in line with the toe of the next check dam (if any) upslope. These structures should be used when it is not feasible or practical to line the channel or implement flow control practices.

Sills: A sill (also called a bed sill or ground sill) is a transverse gradient control structure built across the bed of a river or stream to reduce bed or head-ward erosion. Sills are installed along river stretches with a medium to low morphological gradient. They are used when small check-dams are not acceptable.

Figure 11-5: Arrangement of sill/bed sill along river bank (from tree trunks & branches)

#### Longitudinal protection structures

Longitudinal protection structures are installed on river banks parallel to the river course, generally with the aim of protecting adjoining areas from inundation, erosion, and river meandering, typical example is protection around diversion weirs. They are usually constructed on natural banks and extend for a considerable distance. The most common structures are embankments or levees in the form of guide bunds or banks, afflux bunds, and approach embankments. Very often, spurs are constructed together with longitudinal structures to protect the latter.

Levees or Earth fill embankments/dykes: Levees, or marginal embankments, are dam-like earthen structures constructed along a river in order to protect the surrounding countryside from flooding and/or to confine the course of a river to provide higher and faster water flow. They are usually constructed for long stretches along a river in low lying areas with an extended floodplain.

Figure 11-6: Levee/dykes arrangement along river bank and its section

The top width is generally 3 to 4 m and side slope is generally 1½: 1 to 2:1. The height of the embankment depends on the highest flood level. A suitable margin is provided between the toe of the embankment and the bank of the river. To resist the effect of erosion on the embankment, wooden piles are driven along the river banks throughout the length of dyke. The length of the dyke is protected by boulders pitching with cement grouting and the downstream side is protected by planting turf. They are built (a) To prevent the flood water or storage water from entering the surrounding area. (b) To retain the flood water or storage water within a specified section. (c) To protect the towns and village from devastation during heavy flooding. (d) To protect valuable agricultural lands from submergence.

Guide Banks and other Approach Embankments: Guide banks are extension of wing-wall structures built to guide a stream or river through a bridge opening or towards other hydraulic structures such as weirs, especially when river flow level is markedly higher than usual. The aim is to confine the river within a reasonable waterway and direct the flow in a manner that ensures its safe and expeditious passage. They also reduce or eliminate local scour at the embankment and adjacent piers. In a wide river lined by levees, a series of diversion structures may be used to guide and narrow the water course and protect the levee or highway embankment, where a highway or other bridge crosses the river. These consist of an afflux embankment or bund, an approach embankment, and the guide banks themselves.

Guide banks are constructed in a river in order to:

Confine the flow to a single channel,

Improve the distribution of discharge across the width of a river thus controlling the angle of attack by a flash flood,

Protect weirs, barrages, or other hydraulic structures constructed in the river such as intakes from flash floods,

Control the meander pattern of a river,

Control overtopping of natural embankments in a flash flood and protect adjacent land from flooding,

Reduce erosion of banks by the water current,

Prevent sliding of soil as a result of the draw down effect of the flood water level,

Facilitate smooth transportation of water, and

Prevent piping of water through the banks.

Concrete Embankments: Concrete embankments are made from cemented bricks, stones, or concrete. These are thin but strong embankments usually installed in urban reaches of water courses where there is not enough space to build more massive structures. They can also be combined with earth fill structures. The construction cost of concrete embankments is higher than that of earth fill embankments and such an embankment has a significant impact on the environment and often destroys the ecology of riparian areas.

Revetments and rock riprap: Revetment refers to a continuous artificial surface on a river bank or embankment slope and part of the river bed, which is designed to absorb the energy of the incoming water and protect against erosion by the river current. Revetments are usually placed along the concave side of a river bend where river velocities are high. Upstream from barrages, revetments may be used to hold approaching river banks in their existing positions. Revetments can be flexible or rigid. They can be constructed from various materials including rock, stones, stone-filled gabions, concrete slabs, timber piles, bamboo piles, old tyres, and sandbags. If there is a potential for scour at the toe, the revetment must be extended down to the expected level of the scour and sufficient material added in the form of a thickened toe or horizontal apron such that the toe material will launch to a stable slope as the bed scour develops (For detailed design aspects of riprap, refer section 7.8.12).

Figure 11-7: Rock riprap (L) & protection by gabion at u/s of river crossing (R)

### Dredging

Dredging is implemented using mechanical or suction dredgers and is the most effective means of estuarine or of confluence river regulation, but its impact is often only temporary, thus not considered in this guideline.

## design of river training/flood-protection works

### Required data

Data required for design of flood protection works are:

The design flood levels established according to the economic value of the protected area or structure that need to be protected;

The design freeboards against overtopping and wave attacks;

The duration of the flood levels for calculating seepage and hydraulic gradients in earthen dykes and underground; and

The probability of silt deposit and consequent backwater.

### Alignment of flood protection works

Alignment of flood protection structures, (such as wing walls) need to be considered carefully, taking into consideration the following:

Topography: for example island, outcrops, etc.

The existing (and historical) river alignments;

Farmers wishes, land ownership, location of other infrastructures such as houses, etc.

The regime river width (for alluvial river beds);

The effect of the proposed works on “others” outside the scheme area, such as on the opposite bank of the river to that being protected;

The stability of the river bed, location of any rock outcrops, etc.

### Cross section design of guide bank structures

#### General

Design of flood protection structures as related to diversion weir such as wing walls, dykes/levees and launching apron has been covered partly under hydraulic design aspect of this guideline and phreatic line analysis is in Small Dam Design Guideline, thus can be referred there.

Such flood protection structures can be designed and constructed from masonry, gabion or compacted clay materials thus selection of these materials depend on their availability, volume/quantity and quality in the vicinity of the project, cost, environmental impact assessment and socioeconomic considerations, etc., the most commonly used in relation to irrigation structures being longitudinal flood protection structures such as Levees or earth fill embankments or dykes, guide banks and revetments and rock riprap. Consequently, design of cross section of guide bank structures are presented as follow.

#### Length of the guide bank

Generally for shifting alluvial rivers, if any, the length depends on the distance necessary to secure a straight run for the river, and the distance necessary to prevent the formation of a bend in the river so as to avoid the angle of attack of the anticipated flash flood. In case of guide banks around diversion weir their length should be fixed such that they find and keyed to the natural ground corresponding to high flood levels shortly both on the upstream and downstream sides of the weir.

#### Plan shape of the guide bank

Ideally, the guide bank should have a converging curved shape forming a bell mouth entry to the waterway. The axis should be parallel to the principal direction of flood flow through the opening at crossing structures but governed by the shortest distance to HFL in case of weir. This shape is particularly suitable where the direction of flow can vary. In most cases, the main sections of the two banks are constructed parallel to each other, but other forms are possible, for example curved or converging. Refer typical sketch shown below.

Figure 11-8: Schematic PLAN OF GUIDE BANK EXTENDED FROM WING WALL

#### Embankment/guide bank section

The angle of the embankment slope is calculated according to:

The subsoil conditions,

the angle of repose of the embankment material, and

The type of slope revetment provided, usually the slope should have a horizontal to vertical ratio of between 2:1 and 3:1.

In general, the top of the embankment is made wide enough to accommodate vehicles for construction and maintenance purposes. Guide banks should normally extend above the design high water level with a freeboard allowance of 1–1.5 m depending upon the discharge condition (Singh 1980). Lower guide banks that can be overtopped under high flood discharge condition may be preferred in some cases for economic purpose. However, under these conditions, the top of the bank and outside slope must be protected against erosion.

#### Spacing between the guide banks

The layout of the guide banks should be such as to guide the flood smoothly throughout the guide bank length. Generally, the guide banks are constructed to form a symmetrical pair. They should confine the river within a reasonable channel that can ensure safe and rapid passage of water during a flash flood. The confined width of the river between the guide banks in an alluvial river can be calculated using the Lacey’s formula.

#### Pitching

The inside slope of the embankment is subjected to erosion from the river flow, particularly during floods and flash floods. The continuous movement of water saturates the embankment material as a result of pore water pressure. Sudden increases and decreases in the water level can change the water inflow and outflow in the embankment material and damage the embankment. Hence, the inside slope should be protected by stone pitching. The usual thickness of the pitching varies from 40–60 cm. The thickness can be determined from the formula (Varshney et al. 1983):

t = 0.60 Q1/3 ……………..….…………………………………………………………… (11-6)

Where,	t is the thickness in meters and

Q is the maximum river water discharge in m3/s

Thickness of stone riprap determination has also been given: arrangement of launching apron, thus can adopt either but the one that gives safe condition should be selected.

Stone pitching protects the face of the bank. However, floods can induce scouring at the toe which would undermine the pitching and cause its collapse. To prevent this, a stone cover or launching apron has to be laid beyond the toe of the bank on the horizontal river bed. As the scour undermines the apron starting at its farther end and working back towards the slope, the apron falls to cover the face of the scour, with the stones forming a continuous carpet below the permanent slope of the guide bank. The apron must have sufficient stone to ensure complete protection of the whole of the scour face. The length of the scoured face should extend to the anticipated scour depth below the apron and is given by:

or 1.5*D ……………..….……………………………………………….. (11-7)

Where,	La is launching apron length, (m)

D is scour depth below the apron, (m)

The scouring effect is a function of the gradation of the silt available in the river bed and the discharge of the flowing water. It can be calculated using the following formula:

……………..….……………………………………………………….. (11-8)

Where,	scour depth below HFL, (m)

Q is the maximum discharge the river for 50 years, m3/s,

f is Lacey’s silt factor as defined in equation (7-30)

Riprap slope revetment

Estimated depth of scour below apron, D

Stone launching apron

1.5*D

Top of guide bank

Figure 11-9: Typical cross-section through guide bank

Note: Numbers indicate relative values for any given size distribution

### Design aspects of groynes

#### Length of groynes

Length between two successive Groynes in SSI projects is dictated by the intended channel alignment around the diversion structures and downstream reaches within the project command boundary. If the banks are deep enough to accommodate incoming flood such structures are not required,

#### Crest levels of groynes

For alluvial channels, the crest levels of the groynes are kept above the water level corresponding to the selected design discharge / dominant discharge selected for the intended return period plus 1-1.5m free board or as given under section 8.3.3,

The crest levels are either horizontal or inclined upward to meet the bank requirements. This helps to reduce the risk of scouring at higher floods especially at the bank-groyne junction.

#### Angle of groynes

No definite recommendation as to the angle between the groynes and the channel bank exist. In fact, experimental studies show some conflicting results

Some studies show that groynes pointing upstream experience less scouring,

Other studies show that groynes at 900 rather have less scouring,

Other studies show that groynes pointing downstream experience less scouring.

In general, recent practices tend to favour an upstream inclination making 15-30 degree with a line normal to the flow.

#### Distance between groynes

So far no theoretical way to determine the distance between groynes. However, too short distance leads to expensive structure and too long distance leads to erosion of the banks. Thus, either of the following empirical rules of thumb are recommended:

Twice the channel width;

1-5 times the length of the groynes;

The distance is such that one strong vortex/eddy is formed.

#### Embankment materials

Embankment materials for the construction of the groynes is best taken from the stream bed material, if this proves unsatisfactory, rockfill may be used. Gabions can also be used

#### Scour protection

The heads of groynes may be subjected to scouring and thus require protection such as mattress revetment or gabion can be used.

Figure 11-10: Typical plan & cross sections of groynes along river bank

# OPERATION AND MAINTENANCE OF SPATE SCHEMES

## scope of operation and maintenance of spate schemes

This type of irrigation application system is vulnerable to frequent sedimentation by depositing trashes and fine particles. Consequently, it requires frequent silt-up of the headwork of Wadi and canal system. Thus, regular canal de-silting is needed to maintain canal flow at its desired capacities.

This application system has no regular time. Rather mass mobilization of beneficiaries is required at any time, be in the night or during day times (i.e. it is governed by incoming instantaneous runoff from highlands)

For large schemes that have been improved in the past and provided with technically more complex  infrastructure, such as more permanent diversion and water control structures, technical, social and environmental reviews are required. Experience has shown that operation and maintenance costs and negative impacts on existing water distribution practices and rights are systematically underestimated and that this leads to poor management, degradation of irrigation infrastructure and inequity in access to water.

The overall routine management, operation and maintenance of spate system is to be looked after by the water user Association (WUA). It is quite imperative that different group amongst the WUA are formed who will be associated with the different tasks so as to have in depth knowledge of the functions and the utility of the scheme. Without this awareness and known-how proper management, operation and maintenance cannot be sustainable and successful. It is also needed that they are given training with the project.

Simple soil bunds or spur type diversions, in spite of the cost-effectiveness of their construction with a bulldozer, require frequent repair in the critical sections, often every 1 or 2 years and, in extreme cases, may need to be replaced more than once every year. These systems require more effort and collaboration from farmers in their operation and maintenance, as uncontrolled flows are admitted to canals work then needs to be done on reconstructing canal diversions, repairing scour damage and, in some cases, removing sediment deposits.

## planning for easy operation and maintenance

Common approach of designers to operation and maintenance is to first complete the designs and then, almost as an afterthought, write something about how the works should be operated and maintained. Problems arising from failure to undertake the prescribed O&M cannot then, in the designers view, be blamed on the designs.

Normally simplicity and robustness in operation and maintenance should take precedence over achieving maximum efficiency in water diversion and distribution. The aspects to be considered include:

Sluice and Intake gates number and operation

Gate type, thickness and extent

Sediment Management (either on the headwork or by rejection/side spillway)

Trash provision (from stainless steel)

Management of excess flows (if unexpected flow is encountered)

## considerations in operation and maintenance of spate schemes

Consideration of operation of structures in spate schemes should be made early in the design process so that realistic assumptions can be made in the design:

Fewer, larger gates are likely to be easier to operate

Clear gate operating rules are required based on easy indicators

Ease and simplicity of maintenance are important

The design and performance of the intake will affect the ease of operation and maintenance of the related canal system

The design of the canal system must take account of the operational characteristics of the intake

The main problems encountered in operation and maintenance of spate schemes are concerned with:

A clear understanding of local traditions and water rights in relation to the new operating rules;

Arrangements of sediment and trash exclusion, ejection and routine clearance;

Organisation and staffing;

Finance and recovery of water charges.

## spate irrigation systems management

Some spate irrigation systems rank among the largest farmer managed irrigation systems in the world. The structures are sometimes spectacular: earthen bunds spanning the width of a river, or extensive spurs made of brushwood and stones filled in gabions.

Spate systems are made in such a way that ideally the largest floods are kept away from the command area. Very large floods would create considerable damage to the command area. They would destroy flood diversion channels and cause rivers to shift. This is where the ingenuity of many of the traditional systems comes in. Spurs and bunds are generally made in such a way that the main diversion structures in the river break when floods are too big. Breaking of diversion structures also serves to maintain the flood water entitlements of downstream land owners.

## trash management

Large floods carry considerable amounts of trash which can quickly block canal intakes. Intakes sited on the outside of bends (the best location to capture the flow) are particularly vulnerable because trash moves with the surface flow to the outside of a bend.

Trash screens are usually provided but may make the risk of blockage worse because they will tend to catch smaller trash which would otherwise pass through the intake and into the canal. Trash already captured will effectively reduce the opening size and stop smaller trash from passing through. The solution is to provide a very large screen upstream of the intake, is likely to not incur sufficient blockage to stop flows, but it is also expensive.

## sediment management

Runoff diverted for spate irrigation could cause substantial amount of sediment. Consequently, such sediment can be managed either on the headwork through scouring sluice or by rejection/side spillway constructed on the main conveyance. Wadis carry considerable sediment load, particularly during high floods. This sediment load comprises a range of sizes from cobbles and gravel which move along the bed during the larger floods to silts and clays in suspension.

When the flow velocity is reduced then, the sediment is deposited in the canal. On the other hand, the beneficiaries appreciate the fine sediment (called the “washload”) which is normally carried through to the fields because it is usually fertile. However, this sediment progressively raises the land being irrigated. Design of the canal command levels needs to take account of the likely rise in field levels during the design life of the proposed improvements to the canal intake. Coarse sediment may be deposited in the canal and have to be removed from time to time. The entry of coarse sediment into the canal can be reduced by providing a sluiceway at the intake which is used during the larger floods to eject sediment from the intake back into the wadi.

Table 12-1: Sediment management options for a range of scheme types

| Intake/Scheme Type | Sediment Management Options |
| --- | --- |
| Basic intake without a weir | - Locate intake at the outside of a channel bend - Limit flows entering canal with flow throttling structure & rejection spillway. - If provided close gates during periods of very high wadi flows. - Provide steep canals, minimize ponding and flow division. - Consider arrangements for and sustainability of canal de-silting |
| Basic (probably small) intake with a low weir | - Locate intake at the outside of a channel bend - Provide a simple sediment sluice. - Align canal intake to minimize diversion angle. - Limit flows entering canal, close gates during periods of very high wadi flows +flow throttling structure/rejection spillway. - Consider if mechanically excavated gravel trap is appropriate. - Provide steep canals, minimize ponding and flow division. - Make provision for rising command levels. - Consider arrangements for and sustainability of canal de-silting |
| Higher cost intakes | - Locate intake at the outside of a channel bend - Incorporate sediment sluice, consider curved channel sediment excluder if bed sediments are coarse. - Align canal intake to minimize diversion angle. - Limit flows entering canal, close gates during periods of very high wadi flows +flow throttling structure/rejection spillway. - Consider if mechanically excavated gravel trap is appropriate, or whether flushed settling basin might be feasible. - Where high investment costs might be justified by reduced de-silting costs, consider hybrid extractor/settling basin system located in canal head reach. - Provide steep canals, minimize ponding and flow division. - Make provision for rising command levels. - Consider arrangements for and sustainability of canal de-silting. |

## establishing responsibilities for o&m

Accountabilities for operation & maintenance of spate schemes should be discoursed early in the design stage of projects because this may affect design decisions. Farmers may be hoping for government to carry a greater share of the O&M burden but experience in many countries (FAO, 2011) shows that funding constraints may limit the ability to fulfil any additional obligations in a timely manner.

## field water distribution principles in spate irrigation

Water distribution in spate irrigation is one of the major on-farm water management concerns of spate irrigation and shall be regulated by prevailing water rights and rules and generally follows a number of principles that includes:

Rapidly spreading the available flows so as to prevent disappearance of spate water rapidly in low-lying areas;

Dividing the floods into manageable quantities so as to avoid erosive flows and gully formation in the command area; and

Ensuring that large enough water volumes to irrigate the downstream areas are conveyed in the short time that spate flows are available;

Levelling the command plots, as improper land levelling results in unequal and non-uniform water distribution in the field.

# REFERENCES

A case study of Spate Irrigation Management and Livelihood options, Ethiopia, By, J.P. van den Ham 2008;

Community Spate Irrigation Guideline, by P Lawrence & Dr. F van Steenbergen, 2005;

Engineering Manual for Spate Irrigation, Landell Mills LTD, 2011;

Ethiopian Water Sector Development Program, 2001;

Small Scale Irrigation Capacity Building Strategy, FDRE, 2011;

Guidelines for Irrigation Systems Design in Hills and Valleys, MoWR, Nepal, 2006,

Guidelines on Spate Irrigation, by FAO, 2010

Hydraulic Structures Design Guideline for SSIPs in Amhara, by A.E. 2009,

Irrigation Engineering and Hydraulic Structures, S.K. Garg, 2006;

Standard Handbook for Civil Engineers, F.S.M. 1999;

# APPENDICES

APPENDIX I: Different Classifications of Spate Irrigation Schemes

| Based on | Class | Description |
| --- | --- | --- |
| Size of scheme | Small Medium Large | Range from a few hectares, usually located on tributary wadis in mountain regions, or in plains supplied by small wadis, with areas not exceeding 1,000 ha. Schemes located mostly in plains supplied from small/ medium wadis. Command areas ranging from a few hundred up to 5,000 ha. Often a single tribe or social group manages these schemes. Substantial systems that may have numerous offtakes irrigating land areas of up to 20,000-30,000 ha. Complex water sharing rules have developed in some cases to control the distribution of flows between intakes operated by different tribes, villages or social groups. |
| Infrastructure | Traditional intakes and canals Improved traditional systems Modernized and new systems | Traditional diversions consisting of deflecting spurs or, in flatter plains areas, bunds that are constructed right across the flood channel. Canals are usually short and rarely include a secondary distribution system. Water is usually passed from field to field by breaking field bunds when the ponded water reaches a pre-determined depth. In Pakistan, spate-system fields often have their own supply channels. Farmer-implemented improvements could include flow throttling structures and rejection spillways near canal heads and drop structures and flow division structures in main canals. In some areas farmers may hire bulldozers to construct diversion bunds. When outside agencies support improvements, bulldozers may be provided at subsidized rates, and simple gabion or rubble masonry structures may be used at diversions. Improved water control structures may also be incorporated in the canal and field systems. In large systems, numerous traditional intakes are replaced with concrete diversion weirs, with sediment sluices. Owing to the high costs of permanent structures a single permanent weir often replaces many traditional intakes. In newer schemes, steep canals and sediment management structures are provided to minimize sedimentation. In new schemes, where farmers may not have the traditional skills needed to manage spate flows, a range of diversion types, including large semi-permanent soil bunds and small, simple diversion weirs, are used. |
| O&M | Traditionally managed Managed by farmers with support from outside agencies Agency-managed | Farmers manage systems without assistance from outside agencies. In some schemes varying levels of support from government or NGOs is provided to assist in construction and maintenance of intakes, although operation is usually left in the hands of the farmers. In some large, formally farmer-managed systems that have been modernized, the intakes and main canal systems are operated and maintained by irrigation agencies. In Yemen some of these systems are now being handed back to the farmers as part of irrigation management transfer efforts. |
| Wadi flow regimes & use of groundwater | Schemes that have access only to spate flows Schemes that have access to significant base flows Conjunctive use of spate and shallow groundwater | At locations where only spates occur, it is necessary to divert water at high discharges if a reasonable proportion of the annual runoff is to be diverted. High water diversion efficiency can be obtained in wadis where (a) there are small base flows for some months during and following the rainy season; (b) there are large numbers of small and medium floods; or (c) the offtakes are located in flat plains areas where the floods have lost momentum and may last for long periods. In these cases, irrigation of areas located at the head of systems is reasonably assured, and irrigation practices resemble perennial irrigation. Spate irrigation from flood flows is carried out in the middle and lower reaches of the wadi. Where possible, access to groundwater substantially reduces the uncertainty inherent in spate irrigation and allows cropping of cash crops that cannot survive for long periods between watering. Spates are still diverted for irrigation, albeit at unpredictable intervals and volumes. Spate flows enhance the recharge of the shallow aquifers. |

Source: Guidelines on Spate Irrigation, by FAO, 2010

APPENDIX II: Typical Values of Manning’s Roughness Coefficient of Channels

| SN | Channel type | Manning's Values | Commonly Used Value |
| --- | --- | --- | --- |
| 1 | Concrete lined canals | 0.012–0.017 | 0.012 for RCC & 0.014 for lean Concrete |
| 2 | Rough masonry | 0.017–0.030 | 0.018 |
| 3 | Brick-lined channel | 0.012–0.018 | 0.015 |
| 4 | Roughly dug earth canals | 0.025–0.033 | 0.025 |
| 5 | Smooth earth canals | 0.017–0.025 | 0.018 |
| 6 | Earth channel: very overgrown with weeds, etc. | 0.050-0.120 | 0.080 |
| 7 | Floodplain | 0.025–0.033 | 0.030 |
| 8 | Natural river in gravel | 0.040–0.070 | 0.040 |

Source: Practical Hydraulics, By Melvyn Kay, 2008

APPENDIX III: Allowable Bearing Capacity

| Supporting Ground Type | Description | Compactness or Consistency | Presumed Bearing Value (t/m2) |
| --- | --- | --- | --- |
| Rocks | Basalt | Hard and sound | 400 |
|  | Slate, schist | Medium Hard | 200 |
|  | Sandstone, limestone | Medium Hard | 200 |
|  | Soft limestone | Soft | 100 |
|  | Soft shale | Soft | 60 |
| Non-cohesive soil | Gravel, sand & Gravel | Dense | 40 |
|  |  | Medium dense | 30 |
|  |  | Loose | 20 |
|  | Sand | Dense | 30 |
|  |  | Medium dense | 20 |
|  |  | Loose | 10 |
| Cohesive soil | Silt | Hard | 20 |
|  |  | Stiff | 15 |
|  |  | Medium stiff | 10 |
|  |  | Soft | 5 |
|  | Clay | Hard | 30 |
|  |  | Stiff | 20 |
|  |  | Medium stiff | 10 |
|  |  | Soft | 5 |

APPENDIX IV: Graphical Determination of Exit Gradient (Khoslas Theory)

APPENDIX V: Khosla's Graph to Determine Uplift Pressure at Cut Off Ends

APPENDIX VI: Seismic Risk Map showing 1:50 Earthquake Acceleration

Source: Adopted from Hydraulic Structures Design Guideline for SSI Projects in Amhara, 2009

APPENDIX VII: Typical Cross Sections of Wing walls

Steenbergen. F, Lawrence, P, Mehari A Guidelines for spate irrigation; Rome 2010

Unpublished research document